## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1405-22_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1405-22_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1405-22_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1405-22_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1405-22_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1405-22_0_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_1405-22_0_3_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1405-22_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1405-22_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1405-22_0_3_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_1405-22_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1405-22_0_3_node_14 | 0.4 | n |  | TRUE
12 | bus_LV_1405-22_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1405-22_0_3_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_1405-22_0_3_node_13 | 0.4 | n |  | TRUE
15 | bus_LV_1405-22_0_3_node_59 | 0.4 | n |  | TRUE
16 | bus_LV_1405-22_0_3_node_60 | 0.4 | n |  | TRUE
17 | bus_LV_1405-22_0_3_node_65 | 0.4 | n |  | TRUE
18 | bus_LV_1405-22_0_3_node_66 | 0.4 | n |  | TRUE
19 | bus_LV_1405-22_0_3_node_67 | 0.4 | n |  | TRUE
20 | bus_LV_1405-22_0_3_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1405-22_0_3_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1405-22_0_3_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1405-22_0_3_node_19 | 0.4 | n |  | TRUE
24 | bus_LV_1405-22_0_3_node_58 | 0.4 | n |  | TRUE
25 | bus_LV_1405-22_0_3_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1405-22_0_3_node_57 | 0.4 | n |  | TRUE
27 | bus_LV_1405-22_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1405-22_0_3_node_79 | 0.4 | n |  | TRUE
29 | bus_LV_1405-22_0_3_node_53 | 0.4 | n |  | TRUE
30 | bus_LV_1405-22_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1405-22_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1405-22_0_3_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1405-22_0_3_node_25 | 0.4 | n |  | TRUE
34 | bus_LV_1405-22_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1405-22_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1405-22_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1405-22_0_3_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_1405-22_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1405-22_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_1405-22_0_3_node_31 | 0.4 | n |  | TRUE
41 | bus_LV_1405-22_0_3_node_40 | 0.4 | n |  | TRUE
42 | bus_LV_1405-22_0_3_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_1405-22_0_3_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_1405-22_0_3_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_1405-22_0_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_1405-22_0_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_1405-22_0_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_1405-22_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_1405-22_0_3_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_1405-22_0_3_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_1405-22_0_3_node_48 | 0.4 | n |  | TRUE
52 | bus_LV_1405-22_0_3_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_1405-22_0_3_node_43 | 0.4 | n |  | TRUE
54 | bus_LV_1405-22_0_3_node_52 | 0.4 | n |  | TRUE
55 | bus_LV_1405-22_0_3_node_44 | 0.4 | n |  | TRUE
56 | bus_LV_1405-22_0_3_node_45 | 0.4 | n |  | TRUE
57 | bus_LV_1405-22_0_3_node_46 | 0.4 | n |  | TRUE
58 | bus_LV_1405-22_0_3_node_49 | 0.4 | n |  | TRUE
59 | bus_LV_1405-22_0_3_node_50 | 0.4 | n |  | TRUE
60 | bus_LV_1405-22_0_3_node_54 | 0.4 | n |  | TRUE
61 | bus_LV_1405-22_0_3_node_55 | 0.4 | n |  | TRUE
62 | bus_LV_1405-22_0_3_node_56 | 0.4 | n |  | TRUE
63 | bus_LV_1405-22_0_3_node_76 | 0.4 | n |  | TRUE
64 | bus_LV_1405-22_0_3_node_78 | 0.4 | n |  | TRUE
65 | bus_LV_1405-22_0_3_node_61 | 0.4 | n |  | TRUE
66 | bus_LV_1405-22_0_3_node_62 | 0.4 | n |  | TRUE
67 | bus_LV_1405-22_0_3_node_63 | 0.4 | n |  | TRUE
68 | bus_LV_1405-22_0_3_node_64 | 0.4 | n |  | TRUE
69 | bus_LV_1405-22_0_3_node_71 | 0.4 | n |  | TRUE
70 | bus_LV_1405-22_0_3_node_69 | 0.4 | n |  | TRUE
71 | bus_LV_1405-22_0_3_node_72 | 0.4 | n |  | TRUE
72 | bus_LV_1405-22_0_3_node_70 | 0.4 | n |  | TRUE
73 | bus_LV_1405-22_0_3_node_73 | 0.4 | n |  | TRUE
74 | bus_LV_1405-22_0_3_node_74 | 0.4 | n |  | TRUE
75 | bus_LV_1405-22_0_3_node_75 | 0.4 | n |  | TRUE
76 | bus_MV_138_2_node_250 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1405-22_0_3_load_0 | 0 | 0.0015566 | 0.00039011 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1405-22_0_3_load_1 | 1 | 0.0014181 | 0.0003554 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1405-22_0_3_load_5 | 4 | 0.015423 | 0.0038653 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1405-22_0_3_load_8 | 5 | 0.0028242 | 0.00070781 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1405-22_0_3_load_9 | 6 | 0.0025107 | 0.00062924 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1405-22_0_3_load_6 | 7 | 0.0048909 | 0.0012258 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1405-22_0_3_load_7 | 8 | 0.0035118 | 0.00088015 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1405-22_0_3_load_14 | 11 | 0.0035816 | 0.00089763 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1405-22_0_3_load_12 | 13 | 0.0026137 | 0.00065505 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1405-22_0_3_load_13 | 14 | 0.0023027 | 0.00057712 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1405-22_0_3_load_59 | 15 | 0.0024662 | 0.0006181 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1405-22_0_3_load_60 | 16 | 0.0021973 | 0.0005507 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1405-22_0_3_load_67 | 19 | 0.0021474 | 0.0005382 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1405-22_0_3_load_17 | 21 | 0.0016621 | 0.00041656 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1405-22_0_3_load_18 | 22 | 0.0017298 | 0.00043352 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1405-22_0_3_load_19 | 23 | 0.0018757 | 0.00047009 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1405-22_0_3_load_58 | 24 | 0.0024237 | 0.00060744 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1405-22_0_3_load_20 | 25 | 0.0043017 | 0.0010781 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1405-22_0_3_load_57 | 26 | 0.00084773 | 0.00021246 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1405-22_0_3_load_21 | 27 | 0.0015926 | 0.00039913 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1405-22_0_3_load_79 | 28 | 0.0015935 | 0.00039938 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1405-22_0_3_load_53 | 29 | 0.0022913 | 0.00057427 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1405-22_0_3_load_22 | 30 | 0.0022924 | 0.00057454 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1405-22_0_3_load_23 | 31 | 0.0049225 | 0.0012337 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1405-22_0_3_load_24 | 32 | 0.011778 | 0.0029518 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1405-22_0_3_load_25 | 33 | 0.0029825 | 0.00074749 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1405-22_0_3_load_26 | 34 | 0.0024693 | 0.00061888 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1405-22_0_3_load_32 | 36 | 0.0022375 | 0.00056077 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1405-22_0_3_load_30 | 37 | 0.0012555 | 0.00031465 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1405-22_0_3_load_28 | 38 | 0.0027717 | 0.00069464 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1405-22_0_3_load_29 | 39 | 0.004351 | 0.0010905 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1405-22_0_3_load_40 | 41 | 0.0028182 | 0.00070632 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1405-22_0_3_load_39 | 42 | 0.01095 | 0.0027443 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1405-22_0_3_load_42 | 43 | 0.0081088 | 0.0020323 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1405-22_0_3_load_33 | 45 | 0.003135 | 0.00078569 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1405-22_0_3_load_34 | 46 | 0.0047614 | 0.0011933 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1405-22_0_3_load_37 | 48 | 0.0043448 | 0.0010889 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1405-22_0_3_load_41 | 49 | 0.0029749 | 0.00074559 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1405-22_0_3_load_51 | 50 | 0.0015487 | 0.00038814 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1405-22_0_3_load_48 | 51 | 0.001975 | 0.00049497 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1405-22_0_3_load_43 | 53 | 0.0083211 | 0.0020855 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1405-22_0_3_load_52 | 54 | 0.0072818 | 0.001825 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1405-22_0_3_load_45 | 56 | 0.005702 | 0.0014291 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1405-22_0_3_load_46 | 57 | 0.0041381 | 0.0010371 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1405-22_0_3_load_49 | 58 | 0.0060705 | 0.0015214 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1405-22_0_3_load_50 | 59 | 0.0060357 | 0.0015127 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1405-22_0_3_load_54 | 60 | 0.0057713 | 0.0014464 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1405-22_0_3_load_55 | 61 | 0.0019902 | 0.00049878 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1405-22_0_3_load_56 | 62 | 0.0017112 | 0.00042886 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1405-22_0_3_load_76 | 63 | 0.0012067 | 0.00030242 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1405-22_0_3_load_78 | 64 | 0.006679 | 0.0016739 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1405-22_0_3_load_61 | 65 | 0.0015412 | 0.00038625 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1405-22_0_3_load_62 | 66 | 0.0023607 | 0.00059165 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1405-22_0_3_load_63 | 67 | 0.0017065 | 0.0004277 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1405-22_0_3_load_64 | 68 | 0.0022502 | 0.00056396 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1405-22_0_3_load_72 | 71 | 0.0014663 | 0.00036749 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1405-22_0_3_load_70 | 72 | 0.00087078 | 0.00021824 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1405-22_0_3_load_73 | 73 | 0.0010784 | 0.00027027 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1405-22_0_3_load_75 | 75 | 0.0033485 | 0.00083921 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1405-22_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0099594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1405-22_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.013139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1405-22_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.006442 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1405-22_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.04165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1405-22_0_3_line_4 | NAYY 4x150 SE | 4 | 7 | 0.040184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1405-22_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.0046306 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1405-22_0_3_line_6 | NAYY 4x150 SE | 6 | 12 | 0.037743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1405-22_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.027096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1405-22_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.03583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1405-22_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.020975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1405-22_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.012594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1405-22_0_3_line_11 | NAYY 4x150 SE | 10 | 15 | 0.059723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1405-22_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.005666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1405-22_0_3_line_13 | NAYY 4x150 SE | 11 | 20 | 0.012405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1405-22_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.076078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1405-22_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.031887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1405-22_0_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.018641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1405-22_0_3_line_17 | NAYY 4x150 SE | 16 | 65 | 0.011326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1405-22_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.005274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1405-22_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.027683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1405-22_0_3_line_20 | NAYY 4x150 SE | 18 | 69 | 0.055029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1405-22_0_3_line_21 | NAYY 4x150 SE | 18 | 68 | 0.016004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1405-22_0_3_line_22 | NAYY 4x150 SE | 19 | 70 | 0.040522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1405-22_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.0070313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1405-22_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.057022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1405-22_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.026309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1405-22_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.00046996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1405-22_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.0084526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1405-22_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.012662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1405-22_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.049105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1405-22_0_3_line_30 | NAYY 4x150 SE | 26 | 61 | 0.0051879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1405-22_0_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.0013982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1405-22_0_3_line_32 | NAYY 4x150 SE | 28 | 29 | 0.00068038 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1405-22_0_3_line_33 | NAYY 4x150 SE | 29 | 35 | 0.015007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1405-22_0_3_line_34 | NAYY 4x150 SE | 30 | 31 | 0.01027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1405-22_0_3_line_35 | NAYY 4x150 SE | 30 | 32 | 0.010216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1405-22_0_3_line_36 | NAYY 4x150 SE | 31 | 33 | 0.026577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1405-22_0_3_line_37 | NAYY 4x150 SE | 33 | 34 | 0.0028052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1405-22_0_3_line_38 | NAYY 4x150 SE | 34 | 35 | 0.015382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1405-22_0_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.0034691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1405-22_0_3_line_40 | NAYY 4x150 SE | 36 | 37 | 0.0078943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1405-22_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.025015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1405-22_0_3_line_42 | NAYY 4x150 SE | 38 | 39 | 0.0018953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1405-22_0_3_line_43 | NAYY 4x150 SE | 39 | 40 | 0.016428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1405-22_0_3_line_44 | NAYY 4x150 SE | 40 | 41 | 0.046213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1405-22_0_3_line_45 | NAYY 4x150 SE | 40 | 42 | 0.023254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1405-22_0_3_line_46 | NAYY 4x150 SE | 41 | 43 | 0.0036013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1405-22_0_3_line_47 | NAYY 4x150 SE | 42 | 44 | 0.0066372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1405-22_0_3_line_48 | NAYY 4x150 SE | 43 | 53 | 0.020301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1405-22_0_3_line_49 | NAYY 4x150 SE | 44 | 49 | 0.013345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1405-22_0_3_line_50 | NAYY 4x150 SE | 44 | 46 | 0.018682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1405-22_0_3_line_51 | NAYY 4x150 SE | 45 | 46 | 0.0021893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1405-22_0_3_line_52 | NAYY 4x150 SE | 45 | 47 | 0.010334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1405-22_0_3_line_53 | NAYY 4x150 SE | 47 | 48 | 0.024732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1405-22_0_3_line_54 | NAYY 4x150 SE | 49 | 50 | 0.01877 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1405-22_0_3_line_55 | NAYY 4x150 SE | 50 | 54 | 0.0066826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1405-22_0_3_line_56 | NAYY 4x150 SE | 51 | 52 | 0.071011 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1405-22_0_3_line_57 | NAYY 4x150 SE | 52 | 56 | 0.023519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1405-22_0_3_line_58 | NAYY 4x150 SE | 53 | 55 | 0.017279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1405-22_0_3_line_59 | NAYY 4x150 SE | 55 | 56 | 0.017662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1405-22_0_3_line_60 | NAYY 4x150 SE | 55 | 57 | 0.04053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1405-22_0_3_line_61 | NAYY 4x150 SE | 57 | 58 | 0.0035093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1405-22_0_3_line_62 | NAYY 4x150 SE | 58 | 59 | 0.010514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1405-22_0_3_line_63 | NAYY 4x150 SE | 60 | 61 | 0.042706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1405-22_0_3_line_64 | NAYY 4x150 SE | 60 | 62 | 0.054184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1405-22_0_3_line_65 | NAYY 4x150 SE | 62 | 63 | 0.10996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1405-22_0_3_line_66 | NAYY 4x150 SE | 63 | 64 | 0.00092526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1405-22_0_3_line_67 | NAYY 4x150 SE | 65 | 66 | 0.021051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1405-22_0_3_line_68 | NAYY 4x150 SE | 66 | 67 | 0.038611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1405-22_0_3_line_69 | NAYY 4x150 SE | 67 | 68 | 0.0070667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1405-22_0_3_line_70 | NAYY 4x150 SE | 69 | 71 | 0.0079529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1405-22_0_3_line_71 | NAYY 4x150 SE | 70 | 72 | 0.010709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1405-22_0_3_line_72 | NAYY 4x150 SE | 71 | 73 | 0.013327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_1405-22_0_3_line_73 | NAYY 4x150 SE | 73 | 74 | 0.031279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_1405-22_0_3_line_74 | NAYY 4x150 SE | 74 | 75 | 0.009421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1405-22_0_3_trafo_27 | 0.25 MVA 20/0.4 kV | 76 | 35 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2655114.5452 | 1182324.3749 | 2655124.4724 | 1182323.5746
1 | 2655137.5689 | 1182322.5188 | 2655124.4724 | 1182323.5746
2 | 2655144.0172 | 1182322.1224 | 2655137.5689 | 1182322.5188
3 | 2655144.0172 | 1182322.1224 | 2655147.5185 | 1182329.1362 | 2655165.4526 | 1182354.2818 | 2655167.2995 | 1182356.5501
4 | 2655167.2995 | 1182356.5501 | 2655192.6709 | 1182387.7121
5 | 2655217.5338 | 1182425.5024 | 2655220.4776 | 1182429.0768
6 | 2655244.4716 | 1182458.2112 | 2655220.4776 | 1182429.0768
7 | 2655209.7787 | 1182408.7246 | 2655192.6709 | 1182387.7121
8 | 2655232.4011 | 1182436.5102 | 2655209.7787 | 1182408.7246
9 | 2655232.4011 | 1182436.5102 | 2655245.7747 | 1182452.6979
10 | 2655232.4011 | 1182436.5102 | 2655242.2973 | 1182428.7213
11 | 2655245.7747 | 1182452.6979 | 2655264.1773 | 1182474.9687 | 2655282.1811 | 1182496.6022 | 2655284.0815 | 1182498.5029
12 | 2655244.4716 | 1182458.2112 | 2655245.7747 | 1182452.6979
13 | 2655252.0451 | 1182421.0492 | 2655242.2973 | 1182428.7213
14 | 2655244.4716 | 1182458.2112 | 2655279.9601 | 1182500.6395 | 2655294.6538 | 1182515.3117
15 | 2655244.4716 | 1182458.2112 | 2655238.1364 | 1182470.3818 | 2655239.7065 | 1182488.48
16 | 2655284.0815 | 1182498.5029 | 2655295.633 | 1182510.0559 | 2655297.4963 | 1182511.4111
17 | 2655297.4963 | 1182511.4111 | 2655306.656 | 1182518.0729
18 | 2655370.4631 | 1182566.9112 | 2655375.0232 | 1182564.2407
19 | 2655370.4631 | 1182566.9112 | 2655365.9936 | 1182566.3807 | 2655356.8311 | 1182560.5818 | 2655345.6 | 1182555.4723
20 | 2655375.0232 | 1182564.2407 | 2655381.4241 | 1182571.426 | 2655388.1029 | 1182580.7596 | 2655395.6497 | 1182594.4813 | 2655400.2054 | 1182605.5073 | 2655402.0502 | 1182611.6055
21 | 2655375.0232 | 1182564.2407 | 2655362.9552 | 1182553.7294
22 | 2655315.5686 | 1182571.3738 | 2655329.0784 | 1182553.7108 | 2655332.8833 | 1182550.9666 | 2655337.3508 | 1182551.7194 | 2655345.6 | 1182555.4723
23 | 2655252.0451 | 1182421.0492 | 2655256.644 | 1182415.7305
24 | 2655252.0451 | 1182421.0492 | 2655280.1137 | 1182431.825 | 2655304.1894 | 1182436.7386 | 2655306.5542 | 1182437.0394
25 | 2655256.644 | 1182415.7305 | 2655273.8515 | 1182395.8296
26 | 2655307.0204 | 1182437.0988 | 2655306.5542 | 1182437.0394
27 | 2655279.38 | 1182389.4356 | 2655273.8515 | 1182395.8296
28 | 2655307.0204 | 1182437.0988 | 2655319.5817 | 1182438.6969
29 | 2655279.38 | 1182389.4356 | 2655311.4977 | 1182352.2907
30 | 2655324.728 | 1182439.3517 | 2655324.728 | 1182439.3517 | 2655319.5817 | 1182438.6969
31 | 2655312.4122 | 1182351.233 | 2655311.4977 | 1182352.2907
32 | 2655312.8572 | 1182350.7184 | 2655312.4122 | 1182351.233
33 | 2655322.673 | 1182339.3661 | 2655312.8572 | 1182350.7184
34 | 2655289.5176 | 1182295.4396 | 2655295.7049 | 1182303.6369
35 | 2655283.3633 | 1182287.2859 | 2655289.5176 | 1182295.4396
36 | 2655311.7161 | 1182324.8497 | 2655295.7049 | 1182303.6369
37 | 2655311.7161 | 1182324.8497 | 2655313.4061 | 1182327.0887
38 | 2655322.673 | 1182339.3661 | 2655313.4061 | 1182327.0887
39 | 2655322.673 | 1182339.3661 | 2655325.0454 | 1182336.8351
40 | 2655330.4442 | 1182331.0754 | 2655325.0454 | 1182336.8351
41 | 2655347.5517 | 1182312.8245 | 2655330.4442 | 1182331.0754
42 | 2655347.5517 | 1182312.8245 | 2655348.8478 | 1182311.4417
43 | 2655360.0827 | 1182299.4559 | 2655348.8478 | 1182311.4417
44 | 2655360.0827 | 1182299.4559 | 2655340.1496 | 1182257.7624
45 | 2655360.0827 | 1182299.4559 | 2655378.0578 | 1182284.7028
46 | 2655340.1496 | 1182257.7624 | 2655338.5963 | 1182254.5133
47 | 2655383.1883 | 1182280.492 | 2655378.0578 | 1182284.7028
48 | 2655329.8397 | 1182236.1974 | 2655338.5963 | 1182254.5133
49 | 2655383.1883 | 1182280.492 | 2655391.4971 | 1182290.9354
50 | 2655383.1883 | 1182280.492 | 2655397.6303 | 1182268.6411
51 | 2655399.0993 | 1182267.0177 | 2655397.6303 | 1182268.6411
52 | 2655404.7027 | 1182258.5563 | 2655403.3469 | 1182262.3237 | 2655399.0993 | 1182267.0177
53 | 2655404.7027 | 1182258.5563 | 2655392.9922 | 1182236.7583
54 | 2655391.4971 | 1182290.9354 | 2655403.1834 | 1182305.624
55 | 2655409.103 | 1182308.7248 | 2655403.1834 | 1182305.624
56 | 2655306.5189 | 1182182.608 | 2655373.6484 | 1182159.4519
57 | 2655306.5189 | 1182182.608 | 2655315.5814 | 1182204.3109
58 | 2655322.387 | 1182220.6088 | 2655329.8397 | 1182236.1974
59 | 2655322.387 | 1182220.6088 | 2655315.5814 | 1182204.3109
60 | 2655322.387 | 1182220.6088 | 2655358.741 | 1182202.6909
61 | 2655361.8887 | 1182201.1395 | 2655358.741 | 1182202.6909
62 | 2655371.3193 | 1182196.4914 | 2655361.8887 | 1182201.1395
63 | 2655367.3723 | 1182437.4435 | 2655366.2163 | 1182437.289 | 2655324.728 | 1182439.3517
64 | 2655421.1099 | 1182442.1431 | 2655410.3692 | 1182440.2095 | 2655397.8351 | 1182438.9819 | 2655386.4105 | 1182439.988 | 2655367.3723 | 1182437.4435
65 | 2655421.1099 | 1182442.1431 | 2655521.1249 | 1182487.8338
66 | 2655521.1249 | 1182487.8338 | 2655521.4845 | 1182488.6863
67 | 2655306.656 | 1182518.0729 | 2655314.0258 | 1182523.4329 | 2655324.263 | 1182529.5737
68 | 2655324.263 | 1182529.5737 | 2655357.3741 | 1182549.4353
69 | 2655362.9552 | 1182553.7294 | 2655359.4651 | 1182550.6896 | 2655357.3741 | 1182549.4353
70 | 2655402.0502 | 1182611.6055 | 2655409.7278 | 1182609.5308
71 | 2655315.5686 | 1182571.3738 | 2655324.5009 | 1182577.2803
72 | 2655409.7278 | 1182609.5308 | 2655412.5855 | 1182621.6973 | 2655412.723 | 1182622.5153
73 | 2655417.5379 | 1182653.394 | 2655416.7619 | 1182650.6186 | 2655414.5758 | 1182633.5334 | 2655412.723 | 1182622.5153
74 | 2655420.1918 | 1182661.1784 | 2655419.9066 | 1182658.163 | 2655420.5467 | 1182655.8232 | 2655418.5179 | 1182654.7594 | 2655417.5379 | 1182653.394

## bus_geodata
| x | y | coords
0 | 2655114.5452 | 1182324.3749
1 | 2655124.4724 | 1182323.5746
2 | 2655137.5689 | 1182322.5188
3 | 2655144.0172 | 1182322.1224
4 | 2655167.2995 | 1182356.5501
5 | 2655217.5338 | 1182425.5024
6 | 2655220.4776 | 1182429.0768
7 | 2655192.6709 | 1182387.7121
8 | 2655209.7787 | 1182408.7246
9 | 2655232.4011 | 1182436.5102
10 | 2655245.7747 | 1182452.6979
11 | 2655242.2973 | 1182428.7213
12 | 2655244.4716 | 1182458.2112
13 | 2655294.6538 | 1182515.3117
14 | 2655239.7065 | 1182488.48
15 | 2655284.0815 | 1182498.5029
16 | 2655297.4963 | 1182511.4111
17 | 2655370.4631 | 1182566.9112
18 | 2655375.0232 | 1182564.2407
19 | 2655345.6 | 1182555.4723
20 | 2655252.0451 | 1182421.0492
21 | 2655256.644 | 1182415.7305
22 | 2655306.5542 | 1182437.0394
23 | 2655273.8515 | 1182395.8296
24 | 2655307.0204 | 1182437.0988
25 | 2655279.38 | 1182389.4356
26 | 2655319.5817 | 1182438.6969
27 | 2655311.4977 | 1182352.2907
28 | 2655312.4122 | 1182351.233
29 | 2655312.8572 | 1182350.7184
30 | 2655289.5176 | 1182295.4396
31 | 2655295.7049 | 1182303.6369
32 | 2655283.3633 | 1182287.2859
33 | 2655311.7161 | 1182324.8497
34 | 2655313.4061 | 1182327.0887
35 | 2655322.673 | 1182339.3661
36 | 2655325.0454 | 1182336.8351
37 | 2655330.4442 | 1182331.0754
38 | 2655347.5517 | 1182312.8245
39 | 2655348.8478 | 1182311.4417
40 | 2655360.0827 | 1182299.4559
41 | 2655340.1496 | 1182257.7624
42 | 2655378.0578 | 1182284.7028
43 | 2655338.5963 | 1182254.5133
44 | 2655383.1883 | 1182280.492
45 | 2655399.0993 | 1182267.0177
46 | 2655397.6303 | 1182268.6411
47 | 2655404.7027 | 1182258.5563
48 | 2655392.9922 | 1182236.7583
49 | 2655391.4971 | 1182290.9354
50 | 2655403.1834 | 1182305.624
51 | 2655373.6484 | 1182159.4519
52 | 2655306.5189 | 1182182.608
53 | 2655329.8397 | 1182236.1974
54 | 2655409.103 | 1182308.7248
55 | 2655322.387 | 1182220.6088
56 | 2655315.5814 | 1182204.3109
57 | 2655358.741 | 1182202.6909
58 | 2655361.8887 | 1182201.1395
59 | 2655371.3193 | 1182196.4914
60 | 2655367.3723 | 1182437.4435
61 | 2655324.728 | 1182439.3517
62 | 2655421.1099 | 1182442.1431
63 | 2655521.1249 | 1182487.8338
64 | 2655521.4845 | 1182488.6863
65 | 2655306.656 | 1182518.0729
66 | 2655324.263 | 1182529.5737
67 | 2655357.3741 | 1182549.4353
68 | 2655362.9552 | 1182553.7294
69 | 2655402.0502 | 1182611.6055
70 | 2655315.5686 | 1182571.3738
71 | 2655409.7278 | 1182609.5308
72 | 2655324.5009 | 1182577.2803
73 | 2655412.723 | 1182622.5153
74 | 2655417.5379 | 1182653.394
75 | 2655420.1918 | 1182661.1784
76 | 2655360.0827 | 1182299.4559

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97991 | -0.14101 | 0.0015566 | 0.00039011
1 | 0.97993 | -0.14084 | 0.0014181 | 0.0003554
2 | 0.97999 | -0.14044 | 0 | 0
3 | 0.98002 | -0.14024 | 0 | 0
4 | 0.9802 | -0.13895 | 0.015423 | 0.0038653
5 | 0.98222 | -0.1245 | 0.0028242 | 0.00070781
6 | 0.98224 | -0.12437 | 0.0025107 | 0.00062924
7 | 0.98127 | -0.13127 | 0.0048909 | 0.0012258
8 | 0.98219 | -0.12474 | 0.0035118 | 0.00088015
9 | 0.98358 | -0.11481 | 0 | 0
10 | 0.98262 | -0.12169 | 0 | 0
11 | 0.98466 | -0.10721 | 0.0035816 | 0.00089763
12 | 0.98253 | -0.12229 | 0 | 0
13 | 0.98225 | -0.12435 | 0.0026137 | 0.00065505
14 | 0.98243 | -0.12305 | 0.0023027 | 0.00057712
15 | 0.98075 | -0.13496 | 0.0024662 | 0.0006181
16 | 0.98024 | -0.13864 | 0.0021973 | 0.0005507
17 | 0.97843 | -0.15161 | 0 | 0
18 | 0.97845 | -0.15145 | 0 | 0
19 | 0.9783 | -0.15249 | 0.0021474 | 0.0005382
20 | 0.98577 | -0.099287 | 0 | 0
21 | 0.98664 | -0.093189 | 0.0016621 | 0.00041656
22 | 0.98392 | -0.11242 | 0.0017298 | 0.00043352
23 | 0.98993 | -0.070019 | 0.0018757 | 0.00047009
24 | 0.98391 | -0.11252 | 0.0024237 | 0.00060744
25 | 0.99101 | -0.062446 | 0.0043017 | 0.0010781
26 | 0.98358 | -0.1149 | 0.00084773 | 0.00021246
27 | 0.99759 | -0.016656 | 0.0015926 | 0.00039913
28 | 0.99778 | -0.015339 | 0.0015935 | 0.00039938
29 | 0.99787 | -0.014687 | 0.0022913 | 0.00057427
30 | 0.99845 | -0.010867 | 0.0022924 | 0.00057454
31 | 0.99865 | -0.0094203 | 0.0049225 | 0.0012337
32 | 0.99828 | -0.012072 | 0.011778 | 0.0029518
33 | 0.99938 | -0.0043717 | 0.0029825 | 0.00074749
34 | 0.99946 | -0.0037556 | 0.0024693 | 0.00061888
35 | 1 | 0 | -0.21426 | -0.053813
36 | 0.99956 | -0.0030767 | 0.0022375 | 0.00056077
37 | 0.99857 | -0.0099113 | 0.0012555 | 0.00031465
38 | 0.9955 | -0.031341 | 0.0027717 | 0.00069464
39 | 0.99528 | -0.032917 | 0.004351 | 0.0010905
40 | 0.99343 | -0.045885 | 0 | 0
41 | 0.99055 | -0.066129 | 0.0028182 | 0.00070632
42 | 0.99226 | -0.054127 | 0.01095 | 0.0027443
43 | 0.99035 | -0.067608 | 0.0081088 | 0.0020323
44 | 0.99203 | -0.055746 | 0 | 0
45 | 0.99168 | -0.058233 | 0.003135 | 0.00078569
46 | 0.9917 | -0.058067 | 0.0047614 | 0.0011933
47 | 0.99161 | -0.058689 | 0 | 0
48 | 0.99146 | -0.05978 | 0.0043448 | 0.0010889
49 | 0.99181 | -0.057344 | 0.0029749 | 0.00074559
50 | 0.99157 | -0.059027 | 0.0015487 | 0.00038814
51 | 0.98834 | -0.081796 | 0.001975 | 0.00049497
52 | 0.98854 | -0.080361 | 0 | 0
53 | 0.9894 | -0.074279 | 0.0083211 | 0.0020855
54 | 0.9915 | -0.059521 | 0.0072818 | 0.001825
55 | 0.98881 | -0.078498 | 0 | 0
56 | 0.98861 | -0.079885 | 0.005702 | 0.0014291
57 | 0.98786 | -0.085227 | 0.0041381 | 0.0010371
58 | 0.98779 | -0.085661 | 0.0060705 | 0.0015214
59 | 0.9877 | -0.08631 | 0.0060357 | 0.0015127
60 | 0.98249 | -0.12262 | 0.0057713 | 0.0014464
61 | 0.98345 | -0.11583 | 0.0019902 | 0.00049878
62 | 0.98174 | -0.12801 | 0.0017112 | 0.00042886
63 | 0.98048 | -0.137 | 0.0012067 | 0.00030242
64 | 0.98047 | -0.13707 | 0.006679 | 0.0016739
65 | 0.97996 | -0.14061 | 0.0015412 | 0.00038625
66 | 0.9795 | -0.14395 | 0.0023607 | 0.00059165
67 | 0.97877 | -0.14913 | 0.0017065 | 0.0004277
68 | 0.97866 | -0.14996 | 0.0022502 | 0.00056396
69 | 0.97798 | -0.15484 | 0 | 0
70 | 0.97825 | -0.15286 | 0 | 0
71 | 0.97791 | -0.15532 | 0.0014663 | 0.00036749
72 | 0.97824 | -0.15295 | 0.00087078 | 0.00021824
73 | 0.97782 | -0.15594 | 0.0010784 | 0.00027027
74 | 0.97767 | -0.15704 | 0 | 0
75 | 0.97762 | -0.15736 | 0.0033485 | 0.00083921
76 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0015566 | -0.00039011 | 0.0015566 | 0.00039 | 3.4721e-08 | -1.1211e-07 | 0.0023637 | 0.0023636 | 0.0023637 | 0.97991 | -0.14101 | 0.97993 | -0.14084 | 0.87544
1 | -0.0029747 | -0.0007454 | 0.0029748 | 0.0007453 | 1.6727e-07 | -1.012e-07 | 0.0045169 | 0.0045169 | 0.0045169 | 0.97993 | -0.14084 | 0.97999 | -0.14044 | 1.6729
2 | -0.0029748 | -0.0007453 | 0.0029749 | 0.00074525 | 8.2012e-08 | -4.9625e-08 | 0.0045169 | 0.0045169 | 0.0045169 | 0.97999 | -0.14044 | 0.98002 | -0.14024 | 1.6729
3 | -0.0029749 | -0.00074525 | 0.0029754 | 0.00074493 | 5.3022e-07 | -3.2097e-07 | 0.0045169 | 0.0045167 | 0.0045169 | 0.98002 | -0.14024 | 0.9802 | -0.13895 | 1.6729
4 | -0.018398 | -0.0046102 | 0.018418 | 0.0046172 | 1.956e-05 | 7.0158e-06 | 0.027929 | 0.027929 | 0.027929 | 0.9802 | -0.13895 | 0.98127 | -0.13127 | 10.3442
5 | -0.0028242 | -0.00070781 | 0.0028242 | 0.00070777 | 5.2893e-08 | -3.8267e-08 | 0.0042785 | 0.0042785 | 0.0042785 | 0.98222 | -0.1245 | 0.98224 | -0.12437 | 1.5846
6 | -0.0053349 | -0.001337 | 0.0053365 | 0.0013371 | 1.5383e-06 | 1.1379e-07 | 0.008082 | 0.0080818 | 0.008082 | 0.98224 | -0.12437 | 0.98253 | -0.12229 | 2.9933
7 | -0.023308 | -0.005843 | 0.02333 | 0.0058507 | 2.1123e-05 | 7.7818e-06 | 0.035346 | 0.035346 | 0.035346 | 0.98127 | -0.13127 | 0.98219 | -0.12474 | 13.091
8 | -0.026841 | -0.0067309 | 0.026878 | 0.0067447 | 3.6974e-05 | 1.3767e-05 | 0.040666 | 0.040666 | 0.040666 | 0.98219 | -0.12474 | 0.98358 | -0.11481 | 15.0615
9 | 0.031797 | 0.007977 | -0.031766 | -0.0079656 | 3.0289e-05 | 1.1384e-05 | 0.048106 | 0.048106 | 0.048106 | 0.98358 | -0.11481 | 0.98262 | -0.12169 | 17.8172
10 | -0.058675 | -0.014722 | 0.058737 | 0.014745 | 6.1928e-05 | 2.3659e-05 | 0.088772 | 0.088772 | 0.088772 | 0.98358 | -0.11481 | 0.98466 | -0.10721 | 32.8785
11 | 0.021511 | 0.005397 | -0.021472 | -0.0053826 | 3.9552e-05 | 1.4457e-05 | 0.032578 | 0.032578 | 0.032578 | 0.98262 | -0.12169 | 0.98075 | -0.13496 | 12.0659
12 | 0.010255 | 0.0025686 | -0.010254 | -0.0025683 | 8.5256e-07 | 2.5614e-07 | 0.015529 | 0.015529 | 0.015529 | 0.98262 | -0.12169 | 0.98253 | -0.12229 | 5.7513
13 | -0.062318 | -0.015643 | 0.062387 | 0.015669 | 6.8665e-05 | 2.6252e-05 | 0.094185 | 0.094184 | 0.094185 | 0.98466 | -0.10721 | 0.98577 | -0.099287 | 34.8832
14 | 0.0026144 | 0.00065438 | -0.0026137 | -0.00065505 | 7.4421e-07 | -6.7702e-07 | 0.0039592 | 0.0039595 | 0.0039595 | 0.98253 | -0.12229 | 0.98225 | -0.12435 | 1.4665
15 | 0.002303 | 0.00057681 | -0.0023027 | -0.00057712 | 2.4204e-07 | -3.1071e-07 | 0.0034877 | 0.0034878 | 0.0034878 | 0.98253 | -0.12229 | 0.98243 | -0.12305 | 1.2918
16 | 0.019006 | 0.0047645 | -0.018996 | -0.004761 | 9.6725e-06 | 3.4851e-06 | 0.028836 | 0.028836 | 0.028836 | 0.98075 | -0.13496 | 0.98024 | -0.13864 | 10.6801
17 | 0.016799 | 0.0042103 | -0.016794 | -0.0042087 | 4.5958e-06 | 1.6249e-06 | 0.025501 | 0.025501 | 0.025501 | 0.98024 | -0.13864 | 0.97996 | -0.14061 | 9.4447
18 | -0.0030186 | -0.00075561 | 0.0030187 | 0.00075557 | 6.9349e-08 | -3.9567e-08 | 0.0045905 | 0.0045905 | 0.0045905 | 0.97843 | -0.15161 | 0.97845 | -0.15145 | 1.7002
19 | 0.0030186 | 0.00075561 | -0.0030183 | -0.00075582 | 3.6402e-07 | -2.0763e-07 | 0.0045905 | 0.0045906 | 0.0045906 | 0.97843 | -0.15161 | 0.9783 | -0.15249 | 1.7002
20 | 0.0058974 | 0.0014771 | -0.0058946 | -0.0014767 | 2.7619e-06 | 3.7146e-07 | 0.0089684 | 0.0089686 | 0.0089686 | 0.97845 | -0.15145 | 0.97798 | -0.15484 | 3.3217
21 | -0.0089161 | -0.0022327 | 0.0089179 | 0.0022332 | 1.8359e-06 | 5.0507e-07 | 0.013559 | 0.013559 | 0.013559 | 0.97845 | -0.15145 | 0.97866 | -0.14996 | 5.0218
22 | 0.00087084 | 0.00021762 | -0.0008708 | -0.00021811 | 4.4353e-08 | -4.9171e-07 | 0.0013243 | 0.0013245 | 0.0013245 | 0.9783 | -0.15249 | 0.97825 | -0.15286 | 0.49056
23 | -0.084828 | -0.021301 | 0.0849 | 0.021328 | 7.1954e-05 | 2.7585e-05 | 0.12806 | 0.12806 | 0.12806 | 0.98577 | -0.099287 | 0.98664 | -0.093189 | 47.4299
24 | 0.022441 | 0.0056314 | -0.0224 | -0.0056164 | 4.0834e-05 | 1.498e-05 | 0.033876 | 0.033877 | 0.033877 | 0.98577 | -0.099287 | 0.98392 | -0.11242 | 12.5469
25 | -0.086562 | -0.021745 | 0.086841 | 0.021852 | 0.00027987 | 0.0001073 | 0.13057 | 0.13057 | 0.13057 | 0.98664 | -0.093189 | 0.98993 | -0.070019 | 48.3583
26 | 0.02067 | 0.0051829 | -0.02067 | -0.0051828 | 2.8657e-07 | 1.0425e-07 | 0.031261 | 0.031261 | 0.031261 | 0.98392 | -0.11242 | 0.98391 | -0.11252 | 11.578
27 | -0.088717 | -0.022322 | 0.088811 | 0.022358 | 9.3843e-05 | 3.5985e-05 | 0.13339 | 0.13339 | 0.13339 | 0.98993 | -0.070019 | 0.99101 | -0.062446 | 49.4025
28 | 0.018246 | 0.0045753 | -0.01824 | -0.0045732 | 6.0168e-06 | 2.1534e-06 | 0.027595 | 0.027595 | 0.027595 | 0.98391 | -0.11252 | 0.98358 | -0.1149 | 10.2204
29 | -0.093113 | -0.023436 | 0.093712 | 0.023666 | 0.00059925 | 0.00022984 | 0.13985 | 0.13985 | 0.13985 | 0.99101 | -0.062446 | 0.99759 | -0.016656 | 51.7947
30 | 0.017392 | 0.0043607 | -0.01739 | -0.0043599 | 2.2413e-06 | 7.9621e-07 | 0.026313 | 0.026313 | 0.026313 | 0.98358 | -0.1149 | 0.98345 | -0.11583 | 9.7454
31 | -0.095304 | -0.024065 | 0.095322 | 0.024072 | 1.7648e-05 | 6.7693e-06 | 0.14222 | 0.14222 | 0.14222 | 0.99759 | -0.016656 | 0.99778 | -0.015339 | 52.6744
32 | -0.096916 | -0.024471 | 0.096925 | 0.024475 | 8.8768e-06 | 3.4053e-06 | 0.1446 | 0.1446 | 0.1446 | 0.99778 | -0.015339 | 0.99787 | -0.014687 | 53.5546
33 | -0.099216 | -0.025049 | 0.099421 | 0.025128 | 0.00020516 | 7.8712e-05 | 0.14801 | 0.14801 | 0.14801 | 0.99787 | -0.014687 | 1 | 0 | 54.8201
34 | -0.014072 | -0.0035269 | 0.014075 | 0.0035279 | 2.8187e-06 | 9.4978e-07 | 0.020972 | 0.020972 | 0.020972 | 0.99845 | -0.010867 | 0.99865 | -0.0094203 | 7.7675
35 | 0.01178 | 0.0029524 | -0.011778 | -0.0029518 | 1.9646e-06 | 6.2205e-07 | 0.017556 | 0.017556 | 0.017556 | 0.99845 | -0.010867 | 0.99828 | -0.012072 | 6.5021
36 | -0.018998 | -0.0047616 | 0.019011 | 0.0047664 | 1.3288e-05 | 4.7629e-06 | 0.028307 | 0.028307 | 0.028307 | 0.99865 | -0.0094203 | 0.99938 | -0.0043717 | 10.484
37 | -0.021993 | -0.0055139 | 0.021995 | 0.0055145 | 1.8772e-06 | 6.8524e-07 | 0.032748 | 0.032748 | 0.032748 | 0.99938 | -0.0043717 | 0.99946 | -0.0037556 | 12.1287
38 | -0.024465 | -0.0061334 | 0.024477 | 0.0061381 | 1.2734e-05 | 4.6961e-06 | 0.036424 | 0.036424 | 0.036424 | 0.99946 | -0.0037556 | 1 | 0 | 13.4903
39 | 0.089567 | 0.022547 | -0.089528 | -0.022532 | 3.8472e-05 | 1.4751e-05 | 0.13331 | 0.13331 | 0.13331 | 1 | 0 | 0.99956 | -0.0030767 | 49.3747
40 | 0.087291 | 0.021972 | -0.087207 | -0.02194 | 8.3226e-05 | 3.1907e-05 | 0.12998 | 0.12998 | 0.12998 | 0.99956 | -0.0030767 | 0.99857 | -0.0099113 | 48.141
41 | 0.085952 | 0.021625 | -0.085696 | -0.021527 | 0.00025619 | 9.8207e-05 | 0.12811 | 0.12811 | 0.12811 | 0.99857 | -0.0099113 | 0.9955 | -0.031341 | 47.4482
42 | 0.082924 | 0.020832 | -0.082906 | -0.020825 | 1.8175e-05 | 6.9658e-06 | 0.12397 | 0.12397 | 0.12397 | 0.9955 | -0.031341 | 0.99528 | -0.032917 | 45.9138
43 | 0.078555 | 0.019735 | -0.078413 | -0.019681 | 0.00014144 | 5.4186e-05 | 0.11746 | 0.11746 | 0.11746 | 0.99528 | -0.032917 | 0.99343 | -0.045885 | 43.5045
44 | 0.043362 | 0.01089 | -0.04324 | -0.010844 | 0.00012168 | 4.6203e-05 | 0.064957 | 0.064958 | 0.064958 | 0.99343 | -0.045885 | 0.99055 | -0.066129 | 24.0584
45 | 0.035052 | 0.0087907 | -0.035012 | -0.0087756 | 4.0002e-05 | 1.5085e-05 | 0.052505 | 0.052505 | 0.052505 | 0.99343 | -0.045885 | 0.99226 | -0.054127 | 19.4462
46 | 0.040422 | 0.010137 | -0.040413 | -0.010134 | 8.2863e-06 | 3.1407e-06 | 0.060724 | 0.060724 | 0.060724 | 0.99055 | -0.066129 | 0.99035 | -0.067608 | 22.4904
47 | 0.024062 | 0.0060313 | -0.024057 | -0.0060293 | 5.3927e-06 | 1.9884e-06 | 0.036084 | 0.036084 | 0.036084 | 0.99226 | -0.054127 | 0.99203 | -0.055746 | 13.3646
48 | 0.032305 | 0.008102 | -0.032275 | -0.0080908 | 2.9848e-05 | 1.1219e-05 | 0.04854 | 0.048541 | 0.048541 | 0.99035 | -0.067608 | 0.9894 | -0.074279 | 17.978
49 | 0.011811 | 0.0029602 | -0.011808 | -0.0029594 | 2.6135e-06 | 8.3294e-07 | 0.017716 | 0.017716 | 0.017716 | 0.99203 | -0.055746 | 0.99181 | -0.057344 | 6.5613
50 | 0.012246 | 0.0030691 | -0.012242 | -0.0030678 | 3.9334e-06 | 1.2717e-06 | 0.018369 | 0.018369 | 0.018369 | 0.99203 | -0.055746 | 0.9917 | -0.058067 | 6.8033
51 | -0.0074807 | -0.0018745 | 0.0074808 | 0.0018745 | 1.7212e-07 | 3.7953e-08 | 0.011225 | 0.011225 | 0.011225 | 0.99168 | -0.058233 | 0.9917 | -0.058067 | 4.1573
52 | 0.0043457 | 0.0010888 | -0.0043454 | -0.0010888 | 2.7419e-07 | -2.7868e-08 | 0.0065206 | 0.0065207 | 0.0065207 | 0.99168 | -0.058233 | 0.99161 | -0.058689 | 2.4151
53 | 0.0043454 | 0.0010888 | -0.0043448 | -0.0010889 | 6.562e-07 | -6.6615e-08 | 0.0065207 | 0.0065208 | 0.0065208 | 0.99161 | -0.058689 | 0.99146 | -0.05978 | 2.4151
54 | 0.008833 | 0.0022138 | -0.0088309 | -0.0022132 | 2.057e-06 | 5.4899e-07 | 0.013252 | 0.013252 | 0.013252 | 0.99181 | -0.057344 | 0.99157 | -0.059027 | 4.9083
55 | 0.0072823 | 0.0018251 | -0.0072818 | -0.001825 | 4.9801e-07 | 1.0535e-07 | 0.010928 | 0.010928 | 0.010928 | 0.99157 | -0.059027 | 0.9915 | -0.059521 | 4.0475
56 | -0.001975 | -0.00049497 | 0.0019754 | 0.00049421 | 3.9173e-07 | -7.5954e-07 | 0.0029734 | 0.0029731 | 0.0029734 | 0.98834 | -0.081796 | 0.98854 | -0.080361 | 1.1013
57 | -0.0019754 | -0.00049421 | 0.0019755 | 0.00049396 | 1.2972e-07 | -2.5165e-07 | 0.0029731 | 0.002973 | 0.0029731 | 0.98854 | -0.080361 | 0.98861 | -0.079885 | 1.1012
58 | 0.023954 | 0.0060053 | -0.02394 | -0.0060002 | 1.3993e-05 | 5.1603e-06 | 0.036026 | 0.036026 | 0.036026 | 0.9894 | -0.074279 | 0.98881 | -0.078498 | 13.343
59 | 0.007679 | 0.0019234 | -0.0076775 | -0.001923 | 1.4716e-06 | 3.3949e-07 | 0.011555 | 0.011555 | 0.011555 | 0.98881 | -0.078498 | 0.98861 | -0.079885 | 4.2798
60 | 0.016261 | 0.0040768 | -0.016246 | -0.0040715 | 1.5145e-05 | 5.3054e-06 | 0.024471 | 0.024471 | 0.024471 | 0.98881 | -0.078498 | 0.98786 | -0.085227 | 9.0633
61 | 0.012107 | 0.0030344 | -0.012107 | -0.0030342 | 7.2834e-07 | 2.3521e-07 | 0.018238 | 0.018238 | 0.018238 | 0.98786 | -0.085227 | 0.98779 | -0.085661 | 6.7547
62 | 0.0060362 | 0.0015128 | -0.0060357 | -0.0015127 | 5.4245e-07 | 7.4059e-08 | 0.009093 | 0.009093 | 0.009093 | 0.98779 | -0.085661 | 0.9877 | -0.08631 | 3.3678
63 | -0.015385 | -0.0038561 | 0.0154 | 0.0038611 | 1.4469e-05 | 5.0237e-06 | 0.023302 | 0.023301 | 0.023302 | 0.98249 | -0.12262 | 0.98345 | -0.11583 | 8.6302
64 | 0.0096139 | 0.0024097 | -0.0096068 | -0.0024076 | 7.1685e-06 | 2.0714e-06 | 0.014561 | 0.014561 | 0.014561 | 0.98249 | -0.12262 | 0.98174 | -0.12801 | 5.3929
65 | 0.0078956 | 0.0019787 | -0.0078858 | -0.0019764 | 9.827e-06 | 2.391e-06 | 0.011967 | 0.011968 | 0.011968 | 0.98174 | -0.12801 | 0.98048 | -0.137 | 4.4325
66 | 0.0066791 | 0.0016739 | -0.006679 | -0.0016739 | 5.9323e-08 | 1.1147e-08 | 0.010137 | 0.010137 | 0.010137 | 0.98048 | -0.137 | 0.98047 | -0.13707 | 3.7543
67 | 0.015253 | 0.0038224 | -0.015246 | -0.00382 | 7.0461e-06 | 2.445e-06 | 0.023161 | 0.023161 | 0.023161 | 0.97996 | -0.14061 | 0.9795 | -0.14395 | 8.578
68 | 0.012885 | 0.0032283 | -0.012876 | -0.0032252 | 9.2316e-06 | 3.065e-06 | 0.019574 | 0.019575 | 0.019575 | 0.9795 | -0.14395 | 0.97877 | -0.14913 | 7.2498
69 | 0.011169 | 0.0027976 | -0.011168 | -0.0027972 | 1.2714e-06 | 4.0019e-07 | 0.01698 | 0.01698 | 0.01698 | 0.97877 | -0.14913 | 0.97866 | -0.14996 | 6.2889
70 | 0.0058946 | 0.0014767 | -0.0058942 | -0.0014767 | 3.9917e-07 | 5.3744e-08 | 0.0089686 | 0.0089686 | 0.0089686 | 0.97798 | -0.15484 | 0.97791 | -0.15532 | 3.3217
71 | 0.0008708 | 0.00021811 | -0.00087078 | -0.00021824 | 1.1723e-08 | -1.2993e-07 | 0.0013245 | 0.0013246 | 0.0013246 | 0.97825 | -0.15286 | 0.97824 | -0.15295 | 0.49058
72 | 0.0044279 | 0.0011092 | -0.0044276 | -0.0011092 | 3.775e-07 | -2.1994e-08 | 0.0067375 | 0.0067375 | 0.0067375 | 0.97791 | -0.15532 | 0.97782 | -0.15594 | 2.4954
73 | 0.0033492 | 0.00083896 | -0.0033487 | -0.00083915 | 5.0698e-07 | -1.9731e-07 | 0.0050965 | 0.0050966 | 0.0050966 | 0.97782 | -0.15594 | 0.97767 | -0.15704 | 1.8876
74 | 0.0033487 | 0.00083915 | -0.0033485 | -0.00083921 | 1.527e-07 | -5.9401e-08 | 0.0050966 | 0.0050967 | 0.0050967 | 0.97767 | -0.15704 | 0.97762 | -0.15736 | 1.8877

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21426 | 0.053813

## res_load
| p_mw | q_mvar
0 | 0.0015566 | 0.00039011
1 | 0.0014181 | 0.0003554
2 | 0.015423 | 0.0038653
3 | 0.0028242 | 0.00070781
4 | 0.0025107 | 0.00062924
5 | 0.0048909 | 0.0012258
6 | 0.0035118 | 0.00088015
7 | 0.0035816 | 0.00089763
8 | 0.0026137 | 0.00065505
9 | 0.0023027 | 0.00057712
10 | 0.0024662 | 0.0006181
11 | 0.0021973 | 0.0005507
12 | 0.0021474 | 0.0005382
13 | 0.0016621 | 0.00041656
14 | 0.0017298 | 0.00043352
15 | 0.0018757 | 0.00047009
16 | 0.0024237 | 0.00060744
17 | 0.0043017 | 0.0010781
18 | 0.00084773 | 0.00021246
19 | 0.0015926 | 0.00039913
20 | 0.0015935 | 0.00039938
21 | 0.0022913 | 0.00057427
22 | 0.0022924 | 0.00057454
23 | 0.0049225 | 0.0012337
24 | 0.011778 | 0.0029518
25 | 0.0029825 | 0.00074749
26 | 0.0024693 | 0.00061888
27 | 0.0022375 | 0.00056077
28 | 0.0012555 | 0.00031465
29 | 0.0027717 | 0.00069464
30 | 0.004351 | 0.0010905
31 | 0.0028182 | 0.00070632
32 | 0.01095 | 0.0027443
33 | 0.0081088 | 0.0020323
34 | 0.003135 | 0.00078569
35 | 0.0047614 | 0.0011933
36 | 0.0043448 | 0.0010889
37 | 0.0029749 | 0.00074559
38 | 0.0015487 | 0.00038814
39 | 0.001975 | 0.00049497
40 | 0.0083211 | 0.0020855
41 | 0.0072818 | 0.001825
42 | 0.005702 | 0.0014291
43 | 0.0041381 | 0.0010371
44 | 0.0060705 | 0.0015214
45 | 0.0060357 | 0.0015127
46 | 0.0057713 | 0.0014464
47 | 0.0019902 | 0.00049878
48 | 0.0017112 | 0.00042886
49 | 0.0012067 | 0.00030242
50 | 0.006679 | 0.0016739
51 | 0.0015412 | 0.00038625
52 | 0.0023607 | 0.00059165
53 | 0.0017065 | 0.0004277
54 | 0.0022502 | 0.00056396
55 | 0.0014663 | 0.00036749
56 | 0.00087078 | 0.00021824
57 | 0.0010784 | 0.00027027
58 | 0.0033485 | 0.00083921

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1