## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1405-2_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1405-2_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1405-2_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1405-2_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1405-2_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1405-2_0_3_node_42 | 0.4 | n |  | TRUE
6 | bus_LV_1405-2_0_3_node_45 | 0.4 | n |  | TRUE
7 | bus_LV_1405-2_0_3_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_1405-2_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1405-2_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1405-2_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1405-2_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1405-2_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1405-2_0_3_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_1405-2_0_3_node_81 | 0.4 | n |  | TRUE
15 | bus_LV_1405-2_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1405-2_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1405-2_0_3_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1405-2_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1405-2_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1405-2_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1405-2_0_3_node_64 | 0.4 | n |  | TRUE
22 | bus_LV_1405-2_0_3_node_65 | 0.4 | n |  | TRUE
23 | bus_LV_1405-2_0_3_node_67 | 0.4 | n |  | TRUE
24 | bus_LV_1405-2_0_3_node_66 | 0.4 | n |  | TRUE
25 | bus_LV_1405-2_0_3_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_1405-2_0_3_node_70 | 0.4 | n |  | TRUE
27 | bus_LV_1405-2_0_3_node_51 | 0.4 | n |  | TRUE
28 | bus_LV_1405-2_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1405-2_0_3_node_80 | 0.4 | n |  | TRUE
30 | bus_LV_1405-2_0_3_node_40 | 0.4 | n |  | TRUE
31 | bus_LV_1405-2_0_3_node_53 | 0.4 | n |  | TRUE
32 | bus_LV_1405-2_0_3_node_16 | 0.4 | n |  | TRUE
33 | bus_LV_1405-2_0_3_node_17 | 0.4 | n |  | TRUE
34 | bus_LV_1405-2_0_3_node_18 | 0.4 | n |  | TRUE
35 | bus_LV_1405-2_0_3_node_19 | 0.4 | n |  | TRUE
36 | bus_LV_1405-2_0_3_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_1405-2_0_3_node_56 | 0.4 | n |  | TRUE
38 | bus_LV_1405-2_0_3_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_1405-2_0_3_node_55 | 0.4 | n |  | TRUE
40 | bus_LV_1405-2_0_3_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_1405-2_0_3_node_22 | 0.4 | n |  | TRUE
42 | bus_LV_1405-2_0_3_node_23 | 0.4 | n |  | TRUE
43 | bus_LV_1405-2_0_3_node_24 | 0.4 | n |  | TRUE
44 | bus_LV_1405-2_0_3_node_25 | 0.4 | n |  | TRUE
45 | bus_LV_1405-2_0_3_node_26 | 0.4 | n |  | TRUE
46 | bus_LV_1405-2_0_3_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_1405-2_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_1405-2_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_1405-2_0_3_node_27 | 0.4 | n |  | TRUE
50 | bus_LV_1405-2_0_3_node_28 | 0.4 | n |  | TRUE
51 | bus_LV_1405-2_0_3_node_29 | 0.4 | n |  | TRUE
52 | bus_LV_1405-2_0_3_node_30 | 0.4 | n |  | TRUE
53 | bus_LV_1405-2_0_3_node_31 | 0.4 | n |  | TRUE
54 | bus_LV_1405-2_0_3_node_32 | 0.4 | n |  | TRUE
55 | bus_LV_1405-2_0_3_node_69 | 0.4 | n |  | TRUE
56 | bus_LV_1405-2_0_3_node_84 | 0.4 | n |  | TRUE
57 | bus_LV_1405-2_0_3_node_35 | 0.4 | n |  | TRUE
58 | bus_LV_1405-2_0_3_node_76 | 0.4 | n |  | TRUE
59 | bus_LV_1405-2_0_3_node_68 | 0.4 | n |  | TRUE
60 | bus_LV_1405-2_0_3_node_82 | 0.4 | n |  | TRUE
61 | bus_LV_1405-2_0_3_node_41 | 0.4 | n |  | TRUE
62 | bus_LV_1405-2_0_3_node_34 | 0.4 | n |  | TRUE
63 | bus_LV_1405-2_0_3_node_74 | 0.4 | n |  | TRUE
64 | bus_LV_1405-2_0_3_node_33 | 0.4 | n |  | TRUE
65 | bus_LV_1405-2_0_3_node_47 | 0.4 | n |  | TRUE
66 | bus_LV_1405-2_0_3_node_48 | 0.4 | n |  | TRUE
67 | bus_LV_1405-2_0_3_node_49 | 0.4 | n |  | TRUE
68 | bus_LV_1405-2_0_3_node_50 | 0.4 | n |  | TRUE
69 | bus_LV_1405-2_0_3_node_54 | 0.4 | n |  | TRUE
70 | bus_LV_1405-2_0_3_node_57 | 0.4 | n |  | TRUE
71 | bus_LV_1405-2_0_3_node_58 | 0.4 | n |  | TRUE
72 | bus_LV_1405-2_0_3_node_59 | 0.4 | n |  | TRUE
73 | bus_LV_1405-2_0_3_node_60 | 0.4 | n |  | TRUE
74 | bus_LV_1405-2_0_3_node_61 | 0.4 | n |  | TRUE
75 | bus_LV_1405-2_0_3_node_62 | 0.4 | n |  | TRUE
76 | bus_LV_1405-2_0_3_node_63 | 0.4 | n |  | TRUE
77 | bus_LV_1405-2_0_3_node_79 | 0.4 | n |  | TRUE
78 | bus_LV_1405-2_0_3_node_71 | 0.4 | n |  | TRUE
79 | bus_LV_1405-2_0_3_node_72 | 0.4 | n |  | TRUE
80 | bus_LV_1405-2_0_3_node_73 | 0.4 | n |  | TRUE
81 | bus_LV_1405-2_0_3_node_75 | 0.4 | n |  | TRUE
82 | bus_LV_1405-2_0_3_node_77 | 0.4 | n |  | TRUE
83 | bus_LV_1405-2_0_3_node_83 | 0.4 | n |  | TRUE
84 | bus_MV_138_2_node_90 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1405-2_0_3_load_0 | 0 | 0.0014696 | 0.00036831 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1405-2_0_3_load_1 | 1 | 0.00086189 | 0.00021601 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1405-2_0_3_load_2 | 2 | 0.00047609 | 0.00011932 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1405-2_0_3_load_3 | 3 | 0.001678 | 0.00042056 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1405-2_0_3_load_4 | 4 | 0.00097478 | 0.0002443 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1405-2_0_3_load_42 | 5 | 0.0032163 | 0.00080607 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1405-2_0_3_load_45 | 6 | 0.00095804 | 0.00024011 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1405-2_0_3_load_44 | 7 | 0.0012667 | 0.00031748 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1405-2_0_3_load_5 | 8 | 0.0016884 | 0.00042316 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1405-2_0_3_load_6 | 9 | 0.0028526 | 0.00071492 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1405-2_0_3_load_7 | 10 | 0.0019763 | 0.0004953 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1405-2_0_3_load_8 | 11 | 0.0072125 | 0.0018076 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1405-2_0_3_load_9 | 12 | 0.0037779 | 0.00094684 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1405-2_0_3_load_81 | 14 | 0.0027607 | 0.00069191 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1405-2_0_3_load_10 | 15 | 0.0034845 | 0.00087329 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1405-2_0_3_load_11 | 16 | 0.0018463 | 0.00046273 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1405-2_0_3_load_15 | 19 | 0.0038815 | 0.00097279 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1405-2_0_3_load_65 | 22 | 0.0033275 | 0.00083394 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1405-2_0_3_load_67 | 23 | 0.0030482 | 0.00076396 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1405-2_0_3_load_66 | 24 | 0.0027941 | 0.00070026 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1405-2_0_3_load_52 | 25 | 0.002987 | 0.00074861 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1405-2_0_3_load_70 | 26 | 0.0024281 | 0.00060855 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1405-2_0_3_load_21 | 28 | 0.0021207 | 0.00053149 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1405-2_0_3_load_80 | 29 | 0.0016282 | 0.00040806 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1405-2_0_3_load_40 | 30 | 0.0024726 | 0.00061968 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1405-2_0_3_load_53 | 31 | 0.004733 | 0.0011862 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1405-2_0_3_load_16 | 32 | 0.002 | 0.00050125 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1405-2_0_3_load_20 | 36 | 0.0015094 | 0.00037828 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1405-2_0_3_load_56 | 37 | 0.0016735 | 0.00041942 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1405-2_0_3_load_38 | 38 | 0.0017164 | 0.00043016 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1405-2_0_3_load_55 | 39 | 0.0020047 | 0.00050243 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1405-2_0_3_load_39 | 40 | 0.0032374 | 0.00081137 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1405-2_0_3_load_22 | 41 | 0.0016808 | 0.00042125 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1405-2_0_3_load_23 | 42 | 0.0031083 | 0.00077901 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1405-2_0_3_load_24 | 43 | 0.004398 | 0.0011022 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1405-2_0_3_load_25 | 44 | 0.0035683 | 0.00089429 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1405-2_0_3_load_26 | 45 | 0.0014963 | 0.00037502 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1405-2_0_3_load_36 | 46 | 0.0038992 | 0.00097724 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1405-2_0_3_load_43 | 47 | 0.0011171 | 0.00027996 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1405-2_0_3_load_37 | 48 | 0.0044592 | 0.0011176 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1405-2_0_3_load_27 | 49 | 0.0056637 | 0.0014195 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1405-2_0_3_load_69 | 55 | 0.0066003 | 0.0016542 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1405-2_0_3_load_84 | 56 | 0.014627 | 0.003666 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1405-2_0_3_load_76 | 58 | 0.0025637 | 0.00064253 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1405-2_0_3_load_68 | 59 | 0.0047965 | 0.0012021 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1405-2_0_3_load_82 | 60 | 0.020722 | 0.0051935 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1405-2_0_3_load_41 | 61 | 0.003277 | 0.00082129 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1405-2_0_3_load_34 | 62 | 0.0026921 | 0.00067471 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1405-2_0_3_load_74 | 63 | 0.0011918 | 0.00029869 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1405-2_0_3_load_33 | 64 | 0.00064718 | 0.0001622 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1405-2_0_3_load_47 | 65 | 0.0019256 | 0.00048261 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1405-2_0_3_load_48 | 66 | 0.0056359 | 0.0014125 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1405-2_0_3_load_49 | 67 | 0.0040823 | 0.0010231 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1405-2_0_3_load_50 | 68 | 0.0041285 | 0.0010347 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1405-2_0_3_load_54 | 69 | 0.0077309 | 0.0019375 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1405-2_0_3_load_57 | 70 | 0.0018518 | 0.00046411 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1405-2_0_3_load_58 | 71 | 0.0039325 | 0.00098557 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1405-2_0_3_load_59 | 72 | 0.0045875 | 0.0011497 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1405-2_0_3_load_60 | 73 | 0.0016475 | 0.0004129 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1405-2_0_3_load_61 | 74 | 0.0016475 | 0.0004129 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1405-2_0_3_load_62 | 75 | 0.0046301 | 0.0011604 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1405-2_0_3_load_63 | 76 | 0.0016299 | 0.00040849 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1405-2_0_3_load_79 | 77 | 0.0015994 | 0.00040084 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1405-2_0_3_load_71 | 78 | 0.0029715 | 0.00074472 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1405-2_0_3_load_72 | 79 | 0.0021483 | 0.00053842 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1405-2_0_3_load_73 | 80 | 0.0013569 | 0.00034007 | 0 | 0 |  | 1 | TRUE | wye
66 | LV_1405-2_0_3_load_75 | 81 | 0.0010177 | 0.00025506 | 0 | 0 |  | 1 | TRUE | wye
67 | LV_1405-2_0_3_load_77 | 82 | 0.0014153 | 0.00035472 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1405-2_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.028772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1405-2_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.011466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1405-2_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.013467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1405-2_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0097489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1405-2_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.011382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1405-2_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.01386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1405-2_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.02132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1405-2_0_3_line_7 | NAYY 4x150 SE | 7 | 47 | 0.021882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1405-2_0_3_line_8 | NAYY 4x150 SE | 8 | 9 | 0.019981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1405-2_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.006236 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1405-2_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.0091701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1405-2_0_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.020935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1405-2_0_3_line_12 | NAYY 4x150 SE | 12 | 13 | 0.021588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1405-2_0_3_line_13 | NAYY 4x150 SE | 13 | 14 | 0.035964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1405-2_0_3_line_14 | NAYY 4x150 SE | 14 | 27 | 0.018083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1405-2_0_3_line_15 | NAYY 4x150 SE | 15 | 16 | 0.0015005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1405-2_0_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.025179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1405-2_0_3_line_17 | NAYY 4x150 SE | 17 | 18 | 0.002956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1405-2_0_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.010443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_1405-2_0_3_line_19 | NAYY 4x150 SE | 18 | 23 | 0.014175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1405-2_0_3_line_20 | NAYY 4x150 SE | 18 | 24 | 0.023916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1405-2_0_3_line_21 | NAYY 4x150 SE | 19 | 25 | 0.015555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_1405-2_0_3_line_22 | NAYY 4x150 SE | 20 | 21 | 0.007607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1405-2_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.018358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1405-2_0_3_line_24 | NAYY 4x150 SE | 21 | 26 | 0.0019823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1405-2_0_3_line_25 | NAYY 4x150 SE | 21 | 27 | 0.014822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1405-2_0_3_line_26 | NAYY 4x150 SE | 22 | 28 | 0.018132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1405-2_0_3_line_27 | NAYY 4x150 SE | 23 | 29 | 0.030014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1405-2_0_3_line_28 | NAYY 4x150 SE | 24 | 30 | 0.0044141 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1405-2_0_3_line_29 | NAYY 4x150 SE | 25 | 31 | 0.013677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_1405-2_0_3_line_30 | NAYY 4x150 SE | 26 | 78 | 0.028701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1405-2_0_3_line_31 | NAYY 4x150 SE | 27 | 67 | 0.03314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1405-2_0_3_line_32 | NAYY 4x150 SE | 28 | 34 | 0.014042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1405-2_0_3_line_33 | NAYY 4x150 SE | 29 | 77 | 0.0058862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1405-2_0_3_line_34 | NAYY 4x150 SE | 30 | 40 | 0.015552 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1405-2_0_3_line_35 | NAYY 4x150 SE | 31 | 59 | 0.0020987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1405-2_0_3_line_36 | NAYY 4x150 SE | 32 | 33 | 0.012873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1405-2_0_3_line_37 | NAYY 4x150 SE | 32 | 34 | 0.010763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1405-2_0_3_line_38 | NAYY 4x150 SE | 33 | 35 | 0.029018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1405-2_0_3_line_39 | NAYY 4x150 SE | 34 | 36 | 0.012895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1405-2_0_3_line_40 | NAYY 4x150 SE | 35 | 37 | 0.017982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1405-2_0_3_line_41 | NAYY 4x150 SE | 36 | 38 | 0.00074358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1405-2_0_3_line_42 | NAYY 4x150 SE | 37 | 39 | 0.011323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1405-2_0_3_line_43 | NAYY 4x150 SE | 38 | 40 | 0.0016614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1405-2_0_3_line_44 | NAYY 4x150 SE | 39 | 70 | 0.022972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1405-2_0_3_line_45 | NAYY 4x150 SE | 41 | 42 | 0.0132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1405-2_0_3_line_46 | NAYY 4x150 SE | 41 | 43 | 0.016532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1405-2_0_3_line_47 | NAYY 4x150 SE | 42 | 44 | 0.013325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1405-2_0_3_line_48 | NAYY 4x150 SE | 43 | 45 | 0.017804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1405-2_0_3_line_49 | NAYY 4x150 SE | 44 | 46 | 0.011318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1405-2_0_3_line_50 | NAYY 4x150 SE | 45 | 47 | 0.0064356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1405-2_0_3_line_51 | NAYY 4x150 SE | 46 | 48 | 0.023175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1405-2_0_3_line_52 | NAYY 4x150 SE | 48 | 52 | 0.026829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1405-2_0_3_line_53 | NAYY 4x150 SE | 49 | 50 | 0.019016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1405-2_0_3_line_54 | NAYY 4x150 SE | 49 | 51 | 0.052363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1405-2_0_3_line_55 | NAYY 4x150 SE | 50 | 52 | 0.00956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1405-2_0_3_line_56 | NAYY 4x150 SE | 50 | 53 | 0.041914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1405-2_0_3_line_57 | NAYY 4x150 SE | 51 | 54 | 0.04457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1405-2_0_3_line_58 | NAYY 4x150 SE | 52 | 55 | 0.028207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1405-2_0_3_line_59 | NAYY 4x150 SE | 53 | 56 | 0.010468 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1405-2_0_3_line_60 | NAYY 4x150 SE | 54 | 57 | 0.029547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1405-2_0_3_line_61 | NAYY 4x150 SE | 54 | 58 | 0.032255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1405-2_0_3_line_62 | NAYY 4x150 SE | 55 | 59 | 0.002206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1405-2_0_3_line_63 | NAYY 4x150 SE | 56 | 60 | 0.15164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1405-2_0_3_line_64 | NAYY 4x150 SE | 57 | 61 | 0.015078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1405-2_0_3_line_65 | NAYY 4x150 SE | 57 | 62 | 0.03286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1405-2_0_3_line_66 | NAYY 4x150 SE | 58 | 63 | 0.027688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1405-2_0_3_line_67 | NAYY 4x150 SE | 60 | 83 | 0.039253 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1405-2_0_3_line_68 | NAYY 4x150 SE | 62 | 64 | 0.093114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1405-2_0_3_line_69 | NAYY 4x150 SE | 63 | 80 | 0.024222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1405-2_0_3_line_70 | NAYY 4x150 SE | 65 | 66 | 0.011373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1405-2_0_3_line_71 | NAYY 4x150 SE | 65 | 67 | 0.012657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1405-2_0_3_line_72 | NAYY 4x150 SE | 66 | 68 | 0.0065919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_1405-2_0_3_line_73 | NAYY 4x150 SE | 68 | 69 | 0.00099453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_1405-2_0_3_line_74 | NAYY 4x150 SE | 70 | 71 | 0.0072603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
75 | LV_1405-2_0_3_line_75 | NAYY 4x150 SE | 72 | 73 | 0.0018724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
76 | LV_1405-2_0_3_line_76 | NAYY 4x150 SE | 72 | 74 | 0.0053637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
77 | LV_1405-2_0_3_line_77 | NAYY 4x150 SE | 73 | 75 | 0.015064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
78 | LV_1405-2_0_3_line_78 | NAYY 4x150 SE | 74 | 76 | 0.016489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
79 | LV_1405-2_0_3_line_79 | NAYY 4x150 SE | 76 | 77 | 0.0012766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
80 | LV_1405-2_0_3_line_80 | NAYY 4x150 SE | 78 | 79 | 0.013111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
81 | LV_1405-2_0_3_line_81 | NAYY 4x150 SE | 80 | 81 | 0.011589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
82 | LV_1405-2_0_3_line_82 | NAYY 4x150 SE | 82 | 83 | 0.11307 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1405-2_0_3_trafo_53 | 0.25 MVA 20/0.4 kV | 84 | 31 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2654214.9758 | 1181562.1565 | 2654238.091 | 1181579.2889
1 | 2654214.9758 | 1181562.1565 | 2654214.2745 | 1181561.6368 | 2654204.7689 | 1181556.9617
2 | 2654238.091 | 1181579.2889 | 2654248.9104 | 1181587.308
3 | 2654195.8286 | 1181553.0812 | 2654203.0602 | 1181556.1213 | 2654204.7689 | 1181556.9617
4 | 2654248.9104 | 1181587.308 | 2654258.0547 | 1181594.0855
5 | 2654195.8286 | 1181553.0812 | 2654183.0513 | 1181547.7096
6 | 2654275.5792 | 1181606.2082 | 2654266.5714 | 1181600.3978 | 2654258.0547 | 1181594.0855
7 | 2654275.5792 | 1181606.2082 | 2654293.8582 | 1181617.9989 | 2654293.9683 | 1181618.0681
8 | 2654525.535 | 1181690.3414 | 2654513.9702 | 1181687.6782 | 2654512.3803 | 1181687.8417 | 2654508.7419 | 1181689.0537 | 2654506.827 | 1181690.9291
9 | 2654531.6119 | 1181691.7409 | 2654525.535 | 1181690.3414
10 | 2654501.7451 | 1181698.4731 | 2654504.974 | 1181692.7437 | 2654506.827 | 1181690.9291
11 | 2654531.6119 | 1181691.7409 | 2654531.6119 | 1181691.7409 | 2654534.1002 | 1181691.8747 | 2654536.5022 | 1181689.7509 | 2654544.3771 | 1181676.7071
12 | 2654548.7817 | 1181657.0334 | 2654550.6134 | 1181666.3774 | 2654544.3771 | 1181676.7071
13 | 2654548.7817 | 1181657.0334 | 2654518.932 | 1181636.9732
14 | 2654503.9233 | 1181626.8867 | 2654518.932 | 1181636.9732
15 | 2654461.4929 | 1181627.1529 | 2654460.3425 | 1181627.5468 | 2654460.0921 | 1181627.6819
16 | 2654437.9337 | 1181639.6389 | 2654460.0921 | 1181627.6819
17 | 2654437.9337 | 1181639.6389 | 2654436.0144 | 1181637.3869
18 | 2654437.9337 | 1181639.6389 | 2654430.5642 | 1181647.0381
19 | 2654436.0144 | 1181637.3869 | 2654424.8823 | 1181628.6113
20 | 2654436.0144 | 1181637.3869 | 2654440.4337 | 1181613.883
21 | 2654430.5642 | 1181647.0381 | 2654423.0208 | 1181654.6119 | 2654420.3249 | 1181658.662
22 | 2654494.6999 | 1181615.7856 | 2654487.4837 | 1181618.2548
23 | 2654487.4837 | 1181618.2548 | 2654486.1924 | 1181614.9635 | 2654475.1903 | 1181605.0305
24 | 2654494.6999 | 1181615.7856 | 2654496.5652 | 1181615.1148
25 | 2654503.9233 | 1181626.8867 | 2654497.2367 | 1181621.5007 | 2654494.6999 | 1181615.7856
26 | 2654475.1903 | 1181605.0305 | 2654467.8696 | 1181598.4212 | 2654462.8187 | 1181591.8744
27 | 2654424.8823 | 1181628.6113 | 2654412.1602 | 1181618.5823 | 2654406.0478 | 1181618.0821 | 2654398.3972 | 1181618.7723
28 | 2654440.4337 | 1181613.883 | 2654441.2493 | 1181609.5449
29 | 2654412.7462 | 1181670.0476 | 2654420.3249 | 1181658.662
30 | 2654496.5652 | 1181615.1148 | 2654523.573 | 1181605.4022
31 | 2654503.9233 | 1181626.8867 | 2654502.8529 | 1181632.9025 | 2654499.722 | 1181642.9685 | 2654486.5266 | 1181652.8548
32 | 2654453.406 | 1181581.5695 | 2654457.3404 | 1181584.7737 | 2654462.8187 | 1181591.8744
33 | 2654392.5348 | 1181619.3011 | 2654398.3972 | 1181618.7723
34 | 2654445.5812 | 1181594.7168 | 2654445.5812 | 1181594.7168 | 2654442.9152 | 1181600.6848 | 2654441.2493 | 1181609.5449
35 | 2654412.7462 | 1181670.0476 | 2654411.5833 | 1181671.7947
36 | 2654459.1052 | 1181558.6308 | 2654456.0012 | 1181571.1242
37 | 2654453.406 | 1181581.5695 | 2654456.0012 | 1181571.1242
38 | 2654438.8938 | 1181538.1138 | 2654455.2134 | 1181556.6277 | 2654459.1052 | 1181558.6308
39 | 2654453.406 | 1181581.5695 | 2654446.8112 | 1181592.6502
40 | 2654438.8938 | 1181538.1138 | 2654421.6868 | 1181532.8899
41 | 2654446.4309 | 1181593.2892 | 2654446.8112 | 1181592.6502
42 | 2654410.7813 | 1181529.8698 | 2654414.5461 | 1181530.7221 | 2654421.6868 | 1181532.8899
43 | 2654446.4309 | 1181593.2892 | 2654445.5812 | 1181594.7168
44 | 2654410.7813 | 1181529.8698 | 2654388.3763 | 1181524.7973
45 | 2654336.8064 | 1181650.445 | 2654327.2958 | 1181641.2913
46 | 2654314.4849 | 1181630.9771 | 2654320.5337 | 1181634.783 | 2654327.2958 | 1181641.2913
47 | 2654336.8064 | 1181650.445 | 2654344.2978 | 1181657.6553 | 2654346.7548 | 1181659.2465
48 | 2654299.4153 | 1181621.4954 | 2654314.4849 | 1181630.9771
49 | 2654356.2544 | 1181665.3984 | 2654346.7548 | 1181659.2465
50 | 2654299.4153 | 1181621.4954 | 2654293.9683 | 1181618.0681
51 | 2654356.2544 | 1181665.3984 | 2654368.934 | 1181673.6096 | 2654374.8985 | 1181679.0437
52 | 2654394.731 | 1181697.112 | 2654374.8985 | 1181679.0437
53 | 2654388.9724 | 1181704.7529 | 2654376.6749 | 1181719.2576
54 | 2654342.8122 | 1181759.198 | 2654376.6749 | 1181719.2576
55 | 2654394.731 | 1181697.112 | 2654388.9724 | 1181704.7529
56 | 2654388.9724 | 1181704.7529 | 2654392.0091 | 1181708.4158 | 2654407.4398 | 1181723.8643 | 2654418.2693 | 1181734.7019
57 | 2654314.9145 | 1181793.9311 | 2654323.04 | 1181783.788 | 2654334.3527 | 1181769.9606 | 2654338.1899 | 1181764.5035 | 2654342.8122 | 1181759.198
58 | 2654394.731 | 1181697.112 | 2654410.3609 | 1181673.631
59 | 2654418.2693 | 1181734.7019 | 2654425.6781 | 1181742.1176
60 | 2654314.9145 | 1181793.9311 | 2654295.3313 | 1181790.0961 | 2654289.3477 | 1181786.3399 | 2654287.138 | 1181784.9636
61 | 2654314.9145 | 1181793.9311 | 2654297.4016 | 1181821.0176
62 | 2654410.3609 | 1181673.631 | 2654411.5833 | 1181671.7947
63 | 2654425.6781 | 1181742.1176 | 2654528.3825 | 1181853.6788
64 | 2654276.6726 | 1181794.6187 | 2654281.4412 | 1181793.3945 | 2654287.138 | 1181784.9636
65 | 2654287.138 | 1181784.9636 | 2654282.0581 | 1181781.7714 | 2654262.0589 | 1181763.841
66 | 2654282.3681 | 1181844.2692 | 2654297.4016 | 1181821.0176
67 | 2654541.6166 | 1181816.7231 | 2654535.5976 | 1181832.8329 | 2654528.3825 | 1181853.6788
68 | 2654262.0589 | 1181763.841 | 2654192.3855 | 1181702.0689
69 | 2654269.7284 | 1181864.9278 | 2654278.5909 | 1181850.1111 | 2654282.3681 | 1181844.2692
70 | 2654476.3969 | 1181660.4442 | 2654467.2948 | 1181667.2637
71 | 2654476.3969 | 1181660.4442 | 2654486.5266 | 1181652.8548
72 | 2654467.2948 | 1181667.2637 | 2654462.0193 | 1181671.2162
73 | 2654461.2233 | 1181671.8125 | 2654462.0193 | 1181671.2162
74 | 2654381.2951 | 1181523.1942 | 2654388.3763 | 1181524.7973
75 | 2654369.4993 | 1181621.379 | 2654367.6345 | 1181621.5472
76 | 2654369.4993 | 1181621.379 | 2654374.8413 | 1181620.8971
77 | 2654352.6314 | 1181622.9005 | 2654367.6345 | 1181621.5472
78 | 2654391.2634 | 1181619.4158 | 2654374.8413 | 1181620.8971
79 | 2654391.2634 | 1181619.4158 | 2654392.5348 | 1181619.3011
80 | 2654535.0398 | 1181599.0602 | 2654524.0673 | 1181605.2245 | 2654523.573 | 1181605.4022
81 | 2654269.7284 | 1181864.9278 | 2654263.7793 | 1181874.8736
82 | 2654582.4138 | 1181711.2728 | 2654541.6166 | 1181816.7231

## bus_geodata
| x | y | coords
0 | 2654214.9758 | 1181562.1565
1 | 2654238.091 | 1181579.2889
2 | 2654204.7689 | 1181556.9617
3 | 2654248.9104 | 1181587.308
4 | 2654195.8286 | 1181553.0812
5 | 2654258.0547 | 1181594.0855
6 | 2654183.0513 | 1181547.7096
7 | 2654275.5792 | 1181606.2082
8 | 2654525.535 | 1181690.3414
9 | 2654506.827 | 1181690.9291
10 | 2654531.6119 | 1181691.7409
11 | 2654501.7451 | 1181698.4731
12 | 2654544.3771 | 1181676.7071
13 | 2654548.7817 | 1181657.0334
14 | 2654518.932 | 1181636.9732
15 | 2654460.0921 | 1181627.6819
16 | 2654461.4929 | 1181627.1529
17 | 2654437.9337 | 1181639.6389
18 | 2654436.0144 | 1181637.3869
19 | 2654430.5642 | 1181647.0381
20 | 2654487.4837 | 1181618.2548
21 | 2654494.6999 | 1181615.7856
22 | 2654475.1903 | 1181605.0305
23 | 2654424.8823 | 1181628.6113
24 | 2654440.4337 | 1181613.883
25 | 2654420.3249 | 1181658.662
26 | 2654496.5652 | 1181615.1148
27 | 2654503.9233 | 1181626.8867
28 | 2654462.8187 | 1181591.8744
29 | 2654398.3972 | 1181618.7723
30 | 2654441.2493 | 1181609.5449
31 | 2654412.7462 | 1181670.0476
32 | 2654456.0012 | 1181571.1242
33 | 2654459.1052 | 1181558.6308
34 | 2654453.406 | 1181581.5695
35 | 2654438.8938 | 1181538.1138
36 | 2654446.8112 | 1181592.6502
37 | 2654421.6868 | 1181532.8899
38 | 2654446.4309 | 1181593.2892
39 | 2654410.7813 | 1181529.8698
40 | 2654445.5812 | 1181594.7168
41 | 2654327.2958 | 1181641.2913
42 | 2654336.8064 | 1181650.445
43 | 2654314.4849 | 1181630.9771
44 | 2654346.7548 | 1181659.2465
45 | 2654299.4153 | 1181621.4954
46 | 2654356.2544 | 1181665.3984
47 | 2654293.9683 | 1181618.0681
48 | 2654374.8985 | 1181679.0437
49 | 2654376.6749 | 1181719.2576
50 | 2654388.9724 | 1181704.7529
51 | 2654342.8122 | 1181759.198
52 | 2654394.731 | 1181697.112
53 | 2654418.2693 | 1181734.7019
54 | 2654314.9145 | 1181793.9311
55 | 2654410.3609 | 1181673.631
56 | 2654425.6781 | 1181742.1176
57 | 2654287.138 | 1181784.9636
58 | 2654297.4016 | 1181821.0176
59 | 2654411.5833 | 1181671.7947
60 | 2654528.3825 | 1181853.6788
61 | 2654276.6726 | 1181794.6187
62 | 2654262.0589 | 1181763.841
63 | 2654282.3681 | 1181844.2692
64 | 2654192.3855 | 1181702.0689
65 | 2654476.3969 | 1181660.4442
66 | 2654467.2948 | 1181667.2637
67 | 2654486.5266 | 1181652.8548
68 | 2654462.0193 | 1181671.2162
69 | 2654461.2233 | 1181671.8125
70 | 2654388.3762 | 1181524.7973
71 | 2654381.2951 | 1181523.1942
72 | 2654369.4993 | 1181621.379
73 | 2654367.6345 | 1181621.5472
74 | 2654374.8413 | 1181620.8971
75 | 2654352.6314 | 1181622.9005
76 | 2654391.2634 | 1181619.4158
77 | 2654392.5348 | 1181619.3011
78 | 2654523.573 | 1181605.4022
79 | 2654535.0398 | 1181599.0602
80 | 2654269.7284 | 1181864.9278
81 | 2654263.7793 | 1181874.8736
82 | 2654582.4138 | 1181711.2728
83 | 2654541.6166 | 1181816.7231
84 | 2654394.731 | 1181697.112

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99029 | -0.068106 | 0.0014696 | 0.00036831
1 | 0.99045 | -0.066969 | 0.00086189 | 0.00021601
2 | 0.99025 | -0.068388 | 0.00047609 | 0.00011932
3 | 0.99054 | -0.066319 | 0.001678 | 0.00042056
4 | 0.99023 | -0.06858 | 0.00097478 | 0.0002443
5 | 0.99065 | -0.065575 | 0.0032163 | 0.00080607
6 | 0.99021 | -0.068715 | 0.00095804 | 0.00024011
7 | 0.99095 | -0.063485 | 0.0012667 | 0.00031748
8 | 0.98199 | -0.1265 | 0.0016884 | 0.00042316
9 | 0.9817 | -0.12858 | 0.0028526 | 0.00071492
10 | 0.9821 | -0.12574 | 0.0019763 | 0.0004953
11 | 0.9816 | -0.12926 | 0.0072125 | 0.0018076
12 | 0.98251 | -0.12276 | 0.0037779 | 0.00094684
13 | 0.98306 | -0.11886 | 0 | 0
14 | 0.98398 | -0.11236 | 0.0027607 | 0.00069191
15 | 0.99667 | -0.023128 | 0.0034845 | 0.00087329
16 | 0.99667 | -0.023156 | 0.0018463 | 0.00046273
17 | 0.99686 | -0.021779 | 0 | 0
18 | 0.99644 | -0.024762 | 0 | 0
19 | 0.99766 | -0.016237 | 0.0038815 | 0.00097279
20 | 0.98602 | -0.09789 | 0 | 0
21 | 0.98545 | -0.1019 | 0 | 0
22 | 0.98738 | -0.088227 | 0.0033275 | 0.00083394
23 | 0.99602 | -0.027674 | 0.0030482 | 0.00076396
24 | 0.99367 | -0.044049 | 0.0027941 | 0.00070026
25 | 0.99889 | -0.0076966 | 0.002987 | 0.00074861
26 | 0.98543 | -0.10206 | 0.0024281 | 0.00060855
27 | 0.98451 | -0.10858 | 0 | 0
28 | 0.98882 | -0.078093 | 0.0021207 | 0.00053149
29 | 0.99527 | -0.032925 | 0.0016282 | 0.00040806
30 | 0.99318 | -0.047495 | 0.0024726 | 0.00061968
31 | 1 | 0 | -0.21663 | -0.054346
32 | 0.9898 | -0.071219 | 0.002 | 0.00050125
33 | 0.98962 | -0.072462 | 0 | 0
34 | 0.98997 | -0.069962 | 0 | 0
35 | 0.98923 | -0.075263 | 0 | 0
36 | 0.99125 | -0.061008 | 0.0015094 | 0.00037828
37 | 0.98898 | -0.077 | 0.0016735 | 0.00041942
38 | 0.99132 | -0.060481 | 0.0017164 | 0.00043016
39 | 0.98885 | -0.0779 | 0.0020047 | 0.00050243
40 | 0.9915 | -0.059275 | 0.0032374 | 0.00081137
41 | 0.99217 | -0.054821 | 0.0016808 | 0.00042125
42 | 0.99254 | -0.052197 | 0.0031083 | 0.00077901
43 | 0.99175 | -0.057827 | 0.004398 | 0.0011022
44 | 0.99298 | -0.049132 | 0.0035683 | 0.00089429
45 | 0.9914 | -0.060272 | 0.0014963 | 0.00037502
46 | 0.99341 | -0.046121 | 0.0038992 | 0.00097724
47 | 0.99129 | -0.061058 | 0.0011171 | 0.00027996
48 | 0.99441 | -0.039052 | 0.0044592 | 0.0011176
49 | 0.99448 | -0.03854 | 0.0056637 | 0.0014195
50 | 0.99499 | -0.035002 | 0 | 0
51 | 0.99353 | -0.045299 | 0 | 0
52 | 0.99575 | -0.029682 | 0 | 0
53 | 0.99277 | -0.050585 | 0 | 0
54 | 0.99271 | -0.051061 | 0 | 0
55 | 0.99939 | -0.0042491 | 0.0066003 | 0.0016542
56 | 0.99221 | -0.054488 | 0.014627 | 0.003666
57 | 0.99243 | -0.053045 | 0 | 0
58 | 0.99243 | -0.053066 | 0.0025637 | 0.00064253
59 | 0.99969 | -0.0021225 | 0.0047965 | 0.0012021
60 | 0.98737 | -0.088719 | 0.020722 | 0.0051935
61 | 0.99236 | -0.053546 | 0.003277 | 0.00082129
62 | 0.99227 | -0.054161 | 0.0026921 | 0.00067471
63 | 0.99228 | -0.054068 | 0.0011918 | 0.00029869
64 | 0.99219 | -0.054776 | 0.00064718 | 0.0001622
65 | 0.98302 | -0.11915 | 0.0019256 | 0.00048261
66 | 0.98273 | -0.1212 | 0.0056359 | 0.0014125
67 | 0.98338 | -0.11661 | 0.0040823 | 0.0010231
68 | 0.98262 | -0.12201 | 0.0041285 | 0.0010347
69 | 0.98261 | -0.12209 | 0.0077309 | 0.0019375
70 | 0.98866 | -0.079257 | 0.0018518 | 0.00046411
71 | 0.98862 | -0.079549 | 0.0039325 | 0.00098557
72 | 0.99474 | -0.036709 | 0.0045875 | 0.0011497
73 | 0.99472 | -0.036827 | 0.0016475 | 0.0004129
74 | 0.99482 | -0.036121 | 0.0016475 | 0.0004129
75 | 0.99462 | -0.037531 | 0.0046301 | 0.0011604
76 | 0.99512 | -0.034041 | 0.0016299 | 0.00040849
77 | 0.99514 | -0.033859 | 0.0015994 | 0.00040084
78 | 0.98522 | -0.10357 | 0.0029715 | 0.00074472
79 | 0.98518 | -0.10386 | 0.0021483 | 0.00053842
80 | 0.9922 | -0.054652 | 0.0013569 | 0.00034007
81 | 0.99218 | -0.054772 | 0.0010177 | 0.00025506
82 | 0.98706 | -0.090939 | 0.0014153 | 0.00035472
83 | 0.98729 | -0.089293 | 0 | 0
84 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0038786 | -0.00097165 | 0.0038793 | 0.00097151 | 6.0978e-07 | -1.3571e-07 | 0.0058279 | 0.0058278 | 0.0058279 | 0.99029 | -0.068106 | 0.99045 | -0.066969 | 2.1585
1 | 0.0024091 | 0.00060334 | -0.002409 | -0.00060345 | 9.3746e-08 | -1.1146e-07 | 0.0036197 | 0.0036198 | 0.0036198 | 0.99029 | -0.068106 | 0.99025 | -0.068388 | 1.3407
2 | -0.0047411 | -0.0011875 | 0.0047416 | 0.0011875 | 4.2632e-07 | -9.3674e-09 | 0.0071226 | 0.0071226 | 0.0071226 | 0.99045 | -0.066969 | 0.99054 | -0.066319 | 2.638
3 | 0.0019329 | 0.00048413 | -0.0019328 | -0.00048424 | 5.1316e-08 | -1.0568e-07 | 0.0029044 | 0.0029044 | 0.0029044 | 0.99025 | -0.068388 | 0.99023 | -0.06858 | 1.0757
4 | -0.0064196 | -0.0016081 | 0.0064203 | 0.0016082 | 6.6049e-07 | 1.075e-07 | 0.0096434 | 0.0096433 | 0.0096434 | 0.99054 | -0.066319 | 0.99065 | -0.065575 | 3.5716
5 | 0.00095806 | 0.00023994 | -0.00095804 | -0.00024011 | 1.7926e-08 | -1.714e-07 | 0.0014396 | 0.0014397 | 0.0014397 | 0.99023 | -0.06858 | 0.99021 | -0.068715 | 0.53322
6 | -0.0096365 | -0.0024143 | 0.0096393 | 0.002415 | 2.7872e-06 | 7.9742e-07 | 0.014474 | 0.014474 | 0.014474 | 0.99065 | -0.065575 | 0.99095 | -0.063485 | 5.3609
7 | -0.010906 | -0.0027325 | 0.01091 | 0.0027337 | 3.6619e-06 | 1.1264e-06 | 0.016376 | 0.016376 | 0.016376 | 0.99095 | -0.063485 | 0.99129 | -0.061058 | 6.0653
8 | 0.010069 | 0.0025236 | -0.010066 | -0.0025227 | 2.9024e-06 | 8.6359e-07 | 0.015257 | 0.015257 | 0.015257 | 0.98199 | -0.1265 | 0.9817 | -0.12858 | 5.6508
9 | -0.011757 | -0.0029467 | 0.011758 | 0.0029471 | 1.2351e-06 | 3.9613e-07 | 0.017816 | 0.017816 | 0.017816 | 0.98199 | -0.1265 | 0.9821 | -0.12574 | 6.5984
10 | 0.0072132 | 0.0018078 | -0.0072125 | -0.0018076 | 6.8403e-07 | 1.4716e-07 | 0.010933 | 0.010933 | 0.010933 | 0.9817 | -0.12858 | 0.9816 | -0.12926 | 4.0494
11 | -0.013735 | -0.0034424 | 0.01374 | 0.0034443 | 5.6571e-06 | 1.9108e-06 | 0.02081 | 0.02081 | 0.02081 | 0.9821 | -0.12574 | 0.98251 | -0.12276 | 7.7074
12 | -0.017518 | -0.0043912 | 0.017528 | 0.0043945 | 9.4825e-06 | 3.3736e-06 | 0.026532 | 0.026531 | 0.026532 | 0.98251 | -0.12276 | 0.98306 | -0.11886 | 9.8265
13 | -0.017528 | -0.0043945 | 0.017543 | 0.0044002 | 1.5797e-05 | 5.6193e-06 | 0.026531 | 0.026531 | 0.026531 | 0.98306 | -0.11886 | 0.98398 | -0.11236 | 9.8265
14 | -0.020304 | -0.0050921 | 0.020315 | 0.0050959 | 1.0639e-05 | 3.8622e-06 | 0.030706 | 0.030706 | 0.030706 | 0.98398 | -0.11236 | 0.98451 | -0.10858 | 11.3727
15 | 0.0018463 | 0.00046271 | -0.0018463 | -0.00046273 | 7.1143e-09 | -1.6818e-08 | 0.0027565 | 0.0027565 | 0.0027565 | 0.99667 | -0.023128 | 0.99667 | -0.023156 | 1.0209
16 | -0.0053308 | -0.001336 | 0.0053318 | 0.0013361 | 9.9519e-07 | 5.4569e-08 | 0.0079588 | 0.0079587 | 0.0079588 | 0.99667 | -0.023128 | 0.99686 | -0.021779 | 2.9477
17 | 0.10131 | 0.025508 | -0.10127 | -0.025492 | 4.2206e-05 | 1.6194e-05 | 0.15127 | 0.15127 | 0.15127 | 0.99686 | -0.021779 | 0.99644 | -0.024762 | 56.0244
18 | -0.10664 | -0.026844 | 0.10672 | 0.026875 | 8.2604e-05 | 3.1498e-05 | 0.15922 | 0.15922 | 0.15922 | 0.99686 | -0.021779 | 0.99766 | -0.016237 | 29.486
19 | 0.020446 | 0.005127 | -0.020438 | -0.005124 | 8.247e-06 | 2.9873e-06 | 0.030534 | 0.030535 | 0.030535 | 0.99644 | -0.024762 | 0.99602 | -0.027674 | 11.3091
20 | 0.080821 | 0.020365 | -0.080603 | -0.020281 | 0.00021753 | 8.3353e-05 | 0.12073 | 0.12073 | 0.12073 | 0.99644 | -0.024762 | 0.99367 | -0.044049 | 44.7154
21 | -0.11061 | -0.027848 | 0.11074 | 0.027899 | 0.00013215 | 5.0419e-05 | 0.16501 | 0.16501 | 0.16501 | 0.99766 | -0.016237 | 0.99889 | -0.0076966 | 30.5581
22 | 0.051476 | 0.012919 | -0.051447 | -0.012908 | 2.865e-05 | 1.0922e-05 | 0.07769 | 0.07769 | 0.07769 | 0.98602 | -0.09789 | 0.98545 | -0.1019 | 28.774
23 | -0.051476 | -0.012919 | 0.051545 | 0.012945 | 6.9142e-05 | 2.6359e-05 | 0.07769 | 0.07769 | 0.07769 | 0.98602 | -0.09789 | 0.98738 | -0.088227 | 28.774
24 | 0.0075492 | 0.0018916 | -0.0075491 | -0.0018916 | 1.6073e-07 | 3.6565e-08 | 0.011399 | 0.011399 | 0.011399 | 0.98545 | -0.1019 | 0.98543 | -0.10206 | 4.2219
25 | 0.043898 | 0.011016 | -0.043857 | -0.011001 | 4.0644e-05 | 1.5444e-05 | 0.066291 | 0.066291 | 0.066291 | 0.98545 | -0.1019 | 0.98451 | -0.10858 | 24.5521
26 | -0.054873 | -0.013779 | 0.05495 | 0.013809 | 7.7388e-05 | 2.9532e-05 | 0.082704 | 0.082704 | 0.082704 | 0.98738 | -0.088227 | 0.98882 | -0.078093 | 30.6312
27 | 0.01739 | 0.0043601 | -0.017377 | -0.0043556 | 1.2642e-05 | 4.4719e-06 | 0.025981 | 0.025981 | 0.025981 | 0.99602 | -0.027674 | 0.99527 | -0.032925 | 9.6225
28 | 0.077809 | 0.019581 | -0.077772 | -0.019567 | 3.7414e-05 | 1.4333e-05 | 0.11655 | 0.11655 | 0.11655 | 0.99367 | -0.044049 | 0.99318 | -0.047495 | 43.1657
29 | -0.11372 | -0.028647 | 0.11385 | 0.028694 | 0.00012255 | 4.6775e-05 | 0.16946 | 0.16946 | 0.16946 | 0.99889 | -0.0076966 | 1 | 0 | 31.3821
30 | 0.005121 | 0.0012831 | -0.0051199 | -0.001283 | 1.0709e-06 | 4.6314e-08 | 0.0077326 | 0.0077327 | 0.0077327 | 0.98543 | -0.10206 | 0.98522 | -0.10357 | 2.864
31 | 0.023543 | 0.0059048 | -0.023516 | -0.0058951 | 2.6186e-05 | 9.6505e-06 | 0.035585 | 0.035585 | 0.035585 | 0.98451 | -0.10858 | 0.98338 | -0.11661 | 13.1795
32 | -0.057071 | -0.01434 | 0.057135 | 0.014365 | 6.465e-05 | 2.4685e-05 | 0.085895 | 0.085895 | 0.085895 | 0.98882 | -0.078093 | 0.98997 | -0.069962 | 31.8131
33 | 0.015749 | 0.0039475 | -0.015747 | -0.0039468 | 2.0364e-06 | 7.0676e-07 | 0.023547 | 0.023547 | 0.023547 | 0.99527 | -0.032925 | 0.99514 | -0.033859 | 8.7209
34 | 0.075299 | 0.018947 | -0.075176 | -0.0189 | 0.00012357 | 4.7326e-05 | 0.11284 | 0.11284 | 0.11284 | 0.99318 | -0.047495 | 0.9915 | -0.059275 | 41.7937
35 | 0.10199 | 0.025652 | -0.10196 | -0.025641 | 3.0173e-05 | 1.1578e-05 | 0.15179 | 0.15179 | 0.15179 | 1 | 0 | 0.99969 | -0.0021225 | 56.2186
36 | 0.0094723 | 0.002374 | -0.0094707 | -0.0023735 | 1.629e-06 | 4.6109e-07 | 0.01424 | 0.01424 | 0.01424 | 0.9898 | -0.071219 | 0.98962 | -0.072462 | 5.2742
37 | -0.011472 | -0.0028752 | 0.011474 | 0.0028759 | 1.9977e-06 | 6.3e-07 | 0.017247 | 0.017247 | 0.017247 | 0.9898 | -0.071219 | 0.98997 | -0.069962 | 6.3878
38 | 0.0094707 | 0.0023735 | -0.009467 | -0.0023725 | 3.6719e-06 | 1.0396e-06 | 0.01424 | 0.01424 | 0.01424 | 0.98962 | -0.072462 | 0.98923 | -0.075263 | 5.2742
39 | -0.06861 | -0.017241 | 0.068695 | 0.017273 | 8.5599e-05 | 3.2757e-05 | 0.10314 | 0.10314 | 0.10314 | 0.98997 | -0.069962 | 0.99125 | -0.061008 | 38.2009
40 | 0.009467 | 0.0023725 | -0.0094647 | -0.0023719 | 2.2755e-06 | 6.444e-07 | 0.01424 | 0.014241 | 0.014241 | 0.98923 | -0.075263 | 0.98898 | -0.077 | 5.2743
41 | -0.070205 | -0.017652 | 0.07021 | 0.017654 | 5.1553e-06 | 1.9732e-06 | 0.10541 | 0.10541 | 0.10541 | 0.99125 | -0.061008 | 0.99132 | -0.060481 | 39.04
42 | 0.0077912 | 0.0019524 | -0.0077903 | -0.0019522 | 9.7091e-07 | 2.2816e-07 | 0.011723 | 0.011723 | 0.011723 | 0.98898 | -0.077 | 0.98885 | -0.0779 | 4.3417
43 | -0.071926 | -0.018084 | 0.071938 | 0.018088 | 1.2089e-05 | 4.628e-06 | 0.10798 | 0.10798 | 0.10798 | 0.99132 | -0.060481 | 0.9915 | -0.059275 | 39.9942
44 | 0.0057855 | 0.0014498 | -0.0057844 | -0.0014496 | 1.0865e-06 | 1.2324e-07 | 0.0087059 | 0.008706 | 0.008706 | 0.98885 | -0.0779 | 0.98866 | -0.079257 | 3.2245
45 | -0.019615 | -0.0049167 | 0.019622 | 0.0049193 | 7.1285e-06 | 2.5712e-06 | 0.029418 | 0.029418 | 0.029418 | 0.99217 | -0.054821 | 0.99254 | -0.052197 | 10.8957
46 | 0.017934 | 0.0044955 | -0.017927 | -0.0044928 | 7.4634e-06 | 2.6571e-06 | 0.026898 | 0.026898 | 0.026898 | 0.99217 | -0.054821 | 0.99175 | -0.057827 | 9.9621
47 | -0.022731 | -0.0056983 | 0.02274 | 0.0057019 | 9.656e-06 | 3.5416e-06 | 0.034078 | 0.034078 | 0.034078 | 0.99254 | -0.052197 | 0.99298 | -0.049132 | 12.6216
48 | 0.013529 | 0.0033906 | -0.013524 | -0.0033891 | 4.5778e-06 | 1.531e-06 | 0.020299 | 0.020299 | 0.020299 | 0.99175 | -0.057827 | 0.9914 | -0.060272 | 7.5181
49 | -0.026309 | -0.0065962 | 0.02632 | 0.0066002 | 1.0977e-05 | 4.0755e-06 | 0.039425 | 0.039425 | 0.039425 | 0.99298 | -0.049132 | 0.99341 | -0.046121 | 14.602
50 | 0.012028 | 0.003014 | -0.012027 | -0.0030136 | 1.3088e-06 | 4.2041e-07 | 0.018053 | 0.018053 | 0.018053 | 0.9914 | -0.060272 | 0.99129 | -0.061058 | 6.6863
51 | -0.030219 | -0.0075775 | 0.030248 | 0.0075886 | 2.9631e-05 | 1.1096e-05 | 0.045266 | 0.045266 | 0.045266 | 0.99341 | -0.046121 | 0.99441 | -0.039052 | 16.7652
52 | -0.034708 | -0.0087061 | 0.034753 | 0.0087232 | 4.5161e-05 | 1.7021e-05 | 0.051939 | 0.051938 | 0.051939 | 0.99441 | -0.039052 | 0.99575 | -0.029682 | 19.2365
53 | -0.018437 | -0.0046197 | 0.018446 | 0.004623 | 9.0303e-06 | 3.2264e-06 | 0.027587 | 0.027587 | 0.027587 | 0.99448 | -0.03854 | 0.99499 | -0.035002 | 10.2173
54 | 0.012774 | 0.0032003 | -0.012762 | -0.0031964 | 1.1936e-05 | 3.9118e-06 | 0.019112 | 0.019113 | 0.019113 | 0.99448 | -0.03854 | 0.99353 | -0.045299 | 7.0787
55 | -0.055417 | -0.013912 | 0.055458 | 0.013927 | 4.0982e-05 | 1.5638e-05 | 0.082885 | 0.082885 | 0.082885 | 0.99499 | -0.035002 | 0.99575 | -0.029682 | 30.6982
56 | 0.036971 | 0.0092888 | -0.036891 | -0.0092585 | 7.9978e-05 | 3.0218e-05 | 0.055299 | 0.055299 | 0.055299 | 0.99499 | -0.035002 | 0.99277 | -0.050585 | 20.481
57 | 0.012762 | 0.0031964 | -0.012751 | -0.003193 | 1.0159e-05 | 3.3307e-06 | 0.019113 | 0.019113 | 0.019113 | 0.99353 | -0.045299 | 0.99271 | -0.051061 | 7.0788
58 | -0.090211 | -0.022651 | 0.090531 | 0.022773 | 0.00031995 | 0.00012269 | 0.13482 | 0.13482 | 0.13482 | 0.99575 | -0.029682 | 0.99939 | -0.0042491 | 49.9346
59 | 0.036891 | 0.0092585 | -0.036871 | -0.009251 | 1.9975e-05 | 7.5473e-06 | 0.055299 | 0.055299 | 0.055299 | 0.99277 | -0.050585 | 0.99221 | -0.054488 | 20.481
60 | 0.0066189 | 0.001657 | -0.0066171 | -0.0016567 | 1.8146e-06 | 3.1604e-07 | 0.0099207 | 0.0099209 | 0.0099209 | 0.99271 | -0.051061 | 0.99243 | -0.053045 | 3.6744
61 | 0.0061325 | 0.001536 | -0.0061308 | -0.0015358 | 1.7006e-06 | 2.3719e-07 | 0.009192 | 0.0091921 | 0.0091921 | 0.99271 | -0.051061 | 0.99243 | -0.053066 | 3.4045
62 | -0.097131 | -0.024427 | 0.09716 | 0.024438 | 2.8802e-05 | 1.1049e-05 | 0.14465 | 0.14465 | 0.14465 | 0.99939 | -0.0042491 | 0.99969 | -0.0021225 | 53.5744
63 | 0.022243 | 0.005585 | -0.022138 | -0.0055464 | 0.00010532 | 3.8558e-05 | 0.033362 | 0.033363 | 0.033363 | 0.99221 | -0.054488 | 0.98737 | -0.088719 | 12.3566
64 | 0.0032772 | 0.00082118 | -0.003277 | -0.00082129 | 2.2717e-07 | -1.0744e-07 | 0.0049137 | 0.0049138 | 0.0049138 | 0.99243 | -0.053045 | 0.99236 | -0.053546 | 1.8199
65 | 0.0033399 | 0.0008355 | -0.0033394 | -0.00083573 | 5.141e-07 | -2.268e-07 | 0.0050072 | 0.0050073 | 0.0050073 | 0.99243 | -0.053045 | 0.99227 | -0.054161 | 1.8546
66 | 0.0035671 | 0.00089327 | -0.0035666 | -0.00089344 | 4.9419e-07 | -1.6764e-07 | 0.0053481 | 0.0053483 | 0.0053483 | 0.99243 | -0.053066 | 0.99228 | -0.054068 | 1.9808
67 | 0.0014158 | 0.00035294 | -0.0014157 | -0.0003534 | 1.1145e-07 | -4.5914e-07 | 0.002133 | 0.0021332 | 0.0021332 | 0.98737 | -0.088719 | 0.98729 | -0.089293 | 0.79006
68 | 0.00064724 | 0.00016102 | -0.00064718 | -0.0001622 | 5.4713e-08 | -1.1816e-06 | 0.00097018 | 0.0009706 | 0.0009706 | 0.99227 | -0.054161 | 0.99219 | -0.054776 | 0.35948
69 | 0.0023748 | 0.00059475 | -0.0023746 | -0.00059499 | 1.9167e-07 | -2.3914e-07 | 0.0035611 | 0.0035612 | 0.0035612 | 0.99228 | -0.054068 | 0.9922 | -0.054652 | 1.319
70 | 0.017502 | 0.0043869 | -0.017497 | -0.0043852 | 4.9812e-06 | 1.7717e-06 | 0.026493 | 0.026493 | 0.026493 | 0.98302 | -0.11915 | 0.98273 | -0.1212 | 9.8121
71 | -0.019427 | -0.0048696 | 0.019434 | 0.004872 | 6.8304e-06 | 2.4665e-06 | 0.029408 | 0.029408 | 0.029408 | 0.98302 | -0.11915 | 0.98338 | -0.11661 | 10.8917
72 | 0.011861 | 0.0029727 | -0.011859 | -0.0029723 | 1.3267e-06 | 4.2675e-07 | 0.017959 | 0.017959 | 0.017959 | 0.98273 | -0.1212 | 0.98262 | -0.12201 | 6.6515
73 | 0.007731 | 0.0019376 | -0.0077309 | -0.0019375 | 8.5057e-08 | 2.0117e-08 | 0.011707 | 0.011707 | 0.011707 | 0.98262 | -0.12201 | 0.98261 | -0.12209 | 4.336
74 | 0.0039326 | 0.00098554 | -0.0039325 | -0.00098557 | 1.5872e-07 | -3.2053e-08 | 0.0059189 | 0.0059189 | 0.0059189 | 0.98866 | -0.079257 | 0.98862 | -0.079549 | 2.1922
75 | 0.0062781 | 0.0015733 | -0.006278 | -0.0015733 | 1.0305e-07 | 1.5328e-08 | 0.0093914 | 0.0093914 | 0.0093914 | 0.99474 | -0.036709 | 0.99472 | -0.036827 | 3.4783
76 | -0.010866 | -0.002723 | 0.010866 | 0.0027233 | 8.8421e-07 | 2.7045e-07 | 0.016254 | 0.016254 | 0.016254 | 0.99474 | -0.036709 | 0.99482 | -0.036121 | 6.0199
77 | 0.0046306 | 0.0011604 | -0.0046301 | -0.0011604 | 4.5103e-07 | -2.2055e-08 | 0.0069269 | 0.0069269 | 0.0069269 | 0.99472 | -0.036827 | 0.99462 | -0.037531 | 2.5655
78 | -0.012514 | -0.0031362 | 0.012518 | 0.0031374 | 3.6048e-06 | 1.1723e-06 | 0.018718 | 0.018718 | 0.018718 | 0.99482 | -0.036121 | 0.99512 | -0.034041 | 6.9326
79 | -0.014147 | -0.0035459 | 0.014148 | 0.003546 | 3.5651e-07 | 1.2053e-07 | 0.021155 | 0.021155 | 0.021155 | 0.99512 | -0.034041 | 0.99514 | -0.033859 | 7.8352
80 | 0.0021484 | 0.00053829 | -0.0021483 | -0.00053842 | 8.6138e-08 | -1.3382e-07 | 0.0032448 | 0.0032449 | 0.0032449 | 0.98522 | -0.10357 | 0.98518 | -0.10386 | 1.2018
81 | 0.0010177 | 0.00025492 | -0.0010177 | -0.00025506 | 1.6846e-08 | -1.432e-07 | 0.0015262 | 0.0015263 | 0.0015263 | 0.9922 | -0.054652 | 0.99218 | -0.054772 | 0.56529
82 | -0.0014153 | -0.00035472 | 0.0014157 | 0.0003534 | 3.2112e-07 | -1.322e-06 | 0.0021337 | 0.0021332 | 0.0021337 | 0.98706 | -0.090939 | 0.98729 | -0.089293 | 0.79025

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22137 | 0.055533

## res_load
| p_mw | q_mvar
0 | 0.0014696 | 0.00036831
1 | 0.00086189 | 0.00021601
2 | 0.00047609 | 0.00011932
3 | 0.001678 | 0.00042056
4 | 0.00097478 | 0.0002443
5 | 0.0032163 | 0.00080607
6 | 0.00095804 | 0.00024011
7 | 0.0012667 | 0.00031748
8 | 0.0016884 | 0.00042316
9 | 0.0028526 | 0.00071492
10 | 0.0019763 | 0.0004953
11 | 0.0072125 | 0.0018076
12 | 0.0037779 | 0.00094684
13 | 0.0027607 | 0.00069191
14 | 0.0034845 | 0.00087329
15 | 0.0018463 | 0.00046273
16 | 0.0038815 | 0.00097279
17 | 0.0033275 | 0.00083394
18 | 0.0030482 | 0.00076396
19 | 0.0027941 | 0.00070026
20 | 0.002987 | 0.00074861
21 | 0.0024281 | 0.00060855
22 | 0.0021207 | 0.00053149
23 | 0.0016282 | 0.00040806
24 | 0.0024726 | 0.00061968
25 | 0.004733 | 0.0011862
26 | 0.002 | 0.00050125
27 | 0.0015094 | 0.00037828
28 | 0.0016735 | 0.00041942
29 | 0.0017164 | 0.00043016
30 | 0.0020047 | 0.00050243
31 | 0.0032374 | 0.00081137
32 | 0.0016808 | 0.00042125
33 | 0.0031083 | 0.00077901
34 | 0.004398 | 0.0011022
35 | 0.0035683 | 0.00089429
36 | 0.0014963 | 0.00037502
37 | 0.0038992 | 0.00097724
38 | 0.0011171 | 0.00027996
39 | 0.0044592 | 0.0011176
40 | 0.0056637 | 0.0014195
41 | 0.0066003 | 0.0016542
42 | 0.014627 | 0.003666
43 | 0.0025637 | 0.00064253
44 | 0.0047965 | 0.0012021
45 | 0.020722 | 0.0051935
46 | 0.003277 | 0.00082129
47 | 0.0026921 | 0.00067471
48 | 0.0011918 | 0.00029869
49 | 0.00064718 | 0.0001622
50 | 0.0019256 | 0.00048261
51 | 0.0056359 | 0.0014125
52 | 0.0040823 | 0.0010231
53 | 0.0041285 | 0.0010347
54 | 0.0077309 | 0.0019375
55 | 0.0018518 | 0.00046411
56 | 0.0039325 | 0.00098557
57 | 0.0045875 | 0.0011497
58 | 0.0016475 | 0.0004129
59 | 0.0016475 | 0.0004129
60 | 0.0046301 | 0.0011604
61 | 0.0016299 | 0.00040849
62 | 0.0015994 | 0.00040084
63 | 0.0029715 | 0.00074472
64 | 0.0021483 | 0.00053842
65 | 0.0013569 | 0.00034007
66 | 0.0010177 | 0.00025506
67 | 0.0014153 | 0.00035472

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1