## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1405-5_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1405-5_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1405-5_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1405-5_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1405-5_0_5_node_11 | 0.4 | n |  | TRUE
5 | bus_LV_1405-5_0_5_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_1405-5_0_5_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1405-5_0_5_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1405-5_0_5_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1405-5_0_5_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1405-5_0_5_node_19 | 0.4 | n |  | TRUE
11 | bus_LV_1405-5_0_5_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1405-5_0_5_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1405-5_0_5_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_1405-5_0_5_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1405-5_0_5_node_41 | 0.4 | n |  | TRUE
16 | bus_LV_1405-5_0_5_node_18 | 0.4 | n |  | TRUE
17 | bus_LV_1405-5_0_5_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_1405-5_0_5_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1405-5_0_5_node_40 | 0.4 | n |  | TRUE
20 | bus_LV_1405-5_0_5_node_10 | 0.4 | n |  | TRUE
21 | bus_LV_1405-5_0_5_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1405-5_0_5_node_45 | 0.4 | n |  | TRUE
23 | bus_LV_1405-5_0_5_node_25 | 0.4 | n |  | TRUE
24 | bus_LV_1405-5_0_5_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1405-5_0_5_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_1405-5_0_5_node_42 | 0.4 | n |  | TRUE
27 | bus_LV_1405-5_0_5_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1405-5_0_5_node_22 | 0.4 | n |  | TRUE
29 | bus_LV_1405-5_0_5_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1405-5_0_5_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1405-5_0_5_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_1405-5_0_5_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_1405-5_0_5_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1405-5_0_5_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_1405-5_0_5_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_1405-5_0_5_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1405-5_0_5_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_1405-5_0_5_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_1405-5_0_5_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_1405-5_0_5_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_1405-5_0_5_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1405-5_0_5_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_1405-5_0_5_node_37 | 0.4 | n |  | TRUE
44 | bus_LV_1405-5_0_5_node_39 | 0.4 | n |  | TRUE
45 | bus_MV_138_2_node_96 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1405-5_0_5_load_0 | 0 | 0.00042259 | 0.00010591 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1405-5_0_5_load_1 | 1 | 0.0012334 | 0.00030911 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1405-5_0_5_load_3 | 3 | 0.0010936 | 0.00027408 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1405-5_0_5_load_13 | 5 | 0.0034531 | 0.00086544 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1405-5_0_5_load_9 | 6 | 0.0091062 | 0.0022822 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1405-5_0_5_load_4 | 7 | 0.0079259 | 0.0019864 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1405-5_0_5_load_5 | 8 | 0.0043714 | 0.0010956 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1405-5_0_5_load_8 | 12 | 0.0020784 | 0.00052089 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1405-5_0_5_load_17 | 13 | 0.036628 | 0.0091799 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1405-5_0_5_load_14 | 14 | 0.0058569 | 0.0014679 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1405-5_0_5_load_41 | 15 | 0.0024581 | 0.00061605 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1405-5_0_5_load_18 | 16 | 0.0053646 | 0.0013445 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1405-5_0_5_load_20 | 17 | 0.072876 | 0.018265 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1405-5_0_5_load_40 | 19 | 0.0021863 | 0.00054793 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1405-5_0_5_load_10 | 20 | 0.002692 | 0.00067469 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1405-5_0_5_load_12 | 21 | 0.0028186 | 0.00070642 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1405-5_0_5_load_25 | 23 | 0.0074424 | 0.0018653 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1405-5_0_5_load_16 | 24 | 0.0016155 | 0.00040489 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1405-5_0_5_load_42 | 26 | 0.006163 | 0.0015446 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1405-5_0_5_load_21 | 27 | 0.0072283 | 0.0018116 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1405-5_0_5_load_22 | 28 | 0.0067673 | 0.0016961 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1405-5_0_5_load_24 | 30 | 0.006899 | 0.0017291 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1405-5_0_5_load_33 | 31 | 0.0021426 | 0.00053698 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1405-5_0_5_load_26 | 33 | 0.0017605 | 0.00044123 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1405-5_0_5_load_29 | 36 | 0.0016802 | 0.00042111 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1405-5_0_5_load_30 | 37 | 0.0020078 | 0.0005032 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1405-5_0_5_load_38 | 38 | 0.0029678 | 0.00074381 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1405-5_0_5_load_36 | 39 | 0.0026217 | 0.00065705 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1405-5_0_5_load_32 | 40 | 0.0018195 | 0.000456 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1405-5_0_5_load_34 | 41 | 0.012442 | 0.0031182 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1405-5_0_5_load_35 | 42 | 0.0083098 | 0.0020826 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1405-5_0_5_load_37 | 43 | 0.0012684 | 0.00031789 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1405-5_0_5_load_39 | 44 | 0.0016779 | 0.00042052 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1405-5_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.038596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1405-5_0_5_line_1 | NAYY 4x150 SE | 0 | 2 | 0.015628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1405-5_0_5_line_2 | NAYY 4x150 SE | 2 | 3 | 0.058115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1405-5_0_5_line_3 | NAYY 4x150 SE | 3 | 4 | 0.014716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1405-5_0_5_line_4 | NAYY 4x150 SE | 4 | 5 | 0.040663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1405-5_0_5_line_5 | NAYY 4x150 SE | 4 | 6 | 0.027711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1405-5_0_5_line_6 | NAYY 4x150 SE | 6 | 20 | 0.039982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1405-5_0_5_line_7 | NAYY 4x150 SE | 7 | 8 | 0.038177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1405-5_0_5_line_8 | NAYY 4x150 SE | 7 | 9 | 0.023043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1405-5_0_5_line_9 | NAYY 4x150 SE | 7 | 10 | 0.12638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_1405-5_0_5_line_10 | NAYY 4x150 SE | 9 | 11 | 0.002199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1405-5_0_5_line_11 | NAYY 4x150 SE | 9 | 12 | 0.075126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_1405-5_0_5_line_12 | NAYY 4x150 SE | 10 | 13 | 0.08655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1405-5_0_5_line_13 | NAYY 4x150 SE | 11 | 14 | 0.066606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1405-5_0_5_line_14 | NAYY 4x150 SE | 12 | 15 | 0.021504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1405-5_0_5_line_15 | NAYY 4x150 SE | 13 | 16 | 0.027269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1405-5_0_5_line_16 | NAYY 4x150 SE | 14 | 18 | 0.087384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1405-5_0_5_line_17 | NAYY 4x150 SE | 15 | 19 | 0.033143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1405-5_0_5_line_18 | NAYY 4x150 SE | 16 | 17 | 0.031881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1405-5_0_5_line_19 | NAYY 4x150 SE | 18 | 24 | 0.030987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1405-5_0_5_line_20 | NAYY 4x150 SE | 19 | 44 | 0.0023427 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1405-5_0_5_line_21 | NAYY 4x150 SE | 20 | 21 | 0.018749 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1405-5_0_5_line_22 | NAYY 4x150 SE | 21 | 22 | 0.016494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1405-5_0_5_line_23 | NAYY 4x150 SE | 22 | 23 | 0.036091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1405-5_0_5_line_24 | NAYY 4x150 SE | 23 | 29 | 0.060001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1405-5_0_5_line_25 | NAYY 4x150 SE | 24 | 25 | 0.032513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1405-5_0_5_line_26 | NAYY 4x150 SE | 25 | 26 | 0.013698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1405-5_0_5_line_27 | NAYY 4x150 SE | 27 | 28 | 0.018386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_1405-5_0_5_line_28 | NAYY 4x150 SE | 27 | 29 | 0.041257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_1405-5_0_5_line_29 | NAYY 4x150 SE | 28 | 30 | 0.0070581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_1405-5_0_5_line_30 | NAYY 4x150 SE | 30 | 31 | 0.015194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_1405-5_0_5_line_31 | NAYY 4x150 SE | 31 | 32 | 0.015764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_1405-5_0_5_line_32 | NAYY 4x150 SE | 32 | 40 | 0.012032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1405-5_0_5_line_33 | NAYY 4x150 SE | 32 | 37 | 0.0058277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_1405-5_0_5_line_34 | NAYY 4x150 SE | 33 | 34 | 0.0090503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_1405-5_0_5_line_35 | NAYY 4x150 SE | 33 | 35 | 0.0066353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_1405-5_0_5_line_36 | NAYY 4x150 SE | 34 | 36 | 0.025245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_1405-5_0_5_line_37 | NAYY 4x150 SE | 35 | 37 | 0.030837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_1405-5_0_5_line_38 | NAYY 4x150 SE | 36 | 38 | 0.0074357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_1405-5_0_5_line_39 | NAYY 4x150 SE | 38 | 39 | 0.041487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_1405-5_0_5_line_40 | NAYY 4x150 SE | 39 | 43 | 0.027281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_1405-5_0_5_line_41 | NAYY 4x150 SE | 40 | 41 | 0.012232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1405-5_0_5_line_42 | NAYY 4x150 SE | 41 | 42 | 0.005242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1405-5_0_5_line_43 | NAYY 4x150 SE | 43 | 44 | 0.018428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1405-5_0_5_trafo_4 | 0.25 MVA 20/0.4 kV | 45 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2654875.9055 | 1181519.241 | 2654890.4481 | 1181497.3287 | 2654898.1162 | 1181487.7155
1 | 2654907.8615 | 1181475.4982 | 2654898.1162 | 1181487.7155
2 | 2654907.8615 | 1181475.4982 | 2654943.0312 | 1181521.7631
3 | 2654951.9369 | 1181533.4783 | 2654943.0312 | 1181521.7631
4 | 2654926.8845 | 1181565.5555 | 2654951.9369 | 1181533.4783
5 | 2654951.9369 | 1181533.4783 | 2654969.0703 | 1181555.2584
6 | 2654993.7902 | 1181586.6827 | 2654969.0703 | 1181555.2584
7 | 2654828.3282 | 1181570.1786 | 2654819.8009 | 1181562.3407 | 2654808.8295 | 1181552.0348 | 2654797.9923 | 1181556.0057
8 | 2654776.3561 | 1181563.9336 | 2654797.9923 | 1181556.0057
9 | 2654797.9923 | 1181556.0057 | 2654755.43 | 1181437.0057
10 | 2654776.3561 | 1181563.9336 | 2654774.55 | 1181565.1956
11 | 2654776.3561 | 1181563.9336 | 2654797.3511 | 1181594.6757 | 2654819.2125 | 1181625.6334
12 | 2654755.43 | 1181437.0057 | 2654708.1086 | 1181374.5728 | 2654703.324 | 1181367.9018
13 | 2654774.55 | 1181565.1956 | 2654778.6796 | 1181589.6357 | 2654780.8543 | 1181594.8473 | 2654790.254 | 1181610.842 | 2654795.5505 | 1181627.6467
14 | 2654819.2125 | 1181625.6334 | 2654831.6169 | 1181643.199
15 | 2654689.691 | 1181344.3347 | 2654699.3761 | 1181362.3975 | 2654703.324 | 1181367.9018
16 | 2654817.582 | 1181708.9571 | 2654801.7705 | 1181680.9638 | 2654801.132 | 1181676.4666 | 2654804.6359 | 1181661.5681 | 2654804.9781 | 1181657.5579 | 2654795.5505 | 1181627.6467
17 | 2654850.9531 | 1181670.1124 | 2654845.9704 | 1181663.5248 | 2654831.6169 | 1181643.199
18 | 2654689.691 | 1181344.3347 | 2654674.6256 | 1181316.2376
19 | 2654817.582 | 1181708.9571 | 2654829.0878 | 1181731.7749 | 2654831.3417 | 1181736.7174
20 | 2654850.9531 | 1181670.1124 | 2654852.3663 | 1181671.9809
21 | 2655004.5145 | 1181602.0584 | 2654994.678 | 1181587.8112 | 2654993.7902 | 1181586.6827
22 | 2655016.551 | 1181611.7917 | 2655012.1717 | 1181611.3291 | 2655008.6206 | 1181608.0058 | 2655004.5145 | 1181602.0584
23 | 2655016.551 | 1181611.7917 | 2655019.4527 | 1181627.6271 | 2655019.9097 | 1181647.6139
24 | 2655018.7954 | 1181707.5653 | 2655018.8878 | 1181705.8096 | 2655020.5023 | 1181673.8512 | 2655019.9812 | 1181650.7447 | 2655019.9097 | 1181647.6139
25 | 2654842.8775 | 1181767.0316 | 2654838.6029 | 1181752.6401 | 2654831.3417 | 1181736.7174
26 | 2654842.8775 | 1181767.0316 | 2654846.2532 | 1181780.3071
27 | 2654959.1873 | 1181707.2409 | 2654977.5573 | 1181708.0172
28 | 2655018.7954 | 1181707.5653 | 2654986.737 | 1181708.4051 | 2654977.5573 | 1181708.0172
29 | 2654952.2345 | 1181708.4556 | 2654959.1873 | 1181707.2409 | 2654959.1873 | 1181707.2409
30 | 2654938.8227 | 1181715.5949 | 2654952.2345 | 1181708.4556 | 2654952.2345 | 1181708.4556
31 | 2654924.9074 | 1181723.0023 | 2654938.8227 | 1181715.5949
32 | 2654924.9074 | 1181723.0023 | 2654920.534 | 1181711.7929
33 | 2654924.9074 | 1181723.0023 | 2654926.8513 | 1181728.4962
34 | 2654924.9206 | 1181767.4047 | 2654931.9695 | 1181761.7284
35 | 2654937.1375 | 1181757.5667 | 2654931.9695 | 1181761.7284
36 | 2654924.9206 | 1181767.4047 | 2654913.0325 | 1181752.1875 | 2654909.4525 | 1181747.4544
37 | 2654937.1375 | 1181757.5667 | 2654926.8513 | 1181728.4962
38 | 2654904.9669 | 1181741.524 | 2654909.4525 | 1181747.4544
39 | 2654879.94 | 1181708.436 | 2654904.9669 | 1181741.524
40 | 2654879.94 | 1181708.436 | 2654863.4831 | 1181686.6783
41 | 2654920.534 | 1181711.7929 | 2654916.0881 | 1181700.3979
42 | 2654916.0881 | 1181700.3979 | 2654916.0881 | 1181700.3979 | 2654911.4361 | 1181702.8141
43 | 2654863.4831 | 1181686.6783 | 2654852.3663 | 1181671.9809

## bus_geodata
| x | y | coords
0 | 2654898.1162 | 1181487.7155
1 | 2654875.9055 | 1181519.241
2 | 2654907.8615 | 1181475.4982
3 | 2654943.0312 | 1181521.7631
4 | 2654951.9369 | 1181533.4783
5 | 2654926.8845 | 1181565.5555
6 | 2654969.0703 | 1181555.2584
7 | 2654797.9923 | 1181556.0057
8 | 2654828.3282 | 1181570.1786
9 | 2654776.3561 | 1181563.9336
10 | 2654755.43 | 1181437.0057
11 | 2654774.55 | 1181565.1956
12 | 2654819.2125 | 1181625.6334
13 | 2654703.324 | 1181367.9018
14 | 2654795.5505 | 1181627.6467
15 | 2654831.6169 | 1181643.199
16 | 2654689.691 | 1181344.3347
17 | 2654674.6256 | 1181316.2376
18 | 2654817.582 | 1181708.9571
19 | 2654850.9531 | 1181670.1124
20 | 2654993.7902 | 1181586.6827
21 | 2655004.5145 | 1181602.0584
22 | 2655016.551 | 1181611.7917
23 | 2655019.9097 | 1181647.6139
24 | 2654831.3417 | 1181736.7174
25 | 2654842.8775 | 1181767.0316
26 | 2654846.2532 | 1181780.3071
27 | 2654977.5573 | 1181708.0172
28 | 2654959.1873 | 1181707.2409
29 | 2655018.7954 | 1181707.5653
30 | 2654952.2345 | 1181708.4556
31 | 2654938.8227 | 1181715.5949
32 | 2654924.9074 | 1181723.0023
33 | 2654931.9695 | 1181761.7284
34 | 2654924.9206 | 1181767.4047
35 | 2654937.1375 | 1181757.5667
36 | 2654909.4525 | 1181747.4544
37 | 2654926.8513 | 1181728.4962
38 | 2654904.9669 | 1181741.524
39 | 2654879.94 | 1181708.436
40 | 2654920.534 | 1181711.7929
41 | 2654916.0881 | 1181700.3979
42 | 2654911.4361 | 1181702.8141
43 | 2654863.4831 | 1181686.6783
44 | 2654852.3663 | 1181671.9809
45 | 2654776.3561 | 1181563.9336

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97046 | -0.20818 | 0.00042259 | 0.00010591
1 | 0.97039 | -0.20869 | 0.0012334 | 0.00030911
2 | 0.97049 | -0.20791 | 0 | 0
3 | 0.97064 | -0.20688 | 0.0010936 | 0.00027408
4 | 0.9707 | -0.20645 | 0 | 0
5 | 0.97049 | -0.20794 | 0.0034531 | 0.00086544
6 | 0.97095 | -0.20463 | 0.0091062 | 0.0022822
7 | 1 | 0 | -0.23288 | -0.058761
8 | 0.99976 | -0.0016667 | 0.0043714 | 0.0010956
9 | 0.99819 | -0.012482 | 0 | 0
10 | 0.98942 | -0.073241 | 0 | 0
11 | 0.99814 | -0.012783 | 0 | 0
12 | 0.99301 | -0.048292 | 0.0020784 | 0.00052089
13 | 0.98217 | -0.1243 | 0.036628 | 0.0091799
14 | 0.99684 | -0.021905 | 0.0058569 | 0.0014679
15 | 0.99156 | -0.058384 | 0.0024581 | 0.00061605
16 | 0.97906 | -0.14644 | 0.0053646 | 0.0013445
17 | 0.97566 | -0.17072 | 0.072876 | 0.018265
18 | 0.99587 | -0.028749 | 0 | 0
19 | 0.98938 | -0.073579 | 0.0021863 | 0.00054793
20 | 0.97185 | -0.19815 | 0.002692 | 0.00067469
21 | 0.97234 | -0.19458 | 0.0028186 | 0.00070642
22 | 0.97285 | -0.19095 | 0 | 0
23 | 0.97395 | -0.18303 | 0.0074424 | 0.0018653
24 | 0.99553 | -0.031177 | 0.0016155 | 0.00040489
25 | 0.99524 | -0.033197 | 0 | 0
26 | 0.99512 | -0.034047 | 0.006163 | 0.0015446
27 | 0.97729 | -0.1591 | 0.0072283 | 0.0018116
28 | 0.97777 | -0.15569 | 0.0067673 | 0.0016961
29 | 0.97644 | -0.16521 | 0 | 0
30 | 0.97799 | -0.15413 | 0.006899 | 0.0017291
31 | 0.97853 | -0.15024 | 0.0021426 | 0.00053698
32 | 0.97912 | -0.14602 | 0 | 0
33 | 0.98152 | -0.12901 | 0.0017605 | 0.00044123
34 | 0.98203 | -0.12537 | 0 | 0
35 | 0.98115 | -0.13162 | 0 | 0
36 | 0.98346 | -0.11523 | 0.0016802 | 0.00042111
37 | 0.97944 | -0.14378 | 0.0020078 | 0.0005032
38 | 0.98389 | -0.11219 | 0.0029678 | 0.00074381
39 | 0.98638 | -0.094616 | 0.0026217 | 0.00065705
40 | 0.97873 | -0.14885 | 0.0018195 | 0.000456
41 | 0.97836 | -0.15149 | 0.012442 | 0.0031182
42 | 0.9783 | -0.15195 | 0.0083098 | 0.0020826
43 | 0.98807 | -0.082745 | 0.0012684 | 0.00031789
44 | 0.98923 | -0.074629 | 0.0016779 | 0.00042052
45 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0012335 | 0.00030867 | -0.0012334 | -0.00030911 | 8.6138e-08 | -4.4371e-07 | 0.0018911 | 0.0018913 | 0.0018913 | 0.97046 | -0.20818 | 0.97039 | -0.20869 | 0.70047
1 | -0.001656 | -0.00041458 | 0.0016561 | 0.00041441 | 6.2867e-08 | -1.6892e-07 | 0.0025391 | 0.002539 | 0.0025391 | 0.97046 | -0.20818 | 0.97049 | -0.20791 | 0.94039
2 | -0.0016561 | -0.00041441 | 0.0016563 | 0.00041378 | 2.3375e-07 | -6.283e-07 | 0.002539 | 0.0025387 | 0.002539 | 0.97049 | -0.20791 | 0.97064 | -0.20688 | 0.94037
3 | -0.0027499 | -0.00068786 | 0.0027501 | 0.00068774 | 1.6316e-07 | -1.1915e-07 | 0.0042152 | 0.0042152 | 0.0042152 | 0.97064 | -0.20688 | 0.9707 | -0.20645 | 1.5612
4 | 0.0034538 | 0.00086521 | -0.0034531 | -0.00086544 | 7.1126e-07 | -2.2899e-07 | 0.0052944 | 0.0052946 | 0.0052946 | 0.9707 | -0.20645 | 0.97049 | -0.20794 | 1.961
5 | -0.0062039 | -0.0015529 | 0.0062055 | 0.0015532 | 1.5637e-06 | 2.5878e-07 | 0.0095096 | 0.0095094 | 0.0095096 | 0.9707 | -0.20645 | 0.97095 | -0.20463 | 3.5221
6 | -0.015312 | -0.0038354 | 0.015325 | 0.0038402 | 1.3737e-05 | 4.7885e-06 | 0.023465 | 0.023465 | 0.023465 | 0.97095 | -0.20463 | 0.97185 | -0.19815 | 8.6908
7 | 0.0043724 | 0.0010955 | -0.0043714 | -0.0010956 | 1.0084e-06 | -1.1289e-07 | 0.006506 | 0.0065062 | 0.0065062 | 1 | 0 | 0.99976 | -0.0016667 | 2.4097
8 | 0.11032 | 0.027914 | -0.11013 | -0.02784 | 0.00019397 | 7.4002e-05 | 0.16426 | 0.16426 | 0.16426 | 1 | 0 | 0.99819 | -0.012482 | 30.4181
9 | 0.11739 | 0.029751 | -0.11618 | -0.029291 | 0.0012047 | 0.00046007 | 0.17479 | 0.17479 | 0.17479 | 1 | 0 | 0.98942 | -0.073241 | 32.3688
10 | 0.013666 | 0.003426 | -0.013665 | -0.0034258 | 5.6948e-07 | 1.9029e-07 | 0.020372 | 0.020372 | 0.020372 | 0.99819 | -0.012482 | 0.99814 | -0.012783 | 7.5452
11 | 0.096465 | 0.024414 | -0.095979 | -0.024229 | 0.00048527 | 0.00018469 | 0.14389 | 0.14389 | 0.14389 | 0.99819 | -0.012482 | 0.99301 | -0.048292 | 26.6456
12 | 0.11618 | 0.029291 | -0.11536 | -0.028976 | 0.00082502 | 0.00031511 | 0.17479 | 0.17479 | 0.17479 | 0.98942 | -0.073241 | 0.98217 | -0.1243 | 32.369
13 | 0.013665 | 0.0034258 | -0.013648 | -0.00342 | 1.7249e-05 | 5.7649e-06 | 0.020372 | 0.020372 | 0.020372 | 0.99814 | -0.012783 | 0.99684 | -0.021905 | 7.5453
14 | 0.093901 | 0.023708 | -0.093768 | -0.023658 | 0.00013296 | 5.0581e-05 | 0.14077 | 0.14077 | 0.14077 | 0.99301 | -0.048292 | 0.99156 | -0.058384 | 26.0689
15 | 0.078729 | 0.019796 | -0.078487 | -0.019703 | 0.00024218 | 9.2802e-05 | 0.1193 | 0.1193 | 0.1193 | 0.98217 | -0.1243 | 0.97906 | -0.14644 | 44.1851
16 | 0.007791 | 0.0019521 | -0.0077836 | -0.0019504 | 7.375e-06 | 1.6985e-06 | 0.01163 | 0.01163 | 0.01163 | 0.99684 | -0.021905 | 0.99587 | -0.028749 | 4.3074
17 | 0.09131 | 0.023042 | -0.091116 | -0.022968 | 0.00019432 | 7.3885e-05 | 0.13708 | 0.13708 | 0.13708 | 0.99156 | -0.058384 | 0.98938 | -0.073579 | 25.3859
18 | 0.073122 | 0.018359 | -0.072876 | -0.018265 | 0.00024576 | 9.4124e-05 | 0.11115 | 0.11115 | 0.11115 | 0.97906 | -0.14644 | 0.97566 | -0.17072 | 41.1654
19 | 0.0077836 | 0.0019504 | -0.007781 | -0.0019498 | 2.6153e-06 | 6.0286e-07 | 0.01163 | 0.01163 | 0.01163 | 0.99587 | -0.028749 | 0.99553 | -0.031177 | 4.3075
20 | 0.088929 | 0.02242 | -0.088916 | -0.022415 | 1.3084e-05 | 4.9723e-06 | 0.1338 | 0.1338 | 0.1338 | 0.98938 | -0.073579 | 0.98923 | -0.074629 | 24.777
21 | -0.018017 | -0.0045149 | 0.018026 | 0.0045181 | 8.9034e-06 | 3.192e-06 | 0.027587 | 0.027587 | 0.027587 | 0.97185 | -0.19815 | 0.97234 | -0.19458 | 10.2173
22 | -0.020845 | -0.0052245 | 0.020855 | 0.0052283 | 1.0474e-05 | 3.8237e-06 | 0.0319 | 0.0319 | 0.0319 | 0.97234 | -0.19458 | 0.97285 | -0.19095 | 11.8149
23 | -0.020855 | -0.0052283 | 0.020878 | 0.0052367 | 2.2917e-05 | 8.3657e-06 | 0.0319 | 0.0319 | 0.0319 | 0.97285 | -0.19095 | 0.97395 | -0.18303 | 11.8148
24 | -0.028321 | -0.007102 | 0.028391 | 0.0071282 | 7.0102e-05 | 2.6214e-05 | 0.043271 | 0.04327 | 0.043271 | 0.97395 | -0.18303 | 0.97644 | -0.16521 | 16.0261
25 | 0.0061654 | 0.0015449 | -0.0061637 | -0.0015447 | 1.723e-06 | 2.4007e-07 | 0.0092154 | 0.0092156 | 0.0092156 | 0.99553 | -0.031177 | 0.99524 | -0.033197 | 3.4132
26 | 0.0061637 | 0.0015447 | -0.006163 | -0.0015446 | 7.2592e-07 | 1.0122e-07 | 0.0092156 | 0.0092156 | 0.0092156 | 0.99524 | -0.033197 | 0.99512 | -0.034047 | 3.4132
27 | -0.035643 | -0.008948 | 0.03566 | 0.008954 | 1.6899e-05 | 6.0386e-06 | 0.054276 | 0.054276 | 0.054276 | 0.97729 | -0.1591 | 0.97777 | -0.15569 | 10.0511
28 | 0.028415 | 0.0071364 | -0.028391 | -0.0071282 | 2.4101e-05 | 8.2365e-06 | 0.04327 | 0.04327 | 0.04327 | 0.97729 | -0.1591 | 0.97644 | -0.16521 | 8.013
29 | -0.042428 | -0.01065 | 0.042437 | 0.010653 | 9.1825e-06 | 3.3546e-06 | 0.064574 | 0.064574 | 0.064574 | 0.97777 | -0.15569 | 0.97799 | -0.15413 | 11.9582
30 | -0.049336 | -0.012383 | 0.049363 | 0.012392 | 2.6715e-05 | 9.8936e-06 | 0.075071 | 0.075071 | 0.075071 | 0.97799 | -0.15413 | 0.97853 | -0.15024 | 13.9021
31 | -0.051505 | -0.012929 | 0.051535 | 0.012941 | 3.0177e-05 | 1.121e-05 | 0.078329 | 0.078329 | 0.078329 | 0.97853 | -0.15024 | 0.97912 | -0.14602 | 14.5054
32 | 0.022588 | 0.005663 | -0.022579 | -0.0056598 | 8.8482e-06 | 3.2519e-06 | 0.034329 | 0.034329 | 0.034329 | 0.97912 | -0.14602 | 0.97873 | -0.14885 | 12.7144
33 | -0.074123 | -0.018604 | 0.074147 | 0.018612 | 2.3077e-05 | 8.729e-06 | 0.11266 | 0.11266 | 0.11266 | 0.97912 | -0.14602 | 0.97944 | -0.14378 | 20.8626
34 | -0.078071 | -0.019616 | 0.078111 | 0.019631 | 3.9569e-05 | 1.499e-05 | 0.11838 | 0.11838 | 0.11838 | 0.98152 | -0.12901 | 0.98203 | -0.12537 | 21.9217
35 | 0.076311 | 0.019175 | -0.076283 | -0.019164 | 2.7717e-05 | 1.0493e-05 | 0.11571 | 0.11571 | 0.11571 | 0.98152 | -0.12901 | 0.98115 | -0.13162 | 21.4274
36 | -0.078111 | -0.019631 | 0.078221 | 0.019673 | 0.00011037 | 4.1811e-05 | 0.11838 | 0.11838 | 0.11838 | 0.98203 | -0.12537 | 0.98346 | -0.11523 | 21.9216
37 | 0.076283 | 0.019164 | -0.076154 | -0.019116 | 0.00012881 | 4.8765e-05 | 0.11571 | 0.11571 | 0.11571 | 0.98115 | -0.13162 | 0.97944 | -0.14378 | 21.4275
38 | -0.079902 | -0.020094 | 0.079935 | 0.020107 | 3.3921e-05 | 1.2858e-05 | 0.12092 | 0.12092 | 0.12092 | 0.98346 | -0.11523 | 0.98389 | -0.11219 | 22.3924
39 | -0.082903 | -0.020851 | 0.083107 | 0.020928 | 0.00020357 | 7.7239e-05 | 0.12541 | 0.12541 | 0.12541 | 0.98389 | -0.11219 | 0.98638 | -0.094616 | 23.2236
40 | -0.085729 | -0.021585 | 0.085871 | 0.021639 | 0.00014244 | 5.4085e-05 | 0.12936 | 0.12936 | 0.12936 | 0.98638 | -0.094616 | 0.98807 | -0.082745 | 23.9559
41 | 0.02076 | 0.0052038 | -0.020752 | -0.005201 | 7.6036e-06 | 2.7708e-06 | 0.031563 | 0.031563 | 0.031563 | 0.97873 | -0.14885 | 0.97836 | -0.15149 | 11.6899
42 | 0.0083104 | 0.0020828 | -0.0083098 | -0.0020826 | 5.2257e-07 | 1.3517e-07 | 0.012639 | 0.01264 | 0.01264 | 0.97836 | -0.15149 | 0.9783 | -0.15195 | 4.6813
43 | -0.087139 | -0.021957 | 0.087238 | 0.021995 | 9.9079e-05 | 3.7635e-05 | 0.13127 | 0.13127 | 0.13127 | 0.98807 | -0.082745 | 0.98923 | -0.074629 | 24.3096

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24081 | 0.060747

## res_load
| p_mw | q_mvar
0 | 0.00042259 | 0.00010591
1 | 0.0012334 | 0.00030911
2 | 0.0010936 | 0.00027408
3 | 0.0034531 | 0.00086544
4 | 0.0091062 | 0.0022822
5 | 0.0079259 | 0.0019864
6 | 0.0043714 | 0.0010956
7 | 0.0020784 | 0.00052089
8 | 0.036628 | 0.0091799
9 | 0.0058569 | 0.0014679
10 | 0.0024581 | 0.00061605
11 | 0.0053646 | 0.0013445
12 | 0.072876 | 0.018265
13 | 0.0021863 | 0.00054793
14 | 0.002692 | 0.00067469
15 | 0.0028186 | 0.00070642
16 | 0.0074424 | 0.0018653
17 | 0.0016155 | 0.00040489
18 | 0.006163 | 0.0015446
19 | 0.0072283 | 0.0018116
20 | 0.0067673 | 0.0016961
21 | 0.006899 | 0.0017291
22 | 0.0021426 | 0.00053698
23 | 0.0017605 | 0.00044123
24 | 0.0016802 | 0.00042111
25 | 0.0020078 | 0.0005032
26 | 0.0029678 | 0.00074381
27 | 0.0026217 | 0.00065705
28 | 0.0018195 | 0.000456
29 | 0.012442 | 0.0031182
30 | 0.0083098 | 0.0020826
31 | 0.0012684 | 0.00031789
32 | 0.0016779 | 0.00042052

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1