## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1405-7_1_3_node_34 | 0.4 | n |  | TRUE
1 | bus_LV_1405-7_1_3_node_35 | 0.4 | n |  | TRUE
2 | bus_LV_1405-7_1_3_node_36 | 0.4 | n |  | TRUE
3 | bus_LV_1405-7_1_3_node_69 | 0.4 | n |  | TRUE
4 | bus_LV_1405-7_1_3_node_41 | 0.4 | n |  | TRUE
5 | bus_LV_1405-7_1_3_node_42 | 0.4 | n |  | TRUE
6 | bus_LV_1405-7_1_3_node_43 | 0.4 | n |  | TRUE
7 | bus_LV_1405-7_1_3_node_44 | 0.4 | n |  | TRUE
8 | bus_LV_1405-7_1_3_node_48 | 0.4 | n |  | TRUE
9 | bus_LV_1405-7_1_3_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_1405-7_1_3_node_52 | 0.4 | n |  | TRUE
11 | bus_LV_1405-7_1_3_node_46 | 0.4 | n |  | TRUE
12 | bus_LV_1405-7_1_3_node_47 | 0.4 | n |  | TRUE
13 | bus_LV_1405-7_1_3_node_55 | 0.4 | n |  | TRUE
14 | bus_LV_1405-7_1_3_node_50 | 0.4 | n |  | TRUE
15 | bus_LV_1405-7_1_3_node_49 | 0.4 | n |  | TRUE
16 | bus_LV_1405-7_1_3_node_51 | 0.4 | n |  | TRUE
17 | bus_LV_1405-7_1_3_node_53 | 0.4 | n |  | TRUE
18 | bus_LV_1405-7_1_3_node_70 | 0.4 | n |  | TRUE
19 | bus_LV_1405-7_1_3_node_66 | 0.4 | n |  | TRUE
20 | bus_LV_1405-7_1_3_node_68 | 0.4 | n |  | TRUE
21 | bus_LV_1405-7_1_3_node_67 | 0.4 | n |  | TRUE
22 | bus_MV_0_node_48 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1405-7_1_3_load_34 | 0 | 0.0040539 | 0.001016 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1405-7_1_3_load_36 | 2 | 0.00038879 | 9.744e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1405-7_1_3_load_69 | 3 | 0.00063416 | 0.00015893 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1405-7_1_3_load_41 | 4 | 0.00095238 | 0.00023869 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1405-7_1_3_load_44 | 7 | 0.00034634 | 8.6802e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1405-7_1_3_load_45 | 9 | 0.00045266 | 0.00011345 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1405-7_1_3_load_46 | 11 | 0.00054017 | 0.00013538 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1405-7_1_3_load_47 | 12 | 0.0019301 | 0.00048373 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1405-7_1_3_load_55 | 13 | 0.00033069 | 8.288e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1405-7_1_3_load_49 | 15 | 0.00040379 | 0.0001012 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1405-7_1_3_load_51 | 16 | 0.00049004 | 0.00012282 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1405-7_1_3_load_53 | 17 | 0.00088047 | 0.00022067 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1405-7_1_3_load_70 | 18 | 0.0012686 | 0.00031795 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1405-7_1_3_load_66 | 19 | 0.0003744 | 9.3834e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1405-7_1_3_load_67 | 21 | 0.00096363 | 0.00024151 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1405-7_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.11937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1405-7_1_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.05732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1405-7_1_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.014277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1405-7_1_3_line_3 | NAYY 4x150 SE | 3 | 8 | 0.38574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1405-7_1_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.090767 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1405-7_1_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.094927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1405-7_1_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.082986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1405-7_1_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.020062 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1405-7_1_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.34762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1405-7_1_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.31324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1405-7_1_3_line_10 | NAYY 4x150 SE | 8 | 14 | 0.17238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1405-7_1_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.015165 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1405-7_1_3_line_12 | NAYY 4x150 SE | 10 | 17 | 0.18897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1405-7_1_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.35913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1405-7_1_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.023103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1405-7_1_3_line_15 | NAYY 4x150 SE | 13 | 19 | 0.0124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1405-7_1_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.20311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1405-7_1_3_line_17 | NAYY 4x150 SE | 15 | 16 | 0.0069287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1405-7_1_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.0045703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1405-7_1_3_line_19 | NAYY 4x150 SE | 19 | 20 | 0.023985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1405-7_1_3_line_20 | NAYY 4x150 SE | 20 | 21 | 0.11393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1405-7_1_3_trafo_48 | 0.25 MVA 20/0.4 kV | 22 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30 | x31 | y31 | x32 | y32 | x33 | y33 | x34 | y34 | x35 | y35 | x36 | y36 | x37 | y37 | x38 | y38 | x39 | y39
0 | 2654000.9335 | 1179931.848 | 2654003.2663 | 1179937.461 | 2654008.3549 | 1179953.4489 | 2654015.3488 | 1179974.1566 | 2654024.657 | 1179986.4138 | 2654033.4092 | 1179994.2414 | 2654048.7793 | 1180005.1525 | 2654054.2253 | 1180009.4261 | 2654058.473 | 1180014.4561 | 2654061.6459 | 1180019.2206 | 2654064.6234 | 1180024.4837 | 2654066.243 | 1180027.4677
1 | 2654000.9335 | 1179931.848 | 2654014.3855 | 1179932.6918 | 2654021.247 | 1179931.6419 | 2654027.6276 | 1179925.4626 | 2654033.4686 | 1179918.1334 | 2654043.8921 | 1179914.2807 | 2654048.1458 | 1179911.0172 | 2654050.1257 | 1179910.1237
2 | 2654050.1257 | 1179910.1237 | 2654063.0947 | 1179904.2704 | 2654063.1282 | 1179904.2354
3 | 2654106.6219 | 1179538.395 | 2654103.0876 | 1179550.8033 | 2654095.0069 | 1179574.3322 | 2654094.3901 | 1179584.2766 | 2654099.1326 | 1179593.7467 | 2654106.9427 | 1179607.836 | 2654110.3226 | 1179617.6163 | 2654113.5875 | 1179628.2961 | 2654114.3356 | 1179635.1288 | 2654111.5899 | 1179650.7237 | 2654120.8625 | 1179696.5881 | 2654121.0978 | 1179715.3784 | 2654119.6431 | 1179740.2901 | 2654117.4264 | 1179759.0582 | 2654111.9292 | 1179778.208 | 2654105.2133 | 1179796.124 | 2654098.8729 | 1179817.3006 | 2654093.7879 | 1179835.6427 | 2654090.7431 | 1179855.6262 | 2654086.4792 | 1179873.5643 | 2654076.4978 | 1179890.2168 | 2654063.1282 | 1179904.2354
4 | 2654212.2839 | 1179573.6014 | 2654205.5873 | 1179569.8833 | 2654201.1209 | 1179566.2187 | 2654194.9134 | 1179562.4828 | 2654186.9 | 1179559.0752 | 2654179.7195 | 1179557.3316 | 2654172.2872 | 1179557.2534 | 2654168.3806 | 1179558.4299 | 2654165.2062 | 1179561.414 | 2654163.3215 | 1179566.244 | 2654162.9603 | 1179573.2558 | 2654163.3592 | 1179578.1398 | 2654163.4747 | 1179582.2653 | 2654165.0536 | 1179585.0811 | 2654167.2208 | 1179587.8689 | 2654171.0377 | 1179594.0957 | 2654171.9812 | 1179596.756
5 | 2654125.9371 | 1179543.1496 | 2654154.1022 | 1179546.6389 | 2654178.1134 | 1179549.9353 | 2654186.9104 | 1179552.8497 | 2654195.4459 | 1179556.8178 | 2654204.4305 | 1179564.3364 | 2654212.2839 | 1179573.6014
6 | 2654212.2839 | 1179573.6014 | 2654224.5944 | 1179588.4096 | 2654237.1921 | 1179602.7091 | 2654248.3941 | 1179615.0505 | 2654253.075 | 1179620.3402 | 2654256.0219 | 1179623.9133 | 2654257.2023 | 1179626.014 | 2654258.8273 | 1179629.6307 | 2654259.3991 | 1179634.8165 | 2654258.3632 | 1179639.4192
7 | 2654125.9371 | 1179543.1496 | 2654110.5435 | 1179540.6427 | 2654106.6219 | 1179538.395
8 | 2654125.9371 | 1179543.1496 | 2654126.6063 | 1179524.0117 | 2654127.6335 | 1179511.781 | 2654128.3831 | 1179502.3603 | 2654131.8924 | 1179489.3515 | 2654136.7003 | 1179478.0442 | 2654138.673 | 1179471.9364 | 2654140.8009 | 1179466.397 | 2654142.0261 | 1179459.3042 | 2654143.1148 | 1179452.0989 | 2654143.3357 | 1179446.2533 | 2654145.5232 | 1179440.8812 | 2654147.7493 | 1179434.6312 | 2654147.3575 | 1179427.2569 | 2654146.1836 | 1179412.5827 | 2654145.3786 | 1179402.7478 | 2654143.9144 | 1179383.8464 | 2654143.7212 | 1179370.5485 | 2654144.6493 | 1179359.1395 | 2654146.0221 | 1179350.9362 | 2654148.7415 | 1179339.121 | 2654148.0154 | 1179334.0783 | 2654150.1914 | 1179324.9151 | 2654149.9469 | 1179321.5333 | 2654151.2803 | 1179316.8539 | 2654154.9641 | 1179304.8361 | 2654157.2876 | 1179297.1083 | 2654157.7261 | 1179286.6176 | 2654158.2943 | 1179273.6156 | 2654157.7465 | 1179269.1304 | 2654156.4523 | 1179264.3939 | 2654154.2231 | 1179259.1487 | 2654152.4039 | 1179254.174 | 2654150.6143 | 1179249.3107 | 2654147.9707 | 1179244.2619 | 2654142.8099 | 1179233.7095 | 2654138.769 | 1179224.3457 | 2654136.9014 | 1179218.8036 | 2654134.8362 | 1179212.3147 | 2654132.7606 | 1179205.7201
9 | 2654346.3552 | 1179925.7191 | 2654341.582 | 1179925.598 | 2654337.7892 | 1179924.3518 | 2654334.9222 | 1179922.9362 | 2654332.3019 | 1179919.5773 | 2654329.7889 | 1179913.6624 | 2654327.1402 | 1179903.3216 | 2654325.2023 | 1179889.5743 | 2654323.2995 | 1179872.7811 | 2654322.5444 | 1179867.5937 | 2654320.7738 | 1179861.5187 | 2654317.6891 | 1179853.7754 | 2654315.0974 | 1179848.9382 | 2654310.9473 | 1179840.7517 | 2654308.0986 | 1179832.2434 | 2654306.9255 | 1179824.284 | 2654305.9406 | 1179814.1028 | 2654303.8191 | 1179796.9964 | 2654301.6824 | 1179785.7931 | 2654295.0609 | 1179752.715 | 2654292.8585 | 1179740.3216 | 2654290.6514 | 1179732.6641 | 2654287.3066 | 1179726.6305 | 2654284.5922 | 1179723.5376 | 2654280.0222 | 1179719.5163 | 2654273.9718 | 1179714.481 | 2654270.9967 | 1179711.4857 | 2654267.7293 | 1179704.4968 | 2654265.5589 | 1179697.8402 | 2654263.7674 | 1179689.8418 | 2654260.8251 | 1179681.5328 | 2654255.8465 | 1179668.6363 | 2654254.833 | 1179664.1357 | 2654255.2183 | 1179656.1682 | 2654257.1603 | 1179645.8467 | 2654258.253 | 1179639.9089 | 2654258.3632 | 1179639.4192
10 | 2654038.7531 | 1179388.4676 | 2654036.701 | 1179391.5286 | 2654037.1752 | 1179395.713 | 2654044.3353 | 1179403.9709 | 2654049.1118 | 1179410.5509 | 2654052.1235 | 1179416.2922 | 2654055.0709 | 1179431.705 | 2654056.929 | 1179435.7573 | 2654059.7068 | 1179439.4733 | 2654072.0303 | 1179448.6783 | 2654078.3708 | 1179455.4725 | 2654081.8254 | 1179461.229 | 2654088.3886 | 1179472.9835 | 2654093.702 | 1179481.8585 | 2654098.47 | 1179491.907 | 2654102.902 | 1179501.9414 | 2654105.4975 | 1179511.4589 | 2654105.9658 | 1179534.9094 | 2654106.6219 | 1179538.395
11 | 2654132.7606 | 1179205.7201 | 2654130.0533 | 1179197.1188 | 2654128.2712 | 1179191.2346
12 | 2654346.3552 | 1179925.7191 | 2654337.8988 | 1179932.4906 | 2654333.9039 | 1179938.3688 | 2654330.6707 | 1179943.6424 | 2654327.8017 | 1179946.6626 | 2654325.1283 | 1179948.3282 | 2654322.0114 | 1179949.2004 | 2654317.9232 | 1179949.3635 | 2654312.2223 | 1179947.9333 | 2654266.6546 | 1179929.622 | 2654256.7327 | 1179925.2966 | 2654248.0192 | 1179922.494 | 2654229.1087 | 1179918.7544 | 2654219.0918 | 1179919.0195 | 2654210.8072 | 1179921.1681 | 2654203.632 | 1179923.9604 | 2654198.9072 | 1179924.4068 | 2654193.7132 | 1179924.3599 | 2654187.9143 | 1179922.7844 | 2654183.5865 | 1179921.5557 | 2654178.3691 | 1179920.7193 | 2654174.7288 | 1179922.2533
13 | 2654128.2712 | 1179191.2346 | 2654126.8188 | 1179186.4393 | 2654124.2193 | 1179179.034 | 2654121.8972 | 1179171.3755 | 2654120.6379 | 1179166.1502 | 2654118.9195 | 1179156.7851 | 2654118.6418 | 1179151.1462 | 2654118.5163 | 1179138.816 | 2654118.9137 | 1179129.4812 | 2654120.0266 | 1179120.4529 | 2654120.9319 | 1179112.4122 | 2654121.2137 | 1179104.0435 | 2654121.0683 | 1179096.4491 | 2654120.2604 | 1179086.0806 | 2654119.1299 | 1179075.8981 | 2654117.1489 | 1179065.9859 | 2654119.1075 | 1179063.9803 | 2654122.6567 | 1179061.8111 | 2654121.8875 | 1179053.922 | 2654114.8658 | 1179037.9055 | 2654106.4089 | 1179020.0639 | 2654095.4771 | 1179008.0921 | 2654078.3435 | 1178995.9087 | 2654064.8848 | 1178987.9498 | 2654036.4384 | 1178979.7557 | 2654025.4377 | 1178976.2658 | 2654007.3012 | 1178974.4572 | 2653992.4506 | 1178976.8248 | 2653984.2227 | 1178976.7841 | 2653974.5269 | 1178975.9965 | 2653958.1973 | 1178981.4081 | 2653940.6213 | 1178981.1757
14 | 2653940.6213 | 1178981.1757 | 2653939.7947 | 1178981.1648 | 2653927.3295 | 1178979.9521 | 2653918.0629 | 1178976.9113
15 | 2653918.0629 | 1178976.9113 | 2653916.5659 | 1178976.4201 | 2653906.3995 | 1178972.7047
16 | 2654038.7531 | 1179388.4676 | 2654045.942 | 1179387.5986 | 2654065.7417 | 1179396.2817 | 2654084.0308 | 1179403.8952 | 2654095.3163 | 1179405.3644 | 2654106.7946 | 1179406.6463 | 2654115.0015 | 1179409.7999 | 2654121.1046 | 1179413.279 | 2654123.2383 | 1179413.8653 | 2654125.4095 | 1179413.6959 | 2654127.457 | 1179412.8361 | 2654128.4434 | 1179410.1991 | 2654127.1176 | 1179406.4184 | 2654121.2237 | 1179398.383 | 2654119.0561 | 1179393.0828 | 2654115.6277 | 1179381.8902 | 2654113.9395 | 1179375.9383 | 2654114.2892 | 1179372.7509 | 2654116.3455 | 1179365.8323 | 2654119.7999 | 1179350.4439 | 2654123.3807 | 1179308.1139
17 | 2654123.9647 | 1179301.2099 | 2654123.3807 | 1179308.1139
18 | 2654170.5171 | 1179924.028 | 2654174.7288 | 1179922.2533
19 | 2653882.8139 | 1178968.5793 | 2653904.1534 | 1178971.8839 | 2653906.3995 | 1178972.7047
20 | 2653882.8139 | 1178968.5793 | 2653930.3083 | 1178948.6061 | 2653959.8054 | 1178937.6986 | 2653962.5915 | 1178937.1233 | 2653966.0106 | 1178937.5321 | 2653978.8865 | 1178939.8158 | 2653990.3504 | 1178938.0829

## bus_geodata
| x | y | coords
0 | 2654066.243 | 1180027.4677
1 | 2654000.9335 | 1179931.848
2 | 2654050.1257 | 1179910.1237
3 | 2654063.1282 | 1179904.2354
4 | 2654171.9812 | 1179596.756
5 | 2654212.2839 | 1179573.6014
6 | 2654125.9371 | 1179543.1496
7 | 2654258.3632 | 1179639.4192
8 | 2654106.6219 | 1179538.395
9 | 2654132.7606 | 1179205.7201
10 | 2654346.3552 | 1179925.7191
11 | 2654128.2712 | 1179191.2346
12 | 2653940.6213 | 1178981.1757
13 | 2653918.0629 | 1178976.9113
14 | 2654038.7531 | 1179388.4676
15 | 2654123.3807 | 1179308.1139
16 | 2654123.9647 | 1179301.2099
17 | 2654174.7288 | 1179922.2533
18 | 2654170.5171 | 1179924.028
19 | 2653906.3995 | 1178972.7047
20 | 2653882.8139 | 1178968.5793
21 | 2653990.3504 | 1178938.0829
22 | 2654106.6219 | 1179538.395

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99608 | -0.027596 | 0.0040539 | 0.001016
1 | 0.99678 | -0.022725 | 0 | 0
2 | 0.99711 | -0.020383 | 0.00038879 | 9.744e-05
3 | 0.9972 | -0.019744 | 0.00063416 | 0.00015893
4 | 0.99918 | -0.0058479 | 0.00095238 | 0.00023869
5 | 0.9993 | -0.0049798 | 0 | 0
6 | 0.99977 | -0.0016429 | 0 | 0
7 | 0.99901 | -0.0070945 | 0.00034634 | 8.6802e-05
8 | 1 | 0 | -0.014854 | -0.0034934
9 | 0.99749 | -0.017861 | 0.00045266 | 0.00011345
10 | 0.99805 | -0.01394 | 0 | 0
11 | 0.9974 | -0.018499 | 0.00054017 | 0.00013538
12 | 0.99555 | -0.031613 | 0.0019301 | 0.00048373
13 | 0.99549 | -0.032005 | 0.00033069 | 8.288e-05
14 | 0.99978 | -0.001588 | 0 | 0
15 | 0.99952 | -0.0034227 | 0.00040379 | 0.0001012
16 | 0.99952 | -0.0034567 | 0.00049004 | 0.00012282
17 | 0.99747 | -0.01803 | 0.00088047 | 0.00022067
18 | 0.99746 | -0.018088 | 0.0012686 | 0.00031795
19 | 0.99547 | -0.032174 | 0.0003744 | 9.3834e-05
20 | 0.99544 | -0.032409 | 0 | 0
21 | 0.99528 | -0.033522 | 0.00096363 | 0.00024151
22 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0040539 | -0.001016 | 0.0040566 | 0.0010155 | 2.7315e-06 | -5.0431e-07 | 0.0060559 | 0.0060554 | 0.0060559 | 0.99608 | -0.027596 | 0.99678 | -0.022725 | 2.2429
1 | -0.0040566 | -0.0010155 | 0.0040579 | 0.0010152 | 1.3115e-06 | -2.43e-07 | 0.0060554 | 0.0060551 | 0.0060554 | 0.99678 | -0.022725 | 0.99711 | -0.020383 | 2.2427
2 | -0.0044467 | -0.0011127 | 0.0044471 | 0.0011126 | 3.9223e-07 | -3.5383e-08 | 0.0066353 | 0.0066352 | 0.0066353 | 0.99711 | -0.020383 | 0.9972 | -0.019744 | 2.4575
3 | -0.0050812 | -0.0012716 | 0.0050951 | 0.0012719 | 1.3832e-05 | 2.736e-07 | 0.0075815 | 0.0075798 | 0.0075815 | 0.9972 | -0.019744 | 1 | 0 | 2.808
4 | -0.00095238 | -0.00023869 | 0.0009525 | 0.00023754 | 1.139e-07 | -1.1452e-06 | 0.0014183 | 0.0014179 | 0.0014183 | 0.99918 | -0.0058479 | 0.9993 | -0.0049798 | 0.52531
5 | -0.0034519 | -0.00085677 | 0.0034534 | 0.00085612 | 1.5631e-06 | -6.4304e-07 | 0.0051371 | 0.0051367 | 0.0051371 | 0.9993 | -0.0049798 | 0.99977 | -0.0016429 | 1.9026
6 | 0.0024994 | 0.00061922 | -0.0024987 | -0.00062003 | 7.1637e-07 | -8.1135e-07 | 0.0037192 | 0.0037196 | 0.0037196 | 0.9993 | -0.0049798 | 0.99901 | -0.0070945 | 1.3776
7 | -0.0080625 | -0.0020019 | 0.0080643 | 0.0020023 | 1.8007e-06 | 4.2942e-07 | 0.011993 | 0.011993 | 0.011993 | 0.99977 | -0.0016429 | 1 | 0 | 4.442
8 | 0.004609 | 0.0011458 | -0.0045988 | -0.0011464 | 1.02e-05 | -6.2487e-07 | 0.0068566 | 0.0068582 | 0.0068582 | 0.99977 | -0.0016429 | 0.99749 | -0.017861 | 2.5401
9 | 0.0021523 | 0.00053323 | -0.0021503 | -0.00053656 | 2.0071e-06 | -3.3254e-06 | 0.0032037 | 0.0032051 | 0.0032051 | 0.99901 | -0.0070945 | 0.99805 | -0.01394 | 1.1871
10 | 0.00089425 | 0.00021916 | -0.00089406 | -0.00022135 | 1.9008e-07 | -2.188e-06 | 0.0013289 | 0.0013297 | 0.0013297 | 1 | 0 | 0.99978 | -0.001588 | 0.49249
11 | 0.0041462 | 0.001033 | -0.0041458 | -0.001033 | 3.6177e-07 | -5.8801e-08 | 0.0061829 | 0.006183 | 0.006183 | 0.99749 | -0.017861 | 0.9974 | -0.018499 | 2.29
12 | 0.0021503 | 0.00053656 | -0.0021491 | -0.00053856 | 1.2117e-06 | -2.002e-06 | 0.0032051 | 0.003206 | 0.003206 | 0.99805 | -0.01394 | 0.99747 | -0.01803 | 1.1874
13 | 0.0036056 | 0.00089763 | -0.0035991 | -0.00089982 | 6.4813e-06 | -2.1855e-06 | 0.0053771 | 0.0053788 | 0.0053788 | 0.9974 | -0.018499 | 0.99555 | -0.031613 | 1.9921
14 | 0.001669 | 0.00041608 | -0.0016689 | -0.00041635 | 8.9666e-08 | -2.659e-07 | 0.0024939 | 0.002494 | 0.002494 | 0.99555 | -0.031613 | 0.99549 | -0.032005 | 0.92369
15 | 0.0013382 | 0.00033347 | -0.0013382 | -0.00033362 | 3.094e-08 | -1.4931e-07 | 0.0019997 | 0.0019997 | 0.0019997 | 0.99549 | -0.032005 | 0.99547 | -0.032174 | 0.74064
16 | 0.00089406 | 0.00022135 | -0.00089383 | -0.00022393 | 2.2425e-07 | -2.5766e-06 | 0.0013297 | 0.0013306 | 0.0013306 | 0.99978 | -0.001588 | 0.99952 | -0.0034227 | 0.49283
17 | 0.00049004 | 0.00012273 | -0.00049004 | -0.00012282 | 2.301e-09 | -8.9927e-08 | 0.00072951 | 0.00072954 | 0.00072954 | 0.99952 | -0.0034227 | 0.99952 | -0.0034567 | 0.2702
18 | 0.0012686 | 0.00031789 | -0.0012686 | -0.00031795 | 1.0215e-08 | -5.5727e-08 | 0.0018925 | 0.0018925 | 0.0018925 | 0.99747 | -0.01803 | 0.99746 | -0.018088 | 0.70094
19 | 0.00096381 | 0.00023979 | -0.00096378 | -0.00024009 | 3.1041e-08 | -2.9987e-07 | 0.0014401 | 0.0014402 | 0.0014402 | 0.99547 | -0.032174 | 0.99544 | -0.032409 | 0.5334
20 | 0.00096378 | 0.00024009 | -0.00096363 | -0.00024151 | 1.4751e-07 | -1.4241e-06 | 0.0014402 | 0.0014407 | 0.0014407 | 0.99544 | -0.032409 | 0.99528 | -0.033522 | 0.53359

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.014854 | 0.0034934

## res_load
| p_mw | q_mvar
0 | 0.0040539 | 0.001016
1 | 0.00038879 | 9.744e-05
2 | 0.00063416 | 0.00015893
3 | 0.00095238 | 0.00023869
4 | 0.00034634 | 8.6802e-05
5 | 0.00045266 | 0.00011345
6 | 0.00054017 | 0.00013538
7 | 0.0019301 | 0.00048373
8 | 0.00033069 | 8.288e-05
9 | 0.00040379 | 0.0001012
10 | 0.00049004 | 0.00012282
11 | 0.00088047 | 0.00022067
12 | 0.0012686 | 0.00031795
13 | 0.0003744 | 9.3834e-05
14 | 0.00096363 | 0.00024151

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1