## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1406-16_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1406-16_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1406-16_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1406-16_0_2_node_9 | 0.4 | n |  | TRUE
4 | bus_LV_1406-16_0_2_node_8 | 0.4 | n |  | TRUE
5 | bus_LV_1406-16_0_2_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1406-16_0_2_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1406-16_0_2_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1406-16_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1406-16_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1406-16_0_2_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_1406-16_0_2_node_19 | 0.4 | n |  | TRUE
12 | bus_LV_1406-16_0_2_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_1406-16_0_2_node_17 | 0.4 | n |  | TRUE
14 | bus_LV_1406-16_0_2_node_21 | 0.4 | n |  | TRUE
15 | bus_LV_1406-16_0_2_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_1406-16_0_2_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1406-16_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1406-16_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1406-16_0_2_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1406-16_0_2_node_14 | 0.4 | n |  | TRUE
21 | bus_LV_1406-16_0_2_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1406-16_0_2_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_1406-16_0_2_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_1406-16_0_2_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_1406-16_0_2_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1406-16_0_2_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_1406-16_0_2_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_1406-16_0_2_node_29 | 0.4 | n |  | TRUE
29 | bus_LV_1406-16_0_2_node_28 | 0.4 | n |  | TRUE
30 | bus_MV_138_3_node_119 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1406-16_0_2_load_0 | 0 | 0.0074106 | 0.0018573 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1406-16_0_2_load_2 | 2 | 0.0020186 | 0.00050591 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1406-16_0_2_load_9 | 3 | 0.0035311 | 0.00088498 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1406-16_0_2_load_8 | 4 | 0.0026793 | 0.00067149 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1406-16_0_2_load_3 | 5 | 0.0045284 | 0.0011349 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1406-16_0_2_load_4 | 6 | 0.0027235 | 0.00068257 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1406-16_0_2_load_5 | 7 | 0.0081042 | 0.0020311 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1406-16_0_2_load_6 | 8 | 0.0059258 | 0.0014852 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1406-16_0_2_load_18 | 10 | 0.0014182 | 0.00035542 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1406-16_0_2_load_19 | 11 | 0.0040152 | 0.0010063 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1406-16_0_2_load_17 | 13 | 0.060166 | 0.015079 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1406-16_0_2_load_30 | 15 | 0.0041616 | 0.001043 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1406-16_0_2_load_12 | 18 | 0.0043094 | 0.00108 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1406-16_0_2_load_13 | 19 | 0.0017102 | 0.00042863 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1406-16_0_2_load_14 | 20 | 0.0017112 | 0.00042886 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1406-16_0_2_load_16 | 21 | 0.033721 | 0.0084514 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1406-16_0_2_load_23 | 23 | 0.0033952 | 0.00085091 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1406-16_0_2_load_24 | 24 | 0.0021576 | 0.00054075 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1406-16_0_2_load_26 | 26 | 0.0035512 | 0.00089003 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1406-16_0_2_load_27 | 27 | 0.0076245 | 0.0019109 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1406-16_0_2_load_28 | 29 | 0.0012827 | 0.00032147 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1406-16_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1406-16_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0041596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1406-16_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.022471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1406-16_0_2_line_3 | NAYY 4x150 SE | 3 | 4 | 0.016375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1406-16_0_2_line_4 | NAYY 4x150 SE | 4 | 16 | 0.014343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1406-16_0_2_line_5 | NAYY 4x150 SE | 5 | 6 | 0.014142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1406-16_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0054813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1406-16_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.015886 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1406-16_0_2_line_8 | NAYY 4x150 SE | 7 | 9 | 0.042644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1406-16_0_2_line_9 | NAYY 4x150 SE | 8 | 10 | 5.387e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1406-16_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.021523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1406-16_0_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.09493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1406-16_0_2_line_12 | NAYY 4x150 SE | 10 | 13 | 0.016753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1406-16_0_2_line_13 | NAYY 4x150 SE | 11 | 14 | 0.026481 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1406-16_0_2_line_14 | NAYY 4x150 SE | 12 | 15 | 0.014073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1406-16_0_2_line_15 | NAYY 4x150 SE | 13 | 21 | 0.0096626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1406-16_0_2_line_16 | NAYY 4x150 SE | 14 | 22 | 0.033036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1406-16_0_2_line_17 | NAYY 4x150 SE | 14 | 23 | 0.009315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1406-16_0_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.007543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1406-16_0_2_line_19 | NAYY 4x150 SE | 17 | 18 | 0.022953 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1406-16_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.031445 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1406-16_0_2_line_21 | NAYY 4x150 SE | 19 | 20 | 0.00080208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1406-16_0_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.0091331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1406-16_0_2_line_23 | NAYY 4x150 SE | 22 | 24 | 0.016284 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1406-16_0_2_line_24 | NAYY 4x150 SE | 24 | 25 | 0.11489 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1406-16_0_2_line_25 | NAYY 4x150 SE | 25 | 26 | 0.05831 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1406-16_0_2_line_26 | NAYY 4x150 SE | 26 | 27 | 0.026129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1406-16_0_2_line_27 | NAYY 4x150 SE | 26 | 28 | 0.087493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1406-16_0_2_line_28 | NAYY 4x150 SE | 28 | 29 | 0.020247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1406-16_0_2_trafo_17 | 0.25 MVA 20/0.4 kV | 30 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2659784.6282 | 1190139.7723 | 2659785.0099 | 1190137.4415 | 2659788.3063 | 1190131.9045 | 2659789.7558 | 1190128.4182
1 | 2659784.6282 | 1190139.7723 | 2659780.9764 | 1190141.764
2 | 2659780.9764 | 1190141.764 | 2659775.5804 | 1190144.707 | 2659769.4395 | 1190146.4356 | 2659766.4602 | 1190146.9506 | 2659762.8629 | 1190146.7368 | 2659759.6151 | 1190147.4159
3 | 2659745.3759 | 1190153.2501 | 2659748.4178 | 1190150.7172 | 2659752.3767 | 1190151.3793 | 2659754.3628 | 1190151.0434 | 2659757.0827 | 1190149.0027 | 2659759.6151 | 1190147.4159 | 2659759.6151 | 1190147.4159
4 | 2659734.3532 | 1190162.428 | 2659745.3759 | 1190153.2501
5 | 2659650.816 | 1190084.6509 | 2659641.2012 | 1190074.2801
6 | 2659637.4746 | 1190070.2605 | 2659641.2012 | 1190074.2801
7 | 2659650.816 | 1190084.6509 | 2659661.6166 | 1190096.3007
8 | 2659606.4863 | 1190041.007 | 2659617.1768 | 1190050.3187 | 2659625.6021 | 1190058.1181 | 2659633.5158 | 1190065.9903 | 2659637.4746 | 1190070.2605
9 | 2659661.6532 | 1190096.3403 | 2659661.6166 | 1190096.3007
10 | 2659606.4863 | 1190041.007 | 2659620.0287 | 1190024.2791
11 | 2659574.1991 | 1190120.5422 | 2659589.2752 | 1190098.3685 | 2659596.5987 | 1190066.701 | 2659598.5052 | 1190044.4962 | 2659602.5249 | 1190037.5211 | 2659606.4863 | 1190041.007
12 | 2659661.6532 | 1190096.3403 | 2659666.1399 | 1190101.1798 | 2659673.4447 | 1190108.2321
13 | 2659636.6911 | 1190003.6975 | 2659620.0287 | 1190024.2791
14 | 2659574.1991 | 1190120.5422 | 2659571.7129 | 1190119.0166 | 2659569.8792 | 1190117.8311 | 2659562.1156 | 1190113.2735
15 | 2659673.4447 | 1190108.2321 | 2659680.3962 | 1190114.9433
16 | 2659656.5763 | 1189977.2804 | 2659636.6911 | 1190003.6975
17 | 2659643.676 | 1190009.8817 | 2659636.6911 | 1190003.6975
18 | 2659734.3532 | 1190162.428 | 2659728.6064 | 1190157.5235
19 | 2659728.6064 | 1190157.5235 | 2659711.2143 | 1190142.5446
20 | 2659711.2143 | 1190142.5446 | 2659697.1452 | 1190130.4277 | 2659687.6001 | 1190121.7838
21 | 2659687.6001 | 1190121.7838 | 2659687.0056 | 1190121.2454
22 | 2659687.0056 | 1190121.2454 | 2659685.6878 | 1190120.052 | 2659680.3962 | 1190114.9433
23 | 2659656.5763 | 1189977.2804 | 2659659.1202 | 1189979.9072 | 2659665.1458 | 1189985.1592 | 2659666.4419 | 1189985.9614 | 2659667.4913 | 1189986.2609 | 2659668.4974 | 1189986.3154 | 2659669.4979 | 1189986.1698
24 | 2659761.1795 | 1189921.2134 | 2659728.3453 | 1189933.782 | 2659718.3599 | 1189938.6407 | 2659713.13 | 1189941.5236 | 2659708.4137 | 1189944.9229 | 2659704.6355 | 1189948.2983 | 2659672.5172 | 1189983.943 | 2659671.0079 | 1189985.4066 | 2659669.4979 | 1189986.1698
25 | 2659761.1795 | 1189921.2134 | 2659799.6007 | 1189958.5849 | 2659802.7029 | 1189962.1306
26 | 2659804.6859 | 1189986.207 | 2659803.3362 | 1189980.8572 | 2659802.9835 | 1189978.7525 | 2659803.1458 | 1189977.0086 | 2659805.9644 | 1189971.2112 | 2659806.394 | 1189969.4367 | 2659806.305 | 1189967.6571 | 2659805.0371 | 1189964.7983 | 2659802.7029 | 1189962.1306
27 | 2659802.7029 | 1189962.1306 | 2659889.2478 | 1189949.2865
28 | 2659889.2478 | 1189949.2865 | 2659894.3803 | 1189951.5613 | 2659897.9434 | 1189953.6871 | 2659905.7168 | 1189960.7219

## bus_geodata
| x | y | coords
0 | 2659789.7558 | 1190128.4182
1 | 2659784.6282 | 1190139.7723
2 | 2659780.9764 | 1190141.764
3 | 2659759.6151 | 1190147.4159
4 | 2659745.3759 | 1190153.2501
5 | 2659641.2012 | 1190074.2801
6 | 2659650.816 | 1190084.6509
7 | 2659637.4746 | 1190070.2605
8 | 2659661.6166 | 1190096.3007
9 | 2659606.4863 | 1190041.007
10 | 2659661.6532 | 1190096.3403
11 | 2659620.0287 | 1190024.2791
12 | 2659574.1991 | 1190120.5422
13 | 2659673.4447 | 1190108.2321
14 | 2659636.6911 | 1190003.6975
15 | 2659562.1156 | 1190113.2735
16 | 2659734.3532 | 1190162.428
17 | 2659728.6064 | 1190157.5235
18 | 2659711.2143 | 1190142.5446
19 | 2659687.6001 | 1190121.7838
20 | 2659687.0056 | 1190121.2454
21 | 2659680.3962 | 1190114.9433
22 | 2659656.5763 | 1189977.2804
23 | 2659643.676 | 1190009.8817
24 | 2659669.4979 | 1189986.1698
25 | 2659761.1795 | 1189921.2134
26 | 2659802.7029 | 1189962.1306
27 | 2659804.6859 | 1189986.207
28 | 2659889.2478 | 1189949.2865
29 | 2659905.7168 | 1189960.7219
30 | 2659669.6199 | 1190104.5394

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9962 | -0.026652 | 0.0074106 | 0.0018573
1 | 0.99633 | -0.025715 | 0 | 0
2 | 0.99638 | -0.025405 | 0.0020186 | 0.00050591
3 | 0.99668 | -0.023275 | 0.0035311 | 0.00088498
4 | 0.99698 | -0.021142 | 0.0026793 | 0.00067149
5 | 0.99709 | -0.020352 | 0.0045284 | 0.0011349
6 | 0.99788 | -0.014837 | 0.0027235 | 0.00068257
7 | 0.99682 | -0.022242 | 0.0081042 | 0.0020311
8 | 0.99882 | -0.0082191 | 0.0059258 | 0.0014852
9 | 0.99521 | -0.033499 | 0 | 0
10 | 0.99883 | -0.0081935 | 0.0014182 | 0.00035542
11 | 0.99453 | -0.038288 | 0.0040152 | 0.0010063
12 | 0.99465 | -0.037488 | 0 | 0
13 | 1 | 0 | -0.10713 | -0.026686
14 | 0.99385 | -0.043114 | 0 | 0
15 | 0.99456 | -0.038079 | 0.0041616 | 0.001043
16 | 0.9973 | -0.01889 | 0 | 0
17 | 0.99747 | -0.017706 | 0 | 0
18 | 0.99799 | -0.014105 | 0.0043094 | 0.00108
19 | 0.99888 | -0.0078207 | 0.0017102 | 0.00042863
20 | 0.99891 | -0.0076469 | 0.0017112 | 0.00042886
21 | 0.99921 | -0.0055114 | 0.033721 | 0.0084514
22 | 0.99315 | -0.048007 | 0 | 0
23 | 0.9938 | -0.043433 | 0.0033952 | 0.00085091
24 | 0.99281 | -0.050421 | 0.0021576 | 0.00054075
25 | 0.99075 | -0.064972 | 0 | 0
26 | 0.9897 | -0.072375 | 0.0035512 | 0.00089003
27 | 0.98941 | -0.074406 | 0.0076245 | 0.0019109
28 | 0.98954 | -0.073525 | 0 | 0
29 | 0.9895 | -0.073789 | 0.0012827 | 0.00032147
30 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0074106 | -0.0018573 | 0.0074116 | 0.0018575 | 9.6194e-07 | 2.0615e-07 | 0.011069 | 0.011069 | 0.011069 | 0.9962 | -0.026652 | 0.99633 | -0.025715 | 4.0997
1 | -0.0074116 | -0.0018575 | 0.0074119 | 0.0018576 | 3.1803e-07 | 6.8146e-08 | 0.011069 | 0.011069 | 0.011069 | 0.99633 | -0.025715 | 0.99638 | -0.025405 | 4.0997
2 | -0.0094305 | -0.0023635 | 0.0094333 | 0.0023642 | 2.7813e-06 | 7.7697e-07 | 0.014084 | 0.014084 | 0.014084 | 0.99638 | -0.025405 | 0.99668 | -0.023275 | 5.2162
3 | -0.012964 | -0.0032492 | 0.012968 | 0.0032505 | 3.8281e-06 | 1.2589e-06 | 0.019356 | 0.019355 | 0.019356 | 0.99668 | -0.023275 | 0.99698 | -0.021142 | 7.1687
4 | -0.015648 | -0.003922 | 0.015652 | 0.0039237 | 4.8817e-06 | 1.6905e-06 | 0.023354 | 0.023354 | 0.023354 | 0.99698 | -0.021142 | 0.9973 | -0.01889 | 8.6498
5 | -0.038955 | -0.0097738 | 0.038985 | 0.0097851 | 2.9829e-05 | 1.1288e-05 | 0.058139 | 0.058139 | 0.058139 | 0.99709 | -0.020352 | 0.99788 | -0.014837 | 21.533
6 | 0.034427 | 0.0086389 | -0.034418 | -0.0086355 | 9.0298e-06 | 3.4015e-06 | 0.051381 | 0.051381 | 0.051381 | 0.99709 | -0.020352 | 0.99682 | -0.022242 | 19.0301
7 | -0.041709 | -0.010468 | 0.041747 | 0.010482 | 3.8352e-05 | 1.4543e-05 | 0.0622 | 0.0622 | 0.0622 | 0.99788 | -0.014837 | 0.99882 | -0.0082191 | 23.0371
8 | 0.026314 | 0.0066044 | -0.026273 | -0.0065891 | 4.1064e-05 | 1.5239e-05 | 0.039284 | 0.039284 | 0.039284 | 0.99682 | -0.022242 | 0.99521 | -0.033499 | 14.5495
9 | -0.047673 | -0.011967 | 0.047673 | 0.011967 | 1.6959e-07 | 6.452e-08 | 0.071028 | 0.071028 | 0.071028 | 0.99882 | -0.0082191 | 0.99883 | -0.0081935 | 26.3068
10 | 0.022108 | 0.0055466 | -0.022094 | -0.0055412 | 1.4677e-05 | 5.3654e-06 | 0.033058 | 0.033058 | 0.033058 | 0.99521 | -0.033499 | 0.99453 | -0.038288 | 12.2437
11 | 0.0041642 | 0.0010426 | -0.0041619 | -0.0010429 | 2.2962e-06 | -3.4967e-07 | 0.0062258 | 0.0062262 | 0.0062262 | 0.99521 | -0.033499 | 0.99465 | -0.037488 | 2.306
12 | -0.049091 | -0.012323 | 0.049147 | 0.012344 | 5.5924e-05 | 2.129e-05 | 0.073141 | 0.073141 | 0.073141 | 0.99883 | -0.0081935 | 1 | 0 | 27.0893
13 | 0.018079 | 0.0045349 | -0.018066 | -0.0045306 | 1.2091e-05 | 4.3071e-06 | 0.027051 | 0.027051 | 0.027051 | 0.99453 | -0.038288 | 0.99385 | -0.043114 | 10.0188
14 | 0.0041619 | 0.0010429 | -0.0041616 | -0.001043 | 3.4043e-07 | -5.1707e-08 | 0.0062262 | 0.0062263 | 0.0062263 | 0.99465 | -0.037488 | 0.99456 | -0.038079 | 2.306
15 | 0.057184 | 0.014342 | -0.05714 | -0.014325 | 4.3659e-05 | 1.6665e-05 | 0.085094 | 0.085094 | 0.085094 | 1 | 0 | 0.99921 | -0.0055114 | 31.5162
16 | 0.014671 | 0.0036797 | -0.014661 | -0.0036763 | 9.9476e-06 | 3.3982e-06 | 0.021967 | 0.021967 | 0.021967 | 0.99385 | -0.043114 | 0.99315 | -0.048007 | 8.136
17 | 0.0033953 | 0.00085085 | -0.0033952 | -0.00085091 | 1.5021e-07 | -6.2927e-08 | 0.0050836 | 0.0050836 | 0.0050836 | 0.99385 | -0.043114 | 0.9938 | -0.043433 | 1.8828
18 | -0.015652 | -0.0039237 | 0.015655 | 0.0039245 | 2.5672e-06 | 8.8894e-07 | 0.023354 | 0.023354 | 0.023354 | 0.9973 | -0.01889 | 0.99747 | -0.017706 | 8.6497
19 | -0.015655 | -0.0039245 | 0.015663 | 0.0039273 | 7.8119e-06 | 2.7048e-06 | 0.023354 | 0.023354 | 0.023354 | 0.99747 | -0.017706 | 0.99799 | -0.014105 | 8.6497
20 | -0.019972 | -0.0050073 | 0.01999 | 0.0050136 | 1.7401e-05 | 6.2814e-06 | 0.02978 | 0.029779 | 0.02978 | 0.99799 | -0.014105 | 0.99888 | -0.0078207 | 11.0295
21 | -0.0217 | -0.0054422 | 0.0217 | 0.0054424 | 5.2304e-07 | 1.9067e-07 | 0.032327 | 0.032327 | 0.032327 | 0.99888 | -0.0078207 | 0.99891 | -0.0076469 | 11.973
22 | -0.023412 | -0.0058713 | 0.023418 | 0.0058738 | 6.932e-06 | 2.5466e-06 | 0.034876 | 0.034876 | 0.034876 | 0.99891 | -0.0076469 | 0.99921 | -0.0055114 | 12.9171
23 | 0.014661 | 0.0036763 | -0.014656 | -0.0036747 | 4.9034e-06 | 1.6753e-06 | 0.021967 | 0.021967 | 0.021967 | 0.99315 | -0.048007 | 0.99281 | -0.050421 | 8.136
24 | 0.012499 | 0.0031339 | -0.012474 | -0.0031257 | 2.516e-05 | 8.1944e-06 | 0.018733 | 0.018734 | 0.018734 | 0.99281 | -0.050421 | 0.99075 | -0.064972 | 6.9385
25 | 0.012474 | 0.0031257 | -0.012461 | -0.0031216 | 1.277e-05 | 4.1615e-06 | 0.018734 | 0.018734 | 0.018734 | 0.99075 | -0.064972 | 0.9897 | -0.072375 | 6.9386
26 | 0.0076266 | 0.0019113 | -0.0076244 | -0.0019109 | 2.1438e-06 | 4.8885e-07 | 0.011467 | 0.011467 | 0.011467 | 0.9897 | -0.072375 | 0.98941 | -0.074406 | 4.2469
27 | 0.0012829 | 0.00032018 | -0.0012827 | -0.00032123 | 2.0307e-07 | -1.046e-06 | 0.0019284 | 0.0019288 | 0.0019288 | 0.9897 | -0.072375 | 0.98954 | -0.073525 | 0.71437
28 | 0.0012827 | 0.00032123 | -0.0012827 | -0.00032147 | 4.7005e-08 | -2.4201e-07 | 0.0019288 | 0.0019289 | 0.0019289 | 0.98954 | -0.073525 | 0.9895 | -0.073789 | 0.71441

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.1673 | 0.041765

## res_load
| p_mw | q_mvar
0 | 0.0074106 | 0.0018573
1 | 0.0020186 | 0.00050591
2 | 0.0035311 | 0.00088498
3 | 0.0026793 | 0.00067149
4 | 0.0045284 | 0.0011349
5 | 0.0027235 | 0.00068257
6 | 0.0081042 | 0.0020311
7 | 0.0059258 | 0.0014852
8 | 0.0014182 | 0.00035542
9 | 0.0040152 | 0.0010063
10 | 0.060166 | 0.015079
11 | 0.0041616 | 0.001043
12 | 0.0043094 | 0.00108
13 | 0.0017102 | 0.00042863
14 | 0.0017112 | 0.00042886
15 | 0.033721 | 0.0084514
16 | 0.0033952 | 0.00085091
17 | 0.0021576 | 0.00054075
18 | 0.0035512 | 0.00089003
19 | 0.0076245 | 0.0019109
20 | 0.0012827 | 0.00032147

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1