## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1406-18_1_3_node_15 | 0.4 | n |  | TRUE
1 | bus_LV_1406-18_1_3_node_20 | 0.4 | n |  | TRUE
2 | bus_LV_1406-18_1_3_node_18 | 0.4 | n |  | TRUE
3 | bus_LV_1406-18_1_3_node_47 | 0.4 | n |  | TRUE
4 | bus_LV_1406-18_1_3_node_82 | 0.4 | n |  | TRUE
5 | bus_LV_1406-18_1_3_node_45 | 0.4 | n |  | TRUE
6 | bus_LV_1406-18_1_3_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_1406-18_1_3_node_19 | 0.4 | n |  | TRUE
8 | bus_LV_1406-18_1_3_node_46 | 0.4 | n |  | TRUE
9 | bus_LV_1406-18_1_3_node_44 | 0.4 | n |  | TRUE
10 | bus_LV_1406-18_1_3_node_109 | 0.4 | n |  | TRUE
11 | bus_LV_1406-18_1_3_node_110 | 0.4 | n |  | TRUE
12 | bus_LV_1406-18_1_3_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_1406-18_1_3_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_1406-18_1_3_node_23 | 0.4 | n |  | TRUE
15 | bus_LV_1406-18_1_3_node_24 | 0.4 | n |  | TRUE
16 | bus_LV_1406-18_1_3_node_49 | 0.4 | n |  | TRUE
17 | bus_LV_1406-18_1_3_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_1406-18_1_3_node_48 | 0.4 | n |  | TRUE
19 | bus_LV_1406-18_1_3_node_29 | 0.4 | n |  | TRUE
20 | bus_LV_1406-18_1_3_node_25 | 0.4 | n |  | TRUE
21 | bus_LV_1406-18_1_3_node_26 | 0.4 | n |  | TRUE
22 | bus_LV_1406-18_1_3_node_27 | 0.4 | n |  | TRUE
23 | bus_LV_1406-18_1_3_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_1406-18_1_3_node_74 | 0.4 | n |  | TRUE
25 | bus_LV_1406-18_1_3_node_108 | 0.4 | n |  | TRUE
26 | bus_LV_1406-18_1_3_node_75 | 0.4 | n |  | TRUE
27 | bus_LV_1406-18_1_3_node_94 | 0.4 | n |  | TRUE
28 | bus_LV_1406-18_1_3_node_93 | 0.4 | n |  | TRUE
29 | bus_LV_1406-18_1_3_node_87 | 0.4 | n |  | TRUE
30 | bus_LV_1406-18_1_3_node_88 | 0.4 | n |  | TRUE
31 | bus_LV_1406-18_1_3_node_89 | 0.4 | n |  | TRUE
32 | bus_LV_1406-18_1_3_node_91 | 0.4 | n |  | TRUE
33 | bus_LV_1406-18_1_3_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1406-18_1_3_node_90 | 0.4 | n |  | TRUE
35 | bus_LV_1406-18_1_3_node_92 | 0.4 | n |  | TRUE
36 | bus_LV_1406-18_1_3_node_64 | 0.4 | n |  | TRUE
37 | bus_LV_1406-18_1_3_node_65 | 0.4 | n |  | TRUE
38 | bus_LV_1406-18_1_3_node_66 | 0.4 | n |  | TRUE
39 | bus_LV_1406-18_1_3_node_72 | 0.4 | n |  | TRUE
40 | bus_LV_1406-18_1_3_node_70 | 0.4 | n |  | TRUE
41 | bus_LV_1406-18_1_3_node_71 | 0.4 | n |  | TRUE
42 | bus_LV_1406-18_1_3_node_69 | 0.4 | n |  | TRUE
43 | bus_LV_1406-18_1_3_node_73 | 0.4 | n |  | TRUE
44 | bus_LV_1406-18_1_3_node_32 | 0.4 | n |  | TRUE
45 | bus_LV_1406-18_1_3_node_33 | 0.4 | n |  | TRUE
46 | bus_LV_1406-18_1_3_node_34 | 0.4 | n |  | TRUE
47 | bus_LV_1406-18_1_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_1406-18_1_3_node_79 | 0.4 | n |  | TRUE
49 | bus_LV_1406-18_1_3_node_36 | 0.4 | n |  | TRUE
50 | bus_LV_1406-18_1_3_node_78 | 0.4 | n |  | TRUE
51 | bus_LV_1406-18_1_3_node_37 | 0.4 | n |  | TRUE
52 | bus_LV_1406-18_1_3_node_38 | 0.4 | n |  | TRUE
53 | bus_LV_1406-18_1_3_node_39 | 0.4 | n |  | TRUE
54 | bus_LV_1406-18_1_3_node_42 | 0.4 | n |  | TRUE
55 | bus_LV_1406-18_1_3_node_40 | 0.4 | n |  | TRUE
56 | bus_LV_1406-18_1_3_node_41 | 0.4 | n |  | TRUE
57 | bus_LV_1406-18_1_3_node_43 | 0.4 | n |  | TRUE
58 | bus_LV_1406-18_1_3_node_84 | 0.4 | n |  | TRUE
59 | bus_LV_1406-18_1_3_node_83 | 0.4 | n |  | TRUE
60 | bus_LV_1406-18_1_3_node_67 | 0.4 | n |  | TRUE
61 | bus_LV_1406-18_1_3_node_68 | 0.4 | n |  | TRUE
62 | bus_LV_1406-18_1_3_node_76 | 0.4 | n |  | TRUE
63 | bus_LV_1406-18_1_3_node_77 | 0.4 | n |  | TRUE
64 | bus_LV_1406-18_1_3_node_97 | 0.4 | n |  | TRUE
65 | bus_LV_1406-18_1_3_node_81 | 0.4 | n |  | TRUE
66 | bus_LV_1406-18_1_3_node_96 | 0.4 | n |  | TRUE
67 | bus_LV_1406-18_1_3_node_80 | 0.4 | n |  | TRUE
68 | bus_LV_1406-18_1_3_node_99 | 0.4 | n |  | TRUE
69 | bus_LV_1406-18_1_3_node_101 | 0.4 | n |  | TRUE
70 | bus_LV_1406-18_1_3_node_85 | 0.4 | n |  | TRUE
71 | bus_LV_1406-18_1_3_node_86 | 0.4 | n |  | TRUE
72 | bus_LV_1406-18_1_3_node_100 | 0.4 | n |  | TRUE
73 | bus_MV_138_3_node_130 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1406-18_1_3_load_15 | 0 | 0.0017989 | 0.00045086 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1406-18_1_3_load_20 | 1 | 0.0014157 | 0.0003548 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1406-18_1_3_load_47 | 3 | 0.0016135 | 0.00040437 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1406-18_1_3_load_82 | 4 | 0.0025635 | 0.00064248 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1406-18_1_3_load_17 | 6 | 0.0019086 | 0.00047833 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1406-18_1_3_load_44 | 9 | 0.0025072 | 0.00062837 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1406-18_1_3_load_109 | 10 | 0.0018327 | 0.00045931 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1406-18_1_3_load_110 | 11 | 0.0018667 | 0.00046783 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1406-18_1_3_load_21 | 12 | 0.0011716 | 0.00029363 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1406-18_1_3_load_22 | 13 | 0.0017349 | 0.00043482 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1406-18_1_3_load_23 | 14 | 0.0011716 | 0.00029363 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1406-18_1_3_load_30 | 17 | 0.0073823 | 0.0018502 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1406-18_1_3_load_48 | 18 | 0.00070193 | 0.00017592 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1406-18_1_3_load_29 | 19 | 0.0025609 | 0.00064181 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1406-18_1_3_load_25 | 20 | 0.0016623 | 0.00041662 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1406-18_1_3_load_26 | 21 | 0.009086 | 0.0022772 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1406-18_1_3_load_27 | 22 | 0.0021513 | 0.00053918 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1406-18_1_3_load_74 | 24 | 0.0015595 | 0.00039085 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1406-18_1_3_load_108 | 25 | 0.0024487 | 0.00061371 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1406-18_1_3_load_94 | 27 | 0.001325 | 0.00033207 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1406-18_1_3_load_93 | 28 | 0.00089893 | 0.00022529 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1406-18_1_3_load_87 | 29 | 0.0022285 | 0.00055851 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1406-18_1_3_load_88 | 30 | 0.001641 | 0.00041127 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1406-18_1_3_load_89 | 31 | 0.0016412 | 0.00041131 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1406-18_1_3_load_91 | 32 | 0.002634 | 0.00066015 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1406-18_1_3_load_90 | 34 | 0.0012972 | 0.0003251 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1406-18_1_3_load_92 | 35 | 0.001641 | 0.00041127 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1406-18_1_3_load_64 | 36 | 0.0034238 | 0.00085809 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1406-18_1_3_load_65 | 37 | 0.009818 | 0.0024606 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1406-18_1_3_load_70 | 40 | 0.0030452 | 0.00076319 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1406-18_1_3_load_71 | 41 | 0.0025579 | 0.00064108 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1406-18_1_3_load_69 | 42 | 0.0040446 | 0.0010137 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1406-18_1_3_load_73 | 43 | 0.0015144 | 0.00037956 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1406-18_1_3_load_32 | 44 | 0.0046366 | 0.0011621 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1406-18_1_3_load_33 | 45 | 0.0037837 | 0.00094829 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1406-18_1_3_load_34 | 46 | 0.0032942 | 0.00082559 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1406-18_1_3_load_35 | 47 | 0.0021843 | 0.00054743 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1406-18_1_3_load_79 | 48 | 0.0016236 | 0.00040692 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1406-18_1_3_load_78 | 50 | 0.00065147 | 0.00016327 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1406-18_1_3_load_37 | 51 | 0.0045486 | 0.00114 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1406-18_1_3_load_38 | 52 | 0.0051258 | 0.0012846 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1406-18_1_3_load_39 | 53 | 0.0027643 | 0.00069281 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1406-18_1_3_load_42 | 54 | 0.0064137 | 0.0016074 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1406-18_1_3_load_40 | 55 | 0.0027783 | 0.0006963 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1406-18_1_3_load_41 | 56 | 0.0023911 | 0.00059927 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1406-18_1_3_load_84 | 58 | 0.0012995 | 0.00032567 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1406-18_1_3_load_83 | 59 | 0.0018708 | 0.00046886 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1406-18_1_3_load_67 | 60 | 0.0042295 | 0.00106 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1406-18_1_3_load_68 | 61 | 0.004834 | 0.0012115 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1406-18_1_3_load_76 | 62 | 0.0012561 | 0.0003148 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1406-18_1_3_load_77 | 63 | 0.0012274 | 0.00030762 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1406-18_1_3_load_96 | 66 | 0.0012826 | 0.00032145 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1406-18_1_3_load_80 | 67 | 0.0029829 | 0.00074758 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1406-18_1_3_load_99 | 68 | 0.0011954 | 0.00029959 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1406-18_1_3_load_101 | 69 | 0.0018458 | 0.0004626 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1406-18_1_3_load_85 | 70 | 0.0010923 | 0.00027374 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1406-18_1_3_load_86 | 71 | 0.0030168 | 0.00075609 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1406-18_1_3_load_100 | 72 | 0.00095156 | 0.00023848 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1406-18_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.11813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1406-18_1_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.012021 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1406-18_1_3_line_2 | NAYY 4x150 SE | 2 | 7 | 0.039095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1406-18_1_3_line_3 | NAYY 4x150 SE | 2 | 6 | 0.014463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1406-18_1_3_line_4 | NAYY 4x150 SE | 3 | 4 | 0.036039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_1406-18_1_3_line_5 | NAYY 4x150 SE | 3 | 5 | 0.023104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1406-18_1_3_line_6 | NAYY 4x150 SE | 4 | 59 | 0.018811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1406-18_1_3_line_7 | NAYY 4x150 SE | 5 | 9 | 0.064988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1406-18_1_3_line_8 | NAYY 4x150 SE | 5 | 57 | 0.017428 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1406-18_1_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.019291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1406-18_1_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.027601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1406-18_1_3_line_11 | NAYY 4x150 SE | 8 | 10 | 0.024431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1406-18_1_3_line_12 | NAYY 4x150 SE | 8 | 11 | 0.034292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1406-18_1_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.042635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1406-18_1_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.040464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1406-18_1_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.0033558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1406-18_1_3_line_16 | NAYY 4x150 SE | 15 | 16 | 0.16821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1406-18_1_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.061365 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1406-18_1_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.044366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1406-18_1_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.029336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1406-18_1_3_line_20 | NAYY 4x150 SE | 19 | 23 | 0.022579 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1406-18_1_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.059918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_1406-18_1_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.020369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_1406-18_1_3_line_23 | NAYY 4x150 SE | 21 | 23 | 0.0074353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_1406-18_1_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.093663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1406-18_1_3_line_25 | NAYY 4x150 SE | 22 | 25 | 0.036493 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1406-18_1_3_line_26 | NAYY 4x150 SE | 23 | 33 | 0.005024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1406-18_1_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.042711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1406-18_1_3_line_28 | NAYY 4x150 SE | 24 | 43 | 0.014828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1406-18_1_3_line_29 | NAYY 4x150 SE | 25 | 32 | 0.0083219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_1406-18_1_3_line_30 | NAYY 4x150 SE | 26 | 27 | 0.011777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1406-18_1_3_line_31 | NAYY 4x150 SE | 26 | 28 | 0.032828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1406-18_1_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.020448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_1406-18_1_3_line_33 | NAYY 4x150 SE | 29 | 31 | 0.0017806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_1406-18_1_3_line_34 | NAYY 4x150 SE | 30 | 34 | 0.019179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1406-18_1_3_line_35 | NAYY 4x150 SE | 31 | 32 | 0.023984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_1406-18_1_3_line_36 | NAYY 4x150 SE | 33 | 44 | 0.0043763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_1406-18_1_3_line_37 | NAYY 4x150 SE | 34 | 35 | 0.0047683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1406-18_1_3_line_38 | NAYY 4x150 SE | 36 | 37 | 0.030129 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1406-18_1_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.028716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1406-18_1_3_line_40 | NAYY 4x150 SE | 38 | 39 | 0.15349 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1406-18_1_3_line_41 | NAYY 4x150 SE | 39 | 43 | 0.031851 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1406-18_1_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.02747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1406-18_1_3_line_43 | NAYY 4x150 SE | 40 | 41 | 0.025527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1406-18_1_3_line_44 | NAYY 4x150 SE | 40 | 42 | 0.0032845 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1406-18_1_3_line_45 | NAYY 4x150 SE | 42 | 60 | 0.038224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1406-18_1_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.021102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_1406-18_1_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.00047133 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_1406-18_1_3_line_48 | NAYY 4x150 SE | 46 | 47 | 0.019222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_1406-18_1_3_line_49 | NAYY 4x150 SE | 46 | 48 | 0.078637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1406-18_1_3_line_50 | NAYY 4x150 SE | 47 | 49 | 0.02164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
51 | LV_1406-18_1_3_line_51 | NAYY 4x150 SE | 48 | 50 | 0.014944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1406-18_1_3_line_52 | NAYY 4x150 SE | 49 | 51 | 0.015315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_1406-18_1_3_line_53 | NAYY 4x150 SE | 49 | 52 | 0.027184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1406-18_1_3_line_54 | NAYY 4x150 SE | 51 | 53 | 0.0030892 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
55 | LV_1406-18_1_3_line_55 | NAYY 4x150 SE | 52 | 54 | 0.033291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1406-18_1_3_line_56 | NAYY 4x150 SE | 53 | 55 | 0.017558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_1406-18_1_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.037799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_1406-18_1_3_line_58 | NAYY 4x150 SE | 56 | 57 | 0.02198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_1406-18_1_3_line_59 | NAYY 4x150 SE | 57 | 58 | 0.021313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1406-18_1_3_line_60 | NAYY 4x150 SE | 59 | 70 | 0.13581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1406-18_1_3_line_61 | NAYY 4x150 SE | 60 | 61 | 0.0089495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1406-18_1_3_line_62 | NAYY 4x150 SE | 62 | 63 | 0.0057582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1406-18_1_3_line_63 | NAYY 4x150 SE | 62 | 64 | 0.17914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1406-18_1_3_line_64 | NAYY 4x150 SE | 64 | 65 | 0.12257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1406-18_1_3_line_65 | NAYY 4x150 SE | 64 | 66 | 0.039267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1406-18_1_3_line_66 | NAYY 4x150 SE | 65 | 68 | 0.01485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1406-18_1_3_line_67 | NAYY 4x150 SE | 65 | 67 | 0.0096756 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1406-18_1_3_line_68 | NAYY 4x150 SE | 68 | 69 | 0.028264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1406-18_1_3_line_69 | NAYY 4x150 SE | 69 | 72 | 0.016643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1406-18_1_3_line_70 | NAYY 4x150 SE | 70 | 71 | 0.0057315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1406-18_1_3_line_71 | NAYY 4x150 SE | 71 | 72 | 0.039951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1406-18_1_3_trafo_88 | 0.25 MVA 20/0.4 kV | 73 | 30 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2659992.1683 | 1189886.5015 | 2659878.4785 | 1189918.5829
1 | 2660002.1769 | 1189892.929 | 2659998.5171 | 1189891.3248 | 2659995.4613 | 1189889.5709 | 2659992.1683 | 1189886.5015
2 | 2660002.1769 | 1189892.929 | 2659999.487 | 1189886.6207 | 2659997.2417 | 1189880.0945 | 2659995.6964 | 1189872.9638 | 2659992.6792 | 1189855.179
3 | 2660002.1769 | 1189892.929 | 2660009.8966 | 1189905.1596
4 | 2659914.3626 | 1189780.2247 | 2659907.4445 | 1189775.4803 | 2659885.2752 | 1189762.4623 | 2659883.5088 | 1189761.6559
5 | 2659934.2188 | 1189789.3894 | 2659932.647 | 1189790.2297 | 2659931.0813 | 1189790.4586 | 2659929.3309 | 1189790.0965 | 2659927.35 | 1189789.1317 | 2659914.3626 | 1189780.2247
6 | 2659865.5234 | 1189757.8177 | 2659872.4824 | 1189757.4537 | 2659875.1761 | 1189758.0588 | 2659877.2583 | 1189758.8022 | 2659883.5088 | 1189761.6559
7 | 2659934.2188 | 1189789.3894 | 2659940.2442 | 1189793.9079 | 2659948.0346 | 1189798.8553 | 2659963.563 | 1189807.8715 | 2659972.0681 | 1189813.7933 | 2659976.5644 | 1189817.9296 | 2659980.4783 | 1189822.338 | 2659984.9046 | 1189828.8861
8 | 2659922.2194 | 1189776.751 | 2659927.9184 | 1189783.4007 | 2659934.2188 | 1189789.3894
9 | 2660008.4179 | 1189843.9636 | 2659992.6792 | 1189855.179
10 | 2659992.6792 | 1189855.179 | 2659992.311 | 1189853.1074 | 2659989.7465 | 1189840.3745 | 2659988.2618 | 1189835.568 | 2659984.9046 | 1189828.8861
11 | 2660008.4179 | 1189843.9636 | 2660013.7608 | 1189853.4114 | 2660015.803 | 1189856.6114 | 2660017.9051 | 1189858.4113 | 2660020.0805 | 1189859.745 | 2660024.3447 | 1189861.1552
12 | 2660039.1097 | 1189829.1738 | 2660026.4355 | 1189833.6604 | 2660021.0856 | 1189835.5635 | 2660015.4498 | 1189838.5976 | 2660008.4179 | 1189843.9636
13 | 2660039.1097 | 1189829.1738 | 2660075.4077 | 1189851.5394
14 | 2660075.7338 | 1189854.8794 | 2660077.4339 | 1189872.2938 | 2660081.2406 | 1189879.0137 | 2660088.0886 | 1189892.6325
15 | 2660075.7338 | 1189854.8794 | 2660075.4077 | 1189851.5394
16 | 2660122.7095 | 1189802.6083 | 2660290.8686 | 1189806.6343
17 | 2660096.8198 | 1189746.9723 | 2660122.7095 | 1189802.6083
18 | 2660290.8686 | 1189806.6343 | 2660293.3385 | 1189811.2841 | 2660309.5183 | 1189832.8037 | 2660319.7574 | 1189839.3953
19 | 2660096.8198 | 1189746.9723 | 2660094.0363 | 1189749.2345 | 2660089.1523 | 1189750.2972 | 2660086.7426 | 1189750.273 | 2660084.7501 | 1189749.7194 | 2660083.0612 | 1189748.5351 | 2660079.4579 | 1189744.341 | 2660076.1478 | 1189740.5612 | 2660073.2218 | 1189738.3676
20 | 2660052.7586 | 1189729.0534 | 2660060.198 | 1189731.7295 | 2660067.3977 | 1189734.7368 | 2660071.9543 | 1189737.4174 | 2660073.2218 | 1189738.3676
21 | 2660119.9473 | 1189726.5617 | 2660095.8385 | 1189726.2061 | 2660086.4764 | 1189725.8898 | 2660076.0982 | 1189726.5083 | 2660060.15 | 1189728.2474
22 | 2660119.9473 | 1189726.5617 | 2660121.8181 | 1189726.5893 | 2660134.3343 | 1189725.7144 | 2660140.2118 | 1189724.7806
23 | 2660052.7586 | 1189729.0534 | 2660060.15 | 1189728.2474
24 | 2660140.2118 | 1189724.7806 | 2660139.3495 | 1189631.1218
25 | 2660140.2118 | 1189724.7806 | 2660129.5811 | 1189689.8698
26 | 2660047.7501 | 1189729.6035 | 2660052.7586 | 1189729.0534
27 | 2660101.4879 | 1189611.6863 | 2660116.5488 | 1189618.6858 | 2660125.9817 | 1189624.1281 | 2660134.8024 | 1189629.7643 | 2660139.3495 | 1189631.1218 | 2660139.3495 | 1189631.1218
28 | 2660153.5537 | 1189628.3613 | 2660152.2889 | 1189629.1395 | 2660147.9465 | 1189630.9414 | 2660143.5178 | 1189631.4639 | 2660139.3495 | 1189631.1218
29 | 2660122.0457 | 1189686.3382 | 2660129.5811 | 1189689.8698
30 | 2660101.4879 | 1189611.6863 | 2660106.5762 | 1189622.3075
31 | 2660101.4879 | 1189611.6863 | 2660080.0037 | 1189602.5766 | 2660073.3976 | 1189598.9194 | 2660071.8321 | 1189597.7705
32 | 2660098.7159 | 1189675.4043 | 2660096.853 | 1189674.5312 | 2660090.4068 | 1189670.9089 | 2660085.1336 | 1189666.6758 | 2660082.1617 | 1189663.6599
33 | 2660098.7159 | 1189675.4043 | 2660100.3282 | 1189676.1599
34 | 2660069.4031 | 1189649.3456 | 2660080.3094 | 1189661.7802 | 2660082.1617 | 1189663.6599
35 | 2660100.3282 | 1189676.1599 | 2660122.0457 | 1189686.3382
36 | 2660047.7501 | 1189729.6035 | 2660043.395 | 1189730.034
37 | 2660069.4031 | 1189649.3456 | 2660066.2588 | 1189645.7608
38 | 2660319.2547 | 1189527.2713 | 2660324.002 | 1189529.9654 | 2660344.4674 | 1189543.7416
39 | 2660291.6078 | 1189521.2231 | 2660299.3368 | 1189520.9118 | 2660306.0114 | 1189522.3132 | 2660318.0187 | 1189526.5698 | 2660319.2547 | 1189527.2713
40 | 2660160.0603 | 1189600.3122 | 2660291.6078 | 1189521.2231
41 | 2660160.0603 | 1189600.3122 | 2660161.6695 | 1189603.3412 | 2660162.6565 | 1189606.0638 | 2660162.8886 | 1189609.5348 | 2660162.7122 | 1189612.6681 | 2660162.07 | 1189615.8524 | 2660160.8754 | 1189620.1317 | 2660158.7556 | 1189623.8904 | 2660155.4889 | 1189627.1705 | 2660153.5537 | 1189628.3613
42 | 2660160.0603 | 1189600.3122 | 2660158.3474 | 1189598.4829 | 2660156.0275 | 1189596.3472 | 2660137.7026 | 1189584.5186
43 | 2660137.7026 | 1189584.5186 | 2660134.5604 | 1189582.4904 | 2660116.5786 | 1189570.1884
44 | 2660114.0088 | 1189568.1557 | 2660115.2149 | 1189569.2553 | 2660116.5786 | 1189570.1884
45 | 2660094.1424 | 1189535.8384 | 2660105.109 | 1189557.1581 | 2660107.6513 | 1189561.4527 | 2660110.8995 | 1189565.3209 | 2660114.0088 | 1189568.1557
46 | 2660043.395 | 1189730.034 | 2660022.5272 | 1189732.0966 | 2660022.3961 | 1189732.1146
47 | 2660022.3961 | 1189732.1146 | 2660021.9291 | 1189732.1787
48 | 2660021.9291 | 1189732.1787 | 2660016.6391 | 1189732.9047 | 2660013.6863 | 1189733.809 | 2660010.9235 | 1189735.5267 | 2660008.035 | 1189738.3772 | 2660006.4406 | 1189741.4741 | 2660006.4406 | 1189741.4741
49 | 2660021.9291 | 1189732.1787 | 2659986.4166 | 1189662.017
50 | 2660005.3637 | 1189762.9311 | 2660005.9495 | 1189759.2682 | 2660006.0553 | 1189755.556 | 2660005.3502 | 1189747.5333 | 2660005.7464 | 1189744.5355 | 2660006.4406 | 1189741.4741
51 | 2659986.4166 | 1189662.017 | 2659972.9486 | 1189668.4923
52 | 2660005.3637 | 1189762.9311 | 2660003.7221 | 1189766.928 | 2660001.4694 | 1189771.0189 | 2659997.5228 | 1189775.96
53 | 2660005.3637 | 1189762.9311 | 2660010.7211 | 1189762.5623 | 2660032.4281 | 1189760.4017
54 | 2659995.1255 | 1189777.9085 | 2659997.5228 | 1189775.96
55 | 2660056.5241 | 1189776.3738 | 2660049.3074 | 1189763.6608 | 2660047.624 | 1189761.1759 | 2660045.8748 | 1189759.9354 | 2660043.3548 | 1189759.4988 | 2660040.6542 | 1189759.5828 | 2660032.4281 | 1189760.4017
56 | 2659995.1255 | 1189777.9085 | 2659993.2938 | 1189779.3974 | 2659988.4881 | 1189781.7839 | 2659983.426 | 1189783.1229 | 2659978.8396 | 1189783.4216
57 | 2659978.8396 | 1189783.4216 | 2659978.8396 | 1189783.4216 | 2659973.2026 | 1189782.7648 | 2659942.5986 | 1189772.9997
58 | 2659922.2194 | 1189776.751 | 2659925.3866 | 1189774.2368 | 2659927.128 | 1189773.2203 | 2659929.884 | 1189772.1695 | 2659932.9258 | 1189771.5218 | 2659936.3273 | 1189771.5114 | 2659940.0727 | 1189772.1937 | 2659942.5986 | 1189772.9997
59 | 2659922.2194 | 1189776.751 | 2659908.0101 | 1189760.8662
60 | 2659865.5234 | 1189757.8177 | 2659801.2008 | 1189638.2039
61 | 2660094.1424 | 1189535.8384 | 2660093.0202 | 1189533.6567 | 2660089.9753 | 1189527.9185
62 | 2659898.9815 | 1189409.3978 | 2659893.5331 | 1189407.5346
63 | 2659715.4837 | 1189427.2869 | 2659893.5331 | 1189407.5346
64 | 2659715.4837 | 1189427.2869 | 2659759.2094 | 1189541.7883
65 | 2659715.4837 | 1189427.2869 | 2659712.5552 | 1189423.4444 | 2659710.3327 | 1189419.1642 | 2659709.1191 | 1189415.4389 | 2659708.3766 | 1189411.885 | 2659707.9539 | 1189406.8557 | 2659707.8738 | 1189402.6525 | 2659708.2297 | 1189399.0874 | 2659709.171 | 1189395.7059 | 2659710.734 | 1189391.9305 | 2659711.5415 | 1189390.5096
66 | 2659759.2094 | 1189541.7883 | 2659764.3188 | 1189555.732
67 | 2659759.2094 | 1189541.7883 | 2659768.8822 | 1189542.0218
68 | 2659773.7446 | 1189582.3783 | 2659764.3694 | 1189555.87 | 2659764.3188 | 1189555.732
69 | 2659779.8808 | 1189597.8409 | 2659778.1514 | 1189593.996 | 2659775.1022 | 1189586.2167 | 2659773.7446 | 1189582.3783
70 | 2659798.7854 | 1189633.0063 | 2659801.2008 | 1189638.2039
71 | 2659779.8808 | 1189597.8409 | 2659781.2104 | 1189600.7971 | 2659784.8084 | 1189607.8481 | 2659792.3822 | 1189620.7644 | 2659797.3249 | 1189629.8634 | 2659798.7854 | 1189633.0063

## bus_geodata
| x | y | coords
0 | 2659878.4785 | 1189918.5829
1 | 2659992.1683 | 1189886.5015
2 | 2660002.1769 | 1189892.929
3 | 2659914.3626 | 1189780.2247
4 | 2659883.5088 | 1189761.6559
5 | 2659934.2188 | 1189789.3894
6 | 2660009.8966 | 1189905.1596
7 | 2659992.6792 | 1189855.179
8 | 2660008.4179 | 1189843.9636
9 | 2659984.9046 | 1189828.8861
10 | 2660024.3447 | 1189861.1552
11 | 2660039.1097 | 1189829.1738
12 | 2660075.7338 | 1189854.8794
13 | 2660088.0886 | 1189892.6325
14 | 2660075.4077 | 1189851.5394
15 | 2660122.7095 | 1189802.6083
16 | 2660290.8686 | 1189806.6344
17 | 2660096.8198 | 1189746.9723
18 | 2660319.7574 | 1189839.3953
19 | 2660073.2218 | 1189738.3676
20 | 2660119.9473 | 1189726.5617
21 | 2660060.15 | 1189728.2474
22 | 2660140.2118 | 1189724.7806
23 | 2660052.7586 | 1189729.0534
24 | 2660139.3495 | 1189631.1218
25 | 2660129.5811 | 1189689.8698
26 | 2660101.4879 | 1189611.6863
27 | 2660106.5762 | 1189622.3075
28 | 2660071.8321 | 1189597.7705
29 | 2660098.7159 | 1189675.4043
30 | 2660082.1617 | 1189663.6599
31 | 2660100.3282 | 1189676.1599
32 | 2660122.0457 | 1189686.3382
33 | 2660047.7501 | 1189729.6035
34 | 2660069.4031 | 1189649.3456
35 | 2660066.2588 | 1189645.7608
36 | 2660319.2547 | 1189527.2713
37 | 2660344.4674 | 1189543.7416
38 | 2660291.6078 | 1189521.2231
39 | 2660160.0603 | 1189600.3122
40 | 2660116.5786 | 1189570.1884
41 | 2660137.7026 | 1189584.5186
42 | 2660114.0088 | 1189568.1557
43 | 2660153.5537 | 1189628.3613
44 | 2660043.395 | 1189730.034
45 | 2660022.3961 | 1189732.1146
46 | 2660021.9291 | 1189732.1787
47 | 2660006.4406 | 1189741.4741
48 | 2659986.4166 | 1189662.017
49 | 2660005.3637 | 1189762.9311
50 | 2659972.9486 | 1189668.4923
51 | 2659997.5228 | 1189775.96
52 | 2660032.4281 | 1189760.4017
53 | 2659995.1255 | 1189777.9085
54 | 2660056.5241 | 1189776.3738
55 | 2659978.8396 | 1189783.4216
56 | 2659942.5986 | 1189772.9997
57 | 2659922.2194 | 1189776.751
58 | 2659908.0101 | 1189760.8662
59 | 2659865.5234 | 1189757.8177
60 | 2660094.1424 | 1189535.8384
61 | 2660089.9753 | 1189527.9185
62 | 2659893.5331 | 1189407.5346
63 | 2659898.9815 | 1189409.3978
64 | 2659715.4837 | 1189427.2869
65 | 2659759.2094 | 1189541.7883
66 | 2659711.5415 | 1189390.5096
67 | 2659768.8822 | 1189542.0218
68 | 2659764.3188 | 1189555.732
69 | 2659773.7446 | 1189582.3783
70 | 2659801.2008 | 1189638.2039
71 | 2659798.7854 | 1189633.0063
72 | 2659779.8808 | 1189597.8409
73 | 2660101.4879 | 1189611.6863

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9748 | -0.17746 | 0.0017989 | 0.00045086
1 | 0.97511 | -0.17523 | 0.0014157 | 0.0003548
2 | 0.97517 | -0.17482 | 0 | 0
3 | 0.97709 | -0.161 | 0.0016135 | 0.00040437
4 | 0.97658 | -0.16464 | 0.0025635 | 0.00064248
5 | 0.97744 | -0.15847 | 0 | 0
6 | 0.97513 | -0.17511 | 0.0019086 | 0.00047833
7 | 0.97546 | -0.17271 | 0 | 0
8 | 0.97524 | -0.17429 | 0 | 0
9 | 0.97598 | -0.16897 | 0.0025072 | 0.00062837
10 | 0.97517 | -0.17476 | 0.0018327 | 0.00045931
11 | 0.97494 | -0.17643 | 0.0018667 | 0.00046783
12 | 0.97467 | -0.17836 | 0.0011716 | 0.00029363
13 | 0.97457 | -0.1791 | 0.0017349 | 0.00043482
14 | 0.97469 | -0.17826 | 0.0011716 | 0.00029363
15 | 0.98363 | -0.11448 | 0 | 0
16 | 0.98345 | -0.11571 | 0 | 0
17 | 0.98369 | -0.11402 | 0.0073823 | 0.0018502
18 | 0.98341 | -0.11604 | 0.00070193 | 0.00017592
19 | 0.98403 | -0.11156 | 0.0025609 | 0.00064181
20 | 0.98911 | -0.07569 | 0.0016623 | 0.00041662
21 | 0.98486 | -0.10569 | 0.009086 | 0.0022772
22 | 0.99058 | -0.065378 | 0.0021513 | 0.00053918
23 | 0.98438 | -0.10908 | 0 | 0
24 | 0.98552 | -0.10109 | 0.0015595 | 0.00039085
25 | 0.99426 | -0.039702 | 0.0024487 | 0.00061371
26 | 0.98538 | -0.10207 | 0 | 0
27 | 0.98536 | -0.10223 | 0.001325 | 0.00033207
28 | 0.98534 | -0.10237 | 0.00089893 | 0.00022529
29 | 0.99781 | -0.015117 | 0.0022285 | 0.00055851
30 | 1 | 0 | -0.15406 | -0.038747
31 | 0.99762 | -0.016416 | 0.0016412 | 0.00041131
32 | 0.99511 | -0.033771 | 0.002634 | 0.00066015
33 | 0.98409 | -0.1111 | 0 | 0
34 | 0.99992 | -0.00056271 | 0.0012972 | 0.0003251
35 | 0.99991 | -0.00064083 | 0.001641 | 0.00041127
36 | 0.9798 | -0.14171 | 0.0034238 | 0.00085809
37 | 0.97937 | -0.14479 | 0.009818 | 0.0024606
38 | 0.98036 | -0.13776 | 0 | 0
39 | 0.98332 | -0.1167 | 0 | 0
40 | 0.98197 | -0.12628 | 0.0030452 | 0.00076319
41 | 0.98257 | -0.12201 | 0.0025579 | 0.00064108
42 | 0.98191 | -0.12672 | 0.0040446 | 0.0010137
43 | 0.98479 | -0.1062 | 0.0015144 | 0.00037956
44 | 0.98385 | -0.11286 | 0.0046366 | 0.0011621
45 | 0.98272 | -0.12084 | 0.0037837 | 0.00094829
46 | 0.9827 | -0.12101 | 0.0032942 | 0.00082559
47 | 0.9818 | -0.12737 | 0.0021843 | 0.00054743
48 | 0.98244 | -0.12286 | 0.0016236 | 0.00040692
49 | 0.98083 | -0.1343 | 0 | 0
50 | 0.98242 | -0.12297 | 0.00065147 | 0.00016327
51 | 0.98027 | -0.13829 | 0.0045486 | 0.00114
52 | 0.98037 | -0.13755 | 0.0051258 | 0.0012846
53 | 0.98016 | -0.13902 | 0.0027643 | 0.00069281
54 | 0.98006 | -0.13977 | 0.0064137 | 0.0016074
55 | 0.97962 | -0.14294 | 0.0027783 | 0.0006963
56 | 0.97851 | -0.15083 | 0.0023911 | 0.00059927
57 | 0.97791 | -0.15515 | 0 | 0
58 | 0.97787 | -0.15544 | 0.0012995 | 0.00032567
59 | 0.97612 | -0.16795 | 0.0018708 | 0.00046886
60 | 0.9814 | -0.13031 | 0.0042295 | 0.00106
61 | 0.98134 | -0.13076 | 0.004834 | 0.0012115
62 | 0.97037 | -0.20941 | 0.0012561 | 0.0003148
63 | 0.97036 | -0.20948 | 0.0012274 | 0.00030762
64 | 0.97102 | -0.20468 | 0 | 0
65 | 0.9717 | -0.19976 | 0 | 0
66 | 0.97095 | -0.20521 | 0.0012826 | 0.00032145
67 | 0.97166 | -0.20006 | 0.0029829 | 0.00074758
68 | 0.97185 | -0.1987 | 0.0011954 | 0.00029959
69 | 0.97218 | -0.19631 | 0.0018458 | 0.0004626
70 | 0.97316 | -0.18921 | 0.0010923 | 0.00027374
71 | 0.97305 | -0.19004 | 0.0030168 | 0.00075609
72 | 0.97242 | -0.19459 | 0.00095156 | 0.00023848
73 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0017989 | -0.00045086 | 0.0017995 | 0.0004496 | 5.5575e-07 | -1.2594e-06 | 0.0027461 | 0.0027455 | 0.0027461 | 0.9748 | -0.17746 | 0.97511 | -0.17523 | 1.0171
1 | -0.0032152 | -0.0008044 | 0.0032153 | 0.00080432 | 1.8053e-07 | -8.0528e-08 | 0.0049058 | 0.0049058 | 0.0049058 | 0.97511 | -0.17523 | 0.97517 | -0.17482 | 1.817
2 | -0.005124 | -0.0012825 | 0.0051255 | 0.0012826 | 1.4911e-06 | 8.5606e-08 | 0.0078181 | 0.0078179 | 0.0078181 | 0.97517 | -0.17482 | 0.97546 | -0.17271 | 2.8956
3 | 0.0019086 | 0.00047818 | -0.0019086 | -0.00047833 | 7.6549e-08 | -1.5099e-07 | 0.0029123 | 0.0029124 | 0.0029124 | 0.97517 | -0.17482 | 0.97513 | -0.17511 | 1.0787
4 | 0.019365 | 0.0048555 | -0.019355 | -0.0048526 | 9.7801e-06 | 2.8592e-06 | 0.029492 | 0.029492 | 0.029492 | 0.97709 | -0.161 | 0.97658 | -0.16464 | 5.4615
5 | -0.020978 | -0.0052599 | 0.020986 | 0.0052621 | 7.3579e-06 | 2.251e-06 | 0.031949 | 0.031949 | 0.031949 | 0.97709 | -0.161 | 0.97744 | -0.15847 | 5.9165
6 | 0.016792 | 0.0042102 | -0.016784 | -0.0042074 | 7.6845e-06 | 2.7203e-06 | 0.025586 | 0.025586 | 0.025586 | 0.97658 | -0.16464 | 0.97612 | -0.16795 | 9.4764
7 | 0.015444 | 0.00387 | -0.015422 | -0.0038622 | 2.2417e-05 | 7.8084e-06 | 0.023511 | 0.023511 | 0.023511 | 0.97744 | -0.15847 | 0.97598 | -0.16897 | 8.7079
8 | -0.03643 | -0.0091321 | 0.036447 | 0.0091381 | 1.6725e-05 | 5.9955e-06 | 0.05546 | 0.05546 | 0.05546 | 0.97744 | -0.15847 | 0.97791 | -0.15515 | 10.2704
9 | 0.0077823 | 0.001949 | -0.0077806 | -0.0019486 | 1.6963e-06 | 4.1168e-07 | 0.011871 | 0.011871 | 0.011871 | 0.97546 | -0.17271 | 0.97524 | -0.17429 | 4.3967
10 | -0.012908 | -0.0032316 | 0.012914 | 0.0032338 | 6.6765e-06 | 2.2232e-06 | 0.019689 | 0.019689 | 0.019689 | 0.97546 | -0.17271 | 0.97598 | -0.16897 | 7.2922
11 | 0.0018328 | 0.00045905 | -0.0018327 | -0.00045931 | 1.1921e-07 | -2.5897e-07 | 0.0027963 | 0.0027964 | 0.0027964 | 0.97524 | -0.17429 | 0.97517 | -0.17476 | 1.0357
12 | 0.0059478 | 0.0014896 | -0.005946 | -0.0014893 | 1.7622e-06 | 2.5001e-07 | 0.0090747 | 0.0090749 | 0.0090749 | 0.97524 | -0.17429 | 0.97494 | -0.17643 | 3.3611
13 | 0.0040794 | 0.0010215 | -0.0040783 | -0.0010216 | 1.0313e-06 | -1.3489e-07 | 0.0062259 | 0.0062261 | 0.0062261 | 0.97494 | -0.17643 | 0.97469 | -0.17826 | 2.3059
14 | 0.0017351 | 0.00043438 | -0.0017349 | -0.00043482 | 1.7717e-07 | -4.3611e-07 | 0.0026488 | 0.002649 | 0.002649 | 0.97467 | -0.17836 | 0.97457 | -0.1791 | 0.98111
15 | -0.0029067 | -0.00072801 | 0.0029068 | 0.00072798 | 4.1233e-08 | -2.5966e-08 | 0.0044375 | 0.0044374 | 0.0044375 | 0.97467 | -0.17836 | 0.97469 | -0.17826 | 1.6435
16 | 0.00070208 | 0.00017328 | -0.00070196 | -0.00017537 | 1.1827e-07 | -2.0892e-06 | 0.0010611 | 0.0010619 | 0.0010619 | 0.98363 | -0.11448 | 0.98345 | -0.11571 | 0.3933
17 | -0.00070208 | -0.00017328 | 0.00070212 | 0.00017252 | 4.3107e-08 | -7.6238e-07 | 0.0010611 | 0.0010609 | 0.0010611 | 0.98363 | -0.11448 | 0.98369 | -0.11402 | 0.39302
18 | 0.00070196 | 0.00017537 | -0.00070193 | -0.00017592 | 3.1224e-08 | -5.5091e-07 | 0.0010619 | 0.0010621 | 0.0010621 | 0.98345 | -0.11571 | 0.98341 | -0.11604 | 0.39337
19 | -0.0080844 | -0.0020227 | 0.0080872 | 0.0020234 | 2.7371e-06 | 6.802e-07 | 0.012228 | 0.012228 | 0.012228 | 0.98369 | -0.11402 | 0.98403 | -0.11156 | 4.5289
20 | -0.010648 | -0.0026652 | 0.010652 | 0.0026663 | 3.6523e-06 | 1.1178e-06 | 0.0161 | 0.0161 | 0.0161 | 0.98403 | -0.11156 | 0.98438 | -0.10908 | 5.9631
21 | 0.098503 | 0.02479 | -0.098092 | -0.024633 | 0.00041073 | 0.00015644 | 0.14822 | 0.14822 | 0.14822 | 0.98911 | -0.07569 | 0.98486 | -0.10569 | 27.449
22 | -0.10017 | -0.025207 | 0.10031 | 0.025262 | 0.00014438 | 5.5005e-05 | 0.15073 | 0.15072 | 0.15073 | 0.98911 | -0.07569 | 0.99058 | -0.065378 | 27.9121
23 | 0.089006 | 0.022356 | -0.088964 | -0.02234 | 4.1964e-05 | 1.5951e-05 | 0.1345 | 0.1345 | 0.1345 | 0.98486 | -0.10569 | 0.98438 | -0.10908 | 24.9068
24 | 0.037587 | 0.0094585 | -0.037401 | -0.009388 | 0.00018641 | 7.0498e-05 | 0.056476 | 0.056476 | 0.056476 | 0.99058 | -0.065378 | 0.98552 | -0.10109 | 20.9171
25 | -0.14005 | -0.035259 | 0.14055 | 0.035452 | 0.00050419 | 0.00019298 | 0.21043 | 0.21043 | 0.21043 | 0.99058 | -0.065378 | 0.99426 | -0.039702 | 38.969
26 | 0.078313 | 0.019674 | -0.078291 | -0.019666 | 2.1973e-05 | 8.3233e-06 | 0.1184 | 0.1184 | 0.1184 | 0.98438 | -0.10908 | 0.98409 | -0.1111 | 21.9253
27 | 0.0022243 | 0.00055639 | -0.002224 | -0.00055682 | 3.0055e-07 | -4.2855e-07 | 0.003358 | 0.0033582 | 0.0033582 | 0.98552 | -0.10109 | 0.98538 | -0.10207 | 1.2438
28 | 0.033617 | 0.0084407 | -0.033593 | -0.0084317 | 2.3844e-05 | 8.9819e-06 | 0.050764 | 0.050764 | 0.050764 | 0.98552 | -0.10109 | 0.98479 | -0.1062 | 18.8013
29 | -0.143 | -0.036066 | 0.14312 | 0.036111 | 0.00011901 | 4.5559e-05 | 0.2141 | 0.2141 | 0.2141 | 0.99426 | -0.039702 | 0.99511 | -0.033771 | 39.6476
30 | 0.001325 | 0.00033193 | -0.001325 | -0.00033207 | 2.9421e-08 | -1.387e-07 | 0.0020008 | 0.0020009 | 0.0020009 | 0.98538 | -0.10207 | 0.98536 | -0.10223 | 0.74107
31 | 0.00089897 | 0.00022489 | -0.00089893 | -0.00022529 | 3.7747e-08 | -4.0365e-07 | 0.0013574 | 0.0013575 | 0.0013575 | 0.98538 | -0.10207 | 0.98534 | -0.10237 | 0.50279
32 | -0.15001 | -0.037888 | 0.15033 | 0.03801 | 0.00031956 | 0.00012237 | 0.22381 | 0.22381 | 0.22381 | 0.99781 | -0.015117 | 1 | 0 | 41.4456
33 | 0.14778 | 0.037329 | -0.14775 | -0.037319 | 2.7006e-05 | 1.034e-05 | 0.22048 | 0.22048 | 0.22048 | 0.99781 | -0.015117 | 0.99762 | -0.016416 | 40.8302
34 | 0.0029384 | 0.00073615 | -0.0029382 | -0.00073631 | 2.2879e-07 | -1.636e-07 | 0.0043723 | 0.0043724 | 0.0043724 | 1 | 0 | 0.99992 | -0.00056271 | 1.6194
35 | 0.14611 | 0.036908 | -0.14575 | -0.036772 | 0.00035574 | 0.0001362 | 0.21804 | 0.21804 | 0.21804 | 0.99762 | -0.016416 | 0.99511 | -0.033771 | 40.3769
36 | 0.078291 | 0.019666 | -0.078272 | -0.019658 | 1.914e-05 | 7.2503e-06 | 0.1184 | 0.1184 | 0.1184 | 0.98409 | -0.1111 | 0.98385 | -0.11286 | 21.9253
37 | 0.001641 | 0.00041122 | -0.001641 | -0.00041127 | 1.7744e-08 | -5.5722e-08 | 0.002442 | 0.0024421 | 0.0024421 | 0.99992 | -0.00056271 | 0.99991 | -0.00064083 | 0.90446
38 | 0.0098222 | 0.0024618 | -0.009818 | -0.0024606 | 4.1833e-06 | 1.2297e-06 | 0.014917 | 0.014917 | 0.014917 | 0.9798 | -0.14171 | 0.97937 | -0.14479 | 5.5248
39 | -0.013246 | -0.0033199 | 0.013253 | 0.0033224 | 7.2513e-06 | 2.4271e-06 | 0.020117 | 0.020116 | 0.020117 | 0.9798 | -0.14171 | 0.98036 | -0.13776 | 7.4506
40 | -0.013253 | -0.0033224 | 0.013292 | 0.0033353 | 3.8758e-05 | 1.2966e-05 | 0.020116 | 0.020116 | 0.020116 | 0.98036 | -0.13776 | 0.98332 | -0.1167 | 7.4505
41 | -0.032032 | -0.0080346 | 0.032079 | 0.0080522 | 4.6704e-05 | 1.7558e-05 | 0.048475 | 0.048475 | 0.048475 | 0.98332 | -0.1167 | 0.98479 | -0.1062 | 17.9539
42 | 0.01874 | 0.0046993 | -0.018726 | -0.0046943 | 1.3786e-05 | 4.9543e-06 | 0.02836 | 0.02836 | 0.02836 | 0.98332 | -0.1167 | 0.98257 | -0.12201 | 10.5036
43 | -0.016159 | -0.0040499 | 0.016168 | 0.0040533 | 9.5505e-06 | 3.3501e-06 | 0.024486 | 0.024486 | 0.024486 | 0.98197 | -0.12628 | 0.98257 | -0.12201 | 9.0689
44 | 0.013114 | 0.0032867 | -0.013113 | -0.0032864 | 8.0932e-07 | 2.6973e-07 | 0.019872 | 0.019872 | 0.019872 | 0.98197 | -0.12628 | 0.98191 | -0.12672 | 7.3599
45 | 0.0090683 | 0.0022728 | -0.0090638 | -0.0022715 | 4.5046e-06 | 1.2493e-06 | 0.013742 | 0.013743 | 0.013743 | 0.98191 | -0.12672 | 0.9814 | -0.13031 | 5.0898
46 | 0.073635 | 0.018496 | -0.073553 | -0.018466 | 8.1681e-05 | 3.0881e-05 | 0.11138 | 0.11138 | 0.11138 | 0.98385 | -0.11286 | 0.98272 | -0.12084 | 20.6267
47 | 0.06977 | 0.017517 | -0.069768 | -0.017517 | 1.6416e-06 | 6.1943e-07 | 0.10565 | 0.10565 | 0.10565 | 0.98272 | -0.12084 | 0.9827 | -0.12101 | 19.5657
48 | 0.064198 | 0.016122 | -0.064141 | -0.0161 | 5.6688e-05 | 2.1316e-05 | 0.097221 | 0.097222 | 0.097222 | 0.9827 | -0.12101 | 0.9818 | -0.12737 | 18.004
49 | 0.0022757 | 0.00056923 | -0.0022751 | -0.00057001 | 5.8258e-07 | -7.7194e-07 | 0.0034455 | 0.0034458 | 0.0034458 | 0.9827 | -0.12101 | 0.98244 | -0.12286 | 1.2762
50 | 0.061957 | 0.015553 | -0.061898 | -0.015531 | 5.9545e-05 | 2.2355e-05 | 0.093911 | 0.093911 | 0.093911 | 0.9818 | -0.12737 | 0.98083 | -0.1343 | 17.391
51 | 0.00065147 | 0.00016309 | -0.00065147 | -0.00016327 | 9.0785e-09 | -1.8573e-07 | 0.00098667 | 0.00098674 | 0.00098674 | 0.98244 | -0.12286 | 0.98242 | -0.12297 | 0.36546
52 | 0.050351 | 0.012637 | -0.050323 | -0.012626 | 2.7886e-05 | 1.0339e-05 | 0.076394 | 0.076394 | 0.076394 | 0.98083 | -0.1343 | 0.98027 | -0.13829 | 14.147
53 | 0.011547 | 0.0028941 | -0.011541 | -0.0028924 | 5.2054e-06 | 1.6591e-06 | 0.017518 | 0.017518 | 0.017518 | 0.98083 | -0.1343 | 0.98037 | -0.13755 | 6.488
54 | 0.045774 | 0.011486 | -0.04577 | -0.011485 | 4.6542e-06 | 1.7122e-06 | 0.069489 | 0.069489 | 0.069489 | 0.98027 | -0.13829 | 0.98016 | -0.13902 | 12.8684
55 | 0.0064157 | 0.0016078 | -0.0064137 | -0.0016074 | 1.9698e-06 | 3.3799e-07 | 0.0097377 | 0.0097379 | 0.0097379 | 0.98037 | -0.13755 | 0.98006 | -0.13977 | 3.6066
56 | 0.043005 | 0.010792 | -0.042982 | -0.010783 | 2.3355e-05 | 8.5402e-06 | 0.065293 | 0.065293 | 0.065293 | 0.98016 | -0.13902 | 0.97962 | -0.14294 | 12.0913
57 | 0.040204 | 0.010087 | -0.04016 | -0.010071 | 4.3988e-05 | 1.5968e-05 | 0.061073 | 0.061073 | 0.061073 | 0.97962 | -0.14294 | 0.97851 | -0.15083 | 11.3098
58 | 0.037769 | 0.0094717 | -0.037746 | -0.0094635 | 2.2623e-05 | 8.1495e-06 | 0.057437 | 0.057437 | 0.057437 | 0.97851 | -0.15083 | 0.97791 | -0.15515 | 10.6365
59 | 0.0012995 | 0.00032543 | -0.0012995 | -0.00032567 | 5.1997e-08 | -2.4738e-07 | 0.0019773 | 0.0019774 | 0.0019774 | 0.97791 | -0.15515 | 0.97787 | -0.15544 | 0.73236
60 | 0.014913 | 0.0037386 | -0.014869 | -0.0037234 | 4.3803e-05 | 1.5155e-05 | 0.022734 | 0.022735 | 0.022735 | 0.97612 | -0.16795 | 0.97316 | -0.18921 | 8.4204
61 | 0.0048343 | 0.0012115 | -0.004834 | -0.0012115 | 3.0003e-07 | 2.3174e-09 | 0.0073297 | 0.0073298 | 0.0073298 | 0.9814 | -0.13031 | 0.98134 | -0.13076 | 2.7147
62 | 0.0012274 | 0.00030755 | -0.0012274 | -0.00030762 | 1.2729e-08 | -6.6236e-08 | 0.0018822 | 0.0018822 | 0.0018822 | 0.97037 | -0.20941 | 0.97036 | -0.20948 | 0.69712
63 | -0.0024835 | -0.00062236 | 0.0024851 | 0.00062076 | 1.6209e-06 | -1.5911e-06 | 0.0038083 | 0.0038075 | 0.0038083 | 0.97037 | -0.20941 | 0.97102 | -0.20468 | 1.4105
64 | -0.0037678 | -0.00094177 | 0.0037704 | 0.00094123 | 2.5487e-06 | -5.3694e-07 | 0.005773 | 0.0057724 | 0.005773 | 0.97102 | -0.20468 | 0.9717 | -0.19976 | 2.1381
65 | 0.0012827 | 0.000321 | -0.0012826 | -0.00032145 | 9.4665e-08 | -4.4929e-07 | 0.0019655 | 0.0019657 | 0.0019657 | 0.97102 | -0.20468 | 0.97095 | -0.20521 | 0.72802
66 | -0.0067534 | -0.0016887 | 0.0067544 | 0.0016889 | 9.9082e-07 | 1.971e-07 | 0.01034 | 0.01034 | 0.01034 | 0.9717 | -0.19976 | 0.97185 | -0.1987 | 3.8298
67 | 0.002983 | 0.00074751 | -0.0029829 | -0.00074758 | 1.2598e-07 | -7.1393e-08 | 0.004568 | 0.004568 | 0.004568 | 0.9717 | -0.19976 | 0.97166 | -0.20006 | 1.6919
68 | -0.0079497 | -0.0019885 | 0.0079524 | 0.0019892 | 2.6124e-06 | 6.5444e-07 | 0.012171 | 0.01217 | 0.012171 | 0.97185 | -0.1987 | 0.97218 | -0.19631 | 4.5076
69 | -0.0097981 | -0.0024518 | 0.0098005 | 0.0024525 | 2.3353e-06 | 6.9178e-07 | 0.014996 | 0.014996 | 0.014996 | 0.97218 | -0.19631 | 0.97242 | -0.19459 | 5.5539
70 | 0.013777 | 0.0034497 | -0.013776 | -0.0034491 | 1.587e-06 | 5.3918e-07 | 0.021065 | 0.021065 | 0.021065 | 0.97316 | -0.18921 | 0.97305 | -0.19004 | 7.8018
71 | 0.010759 | 0.0026931 | -0.010752 | -0.002691 | 6.7473e-06 | 2.0992e-06 | 0.016452 | 0.016452 | 0.016452 | 0.97305 | -0.19004 | 0.97242 | -0.19459 | 6.0932

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15571 | 0.039158

## res_load
| p_mw | q_mvar
0 | 0.0017989 | 0.00045086
1 | 0.0014157 | 0.0003548
2 | 0.0016135 | 0.00040437
3 | 0.0025635 | 0.00064248
4 | 0.0019086 | 0.00047833
5 | 0.0025072 | 0.00062837
6 | 0.0018327 | 0.00045931
7 | 0.0018667 | 0.00046783
8 | 0.0011716 | 0.00029363
9 | 0.0017349 | 0.00043482
10 | 0.0011716 | 0.00029363
11 | 0.0073823 | 0.0018502
12 | 0.00070193 | 0.00017592
13 | 0.0025609 | 0.00064181
14 | 0.0016623 | 0.00041662
15 | 0.009086 | 0.0022772
16 | 0.0021513 | 0.00053918
17 | 0.0015595 | 0.00039085
18 | 0.0024487 | 0.00061371
19 | 0.001325 | 0.00033207
20 | 0.00089893 | 0.00022529
21 | 0.0022285 | 0.00055851
22 | 0.001641 | 0.00041127
23 | 0.0016412 | 0.00041131
24 | 0.002634 | 0.00066015
25 | 0.0012972 | 0.0003251
26 | 0.001641 | 0.00041127
27 | 0.0034238 | 0.00085809
28 | 0.009818 | 0.0024606
29 | 0.0030452 | 0.00076319
30 | 0.0025579 | 0.00064108
31 | 0.0040446 | 0.0010137
32 | 0.0015144 | 0.00037956
33 | 0.0046366 | 0.0011621
34 | 0.0037837 | 0.00094829
35 | 0.0032942 | 0.00082559
36 | 0.0021843 | 0.00054743
37 | 0.0016236 | 0.00040692
38 | 0.00065147 | 0.00016327
39 | 0.0045486 | 0.00114
40 | 0.0051258 | 0.0012846
41 | 0.0027643 | 0.00069281
42 | 0.0064137 | 0.0016074
43 | 0.0027783 | 0.0006963
44 | 0.0023911 | 0.00059927
45 | 0.0012995 | 0.00032567
46 | 0.0018708 | 0.00046886
47 | 0.0042295 | 0.00106
48 | 0.004834 | 0.0012115
49 | 0.0012561 | 0.0003148
50 | 0.0012274 | 0.00030762
51 | 0.0012826 | 0.00032145
52 | 0.0029829 | 0.00074758
53 | 0.0011954 | 0.00029959
54 | 0.0018458 | 0.0004626
55 | 0.0010923 | 0.00027374
56 | 0.0030168 | 0.00075609
57 | 0.00095156 | 0.00023848

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1