## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1406-19_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1406-19_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1406-19_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1406-19_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1406-19_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1406-19_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1406-19_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1406-19_0_3_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_1406-19_0_3_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_1406-19_0_3_node_9 | 0.4 | n |  | TRUE
10 | bus_LV_1406-19_0_3_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_1406-19_0_3_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_1406-19_0_3_node_34 | 0.4 | n |  | TRUE
13 | bus_LV_1406-19_0_3_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_1406-19_0_3_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1406-19_0_3_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_1406-19_0_3_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_1406-19_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_1406-19_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1406-19_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1406-19_0_3_node_28 | 0.4 | n |  | TRUE
21 | bus_LV_1406-19_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1406-19_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1406-19_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1406-19_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1406-19_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1406-19_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1406-19_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1406-19_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1406-19_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1406-19_0_3_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_1406-19_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_1406-19_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1406-19_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_1406-19_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_1406-19_0_3_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_1406-19_0_3_node_33 | 0.4 | n |  | TRUE
37 | bus_LV_1406-19_0_3_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_1406-19_0_3_node_37 | 0.4 | n |  | TRUE
39 | bus_LV_1406-19_0_3_node_39 | 0.4 | n |  | TRUE
40 | bus_MV_138_1_node_132 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1406-19_0_3_load_0 | 0 | 0.0042997 | 0.0010776 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1406-19_0_3_load_3 | 3 | 0.0032644 | 0.00081812 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1406-19_0_3_load_4 | 4 | 0.0037536 | 0.00094073 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1406-19_0_3_load_6 | 6 | 0.0082804 | 0.0020753 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1406-19_0_3_load_36 | 7 | 0.0013585 | 0.00034046 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1406-19_0_3_load_31 | 8 | 0.0031769 | 0.00079622 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1406-19_0_3_load_9 | 9 | 0.0083422 | 0.0020907 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1406-19_0_3_load_20 | 10 | 0.0054175 | 0.0013578 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1406-19_0_3_load_18 | 11 | 0.0042884 | 0.0010748 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1406-19_0_3_load_34 | 12 | 0.0037696 | 0.00094476 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1406-19_0_3_load_29 | 13 | 0.0040051 | 0.0010038 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1406-19_0_3_load_7 | 14 | 0.0064159 | 0.001608 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1406-19_0_3_load_21 | 15 | 0.0082553 | 0.002069 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1406-19_0_3_load_19 | 16 | 0.0055887 | 0.0014007 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1406-19_0_3_load_8 | 17 | 0.0040085 | 0.0010046 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1406-19_0_3_load_10 | 18 | 0.0075631 | 0.0018955 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1406-19_0_3_load_11 | 19 | 0.0081246 | 0.0020362 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1406-19_0_3_load_28 | 20 | 0.0041154 | 0.0010314 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1406-19_0_3_load_12 | 21 | 0.016944 | 0.0042465 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1406-19_0_3_load_13 | 22 | 0.0096348 | 0.0024147 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1406-19_0_3_load_15 | 24 | 0.010304 | 0.0025824 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1406-19_0_3_load_16 | 25 | 0.016306 | 0.0040866 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1406-19_0_3_load_17 | 26 | 0.0039079 | 0.00097941 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1406-19_0_3_load_22 | 27 | 0.0071682 | 0.0017965 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1406-19_0_3_load_24 | 28 | 0.0052087 | 0.0013054 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1406-19_0_3_load_23 | 29 | 0.007139 | 0.0017892 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1406-19_0_3_load_27 | 30 | 0.0042884 | 0.0010748 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1406-19_0_3_load_26 | 32 | 0.0048339 | 0.0012115 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1406-19_0_3_load_30 | 33 | 0.0029075 | 0.00072869 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1406-19_0_3_load_32 | 34 | 0.0046544 | 0.0011665 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1406-19_0_3_load_38 | 35 | 0.0047465 | 0.0011896 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1406-19_0_3_load_33 | 36 | 0.0040757 | 0.0010215 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1406-19_0_3_load_37 | 38 | 0.0030667 | 0.00076859 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1406-19_0_3_load_39 | 39 | 0.0025049 | 0.00062779 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1406-19_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01137 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1406-19_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.038641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1406-19_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.014335 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1406-19_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.022709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1406-19_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.00982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1406-19_0_3_line_5 | NAYY 4x150 SE | 2 | 6 | 0.016805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1406-19_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.00040155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1406-19_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.011432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1406-19_0_3_line_8 | NAYY 4x150 SE | 5 | 9 | 0.019641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1406-19_0_3_line_9 | NAYY 4x150 SE | 5 | 10 | 0.0062644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
10 | LV_1406-19_0_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.022279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1406-19_0_3_line_11 | NAYY 4x150 SE | 7 | 12 | 0.0073226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1406-19_0_3_line_12 | NAYY 4x150 SE | 8 | 13 | 0.019251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1406-19_0_3_line_13 | NAYY 4x150 SE | 9 | 14 | 0.0046346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1406-19_0_3_line_14 | NAYY 4x150 SE | 10 | 15 | 0.010234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1406-19_0_3_line_15 | NAYY 4x150 SE | 11 | 16 | 0.004299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1406-19_0_3_line_16 | NAYY 4x150 SE | 12 | 36 | 0.020184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1406-19_0_3_line_17 | NAYY 4x150 SE | 13 | 33 | 0.029654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1406-19_0_3_line_18 | NAYY 4x150 SE | 14 | 17 | 0.021647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1406-19_0_3_line_19 | NAYY 4x150 SE | 15 | 27 | 0.010556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1406-19_0_3_line_20 | NAYY 4x150 SE | 16 | 30 | 0.0065107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1406-19_0_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.013737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1406-19_0_3_line_22 | NAYY 4x150 SE | 18 | 19 | 0.0040317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1406-19_0_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.020471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1406-19_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.039734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1406-19_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.070106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1406-19_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.041272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1406-19_0_3_line_27 | NAYY 4x150 SE | 23 | 25 | 0.045667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1406-19_0_3_line_28 | NAYY 4x150 SE | 23 | 26 | 0.011979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1406-19_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.036987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1406-19_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.024952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1406-19_0_3_line_31 | NAYY 4x150 SE | 28 | 29 | 0.0018644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1406-19_0_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.034494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1406-19_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.030828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1406-19_0_3_line_34 | NAYY 4x150 SE | 33 | 34 | 0.06101 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1406-19_0_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.01765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1406-19_0_3_line_36 | NAYY 4x150 SE | 36 | 37 | 0.033633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1406-19_0_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.05854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1406-19_0_3_line_38 | NAYY 4x150 SE | 37 | 39 | 0.097465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1406-19_0_3_trafo_20 | 0.25 MVA 20/0.4 kV | 40 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2661514.3254 | 1192480.6035 | 2661505.0319 | 1192474.053
1 | 2661473.4961 | 1192451.7229 | 2661490.3797 | 1192463.7255 | 2661505.0319 | 1192474.053
2 | 2661514.3254 | 1192480.6035 | 2661525.6841 | 1192489.349
3 | 2661514.3254 | 1192480.6035 | 2661522.3242 | 1192464.0761 | 2661523.2708 | 1192459.8323
4 | 2661473.4961 | 1192451.7229 | 2661465.0405 | 1192446.6888
5 | 2661473.4961 | 1192451.7229 | 2661479.3907 | 1192435.9852
6 | 2661525.6841 | 1192489.349 | 2661526.0023 | 1192489.594
7 | 2661523.2708 | 1192459.8323 | 2661525.7597 | 1192448.6742
8 | 2661465.0405 | 1192446.6888 | 2661458.6856 | 1192461.2653 | 2661457.3324 | 1192464.7514
9 | 2661465.0405 | 1192446.6888 | 2661459.6295 | 1192443.5323
10 | 2661480.0586 | 1192414.6229 | 2661482.7921 | 1192426.9041 | 2661479.3907 | 1192435.9852
11 | 2661531.8043 | 1192494.0613 | 2661526.0023 | 1192489.594
12 | 2661527.1936 | 1192429.6824 | 2661527.8862 | 1192439.1411 | 2661525.7597 | 1192448.6742
13 | 2661455.6554 | 1192469.072 | 2661457.3324 | 1192464.7514
14 | 2661450.2667 | 1192439.5274 | 2661456.1747 | 1192441.517 | 2661459.6295 | 1192443.5323
15 | 2661479.1246 | 1192410.4266 | 2661480.0586 | 1192414.6229
16 | 2661548.1529 | 1192505.8931 | 2661535.7214 | 1192497.0773 | 2661531.8043 | 1192494.0613
17 | 2661527.1936 | 1192429.6824 | 2661526.1215 | 1192415.0424 | 2661521.8749 | 1192400.6821
18 | 2661455.6554 | 1192469.072 | 2661455.6554 | 1192469.072 | 2661456.7057 | 1192478.8773 | 2661458.7704 | 1192490.4805
19 | 2661450.2667 | 1192439.5274 | 2661446.504 | 1192438.2603 | 2661440.2659 | 1192436.149
20 | 2661479.1246 | 1192410.4266 | 2661477.7101 | 1192404.0714
21 | 2661461.1769 | 1192504.0046 | 2661458.7704 | 1192490.4805
22 | 2661461.8832 | 1192507.974 | 2661461.1769 | 1192504.0046
23 | 2661461.8832 | 1192507.974 | 2661465.4695 | 1192528.1284
24 | 2661398.9148 | 1192500.483 | 2661389.4553 | 1192461.8912
25 | 2661372.765 | 1192393.8004 | 2661389.4553 | 1192461.8912
26 | 2661398.9148 | 1192500.483 | 2661408.7405 | 1192540.5685
27 | 2661372.765 | 1192393.8004 | 2661379.6726 | 1192392.2037 | 2661383.2505 | 1192393.4299 | 2661399.689 | 1192407.9847 | 2661409.3697 | 1192416.418
28 | 2661372.765 | 1192393.8004 | 2661369.7102 | 1192382.2175
29 | 2661409.3697 | 1192416.418 | 2661418.2076 | 1192424.1173 | 2661424.3293 | 1192428.5382 | 2661435.223 | 1192434.4423 | 2661440.2659 | 1192436.149
30 | 2661369.7102 | 1192382.2175 | 2661363.3473 | 1192358.0906
31 | 2661363.3473 | 1192358.0906 | 2661362.8718 | 1192356.2878
32 | 2661354.0756 | 1192322.9346 | 2661362.8718 | 1192356.2878
33 | 2661354.0756 | 1192322.9346 | 2661349.2908 | 1192324.1752 | 2661340.6089 | 1192324.0862 | 2661332.72 | 1192326.9515 | 2661324.8959 | 1192331.0003
34 | 2661521.8749 | 1192400.6821 | 2661519.5723 | 1192392.8956 | 2661521.8821 | 1192382.5245 | 2661527.9058 | 1192383.8649 | 2661535.2992 | 1192394.3358 | 2661556.6164 | 1192403.6826
35 | 2661558.9693 | 1192388.3758 | 2661560.9328 | 1192393.1431 | 2661560.6748 | 1192400.4336 | 2661556.6164 | 1192403.6826
36 | 2661575.9754 | 1192524.7739 | 2661563.3059 | 1192516.6389 | 2661548.1529 | 1192505.8931
37 | 2661575.9754 | 1192524.7739 | 2661579.3826 | 1192482.5734 | 2661578.3744 | 1192476.1038 | 2661569.5104 | 1192472.2437
38 | 2661575.9754 | 1192524.7739 | 2661654.3524 | 1192582.7083

## bus_geodata
| x | y | coords
0 | 2661505.0319 | 1192474.053
1 | 2661514.3254 | 1192480.6035
2 | 2661473.4961 | 1192451.7229
3 | 2661525.6841 | 1192489.349
4 | 2661523.2708 | 1192459.8323
5 | 2661465.0405 | 1192446.6888
6 | 2661479.3907 | 1192435.9852
7 | 2661526.0023 | 1192489.594
8 | 2661525.7597 | 1192448.6742
9 | 2661457.3324 | 1192464.7514
10 | 2661459.6295 | 1192443.5323
11 | 2661480.0586 | 1192414.6229
12 | 2661531.8043 | 1192494.0613
13 | 2661527.1936 | 1192429.6824
14 | 2661455.6554 | 1192469.072
15 | 2661450.2667 | 1192439.5274
16 | 2661479.1246 | 1192410.4266
17 | 2661458.7704 | 1192490.4805
18 | 2661461.1769 | 1192504.0046
19 | 2661461.8832 | 1192507.974
20 | 2661465.4695 | 1192528.1284
21 | 2661389.4553 | 1192461.8912
22 | 2661398.9148 | 1192500.483
23 | 2661372.765 | 1192393.8004
24 | 2661408.7405 | 1192540.5685
25 | 2661409.3697 | 1192416.418
26 | 2661369.7102 | 1192382.2175
27 | 2661440.2659 | 1192436.149
28 | 2661363.3473 | 1192358.0906
29 | 2661362.8718 | 1192356.2878
30 | 2661477.7101 | 1192404.0714
31 | 2661354.0756 | 1192322.9346
32 | 2661324.8959 | 1192331.0003
33 | 2661521.8749 | 1192400.6821
34 | 2661556.6164 | 1192403.6826
35 | 2661558.9693 | 1192388.3758
36 | 2661548.1529 | 1192505.8931
37 | 2661575.9754 | 1192524.7739
38 | 2661569.5104 | 1192472.2437
39 | 2661654.3524 | 1192582.7083
40 | 2661465.0405 | 1192446.6888

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99604 | -0.027711 | 0.0042997 | 0.0010776
1 | 0.99537 | -0.032441 | 0 | 0
2 | 0.99857 | -0.010021 | 0 | 0
3 | 0.995 | -0.03505 | 0.0032644 | 0.00081812
4 | 0.99461 | -0.037765 | 0.0037536 | 0.00094073
5 | 0.99952 | -0.0033357 | 0 | 0
6 | 0.99803 | -0.013799 | 0.0082804 | 0.0020753
7 | 0.99499 | -0.03511 | 0.0013585 | 0.00034046
8 | 0.99429 | -0.040016 | 0.0031769 | 0.00079622
9 | 0.99844 | -0.010913 | 0.0083422 | 0.0020907
10 | 1 | 0 | -0.19841 | -0.049689
11 | 0.99758 | -0.016963 | 0.0042884 | 0.0010748
12 | 0.99485 | -0.036102 | 0.0037696 | 0.00094476
13 | 0.99384 | -0.04319 | 0.0040051 | 0.0010038
14 | 0.99824 | -0.012316 | 0.0064159 | 0.001608
15 | 0.99868 | -0.0091772 | 0.0082553 | 0.002069
16 | 0.99752 | -0.017389 | 0.0055887 | 0.0014007
17 | 0.9975 | -0.017484 | 0.0040085 | 0.0010046
18 | 0.99711 | -0.020214 | 0.0075631 | 0.0018955
19 | 0.99704 | -0.020709 | 0.0081246 | 0.0020362
20 | 0.99692 | -0.021555 | 0.0041154 | 0.0010314
21 | 0.98591 | -0.098819 | 0.016944 | 0.0042465
22 | 0.98476 | -0.10697 | 0.0096348 | 0.0024147
23 | 0.98965 | -0.072362 | 0 | 0
24 | 0.98414 | -0.11135 | 0.010304 | 0.0025824
25 | 0.99347 | -0.045476 | 0.016306 | 0.0040866
26 | 0.98928 | -0.074938 | 0.0039079 | 0.00097941
27 | 0.99744 | -0.017795 | 0.0071682 | 0.0017965
28 | 0.98867 | -0.079315 | 0.0052087 | 0.0013054
29 | 0.98863 | -0.079543 | 0.007139 | 0.0017892
30 | 0.99748 | -0.017669 | 0.0042884 | 0.0010748
31 | 0.98839 | -0.081248 | 0 | 0
32 | 0.98818 | -0.082771 | 0.0048339 | 0.0012115
33 | 0.99331 | -0.046883 | 0.0029075 | 0.00072869
34 | 0.99249 | -0.052692 | 0.0046544 | 0.0011665
35 | 0.99237 | -0.053541 | 0.0047465 | 0.0011896
36 | 0.99457 | -0.03807 | 0.0040757 | 0.0010215
37 | 0.9943 | -0.039967 | 0 | 0
38 | 0.99404 | -0.041781 | 0.0030667 | 0.00076859
39 | 0.99395 | -0.042437 | 0.0025049 | 0.00062779
40 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.04137 | 0.010375 | -0.041343 | -0.010364 | 2.7103e-05 | 1.0276e-05 | 0.061806 | 0.061806 | 0.061806 | 0.99604 | -0.027711 | 0.99537 | -0.032441 | 22.8912
1 | -0.04567 | -0.011452 | 0.045782 | 0.011495 | 0.00011225 | 4.2668e-05 | 0.06823 | 0.068229 | 0.06823 | 0.99604 | -0.027711 | 0.99857 | -0.010021 | 25.2702
2 | 0.018054 | 0.0045236 | -0.018047 | -0.0045213 | 6.516e-06 | 2.3199e-06 | 0.026989 | 0.026989 | 0.026989 | 0.99537 | -0.032441 | 0.995 | -0.03505 | 9.996
3 | 0.023289 | 0.0058407 | -0.023272 | -0.0058344 | 1.7178e-05 | 6.312e-06 | 0.034817 | 0.034817 | 0.034817 | 0.99537 | -0.032441 | 0.99461 | -0.037765 | 12.8952
4 | -0.068247 | -0.017127 | 0.06831 | 0.017151 | 6.3385e-05 | 2.425e-05 | 0.10171 | 0.10171 | 0.10171 | 0.99857 | -0.010021 | 0.99952 | -0.0033357 | 37.6688
5 | 0.022465 | 0.005632 | -0.022453 | -0.0056277 | 1.1752e-05 | 4.3003e-06 | 0.033476 | 0.033476 | 0.033476 | 0.99857 | -0.010021 | 0.99803 | -0.013799 | 12.3987
6 | 0.014783 | 0.0037032 | -0.014783 | -0.0037032 | 1.2246e-07 | 4.1886e-08 | 0.022107 | 0.022107 | 0.022107 | 0.995 | -0.03505 | 0.99499 | -0.03511 | 8.188
7 | 0.019518 | 0.0048936 | -0.019512 | -0.0048914 | 6.0832e-06 | 2.1914e-06 | 0.029201 | 0.029202 | 0.029202 | 0.99461 | -0.037765 | 0.99429 | -0.040016 | 10.8154
8 | 0.038642 | 0.0096932 | -0.038601 | -0.0096778 | 4.0565e-05 | 1.5345e-05 | 0.05753 | 0.05753 | 0.05753 | 0.99952 | -0.0033357 | 0.99844 | -0.010913 | 21.3076
9 | -0.10695 | -0.026844 | 0.107 | 0.026863 | 4.9558e-05 | 1.8897e-05 | 0.15924 | 0.15924 | 0.15924 | 0.99952 | -0.0033357 | 1 | 0 | 29.4882
10 | 0.014172 | 0.0035524 | -0.014166 | -0.0035504 | 6.2074e-06 | 2.0965e-06 | 0.021131 | 0.021131 | 0.021131 | 0.99803 | -0.013799 | 0.99758 | -0.016963 | 7.8262
11 | 0.013425 | 0.0033627 | -0.013423 | -0.0033621 | 1.8416e-06 | 6.1322e-07 | 0.020076 | 0.020076 | 0.020076 | 0.99499 | -0.03511 | 0.99485 | -0.036102 | 7.4355
12 | 0.016335 | 0.0040952 | -0.016328 | -0.0040927 | 7.1796e-06 | 2.5118e-06 | 0.024447 | 0.024447 | 0.024447 | 0.99429 | -0.040016 | 0.99384 | -0.04319 | 9.0545
13 | 0.030259 | 0.0075871 | -0.030253 | -0.0075849 | 5.8818e-06 | 2.2016e-06 | 0.045098 | 0.045098 | 0.045098 | 0.99844 | -0.010913 | 0.99824 | -0.012316 | 16.7029
14 | 0.090608 | 0.022825 | -0.090492 | -0.022781 | 0.00011615 | 4.454e-05 | 0.13487 | 0.13487 | 0.13487 | 1 | 0 | 0.99868 | -0.0091772 | 49.951
15 | 0.0098778 | 0.0024756 | -0.0098773 | -0.0024754 | 5.8236e-07 | 1.6786e-07 | 0.014734 | 0.014734 | 0.014734 | 0.99758 | -0.016963 | 0.99752 | -0.017389 | 5.4571
16 | 0.009653 | 0.0024173 | -0.0096504 | -0.0024166 | 2.6253e-06 | 7.4773e-07 | 0.014438 | 0.014438 | 0.014438 | 0.99485 | -0.036102 | 0.99457 | -0.03807 | 5.3473
17 | 0.012323 | 0.0030889 | -0.012317 | -0.0030869 | 6.2993e-06 | 2.0387e-06 | 0.01845 | 0.018451 | 0.018451 | 0.99384 | -0.04319 | 0.99331 | -0.046883 | 6.8336
18 | 0.023837 | 0.0059769 | -0.02382 | -0.0059706 | 1.7056e-05 | 6.2771e-06 | 0.035534 | 0.035534 | 0.035534 | 0.99824 | -0.012316 | 0.9975 | -0.017484 | 13.1608
19 | 0.082237 | 0.020712 | -0.082138 | -0.020674 | 9.8954e-05 | 3.7921e-05 | 0.12257 | 0.12257 | 0.12257 | 0.99868 | -0.0091772 | 0.99744 | -0.017795 | 45.3954
20 | 0.0042886 | 0.0010748 | -0.0042884 | -0.0010748 | 1.6627e-07 | -2.1039e-08 | 0.0063973 | 0.0063974 | 0.0063974 | 0.99752 | -0.017389 | 0.99748 | -0.017669 | 2.3694
21 | 0.019812 | 0.004966 | -0.019804 | -0.0049633 | 7.487e-06 | 2.7004e-06 | 0.029554 | 0.029554 | 0.029554 | 0.9975 | -0.017484 | 0.99711 | -0.020214 | 10.9461
22 | 0.012241 | 0.0030678 | -0.01224 | -0.0030675 | 8.3956e-07 | 2.7032e-07 | 0.018268 | 0.018268 | 0.018268 | 0.99711 | -0.020214 | 0.99704 | -0.020709 | 6.7659
23 | 0.0041159 | 0.0010313 | -0.0041154 | -0.0010314 | 4.8198e-07 | -8.1569e-08 | 0.0061426 | 0.0061427 | 0.0061427 | 0.99704 | -0.020709 | 0.99692 | -0.021555 | 2.2751
24 | 0.019967 | 0.0050071 | -0.019945 | -0.004999 | 2.252e-05 | 8.1555e-06 | 0.030138 | 0.030138 | 0.030138 | 0.98591 | -0.098819 | 0.98476 | -0.10697 | 11.1621
25 | -0.036911 | -0.0092537 | 0.037047 | 0.009305 | 0.00013577 | 5.1324e-05 | 0.055711 | 0.05571 | 0.055711 | 0.98591 | -0.098819 | 0.98965 | -0.072362 | 20.6336
26 | 0.01031 | 0.0025843 | -0.010304 | -0.0025824 | 6.2508e-06 | 1.8794e-06 | 0.015579 | 0.015579 | 0.015579 | 0.98476 | -0.10697 | 0.98414 | -0.11135 | 5.7701
27 | -0.058157 | -0.014597 | 0.058375 | 0.01468 | 0.00021793 | 8.323e-05 | 0.087451 | 0.087451 | 0.087451 | 0.98965 | -0.072362 | 0.99347 | -0.045476 | 32.3894
28 | 0.02111 | 0.0052921 | -0.021102 | -0.0052893 | 7.5309e-06 | 2.7426e-06 | 0.031741 | 0.031741 | 0.031741 | 0.98965 | -0.072362 | 0.98928 | -0.074938 | 11.756
29 | -0.074681 | -0.018767 | 0.07497 | 0.018878 | 0.00028886 | 0.00011062 | 0.11187 | 0.11187 | 0.11187 | 0.99347 | -0.045476 | 0.99744 | -0.017795 | 41.4348
30 | 0.017195 | 0.0043099 | -0.017184 | -0.0043062 | 1.0415e-05 | 3.6855e-06 | 0.025863 | 0.025863 | 0.025863 | 0.98928 | -0.074938 | 0.98867 | -0.079315 | 9.579
31 | 0.011975 | 0.0030008 | -0.011975 | -0.0030007 | 3.7794e-07 | 1.2145e-07 | 0.018024 | 0.018024 | 0.018024 | 0.98867 | -0.079315 | 0.98863 | -0.079543 | 6.6755
32 | 0.004836 | 0.0012115 | -0.0048349 | -0.0012115 | 1.1403e-06 | -3.6053e-09 | 0.0072786 | 0.0072788 | 0.0072788 | 0.98863 | -0.079543 | 0.98839 | -0.081248 | 2.6958
33 | 0.0048349 | 0.0012115 | -0.0048339 | -0.0012115 | 1.0192e-06 | -3.0241e-09 | 0.0072788 | 0.0072789 | 0.0072789 | 0.98839 | -0.081248 | 0.98818 | -0.082771 | 2.6959
34 | 0.009409 | 0.0023582 | -0.0094015 | -0.0023561 | 7.5636e-06 | 2.12e-06 | 0.014095 | 0.014095 | 0.014095 | 0.99331 | -0.046883 | 0.99249 | -0.052692 | 5.2205
35 | 0.0047471 | 0.0011896 | -0.0047465 | -0.0011896 | 5.5787e-07 | -1.3494e-08 | 0.0071171 | 0.0071172 | 0.0071172 | 0.99249 | -0.052692 | 0.99237 | -0.053541 | 2.636
36 | 0.0055747 | 0.0013951 | -0.0055732 | -0.001395 | 1.4597e-06 | 1.2509e-07 | 0.0083398 | 0.00834 | 0.00834 | 0.99457 | -0.03807 | 0.9943 | -0.039967 | 3.0889
37 | 0.0030675 | 0.00076812 | -0.0030667 | -0.00076859 | 7.6977e-07 | -4.6301e-07 | 0.0045904 | 0.0045907 | 0.0045907 | 0.9943 | -0.039967 | 0.99404 | -0.041781 | 1.7002
38 | 0.0025058 | 0.00062686 | -0.0025049 | -0.00062779 | 8.5518e-07 | -9.3477e-07 | 0.0037496 | 0.0037501 | 0.0037501 | 0.9943 | -0.039967 | 0.99395 | -0.042437 | 1.3889

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.20383 | 0.051047

## res_load
| p_mw | q_mvar
0 | 0.0042997 | 0.0010776
1 | 0.0032644 | 0.00081812
2 | 0.0037536 | 0.00094073
3 | 0.0082804 | 0.0020753
4 | 0.0013585 | 0.00034046
5 | 0.0031769 | 0.00079622
6 | 0.0083422 | 0.0020907
7 | 0.0054175 | 0.0013578
8 | 0.0042884 | 0.0010748
9 | 0.0037696 | 0.00094476
10 | 0.0040051 | 0.0010038
11 | 0.0064159 | 0.001608
12 | 0.0082553 | 0.002069
13 | 0.0055887 | 0.0014007
14 | 0.0040085 | 0.0010046
15 | 0.0075631 | 0.0018955
16 | 0.0081246 | 0.0020362
17 | 0.0041154 | 0.0010314
18 | 0.016944 | 0.0042465
19 | 0.0096348 | 0.0024147
20 | 0.010304 | 0.0025824
21 | 0.016306 | 0.0040866
22 | 0.0039079 | 0.00097941
23 | 0.0071682 | 0.0017965
24 | 0.0052087 | 0.0013054
25 | 0.007139 | 0.0017892
26 | 0.0042884 | 0.0010748
27 | 0.0048339 | 0.0012115
28 | 0.0029075 | 0.00072869
29 | 0.0046544 | 0.0011665
30 | 0.0047465 | 0.0011896
31 | 0.0040757 | 0.0010215
32 | 0.0030667 | 0.00076859
33 | 0.0025049 | 0.00062779

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1