## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1406-22_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1406-22_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1406-22_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1406-22_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1406-22_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1406-22_0_3_node_14 | 0.4 | n |  | TRUE
6 | bus_LV_1406-22_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1406-22_0_3_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_1406-22_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1406-22_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1406-22_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1406-22_0_3_node_39 | 0.4 | n |  | TRUE
12 | bus_LV_1406-22_0_3_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_1406-22_0_3_node_37 | 0.4 | n |  | TRUE
14 | bus_LV_1406-22_0_3_node_38 | 0.4 | n |  | TRUE
15 | bus_LV_1406-22_0_3_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1406-22_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1406-22_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1406-22_0_3_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_1406-22_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1406-22_0_3_node_13 | 0.4 | n |  | TRUE
21 | bus_LV_1406-22_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1406-22_0_3_node_31 | 0.4 | n |  | TRUE
23 | bus_LV_1406-22_0_3_node_30 | 0.4 | n |  | TRUE
24 | bus_LV_1406-22_0_3_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_1406-22_0_3_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_1406-22_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1406-22_0_3_node_33 | 0.4 | n |  | TRUE
28 | bus_LV_1406-22_0_3_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_1406-22_0_3_node_35 | 0.4 | n |  | TRUE
30 | bus_LV_1406-22_0_3_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_1406-22_0_3_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_1406-22_0_3_node_21 | 0.4 | n |  | TRUE
33 | bus_LV_1406-22_0_3_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_1406-22_0_3_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_1406-22_0_3_node_25 | 0.4 | n |  | TRUE
36 | bus_LV_1406-22_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_1406-22_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_1406-22_0_3_node_29 | 0.4 | n |  | TRUE
39 | bus_LV_1406-22_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_MV_138_1_node_146 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1406-22_0_3_load_0 | 0 | 0.0046541 | 0.0011664 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1406-22_0_3_load_1 | 1 | 0.0088514 | 0.0022184 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1406-22_0_3_load_2 | 2 | 0.0044621 | 0.0011183 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1406-22_0_3_load_3 | 3 | 0.0038084 | 0.00095448 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1406-22_0_3_load_4 | 4 | 0.00418 | 0.0010476 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1406-22_0_3_load_14 | 5 | 0.0032426 | 0.00081268 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1406-22_0_3_load_15 | 7 | 0.003729 | 0.00093457 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1406-22_0_3_load_5 | 9 | 0.0041103 | 0.0010301 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1406-22_0_3_load_6 | 10 | 0.0032521 | 0.00081506 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1406-22_0_3_load_39 | 11 | 0.0050725 | 0.0012713 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1406-22_0_3_load_19 | 12 | 0.0051227 | 0.0012839 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1406-22_0_3_load_37 | 13 | 0.0042293 | 0.00106 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1406-22_0_3_load_38 | 14 | 0.0023018 | 0.00057687 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1406-22_0_3_load_9 | 15 | 0.0090197 | 0.0022606 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1406-22_0_3_load_10 | 16 | 0.0020596 | 0.0005162 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1406-22_0_3_load_11 | 17 | 0.0068301 | 0.0017118 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1406-22_0_3_load_17 | 18 | 0.0057801 | 0.0014486 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1406-22_0_3_load_12 | 19 | 0.0026296 | 0.00065904 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1406-22_0_3_load_13 | 20 | 0.019369 | 0.0048544 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1406-22_0_3_load_16 | 21 | 0.008204 | 0.0020561 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1406-22_0_3_load_31 | 22 | 0.0032591 | 0.00081681 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1406-22_0_3_load_30 | 23 | 0.0044706 | 0.0011204 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1406-22_0_3_load_32 | 24 | 0.0067295 | 0.0016866 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1406-22_0_3_load_18 | 26 | 0.0041113 | 0.0010304 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1406-22_0_3_load_33 | 27 | 0.0081165 | 0.0020342 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1406-22_0_3_load_34 | 28 | 0.0052482 | 0.0013153 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1406-22_0_3_load_35 | 29 | 0.00225 | 0.00056391 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1406-22_0_3_load_28 | 30 | 0.0035429 | 0.00088793 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1406-22_0_3_load_20 | 31 | 0.0030536 | 0.00076531 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1406-22_0_3_load_25 | 35 | 0.0044425 | 0.0011134 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1406-22_0_3_load_24 | 36 | 0.0031069 | 0.00077865 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1406-22_0_3_load_26 | 37 | 0.0050148 | 0.0012568 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1406-22_0_3_load_29 | 38 | 0.0032563 | 0.0008161 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1406-22_0_3_load_36 | 39 | 0.0024634 | 0.00061738 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 7 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1406-22_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1406-22_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.010357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1406-22_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0063834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1406-22_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.010819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1406-22_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.024046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1406-22_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.013436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1406-22_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.021116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1406-22_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.025723 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1406-22_0_3_line_8 | NAYY 4x150 SE | 7 | 20 | 0.0062738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1406-22_0_3_line_9 | NAYY 4x150 SE | 8 | 12 | 0.025418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1406-22_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.034688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1406-22_0_3_line_11 | NAYY 4x150 SE | 9 | 10 | 0.041525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1406-22_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.02627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1406-22_0_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.0046237 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1406-22_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.021345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1406-22_0_3_line_15 | NAYY 4x150 SE | 15 | 16 | 0.013719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1406-22_0_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.0015618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1406-22_0_3_line_17 | NAYY 4x150 SE | 15 | 18 | 0.033869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1406-22_0_3_line_18 | NAYY 4x150 SE | 16 | 19 | 0.015504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1406-22_0_3_line_19 | NAYY 4x150 SE | 17 | 20 | 0.027064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1406-22_0_3_line_20 | NAYY 4x150 SE | 18 | 21 | 0.011873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1406-22_0_3_line_21 | NAYY 4x150 SE | 19 | 22 | 0.035385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1406-22_0_3_line_22 | NAYY 4x150 SE | 21 | 26 | 0.015317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1406-22_0_3_line_23 | NAYY 4x150 SE | 22 | 38 | 0.00014986 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1406-22_0_3_line_24 | NAYY 4x150 SE | 23 | 24 | 0.017907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1406-22_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.01719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1406-22_0_3_line_26 | NAYY 4x150 SE | 24 | 27 | 0.012587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1406-22_0_3_line_27 | NAYY 4x150 SE | 25 | 38 | 0.029942 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1406-22_0_3_line_28 | NAYY 4x150 SE | 25 | 37 | 0.0096773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1406-22_0_3_line_29 | NAYY 4x150 SE | 28 | 29 | 0.021153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1406-22_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.026322 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1406-22_0_3_line_31 | NAYY 4x150 SE | 29 | 39 | 0.0098772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1406-22_0_3_line_32 | NAYY 4x150 SE | 30 | 33 | 0.0242 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1406-22_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.017316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1406-22_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.019024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1406-22_0_3_line_35 | NAYY 4x150 SE | 32 | 34 | 0.032418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1406-22_0_3_line_36 | NAYY 4x150 SE | 33 | 35 | 0.0089819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1406-22_0_3_line_37 | NAYY 4x150 SE | 34 | 36 | 0.0016301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1406-22_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.019704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1406-22_0_3_trafo_15 | 0.25 MVA 20/0.4 kV | 40 | 7 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2661237.6233 | 1191706.4716 | 2661238.5137 | 1191696.6682 | 2661238.9328 | 1191692.5906
1 | 2661237.6233 | 1191706.4716 | 2661236.6865 | 1191716.7862
2 | 2661238.9328 | 1191692.5906 | 2661239.5854 | 1191686.2407
3 | 2661236.6865 | 1191716.7862 | 2661235.7079 | 1191727.5611
4 | 2661242.0439 | 1191662.3204 | 2661239.5854 | 1191686.2407
5 | 2661234.4926 | 1191740.9415 | 2661235.7079 | 1191727.5611
6 | 2661242.0439 | 1191662.3204 | 2661244.2028 | 1191641.3148
7 | 2661259.9962 | 1191737.0668 | 2661234.4926 | 1191740.9415
8 | 2661244.8442 | 1191635.0738 | 2661244.2028 | 1191641.3148
9 | 2661259.9962 | 1191737.0668 | 2661264.5999 | 1191739.4153 | 2661267.6956 | 1191744.5833 | 2661267.561 | 1191749.5403 | 2661266.9211 | 1191758.7845
10 | 2661259.9962 | 1191737.0668 | 2661276.2296 | 1191733.1418 | 2661293.9886 | 1191730.2847
11 | 2661293.9886 | 1191730.2847 | 2661315.9543 | 1191765.5249
12 | 2661293.9886 | 1191730.2847 | 2661313.3936 | 1191712.5771
13 | 2661313.3936 | 1191712.5771 | 2661312.9691 | 1191707.9728
14 | 2661311.0097 | 1191686.7183 | 2661312.9691 | 1191707.9728
15 | 2661247.7709 | 1191606.5982 | 2661249.1735 | 1191592.9515
16 | 2661247.6112 | 1191608.1518 | 2661247.7709 | 1191606.5982
17 | 2661247.7709 | 1191606.5982 | 2661214.8264 | 1191598.7409
18 | 2661250.5954 | 1191577.5129 | 2661249.7751 | 1191587.0981 | 2661249.1735 | 1191592.9515
19 | 2661244.8442 | 1191635.0738 | 2661247.6112 | 1191608.1518
20 | 2661214.8264 | 1191598.7409 | 2661213.6779 | 1191610.558
21 | 2661250.5954 | 1191577.5129 | 2661285.4799 | 1191583.4456
22 | 2661212.1963 | 1191625.8027 | 2661213.6779 | 1191610.558
23 | 2661285.4799 | 1191583.4456 | 2661285.6289 | 1191583.4616
24 | 2661310.4399 | 1191603.092 | 2661304.1728 | 1191619.8663
25 | 2661315.4006 | 1191586.6473 | 2661312.0277 | 1191598.842 | 2661310.4399 | 1191603.092
26 | 2661299.7675 | 1191631.6576 | 2661304.1728 | 1191619.8663
27 | 2661315.4006 | 1191586.6473 | 2661285.6289 | 1191583.4616
28 | 2661315.4006 | 1191586.6473 | 2661317.4374 | 1191582.0655 | 2661320.1513 | 1191578.2734
29 | 2661332.5704 | 1191617.0298 | 2661325.8641 | 1191637.0914
30 | 2661340.9156 | 1191592.0655 | 2661332.5704 | 1191617.0298
31 | 2661325.8641 | 1191637.0914 | 2661324.0926 | 1191642.3906 | 2661322.276 | 1191646.2767
32 | 2661346.3562 | 1191568.6318 | 2661345.2816 | 1191579.0045 | 2661340.9156 | 1191592.0655
33 | 2661354.7274 | 1191551.541 | 2661358.6668 | 1191544.3328 | 2661362.099 | 1191535.9037
34 | 2661354.7274 | 1191551.541 | 2661346.3562 | 1191568.6318
35 | 2661326.3885 | 1191535.9084 | 2661341.4311 | 1191542.5885 | 2661354.7274 | 1191551.541
36 | 2661346.3562 | 1191568.6318 | 2661337.5103 | 1191570.189
37 | 2661326.3885 | 1191535.9084 | 2661324.893 | 1191535.2596
38 | 2661337.5103 | 1191570.189 | 2661331.3171 | 1191571.2792 | 2661326.5795 | 1191573.0651 | 2661321.1734 | 1191576.8452 | 2661320.1513 | 1191578.2734

## bus_geodata
| x | y | coords
0 | 2661237.6233 | 1191706.4716
1 | 2661238.9328 | 1191692.5906
2 | 2661236.6865 | 1191716.7862
3 | 2661239.5854 | 1191686.2407
4 | 2661235.7079 | 1191727.5611
5 | 2661242.0439 | 1191662.3204
6 | 2661234.4926 | 1191740.9415
7 | 2661244.2028 | 1191641.3148
8 | 2661259.9962 | 1191737.0668
9 | 2661315.9543 | 1191765.5249
10 | 2661293.9886 | 1191730.2847
11 | 2661313.3936 | 1191712.5771
12 | 2661266.9211 | 1191758.7845
13 | 2661311.0097 | 1191686.7183
14 | 2661312.9691 | 1191707.9728
15 | 2661247.7709 | 1191606.5982
16 | 2661249.1735 | 1191592.9515
17 | 2661247.6112 | 1191608.1518
18 | 2661214.8264 | 1191598.7409
19 | 2661250.5954 | 1191577.5129
20 | 2661244.8442 | 1191635.0738
21 | 2661213.6779 | 1191610.558
22 | 2661285.4799 | 1191583.4456
23 | 2661310.4399 | 1191603.092
24 | 2661304.1728 | 1191619.8663
25 | 2661315.4006 | 1191586.6473
26 | 2661212.1963 | 1191625.8027
27 | 2661299.7675 | 1191631.6576
28 | 2661332.5704 | 1191617.0298
29 | 2661325.8641 | 1191637.0914
30 | 2661340.9156 | 1191592.0655
31 | 2661362.099 | 1191535.9037
32 | 2661354.7274 | 1191551.541
33 | 2661346.3562 | 1191568.6318
34 | 2661326.3885 | 1191535.9084
35 | 2661337.5103 | 1191570.189
36 | 2661324.893 | 1191535.2596
37 | 2661320.1513 | 1191578.2734
38 | 2661285.6289 | 1191583.4616
39 | 2661322.276 | 1191646.2767
40 | 2661234.4926 | 1191740.9415

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99549 | -0.031546 | 0.0046541 | 0.0011664
1 | 0.99624 | -0.026298 | 0.0088514 | 0.0022184
2 | 0.995 | -0.034964 | 0.0044621 | 0.0011183
3 | 0.99666 | -0.023329 | 0.0038084 | 0.00095448
4 | 0.99456 | -0.03805 | 0.00418 | 0.0010476
5 | 0.99839 | -0.011254 | 0.0032426 | 0.00081268
6 | 0.9941 | -0.04132 | 0 | 0
7 | 1 | 0 | -0.16822 | -0.042109
8 | 0.99321 | -0.047587 | 0 | 0
9 | 0.99202 | -0.055985 | 0.0041103 | 0.0010301
10 | 0.99226 | -0.054254 | 0.0032521 | 0.00081506
11 | 0.99183 | -0.057346 | 0.0050725 | 0.0012713
12 | 0.99302 | -0.048905 | 0.0051227 | 0.0012839
13 | 0.99165 | -0.058569 | 0.0042293 | 0.00106
14 | 0.99178 | -0.057652 | 0.0023018 | 0.00057687
15 | 0.99565 | -0.030312 | 0.0090197 | 0.0022606
16 | 0.99447 | -0.038564 | 0.0020596 | 0.0005162
17 | 0.99585 | -0.028947 | 0.0068301 | 0.0017118
18 | 0.99477 | -0.036489 | 0.0057801 | 0.0014486
19 | 0.99318 | -0.04759 | 0.0026296 | 0.00065904
20 | 0.99949 | -0.0035395 | 0.019369 | 0.0048544
21 | 0.99456 | -0.037964 | 0.008204 | 0.0020561
22 | 0.99037 | -0.06733 | 0.0032591 | 0.00081681
23 | 0.98779 | -0.085601 | 0.0044706 | 0.0011204
24 | 0.98741 | -0.088322 | 0.0067295 | 0.0016866
25 | 0.98827 | -0.082206 | 0 | 0
26 | 0.99447 | -0.0386 | 0.0041113 | 0.0010304
27 | 0.98726 | -0.089368 | 0.0081165 | 0.0020342
28 | 0.98607 | -0.097807 | 0.0052482 | 0.0013153
29 | 0.98592 | -0.098831 | 0.00225 | 0.00056391
30 | 0.98645 | -0.095116 | 0.0035429 | 0.00088793
31 | 0.98667 | -0.093508 | 0.0030536 | 0.00076531
32 | 0.98675 | -0.092966 | 0 | 0
33 | 0.98692 | -0.091764 | 0 | 0
34 | 0.98661 | -0.093999 | 0 | 0
35 | 0.98718 | -0.089953 | 0.0044425 | 0.0011134
36 | 0.9866 | -0.094051 | 0.0031069 | 0.00077865
37 | 0.98786 | -0.085088 | 0.0050148 | 0.0012568
38 | 0.99036 | -0.067409 | 0.0032563 | 0.0008161
39 | 0.98589 | -0.099081 | 0.0024634 | 0.00061738
40 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.03747 | -0.0093994 | 0.037497 | 0.0094097 | 2.7295e-05 | 1.0317e-05 | 0.056011 | 0.056011 | 0.056011 | 0.99549 | -0.031546 | 0.99624 | -0.026298 | 20.7449
1 | 0.032816 | 0.0082329 | -0.0328 | -0.0082271 | 1.5552e-05 | 5.8468e-06 | 0.049054 | 0.049054 | 0.049054 | 0.99549 | -0.031546 | 0.995 | -0.034964 | 18.1683
2 | -0.046348 | -0.011628 | 0.046367 | 0.011635 | 1.9092e-05 | 7.2599e-06 | 0.069232 | 0.069232 | 0.069232 | 0.99624 | -0.026298 | 0.99666 | -0.023329 | 25.6414
3 | 0.028338 | 0.0071088 | -0.028326 | -0.0071043 | 1.2126e-05 | 4.5235e-06 | 0.042381 | 0.042381 | 0.042381 | 0.995 | -0.034964 | 0.99456 | -0.03805 | 15.6968
4 | -0.050176 | -0.01259 | 0.05026 | 0.012622 | 8.4217e-05 | 3.2077e-05 | 0.074918 | 0.074918 | 0.074918 | 0.99666 | -0.023329 | 0.99839 | -0.011254 | 27.7473
5 | 0.024146 | 0.0060567 | -0.024135 | -0.0060526 | 1.0942e-05 | 4.0344e-06 | 0.036128 | 0.036128 | 0.036128 | 0.99456 | -0.03805 | 0.9941 | -0.04132 | 13.3806
6 | -0.053503 | -0.013435 | 0.053587 | 0.013467 | 8.3805e-05 | 3.1956e-05 | 0.079751 | 0.07975 | 0.079751 | 0.99839 | -0.011254 | 1 | 0 | 29.5372
7 | 0.024135 | 0.0060526 | -0.024114 | -0.0060449 | 2.095e-05 | 7.7245e-06 | 0.036128 | 0.036128 | 0.036128 | 0.9941 | -0.04132 | 0.99321 | -0.047587 | 13.3806
8 | 0.11384 | 0.028643 | -0.11378 | -0.028621 | 5.6192e-05 | 2.1448e-05 | 0.16943 | 0.16943 | 0.16943 | 1 | 0 | 0.99949 | -0.0035395 | 31.3762
9 | 0.0051236 | 0.0012839 | -0.0051227 | -0.0012839 | 9.3456e-07 | 3.0562e-08 | 0.0076761 | 0.0076762 | 0.0076762 | 0.99321 | -0.047587 | 0.99302 | -0.048905 | 2.843
10 | 0.01899 | 0.004761 | -0.018973 | -0.0047547 | 1.7522e-05 | 6.2908e-06 | 0.028452 | 0.028452 | 0.028452 | 0.99321 | -0.047587 | 0.99226 | -0.054254 | 10.5377
11 | -0.0041103 | -0.0010301 | 0.0041112 | 0.00103 | 9.8492e-07 | -1.5744e-07 | 0.0061653 | 0.0061651 | 0.0061653 | 0.99202 | -0.055985 | 0.99226 | -0.054254 | 2.2835
12 | 0.011609 | 0.0029097 | -0.011604 | -0.0029081 | 4.9686e-06 | 1.5718e-06 | 0.01741 | 0.01741 | 0.01741 | 0.99226 | -0.054254 | 0.99183 | -0.057346 | 6.4481
13 | 0.0065319 | 0.0016368 | -0.0065316 | -0.0016368 | 2.7707e-07 | 4.6897e-08 | 0.0097996 | 0.0097996 | 0.0097996 | 0.99183 | -0.057346 | 0.99178 | -0.057652 | 3.6295
14 | -0.0042293 | -0.00106 | 0.0042299 | 0.0010599 | 5.3642e-07 | -6.9092e-08 | 0.0063463 | 0.0063462 | 0.0063463 | 0.99165 | -0.058569 | 0.99178 | -0.057652 | 2.3505
15 | 0.060098 | 0.015119 | -0.060029 | -0.015092 | 6.909e-05 | 2.6395e-05 | 0.089838 | 0.089838 | 0.089838 | 0.99565 | -0.030312 | 0.99447 | -0.038564 | 33.2733
16 | -0.087232 | -0.021921 | 0.087248 | 0.021927 | 1.6569e-05 | 6.3523e-06 | 0.13039 | 0.13039 | 0.13039 | 0.99565 | -0.030312 | 0.99585 | -0.028947 | 48.2926
17 | 0.018114 | 0.0045414 | -0.018098 | -0.0045359 | 1.5489e-05 | 5.5172e-06 | 0.027072 | 0.027072 | 0.027072 | 0.99565 | -0.030312 | 0.99477 | -0.036489 | 10.0267
18 | 0.05797 | 0.014576 | -0.057897 | -0.014548 | 7.2818e-05 | 2.7806e-05 | 0.086756 | 0.086756 | 0.086756 | 0.99447 | -0.038564 | 0.99318 | -0.04759 | 32.1319
19 | -0.094078 | -0.023639 | 0.094412 | 0.023767 | 0.00033382 | 0.00012804 | 0.1406 | 0.1406 | 0.1406 | 0.99585 | -0.028947 | 0.99949 | -0.0035395 | 52.0724
20 | 0.012318 | 0.0030873 | -0.012316 | -0.0030865 | 2.5154e-06 | 8.1335e-07 | 0.018426 | 0.018426 | 0.018426 | 0.99477 | -0.036489 | 0.99456 | -0.037964 | 6.8245
21 | 0.055267 | 0.013889 | -0.055116 | -0.013831 | 0.00015144 | 5.779e-05 | 0.082816 | 0.082817 | 0.082817 | 0.99318 | -0.04759 | 0.99037 | -0.06733 | 30.6728
22 | 0.0041117 | 0.0010303 | -0.0041113 | -0.0010304 | 3.6168e-07 | -5.9636e-08 | 0.0061516 | 0.0061517 | 0.0061517 | 0.99456 | -0.037964 | 0.99447 | -0.0386 | 2.2784
23 | 0.051857 | 0.013015 | -0.051856 | -0.013014 | 5.6775e-07 | 2.1644e-07 | 0.07792 | 0.07792 | 0.07792 | 0.99037 | -0.06733 | 0.99036 | -0.067409 | 28.8592
24 | 0.014853 | 0.003723 | -0.014847 | -0.0037211 | 5.5939e-06 | 1.9224e-06 | 0.022375 | 0.022375 | 0.022375 | 0.98779 | -0.085601 | 0.98741 | -0.088322 | 8.2869
25 | -0.019323 | -0.0048434 | 0.019333 | 0.0048467 | 9.0888e-06 | 3.2755e-06 | 0.029109 | 0.029109 | 0.029109 | 0.98779 | -0.085601 | 0.98827 | -0.082206 | 10.7812
26 | 0.0081177 | 0.0020345 | -0.0081165 | -0.0020342 | 1.1755e-06 | 2.9112e-07 | 0.012233 | 0.012233 | 0.012233 | 0.98741 | -0.088322 | 0.98726 | -0.089368 | 4.5309
27 | -0.0485 | -0.01216 | 0.0486 | 0.012198 | 9.9639e-05 | 3.7938e-05 | 0.073027 | 0.073027 | 0.073027 | 0.98827 | -0.082206 | 0.99036 | -0.067409 | 27.0472
28 | 0.029168 | 0.0073137 | -0.029156 | -0.0073094 | 1.1647e-05 | 4.3558e-06 | 0.043918 | 0.043918 | 0.043918 | 0.98827 | -0.082206 | 0.98786 | -0.085088 | 16.266
29 | 0.0047142 | 0.0011812 | -0.0047135 | -0.0011812 | 6.6797e-07 | -1.288e-08 | 0.0071138 | 0.0071139 | 0.0071139 | 0.98607 | -0.097807 | 0.98592 | -0.098831 | 2.6348
30 | -0.0099624 | -0.0024965 | 0.0099661 | 0.0024976 | 3.7121e-06 | 1.0918e-06 | 0.015034 | 0.015033 | 0.015034 | 0.98607 | -0.097807 | 0.98645 | -0.095116 | 5.568
31 | 0.0024635 | 0.00061729 | -0.0024634 | -0.00061738 | 8.5199e-08 | -9.3186e-08 | 0.003718 | 0.003718 | 0.003718 | 0.98592 | -0.098831 | 0.98589 | -0.099081 | 1.377
32 | -0.013509 | -0.0033855 | 0.013515 | 0.0033876 | 6.2705e-06 | 2.1026e-06 | 0.020378 | 0.020378 | 0.020378 | 0.98645 | -0.095116 | 0.98692 | -0.091764 | 7.5473
33 | -0.0030536 | -0.00076531 | 0.0030538 | 0.00076517 | 2.2914e-07 | -1.3304e-07 | 0.0046052 | 0.0046051 | 0.0046052 | 0.98667 | -0.093508 | 0.98675 | -0.092966 | 1.7056
34 | -0.0061612 | -0.0015436 | 0.0061622 | 0.0015437 | 1.0247e-06 | 1.5106e-07 | 0.0092908 | 0.0092907 | 0.0092908 | 0.98675 | -0.092966 | 0.98692 | -0.091764 | 3.441
35 | 0.0031073 | 0.0007784 | -0.0031069 | -0.00077864 | 4.4416e-07 | -2.4322e-07 | 0.0046857 | 0.0046859 | 0.0046859 | 0.98675 | -0.092966 | 0.98661 | -0.093999 | 1.7355
36 | -0.019677 | -0.0049314 | 0.019682 | 0.0049331 | 4.9333e-06 | 1.7826e-06 | 0.029668 | 0.029668 | 0.029668 | 0.98692 | -0.091764 | 0.98718 | -0.089953 | 10.9883
37 | 0.0031069 | 0.00077864 | -0.0031069 | -0.00077865 | 2.2335e-08 | -1.2227e-08 | 0.0046859 | 0.0046859 | 0.0046859 | 0.98661 | -0.093999 | 0.9866 | -0.094051 | 1.7355
38 | -0.024125 | -0.0060465 | 0.024141 | 0.0060525 | 1.6259e-05 | 6.0015e-06 | 0.036365 | 0.036365 | 0.036365 | 0.98718 | -0.089953 | 0.98786 | -0.085088 | 13.4684

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.17195 | 0.043044

## res_load
| p_mw | q_mvar
0 | 0.0046541 | 0.0011664
1 | 0.0088514 | 0.0022184
2 | 0.0044621 | 0.0011183
3 | 0.0038084 | 0.00095448
4 | 0.00418 | 0.0010476
5 | 0.0032426 | 0.00081268
6 | 0.003729 | 0.00093457
7 | 0.0041103 | 0.0010301
8 | 0.0032521 | 0.00081506
9 | 0.0050725 | 0.0012713
10 | 0.0051227 | 0.0012839
11 | 0.0042293 | 0.00106
12 | 0.0023018 | 0.00057687
13 | 0.0090197 | 0.0022606
14 | 0.0020596 | 0.0005162
15 | 0.0068301 | 0.0017118
16 | 0.0057801 | 0.0014486
17 | 0.0026296 | 0.00065904
18 | 0.019369 | 0.0048544
19 | 0.008204 | 0.0020561
20 | 0.0032591 | 0.00081681
21 | 0.0044706 | 0.0011204
22 | 0.0067295 | 0.0016866
23 | 0.0041113 | 0.0010304
24 | 0.0081165 | 0.0020342
25 | 0.0052482 | 0.0013153
26 | 0.00225 | 0.00056391
27 | 0.0035429 | 0.00088793
28 | 0.0030536 | 0.00076531
29 | 0.0044425 | 0.0011134
30 | 0.0031069 | 0.00077865
31 | 0.0050148 | 0.0012568
32 | 0.0032563 | 0.0008161
33 | 0.0024634 | 0.00061738

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1