## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1406-23_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1406-23_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1406-23_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1406-23_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1406-23_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1406-23_0_4_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_1406-23_0_4_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1406-23_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1406-23_0_4_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1406-23_0_4_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1406-23_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1406-23_0_4_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_1406-23_0_4_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_1406-23_0_4_node_12 | 0.4 | n |  | TRUE
14 | bus_LV_1406-23_0_4_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1406-23_0_4_node_34 | 0.4 | n |  | TRUE
16 | bus_LV_1406-23_0_4_node_31 | 0.4 | n |  | TRUE
17 | bus_LV_1406-23_0_4_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1406-23_0_4_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1406-23_0_4_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_1406-23_0_4_node_43 | 0.4 | n |  | TRUE
21 | bus_LV_1406-23_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1406-23_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1406-23_0_4_node_36 | 0.4 | n |  | TRUE
24 | bus_LV_1406-23_0_4_node_37 | 0.4 | n |  | TRUE
25 | bus_LV_1406-23_0_4_node_39 | 0.4 | n |  | TRUE
26 | bus_LV_1406-23_0_4_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_1406-23_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1406-23_0_4_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1406-23_0_4_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1406-23_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1406-23_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1406-23_0_4_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1406-23_0_4_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1406-23_0_4_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_1406-23_0_4_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1406-23_0_4_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_1406-23_0_4_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1406-23_0_4_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_1406-23_0_4_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_1406-23_0_4_node_41 | 0.4 | n |  | TRUE
41 | bus_MV_138_1_node_142 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1406-23_0_4_load_0 | 0 | 0.006049 | 0.001516 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1406-23_0_4_load_1 | 1 | 0.0049378 | 0.0012375 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1406-23_0_4_load_2 | 2 | 0.0038609 | 0.00096763 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1406-23_0_4_load_3 | 3 | 0.0065711 | 0.0016469 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1406-23_0_4_load_4 | 4 | 0.0035822 | 0.00089778 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1406-23_0_4_load_11 | 5 | 0.0041211 | 0.0010328 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1406-23_0_4_load_10 | 6 | 0.0043885 | 0.0010999 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1406-23_0_4_load_5 | 7 | 0.004837 | 0.0012123 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1406-23_0_4_load_7 | 8 | 0.0032147 | 0.00080567 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1406-23_0_4_load_6 | 9 | 0.0032593 | 0.00081687 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1406-23_0_4_load_8 | 10 | 0.0031614 | 0.00079233 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1406-23_0_4_load_13 | 11 | 0.0060497 | 0.0015162 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1406-23_0_4_load_28 | 12 | 0.0049857 | 0.0012495 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1406-23_0_4_load_12 | 13 | 0.0091333 | 0.002289 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1406-23_0_4_load_9 | 14 | 0.005541 | 0.0013887 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1406-23_0_4_load_34 | 15 | 0.0075816 | 0.0019001 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1406-23_0_4_load_14 | 17 | 0.0044138 | 0.0011062 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1406-23_0_4_load_15 | 18 | 0.0037044 | 0.0009284 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1406-23_0_4_load_16 | 19 | 0.0044084 | 0.0011048 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1406-23_0_4_load_43 | 20 | 0.0038601 | 0.00096744 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1406-23_0_4_load_17 | 21 | 0.0044935 | 0.0011262 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1406-23_0_4_load_18 | 22 | 0.0041688 | 0.0010448 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1406-23_0_4_load_36 | 23 | 0.0046062 | 0.0011544 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1406-23_0_4_load_37 | 24 | 0.0038557 | 0.00096633 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1406-23_0_4_load_39 | 25 | 0.0038557 | 0.00096632 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1406-23_0_4_load_26 | 26 | 0.0063133 | 0.0015823 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1406-23_0_4_load_25 | 27 | 0.0051792 | 0.001298 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1406-23_0_4_load_19 | 28 | 0.0032356 | 0.00081092 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1406-23_0_4_load_20 | 29 | 0.0039232 | 0.00098326 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1406-23_0_4_load_21 | 30 | 0.0047873 | 0.0011998 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1406-23_0_4_load_23 | 31 | 0.0091679 | 0.0022977 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1406-23_0_4_load_24 | 32 | 0.006653 | 0.0016674 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1406-23_0_4_load_27 | 33 | 0.014987 | 0.0037561 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1406-23_0_4_load_33 | 34 | 0.027058 | 0.0067814 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1406-23_0_4_load_29 | 35 | 0.0031054 | 0.00077827 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1406-23_0_4_load_30 | 36 | 0.0036295 | 0.00090963 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1406-23_0_4_load_32 | 37 | 0.0036264 | 0.00090887 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1406-23_0_4_load_40 | 38 | 0.0044049 | 0.001104 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1406-23_0_4_load_35 | 39 | 0.012762 | 0.0031985 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1406-23_0_4_load_41 | 40 | 0.0033559 | 0.00084107 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1406-23_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.014213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1406-23_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0043426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1406-23_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.015492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1406-23_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.022819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1406-23_0_4_line_4 | NAYY 4x150 SE | 3 | 7 | 0.012138 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1406-23_0_4_line_5 | NAYY 4x150 SE | 3 | 5 | 0.047531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1406-23_0_4_line_6 | NAYY 4x150 SE | 4 | 8 | 0.0035914 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1406-23_0_4_line_7 | NAYY 4x150 SE | 5 | 6 | 0.031519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1406-23_0_4_line_8 | NAYY 4x150 SE | 6 | 13 | 0.0011282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1406-23_0_4_line_9 | NAYY 4x150 SE | 7 | 9 | 0.018617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1406-23_0_4_line_10 | NAYY 4x150 SE | 8 | 10 | 0.021217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1406-23_0_4_line_11 | NAYY 4x150 SE | 10 | 14 | 0.0047585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1406-23_0_4_line_12 | NAYY 4x150 SE | 11 | 12 | 0.027573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1406-23_0_4_line_13 | NAYY 4x150 SE | 12 | 16 | 0.018185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_1406-23_0_4_line_14 | NAYY 4x150 SE | 12 | 15 | 0.047363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1406-23_0_4_line_15 | NAYY 4x150 SE | 14 | 15 | 0.0059076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1406-23_0_4_line_16 | NAYY 4x150 SE | 16 | 34 | 0.068471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1406-23_0_4_line_17 | NAYY 4x150 SE | 16 | 35 | 0.033617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1406-23_0_4_line_18 | NAYY 4x150 SE | 17 | 18 | 0.02283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1406-23_0_4_line_19 | NAYY 4x150 SE | 17 | 19 | 0.048232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1406-23_0_4_line_20 | NAYY 4x150 SE | 17 | 20 | 0.046858 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1406-23_0_4_line_21 | NAYY 4x150 SE | 18 | 21 | 0.0032699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1406-23_0_4_line_22 | NAYY 4x150 SE | 19 | 22 | 0.022939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1406-23_0_4_line_23 | NAYY 4x150 SE | 20 | 25 | 0.052714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_1406-23_0_4_line_24 | NAYY 4x150 SE | 21 | 26 | 0.019904 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1406-23_0_4_line_25 | NAYY 4x150 SE | 23 | 24 | 0.0087367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1406-23_0_4_line_26 | NAYY 4x150 SE | 24 | 25 | 0.008743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1406-23_0_4_line_27 | NAYY 4x150 SE | 25 | 37 | 0.054786 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_1406-23_0_4_line_28 | NAYY 4x150 SE | 26 | 27 | 0.0042713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1406-23_0_4_line_29 | NAYY 4x150 SE | 27 | 33 | 0.015256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1406-23_0_4_line_30 | NAYY 4x150 SE | 28 | 29 | 0.014701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1406-23_0_4_line_31 | NAYY 4x150 SE | 28 | 30 | 0.012574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1406-23_0_4_line_32 | NAYY 4x150 SE | 30 | 31 | 0.01156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1406-23_0_4_line_33 | NAYY 4x150 SE | 31 | 32 | 0.027527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1406-23_0_4_line_34 | NAYY 4x150 SE | 32 | 33 | 0.024084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1406-23_0_4_line_35 | NAYY 4x150 SE | 34 | 39 | 0.054932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1406-23_0_4_line_36 | NAYY 4x150 SE | 35 | 36 | 0.013294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_1406-23_0_4_line_37 | NAYY 4x150 SE | 36 | 37 | 0.030574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_1406-23_0_4_line_38 | NAYY 4x150 SE | 37 | 38 | 0.00037929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1406-23_0_4_line_39 | NAYY 4x150 SE | 38 | 40 | 0.036563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1406-23_0_4_trafo_28 | 0.25 MVA 20/0.4 kV | 41 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13
0 | 2661289.3309 | 1191952.0502 | 2661292.4528 | 1191963.9297 | 2661293.2511 | 1191965.687
1 | 2661289.3309 | 1191952.0502 | 2661288.2272 | 1191947.8501
2 | 2661299.6593 | 1191979.7915 | 2661293.2511 | 1191965.687
3 | 2661282.4276 | 1191925.7807 | 2661288.2272 | 1191947.8501
4 | 2661299.6593 | 1191979.7915 | 2661304.6799 | 1191990.842
5 | 2661343.5753 | 1191961.6085 | 2661299.6593 | 1191979.7915
6 | 2661282.4276 | 1191925.7807 | 2661281.5148 | 1191922.3073
7 | 2661343.5753 | 1191961.6085 | 2661346.6007 | 1191967.9199 | 2661359.0569 | 1191989.0408
8 | 2661359.63 | 1191990.0126 | 2661359.0569 | 1191989.0408
9 | 2661304.6799 | 1191990.842 | 2661312.3808 | 1192007.7918
10 | 2661281.5148 | 1191922.3073 | 2661276.1223 | 1191901.7866
11 | 2661276.1223 | 1191901.7866 | 2661274.9128 | 1191897.1844
12 | 2661318.7447 | 1191877.7555 | 2661325.7553 | 1191904.4228
13 | 2661320.5317 | 1191860.4242 | 2661318.8818 | 1191862.9644 | 2661317.7226 | 1191867.4662 | 2661317.2485 | 1191872.064 | 2661318.7447 | 1191877.7555
14 | 2661318.7447 | 1191877.7555 | 2661273.4114 | 1191891.4708
15 | 2661273.4114 | 1191891.4708 | 2661274.9128 | 1191897.1844
16 | 2661320.5317 | 1191860.4242 | 2661324.6649 | 1191858.0763 | 2661333.0679 | 1191855.6944 | 2661341.1087 | 1191855.1764 | 2661346.0703 | 1191855.3163 | 2661352.0386 | 1191856.9117 | 2661358.8491 | 1191860.3946 | 2661365.79 | 1191866.7694 | 2661378.3037 | 1191880.6804
17 | 2661320.5317 | 1191860.4242 | 2661319.3706 | 1191856.9214 | 2661320.075 | 1191855.1387 | 2661322.8283 | 1191853.5438 | 2661347.2633 | 1191849.1432
18 | 2661330.828 | 1191810.8368 | 2661347.7986 | 1191802.7481 | 2661351.1473 | 1191800.5059
19 | 2661328.1867 | 1191783.0512 | 2661331.1703 | 1191789.4256 | 2661332.669 | 1191792.7095 | 2661334.8021 | 1191794.3546 | 2661337.4517 | 1191794.693 | 2661340.2186 | 1191794.0099 | 2661347.7286 | 1191789.4953 | 2661350.8102 | 1191788.6041 | 2661353.7723 | 1191788.9458 | 2661355.0842 | 1191790.3823 | 2661355.971 | 1191793.8601 | 2661355.949 | 1191796.0055 | 2661354.6998 | 1191798.1273 | 2661351.1473 | 1191800.5059
20 | 2661351.1473 | 1191800.5059 | 2661383.4764 | 1191766.5867
21 | 2661327.8763 | 1191812.2437 | 2661330.828 | 1191810.8368
22 | 2661328.1867 | 1191783.0512 | 2661323.1651 | 1191772.3227 | 2661319.8278 | 1191768.4196 | 2661315.0555 | 1191764.8532
23 | 2661404.4039 | 1191784.8473 | 2661403.0552 | 1191788.7398 | 2661401.0779 | 1191791.9769 | 2661397.7908 | 1191793.5775 | 2661393.4914 | 1191793.5334 | 2661385.3393 | 1191791.5153 | 2661381.0702 | 1191788.5142 | 2661378.972 | 1191784.2125 | 2661378.5907 | 1191781.2513 | 2661383.4764 | 1191766.5867
24 | 2661327.8763 | 1191812.2437 | 2661325.6039 | 1191813.3268 | 2661309.5855 | 1191820.0889 | 2661309.5855 | 1191820.0889
25 | 2661410.1266 | 1191768.331 | 2661407.2663 | 1191776.5862
26 | 2661404.4039 | 1191784.8473 | 2661407.2663 | 1191776.5862
27 | 2661381.3424 | 1191834.5435 | 2661404.4039 | 1191784.8473
28 | 2661306.095 | 1191822.5506 | 2661309.5855 | 1191820.0889
29 | 2661293.6279 | 1191831.3431 | 2661306.095 | 1191822.5506
30 | 2661266.1637 | 1191769.7267 | 2661265.6016 | 1191777.8477 | 2661265.8498 | 1191784.404
31 | 2661266.3255 | 1191796.9693 | 2661265.8498 | 1191784.404
32 | 2661266.7629 | 1191808.5206 | 2661266.3255 | 1191796.9693
33 | 2661269.9707 | 1191835.8591 | 2661266.7718 | 1191808.7552 | 2661266.7629 | 1191808.5206
34 | 2661293.6279 | 1191831.3431 | 2661269.9707 | 1191835.8591
35 | 2661400.2863 | 1191930.0373 | 2661390.9517 | 1191898.4011 | 2661388.6115 | 1191893.1741 | 2661384.9888 | 1191888.1118 | 2661378.3037 | 1191880.6804
36 | 2661347.2633 | 1191849.1432 | 2661356.4121 | 1191847.4955 | 2661359.2502 | 1191845.8125 | 2661359.6035 | 1191845.2098
37 | 2661359.6035 | 1191845.2098 | 2661363.1688 | 1191839.1266 | 2661370.5209 | 1191830.6748 | 2661372.4108 | 1191830.0161 | 2661374.9789 | 1191830.1202 | 2661381.3424 | 1191834.5435
38 | 2661381.6538 | 1191834.76 | 2661381.3424 | 1191834.5435
39 | 2661381.6538 | 1191834.76 | 2661386.4397 | 1191838.0868 | 2661385.3599 | 1191843.0119 | 2661385.8678 | 1191844.0399 | 2661389.3623 | 1191844.5093 | 2661410.3589 | 1191843.5242

## bus_geodata
| x | y | coords
0 | 2661289.3309 | 1191952.0502
1 | 2661293.2511 | 1191965.687
2 | 2661288.2272 | 1191947.8501
3 | 2661299.6593 | 1191979.7915
4 | 2661282.4276 | 1191925.7807
5 | 2661343.5753 | 1191961.6085
6 | 2661359.0569 | 1191989.0408
7 | 2661304.6799 | 1191990.842
8 | 2661281.5148 | 1191922.3073
9 | 2661312.3808 | 1192007.7918
10 | 2661276.1223 | 1191901.7866
11 | 2661325.7553 | 1191904.4228
12 | 2661318.7447 | 1191877.7554
13 | 2661359.63 | 1191990.0126
14 | 2661274.9128 | 1191897.1844
15 | 2661273.4114 | 1191891.4708
16 | 2661320.5317 | 1191860.4242
17 | 2661351.1473 | 1191800.5059
18 | 2661330.828 | 1191810.8368
19 | 2661328.1867 | 1191783.0512
20 | 2661383.4764 | 1191766.5867
21 | 2661327.8763 | 1191812.2437
22 | 2661315.0555 | 1191764.8532
23 | 2661410.1266 | 1191768.331
24 | 2661407.2663 | 1191776.5862
25 | 2661404.4039 | 1191784.8473
26 | 2661309.5855 | 1191820.0889
27 | 2661306.095 | 1191822.5506
28 | 2661265.8498 | 1191784.404
29 | 2661266.1637 | 1191769.7267
30 | 2661266.3255 | 1191796.9693
31 | 2661266.7629 | 1191808.5206
32 | 2661269.9707 | 1191835.8591
33 | 2661293.6279 | 1191831.3431
34 | 2661378.3037 | 1191880.6804
35 | 2661347.2633 | 1191849.1432
36 | 2661359.6035 | 1191845.2098
37 | 2661381.3424 | 1191834.5435
38 | 2661381.6538 | 1191834.76
39 | 2661400.2863 | 1191930.0373
40 | 2661410.3589 | 1191843.5242
41 | 2661320.5317 | 1191860.4242

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99055 | -0.066113 | 0.006049 | 0.001516
1 | 0.98979 | -0.071504 | 0.0049378 | 0.0012375
2 | 0.99083 | -0.064201 | 0.0038609 | 0.00096763
3 | 0.98907 | -0.076609 | 0.0065711 | 0.0016469
4 | 0.99238 | -0.053275 | 0.0035822 | 0.00089778
5 | 0.98786 | -0.085178 | 0.0041211 | 0.0010328
6 | 0.98724 | -0.08954 | 0.0043885 | 0.0010999
7 | 0.98893 | -0.077612 | 0.004837 | 0.0012123
8 | 0.99264 | -0.051428 | 0.0032147 | 0.00080567
9 | 0.98884 | -0.078232 | 0.0032593 | 0.00081687
10 | 0.99429 | -0.039848 | 0.0031614 | 0.00079233
11 | 0.99976 | -0.0016656 | 0.0060497 | 0.0015162
12 | 1 | 0 | -0.22968 | -0.057757
13 | 0.98723 | -0.089645 | 0.0091333 | 0.002289
14 | 0.99468 | -0.037105 | 0.005541 | 0.0013887
15 | 0.99521 | -0.033372 | 0.0075816 | 0.0019001
16 | 0.99803 | -0.013605 | 0 | 0
17 | 0.98015 | -0.13876 | 0.0044138 | 0.0011062
18 | 0.97806 | -0.15361 | 0.0037044 | 0.0009284
19 | 0.97955 | -0.14307 | 0.0044084 | 0.0011048
20 | 0.98531 | -0.10222 | 0.0038601 | 0.00096744
21 | 0.97778 | -0.15561 | 0.0044935 | 0.0011262
22 | 0.97941 | -0.14406 | 0.0041688 | 0.0010448
23 | 0.9882 | -0.081963 | 0.0046062 | 0.0011544
24 | 0.98826 | -0.081552 | 0.0038557 | 0.00096633
25 | 0.98836 | -0.080796 | 0.0038557 | 0.00096632
26 | 0.9762 | -0.1669 | 0.0063133 | 0.0015823
27 | 0.9759 | -0.16905 | 0.0051792 | 0.001298
28 | 0.97278 | -0.19145 | 0.0032356 | 0.00081092
29 | 0.9727 | -0.19206 | 0.0039232 | 0.00098326
30 | 0.97291 | -0.1905 | 0.0047873 | 0.0011998
31 | 0.97312 | -0.18905 | 0.0091679 | 0.0022977
32 | 0.97397 | -0.18292 | 0.006653 | 0.0016674
33 | 0.97495 | -0.17589 | 0.014987 | 0.0037561
34 | 0.99412 | -0.041038 | 0.027058 | 0.0067814
35 | 0.99535 | -0.032147 | 0.0031054 | 0.00077827
36 | 0.99432 | -0.039299 | 0.0036295 | 0.00090963
37 | 0.99202 | -0.055239 | 0.0036264 | 0.00090887
38 | 0.99202 | -0.055269 | 0.0044049 | 0.001104
39 | 0.99311 | -0.048127 | 0.012762 | 0.0031985
40 | 0.99184 | -0.056514 | 0.0033559 | 0.00084107
41 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.03733 | 0.0093648 | -0.037302 | -0.0093542 | 2.7892e-05 | 1.0545e-05 | 0.05608 | 0.05608 | 0.05608 | 0.99055 | -0.066113 | 0.98979 | -0.071504 | 20.7704
1 | -0.043379 | -0.010881 | 0.04339 | 0.010885 | 1.1508e-05 | 4.3702e-06 | 0.065167 | 0.065167 | 0.065167 | 0.99055 | -0.066113 | 0.99083 | -0.064201 | 24.1359
2 | 0.032364 | 0.0081167 | -0.032341 | -0.0081081 | 2.2886e-05 | 8.6035e-06 | 0.048657 | 0.048657 | 0.048657 | 0.98979 | -0.071504 | 0.98907 | -0.076609 | 18.021
3 | -0.047251 | -0.011853 | 0.047323 | 0.01188 | 7.1708e-05 | 2.7286e-05 | 0.070965 | 0.070965 | 0.070965 | 0.99083 | -0.064201 | 0.99238 | -0.053275 | 26.2834
4 | 0.0080977 | 0.0020293 | -0.0080966 | -0.002029 | 1.1241e-06 | 2.7659e-07 | 0.012183 | 0.012183 | 0.012183 | 0.98907 | -0.076609 | 0.98893 | -0.077612 | 4.5121
5 | 0.017672 | 0.004432 | -0.017651 | -0.0044245 | 2.0967e-05 | 7.4551e-06 | 0.026588 | 0.026588 | 0.026588 | 0.98907 | -0.076609 | 0.98786 | -0.085178 | 9.8475
6 | -0.050905 | -0.012778 | 0.050918 | 0.012783 | 1.3059e-05 | 4.9763e-06 | 0.076336 | 0.076336 | 0.076336 | 0.99238 | -0.053275 | 0.99264 | -0.051428 | 28.2727
7 | 0.01353 | 0.0033917 | -0.013522 | -0.0033889 | 8.1697e-06 | 2.7389e-06 | 0.020381 | 0.020381 | 0.020381 | 0.98786 | -0.085178 | 0.98724 | -0.08954 | 7.5485
8 | 0.0091335 | 0.0022891 | -0.0091333 | -0.002289 | 1.3341e-07 | 3.6888e-08 | 0.013766 | 0.013766 | 0.013766 | 0.98724 | -0.08954 | 0.98723 | -0.089645 | 5.0987
9 | 0.0032596 | 0.00081674 | -0.0032593 | -0.00081687 | 2.7946e-07 | -1.3136e-07 | 0.0049046 | 0.0049047 | 0.0049047 | 0.98893 | -0.077612 | 0.98884 | -0.078232 | 1.8166
10 | -0.054133 | -0.013589 | 0.05422 | 0.013622 | 8.7198e-05 | 3.3263e-05 | 0.081155 | 0.081155 | 0.081155 | 0.99264 | -0.051428 | 0.99429 | -0.039848 | 30.0575
11 | -0.057381 | -0.014414 | 0.057403 | 0.014423 | 2.1903e-05 | 8.3624e-06 | 0.085887 | 0.085886 | 0.085887 | 0.99429 | -0.039848 | 0.99468 | -0.037105 | 31.8098
12 | -0.0060497 | -0.0015162 | 0.0060511 | 0.0015164 | 1.3949e-06 | 1.7485e-07 | 0.0090041 | 0.009004 | 0.0090041 | 0.99976 | -0.0016656 | 1 | 0 | 3.3349
13 | 0.15195 | 0.03839 | -0.15166 | -0.038279 | 0.00029031 | 0.00011118 | 0.22621 | 0.22621 | 0.22621 | 1 | 0 | 0.99803 | -0.013605 | 41.8901
14 | 0.070888 | 0.01785 | -0.070559 | -0.017724 | 0.00032902 | 0.00012593 | 0.10551 | 0.10551 | 0.10551 | 1 | 0 | 0.99521 | -0.033372 | 39.0783
15 | -0.062944 | -0.015811 | 0.062977 | 0.015824 | 3.2694e-05 | 1.2498e-05 | 0.094176 | 0.094176 | 0.094176 | 0.99468 | -0.037105 | 0.99521 | -0.033372 | 34.8799
16 | 0.039985 | 0.010042 | -0.039833 | -0.009984 | 0.00015189 | 5.7527e-05 | 0.059623 | 0.059623 | 0.059623 | 0.99803 | -0.013605 | 0.99412 | -0.041038 | 22.0826
17 | 0.11167 | 0.028238 | -0.11138 | -0.028127 | 0.00029106 | 0.00011107 | 0.16658 | 0.16658 | 0.16658 | 0.99803 | -0.013605 | 0.99535 | -0.032147 | 30.8489
18 | 0.062779 | 0.015777 | -0.06265 | -0.015727 | 0.00012945 | 4.95e-05 | 0.095324 | 0.095324 | 0.095324 | 0.98015 | -0.13876 | 0.97806 | -0.15361 | 35.3051
19 | 0.0085829 | 0.0021509 | -0.0085778 | -0.0021496 | 5.1101e-06 | 1.3579e-06 | 0.01303 | 0.01303 | 0.01303 | 0.98015 | -0.13876 | 0.97955 | -0.14307 | 4.826
20 | -0.075776 | -0.019034 | 0.076163 | 0.019182 | 0.00038706 | 0.00014828 | 0.11505 | 0.11505 | 0.11505 | 0.98015 | -0.13876 | 0.98531 | -0.10222 | 42.6128
21 | 0.058945 | 0.014799 | -0.058929 | -0.014793 | 1.6413e-05 | 6.2717e-06 | 0.089688 | 0.089688 | 0.089688 | 0.97806 | -0.15361 | 0.97778 | -0.15561 | 33.2178
22 | 0.0041694 | 0.0010447 | -0.0041688 | -0.0010448 | 5.742e-07 | -6.7868e-08 | 0.0063336 | 0.0063337 | 0.0063337 | 0.97955 | -0.14307 | 0.97941 | -0.14406 | 2.3458
23 | -0.080023 | -0.02015 | 0.080263 | 0.020241 | 0.00024033 | 9.1089e-05 | 0.12088 | 0.12088 | 0.12088 | 0.98531 | -0.10222 | 0.98836 | -0.080796 | 22.3859
24 | 0.054435 | 0.013666 | -0.05435 | -0.013634 | 8.5255e-05 | 3.2541e-05 | 0.08285 | 0.08285 | 0.08285 | 0.97778 | -0.15561 | 0.9762 | -0.1669 | 30.6851
25 | -0.0046062 | -0.0011544 | 0.0046064 | 0.0011544 | 2.6226e-07 | -1.1068e-08 | 0.0069359 | 0.0069358 | 0.0069359 | 0.9882 | -0.081963 | 0.98826 | -0.081552 | 2.5688
26 | -0.0084621 | -0.0021207 | 0.008463 | 0.002121 | 8.8568e-07 | 2.2861e-07 | 0.012741 | 0.012741 | 0.012741 | 0.98826 | -0.081552 | 0.98836 | -0.080796 | 4.719
27 | -0.092582 | -0.023328 | 0.092914 | 0.023454 | 0.0003323 | 0.0001264 | 0.13943 | 0.13943 | 0.13943 | 0.98836 | -0.080796 | 0.99202 | -0.055239 | 25.8203
28 | 0.048037 | 0.012052 | -0.048022 | -0.012046 | 1.4292e-05 | 5.4434e-06 | 0.073227 | 0.073227 | 0.073227 | 0.9762 | -0.1669 | 0.9759 | -0.16905 | 27.1209
29 | 0.042843 | 0.010748 | -0.042803 | -0.010733 | 4.0629e-05 | 1.5436e-05 | 0.06533 | 0.06533 | 0.06533 | 0.9759 | -0.16905 | 0.97495 | -0.17589 | 24.1962
30 | 0.0039236 | 0.0009832 | -0.0039232 | -0.00098326 | 3.3044e-07 | -5.541e-08 | 0.0060016 | 0.0060017 | 0.0060017 | 0.97278 | -0.19145 | 0.9727 | -0.19206 | 2.2229
31 | -0.0071592 | -0.0017941 | 0.0071601 | 0.0017943 | 9.4095e-07 | 2.0578e-07 | 0.010951 | 0.010951 | 0.010951 | 0.97278 | -0.19145 | 0.97291 | -0.1905 | 4.0559
32 | -0.011947 | -0.0029941 | 0.01195 | 0.0029949 | 2.4084e-06 | 7.8274e-07 | 0.018273 | 0.018273 | 0.018273 | 0.97291 | -0.1905 | 0.97312 | -0.18905 | 6.7677
33 | -0.021118 | -0.0052926 | 0.021136 | 0.0052991 | 1.7911e-05 | 6.5465e-06 | 0.032292 | 0.032291 | 0.032292 | 0.97312 | -0.18905 | 0.97397 | -0.18292 | 11.9598
34 | -0.027789 | -0.0069665 | 0.027816 | 0.0069767 | 2.7089e-05 | 1.0119e-05 | 0.042456 | 0.042456 | 0.042456 | 0.97397 | -0.18292 | 0.97495 | -0.17589 | 15.7244
35 | 0.012775 | 0.0032026 | -0.012762 | -0.0031985 | 1.2533e-05 | 4.1091e-06 | 0.019122 | 0.019122 | 0.019122 | 0.99412 | -0.041038 | 0.99311 | -0.048127 | 7.0822
36 | 0.10827 | 0.027348 | -0.10817 | -0.027307 | 0.00010878 | 4.1492e-05 | 0.16194 | 0.16194 | 0.16194 | 0.99535 | -0.032147 | 0.99432 | -0.039299 | 29.9892
37 | 0.10454 | 0.026397 | -0.1043 | -0.026308 | 0.00023367 | 8.9081e-05 | 0.15651 | 0.15651 | 0.15651 | 0.99432 | -0.039299 | 0.99202 | -0.055239 | 28.9834
38 | 0.0077614 | 0.0019448 | -0.0077614 | -0.0019448 | 3.2077e-08 | 7.4403e-09 | 0.011642 | 0.011642 | 0.011642 | 0.99202 | -0.055239 | 0.99202 | -0.055269 | 4.3118
39 | 0.0033565 | 0.00084082 | -0.0033559 | -0.00084107 | 5.783e-07 | -2.4954e-07 | 0.0050345 | 0.0050347 | 0.0050347 | 0.99202 | -0.055269 | 0.99184 | -0.056514 | 1.8647

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23467 | 0.059006

## res_load
| p_mw | q_mvar
0 | 0.006049 | 0.001516
1 | 0.0049378 | 0.0012375
2 | 0.0038609 | 0.00096763
3 | 0.0065711 | 0.0016469
4 | 0.0035822 | 0.00089778
5 | 0.0041211 | 0.0010328
6 | 0.0043885 | 0.0010999
7 | 0.004837 | 0.0012123
8 | 0.0032147 | 0.00080567
9 | 0.0032593 | 0.00081687
10 | 0.0031614 | 0.00079233
11 | 0.0060497 | 0.0015162
12 | 0.0049857 | 0.0012495
13 | 0.0091333 | 0.002289
14 | 0.005541 | 0.0013887
15 | 0.0075816 | 0.0019001
16 | 0.0044138 | 0.0011062
17 | 0.0037044 | 0.0009284
18 | 0.0044084 | 0.0011048
19 | 0.0038601 | 0.00096744
20 | 0.0044935 | 0.0011262
21 | 0.0041688 | 0.0010448
22 | 0.0046062 | 0.0011544
23 | 0.0038557 | 0.00096633
24 | 0.0038557 | 0.00096632
25 | 0.0063133 | 0.0015823
26 | 0.0051792 | 0.001298
27 | 0.0032356 | 0.00081092
28 | 0.0039232 | 0.00098326
29 | 0.0047873 | 0.0011998
30 | 0.0091679 | 0.0022977
31 | 0.006653 | 0.0016674
32 | 0.014987 | 0.0037561
33 | 0.027058 | 0.0067814
34 | 0.0031054 | 0.00077827
35 | 0.0036295 | 0.00090963
36 | 0.0036264 | 0.00090887
37 | 0.0044049 | 0.001104
38 | 0.012762 | 0.0031985
39 | 0.0033559 | 0.00084107

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1