## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1406-25_0_6_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1406-25_0_6_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1406-25_0_6_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1406-25_0_6_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1406-25_0_6_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1406-25_0_6_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1406-25_0_6_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_1406-25_0_6_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_1406-25_0_6_node_64 | 0.4 | n |  | TRUE
9 | bus_LV_1406-25_0_6_node_61 | 0.4 | n |  | TRUE
10 | bus_LV_1406-25_0_6_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1406-25_0_6_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_1406-25_0_6_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_1406-25_0_6_node_62 | 0.4 | n |  | TRUE
14 | bus_LV_1406-25_0_6_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1406-25_0_6_node_8 | 0.4 | n |  | TRUE
16 | bus_LV_1406-25_0_6_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_1406-25_0_6_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_1406-25_0_6_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_1406-25_0_6_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1406-25_0_6_node_59 | 0.4 | n |  | TRUE
21 | bus_LV_1406-25_0_6_node_53 | 0.4 | n |  | TRUE
22 | bus_LV_1406-25_0_6_node_60 | 0.4 | n |  | TRUE
23 | bus_LV_1406-25_0_6_node_12 | 0.4 | n |  | TRUE
24 | bus_LV_1406-25_0_6_node_54 | 0.4 | n |  | TRUE
25 | bus_LV_1406-25_0_6_node_13 | 0.4 | n |  | TRUE
26 | bus_LV_1406-25_0_6_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_1406-25_0_6_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_1406-25_0_6_node_36 | 0.4 | n |  | TRUE
29 | bus_LV_1406-25_0_6_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_1406-25_0_6_node_42 | 0.4 | n |  | TRUE
31 | bus_LV_1406-25_0_6_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_1406-25_0_6_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1406-25_0_6_node_16 | 0.4 | n |  | TRUE
34 | bus_LV_1406-25_0_6_node_17 | 0.4 | n |  | TRUE
35 | bus_LV_1406-25_0_6_node_18 | 0.4 | n |  | TRUE
36 | bus_LV_1406-25_0_6_node_19 | 0.4 | n |  | TRUE
37 | bus_LV_1406-25_0_6_node_21 | 0.4 | n |  | TRUE
38 | bus_LV_1406-25_0_6_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1406-25_0_6_node_49 | 0.4 | n |  | TRUE
40 | bus_LV_1406-25_0_6_node_29 | 0.4 | n |  | TRUE
41 | bus_LV_1406-25_0_6_node_48 | 0.4 | n |  | TRUE
42 | bus_LV_1406-25_0_6_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_1406-25_0_6_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_1406-25_0_6_node_34 | 0.4 | n |  | TRUE
45 | bus_LV_1406-25_0_6_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_1406-25_0_6_node_43 | 0.4 | n |  | TRUE
47 | bus_LV_1406-25_0_6_node_38 | 0.4 | n |  | TRUE
48 | bus_LV_1406-25_0_6_node_39 | 0.4 | n |  | TRUE
49 | bus_LV_1406-25_0_6_node_40 | 0.4 | n |  | TRUE
50 | bus_LV_1406-25_0_6_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_1406-25_0_6_node_46 | 0.4 | n |  | TRUE
52 | bus_LV_1406-25_0_6_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_1406-25_0_6_node_45 | 0.4 | n |  | TRUE
54 | bus_LV_1406-25_0_6_node_44 | 0.4 | n |  | TRUE
55 | bus_LV_1406-25_0_6_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_1406-25_0_6_node_50 | 0.4 | n |  | TRUE
57 | bus_LV_1406-25_0_6_node_52 | 0.4 | n |  | TRUE
58 | bus_LV_1406-25_0_6_node_55 | 0.4 | n |  | TRUE
59 | bus_LV_1406-25_0_6_node_56 | 0.4 | n |  | TRUE
60 | bus_LV_1406-25_0_6_node_63 | 0.4 | n |  | TRUE
61 | bus_LV_1406-25_0_6_node_65 | 0.4 | n |  | TRUE
62 | bus_LV_1406-25_0_6_node_66 | 0.4 | n |  | TRUE
63 | bus_LV_1406-25_0_6_node_72 | 0.4 | n |  | TRUE
64 | bus_LV_1406-25_0_6_node_71 | 0.4 | n |  | TRUE
65 | bus_LV_1406-25_0_6_node_68 | 0.4 | n |  | TRUE
66 | bus_LV_1406-25_0_6_node_69 | 0.4 | n |  | TRUE
67 | bus_MV_138_1_node_264 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1406-25_0_6_load_0 | 0 | 0.0020409 | 0.00051149 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1406-25_0_6_load_1 | 1 | 0.0034849 | 0.00087339 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1406-25_0_6_load_5 | 5 | 0.0042275 | 0.0010595 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1406-25_0_6_load_25 | 6 | 0.0025415 | 0.00063697 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1406-25_0_6_load_22 | 7 | 0.0056945 | 0.0014272 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1406-25_0_6_load_64 | 8 | 0.0020344 | 0.00050988 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1406-25_0_6_load_61 | 9 | 0.0046835 | 0.0011738 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1406-25_0_6_load_30 | 11 | 0.0048687 | 0.0012202 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1406-25_0_6_load_23 | 12 | 0.0063207 | 0.0015841 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1406-25_0_6_load_62 | 13 | 0.0035609 | 0.00089246 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1406-25_0_6_load_14 | 14 | 0.0034844 | 0.00087326 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1406-25_0_6_load_6 | 16 | 0.0037731 | 0.00094562 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1406-25_0_6_load_7 | 17 | 0.0024996 | 0.00062646 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1406-25_0_6_load_9 | 18 | 0.0014094 | 0.00035323 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1406-25_0_6_load_11 | 19 | 0.0039838 | 0.00099844 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1406-25_0_6_load_59 | 20 | 0.0028972 | 0.00072611 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1406-25_0_6_load_53 | 21 | 0.0024805 | 0.00062167 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1406-25_0_6_load_60 | 22 | 0.0029061 | 0.00072834 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1406-25_0_6_load_12 | 23 | 0.0042712 | 0.0010705 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1406-25_0_6_load_54 | 24 | 0.0048309 | 0.0012107 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1406-25_0_6_load_13 | 25 | 0.0034288 | 0.00085933 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1406-25_0_6_load_37 | 27 | 0.0029029 | 0.00072753 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1406-25_0_6_load_36 | 28 | 0.0046821 | 0.0011734 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1406-25_0_6_load_33 | 29 | 0.0037107 | 0.00093 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1406-25_0_6_load_42 | 30 | 0.0096783 | 0.0024256 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1406-25_0_6_load_20 | 32 | 0.0020779 | 0.00052078 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1406-25_0_6_load_16 | 33 | 0.024102 | 0.0060406 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1406-25_0_6_load_17 | 34 | 0.0037878 | 0.00094932 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1406-25_0_6_load_21 | 37 | 0.0058092 | 0.0014559 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1406-25_0_6_load_28 | 38 | 0.0035665 | 0.00089386 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1406-25_0_6_load_49 | 39 | 0.0071376 | 0.0017889 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1406-25_0_6_load_29 | 40 | 0.0080783 | 0.0020246 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1406-25_0_6_load_48 | 41 | 0.0057181 | 0.0014331 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1406-25_0_6_load_24 | 42 | 0.0021114 | 0.00052917 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1406-25_0_6_load_31 | 43 | 0.0033207 | 0.00083223 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1406-25_0_6_load_34 | 44 | 0.0052461 | 0.0013148 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1406-25_0_6_load_35 | 45 | 0.0040723 | 0.0010206 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1406-25_0_6_load_43 | 46 | 0.0080948 | 0.0020287 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1406-25_0_6_load_38 | 47 | 0.0033061 | 0.00082858 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1406-25_0_6_load_39 | 48 | 0.011632 | 0.0029153 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1406-25_0_6_load_40 | 49 | 0.0038933 | 0.00097575 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1406-25_0_6_load_41 | 50 | 0.0041011 | 0.0010278 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1406-25_0_6_load_47 | 52 | 0.0037814 | 0.00094771 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1406-25_0_6_load_45 | 53 | 0.0043308 | 0.0010854 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1406-25_0_6_load_44 | 54 | 0.0054622 | 0.001369 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1406-25_0_6_load_51 | 55 | 0.0057469 | 0.0014403 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1406-25_0_6_load_52 | 57 | 0.0039768 | 0.00099667 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1406-25_0_6_load_55 | 58 | 0.0020907 | 0.00052398 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1406-25_0_6_load_56 | 59 | 0.010792 | 0.0027046 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1406-25_0_6_load_63 | 60 | 0.0016452 | 0.00041232 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1406-25_0_6_load_72 | 63 | 0.00023668 | 5.9318e-05 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1406-25_0_6_load_71 | 64 | 0.00064603 | 0.00016191 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1406-25_0_6_load_68 | 65 | 0.00055129 | 0.00013817 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1406-25_0_6_load_69 | 66 | 0.0001859 | 4.6592e-05 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 26 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1406-25_0_6_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0090763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1406-25_0_6_line_1 | NAYY 4x150 SE | 0 | 2 | 0.018499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1406-25_0_6_line_2 | NAYY 4x150 SE | 1 | 3 | 0.015296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1406-25_0_6_line_3 | NAYY 4x150 SE | 2 | 4 | 0.02344 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1406-25_0_6_line_4 | NAYY 4x150 SE | 2 | 5 | 0.027899 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1406-25_0_6_line_5 | NAYY 4x150 SE | 3 | 6 | 0.016406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1406-25_0_6_line_6 | NAYY 4x150 SE | 3 | 7 | 0.022792 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1406-25_0_6_line_7 | NAYY 4x150 SE | 4 | 8 | 0.034728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1406-25_0_6_line_8 | NAYY 4x150 SE | 4 | 9 | 0.025476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1406-25_0_6_line_9 | NAYY 4x150 SE | 5 | 10 | 0.013448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1406-25_0_6_line_10 | NAYY 4x150 SE | 6 | 11 | 0.0037385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1406-25_0_6_line_11 | NAYY 4x150 SE | 7 | 12 | 0.018176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1406-25_0_6_line_12 | NAYY 4x150 SE | 9 | 13 | 0.028173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1406-25_0_6_line_13 | NAYY 4x150 SE | 10 | 14 | 0.024408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1406-25_0_6_line_14 | NAYY 4x150 SE | 10 | 15 | 0.003983 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1406-25_0_6_line_15 | NAYY 4x150 SE | 11 | 43 | 0.018352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1406-25_0_6_line_16 | NAYY 4x150 SE | 12 | 42 | 0.013894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1406-25_0_6_line_17 | NAYY 4x150 SE | 13 | 60 | 0.00095302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1406-25_0_6_line_18 | NAYY 4x150 SE | 14 | 23 | 0.00044401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1406-25_0_6_line_19 | NAYY 4x150 SE | 15 | 19 | 0.034361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1406-25_0_6_line_20 | NAYY 4x150 SE | 15 | 16 | 0.02029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1406-25_0_6_line_21 | NAYY 4x150 SE | 16 | 17 | 0.015405 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1406-25_0_6_line_22 | NAYY 4x150 SE | 17 | 18 | 0.011037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1406-25_0_6_line_23 | NAYY 4x150 SE | 18 | 20 | 0.043609 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1406-25_0_6_line_24 | NAYY 4x150 SE | 19 | 21 | 0.0089894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1406-25_0_6_line_25 | NAYY 4x150 SE | 20 | 22 | 0.00099558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1406-25_0_6_line_26 | NAYY 4x150 SE | 21 | 24 | 0.0083432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1406-25_0_6_line_27 | NAYY 4x150 SE | 24 | 58 | 0.016835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1406-25_0_6_line_28 | NAYY 4x150 SE | 25 | 26 | 0.017483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1406-25_0_6_line_29 | NAYY 4x150 SE | 26 | 27 | 0.033234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_1406-25_0_6_line_30 | NAYY 4x150 SE | 26 | 28 | 0.01908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_1406-25_0_6_line_31 | NAYY 4x150 SE | 26 | 29 | 0.011302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1406-25_0_6_line_32 | NAYY 4x150 SE | 27 | 30 | 0.013144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_1406-25_0_6_line_33 | NAYY 4x150 SE | 28 | 31 | 0.010596 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1406-25_0_6_line_34 | NAYY 4x150 SE | 29 | 32 | 0.018725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1406-25_0_6_line_35 | NAYY 4x150 SE | 30 | 46 | 0.0142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_1406-25_0_6_line_36 | NAYY 4x150 SE | 31 | 44 | 0.019553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1406-25_0_6_line_37 | NAYY 4x150 SE | 31 | 43 | 0.0098016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1406-25_0_6_line_38 | NAYY 4x150 SE | 33 | 34 | 0.016724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1406-25_0_6_line_39 | NAYY 4x150 SE | 33 | 35 | 0.029611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1406-25_0_6_line_40 | NAYY 4x150 SE | 34 | 36 | 0.067508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1406-25_0_6_line_41 | NAYY 4x150 SE | 35 | 37 | 0.022501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1406-25_0_6_line_42 | NAYY 4x150 SE | 36 | 38 | 0.070663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1406-25_0_6_line_43 | NAYY 4x150 SE | 37 | 39 | 0.020288 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1406-25_0_6_line_44 | NAYY 4x150 SE | 38 | 40 | 0.010636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1406-25_0_6_line_45 | NAYY 4x150 SE | 39 | 41 | 0.02903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1406-25_0_6_line_46 | NAYY 4x150 SE | 41 | 56 | 0.021864 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1406-25_0_6_line_47 | NAYY 4x150 SE | 44 | 45 | 0.035174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1406-25_0_6_line_48 | NAYY 4x150 SE | 46 | 54 | 0.0031577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_1406-25_0_6_line_49 | NAYY 4x150 SE | 47 | 48 | 0.012382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1406-25_0_6_line_50 | NAYY 4x150 SE | 47 | 49 | 0.02194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1406-25_0_6_line_51 | NAYY 4x150 SE | 49 | 50 | 0.019759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1406-25_0_6_line_52 | NAYY 4x150 SE | 50 | 51 | 0.01196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1406-25_0_6_line_53 | NAYY 4x150 SE | 51 | 52 | 0.0077122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1406-25_0_6_line_54 | NAYY 4x150 SE | 51 | 53 | 0.018226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1406-25_0_6_line_55 | NAYY 4x150 SE | 52 | 55 | 0.023293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1406-25_0_6_line_56 | NAYY 4x150 SE | 53 | 54 | 0.018199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1406-25_0_6_line_57 | NAYY 4x150 SE | 55 | 56 | 0.017297 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1406-25_0_6_line_58 | NAYY 4x150 SE | 56 | 57 | 0.034823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1406-25_0_6_line_59 | NAYY 4x150 SE | 58 | 59 | 0.025145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1406-25_0_6_line_60 | NAYY 4x150 SE | 60 | 61 | 0.029416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1406-25_0_6_line_61 | NAYY 4x150 SE | 61 | 62 | 0.02056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1406-25_0_6_line_62 | NAYY 4x150 SE | 62 | 63 | 0.0053037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1406-25_0_6_line_63 | NAYY 4x150 SE | 63 | 64 | 0.069293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1406-25_0_6_line_64 | NAYY 4x150 SE | 64 | 66 | 0.068659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1406-25_0_6_line_65 | NAYY 4x150 SE | 65 | 66 | 0.020311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1406-25_0_6_trafo_15 | 0.25 MVA 20/0.4 kV | 67 | 26 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2660995.136 | 1190773.7287 | 2660994.9425 | 1190782.8029
1 | 2660999.4579 | 1190756.2317 | 2660996.7885 | 1190760.0289 | 2660995.2733 | 1190767.2954 | 2660995.136 | 1190773.7287
2 | 2660994.6162 | 1190798.0953 | 2660994.9425 | 1190782.8029
3 | 2661021.6919 | 1190758.5707 | 2661017.6558 | 1190757.3066 | 2661007.7772 | 1190753.9596 | 2661003.926 | 1190754.0093 | 2660999.4579 | 1190756.2317
4 | 2660999.4579 | 1190756.2317 | 2660992.0992 | 1190751.0315 | 2660979.688 | 1190743.2896 | 2660976.1425 | 1190740.9268
5 | 2660994.6162 | 1190798.0953 | 2660978.3172 | 1190796.2223
6 | 2660994.6162 | 1190798.0953 | 2660994.1337 | 1190820.8825
7 | 2661021.6919 | 1190758.5707 | 2661023.8368 | 1190772.5673 | 2661028.6912 | 1190784.8015 | 2661031.1728 | 1190791.7795
8 | 2661021.6919 | 1190758.5707 | 2661027.7172 | 1190755.4414 | 2661042.1107 | 1190743.5243
9 | 2660966.1353 | 1190732.3342 | 2660968.1001 | 1190735.5672 | 2660976.1425 | 1190740.9268
10 | 2660974.6031 | 1190795.7955 | 2660978.3172 | 1190796.2223
11 | 2660994.1337 | 1190820.8825 | 2660993.7489 | 1190839.0545 | 2660993.7489 | 1190839.0545
12 | 2661042.1107 | 1190743.5243 | 2661056.5937 | 1190731.5331 | 2661062.0205 | 1190723.8939
13 | 2660966.1353 | 1190732.3342 | 2660948.7108 | 1190749.427
14 | 2660966.1353 | 1190732.3342 | 2660964.0577 | 1190728.9333
15 | 2660974.6031 | 1190795.7955 | 2660956.3716 | 1190793.7004
16 | 2660997.5782 | 1190852.3728 | 2660996.5782 | 1190850.2453 | 2660993.7489 | 1190839.0545
17 | 2661062.5725 | 1190723.1169 | 2661062.0205 | 1190723.8939
18 | 2660948.7108 | 1190749.427 | 2660948.3939 | 1190749.7379
19 | 2660964.0577 | 1190728.9333 | 2660956.5991 | 1190729.0463 | 2660947.9725 | 1190727.7912 | 2660932.6123 | 1190718.0593
20 | 2660964.0577 | 1190728.9333 | 2660961.7448 | 1190719.4488 | 2660963.3575 | 1190709.0454
21 | 2660963.3575 | 1190709.0454 | 2660963.524 | 1190707.9714 | 2660966.0463 | 1190693.8775
22 | 2660966.0463 | 1190693.8775 | 2660967.9908 | 1190683.0127
23 | 2660967.9908 | 1190683.0127 | 2660970.0005 | 1190671.7832 | 2660973.5782 | 1190661.158 | 2660984.2517 | 1190649.371 | 2660987.2593 | 1190645.2669
24 | 2660932.6123 | 1190718.0593 | 2660925.0188 | 1190713.2482
25 | 2660987.2593 | 1190645.2669 | 2660987.8477 | 1190644.4639
26 | 2660918.1697 | 1190708.4923 | 2660922.2205 | 1190711.4753 | 2660925.0188 | 1190713.2482
27 | 2660918.1697 | 1190708.4923 | 2660904.6137 | 1190698.51
28 | 2660917.7773 | 1190786.9179 | 2660928.6615 | 1190773.2367
29 | 2660917.7773 | 1190786.9179 | 2660914.0566 | 1190784.6343 | 2660895.5504 | 1190762.4777
30 | 2660917.7773 | 1190786.9179 | 2660920.7554 | 1190788.7381 | 2660930.4573 | 1190790.7157 | 2660936.1083 | 1190791.3674
31 | 2660917.7773 | 1190786.9179 | 2660909.5856 | 1190794.7044
32 | 2660887.1246 | 1190752.3898 | 2660895.5504 | 1190762.4777
33 | 2660946.6341 | 1190792.5814 | 2660936.1083 | 1190791.3674
34 | 2660896.0135 | 1190807.6053 | 2660909.5856 | 1190794.7044
35 | 2660887.1246 | 1190752.3898 | 2660878.022 | 1190741.4916
36 | 2660946.6341 | 1190792.5814 | 2660932.5494 | 1190806.1442
37 | 2660946.6341 | 1190792.5814 | 2660956.3716 | 1190793.7004
38 | 2660868.2107 | 1190870.3324 | 2660872.0159 | 1190882.4185 | 2660874.1607 | 1190885.8573
39 | 2660857.6562 | 1190842.8498 | 2660858.5265 | 1190844.2483 | 2660861.5271 | 1190849.1038 | 2660868.2107 | 1190870.3324
40 | 2660921.9387 | 1190933.1664 | 2660898.6446 | 1190912.173 | 2660878.7082 | 1190893.1482 | 2660874.1607 | 1190885.8573
41 | 2660857.6562 | 1190842.8498 | 2660853.3351 | 1190835.8685 | 2660844.3092 | 1190824.7895
42 | 2660921.9387 | 1190933.1664 | 2660943.4448 | 1190912.5845 | 2660944.6886 | 1190910.2514 | 2660944.7165 | 1190907.5057 | 2660943.2142 | 1190904.5331 | 2660920.9346 | 1190881.3202
43 | 2660831.4951 | 1190809.0604 | 2660844.3092 | 1190824.7895
44 | 2660913.57 | 1190873.6471 | 2660920.9346 | 1190881.3202
45 | 2660814.5419 | 1190785.5601 | 2660822.0734 | 1190797.4956 | 2660831.4951 | 1190809.0604
46 | 2660804.6484 | 1190766.1339 | 2660809.7739 | 1190778.0039 | 2660814.5419 | 1190785.5601
47 | 2660936.8647 | 1190833.1831 | 2660929.3834 | 1190825.8027 | 2660924.3382 | 1190819.5478 | 2660925.0647 | 1190813.3516 | 2660932.5494 | 1190806.1442
48 | 2660875.9977 | 1190739.0681 | 2660878.022 | 1190741.4916
49 | 2660878.5983 | 1190785.8347 | 2660885.9298 | 1190795.8127
50 | 2660878.5983 | 1190785.8347 | 2660865.6075 | 1190768.1544
51 | 2660865.6075 | 1190768.1544 | 2660853.9078 | 1190752.2313
52 | 2660846.8261 | 1190742.5933 | 2660853.9078 | 1190752.2313
53 | 2660846.8261 | 1190742.5933 | 2660840.0918 | 1190746.3519
54 | 2660846.8261 | 1190742.5933 | 2660862.7393 | 1190733.7082
55 | 2660819.7524 | 1190757.704 | 2660840.0918 | 1190746.3519
56 | 2660875.9977 | 1190739.0681 | 2660868.728 | 1190730.3644 | 2660862.7393 | 1190733.7082
57 | 2660804.6484 | 1190766.1339 | 2660819.7524 | 1190757.704
58 | 2660804.6484 | 1190766.1339 | 2660799.3292 | 1190753.8173 | 2660794.8008 | 1190734.9494 | 2660794.2668 | 1190733.019
59 | 2660884.9197 | 1190682.9233 | 2660891.235 | 1190688.6582 | 2660904.6137 | 1190698.51
60 | 2661079.9423 | 1190699.3861 | 2661074.5729 | 1190706.2242 | 2661062.5725 | 1190723.1169
61 | 2661094.8753 | 1190685.6639 | 2661086.6716 | 1190690.7943 | 2661079.9423 | 1190699.3861
62 | 2661094.8753 | 1190685.6639 | 2661094.059 | 1190680.4234
63 | 2661108.8909 | 1190630.7753 | 2661109.5148 | 1190631.9936 | 2661108.1388 | 1190634.5699 | 2661107.5771 | 1190642.5354 | 2661112.0996 | 1190652.176 | 2661110.7302 | 1190654.8524 | 2661104.4156 | 1190660.1688 | 2661101.7116 | 1190660.6193 | 2661090.4189 | 1190663.5724 | 2661087.9821 | 1190666.238 | 2661088.3222 | 1190670.2771 | 2661092.8286 | 1190672.5244 | 2661094.059 | 1190680.4234
64 | 2661108.8909 | 1190630.7753 | 2661103.8567 | 1190562.3009
65 | 2661083.8233 | 1190565.6453 | 2661095.2132 | 1190563.6751 | 2661103.8567 | 1190562.3009

## bus_geodata
| x | y | coords
0 | 2660995.136 | 1190773.7287
1 | 2660994.9425 | 1190782.8029
2 | 2660999.4579 | 1190756.2317
3 | 2660994.6162 | 1190798.0953
4 | 2661021.6919 | 1190758.5707
5 | 2660976.1425 | 1190740.9268
6 | 2660978.3172 | 1190796.2223
7 | 2660994.1337 | 1190820.8825
8 | 2661031.1728 | 1190791.7795
9 | 2661042.1107 | 1190743.5243
10 | 2660966.1353 | 1190732.3342
11 | 2660974.6031 | 1190795.7955
12 | 2660993.7489 | 1190839.0545
13 | 2661062.0205 | 1190723.8939
14 | 2660948.7108 | 1190749.427
15 | 2660964.0577 | 1190728.9333
16 | 2660963.3575 | 1190709.0454
17 | 2660966.0463 | 1190693.8775
18 | 2660967.9908 | 1190683.0127
19 | 2660932.6123 | 1190718.0593
20 | 2660987.2593 | 1190645.2669
21 | 2660925.0188 | 1190713.2482
22 | 2660987.8477 | 1190644.4639
23 | 2660948.3939 | 1190749.7379
24 | 2660918.1697 | 1190708.4923
25 | 2660928.6615 | 1190773.2367
26 | 2660917.7773 | 1190786.9179
27 | 2660895.5504 | 1190762.4777
28 | 2660936.1083 | 1190791.3674
29 | 2660909.5856 | 1190794.7044
30 | 2660887.1246 | 1190752.3898
31 | 2660946.6341 | 1190792.5814
32 | 2660896.0135 | 1190807.6053
33 | 2660868.2107 | 1190870.3324
34 | 2660874.1607 | 1190885.8573
35 | 2660857.6562 | 1190842.8498
36 | 2660921.9387 | 1190933.1664
37 | 2660844.3092 | 1190824.7895
38 | 2660920.9346 | 1190881.3202
39 | 2660831.4951 | 1190809.0604
40 | 2660913.57 | 1190873.6471
41 | 2660814.5419 | 1190785.5601
42 | 2660997.5782 | 1190852.3728
43 | 2660956.3716 | 1190793.7004
44 | 2660932.5494 | 1190806.1442
45 | 2660936.8647 | 1190833.1831
46 | 2660878.022 | 1190741.4916
47 | 2660878.5983 | 1190785.8347
48 | 2660885.9298 | 1190795.8127
49 | 2660865.6075 | 1190768.1544
50 | 2660853.9078 | 1190752.2313
51 | 2660846.8261 | 1190742.5933
52 | 2660840.0918 | 1190746.3519
53 | 2660862.7393 | 1190733.7082
54 | 2660875.9977 | 1190739.0681
55 | 2660819.7524 | 1190757.704
56 | 2660804.6484 | 1190766.1339
57 | 2660794.2668 | 1190733.019
58 | 2660904.6137 | 1190698.51
59 | 2660884.9197 | 1190682.9233
60 | 2661062.5725 | 1190723.1169
61 | 2661079.9423 | 1190699.3861
62 | 2661094.8753 | 1190685.6639
63 | 2661094.059 | 1190680.4234
64 | 2661108.8909 | 1190630.7753
65 | 2661083.8233 | 1190565.6453
66 | 2661103.8567 | 1190562.3009
67 | 2660946.6341 | 1190792.5814

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98841 | -0.080955 | 0.0020409 | 0.00051149
1 | 0.98927 | -0.074907 | 0.0034849 | 0.00087339
2 | 0.98672 | -0.092928 | 0 | 0
3 | 0.99079 | -0.064195 | 0 | 0
4 | 0.98626 | -0.096191 | 0 | 0
5 | 0.98471 | -0.10716 | 0.0042275 | 0.0010595
6 | 0.99276 | -0.050394 | 0.0025415 | 0.00063697
7 | 0.99033 | -0.067471 | 0.0056945 | 0.0014272
8 | 0.98616 | -0.096917 | 0.0020344 | 0.00050988
9 | 0.98583 | -0.099207 | 0.0046835 | 0.0011738
10 | 0.98382 | -0.11346 | 0 | 0
11 | 0.99322 | -0.047161 | 0.0048687 | 0.0012202
12 | 0.99011 | -0.069032 | 0.0063207 | 0.0015841
13 | 0.98556 | -0.10119 | 0.0035609 | 0.00089246
14 | 0.98355 | -0.11541 | 0.0034844 | 0.00087326
15 | 0.9836 | -0.115 | 0 | 0
16 | 0.98321 | -0.11783 | 0.0037731 | 0.00094562
17 | 0.98299 | -0.11938 | 0.0024996 | 0.00062646
18 | 0.98287 | -0.1202 | 0.0014094 | 0.00035323
19 | 0.9824 | -0.12359 | 0.0039838 | 0.00099844
20 | 0.98251 | -0.12282 | 0.0028972 | 0.00072611
21 | 0.98213 | -0.12547 | 0.0024805 | 0.00062167
22 | 0.9825 | -0.12285 | 0.0029061 | 0.00072834
23 | 0.98354 | -0.11543 | 0.0042712 | 0.0010705
24 | 0.98192 | -0.127 | 0.0048309 | 0.0012107
25 | 0.99991 | -0.00059846 | 0.0034288 | 0.00085933
26 | 1 | 0 | -0.24597 | -0.061865
27 | 0.99699 | -0.02082 | 0.0029029 | 0.00072753
28 | 0.99852 | -0.010265 | 0.0046821 | 0.0011734
29 | 0.99991 | -0.00065327 | 0.0037107 | 0.00093
30 | 0.99583 | -0.028896 | 0.0096783 | 0.0024256
31 | 0.99694 | -0.021203 | 0 | 0
32 | 0.99985 | -0.0010419 | 0.0020779 | 0.00052078
33 | 0.97619 | -0.16731 | 0.024102 | 0.0060406
34 | 0.97581 | -0.17002 | 0.0037878 | 0.00094932
35 | 0.9779 | -0.15507 | 0 | 0
36 | 0.97466 | -0.17828 | 0 | 0
37 | 0.9792 | -0.14579 | 0.0058092 | 0.0014559
38 | 0.97346 | -0.18694 | 0.0035665 | 0.00089386
39 | 0.98055 | -0.13623 | 0.0071376 | 0.0017889
40 | 0.97333 | -0.18784 | 0.0080783 | 0.0020246
41 | 0.98277 | -0.12044 | 0.0057181 | 0.0014331
42 | 0.99007 | -0.069331 | 0.0021114 | 0.00052917
43 | 0.99562 | -0.030432 | 0.0033207 | 0.00083223
44 | 0.99668 | -0.023034 | 0.0052461 | 0.0013148
45 | 0.99648 | -0.024474 | 0.0040723 | 0.0010206
46 | 0.99467 | -0.036949 | 0.0080948 | 0.0020287
47 | 0.9879 | -0.084349 | 0.0033061 | 0.00082858
48 | 0.98769 | -0.085822 | 0.011632 | 0.0029153
49 | 0.98837 | -0.080999 | 0.0038933 | 0.00097575
50 | 0.98891 | -0.077198 | 0.0041011 | 0.0010278
51 | 0.98931 | -0.0744 | 0 | 0
52 | 0.9885 | -0.080046 | 0.0037814 | 0.00094771
53 | 0.99181 | -0.056848 | 0.0043308 | 0.0010854
54 | 0.99443 | -0.038614 | 0.0054622 | 0.001369
55 | 0.98619 | -0.096251 | 0.0057469 | 0.0014403
56 | 0.98463 | -0.10731 | 0 | 0
57 | 0.98443 | -0.10874 | 0.0039768 | 0.00099667
58 | 0.9816 | -0.12924 | 0.0020907 | 0.00052398
59 | 0.98121 | -0.13205 | 0.010792 | 0.0027046
60 | 0.98555 | -0.10122 | 0.0016452 | 0.00041232
61 | 0.98548 | -0.10172 | 0 | 0
62 | 0.98543 | -0.10206 | 0 | 0
63 | 0.98542 | -0.10215 | 0.00023668 | 5.9318e-05
64 | 0.98528 | -0.10315 | 0.00064603 | 0.00016191
65 | 0.98519 | -0.10378 | 0.00055129 | 0.00013817
66 | 0.98521 | -0.10367 | 0.0001859 | 4.6592e-05
67 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.065554 | -0.016465 | 0.06561 | 0.016486 | 5.5176e-05 | 2.1105e-05 | 0.098703 | 0.098703 | 0.098703 | 0.98841 | -0.080955 | 0.98927 | -0.074907 | 36.5565
1 | 0.063514 | 0.015954 | -0.063408 | -0.015913 | 0.00010557 | 4.0366e-05 | 0.09563 | 0.09563 | 0.09563 | 0.98841 | -0.080955 | 0.98672 | -0.092928 | 35.4186
2 | -0.069095 | -0.01736 | 0.069198 | 0.017399 | 0.00010312 | 3.9467e-05 | 0.10394 | 0.10394 | 0.10394 | 0.98927 | -0.074907 | 0.99079 | -0.064195 | 38.4979
3 | 0.013557 | 0.0033955 | -0.013551 | -0.0033934 | 6.1136e-06 | 2.0521e-06 | 0.020444 | 0.020445 | 0.020445 | 0.98672 | -0.092928 | 0.98626 | -0.096191 | 7.5721
4 | 0.049851 | 0.012518 | -0.049752 | -0.01248 | 9.8412e-05 | 3.7495e-05 | 0.075186 | 0.075186 | 0.075186 | 0.98672 | -0.092928 | 0.98471 | -0.10716 | 27.8466
5 | -0.083333 | -0.020942 | 0.083493 | 0.021004 | 0.0001604 | 6.1482e-05 | 0.12517 | 0.12517 | 0.12517 | 0.99079 | -0.064195 | 0.99276 | -0.050394 | 46.3604
6 | 0.014135 | 0.003543 | -0.014129 | -0.0035408 | 6.4095e-06 | 2.1718e-06 | 0.021229 | 0.021229 | 0.021229 | 0.99079 | -0.064195 | 0.99033 | -0.067471 | 7.8625
7 | 0.0020347 | 0.00050952 | -0.0020344 | -0.00050988 | 2.042e-07 | -3.6459e-07 | 0.0030696 | 0.0030698 | 0.0030698 | 0.98626 | -0.096191 | 0.98616 | -0.096917 | 1.137
8 | 0.011517 | 0.0028839 | -0.011512 | -0.0028824 | 4.7992e-06 | 1.5209e-06 | 0.017375 | 0.017375 | 0.017375 | 0.98626 | -0.096191 | 0.98583 | -0.099207 | 6.4352
9 | 0.045525 | 0.011421 | -0.045485 | -0.011406 | 3.9718e-05 | 1.5105e-05 | 0.068798 | 0.068798 | 0.068798 | 0.98471 | -0.10716 | 0.98382 | -0.11346 | 25.4806
10 | -0.086035 | -0.021641 | 0.086073 | 0.021656 | 3.881e-05 | 1.4879e-05 | 0.12898 | 0.12898 | 0.12898 | 0.99276 | -0.050394 | 0.99322 | -0.047161 | 47.7712
11 | 0.0084341 | 0.0021136 | -0.0084322 | -0.0021132 | 1.8214e-06 | 4.6674e-07 | 0.012673 | 0.012673 | 0.012673 | 0.99033 | -0.067471 | 0.99011 | -0.069032 | 4.6936
12 | 0.0068284 | 0.0017086 | -0.0068265 | -0.0017082 | 1.8672e-06 | 3.5904e-07 | 0.010306 | 0.010306 | 0.010306 | 0.98583 | -0.099207 | 0.98556 | -0.10119 | 3.817
13 | 0.0077576 | 0.0019442 | -0.0077555 | -0.0019437 | 2.0969e-06 | 4.9663e-07 | 0.011733 | 0.011733 | 0.011733 | 0.98382 | -0.11346 | 0.98355 | -0.11541 | 4.3457
14 | 0.037727 | 0.0094616 | -0.037719 | -0.0094585 | 8.0933e-06 | 3.0622e-06 | 0.057064 | 0.057064 | 0.057064 | 0.98382 | -0.11346 | 0.9836 | -0.115 | 21.135
15 | -0.090942 | -0.022876 | 0.091155 | 0.022957 | 0.00021267 | 8.1556e-05 | 0.13628 | 0.13628 | 0.13628 | 0.99322 | -0.047161 | 0.99562 | -0.030432 | 50.4727
16 | 0.0021115 | 0.00052903 | -0.0021114 | -0.00052917 | 8.7304e-08 | -1.451e-07 | 0.0031733 | 0.0031734 | 0.0031734 | 0.99011 | -0.069032 | 0.99007 | -0.069331 | 1.1753
17 | 0.0032656 | 0.00081576 | -0.0032656 | -0.00081577 | 1.4451e-08 | -6.5863e-09 | 0.0049295 | 0.0049295 | 0.0049295 | 0.98556 | -0.10119 | 0.98555 | -0.10122 | 1.8257
18 | 0.0042712 | 0.0010705 | -0.0042712 | -0.0010705 | 1.1569e-08 | -1.1854e-09 | 0.0064619 | 0.0064619 | 0.0064619 | 0.98355 | -0.11541 | 0.98354 | -0.11543 | 2.3933
19 | 0.024224 | 0.006076 | -0.024195 | -0.0060653 | 2.8796e-05 | 1.064e-05 | 0.036648 | 0.036648 | 0.036648 | 0.9836 | -0.115 | 0.9824 | -0.12359 | 13.5733
20 | 0.013496 | 0.0033826 | -0.01349 | -0.0033808 | 5.2777e-06 | 1.7724e-06 | 0.020417 | 0.020417 | 0.020417 | 0.9836 | -0.115 | 0.98321 | -0.11783 | 7.5618
21 | 0.0097174 | 0.0024352 | -0.0097153 | -0.0024346 | 2.079e-06 | 6.043e-07 | 0.014707 | 0.014707 | 0.014707 | 0.98321 | -0.11783 | 0.98299 | -0.11938 | 5.4469
22 | 0.0072157 | 0.0018081 | -0.0072149 | -0.0018079 | 8.2171e-07 | 1.7614e-07 | 0.010923 | 0.010923 | 0.010923 | 0.98299 | -0.11938 | 0.98287 | -0.1202 | 4.0455
23 | 0.0058055 | 0.0014547 | -0.0058034 | -0.0014544 | 2.1021e-06 | 2.5602e-07 | 0.008789 | 0.0087892 | 0.0087892 | 0.98287 | -0.1202 | 0.98251 | -0.12282 | 3.2553
24 | 0.020211 | 0.0050669 | -0.020206 | -0.005065 | 5.2571e-06 | 1.9082e-06 | 0.030614 | 0.030614 | 0.030614 | 0.9824 | -0.12359 | 0.98213 | -0.12547 | 11.3384
25 | 0.0029061 | 0.00072833 | -0.0029061 | -0.00072834 | 1.2035e-08 | -7.9795e-09 | 0.0044014 | 0.0044014 | 0.0044014 | 0.98251 | -0.12282 | 0.9825 | -0.12285 | 1.6301
26 | 0.017725 | 0.0044433 | -0.017721 | -0.004442 | 3.7548e-06 | 1.3386e-06 | 0.026855 | 0.026856 | 0.026856 | 0.98213 | -0.12547 | 0.98192 | -0.127 | 9.9465
27 | 0.012891 | 0.0032312 | -0.012887 | -0.0032299 | 4.0088e-06 | 1.329e-06 | 0.019535 | 0.019535 | 0.019535 | 0.98192 | -0.127 | 0.9816 | -0.12924 | 7.2351
28 | -0.0034288 | -0.00085933 | 0.003429 | 0.00085921 | 2.8402e-07 | -1.201e-07 | 0.0051025 | 0.0051024 | 0.0051025 | 0.99991 | -0.00059846 | 1 | 0 | 1.8898
29 | 0.12703 | 0.032089 | -0.12666 | -0.031947 | 0.00037085 | 0.00014177 | 0.18912 | 0.18912 | 0.18912 | 1 | 0 | 0.99699 | -0.02082 | 35.0219
30 | 0.10892 | 0.027466 | -0.10876 | -0.027407 | 0.00015648 | 5.9685e-05 | 0.16213 | 0.16213 | 0.16213 | 1 | 0 | 0.99852 | -0.010265 | 30.024
31 | 0.0057893 | 0.0014506 | -0.0057888 | -0.0014506 | 5.2335e-07 | 5.3031e-08 | 0.0086145 | 0.0086145 | 0.0086145 | 1 | 0 | 0.99991 | -0.00065327 | 3.1906
32 | 0.12376 | 0.031219 | -0.12362 | -0.031166 | 0.00014003 | 5.3514e-05 | 0.18479 | 0.18479 | 0.18479 | 0.99699 | -0.02082 | 0.99583 | -0.028896 | 34.2196
33 | 0.10408 | 0.026233 | -0.10392 | -0.026172 | 0.00015916 | 6.1076e-05 | 0.15515 | 0.15515 | 0.15515 | 0.99852 | -0.010265 | 0.99694 | -0.021203 | 57.4638
34 | 0.002078 | 0.00052057 | -0.0020779 | -0.00052078 | 1.1174e-07 | -2.0263e-07 | 0.0030923 | 0.0030924 | 0.0030924 | 0.99991 | -0.00065327 | 0.99985 | -0.0010419 | 1.1453
35 | 0.11394 | 0.02874 | -0.11381 | -0.028691 | 0.00012852 | 4.9063e-05 | 0.17032 | 0.17032 | 0.17032 | 0.99583 | -0.028896 | 0.99467 | -0.036949 | 31.5415
36 | 0.0093215 | 0.0023359 | -0.0093192 | -0.0023353 | 2.3618e-06 | 6.535e-07 | 0.013913 | 0.013913 | 0.013913 | 0.99694 | -0.021203 | 0.99668 | -0.023034 | 5.153
37 | 0.094597 | 0.023836 | -0.094475 | -0.02379 | 0.00012201 | 4.6799e-05 | 0.14124 | 0.14124 | 0.14124 | 0.99694 | -0.021203 | 0.99562 | -0.030432 | 52.3108
38 | 0.015467 | 0.0038789 | -0.015461 | -0.0038768 | 5.801e-06 | 2.0221e-06 | 0.023577 | 0.023577 | 0.023577 | 0.97619 | -0.16731 | 0.97581 | -0.17002 | 8.7323
39 | -0.039569 | -0.0099195 | 0.039636 | 0.0099449 | 6.7221e-05 | 2.5483e-05 | 0.060316 | 0.060316 | 0.060316 | 0.97619 | -0.16731 | 0.9779 | -0.15507 | 22.3394
40 | 0.011673 | 0.0029275 | -0.01166 | -0.0029232 | 1.3349e-05 | 4.2918e-06 | 0.017801 | 0.017801 | 0.017801 | 0.97581 | -0.17002 | 0.97466 | -0.17828 | 6.5931
41 | -0.039636 | -0.0099449 | 0.039687 | 0.0099643 | 5.1079e-05 | 1.9363e-05 | 0.060316 | 0.060316 | 0.060316 | 0.9779 | -0.15507 | 0.9792 | -0.14579 | 22.3393
42 | 0.01166 | 0.0029232 | -0.011646 | -0.0029187 | 1.3973e-05 | 4.4947e-06 | 0.017801 | 0.017802 | 0.017802 | 0.97466 | -0.17828 | 0.97346 | -0.18694 | 6.5932
43 | -0.045497 | -0.01142 | 0.045557 | 0.011443 | 6.0525e-05 | 2.3023e-05 | 0.069144 | 0.069144 | 0.069144 | 0.9792 | -0.14579 | 0.98055 | -0.13623 | 25.6089
44 | 0.0080794 | 0.0020249 | -0.0080783 | -0.0020246 | 1.0122e-06 | 2.5711e-07 | 0.01235 | 0.01235 | 0.01235 | 0.97346 | -0.18694 | 0.97333 | -0.18784 | 4.5741
45 | -0.052695 | -0.013232 | 0.052811 | 0.013276 | 0.00011586 | 4.4196e-05 | 0.079975 | 0.079975 | 0.079975 | 0.98055 | -0.13623 | 0.98277 | -0.12044 | 29.6205
46 | -0.058529 | -0.014709 | 0.058636 | 0.01475 | 0.00010718 | 4.0945e-05 | 0.088633 | 0.088633 | 0.088633 | 0.98277 | -0.12044 | 0.98463 | -0.10731 | 32.8271
47 | 0.0040731 | 0.0010205 | -0.0040723 | -0.0010206 | 8.1163e-07 | -1.4615e-07 | 0.0060809 | 0.006081 | 0.006081 | 0.99668 | -0.023034 | 0.99648 | -0.024474 | 2.2522
48 | 0.10572 | 0.026662 | -0.10569 | -0.026653 | 2.4662e-05 | 9.4033e-06 | 0.15821 | 0.15821 | 0.15821 | 0.99467 | -0.036949 | 0.99443 | -0.038614 | 29.2989
49 | 0.011635 | 0.0029161 | -0.011632 | -0.0029153 | 2.3728e-06 | 7.5412e-07 | 0.017525 | 0.017525 | 0.017525 | 0.9879 | -0.084349 | 0.98769 | -0.085822 | 6.4906
50 | -0.014941 | -0.0037446 | 0.014948 | 0.003747 | 6.9334e-06 | 2.3857e-06 | 0.022504 | 0.022504 | 0.022504 | 0.9879 | -0.084349 | 0.98837 | -0.080999 | 8.3349
51 | -0.018841 | -0.0047228 | 0.018851 | 0.0047263 | 9.9206e-06 | 3.5622e-06 | 0.028366 | 0.028366 | 0.028366 | 0.98837 | -0.080999 | 0.98891 | -0.077198 | 10.5058
52 | -0.022952 | -0.0057542 | 0.022961 | 0.0057574 | 8.9016e-06 | 3.2702e-06 | 0.034536 | 0.034536 | 0.034536 | 0.98891 | -0.077198 | 0.98931 | -0.0744 | 12.7913
53 | 0.072451 | 0.018253 | -0.072394 | -0.018231 | 5.7184e-05 | 2.1895e-05 | 0.10901 | 0.10901 | 0.10901 | 0.98931 | -0.0744 | 0.9885 | -0.080046 | 40.373
54 | -0.095412 | -0.024011 | 0.095646 | 0.0241 | 0.00023433 | 8.9893e-05 | 0.14354 | 0.14354 | 0.14354 | 0.98931 | -0.0744 | 0.99181 | -0.056848 | 53.1643
55 | 0.068612 | 0.017284 | -0.068457 | -0.017224 | 0.00015514 | 5.9373e-05 | 0.10331 | 0.10332 | 0.10332 | 0.9885 | -0.080046 | 0.98619 | -0.096251 | 38.2648
56 | -0.099977 | -0.025186 | 0.10023 | 0.025284 | 0.00025566 | 9.8094e-05 | 0.15004 | 0.15004 | 0.15004 | 0.99181 | -0.056848 | 0.99443 | -0.038614 | 55.5707
57 | 0.06271 | 0.015784 | -0.062613 | -0.015747 | 9.6682e-05 | 3.6965e-05 | 0.094644 | 0.094644 | 0.094644 | 0.98619 | -0.096251 | 0.98463 | -0.10731 | 35.0533
58 | 0.0039775 | 0.00099653 | -0.0039768 | -0.00099667 | 7.8513e-07 | -1.4085e-07 | 0.0060109 | 0.0060111 | 0.0060111 | 0.98463 | -0.10731 | 0.98443 | -0.10874 | 2.2263
59 | 0.010796 | 0.0027059 | -0.010792 | -0.0027046 | 4.2024e-06 | 1.2986e-06 | 0.016365 | 0.016366 | 0.016366 | 0.9816 | -0.12924 | 0.98121 | -0.13205 | 6.0613
60 | 0.0016204 | 0.00040344 | -0.0016203 | -0.00040378 | 1.0978e-07 | -3.3259e-07 | 0.0024455 | 0.0024457 | 0.0024457 | 0.98555 | -0.10122 | 0.98548 | -0.10172 | 0.9058
61 | 0.0016203 | 0.00040378 | -0.0016202 | -0.00040401 | 7.6739e-08 | -2.3243e-07 | 0.0024457 | 0.0024458 | 0.0024458 | 0.98548 | -0.10172 | 0.98543 | -0.10206 | 0.90584
62 | 0.0016202 | 0.00040401 | -0.0016202 | -0.00040407 | 1.9797e-08 | -5.9953e-08 | 0.0024458 | 0.0024458 | 0.0024458 | 0.98543 | -0.10206 | 0.98542 | -0.10215 | 0.90585
63 | 0.0013835 | 0.00034475 | -0.0013833 | -0.00034556 | 1.8861e-07 | -8.101e-07 | 0.0020884 | 0.0020887 | 0.0020887 | 0.98542 | -0.10215 | 0.98528 | -0.10315 | 0.77359
64 | 0.00073725 | 0.00018365 | -0.0007372 | -0.0001845 | 5.3091e-08 | -8.5396e-07 | 0.001113 | 0.0011133 | 0.0011133 | 0.98528 | -0.10315 | 0.98521 | -0.10367 | 0.41235
65 | -0.00055129 | -0.00013817 | 0.0005513 | 0.00013791 | 8.7862e-09 | -2.5526e-07 | 0.00083266 | 0.00083256 | 0.00083266 | 0.98519 | -0.10378 | 0.98521 | -0.10367 | 0.30839

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24597 | 0.061865

## res_load
| p_mw | q_mvar
0 | 0.0020409 | 0.00051149
1 | 0.0034849 | 0.00087339
2 | 0.0042275 | 0.0010595
3 | 0.0025415 | 0.00063697
4 | 0.0056945 | 0.0014272
5 | 0.0020344 | 0.00050988
6 | 0.0046835 | 0.0011738
7 | 0.0048687 | 0.0012202
8 | 0.0063207 | 0.0015841
9 | 0.0035609 | 0.00089246
10 | 0.0034844 | 0.00087326
11 | 0.0037731 | 0.00094562
12 | 0.0024996 | 0.00062646
13 | 0.0014094 | 0.00035323
14 | 0.0039838 | 0.00099844
15 | 0.0028972 | 0.00072611
16 | 0.0024805 | 0.00062167
17 | 0.0029061 | 0.00072834
18 | 0.0042712 | 0.0010705
19 | 0.0048309 | 0.0012107
20 | 0.0034288 | 0.00085933
21 | 0.0029029 | 0.00072753
22 | 0.0046821 | 0.0011734
23 | 0.0037107 | 0.00093
24 | 0.0096783 | 0.0024256
25 | 0.0020779 | 0.00052078
26 | 0.024102 | 0.0060406
27 | 0.0037878 | 0.00094932
28 | 0.0058092 | 0.0014559
29 | 0.0035665 | 0.00089386
30 | 0.0071376 | 0.0017889
31 | 0.0080783 | 0.0020246
32 | 0.0057181 | 0.0014331
33 | 0.0021114 | 0.00052917
34 | 0.0033207 | 0.00083223
35 | 0.0052461 | 0.0013148
36 | 0.0040723 | 0.0010206
37 | 0.0080948 | 0.0020287
38 | 0.0033061 | 0.00082858
39 | 0.011632 | 0.0029153
40 | 0.0038933 | 0.00097575
41 | 0.0041011 | 0.0010278
42 | 0.0037814 | 0.00094771
43 | 0.0043308 | 0.0010854
44 | 0.0054622 | 0.001369
45 | 0.0057469 | 0.0014403
46 | 0.0039768 | 0.00099667
47 | 0.0020907 | 0.00052398
48 | 0.010792 | 0.0027046
49 | 0.0016452 | 0.00041232
50 | 0.00023668 | 5.9318e-05
51 | 0.00064603 | 0.00016191
52 | 0.00055129 | 0.00013817
53 | 0.0001859 | 4.6592e-05

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1