## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1406-29_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1406-29_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1406-29_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1406-29_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1406-29_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1406-29_0_2_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_1406-29_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1406-29_0_2_node_22 | 0.4 | n |  | TRUE
8 | bus_LV_1406-29_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1406-29_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1406-29_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1406-29_0_2_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_1406-29_0_2_node_19 | 0.4 | n |  | TRUE
13 | bus_LV_1406-29_0_2_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1406-29_0_2_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1406-29_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1406-29_0_2_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1406-29_0_2_node_30 | 0.4 | n |  | TRUE
18 | bus_LV_1406-29_0_2_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1406-29_0_2_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_1406-29_0_2_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1406-29_0_2_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1406-29_0_2_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1406-29_0_2_node_29 | 0.4 | n |  | TRUE
24 | bus_LV_1406-29_0_2_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_1406-29_0_2_node_17 | 0.4 | n |  | TRUE
26 | bus_LV_1406-29_0_2_node_36 | 0.4 | n |  | TRUE
27 | bus_LV_1406-29_0_2_node_35 | 0.4 | n |  | TRUE
28 | bus_LV_1406-29_0_2_node_20 | 0.4 | n |  | TRUE
29 | bus_LV_1406-29_0_2_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1406-29_0_2_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1406-29_0_2_node_34 | 0.4 | n |  | TRUE
32 | bus_LV_1406-29_0_2_node_24 | 0.4 | n |  | TRUE
33 | bus_LV_1406-29_0_2_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1406-29_0_2_node_27 | 0.4 | n |  | TRUE
35 | bus_LV_1406-29_0_2_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_1406-29_0_2_node_33 | 0.4 | n |  | TRUE
37 | bus_MV_138_1_node_156 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1406-29_0_2_load_0 | 0 | 0.010809 | 0.002709 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1406-29_0_2_load_2 | 2 | 0.016326 | 0.0040916 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1406-29_0_2_load_3 | 3 | 0.0012361 | 0.00030979 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1406-29_0_2_load_4 | 4 | 0.026949 | 0.0067539 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1406-29_0_2_load_5 | 6 | 0.017726 | 0.0044426 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1406-29_0_2_load_6 | 8 | 0.018548 | 0.0046486 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1406-29_0_2_load_7 | 9 | 0.014922 | 0.0037397 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1406-29_0_2_load_8 | 10 | 0.018573 | 0.0046549 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1406-29_0_2_load_18 | 11 | 0.0040248 | 0.0010087 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1406-29_0_2_load_19 | 12 | 0.0015968 | 0.0004002 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1406-29_0_2_load_9 | 13 | 0.00073972 | 0.00018539 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1406-29_0_2_load_10 | 14 | 0.00080286 | 0.00020122 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1406-29_0_2_load_13 | 15 | 0.0007148 | 0.00017915 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1406-29_0_2_load_14 | 16 | 0.00088514 | 0.00022184 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1406-29_0_2_load_30 | 17 | 0.00072611 | 0.00018198 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1406-29_0_2_load_31 | 19 | 0.0040767 | 0.0010217 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1406-29_0_2_load_15 | 20 | 0.0017932 | 0.00044943 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1406-29_0_2_load_16 | 21 | 0.0017307 | 0.00043376 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1406-29_0_2_load_12 | 22 | 0.00069442 | 0.00017404 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1406-29_0_2_load_29 | 23 | 0.00074198 | 0.00018596 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1406-29_0_2_load_28 | 24 | 0.00058681 | 0.00014707 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1406-29_0_2_load_17 | 25 | 0.0011626 | 0.00029137 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1406-29_0_2_load_36 | 26 | 0.0083856 | 0.0021016 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1406-29_0_2_load_35 | 27 | 0.0033228 | 0.00083278 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1406-29_0_2_load_20 | 28 | 0.0015939 | 0.00039946 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1406-29_0_2_load_25 | 29 | 0.0015968 | 0.0004002 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1406-29_0_2_load_23 | 30 | 0.0039761 | 0.00099651 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1406-29_0_2_load_34 | 31 | 0.0020691 | 0.00051856 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1406-29_0_2_load_24 | 32 | 0.0039689 | 0.00099469 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1406-29_0_2_load_26 | 33 | 0.010823 | 0.0027124 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1406-29_0_2_load_27 | 34 | 0.0030972 | 0.00077623 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1406-29_0_2_load_32 | 35 | 0.0015675 | 0.00039285 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1406-29_0_2_load_33 | 36 | 0.0030932 | 0.00077524 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 8 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1406-29_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1406-29_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0072328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1406-29_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.031694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1406-29_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.016952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1406-29_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.019032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1406-29_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.01355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1406-29_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.05255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1406-29_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.028638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1406-29_0_2_line_8 | NAYY 4x150 SE | 7 | 33 | 0.021316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1406-29_0_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.0017029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1406-29_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.01233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1406-29_0_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.039023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1406-29_0_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.030997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1406-29_0_2_line_13 | NAYY 4x150 SE | 12 | 28 | 0.0011339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1406-29_0_2_line_14 | NAYY 4x150 SE | 13 | 14 | 0.040981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1406-29_0_2_line_15 | NAYY 4x150 SE | 13 | 15 | 0.10408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1406-29_0_2_line_16 | NAYY 4x150 SE | 14 | 16 | 0.17736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1406-29_0_2_line_17 | NAYY 4x150 SE | 15 | 17 | 0.029249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1406-29_0_2_line_18 | NAYY 4x150 SE | 15 | 18 | 0.013561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1406-29_0_2_line_19 | NAYY 4x150 SE | 16 | 20 | 0.010074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1406-29_0_2_line_20 | NAYY 4x150 SE | 17 | 19 | 0.016195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1406-29_0_2_line_21 | NAYY 4x150 SE | 18 | 22 | 0.01203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1406-29_0_2_line_22 | NAYY 4x150 SE | 19 | 35 | 0.025122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1406-29_0_2_line_23 | NAYY 4x150 SE | 20 | 21 | 0.029695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1406-29_0_2_line_24 | NAYY 4x150 SE | 21 | 25 | 0.00011118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1406-29_0_2_line_25 | NAYY 4x150 SE | 22 | 23 | 0.0022742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1406-29_0_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.035008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1406-29_0_2_line_27 | NAYY 4x150 SE | 26 | 27 | 0.027964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1406-29_0_2_line_28 | NAYY 4x150 SE | 27 | 30 | 0.043032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1406-29_0_2_line_29 | NAYY 4x150 SE | 27 | 31 | 0.0292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1406-29_0_2_line_30 | NAYY 4x150 SE | 28 | 29 | 0.0011339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1406-29_0_2_line_31 | NAYY 4x150 SE | 29 | 32 | 0.0011339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1406-29_0_2_line_32 | NAYY 4x150 SE | 30 | 32 | 0.0011339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1406-29_0_2_line_33 | NAYY 4x150 SE | 31 | 36 | 0.048371 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1406-29_0_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.0058863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1406-29_0_2_line_35 | NAYY 4x150 SE | 35 | 36 | 0.00051555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1406-29_0_2_trafo_6 | 0.25 MVA 20/0.4 kV | 37 | 8 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2661312.8065 | 1191034.6474 | 2661309.2852 | 1191041.96 | 2661307.8637 | 1191043.7688 | 2661301.3061 | 1191050.0184
1 | 2661312.8065 | 1191034.6474 | 2661318.8503 | 1191038.6207
2 | 2661312.8065 | 1191034.6474 | 2661309.4614 | 1191031.4558 | 2661307.7987 | 1191029.2709 | 2661306.3657 | 1191024.7647 | 2661306.0644 | 1191019.9366 | 2661307.9502 | 1191014.4861 | 2661312.6655 | 1191006.8305
3 | 2661333.0157 | 1191047.9331 | 2661318.8503 | 1191038.6207
4 | 2661322.2496 | 1190990.3965 | 2661318.4567 | 1190997.4283 | 2661312.6655 | 1191006.8305
5 | 2661333.0157 | 1191047.9331 | 2661344.3381 | 1191055.3766
6 | 2661322.2496 | 1190990.3965 | 2661312.6726 | 1190985.9514 | 2661302.5172 | 1190982.1341 | 2661288.2227 | 1190978.1966 | 2661272.2602 | 1190974.8202
7 | 2661344.3381 | 1191055.3766 | 2661368.2679 | 1191071.1083
8 | 2661272.2602 | 1190974.8202 | 2661269.2841 | 1190981.0156 | 2661261.3066 | 1190987.1597 | 2661257.3889 | 1190989.1045
9 | 2661369.6908 | 1191072.0437 | 2661368.2679 | 1191071.1083
10 | 2661379.9934 | 1191078.8167 | 2661369.6908 | 1191072.0437
11 | 2661379.9934 | 1191078.8167 | 2661410.5047 | 1191054.4879
12 | 2661410.5047 | 1191054.4879 | 2661437.4653 | 1191069.7822
13 | 2661437.4653 | 1191069.7822 | 2661438.4516 | 1191070.3416
14 | 2661486.0634 | 1190859.7122 | 2661461.9731 | 1190854.7843 | 2661452.6418 | 1190848.6739 | 2661447.4178 | 1190848.2952
15 | 2661377.7721 | 1190925.6362 | 2661447.4178 | 1190848.2952
16 | 2661486.0634 | 1190859.7122 | 2661649.942 | 1190927.5407
17 | 2661377.7721 | 1190925.6362 | 2661391.0262 | 1190938.3601 | 2661398.3864 | 1190946.3674
18 | 2661367.9892 | 1190916.2446 | 2661377.7721 | 1190925.6362
19 | 2661649.942 | 1190927.5407 | 2661656.7891 | 1190934.9307
20 | 2661398.3864 | 1190946.3674 | 2661409.3461 | 1190958.2904
21 | 2661367.9892 | 1190916.2446 | 2661363.8463 | 1190911.2882 | 2661360.3831 | 1190906.9253
22 | 2661409.3461 | 1190958.2904 | 2661421.4909 | 1190971.5027 | 2661425.9228 | 1190977.1461
23 | 2661656.7891 | 1190934.9307 | 2661676.971 | 1190956.7128
24 | 2661677.0466 | 1190956.7944 | 2661676.971 | 1190956.7128
25 | 2661358.9691 | 1190905.144 | 2661360.3831 | 1190906.9253
26 | 2661340.7572 | 1190875.3201 | 2661342.0783 | 1190876.9343 | 2661347.5629 | 1190885.6511 | 2661352.3875 | 1190894.0275 | 2661357.0487 | 1190902.7247 | 2661358.9691 | 1190905.144
27 | 2661470.5175 | 1191040.3263 | 2661491.0979 | 1191059.259
28 | 2661470.5175 | 1191040.3263 | 2661441.4103 | 1191072.0201
29 | 2661450.0841 | 1191019.6065 | 2661451.7665 | 1191022.2759 | 2661456.6304 | 1191027.5511 | 2661470.5175 | 1191040.3263
30 | 2661438.4516 | 1191070.3416 | 2661439.4378 | 1191070.9011
31 | 2661439.4378 | 1191070.9011 | 2661440.4241 | 1191071.4606
32 | 2661441.4103 | 1191072.0201 | 2661440.4241 | 1191071.4606
33 | 2661426.2412 | 1190977.5516 | 2661427.3089 | 1190978.9111 | 2661447.415 | 1191015.3717 | 2661450.0841 | 1191019.6065
34 | 2661257.3889 | 1190989.1045 | 2661252.1164 | 1190991.7218
35 | 2661425.9228 | 1190977.1461 | 2661426.2412 | 1190977.5516

## bus_geodata
| x | y | coords
0 | 2661301.3061 | 1191050.0184
1 | 2661312.8065 | 1191034.6474
2 | 2661318.8503 | 1191038.6207
3 | 2661312.6655 | 1191006.8305
4 | 2661333.0157 | 1191047.9331
5 | 2661322.2496 | 1190990.3965
6 | 2661344.3381 | 1191055.3766
7 | 2661272.2602 | 1190974.8202
8 | 2661368.2679 | 1191071.1083
9 | 2661369.6908 | 1191072.0437
10 | 2661379.9934 | 1191078.8167
11 | 2661410.5047 | 1191054.4879
12 | 2661437.4653 | 1191069.7822
13 | 2661447.4178 | 1190848.2952
14 | 2661486.0634 | 1190859.7122
15 | 2661377.7721 | 1190925.6362
16 | 2661649.942 | 1190927.5407
17 | 2661398.3864 | 1190946.3674
18 | 2661367.9892 | 1190916.2446
19 | 2661409.3461 | 1190958.2904
20 | 2661656.7891 | 1190934.9307
21 | 2661676.971 | 1190956.7128
22 | 2661360.3831 | 1190906.9253
23 | 2661358.9691 | 1190905.144
24 | 2661340.7572 | 1190875.3201
25 | 2661677.0466 | 1190956.7944
26 | 2661491.0979 | 1191059.259
27 | 2661470.5175 | 1191040.3263
28 | 2661438.4516 | 1191070.3416
29 | 2661439.4378 | 1191070.9011
30 | 2661441.4103 | 1191072.0201
31 | 2661450.0841 | 1191019.6065
32 | 2661440.4241 | 1191071.4606
33 | 2661257.3889 | 1190989.1045
34 | 2661252.1164 | 1190991.7218
35 | 2661425.9228 | 1190977.1461
36 | 2661426.2412 | 1190977.5516
37 | 2661379.9934 | 1191078.8167

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99348 | -0.045659 | 0.010809 | 0.002709
1 | 0.99379 | -0.043531 | 0 | 0
2 | 0.99406 | -0.041633 | 0.016326 | 0.0040916
3 | 0.99309 | -0.048392 | 0.0012361 | 0.00030979
4 | 0.99508 | -0.034397 | 0.026949 | 0.0067539
5 | 0.99271 | -0.051076 | 0 | 0
6 | 0.99643 | -0.024951 | 0.017726 | 0.0044426
7 | 0.99166 | -0.058495 | 0 | 0
8 | 1 | 0 | -0.17208 | -0.043043
9 | 0.9998 | -0.001418 | 0.014922 | 0.0037397
10 | 0.99859 | -0.0098599 | 0.018573 | 0.0046549
11 | 0.99579 | -0.029411 | 0.0040248 | 0.0010087
12 | 0.99374 | -0.043757 | 0.0015968 | 0.0004002
13 | 0.98689 | -0.092191 | 0.00073972 | 0.00018539
14 | 0.98651 | -0.094878 | 0.00080286 | 0.00020122
15 | 0.98796 | -0.08458 | 0.0007148 | 0.00017915
16 | 0.98508 | -0.10505 | 0.00088514 | 0.00022184
17 | 0.98838 | -0.081622 | 0.00072611 | 0.00018198
18 | 0.98792 | -0.084861 | 0 | 0
19 | 0.98863 | -0.079865 | 0.0040767 | 0.0010217
20 | 0.98502 | -0.10554 | 0.0017932 | 0.00044943
21 | 0.98489 | -0.10642 | 0.0017307 | 0.00043376
22 | 0.98789 | -0.085111 | 0.00069442 | 0.00017404
23 | 0.98788 | -0.085142 | 0.00074198 | 0.00018596
24 | 0.98785 | -0.085353 | 0.00058681 | 0.00014707
25 | 0.98489 | -0.10642 | 0.0011626 | 0.00029137
26 | 0.99108 | -0.062489 | 0.0083856 | 0.0021016
27 | 0.99142 | -0.060107 | 0.0033228 | 0.00083278
28 | 0.99367 | -0.044265 | 0.0015939 | 0.00039946
29 | 0.9936 | -0.044754 | 0.0015968 | 0.0004002
30 | 0.99347 | -0.045651 | 0.0039761 | 0.00099651
31 | 0.99052 | -0.066469 | 0.0020691 | 0.00051856
32 | 0.99353 | -0.045225 | 0.0039689 | 0.00099469
33 | 0.99124 | -0.061508 | 0.010823 | 0.0027124
34 | 0.99121 | -0.061693 | 0.0030972 | 0.00077623
35 | 0.98916 | -0.076096 | 0.0015675 | 0.00039285
36 | 0.98917 | -0.07601 | 0.0030932 | 0.00077524
37 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010809 | -0.002709 | 0.010812 | 0.00271 | 3.1853e-06 | 9.7286e-07 | 0.01619 | 0.01619 | 0.01619 | 0.99348 | -0.045659 | 0.99379 | -0.043531 | 5.9962
1 | -0.026004 | -0.0065205 | 0.026011 | 0.006523 | 6.8427e-06 | 2.5381e-06 | 0.038938 | 0.038937 | 0.038938 | 0.99379 | -0.043531 | 0.99406 | -0.041633 | 14.4213
2 | 0.015192 | 0.0038105 | -0.015181 | -0.0038069 | 1.0234e-05 | 3.5258e-06 | 0.022748 | 0.022748 | 0.022748 | 0.99379 | -0.043531 | 0.99309 | -0.048392 | 8.4252
3 | -0.042337 | -0.010615 | 0.042379 | 0.010631 | 4.2487e-05 | 1.6121e-05 | 0.063376 | 0.063376 | 0.063376 | 0.99406 | -0.041633 | 0.99508 | -0.034397 | 23.4725
4 | 0.013945 | 0.0034971 | -0.01394 | -0.0034954 | 5.1855e-06 | 1.7483e-06 | 0.020896 | 0.020896 | 0.020896 | 0.99309 | -0.048392 | 0.99271 | -0.051076 | 7.7392
5 | -0.069328 | -0.017385 | 0.069418 | 0.017419 | 9.0878e-05 | 3.4777e-05 | 0.10367 | 0.10367 | 0.10367 | 0.99508 | -0.034397 | 0.99643 | -0.024951 | 38.3976
6 | 0.01394 | 0.0034954 | -0.013926 | -0.0034906 | 1.4318e-05 | 4.8283e-06 | 0.020896 | 0.020896 | 0.020896 | 0.99271 | -0.051076 | 0.99166 | -0.058495 | 7.7393
7 | -0.087145 | -0.021862 | 0.087447 | 0.021978 | 0.00030268 | 0.00011604 | 0.13015 | 0.13014 | 0.13015 | 0.99643 | -0.024951 | 1 | 0 | 48.2019
8 | 0.013926 | 0.0034906 | -0.01392 | -0.0034886 | 5.8081e-06 | 1.959e-06 | 0.020896 | 0.020896 | 0.020896 | 0.99166 | -0.058495 | 0.99124 | -0.061508 | 7.7394
9 | 0.083829 | 0.021065 | -0.083812 | -0.021059 | 1.6539e-05 | 6.3388e-06 | 0.12476 | 0.12476 | 0.12476 | 1 | 0 | 0.9998 | -0.001418 | 46.2068
10 | 0.068891 | 0.017319 | -0.06881 | -0.017288 | 8.091e-05 | 3.0958e-05 | 0.10255 | 0.10255 | 0.10255 | 0.9998 | -0.001418 | 0.99859 | -0.0098599 | 37.9815
11 | 0.050236 | 0.012633 | -0.0501 | -0.012581 | 0.00013651 | 5.1995e-05 | 0.074873 | 0.074874 | 0.074874 | 0.99859 | -0.0098599 | 0.99579 | -0.029411 | 27.731
12 | 0.046075 | 0.011572 | -0.045983 | -0.011537 | 9.1712e-05 | 3.4871e-05 | 0.068859 | 0.06886 | 0.06886 | 0.99579 | -0.029411 | 0.99374 | -0.043757 | 25.5036
13 | 0.044387 | 0.011137 | -0.044384 | -0.011136 | 3.126e-06 | 1.1876e-06 | 0.066469 | 0.066469 | 0.066469 | 0.99374 | -0.043757 | 0.99367 | -0.044265 | 24.618
14 | 0.0063854 | 0.0015985 | -0.006383 | -0.0015981 | 2.3701e-06 | 3.8814e-07 | 0.0096271 | 0.0096273 | 0.0096273 | 0.98689 | -0.092191 | 0.98651 | -0.094878 | 3.5657
15 | -0.0071251 | -0.0017839 | 0.0071326 | 0.0017854 | 7.4943e-06 | 1.5511e-06 | 0.010742 | 0.010742 | 0.010742 | 0.98689 | -0.092191 | 0.98796 | -0.08458 | 3.9787
16 | 0.0055802 | 0.0013969 | -0.0055723 | -0.0013961 | 7.8402e-06 | 7.5424e-07 | 0.0084163 | 0.0084171 | 0.0084171 | 0.98651 | -0.094878 | 0.98508 | -0.10505 | 3.1175
17 | -0.0098708 | -0.0024709 | 0.0098748 | 0.0024721 | 4.0334e-06 | 1.1766e-06 | 0.014866 | 0.014866 | 0.014866 | 0.98796 | -0.08458 | 0.98838 | -0.081622 | 5.5059
18 | 0.0020234 | 0.00050632 | -0.0020233 | -0.00050646 | 7.8578e-08 | -1.4343e-07 | 0.0030472 | 0.0030473 | 0.0030473 | 0.98796 | -0.08458 | 0.98792 | -0.084861 | 1.1286
19 | 0.0046872 | 0.0011743 | -0.0046869 | -0.0011743 | 3.1513e-07 | -7.0444e-09 | 0.0070801 | 0.0070801 | 0.0070801 | 0.98508 | -0.10505 | 0.98502 | -0.10554 | 2.6223
20 | -0.010601 | -0.0026541 | 0.010604 | 0.0026548 | 2.5737e-06 | 7.8229e-07 | 0.015959 | 0.015959 | 0.015959 | 0.98838 | -0.081622 | 0.98863 | -0.079865 | 5.9107
21 | 0.0020233 | 0.00050646 | -0.0020232 | -0.00050659 | 6.971e-08 | -1.2722e-07 | 0.0030473 | 0.0030473 | 0.0030473 | 0.98792 | -0.084861 | 0.98789 | -0.085111 | 1.1286
22 | -0.01468 | -0.0036765 | 0.014688 | 0.0036792 | 7.6526e-06 | 2.621e-06 | 0.022095 | 0.022095 | 0.022095 | 0.98863 | -0.079865 | 0.98916 | -0.076096 | 8.1832
23 | 0.0028937 | 0.00072488 | -0.0028933 | -0.00072512 | 3.5406e-07 | -2.4176e-07 | 0.0043712 | 0.0043713 | 0.0043713 | 0.98502 | -0.10554 | 0.98489 | -0.10642 | 1.619
24 | 0.0011626 | 0.00029137 | -0.0011626 | -0.00029137 | 2.1411e-10 | -1.333e-09 | 0.0017565 | 0.0017565 | 0.0017565 | 0.98489 | -0.10642 | 0.98489 | -0.10642 | 0.65055
25 | 0.0013288 | 0.00033255 | -0.0013288 | -0.00033258 | 5.6842e-09 | -2.6931e-08 | 0.0020014 | 0.0020014 | 0.0020014 | 0.98789 | -0.085111 | 0.98788 | -0.085142 | 0.74125
26 | 0.00058682 | 0.00014662 | -0.00058681 | -0.00014707 | 1.7064e-08 | -4.4164e-07 | 0.00088375 | 0.00088391 | 0.00088391 | 0.98788 | -0.085142 | 0.98785 | -0.085353 | 0.32737
27 | -0.0083856 | -0.0021016 | 0.0083884 | 0.0021023 | 2.766e-06 | 7.0336e-07 | 0.01259 | 0.01259 | 0.01259 | 0.99108 | -0.062489 | 0.99142 | -0.060107 | 4.663
28 | -0.033174 | -0.0083171 | 0.03324 | 0.0083421 | 6.6569e-05 | 2.5047e-05 | 0.049791 | 0.049791 | 0.049791 | 0.99142 | -0.060107 | 0.99347 | -0.045651 | 18.4411
29 | 0.021462 | 0.005382 | -0.021443 | -0.0053751 | 1.8908e-05 | 6.8962e-06 | 0.032214 | 0.032214 | 0.032214 | 0.99142 | -0.060107 | 0.99052 | -0.066469 | 11.9311
30 | 0.04279 | 0.010736 | -0.042787 | -0.010735 | 2.9055e-06 | 1.1028e-06 | 0.064082 | 0.064082 | 0.064082 | 0.99367 | -0.044265 | 0.9936 | -0.044754 | 23.734
31 | 0.04119 | 0.010335 | -0.041187 | -0.010334 | 2.6928e-06 | 1.021e-06 | 0.06169 | 0.06169 | 0.06169 | 0.9936 | -0.044754 | 0.99353 | -0.045225 | 22.8483
32 | -0.037216 | -0.0093387 | 0.037218 | 0.0093395 | 2.1988e-06 | 8.3103e-07 | 0.055746 | 0.055746 | 0.055746 | 0.99347 | -0.045651 | 0.99353 | -0.045225 | 20.6467
33 | 0.019374 | 0.0048565 | -0.019349 | -0.0048473 | 2.557e-05 | 9.2128e-06 | 0.029106 | 0.029106 | 0.029106 | 0.99052 | -0.066469 | 0.98917 | -0.07601 | 10.7799
34 | 0.0030973 | 0.00077618 | -0.0030972 | -0.00077623 | 7.9405e-08 | -4.5334e-08 | 0.0046495 | 0.0046496 | 0.0046496 | 0.99124 | -0.061508 | 0.99121 | -0.061693 | 1.7221
35 | -0.016255 | -0.004072 | 0.016256 | 0.0040721 | 1.9235e-07 | 6.7365e-08 | 0.024453 | 0.024453 | 0.024453 | 0.98916 | -0.076096 | 0.98917 | -0.07601 | 9.0565

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.19062 | 0.047692

## res_load
| p_mw | q_mvar
0 | 0.010809 | 0.002709
1 | 0.016326 | 0.0040916
2 | 0.0012361 | 0.00030979
3 | 0.026949 | 0.0067539
4 | 0.017726 | 0.0044426
5 | 0.018548 | 0.0046486
6 | 0.014922 | 0.0037397
7 | 0.018573 | 0.0046549
8 | 0.0040248 | 0.0010087
9 | 0.0015968 | 0.0004002
10 | 0.00073972 | 0.00018539
11 | 0.00080286 | 0.00020122
12 | 0.0007148 | 0.00017915
13 | 0.00088514 | 0.00022184
14 | 0.00072611 | 0.00018198
15 | 0.0040767 | 0.0010217
16 | 0.0017932 | 0.00044943
17 | 0.0017307 | 0.00043376
18 | 0.00069442 | 0.00017404
19 | 0.00074198 | 0.00018596
20 | 0.00058681 | 0.00014707
21 | 0.0011626 | 0.00029137
22 | 0.0083856 | 0.0021016
23 | 0.0033228 | 0.00083278
24 | 0.0015939 | 0.00039946
25 | 0.0015968 | 0.0004002
26 | 0.0039761 | 0.00099651
27 | 0.0020691 | 0.00051856
28 | 0.0039689 | 0.00099469
29 | 0.010823 | 0.0027124
30 | 0.0030972 | 0.00077623
31 | 0.0015675 | 0.00039285
32 | 0.0030932 | 0.00077524

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1