## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1406-32_0_5_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1406-32_0_5_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1406-32_0_5_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1406-32_0_5_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1406-32_0_5_node_15 | 0.4 | n |  | TRUE
5 | bus_LV_1406-32_0_5_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1406-32_0_5_node_31 | 0.4 | n |  | TRUE
7 | bus_LV_1406-32_0_5_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_1406-32_0_5_node_28 | 0.4 | n |  | TRUE
9 | bus_LV_1406-32_0_5_node_29 | 0.4 | n |  | TRUE
10 | bus_LV_1406-32_0_5_node_27 | 0.4 | n |  | TRUE
11 | bus_LV_1406-32_0_5_node_30 | 0.4 | n |  | TRUE
12 | bus_LV_1406-32_0_5_node_44 | 0.4 | n |  | TRUE
13 | bus_LV_1406-32_0_5_node_39 | 0.4 | n |  | TRUE
14 | bus_LV_1406-32_0_5_node_41 | 0.4 | n |  | TRUE
15 | bus_LV_1406-32_0_5_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_1406-32_0_5_node_6 | 0.4 | n |  | TRUE
17 | bus_LV_1406-32_0_5_node_7 | 0.4 | n |  | TRUE
18 | bus_LV_1406-32_0_5_node_9 | 0.4 | n |  | TRUE
19 | bus_LV_1406-32_0_5_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1406-32_0_5_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_1406-32_0_5_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_1406-32_0_5_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1406-32_0_5_node_59 | 0.4 | n |  | TRUE
24 | bus_LV_1406-32_0_5_node_56 | 0.4 | n |  | TRUE
25 | bus_LV_1406-32_0_5_node_58 | 0.4 | n |  | TRUE
26 | bus_LV_1406-32_0_5_node_43 | 0.4 | n |  | TRUE
27 | bus_LV_1406-32_0_5_node_69 | 0.4 | n |  | TRUE
28 | bus_LV_1406-32_0_5_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_1406-32_0_5_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1406-32_0_5_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_1406-32_0_5_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1406-32_0_5_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1406-32_0_5_node_38 | 0.4 | n |  | TRUE
34 | bus_LV_1406-32_0_5_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1406-32_0_5_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_1406-32_0_5_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_1406-32_0_5_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_1406-32_0_5_node_24 | 0.4 | n |  | TRUE
39 | bus_LV_1406-32_0_5_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_1406-32_0_5_node_33 | 0.4 | n |  | TRUE
41 | bus_LV_1406-32_0_5_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1406-32_0_5_node_48 | 0.4 | n |  | TRUE
43 | bus_LV_1406-32_0_5_node_45 | 0.4 | n |  | TRUE
44 | bus_LV_1406-32_0_5_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_1406-32_0_5_node_35 | 0.4 | n |  | TRUE
46 | bus_LV_1406-32_0_5_node_67 | 0.4 | n |  | TRUE
47 | bus_LV_1406-32_0_5_node_66 | 0.4 | n |  | TRUE
48 | bus_LV_1406-32_0_5_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_1406-32_0_5_node_47 | 0.4 | n |  | TRUE
50 | bus_LV_1406-32_0_5_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_1406-32_0_5_node_50 | 0.4 | n |  | TRUE
52 | bus_LV_1406-32_0_5_node_64 | 0.4 | n |  | TRUE
53 | bus_LV_1406-32_0_5_node_65 | 0.4 | n |  | TRUE
54 | bus_LV_1406-32_0_5_node_61 | 0.4 | n |  | TRUE
55 | bus_LV_1406-32_0_5_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_1406-32_0_5_node_54 | 0.4 | n |  | TRUE
57 | bus_LV_1406-32_0_5_node_51 | 0.4 | n |  | TRUE
58 | bus_LV_1406-32_0_5_node_53 | 0.4 | n |  | TRUE
59 | bus_LV_1406-32_0_5_node_55 | 0.4 | n |  | TRUE
60 | bus_LV_1406-32_0_5_node_57 | 0.4 | n |  | TRUE
61 | bus_LV_1406-32_0_5_node_60 | 0.4 | n |  | TRUE
62 | bus_LV_1406-32_0_5_node_62 | 0.4 | n |  | TRUE
63 | bus_LV_1406-32_0_5_node_63 | 0.4 | n |  | TRUE
64 | bus_MV_138_1_node_262 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1406-32_0_5_load_0 | 0 | 0.0056884 | 0.0014257 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1406-32_0_5_load_2 | 2 | 0.0021665 | 0.00054298 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1406-32_0_5_load_3 | 3 | 0.0055316 | 0.0013864 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1406-32_0_5_load_15 | 4 | 0.0057306 | 0.0014362 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1406-32_0_5_load_31 | 6 | 0.0088163 | 0.0022096 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1406-32_0_5_load_16 | 7 | 0.0051554 | 0.0012921 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1406-32_0_5_load_29 | 9 | 0.0026204 | 0.00065673 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1406-32_0_5_load_27 | 10 | 0.0042407 | 0.0010628 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1406-32_0_5_load_41 | 14 | 0.00021188 | 5.3102e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1406-32_0_5_load_32 | 15 | 0.0026834 | 0.00067252 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1406-32_0_5_load_6 | 16 | 0.00036351 | 9.1105e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1406-32_0_5_load_14 | 19 | 0.00095766 | 0.00024001 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1406-32_0_5_load_11 | 20 | 0.00054999 | 0.00013784 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1406-32_0_5_load_12 | 22 | 0.0010344 | 0.00025923 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1406-32_0_5_load_56 | 24 | 0.0004696 | 0.00011769 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1406-32_0_5_load_43 | 26 | 0.00038333 | 9.6072e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1406-32_0_5_load_69 | 27 | 0.0015945 | 0.00039961 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1406-32_0_5_load_40 | 28 | 0.00065037 | 0.000163 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1406-32_0_5_load_17 | 29 | 0.0088079 | 0.0022075 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1406-32_0_5_load_18 | 30 | 0.0044657 | 0.0011192 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1406-32_0_5_load_38 | 33 | 0.0014611 | 0.0003662 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1406-32_0_5_load_26 | 34 | 0.0022726 | 0.00056958 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1406-32_0_5_load_37 | 35 | 0.013952 | 0.0034968 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1406-32_0_5_load_22 | 37 | 0.0080055 | 0.0020064 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1406-32_0_5_load_24 | 38 | 0.013939 | 0.0034935 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1406-32_0_5_load_25 | 39 | 0.0025532 | 0.00063989 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1406-32_0_5_load_33 | 40 | 0.0010219 | 0.00025612 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1406-32_0_5_load_45 | 43 | 0.012725 | 0.0031893 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1406-32_0_5_load_36 | 44 | 0.0022835 | 0.0005723 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1406-32_0_5_load_35 | 45 | 0.0038948 | 0.00097612 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1406-32_0_5_load_67 | 46 | 0.0023592 | 0.00059128 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1406-32_0_5_load_46 | 48 | 0.002015 | 0.000505 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1406-32_0_5_load_47 | 49 | 0.0020132 | 0.00050456 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1406-32_0_5_load_49 | 50 | 0.0005322 | 0.00013338 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1406-32_0_5_load_64 | 52 | 0.00063569 | 0.00015932 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1406-32_0_5_load_65 | 53 | 0.00068624 | 0.00017199 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1406-32_0_5_load_61 | 54 | 0.00028394 | 7.1161e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1406-32_0_5_load_54 | 56 | 0.0023897 | 0.0005989 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1406-32_0_5_load_51 | 57 | 0.0028154 | 0.0007056 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1406-32_0_5_load_55 | 59 | 0.0043653 | 0.0010941 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1406-32_0_5_load_57 | 60 | 0.00025451 | 6.3787e-05 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1406-32_0_5_load_62 | 62 | 0.00052439 | 0.00013142 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1406-32_0_5_load_63 | 63 | 0.00054552 | 0.00013672 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1406-32_0_5_line_0 | NAYY 4x150 SE | 0 | 1 | 0.013697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1406-32_0_5_line_1 | NAYY 4x150 SE | 1 | 2 | 0.01151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1406-32_0_5_line_2 | NAYY 4x150 SE | 1 | 3 | 0.016126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1406-32_0_5_line_3 | NAYY 4x150 SE | 2 | 4 | 0.015317 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1406-32_0_5_line_4 | NAYY 4x150 SE | 3 | 5 | 0.02678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1406-32_0_5_line_5 | NAYY 4x150 SE | 4 | 7 | 0.023218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1406-32_0_5_line_6 | NAYY 4x150 SE | 5 | 6 | 0.036562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1406-32_0_5_line_7 | NAYY 4x150 SE | 6 | 15 | 0.0049707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1406-32_0_5_line_8 | NAYY 4x150 SE | 7 | 29 | 0.0073036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1406-32_0_5_line_9 | NAYY 4x150 SE | 8 | 9 | 0.032982 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1406-32_0_5_line_10 | NAYY 4x150 SE | 8 | 10 | 0.039799 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1406-32_0_5_line_11 | NAYY 4x150 SE | 9 | 40 | 0.02674 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1406-32_0_5_line_12 | NAYY 4x150 SE | 10 | 29 | 0.024261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1406-32_0_5_line_13 | NAYY 4x150 SE | 11 | 12 | 0.44987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_1406-32_0_5_line_14 | NAYY 4x150 SE | 11 | 13 | 0.16348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1406-32_0_5_line_15 | NAYY 4x150 SE | 11 | 14 | 0.023241 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1406-32_0_5_line_16 | NAYY 4x150 SE | 12 | 42 | 0.14921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1406-32_0_5_line_17 | NAYY 4x150 SE | 12 | 43 | 0.19274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1406-32_0_5_line_18 | NAYY 4x150 SE | 13 | 41 | 0.02056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_1406-32_0_5_line_19 | NAYY 4x150 SE | 13 | 28 | 0.015682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1406-32_0_5_line_20 | NAYY 4x150 SE | 14 | 21 | 0.15909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1406-32_0_5_line_21 | NAYY 4x150 SE | 16 | 17 | 0.080999 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1406-32_0_5_line_22 | NAYY 4x150 SE | 17 | 18 | 0.28388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1406-32_0_5_line_23 | NAYY 4x150 SE | 18 | 19 | 0.017233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1406-32_0_5_line_24 | NAYY 4x150 SE | 18 | 20 | 0.11944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1406-32_0_5_line_25 | NAYY 4x150 SE | 19 | 21 | 0.054641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1406-32_0_5_line_26 | NAYY 4x150 SE | 20 | 22 | 0.037008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1406-32_0_5_line_27 | NAYY 4x150 SE | 21 | 26 | 0.069935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1406-32_0_5_line_28 | NAYY 4x150 SE | 22 | 27 | 0.10894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1406-32_0_5_line_29 | NAYY 4x150 SE | 23 | 24 | 0.042526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1406-32_0_5_line_30 | NAYY 4x150 SE | 23 | 25 | 0.26456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1406-32_0_5_line_31 | NAYY 4x150 SE | 24 | 58 | 0.39467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1406-32_0_5_line_32 | NAYY 4x150 SE | 25 | 61 | 0.085073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1406-32_0_5_line_33 | NAYY 4x150 SE | 25 | 60 | 0.10275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1406-32_0_5_line_34 | NAYY 4x150 SE | 30 | 31 | 0.05553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1406-32_0_5_line_35 | NAYY 4x150 SE | 31 | 32 | 0.011191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1406-32_0_5_line_36 | NAYY 4x150 SE | 32 | 33 | 0.015052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1406-32_0_5_line_37 | NAYY 4x150 SE | 32 | 34 | 0.027213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1406-32_0_5_line_38 | NAYY 4x150 SE | 33 | 35 | 0.027811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1406-32_0_5_line_39 | NAYY 4x150 SE | 34 | 36 | 0.017328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1406-32_0_5_line_40 | NAYY 4x150 SE | 35 | 45 | 0.024343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1406-32_0_5_line_41 | NAYY 4x150 SE | 36 | 39 | 0.0020029 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1406-32_0_5_line_42 | NAYY 4x150 SE | 36 | 37 | 0.021972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1406-32_0_5_line_43 | NAYY 4x150 SE | 37 | 38 | 0.048539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1406-32_0_5_line_44 | NAYY 4x150 SE | 40 | 41 | 0.024295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1406-32_0_5_line_45 | NAYY 4x150 SE | 41 | 44 | 0.037077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1406-32_0_5_line_46 | NAYY 4x150 SE | 42 | 46 | 0.051383 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1406-32_0_5_line_47 | NAYY 4x150 SE | 42 | 47 | 0.22384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1406-32_0_5_line_48 | NAYY 4x150 SE | 43 | 48 | 0.04113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_1406-32_0_5_line_49 | NAYY 4x150 SE | 44 | 45 | 0.010497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1406-32_0_5_line_50 | NAYY 4x150 SE | 47 | 52 | 0.061248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1406-32_0_5_line_51 | NAYY 4x150 SE | 48 | 49 | 0.0058771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
52 | LV_1406-32_0_5_line_52 | NAYY 4x150 SE | 49 | 50 | 0.15541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
53 | LV_1406-32_0_5_line_53 | NAYY 4x150 SE | 50 | 51 | 0.22742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
54 | LV_1406-32_0_5_line_54 | NAYY 4x150 SE | 51 | 54 | 0.022872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1406-32_0_5_line_55 | NAYY 4x150 SE | 51 | 55 | 0.10483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1406-32_0_5_line_56 | NAYY 4x150 SE | 52 | 53 | 0.081874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1406-32_0_5_line_57 | NAYY 4x150 SE | 55 | 56 | 0.086916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1406-32_0_5_line_58 | NAYY 4x150 SE | 55 | 57 | 0.058355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1406-32_0_5_line_59 | NAYY 4x150 SE | 57 | 58 | 0.075602 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1406-32_0_5_line_60 | NAYY 4x150 SE | 58 | 59 | 0.007844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1406-32_0_5_line_61 | NAYY 4x150 SE | 61 | 62 | 0.037283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1406-32_0_5_line_62 | NAYY 4x150 SE | 62 | 63 | 0.029266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1406-32_0_5_trafo_39 | 0.25 MVA 20/0.4 kV | 64 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25 | x26 | y26 | x27 | y27 | x28 | y28 | x29 | y29 | x30 | y30
0 | 2661060.6988 | 1190873.2675 | 2661074.3462 | 1190872.1084
1 | 2661060.6988 | 1190873.2675 | 2661056.4404 | 1190862.5738
2 | 2661060.6988 | 1190873.2675 | 2661056.8326 | 1190874.0397 | 2661052.7291 | 1190874.9094 | 2661048.8234 | 1190877.3154 | 2661046.6046 | 1190879.8943
3 | 2661056.4404 | 1190862.5738 | 2661055.5912 | 1190860.4414 | 2661051.228 | 1190848.1726
4 | 2661029.1387 | 1190900.1946 | 2661046.6046 | 1190879.8943
5 | 2661043.4482 | 1190826.2966 | 2661051.228 | 1190848.1726
6 | 2661029.1387 | 1190900.1946 | 2661025.5981 | 1190892.2206 | 2661007.9304 | 1190870.7082
7 | 2661007.9304 | 1190870.7082 | 2661004.7756 | 1190866.8669
8 | 2661043.4482 | 1190826.2966 | 2661041.001 | 1190819.4151
9 | 2661021.6919 | 1190758.5707 | 2661027.7172 | 1190755.4414 | 2661047.8925 | 1190738.7373
10 | 2661021.6919 | 1190758.5707 | 2661023.8368 | 1190772.5673 | 2661028.6912 | 1190784.8015 | 2661032.8719 | 1190796.5571
11 | 2661047.8925 | 1190738.7373 | 2661056.5937 | 1190731.5331 | 2661065.5377 | 1190718.9428
12 | 2661041.001 | 1190819.4151 | 2661032.8719 | 1190796.5571
13 | 2660883.2404 | 1190264.6892 | 2660891.3636 | 1190272.0093 | 2660899.8674 | 1190280.156 | 2660905.439 | 1190294.6766 | 2660910.6294 | 1190328.6599 | 2660914.1099 | 1190342.5922 | 2660922.3492 | 1190357.9737 | 2660937.9079 | 1190381.7123 | 2660954.2776 | 1190406.6821 | 2660986.2053 | 1190455.4018 | 2660996.7402 | 1190469.973 | 2661003.9404 | 1190475.0493 | 2661028.3753 | 1190491.9857 | 2661035.9206 | 1190499.8449 | 2661042.2816 | 1190512.4281 | 2661048.1914 | 1190532.611 | 2661052.3613 | 1190544.6938 | 2661056.1448 | 1190560.2635 | 2661059.3369 | 1190571.0134 | 2661074.3972 | 1190567.2759 | 2661095.2132 | 1190563.6751 | 2661125.8332 | 1190558.807 | 2661144.4996 | 1190557.3856
14 | 2661094.8753 | 1190685.6639 | 2661092.8286 | 1190672.5244 | 2661088.3222 | 1190670.2771 | 2661087.9821 | 1190666.238 | 2661090.4189 | 1190663.5724 | 2661101.7116 | 1190660.6193 | 2661104.4156 | 1190660.1688 | 2661110.7302 | 1190654.8524 | 2661112.0996 | 1190652.176 | 2661107.5771 | 1190642.5354 | 2661108.1388 | 1190634.5699 | 2661109.5148 | 1190631.9936 | 2661103.0927 | 1190619.4542 | 2661103.6601 | 1190614.6683 | 2661106.9136 | 1190605.9521 | 2661110.205 | 1190600.249 | 2661120.8938 | 1190589.2407 | 2661142.3651 | 1190564.7903 | 2661144.4996 | 1190557.3856
15 | 2661144.4996 | 1190557.3856 | 2661159.0088 | 1190553.098 | 2661166.6066 | 1190550.2585
16 | 2660829.874 | 1190139.4751 | 2660835.9356 | 1190151.5881 | 2660841.3718 | 1190179.4482 | 2660851.2946 | 1190216.8148 | 2660865.1751 | 1190258.6688 | 2660869.4964 | 1190265.6612 | 2660873.8496 | 1190268.7739 | 2660879.3806 | 1190268.5522 | 2660883.2404 | 1190264.6892
17 | 2660883.2404 | 1190264.6892 | 2660876.0738 | 1190256.2782 | 2660875.1998 | 1190248.4871 | 2660877.928 | 1190242.667 | 2660883.3071 | 1190239.3865 | 2660890.3716 | 1190238.3466 | 2660896.543 | 1190241.1332 | 2660915.6988 | 1190257.6486 | 2660937.5888 | 1190273.7472 | 2660956.4293 | 1190286.0015 | 2660983.9563 | 1190298.1776 | 2661005.4 | 1190305.6558 | 2661022.8711 | 1190314.2353
18 | 2661094.8753 | 1190685.6639 | 2661086.6716 | 1190690.7943 | 2661079.9423 | 1190699.3861
19 | 2661094.8753 | 1190685.6639 | 2661110.4701 | 1190687.313
20 | 2661315.1585 | 1190581.789 | 2661290.6561 | 1190579.0032 | 2661273.6869 | 1190569.5797 | 2661246.0438 | 1190558.4905 | 2661228.499 | 1190546.4375 | 2661218.9353 | 1190542.8488 | 2661204.2676 | 1190540.9978 | 2661191.9066 | 1190542.4946 | 2661176.2089 | 1190546.6699 | 2661166.6066 | 1190550.2585
21 | 2661521.3978 | 1190698.7603 | 2661508.2831 | 1190667.5299 | 2661485.4797 | 1190637.4562 | 2661487.6172 | 1190628.3173
22 | 2661276.6961 | 1190620.5064 | 2661343.9619 | 1190615.0475 | 2661385.1895 | 1190607.8881 | 2661394.9408 | 1190616.9599 | 2661425.176 | 1190651.0785 | 2661440.5982 | 1190664.0775 | 2661470.0234 | 1190681.9786 | 2661485.7597 | 1190695.5591 | 2661498.3972 | 1190705.7169 | 2661521.3978 | 1190698.7603
23 | 2661276.6961 | 1190620.5064 | 2661270.3404 | 1190604.4877
24 | 2661276.6961 | 1190620.5064 | 2661291.9644 | 1190643.3536 | 2661308.7681 | 1190665.1937 | 2661340.9413 | 1190697.7307 | 2661354.5712 | 1190710.457
25 | 2661315.1585 | 1190581.789 | 2661315.6084 | 1190584.7619 | 2661313.6638 | 1190588.4997 | 2661311.111 | 1190590.5637 | 2661298.2055 | 1190599.8258 | 2661270.3404 | 1190604.4877
26 | 2661381.6214 | 1190735.7139 | 2661354.5712 | 1190710.457
27 | 2661315.1585 | 1190581.789 | 2661323.111 | 1190577.4012 | 2661332.6644 | 1190570.0837 | 2661339.9383 | 1190564.1993 | 2661355.5607 | 1190527.9607
28 | 2661381.6214 | 1190735.7139 | 2661309.2702 | 1190817.1528
29 | 2661478.3311 | 1190236.9304 | 2661481.7199 | 1190241.8347 | 2661483.0428 | 1190245.1946 | 2661482.7278 | 1190249.883 | 2661481.675 | 1190253.6299 | 2661479.4174 | 1190257.3755 | 2661474.8331 | 1190260.4635 | 2661462.0085 | 1190267.1488
30 | 2661478.3311 | 1190236.9304 | 2661475.1589 | 1190234.6854 | 2661471.07 | 1190233.3427 | 2661467.3243 | 1190232.7372 | 2661438.1744 | 1190233.8498 | 2661432.6252 | 1190232.8701 | 2661426.7764 | 1190230.62 | 2661422.2293 | 1190227.8495 | 2661415.4411 | 1190222.021 | 2661354.2773 | 1190155.4892 | 2661317.3656 | 1190105.816 | 2661315.4421 | 1190102.2609 | 2661314.3502 | 1190098.681 | 2661314.0375 | 1190095.6983 | 2661314.2209 | 1190091.9425 | 2661315.0026 | 1190088.593 | 2661316.3729 | 1190085.8499 | 2661310.5082 | 1190074.7057 | 2661305.8094 | 1190064.3961
31 | 2661126.5519 | 1190097.1716 | 2661129.8769 | 1190094.9264 | 2661133.274 | 1190093.8383 | 2661136.1823 | 1190093.5567 | 2661138.9533 | 1190094.0408 | 2661141.9833 | 1190095.2947 | 2661144.8039 | 1190096.8799 | 2661149.9571 | 1190101.5575 | 2661155.862 | 1190107.2988 | 2661193.6792 | 1190141.627 | 2661209.5744 | 1190154.7859 | 2661224.5807 | 1190166.1236 | 2661242.4477 | 1190178.8469 | 2661254.3927 | 1190188.2633 | 2661270.922 | 1190202.0292 | 2661285.1793 | 1190214.2488 | 2661292.4374 | 1190218.8924 | 2661297.9559 | 1190221.3836 | 2661306.2027 | 1190224.0474 | 2661329.7546 | 1190230.4255 | 2661348.4712 | 1190236.8542 | 2661372.3631 | 1190246.5157 | 2661389.4355 | 1190254.1284 | 2661408.1655 | 1190264.4374 | 2661421.2806 | 1190271.9985 | 2661428.0216 | 1190274.9916 | 2661434.0264 | 1190276.1538 | 2661439.8869 | 1190275.7804 | 2661446.9456 | 1190273.8183 | 2661455.8423 | 1190270.3632 | 2661462.0085 | 1190267.1488
32 | 2661375.2577 | 1190093.6242 | 2661328.4845 | 1190082.7277 | 2661324.5988 | 1190082.3766 | 2661321.4537 | 1190082.689 | 2661318.5968 | 1190083.8938 | 2661316.3729 | 1190085.8499 | 2661310.5082 | 1190074.7057 | 2661305.8094 | 1190064.3961
33 | 2661305.8094 | 1190064.3961 | 2661299.6371 | 1190057.9626 | 2661286.195 | 1190042.0604 | 2661279.0769 | 1190034.9056 | 2661272.9253 | 1190029.4284 | 2661260.0393 | 1190021.0251 | 2661239.6213 | 1190009.3763 | 2661225.8082 | 1190001.7308
34 | 2661127.4036 | 1190802.9855 | 2661125.2234 | 1190805.9205 | 2661124.9883 | 1190808.7752 | 2661127.6801 | 1190825.9348 | 2661127.6313 | 1190830.7148 | 2661126.5593 | 1190834.8841 | 2661125.1096 | 1190837.215 | 2661112.7212 | 1190852.6733
35 | 2661119.6553 | 1190794.8906 | 2661127.4036 | 1190802.9855
36 | 2661119.6553 | 1190794.8906 | 2661123.1824 | 1190786.9999 | 2661125.0292 | 1190780.8624
37 | 2661119.6553 | 1190794.8906 | 2661106.2585 | 1190788.1167 | 2661094.5968 | 1190784.5294
38 | 2661125.0292 | 1190780.8624 | 2661126.6475 | 1190775.4842 | 2661126.6557 | 1190770.9483 | 2661122.2561 | 1190765.7115 | 2661117.7008 | 1190755.898
39 | 2661078.0349 | 1190779.4349 | 2661094.5968 | 1190784.5294
40 | 2661107.844 | 1190733.646 | 2661111.5644 | 1190742.678 | 2661117.7008 | 1190755.898
41 | 2661078.0349 | 1190779.4349 | 2661076.1567 | 1190778.7393
42 | 2661078.0349 | 1190779.4349 | 2661077.1717 | 1190787.0638 | 2661081.7632 | 1190794.4148 | 2661086.5035 | 1190797.4477
43 | 2661107.0079 | 1190825.2456 | 2661113.3161 | 1190817.5612 | 2661114.2841 | 1190809.3775 | 2661104.7739 | 1190805.0668 | 2661091.2631 | 1190800.493 | 2661086.5035 | 1190797.4477
44 | 2661079.9423 | 1190699.3861 | 2661074.5729 | 1190706.2242 | 2661065.5377 | 1190718.9428
45 | 2661079.9423 | 1190699.3861 | 2661093.4632 | 1190711.2086 | 2661106.1718 | 1190725.489
46 | 2660829.874 | 1190139.4751 | 2660828.7435 | 1190142.6655 | 2660825.6406 | 1190147.0809 | 2660821.6533 | 1190155.234 | 2660814.4737 | 1190164.5887 | 2660809.2465 | 1190174.6858 | 2660805.8404 | 1190184.4734
47 | 2660829.874 | 1190139.4751 | 2660777.3289 | 1189921.8948
48 | 2661022.8711 | 1190314.2353 | 2661046.2524 | 1190325.717 | 2661060.2311 | 1190331.3773
49 | 2661107.844 | 1190733.646 | 2661107.844 | 1190733.646 | 2661110.2972 | 1190730.1246 | 2661106.1718 | 1190725.489
50 | 2660777.3289 | 1189921.8948 | 2660792.7768 | 1189910.9119 | 2660813.8755 | 1189888.7023 | 2660823.9611 | 1189882.8515
51 | 2661065.6785 | 1190333.5831 | 2661060.2311 | 1190331.3773
52 | 2661065.6785 | 1190333.5831 | 2661077.9664 | 1190338.5588 | 2661103.6146 | 1190345.7468 | 2661131.8968 | 1190357.8424 | 2661163.0396 | 1190377.2937 | 2661190.6919 | 1190398.0214 | 2661197.9318 | 1190402.1867 | 2661202.708 | 1190404.0568
53 | 2661224.0769 | 1190308.5669 | 2661229.6002 | 1190332.2036 | 2661232.5148 | 1190342.4837 | 2661236.1996 | 1190351.2709 | 2661239.7583 | 1190356.7326 | 2661244.7687 | 1190362.665 | 2661286.1812 | 1190406.8585 | 2661288.6834 | 1190409.7413 | 2661289.611 | 1190412.2412 | 2661290.48 | 1190415.2518 | 2661290.251 | 1190418.2512 | 2661288.8003 | 1190421.4048 | 2661286.2292 | 1190424.5136 | 2661281.7885 | 1190427.0029 | 2661276.7718 | 1190427.652 | 2661272.2719 | 1190426.9833 | 2661206.241 | 1190405.4402 | 2661202.708 | 1190404.0568
54 | 2661224.0769 | 1190308.5669 | 2661244.7792 | 1190318.4175
55 | 2661190.647 | 1190209.9686 | 2661201.6565 | 1190228.0915 | 2661203.8618 | 1190232.4276 | 2661205.0027 | 1190236.4416 | 2661224.0769 | 1190308.5669
56 | 2660823.9611 | 1189882.8515 | 2660839.038 | 1189874.105 | 2660857.237 | 1189848.3418 | 2660863.5732 | 1189816.0571
57 | 2661190.647 | 1190209.9686 | 2661161.9088 | 1190199.9026 | 2661148.2732 | 1190200.6971 | 2661120.4475 | 1190233.443
58 | 2661190.647 | 1190209.9686 | 2661161.5314 | 1190166.6797 | 2661158.0874 | 1190161.5412
59 | 2661126.5519 | 1190097.1716 | 2661124.766 | 1190098.7987 | 2661123.6612 | 1190101.6891 | 2661123.5234 | 1190104.7339 | 2661123.7459 | 1190108.3382 | 2661124.8864 | 1190111.6518 | 2661135.4065 | 1190127.7017 | 2661158.0874 | 1190161.5412
60 | 2661126.5519 | 1190097.1716 | 2661120.2705 | 1190092.4492
61 | 2661375.2577 | 1190093.6242 | 2661376.4439 | 1190096.9383 | 2661378.5162 | 1190100.1058 | 2661385.3091 | 1190106.2345 | 2661398.3385 | 1190114.7507 | 2661403.011 | 1190117.1736
62 | 2661428.9299 | 1190130.7625 | 2661418.2205 | 1190125.0605 | 2661403.011 | 1190117.1736

## bus_geodata
| x | y | coords
0 | 2661074.3462 | 1190872.1084
1 | 2661060.6988 | 1190873.2675
2 | 2661056.4404 | 1190862.5738
3 | 2661046.6046 | 1190879.8943
4 | 2661051.228 | 1190848.1726
5 | 2661029.1387 | 1190900.1946
6 | 2661007.9304 | 1190870.7082
7 | 2661043.4482 | 1190826.2966
8 | 2661021.6919 | 1190758.5707
9 | 2661047.8925 | 1190738.7373
10 | 2661032.8719 | 1190796.5571
11 | 2661144.4996 | 1190557.3856
12 | 2660883.2404 | 1190264.6892
13 | 2661094.8753 | 1190685.6639
14 | 2661166.6066 | 1190550.2585
15 | 2661004.7756 | 1190866.8669
16 | 2661487.6172 | 1190628.3173
17 | 2661521.3978 | 1190698.7603
18 | 2661276.6961 | 1190620.5064
19 | 2661270.3404 | 1190604.4877
20 | 2661354.5712 | 1190710.457
21 | 2661315.1585 | 1190581.789
22 | 2661381.6214 | 1190735.7139
23 | 2661478.3311 | 1190236.9304
24 | 2661462.0085 | 1190267.1488
25 | 2661305.8094 | 1190064.3961
26 | 2661355.5607 | 1190527.9607
27 | 2661309.2702 | 1190817.1528
28 | 2661110.4701 | 1190687.313
29 | 2661041.001 | 1190819.4151
30 | 2661112.7212 | 1190852.6733
31 | 2661127.4036 | 1190802.9855
32 | 2661119.6553 | 1190794.8906
33 | 2661125.0292 | 1190780.8624
34 | 2661094.5968 | 1190784.5294
35 | 2661117.7008 | 1190755.898
36 | 2661078.0349 | 1190779.4349
37 | 2661086.5035 | 1190797.4477
38 | 2661107.0079 | 1190825.2456
39 | 2661076.1567 | 1190778.7393
40 | 2661065.5377 | 1190718.9428
41 | 2661079.9423 | 1190699.3861
42 | 2660829.874 | 1190139.4751
43 | 2661022.8711 | 1190314.2353
44 | 2661106.1718 | 1190725.489
45 | 2661107.844 | 1190733.646
46 | 2660805.8404 | 1190184.4734
47 | 2660777.3289 | 1189921.8948
48 | 2661060.2311 | 1190331.3773
49 | 2661065.6785 | 1190333.5831
50 | 2661202.708 | 1190404.0568
51 | 2661224.0769 | 1190308.5669
52 | 2660823.9611 | 1189882.8515
53 | 2660863.5732 | 1189816.0571
54 | 2661244.7792 | 1190318.4175
55 | 2661190.647 | 1190209.9686
56 | 2661120.4475 | 1190233.443
57 | 2661158.0874 | 1190161.5412
58 | 2661126.5519 | 1190097.1716
59 | 2661120.2705 | 1190092.4492
60 | 2661225.8082 | 1190001.7308
61 | 2661375.2577 | 1190093.6242
62 | 2661403.011 | 1190117.1736
63 | 2661428.9299 | 1190130.7625
64 | 2661079.9423 | 1190699.3861

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98546 | -0.10193 | 0.0056884 | 0.0014257
1 | 0.98558 | -0.10113 | 0 | 0
2 | 0.98595 | -0.098442 | 0.0021665 | 0.00054298
3 | 0.98518 | -0.10395 | 0.0055316 | 0.0013864
4 | 0.98651 | -0.094529 | 0.0057306 | 0.0014362
5 | 0.98473 | -0.10712 | 0 | 0
6 | 0.98412 | -0.11145 | 0.0088163 | 0.0022096
7 | 0.98753 | -0.087243 | 0.0051554 | 0.0012921
8 | 0.99228 | -0.053765 | 0 | 0
9 | 0.99461 | -0.037474 | 0.0026204 | 0.00065673
10 | 0.98948 | -0.073523 | 0.0042407 | 0.0010628
11 | 0.99552 | -0.031301 | 0 | 0
12 | 0.98484 | -0.10675 | 0 | 0
13 | 1 | 0 | -0.14633 | -0.036648
14 | 0.99535 | -0.032515 | 0.00021188 | 5.3102e-05
15 | 0.9841 | -0.11159 | 0.0026834 | 0.00067252
16 | 0.99361 | -0.045035 | 0.00036351 | 9.1105e-05
17 | 0.99365 | -0.044734 | 0 | 0
18 | 0.9938 | -0.043629 | 0 | 0
19 | 0.99388 | -0.043001 | 0.00095766 | 0.00024001
20 | 0.99325 | -0.047492 | 0.00054999 | 0.00013784
21 | 0.99424 | -0.040482 | 0 | 0
22 | 0.99311 | -0.048481 | 0.0010344 | 0.00025923
23 | 0.9726 | -0.19522 | 0 | 0
24 | 0.97268 | -0.1946 | 0.0004696 | 0.00011769
25 | 0.97208 | -0.19902 | 0 | 0
26 | 0.9942 | -0.040755 | 0.00038333 | 9.6072e-05
27 | 0.99286 | -0.050245 | 0.0015945 | 0.00039961
28 | 0.99999 | -0.00010191 | 0.00065037 | 0.000163
29 | 0.98791 | -0.084569 | 0.0088079 | 0.0022075
30 | 0.99081 | -0.064348 | 0.0044657 | 0.0011192
31 | 0.99116 | -0.061827 | 0 | 0
32 | 0.99124 | -0.061318 | 0 | 0
33 | 0.99191 | -0.056543 | 0.0014611 | 0.0003662
34 | 0.99019 | -0.068729 | 0.0022726 | 0.00056958
35 | 0.99322 | -0.047325 | 0.013952 | 0.0034968
36 | 0.98957 | -0.073054 | 0 | 0
37 | 0.98888 | -0.077973 | 0.0080055 | 0.0020064
38 | 0.9879 | -0.084886 | 0.013939 | 0.0034935
39 | 0.98957 | -0.073106 | 0.0025532 | 0.00063989
40 | 0.9966 | -0.023617 | 0.0010219 | 0.00025612
41 | 0.99844 | -0.010826 | 0 | 0
42 | 0.98404 | -0.11248 | 0 | 0
43 | 0.98078 | -0.13578 | 0.012725 | 0.0031893
44 | 0.99562 | -0.030501 | 0.0022835 | 0.0005723
45 | 0.99486 | -0.03585 | 0.0038948 | 0.00097612
46 | 0.98387 | -0.11373 | 0.0023592 | 0.00059128
47 | 0.98361 | -0.11558 | 0 | 0
48 | 0.98029 | -0.13928 | 0.002015 | 0.000505
49 | 0.98023 | -0.13972 | 0.0020132 | 0.00050456
50 | 0.97884 | -0.14971 | 0.0005322 | 0.00013338
51 | 0.97691 | -0.16371 | 0 | 0
52 | 0.9835 | -0.11643 | 0.00063569 | 0.00015932
53 | 0.98342 | -0.11701 | 0.00068624 | 0.00017199
54 | 0.9769 | -0.16377 | 0.00028394 | 7.1161e-05
55 | 0.97516 | -0.17631 | 0 | 0
56 | 0.97486 | -0.1785 | 0.0023897 | 0.0005989
57 | 0.9744 | -0.18187 | 0.0028154 | 0.0007056
58 | 0.97372 | -0.18685 | 0 | 0
59 | 0.97367 | -0.18721 | 0.0043653 | 0.0010941
60 | 0.97205 | -0.1993 | 0.00025451 | 6.3787e-05
61 | 0.97195 | -0.19999 | 0 | 0
62 | 0.97189 | -0.20041 | 0.00052439 | 0.00013142
63 | 0.97187 | -0.20058 | 0.00054552 | 0.00013672
64 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0056884 | -0.0014257 | 0.0056891 | 0.0014257 | 6.3054e-07 | 6.7993e-08 | 0.0085894 | 0.0085893 | 0.0085894 | 0.98546 | -0.10193 | 0.98558 | -0.10113 | 3.1812
1 | -0.022739 | -0.0057003 | 0.022748 | 0.0057034 | 8.4658e-06 | 3.1094e-06 | 0.034332 | 0.034332 | 0.034332 | 0.98558 | -0.10113 | 0.98595 | -0.098442 | 12.7155
2 | 0.01705 | 0.0042746 | -0.017043 | -0.0042722 | 6.6685e-06 | 2.3594e-06 | 0.025743 | 0.025743 | 0.025743 | 0.98558 | -0.10113 | 0.98518 | -0.10395 | 9.5343
3 | -0.024914 | -0.0062464 | 0.024928 | 0.0062514 | 1.3513e-05 | 5.002e-06 | 0.037602 | 0.037601 | 0.037602 | 0.98595 | -0.098442 | 0.98651 | -0.094529 | 13.9265
4 | 0.011512 | 0.0028859 | -0.011507 | -0.0028842 | 5.0521e-06 | 1.6023e-06 | 0.017388 | 0.017388 | 0.017388 | 0.98518 | -0.10395 | 0.98473 | -0.10712 | 6.4399
5 | -0.030658 | -0.0076876 | 0.030689 | 0.0076992 | 3.0985e-05 | 1.1621e-05 | 0.046245 | 0.046245 | 0.046245 | 0.98651 | -0.094529 | 0.98753 | -0.087243 | 17.1279
6 | 0.011507 | 0.0028842 | -0.0115 | -0.0028821 | 6.8978e-06 | 2.1881e-06 | 0.017388 | 0.017388 | 0.017388 | 0.98473 | -0.10712 | 0.98412 | -0.11145 | 6.44
7 | 0.0026834 | 0.00067248 | -0.0026834 | -0.00067252 | 5.1062e-08 | -4.3517e-08 | 0.0040574 | 0.0040574 | 0.0040574 | 0.98412 | -0.11145 | 0.9841 | -0.11159 | 1.5028
8 | -0.035845 | -0.0089913 | 0.035858 | 0.0089963 | 1.3296e-05 | 5.0204e-06 | 0.054013 | 0.054013 | 0.054013 | 0.98753 | -0.087243 | 0.98791 | -0.084569 | 20.005
9 | -0.04911 | -0.012344 | 0.049221 | 0.012386 | 0.00011166 | 4.2519e-05 | 0.073657 | 0.073657 | 0.073657 | 0.99228 | -0.053765 | 0.99461 | -0.037474 | 27.2804
10 | 0.04911 | 0.012344 | -0.048975 | -0.012293 | 0.00013474 | 5.1309e-05 | 0.073657 | 0.073657 | 0.073657 | 0.99228 | -0.053765 | 0.98948 | -0.073523 | 27.2805
11 | -0.051842 | -0.013043 | 0.051942 | 0.013081 | 0.00010042 | 3.8275e-05 | 0.077577 | 0.077577 | 0.077577 | 0.99461 | -0.037474 | 0.9966 | -0.023617 | 28.7323
12 | 0.044734 | 0.01123 | -0.044666 | -0.011204 | 6.8526e-05 | 2.6045e-05 | 0.06728 | 0.06728 | 0.06728 | 0.98948 | -0.073523 | 0.98791 | -0.084569 | 24.9185
13 | 0.033163 | 0.0083341 | -0.032818 | -0.008213 | 0.00034502 | 0.00012113 | 0.049577 | 0.049582 | 0.049582 | 0.99552 | -0.031301 | 0.98484 | -0.10675 | 9.1818
14 | -0.038269 | -0.0096028 | 0.038436 | 0.0096627 | 0.00016691 | 5.9925e-05 | 0.057205 | 0.057204 | 0.057205 | 0.99552 | -0.031301 | 1 | 0 | 10.5935
15 | 0.0051057 | 0.0012687 | -0.0051049 | -0.0012686 | 8.4378e-07 | 2.2408e-08 | 0.0076277 | 0.0076279 | 0.0076279 | 0.99552 | -0.031301 | 0.99535 | -0.032515 | 2.8251
16 | 0.0036852 | 0.00091694 | -0.0036823 | -0.00091773 | 2.8846e-06 | -7.8764e-07 | 0.0055657 | 0.0055664 | 0.0055664 | 0.98484 | -0.10675 | 0.98404 | -0.11248 | 2.0616
17 | 0.029133 | 0.0072961 | -0.029016 | -0.0072561 | 0.00011651 | 3.9927e-05 | 0.044016 | 0.044018 | 0.044018 | 0.98484 | -0.10675 | 0.98078 | -0.13578 | 8.1514
18 | 0.10644 | 0.026823 | -0.10628 | -0.026761 | 0.00016103 | 6.1395e-05 | 0.15844 | 0.15844 | 0.15844 | 1 | 0 | 0.99844 | -0.010826 | 29.3404
19 | 0.00065038 | 0.0001628 | -0.00065037 | -0.000163 | 9.1642e-09 | -2.0221e-07 | 0.0009677 | 0.00096778 | 0.00096778 | 1 | 0 | 0.99999 | -0.00010191 | 0.35844
20 | 0.004893 | 0.0012155 | -0.0048877 | -0.0012156 | 5.3067e-06 | -2.4383e-08 | 0.0073111 | 0.0073118 | 0.0073118 | 0.99535 | -0.032515 | 0.99424 | -0.040482 | 2.7081
21 | -0.00036351 | -9.1105e-05 | 0.00036353 | 9.0062e-05 | 1.4969e-08 | -1.0434e-06 | 0.00054439 | 0.00054403 | 0.00054439 | 0.99361 | -0.045035 | 0.99365 | -0.044734 | 0.20163
22 | -0.00036353 | -9.0062e-05 | 0.00036358 | 8.6404e-05 | 5.2305e-08 | -3.6576e-06 | 0.00054403 | 0.00054277 | 0.00054403 | 0.99365 | -0.044734 | 0.9938 | -0.043629 | 0.20149
23 | -0.0035448 | -0.00088059 | 0.0035451 | 0.00088049 | 3.0263e-07 | -1.0692e-07 | 0.005305 | 0.0053049 | 0.005305 | 0.9938 | -0.043629 | 0.99388 | -0.043001 | 1.9648
24 | 0.0031813 | 0.00079419 | -0.0031796 | -0.00079509 | 1.6905e-06 | -8.9658e-07 | 0.0047622 | 0.0047628 | 0.0047628 | 0.9938 | -0.043629 | 0.99325 | -0.047492 | 1.764
25 | -0.0045028 | -0.0011205 | 0.0045044 | 0.0011204 | 1.5482e-06 | -1.1289e-07 | 0.0067387 | 0.0067384 | 0.0067387 | 0.99388 | -0.043001 | 0.99424 | -0.040482 | 2.4958
26 | 0.0026296 | 0.00065725 | -0.0026292 | -0.00065759 | 3.5829e-07 | -3.4112e-07 | 0.0039388 | 0.003939 | 0.003939 | 0.99325 | -0.047492 | 0.99311 | -0.048481 | 1.4589
27 | 0.00038335 | 9.5171e-05 | -0.00038333 | -9.6072e-05 | 1.4357e-08 | -9.014e-07 | 0.00057341 | 0.00057373 | 0.00057373 | 0.99424 | -0.040482 | 0.9942 | -0.040755 | 0.21249
28 | 0.0015949 | 0.00039835 | -0.0015945 | -0.00039961 | 3.8809e-07 | -1.2599e-06 | 0.0023892 | 0.0023897 | 0.0023897 | 0.99311 | -0.048481 | 0.99286 | -0.050245 | 0.88506
29 | -0.0013253 | -0.00032584 | 0.0013254 | 0.00032536 | 1.0885e-07 | -4.8594e-07 | 0.0020254 | 0.0020252 | 0.0020254 | 0.9726 | -0.19522 | 0.97268 | -0.1946 | 0.75015
30 | 0.0013253 | 0.00032584 | -0.0013246 | -0.00032886 | 6.7762e-07 | -3.0209e-06 | 0.0020254 | 0.0020266 | 0.0020266 | 0.9726 | -0.19522 | 0.97208 | -0.19902 | 0.75058
31 | -0.001795 | -0.00044305 | 0.0017969 | 0.00043886 | 1.8527e-06 | -4.1914e-06 | 0.0027436 | 0.0027419 | 0.0027436 | 0.97268 | -0.1946 | 0.97372 | -0.18685 | 1.0162
32 | 0.0010701 | 0.00026635 | -0.00107 | -0.00026735 | 1.4236e-07 | -9.9976e-07 | 0.0016374 | 0.0016378 | 0.0016378 | 0.97208 | -0.19902 | 0.97195 | -0.19999 | 0.60659
33 | 0.00025452 | 6.2517e-05 | -0.00025451 | -6.3787e-05 | 9.7208e-09 | -1.27e-06 | 0.00038915 | 0.00038961 | 0.00038961 | 0.97208 | -0.19902 | 0.97205 | -0.1993 | 0.1443
34 | -0.0044657 | -0.0011192 | 0.0044673 | 0.0011191 | 1.5585e-06 | -1.16e-07 | 0.0067067 | 0.0067065 | 0.0067067 | 0.99081 | -0.064348 | 0.99116 | -0.061827 | 2.484
35 | -0.0044673 | -0.0011191 | 0.0044676 | 0.0011191 | 3.1408e-07 | -2.3445e-08 | 0.0067065 | 0.0067064 | 0.0067065 | 0.99116 | -0.061827 | 0.99124 | -0.061318 | 2.4839
36 | -0.031309 | -0.0078541 | 0.03133 | 0.0078619 | 2.0751e-05 | 7.787e-06 | 0.047003 | 0.047003 | 0.047003 | 0.99124 | -0.061318 | 0.99191 | -0.056543 | 17.4084
37 | 0.026841 | 0.006735 | -0.026814 | -0.0067248 | 2.7574e-05 | 1.0255e-05 | 0.040296 | 0.040296 | 0.040296 | 0.99124 | -0.061318 | 0.99019 | -0.068729 | 14.9246
38 | -0.032791 | -0.0082281 | 0.032833 | 0.0082439 | 4.1999e-05 | 1.5794e-05 | 0.049195 | 0.049194 | 0.049195 | 0.99191 | -0.056543 | 0.99322 | -0.047325 | 18.2202
39 | 0.024541 | 0.0061552 | -0.024526 | -0.0061498 | 1.4707e-05 | 5.434e-06 | 0.036881 | 0.036881 | 0.036881 | 0.99019 | -0.068729 | 0.98957 | -0.073054 | 13.6597
40 | -0.046785 | -0.011741 | 0.04686 | 0.011769 | 7.4638e-05 | 2.8391e-05 | 0.070097 | 0.070097 | 0.070097 | 0.99322 | -0.047325 | 0.99486 | -0.03585 | 25.9619
41 | 0.0025532 | 0.00063988 | -0.0025532 | -0.00063989 | 1.8422e-08 | -1.8646e-08 | 0.0038393 | 0.0038393 | 0.0038393 | 0.98957 | -0.073054 | 0.98957 | -0.073106 | 1.422
42 | 0.021973 | 0.0055099 | -0.021958 | -0.0055044 | 1.4969e-05 | 5.4752e-06 | 0.033042 | 0.033042 | 0.033042 | 0.98957 | -0.073054 | 0.98888 | -0.077973 | 12.2378
43 | 0.013953 | 0.0034981 | -0.013939 | -0.0034935 | 1.3352e-05 | 4.5133e-06 | 0.020996 | 0.020996 | 0.020996 | 0.98888 | -0.077973 | 0.9879 | -0.084886 | 7.7763
44 | -0.052964 | -0.013338 | 0.053059 | 0.013374 | 9.4863e-05 | 3.6168e-05 | 0.079103 | 0.079103 | 0.079103 | 0.9966 | -0.023617 | 0.99844 | -0.010826 | 29.2974
45 | 0.053221 | 0.013387 | -0.053076 | -0.013332 | 0.00014562 | 5.5524e-05 | 0.079335 | 0.079335 | 0.079335 | 0.99844 | -0.010826 | 0.99562 | -0.030501 | 29.3835
46 | 0.0023597 | 0.00059079 | -0.0023592 | -0.00059128 | 4.0819e-07 | -4.9565e-07 | 0.0035679 | 0.0035682 | 0.0035682 | 0.98404 | -0.11248 | 0.98387 | -0.11373 | 1.3215
47 | 0.0013227 | 0.00032694 | -0.0013221 | -0.00032957 | 5.5813e-07 | -2.6277e-06 | 0.0019985 | 0.0019995 | 0.0019995 | 0.98404 | -0.11248 | 0.98361 | -0.11558 | 0.74055
48 | 0.016291 | 0.0040669 | -0.016283 | -0.0040649 | 7.836e-06 | 1.9763e-06 | 0.024711 | 0.024711 | 0.024711 | 0.98078 | -0.13578 | 0.98029 | -0.13928 | 4.5762
49 | 0.050792 | 0.01276 | -0.050754 | -0.012745 | 3.7757e-05 | 1.4385e-05 | 0.075923 | 0.075923 | 0.075923 | 0.99562 | -0.030501 | 0.99486 | -0.03585 | 28.1195
50 | 0.0013221 | 0.00032957 | -0.001322 | -0.00033029 | 1.5282e-07 | -7.1854e-07 | 0.0019995 | 0.0019998 | 0.0019998 | 0.98361 | -0.11558 | 0.9835 | -0.11643 | 0.74066
51 | 0.014268 | 0.0035599 | -0.014268 | -0.0035597 | 8.5969e-07 | 1.8247e-07 | 0.021653 | 0.021653 | 0.021653 | 0.98029 | -0.13928 | 0.98023 | -0.13972 | 4.0098
52 | 0.012254 | 0.0030552 | -0.012238 | -0.0030526 | 1.677e-05 | 2.5375e-06 | 0.018597 | 0.018598 | 0.018598 | 0.98023 | -0.13972 | 0.97884 | -0.14971 | 3.4441
53 | 0.011705 | 0.0029192 | -0.011683 | -0.0029163 | 2.2456e-05 | 2.9309e-06 | 0.017789 | 0.017791 | 0.017791 | 0.97884 | -0.14971 | 0.97691 | -0.16371 | 3.2946
54 | 0.00028394 | 7.0876e-05 | -0.00028394 | -7.1161e-05 | 2.669e-09 | -2.8534e-07 | 0.00043239 | 0.00043249 | 0.00043249 | 0.97691 | -0.16371 | 0.9769 | -0.16377 | 0.16018
55 | 0.011399 | 0.0028454 | -0.011379 | -0.0028392 | 1.9712e-05 | 6.2713e-06 | 0.017359 | 0.017359 | 0.017359 | 0.97691 | -0.16371 | 0.97516 | -0.17631 | 6.4293
56 | 0.00068629 | 0.00017097 | -0.00068624 | -0.00017199 | 5.5064e-08 | -1.0177e-06 | 0.001038 | 0.0010384 | 0.0010384 | 0.9835 | -0.11643 | 0.98342 | -0.11701 | 0.38458
57 | 0.0023904 | 0.0005981 | -0.0023897 | -0.0005989 | 7.215e-07 | -8.065e-07 | 0.0036472 | 0.0036475 | 0.0036475 | 0.97516 | -0.17631 | 0.97486 | -0.1785 | 1.3509
58 | 0.0089888 | 0.0022411 | -0.008982 | -0.0022392 | 6.8466e-06 | 1.9058e-06 | 0.013712 | 0.013712 | 0.013712 | 0.97516 | -0.17631 | 0.9744 | -0.18187 | 5.0786
59 | 0.0061666 | 0.0015336 | -0.0061624 | -0.0015329 | 4.1799e-06 | 6.6663e-07 | 0.0094128 | 0.0094132 | 0.0094132 | 0.9744 | -0.18187 | 0.97372 | -0.18685 | 3.4864
60 | 0.0043655 | 0.001094 | -0.0043653 | -0.0010941 | 2.1784e-07 | -1.3778e-08 | 0.0066713 | 0.0066713 | 0.0066713 | 0.97372 | -0.18685 | 0.97367 | -0.18721 | 2.4709
61 | 0.00107 | 0.00026735 | -0.0010699 | -0.00026778 | 6.2411e-08 | -4.3804e-07 | 0.0016378 | 0.001638 | 0.001638 | 0.97195 | -0.19999 | 0.97189 | -0.20041 | 0.60665
62 | 0.00054553 | 0.00013636 | -0.00054552 | -0.00013672 | 1.2738e-08 | -3.5775e-07 | 0.0008351 | 0.00083523 | 0.00083523 | 0.97189 | -0.20041 | 0.97187 | -0.20058 | 0.30935

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14633 | 0.036648

## res_load
| p_mw | q_mvar
0 | 0.0056884 | 0.0014257
1 | 0.0021665 | 0.00054298
2 | 0.0055316 | 0.0013864
3 | 0.0057306 | 0.0014362
4 | 0.0088163 | 0.0022096
5 | 0.0051554 | 0.0012921
6 | 0.0026204 | 0.00065673
7 | 0.0042407 | 0.0010628
8 | 0.00021188 | 5.3102e-05
9 | 0.0026834 | 0.00067252
10 | 0.00036351 | 9.1105e-05
11 | 0.00095766 | 0.00024001
12 | 0.00054999 | 0.00013784
13 | 0.0010344 | 0.00025923
14 | 0.0004696 | 0.00011769
15 | 0.00038333 | 9.6072e-05
16 | 0.0015945 | 0.00039961
17 | 0.00065037 | 0.000163
18 | 0.0088079 | 0.0022075
19 | 0.0044657 | 0.0011192
20 | 0.0014611 | 0.0003662
21 | 0.0022726 | 0.00056958
22 | 0.013952 | 0.0034968
23 | 0.0080055 | 0.0020064
24 | 0.013939 | 0.0034935
25 | 0.0025532 | 0.00063989
26 | 0.0010219 | 0.00025612
27 | 0.012725 | 0.0031893
28 | 0.0022835 | 0.0005723
29 | 0.0038948 | 0.00097612
30 | 0.0023592 | 0.00059128
31 | 0.002015 | 0.000505
32 | 0.0020132 | 0.00050456
33 | 0.0005322 | 0.00013338
34 | 0.00063569 | 0.00015932
35 | 0.00068624 | 0.00017199
36 | 0.00028394 | 7.1161e-05
37 | 0.0023897 | 0.0005989
38 | 0.0028154 | 0.0007056
39 | 0.0043653 | 0.0010941
40 | 0.00025451 | 6.3787e-05
41 | 0.00052439 | 0.00013142
42 | 0.00054552 | 0.00013672

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1