## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1406-41_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1406-41_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1406-41_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1406-41_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1406-41_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1406-41_0_3_node_11 | 0.4 | n |  | TRUE
6 | bus_LV_1406-41_0_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_1406-41_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1406-41_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1406-41_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1406-41_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1406-41_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1406-41_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1406-41_0_3_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_1406-41_0_3_node_28 | 0.4 | n |  | TRUE
15 | bus_LV_1406-41_0_3_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_1406-41_0_3_node_27 | 0.4 | n |  | TRUE
17 | bus_LV_1406-41_0_3_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_1406-41_0_3_node_18 | 0.4 | n |  | TRUE
19 | bus_LV_1406-41_0_3_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1406-41_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1406-41_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_1406-41_0_3_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_1406-41_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1406-41_0_3_node_23 | 0.4 | n |  | TRUE
25 | bus_LV_1406-41_0_3_node_31 | 0.4 | n |  | TRUE
26 | bus_LV_1406-41_0_3_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_1406-41_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1406-41_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1406-41_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1406-41_0_3_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1406-41_0_3_node_36 | 0.4 | n |  | TRUE
32 | bus_LV_1406-41_0_3_node_37 | 0.4 | n |  | TRUE
33 | bus_LV_1406-41_0_3_node_33 | 0.4 | n |  | TRUE
34 | bus_LV_1406-41_0_3_node_35 | 0.4 | n |  | TRUE
35 | bus_LV_1406-41_0_3_node_38 | 0.4 | n |  | TRUE
36 | bus_LV_1406-41_0_3_node_39 | 0.4 | n |  | TRUE
37 | bus_LV_1406-41_0_3_node_40 | 0.4 | n |  | TRUE
38 | bus_LV_1406-41_0_3_node_41 | 0.4 | n |  | TRUE
39 | bus_MV_138_1_node_186 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1406-41_0_3_load_0 | 0 | 0.013317 | 0.0033375 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1406-41_0_3_load_1 | 1 | 0.0033274 | 0.00083392 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1406-41_0_3_load_2 | 2 | 0.0023896 | 0.00059888 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1406-41_0_3_load_3 | 3 | 0.003176 | 0.00079599 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1406-41_0_3_load_4 | 4 | 0.0077753 | 0.0019487 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1406-41_0_3_load_11 | 5 | 0.0034328 | 0.00086034 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1406-41_0_3_load_12 | 6 | 0.0036469 | 0.00091399 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1406-41_0_3_load_5 | 7 | 0.0038385 | 0.00096203 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1406-41_0_3_load_6 | 8 | 0.0036547 | 0.00091597 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1406-41_0_3_load_8 | 10 | 0.0036869 | 0.00092403 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1406-41_0_3_load_9 | 11 | 0.0055563 | 0.0013925 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1406-41_0_3_load_10 | 12 | 0.010182 | 0.0025519 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1406-41_0_3_load_29 | 13 | 0.00095716 | 0.00023989 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1406-41_0_3_load_28 | 14 | 0.0082149 | 0.0020588 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1406-41_0_3_load_30 | 15 | 0.014475 | 0.0036279 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1406-41_0_3_load_27 | 16 | 0.0028471 | 0.00071354 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1406-41_0_3_load_19 | 17 | 0.0014955 | 0.00037482 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1406-41_0_3_load_14 | 19 | 0.0015166 | 0.00038009 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1406-41_0_3_load_20 | 21 | 0.0057364 | 0.0014377 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1406-41_0_3_load_31 | 25 | 0.011908 | 0.0029845 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1406-41_0_3_load_32 | 26 | 0.014649 | 0.0036713 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1406-41_0_3_load_22 | 27 | 0.0023063 | 0.00057802 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1406-41_0_3_load_24 | 28 | 0.0023741 | 0.000595 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1406-41_0_3_load_25 | 29 | 0.0025279 | 0.00063355 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1406-41_0_3_load_26 | 30 | 0.0090126 | 0.0022588 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1406-41_0_3_load_36 | 31 | 0.010842 | 0.0027173 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1406-41_0_3_load_33 | 33 | 0.009063 | 0.0022714 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1406-41_0_3_load_35 | 34 | 0.0080896 | 0.0020274 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1406-41_0_3_load_38 | 35 | 0.001042 | 0.00026115 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1406-41_0_3_load_39 | 36 | 0.00097836 | 0.0002452 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1406-41_0_3_load_41 | 38 | 0.001442 | 0.00036139 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 11 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1406-41_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0045595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1406-41_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.020447 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1406-41_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 5.7511e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1406-41_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0053654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1406-41_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0001313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1406-41_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.00030244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1406-41_0_3_line_6 | NAYY 4x150 SE | 6 | 10 | 0.00013352 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1406-41_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.017283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1406-41_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.003895 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1406-41_0_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.00010347 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1406-41_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.058359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
11 | LV_1406-41_0_3_line_11 | NAYY 4x150 SE | 9 | 12 | 0.038296 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1406-41_0_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.051078 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1406-41_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.0061659 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1406-41_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.0029273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1406-41_0_3_line_15 | NAYY 4x150 SE | 14 | 16 | 0.031064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1406-41_0_3_line_16 | NAYY 4x150 SE | 15 | 31 | 0.024113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1406-41_0_3_line_17 | NAYY 4x150 SE | 16 | 24 | 0.029944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1406-41_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.035478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1406-41_0_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.040018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1406-41_0_3_line_20 | NAYY 4x150 SE | 19 | 20 | 0.046793 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1406-41_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.11488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1406-41_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.040325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1406-41_0_3_line_23 | NAYY 4x150 SE | 22 | 27 | 0.011561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1406-41_0_3_line_24 | NAYY 4x150 SE | 22 | 24 | 0.024862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1406-41_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.018529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1406-41_0_3_line_26 | NAYY 4x150 SE | 23 | 25 | 0.020634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1406-41_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.018668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1406-41_0_3_line_28 | NAYY 4x150 SE | 26 | 33 | 0.038217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1406-41_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.017669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1406-41_0_3_line_30 | NAYY 4x150 SE | 28 | 29 | 0.0015438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1406-41_0_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.0071691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1406-41_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.0063159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1406-41_0_3_line_33 | NAYY 4x150 SE | 32 | 35 | 0.020716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1406-41_0_3_line_34 | NAYY 4x150 SE | 32 | 34 | 0.015607 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1406-41_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.024163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1406-41_0_3_line_36 | NAYY 4x150 SE | 36 | 37 | 0.01286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1406-41_0_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.011458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1406-41_0_3_trafo_9 | 0.25 MVA 20/0.4 kV | 39 | 11 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2660865.4875 | 1190665.2771 | 2660862.112 | 1190662.2119
1 | 2660865.4875 | 1190665.2771 | 2660880.6248 | 1190679.0232
2 | 2660862.112 | 1190662.2119 | 2660862.0694 | 1190662.1732
3 | 2660884.5969 | 1190682.6302 | 2660880.6248 | 1190679.0232
4 | 2660862.0694 | 1190662.1732 | 2660861.9722 | 1190662.0849
5 | 2660861.9722 | 1190662.0849 | 2660861.7483 | 1190661.8816
6 | 2660861.7483 | 1190661.8816 | 2660861.6495 | 1190661.7919
7 | 2660848.7779 | 1190650.1033 | 2660861.5729 | 1190661.7223
8 | 2660845.8944 | 1190647.4848 | 2660848.7779 | 1190650.1033
9 | 2660861.6495 | 1190661.7919 | 2660861.5729 | 1190661.7223
10 | 2660845.8944 | 1190647.4848 | 2660820.8173 | 1190624.717 | 2660806.2055 | 1190613.6178 | 2660800.4753 | 1190611.4167
11 | 2660845.8944 | 1190647.4848 | 2660838.46 | 1190619.6933 | 2660836.9565 | 1190610.2855
12 | 2660800.4753 | 1190611.4167 | 2660789.9735 | 1190607.3827 | 2660750.5526 | 1190601.7053
13 | 2660836.9565 | 1190610.2855 | 2660836.7035 | 1190608.7025 | 2660837.322 | 1190604.1818
14 | 2660747.6552 | 1190601.288 | 2660750.5526 | 1190601.7053
15 | 2660833.4363 | 1190573.9118 | 2660833.7614 | 1190574.8198 | 2660837.7389 | 1190587.1117 | 2660838.4746 | 1190595.7575 | 2660837.322 | 1190604.1818
16 | 2660747.6552 | 1190601.288 | 2660732.92 | 1190599.1658 | 2660723.6943 | 1190599.0722 | 2660723.6943 | 1190599.0722
17 | 2660823.3434 | 1190545.7195 | 2660833.4363 | 1190573.9118
18 | 2661059.3369 | 1190571.0134 | 2661033.7087 | 1190595.5473
19 | 2661048.1914 | 1190532.611 | 2661052.3613 | 1190544.6938 | 2661056.1448 | 1190560.2635 | 2661059.3369 | 1190571.0134
20 | 2661048.1914 | 1190532.611 | 2661031.9796 | 1190535.6031 | 2661001.6752 | 1190535.1453
21 | 2660888.192 | 1190553.0235 | 2661001.6752 | 1190535.1453
22 | 2660848.1207 | 1190548.5062 | 2660888.192 | 1190553.0235
23 | 2660848.1207 | 1190548.5062 | 2660852.1042 | 1190559.3593
24 | 2660823.3434 | 1190545.7195 | 2660848.1207 | 1190548.5062
25 | 2660805.0123 | 1190542.6761 | 2660823.3434 | 1190545.7195
26 | 2660805.0123 | 1190542.6761 | 2660784.5205 | 1190540.2534
27 | 2660784.5205 | 1190540.2534 | 2660767.6696 | 1190538.2612 | 2660765.9699 | 1190538.2873
28 | 2660765.9699 | 1190538.2873 | 2660744.599 | 1190538.6162 | 2660730.9929 | 1190540.3459 | 2660727.9547 | 1190541.0918
29 | 2660852.1042 | 1190559.3593 | 2660858.1924 | 1190575.9468
30 | 2660858.7243 | 1190577.396 | 2660858.1924 | 1190575.9468
31 | 2660861.1945 | 1190584.1261 | 2660858.7243 | 1190577.396
32 | 2660718.5556 | 1190602.7444 | 2660723.6943 | 1190599.0722
33 | 2660718.5556 | 1190602.7444 | 2660735.1729 | 1190615.1142
34 | 2660718.5556 | 1190602.7444 | 2660705.6974 | 1190593.8984
35 | 2660752.6761 | 1190631.6622 | 2660741.2072 | 1190619.606 | 2660735.1729 | 1190615.1142
36 | 2660759.834 | 1190642.3303 | 2660753.2639 | 1190632.2801 | 2660752.6761 | 1190631.6622
37 | 2660759.834 | 1190642.3303 | 2660768.1366 | 1190650.2266

## bus_geodata
| x | y | coords
0 | 2660865.4875 | 1190665.2771
1 | 2660862.112 | 1190662.2119
2 | 2660880.6248 | 1190679.0232
3 | 2660862.0694 | 1190662.1732
4 | 2660884.5969 | 1190682.6302
5 | 2660861.9722 | 1190662.0849
6 | 2660861.7483 | 1190661.8816
7 | 2660848.7779 | 1190650.1033
8 | 2660861.5729 | 1190661.7223
9 | 2660845.8944 | 1190647.4848
10 | 2660861.6495 | 1190661.7919
11 | 2660800.4753 | 1190611.4167
12 | 2660836.9565 | 1190610.2855
13 | 2660750.5526 | 1190601.7053
14 | 2660837.322 | 1190604.1818
15 | 2660747.6552 | 1190601.288
16 | 2660833.4363 | 1190573.9118
17 | 2661033.7087 | 1190595.5473
18 | 2661059.3369 | 1190571.0134
19 | 2661001.6752 | 1190535.1453
20 | 2661048.1914 | 1190532.611
21 | 2660888.192 | 1190553.0235
22 | 2660848.1207 | 1190548.5062
23 | 2660805.0123 | 1190542.6761
24 | 2660823.3434 | 1190545.7195
25 | 2660784.5205 | 1190540.2534
26 | 2660765.9699 | 1190538.2873
27 | 2660852.1042 | 1190559.3593
28 | 2660858.1924 | 1190575.9468
29 | 2660858.7243 | 1190577.396
30 | 2660861.1945 | 1190584.1261
31 | 2660723.6943 | 1190599.0722
32 | 2660718.5556 | 1190602.7444
33 | 2660727.9547 | 1190541.0918
34 | 2660705.6974 | 1190593.8984
35 | 2660735.1729 | 1190615.1142
36 | 2660752.6761 | 1190631.6622
37 | 2660759.834 | 1190642.3303
38 | 2660768.1366 | 1190650.2266
39 | 2660845.8944 | 1190647.4848

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99296 | -0.049097 | 0.013317 | 0.0033375
1 | 0.99311 | -0.048014 | 0.0033274 | 0.00083392
2 | 0.99266 | -0.051202 | 0.0023896 | 0.00059888
3 | 0.99311 | -0.047998 | 0.003176 | 0.00079599
4 | 0.9926 | -0.051625 | 0.0077753 | 0.0019487
5 | 0.99312 | -0.047958 | 0.0034328 | 0.00086034
6 | 0.99313 | -0.047856 | 0.0036469 | 0.00091399
7 | 0.99425 | -0.040005 | 0.0038385 | 0.00096203
8 | 0.99315 | -0.047763 | 0.0036547 | 0.00091597
9 | 0.99452 | -0.038108 | 0 | 0
10 | 0.99314 | -0.047806 | 0.0036869 | 0.00092403
11 | 1 | 0 | -0.17048 | -0.042752
12 | 0.98998 | -0.069895 | 0.010182 | 0.0025519
13 | 0.99724 | -0.019343 | 0.00095716 | 0.00023989
14 | 0.98934 | -0.0744 | 0.0082149 | 0.0020588
15 | 0.99708 | -0.020427 | 0.014475 | 0.0036279
16 | 0.98648 | -0.094566 | 0.0028471 | 0.00071354
17 | 0.98166 | -0.12881 | 0.0014955 | 0.00037482
18 | 0.98174 | -0.12826 | 0 | 0
19 | 0.98193 | -0.12691 | 0.0015166 | 0.00038009
20 | 0.98182 | -0.12764 | 0 | 0
21 | 0.98243 | -0.12331 | 0.0057364 | 0.0014377
22 | 0.98294 | -0.11965 | 0 | 0
23 | 0.98288 | -0.12005 | 0 | 0
24 | 0.98384 | -0.11324 | 0 | 0
25 | 0.98182 | -0.12765 | 0.011908 | 0.0029845
26 | 0.98117 | -0.13224 | 0.014649 | 0.0036713
27 | 0.98267 | -0.12159 | 0.0023063 | 0.00057802
28 | 0.98231 | -0.12413 | 0.0023741 | 0.000595
29 | 0.98229 | -0.12432 | 0.0025279 | 0.00063355
30 | 0.98219 | -0.12498 | 0.0090126 | 0.0022588
31 | 0.99631 | -0.025855 | 0.010842 | 0.0027173
32 | 0.99621 | -0.026589 | 0 | 0
33 | 0.98067 | -0.13583 | 0.009063 | 0.0022714
34 | 0.99602 | -0.027859 | 0.0080896 | 0.0020274
35 | 0.9961 | -0.027311 | 0.001042 | 0.00026115
36 | 0.99602 | -0.027901 | 0.00097836 | 0.0002452
37 | 0.99599 | -0.028087 | 0 | 0
38 | 0.99597 | -0.028254 | 0.001442 | 0.00036139
39 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.023485 | -0.0058861 | 0.023489 | 0.0058874 | 3.5241e-06 | 1.2964e-06 | 0.035194 | 0.035194 | 0.035194 | 0.99296 | -0.049097 | 0.99311 | -0.048014 | 13.0349
1 | 0.010168 | 0.0025485 | -0.010165 | -0.0025477 | 2.9626e-06 | 8.7506e-07 | 0.015238 | 0.015238 | 0.015238 | 0.99296 | -0.049097 | 0.99266 | -0.051202 | 5.6437
2 | -0.026816 | -0.0067213 | 0.026816 | 0.0067213 | 5.7935e-08 | 2.1538e-08 | 0.04018 | 0.04018 | 0.04018 | 0.99311 | -0.048014 | 0.99311 | -0.047998 | 14.8814
3 | 0.0077758 | 0.0019488 | -0.0077753 | -0.0019487 | 4.5487e-07 | 1.0559e-07 | 0.011656 | 0.011656 | 0.011656 | 0.99266 | -0.051202 | 0.9926 | -0.051625 | 4.317
4 | -0.029992 | -0.0075173 | 0.029992 | 0.0075173 | 1.6545e-07 | 6.1937e-08 | 0.044938 | 0.044938 | 0.044938 | 0.99311 | -0.047998 | 0.99312 | -0.047958 | 16.6439
5 | -0.033425 | -0.0083777 | 0.033426 | 0.0083779 | 4.7335e-07 | 1.7814e-07 | 0.050082 | 0.050082 | 0.050082 | 0.99312 | -0.047958 | 0.99313 | -0.047856 | 18.5489
6 | -0.037072 | -0.0092919 | 0.037073 | 0.009292 | 2.5707e-07 | 9.7144e-08 | 0.055546 | 0.055546 | 0.055546 | 0.99313 | -0.047856 | 0.99314 | -0.047806 | 20.5726
7 | 0.044462 | 0.01115 | -0.044415 | -0.011132 | 4.7759e-05 | 1.8145e-05 | 0.066546 | 0.066546 | 0.066546 | 0.99425 | -0.040005 | 0.99315 | -0.047763 | 24.6466
8 | -0.048301 | -0.012112 | 0.048314 | 0.012117 | 1.2702e-05 | 4.8347e-06 | 0.072291 | 0.072291 | 0.072291 | 0.99425 | -0.040005 | 0.99452 | -0.038108 | 26.7743
9 | 0.04076 | 0.010216 | -0.04076 | -0.010216 | 2.4081e-07 | 9.1279e-08 | 0.06107 | 0.06107 | 0.06107 | 0.99315 | -0.047763 | 0.99314 | -0.047806 | 22.6185
10 | -0.13103 | -0.032957 | 0.13173 | 0.033225 | 0.00070007 | 0.00026774 | 0.19608 | 0.19608 | 0.19608 | 0.99452 | -0.038108 | 1 | 0 | 36.312
11 | 0.082712 | 0.02084 | -0.082346 | -0.0207 | 0.00036621 | 0.00014036 | 0.12379 | 0.12379 | 0.12379 | 0.99452 | -0.038108 | 0.98998 | -0.069895 | 45.8497
12 | 0.037954 | 0.009527 | -0.037852 | -0.0094886 | 0.00010168 | 3.8438e-05 | 0.056481 | 0.056481 | 0.056481 | 1 | 0 | 0.99724 | -0.019343 | 20.9191
13 | 0.072163 | 0.018148 | -0.072118 | -0.018131 | 4.5285e-05 | 1.7338e-05 | 0.10849 | 0.10849 | 0.10849 | 0.98998 | -0.069895 | 0.98934 | -0.0744 | 40.1812
14 | 0.036895 | 0.0092487 | -0.03689 | -0.0092466 | 5.5363e-06 | 2.0911e-06 | 0.055053 | 0.055053 | 0.055053 | 0.99724 | -0.019343 | 0.99708 | -0.020427 | 20.3901
15 | 0.063903 | 0.016072 | -0.063724 | -0.016003 | 0.00017914 | 6.8502e-05 | 0.096134 | 0.096134 | 0.096134 | 0.98934 | -0.0744 | 0.98648 | -0.094566 | 35.6051
16 | 0.022414 | 0.0056187 | -0.022397 | -0.0056126 | 1.6837e-05 | 6.1614e-06 | 0.033451 | 0.033451 | 0.033451 | 0.99708 | -0.020427 | 0.99631 | -0.025855 | 12.3892
17 | 0.060877 | 0.01529 | -0.060719 | -0.01523 | 0.0001576 | 6.0234e-05 | 0.091839 | 0.091839 | 0.091839 | 0.98648 | -0.094566 | 0.98384 | -0.11324 | 34.0145
18 | -0.0014955 | -0.00037482 | 0.0014956 | 0.00037441 | 1.1376e-07 | -4.0482e-07 | 0.0022669 | 0.0022668 | 0.0022669 | 0.98166 | -0.12881 | 0.98174 | -0.12826 | 0.83961
19 | -0.0014956 | -0.00037441 | 0.0014958 | 0.00037395 | 1.283e-07 | -4.5671e-07 | 0.0022668 | 0.0022666 | 0.0022668 | 0.98174 | -0.12826 | 0.98182 | -0.12764 | 0.83955
20 | 0.0014959 | 0.00037342 | -0.0014958 | -0.00037395 | 1.5e-07 | -5.3415e-07 | 0.0022664 | 0.0022666 | 0.0022666 | 0.98193 | -0.12691 | 0.98182 | -0.12764 | 0.83948
21 | -0.0030125 | -0.00075351 | 0.003014 | 0.00075263 | 1.4935e-06 | -8.7951e-07 | 0.0045646 | 0.0045641 | 0.0045646 | 0.98193 | -0.12691 | 0.98243 | -0.12331 | 1.6906
22 | -0.0087504 | -0.0021903 | 0.0087549 | 0.0021915 | 4.4194e-06 | 1.1889e-06 | 0.013253 | 0.013253 | 0.013253 | 0.98243 | -0.12331 | 0.98294 | -0.11965 | 4.9084
23 | 0.016231 | 0.0040688 | -0.016227 | -0.0040673 | 4.3557e-06 | 1.5288e-06 | 0.024572 | 0.024572 | 0.024572 | 0.98294 | -0.11965 | 0.98267 | -0.12159 | 9.1007
24 | -0.024986 | -0.0062604 | 0.025008 | 0.0062686 | 2.2195e-05 | 8.2213e-06 | 0.037824 | 0.037824 | 0.037824 | 0.98294 | -0.11965 | 0.98384 | -0.11324 | 14.009
25 | -0.035677 | -0.0089482 | 0.035711 | 0.0089609 | 3.3734e-05 | 1.2739e-05 | 0.054015 | 0.054015 | 0.054015 | 0.98288 | -0.12005 | 0.98384 | -0.11324 | 20.0056
26 | 0.035677 | 0.0089482 | -0.03564 | -0.008934 | 3.7567e-05 | 1.4188e-05 | 0.054015 | 0.054015 | 0.054015 | 0.98288 | -0.12005 | 0.98182 | -0.12765 | 20.0056
27 | 0.023731 | 0.0059495 | -0.023716 | -0.0059439 | 1.507e-05 | 5.56e-06 | 0.035967 | 0.035967 | 0.035967 | 0.98182 | -0.12765 | 0.98117 | -0.13224 | 13.3212
28 | 0.0090675 | 0.0022726 | -0.009063 | -0.0022714 | 4.5097e-06 | 1.2521e-06 | 0.013752 | 0.013752 | 0.013752 | 0.98117 | -0.13224 | 0.98067 | -0.13583 | 5.0932
29 | 0.013921 | 0.0034893 | -0.013916 | -0.0034876 | 4.8993e-06 | 1.6606e-06 | 0.02108 | 0.02108 | 0.02108 | 0.98267 | -0.12159 | 0.98231 | -0.12413 | 7.8073
30 | 0.011542 | 0.0028926 | -0.011541 | -0.0028925 | 2.9445e-07 | 9.3708e-08 | 0.017483 | 0.017483 | 0.017483 | 0.98231 | -0.12413 | 0.98229 | -0.12432 | 6.4753
31 | 0.0090134 | 0.002259 | -0.0090126 | -0.0022588 | 8.34e-07 | 2.3003e-07 | 0.013654 | 0.013654 | 0.013654 | 0.98229 | -0.12432 | 0.98219 | -0.12498 | 5.057
32 | 0.011555 | 0.0028952 | -0.011554 | -0.0028949 | 1.1738e-06 | 3.6921e-07 | 0.017258 | 0.017258 | 0.017258 | 0.99631 | -0.025855 | 0.99621 | -0.026589 | 6.3917
33 | 0.0034629 | 0.00086707 | -0.0034626 | -0.00086721 | 3.4582e-07 | -1.3668e-07 | 0.0051722 | 0.0051723 | 0.0051723 | 0.99621 | -0.026589 | 0.9961 | -0.027311 | 1.9157
34 | 0.008091 | 0.0020278 | -0.0080896 | -0.0020274 | 1.4224e-06 | 3.4392e-07 | 0.012085 | 0.012085 | 0.012085 | 0.99621 | -0.026589 | 0.99602 | -0.027859 | 4.4761
35 | 0.0024206 | 0.00060606 | -0.0024204 | -0.0006063 | 1.9712e-07 | -2.3869e-07 | 0.0036158 | 0.0036159 | 0.0036159 | 0.9961 | -0.027311 | 0.99602 | -0.027901 | 1.3392
36 | 0.001442 | 0.0003611 | -0.001442 | -0.00036125 | 3.7241e-08 | -1.5305e-07 | 0.0021542 | 0.0021543 | 0.0021543 | 0.99602 | -0.027901 | 0.99599 | -0.028087 | 0.79789
37 | 0.001442 | 0.00036125 | -0.001442 | -0.00036139 | 3.3183e-08 | -1.3635e-07 | 0.0021543 | 0.0021544 | 0.0021544 | 0.99599 | -0.028087 | 0.99597 | -0.028254 | 0.79791

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.17604 | 0.044145

## res_load
| p_mw | q_mvar
0 | 0.013317 | 0.0033375
1 | 0.0033274 | 0.00083392
2 | 0.0023896 | 0.00059888
3 | 0.003176 | 0.00079599
4 | 0.0077753 | 0.0019487
5 | 0.0034328 | 0.00086034
6 | 0.0036469 | 0.00091399
7 | 0.0038385 | 0.00096203
8 | 0.0036547 | 0.00091597
9 | 0.0036869 | 0.00092403
10 | 0.0055563 | 0.0013925
11 | 0.010182 | 0.0025519
12 | 0.00095716 | 0.00023989
13 | 0.0082149 | 0.0020588
14 | 0.014475 | 0.0036279
15 | 0.0028471 | 0.00071354
16 | 0.0014955 | 0.00037482
17 | 0.0015166 | 0.00038009
18 | 0.0057364 | 0.0014377
19 | 0.011908 | 0.0029845
20 | 0.014649 | 0.0036713
21 | 0.0023063 | 0.00057802
22 | 0.0023741 | 0.000595
23 | 0.0025279 | 0.00063355
24 | 0.0090126 | 0.0022588
25 | 0.010842 | 0.0027173
26 | 0.009063 | 0.0022714
27 | 0.0080896 | 0.0020274
28 | 0.001042 | 0.00026115
29 | 0.00097836 | 0.0002452
30 | 0.001442 | 0.00036139

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1