## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1406-43_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1406-43_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1406-43_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1406-43_0_2_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_1406-43_0_2_node_21 | 0.4 | n |  | TRUE
5 | bus_LV_1406-43_0_2_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1406-43_0_2_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_1406-43_0_2_node_4 | 0.4 | n |  | TRUE
8 | bus_LV_1406-43_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1406-43_0_2_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1406-43_0_2_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1406-43_0_2_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_1406-43_0_2_node_11 | 0.4 | n |  | TRUE
13 | bus_LV_1406-43_0_2_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_1406-43_0_2_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1406-43_0_2_node_15 | 0.4 | n |  | TRUE
16 | bus_LV_1406-43_0_2_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_1406-43_0_2_node_36 | 0.4 | n |  | TRUE
18 | bus_LV_1406-43_0_2_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_1406-43_0_2_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_1406-43_0_2_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1406-43_0_2_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_1406-43_0_2_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_1406-43_0_2_node_23 | 0.4 | n |  | TRUE
24 | bus_LV_1406-43_0_2_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_1406-43_0_2_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1406-43_0_2_node_26 | 0.4 | n |  | TRUE
27 | bus_LV_1406-43_0_2_node_27 | 0.4 | n |  | TRUE
28 | bus_LV_1406-43_0_2_node_34 | 0.4 | n |  | TRUE
29 | bus_LV_1406-43_0_2_node_32 | 0.4 | n |  | TRUE
30 | bus_LV_1406-43_0_2_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_1406-43_0_2_node_28 | 0.4 | n |  | TRUE
32 | bus_LV_1406-43_0_2_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_1406-43_0_2_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_1406-43_0_2_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_1406-43_0_2_node_33 | 0.4 | n |  | TRUE
36 | bus_LV_1406-43_0_2_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_1406-43_0_2_node_47 | 0.4 | n |  | TRUE
38 | bus_LV_1406-43_0_2_node_45 | 0.4 | n |  | TRUE
39 | bus_LV_1406-43_0_2_node_40 | 0.4 | n |  | TRUE
40 | bus_LV_1406-43_0_2_node_37 | 0.4 | n |  | TRUE
41 | bus_LV_1406-43_0_2_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_1406-43_0_2_node_39 | 0.4 | n |  | TRUE
43 | bus_LV_1406-43_0_2_node_43 | 0.4 | n |  | TRUE
44 | bus_LV_1406-43_0_2_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_1406-43_0_2_node_48 | 0.4 | n |  | TRUE
46 | bus_MV_138_3_node_193 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1406-43_0_2_load_0 | 0 | 0.0026265 | 0.00065827 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1406-43_0_2_load_21 | 4 | 0.0053955 | 0.0013523 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1406-43_0_2_load_3 | 5 | 0.003598 | 0.00090175 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1406-43_0_2_load_19 | 6 | 0.0045336 | 0.0011362 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1406-43_0_2_load_4 | 7 | 0.0010106 | 0.00025327 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1406-43_0_2_load_6 | 8 | 0.0024428 | 0.00061223 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1406-43_0_2_load_7 | 9 | 0.0043136 | 0.0010811 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1406-43_0_2_load_8 | 10 | 0.00023396 | 5.8636e-05 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1406-43_0_2_load_12 | 11 | 0.0026534 | 0.00066501 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1406-43_0_2_load_11 | 12 | 0.0014389 | 0.00036062 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1406-43_0_2_load_13 | 13 | 0.0030974 | 0.00077627 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1406-43_0_2_load_14 | 14 | 0.0039205 | 0.00098258 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1406-43_0_2_load_15 | 15 | 0.0033591 | 0.00084187 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1406-43_0_2_load_20 | 16 | 0.006727 | 0.001686 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1406-43_0_2_load_36 | 17 | 0.0087219 | 0.0021859 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1406-43_0_2_load_35 | 18 | 0.0043275 | 0.0010846 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1406-43_0_2_load_22 | 19 | 0.012902 | 0.0032336 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1406-43_0_2_load_18 | 20 | 0.0035983 | 0.00090181 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1406-43_0_2_load_44 | 21 | 0.003316 | 0.00083108 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1406-43_0_2_load_42 | 22 | 0.0022579 | 0.00056589 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1406-43_0_2_load_23 | 23 | 0.0069413 | 0.0017396 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1406-43_0_2_load_24 | 24 | 0.0051481 | 0.0012902 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1406-43_0_2_load_25 | 25 | 0.0069226 | 0.001735 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1406-43_0_2_load_26 | 26 | 0.0025568 | 0.00064078 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1406-43_0_2_load_34 | 28 | 0.0024255 | 0.00060789 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1406-43_0_2_load_32 | 29 | 0.011182 | 0.0028026 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1406-43_0_2_load_50 | 30 | 0.0034637 | 0.00086808 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1406-43_0_2_load_28 | 31 | 0.0056363 | 0.0014126 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1406-43_0_2_load_30 | 33 | 0.01534 | 0.0038447 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1406-43_0_2_load_33 | 35 | 0.0022538 | 0.00056485 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1406-43_0_2_load_47 | 37 | 0.0018776 | 0.00047056 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1406-43_0_2_load_45 | 38 | 0.0062065 | 0.0015555 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1406-43_0_2_load_40 | 39 | 0.0023965 | 0.00060063 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1406-43_0_2_load_37 | 40 | 0.0019766 | 0.00049537 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1406-43_0_2_load_41 | 44 | 0.0012791 | 0.00032056 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1406-43_0_2_load_48 | 45 | 0.0021375 | 0.00053571 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1406-43_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.015267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1406-43_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.019144 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1406-43_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.084772 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1406-43_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.058833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1406-43_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.092548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1406-43_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0086022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1406-43_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.016224 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1406-43_0_2_line_7 | NAYY 4x150 SE | 6 | 20 | 0.020262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1406-43_0_2_line_8 | NAYY 4x150 SE | 7 | 8 | 0.021637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1406-43_0_2_line_9 | NAYY 4x150 SE | 8 | 9 | 0.014389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1406-43_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.030558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1406-43_0_2_line_11 | NAYY 4x150 SE | 10 | 11 | 0.073987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1406-43_0_2_line_12 | NAYY 4x150 SE | 11 | 12 | 0.022122 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1406-43_0_2_line_13 | NAYY 4x150 SE | 13 | 14 | 0.010529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1406-43_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.031124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1406-43_0_2_line_15 | NAYY 4x150 SE | 15 | 16 | 0.094931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1406-43_0_2_line_16 | NAYY 4x150 SE | 16 | 19 | 0.011533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1406-43_0_2_line_17 | NAYY 4x150 SE | 16 | 20 | 0.011276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1406-43_0_2_line_18 | NAYY 4x150 SE | 17 | 18 | 0.0035485 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1406-43_0_2_line_19 | NAYY 4x150 SE | 18 | 40 | 0.024821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1406-43_0_2_line_20 | NAYY 4x150 SE | 19 | 23 | 0.006901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1406-43_0_2_line_21 | NAYY 4x150 SE | 21 | 22 | 0.046527 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1406-43_0_2_line_22 | NAYY 4x150 SE | 22 | 44 | 0.025871 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1406-43_0_2_line_23 | NAYY 4x150 SE | 23 | 24 | 0.016935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1406-43_0_2_line_24 | NAYY 4x150 SE | 24 | 25 | 0.0011589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1406-43_0_2_line_25 | NAYY 4x150 SE | 25 | 26 | 0.013083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1406-43_0_2_line_26 | NAYY 4x150 SE | 26 | 27 | 0.0015901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1406-43_0_2_line_27 | NAYY 4x150 SE | 27 | 28 | 0.027692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1406-43_0_2_line_28 | NAYY 4x150 SE | 27 | 29 | 0.02406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1406-43_0_2_line_29 | NAYY 4x150 SE | 28 | 30 | 0.006928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1406-43_0_2_line_30 | NAYY 4x150 SE | 30 | 39 | 0.00041465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1406-43_0_2_line_31 | NAYY 4x150 SE | 31 | 32 | 0.023661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1406-43_0_2_line_32 | NAYY 4x150 SE | 31 | 33 | 0.023116 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1406-43_0_2_line_33 | NAYY 4x150 SE | 32 | 34 | 0.011531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1406-43_0_2_line_34 | NAYY 4x150 SE | 34 | 35 | 0.023492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1406-43_0_2_line_35 | NAYY 4x150 SE | 35 | 36 | 0.011959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1406-43_0_2_line_36 | NAYY 4x150 SE | 36 | 37 | 0.011363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1406-43_0_2_line_37 | NAYY 4x150 SE | 36 | 38 | 0.012303 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1406-43_0_2_line_38 | NAYY 4x150 SE | 37 | 45 | 0.00015661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1406-43_0_2_line_39 | NAYY 4x150 SE | 38 | 42 | 0.01621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1406-43_0_2_line_40 | NAYY 4x150 SE | 39 | 41 | 0.027102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1406-43_0_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.01936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1406-43_0_2_line_42 | NAYY 4x150 SE | 41 | 42 | 0.005267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1406-43_0_2_line_43 | NAYY 4x150 SE | 42 | 43 | 0.04107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1406-43_0_2_line_44 | NAYY 4x150 SE | 43 | 44 | 0.016823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1406-43_0_2_trafo_24 | 0.25 MVA 20/0.4 kV | 46 | 24 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2660478.9676 | 1190328.7185 | 2660477.0926 | 1190321.829 | 2660476.0455 | 1190313.7694
1 | 2660464.8133 | 1190341.6497 | 2660478.9676 | 1190328.7185
2 | 2660525.9363 | 1190399.4113 | 2660507.3429 | 1190374.7315 | 2660484.8254 | 1190355.0039 | 2660464.8133 | 1190341.6497
3 | 2660464.8133 | 1190341.6497 | 2660460.9427 | 1190339.0647 | 2660416.5229 | 1190308.0447
4 | 2660525.9363 | 1190399.4113 | 2660518.7973 | 1190403.3192 | 2660491.4036 | 1190416.3944 | 2660466.0362 | 1190431.9471 | 2660446.2179 | 1190446.0074
5 | 2660416.5229 | 1190308.0447 | 2660409.4702 | 1190303.1195
6 | 2660446.2179 | 1190446.0074 | 2660444.761 | 1190447.041 | 2660440.6884 | 1190451.6247 | 2660439.1634 | 1190457.6572 | 2660439.2548 | 1190459.7387
7 | 2660409.4702 | 1190303.1195 | 2660392.8581 | 1190291.5187
8 | 2660439.2548 | 1190459.7387 | 2660439.461 | 1190464.4308 | 2660436.9241 | 1190474.0107 | 2660433.6803 | 1190480.2479
9 | 2660427.041 | 1190493.0139 | 2660433.6803 | 1190480.2479
10 | 2660427.041 | 1190493.0139 | 2660415.01 | 1190516.147 | 2660413.5583 | 1190520.389
11 | 2660413.5583 | 1190520.389 | 2660375.2482 | 1190583.6847
12 | 2660375.2482 | 1190583.6847 | 2660361.7084 | 1190601.1787
13 | 2660435.7757 | 1190178.731 | 2660435.172 | 1190173.243 | 2660434.282 | 1190168.3149
14 | 2660435.7757 | 1190178.731 | 2660436.7366 | 1190187.4669 | 2660438.4647 | 1190199.847 | 2660440.911 | 1190209.3737
15 | 2660383.6134 | 1190285.0627 | 2660440.911 | 1190209.3737
16 | 2660383.6134 | 1190285.0627 | 2660381.7586 | 1190283.7675 | 2660373.7707 | 1190279.0619
17 | 2660383.6134 | 1190285.0627 | 2660392.8581 | 1190291.5187
18 | 2660333.7335 | 1190180.0779 | 2660335.8106 | 1190177.201
19 | 2660333.7335 | 1190180.0779 | 2660319.2042 | 1190200.2021
20 | 2660367.8246 | 1190275.5591 | 2660373.7707 | 1190279.0619
21 | 2660298.718 | 1190138.9566 | 2660299.0304 | 1190136.5497 | 2660300.8114 | 1190129.319 | 2660304.6713 | 1190120.8753 | 2660310.6115 | 1190113.353 | 2660322.4152 | 1190100.0513
22 | 2660294.9879 | 1190164.5244 | 2660295.7461 | 1190162.0423 | 2660297.7654 | 1190146.2981 | 2660298.718 | 1190138.9566
23 | 2660367.8246 | 1190275.5591 | 2660361.6166 | 1190271.9021 | 2660352.703 | 1190268.0003
24 | 2660351.6414 | 1190267.5356 | 2660352.703 | 1190268.0003
25 | 2660351.6414 | 1190267.5356 | 2660348.2542 | 1190266.053 | 2660339.0384 | 1190264.2773
26 | 2660337.477 | 1190263.9765 | 2660339.0384 | 1190264.2773
27 | 2660337.477 | 1190263.9765 | 2660337.7854 | 1190250.7832 | 2660328.827 | 1190239.3881
28 | 2660337.477 | 1190263.9765 | 2660325.6262 | 1190262.5007 | 2660314.2873 | 1190262.4309 | 2660313.5111 | 1190262.4949
29 | 2660324.1203 | 1190234.3082 | 2660328.3588 | 1190238.7925 | 2660328.827 | 1190239.3881
30 | 2660323.8355 | 1190234.0068 | 2660324.1203 | 1190234.3082
31 | 2660270.7758 | 1190272.154 | 2660271.9781 | 1190281.4937 | 2660274.9137 | 1190295.4324
32 | 2660284.397 | 1190315.9162 | 2660277.2036 | 1190306.3049 | 2660274.9137 | 1190295.4324
33 | 2660270.7758 | 1190272.154 | 2660281.6812 | 1190268.3171
34 | 2660281.6812 | 1190268.3171 | 2660280.2483 | 1190260.665 | 2660280.9042 | 1190253.8455 | 2660283.9438 | 1190245.5273
35 | 2660288.0482 | 1190234.2951 | 2660283.9438 | 1190245.5273
36 | 2660288.0482 | 1190234.2951 | 2660277.162 | 1190231.0384
37 | 2660288.0482 | 1190234.2951 | 2660288.4169 | 1190233.276 | 2660294.1688 | 1190223.6439
38 | 2660277.0119 | 1190230.9935 | 2660277.162 | 1190231.0384
39 | 2660302.4798 | 1190209.7263 | 2660294.1688 | 1190223.6439
40 | 2660305.6939 | 1190213.9055 | 2660309.3897 | 1190218.7233 | 2660323.8355 | 1190234.0068
41 | 2660305.6939 | 1190213.9055 | 2660315.3486 | 1190205.5424 | 2660319.2042 | 1190200.2021
42 | 2660302.4798 | 1190209.7263 | 2660305.6939 | 1190213.9055
43 | 2660281.905 | 1190174.1544 | 2660291.152 | 1190190.379 | 2660302.4798 | 1190209.7263
44 | 2660281.905 | 1190174.1544 | 2660291.9017 | 1190168.9409 | 2660294.3818 | 1190166.5089 | 2660294.9879 | 1190164.5244

## bus_geodata
| x | y | coords
0 | 2660476.0455 | 1190313.7694
1 | 2660478.9676 | 1190328.7185
2 | 2660464.8133 | 1190341.6497
3 | 2660525.9363 | 1190399.4113
4 | 2660416.5229 | 1190308.0447
5 | 2660446.2179 | 1190446.0074
6 | 2660409.4702 | 1190303.1195
7 | 2660439.2548 | 1190459.7387
8 | 2660433.6803 | 1190480.2479
9 | 2660427.041 | 1190493.0139
10 | 2660413.5583 | 1190520.389
11 | 2660375.2482 | 1190583.6847
12 | 2660361.7084 | 1190601.1787
13 | 2660435.7757 | 1190178.731
14 | 2660434.282 | 1190168.3149
15 | 2660440.911 | 1190209.3737
16 | 2660383.6134 | 1190285.0627
17 | 2660335.8106 | 1190177.201
18 | 2660333.7335 | 1190180.0779
19 | 2660373.7707 | 1190279.0619
20 | 2660392.8581 | 1190291.5187
21 | 2660322.4152 | 1190100.0513
22 | 2660298.718 | 1190138.9566
23 | 2660367.8246 | 1190275.5591
24 | 2660352.703 | 1190268.0003
25 | 2660351.6414 | 1190267.5356
26 | 2660339.0384 | 1190264.2773
27 | 2660337.477 | 1190263.9765
28 | 2660328.827 | 1190239.3881
29 | 2660313.5111 | 1190262.4949
30 | 2660324.1203 | 1190234.3082
31 | 2660274.9137 | 1190295.4324
32 | 2660270.7758 | 1190272.154
33 | 2660284.397 | 1190315.9162
34 | 2660281.6812 | 1190268.3171
35 | 2660283.9438 | 1190245.5273
36 | 2660288.0482 | 1190234.2951
37 | 2660277.162 | 1190231.0384
38 | 2660294.1688 | 1190223.6439
39 | 2660323.8355 | 1190234.0068
40 | 2660319.2042 | 1190200.2021
41 | 2660305.6939 | 1190213.9055
42 | 2660302.4798 | 1190209.7263
43 | 2660281.905 | 1190174.1544
44 | 2660294.9879 | 1190164.5244
45 | 2660277.0119 | 1190230.9935
46 | 2660337.477 | 1190263.9765

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9936 | -0.044862 | 0.0026265 | 0.00065827
1 | 0.99365 | -0.044457 | 0 | 0
2 | 0.99373 | -0.043948 | 0 | 0
3 | 0.99181 | -0.057444 | 0 | 0
4 | 0.99528 | -0.033049 | 0.0053955 | 0.0013523
5 | 0.98972 | -0.072229 | 0.003598 | 0.00090175
6 | 0.99557 | -0.030991 | 0.0045336 | 0.0011362
7 | 0.98943 | -0.074231 | 0.0010106 | 0.00025327
8 | 0.98909 | -0.07668 | 0.0024428 | 0.00061223
9 | 0.98891 | -0.07795 | 0.0043136 | 0.0010811
10 | 0.98872 | -0.079303 | 0.00023396 | 5.8636e-05
11 | 0.98828 | -0.0824 | 0.0026534 | 0.00066501
12 | 0.98823 | -0.082726 | 0.0014389 | 0.00036062
13 | 0.99519 | -0.033726 | 0.0030974 | 0.00077627
14 | 0.99513 | -0.034142 | 0.0039205 | 0.00098258
15 | 0.9955 | -0.031525 | 0.0033591 | 0.00084187
16 | 0.99691 | -0.02161 | 0.006727 | 0.001686
17 | 0.99197 | -0.056204 | 0.0087219 | 0.0021859
18 | 0.99202 | -0.05589 | 0.0043275 | 0.0010846
19 | 0.99772 | -0.015939 | 0.012902 | 0.0032336
20 | 0.99639 | -0.025223 | 0.0035983 | 0.00090181
21 | 0.9916 | -0.058869 | 0.003316 | 0.00083108
22 | 0.99182 | -0.057302 | 0.0022579 | 0.00056589
23 | 0.99833 | -0.011657 | 0.0069413 | 0.0017396
24 | 1 | 0 | -0.1548 | -0.038705
25 | 0.99986 | -0.00097542 | 0.0069226 | 0.001735
26 | 0.99841 | -0.011099 | 0.0025568 | 0.00064078
27 | 0.99824 | -0.01229 | 0 | 0
28 | 0.9957 | -0.029989 | 0.0024255 | 0.00060789
29 | 0.99785 | -0.014986 | 0.011182 | 0.0028026
30 | 0.99509 | -0.034262 | 0.0034637 | 0.00086808
31 | 0.98916 | -0.076075 | 0.0056363 | 0.0014126
32 | 0.98987 | -0.071015 | 0 | 0
33 | 0.98864 | -0.079694 | 0.01534 | 0.0038447
34 | 0.99022 | -0.068551 | 0 | 0
35 | 0.99093 | -0.063538 | 0.0022538 | 0.00056485
36 | 0.99133 | -0.060714 | 0 | 0
37 | 0.99127 | -0.061178 | 0.0018776 | 0.00047056
38 | 0.99181 | -0.05731 | 0.0062065 | 0.0015555
39 | 0.99506 | -0.034503 | 0.0023965 | 0.00060063
40 | 0.99248 | -0.052607 | 0.0019766 | 0.00049537
41 | 0.9929 | -0.04966 | 0 | 0
42 | 0.99259 | -0.051811 | 0 | 0
43 | 0.99219 | -0.054668 | 0 | 0
44 | 0.99202 | -0.055838 | 0.0012791 | 0.00032056
45 | 0.99126 | -0.061181 | 0.0021375 | 0.00053571
46 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0026265 | -0.00065827 | 0.0026267 | 0.00065812 | 1.474e-07 | -1.4106e-07 | 0.0039335 | 0.0039334 | 0.0039335 | 0.9936 | -0.044862 | 0.99365 | -0.044457 | 1.4568
1 | -0.0026267 | -0.00065812 | 0.0026268 | 0.00065795 | 1.8482e-07 | -1.7691e-07 | 0.0039334 | 0.0039333 | 0.0039334 | 0.99365 | -0.044457 | 0.99373 | -0.043948 | 1.4568
2 | 0.015764 | 0.0039561 | -0.015735 | -0.0039458 | 2.9481e-05 | 1.0243e-05 | 0.023607 | 0.023608 | 0.023608 | 0.99373 | -0.043948 | 0.99181 | -0.057444 | 8.7436
3 | -0.018391 | -0.004614 | 0.018419 | 0.004624 | 2.7845e-05 | 9.9463e-06 | 0.027541 | 0.02754 | 0.027541 | 0.99373 | -0.043948 | 0.99528 | -0.033049 | 10.2002
4 | 0.015735 | 0.0039458 | -0.015703 | -0.0039346 | 3.2186e-05 | 1.1187e-05 | 0.023608 | 0.023608 | 0.023608 | 0.99181 | -0.057444 | 0.98972 | -0.072229 | 8.7437
5 | -0.023814 | -0.0059762 | 0.023821 | 0.0059787 | 6.8056e-06 | 2.5057e-06 | 0.035607 | 0.035607 | 0.035607 | 0.99528 | -0.033049 | 0.99557 | -0.030991 | 13.1878
6 | 0.012105 | 0.0030329 | -0.012101 | -0.0030318 | 3.3528e-06 | 1.0811e-06 | 0.018199 | 0.018199 | 0.018199 | 0.98972 | -0.072229 | 0.98943 | -0.074231 | 6.7402
7 | -0.028355 | -0.007115 | 0.028378 | 0.0071234 | 2.2712e-05 | 8.4716e-06 | 0.042383 | 0.042383 | 0.042383 | 0.99557 | -0.030991 | 0.99639 | -0.025223 | 15.6975
8 | 0.011091 | 0.0027785 | -0.011087 | -0.0027774 | 3.7559e-06 | 1.1668e-06 | 0.016679 | 0.016679 | 0.016679 | 0.98943 | -0.074231 | 0.98909 | -0.07668 | 6.1774
9 | 0.008644 | 0.0021651 | -0.0086425 | -0.0021647 | 1.5183e-06 | 3.9933e-07 | 0.013004 | 0.013004 | 0.013004 | 0.98909 | -0.07668 | 0.98891 | -0.07795 | 4.8163
10 | 0.0043289 | 0.0010837 | -0.0043281 | -0.0010837 | 8.0895e-07 | -8.0848e-08 | 0.0065133 | 0.0065134 | 0.0065134 | 0.98891 | -0.07795 | 0.98872 | -0.079303 | 2.4124
11 | 0.0040941 | 0.0010251 | -0.0040924 | -0.0010254 | 1.7527e-06 | -2.7434e-07 | 0.0061613 | 0.0061616 | 0.0061616 | 0.98872 | -0.079303 | 0.98828 | -0.0824 | 2.2821
12 | 0.001439 | 0.00036037 | -0.0014389 | -0.00036062 | 6.4795e-08 | -2.5852e-07 | 0.0021665 | 0.0021666 | 0.0021666 | 0.98828 | -0.0824 | 0.98823 | -0.082726 | 0.80245
13 | 0.0039208 | 0.00098253 | -0.0039205 | -0.00098258 | 2.258e-07 | -4.9953e-08 | 0.0058624 | 0.0058624 | 0.0058624 | 0.99519 | -0.033726 | 0.99513 | -0.034142 | 2.1713
14 | -0.0070181 | -0.0017588 | 0.0070203 | 0.0017592 | 2.1386e-06 | 4.18e-07 | 0.010494 | 0.010493 | 0.010494 | 0.99519 | -0.033726 | 0.9955 | -0.031525 | 3.8865
15 | -0.010379 | -0.0026011 | 0.010394 | 0.0026053 | 1.4258e-05 | 4.2478e-06 | 0.015514 | 0.015514 | 0.015514 | 0.9955 | -0.031525 | 0.99691 | -0.02161 | 5.7461
16 | -0.049113 | -0.012323 | 0.049151 | 0.012337 | 3.8679e-05 | 1.4726e-05 | 0.073312 | 0.073312 | 0.073312 | 0.99691 | -0.02161 | 0.99772 | -0.015939 | 27.1525
17 | 0.031992 | 0.0080313 | -0.031976 | -0.0080252 | 1.6047e-05 | 6.0251e-06 | 0.047757 | 0.047757 | 0.047757 | 0.99691 | -0.02161 | 0.99639 | -0.025223 | 17.6877
18 | -0.0087219 | -0.0021859 | 0.0087223 | 0.002186 | 3.7902e-07 | 9.9965e-08 | 0.013083 | 0.013083 | 0.013083 | 0.99197 | -0.056204 | 0.99202 | -0.05589 | 4.8457
19 | -0.01305 | -0.0032706 | 0.013056 | 0.0032725 | 5.9345e-06 | 1.9619e-06 | 0.019574 | 0.019574 | 0.019574 | 0.99202 | -0.05589 | 0.99248 | -0.052607 | 7.2498
20 | -0.062054 | -0.015571 | 0.062091 | 0.015585 | 3.6889e-05 | 1.4098e-05 | 0.092555 | 0.092554 | 0.092555 | 0.99772 | -0.015939 | 0.99833 | -0.011657 | 34.2795
21 | -0.003316 | -0.00083108 | 0.0033168 | 0.00083075 | 7.1887e-07 | -3.2382e-07 | 0.0049761 | 0.0049759 | 0.0049761 | 0.9916 | -0.058869 | 0.99182 | -0.057302 | 1.843
22 | -0.0055747 | -0.0013966 | 0.0055758 | 0.0013967 | 1.1292e-06 | 1.0036e-07 | 0.0083635 | 0.0083634 | 0.0083635 | 0.99182 | -0.057302 | 0.99202 | -0.055838 | 3.0976
23 | -0.069032 | -0.017325 | 0.069144 | 0.017367 | 0.00011189 | 4.2815e-05 | 0.1029 | 0.1029 | 0.1029 | 0.99833 | -0.011657 | 1 | 0 | 38.1113
24 | 0.084852 | 0.021337 | -0.08484 | -0.021333 | 1.1533e-05 | 4.4207e-06 | 0.12629 | 0.12629 | 0.12629 | 1 | 0 | 0.99986 | -0.00097542 | 46.7724
25 | 0.077917 | 0.019598 | -0.077808 | -0.019556 | 0.00010982 | 4.2066e-05 | 0.11598 | 0.11598 | 0.11598 | 0.99986 | -0.00097542 | 0.99841 | -0.011099 | 42.9567
26 | 0.075251 | 0.018915 | -0.075238 | -0.01891 | 1.2485e-05 | 4.781e-06 | 0.11217 | 0.11217 | 0.11217 | 0.99841 | -0.011099 | 0.99824 | -0.01229 | 41.5454
27 | 0.064052 | 0.016106 | -0.063894 | -0.016046 | 0.00015759 | 6.0249e-05 | 0.095497 | 0.095497 | 0.095497 | 0.99824 | -0.01229 | 0.9957 | -0.029989 | 35.3694
28 | 0.011187 | 0.0028039 | -0.011182 | -0.0028026 | 4.1748e-06 | 1.2913e-06 | 0.016675 | 0.016675 | 0.016675 | 0.99824 | -0.01229 | 0.99785 | -0.014986 | 6.1761
29 | 0.061469 | 0.015438 | -0.061432 | -0.015424 | 3.6489e-05 | 1.3944e-05 | 0.091873 | 0.091873 | 0.091873 | 0.9957 | -0.029989 | 0.99509 | -0.034262 | 34.0269
30 | 0.057968 | 0.014556 | -0.057967 | -0.014555 | 1.9446e-06 | 7.4255e-07 | 0.086693 | 0.086693 | 0.086693 | 0.99509 | -0.034262 | 0.99506 | -0.034503 | 32.1086
31 | -0.020984 | -0.0052599 | 0.020999 | 0.0052653 | 1.4713e-05 | 5.355e-06 | 0.031568 | 0.031568 | 0.031568 | 0.98916 | -0.076075 | 0.98987 | -0.071015 | 11.6917
32 | 0.015348 | 0.0038473 | -0.01534 | -0.0038447 | 7.6896e-06 | 2.661e-06 | 0.023089 | 0.023089 | 0.023089 | 0.98916 | -0.076075 | 0.98864 | -0.079694 | 8.5514
33 | -0.020999 | -0.0052653 | 0.021006 | 0.0052679 | 7.1702e-06 | 2.6095e-06 | 0.031568 | 0.031568 | 0.031568 | 0.98987 | -0.071015 | 0.99022 | -0.068551 | 11.6917
34 | -0.021006 | -0.0052679 | 0.021021 | 0.0052732 | 1.4608e-05 | 5.316e-06 | 0.031568 | 0.031567 | 0.031568 | 0.99022 | -0.068551 | 0.99093 | -0.063538 | 11.6917
35 | -0.023275 | -0.005838 | 0.023284 | 0.0058414 | 9.116e-06 | 3.352e-06 | 0.034952 | 0.034952 | 0.034952 | 0.99093 | -0.063538 | 0.99133 | -0.060714 | 12.9451
36 | 0.0040153 | 0.0010062 | -0.0040151 | -0.0010063 | 2.5757e-07 | -4.7426e-08 | 0.0060271 | 0.0060271 | 0.0060271 | 0.99133 | -0.060714 | 0.99127 | -0.061178 | 2.2323
37 | -0.027299 | -0.0068476 | 0.027312 | 0.0068524 | 1.2891e-05 | 4.7995e-06 | 0.040979 | 0.040979 | 0.040979 | 0.99133 | -0.060714 | 0.99181 | -0.05731 | 15.1773
38 | 0.0021375 | 0.0005357 | -0.0021375 | -0.00053571 | 1.0058e-09 | -1.6316e-09 | 0.0032086 | 0.0032086 | 0.0032086 | 0.99127 | -0.061178 | 0.99126 | -0.061181 | 1.1884
39 | -0.033518 | -0.0084079 | 0.033544 | 0.0084175 | 2.5582e-05 | 9.63e-06 | 0.05029 | 0.05029 | 0.05029 | 0.99181 | -0.05731 | 0.99259 | -0.051811 | 18.6261
40 | 0.05557 | 0.013955 | -0.055453 | -0.01391 | 0.00011681 | 4.4577e-05 | 0.083109 | 0.08311 | 0.08311 | 0.99506 | -0.034503 | 0.9929 | -0.04966 | 30.7813
41 | -0.015032 | -0.0037679 | 0.015038 | 0.00377 | 6.1363e-06 | 2.1098e-06 | 0.022538 | 0.022538 | 0.022538 | 0.99248 | -0.052607 | 0.9929 | -0.04966 | 8.3473
42 | 0.040415 | 0.01014 | -0.040403 | -0.010136 | 1.2058e-05 | 4.5698e-06 | 0.060572 | 0.060572 | 0.060572 | 0.9929 | -0.04966 | 0.99259 | -0.051811 | 22.434
43 | 0.0068587 | 0.001718 | -0.006856 | -0.0017175 | 2.7092e-06 | 5.1137e-07 | 0.010282 | 0.010282 | 0.010282 | 0.99259 | -0.051811 | 0.99219 | -0.054668 | 3.8081
44 | 0.006856 | 0.0017175 | -0.0068549 | -0.0017173 | 1.1098e-06 | 2.096e-07 | 0.010282 | 0.010282 | 0.010282 | 0.99219 | -0.054668 | 0.99202 | -0.055838 | 3.8081

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15994 | 0.039995

## res_load
| p_mw | q_mvar
0 | 0.0026265 | 0.00065827
1 | 0.0053955 | 0.0013523
2 | 0.003598 | 0.00090175
3 | 0.0045336 | 0.0011362
4 | 0.0010106 | 0.00025327
5 | 0.0024428 | 0.00061223
6 | 0.0043136 | 0.0010811
7 | 0.00023396 | 5.8636e-05
8 | 0.0026534 | 0.00066501
9 | 0.0014389 | 0.00036062
10 | 0.0030974 | 0.00077627
11 | 0.0039205 | 0.00098258
12 | 0.0033591 | 0.00084187
13 | 0.006727 | 0.001686
14 | 0.0087219 | 0.0021859
15 | 0.0043275 | 0.0010846
16 | 0.012902 | 0.0032336
17 | 0.0035983 | 0.00090181
18 | 0.003316 | 0.00083108
19 | 0.0022579 | 0.00056589
20 | 0.0069413 | 0.0017396
21 | 0.0051481 | 0.0012902
22 | 0.0069226 | 0.001735
23 | 0.0025568 | 0.00064078
24 | 0.0024255 | 0.00060789
25 | 0.011182 | 0.0028026
26 | 0.0034637 | 0.00086808
27 | 0.0056363 | 0.0014126
28 | 0.01534 | 0.0038447
29 | 0.0022538 | 0.00056485
30 | 0.0018776 | 0.00047056
31 | 0.0062065 | 0.0015555
32 | 0.0023965 | 0.00060063
33 | 0.0019766 | 0.00049537
34 | 0.0012791 | 0.00032056
35 | 0.0021375 | 0.00053571

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1