## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1406-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1406-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1406-9_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1406-9_0_3_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_1406-9_0_3_node_19 | 0.4 | n |  | TRUE
5 | bus_LV_1406-9_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1406-9_0_3_node_17 | 0.4 | n |  | TRUE
7 | bus_LV_1406-9_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1406-9_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1406-9_0_3_node_10 | 0.4 | n |  | TRUE
10 | bus_LV_1406-9_0_3_node_11 | 0.4 | n |  | TRUE
11 | bus_LV_1406-9_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1406-9_0_3_node_24 | 0.4 | n |  | TRUE
13 | bus_LV_1406-9_0_3_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_1406-9_0_3_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_1406-9_0_3_node_32 | 0.4 | n |  | TRUE
16 | bus_LV_1406-9_0_3_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1406-9_0_3_node_18 | 0.4 | n |  | TRUE
18 | bus_LV_1406-9_0_3_node_28 | 0.4 | n |  | TRUE
19 | bus_LV_1406-9_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1406-9_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1406-9_0_3_node_34 | 0.4 | n |  | TRUE
22 | bus_LV_1406-9_0_3_node_22 | 0.4 | n |  | TRUE
23 | bus_LV_1406-9_0_3_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_1406-9_0_3_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_1406-9_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1406-9_0_3_node_13 | 0.4 | n |  | TRUE
27 | bus_LV_1406-9_0_3_node_31 | 0.4 | n |  | TRUE
28 | bus_LV_1406-9_0_3_node_33 | 0.4 | n |  | TRUE
29 | bus_LV_1406-9_0_3_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_1406-9_0_3_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_1406-9_0_3_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1406-9_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1406-9_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_MV_138_1_node_163 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1406-9_0_3_load_0 | 0 | 0.0088868 | 0.0022272 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1406-9_0_3_load_1 | 1 | 0.0094114 | 0.0023587 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1406-9_0_3_load_4 | 5 | 0.0083522 | 0.0020932 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1406-9_0_3_load_17 | 6 | 0.0085973 | 0.0021547 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1406-9_0_3_load_10 | 9 | 0.0088681 | 0.0022225 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1406-9_0_3_load_11 | 10 | 0.017903 | 0.0044868 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1406-9_0_3_load_21 | 13 | 0.013566 | 0.0033999 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1406-9_0_3_load_32 | 15 | 0.0077855 | 0.0019512 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1406-9_0_3_load_18 | 17 | 0.007315 | 0.0018333 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1406-9_0_3_load_28 | 18 | 0.011515 | 0.0028858 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1406-9_0_3_load_15 | 19 | 0.0064657 | 0.0016205 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1406-9_0_3_load_12 | 20 | 0.0072675 | 0.0018214 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1406-9_0_3_load_34 | 21 | 0.0015867 | 0.00039767 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1406-9_0_3_load_22 | 22 | 0.00020662 | 5.1784e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1406-9_0_3_load_26 | 23 | 0.0043086 | 0.0010798 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1406-9_0_3_load_25 | 24 | 0.0021273 | 0.00053316 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1406-9_0_3_load_16 | 25 | 0.010435 | 0.0026153 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1406-9_0_3_load_31 | 27 | 0.0055643 | 0.0013946 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1406-9_0_3_load_33 | 28 | 0.0043922 | 0.0011008 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1406-9_0_3_load_14 | 29 | 0.010496 | 0.0026304 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1406-9_0_3_load_29 | 30 | 0.021213 | 0.0053165 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1406-9_0_3_load_27 | 31 | 0.00053589 | 0.00013431 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1406-9_0_3_load_23 | 32 | 0.0032419 | 0.0008125 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1406-9_0_3_load_30 | 33 | 0.029132 | 0.0073012 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1406-9_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.046174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1406-9_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.035594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_1406-9_0_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.016908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1406-9_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.020936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_1406-9_0_3_line_4 | NAYY 4x150 SE | 3 | 14 | 0.20431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1406-9_0_3_line_5 | NAYY 4x150 SE | 3 | 15 | 0.02829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1406-9_0_3_line_6 | NAYY 4x150 SE | 4 | 18 | 0.018597 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1406-9_0_3_line_7 | NAYY 4x150 SE | 4 | 16 | 0.060214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1406-9_0_3_line_8 | NAYY 4x150 SE | 5 | 6 | 0.0016013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1406-9_0_3_line_9 | NAYY 4x150 SE | 6 | 19 | 0.018701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1406-9_0_3_line_10 | NAYY 4x150 SE | 7 | 8 | 0.05909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1406-9_0_3_line_11 | NAYY 4x150 SE | 7 | 9 | 0.0028973 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1406-9_0_3_line_12 | NAYY 4x150 SE | 8 | 10 | 0.0032354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1406-9_0_3_line_13 | NAYY 4x150 SE | 10 | 20 | 0.022707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1406-9_0_3_line_14 | NAYY 4x150 SE | 11 | 12 | 0.039425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1406-9_0_3_line_15 | NAYY 4x150 SE | 11 | 13 | 0.035334 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1406-9_0_3_line_16 | NAYY 4x150 SE | 12 | 21 | 0.039726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1406-9_0_3_line_17 | NAYY 4x150 SE | 13 | 22 | 0.031375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1406-9_0_3_line_18 | NAYY 4x150 SE | 14 | 23 | 0.051093 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1406-9_0_3_line_19 | NAYY 4x150 SE | 15 | 24 | 0.01613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1406-9_0_3_line_20 | NAYY 4x150 SE | 16 | 17 | 0.03715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1406-9_0_3_line_21 | NAYY 4x150 SE | 17 | 25 | 0.011273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1406-9_0_3_line_22 | NAYY 4x150 SE | 18 | 30 | 0.014118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1406-9_0_3_line_23 | NAYY 4x150 SE | 19 | 29 | 0.017319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1406-9_0_3_line_24 | NAYY 4x150 SE | 20 | 26 | 0.0061836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1406-9_0_3_line_25 | NAYY 4x150 SE | 22 | 32 | 0.065696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1406-9_0_3_line_26 | NAYY 4x150 SE | 23 | 31 | 0.0073394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1406-9_0_3_line_27 | NAYY 4x150 SE | 24 | 28 | 0.013554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1406-9_0_3_line_28 | NAYY 4x150 SE | 24 | 32 | 0.020381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1406-9_0_3_line_29 | NAYY 4x150 SE | 25 | 29 | 0.0049211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1406-9_0_3_line_30 | NAYY 4x150 SE | 26 | 27 | 0.003581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1406-9_0_3_line_31 | NAYY 4x150 SE | 27 | 28 | 0.017761 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1406-9_0_3_line_32 | NAYY 4x150 SE | 30 | 33 | 0.0029482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1406-9_0_3_trafo_1 | 0.25 MVA 20/0.4 kV | 34 | 1 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10
0 | 2661066.6812 | 1191321.384 | 2661067.3599 | 1191320.4147 | 2661069.9422 | 1191318.4066 | 2661074.3522 | 1191316.6172 | 2661076.9294 | 1191315.1093 | 2661098.3184 | 1191288.7133
1 | 2661120.7274 | 1191261.0584 | 2661098.3184 | 1191288.7133
2 | 2661133.2917 | 1191272.3487 | 2661130.7901 | 1191269.4326 | 2661120.7274 | 1191261.0584
3 | 2661120.7274 | 1191261.0584 | 2661104.6011 | 1191247.6528
4 | 2661133.2917 | 1191272.3487 | 2661192.3604 | 1191250.5729 | 2661198.3406 | 1191246.5984 | 2661227.7843 | 1191239.373 | 2661289.175 | 1191235.132 | 2661304.7069 | 1191241.7726 | 2661310.6265 | 1191243.7121 | 2661318.3008 | 1191243.3238 | 2661328.9366 | 1191238.9079
5 | 2661133.2917 | 1191272.3487 | 2661140.7212 | 1191280.9851 | 2661151.7428 | 1191293.7932
6 | 2661104.6011 | 1191247.6528 | 2661096.0617 | 1191263.3302 | 2661095.6398 | 1191263.9438
7 | 2661058.3182 | 1191208.9807 | 2661089.0192 | 1191234.6975 | 2661104.6011 | 1191247.6528
8 | 2661018.0737 | 1191288.1473 | 2661017.4361 | 1191289.6162
9 | 2661018.0737 | 1191288.1473 | 2661025.5199 | 1191270.993
10 | 2661071.4623 | 1191345.0263 | 2661094.4685 | 1191355.1557 | 2661096.1776 | 1191353.5389 | 2661098.3821 | 1191352.6942 | 2661100.745 | 1191352.7628 | 2661102.9005 | 1191353.7187 | 2661104.5224 | 1191355.4251 | 2661105.3691 | 1191357.6239 | 2661105.307 | 1191359.9691 | 2661114.4976 | 1191354.4374 | 2661118.2904 | 1191348.873
11 | 2661071.4623 | 1191345.0263 | 2661068.9049 | 1191343.6646
12 | 2661118.2904 | 1191348.873 | 2661120.1138 | 1191346.2004
13 | 2661132.9118 | 1191327.4432 | 2661132.9118 | 1191327.4432 | 2661120.1138 | 1191346.2004
14 | 2661292.827 | 1191424.2338 | 2661253.4764 | 1191428.0888
15 | 2661253.4764 | 1191428.0888 | 2661246.8566 | 1191414.1242 | 2661238.0877 | 1191400.8046 | 2661235.61 | 1191397.7507
16 | 2661292.827 | 1191424.2338 | 2661306.9931 | 1191421.2437 | 2661330.3787 | 1191411.728
17 | 2661215.8428 | 1191373.3857 | 2661235.61 | 1191397.7507
18 | 2661328.9366 | 1191238.9079 | 2661332.6026 | 1191240.5353 | 2661333.7133 | 1191242.2699 | 2661333.8951 | 1191244.6176 | 2661332.9475 | 1191247.0537 | 2661329.7352 | 1191251.0008 | 2661322.1829 | 1191259.584 | 2661321.3483 | 1191261.4098 | 2661321.1174 | 1191263.8533 | 2661321.81 | 1191266.2062 | 2661330.3906 | 1191280.4372
19 | 2661162.2638 | 1191306.0195 | 2661151.7428 | 1191293.7932
20 | 2661058.3182 | 1191208.9807 | 2661051.8782 | 1191216.1747 | 2661044.9205 | 1191226.2985 | 2661038.864 | 1191240.2513
21 | 2661038.864 | 1191240.2513 | 2661034.3754 | 1191250.592
22 | 2661095.6398 | 1191263.9438 | 2661088.1288 | 1191274.867 | 2661087.8875 | 1191275.6946
23 | 2661032.4159 | 1191255.1062 | 2661025.5199 | 1191270.993
24 | 2661138.1622 | 1191330.7098 | 2661132.9118 | 1191327.4432
25 | 2661215.8428 | 1191373.3857 | 2661203.9266 | 1191358.6978 | 2661174.9065 | 1191322.0049
26 | 2661334.1802 | 1191286.7225 | 2661330.3906 | 1191280.4372
27 | 2661162.2638 | 1191306.0195 | 2661151.6576 | 1191314.4584
28 | 2661162.2638 | 1191306.0195 | 2661174.9065 | 1191322.0049
29 | 2661032.4159 | 1191255.1062 | 2661034.3754 | 1191250.592
30 | 2661138.1622 | 1191330.7098 | 2661140.166 | 1191327.742
31 | 2661151.6576 | 1191314.4584 | 2661146.2057 | 1191318.7962 | 2661140.166 | 1191327.742
32 | 2661087.8875 | 1191275.6946 | 2661087.0621 | 1191278.5249

## bus_geodata
| x | y | coords
0 | 2661066.6812 | 1191321.384
1 | 2661098.3184 | 1191288.7133
2 | 2661120.7274 | 1191261.0584
3 | 2661133.2917 | 1191272.3487
4 | 2661104.6011 | 1191247.6528
5 | 2661017.4361 | 1191289.6162
6 | 2661018.0737 | 1191288.1473
7 | 2661071.4623 | 1191345.0263
8 | 2661118.2904 | 1191348.873
9 | 2661068.9049 | 1191343.6646
10 | 2661120.1138 | 1191346.2004
11 | 2661253.4764 | 1191428.0888
12 | 2661292.827 | 1191424.2338
13 | 2661235.61 | 1191397.7507
14 | 2661328.9366 | 1191238.9079
15 | 2661151.7428 | 1191293.7932
16 | 2661058.3182 | 1191208.9807
17 | 2661038.864 | 1191240.2513
18 | 2661095.6398 | 1191263.9438
19 | 2661025.5199 | 1191270.993
20 | 2661132.9118 | 1191327.4432
21 | 2661330.3787 | 1191411.728
22 | 2661215.8428 | 1191373.3857
23 | 2661330.3906 | 1191280.4372
24 | 2661162.2638 | 1191306.0195
25 | 2661034.3754 | 1191250.592
26 | 2661138.1622 | 1191330.7098
27 | 2661140.166 | 1191327.742
28 | 2661151.6576 | 1191314.4584
29 | 2661032.4159 | 1191255.1062
30 | 2661087.8875 | 1191275.6946
31 | 2661334.1802 | 1191286.7225
32 | 2661174.9065 | 1191322.0049
33 | 2661087.0621 | 1191278.5249
34 | 2661120.7274 | 1191261.0584

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99941 | -0.0040987 | 0.0088868 | 0.0022272
1 | 1 | 0 | -0.20289 | -0.050946
2 | 0.9951 | -0.034086 | 0 | 0
3 | 0.99321 | -0.047305 | 0 | 0
4 | 0.99338 | -0.046086 | 0 | 0
5 | 0.98407 | -0.11177 | 0.0083522 | 0.0020932
6 | 0.98409 | -0.11163 | 0.0085973 | 0.0021547
7 | 0.9847 | -0.10741 | 0 | 0
8 | 0.98545 | -0.10202 | 0 | 0
9 | 0.98466 | -0.10768 | 0.0088681 | 0.0022225
10 | 0.9855 | -0.10173 | 0.017903 | 0.0044868
11 | 0.98596 | -0.098454 | 0 | 0
12 | 0.98587 | -0.099099 | 0 | 0
13 | 0.98604 | -0.097875 | 0.013566 | 0.0033999
14 | 0.99179 | -0.057365 | 0 | 0
15 | 0.99024 | -0.068131 | 0.0077855 | 0.0019512
16 | 0.98888 | -0.077697 | 0 | 0
17 | 0.9861 | -0.097343 | 0.007315 | 0.0018333
18 | 0.99173 | -0.057741 | 0.011515 | 0.0028858
19 | 0.98455 | -0.10837 | 0.0064657 | 0.0016205
20 | 0.98638 | -0.095484 | 0.0072675 | 0.0018214
21 | 0.98578 | -0.099747 | 0.0015867 | 0.00039767
22 | 0.98673 | -0.092994 | 0.00020662 | 5.1784e-05
23 | 0.99143 | -0.059879 | 0.0043086 | 0.0010798
24 | 0.98874 | -0.078778 | 0.0021273 | 0.00053316
25 | 0.98538 | -0.10248 | 0.010435 | 0.0026153
26 | 0.98668 | -0.093325 | 0 | 0
27 | 0.98686 | -0.092075 | 0.0055643 | 0.0013946
28 | 0.98787 | -0.084873 | 0.0043922 | 0.0011008
29 | 0.98514 | -0.10419 | 0.010496 | 0.0026304
30 | 0.99071 | -0.064961 | 0.021213 | 0.0053165
31 | 0.99142 | -0.059919 | 0.00053589 | 0.00013431
32 | 0.98819 | -0.082655 | 0.0032419 | 0.0008125
33 | 0.99058 | -0.065835 | 0.029132 | 0.0073012
34 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0088868 | -0.0022272 | 0.0088918 | 0.0022286 | 5.0441e-06 | 1.3346e-06 | 0.013231 | 0.013231 | 0.013231 | 0.99941 | -0.0040987 | 1 | 0 | 4.9005
1 | 0.19319 | 0.048717 | -0.19227 | -0.048365 | 0.00091844 | 0.00035232 | 0.28758 | 0.28758 | 0.28758 | 1 | 0 | 0.9951 | -0.034086 | 53.2556
2 | 0.077978 | 0.019618 | -0.077835 | -0.019563 | 0.00014352 | 5.498e-05 | 0.11663 | 0.11663 | 0.11663 | 0.9951 | -0.034086 | 0.99321 | -0.047305 | 43.1969
3 | 0.1143 | 0.028746 | -0.11411 | -0.028674 | 0.00019089 | 7.2876e-05 | 0.17095 | 0.17095 | 0.17095 | 0.9951 | -0.034086 | 0.99338 | -0.046086 | 31.6572
4 | 0.004853 | 0.001214 | -0.0048462 | -0.001214 | 6.7388e-06 | -4.8483e-08 | 0.0072699 | 0.0072708 | 0.0072708 | 0.99321 | -0.047305 | 0.99179 | -0.057365 | 2.6929
5 | 0.072982 | 0.018349 | -0.072771 | -0.018268 | 0.00021113 | 8.0838e-05 | 0.10936 | 0.10936 | 0.10936 | 0.99321 | -0.047305 | 0.99024 | -0.068131 | 40.5044
6 | 0.062013 | 0.015562 | -0.061913 | -0.015524 | 0.00010015 | 3.8279e-05 | 0.092899 | 0.092899 | 0.092899 | 0.99338 | -0.046086 | 0.99173 | -0.057741 | 34.407
7 | 0.052092 | 0.013111 | -0.051863 | -0.013024 | 0.00022889 | 8.7259e-05 | 0.07805 | 0.07805 | 0.07805 | 0.99338 | -0.046086 | 0.98888 | -0.077697 | 28.9075
8 | -0.0083522 | -0.0020932 | 0.0083523 | 0.0020933 | 1.5937e-07 | 4.0953e-08 | 0.012629 | 0.012629 | 0.012629 | 0.98407 | -0.11177 | 0.98409 | -0.11163 | 4.6775
9 | -0.01695 | -0.004248 | 0.016957 | 0.0042507 | 7.6648e-06 | 2.7103e-06 | 0.025629 | 0.025629 | 0.025629 | 0.98409 | -0.11163 | 0.98455 | -0.10837 | 9.4922
10 | -0.0088684 | -0.0022226 | 0.008875 | 0.0022244 | 6.622e-06 | 1.7947e-06 | 0.013401 | 0.013401 | 0.013401 | 0.9847 | -0.10741 | 0.98545 | -0.10202 | 4.9635
11 | 0.0088684 | 0.0022226 | -0.0088681 | -0.0022225 | 3.247e-07 | 8.803e-08 | 0.013401 | 0.013401 | 0.013401 | 0.9847 | -0.10741 | 0.98466 | -0.10768 | 4.9635
12 | -0.008875 | -0.0022244 | 0.0088754 | 0.0022245 | 3.6257e-07 | 9.8228e-08 | 0.013401 | 0.013401 | 0.013401 | 0.98545 | -0.10202 | 0.9855 | -0.10173 | 4.9634
13 | -0.026778 | -0.0067113 | 0.026801 | 0.0067199 | 2.3164e-05 | 8.6196e-06 | 0.040432 | 0.040432 | 0.040432 | 0.9855 | -0.10173 | 0.98638 | -0.095484 | 14.975
14 | 0.001587 | 0.00039677 | -0.0015869 | -0.00039722 | 1.411e-07 | -4.4849e-07 | 0.0023948 | 0.002395 | 0.002395 | 0.98596 | -0.098454 | 0.98587 | -0.099099 | 0.88702
15 | -0.001587 | -0.00039677 | 0.0015871 | 0.00039637 | 1.2644e-07 | -4.0204e-07 | 0.0023948 | 0.0023946 | 0.0023948 | 0.98596 | -0.098454 | 0.98604 | -0.097875 | 0.88696
16 | 0.0015869 | 0.00039722 | -0.0015867 | -0.00039767 | 1.422e-07 | -4.5181e-07 | 0.002395 | 0.0023951 | 0.0023951 | 0.98587 | -0.099099 | 0.98578 | -0.099747 | 0.88709
17 | -0.015153 | -0.0037963 | 0.015163 | 0.0037998 | 1.0237e-05 | 3.5368e-06 | 0.022867 | 0.022867 | 0.022867 | 0.98604 | -0.097875 | 0.98673 | -0.092994 | 8.4691
18 | 0.0048462 | 0.001214 | -0.0048445 | -0.0012141 | 1.6855e-06 | -1.0838e-08 | 0.0072708 | 0.007271 | 0.007271 | 0.99179 | -0.057365 | 0.99143 | -0.059879 | 2.693
19 | 0.064985 | 0.016317 | -0.064889 | -0.01628 | 9.6001e-05 | 3.6716e-05 | 0.097663 | 0.097663 | 0.097663 | 0.99024 | -0.068131 | 0.98874 | -0.078778 | 36.1714
20 | 0.051863 | 0.013024 | -0.051722 | -0.01297 | 0.00014122 | 5.384e-05 | 0.07805 | 0.07805 | 0.07805 | 0.98888 | -0.077697 | 0.9861 | -0.097343 | 28.9075
21 | 0.044407 | 0.011137 | -0.044375 | -0.011125 | 3.1588e-05 | 1.2006e-05 | 0.067012 | 0.067012 | 0.067012 | 0.9861 | -0.097343 | 0.98538 | -0.10248 | 24.8193
22 | 0.050399 | 0.012638 | -0.050348 | -0.012619 | 5.0381e-05 | 1.9195e-05 | 0.075622 | 0.075622 | 0.075622 | 0.99173 | -0.057741 | 0.99071 | -0.064961 | 28.0083
23 | -0.023423 | -0.0058711 | 0.023437 | 0.0058761 | 1.3544e-05 | 4.9887e-06 | 0.035401 | 0.035401 | 0.035401 | 0.98455 | -0.10837 | 0.98514 | -0.10419 | 13.1115
24 | -0.034069 | -0.0085414 | 0.034079 | 0.0085452 | 1.0193e-05 | 3.8413e-06 | 0.051396 | 0.051396 | 0.051396 | 0.98638 | -0.095484 | 0.98668 | -0.093325 | 19.0355
25 | -0.01537 | -0.0038516 | 0.015392 | 0.0038593 | 2.2023e-05 | 7.6299e-06 | 0.023178 | 0.023178 | 0.023178 | 0.98673 | -0.092994 | 0.98819 | -0.082655 | 8.5845
26 | 0.0005359 | 0.00013421 | -0.00053589 | -0.00013431 | 2.9626e-09 | -9.3504e-08 | 0.00080428 | 0.00080432 | 0.00080432 | 0.99143 | -0.059879 | 0.99142 | -0.059919 | 0.29789
27 | 0.044118 | 0.011072 | -0.044081 | -0.011058 | 3.7291e-05 | 1.4169e-05 | 0.066402 | 0.066402 | 0.066402 | 0.98874 | -0.078778 | 0.98787 | -0.084873 | 24.5933
28 | 0.018644 | 0.0046754 | -0.018634 | -0.0046718 | 1.0013e-05 | 3.5899e-06 | 0.028059 | 0.02806 | 0.02806 | 0.98874 | -0.078778 | 0.98819 | -0.082655 | 10.3924
29 | 0.03394 | 0.0085096 | -0.033932 | -0.0085066 | 8.0668e-06 | 3.0399e-06 | 0.051254 | 0.051254 | 0.051254 | 0.98538 | -0.10248 | 0.98514 | -0.10419 | 18.983
30 | -0.034079 | -0.0085452 | 0.034085 | 0.0085474 | 5.9026e-06 | 2.2245e-06 | 0.051396 | 0.051396 | 0.051396 | 0.98668 | -0.093325 | 0.98686 | -0.092075 | 19.0355
31 | -0.039649 | -0.009942 | 0.039689 | 0.009957 | 3.9614e-05 | 1.5009e-05 | 0.059786 | 0.059786 | 0.059786 | 0.98686 | -0.092075 | 0.98787 | -0.084873 | 22.1429
32 | 0.029135 | 0.0073025 | -0.029132 | -0.0073012 | 3.5231e-06 | 1.3171e-06 | 0.043761 | 0.043761 | 0.043761 | 0.99071 | -0.064961 | 0.99058 | -0.065835 | 16.2078

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.2123 | 0.053304

## res_load
| p_mw | q_mvar
0 | 0.0088868 | 0.0022272
1 | 0.0094114 | 0.0023587
2 | 0.0083522 | 0.0020932
3 | 0.0085973 | 0.0021547
4 | 0.0088681 | 0.0022225
5 | 0.017903 | 0.0044868
6 | 0.013566 | 0.0033999
7 | 0.0077855 | 0.0019512
8 | 0.007315 | 0.0018333
9 | 0.011515 | 0.0028858
10 | 0.0064657 | 0.0016205
11 | 0.0072675 | 0.0018214
12 | 0.0015867 | 0.00039767
13 | 0.00020662 | 5.1784e-05
14 | 0.0043086 | 0.0010798
15 | 0.0021273 | 0.00053316
16 | 0.010435 | 0.0026153
17 | 0.0055643 | 0.0013946
18 | 0.0043922 | 0.0011008
19 | 0.010496 | 0.0026304
20 | 0.021213 | 0.0053165
21 | 0.00053589 | 0.00013431
22 | 0.0032419 | 0.0008125
23 | 0.029132 | 0.0073012

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1