## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1501-11_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1501-11_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1501-11_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1501-11_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1501-11_0_4_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_1501-11_0_4_node_23 | 0.4 | n |  | TRUE
6 | bus_LV_1501-11_0_4_node_26 | 0.4 | n |  | TRUE
7 | bus_LV_1501-11_0_4_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_1501-11_0_4_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_1501-11_0_4_node_27 | 0.4 | n |  | TRUE
10 | bus_LV_1501-11_0_4_node_4 | 0.4 | n |  | TRUE
11 | bus_LV_1501-11_0_4_node_5 | 0.4 | n |  | TRUE
12 | bus_LV_1501-11_0_4_node_6 | 0.4 | n |  | TRUE
13 | bus_LV_1501-11_0_4_node_7 | 0.4 | n |  | TRUE
14 | bus_LV_1501-11_0_4_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1501-11_0_4_node_28 | 0.4 | n |  | TRUE
16 | bus_LV_1501-11_0_4_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_1501-11_0_4_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_1501-11_0_4_node_33 | 0.4 | n |  | TRUE
19 | bus_LV_1501-11_0_4_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_1501-11_0_4_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_1501-11_0_4_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1501-11_0_4_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1501-11_0_4_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1501-11_0_4_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1501-11_0_4_node_43 | 0.4 | n |  | TRUE
26 | bus_LV_1501-11_0_4_node_38 | 0.4 | n |  | TRUE
27 | bus_LV_1501-11_0_4_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1501-11_0_4_node_42 | 0.4 | n |  | TRUE
29 | bus_LV_1501-11_0_4_node_17 | 0.4 | n |  | TRUE
30 | bus_LV_1501-11_0_4_node_18 | 0.4 | n |  | TRUE
31 | bus_LV_1501-11_0_4_node_45 | 0.4 | n |  | TRUE
32 | bus_LV_1501-11_0_4_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1501-11_0_4_node_22 | 0.4 | n |  | TRUE
34 | bus_LV_1501-11_0_4_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_1501-11_0_4_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_1501-11_0_4_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_1501-11_0_4_node_41 | 0.4 | n |  | TRUE
38 | bus_LV_1501-11_0_4_node_40 | 0.4 | n |  | TRUE
39 | bus_LV_1501-11_0_4_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_1501-11_0_4_node_30 | 0.4 | n |  | TRUE
41 | bus_LV_1501-11_0_4_node_34 | 0.4 | n |  | TRUE
42 | bus_LV_1501-11_0_4_node_35 | 0.4 | n |  | TRUE
43 | bus_LV_1501-11_0_4_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_1501-11_0_4_node_48 | 0.4 | n |  | TRUE
45 | bus_LV_1501-11_0_4_node_49 | 0.4 | n |  | TRUE
46 | bus_LV_1501-11_0_4_node_50 | 0.4 | n |  | TRUE
47 | bus_LV_1501-11_0_4_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_1501-11_0_4_node_46 | 0.4 | n |  | TRUE
49 | bus_LV_1501-11_0_4_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_1501-11_0_4_node_47 | 0.4 | n |  | TRUE
51 | bus_LV_1501-11_0_4_node_52 | 0.4 | n |  | TRUE
52 | bus_MV_142_0_node_4 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1501-11_0_4_load_0 | 0 | 0.0098488 | 0.0024684 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1501-11_0_4_load_2 | 2 | 0.00087215 | 0.00021858 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1501-11_0_4_load_9 | 4 | 0.0013714 | 0.00034371 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1501-11_0_4_load_23 | 5 | 0.004313 | 0.0010809 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1501-11_0_4_load_26 | 6 | 0.0074268 | 0.0018613 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1501-11_0_4_load_10 | 7 | 0.0034688 | 0.00086937 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1501-11_0_4_load_21 | 8 | 0.00053959 | 0.00013523 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1501-11_0_4_load_4 | 10 | 0.0080204 | 0.0020101 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1501-11_0_4_load_5 | 11 | 0.0046716 | 0.0011708 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1501-11_0_4_load_6 | 12 | 0.0069603 | 0.0017444 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1501-11_0_4_load_8 | 14 | 0.0069911 | 0.0017521 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1501-11_0_4_load_19 | 16 | 0.0075732 | 0.001898 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1501-11_0_4_load_25 | 17 | 0.008188 | 0.0020521 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1501-11_0_4_load_33 | 18 | 0.005594 | 0.001402 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1501-11_0_4_load_11 | 20 | 0.0026098 | 0.00065408 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1501-11_0_4_load_12 | 21 | 0.0012896 | 0.00032322 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1501-11_0_4_load_13 | 22 | 0.0029655 | 0.00074321 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1501-11_0_4_load_14 | 23 | 0.0010345 | 0.00025927 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1501-11_0_4_load_15 | 24 | 0.0077124 | 0.0019329 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1501-11_0_4_load_38 | 26 | 0.0030796 | 0.00077182 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1501-11_0_4_load_16 | 27 | 0.0039049 | 0.00097867 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1501-11_0_4_load_42 | 28 | 0.0024944 | 0.00062515 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1501-11_0_4_load_17 | 29 | 0.0075395 | 0.0018896 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1501-11_0_4_load_18 | 30 | 0.0068126 | 0.0017074 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1501-11_0_4_load_45 | 31 | 0.0025454 | 0.00063793 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1501-11_0_4_load_20 | 32 | 0.0025635 | 0.00064248 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1501-11_0_4_load_22 | 33 | 0.0025624 | 0.00064219 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1501-11_0_4_load_24 | 34 | 0.00087265 | 0.00021871 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1501-11_0_4_load_39 | 35 | 0.002514 | 0.00063006 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1501-11_0_4_load_37 | 36 | 0.0033916 | 0.00085002 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1501-11_0_4_load_41 | 37 | 0.0039517 | 0.00099038 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1501-11_0_4_load_40 | 38 | 0.0026252 | 0.00065793 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1501-11_0_4_load_29 | 39 | 0.0048585 | 0.0012177 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1501-11_0_4_load_30 | 40 | 0.0036857 | 0.00092373 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1501-11_0_4_load_34 | 41 | 0.0016444 | 0.00041214 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1501-11_0_4_load_35 | 42 | 0.0025129 | 0.00062978 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1501-11_0_4_load_36 | 43 | 0.0054598 | 0.0013684 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1501-11_0_4_load_48 | 44 | 0.00030471 | 7.6368e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1501-11_0_4_load_49 | 45 | 0.00017794 | 4.4596e-05 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1501-11_0_4_load_50 | 46 | 0.0030752 | 0.00077072 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1501-11_0_4_load_53 | 47 | 0.0026756 | 0.00067058 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1501-11_0_4_load_46 | 48 | 0.0040249 | 0.0010087 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1501-11_0_4_load_47 | 50 | 0.0016329 | 0.00040923 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 30 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1501-11_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.03487 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1501-11_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.028806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1501-11_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.022139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1501-11_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0074716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1501-11_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.021388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1501-11_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.028103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1501-11_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.061842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1501-11_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0078089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1501-11_0_4_line_8 | NAYY 4x150 SE | 6 | 9 | 0.1308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1501-11_0_4_line_9 | NAYY 4x150 SE | 7 | 18 | 0.038981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1501-11_0_4_line_10 | NAYY 4x150 SE | 8 | 32 | 0.021833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1501-11_0_4_line_11 | NAYY 4x150 SE | 9 | 15 | 0.070204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_1501-11_0_4_line_12 | NAYY 4x150 SE | 10 | 11 | 0.0058906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1501-11_0_4_line_13 | NAYY 4x150 SE | 10 | 12 | 0.031499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
14 | LV_1501-11_0_4_line_14 | NAYY 4x150 SE | 11 | 13 | 0.052047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1501-11_0_4_line_15 | NAYY 4x150 SE | 12 | 14 | 0.033952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_1501-11_0_4_line_16 | NAYY 4x150 SE | 13 | 15 | 0.10246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1501-11_0_4_line_17 | NAYY 4x150 SE | 14 | 16 | 0.0064404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1501-11_0_4_line_18 | NAYY 4x150 SE | 16 | 17 | 0.017688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_1501-11_0_4_line_19 | NAYY 4x150 SE | 17 | 30 | 0.016878 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_1501-11_0_4_line_20 | NAYY 4x150 SE | 18 | 19 | 0.030018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1501-11_0_4_line_21 | NAYY 4x150 SE | 19 | 39 | 0.013518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1501-11_0_4_line_22 | NAYY 4x150 SE | 20 | 21 | 0.015554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1501-11_0_4_line_23 | NAYY 4x150 SE | 20 | 22 | 0.0083512 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1501-11_0_4_line_24 | NAYY 4x150 SE | 21 | 23 | 0.0077906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1501-11_0_4_line_25 | NAYY 4x150 SE | 22 | 24 | 0.017843 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1501-11_0_4_line_26 | NAYY 4x150 SE | 22 | 25 | 0.045695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1501-11_0_4_line_27 | NAYY 4x150 SE | 23 | 26 | 0.0048277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1501-11_0_4_line_28 | NAYY 4x150 SE | 24 | 27 | 0.0057145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1501-11_0_4_line_29 | NAYY 4x150 SE | 25 | 28 | 0.094374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1501-11_0_4_line_30 | NAYY 4x150 SE | 27 | 29 | 0.02426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1501-11_0_4_line_31 | NAYY 4x150 SE | 28 | 49 | 0.043883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1501-11_0_4_line_32 | NAYY 4x150 SE | 29 | 30 | 0.0092662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1501-11_0_4_line_33 | NAYY 4x150 SE | 30 | 31 | 0.050385 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1501-11_0_4_line_34 | NAYY 4x150 SE | 32 | 33 | 0.0089251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1501-11_0_4_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0045697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1501-11_0_4_line_36 | NAYY 4x150 SE | 34 | 35 | 0.019951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1501-11_0_4_line_37 | NAYY 4x150 SE | 35 | 36 | 0.0021928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1501-11_0_4_line_38 | NAYY 4x150 SE | 36 | 42 | 0.0069824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1501-11_0_4_line_39 | NAYY 4x150 SE | 37 | 38 | 0.0043601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1501-11_0_4_line_40 | NAYY 4x150 SE | 38 | 48 | 0.064461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1501-11_0_4_line_41 | NAYY 4x150 SE | 39 | 40 | 0.016622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1501-11_0_4_line_42 | NAYY 4x150 SE | 41 | 42 | 0.019718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1501-11_0_4_line_43 | NAYY 4x150 SE | 41 | 43 | 0.0090862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1501-11_0_4_line_44 | NAYY 4x150 SE | 44 | 45 | 0.056861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1501-11_0_4_line_45 | NAYY 4x150 SE | 44 | 46 | 0.18282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1501-11_0_4_line_46 | NAYY 4x150 SE | 46 | 47 | 0.34547 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1501-11_0_4_line_47 | NAYY 4x150 SE | 47 | 51 | 0.11727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1501-11_0_4_line_48 | NAYY 4x150 SE | 48 | 50 | 0.020302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1501-11_0_4_line_49 | NAYY 4x150 SE | 48 | 49 | 0.033937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1501-11_0_4_line_50 | NAYY 4x150 SE | 50 | 51 | 0.10199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1501-11_0_4_trafo_18 | 0.25 MVA 20/0.4 kV | 52 | 30 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15
0 | 2679373.4224 | 1201923.0036 | 2679375.2642 | 1201925.8743 | 2679377.1892 | 1201926.5003 | 2679383.1411 | 1201925.3786 | 2679393.8396 | 1201919.3281 | 2679403.944 | 1201914.7637
1 | 2679373.4224 | 1201923.0036 | 2679366.0798 | 1201926.8196 | 2679355.9011 | 1201930.42 | 2679346.4993 | 1201932.9415
2 | 2679373.4224 | 1201923.0036 | 2679383.2615 | 1201917.4642 | 2679392.2114 | 1201911.2569
3 | 2679339.2827 | 1201934.8769 | 2679346.4993 | 1201932.9415
4 | 2679392.2114 | 1201911.2569 | 2679387.6105 | 1201905.8035 | 2679384.4525 | 1201902.3038 | 2679380.6064 | 1201900.1847 | 2679375.4739 | 1201899.7941 | 2679375.4739 | 1201899.7941
5 | 2679392.2114 | 1201911.2569 | 2679408.1387 | 1201898.3605 | 2679414.1434 | 1201893.6868
6 | 2679339.2827 | 1201934.8769 | 2679332.7941 | 1201936.6171 | 2679311.3079 | 1201941.1236 | 2679280.1471 | 1201945.1015 | 2679278.3961 | 1201945.2461
7 | 2679367.6671 | 1201899.9782 | 2679375.4739 | 1201899.7941
8 | 2679527.4793 | 1201829.8045 | 2679517.9645 | 1201837.2603 | 2679509.0147 | 1201842.867 | 2679497.5952 | 1201848.1739 | 2679474.7739 | 1201857.454 | 2679454.2188 | 1201866.8977 | 2679430.6661 | 1201880.8266 | 2679414.1434 | 1201893.6868
9 | 2679278.3961 | 1201945.2461 | 2679259.9622 | 1201946.7681 | 2679239.481 | 1201947.1453
10 | 2679367.6671 | 1201899.9782 | 2679364.921 | 1201900.043 | 2679348.0697 | 1201902.2873 | 2679345.9903 | 1201902.449
11 | 2679527.4793 | 1201829.8045 | 2679534.9317 | 1201821.1871 | 2679541.3244 | 1201812.6891 | 2679549.6311 | 1201799.3691 | 2679562.8041 | 1201779.0095 | 2679567.4087 | 1201772.1887
12 | 2679451.4363 | 1201839.418 | 2679456.7281 | 1201839.058 | 2679457.309 | 1201838.9764
13 | 2679451.4363 | 1201839.418 | 2679444.2871 | 1201839.9043 | 2679419.9594 | 1201840.4104
14 | 2679485.0973 | 1201809.2611 | 2679485.761 | 1201814.8623 | 2679487.0042 | 1201824.9741 | 2679486.5024 | 1201828.3584 | 2679484.5181 | 1201832.19 | 2679481.6326 | 1201834.5308 | 2679473.4135 | 1201836.7118 | 2679457.309 | 1201838.9764
15 | 2679386.0082 | 1201840.583 | 2679417.228 | 1201840.4672 | 2679419.9594 | 1201840.4104
16 | 2679485.0973 | 1201809.2611 | 2679492.8551 | 1201807.4298 | 2679504.6891 | 1201803.0067 | 2679517.9122 | 1201794.8775 | 2679523.1991 | 1201792.8354 | 2679527.805 | 1201791.6293 | 2679532.7338 | 1201791.8951 | 2679539.368 | 1201794.4183 | 2679549.6311 | 1201799.3691 | 2679562.8041 | 1201779.0095 | 2679567.4087 | 1201772.1887
17 | 2679386.0082 | 1201840.583 | 2679379.5679 | 1201840.6069
18 | 2679361.8801 | 1201840.6726 | 2679379.5679 | 1201840.6069
19 | 2679345.0021 | 1201840.7352 | 2679361.8801 | 1201840.6726
20 | 2679209.4748 | 1201947.9661 | 2679228.3822 | 1201947.3497 | 2679239.481 | 1201947.1453
21 | 2679209.4748 | 1201947.9661 | 2679196.1617 | 1201950.3134
22 | 2679279.5682 | 1201840.978 | 2679277.2439 | 1201840.9866 | 2679264.0145 | 1201841.0722
23 | 2679287.9193 | 1201840.947 | 2679279.5682 | 1201840.978
24 | 2679264.0145 | 1201841.0722 | 2679256.2241 | 1201841.1225
25 | 2679305.7619 | 1201840.8808 | 2679287.9193 | 1201840.947
26 | 2679287.9193 | 1201840.947 | 2679290.4549 | 1201795.3222
27 | 2679251.3964 | 1201841.1538 | 2679256.2241 | 1201841.1225
28 | 2679305.7619 | 1201840.8808 | 2679311.4763 | 1201840.8596
29 | 2679290.4549 | 1201795.3222 | 2679291.3588 | 1201787.4404 | 2679295.4045 | 1201776.2537 | 2679299.0223 | 1201771.4987 | 2679304.5738 | 1201767.292 | 2679312.6189 | 1201763.8855 | 2679323.2488 | 1201760.1465 | 2679334.1807 | 1201754.8772 | 2679357.9493 | 1201737.4652
30 | 2679335.736 | 1201840.7696 | 2679311.4763 | 1201840.8596
31 | 2679395.468 | 1201714.955 | 2679383.5631 | 1201720.6893 | 2679373.2415 | 1201726.4225 | 2679358.2549 | 1201737.2413 | 2679357.9493 | 1201737.4652
32 | 2679345.0021 | 1201840.7352 | 2679335.736 | 1201840.7696
33 | 2679345.0021 | 1201840.7352 | 2679342.1673 | 1201790.4302
34 | 2679337.092 | 1201903.1413 | 2679345.9903 | 1201902.449
35 | 2679332.5361 | 1201903.4957 | 2679337.092 | 1201903.1413
36 | 2679312.6609 | 1201902.3134 | 2679319.0274 | 1201903.1912 | 2679330.4918 | 1201903.6548 | 2679332.5361 | 1201903.4957
37 | 2679312.6609 | 1201902.3134 | 2679310.4886 | 1201902.0139
38 | 2679310.4886 | 1201902.0139 | 2679303.5716 | 1201901.0602
39 | 2679435.8311 | 1201772.8483 | 2679440.1876 | 1201772.6703
40 | 2679435.8311 | 1201772.8483 | 2679428.8364 | 1201708.7682
41 | 2679196.1617 | 1201950.3134 | 2679185.3624 | 1201954.2283 | 2679180.7988 | 1201956.5825
42 | 2679284.0383 | 1201898.3669 | 2679303.5716 | 1201901.0602
43 | 2679275.0373 | 1201897.1259 | 2679284.0383 | 1201898.3669
44 | 2679146.2661 | 1201226.177 | 2679150.6643 | 1201235.4966 | 2679104.6167 | 1201228.6382 | 2679104.6167 | 1201228.6382
45 | 2679104.6167 | 1201228.6382 | 2679091.6845 | 1201410.9964
46 | 2679391.1523 | 1201583.2373 | 2679091.6845 | 1201410.9964
47 | 2679496.2866 | 1201614.8103 | 2679492.8281 | 1201609.8723 | 2679489.4037 | 1201606.369 | 2679486.6174 | 1201604.6753 | 2679483.9184 | 1201603.8611 | 2679476.4521 | 1201603.217 | 2679465.0514 | 1201603.6434 | 2679446.7351 | 1201607.8025 | 2679441.7943 | 1201608.4261 | 2679436.4789 | 1201608.033 | 2679432.475 | 1201606.8901 | 2679419.6081 | 1201602.5164 | 2679413.6653 | 1201599.5022 | 2679408.1626 | 1201595.4376 | 2679397.8998 | 1201585.8508 | 2679391.1523 | 1201583.2373
48 | 2679428.8364 | 1201708.7682 | 2679448.7984 | 1201705.0671
49 | 2679395.468 | 1201714.955 | 2679428.8364 | 1201708.7682
50 | 2679448.7984 | 1201705.0671 | 2679496.2866 | 1201614.8103

## bus_geodata
| x | y | coords
0 | 2679403.944 | 1201914.7636
1 | 2679373.4224 | 1201923.0036
2 | 2679346.4993 | 1201932.9415
3 | 2679392.2114 | 1201911.2569
4 | 2679339.2827 | 1201934.8769
5 | 2679375.4739 | 1201899.7941
6 | 2679414.1434 | 1201893.6868
7 | 2679278.3961 | 1201945.2461
8 | 2679367.6671 | 1201899.9782
9 | 2679527.4793 | 1201829.8045
10 | 2679451.4363 | 1201839.418
11 | 2679457.309 | 1201838.9764
12 | 2679419.9594 | 1201840.4104
13 | 2679485.0973 | 1201809.2611
14 | 2679386.0082 | 1201840.583
15 | 2679567.4087 | 1201772.1887
16 | 2679379.5679 | 1201840.6069
17 | 2679361.8801 | 1201840.6726
18 | 2679239.481 | 1201947.1453
19 | 2679209.4748 | 1201947.9661
20 | 2679279.5682 | 1201840.978
21 | 2679264.0145 | 1201841.0722
22 | 2679287.9193 | 1201840.947
23 | 2679256.2241 | 1201841.1225
24 | 2679305.7619 | 1201840.8808
25 | 2679290.4549 | 1201795.3222
26 | 2679251.3964 | 1201841.1538
27 | 2679311.4763 | 1201840.8596
28 | 2679357.9493 | 1201737.4652
29 | 2679335.736 | 1201840.7696
30 | 2679345.0021 | 1201840.7352
31 | 2679342.1673 | 1201790.4302
32 | 2679345.9903 | 1201902.449
33 | 2679337.092 | 1201903.1413
34 | 2679332.5361 | 1201903.4957
35 | 2679312.6609 | 1201902.3134
36 | 2679310.4886 | 1201902.0139
37 | 2679440.1876 | 1201772.6703
38 | 2679435.8311 | 1201772.8483
39 | 2679196.1617 | 1201950.3134
40 | 2679180.7988 | 1201956.5825
41 | 2679284.0383 | 1201898.3669
42 | 2679303.5716 | 1201901.0602
43 | 2679275.0373 | 1201897.1259
44 | 2679104.6167 | 1201228.6382
45 | 2679146.2661 | 1201226.177
46 | 2679091.6845 | 1201410.9964
47 | 2679391.1523 | 1201583.2373
48 | 2679428.8364 | 1201708.7682
49 | 2679395.468 | 1201714.955
50 | 2679448.7984 | 1201705.0671
51 | 2679496.2866 | 1201614.8103
52 | 2679485.0973 | 1201809.2611

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97376 | -0.18405 | 0.0098488 | 0.0024684
1 | 0.97426 | -0.18043 | 0 | 0
2 | 0.97342 | -0.18646 | 0.00087215 | 0.00021858
3 | 0.97523 | -0.17352 | 0 | 0
4 | 0.97321 | -0.18795 | 0.0013714 | 0.00034371
5 | 0.9744 | -0.17945 | 0.004313 | 0.0010809
6 | 0.97638 | -0.16526 | 0.0074268 | 0.0018613
7 | 0.97161 | -0.19945 | 0.0034688 | 0.00086937
8 | 0.97415 | -0.18126 | 0.00053959 | 0.00013523
9 | 0.98246 | -0.12202 | 0 | 0
10 | 0.99321 | -0.046887 | 0.0080204 | 0.0020101
11 | 0.99292 | -0.048922 | 0.0046716 | 0.0011708
12 | 0.99497 | -0.03475 | 0.0069603 | 0.0017444
13 | 0.9905 | -0.065719 | 0 | 0
14 | 0.99702 | -0.020529 | 0.0069911 | 0.0017521
15 | 0.98573 | -0.099019 | 0 | 0
16 | 0.99745 | -0.017611 | 0.0075732 | 0.001898
17 | 0.9987 | -0.0089421 | 0.008188 | 0.0020521
18 | 0.97081 | -0.20529 | 0.005594 | 0.001402
19 | 0.97043 | -0.20801 | 0 | 0
20 | 0.99657 | -0.024036 | 0.0026098 | 0.00065408
21 | 0.99644 | -0.024882 | 0.0012896 | 0.00032322
22 | 0.99666 | -0.023364 | 0.0029655 | 0.00074321
23 | 0.9964 | -0.025204 | 0.0010345 | 0.00025927
24 | 0.99748 | -0.017622 | 0.0077124 | 0.0019329
25 | 0.99528 | -0.033049 | 0 | 0
26 | 0.99638 | -0.025353 | 0.0030796 | 0.00077182
27 | 0.99781 | -0.015344 | 0.0039049 | 0.00097867
28 | 0.99243 | -0.053131 | 0.0024944 | 0.00062515
29 | 0.99932 | -0.0047394 | 0.0075395 | 0.0018896
30 | 1 | 0 | -0.16252 | -0.040789
31 | 0.99982 | -0.0012814 | 0.0025454 | 0.00063793
32 | 0.97346 | -0.18621 | 0.0025635 | 0.00064248
33 | 0.97321 | -0.18799 | 0.0025624 | 0.00064219
34 | 0.9731 | -0.18878 | 0.00087265 | 0.00021871
35 | 0.97265 | -0.19205 | 0.002514 | 0.00063006
36 | 0.9726 | -0.19235 | 0.0033916 | 0.00085002
37 | 0.98973 | -0.072289 | 0.0039517 | 0.00099038
38 | 0.98975 | -0.072114 | 0.0026252 | 0.00065793
39 | 0.97026 | -0.20923 | 0.0048585 | 0.0012177
40 | 0.97017 | -0.20988 | 0.0036857 | 0.00092373
41 | 0.9723 | -0.19454 | 0.0016444 | 0.00041214
42 | 0.97251 | -0.19306 | 0.0025129 | 0.00062978
43 | 0.97223 | -0.19506 | 0.0054598 | 0.0013684
44 | 0.98626 | -0.097182 | 0.00030471 | 7.6368e-05
45 | 0.98624 | -0.097288 | 0.00017794 | 4.4596e-05
46 | 0.98638 | -0.096251 | 0.0030752 | 0.00077072
47 | 0.98816 | -0.083526 | 0.0026756 | 0.00067058
48 | 0.99036 | -0.067795 | 0.0040249 | 0.0010087
49 | 0.99126 | -0.061393 | 0 | 0
50 | 0.99013 | -0.069437 | 0.0016329 | 0.00040923
51 | 0.98921 | -0.075989 | 0 | 0
52 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0098488 | -0.0024684 | 0.0098538 | 0.0024698 | 4.9285e-06 | 1.4616e-06 | 0.01505 | 0.01505 | 0.01505 | 0.97376 | -0.18405 | 0.97426 | -0.18043 | 5.5741
1 | 0.019916 | 0.0049977 | -0.019899 | -0.0049916 | 1.6634e-05 | 6.0392e-06 | 0.03042 | 0.03042 | 0.03042 | 0.97426 | -0.18043 | 0.97342 | -0.18646 | 11.2668
2 | -0.02977 | -0.0074675 | 0.029798 | 0.0074782 | 2.8563e-05 | 1.071e-05 | 0.04547 | 0.04547 | 0.04547 | 0.97426 | -0.18043 | 0.97523 | -0.17352 | 16.8409
3 | 0.019027 | 0.004773 | -0.019023 | -0.0047716 | 3.9446e-06 | 1.4243e-06 | 0.029087 | 0.029087 | 0.029087 | 0.97342 | -0.18646 | 0.97321 | -0.18795 | 10.7731
4 | 0.026433 | 0.006631 | -0.026411 | -0.0066229 | 2.1711e-05 | 8.0838e-06 | 0.040334 | 0.040334 | 0.040334 | 0.97523 | -0.17352 | 0.9744 | -0.17945 | 14.9384
5 | -0.056231 | -0.014109 | 0.056295 | 0.014133 | 6.4553e-05 | 2.4126e-05 | 0.085804 | 0.085804 | 0.085804 | 0.97523 | -0.17352 | 0.97638 | -0.16526 | 15.8896
6 | 0.017652 | 0.0044279 | -0.017624 | -0.0044179 | 2.8112e-05 | 1.0045e-05 | 0.02699 | 0.026991 | 0.026991 | 0.97321 | -0.18795 | 0.97161 | -0.19945 | 9.9965
7 | 0.022098 | 0.005542 | -0.022092 | -0.00554 | 5.5495e-06 | 2.0372e-06 | 0.033747 | 0.033747 | 0.033747 | 0.9744 | -0.17945 | 0.97415 | -0.18126 | 12.4991
8 | -0.063722 | -0.015995 | 0.064107 | 0.016139 | 0.00038494 | 0.00014476 | 0.097122 | 0.097121 | 0.097122 | 0.97638 | -0.16526 | 0.98246 | -0.12202 | 17.9856
9 | 0.014155 | 0.0035485 | -0.014143 | -0.0035446 | 1.1431e-05 | 3.9142e-06 | 0.021678 | 0.021678 | 0.021678 | 0.97161 | -0.19945 | 0.97081 | -0.20529 | 8.029
10 | 0.021553 | 0.0054047 | -0.021538 | -0.0053993 | 1.4767e-05 | 5.4081e-06 | 0.032923 | 0.032923 | 0.032923 | 0.97415 | -0.18126 | 0.97346 | -0.18621 | 12.1938
11 | -0.064107 | -0.016139 | 0.064314 | 0.016217 | 0.0002066 | 7.7679e-05 | 0.097121 | 0.09712 | 0.097121 | 0.98246 | -0.12202 | 0.98573 | -0.099019 | 17.9854
12 | 0.06946 | 0.017566 | -0.06944 | -0.017559 | 1.9924e-05 | 7.5107e-06 | 0.10412 | 0.10412 | 0.10412 | 0.99321 | -0.046887 | 0.99292 | -0.048922 | 19.2814
13 | -0.07748 | -0.019576 | 0.077613 | 0.019627 | 0.00013255 | 5.0164e-05 | 0.11614 | 0.11614 | 0.11614 | 0.99321 | -0.046887 | 0.99497 | -0.03475 | 21.5066
14 | 0.064768 | 0.016388 | -0.064615 | -0.01633 | 0.00015316 | 5.7566e-05 | 0.097119 | 0.097119 | 0.097119 | 0.99292 | -0.048922 | 0.9905 | -0.065719 | 17.9851
15 | -0.084573 | -0.021371 | 0.084743 | 0.021435 | 0.00016963 | 6.436e-05 | 0.12654 | 0.12654 | 0.12654 | 0.99497 | -0.03475 | 0.99702 | -0.020529 | 23.4343
16 | 0.064615 | 0.01633 | -0.064314 | -0.016217 | 0.00030154 | 0.00011335 | 0.097119 | 0.09712 | 0.09712 | 0.9905 | -0.065719 | 0.98573 | -0.099019 | 17.9852
17 | -0.091734 | -0.023187 | 0.091772 | 0.023202 | 3.7702e-05 | 1.4333e-05 | 0.13698 | 0.13698 | 0.13698 | 0.99702 | -0.020529 | 0.99745 | -0.017611 | 25.3664
18 | -0.099345 | -0.0251 | 0.099466 | 0.025146 | 0.00012133 | 4.6204e-05 | 0.14828 | 0.14828 | 0.14828 | 0.99745 | -0.017611 | 0.9987 | -0.0089421 | 27.4586
19 | -0.10765 | -0.027198 | 0.10779 | 0.02725 | 0.00013561 | 5.1716e-05 | 0.16048 | 0.16048 | 0.16048 | 0.9987 | -0.0089421 | 1 | 0 | 29.7177
20 | 0.0085493 | 0.0021426 | -0.0085461 | -0.0021417 | 3.2165e-06 | 8.6609e-07 | 0.013104 | 0.013104 | 0.013104 | 0.97081 | -0.20529 | 0.97043 | -0.20801 | 4.8534
21 | 0.0085461 | 0.0021417 | -0.0085446 | -0.0021413 | 1.4485e-06 | 3.9014e-07 | 0.013104 | 0.013104 | 0.013104 | 0.97043 | -0.20801 | 0.97026 | -0.20923 | 4.8534
22 | 0.0054046 | 0.0013543 | -0.005404 | -0.0013542 | 6.3205e-07 | 4.0462e-08 | 0.0080698 | 0.0080698 | 0.0080698 | 0.99657 | -0.024036 | 0.99644 | -0.024882 | 2.9888
23 | -0.0080144 | -0.0020083 | 0.0080151 | 0.0020085 | 7.4623e-07 | 1.7819e-07 | 0.011967 | 0.011967 | 0.011967 | 0.99657 | -0.024036 | 0.99666 | -0.023364 | 4.4321
24 | 0.0041143 | 0.001031 | -0.0041141 | -0.001031 | 1.8351e-07 | -3.0897e-08 | 0.006144 | 0.006144 | 0.006144 | 0.99644 | -0.024882 | 0.9964 | -0.025204 | 2.2756
25 | -0.032091 | -0.0080483 | 0.032117 | 0.0080579 | 2.5561e-05 | 9.5985e-06 | 0.047915 | 0.047914 | 0.047915 | 0.99666 | -0.023364 | 0.99748 | -0.017622 | 17.7461
26 | 0.021111 | 0.0052965 | -0.021083 | -0.0052862 | 2.833e-05 | 1.0301e-05 | 0.031521 | 0.031521 | 0.031521 | 0.99666 | -0.023364 | 0.99528 | -0.033049 | 11.6744
27 | 0.0030796 | 0.00077178 | -0.0030796 | -0.00077182 | 6.372e-08 | -3.8372e-08 | 0.0045991 | 0.0045991 | 0.0045991 | 0.9964 | -0.025204 | 0.99638 | -0.025353 | 1.7034
28 | -0.039829 | -0.0099908 | 0.039842 | 0.0099955 | 1.259e-05 | 4.7676e-06 | 0.05942 | 0.05942 | 0.05942 | 0.99748 | -0.017622 | 0.99781 | -0.015344 | 22.0073
29 | 0.021083 | 0.0052862 | -0.021024 | -0.0052649 | 5.8511e-05 | 2.1281e-05 | 0.031521 | 0.031521 | 0.031521 | 0.99528 | -0.033049 | 0.99243 | -0.053131 | 11.6745
30 | -0.043747 | -0.010974 | 0.043811 | 0.010999 | 6.4438e-05 | 2.4466e-05 | 0.065243 | 0.065243 | 0.065243 | 0.99781 | -0.015344 | 0.99932 | -0.0047394 | 24.1641
31 | 0.01853 | 0.0046398 | -0.018509 | -0.0046322 | 2.1134e-05 | 7.5623e-06 | 0.027781 | 0.027781 | 0.027781 | 0.99243 | -0.053131 | 0.99126 | -0.061393 | 10.2894
32 | -0.051351 | -0.012888 | 0.051385 | 0.012901 | 3.3811e-05 | 1.2883e-05 | 0.076469 | 0.076469 | 0.076469 | 0.99932 | -0.0047394 | 1 | 0 | 28.322
33 | 0.0025458 | 0.00063745 | -0.0025454 | -0.00063793 | 4.5117e-07 | -4.8737e-07 | 0.003788 | 0.0037883 | 0.0037883 | 1 | 0 | 0.99982 | -0.0012814 | 1.4031
34 | 0.018975 | 0.0047568 | -0.01897 | -0.0047551 | 4.6853e-06 | 1.6911e-06 | 0.029005 | 0.029005 | 0.029005 | 0.97346 | -0.18621 | 0.97321 | -0.18799 | 10.7425
35 | 0.016408 | 0.004113 | -0.016406 | -0.0041123 | 1.7946e-06 | 6.3346e-07 | 0.025087 | 0.025087 | 0.025087 | 0.97321 | -0.18799 | 0.9731 | -0.18878 | 9.2915
36 | 0.015533 | 0.0038936 | -0.015526 | -0.0038912 | 7.0238e-06 | 2.4537e-06 | 0.023753 | 0.023753 | 0.023753 | 0.9731 | -0.18878 | 0.97265 | -0.19205 | 8.7973
37 | 0.013012 | 0.0032611 | -0.013012 | -0.0032609 | 5.4223e-07 | 1.8133e-07 | 0.019907 | 0.019907 | 0.019907 | 0.97265 | -0.19205 | 0.9726 | -0.19235 | 7.3728
38 | 0.0096199 | 0.0024109 | -0.009619 | -0.0024106 | 9.4379e-07 | 2.7635e-07 | 0.014718 | 0.014718 | 0.014718 | 0.9726 | -0.19235 | 0.97251 | -0.19306 | 5.451
39 | -0.0039517 | -0.00099038 | 0.0039518 | 0.00099036 | 9.6035e-08 | -1.9097e-08 | 0.0059412 | 0.0059412 | 0.0059412 | 0.98973 | -0.072289 | 0.98975 | -0.072114 | 2.2004
40 | -0.0065769 | -0.0016483 | 0.0065808 | 0.001649 | 3.9325e-06 | 6.8357e-07 | 0.0098879 | 0.0098876 | 0.0098879 | 0.98975 | -0.072114 | 0.99036 | -0.067795 | 3.6622
41 | 0.0036861 | 0.00092366 | -0.0036857 | -0.00092373 | 3.3146e-07 | -7.7786e-08 | 0.005653 | 0.0056531 | 0.0056531 | 0.97026 | -0.20923 | 0.97017 | -0.20988 | 2.0937
42 | -0.0071046 | -0.0017805 | 0.0071061 | 0.0017808 | 1.4546e-06 | 3.1486e-07 | 0.010873 | 0.010873 | 0.010873 | 0.9723 | -0.19454 | 0.97251 | -0.19306 | 4.027
43 | 0.0054602 | 0.0013684 | -0.0054598 | -0.0013684 | 3.9591e-07 | 3.959e-08 | 0.0083563 | 0.0083564 | 0.0083564 | 0.9723 | -0.19454 | 0.97223 | -0.19506 | 3.0949
44 | 0.00017794 | 4.3871e-05 | -0.00017794 | -4.4596e-05 | 2.5549e-09 | -7.2462e-07 | 0.00026822 | 0.00026847 | 0.00026847 | 0.98626 | -0.097182 | 0.98624 | -0.097288 | 0.099434
45 | -0.00048266 | -0.00012024 | 0.00048272 | 0.00011793 | 6.0383e-08 | -2.31e-06 | 0.00072795 | 0.00072713 | 0.00072795 | 0.98626 | -0.097182 | 0.98638 | -0.096251 | 0.26961
46 | -0.0035579 | -0.00088865 | 0.0035641 | 0.00088662 | 6.2059e-06 | -2.0307e-06 | 0.0053663 | 0.0053647 | 0.0053663 | 0.98638 | -0.096251 | 0.98816 | -0.083526 | 1.9875
47 | -0.0062398 | -0.0015572 | 0.0062462 | 0.0015582 | 6.4567e-06 | 9.7953e-07 | 0.0093938 | 0.0093932 | 0.0093938 | 0.98816 | -0.083526 | 0.98921 | -0.075989 | 3.4792
48 | 0.0078865 | 0.0019687 | -0.0078847 | -0.0019683 | 1.778e-06 | 4.2265e-07 | 0.011847 | 0.011847 | 0.011847 | 0.99036 | -0.067795 | 0.99013 | -0.069437 | 4.3877
49 | -0.018492 | -0.0046264 | 0.018509 | 0.0046322 | 1.6344e-05 | 5.8492e-06 | 0.027782 | 0.027781 | 0.027782 | 0.99036 | -0.067795 | 0.99126 | -0.061393 | 10.2895
50 | 0.0062518 | 0.001559 | -0.0062462 | -0.0015582 | 5.6149e-06 | 8.4906e-07 | 0.0093928 | 0.0093932 | 0.0093932 | 0.99013 | -0.069437 | 0.98921 | -0.075989 | 3.479

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16933 | 0.042496

## res_load
| p_mw | q_mvar
0 | 0.0098488 | 0.0024684
1 | 0.00087215 | 0.00021858
2 | 0.0013714 | 0.00034371
3 | 0.004313 | 0.0010809
4 | 0.0074268 | 0.0018613
5 | 0.0034688 | 0.00086937
6 | 0.00053959 | 0.00013523
7 | 0.0080204 | 0.0020101
8 | 0.0046716 | 0.0011708
9 | 0.0069603 | 0.0017444
10 | 0.0069911 | 0.0017521
11 | 0.0075732 | 0.001898
12 | 0.008188 | 0.0020521
13 | 0.005594 | 0.001402
14 | 0.0026098 | 0.00065408
15 | 0.0012896 | 0.00032322
16 | 0.0029655 | 0.00074321
17 | 0.0010345 | 0.00025927
18 | 0.0077124 | 0.0019329
19 | 0.0030796 | 0.00077182
20 | 0.0039049 | 0.00097867
21 | 0.0024944 | 0.00062515
22 | 0.0075395 | 0.0018896
23 | 0.0068126 | 0.0017074
24 | 0.0025454 | 0.00063793
25 | 0.0025635 | 0.00064248
26 | 0.0025624 | 0.00064219
27 | 0.00087265 | 0.00021871
28 | 0.002514 | 0.00063006
29 | 0.0033916 | 0.00085002
30 | 0.0039517 | 0.00099038
31 | 0.0026252 | 0.00065793
32 | 0.0048585 | 0.0012177
33 | 0.0036857 | 0.00092373
34 | 0.0016444 | 0.00041214
35 | 0.0025129 | 0.00062978
36 | 0.0054598 | 0.0013684
37 | 0.00030471 | 7.6368e-05
38 | 0.00017794 | 4.4596e-05
39 | 0.0030752 | 0.00077072
40 | 0.0026756 | 0.00067058
41 | 0.0040249 | 0.0010087
42 | 0.0016329 | 0.00040923

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1