## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1501-16_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1501-16_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1501-16_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1501-16_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1501-16_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1501-16_0_4_node_6 | 0.4 | n |  | TRUE
6 | bus_LV_1501-16_0_4_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_1501-16_0_4_node_37 | 0.4 | n |  | TRUE
8 | bus_LV_1501-16_0_4_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_1501-16_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1501-16_0_4_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_1501-16_0_4_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_1501-16_0_4_node_17 | 0.4 | n |  | TRUE
13 | bus_LV_1501-16_0_4_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_1501-16_0_4_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_1501-16_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1501-16_0_4_node_26 | 0.4 | n |  | TRUE
17 | bus_LV_1501-16_0_4_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1501-16_0_4_node_16 | 0.4 | n |  | TRUE
19 | bus_LV_1501-16_0_4_node_41 | 0.4 | n |  | TRUE
20 | bus_LV_1501-16_0_4_node_7 | 0.4 | n |  | TRUE
21 | bus_LV_1501-16_0_4_node_8 | 0.4 | n |  | TRUE
22 | bus_LV_1501-16_0_4_node_9 | 0.4 | n |  | TRUE
23 | bus_LV_1501-16_0_4_node_10 | 0.4 | n |  | TRUE
24 | bus_LV_1501-16_0_4_node_31 | 0.4 | n |  | TRUE
25 | bus_LV_1501-16_0_4_node_20 | 0.4 | n |  | TRUE
26 | bus_LV_1501-16_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1501-16_0_4_node_19 | 0.4 | n |  | TRUE
28 | bus_LV_1501-16_0_4_node_44 | 0.4 | n |  | TRUE
29 | bus_LV_1501-16_0_4_node_43 | 0.4 | n |  | TRUE
30 | bus_LV_1501-16_0_4_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1501-16_0_4_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1501-16_0_4_node_25 | 0.4 | n |  | TRUE
33 | bus_LV_1501-16_0_4_node_32 | 0.4 | n |  | TRUE
34 | bus_LV_1501-16_0_4_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_1501-16_0_4_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_1501-16_0_4_node_29 | 0.4 | n |  | TRUE
37 | bus_LV_1501-16_0_4_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_1501-16_0_4_node_35 | 0.4 | n |  | TRUE
39 | bus_LV_1501-16_0_4_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_1501-16_0_4_node_38 | 0.4 | n |  | TRUE
41 | bus_LV_1501-16_0_4_node_39 | 0.4 | n |  | TRUE
42 | bus_LV_1501-16_0_4_node_40 | 0.4 | n |  | TRUE
43 | bus_MV_142_0_node_296 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1501-16_0_4_load_0 | 0 | 0.0044824 | 0.0011234 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1501-16_0_4_load_1 | 1 | 0.0053907 | 0.001351 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1501-16_0_4_load_24 | 6 | 0.001162 | 0.00029121 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1501-16_0_4_load_37 | 7 | 0.0022129 | 0.00055461 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1501-16_0_4_load_27 | 8 | 0.0023329 | 0.00058468 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1501-16_0_4_load_30 | 10 | 0.0026751 | 0.00067043 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1501-16_0_4_load_13 | 11 | 0.0061837 | 0.0015498 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1501-16_0_4_load_17 | 12 | 0.029117 | 0.0072973 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1501-16_0_4_load_22 | 14 | 0.0013229 | 0.00033155 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1501-16_0_4_load_26 | 16 | 0.0066257 | 0.0016605 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1501-16_0_4_load_12 | 17 | 0.037907 | 0.0095004 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1501-16_0_4_load_16 | 18 | 0.019942 | 0.0049979 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1501-16_0_4_load_41 | 19 | 0.0032321 | 0.00081003 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1501-16_0_4_load_7 | 20 | 0.011639 | 0.0029171 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1501-16_0_4_load_8 | 21 | 0.0077172 | 0.0019341 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1501-16_0_4_load_10 | 23 | 0.004002 | 0.001003 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1501-16_0_4_load_31 | 24 | 0.0071286 | 0.0017866 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1501-16_0_4_load_20 | 25 | 0.0028782 | 0.00072136 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1501-16_0_4_load_44 | 28 | 0.00055717 | 0.00013964 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1501-16_0_4_load_43 | 29 | 0.0014611 | 0.00036619 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1501-16_0_4_load_21 | 30 | 0.0015738 | 0.00039443 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1501-16_0_4_load_23 | 31 | 0.0019188 | 0.00048091 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1501-16_0_4_load_25 | 32 | 0.0022339 | 0.00055987 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1501-16_0_4_load_32 | 33 | 0.0032239 | 0.00080797 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1501-16_0_4_load_33 | 34 | 0.001867 | 0.00046791 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1501-16_0_4_load_29 | 36 | 0.0039216 | 0.00098284 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1501-16_0_4_load_35 | 38 | 0.0062532 | 0.0015672 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1501-16_0_4_load_36 | 39 | 0.0015013 | 0.00037627 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1501-16_0_4_load_38 | 40 | 0.0026125 | 0.00065475 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1501-16_0_4_load_39 | 41 | 0.0089798 | 0.0022506 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1501-16_0_4_load_40 | 42 | 0.013986 | 0.0035051 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1501-16_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.004634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1501-16_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.044601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1501-16_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.02867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1501-16_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.008039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1501-16_0_4_line_4 | NAYY 4x150 SE | 2 | 5 | 0.031162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1501-16_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.012247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1501-16_0_4_line_6 | NAYY 4x150 SE | 3 | 7 | 0.027189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1501-16_0_4_line_7 | NAYY 4x150 SE | 4 | 8 | 0.0090599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1501-16_0_4_line_8 | NAYY 4x150 SE | 5 | 12 | 0.03211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1501-16_0_4_line_9 | NAYY 4x150 SE | 5 | 13 | 0.029291 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1501-16_0_4_line_10 | NAYY 4x150 SE | 5 | 9 | 0.0257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1501-16_0_4_line_11 | NAYY 4x150 SE | 6 | 14 | 0.016915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1501-16_0_4_line_12 | NAYY 4x150 SE | 7 | 15 | 0.029238 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1501-16_0_4_line_13 | NAYY 4x150 SE | 8 | 16 | 0.0086562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1501-16_0_4_line_14 | NAYY 4x150 SE | 9 | 10 | 0.029366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1501-16_0_4_line_15 | NAYY 4x150 SE | 9 | 11 | 0.0041073 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1501-16_0_4_line_16 | NAYY 4x150 SE | 11 | 17 | 0.023681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1501-16_0_4_line_17 | NAYY 4x150 SE | 12 | 18 | 0.00047566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1501-16_0_4_line_18 | NAYY 4x150 SE | 13 | 19 | 0.035699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1501-16_0_4_line_19 | NAYY 4x150 SE | 14 | 30 | 0.011107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1501-16_0_4_line_20 | NAYY 4x150 SE | 15 | 22 | 0.004952 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1501-16_0_4_line_21 | NAYY 4x150 SE | 16 | 35 | 0.016703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1501-16_0_4_line_22 | NAYY 4x150 SE | 18 | 26 | 0.024962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1501-16_0_4_line_23 | NAYY 4x150 SE | 19 | 41 | 0.01003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1501-16_0_4_line_24 | NAYY 4x150 SE | 20 | 21 | 0.037163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1501-16_0_4_line_25 | NAYY 4x150 SE | 20 | 22 | 0.013689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1501-16_0_4_line_26 | NAYY 4x150 SE | 21 | 23 | 0.0028402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1501-16_0_4_line_27 | NAYY 4x150 SE | 23 | 24 | 0.032794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1501-16_0_4_line_28 | NAYY 4x150 SE | 25 | 26 | 0.043718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1501-16_0_4_line_29 | NAYY 4x150 SE | 26 | 27 | 0.020381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1501-16_0_4_line_30 | NAYY 4x150 SE | 27 | 28 | 0.040636 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1501-16_0_4_line_31 | NAYY 4x150 SE | 28 | 29 | 0.014531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1501-16_0_4_line_32 | NAYY 4x150 SE | 30 | 31 | 0.0088314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1501-16_0_4_line_33 | NAYY 4x150 SE | 31 | 32 | 0.013495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1501-16_0_4_line_34 | NAYY 4x150 SE | 32 | 33 | 0.012247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1501-16_0_4_line_35 | NAYY 4x150 SE | 33 | 34 | 0.010546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1501-16_0_4_line_36 | NAYY 4x150 SE | 35 | 36 | 0.012293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1501-16_0_4_line_37 | NAYY 4x150 SE | 36 | 37 | 0.01698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1501-16_0_4_line_38 | NAYY 4x150 SE | 37 | 38 | 0.0035156 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1501-16_0_4_line_39 | NAYY 4x150 SE | 37 | 39 | 0.010693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1501-16_0_4_line_40 | NAYY 4x150 SE | 40 | 41 | 0.011833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1501-16_0_4_line_41 | NAYY 4x150 SE | 40 | 42 | 0.017343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1501-16_0_4_trafo_6 | 0.25 MVA 20/0.4 kV | 43 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2678308.0377 | 1202625.5807 | 2678303.5927 | 1202626.8907
1 | 2678260.8106 | 1202639.4993 | 2678303.5927 | 1202626.8907
2 | 2678335.5382 | 1202617.4759 | 2678308.0377 | 1202625.5807
3 | 2678263.4814 | 1202647.0835 | 2678260.8106 | 1202639.4993
4 | 2678230.7626 | 1202647.7555 | 2678241.6095 | 1202644.7067 | 2678260.8106 | 1202639.4993
5 | 2678335.5382 | 1202617.4759 | 2678338.3464 | 1202623.8611 | 2678339.709 | 1202628.953
6 | 2678335.5382 | 1202617.4759 | 2678334.0709 | 1202613.8766 | 2678327.8713 | 1202599.1417 | 2678323.734 | 1202593.1074
7 | 2678263.4814 | 1202647.0835 | 2678266.8972 | 1202655.4748
8 | 2678230.7626 | 1202647.7555 | 2678199.9876 | 1202656.9183
9 | 2678230.83 | 1202676.8857 | 2678232.1343 | 1202661.5598 | 2678231.8934 | 1202654.3855 | 2678230.7626 | 1202647.7555
10 | 2678230.7626 | 1202647.7555 | 2678241.6095 | 1202644.7067 | 2678237.9338 | 1202630.7498
11 | 2678339.709 | 1202628.953 | 2678344.0816 | 1202645.2929
12 | 2678304.8475 | 1202570.8333 | 2678320.7022 | 1202588.6856 | 2678323.734 | 1202593.1074
13 | 2678266.8972 | 1202655.4748 | 2678270.1608 | 1202663.4922
14 | 2678237.9338 | 1202630.7498 | 2678266.2227 | 1202622.5819
15 | 2678237.9338 | 1202630.7498 | 2678236.8542 | 1202626.787
16 | 2678227.1042 | 1202605.748 | 2678231.4484 | 1202610.5078 | 2678233.3954 | 1202614.0911 | 2678236.8542 | 1202626.787
17 | 2678199.9876 | 1202656.9183 | 2678199.5317 | 1202657.054
18 | 2678230.83 | 1202676.8857 | 2678227.6613 | 1202707.2966 | 2678228.2568 | 1202712.3853 | 2678228.2568 | 1202712.3853
19 | 2678344.0816 | 1202645.2929 | 2678346.9527 | 1202656.022
20 | 2678301.6628 | 1202567.0336 | 2678304.8475 | 1202570.8333
21 | 2678276.4581 | 1202678.9623 | 2678270.1608 | 1202663.4922
22 | 2678175.6072 | 1202664.1772 | 2678199.5317 | 1202657.054
23 | 2678228.2568 | 1202712.3853 | 2678230.9282 | 1202719.925 | 2678231.9244 | 1202721.695
24 | 2678288.1906 | 1202569.4586 | 2678288.1906 | 1202569.4586 | 2678274.57 | 1202565.2109 | 2678264.6171 | 1202561.0112 | 2678252.5873 | 1202562.2386
25 | 2678301.6628 | 1202567.0336 | 2678288.1906 | 1202569.4586
26 | 2678249.7696 | 1202562.5826 | 2678250.5186 | 1202562.4497 | 2678252.5873 | 1202562.2386
27 | 2678217.361 | 1202567.5298 | 2678233.309 | 1202565.504 | 2678249.7696 | 1202562.5826
28 | 2678175.6072 | 1202664.1772 | 2678169.9054 | 1202620.8329
29 | 2678175.6072 | 1202664.1772 | 2678174.2699 | 1202664.5933 | 2678161.0985 | 1202668.479 | 2678156.0105 | 1202669.9689
30 | 2678156.0105 | 1202669.9689 | 2678161.0314 | 1202710.2936
31 | 2678162.8269 | 1202724.7131 | 2678161.0314 | 1202710.2936
32 | 2678349.2357 | 1202664.5532 | 2678346.9527 | 1202656.022
33 | 2678352.7242 | 1202677.5894 | 2678349.2357 | 1202664.5532
34 | 2678355.8903 | 1202689.4205 | 2678352.7242 | 1202677.5894
35 | 2678358.6163 | 1202699.6077 | 2678355.8903 | 1202689.4205
36 | 2678276.4581 | 1202678.9623 | 2678280.5151 | 1202690.5666
37 | 2678286.1188 | 1202706.5951 | 2678280.5151 | 1202690.5666
38 | 2678286.1188 | 1202706.5951 | 2678282.8529 | 1202707.8964
39 | 2678296.1237 | 1202702.746 | 2678286.1188 | 1202706.5951
40 | 2678237.728 | 1202732.0067 | 2678231.9244 | 1202721.695
41 | 2678246.2341 | 1202747.1202 | 2678237.728 | 1202732.0067

## bus_geodata
| x | y | coords
0 | 2678303.5927 | 1202626.8907
1 | 2678308.0377 | 1202625.5807
2 | 2678260.8106 | 1202639.4993
3 | 2678335.5382 | 1202617.4759
4 | 2678263.4814 | 1202647.0835
5 | 2678230.7626 | 1202647.7555
6 | 2678339.709 | 1202628.953
7 | 2678323.734 | 1202593.1074
8 | 2678266.8972 | 1202655.4748
9 | 2678237.9338 | 1202630.7498
10 | 2678266.2227 | 1202622.5819
11 | 2678236.8542 | 1202626.787
12 | 2678199.9876 | 1202656.9183
13 | 2678230.83 | 1202676.8857
14 | 2678344.0816 | 1202645.2929
15 | 2678304.8475 | 1202570.8333
16 | 2678270.1608 | 1202663.4922
17 | 2678227.1042 | 1202605.748
18 | 2678199.5317 | 1202657.054
19 | 2678228.2568 | 1202712.3853
20 | 2678288.1906 | 1202569.4586
21 | 2678252.5873 | 1202562.2386
22 | 2678301.6628 | 1202567.0336
23 | 2678249.7696 | 1202562.5826
24 | 2678217.361 | 1202567.5298
25 | 2678169.9054 | 1202620.8329
26 | 2678175.6072 | 1202664.1772
27 | 2678156.0105 | 1202669.9689
28 | 2678161.0314 | 1202710.2936
29 | 2678162.8269 | 1202724.7131
30 | 2678346.9527 | 1202656.022
31 | 2678349.2357 | 1202664.5532
32 | 2678352.7242 | 1202677.5894
33 | 2678355.8903 | 1202689.4205
34 | 2678358.6163 | 1202699.6077
35 | 2678276.4581 | 1202678.9623
36 | 2678280.5151 | 1202690.5666
37 | 2678286.1188 | 1202706.5951
38 | 2678282.8529 | 1202707.8964
39 | 2678296.1237 | 1202702.746
40 | 2678237.728 | 1202732.0067
41 | 2678231.9244 | 1202721.695
42 | 2678246.2341 | 1202747.1202
43 | 2678241.6095 | 1202644.7067

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99298 | -0.049036 | 0.0044824 | 0.0011234
1 | 0.99263 | -0.051449 | 0.0053907 | 0.001351
2 | 0.99657 | -0.023889 | 0 | 0
3 | 0.99073 | -0.064841 | 0 | 0
4 | 0.99633 | -0.025557 | 0 | 0
5 | 1 | 0 | -0.20792 | -0.052043
6 | 0.99049 | -0.066498 | 0.001162 | 0.00029121
7 | 0.98944 | -0.073896 | 0.0022129 | 0.00055461
8 | 0.99606 | -0.027438 | 0.0023329 | 0.00058468
9 | 0.99828 | -0.012018 | 0 | 0
10 | 0.99817 | -0.012805 | 0.0026751 | 0.00067043
11 | 0.99802 | -0.013832 | 0.0061837 | 0.0015498
12 | 0.99752 | -0.017339 | 0.029117 | 0.0072973
13 | 0.99879 | -0.0084349 | 0 | 0
14 | 0.9902 | -0.068589 | 0.0013229 | 0.00033155
15 | 0.98816 | -0.082998 | 0 | 0
16 | 0.99584 | -0.029033 | 0.0066257 | 0.0016605
17 | 0.99674 | -0.022838 | 0.037907 | 0.0095004
18 | 0.99751 | -0.017457 | 0.019942 | 0.0049979
19 | 0.99732 | -0.018741 | 0.0032321 | 0.00081003
20 | 0.98734 | -0.088813 | 0.011639 | 0.0029171
21 | 0.98632 | -0.095993 | 0.0077172 | 0.0019341
22 | 0.98794 | -0.084542 | 0 | 0
23 | 0.98628 | -0.096318 | 0.004002 | 0.001003
24 | 0.98594 | -0.098718 | 0.0071286 | 0.0017866
25 | 0.99715 | -0.019951 | 0.0028782 | 0.00072136
26 | 0.99733 | -0.018687 | 0 | 0
27 | 0.99727 | -0.019101 | 0 | 0
28 | 0.99716 | -0.019925 | 0.00055717 | 0.00013964
29 | 0.99713 | -0.020139 | 0.0014611 | 0.00036619
30 | 0.99003 | -0.069813 | 0.0015738 | 0.00039443
31 | 0.98991 | -0.070644 | 0.0019188 | 0.00048091
32 | 0.98977 | -0.071652 | 0.0022339 | 0.00055987
33 | 0.98968 | -0.072287 | 0.0032239 | 0.00080797
34 | 0.98965 | -0.072488 | 0.001867 | 0.00046791
35 | 0.99556 | -0.030997 | 0 | 0
36 | 0.99535 | -0.032443 | 0.0039216 | 0.00098284
37 | 0.99516 | -0.03377 | 0 | 0
38 | 0.99513 | -0.033992 | 0.0062532 | 0.0015672
39 | 0.99514 | -0.033932 | 0.0015013 | 0.00037627
40 | 0.99667 | -0.02329 | 0.0026125 | 0.00065475
41 | 0.99696 | -0.021317 | 0.0089798 | 0.0022506
42 | 0.99633 | -0.025728 | 0.013986 | 0.0035051
43 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.051633 | 0.012969 | -0.051616 | -0.012963 | 1.7316e-05 | 6.6003e-06 | 0.077385 | 0.077385 | 0.077385 | 0.99298 | -0.049036 | 0.99263 | -0.051449 | 28.6611
1 | -0.056116 | -0.014093 | 0.056313 | 0.014168 | 0.00019685 | 7.5134e-05 | 0.084102 | 0.084102 | 0.084102 | 0.99298 | -0.049036 | 0.99657 | -0.023889 | 31.1489
2 | 0.046225 | 0.011612 | -0.046139 | -0.011579 | 8.5927e-05 | 3.2679e-05 | 0.069304 | 0.069304 | 0.069304 | 0.99263 | -0.051449 | 0.99073 | -0.064841 | 25.6682
3 | 0.020656 | 0.0051786 | -0.020651 | -0.0051769 | 4.772e-06 | 1.7307e-06 | 0.030843 | 0.030843 | 0.030843 | 0.99657 | -0.023889 | 0.99633 | -0.025557 | 11.4233
4 | -0.076969 | -0.019346 | 0.077226 | 0.019445 | 0.00025691 | 9.8406e-05 | 0.11494 | 0.11494 | 0.11494 | 0.99657 | -0.023889 | 1 | 0 | 42.5722
5 | 0.013313 | 0.003337 | -0.01331 | -0.003336 | 3.0555e-06 | 1.0175e-06 | 0.019996 | 0.019996 | 0.019996 | 0.99073 | -0.064841 | 0.99049 | -0.066498 | 7.4059
6 | 0.032826 | 0.008242 | -0.032785 | -0.0082265 | 4.125e-05 | 1.5516e-05 | 0.049308 | 0.049309 | 0.049309 | 0.99073 | -0.064841 | 0.98944 | -0.073896 | 18.2624
7 | 0.020651 | 0.0051769 | -0.020646 | -0.005175 | 5.378e-06 | 1.9505e-06 | 0.030843 | 0.030843 | 0.030843 | 0.99633 | -0.025557 | 0.99606 | -0.027438 | 11.4234
8 | 0.054087 | 0.013571 | -0.053957 | -0.013521 | 0.0001298 | 4.9504e-05 | 0.080488 | 0.080488 | 0.080488 | 1 | 0 | 0.99752 | -0.017339 | 29.8104
9 | 0.028903 | 0.007255 | -0.02887 | -0.0072424 | 3.3815e-05 | 1.2622e-05 | 0.043013 | 0.043013 | 0.043013 | 1 | 0 | 0.99879 | -0.0084349 | 15.9307
10 | 0.046903 | 0.011772 | -0.046825 | -0.011742 | 7.8128e-05 | 2.9713e-05 | 0.069798 | 0.069798 | 0.069798 | 1 | 0 | 0.99828 | -0.012018 | 25.8512
11 | 0.012148 | 0.0030447 | -0.012145 | -0.0030436 | 3.5155e-06 | 1.1345e-06 | 0.01825 | 0.01825 | 0.01825 | 0.99049 | -0.066498 | 0.9902 | -0.068589 | 6.7594
12 | 0.030572 | 0.0076719 | -0.030534 | -0.0076574 | 3.8572e-05 | 1.4461e-05 | 0.045981 | 0.045981 | 0.045981 | 0.98944 | -0.073896 | 0.98816 | -0.082998 | 17.0299
13 | 0.018313 | 0.0045903 | -0.018309 | -0.0045888 | 4.0428e-06 | 1.4423e-06 | 0.027358 | 0.027358 | 0.027358 | 0.99606 | -0.027438 | 0.99584 | -0.029033 | 10.1326
14 | 0.0026754 | 0.00067016 | -0.0026751 | -0.00067043 | 2.914e-07 | -2.7182e-07 | 0.0039877 | 0.0039878 | 0.0039878 | 0.99828 | -0.012018 | 0.99817 | -0.012805 | 1.477
15 | 0.044149 | 0.011072 | -0.044138 | -0.011068 | 1.11e-05 | 4.2156e-06 | 0.065811 | 0.065811 | 0.065811 | 0.99828 | -0.012018 | 0.99802 | -0.013832 | 24.3743
16 | 0.037955 | 0.0095183 | -0.037907 | -0.0095004 | 4.7324e-05 | 1.7892e-05 | 0.056591 | 0.056591 | 0.056591 | 0.99802 | -0.013832 | 0.99674 | -0.022838 | 20.9597
17 | 0.024841 | 0.0062241 | -0.02484 | -0.0062239 | 4.0753e-07 | 1.5053e-07 | 0.037055 | 0.037055 | 0.037055 | 0.99752 | -0.017339 | 0.99751 | -0.017457 | 13.7239
18 | 0.02887 | 0.0072424 | -0.028828 | -0.007227 | 4.1213e-05 | 1.5385e-05 | 0.043013 | 0.043013 | 0.043013 | 0.99879 | -0.0084349 | 0.99732 | -0.018741 | 15.9307
19 | 0.010822 | 0.0027121 | -0.01082 | -0.0027115 | 1.8329e-06 | 5.6211e-07 | 0.016262 | 0.016262 | 0.016262 | 0.9902 | -0.068589 | 0.99003 | -0.069813 | 6.0231
20 | 0.030534 | 0.0076574 | -0.030527 | -0.007655 | 6.5331e-06 | 2.4493e-06 | 0.045981 | 0.045981 | 0.045981 | 0.98816 | -0.082998 | 0.98794 | -0.084542 | 17.0299
21 | 0.011683 | 0.0029283 | -0.01168 | -0.0029273 | 3.1765e-06 | 1.0045e-06 | 0.017458 | 0.017458 | 0.017458 | 0.99584 | -0.029033 | 0.99556 | -0.030997 | 6.4658
22 | 0.0048982 | 0.001226 | -0.0048974 | -0.001226 | 8.3152e-07 | -5.9854e-09 | 0.0073063 | 0.0073064 | 0.0073064 | 0.99751 | -0.017457 | 0.99733 | -0.018687 | 2.7061
23 | 0.025596 | 0.006417 | -0.025587 | -0.0064136 | 9.1286e-06 | 3.3802e-06 | 0.038191 | 0.038191 | 0.038191 | 0.99732 | -0.018741 | 0.99696 | -0.021317 | 14.1447
24 | 0.01887 | 0.0047311 | -0.018851 | -0.0047244 | 1.8755e-05 | 6.7387e-06 | 0.028439 | 0.028439 | 0.028439 | 0.98734 | -0.088813 | 0.98632 | -0.095993 | 10.533
25 | -0.030509 | -0.0076482 | 0.030527 | 0.007655 | 1.8059e-05 | 6.7707e-06 | 0.045981 | 0.045981 | 0.045981 | 0.98734 | -0.088813 | 0.98794 | -0.084542 | 17.0299
26 | 0.011134 | 0.0027903 | -0.011133 | -0.0027901 | 5e-07 | 1.5606e-07 | 0.016797 | 0.016797 | 0.016797 | 0.98632 | -0.095993 | 0.98628 | -0.096318 | 6.221
27 | 0.007131 | 0.0017871 | -0.0071286 | -0.0017866 | 2.3687e-06 | 4.9266e-07 | 0.010759 | 0.010759 | 0.010759 | 0.98628 | -0.096318 | 0.98594 | -0.098718 | 3.9847
28 | -0.0028782 | -0.00072136 | 0.0028787 | 0.00072098 | 5.0323e-07 | -3.7684e-07 | 0.0042951 | 0.0042949 | 0.0042951 | 0.99715 | -0.019951 | 0.99733 | -0.018687 | 1.5908
29 | 0.0020187 | 0.00050499 | -0.0020186 | -0.00050522 | 1.1534e-07 | -2.2158e-07 | 0.0030115 | 0.0030116 | 0.0030116 | 0.99733 | -0.018687 | 0.99727 | -0.019101 | 1.1154
30 | 0.0020186 | 0.00050522 | -0.0020183 | -0.00050566 | 2.3e-07 | -4.4169e-07 | 0.0030116 | 0.0030118 | 0.0030118 | 0.99727 | -0.019101 | 0.99716 | -0.019925 | 1.1155
31 | 0.0014612 | 0.00036602 | -0.0014611 | -0.00036619 | 4.3107e-08 | -1.7297e-07 | 0.0021804 | 0.0021804 | 0.0021804 | 0.99716 | -0.019925 | 0.99713 | -0.020139 | 0.80757
32 | 0.0092462 | 0.0023171 | -0.0092451 | -0.0023168 | 1.0643e-06 | 2.9579e-07 | 0.013897 | 0.013897 | 0.013897 | 0.99003 | -0.069813 | 0.98991 | -0.070644 | 5.147
33 | 0.0073263 | 0.0018359 | -0.0073252 | -0.0018357 | 1.0213e-06 | 2.1933e-07 | 0.011013 | 0.011013 | 0.011013 | 0.98991 | -0.070644 | 0.98977 | -0.071652 | 4.0788
34 | 0.0050913 | 0.0012758 | -0.0050909 | -0.0012758 | 4.4775e-07 | 1.4821e-08 | 0.0076543 | 0.0076543 | 0.0076543 | 0.98977 | -0.071652 | 0.98968 | -0.072287 | 2.8349
35 | 0.001867 | 0.0004678 | -0.001867 | -0.00046791 | 5.1854e-08 | -1.1556e-07 | 0.0028071 | 0.0028072 | 0.0028072 | 0.98968 | -0.072287 | 0.98965 | -0.072488 | 1.0397
36 | 0.01168 | 0.0029273 | -0.011678 | -0.0029265 | 2.3379e-06 | 7.3937e-07 | 0.017458 | 0.017458 | 0.017458 | 0.99556 | -0.030997 | 0.99535 | -0.032443 | 6.4659
37 | 0.0077562 | 0.0019437 | -0.0077548 | -0.0019434 | 1.4246e-06 | 3.2725e-07 | 0.011595 | 0.011595 | 0.011595 | 0.99535 | -0.032443 | 0.99516 | -0.03377 | 4.2946
38 | 0.0062534 | 0.0015672 | -0.0062532 | -0.0015672 | 1.918e-07 | 2.8093e-08 | 0.0093504 | 0.0093504 | 0.0093504 | 0.99516 | -0.03377 | 0.99513 | -0.033992 | 3.4631
39 | 0.0015014 | 0.00037615 | -0.0015013 | -0.00037627 | 3.3627e-08 | -1.2599e-07 | 0.0022449 | 0.0022449 | 0.0022449 | 0.99516 | -0.03377 | 0.99514 | -0.033932 | 0.83146
40 | -0.016603 | -0.0041615 | 0.016607 | 0.0041631 | 4.5368e-06 | 1.5907e-06 | 0.024788 | 0.024788 | 0.024788 | 0.99667 | -0.02329 | 0.99696 | -0.021317 | 9.1807
41 | 0.01399 | 0.0035067 | -0.013986 | -0.0035051 | 4.7215e-06 | 1.59e-06 | 0.020887 | 0.020888 | 0.020888 | 0.99667 | -0.02329 | 0.99633 | -0.025728 | 7.7361

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.20792 | 0.052043

## res_load
| p_mw | q_mvar
0 | 0.0044824 | 0.0011234
1 | 0.0053907 | 0.001351
2 | 0.001162 | 0.00029121
3 | 0.0022129 | 0.00055461
4 | 0.0023329 | 0.00058468
5 | 0.0026751 | 0.00067043
6 | 0.0061837 | 0.0015498
7 | 0.029117 | 0.0072973
8 | 0.0013229 | 0.00033155
9 | 0.0066257 | 0.0016605
10 | 0.037907 | 0.0095004
11 | 0.019942 | 0.0049979
12 | 0.0032321 | 0.00081003
13 | 0.011639 | 0.0029171
14 | 0.0077172 | 0.0019341
15 | 0.004002 | 0.001003
16 | 0.0071286 | 0.0017866
17 | 0.0028782 | 0.00072136
18 | 0.00055717 | 0.00013964
19 | 0.0014611 | 0.00036619
20 | 0.0015738 | 0.00039443
21 | 0.0019188 | 0.00048091
22 | 0.0022339 | 0.00055987
23 | 0.0032239 | 0.00080797
24 | 0.001867 | 0.00046791
25 | 0.0039216 | 0.00098284
26 | 0.0062532 | 0.0015672
27 | 0.0015013 | 0.00037627
28 | 0.0026125 | 0.00065475
29 | 0.0089798 | 0.0022506
30 | 0.013986 | 0.0035051

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1