## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1501-23_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1501-23_0_3_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1501-23_0_3_node_13 | 0.4 | n |  | TRUE
3 | bus_LV_1501-23_0_3_node_1 | 0.4 | n |  | TRUE
4 | bus_LV_1501-23_0_3_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1501-23_0_3_node_12 | 0.4 | n |  | TRUE
6 | bus_LV_1501-23_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1501-23_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1501-23_0_3_node_11 | 0.4 | n |  | TRUE
9 | bus_LV_1501-23_0_3_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1501-23_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1501-23_0_3_node_6 | 0.4 | n |  | TRUE
12 | bus_LV_1501-23_0_3_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1501-23_0_3_node_24 | 0.4 | n |  | TRUE
14 | bus_LV_1501-23_0_3_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_1501-23_0_3_node_14 | 0.4 | n |  | TRUE
16 | bus_LV_1501-23_0_3_node_21 | 0.4 | n |  | TRUE
17 | bus_LV_1501-23_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_1501-23_0_3_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_1501-23_0_3_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_1501-23_0_3_node_37 | 0.4 | n |  | TRUE
21 | bus_LV_1501-23_0_3_node_36 | 0.4 | n |  | TRUE
22 | bus_LV_1501-23_0_3_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_1501-23_0_3_node_41 | 0.4 | n |  | TRUE
24 | bus_LV_1501-23_0_3_node_42 | 0.4 | n |  | TRUE
25 | bus_LV_1501-23_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1501-23_0_3_node_16 | 0.4 | n |  | TRUE
27 | bus_LV_1501-23_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1501-23_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1501-23_0_3_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_1501-23_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1501-23_0_3_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1501-23_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1501-23_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1501-23_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_1501-23_0_3_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1501-23_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_1501-23_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_1501-23_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_1501-23_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_1501-23_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_1501-23_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_1501-23_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_MV_142_0_node_297 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1501-23_0_3_load_0 | 0 | 0.0020439 | 0.00051225 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1501-23_0_3_load_13 | 2 | 0.0016905 | 0.00042368 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1501-23_0_3_load_3 | 4 | 0.0036027 | 0.00090291 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1501-23_0_3_load_12 | 5 | 0.0024048 | 0.00060269 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1501-23_0_3_load_5 | 7 | 0.0027238 | 0.00068266 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1501-23_0_3_load_6 | 11 | 0.0030176 | 0.00075629 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1501-23_0_3_load_10 | 12 | 0.0041213 | 0.0010329 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1501-23_0_3_load_24 | 13 | 0.0011132 | 0.000279 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1501-23_0_3_load_20 | 14 | 0.0032982 | 0.00082662 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1501-23_0_3_load_14 | 15 | 0.0036707 | 0.00091997 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1501-23_0_3_load_15 | 17 | 0.0046335 | 0.0011613 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1501-23_0_3_load_40 | 18 | 0.0034478 | 0.0008641 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1501-23_0_3_load_7 | 19 | 0.0026411 | 0.00066192 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1501-23_0_3_load_37 | 20 | 0.0039587 | 0.00099215 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1501-23_0_3_load_36 | 21 | 0.00216 | 0.00054134 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1501-23_0_3_load_25 | 22 | 0.005812 | 0.0014566 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1501-23_0_3_load_41 | 23 | 0.002819 | 0.00070651 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1501-23_0_3_load_42 | 24 | 0.0023225 | 0.00058206 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1501-23_0_3_load_19 | 25 | 0.0041585 | 0.0010422 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1501-23_0_3_load_16 | 26 | 0.003809 | 0.00095463 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1501-23_0_3_load_17 | 27 | 0.0035637 | 0.00089315 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1501-23_0_3_load_18 | 28 | 0.0037164 | 0.00093143 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1501-23_0_3_load_39 | 29 | 0.0042531 | 0.0010659 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1501-23_0_3_load_22 | 30 | 0.0013583 | 0.00034043 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1501-23_0_3_load_23 | 31 | 0.0027173 | 0.00068101 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1501-23_0_3_load_27 | 33 | 0.00090864 | 0.00022773 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1501-23_0_3_load_28 | 34 | 0.0051406 | 0.0012884 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1501-23_0_3_load_31 | 37 | 0.0047968 | 0.0012022 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1501-23_0_3_load_33 | 39 | 0.0027482 | 0.00068876 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1501-23_0_3_load_34 | 40 | 0.0040383 | 0.0010121 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1501-23_0_3_load_35 | 41 | 0.0061978 | 0.0015533 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1501-23_0_3_load_38 | 42 | 0.0059268 | 0.0014854 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 1 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1501-23_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0066183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1501-23_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.061754 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1501-23_0_3_line_2 | NAYY 4x150 SE | 1 | 6 | 0.030196 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1501-23_0_3_line_3 | NAYY 4x150 SE | 1 | 7 | 0.020939 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1501-23_0_3_line_4 | NAYY 4x150 SE | 2 | 8 | 0.036949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1501-23_0_3_line_5 | NAYY 4x150 SE | 3 | 4 | 0.015478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1501-23_0_3_line_6 | NAYY 4x150 SE | 3 | 5 | 0.028276 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1501-23_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.020549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1501-23_0_3_line_8 | NAYY 4x150 SE | 6 | 13 | 0.019908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1501-23_0_3_line_9 | NAYY 4x150 SE | 6 | 14 | 0.033771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1501-23_0_3_line_10 | NAYY 4x150 SE | 7 | 15 | 0.029649 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1501-23_0_3_line_11 | NAYY 4x150 SE | 8 | 12 | 0.014575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1501-23_0_3_line_12 | NAYY 4x150 SE | 9 | 10 | 0.019278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1501-23_0_3_line_13 | NAYY 4x150 SE | 9 | 11 | 0.037343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1501-23_0_3_line_14 | NAYY 4x150 SE | 10 | 12 | 0.012984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1501-23_0_3_line_15 | NAYY 4x150 SE | 11 | 19 | 0.0069302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1501-23_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.0090571 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1501-23_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.026099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1501-23_0_3_line_18 | NAYY 4x150 SE | 15 | 18 | 0.024413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1501-23_0_3_line_19 | NAYY 4x150 SE | 16 | 30 | 0.024638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1501-23_0_3_line_20 | NAYY 4x150 SE | 16 | 31 | 0.056618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1501-23_0_3_line_21 | NAYY 4x150 SE | 17 | 22 | 0.0029741 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1501-23_0_3_line_22 | NAYY 4x150 SE | 18 | 23 | 0.023969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1501-23_0_3_line_23 | NAYY 4x150 SE | 19 | 20 | 0.065495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1501-23_0_3_line_24 | NAYY 4x150 SE | 20 | 21 | 0.010997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1501-23_0_3_line_25 | NAYY 4x150 SE | 21 | 39 | 0.014638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1501-23_0_3_line_26 | NAYY 4x150 SE | 22 | 25 | 0.0388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1501-23_0_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.076475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1501-23_0_3_line_28 | NAYY 4x150 SE | 25 | 29 | 0.03084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1501-23_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.0074458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1501-23_0_3_line_30 | NAYY 4x150 SE | 26 | 27 | 0.0095478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1501-23_0_3_line_31 | NAYY 4x150 SE | 26 | 28 | 0.0075525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1501-23_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.030013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1501-23_0_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.06017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1501-23_0_3_line_34 | NAYY 4x150 SE | 34 | 35 | 0.016312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1501-23_0_3_line_35 | NAYY 4x150 SE | 34 | 36 | 0.021208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1501-23_0_3_line_36 | NAYY 4x150 SE | 35 | 37 | 0.032451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1501-23_0_3_line_37 | NAYY 4x150 SE | 35 | 38 | 0.073353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1501-23_0_3_line_38 | NAYY 4x150 SE | 36 | 39 | 0.0057059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1501-23_0_3_line_39 | NAYY 4x150 SE | 36 | 40 | 0.01697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1501-23_0_3_line_40 | NAYY 4x150 SE | 38 | 41 | 0.040147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1501-23_0_3_line_41 | NAYY 4x150 SE | 40 | 42 | 0.022184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1501-23_0_3_trafo_2 | 0.25 MVA 20/0.4 kV | 43 | 1 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2679637.9296 | 1201739.7522 | 2679631.3856 | 1201740.7412
1 | 2679631.3856 | 1201740.7412 | 2679633.9426 | 1201802.4418
2 | 2679637.9296 | 1201739.7522 | 2679667.8665 | 1201735.1928
3 | 2679637.9296 | 1201739.7522 | 2679634.9756 | 1201723.2469 | 2679632.1458 | 1201720.1826
4 | 2679596.9968 | 1201802.9131 | 2679633.9426 | 1201802.4418
5 | 2679567.4087 | 1201772.1887 | 2679557.3651 | 1201766.1846 | 2679553.5916 | 1201766.0454
6 | 2679567.4087 | 1201772.1887 | 2679593.6476 | 1201782.7259
7 | 2679596.9968 | 1201802.9131 | 2679596.1997 | 1201792.4738 | 2679594.0889 | 1201784.0848 | 2679593.6476 | 1201782.7259
8 | 2679667.8665 | 1201735.1928 | 2679670.9779 | 1201742.172 | 2679674.9194 | 1201743.4142 | 2679683.0175 | 1201742.3326
9 | 2679667.8665 | 1201735.1928 | 2679687.7937 | 1201731.2227 | 2679700.6735 | 1201727.3414
10 | 2679605.4213 | 1201711.6557 | 2679612.4534 | 1201711.1837 | 2679626.7218 | 1201714.3091 | 2679632.1458 | 1201720.1826
11 | 2679596.9968 | 1201802.9131 | 2679584.55 | 1201804.1926 | 2679582.5356 | 1201804.6378
12 | 2679590.9675 | 1201811.5494 | 2679587.7195 | 1201810.8168 | 2679577.949 | 1201810.5976 | 2679571.7657 | 1201811.3713
13 | 2679590.9675 | 1201811.5494 | 2679596.1258 | 1201810.5841 | 2679618.1506 | 1201811.4003 | 2679622.5686 | 1201814.0163 | 2679624.668 | 1201817.5465 | 2679624.6828 | 1201818.3599
14 | 2679571.7657 | 1201811.3713 | 2679579.0458 | 1201805.409 | 2679582.5356 | 1201804.6378
15 | 2679624.6828 | 1201818.3599 | 2679624.809 | 1201825.2889
16 | 2679709.3455 | 1201724.7282 | 2679700.6735 | 1201727.3414
17 | 2679605.4213 | 1201711.6557 | 2679579.3811 | 1201713.4037
18 | 2679605.4213 | 1201711.6557 | 2679602.1608 | 1201687.4611
19 | 2679709.3455 | 1201724.7282 | 2679711.3262 | 1201729.1685 | 2679717.0531 | 1201731.8021 | 2679730.3533 | 1201729.3336
20 | 2679709.3455 | 1201724.7282 | 2679725.7677 | 1201718.7547 | 2679739.9762 | 1201712.1067 | 2679761.2067 | 1201702.133
21 | 2679576.4137 | 1201713.6028 | 2679579.3811 | 1201713.4037
22 | 2679626.1101 | 1201686.4769 | 2679602.1608 | 1201687.4611
23 | 2679676.7472 | 1201865.1885 | 2679624.809 | 1201825.2889
24 | 2679686.8794 | 1201860.9169 | 2679678.3511 | 1201864.4581 | 2679676.7472 | 1201865.1885
25 | 2679686.8794 | 1201860.9169 | 2679700.3985 | 1201855.3034
26 | 2679576.4137 | 1201713.6028 | 2679567.9533 | 1201714.1707 | 2679547.4539 | 1201711.952 | 2679538.0235 | 1201714.2274
27 | 2679626.1101 | 1201686.4769 | 2679625.4483 | 1201610.0045
28 | 2679538.0235 | 1201714.2274 | 2679556.2479 | 1201689.3481
29 | 2679532.7634 | 1201718.7941 | 2679535.358 | 1201714.8706 | 2679538.0235 | 1201714.2274
30 | 2679532.7634 | 1201718.7941 | 2679532.7634 | 1201718.7941 | 2679533.7483 | 1201728.2909
31 | 2679528.5977 | 1201733.8147 | 2679533.7483 | 1201728.2909
32 | 2679788.3711 | 1201689.3717 | 2679761.2067 | 1201702.133
33 | 2679788.3711 | 1201689.3717 | 2679777.4971 | 1201679.4426 | 2679743.1109 | 1201678.0049 | 2679732.1111 | 1201678.8041
34 | 2679741.9404 | 1201843.7711 | 2679725.9397 | 1201846.9438
35 | 2679705.6682 | 1201853.1153 | 2679722.9754 | 1201847.5315 | 2679725.9397 | 1201846.9438
36 | 2679741.9404 | 1201843.7711 | 2679742.9661 | 1201847.3315 | 2679745.0511 | 1201848.5156 | 2679750.8304 | 1201848.9263 | 2679771.3623 | 1201847.9629
37 | 2679813.3339 | 1201828.0699 | 2679798.6745 | 1201833.7221 | 2679788.2664 | 1201836.2292 | 2679768.7468 | 1201839.3372 | 2679741.9404 | 1201843.7711
38 | 2679705.6682 | 1201853.1153 | 2679700.3985 | 1201855.3034
39 | 2679705.6682 | 1201853.1153 | 2679707.4617 | 1201857.8866 | 2679709.5889 | 1201858.76 | 2679719.1193 | 1201857.8585
40 | 2679813.3339 | 1201828.0699 | 2679811.6086 | 1201822.7546 | 2679810.2767 | 1201818.7565 | 2679807.9535 | 1201815.4679 | 2679804.968 | 1201813.3156 | 2679801.9576 | 1201812.4637 | 2679793.4101 | 1201811.2933 | 2679790.4911 | 1201809.8645 | 2679787.1708 | 1201807.7077 | 2679786.0759 | 1201804.202
41 | 2679741.2775 | 1201856.9372 | 2679722.9794 | 1201857.4934 | 2679719.1193 | 1201857.8585

## bus_geodata
| x | y | coords
0 | 2679631.3856 | 1201740.7412
1 | 2679637.9296 | 1201739.7522
2 | 2679633.9426 | 1201802.4418
3 | 2679567.4087 | 1201772.1887
4 | 2679553.5916 | 1201766.0454
5 | 2679593.6476 | 1201782.7259
6 | 2679667.8665 | 1201735.1928
7 | 2679632.1458 | 1201720.1826
8 | 2679596.9968 | 1201802.9131
9 | 2679590.9675 | 1201811.5494
10 | 2679571.7657 | 1201811.3713
11 | 2679624.6828 | 1201818.3599
12 | 2679582.5356 | 1201804.6378
13 | 2679683.0175 | 1201742.3326
14 | 2679700.6735 | 1201727.3414
15 | 2679605.4213 | 1201711.6557
16 | 2679709.3455 | 1201724.7282
17 | 2679579.3811 | 1201713.4037
18 | 2679602.1608 | 1201687.4611
19 | 2679624.809 | 1201825.2889
20 | 2679676.7472 | 1201865.1885
21 | 2679686.8794 | 1201860.9169
22 | 2679576.4137 | 1201713.6028
23 | 2679626.1101 | 1201686.4769
24 | 2679625.4483 | 1201610.0045
25 | 2679538.0235 | 1201714.2274
26 | 2679533.7483 | 1201728.2909
27 | 2679532.7634 | 1201718.7941
28 | 2679528.5977 | 1201733.8147
29 | 2679556.2479 | 1201689.3481
30 | 2679730.3533 | 1201729.3336
31 | 2679761.2067 | 1201702.133
32 | 2679788.3711 | 1201689.3717
33 | 2679732.1111 | 1201678.8041
34 | 2679725.9397 | 1201846.9438
35 | 2679741.9404 | 1201843.7711
36 | 2679705.6682 | 1201853.1153
37 | 2679771.3623 | 1201847.9629
38 | 2679813.3339 | 1201828.0699
39 | 2679700.3985 | 1201855.3034
40 | 2679719.1193 | 1201857.8585
41 | 2679786.0759 | 1201804.202
42 | 2679741.2775 | 1201856.9372
43 | 2679667.8665 | 1201735.1928

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99948 | -0.0036047 | 0.0020439 | 0.00051225
1 | 1 | 0 | -0.11062 | -0.027644
2 | 0.99479 | -0.036146 | 0.0016905 | 0.00042368
3 | 0.99175 | -0.057416 | 0 | 0
4 | 0.99167 | -0.057982 | 0.0036027 | 0.00090291
5 | 0.99189 | -0.056381 | 0.0024048 | 0.00060269
6 | 0.9996 | -0.00284 | 0 | 0
7 | 0.99865 | -0.0094078 | 0.0027238 | 0.00068266
8 | 0.99207 | -0.055128 | 0 | 0
9 | 0.98922 | -0.075107 | 0 | 0
10 | 0.99036 | -0.067122 | 0 | 0
11 | 0.98702 | -0.090627 | 0.0030176 | 0.00075629
12 | 0.99113 | -0.061754 | 0.0041213 | 0.0010329
13 | 0.99956 | -0.0030616 | 0.0011132 | 0.000279
14 | 0.9992 | -0.0056415 | 0.0032982 | 0.00082662
15 | 0.99686 | -0.021961 | 0.0036707 | 0.00091997
16 | 0.99913 | -0.0060943 | 0 | 0
17 | 0.99574 | -0.029822 | 0.0046335 | 0.0011613
18 | 0.99656 | -0.02407 | 0.0034478 | 0.0008641
19 | 0.98665 | -0.0933 | 0.0026411 | 0.00066192
20 | 0.98332 | -0.11688 | 0.0039587 | 0.00099215
21 | 0.98282 | -0.1204 | 0.00216 | 0.00054134
22 | 0.99563 | -0.03058 | 0.005812 | 0.0014566
23 | 0.99638 | -0.025311 | 0.002819 | 0.00070651
24 | 0.99613 | -0.0271 | 0.0023225 | 0.00058206
25 | 0.99455 | -0.038209 | 0.0041585 | 0.0010422
26 | 0.99433 | -0.039768 | 0.003809 | 0.00095463
27 | 0.99443 | -0.039042 | 0.0035637 | 0.00089315
28 | 0.99429 | -0.040051 | 0.0037164 | 0.00093143
29 | 0.99436 | -0.039533 | 0.0042531 | 0.0010659
30 | 0.99908 | -0.0064292 | 0.0013583 | 0.00034043
31 | 0.99884 | -0.008154 | 0.0027173 | 0.00068101
32 | 0.9988 | -0.008429 | 0 | 0
33 | 0.99872 | -0.0089778 | 0.00090864 | 0.00022773
34 | 0.9815 | -0.12986 | 0.0051406 | 0.0012884
35 | 0.98124 | -0.13172 | 0 | 0
36 | 0.98199 | -0.12631 | 0 | 0
37 | 0.98101 | -0.13334 | 0.0047968 | 0.0012022
38 | 0.98058 | -0.13644 | 0 | 0
39 | 0.98221 | -0.12477 | 0.0027482 | 0.00068876
40 | 0.98175 | -0.12806 | 0.0040383 | 0.0010121
41 | 0.98021 | -0.13903 | 0.0061978 | 0.0015533
42 | 0.98156 | -0.12943 | 0.0059268 | 0.0014854
43 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.055264 | -0.013947 | 0.055292 | 0.013958 | 2.7979e-05 | 1.0675e-05 | 0.08231 | 0.08231 | 0.08231 | 0.99948 | -0.0036047 | 1 | 0 | 30.4852
1 | 0.05322 | 0.013435 | -0.052978 | -0.013342 | 0.00024212 | 9.2319e-05 | 0.079267 | 0.079268 | 0.079268 | 0.99948 | -0.0036047 | 0.99479 | -0.036146 | 29.3583
2 | 0.0094042 | 0.0023546 | -0.0094005 | -0.0023536 | 3.6893e-06 | 1.023e-06 | 0.013993 | 0.013993 | 0.013993 | 1 | 0 | 0.9996 | -0.00284 | 5.1826
3 | 0.045126 | 0.011332 | -0.045067 | -0.011309 | 5.8924e-05 | 2.2389e-05 | 0.067155 | 0.067156 | 0.067156 | 1 | 0 | 0.99865 | -0.0094078 | 24.8724
4 | 0.051287 | 0.012919 | -0.051151 | -0.012867 | 0.00013577 | 5.1742e-05 | 0.076739 | 0.076739 | 0.076739 | 0.99479 | -0.036146 | 0.99207 | -0.055128 | 28.4219
5 | 0.003603 | 0.00090282 | -0.0036027 | -0.00090291 | 2.8224e-07 | -9.1149e-08 | 0.0054058 | 0.0054059 | 0.0054059 | 0.99175 | -0.057416 | 0.99167 | -0.057982 | 2.0022
6 | -0.003603 | -0.00090282 | 0.0036035 | 0.00090266 | 5.1559e-07 | -1.6661e-07 | 0.0054058 | 0.0054057 | 0.0054058 | 0.99175 | -0.057416 | 0.99189 | -0.056381 | 2.0021
7 | -0.0060082 | -0.0015053 | 0.0060093 | 0.0015055 | 1.0417e-06 | 1.3536e-07 | 0.0090132 | 0.0090131 | 0.0090132 | 0.99189 | -0.056381 | 0.99207 | -0.055128 | 3.3382
8 | 0.0011133 | 0.00027876 | -0.0011132 | -0.000279 | 3.4116e-08 | -2.4784e-07 | 0.0016572 | 0.0016572 | 0.0016572 | 0.9996 | -0.00284 | 0.99956 | -0.0030616 | 0.61379
9 | 0.0082872 | 0.0020748 | -0.008284 | -0.002074 | 3.2067e-06 | 7.9084e-07 | 0.012336 | 0.012336 | 0.012336 | 0.9996 | -0.00284 | 0.9992 | -0.0056415 | 4.5689
10 | 0.042343 | 0.010627 | -0.042269 | -0.010599 | 7.3658e-05 | 2.7943e-05 | 0.063097 | 0.063097 | 0.063097 | 0.99865 | -0.0094078 | 0.99686 | -0.021961 | 23.3693
11 | 0.045142 | 0.011361 | -0.0451 | -0.011346 | 4.1717e-05 | 1.5857e-05 | 0.067726 | 0.067726 | 0.067726 | 0.99207 | -0.055128 | 0.99113 | -0.061754 | 25.0837
12 | -0.040903 | -0.010284 | 0.040948 | 0.010301 | 4.5556e-05 | 1.7274e-05 | 0.061539 | 0.061539 | 0.061539 | 0.98922 | -0.075107 | 0.99036 | -0.067122 | 22.7921
13 | 0.040903 | 0.010284 | -0.040815 | -0.01025 | 8.8245e-05 | 3.3462e-05 | 0.061539 | 0.061539 | 0.061539 | 0.98922 | -0.075107 | 0.98702 | -0.090627 | 22.7922
14 | -0.040948 | -0.010301 | 0.040979 | 0.010313 | 3.0682e-05 | 1.1634e-05 | 0.061539 | 0.061539 | 0.061539 | 0.99036 | -0.067122 | 0.99113 | -0.061754 | 22.7921
15 | 0.037797 | 0.009494 | -0.037783 | -0.0094887 | 1.4045e-05 | 5.3133e-06 | 0.05699 | 0.05699 | 0.05699 | 0.98702 | -0.090627 | 0.98665 | -0.0933 | 21.1073
16 | 0.0049858 | 0.0012474 | -0.0049855 | -0.0012474 | 3.1151e-07 | 1.1859e-09 | 0.0074241 | 0.0074242 | 0.0074242 | 0.9992 | -0.0056415 | 0.99913 | -0.0060943 | 2.7497
17 | 0.030005 | 0.0075263 | -0.029973 | -0.0075141 | 3.2673e-05 | 1.2227e-05 | 0.044791 | 0.044791 | 0.044791 | 0.99686 | -0.021961 | 0.99574 | -0.029822 | 16.5894
18 | 0.0085932 | 0.0021526 | -0.0085907 | -0.0021519 | 2.5064e-06 | 6.4581e-07 | 0.012827 | 0.012827 | 0.012827 | 0.99686 | -0.021961 | 0.99656 | -0.02407 | 4.7507
19 | 0.0013584 | 0.00034013 | -0.0013583 | -0.00034043 | 6.2921e-08 | -2.9846e-07 | 0.002023 | 0.0020231 | 0.0020231 | 0.99913 | -0.0060943 | 0.99908 | -0.0064292 | 0.74929
20 | 0.0036271 | 0.00090726 | -0.003626 | -0.0009076 | 1.0307e-06 | -3.4485e-07 | 0.0054012 | 0.0054014 | 0.0054014 | 0.99913 | -0.0060943 | 0.99884 | -0.008154 | 2.0005
21 | 0.025339 | 0.0063528 | -0.025336 | -0.0063518 | 2.6611e-06 | 9.8481e-07 | 0.037867 | 0.037867 | 0.037867 | 0.99574 | -0.029822 | 0.99563 | -0.03058 | 14.0248
22 | 0.0051429 | 0.0012878 | -0.005142 | -0.0012878 | 8.8192e-07 | 2.6952e-08 | 0.0076787 | 0.0076789 | 0.0076789 | 0.99656 | -0.02407 | 0.99638 | -0.025311 | 2.844
23 | 0.035142 | 0.0088268 | -0.035027 | -0.0087834 | 0.00011483 | 4.3331e-05 | 0.053006 | 0.053007 | 0.053007 | 0.98665 | -0.0933 | 0.98332 | -0.11688 | 19.6321
24 | 0.031068 | 0.0077913 | -0.031053 | -0.0077856 | 1.5168e-05 | 5.6946e-06 | 0.047016 | 0.047016 | 0.047016 | 0.98332 | -0.11688 | 0.98282 | -0.1204 | 17.4134
25 | 0.028893 | 0.0072442 | -0.028876 | -0.0072377 | 1.748e-05 | 6.5378e-06 | 0.043746 | 0.043746 | 0.043746 | 0.98282 | -0.1204 | 0.98221 | -0.12477 | 16.2022
26 | 0.019524 | 0.0048952 | -0.019504 | -0.0048878 | 2.0616e-05 | 7.4252e-06 | 0.029181 | 0.029181 | 0.029181 | 0.99563 | -0.03058 | 0.99455 | -0.038209 | 10.8077
27 | 0.002323 | 0.00058129 | -0.0023225 | -0.00058206 | 5.743e-07 | -7.7492e-07 | 0.0034689 | 0.0034693 | 0.0034693 | 0.99638 | -0.025311 | 0.99613 | -0.0271 | 1.2849
28 | 0.0042539 | 0.0010658 | -0.0042531 | -0.0010659 | 7.7954e-07 | -1.003e-07 | 0.0063645 | 0.0063646 | 0.0063646 | 0.99455 | -0.038209 | 0.99436 | -0.039533 | 2.3573
29 | 0.011091 | 0.0027797 | -0.01109 | -0.0027793 | 1.2795e-06 | 3.9549e-07 | 0.016595 | 0.016595 | 0.016595 | 0.99455 | -0.038209 | 0.99443 | -0.039042 | 6.1462
30 | -0.0075256 | -0.001886 | 0.0075264 | 0.0018862 | 7.5565e-07 | 1.6678e-07 | 0.011262 | 0.011262 | 0.011262 | 0.99433 | -0.039768 | 0.99443 | -0.039042 | 4.1711
31 | 0.0037166 | 0.00093139 | -0.0037164 | -0.00093143 | 1.4579e-07 | -4.1887e-08 | 0.0055619 | 0.0055619 | 0.0055619 | 0.99433 | -0.039768 | 0.99429 | -0.040051 | 2.06
32 | 0.00090875 | 0.00022659 | -0.00090871 | -0.00022697 | 3.4307e-08 | -3.7962e-07 | 0.0013534 | 0.0013535 | 0.0013535 | 0.99884 | -0.008154 | 0.9988 | -0.008429 | 0.50131
33 | 0.00090871 | 0.00022697 | -0.00090864 | -0.00022773 | 6.88e-08 | -7.6098e-07 | 0.0013535 | 0.0013538 | 0.0013538 | 0.9988 | -0.008429 | 0.99872 | -0.0089778 | 0.50141
34 | 0.011005 | 0.0027574 | -0.011002 | -0.0027565 | 2.8333e-06 | 8.8361e-07 | 0.016684 | 0.016684 | 0.016684 | 0.9815 | -0.12986 | 0.98124 | -0.13172 | 6.1792
35 | -0.016145 | -0.0040457 | 0.016153 | 0.0040485 | 7.9286e-06 | 2.7813e-06 | 0.024477 | 0.024477 | 0.024477 | 0.9815 | -0.12986 | 0.98199 | -0.12631 | 9.0656
36 | 0.0047979 | 0.0012022 | -0.0047968 | -0.0012022 | 1.072e-06 | 2.4779e-09 | 0.0072758 | 0.0072759 | 0.0072759 | 0.98124 | -0.13172 | 0.98101 | -0.13334 | 2.6948
37 | 0.006204 | 0.0015543 | -0.0062 | -0.0015537 | 4.0515e-06 | 6.3233e-07 | 0.009408 | 0.0094084 | 0.0094084 | 0.98124 | -0.13172 | 0.98058 | -0.13644 | 3.4846
38 | -0.026122 | -0.0065469 | 0.026128 | 0.0065489 | 5.5785e-06 | 2.0734e-06 | 0.039583 | 0.039583 | 0.039583 | 0.98199 | -0.12631 | 0.98221 | -0.12477 | 14.6602
39 | 0.0099686 | 0.0024984 | -0.0099662 | -0.0024976 | 2.4162e-06 | 7.1467e-07 | 0.015105 | 0.015106 | 0.015106 | 0.98199 | -0.12631 | 0.98175 | -0.12806 | 5.5947
40 | 0.0062 | 0.0015537 | -0.0061978 | -0.0015533 | 2.2176e-06 | 3.4666e-07 | 0.0094084 | 0.0094086 | 0.0094086 | 0.98058 | -0.13644 | 0.98021 | -0.13903 | 3.4847
41 | 0.0059279 | 0.0014855 | -0.0059268 | -0.0014854 | 1.1175e-06 | 1.4934e-07 | 0.0089847 | 0.0089848 | 0.0089848 | 0.98175 | -0.12806 | 0.98156 | -0.12943 | 3.3277

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.11062 | 0.027644

## res_load
| p_mw | q_mvar
0 | 0.0020439 | 0.00051225
1 | 0.0016905 | 0.00042368
2 | 0.0036027 | 0.00090291
3 | 0.0024048 | 0.00060269
4 | 0.0027238 | 0.00068266
5 | 0.0030176 | 0.00075629
6 | 0.0041213 | 0.0010329
7 | 0.0011132 | 0.000279
8 | 0.0032982 | 0.00082662
9 | 0.0036707 | 0.00091997
10 | 0.0046335 | 0.0011613
11 | 0.0034478 | 0.0008641
12 | 0.0026411 | 0.00066192
13 | 0.0039587 | 0.00099215
14 | 0.00216 | 0.00054134
15 | 0.005812 | 0.0014566
16 | 0.002819 | 0.00070651
17 | 0.0023225 | 0.00058206
18 | 0.0041585 | 0.0010422
19 | 0.003809 | 0.00095463
20 | 0.0035637 | 0.00089315
21 | 0.0037164 | 0.00093143
22 | 0.0042531 | 0.0010659
23 | 0.0013583 | 0.00034043
24 | 0.0027173 | 0.00068101
25 | 0.00090864 | 0.00022773
26 | 0.0051406 | 0.0012884
27 | 0.0047968 | 0.0012022
28 | 0.0027482 | 0.00068876
29 | 0.0040383 | 0.0010121
30 | 0.0061978 | 0.0015533
31 | 0.0059268 | 0.0014854

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1