## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1501-25_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1501-25_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1501-25_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1501-25_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1501-25_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1501-25_0_2_node_22 | 0.4 | n |  | TRUE
6 | bus_LV_1501-25_0_2_node_18 | 0.4 | n |  | TRUE
7 | bus_LV_1501-25_0_2_node_15 | 0.4 | n |  | TRUE
8 | bus_LV_1501-25_0_2_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_1501-25_0_2_node_28 | 0.4 | n |  | TRUE
10 | bus_LV_1501-25_0_2_node_21 | 0.4 | n |  | TRUE
11 | bus_LV_1501-25_0_2_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_1501-25_0_2_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_1501-25_0_2_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_1501-25_0_2_node_14 | 0.4 | n |  | TRUE
15 | bus_LV_1501-25_0_2_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1501-25_0_2_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_1501-25_0_2_node_19 | 0.4 | n |  | TRUE
18 | bus_LV_1501-25_0_2_node_31 | 0.4 | n |  | TRUE
19 | bus_LV_1501-25_0_2_node_20 | 0.4 | n |  | TRUE
20 | bus_LV_1501-25_0_2_node_5 | 0.4 | n |  | TRUE
21 | bus_LV_1501-25_0_2_node_6 | 0.4 | n |  | TRUE
22 | bus_LV_1501-25_0_2_node_7 | 0.4 | n |  | TRUE
23 | bus_LV_1501-25_0_2_node_8 | 0.4 | n |  | TRUE
24 | bus_LV_1501-25_0_2_node_9 | 0.4 | n |  | TRUE
25 | bus_LV_1501-25_0_2_node_10 | 0.4 | n |  | TRUE
26 | bus_LV_1501-25_0_2_node_25 | 0.4 | n |  | TRUE
27 | bus_LV_1501-25_0_2_node_11 | 0.4 | n |  | TRUE
28 | bus_LV_1501-25_0_2_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1501-25_0_2_node_27 | 0.4 | n |  | TRUE
30 | bus_LV_1501-25_0_2_node_29 | 0.4 | n |  | TRUE
31 | bus_LV_1501-25_0_2_node_12 | 0.4 | n |  | TRUE
32 | bus_MV_142_0_node_51 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1501-25_0_2_load_0 | 0 | 0.0020028 | 0.00050195 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1501-25_0_2_load_1 | 1 | 0.0035629 | 0.00089295 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1501-25_0_2_load_2 | 2 | 0.0020028 | 0.00050195 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1501-25_0_2_load_3 | 3 | 0.00099004 | 0.00024813 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1501-25_0_2_load_4 | 4 | 0.0018424 | 0.00046174 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1501-25_0_2_load_22 | 5 | 0.0029015 | 0.00072718 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1501-25_0_2_load_15 | 7 | 0.0049194 | 0.0012329 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1501-25_0_2_load_16 | 8 | 0.0063144 | 0.0015825 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1501-25_0_2_load_26 | 11 | 0.0018647 | 0.00046735 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1501-25_0_2_load_30 | 12 | 0.0077313 | 0.0019377 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1501-25_0_2_load_23 | 13 | 0.0032288 | 0.00080923 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1501-25_0_2_load_14 | 14 | 0.0065976 | 0.0016535 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1501-25_0_2_load_13 | 15 | 0.0058528 | 0.0014668 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1501-25_0_2_load_19 | 17 | 0.010425 | 0.0026128 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1501-25_0_2_load_31 | 18 | 0.003133 | 0.0007852 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1501-25_0_2_load_5 | 20 | 0.0095267 | 0.0023876 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1501-25_0_2_load_6 | 21 | 0.0035467 | 0.00088887 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1501-25_0_2_load_7 | 22 | 0.0057059 | 0.00143 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1501-25_0_2_load_9 | 24 | 0.0067389 | 0.0016889 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1501-25_0_2_load_10 | 25 | 0.004893 | 0.0012263 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1501-25_0_2_load_25 | 26 | 0.0047043 | 0.001179 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1501-25_0_2_load_11 | 27 | 0.018064 | 0.0045274 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1501-25_0_2_load_24 | 28 | 0.010109 | 0.0025335 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1501-25_0_2_load_27 | 29 | 0.0073306 | 0.0018372 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1501-25_0_2_load_29 | 30 | 0.005373 | 0.0013466 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1501-25_0_2_load_12 | 31 | 0.0070149 | 0.0017581 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 31 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1501-25_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0066235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1501-25_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0091505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1501-25_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.013278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1501-25_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.021501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1501-25_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.018789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1501-25_0_2_line_5 | NAYY 4x150 SE | 4 | 12 | 0.0017208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1501-25_0_2_line_6 | NAYY 4x150 SE | 5 | 13 | 0.0008724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1501-25_0_2_line_7 | NAYY 4x150 SE | 5 | 14 | 0.028377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1501-25_0_2_line_8 | NAYY 4x150 SE | 6 | 7 | 0.034879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1501-25_0_2_line_9 | NAYY 4x150 SE | 6 | 8 | 0.013977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1501-25_0_2_line_10 | NAYY 4x150 SE | 7 | 15 | 0.048367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1501-25_0_2_line_11 | NAYY 4x150 SE | 8 | 16 | 0.0053576 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1501-25_0_2_line_12 | NAYY 4x150 SE | 9 | 10 | 0.032457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1501-25_0_2_line_13 | NAYY 4x150 SE | 9 | 11 | 0.046475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1501-25_0_2_line_14 | NAYY 4x150 SE | 10 | 18 | 0.053528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1501-25_0_2_line_15 | NAYY 4x150 SE | 10 | 19 | 0.037694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1501-25_0_2_line_16 | NAYY 4x150 SE | 11 | 29 | 0.044401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1501-25_0_2_line_17 | NAYY 4x150 SE | 13 | 28 | 0.022603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1501-25_0_2_line_18 | NAYY 4x150 SE | 14 | 31 | 0.028936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1501-25_0_2_line_19 | NAYY 4x150 SE | 15 | 31 | 0.0016027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1501-25_0_2_line_20 | NAYY 4x150 SE | 16 | 17 | 0.034744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1501-25_0_2_line_21 | NAYY 4x150 SE | 17 | 19 | 0.019561 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1501-25_0_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.017839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1501-25_0_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.0076879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1501-25_0_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.016475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1501-25_0_2_line_25 | NAYY 4x150 SE | 22 | 24 | 0.013676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1501-25_0_2_line_26 | NAYY 4x150 SE | 23 | 25 | 0.012401 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1501-25_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.005388 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1501-25_0_2_line_28 | NAYY 4x150 SE | 25 | 27 | 0.019175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1501-25_0_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.0054554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1501-25_0_2_line_30 | NAYY 4x150 SE | 29 | 30 | 0.0071186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1501-25_0_2_trafo_12 | 0.25 MVA 20/0.4 kV | 32 | 31 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2679628.6812 | 1201886.2414 | 2679625.3624 | 1201887.6331 | 2679622.6356 | 1201888.9421
1 | 2679628.6812 | 1201886.2414 | 2679637.1199 | 1201882.703
2 | 2679622.6356 | 1201888.9421 | 2679610.6654 | 1201894.6888
3 | 2679656.8808 | 1201874.2349 | 2679651.8312 | 1201876.5344 | 2679637.1199 | 1201882.703
4 | 2679610.6654 | 1201894.6888 | 2679606.1191 | 1201896.8714 | 2679597.6229 | 1201903.8515 | 2679595.6074 | 1201905.7221
5 | 2679656.8808 | 1201874.2349 | 2679658.4469 | 1201873.5218
6 | 2679594.968 | 1201906.3155 | 2679595.6074 | 1201905.7221
7 | 2679595.6074 | 1201905.7221 | 2679580.4339 | 1201881.742
8 | 2679590.9675 | 1201811.5494 | 2679592.6445 | 1201814.2178 | 2679593.1096 | 1201818.1598 | 2679591.508 | 1201829.2454 | 2679589.2248 | 1201833.2286 | 2679581.047 | 1201841.9642
9 | 2679590.9675 | 1201811.5494 | 2679587.7195 | 1201810.8168 | 2679577.949 | 1201810.5976 | 2679577.0818 | 1201810.7061
10 | 2679581.047 | 1201841.9642 | 2679577.2178 | 1201846.0546 | 2679558.5561 | 1201869.9099 | 2679556.7202 | 1201872.8762 | 2679556.1663 | 1201875.6039 | 2679557.8432 | 1201881.5773
11 | 2679571.7657 | 1201811.3713 | 2679577.0818 | 1201810.7061
12 | 2679549.6311 | 1201799.3691 | 2679562.8041 | 1201779.0095 | 2679567.4087 | 1201772.1887
13 | 2679567.4087 | 1201772.1887 | 2679557.3651 | 1201766.1846 | 2679553.5916 | 1201766.0454 | 2679549.8776 | 1201768.2862 | 2679541.4318 | 1201773.7661 | 2679529.679 | 1201778.9352 | 2679526.1372 | 1201780.1753
14 | 2679549.6311 | 1201799.3691 | 2679539.368 | 1201794.4183 | 2679532.7338 | 1201791.8951 | 2679527.805 | 1201791.6293 | 2679523.1991 | 1201792.8354 | 2679517.9122 | 1201794.8775 | 2679504.6891 | 1201803.0067 | 2679500.8031 | 1201804.4591
15 | 2679527.4793 | 1201829.8045 | 2679534.9317 | 1201821.1871 | 2679541.3244 | 1201812.6891 | 2679549.6311 | 1201799.3691
16 | 2679526.1372 | 1201780.1753 | 2679517.5657 | 1201783.1767 | 2679508.1611 | 1201784.0632 | 2679496.4062 | 1201782.5281 | 2679482.8277 | 1201779.0453
17 | 2679578.4008 | 1201921.6916 | 2679594.968 | 1201906.3155
18 | 2679580.4339 | 1201881.742 | 2679565.404 | 1201890.0915 | 2679561.4643 | 1201889.8612 | 2679559.8505 | 1201888.7279 | 2679558.2764 | 1201883.1203
19 | 2679558.2764 | 1201883.1203 | 2679557.8432 | 1201881.5773
20 | 2679571.7657 | 1201811.3713 | 2679565.1932 | 1201815.642 | 2679547.2442 | 1201831.135 | 2679544.536 | 1201832.8299
21 | 2679527.4793 | 1201829.8045 | 2679532.7989 | 1201834.4448 | 2679536.8948 | 1201835.5223 | 2679541.3647 | 1201834.8146 | 2679544.536 | 1201832.8299
22 | 2679551.9599 | 1201939.9309 | 2679549.6748 | 1201941.2364 | 2679537.8157 | 1201946.9822 | 2679535.9088 | 1201947.6779
23 | 2679551.9599 | 1201939.9309 | 2679558.4414 | 1201936.2278 | 2679558.6289 | 1201936.1067
24 | 2679520.277 | 1201952.8413 | 2679526.5263 | 1201951.1012 | 2679535.9088 | 1201947.6779
25 | 2679558.6289 | 1201936.1067 | 2679570.1189 | 1201928.6896 | 2679570.1189 | 1201928.6896
26 | 2679520.277 | 1201952.8413 | 2679519.1301 | 1201943.5091 | 2679518.9335 | 1201940.5169
27 | 2679574.2447 | 1201925.2244 | 2679570.1189 | 1201928.6896
28 | 2679521.0659 | 1201921.5989 | 2679518.5415 | 1201934.5512 | 2679518.9335 | 1201940.5169
29 | 2679578.4008 | 1201921.6916 | 2679577.9243 | 1201922.1339 | 2679574.2447 | 1201925.2244
30 | 2679482.8277 | 1201779.0453 | 2679482.8277 | 1201779.0453 | 2679475.7767 | 1201778.0666

## bus_geodata
| x | y | coords
0 | 2679628.6812 | 1201886.2414
1 | 2679622.6356 | 1201888.9421
2 | 2679637.1199 | 1201882.703
3 | 2679610.6654 | 1201894.6888
4 | 2679656.8808 | 1201874.2349
5 | 2679595.6074 | 1201905.7221
6 | 2679590.9675 | 1201811.5494
7 | 2679581.047 | 1201841.9642
8 | 2679577.0818 | 1201810.7061
9 | 2679567.4087 | 1201772.1887
10 | 2679549.6311 | 1201799.3691
11 | 2679526.1372 | 1201780.1753
12 | 2679658.4469 | 1201873.5218
13 | 2679594.968 | 1201906.3155
14 | 2679580.4339 | 1201881.742
15 | 2679557.8432 | 1201881.5773
16 | 2679571.7657 | 1201811.3713
17 | 2679544.536 | 1201832.8299
18 | 2679500.8031 | 1201804.4591
19 | 2679527.4793 | 1201829.8045
20 | 2679551.9599 | 1201939.9309
21 | 2679535.9088 | 1201947.6779
22 | 2679558.6289 | 1201936.1067
23 | 2679520.277 | 1201952.8413
24 | 2679570.1189 | 1201928.6896
25 | 2679518.9335 | 1201940.5169
26 | 2679574.2447 | 1201925.2244
27 | 2679521.0659 | 1201921.5989
28 | 2679578.4008 | 1201921.6916
29 | 2679482.8277 | 1201779.0453
30 | 2679475.7767 | 1201778.0666
31 | 2679558.2764 | 1201883.1203
32 | 2679580.4339 | 1201881.742

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99155 | -0.059068 | 0.0020028 | 0.00050195
1 | 0.99168 | -0.058155 | 0.0035629 | 0.00089295
2 | 0.9914 | -0.060144 | 0.0020028 | 0.00050195
3 | 0.99201 | -0.055845 | 0.00099004 | 0.00024813
4 | 0.9911 | -0.062235 | 0.0018424 | 0.00046174
5 | 0.9925 | -0.052391 | 0.0029015 | 0.00072718
6 | 0.99543 | -0.031885 | 0 | 0
7 | 0.99716 | -0.019796 | 0.0049194 | 0.0012329
8 | 0.99474 | -0.036741 | 0.0063144 | 0.0015825
9 | 0.99098 | -0.063234 | 0 | 0
10 | 0.99166 | -0.058428 | 0 | 0
11 | 0.99 | -0.070125 | 0.0018647 | 0.00046735
12 | 0.99108 | -0.06237 | 0.0077313 | 0.0019377
13 | 0.99241 | -0.052979 | 0.0032288 | 0.00080923
14 | 0.99608 | -0.027303 | 0.0065976 | 0.0016535
15 | 0.9999 | -0.00072384 | 0.0058528 | 0.0014668
16 | 0.99453 | -0.038262 | 0 | 0
17 | 0.99312 | -0.048146 | 0.010425 | 0.0026128
18 | 0.99142 | -0.060132 | 0.003133 | 0.0007852
19 | 0.99262 | -0.051656 | 0 | 0
20 | 0.98833 | -0.081776 | 0.0095267 | 0.0023876
21 | 0.98765 | -0.086611 | 0.0035467 | 0.00088887
22 | 0.98873 | -0.078946 | 0.0057059 | 0.00143
23 | 0.9871 | -0.090484 | 0 | 0
24 | 0.98955 | -0.073123 | 0.0067389 | 0.0016889
25 | 0.98669 | -0.093401 | 0.004893 | 0.0012263
26 | 0.98993 | -0.070461 | 0.0047043 | 0.001179
27 | 0.98619 | -0.096954 | 0.018064 | 0.0045274
28 | 0.99035 | -0.067507 | 0.010109 | 0.0025335
29 | 0.98919 | -0.075875 | 0.0073306 | 0.0018372
30 | 0.98914 | -0.076265 | 0.005373 | 0.0013466
31 | 1 | 0 | -0.14142 | -0.035402
32 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.013584 | -0.0034047 | 0.013586 | 0.0034052 | 1.7176e-06 | 5.7516e-07 | 0.020385 | 0.020385 | 0.020385 | 0.99155 | -0.059068 | 0.99168 | -0.058155 | 7.5502
1 | 0.011581 | 0.0029027 | -0.011579 | -0.0029022 | 1.7247e-06 | 5.4536e-07 | 0.01738 | 0.01738 | 0.01738 | 0.99155 | -0.059068 | 0.9914 | -0.060144 | 6.437
2 | -0.017149 | -0.0042982 | 0.017154 | 0.0043001 | 5.486e-06 | 1.9386e-06 | 0.025732 | 0.025732 | 0.025732 | 0.99168 | -0.058155 | 0.99201 | -0.055845 | 9.5302
3 | 0.0095766 | 0.0024002 | -0.0095739 | -0.0023994 | 2.772e-06 | 7.8898e-07 | 0.014374 | 0.014374 | 0.014374 | 0.9914 | -0.060144 | 0.9911 | -0.062235 | 5.3237
4 | -0.018144 | -0.0045483 | 0.018153 | 0.0045513 | 8.6846e-06 | 3.0975e-06 | 0.027217 | 0.027217 | 0.027217 | 0.99201 | -0.055845 | 0.9925 | -0.052391 | 10.0802
5 | 0.0077315 | 0.0019377 | -0.0077313 | -0.0019377 | 1.4468e-07 | 3.3472e-08 | 0.011608 | 0.011608 | 0.011608 | 0.9911 | -0.062235 | 0.99108 | -0.06237 | 4.2992
6 | 0.066787 | 0.016773 | -0.066782 | -0.016771 | 5.4595e-06 | 2.0885e-06 | 0.10014 | 0.10014 | 0.10014 | 0.9925 | -0.052391 | 0.99241 | -0.052979 | 37.0904
7 | -0.087841 | -0.022052 | 0.088149 | 0.022169 | 0.00030718 | 0.00011778 | 0.13171 | 0.13171 | 0.13171 | 0.9925 | -0.052391 | 0.99608 | -0.027303 | 48.7817
8 | -0.034569 | -0.0086772 | 0.034627 | 0.0086991 | 5.8129e-05 | 2.1903e-05 | 0.05168 | 0.05168 | 0.05168 | 0.99543 | -0.031885 | 0.99716 | -0.019796 | 19.1407
9 | 0.034569 | 0.0086772 | -0.034546 | -0.0086684 | 2.3293e-05 | 8.7773e-06 | 0.05168 | 0.05168 | 0.05168 | 0.99543 | -0.031885 | 0.99474 | -0.036741 | 19.1407
10 | -0.039547 | -0.009932 | 0.039652 | 0.0099718 | 0.00010513 | 3.9803e-05 | 0.059021 | 0.05902 | 0.059021 | 0.99716 | -0.019796 | 0.9999 | -0.00072384 | 21.8595
11 | 0.028231 | 0.0070858 | -0.028225 | -0.0070836 | 5.9632e-06 | 2.224e-06 | 0.042234 | 0.042234 | 0.042234 | 0.99474 | -0.036741 | 0.99453 | -0.038262 | 15.6424
12 | -0.014593 | -0.0036593 | 0.014602 | 0.0036626 | 9.7247e-06 | 3.3218e-06 | 0.021913 | 0.021912 | 0.021913 | 0.99098 | -0.063234 | 0.99166 | -0.058428 | 8.1158
13 | 0.014593 | 0.0036593 | -0.014579 | -0.0036545 | 1.3925e-05 | 4.7575e-06 | 0.021913 | 0.021913 | 0.021913 | 0.99098 | -0.063234 | 0.99 | -0.070125 | 8.1158
14 | 0.0031337 | 0.00078479 | -0.003133 | -0.0007852 | 7.3851e-07 | -4.0637e-07 | 0.004702 | 0.0047023 | 0.0047023 | 0.99166 | -0.058428 | 0.99142 | -0.060132 | 1.7416
15 | -0.017736 | -0.0044474 | 0.017753 | 0.0044533 | 1.666e-05 | 5.9211e-06 | 0.026614 | 0.026614 | 0.026614 | 0.99166 | -0.058428 | 0.99262 | -0.051656 | 9.8572
16 | 0.012714 | 0.0031872 | -0.012704 | -0.0031838 | 1.0118e-05 | 3.3211e-06 | 0.01911 | 0.01911 | 0.01911 | 0.99 | -0.070125 | 0.98919 | -0.075875 | 7.0778
17 | 0.063553 | 0.015962 | -0.063425 | -0.015913 | 0.0001281 | 4.8979e-05 | 0.095303 | 0.095303 | 0.095303 | 0.99241 | -0.052979 | 0.99035 | -0.067507 | 35.2973
18 | -0.094746 | -0.023823 | 0.095108 | 0.023962 | 0.00036186 | 0.0001388 | 0.14157 | 0.14157 | 0.14157 | 0.99608 | -0.027303 | 1 | 0 | 52.432
19 | -0.045504 | -0.011439 | 0.045509 | 0.01144 | 4.5877e-06 | 1.7435e-06 | 0.06773 | 0.06773 | 0.06773 | 0.9999 | -0.00072384 | 1 | 0 | 25.0853
20 | 0.028225 | 0.0070836 | -0.028187 | -0.0070692 | 3.8672e-05 | 1.4424e-05 | 0.042234 | 0.042235 | 0.042235 | 0.99453 | -0.038262 | 0.99312 | -0.048146 | 15.6424
21 | 0.017761 | 0.0044564 | -0.017753 | -0.0044533 | 8.6458e-06 | 3.0723e-06 | 0.026614 | 0.026614 | 0.026614 | 0.99312 | -0.048146 | 0.99262 | -0.051656 | 9.8571
22 | 0.026552 | 0.0066603 | -0.026535 | -0.0066537 | 1.7792e-05 | 6.6147e-06 | 0.039979 | 0.039979 | 0.039979 | 0.98833 | -0.081776 | 0.98765 | -0.086611 | 14.8071
23 | -0.036079 | -0.0090479 | 0.036093 | 0.0090533 | 1.4156e-05 | 5.3462e-06 | 0.054322 | 0.054322 | 0.054322 | 0.98833 | -0.081776 | 0.98873 | -0.078946 | 20.1194
24 | 0.022988 | 0.0057648 | -0.022976 | -0.0057603 | 1.2332e-05 | 4.5325e-06 | 0.034636 | 0.034636 | 0.034636 | 0.98765 | -0.086611 | 0.9871 | -0.090484 | 12.828
25 | -0.041799 | -0.010483 | 0.041833 | 0.010496 | 3.3774e-05 | 1.2814e-05 | 0.06291 | 0.06291 | 0.06291 | 0.98873 | -0.078946 | 0.98955 | -0.073123 | 23.2998
26 | 0.022976 | 0.0057603 | -0.022966 | -0.0057569 | 9.2831e-06 | 3.412e-06 | 0.034636 | 0.034636 | 0.034636 | 0.9871 | -0.090484 | 0.98669 | -0.093401 | 12.8281
27 | -0.048572 | -0.012185 | 0.04859 | 0.012192 | 1.7938e-05 | 6.8299e-06 | 0.073043 | 0.073043 | 0.073043 | 0.98955 | -0.073123 | 0.98993 | -0.070461 | 27.0529
28 | 0.018073 | 0.0045306 | -0.018064 | -0.0045274 | 8.8891e-06 | 3.1741e-06 | 0.027257 | 0.027257 | 0.027257 | 0.98669 | -0.093401 | 0.98619 | -0.096954 | 10.0951
29 | -0.053294 | -0.013371 | 0.053316 | 0.013379 | 2.1849e-05 | 8.3333e-06 | 0.080114 | 0.080114 | 0.080114 | 0.98993 | -0.070461 | 0.99035 | -0.067507 | 29.6719
30 | 0.0053733 | 0.0013466 | -0.005373 | -0.0013466 | 2.9021e-07 | 2.0242e-08 | 0.0080829 | 0.0080829 | 0.0080829 | 0.98919 | -0.075875 | 0.98914 | -0.076265 | 2.9937

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.14843 | 0.03716

## res_load
| p_mw | q_mvar
0 | 0.0020028 | 0.00050195
1 | 0.0035629 | 0.00089295
2 | 0.0020028 | 0.00050195
3 | 0.00099004 | 0.00024813
4 | 0.0018424 | 0.00046174
5 | 0.0029015 | 0.00072718
6 | 0.0049194 | 0.0012329
7 | 0.0063144 | 0.0015825
8 | 0.0018647 | 0.00046735
9 | 0.0077313 | 0.0019377
10 | 0.0032288 | 0.00080923
11 | 0.0065976 | 0.0016535
12 | 0.0058528 | 0.0014668
13 | 0.010425 | 0.0026128
14 | 0.003133 | 0.0007852
15 | 0.0095267 | 0.0023876
16 | 0.0035467 | 0.00088887
17 | 0.0057059 | 0.00143
18 | 0.0067389 | 0.0016889
19 | 0.004893 | 0.0012263
20 | 0.0047043 | 0.001179
21 | 0.018064 | 0.0045274
22 | 0.010109 | 0.0025335
23 | 0.0073306 | 0.0018372
24 | 0.005373 | 0.0013466
25 | 0.0070149 | 0.0017581

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1