## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1501-2_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1501-2_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1501-2_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1501-2_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1501-2_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1501-2_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1501-2_0_4_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1501-2_0_4_node_31 | 0.4 | n |  | TRUE
8 | bus_LV_1501-2_0_4_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1501-2_0_4_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_1501-2_0_4_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_1501-2_0_4_node_18 | 0.4 | n |  | TRUE
12 | bus_LV_1501-2_0_4_node_7 | 0.4 | n |  | TRUE
13 | bus_LV_1501-2_0_4_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_1501-2_0_4_node_39 | 0.4 | n |  | TRUE
15 | bus_LV_1501-2_0_4_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_1501-2_0_4_node_9 | 0.4 | n |  | TRUE
17 | bus_LV_1501-2_0_4_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1501-2_0_4_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1501-2_0_4_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_1501-2_0_4_node_35 | 0.4 | n |  | TRUE
21 | bus_LV_1501-2_0_4_node_38 | 0.4 | n |  | TRUE
22 | bus_LV_1501-2_0_4_node_21 | 0.4 | n |  | TRUE
23 | bus_LV_1501-2_0_4_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_1501-2_0_4_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_1501-2_0_4_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_1501-2_0_4_node_32 | 0.4 | n |  | TRUE
27 | bus_LV_1501-2_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_1501-2_0_4_node_27 | 0.4 | n |  | TRUE
29 | bus_LV_1501-2_0_4_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_1501-2_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1501-2_0_4_node_40 | 0.4 | n |  | TRUE
32 | bus_LV_1501-2_0_4_node_22 | 0.4 | n |  | TRUE
33 | bus_LV_1501-2_0_4_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_1501-2_0_4_node_34 | 0.4 | n |  | TRUE
35 | bus_LV_1501-2_0_4_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_1501-2_0_4_node_36 | 0.4 | n |  | TRUE
37 | bus_MV_142_0_node_53 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1501-2_0_4_load_0 | 0 | 0.010307 | 0.0025832 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1501-2_0_4_load_1 | 1 | 0.0082651 | 0.0020714 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1501-2_0_4_load_4 | 4 | 0.005374 | 0.0013468 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1501-2_0_4_load_31 | 7 | 0.0029832 | 0.00074767 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1501-2_0_4_load_8 | 8 | 0.020708 | 0.0051899 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1501-2_0_4_load_12 | 9 | 0.0061475 | 0.0015407 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1501-2_0_4_load_18 | 11 | 0.0017777 | 0.00044553 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1501-2_0_4_load_7 | 12 | 0.0019963 | 0.00050031 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1501-2_0_4_load_13 | 13 | 0.0093517 | 0.0023438 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1501-2_0_4_load_39 | 14 | 0.046811 | 0.011732 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1501-2_0_4_load_19 | 15 | 0.024784 | 0.0062115 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1501-2_0_4_load_10 | 17 | 0.0016751 | 0.00041982 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1501-2_0_4_load_35 | 20 | 0.0021798 | 0.00054631 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1501-2_0_4_load_38 | 21 | 0.0028528 | 0.00071498 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1501-2_0_4_load_21 | 22 | 0.0024614 | 0.00061688 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1501-2_0_4_load_30 | 25 | 0.005833 | 0.0014619 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1501-2_0_4_load_32 | 26 | 0.0044048 | 0.001104 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1501-2_0_4_load_15 | 27 | 0.0081257 | 0.0020365 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1501-2_0_4_load_29 | 29 | 0.0021474 | 0.0005382 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1501-2_0_4_load_26 | 30 | 0.035949 | 0.0090097 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1501-2_0_4_load_40 | 31 | 0.0078293 | 0.0019622 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1501-2_0_4_load_22 | 32 | 0.0044419 | 0.0011133 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1501-2_0_4_load_24 | 33 | 0.0026498 | 0.00066411 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1501-2_0_4_load_34 | 34 | 0.002179 | 0.00054612 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1501-2_0_4_load_37 | 35 | 0.003546 | 0.00088871 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1501-2_0_4_load_36 | 36 | 0.011186 | 0.0028035 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 12 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1501-2_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.034863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1501-2_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.044467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1501-2_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.028728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1501-2_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.015501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1501-2_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.028074 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1501-2_0_4_line_5 | NAYY 4x150 SE | 3 | 6 | 0.047186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1501-2_0_4_line_6 | NAYY 4x150 SE | 4 | 7 | 0.021921 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1501-2_0_4_line_7 | NAYY 4x150 SE | 5 | 8 | 0.03103 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_1501-2_0_4_line_8 | NAYY 4x150 SE | 5 | 9 | 0.019826 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1501-2_0_4_line_9 | NAYY 4x150 SE | 6 | 10 | 0.007671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1501-2_0_4_line_10 | NAYY 4x150 SE | 6 | 11 | 0.011069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1501-2_0_4_line_11 | NAYY 4x150 SE | 8 | 12 | 0.039537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
12 | LV_1501-2_0_4_line_12 | NAYY 4x150 SE | 9 | 13 | 0.039304 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1501-2_0_4_line_13 | NAYY 4x150 SE | 10 | 14 | 0.033049 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1501-2_0_4_line_14 | NAYY 4x150 SE | 11 | 15 | 0.029669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1501-2_0_4_line_15 | NAYY 4x150 SE | 12 | 16 | 0.086178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_1501-2_0_4_line_16 | NAYY 4x150 SE | 13 | 24 | 0.10273 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1501-2_0_4_line_17 | NAYY 4x150 SE | 16 | 17 | 0.055377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1501-2_0_4_line_18 | NAYY 4x150 SE | 16 | 18 | 0.17834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
19 | LV_1501-2_0_4_line_19 | NAYY 4x150 SE | 17 | 19 | 0.068257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1501-2_0_4_line_20 | NAYY 4x150 SE | 18 | 20 | 0.036572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1501-2_0_4_line_21 | NAYY 4x150 SE | 18 | 21 | 0.019192 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1501-2_0_4_line_22 | NAYY 4x150 SE | 19 | 22 | 0.032993 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1501-2_0_4_line_23 | NAYY 4x150 SE | 20 | 23 | 0.016774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_1501-2_0_4_line_24 | NAYY 4x150 SE | 22 | 32 | 0.0043702 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1501-2_0_4_line_25 | NAYY 4x150 SE | 23 | 34 | 0.023618 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1501-2_0_4_line_26 | NAYY 4x150 SE | 23 | 29 | 0.017715 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1501-2_0_4_line_27 | NAYY 4x150 SE | 24 | 25 | 0.091616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1501-2_0_4_line_28 | NAYY 4x150 SE | 25 | 26 | 0.055216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1501-2_0_4_line_29 | NAYY 4x150 SE | 27 | 28 | 0.033189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1501-2_0_4_line_30 | NAYY 4x150 SE | 28 | 29 | 0.095272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1501-2_0_4_line_31 | NAYY 4x150 SE | 28 | 30 | 0.033134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1501-2_0_4_line_32 | NAYY 4x150 SE | 30 | 31 | 0.036162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1501-2_0_4_line_33 | NAYY 4x150 SE | 32 | 33 | 0.011919 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1501-2_0_4_line_34 | NAYY 4x150 SE | 34 | 35 | 0.024997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1501-2_0_4_line_35 | NAYY 4x150 SE | 35 | 36 | 0.0081294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1501-2_0_4_trafo_7 | 0.25 MVA 20/0.4 kV | 37 | 12 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2678426.5021 | 1202364.0436 | 2678426.9599 | 1202329.1836
1 | 2678426.6945 | 1202408.5075 | 2678426.3563 | 1202375.1489 | 2678426.5021 | 1202364.0436
2 | 2678426.5071 | 1202300.4931 | 2678427.2375 | 1202308.0518 | 2678426.9599 | 1202329.1836
3 | 2678426.6945 | 1202408.5075 | 2678424.4462 | 1202408.7448 | 2678411.9583 | 1202413.144
4 | 2678426.5071 | 1202300.4931 | 2678415.314 | 1202299.1342 | 2678398.6426 | 1202296.4916
5 | 2678426.5071 | 1202300.4931 | 2678433.5599 | 1202298.3732 | 2678445.5042 | 1202295.2725 | 2678471.2608 | 1202285.3489
6 | 2678411.9583 | 1202413.144 | 2678391.2825 | 1202420.4276
7 | 2678398.6426 | 1202296.4916 | 2678367.6329 | 1202295.3784
8 | 2678398.6426 | 1202296.4916 | 2678391.7051 | 1202277.9194
9 | 2678478.7575 | 1202283.6241 | 2678471.2608 | 1202285.3489
10 | 2678471.2608 | 1202285.3489 | 2678467.5265 | 1202274.9293
11 | 2678328.1209 | 1202293.96 | 2678367.6329 | 1202295.3784
12 | 2678375.0134 | 1202242.3902 | 2678387.9666 | 1202267.9114 | 2678391.7051 | 1202277.9194
13 | 2678478.7575 | 1202283.6241 | 2678498.6423 | 1202257.1909
14 | 2678457.5168 | 1202247 | 2678467.5265 | 1202274.9293
15 | 2678241.9987 | 1202290.8683 | 2678328.1209 | 1202293.96
16 | 2678323.7659 | 1202154.3097 | 2678342.1547 | 1202174.5968 | 2678357.6369 | 1202208.1541 | 2678375.0134 | 1202242.3902
17 | 2678241.9987 | 1202290.8683 | 2678242.6471 | 1202309.9221 | 2678245.3204 | 1202325.4668 | 2678252.205 | 1202344.8182
18 | 2678121.1621 | 1202343.587 | 2678120.6437 | 1202312.8165 | 2678120.2113 | 1202287.1059 | 2678138.9926 | 1202287.3072 | 2678241.9987 | 1202290.8683
19 | 2678273.6948 | 1202409.6021 | 2678254.7824 | 1202352.0629 | 2678252.205 | 1202344.8182
20 | 2678121.1621 | 1202343.587 | 2678123.1964 | 1202367.2728 | 2678123.8988 | 1202380.0527
21 | 2678121.1621 | 1202343.587 | 2678119.3695 | 1202343.8971 | 2678101.9966 | 1202343.9733
22 | 2678273.6948 | 1202409.6021 | 2678242.4587 | 1202420.224
23 | 2678124.8194 | 1202396.8014 | 2678123.8988 | 1202380.0527
24 | 2678238.3212 | 1202421.6309 | 2678242.4587 | 1202420.224
25 | 2678124.8194 | 1202396.8014 | 2678121.5182 | 1202397.2363 | 2678117.5702 | 1202394.1716 | 2678114.3353 | 1202394.196 | 2678102.3508 | 1202395.4992
26 | 2678124.8194 | 1202396.8014 | 2678126.9974 | 1202414.3816
27 | 2678323.7659 | 1202154.3097 | 2678334.2892 | 1202150.4675 | 2678385.1504 | 1202132.8123 | 2678408.9523 | 1202120.9921
28 | 2678457.0974 | 1202094.2186 | 2678450.1135 | 1202099.6662 | 2678413.5273 | 1202118.7202 | 2678408.9523 | 1202120.9921
29 | 2678138.7109 | 1202508.9309 | 2678158.022 | 1202481.9382
30 | 2678138.7109 | 1202508.9309 | 2678126.9974 | 1202414.3816
31 | 2678138.7109 | 1202508.9309 | 2678142.3715 | 1202541.8623
32 | 2678142.3715 | 1202541.8623 | 2678177.1711 | 1202551.694
33 | 2678227.037 | 1202425.4681 | 2678238.3212 | 1202421.6309
34 | 2678077.4375 | 1202396.8764 | 2678091.1351 | 1202395.5381 | 2678099.7321 | 1202395.7839 | 2678102.3508 | 1202395.4992
35 | 2678069.3467 | 1202397.6669 | 2678077.4375 | 1202396.8764

## bus_geodata
| x | y | coords
0 | 2678426.5021 | 1202364.0436
1 | 2678426.9599 | 1202329.1836
2 | 2678426.6945 | 1202408.5075
3 | 2678426.5071 | 1202300.4931
4 | 2678411.9583 | 1202413.144
5 | 2678398.6426 | 1202296.4916
6 | 2678471.2608 | 1202285.3489
7 | 2678391.2825 | 1202420.4276
8 | 2678367.6329 | 1202295.3784
9 | 2678391.7051 | 1202277.9194
10 | 2678478.7575 | 1202283.6241
11 | 2678467.5265 | 1202274.9293
12 | 2678328.1209 | 1202293.96
13 | 2678375.0134 | 1202242.3902
14 | 2678498.6423 | 1202257.1909
15 | 2678457.5168 | 1202247
16 | 2678241.9987 | 1202290.8683
17 | 2678252.205 | 1202344.8182
18 | 2678121.1621 | 1202343.587
19 | 2678273.6948 | 1202409.6021
20 | 2678123.8988 | 1202380.0527
21 | 2678101.9966 | 1202343.9733
22 | 2678242.4587 | 1202420.224
23 | 2678124.8194 | 1202396.8014
24 | 2678323.7659 | 1202154.3097
25 | 2678408.9523 | 1202120.9921
26 | 2678457.0974 | 1202094.2186
27 | 2678158.022 | 1202481.9382
28 | 2678138.7109 | 1202508.9309
29 | 2678126.9974 | 1202414.3816
30 | 2678142.3715 | 1202541.8623
31 | 2678177.1711 | 1202551.694
32 | 2678238.3212 | 1202421.6309
33 | 2678227.037 | 1202425.4681
34 | 2678102.3508 | 1202395.4992
35 | 2678077.4375 | 1202396.8764
36 | 2678069.3467 | 1202397.6669
37 | 2678398.6426 | 1202296.4916

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98683 | -0.092037 | 0.010307 | 0.0025832
1 | 0.98777 | -0.085371 | 0.0082651 | 0.0020714
2 | 0.9863 | -0.09585 | 0 | 0
3 | 0.98889 | -0.077463 | 0 | 0
4 | 0.98611 | -0.09718 | 0.005374 | 0.0013468
5 | 0.99297 | -0.048835 | 0 | 0
6 | 0.98386 | -0.11298 | 0 | 0
7 | 0.98601 | -0.097851 | 0.0029832 | 0.00074767
8 | 0.99581 | -0.029088 | 0.020708 | 0.0051899
9 | 0.99224 | -0.054009 | 0.0061475 | 0.0015407
10 | 0.98334 | -0.11669 | 0 | 0
11 | 0.98344 | -0.11602 | 0.0017777 | 0.00044553
12 | 1 | 0 | -0.23881 | -0.060167
13 | 0.99113 | -0.061833 | 0.0093517 | 0.0023438
14 | 0.98109 | -0.13269 | 0.046811 | 0.011732
15 | 0.98237 | -0.12361 | 0.024784 | 0.0062115
16 | 0.99451 | -0.037758 | 0 | 0
17 | 0.99362 | -0.044046 | 0.0016751 | 0.00041982
18 | 0.9846 | -0.10688 | 0 | 0
19 | 0.99268 | -0.05065 | 0 | 0
20 | 0.98264 | -0.12068 | 0.0021798 | 0.00054631
21 | 0.98452 | -0.10744 | 0.0028528 | 0.00071498
22 | 0.99223 | -0.053844 | 0.0024614 | 0.00061688
23 | 0.98177 | -0.12684 | 0 | 0
24 | 0.98961 | -0.072555 | 0 | 0
25 | 0.98826 | -0.082136 | 0.005833 | 0.0014619
26 | 0.98791 | -0.084623 | 0.0044048 | 0.001104
27 | 0.97271 | -0.19136 | 0.0081257 | 0.0020365
28 | 0.97311 | -0.18852 | 0 | 0
29 | 0.98037 | -0.13677 | 0.0021474 | 0.0005382
30 | 0.97098 | -0.20384 | 0.035949 | 0.0090097
31 | 0.97056 | -0.20684 | 0.0078293 | 0.0019622
32 | 0.99219 | -0.054158 | 0.0044419 | 0.0011133
33 | 0.99214 | -0.054479 | 0.0026498 | 0.00066411
34 | 0.98119 | -0.13098 | 0.002179 | 0.00054612
35 | 0.98065 | -0.1348 | 0.003546 | 0.00088871
36 | 0.98052 | -0.13574 | 0.011186 | 0.0028035
37 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.018671 | -0.0046791 | 0.018688 | 0.0046853 | 1.7242e-05 | 6.1857e-06 | 0.028153 | 0.028153 | 0.028153 | 0.98683 | -0.092037 | 0.98777 | -0.085371 | 10.4269
1 | 0.0083634 | 0.0020959 | -0.008359 | -0.0020947 | 4.4128e-06 | 1.1294e-06 | 0.012611 | 0.012611 | 0.012611 | 0.98683 | -0.092037 | 0.9863 | -0.09585 | 4.6708
2 | -0.026953 | -0.0067567 | 0.026982 | 0.0067677 | 2.9553e-05 | 1.0999e-05 | 0.040603 | 0.040603 | 0.040603 | 0.98777 | -0.085371 | 0.98889 | -0.077463 | 15.0383
3 | 0.008359 | 0.0020947 | -0.0083575 | -0.0020943 | 1.5383e-06 | 3.9388e-07 | 0.012611 | 0.012611 | 0.012611 | 0.9863 | -0.09585 | 0.98611 | -0.09718 | 4.6708
4 | -0.10088 | -0.025359 | 0.10129 | 0.025514 | 0.00040384 | 0.00015496 | 0.15183 | 0.15183 | 0.15183 | 0.98889 | -0.077463 | 0.99297 | -0.048835 | 56.2338
5 | 0.073902 | 0.018591 | -0.073538 | -0.018452 | 0.00036427 | 0.0001395 | 0.11123 | 0.11123 | 0.11123 | 0.98889 | -0.077463 | 0.98386 | -0.11298 | 41.1956
6 | 0.0029835 | 0.00074749 | -0.0029832 | -0.00074767 | 2.7724e-07 | -1.73e-07 | 0.004502 | 0.0045021 | 0.0045021 | 0.98611 | -0.09718 | 0.98601 | -0.097851 | 1.6674
7 | -0.1271 | -0.031987 | 0.12745 | 0.032121 | 0.00035136 | 0.00013433 | 0.19051 | 0.19051 | 0.19051 | 0.99297 | -0.048835 | 0.99581 | -0.029088 | 35.2789
8 | 0.025807 | 0.0064733 | -0.025789 | -0.0064664 | 1.8504e-05 | 6.8608e-06 | 0.038675 | 0.038675 | 0.038675 | 0.99297 | -0.048835 | 0.99224 | -0.054009 | 14.3241
9 | 0.046939 | 0.011781 | -0.046915 | -0.011771 | 2.4128e-05 | 9.1827e-06 | 0.070998 | 0.070998 | 0.070998 | 0.98386 | -0.11298 | 0.98334 | -0.11669 | 26.2954
10 | 0.026599 | 0.0066709 | -0.026588 | -0.0066667 | 1.1179e-05 | 4.159e-06 | 0.040231 | 0.040231 | 0.040231 | 0.98386 | -0.11298 | 0.98344 | -0.11602 | 14.9003
11 | -0.14816 | -0.037311 | 0.14876 | 0.037543 | 0.00060494 | 0.00023164 | 0.22145 | 0.22145 | 0.22145 | 0.99581 | -0.029088 | 1 | 0 | 41.0091
12 | 0.019641 | 0.0049257 | -0.01962 | -0.0049181 | 2.128e-05 | 7.6775e-06 | 0.029456 | 0.029456 | 0.029456 | 0.99224 | -0.054009 | 0.99113 | -0.061833 | 10.9097
13 | 0.046915 | 0.011771 | -0.046811 | -0.011732 | 0.00010395 | 3.9563e-05 | 0.070998 | 0.070998 | 0.070998 | 0.98334 | -0.11669 | 0.98109 | -0.13269 | 26.2954
14 | 0.02481 | 0.0062212 | -0.024784 | -0.0062115 | 2.6091e-05 | 9.6591e-06 | 0.037541 | 0.037541 | 0.037541 | 0.98344 | -0.11602 | 0.98237 | -0.12361 | 13.9041
15 | 0.089245 | 0.022624 | -0.08877 | -0.022443 | 0.00047482 | 0.00018037 | 0.13289 | 0.13289 | 0.13289 | 1 | 0 | 0.99451 | -0.037758 | 24.6092
16 | 0.010268 | 0.0025743 | -0.010253 | -0.0025698 | 1.5235e-05 | 4.5379e-06 | 0.015416 | 0.015417 | 0.015417 | 0.99113 | -0.061833 | 0.98961 | -0.072555 | 5.7099
17 | 0.011251 | 0.0028207 | -0.011242 | -0.0028177 | 9.7938e-06 | 3.0489e-06 | 0.016835 | 0.016835 | 0.016835 | 0.99451 | -0.037758 | 0.99362 | -0.044046 | 6.2353
18 | 0.077519 | 0.019623 | -0.07677 | -0.019339 | 0.00074943 | 0.00028366 | 0.11605 | 0.11606 | 0.11606 | 0.99451 | -0.037758 | 0.9846 | -0.10688 | 21.4919
19 | 0.0095665 | 0.0023979 | -0.0095578 | -0.0023954 | 8.7424e-06 | 2.4792e-06 | 0.014327 | 0.014327 | 0.014327 | 0.99362 | -0.044046 | 0.99268 | -0.05065 | 5.3063
20 | 0.073917 | 0.018624 | -0.073774 | -0.01857 | 0.00014248 | 5.3873e-05 | 0.11174 | 0.11175 | 0.11175 | 0.9846 | -0.10688 | 0.98264 | -0.12068 | 20.6935
21 | 0.002853 | 0.00071482 | -0.0028528 | -0.00071498 | 2.2265e-07 | -1.5844e-07 | 0.0043117 | 0.0043118 | 0.0043118 | 0.9846 | -0.10688 | 0.98452 | -0.10744 | 1.597
22 | 0.0095578 | 0.0023954 | -0.0095536 | -0.0023942 | 4.2259e-06 | 1.199e-06 | 0.014327 | 0.014327 | 0.014327 | 0.99268 | -0.05065 | 0.99223 | -0.053844 | 5.3063
23 | 0.071594 | 0.018024 | -0.071533 | -0.018001 | 6.1546e-05 | 2.3247e-05 | 0.10844 | 0.10844 | 0.10844 | 0.98264 | -0.12068 | 0.98177 | -0.12684 | 20.0823
24 | 0.0070922 | 0.0017773 | -0.0070919 | -0.0017773 | 3.0849e-07 | 6.2204e-08 | 0.010636 | 0.010636 | 0.010636 | 0.99223 | -0.053844 | 0.99219 | -0.054158 | 3.9392
25 | 0.01693 | 0.0042449 | -0.01692 | -0.0042414 | 9.704e-06 | 3.4338e-06 | 0.02566 | 0.02566 | 0.02566 | 0.98177 | -0.12684 | 0.98119 | -0.13098 | 9.5039
26 | 0.054603 | 0.013756 | -0.054527 | -0.013727 | 7.5755e-05 | 2.8913e-05 | 0.082784 | 0.082784 | 0.082784 | 0.98177 | -0.12684 | 0.98037 | -0.13677 | 30.6608
27 | 0.010253 | 0.0025698 | -0.010239 | -0.0025657 | 1.3588e-05 | 4.0506e-06 | 0.015417 | 0.015417 | 0.015417 | 0.98961 | -0.072555 | 0.98826 | -0.082136 | 5.71
28 | 0.0044063 | 0.0011038 | -0.0044048 | -0.001104 | 1.5166e-06 | -1.2393e-07 | 0.0066344 | 0.0066346 | 0.0066346 | 0.98826 | -0.082136 | 0.98791 | -0.084623 | 2.4573
29 | -0.0081257 | -0.0020365 | 0.0081289 | 0.0020373 | 3.2e-06 | 8.1861e-07 | 0.01243 | 0.01243 | 0.01243 | 0.97271 | -0.19136 | 0.97311 | -0.18852 | 4.6038
30 | -0.052004 | -0.013045 | 0.05238 | 0.013189 | 0.00037597 | 0.00014341 | 0.079525 | 0.079525 | 0.079525 | 0.97311 | -0.18852 | 0.98037 | -0.13677 | 29.4537
31 | 0.043875 | 0.011008 | -0.043782 | -0.010973 | 9.3077e-05 | 3.5388e-05 | 0.067095 | 0.067095 | 0.067095 | 0.97311 | -0.18852 | 0.97098 | -0.20384 | 24.85
32 | 0.0078326 | 0.001963 | -0.0078293 | -0.0019622 | 3.2512e-06 | 8.0338e-07 | 0.012003 | 0.012004 | 0.012004 | 0.97098 | -0.20384 | 0.97056 | -0.20684 | 4.4457
33 | 0.00265 | 0.00066401 | -0.0026498 | -0.00066411 | 1.1747e-07 | -1.0874e-07 | 0.0039742 | 0.0039743 | 0.0039743 | 0.99219 | -0.054158 | 0.99214 | -0.054479 | 1.4719
34 | 0.014741 | 0.0036953 | -0.014733 | -0.0036926 | 7.7959e-06 | 2.6829e-06 | 0.022356 | 0.022356 | 0.022356 | 0.98119 | -0.13098 | 0.98065 | -0.1348 | 8.28
35 | 0.011187 | 0.0028039 | -0.011186 | -0.0028035 | 1.4618e-06 | 4.5968e-07 | 0.016975 | 0.016975 | 0.016975 | 0.98065 | -0.1348 | 0.98052 | -0.13574 | 6.2872

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.2408 | 0.060667

## res_load
| p_mw | q_mvar
0 | 0.010307 | 0.0025832
1 | 0.0082651 | 0.0020714
2 | 0.005374 | 0.0013468
3 | 0.0029832 | 0.00074767
4 | 0.020708 | 0.0051899
5 | 0.0061475 | 0.0015407
6 | 0.0017777 | 0.00044553
7 | 0.0019963 | 0.00050031
8 | 0.0093517 | 0.0023438
9 | 0.046811 | 0.011732
10 | 0.024784 | 0.0062115
11 | 0.0016751 | 0.00041982
12 | 0.0021798 | 0.00054631
13 | 0.0028528 | 0.00071498
14 | 0.0024614 | 0.00061688
15 | 0.005833 | 0.0014619
16 | 0.0044048 | 0.001104
17 | 0.0081257 | 0.0020365
18 | 0.0021474 | 0.0005382
19 | 0.035949 | 0.0090097
20 | 0.0078293 | 0.0019622
21 | 0.0044419 | 0.0011133
22 | 0.0026498 | 0.00066411
23 | 0.002179 | 0.00054612
24 | 0.003546 | 0.00088871
25 | 0.011186 | 0.0028035

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1