## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1501-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1501-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1501-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1501-9_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1501-9_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1501-9_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1501-9_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1501-9_0_3_node_10 | 0.4 | n |  | TRUE
8 | bus_LV_1501-9_0_3_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1501-9_0_3_node_12 | 0.4 | n |  | TRUE
10 | bus_LV_1501-9_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1501-9_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1501-9_0_3_node_23 | 0.4 | n |  | TRUE
13 | bus_LV_1501-9_0_3_node_22 | 0.4 | n |  | TRUE
14 | bus_LV_1501-9_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1501-9_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1501-9_0_3_node_16 | 0.4 | n |  | TRUE
17 | bus_LV_1501-9_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1501-9_0_3_node_46 | 0.4 | n |  | TRUE
19 | bus_LV_1501-9_0_3_node_58 | 0.4 | n |  | TRUE
20 | bus_LV_1501-9_0_3_node_45 | 0.4 | n |  | TRUE
21 | bus_LV_1501-9_0_3_node_44 | 0.4 | n |  | TRUE
22 | bus_LV_1501-9_0_3_node_42 | 0.4 | n |  | TRUE
23 | bus_LV_1501-9_0_3_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1501-9_0_3_node_18 | 0.4 | n |  | TRUE
25 | bus_LV_1501-9_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1501-9_0_3_node_20 | 0.4 | n |  | TRUE
27 | bus_LV_1501-9_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1501-9_0_3_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_1501-9_0_3_node_29 | 0.4 | n |  | TRUE
30 | bus_LV_1501-9_0_3_node_24 | 0.4 | n |  | TRUE
31 | bus_LV_1501-9_0_3_node_25 | 0.4 | n |  | TRUE
32 | bus_LV_1501-9_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1501-9_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1501-9_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_1501-9_0_3_node_39 | 0.4 | n |  | TRUE
36 | bus_LV_1501-9_0_3_node_40 | 0.4 | n |  | TRUE
37 | bus_LV_1501-9_0_3_node_31 | 0.4 | n |  | TRUE
38 | bus_LV_1501-9_0_3_node_32 | 0.4 | n |  | TRUE
39 | bus_LV_1501-9_0_3_node_33 | 0.4 | n |  | TRUE
40 | bus_LV_1501-9_0_3_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_1501-9_0_3_node_54 | 0.4 | n |  | TRUE
42 | bus_LV_1501-9_0_3_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_1501-9_0_3_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_1501-9_0_3_node_57 | 0.4 | n |  | TRUE
45 | bus_LV_1501-9_0_3_node_53 | 0.4 | n |  | TRUE
46 | bus_LV_1501-9_0_3_node_49 | 0.4 | n |  | TRUE
47 | bus_LV_1501-9_0_3_node_35 | 0.4 | n |  | TRUE
48 | bus_LV_1501-9_0_3_node_37 | 0.4 | n |  | TRUE
49 | bus_LV_1501-9_0_3_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_1501-9_0_3_node_41 | 0.4 | n |  | TRUE
51 | bus_LV_1501-9_0_3_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_1501-9_0_3_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_1501-9_0_3_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_1501-9_0_3_node_51 | 0.4 | n |  | TRUE
55 | bus_LV_1501-9_0_3_node_56 | 0.4 | n |  | TRUE
56 | bus_MV_142_0_node_59 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1501-9_0_3_load_0 | 0 | 0.0042941 | 0.0010762 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1501-9_0_3_load_1 | 1 | 0.005501 | 0.0013787 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1501-9_0_3_load_2 | 2 | 0.0069549 | 0.0017431 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1501-9_0_3_load_3 | 3 | 0.004439 | 0.0011125 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1501-9_0_3_load_4 | 4 | 0.0029246 | 0.00073297 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1501-9_0_3_load_5 | 5 | 0.0017372 | 0.00043538 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1501-9_0_3_load_6 | 6 | 0.0044637 | 0.0011187 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1501-9_0_3_load_7 | 8 | 0.003037 | 0.00076115 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1501-9_0_3_load_12 | 9 | 0.003451 | 0.0008649 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1501-9_0_3_load_9 | 10 | 0.0025553 | 0.00064041 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1501-9_0_3_load_8 | 11 | 0.0025032 | 0.00062736 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1501-9_0_3_load_23 | 12 | 0.00409 | 0.001025 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1501-9_0_3_load_22 | 13 | 0.0036361 | 0.0009113 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1501-9_0_3_load_13 | 15 | 0.0068094 | 0.0017066 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1501-9_0_3_load_16 | 16 | 0.0024118 | 0.00060446 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1501-9_0_3_load_46 | 18 | 0.0080436 | 0.0020159 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1501-9_0_3_load_58 | 19 | 0.0047776 | 0.0011974 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1501-9_0_3_load_45 | 20 | 0.0033198 | 0.00083203 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1501-9_0_3_load_44 | 21 | 0.0059197 | 0.0014836 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1501-9_0_3_load_42 | 22 | 0.0034973 | 0.0008765 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1501-9_0_3_load_17 | 23 | 0.0011396 | 0.00028562 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1501-9_0_3_load_18 | 24 | 0.0015641 | 0.00039201 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1501-9_0_3_load_19 | 25 | 0.0050196 | 0.001258 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1501-9_0_3_load_20 | 26 | 0.0039342 | 0.00098601 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1501-9_0_3_load_21 | 27 | 0.0026936 | 0.00067507 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1501-9_0_3_load_30 | 28 | 0.0023412 | 0.00058677 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1501-9_0_3_load_29 | 29 | 0.0024055 | 0.00060287 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1501-9_0_3_load_26 | 32 | 0.0020981 | 0.00052583 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1501-9_0_3_load_27 | 33 | 0.0047145 | 0.0011816 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1501-9_0_3_load_28 | 34 | 0.0024071 | 0.00060329 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1501-9_0_3_load_39 | 35 | 0.0033114 | 0.00082991 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1501-9_0_3_load_40 | 36 | 0.003803 | 0.00095313 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1501-9_0_3_load_31 | 37 | 0.001953 | 0.00048947 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1501-9_0_3_load_32 | 38 | 0.0017086 | 0.00042822 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1501-9_0_3_load_55 | 40 | 0.0014678 | 0.00036787 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1501-9_0_3_load_54 | 41 | 0.0018195 | 0.000456 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1501-9_0_3_load_36 | 43 | 0.0026248 | 0.00065783 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1501-9_0_3_load_53 | 45 | 0.0040874 | 0.0010244 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1501-9_0_3_load_49 | 46 | 0.0021525 | 0.00053946 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1501-9_0_3_load_35 | 47 | 0.002041 | 0.00051152 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1501-9_0_3_load_41 | 50 | 0.0022047 | 0.00055254 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1501-9_0_3_load_47 | 51 | 0.0030394 | 0.00076174 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1501-9_0_3_load_48 | 52 | 0.0013493 | 0.00033816 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1501-9_0_3_load_51 | 54 | 0.0016843 | 0.00042213 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1501-9_0_3_load_56 | 55 | 0.0032999 | 0.00082702 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 29 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1501-9_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.010771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1501-9_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.010688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1501-9_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.022054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1501-9_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.011503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1501-9_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.011415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1501-9_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.026186 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1501-9_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.036769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1501-9_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.009036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1501-9_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.014805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1501-9_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.012797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1501-9_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.022281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1501-9_0_3_line_11 | NAYY 4x150 SE | 9 | 16 | 0.016201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1501-9_0_3_line_12 | NAYY 4x150 SE | 10 | 14 | 0.0094315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1501-9_0_3_line_13 | NAYY 4x150 SE | 11 | 12 | 0.033502 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1501-9_0_3_line_14 | NAYY 4x150 SE | 12 | 13 | 0.031046 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1501-9_0_3_line_15 | NAYY 4x150 SE | 13 | 30 | 0.012648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1501-9_0_3_line_16 | NAYY 4x150 SE | 14 | 15 | 0.0058976 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1501-9_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.019774 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1501-9_0_3_line_18 | NAYY 4x150 SE | 16 | 19 | 0.020951 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1501-9_0_3_line_19 | NAYY 4x150 SE | 17 | 18 | 0.0029248 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1501-9_0_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.0089591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1501-9_0_3_line_21 | NAYY 4x150 SE | 20 | 21 | 0.014553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1501-9_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.023519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1501-9_0_3_line_23 | NAYY 4x150 SE | 23 | 24 | 0.011145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1501-9_0_3_line_24 | NAYY 4x150 SE | 23 | 25 | 0.015166 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1501-9_0_3_line_25 | NAYY 4x150 SE | 24 | 26 | 0.01289 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1501-9_0_3_line_26 | NAYY 4x150 SE | 26 | 27 | 0.0018121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1501-9_0_3_line_27 | NAYY 4x150 SE | 27 | 28 | 0.0052052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1501-9_0_3_line_28 | NAYY 4x150 SE | 28 | 29 | 0.018647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1501-9_0_3_line_29 | NAYY 4x150 SE | 29 | 34 | 0.0034872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
30 | LV_1501-9_0_3_line_30 | NAYY 4x150 SE | 30 | 31 | 0.032191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1501-9_0_3_line_31 | NAYY 4x150 SE | 30 | 32 | 0.021114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_1501-9_0_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.0093034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1501-9_0_3_line_33 | NAYY 4x150 SE | 32 | 34 | 0.00063085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_1501-9_0_3_line_34 | NAYY 4x150 SE | 33 | 35 | 0.029402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1501-9_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.010246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1501-9_0_3_line_36 | NAYY 4x150 SE | 36 | 50 | 0.0064869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1501-9_0_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.022685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1501-9_0_3_line_38 | NAYY 4x150 SE | 38 | 39 | 0.080807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1501-9_0_3_line_39 | NAYY 4x150 SE | 38 | 40 | 0.060113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1501-9_0_3_line_40 | NAYY 4x150 SE | 39 | 42 | 0.017747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1501-9_0_3_line_41 | NAYY 4x150 SE | 40 | 41 | 0.014672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1501-9_0_3_line_42 | NAYY 4x150 SE | 41 | 55 | 0.042523 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1501-9_0_3_line_43 | NAYY 4x150 SE | 42 | 43 | 0.016246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1501-9_0_3_line_44 | NAYY 4x150 SE | 42 | 44 | 0.054559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1501-9_0_3_line_45 | NAYY 4x150 SE | 43 | 47 | 0.020894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1501-9_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.075064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1501-9_0_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.083223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1501-9_0_3_line_48 | NAYY 4x150 SE | 46 | 51 | 0.013779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1501-9_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.086008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1501-9_0_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.10436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1501-9_0_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.14605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1501-9_0_3_line_52 | NAYY 4x150 SE | 52 | 53 | 0.027688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1501-9_0_3_line_53 | NAYY 4x150 SE | 53 | 54 | 0.067326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1501-9_0_3_line_54 | NAYY 4x150 SE | 54 | 55 | 0.077639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1501-9_0_3_trafo_29 | 0.25 MVA 20/0.4 kV | 56 | 29 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2679071.4739 | 1201940.4993 | 2679077.766 | 1201935.9143 | 2679080.669 | 1201935.2183
1 | 2679071.4739 | 1201940.4993 | 2679062.8362 | 1201946.7937
2 | 2679080.669 | 1201935.2183 | 2679083.8746 | 1201934.4497 | 2679088.4268 | 1201933.8318 | 2679093.0255 | 1201936.0274 | 2679095.9855 | 1201938.9684 | 2679098.1575 | 1201943.3555
3 | 2679053.5399 | 1201953.568 | 2679062.8362 | 1201946.7937
4 | 2679101.5404 | 1201954.2572 | 2679098.1575 | 1201943.3555 | 2679098.1575 | 1201943.3555
5 | 2679053.5399 | 1201953.568 | 2679053.0107 | 1201953.9536 | 2679032.6339 | 1201969.3357
6 | 2679112.4741 | 1201989.3627 | 2679110.4869 | 1201983.088 | 2679101.5404 | 1201954.2572
7 | 2679025.3428 | 1201974.6659 | 2679026.8553 | 1201973.6978 | 2679032.6339 | 1201969.3357
8 | 2679112.4741 | 1201989.3627 | 2679126.2545 | 1201983.9496
9 | 2679112.4741 | 1201989.3627 | 2679100.876 | 1201994.77
10 | 2679025.3428 | 1201974.6659 | 2679015.8781 | 1201980.7237 | 2679006.5578 | 1201985.0476 | 2679005.8105 | 1201985.2293
11 | 2679141.004 | 1201977.2888 | 2679133.2013 | 1201981.2209 | 2679126.2545 | 1201983.9496
12 | 2679092.4947 | 1201999.0932 | 2679099.9062 | 1201995.2222 | 2679100.876 | 1201994.77
13 | 2679005.8105 | 1201985.2293 | 2679001.5715 | 1201986.2602 | 2678996.6813 | 1201986.5402 | 2678993.6953 | 1201985.5668 | 2678991.2396 | 1201983.055 | 2678989.1566 | 1201978.8359 | 2678986.6264 | 1201968.7184 | 2678986.4349 | 1201966.2729
14 | 2678987.6206 | 1201935.4454 | 2678986.0294 | 1201943.0722 | 2678985.4543 | 1201953.749 | 2678986.4349 | 1201966.2729
15 | 2678992.199 | 1201923.7528 | 2678988.4999 | 1201931.2308 | 2678987.6206 | 1201935.4454
16 | 2679092.4947 | 1201999.0932 | 2679087.6986 | 1202002.5252
17 | 2679072.7855 | 1202015.4426 | 2679082.1518 | 1202006.4943 | 2679087.6986 | 1202002.5252
18 | 2679159.5829 | 1201967.6097 | 2679149.6682 | 1201972.9227 | 2679141.004 | 1201977.2888
19 | 2679072.7855 | 1202015.4426 | 2679070.9991 | 1202017.7585
20 | 2679065.5272 | 1202024.8523 | 2679070.9991 | 1202017.7585
21 | 2679056.6387 | 1202036.3754 | 2679065.5272 | 1202024.8523
22 | 2679056.6387 | 1202036.3754 | 2679042.2587 | 1202054.986
23 | 2679044.0541 | 1201887.3597 | 2679048.4647 | 1201882.7933 | 2679050.4777 | 1201878.4396
24 | 2679056.0769 | 1201864.3492 | 2679051.3718 | 1201876.5056 | 2679050.4777 | 1201878.4396
25 | 2679044.0541 | 1201887.3597 | 2679042.0285 | 1201889.4568 | 2679033.9069 | 1201895.248
26 | 2679033.9069 | 1201895.248 | 2679032.4315 | 1201896.3
27 | 2679028.1934 | 1201899.3221 | 2679032.4315 | 1201896.3
28 | 2679028.1934 | 1201899.3221 | 2679024.3783 | 1201902.0424 | 2679012.2752 | 1201909.0011
29 | 2679012.2752 | 1201909.0011 | 2679009.2521 | 1201910.7392
30 | 2678992.199 | 1201923.7528 | 2678989.5285 | 1201924.24 | 2678987.0404 | 1201927.0533 | 2678981.3334 | 1201941.3201 | 2678975.4617 | 1201943.2993 | 2678971.2606 | 1201943.266
31 | 2678992.199 | 1201923.7528 | 2678996.2937 | 1201918.5925 | 2679001.9978 | 1201914.9101 | 2679008.7052 | 1201911.0537
32 | 2678971.2606 | 1201943.266 | 2678962.0523 | 1201944.5927
33 | 2679008.7052 | 1201911.0537 | 2679009.2521 | 1201910.7392
34 | 2678962.0523 | 1201944.5927 | 2678954.1555 | 1201945.7304 | 2678948.6775 | 1201943.8346 | 2678945.4766 | 1201940.6904 | 2678935.2206 | 1201936.3411 | 2678935.2206 | 1201936.3411
35 | 2678924.9959 | 1201935.6749 | 2678935.2206 | 1201936.3411
36 | 2678924.9959 | 1201935.6749 | 2678922.3759 | 1201935.5042 | 2678918.5612 | 1201936.1028
37 | 2678975.2705 | 1201794.2188 | 2678971.0294 | 1201794.392 | 2678954.2448 | 1201795.6154 | 2678952.6446 | 1201795.805
38 | 2678873.0971 | 1201809.4525 | 2678881.8212 | 1201807.0551 | 2678894.4407 | 1201804.2199 | 2678911.1334 | 1201801.3051 | 2678927.8977 | 1201798.736 | 2678952.6446 | 1201795.805
39 | 2678942.428 | 1201736.5668 | 2678952.6446 | 1201795.805
40 | 2678856.1214 | 1201814.7763 | 2678869.6594 | 1201810.3966 | 2678873.0971 | 1201809.4525
41 | 2678955.8941 | 1201730.7411 | 2678942.428 | 1201736.5668
42 | 2678989.9705 | 1201706.6652 | 2678987.0038 | 1201712.274 | 2678955.8941 | 1201730.7411
43 | 2678856.1214 | 1201814.7763 | 2678848.9989 | 1201823.2765 | 2678844.828 | 1201826.3075
44 | 2678837.6942 | 1201763.4233 | 2678856.1214 | 1201814.7763
45 | 2678828.1652 | 1201838.9107 | 2678839.9379 | 1201829.8611 | 2678844.828 | 1201826.3075
46 | 2678837.6942 | 1201763.4233 | 2678762.9471 | 1201756.5334
47 | 2678837.6942 | 1201763.4233 | 2678837.433 | 1201680.2006
48 | 2678847.1989 | 1201670.4797 | 2678837.433 | 1201680.2006
49 | 2678750.4241 | 1201868.6495 | 2678760.4644 | 1201868.604 | 2678771.6297 | 1201868.0842 | 2678780.1462 | 1201866.9958 | 2678788.007 | 1201864.8314 | 2678798.4022 | 1201860.3768 | 2678807.0342 | 1201855.154 | 2678828.1652 | 1201838.9107
50 | 2678750.4241 | 1201868.6495 | 2678754.1199 | 1201875.8361 | 2678755.8736 | 1201884.2644 | 2678757.7773 | 1201893.4397 | 2678763.1314 | 1201921.4723 | 2678764.8957 | 1201930.8236 | 2678776.3597 | 1201969.3988
51 | 2678918.5612 | 1201936.1028 | 2678776.3597 | 1201969.3988
52 | 2678950.7516 | 1201602.1038 | 2678941.9726 | 1201605.1675 | 2678934.3836 | 1201610.9264 | 2678926.9012 | 1201615.6775
53 | 2678950.7516 | 1201602.1038 | 2678971.7284 | 1201605.6721 | 2679009.9391 | 1201631.6378
54 | 2678989.9705 | 1201706.6652 | 2679009.9391 | 1201631.6378

## bus_geodata
| x | y | coords
0 | 2679071.4739 | 1201940.4993
1 | 2679080.669 | 1201935.2183
2 | 2679062.8362 | 1201946.7937
3 | 2679098.1575 | 1201943.3555
4 | 2679053.5399 | 1201953.568
5 | 2679101.5404 | 1201954.2572
6 | 2679032.6339 | 1201969.3357
7 | 2679112.4741 | 1201989.3627
8 | 2679025.3428 | 1201974.6659
9 | 2679126.2545 | 1201983.9496
10 | 2679100.876 | 1201994.77
11 | 2679005.8105 | 1201985.2293
12 | 2678986.4349 | 1201966.2729
13 | 2678987.6206 | 1201935.4454
14 | 2679092.4947 | 1201999.0932
15 | 2679087.6986 | 1202002.5252
16 | 2679141.004 | 1201977.2888
17 | 2679072.7855 | 1202015.4426
18 | 2679070.9991 | 1202017.7585
19 | 2679159.5829 | 1201967.6097
20 | 2679065.5272 | 1202024.8523
21 | 2679056.6387 | 1202036.3754
22 | 2679042.2587 | 1202054.986
23 | 2679050.4777 | 1201878.4396
24 | 2679044.0541 | 1201887.3597
25 | 2679056.0769 | 1201864.3492
26 | 2679033.9069 | 1201895.248
27 | 2679032.4315 | 1201896.3
28 | 2679028.1934 | 1201899.3221
29 | 2679012.2752 | 1201909.0011
30 | 2678992.199 | 1201923.7528
31 | 2678971.2606 | 1201943.266
32 | 2679008.7052 | 1201911.0537
33 | 2678962.0523 | 1201944.5927
34 | 2679009.2521 | 1201910.7392
35 | 2678935.2206 | 1201936.3411
36 | 2678924.9959 | 1201935.6749
37 | 2678975.2705 | 1201794.2188
38 | 2678952.6446 | 1201795.805
39 | 2678873.0971 | 1201809.4525
40 | 2678942.428 | 1201736.5668
41 | 2678955.8941 | 1201730.7411
42 | 2678856.1214 | 1201814.7763
43 | 2678844.828 | 1201826.3075
44 | 2678837.6942 | 1201763.4233
45 | 2678762.9471 | 1201756.5334
46 | 2678837.433 | 1201680.2006
47 | 2678828.1652 | 1201838.9107
48 | 2678750.4241 | 1201868.6495
49 | 2678776.3597 | 1201969.3988
50 | 2678918.5612 | 1201936.1028
51 | 2678847.1989 | 1201670.4797
52 | 2678926.9012 | 1201615.6775
53 | 2678950.7516 | 1201602.1038
54 | 2679009.9391 | 1201631.6378
55 | 2678989.9705 | 1201706.6652
56 | 2679012.2752 | 1201909.0011

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98089 | -0.13349 | 0.0042941 | 0.0010762
1 | 0.98006 | -0.13935 | 0.005501 | 0.0013787
2 | 0.98177 | -0.1272 | 0.0069549 | 0.0017431
3 | 0.97855 | -0.15014 | 0.004439 | 0.0011125
4 | 0.98284 | -0.11961 | 0.0029246 | 0.00073297
5 | 0.97784 | -0.1552 | 0.0017372 | 0.00043538
6 | 0.98539 | -0.10163 | 0.0044637 | 0.0011187
7 | 0.97564 | -0.1709 | 0 | 0
8 | 0.98633 | -0.095026 | 0.003037 | 0.00076115
9 | 0.97541 | -0.17255 | 0.003451 | 0.0008649
10 | 0.97508 | -0.17494 | 0.0025553 | 0.00064041
11 | 0.98874 | -0.078114 | 0.0025032 | 0.00062736
12 | 0.99248 | -0.05199 | 0.00409 | 0.001025
13 | 0.99613 | -0.026679 | 0.0036361 | 0.0009113
14 | 0.9747 | -0.17768 | 0 | 0
15 | 0.97446 | -0.17939 | 0.0068094 | 0.0017066
16 | 0.97524 | -0.17377 | 0.0024118 | 0.00060446
17 | 0.97386 | -0.18371 | 0 | 0
18 | 0.97377 | -0.18435 | 0.0080436 | 0.0020159
19 | 0.9751 | -0.17482 | 0.0047776 | 0.0011974
20 | 0.9736 | -0.18555 | 0.0033198 | 0.00083203
21 | 0.9734 | -0.18699 | 0.0059197 | 0.0014836
22 | 0.97328 | -0.18786 | 0.0034973 | 0.0008765
23 | 0.99918 | -0.0057482 | 0.0011396 | 0.00028562
24 | 0.99928 | -0.0050618 | 0.0015641 | 0.00039201
25 | 0.99907 | -0.0065094 | 0.0050196 | 0.001258
26 | 0.99942 | -0.0040665 | 0.0039342 | 0.00098601
27 | 0.99945 | -0.0038553 | 0.0026936 | 0.00067507
28 | 0.99956 | -0.0031088 | 0.0023412 | 0.00058677
29 | 1 | 0 | -0.15008 | -0.03772
30 | 0.99768 | -0.015958 | 0 | 0
31 | 0.99576 | -0.029334 | 0 | 0
32 | 0.99961 | -0.0026706 | 0.0020981 | 0.00052583
33 | 0.9952 | -0.03321 | 0.0047145 | 0.0011816
34 | 0.99967 | -0.0022678 | 0.0024071 | 0.00060329
35 | 0.99364 | -0.044084 | 0.0033114 | 0.00082991
36 | 0.99314 | -0.047538 | 0.003803 | 0.00095313
37 | 0.97621 | -0.16725 | 0.001953 | 0.00048947
38 | 0.97628 | -0.16679 | 0.0017086 | 0.00042822
39 | 0.97784 | -0.15554 | 0 | 0
40 | 0.97543 | -0.17286 | 0.0014678 | 0.00036787
41 | 0.97526 | -0.17412 | 0.0018195 | 0.000456
42 | 0.97819 | -0.15307 | 0 | 0
43 | 0.97872 | -0.14924 | 0.0026248 | 0.00065783
44 | 0.97745 | -0.15837 | 0 | 0
45 | 0.977 | -0.16158 | 0.0040874 | 0.0010244
46 | 0.97682 | -0.16289 | 0.0021525 | 0.00053946
47 | 0.97949 | -0.14375 | 0.002041 | 0.00051152
48 | 0.98291 | -0.11941 | 0 | 0
49 | 0.98706 | -0.090103 | 0 | 0
50 | 0.99286 | -0.049477 | 0.0022047 | 0.00055254
51 | 0.97676 | -0.16333 | 0.0030394 | 0.00076174
52 | 0.97433 | -0.18079 | 0.0013493 | 0.00033816
53 | 0.97438 | -0.1804 | 0 | 0
54 | 0.97452 | -0.17944 | 0.0016843 | 0.00042213
55 | 0.97486 | -0.17696 | 0.0032999 | 0.00082702
56 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.052753 | 0.013257 | -0.05271 | -0.013241 | 4.3056e-05 | 1.6424e-05 | 0.080039 | 0.080039 | 0.080039 | 0.98089 | -0.13349 | 0.98006 | -0.13935 | 29.6441
1 | -0.057047 | -0.014333 | 0.057097 | 0.014352 | 4.9962e-05 | 1.9081e-05 | 0.086553 | 0.086553 | 0.086553 | 0.98089 | -0.13349 | 0.98177 | -0.1272 | 32.0568
2 | 0.047209 | 0.011862 | -0.047138 | -0.011835 | 7.0723e-05 | 2.6924e-05 | 0.071687 | 0.071687 | 0.071687 | 0.98006 | -0.13935 | 0.97855 | -0.15014 | 26.5508
3 | -0.064052 | -0.016095 | 0.064119 | 0.016121 | 6.7667e-05 | 2.588e-05 | 0.097094 | 0.097094 | 0.097094 | 0.98177 | -0.1272 | 0.98284 | -0.11961 | 35.9609
4 | 0.042699 | 0.010722 | -0.042669 | -0.010711 | 3.0035e-05 | 1.1409e-05 | 0.064937 | 0.064937 | 0.064937 | 0.97855 | -0.15014 | 0.97784 | -0.1552 | 24.0508
5 | -0.067044 | -0.016854 | 0.067212 | 0.016919 | 0.00016841 | 6.444e-05 | 0.10152 | 0.10152 | 0.10152 | 0.98284 | -0.11961 | 0.98539 | -0.10163 | 37.6008
6 | 0.040932 | 0.010276 | -0.040843 | -0.010242 | 8.9033e-05 | 3.3783e-05 | 0.062294 | 0.062294 | 0.062294 | 0.97784 | -0.1552 | 0.97564 | -0.1709 | 23.0717
7 | -0.071676 | -0.018037 | 0.071742 | 0.018063 | 6.6087e-05 | 2.5303e-05 | 0.10826 | 0.10826 | 0.10826 | 0.98539 | -0.10163 | 0.98633 | -0.095026 | 40.0973
8 | 0.010645 | 0.0026678 | -0.010642 | -0.002667 | 2.4351e-06 | 7.5173e-07 | 0.016235 | 0.016235 | 0.016235 | 0.97564 | -0.1709 | 0.97541 | -0.17255 | 6.013
9 | 0.030198 | 0.0075741 | -0.030181 | -0.0075678 | 1.694e-05 | 6.3555e-06 | 0.046059 | 0.046059 | 0.046059 | 0.97564 | -0.1709 | 0.97508 | -0.17494 | 17.0588
10 | -0.074779 | -0.018824 | 0.074956 | 0.018892 | 0.00017704 | 6.7808e-05 | 0.11284 | 0.11284 | 0.11284 | 0.98633 | -0.095026 | 0.98874 | -0.078114 | 41.7942
11 | 0.0071914 | 0.0018021 | -0.0071902 | -0.0018019 | 1.2167e-06 | 2.6577e-07 | 0.010971 | 0.010971 | 0.010971 | 0.97541 | -0.17255 | 0.97524 | -0.17377 | 4.0632
12 | 0.027626 | 0.0069273 | -0.027615 | -0.0069234 | 1.0461e-05 | 3.9057e-06 | 0.042159 | 0.042159 | 0.042159 | 0.97508 | -0.17494 | 0.9747 | -0.17768 | 15.6146
13 | -0.077459 | -0.019519 | 0.077744 | 0.019628 | 0.00028427 | 0.0001089 | 0.11661 | 0.11661 | 0.11661 | 0.98874 | -0.078114 | 0.99248 | -0.05199 | 43.1894
14 | -0.081834 | -0.020653 | 0.082125 | 0.020765 | 0.00029186 | 0.00011185 | 0.12274 | 0.12274 | 0.12274 | 0.99248 | -0.05199 | 0.99613 | -0.026679 | 45.4605
15 | -0.085762 | -0.021676 | 0.085891 | 0.021726 | 0.00012966 | 4.9706e-05 | 0.12817 | 0.12817 | 0.12817 | 0.99613 | -0.026679 | 0.99768 | -0.015958 | 47.4722
16 | 0.027615 | 0.0069234 | -0.027609 | -0.006921 | 6.541e-06 | 2.4423e-06 | 0.042159 | 0.042159 | 0.042159 | 0.9747 | -0.17768 | 0.97446 | -0.17939 | 15.6146
17 | 0.020799 | 0.0052144 | -0.020787 | -0.0052099 | 1.2448e-05 | 4.5413e-06 | 0.031761 | 0.031761 | 0.031761 | 0.97446 | -0.17939 | 0.97386 | -0.18371 | 11.7635
18 | 0.0047783 | 0.0011974 | -0.0047776 | -0.0011974 | 6.949e-07 | 5.8931e-09 | 0.0072907 | 0.0072908 | 0.0072908 | 0.97524 | -0.17377 | 0.9751 | -0.17482 | 2.7003
19 | 0.020787 | 0.0052099 | -0.020785 | -0.0052092 | 1.8411e-06 | 6.7173e-07 | 0.031761 | 0.031761 | 0.031761 | 0.97386 | -0.18371 | 0.97377 | -0.18435 | 11.7635
20 | 0.012741 | 0.0031933 | -0.012739 | -0.0031926 | 2.1192e-06 | 7.0365e-07 | 0.01947 | 0.01947 | 0.01947 | 0.97377 | -0.18435 | 0.9736 | -0.18555 | 7.2111
21 | 0.0094193 | 0.0023605 | -0.0094174 | -0.00236 | 1.882e-06 | 5.4291e-07 | 0.014396 | 0.014396 | 0.014396 | 0.9736 | -0.18555 | 0.9734 | -0.18699 | 5.3319
22 | 0.0034977 | 0.00087637 | -0.0034973 | -0.0008765 | 4.1956e-07 | -1.3095e-07 | 0.0053468 | 0.0053469 | 0.0053469 | 0.9734 | -0.18699 | 0.97328 | -0.18786 | 1.9803
23 | -0.0061598 | -0.0015437 | 0.0061604 | 0.0015437 | 5.8523e-07 | 7.9096e-08 | 0.0091733 | 0.0091733 | 0.0091733 | 0.99918 | -0.0057482 | 0.99928 | -0.0050618 | 3.3975
24 | 0.0050201 | 0.001258 | -0.0050196 | -0.001258 | 5.2895e-07 | 4.8232e-09 | 0.0074761 | 0.0074762 | 0.0074762 | 0.99918 | -0.0057482 | 0.99907 | -0.0065094 | 2.769
25 | -0.0077245 | -0.0019357 | 0.0077256 | 0.001936 | 1.0642e-06 | 2.4042e-07 | 0.011502 | 0.011502 | 0.011502 | 0.99928 | -0.0050618 | 0.99942 | -0.0040665 | 4.2602
26 | -0.01166 | -0.002922 | 0.01166 | 0.0029221 | 3.4077e-07 | 1.0732e-07 | 0.01736 | 0.01736 | 0.01736 | 0.99942 | -0.0040665 | 0.99945 | -0.0038553 | 6.4296
27 | -0.014354 | -0.0035972 | 0.014355 | 0.0035977 | 1.4833e-06 | 5.0229e-07 | 0.02137 | 0.02137 | 0.02137 | 0.99945 | -0.0038553 | 0.99956 | -0.0031088 | 7.9149
28 | -0.016696 | -0.0041844 | 0.016704 | 0.004187 | 7.1883e-06 | 2.5202e-06 | 0.024856 | 0.024855 | 0.024856 | 0.99956 | -0.0031088 | 1 | 0 | 9.2057
29 | 0.13257 | 0.033533 | -0.13253 | -0.033517 | 4.2387e-05 | 1.6211e-05 | 0.19738 | 0.19738 | 0.19738 | 1 | 0 | 0.99967 | -0.0022678 | 36.5514
30 | 0.041886 | 0.010568 | -0.041808 | -0.010538 | 7.8457e-05 | 2.9756e-05 | 0.062497 | 0.062497 | 0.062497 | 0.99768 | -0.015958 | 0.99576 | -0.029334 | 23.147
31 | -0.12778 | -0.032293 | 0.12802 | 0.032385 | 0.00023949 | 9.156e-05 | 0.19067 | 0.19067 | 0.19067 | 0.99768 | -0.015958 | 0.99961 | -0.0026706 | 35.3095
32 | 0.041808 | 0.010538 | -0.041785 | -0.010529 | 2.2675e-05 | 8.6001e-06 | 0.062497 | 0.062497 | 0.062497 | 0.99576 | -0.029334 | 0.9952 | -0.03321 | 23.147
33 | -0.13011 | -0.032911 | 0.13012 | 0.032914 | 7.392e-06 | 2.8265e-06 | 0.19379 | 0.19379 | 0.19379 | 0.99961 | -0.0026706 | 0.99967 | -0.0022678 | 35.8879
34 | 0.037071 | 0.0093476 | -0.037014 | -0.0093263 | 5.6407e-05 | 2.1314e-05 | 0.055448 | 0.055448 | 0.055448 | 0.9952 | -0.03321 | 0.99364 | -0.044084 | 20.5363
35 | 0.033703 | 0.0084964 | -0.033686 | -0.0084903 | 1.6298e-05 | 6.136e-06 | 0.050489 | 0.050489 | 0.050489 | 0.99364 | -0.044084 | 0.99314 | -0.047538 | 18.6996
36 | 0.029883 | 0.0075372 | -0.029875 | -0.0075341 | 8.1209e-06 | 3.0395e-06 | 0.044791 | 0.044791 | 0.044791 | 0.99314 | -0.047538 | 0.99286 | -0.049477 | 16.5893
37 | -0.001953 | -0.00048947 | 0.0019531 | 0.00048924 | 1.2544e-07 | -2.3539e-07 | 0.0029769 | 0.0029768 | 0.0029769 | 0.97621 | -0.16725 | 0.97628 | -0.16679 | 1.1026
38 | -0.013296 | -0.0033301 | 0.013316 | 0.0033371 | 2.0706e-05 | 6.9517e-06 | 0.020264 | 0.020264 | 0.020264 | 0.97628 | -0.16679 | 0.97784 | -0.15554 | 7.5053
39 | 0.009634 | 0.0024127 | -0.0096259 | -0.0024103 | 8.0873e-06 | 2.3595e-06 | 0.014683 | 0.014684 | 0.014684 | 0.97628 | -0.16679 | 0.97543 | -0.17286 | 5.4383
40 | -0.013316 | -0.0033371 | 0.013321 | 0.0033386 | 4.5473e-06 | 1.5263e-06 | 0.020264 | 0.020264 | 0.020264 | 0.97784 | -0.15554 | 0.97819 | -0.15307 | 7.5052
41 | 0.0081581 | 0.0020424 | -0.0081567 | -0.0020421 | 1.4178e-06 | 3.6221e-07 | 0.012444 | 0.012444 | 0.012444 | 0.97543 | -0.17286 | 0.97526 | -0.17412 | 4.609
42 | 0.0063372 | 0.0015861 | -0.0063347 | -0.0015857 | 2.4804e-06 | 4.2361e-07 | 0.0096683 | 0.0096685 | 0.0096685 | 0.97526 | -0.17412 | 0.97486 | -0.17696 | 3.5809
43 | -0.022612 | -0.005666 | 0.022624 | 0.0056704 | 1.1994e-05 | 4.4091e-06 | 0.034397 | 0.034397 | 0.034397 | 0.97819 | -0.15307 | 0.97872 | -0.14924 | 12.7398
44 | 0.0092913 | 0.0023274 | -0.0092845 | -0.0023255 | 6.8008e-06 | 1.9313e-06 | 0.014133 | 0.014134 | 0.014134 | 0.97819 | -0.15307 | 0.97745 | -0.15837 | 5.2347
45 | -0.025249 | -0.0063282 | 0.025268 | 0.0063354 | 1.9213e-05 | 7.1268e-06 | 0.038388 | 0.038388 | 0.038388 | 0.97872 | -0.14924 | 0.97949 | -0.14375 | 14.2177
46 | 0.0040892 | 0.0010242 | -0.0040874 | -0.0010244 | 1.8152e-06 | -2.423e-07 | 0.006225 | 0.0062253 | 0.0062253 | 0.97745 | -0.15837 | 0.977 | -0.16158 | 2.3057
47 | 0.0051953 | 0.0013013 | -0.005192 | -0.0013011 | 3.2483e-06 | 2.0689e-07 | 0.0079087 | 0.0079091 | 0.0079091 | 0.97745 | -0.15837 | 0.97682 | -0.16289 | 2.9293
48 | 0.0030396 | 0.00076164 | -0.0030394 | -0.00076174 | 1.8434e-07 | -1.0158e-07 | 0.0046302 | 0.0046303 | 0.0046303 | 0.97682 | -0.16289 | 0.97676 | -0.16333 | 1.7149
49 | -0.027309 | -0.0068469 | 0.027402 | 0.0068813 | 9.2379e-05 | 3.4444e-05 | 0.041488 | 0.041488 | 0.041488 | 0.97949 | -0.14375 | 0.98291 | -0.11941 | 15.3661
50 | -0.027402 | -0.0068813 | 0.027514 | 0.0069231 | 0.00011209 | 4.1782e-05 | 0.041488 | 0.041488 | 0.041488 | 0.98291 | -0.11941 | 0.98706 | -0.090103 | 15.3659
51 | -0.027514 | -0.0069231 | 0.027671 | 0.0069816 | 0.00015686 | 5.8452e-05 | 0.041488 | 0.041487 | 0.041488 | 0.98706 | -0.090103 | 0.99286 | -0.049477 | 15.3658
52 | -0.0013493 | -0.00033816 | 0.0013493 | 0.00033784 | 7.3358e-08 | -3.1665e-07 | 0.0020606 | 0.0020605 | 0.0020606 | 0.97433 | -0.18079 | 0.97438 | -0.1804 | 0.76319
53 | -0.0013493 | -0.00033784 | 0.0013495 | 0.00033707 | 1.7834e-07 | -7.7012e-07 | 0.0020605 | 0.0020602 | 0.0020605 | 0.97438 | -0.1804 | 0.97452 | -0.17944 | 0.76314
54 | -0.0030338 | -0.0007592 | 0.0030349 | 0.00075863 | 1.0394e-06 | -5.679e-07 | 0.004632 | 0.0046317 | 0.004632 | 0.97452 | -0.17944 | 0.97486 | -0.17696 | 1.7156

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15248 | 0.038323

## res_load
| p_mw | q_mvar
0 | 0.0042941 | 0.0010762
1 | 0.005501 | 0.0013787
2 | 0.0069549 | 0.0017431
3 | 0.004439 | 0.0011125
4 | 0.0029246 | 0.00073297
5 | 0.0017372 | 0.00043538
6 | 0.0044637 | 0.0011187
7 | 0.003037 | 0.00076115
8 | 0.003451 | 0.0008649
9 | 0.0025553 | 0.00064041
10 | 0.0025032 | 0.00062736
11 | 0.00409 | 0.001025
12 | 0.0036361 | 0.0009113
13 | 0.0068094 | 0.0017066
14 | 0.0024118 | 0.00060446
15 | 0.0080436 | 0.0020159
16 | 0.0047776 | 0.0011974
17 | 0.0033198 | 0.00083203
18 | 0.0059197 | 0.0014836
19 | 0.0034973 | 0.0008765
20 | 0.0011396 | 0.00028562
21 | 0.0015641 | 0.00039201
22 | 0.0050196 | 0.001258
23 | 0.0039342 | 0.00098601
24 | 0.0026936 | 0.00067507
25 | 0.0023412 | 0.00058677
26 | 0.0024055 | 0.00060287
27 | 0.0020981 | 0.00052583
28 | 0.0047145 | 0.0011816
29 | 0.0024071 | 0.00060329
30 | 0.0033114 | 0.00082991
31 | 0.003803 | 0.00095313
32 | 0.001953 | 0.00048947
33 | 0.0017086 | 0.00042822
34 | 0.0014678 | 0.00036787
35 | 0.0018195 | 0.000456
36 | 0.0026248 | 0.00065783
37 | 0.0040874 | 0.0010244
38 | 0.0021525 | 0.00053946
39 | 0.002041 | 0.00051152
40 | 0.0022047 | 0.00055254
41 | 0.0030394 | 0.00076174
42 | 0.0013493 | 0.00033816
43 | 0.0016843 | 0.00042213
44 | 0.0032999 | 0.00082702

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1