## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1502-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1502-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1502-10_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1502-10_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1502-10_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1502-10_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1502-10_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1502-10_0_3_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1502-10_0_3_node_32 | 0.4 | n |  | TRUE
9 | bus_LV_1502-10_0_3_node_33 | 0.4 | n |  | TRUE
10 | bus_LV_1502-10_0_3_node_10 | 0.4 | n |  | TRUE
11 | bus_LV_1502-10_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1502-10_0_3_node_27 | 0.4 | n |  | TRUE
13 | bus_LV_1502-10_0_3_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1502-10_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1502-10_0_3_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_1502-10_0_3_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_1502-10_0_3_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_1502-10_0_3_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1502-10_0_3_node_30 | 0.4 | n |  | TRUE
20 | bus_LV_1502-10_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1502-10_0_3_node_31 | 0.4 | n |  | TRUE
22 | bus_LV_1502-10_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1502-10_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1502-10_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1502-10_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1502-10_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1502-10_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1502-10_0_3_node_26 | 0.4 | n |  | TRUE
29 | bus_LV_1502-10_0_3_node_23 | 0.4 | n |  | TRUE
30 | bus_LV_1502-10_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_1502-10_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_MV_142_1_node_60 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1502-10_0_3_load_0 | 0 | 0.010222 | 0.0025619 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1502-10_0_3_load_1 | 1 | 0.0073605 | 0.0018447 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1502-10_0_3_load_6 | 6 | 0.0065709 | 0.0016468 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1502-10_0_3_load_32 | 8 | 0.0069058 | 0.0017308 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1502-10_0_3_load_33 | 9 | 0.0081943 | 0.0020537 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1502-10_0_3_load_10 | 10 | 0.0085389 | 0.0021401 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1502-10_0_3_load_8 | 11 | 0.0080606 | 0.0020202 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1502-10_0_3_load_27 | 12 | 0.0095338 | 0.0023894 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1502-10_0_3_load_11 | 13 | 0.0045465 | 0.0011395 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1502-10_0_3_load_9 | 14 | 0.005145 | 0.0012895 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1502-10_0_3_load_25 | 15 | 0.015328 | 0.0038415 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1502-10_0_3_load_29 | 16 | 0.010379 | 0.0026012 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1502-10_0_3_load_28 | 17 | 0.010406 | 0.0026079 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1502-10_0_3_load_13 | 18 | 0.0049456 | 0.0012395 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1502-10_0_3_load_12 | 20 | 0.0052359 | 0.0013122 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1502-10_0_3_load_31 | 21 | 0.0053529 | 0.0013416 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1502-10_0_3_load_14 | 22 | 0.015222 | 0.0038151 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1502-10_0_3_load_15 | 23 | 0.0067008 | 0.0016794 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1502-10_0_3_load_21 | 27 | 0.02384 | 0.005975 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1502-10_0_3_load_23 | 29 | 0.017338 | 0.0043453 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1502-10_0_3_load_20 | 30 | 0.011636 | 0.0029164 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1502-10_0_3_load_24 | 31 | 0.014584 | 0.0036552 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 16 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1502-10_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019333 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1502-10_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.02583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1502-10_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.044522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_1502-10_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.009061 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1502-10_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.029189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1502-10_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.01305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1502-10_0_3_line_6 | NAYY 4x150 SE | 3 | 7 | 0.038672 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
7 | LV_1502-10_0_3_line_7 | NAYY 4x150 SE | 4 | 8 | 0.007368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1502-10_0_3_line_8 | NAYY 4x150 SE | 4 | 9 | 0.057295 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1502-10_0_3_line_9 | NAYY 4x150 SE | 5 | 10 | 0.035462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1502-10_0_3_line_10 | NAYY 4x150 SE | 6 | 11 | 0.0072052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1502-10_0_3_line_11 | NAYY 4x150 SE | 7 | 12 | 0.013686 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_1502-10_0_3_line_12 | NAYY 4x150 SE | 10 | 13 | 0.049362 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1502-10_0_3_line_13 | NAYY 4x150 SE | 11 | 14 | 0.019354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1502-10_0_3_line_14 | NAYY 4x150 SE | 12 | 15 | 0.025331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
15 | LV_1502-10_0_3_line_15 | NAYY 4x150 SE | 13 | 20 | 0.0275 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1502-10_0_3_line_16 | NAYY 4x150 SE | 14 | 18 | 0.012834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1502-10_0_3_line_17 | NAYY 4x150 SE | 15 | 31 | 0.038503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
18 | LV_1502-10_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.032946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_1502-10_0_3_line_19 | NAYY 4x150 SE | 17 | 28 | 0.05979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_1502-10_0_3_line_20 | NAYY 4x150 SE | 18 | 19 | 0.016846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1502-10_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.022277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1502-10_0_3_line_22 | NAYY 4x150 SE | 22 | 23 | 0.093926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1502-10_0_3_line_23 | NAYY 4x150 SE | 22 | 24 | 0.02316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1502-10_0_3_line_24 | NAYY 4x150 SE | 24 | 25 | 0.03978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1502-10_0_3_line_25 | NAYY 4x150 SE | 24 | 26 | 0.020739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1502-10_0_3_line_26 | NAYY 4x150 SE | 25 | 27 | 0.032205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1502-10_0_3_line_27 | NAYY 4x150 SE | 26 | 28 | 0.035314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
28 | LV_1502-10_0_3_line_28 | NAYY 4x150 SE | 26 | 29 | 0.041513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
29 | LV_1502-10_0_3_line_29 | NAYY 4x150 SE | 27 | 30 | 0.050965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1502-10_0_3_line_30 | NAYY 4x150 SE | 29 | 31 | 0.041249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1502-10_0_3_trafo_29 | 0.25 MVA 20/0.4 kV | 32 | 16 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2674610.6334 | 1202866.6405 | 2674610.0733 | 1202867.2296 | 2674604.982 | 1202885.0359
1 | 2674629.5207 | 1202849.8951 | 2674625.8587 | 1202850.6276 | 2674610.6334 | 1202866.6405
2 | 2674571.6054 | 1202886.0166 | 2674598.553 | 1202898.1827 | 2674602.6009 | 1202893.3636 | 2674604.982 | 1202885.0359
3 | 2674629.5207 | 1202849.8951 | 2674623.8916 | 1202857.007
4 | 2674649.9003 | 1202840.1881 | 2674652.5074 | 1202845.3128 | 2674629.5207 | 1202849.8951
5 | 2674571.6054 | 1202886.0166 | 2674570.2054 | 1202885.3876 | 2674560.14 | 1202879.7939
6 | 2674600.9635 | 1202905.6397 | 2674601.2746 | 1202901.4521 | 2674573.652 | 1202890.3226 | 2674571.6054 | 1202886.0166
7 | 2674623.8916 | 1202857.007 | 2674628.8229 | 1202862.4942
8 | 2674623.8916 | 1202857.007 | 2674614.3501 | 1202869.062 | 2674616.5092 | 1202873.5028 | 2674632.5682 | 1202891.0253 | 2674623.9579 | 1202897.9887 | 2674622.533 | 1202896.3032
9 | 2674649.9003 | 1202840.1881 | 2674641.7883 | 1202828.5796 | 2674633.4366 | 1202820.3258 | 2674625.4231 | 1202815.1171
10 | 2674560.14 | 1202879.7939 | 2674553.842 | 1202876.2938
11 | 2674600.9635 | 1202905.6397 | 2674599.9537 | 1202919.2884
12 | 2674625.4231 | 1202815.1171 | 2674623.0946 | 1202813.6035 | 2674592.6515 | 1202802.8279 | 2674579.2348 | 1202797.9069
13 | 2674537.1568 | 1202866.5001 | 2674544.5622 | 1202871.1366 | 2674553.842 | 1202876.2938
14 | 2674580.4188 | 1202926.3182 | 2674597.4835 | 1202927.1428 | 2674599.9198 | 1202919.7465 | 2674599.9537 | 1202919.2884
15 | 2674553.7863 | 1202787.541 | 2674564.8796 | 1202792.6416 | 2674579.2348 | 1202797.9069
16 | 2674537.1568 | 1202866.5001 | 2674526.2793 | 1202859.6897
17 | 2674541.9799 | 1202925.8933 | 2674555.9669 | 1202925.0011 | 2674574.8344 | 1202926.0483 | 2674580.4188 | 1202926.3182
18 | 2674511.4831 | 1202885.3753 | 2674523.645 | 1202889.7984 | 2674542.4401 | 1202896.6482
19 | 2674482.2006 | 1202905.647 | 2674494.1273 | 1202907.9526 | 2674497.5437 | 1202896.3992 | 2674489.9285 | 1202893.1467 | 2674500.789 | 1202881.486 | 2674511.4831 | 1202885.3753
20 | 2674512.5205 | 1202850.0351 | 2674517.4386 | 1202854.1545 | 2674526.2793 | 1202859.6897
21 | 2674526.5041 | 1202832.6654 | 2674512.5205 | 1202850.0351
22 | 2674584.7414 | 1202939.1312 | 2674565.8434 | 1202937.2986 | 2674538.6297 | 1202937.9261 | 2674491.1805 | 1202942.9855
23 | 2674468.101 | 1202944.5508 | 2674477.0207 | 1202944.4953 | 2674491.1805 | 1202942.9855
24 | 2674468.101 | 1202944.5508 | 2674467.4565 | 1202948.0227 | 2674465.6833 | 1202951.0803 | 2674462.9839 | 1202953.348 | 2674459.6657 | 1202954.5852 | 2674460.5314 | 1202963.8907 | 2674465.7877 | 1202979.3213
25 | 2674461.8202 | 1202928.2736 | 2674459.7563 | 1202934.5073 | 2674462.3046 | 1202935.2061 | 2674465.3883 | 1202937.5127 | 2674467.4176 | 1202940.7733 | 2674468.101 | 1202944.5508
26 | 2674465.7877 | 1202979.3213 | 2674472.9727 | 1202977.3985 | 2674497.6497 | 1202979.5106
27 | 2674461.8202 | 1202928.2736 | 2674465.3949 | 1202917.4559 | 2674478.1067 | 1202915.9912 | 2674482.2006 | 1202905.647
28 | 2674461.8202 | 1202928.2736 | 2674470.9352 | 1202934.5244 | 2674501.2742 | 1202931.8031
29 | 2674548.4292 | 1202983.8569 | 2674497.6497 | 1202979.5106
30 | 2674501.2742 | 1202931.8031 | 2674502.8189 | 1202931.6645 | 2674523.8955 | 1202927.0467 | 2674541.9799 | 1202925.8933

## bus_geodata
| x | y | coords
0 | 2674610.6334 | 1202866.6405
1 | 2674604.982 | 1202885.0359
2 | 2674629.5207 | 1202849.8951
3 | 2674571.6054 | 1202886.0166
4 | 2674623.8916 | 1202857.007
5 | 2674649.9003 | 1202840.1881
6 | 2674560.14 | 1202879.7939
7 | 2674600.9635 | 1202905.6397
8 | 2674628.8229 | 1202862.4942
9 | 2674622.533 | 1202896.3032
10 | 2674625.4231 | 1202815.1171
11 | 2674553.842 | 1202876.2938
12 | 2674599.9537 | 1202919.2884
13 | 2674579.2348 | 1202797.9069
14 | 2674537.1568 | 1202866.5001
15 | 2674580.4188 | 1202926.3182
16 | 2674542.4401 | 1202896.6482
17 | 2674511.4831 | 1202885.3753
18 | 2674526.2793 | 1202859.6897
19 | 2674512.5205 | 1202850.0351
20 | 2674553.7863 | 1202787.541
21 | 2674526.5041 | 1202832.6654
22 | 2674491.1805 | 1202942.9855
23 | 2674584.7414 | 1202939.1312
24 | 2674468.101 | 1202944.5508
25 | 2674465.7877 | 1202979.3213
26 | 2674461.8202 | 1202928.2736
27 | 2674497.6497 | 1202979.5106
28 | 2674482.2006 | 1202905.647
29 | 2674501.2742 | 1202931.8031
30 | 2674548.4292 | 1202983.8569
31 | 2674541.9799 | 1202925.8933
32 | 2674600.9635 | 1202905.6397

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97442 | -0.17969 | 0.010222 | 0.0025619
1 | 0.97566 | -0.17082 | 0.0073605 | 0.0018447
2 | 0.97316 | -0.18878 | 0 | 0
3 | 0.97732 | -0.15893 | 0 | 0
4 | 0.97296 | -0.19022 | 0 | 0
5 | 0.97237 | -0.19442 | 0 | 0
6 | 0.97675 | -0.16304 | 0.0065709 | 0.0016468
7 | 0.97885 | -0.14802 | 0 | 0
8 | 0.97288 | -0.19076 | 0.0069058 | 0.0017308
9 | 0.97227 | -0.19518 | 0.0081943 | 0.0020537
10 | 0.97142 | -0.20129 | 0.0085389 | 0.0021401
11 | 0.9765 | -0.16481 | 0.0080606 | 0.0020202
12 | 0.97939 | -0.14417 | 0.0095338 | 0.0023894
13 | 0.97071 | -0.2064 | 0.0045465 | 0.0011395
14 | 0.97607 | -0.16794 | 0.005145 | 0.0012895
15 | 0.98051 | -0.13621 | 0.015328 | 0.0038415
16 | 1 | 0 | -0.21055 | -0.053093
17 | 0.99671 | -0.022633 | 0.010406 | 0.0026079
18 | 0.97587 | -0.16933 | 0.0049456 | 0.0012395
19 | 0.97574 | -0.17027 | 0 | 0
20 | 0.9705 | -0.20793 | 0.0052359 | 0.0013122
21 | 0.97557 | -0.17152 | 0.0053529 | 0.0013416
22 | 0.98524 | -0.10286 | 0.015222 | 0.0038151
23 | 0.98433 | -0.10934 | 0.0067008 | 0.0016794
24 | 0.98598 | -0.097636 | 0 | 0
25 | 0.98393 | -0.11216 | 0 | 0
26 | 0.9877 | -0.085432 | 0 | 0
27 | 0.98227 | -0.12396 | 0.02384 | 0.005975
28 | 0.99105 | -0.061981 | 0 | 0
29 | 0.98492 | -0.10502 | 0.017338 | 0.0043453
30 | 0.98141 | -0.1301 | 0.011636 | 0.0029164
31 | 0.9825 | -0.12212 | 0.014584 | 0.0036552
32 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.043735 | -0.01097 | 0.043789 | 0.010991 | 5.3814e-05 | 2.0457e-05 | 0.06679 | 0.06679 | 0.06679 | 0.97442 | -0.17969 | 0.97566 | -0.17082 | 24.7369
1 | 0.033513 | 0.0084083 | -0.03347 | -0.0083924 | 4.2219e-05 | 1.5917e-05 | 0.05118 | 0.05118 | 0.05118 | 0.97442 | -0.17969 | 0.97316 | -0.18878 | 18.9554
2 | -0.051149 | -0.012835 | 0.051234 | 0.012867 | 8.4544e-05 | 3.1403e-05 | 0.078015 | 0.078015 | 0.078015 | 0.97566 | -0.17082 | 0.97732 | -0.15893 | 14.4473
3 | 0.015109 | 0.003787 | -0.015106 | -0.003786 | 3.0179e-06 | 1.0482e-06 | 0.023103 | 0.023103 | 0.023103 | 0.97316 | -0.18878 | 0.97296 | -0.19022 | 8.5567
4 | 0.018361 | 0.0046053 | -0.018347 | -0.0046002 | 1.4358e-05 | 5.1599e-06 | 0.028077 | 0.028077 | 0.028077 | 0.97316 | -0.18878 | 0.97237 | -0.19442 | 10.3988
5 | 0.030108 | 0.0075491 | -0.030091 | -0.0075427 | 1.7113e-05 | 6.4186e-06 | 0.045842 | 0.045842 | 0.045842 | 0.97732 | -0.15893 | 0.97675 | -0.16304 | 16.9786
6 | -0.081342 | -0.020416 | 0.081465 | 0.020462 | 0.0001234 | 4.6004e-05 | 0.12386 | 0.12386 | 0.12386 | 0.97732 | -0.15893 | 0.97885 | -0.14802 | 15.291
7 | 0.0069063 | 0.0017309 | -0.0069058 | -0.0017308 | 5.1293e-07 | 1.0578e-07 | 0.010562 | 0.010562 | 0.010562 | 0.97296 | -0.19022 | 0.97288 | -0.19076 | 3.912
8 | 0.0081999 | 0.0020551 | -0.0081943 | -0.0020537 | 5.6229e-06 | 1.4516e-06 | 0.012541 | 0.012541 | 0.012541 | 0.97296 | -0.19022 | 0.97227 | -0.19518 | 4.6448
9 | 0.018347 | 0.0046002 | -0.018329 | -0.0045939 | 1.7444e-05 | 6.2697e-06 | 0.028077 | 0.028077 | 0.028077 | 0.97237 | -0.19442 | 0.97142 | -0.20129 | 10.3989
10 | 0.02352 | 0.0058959 | -0.023514 | -0.0058938 | 5.7726e-06 | 2.1301e-06 | 0.035832 | 0.035832 | 0.035832 | 0.97675 | -0.16304 | 0.9765 | -0.16481 | 13.2711
11 | -0.081465 | -0.020462 | 0.081509 | 0.020478 | 4.367e-05 | 1.628e-05 | 0.12386 | 0.12386 | 0.12386 | 0.97885 | -0.14802 | 0.97939 | -0.14417 | 15.2909
12 | 0.0097905 | 0.0024538 | -0.0097835 | -0.0024518 | 6.9278e-06 | 2.0539e-06 | 0.014997 | 0.014997 | 0.014997 | 0.97142 | -0.20129 | 0.97071 | -0.2064 | 5.5545
13 | 0.015454 | 0.0038736 | -0.015447 | -0.0038712 | 6.6972e-06 | 2.3338e-06 | 0.023549 | 0.023549 | 0.023549 | 0.9765 | -0.16481 | 0.97607 | -0.16794 | 8.7219
14 | -0.091043 | -0.022868 | 0.091144 | 0.022905 | 0.00010084 | 3.7826e-05 | 0.13834 | 0.13834 | 0.13834 | 0.97939 | -0.14417 | 0.98051 | -0.13621 | 17.0792
15 | 0.005237 | 0.0013123 | -0.0052359 | -0.0013122 | 1.1059e-06 | 8.5472e-08 | 0.0080278 | 0.008028 | 0.008028 | 0.97071 | -0.2064 | 0.9705 | -0.20793 | 2.9733
16 | 0.010302 | 0.0025818 | -0.0103 | -0.0025812 | 1.9753e-06 | 5.9937e-07 | 0.015706 | 0.015706 | 0.015706 | 0.97607 | -0.16794 | 0.97587 | -0.16933 | 5.8169
17 | -0.10647 | -0.026747 | 0.10668 | 0.026826 | 0.00020915 | 7.8981e-05 | 0.1616 | 0.1616 | 0.1616 | 0.98051 | -0.13621 | 0.9825 | -0.12212 | 19.9509
18 | 0.20975 | 0.053093 | -0.20908 | -0.052837 | 0.00066833 | 0.00025576 | 0.31229 | 0.31229 | 0.31229 | 1 | 0 | 0.99671 | -0.022633 | 38.5549
19 | 0.19867 | 0.050229 | -0.19758 | -0.049811 | 0.0010952 | 0.00041892 | 0.29676 | 0.29676 | 0.29676 | 0.99671 | -0.022633 | 0.99105 | -0.061981 | 36.6371
20 | 0.0053546 | 0.0013417 | -0.0053539 | -0.0013417 | 7.0073e-07 | 5.9069e-08 | 0.0081646 | 0.0081646 | 0.0081646 | 0.97587 | -0.16933 | 0.97574 | -0.17027 | 3.0239
21 | 0.0053539 | 0.0013417 | -0.0053529 | -0.0013416 | 9.2666e-07 | 7.8208e-08 | 0.0081646 | 0.0081647 | 0.0081647 | 0.97574 | -0.17027 | 0.97557 | -0.17152 | 3.024
22 | 0.0067068 | 0.0016805 | -0.0067008 | -0.0016794 | 6.0137e-06 | 1.1179e-06 | 0.010129 | 0.01013 | 0.01013 | 0.98524 | -0.10286 | 0.98433 | -0.10934 | 3.7517
23 | -0.021929 | -0.0054956 | 0.021945 | 0.0055014 | 1.5852e-05 | 5.8019e-06 | 0.03312 | 0.03312 | 0.03312 | 0.98524 | -0.10286 | 0.98598 | -0.097636 | 12.2665
24 | 0.035616 | 0.0089435 | -0.035545 | -0.0089164 | 7.1735e-05 | 2.7084e-05 | 0.053758 | 0.053758 | 0.053758 | 0.98598 | -0.097636 | 0.98393 | -0.11216 | 19.9104
25 | -0.057561 | -0.014445 | 0.057659 | 0.014482 | 9.7676e-05 | 3.7303e-05 | 0.086877 | 0.086877 | 0.086877 | 0.98598 | -0.097636 | 0.9877 | -0.085432 | 32.1768
26 | 0.035545 | 0.0089164 | -0.035487 | -0.0088945 | 5.8076e-05 | 2.1928e-05 | 0.053758 | 0.053758 | 0.053758 | 0.98393 | -0.11216 | 0.98227 | -0.12396 | 19.9104
27 | -0.19693 | -0.049563 | 0.19758 | 0.049811 | 0.00064687 | 0.00024744 | 0.29676 | 0.29676 | 0.29676 | 0.9877 | -0.085432 | 0.99105 | -0.061981 | 36.6371
28 | 0.13927 | 0.035081 | -0.13889 | -0.034936 | 0.00038037 | 0.00014471 | 0.20988 | 0.20988 | 0.20988 | 0.9877 | -0.085432 | 0.98492 | -0.10502 | 25.9116
29 | 0.011646 | 0.0029195 | -0.011636 | -0.0029164 | 9.8993e-06 | 3.1629e-06 | 0.017643 | 0.017643 | 0.017643 | 0.98227 | -0.12396 | 0.98141 | -0.1301 | 6.5345
30 | 0.12155 | 0.030591 | -0.12126 | -0.030481 | 0.0002895 | 0.00010977 | 0.18369 | 0.18369 | 0.18369 | 0.98492 | -0.10502 | 0.9825 | -0.12212 | 22.6778

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22093 | 0.055694

## res_load
| p_mw | q_mvar
0 | 0.010222 | 0.0025619
1 | 0.0073605 | 0.0018447
2 | 0.0065709 | 0.0016468
3 | 0.0069058 | 0.0017308
4 | 0.0081943 | 0.0020537
5 | 0.0085389 | 0.0021401
6 | 0.0080606 | 0.0020202
7 | 0.0095338 | 0.0023894
8 | 0.0045465 | 0.0011395
9 | 0.005145 | 0.0012895
10 | 0.015328 | 0.0038415
11 | 0.010379 | 0.0026012
12 | 0.010406 | 0.0026079
13 | 0.0049456 | 0.0012395
14 | 0.0052359 | 0.0013122
15 | 0.0053529 | 0.0013416
16 | 0.015222 | 0.0038151
17 | 0.0067008 | 0.0016794
18 | 0.02384 | 0.005975
19 | 0.017338 | 0.0043453
20 | 0.011636 | 0.0029164
21 | 0.014584 | 0.0036552

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1