## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1502-13_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1502-13_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1502-13_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1502-13_0_4_node_35 | 0.4 | n |  | TRUE
4 | bus_LV_1502-13_0_4_node_34 | 0.4 | n |  | TRUE
5 | bus_LV_1502-13_0_4_node_3 | 0.4 | n |  | TRUE
6 | bus_LV_1502-13_0_4_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1502-13_0_4_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1502-13_0_4_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1502-13_0_4_node_36 | 0.4 | n |  | TRUE
10 | bus_LV_1502-13_0_4_node_37 | 0.4 | n |  | TRUE
11 | bus_LV_1502-13_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1502-13_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1502-13_0_4_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1502-13_0_4_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1502-13_0_4_node_33 | 0.4 | n |  | TRUE
16 | bus_LV_1502-13_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1502-13_0_4_node_29 | 0.4 | n |  | TRUE
18 | bus_LV_1502-13_0_4_node_30 | 0.4 | n |  | TRUE
19 | bus_LV_1502-13_0_4_node_31 | 0.4 | n |  | TRUE
20 | bus_LV_1502-13_0_4_node_51 | 0.4 | n |  | TRUE
21 | bus_LV_1502-13_0_4_node_52 | 0.4 | n |  | TRUE
22 | bus_LV_1502-13_0_4_node_32 | 0.4 | n |  | TRUE
23 | bus_LV_1502-13_0_4_node_46 | 0.4 | n |  | TRUE
24 | bus_LV_1502-13_0_4_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_1502-13_0_4_node_53 | 0.4 | n |  | TRUE
26 | bus_LV_1502-13_0_4_node_54 | 0.4 | n |  | TRUE
27 | bus_LV_1502-13_0_4_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_1502-13_0_4_node_56 | 0.4 | n |  | TRUE
29 | bus_LV_1502-13_0_4_node_61 | 0.4 | n |  | TRUE
30 | bus_LV_1502-13_0_4_node_16 | 0.4 | n |  | TRUE
31 | bus_LV_1502-13_0_4_node_12 | 0.4 | n |  | TRUE
32 | bus_LV_1502-13_0_4_node_13 | 0.4 | n |  | TRUE
33 | bus_LV_1502-13_0_4_node_14 | 0.4 | n |  | TRUE
34 | bus_LV_1502-13_0_4_node_15 | 0.4 | n |  | TRUE
35 | bus_LV_1502-13_0_4_node_17 | 0.4 | n |  | TRUE
36 | bus_LV_1502-13_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1502-13_0_4_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_1502-13_0_4_node_25 | 0.4 | n |  | TRUE
39 | bus_LV_1502-13_0_4_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_1502-13_0_4_node_18 | 0.4 | n |  | TRUE
41 | bus_LV_1502-13_0_4_node_19 | 0.4 | n |  | TRUE
42 | bus_LV_1502-13_0_4_node_20 | 0.4 | n |  | TRUE
43 | bus_LV_1502-13_0_4_node_21 | 0.4 | n |  | TRUE
44 | bus_LV_1502-13_0_4_node_22 | 0.4 | n |  | TRUE
45 | bus_LV_1502-13_0_4_node_28 | 0.4 | n |  | TRUE
46 | bus_LV_1502-13_0_4_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_1502-13_0_4_node_59 | 0.4 | n |  | TRUE
48 | bus_LV_1502-13_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_1502-13_0_4_node_38 | 0.4 | n |  | TRUE
50 | bus_LV_1502-13_0_4_node_23 | 0.4 | n |  | TRUE
51 | bus_LV_1502-13_0_4_node_24 | 0.4 | n |  | TRUE
52 | bus_LV_1502-13_0_4_node_26 | 0.4 | n |  | TRUE
53 | bus_LV_1502-13_0_4_node_41 | 0.4 | n |  | TRUE
54 | bus_LV_1502-13_0_4_node_58 | 0.4 | n |  | TRUE
55 | bus_LV_1502-13_0_4_node_60 | 0.4 | n |  | TRUE
56 | bus_LV_1502-13_0_4_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_1502-13_0_4_node_44 | 0.4 | n |  | TRUE
58 | bus_LV_1502-13_0_4_node_47 | 0.4 | n |  | TRUE
59 | bus_LV_1502-13_0_4_node_48 | 0.4 | n |  | TRUE
60 | bus_MV_142_1_node_72 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1502-13_0_4_load_0 | 0 | 0.0055842 | 0.0013995 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1502-13_0_4_load_1 | 1 | 0.004874 | 0.0012215 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1502-13_0_4_load_2 | 2 | 0.0040382 | 0.0010121 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1502-13_0_4_load_35 | 3 | 0.0062956 | 0.0015778 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1502-13_0_4_load_34 | 4 | 0.0045655 | 0.0011442 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1502-13_0_4_load_3 | 5 | 0.0035924 | 0.00090033 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1502-13_0_4_load_4 | 6 | 0.0034257 | 0.00085856 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1502-13_0_4_load_5 | 7 | 0.0084595 | 0.0021202 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1502-13_0_4_load_6 | 8 | 0.0036112 | 0.00090506 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1502-13_0_4_load_36 | 9 | 0.0051858 | 0.0012997 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1502-13_0_4_load_37 | 10 | 0.004721 | 0.0011832 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1502-13_0_4_load_7 | 11 | 0.0045441 | 0.0011388 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1502-13_0_4_load_8 | 12 | 0.0031868 | 0.00079868 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1502-13_0_4_load_9 | 13 | 0.0031866 | 0.00079864 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1502-13_0_4_load_10 | 14 | 0.0074751 | 0.0018734 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1502-13_0_4_load_33 | 15 | 0.00084374 | 0.00021146 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1502-13_0_4_load_29 | 17 | 0.0035938 | 0.00090069 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1502-13_0_4_load_51 | 20 | 0.0014693 | 0.00036823 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1502-13_0_4_load_46 | 23 | 0.0031868 | 0.00079868 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1502-13_0_4_load_45 | 24 | 0.0044761 | 0.0011218 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1502-13_0_4_load_54 | 26 | 0.00025338 | 6.3502e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1502-13_0_4_load_55 | 27 | 0.00058849 | 0.00014749 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1502-13_0_4_load_56 | 28 | 0.00058954 | 0.00014775 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1502-13_0_4_load_61 | 29 | 0.0031855 | 0.00079836 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1502-13_0_4_load_12 | 31 | 0.023238 | 0.0058239 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1502-13_0_4_load_13 | 32 | 0.004409 | 0.001105 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1502-13_0_4_load_15 | 34 | 0.0044188 | 0.0011075 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1502-13_0_4_load_17 | 35 | 0.0040308 | 0.0010102 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1502-13_0_4_load_27 | 36 | 0.0032417 | 0.00081245 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1502-13_0_4_load_42 | 37 | 0.0044532 | 0.0011161 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1502-13_0_4_load_25 | 38 | 0.0044446 | 0.0011139 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1502-13_0_4_load_43 | 39 | 0.0033915 | 0.00085 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1502-13_0_4_load_18 | 40 | 0.0073324 | 0.0018377 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1502-13_0_4_load_19 | 41 | 0.0047464 | 0.0011896 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1502-13_0_4_load_20 | 42 | 0.0046858 | 0.0011744 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1502-13_0_4_load_22 | 44 | 0.0063453 | 0.0015903 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1502-13_0_4_load_59 | 47 | 0.0063631 | 0.0015947 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1502-13_0_4_load_38 | 49 | 0.0033607 | 0.00084228 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1502-13_0_4_load_23 | 50 | 0.0043091 | 0.00108 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1502-13_0_4_load_24 | 51 | 0.002701 | 0.00067693 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1502-13_0_4_load_26 | 52 | 0.0011177 | 0.00028011 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1502-13_0_4_load_41 | 53 | 0.0028934 | 0.00072516 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1502-13_0_4_load_58 | 54 | 0.0024391 | 0.00061131 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1502-13_0_4_load_60 | 55 | 0.013647 | 0.0034203 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1502-13_0_4_load_62 | 56 | 0.011538 | 0.0028917 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1502-13_0_4_load_47 | 58 | 0.0044808 | 0.001123 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1502-13_0_4_load_48 | 59 | 0.0037443 | 0.00093842 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 35 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1502-13_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.005294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1502-13_0_4_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0089516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1502-13_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.022004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1502-13_0_4_line_3 | NAYY 4x150 SE | 3 | 4 | 0.004348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1502-13_0_4_line_4 | NAYY 4x150 SE | 4 | 35 | 0.0065302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1502-13_0_4_line_5 | NAYY 4x150 SE | 5 | 6 | 0.020881 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1502-13_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.019191 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1502-13_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.017491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1502-13_0_4_line_8 | NAYY 4x150 SE | 8 | 9 | 0.010833 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1502-13_0_4_line_9 | NAYY 4x150 SE | 9 | 10 | 0.009201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1502-13_0_4_line_10 | NAYY 4x150 SE | 10 | 49 | 0.0017879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1502-13_0_4_line_11 | NAYY 4x150 SE | 11 | 12 | 0.0036153 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1502-13_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.0041619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1502-13_0_4_line_13 | NAYY 4x150 SE | 12 | 14 | 0.013022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1502-13_0_4_line_14 | NAYY 4x150 SE | 12 | 15 | 0.15539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1502-13_0_4_line_15 | NAYY 4x150 SE | 13 | 16 | 0.0088746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1502-13_0_4_line_16 | NAYY 4x150 SE | 15 | 19 | 0.089788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1502-13_0_4_line_17 | NAYY 4x150 SE | 16 | 23 | 0.007171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1502-13_0_4_line_18 | NAYY 4x150 SE | 16 | 24 | 0.01634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1502-13_0_4_line_19 | NAYY 4x150 SE | 17 | 18 | 0.1056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1502-13_0_4_line_20 | NAYY 4x150 SE | 17 | 19 | 0.024866 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1502-13_0_4_line_21 | NAYY 4x150 SE | 18 | 22 | 0.070681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1502-13_0_4_line_22 | NAYY 4x150 SE | 20 | 21 | 0.018202 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1502-13_0_4_line_23 | NAYY 4x150 SE | 20 | 22 | 0.10015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1502-13_0_4_line_24 | NAYY 4x150 SE | 21 | 25 | 0.010218 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1502-13_0_4_line_25 | NAYY 4x150 SE | 23 | 29 | 0.007847 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1502-13_0_4_line_26 | NAYY 4x150 SE | 24 | 30 | 0.01316 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1502-13_0_4_line_27 | NAYY 4x150 SE | 25 | 26 | 0.017476 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1502-13_0_4_line_28 | NAYY 4x150 SE | 26 | 27 | 0.01938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1502-13_0_4_line_29 | NAYY 4x150 SE | 27 | 28 | 0.05418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1502-13_0_4_line_30 | NAYY 4x150 SE | 29 | 56 | 0.012261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1502-13_0_4_line_31 | NAYY 4x150 SE | 30 | 37 | 0.034507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1502-13_0_4_line_32 | NAYY 4x150 SE | 30 | 33 | 0.038873 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1502-13_0_4_line_33 | NAYY 4x150 SE | 31 | 32 | 0.015872 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
34 | LV_1502-13_0_4_line_34 | NAYY 4x150 SE | 31 | 33 | 0.021065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
35 | LV_1502-13_0_4_line_35 | NAYY 4x150 SE | 32 | 34 | 0.01147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_1502-13_0_4_line_36 | NAYY 4x150 SE | 33 | 35 | 0.020887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
37 | LV_1502-13_0_4_line_37 | NAYY 4x150 SE | 34 | 36 | 0.0083374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
38 | LV_1502-13_0_4_line_38 | NAYY 4x150 SE | 36 | 38 | 0.014637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
39 | LV_1502-13_0_4_line_39 | NAYY 4x150 SE | 37 | 39 | 0.0096057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1502-13_0_4_line_40 | NAYY 4x150 SE | 38 | 50 | 0.0078148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
41 | LV_1502-13_0_4_line_41 | NAYY 4x150 SE | 39 | 57 | 0.010356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1502-13_0_4_line_42 | NAYY 4x150 SE | 40 | 41 | 0.024969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1502-13_0_4_line_43 | NAYY 4x150 SE | 40 | 42 | 0.054105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1502-13_0_4_line_44 | NAYY 4x150 SE | 41 | 43 | 0.040243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1502-13_0_4_line_45 | NAYY 4x150 SE | 42 | 44 | 0.031911 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1502-13_0_4_line_46 | NAYY 4x150 SE | 43 | 45 | 0.024608 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1502-13_0_4_line_47 | NAYY 4x150 SE | 44 | 46 | 0.040645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_1502-13_0_4_line_48 | NAYY 4x150 SE | 45 | 47 | 0.0048692 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1502-13_0_4_line_49 | NAYY 4x150 SE | 46 | 48 | 0.15339 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_1502-13_0_4_line_50 | NAYY 4x150 SE | 46 | 49 | 0.013057 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1502-13_0_4_line_51 | NAYY 4x150 SE | 47 | 55 | 0.024366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1502-13_0_4_line_52 | NAYY 4x150 SE | 48 | 54 | 0.12765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
53 | LV_1502-13_0_4_line_53 | NAYY 4x150 SE | 50 | 51 | 0.015155 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
54 | LV_1502-13_0_4_line_54 | NAYY 4x150 SE | 51 | 52 | 0.0034281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_1502-13_0_4_line_55 | NAYY 4x150 SE | 52 | 53 | 0.014974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_1502-13_0_4_line_56 | NAYY 4x150 SE | 53 | 54 | 0.0060037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_1502-13_0_4_line_57 | NAYY 4x150 SE | 57 | 58 | 0.014451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1502-13_0_4_line_58 | NAYY 4x150 SE | 58 | 59 | 0.013545 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1502-13_0_4_trafo_17 | 0.25 MVA 20/0.4 kV | 60 | 35 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2674623.8031 | 1202737.8736 | 2674618.5846 | 1202736.9823
1 | 2674609.9094 | 1202735.1583 | 2674610.4091 | 1202735.5858 | 2674618.5846 | 1202736.9823
2 | 2674609.9094 | 1202735.1583 | 2674602.0887 | 1202728.4664 | 2674593.2036 | 1202720.8366
3 | 2674589.9049 | 1202718.004 | 2674593.2036 | 1202720.8366
4 | 2674589.9049 | 1202718.004 | 2674587.9256 | 1202716.3043 | 2674587.5268 | 1202712.4034
5 | 2674538.9444 | 1202745.0136 | 2674522.0395 | 1202732.7571
6 | 2674554.4814 | 1202756.2783 | 2674538.9444 | 1202745.0136
7 | 2674506.0815 | 1202726.1443 | 2674511.3075 | 1202727.0773 | 2674519.5769 | 1202730.9717 | 2674522.0395 | 1202732.7571
8 | 2674506.0815 | 1202726.1443 | 2674502.8712 | 1202725.5712 | 2674495.717 | 1202728.0502
9 | 2674495.717 | 1202728.0502 | 2674495.717 | 1202728.0502 | 2674491.9696 | 1202733.1844 | 2674490.7237 | 1202735.7417
10 | 2674489.9406 | 1202737.3489 | 2674490.7237 | 1202735.7417
11 | 2674613.2595 | 1202670.3852 | 2674609.647 | 1202670.2426
12 | 2674613.2595 | 1202670.3852 | 2674617.4181 | 1202670.5494
13 | 2674596.6352 | 1202669.7287 | 2674609.647 | 1202670.2426
14 | 2674609.647 | 1202670.2426 | 2674615.9964 | 1202514.9859
15 | 2674626.2858 | 1202670.8996 | 2674617.4181 | 1202670.5494
16 | 2674590.112 | 1202430.9665 | 2674589.4621 | 1202432.4259 | 2674589.1846 | 1202434.5349 | 2674589.4173 | 1202437.2283 | 2674590.6526 | 1202441.9133 | 2674598.0187 | 1202463.3185 | 2674612.1276 | 1202512.7585 | 2674615.9964 | 1202514.9859
17 | 2674626.2858 | 1202670.8996 | 2674633.4531 | 1202671.1295
18 | 2674626.2858 | 1202670.8996 | 2674624.6958 | 1202687.1619
19 | 2674704.0193 | 1202411.0326 | 2674680.3088 | 1202411.8923 | 2674669.2625 | 1202411.5318 | 2674660.4315 | 1202410.5209 | 2674658.0029 | 1202410.5906 | 2674655.6314 | 1202410.9501 | 2674654.2065 | 1202411.6994 | 2674652.6272 | 1202413.8365 | 2674650.7363 | 1202418.3713 | 2674646.1588 | 1202432.0448 | 2674645.4053 | 1202433.2694 | 2674644.3824 | 1202434.1238 | 2674643.3874 | 1202434.5672 | 2674641.7587 | 1202434.5691 | 2674614.029 | 1202430.5464
20 | 2674590.112 | 1202430.9665 | 2674591.2619 | 1202429.6911 | 2674592.8858 | 1202428.8553 | 2674594.7323 | 1202428.4781 | 2674598.0056 | 1202428.419 | 2674602.0634 | 1202428.9255 | 2674613.8325 | 1202430.5179 | 2674614.029 | 1202430.5464
21 | 2674710.5291 | 1202340.8595 | 2674710.2702 | 1202369.4629 | 2674709.5123 | 1202376.5133 | 2674708.1021 | 1202385.201 | 2674704.585 | 1202404.7469 | 2674704.2479 | 1202407.9669 | 2674704.0193 | 1202411.0326
22 | 2674607.0105 | 1202283.92 | 2674620.4104 | 1202293.8934 | 2674621.6905 | 1202294.6716
23 | 2674710.5291 | 1202340.8595 | 2674637.6132 | 1202303.4586 | 2674628.402 | 1202298.7518 | 2674621.6905 | 1202294.6716
24 | 2674598.9379 | 1202277.6264 | 2674607.0105 | 1202283.92
25 | 2674633.4531 | 1202671.1295 | 2674641.2961 | 1202671.3811
26 | 2674623.4151 | 1202700.2597 | 2674624.6958 | 1202687.1619
27 | 2674598.9379 | 1202277.6264 | 2674594.7811 | 1202279.5535 | 2674590.2696 | 1202280.6312 | 2674582.022 | 1202281.0075
28 | 2674582.022 | 1202281.0075 | 2674579.3646 | 1202281.1287 | 2674562.647 | 1202281.4251
29 | 2674508.4735 | 1202281.9462 | 2674518.907 | 1202282.0973 | 2674540.7309 | 1202281.8138 | 2674562.647 | 1202281.4251
30 | 2674653.5505 | 1202671.7741 | 2674641.2961 | 1202671.3811
31 | 2674623.4151 | 1202700.2597 | 2674643.3208 | 1202704.1552 | 2674657.4725 | 1202705.5899
32 | 2674585.4028 | 1202691.6242 | 2674601.7778 | 1202695.4755 | 2674623.4151 | 1202700.2597
33 | 2674549.7444 | 1202681.9903 | 2674565.0672 | 1202686.1301
34 | 2674585.4028 | 1202691.6242 | 2674565.0672 | 1202686.1301
35 | 2674538.6713 | 1202678.9986 | 2674549.7444 | 1202681.9903
36 | 2674585.4028 | 1202691.6242 | 2674587.5268 | 1202712.4034
37 | 2674538.6713 | 1202678.9986 | 2674530.6226 | 1202676.824
38 | 2674516.4538 | 1202673.1774 | 2674518.3989 | 1202673.5215 | 2674530.6226 | 1202676.824
39 | 2674657.4725 | 1202705.5899 | 2674662.4593 | 1202706.0955 | 2674666.8712 | 1202704.8172
40 | 2674516.4538 | 1202673.1774 | 2674508.7585 | 1202671.8159
41 | 2674676.8187 | 1202701.939 | 2674672.0603 | 1202703.3137 | 2674666.8712 | 1202704.8172
42 | 2674597.6678 | 1202804.6035 | 2674621.2054 | 1202812.9348
43 | 2674547.433 | 1202784.6199 | 2674564.8796 | 1202792.6416 | 2674592.6515 | 1202802.8279 | 2674597.6678 | 1202804.6035
44 | 2674649.9003 | 1202840.1881 | 2674641.7883 | 1202828.5796 | 2674633.4366 | 1202820.3258 | 2674623.0946 | 1202813.6035 | 2674621.2054 | 1202812.9348
45 | 2674519.3644 | 1202769.5069 | 2674537.5635 | 1202780.0819 | 2674547.433 | 1202784.6199
46 | 2674649.9003 | 1202840.1881 | 2674658.4252 | 1202833.9797 | 2674665.3515 | 1202823.5487 | 2674665.895 | 1202822.0768
47 | 2674484.2218 | 1202749.0865 | 2674519.3644 | 1202769.5069
48 | 2674665.895 | 1202822.0768 | 2674667.5878 | 1202817.5113
49 | 2674484.2218 | 1202749.0865 | 2674365.2963 | 1202691.0139 | 2674355.3783 | 1202684.4308 | 2674348.8891 | 1202677.5125
50 | 2674484.2218 | 1202749.0865 | 2674489.9406 | 1202737.3489
51 | 2674671.8217 | 1202793.5999 | 2674669.8301 | 1202803.1587 | 2674668.6279 | 1202814.7064 | 2674667.5878 | 1202817.5113
52 | 2674348.8891 | 1202677.5125 | 2674359.3325 | 1202665.7352 | 2674372.7798 | 1202659.6432 | 2674435.6726 | 1202663.2619 | 2674469.7583 | 1202665.2996
53 | 2674493.8348 | 1202669.1755 | 2674508.7585 | 1202671.8159
54 | 2674493.8348 | 1202669.1755 | 2674490.4591 | 1202668.5783
55 | 2674475.7145 | 1202665.9696 | 2674490.4591 | 1202668.5783
56 | 2674475.7145 | 1202665.9696 | 2674473.0346 | 1202665.4955 | 2674469.7583 | 1202665.2996
57 | 2674676.8187 | 1202701.939 | 2674687.3897 | 1202698.8804 | 2674690.476 | 1202697.3469
58 | 2674690.476 | 1202697.3469 | 2674702.606 | 1202691.32

## bus_geodata
| x | y | coords
0 | 2674623.8031 | 1202737.8736
1 | 2674618.5846 | 1202736.9823
2 | 2674609.9094 | 1202735.1583
3 | 2674593.2036 | 1202720.8366
4 | 2674589.9049 | 1202718.004
5 | 2674538.9444 | 1202745.0136
6 | 2674522.0395 | 1202732.7571
7 | 2674554.4814 | 1202756.2783
8 | 2674506.0815 | 1202726.1443
9 | 2674495.717 | 1202728.0502
10 | 2674490.7237 | 1202735.7417
11 | 2674613.2595 | 1202670.3852
12 | 2674609.647 | 1202670.2426
13 | 2674617.4181 | 1202670.5494
14 | 2674596.6352 | 1202669.7287
15 | 2674615.9964 | 1202514.9859
16 | 2674626.2858 | 1202670.8996
17 | 2674614.029 | 1202430.5464
18 | 2674704.0193 | 1202411.0326
19 | 2674590.112 | 1202430.9665
20 | 2674621.6905 | 1202294.6716
21 | 2674607.0105 | 1202283.92
22 | 2674710.5291 | 1202340.8595
23 | 2674633.4531 | 1202671.1295
24 | 2674624.6958 | 1202687.1619
25 | 2674598.9379 | 1202277.6264
26 | 2674582.022 | 1202281.0075
27 | 2674562.647 | 1202281.4251
28 | 2674508.4735 | 1202281.9462
29 | 2674641.2961 | 1202671.3811
30 | 2674623.4151 | 1202700.2597
31 | 2674565.0672 | 1202686.1301
32 | 2674549.7444 | 1202681.9903
33 | 2674585.4028 | 1202691.6242
34 | 2674538.6713 | 1202678.9986
35 | 2674587.5268 | 1202712.4034
36 | 2674530.6226 | 1202676.824
37 | 2674657.4725 | 1202705.5899
38 | 2674516.4538 | 1202673.1774
39 | 2674666.8712 | 1202704.8172
40 | 2674597.6678 | 1202804.6035
41 | 2674621.2054 | 1202812.9348
42 | 2674547.433 | 1202784.6199
43 | 2674649.9003 | 1202840.1881
44 | 2674519.3644 | 1202769.5069
45 | 2674665.895 | 1202822.0768
46 | 2674484.2218 | 1202749.0865
47 | 2674667.5878 | 1202817.5113
48 | 2674348.8891 | 1202677.5125
49 | 2674489.9406 | 1202737.3489
50 | 2674508.7585 | 1202671.8159
51 | 2674493.8348 | 1202669.1755
52 | 2674490.4591 | 1202668.5783
53 | 2674475.7145 | 1202665.9696
54 | 2674469.7583 | 1202665.2996
55 | 2674671.8217 | 1202793.5999
56 | 2674653.5505 | 1202671.7741
57 | 2674676.8187 | 1202701.939
58 | 2674690.476 | 1202697.3469
59 | 2674702.606 | 1202691.32
60 | 2674585.4028 | 1202691.6242

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.999 | -0.0069758 | 0.0055842 | 0.0013995
1 | 0.99905 | -0.0066802 | 0.004874 | 0.0012215
2 | 0.99918 | -0.0057441 | 0.0040382 | 0.0010121
3 | 0.99963 | -0.0025563 | 0.0062956 | 0.0015778
4 | 0.99976 | -0.0016533 | 0.0045655 | 0.0011442
5 | 0.97717 | -0.16002 | 0.0035924 | 0.00090033
6 | 0.97753 | -0.15739 | 0.0034257 | 0.00085856
7 | 0.97693 | -0.16172 | 0.0084595 | 0.0021202
8 | 0.97793 | -0.15456 | 0.0036112 | 0.00090506
9 | 0.97823 | -0.1524 | 0.0051858 | 0.0012997
10 | 0.97856 | -0.15007 | 0.004721 | 0.0011832
11 | 0.99208 | -0.055474 | 0.0045441 | 0.0011388
12 | 0.99198 | -0.056136 | 0.0031868 | 0.00079868
13 | 0.99221 | -0.054519 | 0.0031866 | 0.00079864
14 | 0.99184 | -0.057123 | 0.0074751 | 0.0018734
15 | 0.99034 | -0.067809 | 0.00084374 | 0.00021146
16 | 0.99254 | -0.052199 | 0 | 0
17 | 0.98927 | -0.075445 | 0.0035938 | 0.00090069
18 | 0.98882 | -0.078606 | 0 | 0
19 | 0.9895 | -0.073788 | 0 | 0
20 | 0.98811 | -0.083701 | 0.0014693 | 0.00036823
21 | 0.98807 | -0.08397 | 0 | 0
22 | 0.98853 | -0.080716 | 0 | 0
23 | 0.99235 | -0.053501 | 0.0031868 | 0.00079868
24 | 0.99356 | -0.044971 | 0.0044761 | 0.0011218
25 | 0.98805 | -0.08412 | 0 | 0
26 | 0.98802 | -0.084377 | 0.00025338 | 6.3502e-05
27 | 0.98798 | -0.084612 | 0.00058849 | 0.00014749
28 | 0.98794 | -0.08494 | 0.00058954 | 0.00014775
29 | 0.99219 | -0.054672 | 0.0031855 | 0.00079836
30 | 0.99447 | -0.038565 | 0 | 0
31 | 0.99675 | -0.022519 | 0.023238 | 0.0058239
32 | 0.99594 | -0.028134 | 0.004409 | 0.001105
33 | 0.99806 | -0.013444 | 0 | 0
34 | 0.99538 | -0.032028 | 0.0044188 | 0.0011075
35 | 1 | 0 | -0.22166 | -0.055673
36 | 0.99498 | -0.034738 | 0.0032417 | 0.00081245
37 | 0.99368 | -0.044168 | 0.0044532 | 0.0011161
38 | 0.99432 | -0.03934 | 0.0044446 | 0.0011139
39 | 0.99352 | -0.045297 | 0.0033915 | 0.00085
40 | 0.9737 | -0.18478 | 0.0073324 | 0.0018377
41 | 0.97279 | -0.19129 | 0.0047464 | 0.0011896
42 | 0.97624 | -0.16654 | 0.0046858 | 0.0011744
43 | 0.97161 | -0.1998 | 0 | 0
44 | 0.97796 | -0.15427 | 0.0063453 | 0.0015903
45 | 0.97088 | -0.20501 | 0 | 0
46 | 0.97925 | -0.14513 | 0 | 0
47 | 0.97074 | -0.20604 | 0.0063631 | 0.0015947
48 | 0.98771 | -0.085362 | 0 | 0
49 | 0.97863 | -0.14953 | 0.0033607 | 0.00084228
50 | 0.99398 | -0.041682 | 0.0043091 | 0.00108
51 | 0.99336 | -0.046009 | 0.002701 | 0.00067693
52 | 0.99322 | -0.046957 | 0.0011177 | 0.00028011
53 | 0.99263 | -0.051046 | 0.0028934 | 0.00072516
54 | 0.99241 | -0.052628 | 0.0024391 | 0.00061131
55 | 0.97025 | -0.20957 | 0.013647 | 0.0034203
56 | 0.99199 | -0.056107 | 0.011538 | 0.0028917
57 | 0.9934 | -0.046158 | 0 | 0
58 | 0.99323 | -0.047361 | 0.0044808 | 0.001123
59 | 0.99315 | -0.047874 | 0.0037443 | 0.00093842
60 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0055842 | -0.0013995 | 0.0055844 | 0.0013996 | 2.2855e-07 | 1.8584e-08 | 0.0083177 | 0.0083176 | 0.0083177 | 0.999 | -0.0069758 | 0.99905 | -0.0066802 | 3.0806
1 | -0.010458 | -0.0026211 | 0.01046 | 0.0026215 | 1.3554e-06 | 4.0406e-07 | 0.015577 | 0.015577 | 0.015577 | 0.99905 | -0.0066802 | 0.99918 | -0.0057441 | 5.7693
2 | -0.014498 | -0.0036336 | 0.014504 | 0.0036357 | 6.4008e-06 | 2.1735e-06 | 0.021591 | 0.021591 | 0.021591 | 0.99918 | -0.0057441 | 0.99963 | -0.0025563 | 7.9966
3 | -0.0208 | -0.0052136 | 0.020803 | 0.0052145 | 2.601e-06 | 9.4337e-07 | 0.030962 | 0.030962 | 0.030962 | 0.99963 | -0.0025563 | 0.99976 | -0.0016533 | 11.4675
4 | -0.025368 | -0.0063587 | 0.025374 | 0.0063609 | 5.8091e-06 | 2.1486e-06 | 0.037757 | 0.037757 | 0.037757 | 0.99976 | -0.0016533 | 1 | 0 | 13.9842
5 | -0.012054 | -0.003021 | 0.012058 | 0.0030224 | 4.3899e-06 | 1.4268e-06 | 0.018355 | 0.018355 | 0.018355 | 0.97717 | -0.16002 | 0.97753 | -0.15739 | 6.7983
6 | 0.0084615 | 0.0021207 | -0.0084595 | -0.0021202 | 1.9882e-06 | 5.2434e-07 | 0.012885 | 0.012885 | 0.012885 | 0.97717 | -0.16002 | 0.97693 | -0.16172 | 4.7723
7 | -0.015484 | -0.003881 | 0.01549 | 0.0038831 | 6.0634e-06 | 2.1127e-06 | 0.02357 | 0.02357 | 0.02357 | 0.97753 | -0.15739 | 0.97793 | -0.15456 | 8.7296
8 | -0.019101 | -0.0047882 | 0.019107 | 0.0047902 | 5.7102e-06 | 2.0603e-06 | 0.029065 | 0.029065 | 0.029065 | 0.97793 | -0.15456 | 0.97823 | -0.1524 | 10.7647
9 | -0.024293 | -0.0060899 | 0.024301 | 0.0060928 | 7.8401e-06 | 2.8999e-06 | 0.036953 | 0.036953 | 0.036953 | 0.97823 | -0.1524 | 0.97856 | -0.15007 | 13.6863
10 | -0.029022 | -0.007276 | 0.029024 | 0.0072768 | 2.1728e-06 | 8.1323e-07 | 0.044132 | 0.044132 | 0.044132 | 0.97856 | -0.15007 | 0.97863 | -0.14953 | 16.3451
11 | 0.018025 | 0.004512 | -0.018023 | -0.0045114 | 1.6487e-06 | 5.8743e-07 | 0.027034 | 0.027034 | 0.027034 | 0.99208 | -0.055474 | 0.99198 | -0.056136 | 10.0125
12 | -0.022569 | -0.0056509 | 0.022572 | 0.005652 | 2.9756e-06 | 1.0907e-06 | 0.033849 | 0.033849 | 0.033849 | 0.99208 | -0.055474 | 0.99221 | -0.054519 | 12.5368
13 | 0.0074761 | 0.0018737 | -0.0074751 | -0.0018734 | 1.0219e-06 | 2.2496e-07 | 0.011214 | 0.011215 | 0.011215 | 0.99198 | -0.056136 | 0.99184 | -0.057123 | 4.1535
14 | 0.0073603 | 0.0018391 | -0.0073485 | -0.0018365 | 1.1816e-05 | 2.542e-06 | 0.011039 | 0.01104 | 0.01104 | 0.99198 | -0.056136 | 0.99034 | -0.067809 | 4.0887
15 | -0.025758 | -0.0064506 | 0.025767 | 0.0064537 | 8.2631e-06 | 3.0635e-06 | 0.038628 | 0.038628 | 0.038628 | 0.99221 | -0.054519 | 0.99254 | -0.052199 | 14.3067
16 | 0.0065048 | 0.0016251 | -0.0064994 | -0.0016242 | 5.3503e-06 | 9.0346e-07 | 0.0097718 | 0.0097722 | 0.0097722 | 0.99034 | -0.067809 | 0.9895 | -0.073788 | 3.6193
17 | 0.017918 | 0.0044914 | -0.017915 | -0.0044903 | 3.229e-06 | 1.1493e-06 | 0.026863 | 0.026863 | 0.026863 | 0.99254 | -0.052199 | 0.99235 | -0.053501 | 9.9493
18 | -0.043685 | -0.010945 | 0.043729 | 0.010962 | 4.3732e-05 | 1.6608e-05 | 0.065491 | 0.065491 | 0.065491 | 0.99254 | -0.052199 | 0.99356 | -0.044971 | 24.256
19 | 0.0029042 | 0.00072324 | -0.0029029 | -0.00072412 | 1.2567e-06 | -8.7193e-07 | 0.0043667 | 0.0043672 | 0.0043672 | 0.98927 | -0.075445 | 0.98882 | -0.078606 | 1.6175
20 | -0.006498 | -0.0016239 | 0.0064994 | 0.0016242 | 1.4818e-06 | 2.5058e-07 | 0.0097723 | 0.0097722 | 0.0097723 | 0.98927 | -0.075445 | 0.9895 | -0.073788 | 3.6194
21 | 0.0029029 | 0.00072412 | -0.0029021 | -0.0007247 | 8.4124e-07 | -5.8285e-07 | 0.0043672 | 0.0043675 | 0.0043675 | 0.98882 | -0.078606 | 0.98853 | -0.080716 | 1.6176
22 | 0.0014316 | 0.00035729 | -0.0014316 | -0.0003575 | 5.2767e-08 | -2.1285e-07 | 0.0021554 | 0.0021554 | 0.0021554 | 0.98811 | -0.083701 | 0.98807 | -0.08397 | 0.79831
23 | -0.0029009 | -0.00072552 | 0.0029021 | 0.0007247 | 1.1922e-06 | -8.2482e-07 | 0.0043679 | 0.0043675 | 0.0043679 | 0.98811 | -0.083701 | 0.98853 | -0.080716 | 1.6178
24 | 0.0014316 | 0.0003575 | -0.0014315 | -0.00035762 | 2.9623e-08 | -1.1948e-07 | 0.0021554 | 0.0021555 | 0.0021555 | 0.98807 | -0.08397 | 0.98805 | -0.08412 | 0.79833
25 | 0.014728 | 0.0036916 | -0.014726 | -0.0036908 | 2.3882e-06 | 8.1718e-07 | 0.022085 | 0.022085 | 0.022085 | 0.99235 | -0.053501 | 0.99219 | -0.054672 | 8.1795
26 | -0.048205 | -0.012083 | 0.048247 | 0.0121 | 4.2802e-05 | 1.6292e-05 | 0.072195 | 0.072195 | 0.072195 | 0.99356 | -0.044971 | 0.99447 | -0.038565 | 26.7388
27 | 0.0014315 | 0.00035762 | -0.0014315 | -0.00035783 | 5.0669e-08 | -2.0433e-07 | 0.0021555 | 0.0021556 | 0.0021556 | 0.98805 | -0.08412 | 0.98802 | -0.084377 | 0.79836
28 | 0.0011781 | 0.00029433 | -0.0011781 | -0.00029456 | 3.8059e-08 | -2.3355e-07 | 0.001774 | 0.0017741 | 0.0017741 | 0.98802 | -0.084377 | 0.98798 | -0.084612 | 0.65706
29 | 0.00058957 | 0.00014707 | -0.00058954 | -0.00014775 | 2.6649e-08 | -6.8354e-07 | 0.00088771 | 0.00088796 | 0.00088796 | 0.98798 | -0.084612 | 0.98794 | -0.08494 | 0.32887
30 | 0.01154 | 0.0028924 | -0.011538 | -0.0028917 | 2.2917e-06 | 7.2311e-07 | 0.017307 | 0.017307 | 0.017307 | 0.99219 | -0.054672 | 0.99199 | -0.056107 | 6.4101
31 | 0.016087 | 0.0040329 | -0.016074 | -0.0040286 | 1.2476e-05 | 4.3511e-06 | 0.024071 | 0.024071 | 0.024071 | 0.99447 | -0.038565 | 0.99368 | -0.044168 | 8.9152
32 | -0.064334 | -0.016133 | 0.064559 | 0.016219 | 0.00022479 | 8.5951e-05 | 0.096265 | 0.096265 | 0.096265 | 0.99447 | -0.038565 | 0.99806 | -0.013444 | 35.6538
33 | 0.10715 | 0.027066 | -0.10707 | -0.027034 | 8.4559e-05 | 3.1903e-05 | 0.16004 | 0.16004 | 0.16004 | 0.99675 | -0.022519 | 0.99594 | -0.028134 | 19.7582
34 | -0.13039 | -0.03289 | 0.13056 | 0.032953 | 0.00016615 | 6.3078e-05 | 0.19473 | 0.19473 | 0.19473 | 0.99675 | -0.022519 | 0.99806 | -0.013444 | 24.041
35 | 0.10266 | 0.025929 | -0.1026 | -0.025908 | 5.6181e-05 | 2.116e-05 | 0.15345 | 0.15345 | 0.15345 | 0.99594 | -0.028134 | 0.99538 | -0.032028 | 18.9449
36 | -0.19512 | -0.049172 | 0.19548 | 0.049312 | 0.0003679 | 0.00014068 | 0.291 | 0.291 | 0.291 | 0.99806 | -0.013444 | 1 | 0 | 35.9255
37 | 0.098185 | 0.0248 | -0.098148 | -0.024786 | 3.7396e-05 | 1.4058e-05 | 0.14685 | 0.14685 | 0.14685 | 0.99538 | -0.032028 | 0.99498 | -0.034738 | 18.1294
38 | 0.094906 | 0.023974 | -0.094845 | -0.023951 | 6.1391e-05 | 2.3042e-05 | 0.142 | 0.142 | 0.142 | 0.99498 | -0.034738 | 0.99432 | -0.03934 | 17.5309
39 | 0.011621 | 0.0029125 | -0.011619 | -0.0029119 | 1.8152e-06 | 5.7375e-07 | 0.017402 | 0.017402 | 0.017402 | 0.99368 | -0.044168 | 0.99352 | -0.045297 | 6.4453
40 | 0.0904 | 0.022837 | -0.09037 | -0.022826 | 2.9778e-05 | 1.1149e-05 | 0.13535 | 0.13535 | 0.13535 | 0.99432 | -0.03934 | 0.99398 | -0.041682 | 16.7097
41 | 0.0082277 | 0.0020619 | -0.0082267 | -0.0020617 | 9.8125e-07 | 2.4332e-07 | 0.012323 | 0.012323 | 0.012323 | 0.99352 | -0.045297 | 0.9934 | -0.046158 | 4.564
42 | 0.024827 | 0.0062301 | -0.024804 | -0.0062218 | 2.2431e-05 | 8.3171e-06 | 0.037943 | 0.037944 | 0.037944 | 0.9737 | -0.18478 | 0.97279 | -0.19129 | 14.0532
43 | -0.032159 | -0.0080678 | 0.032241 | 0.0080984 | 8.1554e-05 | 3.0692e-05 | 0.049149 | 0.049149 | 0.049149 | 0.9737 | -0.18478 | 0.97624 | -0.16654 | 18.2033
44 | 0.020058 | 0.0050322 | -0.020034 | -0.0050236 | 2.3642e-05 | 8.594e-06 | 0.030683 | 0.030683 | 0.030683 | 0.97279 | -0.19129 | 0.97161 | -0.1998 | 11.3642
45 | -0.036926 | -0.0092728 | 0.03699 | 0.0092967 | 6.3096e-05 | 2.3868e-05 | 0.056291 | 0.056291 | 0.056291 | 0.97624 | -0.16654 | 0.97796 | -0.15427 | 20.8485
46 | 0.020034 | 0.0050236 | -0.02002 | -0.0050184 | 1.4457e-05 | 5.2558e-06 | 0.030683 | 0.030684 | 0.030684 | 0.97161 | -0.1998 | 0.97088 | -0.20501 | 11.3643
47 | -0.043335 | -0.010887 | 0.04339 | 0.010907 | 5.5147e-05 | 2.0189e-05 | 0.065945 | 0.065945 | 0.065945 | 0.97796 | -0.15427 | 0.97925 | -0.14513 | 12.2121
48 | 0.02002 | 0.0050184 | -0.020017 | -0.0050173 | 2.8606e-06 | 1.04e-06 | 0.030684 | 0.030684 | 0.030684 | 0.97088 | -0.20501 | 0.97074 | -0.20604 | 11.3643
49 | -0.075794 | -0.019034 | 0.076429 | 0.019274 | 0.00063497 | 0.00024033 | 0.11519 | 0.11519 | 0.11519 | 0.97925 | -0.14513 | 0.98771 | -0.085362 | 21.3309
50 | 0.032404 | 0.0081265 | -0.032385 | -0.0081191 | 1.9755e-05 | 7.434e-06 | 0.049242 | 0.049242 | 0.049242 | 0.97925 | -0.14513 | 0.97863 | -0.14953 | 18.2377
51 | 0.013654 | 0.0034226 | -0.013647 | -0.0034203 | 6.6604e-06 | 2.2606e-06 | 0.02093 | 0.02093 | 0.02093 | 0.97074 | -0.20604 | 0.97025 | -0.20957 | 7.7518
52 | -0.076429 | -0.019274 | 0.076781 | 0.019405 | 0.00035226 | 0.00013056 | 0.11519 | 0.11518 | 0.11519 | 0.98771 | -0.085362 | 0.99241 | -0.052628 | 14.2204
53 | 0.086061 | 0.021746 | -0.086009 | -0.021726 | 5.2375e-05 | 1.9555e-05 | 0.1289 | 0.1289 | 0.1289 | 0.99398 | -0.041682 | 0.99336 | -0.046009 | 15.9134
54 | 0.083308 | 0.021049 | -0.083297 | -0.021045 | 1.1115e-05 | 4.1419e-06 | 0.12485 | 0.12485 | 0.12485 | 0.99336 | -0.046009 | 0.99322 | -0.046957 | 15.4139
55 | 0.082179 | 0.020765 | -0.082132 | -0.020748 | 4.7256e-05 | 1.7594e-05 | 0.12318 | 0.12318 | 0.12318 | 0.99322 | -0.046957 | 0.99263 | -0.051046 | 15.2072
56 | 0.079238 | 0.020022 | -0.079221 | -0.020016 | 1.7636e-05 | 6.5505e-06 | 0.11884 | 0.11884 | 0.11884 | 0.99263 | -0.051046 | 0.99241 | -0.052628 | 14.6717
57 | 0.0082267 | 0.0020617 | -0.0082254 | -0.0020613 | 1.3693e-06 | 3.396e-07 | 0.012323 | 0.012323 | 0.012323 | 0.9934 | -0.046158 | 0.99323 | -0.047361 | 4.564
58 | 0.0037446 | 0.00093835 | -0.0037443 | -0.00093842 | 2.66e-07 | -7.2978e-08 | 0.00561 | 0.00561 | 0.00561 | 0.99323 | -0.047361 | 0.99315 | -0.047874 | 2.0778

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22569 | 0.056683

## res_load
| p_mw | q_mvar
0 | 0.0055842 | 0.0013995
1 | 0.004874 | 0.0012215
2 | 0.0040382 | 0.0010121
3 | 0.0062956 | 0.0015778
4 | 0.0045655 | 0.0011442
5 | 0.0035924 | 0.00090033
6 | 0.0034257 | 0.00085856
7 | 0.0084595 | 0.0021202
8 | 0.0036112 | 0.00090506
9 | 0.0051858 | 0.0012997
10 | 0.004721 | 0.0011832
11 | 0.0045441 | 0.0011388
12 | 0.0031868 | 0.00079868
13 | 0.0031866 | 0.00079864
14 | 0.0074751 | 0.0018734
15 | 0.00084374 | 0.00021146
16 | 0.0035938 | 0.00090069
17 | 0.0014693 | 0.00036823
18 | 0.0031868 | 0.00079868
19 | 0.0044761 | 0.0011218
20 | 0.00025338 | 6.3502e-05
21 | 0.00058849 | 0.00014749
22 | 0.00058954 | 0.00014775
23 | 0.0031855 | 0.00079836
24 | 0.023238 | 0.0058239
25 | 0.004409 | 0.001105
26 | 0.0044188 | 0.0011075
27 | 0.0040308 | 0.0010102
28 | 0.0032417 | 0.00081245
29 | 0.0044532 | 0.0011161
30 | 0.0044446 | 0.0011139
31 | 0.0033915 | 0.00085
32 | 0.0073324 | 0.0018377
33 | 0.0047464 | 0.0011896
34 | 0.0046858 | 0.0011744
35 | 0.0063453 | 0.0015903
36 | 0.0063631 | 0.0015947
37 | 0.0033607 | 0.00084228
38 | 0.0043091 | 0.00108
39 | 0.002701 | 0.00067693
40 | 0.0011177 | 0.00028011
41 | 0.0028934 | 0.00072516
42 | 0.0024391 | 0.00061131
43 | 0.013647 | 0.0034203
44 | 0.011538 | 0.0028917
45 | 0.0044808 | 0.001123
46 | 0.0037443 | 0.00093842

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1