## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1502-18_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1502-18_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1502-18_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1502-18_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1502-18_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1502-18_0_4_node_13 | 0.4 | n |  | TRUE
6 | bus_LV_1502-18_0_4_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_1502-18_0_4_node_14 | 0.4 | n |  | TRUE
8 | bus_LV_1502-18_0_4_node_16 | 0.4 | n |  | TRUE
9 | bus_LV_1502-18_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1502-18_0_4_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1502-18_0_4_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1502-18_0_4_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1502-18_0_4_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_1502-18_0_4_node_18 | 0.4 | n |  | TRUE
15 | bus_LV_1502-18_0_4_node_19 | 0.4 | n |  | TRUE
16 | bus_LV_1502-18_0_4_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1502-18_0_4_node_20 | 0.4 | n |  | TRUE
18 | bus_LV_1502-18_0_4_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_1502-18_0_4_node_32 | 0.4 | n |  | TRUE
20 | bus_LV_1502-18_0_4_node_9 | 0.4 | n |  | TRUE
21 | bus_LV_1502-18_0_4_node_10 | 0.4 | n |  | TRUE
22 | bus_LV_1502-18_0_4_node_12 | 0.4 | n |  | TRUE
23 | bus_LV_1502-18_0_4_node_28 | 0.4 | n |  | TRUE
24 | bus_LV_1502-18_0_4_node_29 | 0.4 | n |  | TRUE
25 | bus_LV_1502-18_0_4_node_30 | 0.4 | n |  | TRUE
26 | bus_LV_1502-18_0_4_node_22 | 0.4 | n |  | TRUE
27 | bus_LV_1502-18_0_4_node_23 | 0.4 | n |  | TRUE
28 | bus_LV_1502-18_0_4_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_1502-18_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1502-18_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1502-18_0_4_node_27 | 0.4 | n |  | TRUE
32 | bus_LV_1502-18_0_4_node_33 | 0.4 | n |  | TRUE
33 | bus_MV_142_1_node_259 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1502-18_0_4_load_0 | 0 | 0.0028739 | 0.00072027 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1502-18_0_4_load_1 | 1 | 0.0023539 | 0.00058993 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1502-18_0_4_load_3 | 3 | 0.0014803 | 0.00037099 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1502-18_0_4_load_4 | 4 | 0.0049145 | 0.0012317 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1502-18_0_4_load_13 | 5 | 0.0018242 | 0.00045718 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1502-18_0_4_load_15 | 6 | 0.0016946 | 0.00042471 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1502-18_0_4_load_14 | 7 | 0.0013836 | 0.00034677 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1502-18_0_4_load_16 | 8 | 0.0027581 | 0.00069126 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1502-18_0_4_load_5 | 9 | 0.0032381 | 0.00081156 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1502-18_0_4_load_7 | 11 | 0.021573 | 0.0054066 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1502-18_0_4_load_31 | 13 | 0.018912 | 0.0047398 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1502-18_0_4_load_18 | 14 | 0.0018541 | 0.00046469 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1502-18_0_4_load_19 | 15 | 0.0045773 | 0.0011472 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1502-18_0_4_load_11 | 16 | 0.0016142 | 0.00040456 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1502-18_0_4_load_32 | 19 | 0.0057724 | 0.0014467 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1502-18_0_4_load_9 | 20 | 0.013343 | 0.003344 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1502-18_0_4_load_10 | 21 | 0.0098009 | 0.0024563 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1502-18_0_4_load_28 | 23 | 0.02544 | 0.0063758 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1502-18_0_4_load_29 | 24 | 0.050305 | 0.012608 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1502-18_0_4_load_22 | 26 | 0.0051104 | 0.0012808 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1502-18_0_4_load_23 | 27 | 0.0020513 | 0.0005141 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1502-18_0_4_load_17 | 28 | 0.0045456 | 0.0011392 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1502-18_0_4_load_25 | 29 | 0.017276 | 0.0043297 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1502-18_0_4_load_33 | 32 | 0.0021423 | 0.00053691 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1502-18_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.037857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1502-18_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.031377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1502-18_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.023047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1502-18_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.043642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1502-18_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.016944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1502-18_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.0065107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1502-18_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.028418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1502-18_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.01475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1502-18_0_4_line_8 | NAYY 4x150 SE | 7 | 26 | 0.006315 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1502-18_0_4_line_9 | NAYY 4x150 SE | 7 | 25 | 0.094642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1502-18_0_4_line_10 | NAYY 4x150 SE | 8 | 28 | 0.023417 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1502-18_0_4_line_11 | NAYY 4x150 SE | 9 | 10 | 0.028058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1502-18_0_4_line_12 | NAYY 4x150 SE | 9 | 11 | 0.023897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1502-18_0_4_line_13 | NAYY 4x150 SE | 10 | 12 | 0.034458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1502-18_0_4_line_14 | NAYY 4x150 SE | 11 | 13 | 0.031282 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1502-18_0_4_line_15 | NAYY 4x150 SE | 12 | 16 | 0.0096854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1502-18_0_4_line_16 | NAYY 4x150 SE | 13 | 18 | 0.019673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1502-18_0_4_line_17 | NAYY 4x150 SE | 14 | 15 | 0.022376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1502-18_0_4_line_18 | NAYY 4x150 SE | 15 | 17 | 0.015724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1502-18_0_4_line_19 | NAYY 4x150 SE | 16 | 20 | 0.03084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1502-18_0_4_line_20 | NAYY 4x150 SE | 17 | 18 | 0.021059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1502-18_0_4_line_21 | NAYY 4x150 SE | 18 | 19 | 0.008257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1502-18_0_4_line_22 | NAYY 4x150 SE | 20 | 21 | 0.036486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1502-18_0_4_line_23 | NAYY 4x150 SE | 21 | 22 | 0.019517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1502-18_0_4_line_24 | NAYY 4x150 SE | 22 | 23 | 0.034704 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1502-18_0_4_line_25 | NAYY 4x150 SE | 22 | 24 | 0.090104 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1502-18_0_4_line_26 | NAYY 4x150 SE | 24 | 25 | 0.038766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1502-18_0_4_line_27 | NAYY 4x150 SE | 26 | 27 | 0.01068 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1502-18_0_4_line_28 | NAYY 4x150 SE | 28 | 29 | 0.018484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1502-18_0_4_line_29 | NAYY 4x150 SE | 29 | 30 | 0.066728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1502-18_0_4_line_30 | NAYY 4x150 SE | 30 | 31 | 0.028578 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1502-18_0_4_line_31 | NAYY 4x150 SE | 31 | 32 | 0.013327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1502-18_0_4_trafo_12 | 0.25 MVA 20/0.4 kV | 33 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2674125.0144 | 1203439.866 | 2674095.0838 | 1203425.0993 | 2674091.0799 | 1203423.0844
1 | 2674153.153 | 1203453.7486 | 2674125.0144 | 1203439.866
2 | 2674153.153 | 1203453.7486 | 2674163.2882 | 1203433.0496
3 | 2674153.153 | 1203453.7486 | 2674192.5768 | 1203472.4662
4 | 2674168.4182 | 1203417.6096 | 2674169.2832 | 1203420.8062 | 2674163.2882 | 1203433.0496
5 | 2674198.4583 | 1203475.2587 | 2674192.5768 | 1203472.4662
6 | 2674168.4182 | 1203417.6096 | 2674166.3221 | 1203409.8627 | 2674162.1656 | 1203402.6511 | 2674151.1684 | 1203397.6784
7 | 2674198.4583 | 1203475.2587 | 2674211.7832 | 1203481.585
8 | 2674145.5312 | 1203394.8343 | 2674150.3082 | 1203397.2895 | 2674151.1684 | 1203397.6784
9 | 2674151.1684 | 1203397.6784 | 2674196.9587 | 1203314.851
10 | 2674232.8087 | 1203491.89 | 2674223.7772 | 1203487.2796 | 2674211.7832 | 1203481.585
11 | 2674437.3277 | 1203330.2281 | 2674412.6099 | 1203316.9508
12 | 2674391.5582 | 1203305.6428 | 2674412.6099 | 1203316.9508
13 | 2674415.847 | 1203357.0104 | 2674418.8293 | 1203352.1779 | 2674424.4386 | 1203344.1539 | 2674429.9603 | 1203337.6631 | 2674437.3277 | 1203330.2281
14 | 2674391.5582 | 1203305.6428 | 2674362.9439 | 1203293.001
15 | 2674415.847 | 1203357.0104 | 2674406.1824 | 1203357.6436
16 | 2674362.9439 | 1203293.001 | 2674371.9283 | 1203275.4909
17 | 2674418.3406 | 1203282.0926 | 2674399.7111 | 1203269.6971
18 | 2674386.6205 | 1203260.9871 | 2674399.7111 | 1203269.6971
19 | 2674406.1824 | 1203357.6436 | 2674387.7602 | 1203358.8507 | 2674375.3969 | 1203358.2393
20 | 2674371.9283 | 1203275.4909 | 2674379.0999 | 1203265.4406 | 2674386.6205 | 1203260.9871
21 | 2674364.6804 | 1203271.4982 | 2674371.9283 | 1203275.4909
22 | 2674375.3969 | 1203358.2393 | 2674348.3901 | 1203356.9039 | 2674339.0673 | 1203355.3809
23 | 2674319.8061 | 1203352.2343 | 2674339.0673 | 1203355.3809
24 | 2674319.8061 | 1203352.2343 | 2674321.1917 | 1203386.9102
25 | 2674319.8061 | 1203352.2343 | 2674232.2856 | 1203330.8145
26 | 2674196.9587 | 1203314.851 | 2674232.2856 | 1203330.8145
27 | 2674136.0326 | 1203389.9522 | 2674145.5312 | 1203394.8343
28 | 2674249.2717 | 1203500.2941 | 2674232.8087 | 1203491.89
29 | 2674308.0049 | 1203531.9097 | 2674285.9916 | 1203519.0391 | 2674249.2717 | 1203500.2941
30 | 2674314.6608 | 1203508.2445 | 2674319.2708 | 1203516.9072 | 2674313.0149 | 1203524.9344 | 2674308.0049 | 1203531.9097
31 | 2674303.2883 | 1203501.2432 | 2674314.6608 | 1203508.2445

## bus_geodata
| x | y | coords
0 | 2674125.0144 | 1203439.866
1 | 2674091.0799 | 1203423.0844
2 | 2674153.153 | 1203453.7486
3 | 2674163.2882 | 1203433.0496
4 | 2674192.5768 | 1203472.4662
5 | 2674168.4182 | 1203417.6096
6 | 2674198.4583 | 1203475.2587
7 | 2674151.1684 | 1203397.6784
8 | 2674211.7832 | 1203481.585
9 | 2674412.6099 | 1203316.9508
10 | 2674437.3277 | 1203330.2281
11 | 2674391.5583 | 1203305.6428
12 | 2674415.847 | 1203357.0104
13 | 2674362.9439 | 1203293.001
14 | 2674418.3406 | 1203282.0926
15 | 2674399.7111 | 1203269.6971
16 | 2674406.1824 | 1203357.6436
17 | 2674386.6205 | 1203260.9871
18 | 2674371.9283 | 1203275.4909
19 | 2674364.6804 | 1203271.4982
20 | 2674375.3969 | 1203358.2393
21 | 2674339.0673 | 1203355.3808
22 | 2674319.8061 | 1203352.2343
23 | 2674321.1917 | 1203386.9102
24 | 2674232.2856 | 1203330.8145
25 | 2674196.9587 | 1203314.851
26 | 2674145.5312 | 1203394.8343
27 | 2674136.0327 | 1203389.9522
28 | 2674232.8087 | 1203491.89
29 | 2674249.2717 | 1203500.2941
30 | 2674308.0049 | 1203531.9097
31 | 2674314.6608 | 1203508.2445
32 | 2674303.2883 | 1203501.2432
33 | 2674415.847 | 1203357.0104

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97937 | -0.14463 | 0.0028739 | 0.00072027
1 | 0.97924 | -0.14556 | 0.0023539 | 0.00058993
2 | 0.97961 | -0.14292 | 0 | 0
3 | 0.98091 | -0.13369 | 0.0014803 | 0.00037099
4 | 0.97749 | -0.15809 | 0.0049145 | 0.0012317
5 | 0.9819 | -0.12665 | 0.0018242 | 0.00045718
6 | 0.97722 | -0.16003 | 0.0016946 | 0.00042471
7 | 0.98363 | -0.11435 | 0.0013836 | 0.00034677
8 | 0.97664 | -0.16415 | 0.0027581 | 0.00069126
9 | 0.98555 | -0.10103 | 0.0032381 | 0.00081156
10 | 0.98783 | -0.08494 | 0 | 0
11 | 0.98373 | -0.11399 | 0.021573 | 0.0054066
12 | 0.99062 | -0.065279 | 0 | 0
13 | 0.98232 | -0.12405 | 0.018912 | 0.0047398
14 | 0.98156 | -0.12942 | 0.0018541 | 0.00046469
15 | 0.98162 | -0.12899 | 0.0045773 | 0.0011472
16 | 0.99141 | -0.059773 | 0.0016142 | 0.00040456
17 | 0.98177 | -0.12794 | 0 | 0
18 | 0.98197 | -0.12654 | 0 | 0
19 | 0.9819 | -0.12703 | 0.0057724 | 0.0014467
20 | 0.99398 | -0.041793 | 0.013343 | 0.003344
21 | 0.99772 | -0.015757 | 0.0098009 | 0.0024563
22 | 1 | 0 | -0.21015 | -0.052792
23 | 0.99874 | -0.0088228 | 0.02544 | 0.0063758
24 | 0.99344 | -0.045608 | 0.050305 | 0.012608
25 | 0.99059 | -0.065445 | 0 | 0
26 | 0.98357 | -0.11481 | 0.0051104 | 0.0012808
27 | 0.98354 | -0.11504 | 0.0020513 | 0.0005141
28 | 0.97582 | -0.17003 | 0.0045456 | 0.0011392
29 | 0.9753 | -0.1738 | 0.017276 | 0.0043297
30 | 0.97509 | -0.1753 | 0 | 0
31 | 0.975 | -0.17594 | 0 | 0
32 | 0.97496 | -0.17624 | 0.0021423 | 0.00053691
33 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0023542 | 0.00058957 | -0.0023539 | -0.00058993 | 3.0221e-07 | -3.6009e-07 | 0.0035767 | 0.0035768 | 0.0035768 | 0.97937 | -0.14463 | 0.97924 | -0.14556 | 1.3248
1 | -0.0052281 | -0.0013098 | 0.0052293 | 0.0013099 | 1.2353e-06 | 8.0181e-08 | 0.0079431 | 0.007943 | 0.0079431 | 0.97937 | -0.14463 | 0.97961 | -0.14292 | 2.9419
2 | -0.038684 | -0.0097082 | 0.038733 | 0.0097271 | 4.9663e-05 | 1.8811e-05 | 0.058765 | 0.058765 | 0.058765 | 0.97961 | -0.14292 | 0.98091 | -0.13369 | 21.7647
3 | 0.033454 | 0.0083983 | -0.033384 | -0.0083718 | 7.0337e-05 | 2.6505e-05 | 0.050822 | 0.050822 | 0.050822 | 0.97961 | -0.14292 | 0.97749 | -0.15809 | 18.8229
4 | -0.040214 | -0.010098 | 0.040253 | 0.010113 | 3.9355e-05 | 1.4922e-05 | 0.06101 | 0.06101 | 0.06101 | 0.98091 | -0.13369 | 0.9819 | -0.12665 | 22.5964
5 | 0.02847 | 0.0071401 | -0.028462 | -0.0071373 | 7.6314e-06 | 2.8536e-06 | 0.043341 | 0.043341 | 0.043341 | 0.97749 | -0.15809 | 0.97722 | -0.16003 | 16.0521
6 | -0.042077 | -0.01057 | 0.042149 | 0.010598 | 7.2124e-05 | 2.738e-05 | 0.063775 | 0.063774 | 0.063775 | 0.9819 | -0.12665 | 0.98363 | -0.11435 | 23.6202
7 | 0.026767 | 0.0067126 | -0.026752 | -0.0067069 | 1.5292e-05 | 5.6968e-06 | 0.04076 | 0.04076 | 0.04076 | 0.97722 | -0.16003 | 0.97664 | -0.16415 | 15.0964
8 | 0.0071622 | 0.0017949 | -0.0071618 | -0.0017948 | 4.6259e-07 | 9.7766e-08 | 0.010835 | 0.010835 | 0.010835 | 0.98363 | -0.11435 | 0.98357 | -0.11481 | 4.0129
9 | -0.050695 | -0.012739 | 0.051043 | 0.012872 | 0.00034744 | 0.00013242 | 0.076702 | 0.076702 | 0.076702 | 0.98363 | -0.11435 | 0.99059 | -0.065445 | 28.4082
10 | 0.023994 | 0.0060156 | -0.023974 | -0.0060084 | 1.953e-05 | 7.2186e-06 | 0.036558 | 0.036558 | 0.036558 | 0.97664 | -0.16415 | 0.97582 | -0.17003 | 13.5401
11 | -0.056072 | -0.014071 | 0.056197 | 0.014118 | 0.0001255 | 4.7912e-05 | 0.084665 | 0.084665 | 0.084665 | 0.98555 | -0.10103 | 0.98783 | -0.08494 | 31.3575
12 | 0.052834 | 0.013259 | -0.052739 | -0.013223 | 9.49e-05 | 3.6196e-05 | 0.079776 | 0.079776 | 0.079776 | 0.98555 | -0.10103 | 0.98373 | -0.11399 | 29.5467
13 | -0.056197 | -0.014118 | 0.056352 | 0.014177 | 0.00015413 | 5.8837e-05 | 0.084665 | 0.084665 | 0.084665 | 0.98783 | -0.08494 | 0.99062 | -0.065279 | 31.3574
14 | 0.031166 | 0.0078162 | -0.031123 | -0.0077999 | 4.3386e-05 | 1.629e-05 | 0.047145 | 0.047145 | 0.047145 | 0.98373 | -0.11399 | 0.98232 | -0.12405 | 17.4611
15 | -0.056352 | -0.014177 | 0.056395 | 0.014194 | 4.3322e-05 | 1.6537e-05 | 0.084665 | 0.084665 | 0.084665 | 0.99062 | -0.065279 | 0.99141 | -0.059773 | 31.3573
16 | 0.012211 | 0.0030601 | -0.012207 | -0.0030587 | 4.2e-06 | 1.3664e-06 | 0.018497 | 0.018497 | 0.018497 | 0.98232 | -0.12405 | 0.98197 | -0.12654 | 6.8507
17 | -0.0018541 | -0.00046469 | 0.0018543 | 0.00046445 | 1.1031e-07 | -2.4043e-07 | 0.0028108 | 0.0028107 | 0.0028108 | 0.98156 | -0.12942 | 0.98162 | -0.12899 | 1.041
18 | -0.0064316 | -0.0016116 | 0.0064325 | 0.0016118 | 9.3258e-07 | 1.5988e-07 | 0.0097494 | 0.0097493 | 0.0097494 | 0.98162 | -0.12899 | 0.98177 | -0.12794 | 3.6109
19 | -0.058009 | -0.014598 | 0.058155 | 0.014654 | 0.00014595 | 5.5737e-05 | 0.087088 | 0.087087 | 0.087088 | 0.99141 | -0.059773 | 0.99398 | -0.041793 | 32.2547
20 | -0.0064325 | -0.0016118 | 0.0064338 | 0.001612 | 1.249e-06 | 2.1404e-07 | 0.0097493 | 0.0097492 | 0.0097493 | 0.98177 | -0.12794 | 0.98197 | -0.12654 | 3.6109
21 | 0.0057727 | 0.0014467 | -0.0057724 | -0.0014467 | 3.9427e-07 | 4.7196e-08 | 0.0087477 | 0.0087477 | 0.0087477 | 0.98197 | -0.12654 | 0.9819 | -0.12703 | 3.2399
22 | -0.071498 | -0.017998 | 0.071758 | 0.018098 | 0.00026096 | 9.9896e-05 | 0.10706 | 0.10706 | 0.10706 | 0.99398 | -0.041793 | 0.99772 | -0.015757 | 39.6524
23 | -0.081559 | -0.020554 | 0.08174 | 0.020623 | 0.00018031 | 6.9094e-05 | 0.12168 | 0.12168 | 0.12168 | 0.99772 | -0.015757 | 1 | 0 | 45.0661
24 | 0.025471 | 0.0063873 | -0.02544 | -0.0063758 | 3.1109e-05 | 1.151e-05 | 0.037902 | 0.037902 | 0.037902 | 1 | 0 | 0.99874 | -0.0088228 | 14.0379
25 | 0.10214 | 0.025781 | -0.10149 | -0.025534 | 0.00064994 | 0.00024763 | 0.15205 | 0.15205 | 0.15205 | 1 | 0 | 0.99344 | -0.045608 | 28.1576
26 | 0.051185 | 0.012926 | -0.051043 | -0.012872 | 0.00014231 | 5.4236e-05 | 0.076702 | 0.076702 | 0.076702 | 0.99344 | -0.045608 | 0.99059 | -0.065445 | 28.4081
27 | 0.0020513 | 0.00051399 | -0.0020513 | -0.0005141 | 6.4184e-08 | -1.1085e-07 | 0.0031034 | 0.0031034 | 0.0031034 | 0.98357 | -0.11481 | 0.98354 | -0.11504 | 1.1494
28 | 0.019429 | 0.0048692 | -0.019419 | -0.0048655 | 1.0124e-05 | 3.663e-06 | 0.029627 | 0.029627 | 0.029627 | 0.97582 | -0.17003 | 0.9753 | -0.1738 | 10.9729
29 | 0.002143 | 0.00053583 | -0.0021426 | -0.00053649 | 4.4504e-07 | -6.6135e-07 | 0.0032691 | 0.0032694 | 0.0032694 | 0.9753 | -0.1738 | 0.97509 | -0.1753 | 1.2109
30 | 0.0021426 | 0.00053649 | -0.0021424 | -0.00053677 | 1.9063e-07 | -2.8312e-07 | 0.0032694 | 0.0032696 | 0.0032696 | 0.97509 | -0.1753 | 0.975 | -0.17594 | 1.211
31 | 0.0021424 | 0.00053677 | -0.0021423 | -0.00053691 | 8.8901e-08 | -1.3201e-07 | 0.0032696 | 0.0032696 | 0.0032696 | 0.975 | -0.17594 | 0.97496 | -0.17624 | 1.211

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21015 | 0.052792

## res_load
| p_mw | q_mvar
0 | 0.0028739 | 0.00072027
1 | 0.0023539 | 0.00058993
2 | 0.0014803 | 0.00037099
3 | 0.0049145 | 0.0012317
4 | 0.0018242 | 0.00045718
5 | 0.0016946 | 0.00042471
6 | 0.0013836 | 0.00034677
7 | 0.0027581 | 0.00069126
8 | 0.0032381 | 0.00081156
9 | 0.021573 | 0.0054066
10 | 0.018912 | 0.0047398
11 | 0.0018541 | 0.00046469
12 | 0.0045773 | 0.0011472
13 | 0.0016142 | 0.00040456
14 | 0.0057724 | 0.0014467
15 | 0.013343 | 0.003344
16 | 0.0098009 | 0.0024563
17 | 0.02544 | 0.0063758
18 | 0.050305 | 0.012608
19 | 0.0051104 | 0.0012808
20 | 0.0020513 | 0.0005141
21 | 0.0045456 | 0.0011392
22 | 0.017276 | 0.0043297
23 | 0.0021423 | 0.00053691

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1