## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1502-29_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1502-29_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1502-29_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1502-29_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1502-29_0_3_node_25 | 0.4 | n |  | TRUE
5 | bus_LV_1502-29_0_3_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_1502-29_0_3_node_24 | 0.4 | n |  | TRUE
7 | bus_LV_1502-29_0_3_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_1502-29_0_3_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_1502-29_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1502-29_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1502-29_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1502-29_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1502-29_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1502-29_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1502-29_0_3_node_50 | 0.4 | n |  | TRUE
16 | bus_LV_1502-29_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1502-29_0_3_node_28 | 0.4 | n |  | TRUE
18 | bus_LV_1502-29_0_3_node_49 | 0.4 | n |  | TRUE
19 | bus_LV_1502-29_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1502-29_0_3_node_29 | 0.4 | n |  | TRUE
21 | bus_LV_1502-29_0_3_node_54 | 0.4 | n |  | TRUE
22 | bus_LV_1502-29_0_3_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_1502-29_0_3_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_1502-29_0_3_node_47 | 0.4 | n |  | TRUE
25 | bus_LV_1502-29_0_3_node_42 | 0.4 | n |  | TRUE
26 | bus_LV_1502-29_0_3_node_34 | 0.4 | n |  | TRUE
27 | bus_LV_1502-29_0_3_node_45 | 0.4 | n |  | TRUE
28 | bus_LV_1502-29_0_3_node_13 | 0.4 | n |  | TRUE
29 | bus_LV_1502-29_0_3_node_14 | 0.4 | n |  | TRUE
30 | bus_LV_1502-29_0_3_node_15 | 0.4 | n |  | TRUE
31 | bus_LV_1502-29_0_3_node_16 | 0.4 | n |  | TRUE
32 | bus_LV_1502-29_0_3_node_17 | 0.4 | n |  | TRUE
33 | bus_LV_1502-29_0_3_node_18 | 0.4 | n |  | TRUE
34 | bus_LV_1502-29_0_3_node_19 | 0.4 | n |  | TRUE
35 | bus_LV_1502-29_0_3_node_27 | 0.4 | n |  | TRUE
36 | bus_LV_1502-29_0_3_node_20 | 0.4 | n |  | TRUE
37 | bus_LV_1502-29_0_3_node_22 | 0.4 | n |  | TRUE
38 | bus_LV_1502-29_0_3_node_39 | 0.4 | n |  | TRUE
39 | bus_LV_1502-29_0_3_node_36 | 0.4 | n |  | TRUE
40 | bus_LV_1502-29_0_3_node_21 | 0.4 | n |  | TRUE
41 | bus_LV_1502-29_0_3_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_1502-29_0_3_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_1502-29_0_3_node_53 | 0.4 | n |  | TRUE
44 | bus_LV_1502-29_0_3_node_52 | 0.4 | n |  | TRUE
45 | bus_LV_1502-29_0_3_node_37 | 0.4 | n |  | TRUE
46 | bus_LV_1502-29_0_3_node_32 | 0.4 | n |  | TRUE
47 | bus_LV_1502-29_0_3_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_1502-29_0_3_node_44 | 0.4 | n |  | TRUE
49 | bus_LV_1502-29_0_3_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_1502-29_0_3_node_55 | 0.4 | n |  | TRUE
51 | bus_LV_1502-29_0_3_node_51 | 0.4 | n |  | TRUE
52 | bus_MV_142_1_node_120 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1502-29_0_3_load_0 | 0 | 0.004516 | 0.0011318 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1502-29_0_3_load_3 | 2 | 0.0032721 | 0.00082008 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1502-29_0_3_load_25 | 4 | 0.0015323 | 0.00038404 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1502-29_0_3_load_24 | 6 | 0.0032392 | 0.00081182 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1502-29_0_3_load_35 | 7 | 0.0030583 | 0.00076647 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1502-29_0_3_load_31 | 8 | 0.0033686 | 0.00084426 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1502-29_0_3_load_5 | 9 | 0.0038751 | 0.00097118 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1502-29_0_3_load_6 | 10 | 0.0042076 | 0.0010545 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1502-29_0_3_load_9 | 13 | 0.010594 | 0.0026552 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1502-29_0_3_load_10 | 14 | 0.0093785 | 0.0023505 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1502-29_0_3_load_50 | 15 | 0.003804 | 0.00095337 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1502-29_0_3_load_11 | 16 | 0.010879 | 0.0027266 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1502-29_0_3_load_28 | 17 | 0.007616 | 0.0019088 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1502-29_0_3_load_49 | 18 | 0.0046645 | 0.001169 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1502-29_0_3_load_29 | 20 | 0.010835 | 0.0027155 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1502-29_0_3_load_54 | 21 | 0.0080105 | 0.0020076 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1502-29_0_3_load_43 | 23 | 0.0047835 | 0.0011989 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1502-29_0_3_load_42 | 25 | 0.0032795 | 0.00082192 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1502-29_0_3_load_34 | 26 | 0.010543 | 0.0026424 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1502-29_0_3_load_13 | 28 | 0.005465 | 0.0013697 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1502-29_0_3_load_14 | 29 | 0.0039618 | 0.00099292 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1502-29_0_3_load_16 | 31 | 0.0058882 | 0.0014757 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1502-29_0_3_load_17 | 32 | 0.0042868 | 0.0010744 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1502-29_0_3_load_18 | 33 | 0.0050705 | 0.0012708 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1502-29_0_3_load_19 | 34 | 0.0016792 | 0.00042086 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1502-29_0_3_load_20 | 36 | 0.0073226 | 0.0018352 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1502-29_0_3_load_22 | 37 | 0.0069743 | 0.0017479 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1502-29_0_3_load_39 | 38 | 0.0028215 | 0.00070714 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1502-29_0_3_load_36 | 39 | 0.0035966 | 0.0009014 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1502-29_0_3_load_21 | 40 | 0.0086517 | 0.0021683 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1502-29_0_3_load_23 | 41 | 0.010526 | 0.002638 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1502-29_0_3_load_40 | 42 | 0.0013526 | 0.00033899 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1502-29_0_3_load_53 | 43 | 0.0062667 | 0.0015706 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1502-29_0_3_load_52 | 44 | 0.0040017 | 0.0010029 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1502-29_0_3_load_37 | 45 | 0.0049791 | 0.0012479 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1502-29_0_3_load_32 | 46 | 0.00696 | 0.0017444 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1502-29_0_3_load_41 | 47 | 0.0042874 | 0.0010745 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1502-29_0_3_load_44 | 48 | 0.0021657 | 0.00054278 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1502-29_0_3_load_48 | 49 | 0.0058356 | 0.0014625 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1502-29_0_3_load_55 | 50 | 0.0032248 | 0.00080822 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1502-29_0_3_load_51 | 51 | 0.0038554 | 0.00096627 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1502-29_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.03446 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1502-29_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.021617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1502-29_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.043083 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1502-29_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.045474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1502-29_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.006215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1502-29_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.062231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1502-29_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.013818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1502-29_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.01008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1502-29_0_3_line_8 | NAYY 4x150 SE | 7 | 47 | 0.012859 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1502-29_0_3_line_9 | NAYY 4x150 SE | 8 | 46 | 0.026255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1502-29_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.0040486 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1502-29_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.011676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1502-29_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.028936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1502-29_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.03556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1502-29_0_3_line_14 | NAYY 4x150 SE | 11 | 14 | 0.0086969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1502-29_0_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.015355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1502-29_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.013879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1502-29_0_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.020701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1502-29_0_3_line_18 | NAYY 4x150 SE | 15 | 18 | 0.0031183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1502-29_0_3_line_19 | NAYY 4x150 SE | 16 | 19 | 0.022771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1502-29_0_3_line_20 | NAYY 4x150 SE | 17 | 20 | 0.0068785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1502-29_0_3_line_21 | NAYY 4x150 SE | 18 | 51 | 0.019695 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1502-29_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.0014134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1502-29_0_3_line_23 | NAYY 4x150 SE | 20 | 22 | 0.017716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1502-29_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.041471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1502-29_0_3_line_25 | NAYY 4x150 SE | 24 | 25 | 0.019299 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1502-29_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.0376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1502-29_0_3_line_27 | NAYY 4x150 SE | 24 | 27 | 0.064932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1502-29_0_3_line_28 | NAYY 4x150 SE | 25 | 41 | 0.0035258 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1502-29_0_3_line_29 | NAYY 4x150 SE | 26 | 46 | 0.006684 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1502-29_0_3_line_30 | NAYY 4x150 SE | 27 | 49 | 0.020277 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1502-29_0_3_line_31 | NAYY 4x150 SE | 27 | 48 | 0.011167 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1502-29_0_3_line_32 | NAYY 4x150 SE | 28 | 29 | 0.028368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1502-29_0_3_line_33 | NAYY 4x150 SE | 28 | 30 | 0.014588 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1502-29_0_3_line_34 | NAYY 4x150 SE | 29 | 31 | 0.004791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1502-29_0_3_line_35 | NAYY 4x150 SE | 30 | 32 | 0.017283 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_1502-29_0_3_line_36 | NAYY 4x150 SE | 30 | 33 | 0.020255 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_1502-29_0_3_line_37 | NAYY 4x150 SE | 30 | 34 | 0.03913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1502-29_0_3_line_38 | NAYY 4x150 SE | 31 | 35 | 0.026503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1502-29_0_3_line_39 | NAYY 4x150 SE | 32 | 36 | 0.013627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_1502-29_0_3_line_40 | NAYY 4x150 SE | 33 | 37 | 0.0039556 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_1502-29_0_3_line_41 | NAYY 4x150 SE | 34 | 38 | 0.0027928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1502-29_0_3_line_42 | NAYY 4x150 SE | 35 | 39 | 0.037327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1502-29_0_3_line_43 | NAYY 4x150 SE | 36 | 40 | 0.014717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1502-29_0_3_line_44 | NAYY 4x150 SE | 37 | 41 | 0.020791 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1502-29_0_3_line_45 | NAYY 4x150 SE | 38 | 42 | 0.008393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1502-29_0_3_line_46 | NAYY 4x150 SE | 39 | 45 | 0.026041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1502-29_0_3_line_47 | NAYY 4x150 SE | 40 | 43 | 0.0074985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1502-29_0_3_line_48 | NAYY 4x150 SE | 43 | 44 | 0.013402 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1502-29_0_3_line_49 | NAYY 4x150 SE | 44 | 51 | 0.0066818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1502-29_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.0052687 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1502-29_0_3_trafo_22 | 0.25 MVA 20/0.4 kV | 52 | 37 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2674903.6236 | 1203511.7126 | 2674926.546 | 1203521.1614 | 2674935.5712 | 1203524.6248
1 | 2674903.6236 | 1203511.7126 | 2674899.3731 | 1203515.7062 | 2674888.1452 | 1203526.8007
2 | 2674903.6236 | 1203511.7126 | 2674909.6232 | 1203510.2202 | 2674918.2215 | 1203513.2744 | 2674918.9847 | 1203511.2716 | 2674926.4806 | 1203493.6324 | 2674928.7859 | 1203487.5909
3 | 2674928.7859 | 1203487.5909 | 2674887.1961 | 1203469.2003
4 | 2674928.7859 | 1203487.5909 | 2674930.997 | 1203481.7817
5 | 2674887.1961 | 1203469.2003 | 2674845.3326 | 1203450.6887 | 2674831.1242 | 1203442.3836
6 | 2674930.997 | 1203481.7817 | 2674943.8701 | 1203486.8041
7 | 2674930.997 | 1203481.7817 | 2674934.5872 | 1203472.363
8 | 2674955.2903 | 1203488.7241 | 2674953.4337 | 1203490.5352 | 2674943.8701 | 1203486.8041
9 | 2674945.8529 | 1203448.6614 | 2674935.7968 | 1203469.1897 | 2674934.5872 | 1203472.363
10 | 2674947.8722 | 1203290.2289 | 2674944.0623 | 1203288.8596
11 | 2674958.1952 | 1203295.5074 | 2674952.9726 | 1203292.062 | 2674947.8722 | 1203290.2289
12 | 2674916.4263 | 1203280.3297 | 2674935.3749 | 1203285.7373 | 2674944.0623 | 1203288.8596
13 | 2674958.1952 | 1203295.5074 | 2674958.8188 | 1203302.2083 | 2674958.0953 | 1203316.7971 | 2674957.9224 | 1203330.5702 | 2674957.9508 | 1203331.019
14 | 2674958.1952 | 1203295.5074 | 2674966.5846 | 1203297.7996
15 | 2674916.4263 | 1203280.3297 | 2674913.5252 | 1203295.4086
16 | 2674957.9508 | 1203331.019 | 2674958.8253 | 1203344.87
17 | 2674966.5846 | 1203297.7996 | 2674986.5536 | 1203303.2557
18 | 2674912.936 | 1203298.4707 | 2674913.5252 | 1203295.4086
19 | 2674960.5855 | 1203367.571 | 2674959.782 | 1203358.8332 | 2674959.0142 | 1203347.8612 | 2674958.8253 | 1203344.87
20 | 2674993.1888 | 1203305.0687 | 2674986.5536 | 1203303.2557
21 | 2674912.936 | 1203298.4707 | 2674909.2151 | 1203317.8106
22 | 2674960.5855 | 1203367.571 | 2674960.6257 | 1203368.9838
23 | 2675010.4701 | 1203307.86 | 2675004.728 | 1203308.2215 | 2674993.1888 | 1203305.0687
24 | 2675010.4701 | 1203307.86 | 2675031.3072 | 1203272.0043
25 | 2674960.766 | 1203407.7426 | 2674942.1622 | 1203402.6089
26 | 2674960.766 | 1203407.7426 | 2674960.2861 | 1203419.2993 | 2674953.2432 | 1203433.5753 | 2674948.7934 | 1203442.659
27 | 2674960.766 | 1203407.7426 | 2674970.6074 | 1203420.8853 | 2675004.2573 | 1203455.9405
28 | 2674942.1622 | 1203402.6089 | 2674938.7634 | 1203401.671
29 | 2674945.8529 | 1203448.6614 | 2674948.7934 | 1203442.659
30 | 2675004.2573 | 1203455.9405 | 2674991.066 | 1203471.3398
31 | 2675004.2573 | 1203455.9405 | 2675011.9912 | 1203463.9958
32 | 2674855.0544 | 1203374.909 | 2674881.6879 | 1203384.6772
33 | 2674895.3836 | 1203389.7003 | 2674881.6879 | 1203384.6772
34 | 2674855.0544 | 1203374.909 | 2674850.5564 | 1203373.2592
35 | 2674895.3836 | 1203389.7003 | 2674898.6489 | 1203372.7291
36 | 2674895.3836 | 1203389.7003 | 2674914.9088 | 1203395.0883
37 | 2674895.3836 | 1203389.7003 | 2674886.4493 | 1203427.7964
38 | 2674825.6741 | 1203364.1333 | 2674850.5564 | 1203373.2592
39 | 2674901.2234 | 1203359.3478 | 2674898.6489 | 1203372.7291
40 | 2674918.7219 | 1203396.1405 | 2674914.9088 | 1203395.0883
41 | 2674885.8117 | 1203430.5154 | 2674886.4493 | 1203427.7964
42 | 2674825.6741 | 1203364.1333 | 2674833.7881 | 1203327.6989
43 | 2674904.004 | 1203344.8957 | 2674901.2234 | 1203359.3478
44 | 2674918.7219 | 1203396.1405 | 2674938.7634 | 1203401.671
45 | 2674883.8953 | 1203438.6867 | 2674885.8117 | 1203430.5154
46 | 2674839.4487 | 1203302.2809 | 2674833.7881 | 1203327.6989
47 | 2674904.004 | 1203344.8957 | 2674905.4207 | 1203337.5322
48 | 2674907.9527 | 1203324.3721 | 2674905.4207 | 1203337.5322
49 | 2674907.9527 | 1203324.3721 | 2674909.2151 | 1203317.8106
50 | 2674989.485 | 1203476.1342 | 2674989.8315 | 1203472.781 | 2674991.066 | 1203471.3398

## bus_geodata
| x | y | coords
0 | 2674935.5712 | 1203524.6248
1 | 2674903.6236 | 1203511.7126
2 | 2674888.1452 | 1203526.8007
3 | 2674928.7859 | 1203487.5909
4 | 2674887.1961 | 1203469.2003
5 | 2674930.997 | 1203481.7817
6 | 2674831.1242 | 1203442.3836
7 | 2674943.8701 | 1203486.8041
8 | 2674934.5872 | 1203472.363
9 | 2674947.8722 | 1203290.2289
10 | 2674944.0623 | 1203288.8596
11 | 2674958.1952 | 1203295.5074
12 | 2674916.4263 | 1203280.3297
13 | 2674957.9508 | 1203331.019
14 | 2674966.5846 | 1203297.7996
15 | 2674913.5252 | 1203295.4086
16 | 2674958.8253 | 1203344.87
17 | 2674986.5536 | 1203303.2557
18 | 2674912.936 | 1203298.4707
19 | 2674960.5855 | 1203367.571
20 | 2674993.1888 | 1203305.0687
21 | 2674960.6257 | 1203368.9838
22 | 2675010.4701 | 1203307.86
23 | 2675031.3072 | 1203272.0043
24 | 2674960.766 | 1203407.7426
25 | 2674942.1622 | 1203402.6089
26 | 2674948.7934 | 1203442.659
27 | 2675004.2573 | 1203455.9405
28 | 2674881.6879 | 1203384.6772
29 | 2674855.0544 | 1203374.909
30 | 2674895.3836 | 1203389.7003
31 | 2674850.5564 | 1203373.2592
32 | 2674898.6489 | 1203372.7291
33 | 2674914.9088 | 1203395.0883
34 | 2674886.4493 | 1203427.7964
35 | 2674825.6741 | 1203364.1333
36 | 2674901.2234 | 1203359.3478
37 | 2674918.7219 | 1203396.1405
38 | 2674885.8117 | 1203430.5154
39 | 2674833.7881 | 1203327.6989
40 | 2674904.004 | 1203344.8957
41 | 2674938.7634 | 1203401.671
42 | 2674883.8953 | 1203438.6867
43 | 2674905.4207 | 1203337.5322
44 | 2674907.9527 | 1203324.3721
45 | 2674839.4487 | 1203302.2809
46 | 2674945.8529 | 1203448.6614
47 | 2674955.2903 | 1203488.7241
48 | 2675011.9912 | 1203463.9958
49 | 2674991.066 | 1203471.3398
50 | 2674989.485 | 1203476.1342
51 | 2674909.2151 | 1203317.8106
52 | 2674895.3836 | 1203389.7003

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99184 | -0.05723 | 0.004516 | 0.0011318
1 | 0.99207 | -0.055651 | 0 | 0
2 | 0.99197 | -0.056368 | 0.0032721 | 0.00082008
3 | 0.99255 | -0.052247 | 0 | 0
4 | 0.99224 | -0.054449 | 0.0015323 | 0.00038404
5 | 0.99266 | -0.051455 | 0 | 0
6 | 0.99195 | -0.056495 | 0.0032392 | 0.00081182
7 | 0.99252 | -0.052483 | 0.0030583 | 0.00076647
8 | 0.99295 | -0.049421 | 0.0033686 | 0.00084426
9 | 0.98184 | -0.1272 | 0.0038751 | 0.00097118
10 | 0.98223 | -0.12443 | 0.0042076 | 0.0010545
11 | 0.98079 | -0.13472 | 0 | 0
12 | 0.98518 | -0.10348 | 0 | 0
13 | 0.97926 | -0.14561 | 0.010594 | 0.0026552
14 | 0.98037 | -0.13766 | 0.0093785 | 0.0023505
15 | 0.98675 | -0.092417 | 0.003804 | 0.00095337
16 | 0.97888 | -0.14834 | 0.010879 | 0.0027266
17 | 0.97967 | -0.14266 | 0.007616 | 0.0019088
18 | 0.98709 | -0.090052 | 0.0046645 | 0.001169
19 | 0.97861 | -0.15024 | 0 | 0
20 | 0.97952 | -0.14378 | 0.010835 | 0.0027155
21 | 0.9786 | -0.15036 | 0.0080105 | 0.0020076
22 | 0.97939 | -0.14466 | 0 | 0
23 | 0.9791 | -0.14673 | 0.0047835 | 0.0011989
24 | 0.99632 | -0.02573 | 0 | 0
25 | 0.99776 | -0.015646 | 0.0032795 | 0.00082192
26 | 0.99412 | -0.041191 | 0.010543 | 0.0026424
27 | 0.99528 | -0.033071 | 0 | 0
28 | 0.99699 | -0.020899 | 0.005465 | 0.0013697
29 | 0.99624 | -0.026155 | 0.0039618 | 0.00099292
30 | 0.99749 | -0.0174 | 0 | 0
31 | 0.99614 | -0.026852 | 0.0058882 | 0.0014757
32 | 0.99607 | -0.027214 | 0.0042868 | 0.0010744
33 | 0.99958 | -0.0029208 | 0.0050705 | 0.0012708
34 | 0.99716 | -0.019699 | 0.0016792 | 0.00042086
35 | 0.99582 | -0.029141 | 0 | 0
36 | 0.995 | -0.034677 | 0.0073226 | 0.0018352
37 | 1 | 0 | -0.21669 | -0.054392
38 | 0.99714 | -0.019816 | 0.0028215 | 0.00070714
39 | 0.99536 | -0.032365 | 0.0035966 | 0.0009014
40 | 0.99284 | -0.049762 | 0.0086517 | 0.0021683
41 | 0.99804 | -0.013691 | 0.010526 | 0.002638
42 | 0.99713 | -0.01993 | 0.0013526 | 0.00033899
43 | 0.99183 | -0.056814 | 0.0062667 | 0.0015706
44 | 0.99014 | -0.068599 | 0.0040017 | 0.0010029
45 | 0.99517 | -0.033672 | 0.0049791 | 0.0012479
46 | 0.99383 | -0.043234 | 0.00696 | 0.0017444
47 | 0.99244 | -0.053042 | 0.0042874 | 0.0010745
48 | 0.99524 | -0.033315 | 0.0021657 | 0.00054278
49 | 0.99501 | -0.034923 | 0.0058356 | 0.0014625
50 | 0.99499 | -0.035094 | 0.0032248 | 0.00080822
51 | 0.98934 | -0.074218 | 0.0038554 | 0.00096627
52 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.004516 | -0.0011318 | 0.004517 | 0.0011317 | 9.8703e-07 | -6.5228e-08 | 0.0067751 | 0.006775 | 0.0067751 | 0.99184 | -0.05723 | 0.99207 | -0.055651 | 2.5093
1 | 0.0032725 | 0.00081992 | -0.0032721 | -0.00082008 | 3.2498e-07 | -1.541e-07 | 0.0049083 | 0.0049084 | 0.0049084 | 0.99207 | -0.055651 | 0.99197 | -0.056368 | 1.8179
2 | -0.0077894 | -0.0019517 | 0.0077931 | 0.0019525 | 3.6695e-06 | 8.548e-07 | 0.011683 | 0.011683 | 0.011683 | 0.99207 | -0.055651 | 0.99255 | -0.052247 | 4.3271
3 | 0.0047739 | 0.0011954 | -0.0047725 | -0.0011954 | 1.4534e-06 | -2.8559e-08 | 0.0071566 | 0.0071568 | 0.0071568 | 0.99255 | -0.052247 | 0.99224 | -0.054449 | 2.6507
4 | -0.012567 | -0.0031479 | 0.012568 | 0.0031484 | 1.3765e-06 | 4.4908e-07 | 0.01884 | 0.01884 | 0.01884 | 0.99255 | -0.052247 | 0.99266 | -0.051455 | 6.9777
5 | 0.0032401 | 0.00081137 | -0.0032392 | -0.00081182 | 9.1682e-07 | -4.5095e-07 | 0.0048588 | 0.0048591 | 0.0048591 | 0.99224 | -0.054449 | 0.99195 | -0.056495 | 1.7997
6 | 0.0073471 | 0.0018412 | -0.007346 | -0.001841 | 1.0459e-06 | 2.2364e-07 | 0.011013 | 0.011013 | 0.011013 | 0.99266 | -0.051455 | 0.99252 | -0.052483 | 4.079
7 | -0.019915 | -0.0049895 | 0.019921 | 0.0049916 | 5.6054e-06 | 2.0256e-06 | 0.029853 | 0.029853 | 0.029853 | 0.99266 | -0.051455 | 0.99295 | -0.049421 | 11.0567
8 | 0.0042878 | 0.0010745 | -0.0042874 | -0.0010745 | 3.3159e-07 | -3.8642e-08 | 0.0064283 | 0.0064284 | 0.0064284 | 0.99252 | -0.052483 | 0.99244 | -0.053042 | 2.3809
9 | -0.02329 | -0.0058358 | 0.02331 | 0.0058432 | 1.9956e-05 | 7.3355e-06 | 0.034901 | 0.034901 | 0.034901 | 0.99295 | -0.049421 | 0.99383 | -0.043234 | 12.9263
10 | -0.066125 | -0.016591 | 0.066151 | 0.0166 | 2.5375e-05 | 9.7085e-06 | 0.10022 | 0.10022 | 0.10022 | 0.98184 | -0.1272 | 0.98223 | -0.12443 | 37.1191
11 | 0.06225 | 0.01562 | -0.062185 | -0.015595 | 6.4859e-05 | 2.4798e-05 | 0.094349 | 0.094349 | 0.094349 | 0.98184 | -0.1272 | 0.98079 | -0.13472 | 34.9441
12 | -0.070358 | -0.017655 | 0.070563 | 0.017733 | 0.00020517 | 7.8544e-05 | 0.1066 | 0.1066 | 0.1066 | 0.98223 | -0.12443 | 0.98518 | -0.10348 | 39.48
13 | 0.029538 | 0.0074093 | -0.029494 | -0.0073926 | 4.457e-05 | 1.6694e-05 | 0.044817 | 0.044817 | 0.044817 | 0.98079 | -0.13472 | 0.97926 | -0.14561 | 16.5989
14 | 0.032647 | 0.0081854 | -0.032634 | -0.0081804 | 1.3314e-05 | 5.0112e-06 | 0.049532 | 0.049532 | 0.049532 | 0.98079 | -0.13472 | 0.98037 | -0.13766 | 18.3452
15 | -0.070563 | -0.017733 | 0.070672 | 0.017775 | 0.00010887 | 4.1679e-05 | 0.1066 | 0.1066 | 0.1066 | 0.98518 | -0.10348 | 0.98675 | -0.092417 | 39.4799
16 | 0.018899 | 0.0047374 | -0.018892 | -0.0047348 | 7.1425e-06 | 2.5726e-06 | 0.028718 | 0.028719 | 0.028719 | 0.97926 | -0.14561 | 0.97888 | -0.14834 | 10.6365
17 | 0.023255 | 0.0058299 | -0.023239 | -0.005824 | 1.6094e-05 | 5.9291e-06 | 0.035297 | 0.035297 | 0.035297 | 0.98037 | -0.13766 | 0.97967 | -0.14266 | 13.0731
18 | -0.074476 | -0.018729 | 0.074501 | 0.018738 | 2.4553e-05 | 9.4037e-06 | 0.11233 | 0.11233 | 0.11233 | 0.98675 | -0.092417 | 0.98709 | -0.090052 | 41.6045
19 | 0.0080127 | 0.0020082 | -0.0080106 | -0.0020077 | 2.1081e-06 | 5.2462e-07 | 0.01218 | 0.01218 | 0.01218 | 0.97888 | -0.14834 | 0.97861 | -0.15024 | 4.5113
20 | 0.015623 | 0.0039152 | -0.015621 | -0.0039144 | 2.4169e-06 | 8.4297e-07 | 0.023729 | 0.02373 | 0.02373 | 0.97967 | -0.14266 | 0.97952 | -0.14378 | 8.7887
21 | -0.079165 | -0.019907 | 0.07934 | 0.019974 | 0.0001751 | 6.7092e-05 | 0.11936 | 0.11936 | 0.11936 | 0.98709 | -0.090052 | 0.98934 | -0.074218 | 44.2088
22 | 0.0080106 | 0.0020077 | -0.0080105 | -0.0020076 | 1.3085e-07 | 3.2569e-08 | 0.01218 | 0.01218 | 0.01218 | 0.97861 | -0.15024 | 0.9786 | -0.15036 | 4.5113
23 | 0.0047855 | 0.0011989 | -0.0047849 | -0.0011989 | 5.8421e-07 | 1.7315e-09 | 0.0072696 | 0.0072697 | 0.0072697 | 0.97952 | -0.14378 | 0.97939 | -0.14466 | 2.6925
24 | 0.0047849 | 0.0011989 | -0.0047835 | -0.0011989 | 1.3676e-06 | 4.2923e-09 | 0.0072697 | 0.0072699 | 0.0072699 | 0.97939 | -0.14466 | 0.9791 | -0.14673 | 2.6926
25 | -0.052149 | -0.013084 | 0.052222 | 0.013112 | 7.3061e-05 | 2.7849e-05 | 0.07789 | 0.07789 | 0.07789 | 0.99632 | -0.02573 | 0.99776 | -0.015646 | 28.8483
26 | 0.040909 | 0.010266 | -0.040822 | -0.010233 | 8.76e-05 | 3.3204e-05 | 0.061103 | 0.061103 | 0.061103 | 0.99632 | -0.02573 | 0.99412 | -0.041191 | 22.6308
27 | 0.01124 | 0.0028175 | -0.011229 | -0.002814 | 1.1419e-05 | 3.547e-06 | 0.016787 | 0.016788 | 0.016788 | 0.99632 | -0.02573 | 0.99528 | -0.033071 | 6.2176
28 | -0.055502 | -0.013934 | 0.055517 | 0.013939 | 1.5077e-05 | 5.7527e-06 | 0.082781 | 0.082781 | 0.082781 | 0.99776 | -0.015646 | 0.99804 | -0.013691 | 30.6597
29 | 0.030278 | 0.0075907 | -0.03027 | -0.0075875 | 8.5671e-06 | 3.2084e-06 | 0.045322 | 0.045322 | 0.045322 | 0.99412 | -0.041191 | 0.99383 | -0.043234 | 16.7859
30 | 0.0090628 | 0.0022713 | -0.0090605 | -0.0022707 | 2.323e-06 | 6.3e-07 | 0.01355 | 0.01355 | 0.01355 | 0.99528 | -0.033071 | 0.99501 | -0.034923 | 5.0184
31 | 0.0021658 | 0.00054266 | -0.0021657 | -0.00054278 | 7.3058e-08 | -1.1702e-07 | 0.003238 | 0.003238 | 0.003238 | 0.99528 | -0.033071 | 0.99524 | -0.033315 | 1.1993
32 | 0.018448 | 0.0046249 | -0.018435 | -0.0046201 | 1.342e-05 | 4.7921e-06 | 0.027534 | 0.027534 | 0.027534 | 0.99699 | -0.020899 | 0.99624 | -0.026155 | 10.1979
33 | -0.023913 | -0.0059945 | 0.023925 | 0.0059988 | 1.1595e-05 | 4.2695e-06 | 0.035691 | 0.035691 | 0.035691 | 0.99699 | -0.020899 | 0.99749 | -0.0174 | 13.2188
34 | 0.014473 | 0.0036272 | -0.014471 | -0.0036267 | 1.397e-06 | 4.7494e-07 | 0.021617 | 0.021617 | 0.021617 | 0.99624 | -0.026155 | 0.99614 | -0.026852 | 8.0063
35 | 0.11452 | 0.028895 | -0.11436 | -0.028834 | 0.00015749 | 6.0121e-05 | 0.1709 | 0.1709 | 0.1709 | 0.99749 | -0.0174 | 0.99607 | -0.027214 | 31.6481
36 | -0.1443 | -0.03636 | 0.14459 | 0.036473 | 0.000293 | 0.00011216 | 0.21532 | 0.21532 | 0.21532 | 0.99749 | -0.0174 | 0.99958 | -0.0029208 | 39.8749
37 | 0.0058553 | 0.0014671 | -0.0058534 | -0.0014669 | 1.8629e-06 | 2.0588e-07 | 0.0087346 | 0.0087347 | 0.0087347 | 0.99749 | -0.0174 | 0.99716 | -0.019699 | 3.2351
38 | 0.0085832 | 0.002151 | -0.0085804 | -0.0021503 | 2.7186e-06 | 7.0071e-07 | 0.012821 | 0.012821 | 0.012821 | 0.99614 | -0.026852 | 0.99582 | -0.029141 | 4.7487
39 | 0.11007 | 0.02776 | -0.10996 | -0.027716 | 0.00011504 | 4.3892e-05 | 0.1645 | 0.1645 | 0.1645 | 0.99607 | -0.027214 | 0.995 | -0.034677 | 30.4622
40 | -0.14966 | -0.037743 | 0.14972 | 0.037767 | 6.1303e-05 | 2.3474e-05 | 0.22287 | 0.22287 | 0.22287 | 0.99958 | -0.0029208 | 1 | 0 | 41.2727
41 | 0.0041742 | 0.001046 | -0.0041741 | -0.001046 | 6.7616e-08 | -1.0425e-08 | 0.0062289 | 0.0062289 | 0.0062289 | 0.99716 | -0.019699 | 0.99714 | -0.019816 | 2.307
42 | 0.0085804 | 0.0021503 | -0.0085766 | -0.0021493 | 3.829e-06 | 9.873e-07 | 0.012821 | 0.012822 | 0.012822 | 0.99582 | -0.029141 | 0.99536 | -0.032365 | 4.7487
43 | 0.10263 | 0.025881 | -0.10242 | -0.025798 | 0.00021651 | 8.3082e-05 | 0.15354 | 0.15354 | 0.15354 | 0.995 | -0.034677 | 0.99284 | -0.049762 | 56.8685
44 | 0.066168 | 0.016626 | -0.066043 | -0.016577 | 0.00012581 | 4.8114e-05 | 0.098474 | 0.098475 | 0.098475 | 1 | 0 | 0.99804 | -0.013691 | 36.4721
45 | 0.0013526 | 0.00033889 | -0.0013526 | -0.00033899 | 2.1337e-08 | -1.0127e-07 | 0.0020184 | 0.0020185 | 0.0020185 | 0.99714 | -0.019816 | 0.99713 | -0.01993 | 0.74757
46 | 0.00498 | 0.0012479 | -0.0049791 | -0.0012479 | 9.0063e-07 | 7.9878e-09 | 0.0074448 | 0.0074449 | 0.0074449 | 0.99536 | -0.032365 | 0.99517 | -0.033672 | 2.7574
47 | 0.093766 | 0.02363 | -0.093673 | -0.023594 | 9.2468e-05 | 3.5468e-05 | 0.14058 | 0.14058 | 0.14058 | 0.99284 | -0.049762 | 0.99183 | -0.056814 | 52.0659
48 | 0.087407 | 0.022023 | -0.087263 | -0.021968 | 0.0001439 | 5.5172e-05 | 0.13118 | 0.13118 | 0.13118 | 0.99183 | -0.056814 | 0.99014 | -0.068599 | 48.5838
49 | 0.083261 | 0.020965 | -0.083196 | -0.02094 | 6.5317e-05 | 2.5036e-05 | 0.12516 | 0.12516 | 0.12516 | 0.99014 | -0.068599 | 0.98934 | -0.074218 | 46.3565
50 | 0.0032249 | 0.00080818 | -0.0032248 | -0.00080822 | 7.6467e-08 | -3.9022e-08 | 0.0048227 | 0.0048228 | 0.0048228 | 0.99501 | -0.034923 | 0.99499 | -0.035094 | 1.7862

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22366 | 0.05614

## res_load
| p_mw | q_mvar
0 | 0.004516 | 0.0011318
1 | 0.0032721 | 0.00082008
2 | 0.0015323 | 0.00038404
3 | 0.0032392 | 0.00081182
4 | 0.0030583 | 0.00076647
5 | 0.0033686 | 0.00084426
6 | 0.0038751 | 0.00097118
7 | 0.0042076 | 0.0010545
8 | 0.010594 | 0.0026552
9 | 0.0093785 | 0.0023505
10 | 0.003804 | 0.00095337
11 | 0.010879 | 0.0027266
12 | 0.007616 | 0.0019088
13 | 0.0046645 | 0.001169
14 | 0.010835 | 0.0027155
15 | 0.0080105 | 0.0020076
16 | 0.0047835 | 0.0011989
17 | 0.0032795 | 0.00082192
18 | 0.010543 | 0.0026424
19 | 0.005465 | 0.0013697
20 | 0.0039618 | 0.00099292
21 | 0.0058882 | 0.0014757
22 | 0.0042868 | 0.0010744
23 | 0.0050705 | 0.0012708
24 | 0.0016792 | 0.00042086
25 | 0.0073226 | 0.0018352
26 | 0.0069743 | 0.0017479
27 | 0.0028215 | 0.00070714
28 | 0.0035966 | 0.0009014
29 | 0.0086517 | 0.0021683
30 | 0.010526 | 0.002638
31 | 0.0013526 | 0.00033899
32 | 0.0062667 | 0.0015706
33 | 0.0040017 | 0.0010029
34 | 0.0049791 | 0.0012479
35 | 0.00696 | 0.0017444
36 | 0.0042874 | 0.0010745
37 | 0.0021657 | 0.00054278
38 | 0.0058356 | 0.0014625
39 | 0.0032248 | 0.00080822
40 | 0.0038554 | 0.00096627

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1