## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1502-2_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1502-2_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1502-2_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1502-2_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1502-2_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1502-2_0_2_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1502-2_0_2_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1502-2_0_2_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_1502-2_0_2_node_19 | 0.4 | n |  | TRUE
9 | bus_LV_1502-2_0_2_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1502-2_0_2_node_20 | 0.4 | n |  | TRUE
11 | bus_LV_1502-2_0_2_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_1502-2_0_2_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_1502-2_0_2_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_1502-2_0_2_node_12 | 0.4 | n |  | TRUE
15 | bus_LV_1502-2_0_2_node_21 | 0.4 | n |  | TRUE
16 | bus_LV_1502-2_0_2_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1502-2_0_2_node_25 | 0.4 | n |  | TRUE
18 | bus_LV_1502-2_0_2_node_6 | 0.4 | n |  | TRUE
19 | bus_LV_1502-2_0_2_node_7 | 0.4 | n |  | TRUE
20 | bus_LV_1502-2_0_2_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_1502-2_0_2_node_22 | 0.4 | n |  | TRUE
22 | bus_LV_1502-2_0_2_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_1502-2_0_2_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1502-2_0_2_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1502-2_0_2_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1502-2_0_2_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_1502-2_0_2_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_1502-2_0_2_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_1502-2_0_2_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1502-2_0_2_node_27 | 0.4 | n |  | TRUE
31 | bus_LV_1502-2_0_2_node_33 | 0.4 | n |  | TRUE
32 | bus_LV_1502-2_0_2_node_34 | 0.4 | n |  | TRUE
33 | bus_LV_1502-2_0_2_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1502-2_0_2_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_1502-2_0_2_node_35 | 0.4 | n |  | TRUE
36 | bus_MV_142_1_node_121 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1502-2_0_2_load_0 | 0 | 0.0047822 | 0.0011985 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1502-2_0_2_load_1 | 1 | 0.0022388 | 0.00056109 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1502-2_0_2_load_2 | 2 | 0.0029932 | 0.00075018 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1502-2_0_2_load_3 | 3 | 0.002508 | 0.00062857 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1502-2_0_2_load_4 | 4 | 0.0048569 | 0.0012173 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1502-2_0_2_load_9 | 5 | 0.008753 | 0.0021937 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1502-2_0_2_load_10 | 6 | 0.011863 | 0.0029732 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1502-2_0_2_load_11 | 7 | 0.0079444 | 0.0019911 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1502-2_0_2_load_5 | 9 | 0.0022632 | 0.00056721 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1502-2_0_2_load_20 | 10 | 0.0033647 | 0.00084326 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1502-2_0_2_load_17 | 11 | 0.0027371 | 0.00068598 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1502-2_0_2_load_18 | 12 | 0.0056736 | 0.0014219 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1502-2_0_2_load_13 | 13 | 0.0017301 | 0.00043361 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1502-2_0_2_load_12 | 14 | 0.0070305 | 0.001762 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1502-2_0_2_load_21 | 15 | 0.0033295 | 0.00083445 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1502-2_0_2_load_8 | 16 | 0.0023918 | 0.00059944 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1502-2_0_2_load_25 | 17 | 0.0049796 | 0.001248 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1502-2_0_2_load_6 | 18 | 0.0039068 | 0.00097915 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1502-2_0_2_load_7 | 19 | 0.0029216 | 0.00073222 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1502-2_0_2_load_22 | 21 | 0.019289 | 0.0048344 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1502-2_0_2_load_24 | 22 | 0.011068 | 0.002774 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1502-2_0_2_load_14 | 23 | 0.0028765 | 0.00072092 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1502-2_0_2_load_15 | 24 | 0.0024166 | 0.00060565 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1502-2_0_2_load_28 | 26 | 0.0053605 | 0.0013435 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1502-2_0_2_load_29 | 27 | 0.0024568 | 0.00061573 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1502-2_0_2_load_30 | 28 | 0.0016015 | 0.00040137 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1502-2_0_2_load_27 | 30 | 0.0021033 | 0.00052714 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1502-2_0_2_load_33 | 31 | 0.0017028 | 0.00042675 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1502-2_0_2_load_34 | 32 | 0.003895 | 0.00097619 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1502-2_0_2_load_31 | 33 | 0.0012444 | 0.00031188 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1502-2_0_2_load_32 | 34 | 0.0026586 | 0.00066632 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1502-2_0_2_load_35 | 35 | 0.0018614 | 0.0004665 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 9 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1502-2_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.037454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1502-2_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.019567 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1502-2_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.00080991 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1502-2_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.014751 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1502-2_0_2_line_4 | NAYY 4x150 SE | 3 | 9 | 0.010272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1502-2_0_2_line_5 | NAYY 4x150 SE | 4 | 10 | 0.0094808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1502-2_0_2_line_6 | NAYY 4x150 SE | 5 | 6 | 0.0066739 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1502-2_0_2_line_7 | NAYY 4x150 SE | 5 | 7 | 0.035662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1502-2_0_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.046779 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1502-2_0_2_line_9 | NAYY 4x150 SE | 7 | 14 | 0.0054931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1502-2_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.021956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1502-2_0_2_line_11 | NAYY 4x150 SE | 9 | 13 | 0.00082979 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1502-2_0_2_line_12 | NAYY 4x150 SE | 10 | 15 | 0.0038978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1502-2_0_2_line_13 | NAYY 4x150 SE | 11 | 12 | 0.031977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1502-2_0_2_line_14 | NAYY 4x150 SE | 13 | 16 | 0.0099066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1502-2_0_2_line_15 | NAYY 4x150 SE | 14 | 17 | 0.020143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1502-2_0_2_line_16 | NAYY 4x150 SE | 15 | 29 | 0.066961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1502-2_0_2_line_17 | NAYY 4x150 SE | 16 | 19 | 0.029624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1502-2_0_2_line_18 | NAYY 4x150 SE | 17 | 22 | 0.022809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1502-2_0_2_line_19 | NAYY 4x150 SE | 18 | 19 | 0.011239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1502-2_0_2_line_20 | NAYY 4x150 SE | 19 | 20 | 0.040043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1502-2_0_2_line_21 | NAYY 4x150 SE | 20 | 22 | 0.019115 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1502-2_0_2_line_22 | NAYY 4x150 SE | 20 | 21 | 0.038825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1502-2_0_2_line_23 | NAYY 4x150 SE | 23 | 24 | 0.028732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1502-2_0_2_line_24 | NAYY 4x150 SE | 23 | 25 | 0.0085435 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1502-2_0_2_line_25 | NAYY 4x150 SE | 24 | 26 | 0.15711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1502-2_0_2_line_26 | NAYY 4x150 SE | 25 | 27 | 0.094696 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1502-2_0_2_line_27 | NAYY 4x150 SE | 27 | 28 | 0.018014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1502-2_0_2_line_28 | NAYY 4x150 SE | 28 | 33 | 0.012392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1502-2_0_2_line_29 | NAYY 4x150 SE | 29 | 30 | 0.045175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1502-2_0_2_line_30 | NAYY 4x150 SE | 30 | 31 | 0.016846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1502-2_0_2_line_31 | NAYY 4x150 SE | 31 | 32 | 0.018213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1502-2_0_2_line_32 | NAYY 4x150 SE | 32 | 35 | 0.023599 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1502-2_0_2_line_33 | NAYY 4x150 SE | 33 | 34 | 0.017876 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1502-2_0_2_line_34 | NAYY 4x150 SE | 34 | 35 | 0.023775 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1502-2_0_2_trafo_5 | 0.25 MVA 20/0.4 kV | 36 | 9 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2676505.8677 | 1202846.6654 | 2676519.9839 | 1202835.4079 | 2676538.8461 | 1202830.8797
1 | 2676505.8677 | 1202846.6654 | 2676500.8158 | 1202850.6942 | 2676491.3935 | 1202853.731 | 2676488.3144 | 1202852.8398
2 | 2676539.6337 | 1202830.6906 | 2676538.8461 | 1202830.8797
3 | 2676488.3144 | 1202852.8398 | 2676481.1046 | 1202850.753 | 2676474.0041 | 1202852.1931
4 | 2676539.6337 | 1202830.6906 | 2676549.622 | 1202828.2927
5 | 2676465.6219 | 1202856.06 | 2676469.4001 | 1202853.1269 | 2676474.0041 | 1202852.1931
6 | 2676532.6851 | 1202925.2794 | 2676527.6096 | 1202929.6131
7 | 2676559.8059 | 1202902.122 | 2676532.6851 | 1202925.2794
8 | 2676527.6096 | 1202929.6131 | 2676524.6699 | 1202976.3
9 | 2676563.9834 | 1202898.5551 | 2676559.8059 | 1202902.122
10 | 2676524.6699 | 1202976.3 | 2676505.6463 | 1202987.2625
11 | 2676550.4288 | 1202828.099 | 2676549.622 | 1202828.2927
12 | 2676462.543 | 1202858.4503 | 2676465.6219 | 1202856.06
13 | 2676476.8487 | 1203001.1509 | 2676504.1539 | 1202988.1224 | 2676505.6463 | 1202987.2625
14 | 2676560.091 | 1202825.9122 | 2676550.8471 | 1202827.9986 | 2676550.4288 | 1202828.099
15 | 2676563.9834 | 1202898.5551 | 2676579.3017 | 1202885.4753
16 | 2676414.3585 | 1202836.8348 | 2676420.6101 | 1202846.6653 | 2676430.011 | 1202858.971 | 2676440.1714 | 1202869.0183 | 2676450.387 | 1202867.6148 | 2676458.3545 | 1202861.702 | 2676462.543 | 1202858.4503
17 | 2676585.426 | 1202814.7504 | 2676571.1368 | 1202818.4415 | 2676568.6991 | 1202823.9693 | 2676560.091 | 1202825.9122
18 | 2676579.3017 | 1202885.4753 | 2676587.8052 | 1202878.2146 | 2676595.9999 | 1202871.8045 | 2676596.6243 | 1202870.7528
19 | 2676585.426 | 1202814.7504 | 2676596.3079 | 1202811.9395
20 | 2676585.426 | 1202814.7504 | 2676597.788 | 1202852.8379
21 | 2676597.788 | 1202852.8379 | 2676600.1535 | 1202864.809 | 2676596.6243 | 1202870.7528
22 | 2676597.788 | 1202852.8379 | 2676634.508 | 1202840.2273
23 | 2676584.5275 | 1202676.269 | 2676579.6281 | 1202676.74 | 2676563.3078 | 1202679.9884 | 2676556.497 | 1202682.2296
24 | 2676548.3816 | 1202684.9002 | 2676556.497 | 1202682.2296
25 | 2676584.5275 | 1202676.269 | 2676575.3608 | 1202519.4219
26 | 2676578.7956 | 1202774.5792 | 2676548.3816 | 1202684.9002
27 | 2676578.7956 | 1202774.5792 | 2676561.6749 | 1202780.1806
28 | 2676561.6749 | 1202780.1806 | 2676549.897 | 1202784.034
29 | 2676414.3585 | 1202836.8348 | 2676456.0658 | 1202819.4765
30 | 2676456.0658 | 1202819.4765 | 2676461.3969 | 1202817.2577 | 2676471.7569 | 1202813.352
31 | 2676471.7569 | 1202813.352 | 2676488.7988 | 1202806.9273
32 | 2676488.7988 | 1202806.9273 | 2676510.8804 | 1202798.6026
33 | 2676533.1268 | 1202790.2157 | 2676547.0762 | 1202784.9568 | 2676549.897 | 1202784.034
34 | 2676510.8804 | 1202798.6026 | 2676533.1268 | 1202790.2157

## bus_geodata
| x | y | coords
0 | 2676505.8677 | 1202846.6654
1 | 2676538.8461 | 1202830.8797
2 | 2676488.3144 | 1202852.8398
3 | 2676539.6337 | 1202830.6906
4 | 2676474.0041 | 1202852.1931
5 | 2676532.6851 | 1202925.2794
6 | 2676527.6096 | 1202929.6131
7 | 2676559.8059 | 1202902.122
8 | 2676524.6699 | 1202976.3
9 | 2676549.622 | 1202828.2927
10 | 2676465.6219 | 1202856.06
11 | 2676505.6463 | 1202987.2625
12 | 2676476.8487 | 1203001.1509
13 | 2676550.4288 | 1202828.099
14 | 2676563.9834 | 1202898.5551
15 | 2676462.543 | 1202858.4503
16 | 2676560.091 | 1202825.9122
17 | 2676579.3017 | 1202885.4753
18 | 2676596.3079 | 1202811.9395
19 | 2676585.426 | 1202814.7504
20 | 2676597.788 | 1202852.8379
21 | 2676634.508 | 1202840.2273
22 | 2676596.6243 | 1202870.7528
23 | 2676556.497 | 1202682.2296
24 | 2676584.5275 | 1202676.269
25 | 2676548.3816 | 1202684.9002
26 | 2676575.3608 | 1202519.4219
27 | 2676578.7956 | 1202774.5792
28 | 2676561.6749 | 1202780.1806
29 | 2676414.3585 | 1202836.8348
30 | 2676456.0658 | 1202819.4765
31 | 2676471.7569 | 1202813.352
32 | 2676488.7988 | 1202806.9273
33 | 2676549.897 | 1202784.034
34 | 2676533.1268 | 1202790.2157
35 | 2676510.8804 | 1202798.6026
36 | 2676612.2237 | 1202807.8282

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99661 | -0.023624 | 0.0047822 | 0.0011985
1 | 0.99917 | -0.0057701 | 0.0022388 | 0.00056109
2 | 0.9954 | -0.032044 | 0.0029932 | 0.00075018
3 | 0.99923 | -0.0053669 | 0.002508 | 0.00062857
4 | 0.99456 | -0.03796 | 0.0048569 | 0.0012173
5 | 0.98399 | -0.11233 | 0.008753 | 0.0021937
6 | 0.98379 | -0.11373 | 0.011863 | 0.0029732
7 | 0.98549 | -0.10167 | 0.0079444 | 0.0019911
8 | 0.98322 | -0.11779 | 0 | 0
9 | 1 | 0 | -0.14494 | -0.036327
10 | 0.99408 | -0.041302 | 0.0033647 | 0.00084326
11 | 0.98296 | -0.1197 | 0.0027371 | 0.00068598
12 | 0.98269 | -0.12157 | 0.0056736 | 0.0014219
13 | 0.99989 | -0.00074809 | 0.0017301 | 0.00043361
14 | 0.98579 | -0.099587 | 0.0070305 | 0.001762
15 | 0.9939 | -0.042545 | 0.0033295 | 0.00083445
16 | 0.99863 | -0.0095202 | 0.0023918 | 0.00059944
17 | 0.98707 | -0.090493 | 0.0049796 | 0.001248
18 | 0.99488 | -0.035613 | 0.0039068 | 0.00097915
19 | 0.99494 | -0.03517 | 0.0029216 | 0.00073222
20 | 0.99035 | -0.06736 | 0 | 0
21 | 0.98927 | -0.07499 | 0.019289 | 0.0048344
22 | 0.98869 | -0.079064 | 0.011068 | 0.002774
23 | 0.9841 | -0.11177 | 0.0028765 | 0.00072092
24 | 0.98378 | -0.11407 | 0.0024166 | 0.00060565
25 | 0.98423 | -0.11083 | 0 | 0
26 | 0.98256 | -0.12278 | 0.0053605 | 0.0013435
27 | 0.9857 | -0.10043 | 0.0024568 | 0.00061573
28 | 0.98604 | -0.097996 | 0.0016015 | 0.00040137
29 | 0.99117 | -0.061692 | 0 | 0
30 | 0.98933 | -0.074667 | 0.0021033 | 0.00052714
31 | 0.9887 | -0.079155 | 0.0017028 | 0.00042675
32 | 0.98806 | -0.083697 | 0.003895 | 0.00097619
33 | 0.9863 | -0.096121 | 0.0012444 | 0.00031188
34 | 0.98672 | -0.09319 | 0.0026586 | 0.00066632
35 | 0.98736 | -0.088649 | 0.0018614 | 0.0004665
36 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.047834 | -0.012025 | 0.047953 | 0.01207 | 0.00011925 | 4.5377e-05 | 0.071432 | 0.071432 | 0.071432 | 0.99661 | -0.023624 | 0.99917 | -0.0057701 | 26.4565
1 | 0.043051 | 0.010826 | -0.043001 | -0.010807 | 5.0469e-05 | 1.9156e-05 | 0.064292 | 0.064292 | 0.064292 | 0.99661 | -0.023624 | 0.9954 | -0.032044 | 23.812
2 | -0.050192 | -0.012631 | 0.050194 | 0.012633 | 2.8251e-06 | 1.076e-06 | 0.074766 | 0.074766 | 0.074766 | 0.99917 | -0.0057701 | 0.99923 | -0.0053669 | 27.6913
3 | 0.040008 | 0.010057 | -0.039975 | -0.010045 | 3.2935e-05 | 1.2476e-05 | 0.059818 | 0.059818 | 0.059818 | 0.9954 | -0.032044 | 0.99456 | -0.03796 | 22.1548
4 | -0.052702 | -0.013261 | 0.052742 | 0.013276 | 3.95e-05 | 1.5058e-05 | 0.078501 | 0.078501 | 0.078501 | 0.99923 | -0.0053669 | 1 | 0 | 29.0746
5 | 0.035118 | 0.0088274 | -0.035101 | -0.0088212 | 1.6338e-05 | 6.1608e-06 | 0.052551 | 0.052551 | 0.052551 | 0.99456 | -0.03796 | 0.99408 | -0.041302 | 19.4634
6 | 0.020286 | 0.0050845 | -0.020282 | -0.0050831 | 3.9193e-06 | 1.4227e-06 | 0.030677 | 0.030678 | 0.030678 | 0.98399 | -0.11233 | 0.98379 | -0.11373 | 11.362
7 | -0.029039 | -0.0072782 | 0.029082 | 0.0072943 | 4.2914e-05 | 1.6052e-05 | 0.043914 | 0.043914 | 0.043914 | 0.98399 | -0.11233 | 0.98549 | -0.10167 | 16.2644
8 | 0.0084191 | 0.0021099 | -0.0084143 | -0.0021086 | 4.7335e-06 | 1.2269e-06 | 0.012734 | 0.012734 | 0.012734 | 0.98379 | -0.11373 | 0.98322 | -0.11779 | 4.7164
9 | -0.037027 | -0.0092853 | 0.037037 | 0.0092894 | 1.0715e-05 | 4.051e-06 | 0.055909 | 0.055909 | 0.055909 | 0.98549 | -0.10167 | 0.98579 | -0.099587 | 20.7071
10 | 0.0084143 | 0.0021086 | -0.0084121 | -0.0021081 | 2.2217e-06 | 5.7612e-07 | 0.012734 | 0.012734 | 0.012734 | 0.98322 | -0.11779 | 0.98296 | -0.1197 | 4.7164
11 | 0.091398 | 0.02305 | -0.091388 | -0.023047 | 9.5843e-06 | 3.6754e-06 | 0.13605 | 0.13605 | 0.13605 | 1 | 0 | 0.99989 | -0.00074809 | 50.3895
12 | 0.031737 | 0.007978 | -0.031731 | -0.0079759 | 5.4911e-06 | 2.0614e-06 | 0.047515 | 0.047515 | 0.047515 | 0.99408 | -0.041302 | 0.9939 | -0.042545 | 17.598
13 | 0.005675 | 0.0014221 | -0.0056736 | -0.0014219 | 1.4726e-06 | 1.6118e-07 | 0.0085909 | 0.008591 | 0.008591 | 0.98296 | -0.1197 | 0.98269 | -0.12157 | 3.1819
14 | 0.089658 | 0.022613 | -0.089548 | -0.022571 | 0.00011013 | 4.2229e-05 | 0.13348 | 0.13348 | 0.13348 | 0.99989 | -0.00074809 | 0.99863 | -0.0095202 | 49.4359
15 | -0.044068 | -0.011051 | 0.044123 | 0.011073 | 5.562e-05 | 2.1135e-05 | 0.066522 | 0.066522 | 0.066522 | 0.98579 | -0.099587 | 0.98707 | -0.090493 | 24.6376
16 | 0.028402 | 0.0071415 | -0.028326 | -0.0071133 | 7.5578e-05 | 2.8203e-05 | 0.04253 | 0.04253 | 0.04253 | 0.9939 | -0.042545 | 0.99117 | -0.061692 | 15.7519
17 | 0.087156 | 0.021972 | -0.086844 | -0.021852 | 0.00031199 | 0.00011961 | 0.12991 | 0.12991 | 0.12991 | 0.99863 | -0.0095202 | 0.99494 | -0.03517 | 48.116
18 | -0.049103 | -0.012321 | 0.049181 | 0.01235 | 7.7997e-05 | 2.9707e-05 | 0.074028 | 0.074028 | 0.074028 | 0.98707 | -0.090493 | 0.98869 | -0.079064 | 27.4179
19 | -0.0039068 | -0.00097915 | 0.0039071 | 0.00097909 | 2.3947e-07 | -5.3849e-08 | 0.0058434 | 0.0058433 | 0.0058434 | 0.99488 | -0.035613 | 0.99494 | -0.03517 | 2.1642
20 | 0.080015 | 0.020141 | -0.079657 | -0.020003 | 0.00035802 | 0.00013718 | 0.1197 | 0.1197 | 0.1197 | 0.99494 | -0.03517 | 0.99035 | -0.06736 | 44.3335
21 | 0.060347 | 0.015162 | -0.060249 | -0.015124 | 9.8095e-05 | 3.7483e-05 | 0.090686 | 0.090686 | 0.090686 | 0.99035 | -0.06736 | 0.98869 | -0.079064 | 33.5876
22 | 0.01931 | 0.0048417 | -0.019289 | -0.0048344 | 2.0395e-05 | 7.3451e-06 | 0.029014 | 0.029014 | 0.029014 | 0.99035 | -0.06736 | 0.98927 | -0.07499 | 10.7461
23 | 0.007786 | 0.0019502 | -0.0077835 | -0.0019496 | 2.4848e-06 | 5.9076e-07 | 0.011772 | 0.011773 | 0.011773 | 0.9841 | -0.11177 | 0.98378 | -0.11407 | 4.3602
24 | -0.010662 | -0.0026711 | 0.010664 | 0.0026715 | 1.3856e-06 | 4.2437e-07 | 0.016122 | 0.016122 | 0.016122 | 0.9841 | -0.11177 | 0.98423 | -0.11083 | 5.9711
25 | 0.005367 | 0.001344 | -0.0053605 | -0.0013435 | 6.4606e-06 | 4.9243e-07 | 0.0081174 | 0.0081181 | 0.0081181 | 0.98378 | -0.11407 | 0.98256 | -0.12278 | 3.0067
26 | -0.010664 | -0.0026715 | 0.010679 | 0.0026762 | 1.5358e-05 | 4.7016e-06 | 0.016122 | 0.016121 | 0.016122 | 0.98423 | -0.11083 | 0.9857 | -0.10043 | 5.971
27 | -0.013136 | -0.003292 | 0.01314 | 0.0032934 | 4.4202e-06 | 1.4704e-06 | 0.01983 | 0.01983 | 0.01983 | 0.9857 | -0.10043 | 0.98604 | -0.097996 | 7.3445
28 | -0.014742 | -0.0036948 | 0.014746 | 0.0036961 | 3.8271e-06 | 1.3138e-06 | 0.022247 | 0.022247 | 0.022247 | 0.98604 | -0.097996 | 0.9863 | -0.096121 | 8.2396
29 | 0.028326 | 0.0071133 | -0.028275 | -0.0070942 | 5.099e-05 | 1.903e-05 | 0.04253 | 0.04253 | 0.04253 | 0.99117 | -0.061692 | 0.98933 | -0.074667 | 15.752
30 | 0.026172 | 0.0065671 | -0.026156 | -0.006561 | 1.6291e-05 | 6.0496e-06 | 0.039367 | 0.039367 | 0.039367 | 0.98933 | -0.074667 | 0.9887 | -0.079155 | 14.5804
31 | 0.024453 | 0.0061343 | -0.024438 | -0.0061286 | 1.5394e-05 | 5.6874e-06 | 0.036804 | 0.036804 | 0.036804 | 0.9887 | -0.079155 | 0.98806 | -0.083697 | 13.6313
32 | 0.020542 | 0.0051524 | -0.020528 | -0.0051473 | 1.4095e-05 | 5.1192e-06 | 0.030938 | 0.030939 | 0.030939 | 0.98806 | -0.083697 | 0.98736 | -0.088649 | 11.4587
33 | -0.01599 | -0.004008 | 0.015997 | 0.0040103 | 6.4916e-06 | 2.2685e-06 | 0.024124 | 0.024124 | 0.024124 | 0.9863 | -0.096121 | 0.98672 | -0.09319 | 8.9349
34 | -0.018655 | -0.0046766 | 0.018667 | 0.0046808 | 1.1742e-05 | 4.2123e-06 | 0.028133 | 0.028133 | 0.028133 | 0.98672 | -0.09319 | 0.98736 | -0.088649 | 10.4198

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.1472 | 0.036894

## res_load
| p_mw | q_mvar
0 | 0.0047822 | 0.0011985
1 | 0.0022388 | 0.00056109
2 | 0.0029932 | 0.00075018
3 | 0.002508 | 0.00062857
4 | 0.0048569 | 0.0012173
5 | 0.008753 | 0.0021937
6 | 0.011863 | 0.0029732
7 | 0.0079444 | 0.0019911
8 | 0.0022632 | 0.00056721
9 | 0.0033647 | 0.00084326
10 | 0.0027371 | 0.00068598
11 | 0.0056736 | 0.0014219
12 | 0.0017301 | 0.00043361
13 | 0.0070305 | 0.001762
14 | 0.0033295 | 0.00083445
15 | 0.0023918 | 0.00059944
16 | 0.0049796 | 0.001248
17 | 0.0039068 | 0.00097915
18 | 0.0029216 | 0.00073222
19 | 0.019289 | 0.0048344
20 | 0.011068 | 0.002774
21 | 0.0028765 | 0.00072092
22 | 0.0024166 | 0.00060565
23 | 0.0053605 | 0.0013435
24 | 0.0024568 | 0.00061573
25 | 0.0016015 | 0.00040137
26 | 0.0021033 | 0.00052714
27 | 0.0017028 | 0.00042675
28 | 0.003895 | 0.00097619
29 | 0.0012444 | 0.00031188
30 | 0.0026586 | 0.00066632
31 | 0.0018614 | 0.0004665

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1