## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1502-31_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1502-31_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1502-31_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1502-31_0_3_node_34 | 0.4 | n |  | TRUE
4 | bus_LV_1502-31_0_3_node_51 | 0.4 | n |  | TRUE
5 | bus_LV_1502-31_0_3_node_32 | 0.4 | n |  | TRUE
6 | bus_LV_1502-31_0_3_node_52 | 0.4 | n |  | TRUE
7 | bus_LV_1502-31_0_3_node_3 | 0.4 | n |  | TRUE
8 | bus_LV_1502-31_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_1502-31_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1502-31_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1502-31_0_3_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_1502-31_0_3_node_38 | 0.4 | n |  | TRUE
13 | bus_LV_1502-31_0_3_node_8 | 0.4 | n |  | TRUE
14 | bus_LV_1502-31_0_3_node_9 | 0.4 | n |  | TRUE
15 | bus_LV_1502-31_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1502-31_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1502-31_0_3_node_27 | 0.4 | n |  | TRUE
18 | bus_LV_1502-31_0_3_node_29 | 0.4 | n |  | TRUE
19 | bus_LV_1502-31_0_3_node_28 | 0.4 | n |  | TRUE
20 | bus_LV_1502-31_0_3_node_30 | 0.4 | n |  | TRUE
21 | bus_LV_1502-31_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1502-31_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1502-31_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1502-31_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1502-31_0_3_node_24 | 0.4 | n |  | TRUE
26 | bus_LV_1502-31_0_3_node_49 | 0.4 | n |  | TRUE
27 | bus_LV_1502-31_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1502-31_0_3_node_50 | 0.4 | n |  | TRUE
29 | bus_LV_1502-31_0_3_node_16 | 0.4 | n |  | TRUE
30 | bus_LV_1502-31_0_3_node_17 | 0.4 | n |  | TRUE
31 | bus_LV_1502-31_0_3_node_18 | 0.4 | n |  | TRUE
32 | bus_LV_1502-31_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1502-31_0_3_node_46 | 0.4 | n |  | TRUE
34 | bus_LV_1502-31_0_3_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_1502-31_0_3_node_21 | 0.4 | n |  | TRUE
36 | bus_LV_1502-31_0_3_node_23 | 0.4 | n |  | TRUE
37 | bus_LV_1502-31_0_3_node_36 | 0.4 | n |  | TRUE
38 | bus_LV_1502-31_0_3_node_47 | 0.4 | n |  | TRUE
39 | bus_LV_1502-31_0_3_node_48 | 0.4 | n |  | TRUE
40 | bus_LV_1502-31_0_3_node_45 | 0.4 | n |  | TRUE
41 | bus_LV_1502-31_0_3_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_1502-31_0_3_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_1502-31_0_3_node_31 | 0.4 | n |  | TRUE
44 | bus_LV_1502-31_0_3_node_40 | 0.4 | n |  | TRUE
45 | bus_LV_1502-31_0_3_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_1502-31_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_1502-31_0_3_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_1502-31_0_3_node_41 | 0.4 | n |  | TRUE
49 | bus_LV_1502-31_0_3_node_42 | 0.4 | n |  | TRUE
50 | bus_MV_142_1_node_122 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1502-31_0_3_load_0 | 0 | 0.00017186 | 4.3072e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1502-31_0_3_load_2 | 2 | 0.0074031 | 0.0018554 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1502-31_0_3_load_34 | 3 | 0.0042905 | 0.0010753 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1502-31_0_3_load_51 | 4 | 0.02002 | 0.0050175 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1502-31_0_3_load_32 | 5 | 0.004432 | 0.0011108 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1502-31_0_3_load_52 | 6 | 0.012218 | 0.0030621 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1502-31_0_3_load_3 | 7 | 0.0023608 | 0.00059168 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1502-31_0_3_load_4 | 8 | 0.0031344 | 0.00078555 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1502-31_0_3_load_5 | 9 | 0.0040333 | 0.0010108 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1502-31_0_3_load_7 | 10 | 0.0034878 | 0.00087412 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1502-31_0_3_load_26 | 11 | 0.0073391 | 0.0018393 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1502-31_0_3_load_38 | 12 | 0.0029748 | 0.00074555 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1502-31_0_3_load_8 | 13 | 0.003779 | 0.00094712 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1502-31_0_3_load_10 | 15 | 0.0034961 | 0.00087622 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1502-31_0_3_load_11 | 16 | 0.0046669 | 0.0011696 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1502-31_0_3_load_27 | 17 | 0.0033649 | 0.00084333 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1502-31_0_3_load_29 | 18 | 0.0061848 | 0.0015501 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1502-31_0_3_load_30 | 20 | 0.003958 | 0.00099198 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1502-31_0_3_load_12 | 21 | 0.0034471 | 0.00086392 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1502-31_0_3_load_13 | 22 | 0.0012355 | 0.00030965 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1502-31_0_3_load_14 | 23 | 0.0052675 | 0.0013202 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1502-31_0_3_load_22 | 27 | 0.0016813 | 0.00042138 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1502-31_0_3_load_50 | 28 | 0.0021888 | 0.00054856 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1502-31_0_3_load_16 | 29 | 0.0049665 | 0.0012447 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1502-31_0_3_load_17 | 30 | 0.0026737 | 0.00067009 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1502-31_0_3_load_18 | 31 | 0.0037565 | 0.00094148 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1502-31_0_3_load_20 | 32 | 0.0033342 | 0.00083563 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1502-31_0_3_load_46 | 33 | 0.0059836 | 0.0014996 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1502-31_0_3_load_44 | 34 | 0.0076871 | 0.0019266 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1502-31_0_3_load_21 | 35 | 0.00352 | 0.0008822 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1502-31_0_3_load_23 | 36 | 0.021762 | 0.0054542 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1502-31_0_3_load_36 | 37 | 0.0037849 | 0.00094859 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1502-31_0_3_load_48 | 39 | 0.0073932 | 0.0018529 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1502-31_0_3_load_45 | 40 | 0.004619 | 0.0011576 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1502-31_0_3_load_35 | 41 | 0.0041439 | 0.0010386 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1502-31_0_3_load_43 | 42 | 0.0067775 | 0.0016986 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1502-31_0_3_load_31 | 43 | 0.0044056 | 0.0011041 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1502-31_0_3_load_40 | 44 | 0.0029171 | 0.0007311 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1502-31_0_3_load_39 | 45 | 0.0038796 | 0.00097231 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1502-31_0_3_load_33 | 46 | 0.0027658 | 0.00069318 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1502-31_0_3_load_37 | 47 | 0.0035043 | 0.00087827 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1502-31_0_3_load_41 | 48 | 0.0035756 | 0.00089612 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1502-31_0_3_load_42 | 49 | 0.0056842 | 0.0014246 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 5 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1502-31_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.02965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1502-31_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.077205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1502-31_0_3_line_2 | NAYY 4x150 SE | 2 | 6 | 0.059444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1502-31_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.37203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1502-31_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0095025 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1502-31_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.16407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1502-31_0_3_line_6 | NAYY 4x150 SE | 5 | 46 | 0.018794 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1502-31_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.0026857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1502-31_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.021027 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1502-31_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.0045424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1502-31_0_3_line_10 | NAYY 4x150 SE | 10 | 11 | 0.015187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1502-31_0_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.014066 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1502-31_0_3_line_12 | NAYY 4x150 SE | 12 | 37 | 0.010478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1502-31_0_3_line_13 | NAYY 4x150 SE | 13 | 14 | 0.0092329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1502-31_0_3_line_14 | NAYY 4x150 SE | 14 | 15 | 0.0086533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1502-31_0_3_line_15 | NAYY 4x150 SE | 14 | 16 | 0.014669 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1502-31_0_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.026008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1502-31_0_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.0097666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1502-31_0_3_line_18 | NAYY 4x150 SE | 17 | 19 | 0.015633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1502-31_0_3_line_19 | NAYY 4x150 SE | 18 | 20 | 0.0006915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1502-31_0_3_line_20 | NAYY 4x150 SE | 19 | 38 | 0.030634 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1502-31_0_3_line_21 | NAYY 4x150 SE | 19 | 39 | 0.03221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1502-31_0_3_line_22 | NAYY 4x150 SE | 19 | 40 | 0.020204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1502-31_0_3_line_23 | NAYY 4x150 SE | 20 | 43 | 0.021139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1502-31_0_3_line_24 | NAYY 4x150 SE | 21 | 22 | 0.018345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1502-31_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.030348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1502-31_0_3_line_26 | NAYY 4x150 SE | 23 | 24 | 0.03948 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1502-31_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.011184 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1502-31_0_3_line_28 | NAYY 4x150 SE | 25 | 26 | 0.014488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1502-31_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.029637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1502-31_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.010717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1502-31_0_3_line_31 | NAYY 4x150 SE | 27 | 35 | 0.065379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1502-31_0_3_line_32 | NAYY 4x150 SE | 28 | 39 | 0.023905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1502-31_0_3_line_33 | NAYY 4x150 SE | 29 | 30 | 0.0023541 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1502-31_0_3_line_34 | NAYY 4x150 SE | 29 | 31 | 0.022426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1502-31_0_3_line_35 | NAYY 4x150 SE | 31 | 32 | 0.0089375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1502-31_0_3_line_36 | NAYY 4x150 SE | 32 | 33 | 0.029962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1502-31_0_3_line_37 | NAYY 4x150 SE | 33 | 34 | 0.025441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1502-31_0_3_line_38 | NAYY 4x150 SE | 34 | 49 | 0.0031318 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1502-31_0_3_line_39 | NAYY 4x150 SE | 35 | 36 | 0.025293 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1502-31_0_3_line_40 | NAYY 4x150 SE | 37 | 47 | 0.014693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1502-31_0_3_line_41 | NAYY 4x150 SE | 38 | 41 | 0.013112 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_1502-31_0_3_line_42 | NAYY 4x150 SE | 40 | 42 | 0.00022583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1502-31_0_3_line_43 | NAYY 4x150 SE | 41 | 46 | 0.0094987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_1502-31_0_3_line_44 | NAYY 4x150 SE | 42 | 48 | 0.02345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1502-31_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.0024372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1502-31_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.021332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1502-31_0_3_line_47 | NAYY 4x150 SE | 45 | 47 | 0.010363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1502-31_0_3_line_48 | NAYY 4x150 SE | 48 | 49 | 0.028923 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1502-31_0_3_trafo_32 | 0.25 MVA 20/0.4 kV | 50 | 5 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9
0 | 2673392.7813 | 1202797.411 | 2673377.1765 | 1202822.6218
1 | 2673392.7813 | 1202797.411 | 2673452.2818 | 1202846.6084
2 | 2673496.0392 | 1202886.8241 | 2673458.489 | 1202851.7408 | 2673452.2818 | 1202846.6084
3 | 2674025.5131 | 1202965.7866 | 2673659.732 | 1202897.8936
4 | 2674025.5131 | 1202965.7866 | 2674029.3158 | 1202957.0782
5 | 2673496.0392 | 1202886.8241 | 2673659.732 | 1202897.8936
6 | 2674036.8368 | 1202939.8542 | 2674029.3158 | 1202957.0782
7 | 2674193.5112 | 1203055.7558 | 2674195.867 | 1203057.0453
8 | 2674193.5112 | 1203055.7558 | 2674175.0667 | 1203045.6599
9 | 2674171.0822 | 1203043.4789 | 2674175.0667 | 1203045.6599
10 | 2674171.0822 | 1203043.4789 | 2674157.7601 | 1203036.1868
11 | 2674145.4218 | 1203029.4332 | 2674157.7601 | 1203036.1868
12 | 2674136.2302 | 1203024.402 | 2674145.4218 | 1203029.4332
13 | 2674052.8169 | 1202978.7441 | 2674049.099 | 1202987.1953
14 | 2674052.8169 | 1202978.7441 | 2674056.3518 | 1202970.8457
15 | 2674052.8169 | 1202978.7441 | 2674065.6844 | 1202985.7873
16 | 2674066.9762 | 1202947.1066 | 2674056.3518 | 1202970.8457
17 | 2674065.6844 | 1202985.7873 | 2674074.2516 | 1202990.4768
18 | 2674073.3625 | 1202932.8371 | 2674066.9762 | 1202947.1066
19 | 2674074.2516 | 1202990.4768 | 2674074.8581 | 1202990.8088
20 | 2674073.3625 | 1202932.8371 | 2674045.8852 | 1202919.1325
21 | 2674073.3625 | 1202932.8371 | 2674086.3671 | 1202903.469 | 2674086.3928 | 1202903.3817
22 | 2674073.3625 | 1202932.8371 | 2674091.762 | 1202941.1834
23 | 2674093.4012 | 1203000.9586 | 2674074.8581 | 1202990.8088
24 | 2674165.8935 | 1202789.5683 | 2674159.3062 | 1202795.8852 | 2674153.474 | 1202803.0234
25 | 2674134.227 | 1202826.4866 | 2674135.5747 | 1202824.9309 | 2674153.474 | 1202803.0234
26 | 2674105.9661 | 1202853.5479 | 2674116.8595 | 1202846.5343 | 2674134.227 | 1202826.4866
27 | 2674107.3492 | 1202864.1272 | 2674108.1207 | 1202861.4462 | 2674108.1402 | 1202858.6447 | 2674107.4051 | 1202855.945 | 2674105.9661 | 1202853.5479
28 | 2674107.3492 | 1202864.1272 | 2674106.6401 | 1202865.4637 | 2674105.611 | 1202866.8295 | 2674104.2791 | 1202868.0693 | 2674102.7216 | 1202869.084 | 2674101.0157 | 1202869.7966 | 2674099.5428 | 1202870.1341 | 2674098.0952 | 1202870.2718 | 2674096.7567 | 1202870.1996 | 2674095.3136 | 1202869.9704
29 | 2674107.3492 | 1202864.1272 | 2674116.5423 | 1202867.799 | 2674134.5374 | 1202875.908
30 | 2674095.3136 | 1202869.9704 | 2674094.066 | 1202877.2928 | 2674093.138 | 1202880.4481
31 | 2674134.5374 | 1202875.908 | 2674187.7094 | 1202899.8687 | 2674194.1812 | 1202902.6843
32 | 2674093.138 | 1202880.4481 | 2674086.3928 | 1202903.3817
33 | 2674223.6757 | 1203001.0214 | 2674221.5318 | 1203000.0489
34 | 2674201.1091 | 1202990.7849 | 2674221.5318 | 1203000.0489
35 | 2674201.1091 | 1202990.7849 | 2674192.9699 | 1202987.0928
36 | 2674165.6843 | 1202974.7156 | 2674192.9699 | 1202987.0928
37 | 2674165.6843 | 1202974.7156 | 2674142.5154 | 1202964.2059
38 | 2674139.6633 | 1202962.9121 | 2674142.5154 | 1202964.2059
39 | 2674217.3742 | 1202912.7747 | 2674194.1812 | 1202902.6843
40 | 2674136.2302 | 1203024.402 | 2674123.3416 | 1203017.3471
41 | 2674045.8852 | 1202919.1325 | 2674040.6379 | 1202931.1493
42 | 2674091.762 | 1202941.1834 | 2674091.9677 | 1202941.2767
43 | 2674040.6379 | 1202931.1493 | 2674036.8368 | 1202939.8542
44 | 2674113.3232 | 1202950.9638 | 2674091.9677 | 1202941.2767
45 | 2674095.5391 | 1203002.1289 | 2674093.4012 | 1203000.9586
46 | 2674095.5391 | 1203002.1289 | 2674114.2509 | 1203012.3712
47 | 2674123.3416 | 1203017.3471 | 2674114.2509 | 1203012.3712
48 | 2674113.3232 | 1202950.9638 | 2674139.6633 | 1202962.9121

## bus_geodata
| x | y | coords
0 | 2673377.1765 | 1202822.6218
1 | 2673392.7813 | 1202797.411
2 | 2673452.2818 | 1202846.6084
3 | 2674025.5131 | 1202965.7866
4 | 2673659.732 | 1202897.8936
5 | 2674029.3158 | 1202957.0782
6 | 2673496.0392 | 1202886.8241
7 | 2674193.5112 | 1203055.7558
8 | 2674195.867 | 1203057.0453
9 | 2674175.0667 | 1203045.6599
10 | 2674171.0822 | 1203043.4789
11 | 2674157.7601 | 1203036.1868
12 | 2674145.4218 | 1203029.4332
13 | 2674049.099 | 1202987.1953
14 | 2674052.8169 | 1202978.7441
15 | 2674056.3518 | 1202970.8457
16 | 2674065.6844 | 1202985.7873
17 | 2674066.9762 | 1202947.1066
18 | 2674074.2516 | 1202990.4768
19 | 2674073.3625 | 1202932.8371
20 | 2674074.8581 | 1202990.8088
21 | 2674153.474 | 1202803.0234
22 | 2674165.8935 | 1202789.5683
23 | 2674134.227 | 1202826.4866
24 | 2674105.9661 | 1202853.5479
25 | 2674107.3492 | 1202864.1272
26 | 2674095.3136 | 1202869.9704
27 | 2674134.5374 | 1202875.908
28 | 2674093.138 | 1202880.4481
29 | 2674221.5318 | 1203000.0489
30 | 2674223.6757 | 1203001.0214
31 | 2674201.1091 | 1202990.7849
32 | 2674192.9699 | 1202987.0928
33 | 2674165.6843 | 1202974.7156
34 | 2674142.5154 | 1202964.2059
35 | 2674194.1812 | 1202902.6843
36 | 2674217.3742 | 1202912.7747
37 | 2674136.2302 | 1203024.402
38 | 2674045.8852 | 1202919.1325
39 | 2674086.3928 | 1202903.3816
40 | 2674091.762 | 1202941.1834
41 | 2674040.6379 | 1202931.1493
42 | 2674091.9677 | 1202941.2767
43 | 2674093.4012 | 1203000.9587
44 | 2674095.5391 | 1203002.1289
45 | 2674114.2509 | 1203012.3712
46 | 2674036.8368 | 1202939.8542
47 | 2674123.3416 | 1203017.3471
48 | 2674113.3232 | 1202950.9638
49 | 2674139.6633 | 1202962.9121
50 | 2674025.5131 | 1202965.7866

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97229 | -0.19472 | 0.00017186 | 4.3072e-05
1 | 0.9723 | -0.19467 | 0 | 0
2 | 0.97232 | -0.19452 | 0.0074031 | 0.0018554
3 | 0.99939 | -0.0041916 | 0.0042905 | 0.0010753
4 | 0.97774 | -0.15566 | 0.02002 | 0.0050175
5 | 1 | 0 | -0.21808 | -0.054899
6 | 0.97298 | -0.18976 | 0.012218 | 0.0030621
7 | 0.97989 | -0.14132 | 0.0023608 | 0.00059168
8 | 0.97988 | -0.1414 | 0.0031344 | 0.00078555
9 | 0.98006 | -0.14011 | 0.0040333 | 0.0010108
10 | 0.98012 | -0.13966 | 0.0034878 | 0.00087412
11 | 0.98041 | -0.13761 | 0.0073391 | 0.0018393
12 | 0.98082 | -0.13464 | 0.0029748 | 0.00074555
13 | 0.98664 | -0.093309 | 0.003779 | 0.00094712
14 | 0.98669 | -0.092951 | 0 | 0
15 | 0.98745 | -0.087595 | 0.0034961 | 0.00087622
16 | 0.98549 | -0.10148 | 0.0046669 | 0.0011696
17 | 0.98986 | -0.070619 | 0.0033649 | 0.00084333
18 | 0.98475 | -0.1067 | 0.0061848 | 0.0015501
19 | 0.99139 | -0.05992 | 0 | 0
20 | 0.98471 | -0.10703 | 0.003958 | 0.00099198
21 | 0.98558 | -0.10089 | 0.0034471 | 0.00086392
22 | 0.98555 | -0.10113 | 0.0012355 | 0.00030965
23 | 0.98579 | -0.099434 | 0.0052675 | 0.0013202
24 | 0.98636 | -0.095399 | 0 | 0
25 | 0.98652 | -0.094257 | 0 | 0
26 | 0.98729 | -0.088773 | 0 | 0
27 | 0.98536 | -0.10246 | 0.0016813 | 0.00042138
28 | 0.98787 | -0.084723 | 0.0021888 | 0.00054856
29 | 0.98532 | -0.10285 | 0.0049665 | 0.0012447
30 | 0.98531 | -0.10292 | 0.0026737 | 0.00067009
31 | 0.98557 | -0.10109 | 0.0037565 | 0.00094148
32 | 0.98571 | -0.10004 | 0.0033342 | 0.00083563
33 | 0.98635 | -0.095513 | 0.0059836 | 0.0014996
34 | 0.98711 | -0.090109 | 0.0076871 | 0.0019266
35 | 0.98296 | -0.1195 | 0.00352 | 0.0008822
36 | 0.98216 | -0.12519 | 0.021762 | 0.0054542
37 | 0.98118 | -0.1321 | 0.0037849 | 0.00094859
38 | 0.995 | -0.034676 | 0 | 0
39 | 0.98922 | -0.07517 | 0.0073932 | 0.0018529
40 | 0.98996 | -0.070003 | 0.004619 | 0.0011576
41 | 0.99654 | -0.023927 | 0.0041439 | 0.0010386
42 | 0.98994 | -0.070105 | 0.0067775 | 0.0016986
43 | 0.98342 | -0.11614 | 0.0044056 | 0.0011041
44 | 0.98329 | -0.11708 | 0.0029171 | 0.0007311
45 | 0.98222 | -0.12469 | 0.0038796 | 0.00097231
46 | 0.99769 | -0.015963 | 0.0027658 | 0.00069318
47 | 0.98176 | -0.12797 | 0.0035043 | 0.00087827
48 | 0.98867 | -0.079114 | 0.0035756 | 0.00089612
49 | 0.98724 | -0.089198 | 0.0056842 | 0.0014246
50 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00017186 | -4.3072e-05 | 0.00017186 | 4.2705e-05 | 1.2792e-09 | -3.6724e-07 | 0.00026302 | 0.00026289 | 0.00026302 | 0.97229 | -0.19472 | 0.9723 | -0.19467 | 0.097414
1 | -0.00017186 | -4.2705e-05 | 0.00017186 | 4.1749e-05 | 3.3251e-09 | -9.5629e-07 | 0.00026289 | 0.00026255 | 0.00026289 | 0.9723 | -0.19467 | 0.97232 | -0.19452 | 0.097365
2 | -0.0075749 | -0.0018971 | 0.0075799 | 0.0018983 | 4.9842e-06 | 1.1792e-06 | 0.011592 | 0.011592 | 0.011592 | 0.97232 | -0.19452 | 0.97298 | -0.18976 | 4.2933
3 | 0.040768 | 0.010337 | -0.039912 | -0.010012 | 0.00085657 | 0.00032468 | 0.060743 | 0.060745 | 0.060745 | 0.99939 | -0.0041916 | 0.97774 | -0.15566 | 22.498
4 | -0.045059 | -0.011412 | 0.045085 | 0.011422 | 2.6722e-05 | 1.0153e-05 | 0.067131 | 0.067131 | 0.067131 | 0.99939 | -0.0041916 | 1 | 0 | 24.8633
5 | 0.019892 | 0.0049944 | -0.019798 | -0.0049604 | 9.3846e-05 | 3.4047e-05 | 0.030276 | 0.030277 | 0.030277 | 0.97774 | -0.15566 | 0.97298 | -0.18976 | 11.2137
6 | 0.1722 | 0.043477 | -0.17181 | -0.043329 | 0.00038534 | 0.00014772 | 0.25635 | 0.25635 | 0.25635 | 1 | 0 | 0.99769 | -0.015963 | 47.472
7 | 0.0031344 | 0.00078553 | -0.0031344 | -0.00078555 | 3.7968e-08 | -1.9228e-08 | 0.0047598 | 0.0047598 | 0.0047598 | 0.97989 | -0.14132 | 0.97988 | -0.1414 | 1.7629
8 | -0.0054953 | -0.0013772 | 0.0054962 | 0.0013773 | 9.1367e-07 | 8.6493e-08 | 0.0083448 | 0.0083447 | 0.0083448 | 0.97989 | -0.14132 | 0.98006 | -0.14011 | 3.0907
9 | -0.0095295 | -0.0023881 | 0.0095301 | 0.0023883 | 5.9336e-07 | 1.7097e-07 | 0.014469 | 0.014468 | 0.014469 | 0.98006 | -0.14011 | 0.98012 | -0.13966 | 5.3587
10 | -0.013018 | -0.0032624 | 0.013022 | 0.0032637 | 3.7016e-06 | 1.2322e-06 | 0.019764 | 0.019764 | 0.019764 | 0.98012 | -0.13966 | 0.98041 | -0.13761 | 7.3199
11 | -0.020361 | -0.005103 | 0.020369 | 0.0051061 | 8.3817e-06 | 3.0463e-06 | 0.030902 | 0.030902 | 0.030902 | 0.98041 | -0.13761 | 0.98082 | -0.13464 | 11.4454
12 | -0.023344 | -0.0058516 | 0.023352 | 0.0058546 | 8.201e-06 | 3.0219e-06 | 0.035415 | 0.035415 | 0.035415 | 0.98082 | -0.13464 | 0.98118 | -0.1321 | 13.1168
13 | -0.003779 | -0.00094712 | 0.0037792 | 0.00094707 | 1.8714e-07 | -4.5943e-08 | 0.0056994 | 0.0056993 | 0.0056994 | 0.98664 | -0.093309 | 0.98669 | -0.092951 | 2.1109
14 | -0.060664 | -0.015235 | 0.060709 | 0.015253 | 4.5205e-05 | 1.7276e-05 | 0.091497 | 0.091497 | 0.091497 | 0.98669 | -0.092951 | 0.98745 | -0.087595 | 33.8878
15 | 0.056884 | 0.014288 | -0.056817 | -0.014263 | 6.7381e-05 | 2.5729e-05 | 0.085798 | 0.085798 | 0.085798 | 0.98669 | -0.092951 | 0.98549 | -0.10148 | 31.777
16 | -0.064205 | -0.016129 | 0.064357 | 0.016187 | 0.00015196 | 5.8113e-05 | 0.096765 | 0.096765 | 0.096765 | 0.98745 | -0.087595 | 0.98986 | -0.070619 | 35.8391
17 | 0.05215 | 0.013093 | -0.052112 | -0.013079 | 3.7796e-05 | 1.4413e-05 | 0.078751 | 0.078751 | 0.078751 | 0.98549 | -0.10148 | 0.98475 | -0.1067 | 29.1671
18 | -0.067722 | -0.01703 | 0.067823 | 0.017069 | 0.00010114 | 3.87e-05 | 0.10182 | 0.10182 | 0.10182 | 0.98986 | -0.070619 | 0.99139 | -0.05992 | 37.7125
19 | 0.045928 | 0.011529 | -0.045925 | -0.011528 | 2.0786e-06 | 7.9065e-07 | 0.069406 | 0.069406 | 0.069406 | 0.98475 | -0.1067 | 0.98471 | -0.10703 | 25.7058
20 | -0.16389 | -0.041209 | 0.16447 | 0.04143 | 0.00057857 | 0.00022173 | 0.24604 | 0.24604 | 0.24604 | 0.99139 | -0.05992 | 0.995 | -0.034676 | 45.5623
21 | 0.046812 | 0.011771 | -0.046713 | -0.011733 | 9.9263e-05 | 3.7764e-05 | 0.070276 | 0.070276 | 0.070276 | 0.99139 | -0.05992 | 0.98922 | -0.07517 | 26.0283
22 | 0.049254 | 0.012369 | -0.049185 | -0.012342 | 6.8919e-05 | 2.6247e-05 | 0.073937 | 0.073937 | 0.073937 | 0.99139 | -0.05992 | 0.98996 | -0.070003 | 27.3839
23 | 0.041967 | 0.010536 | -0.041914 | -0.010516 | 5.3062e-05 | 2.014e-05 | 0.063424 | 0.063425 | 0.063425 | 0.98471 | -0.10703 | 0.98342 | -0.11614 | 23.4906
24 | 0.0012356 | 0.00030943 | -0.0012355 | -0.00030965 | 3.9832e-08 | -2.1845e-07 | 0.0018654 | 0.0018654 | 0.0018654 | 0.98558 | -0.10089 | 0.98555 | -0.10113 | 0.6909
25 | -0.0046827 | -0.0011734 | 0.0046836 | 0.0011733 | 9.4648e-07 | -2.2799e-08 | 0.0070697 | 0.0070696 | 0.0070697 | 0.98558 | -0.10089 | 0.98579 | -0.099434 | 2.6184
26 | -0.0099511 | -0.0024935 | 0.0099567 | 0.0024951 | 5.5583e-06 | 1.6342e-06 | 0.015021 | 0.015021 | 0.015021 | 0.98579 | -0.099434 | 0.98636 | -0.095399 | 5.5632
27 | -0.0099567 | -0.0024951 | 0.0099582 | 0.0024956 | 1.5745e-06 | 4.6281e-07 | 0.015021 | 0.01502 | 0.015021 | 0.98636 | -0.095399 | 0.98652 | -0.094257 | 5.5632
28 | -0.03703 | -0.0092933 | 0.037058 | 0.009304 | 2.8208e-05 | 1.0664e-05 | 0.055859 | 0.055859 | 0.055859 | 0.98652 | -0.094257 | 0.98729 | -0.088773 | 20.6884
29 | 0.027072 | 0.0067977 | -0.027041 | -0.0067862 | 3.0843e-05 | 1.1485e-05 | 0.040838 | 0.040838 | 0.040838 | 0.98652 | -0.094257 | 0.98536 | -0.10246 | 15.1253
30 | -0.037058 | -0.009304 | 0.037079 | 0.0093119 | 2.0866e-05 | 7.8881e-06 | 0.055859 | 0.055859 | 0.055859 | 0.98729 | -0.088773 | 0.98787 | -0.084723 | 20.6884
31 | 0.025359 | 0.0063649 | -0.0253 | -0.0063427 | 5.9842e-05 | 2.2186e-05 | 0.038299 | 0.0383 | 0.0383 | 0.98536 | -0.10246 | 0.98296 | -0.1195 | 14.185
32 | -0.039268 | -0.0098604 | 0.03932 | 0.0098802 | 5.2199e-05 | 1.977e-05 | 0.059155 | 0.059155 | 0.059155 | 0.98787 | -0.084723 | 0.98922 | -0.07517 | 21.9094
33 | 0.0026737 | 0.00067007 | -0.0026737 | -0.00067009 | 2.395e-08 | -2.0772e-08 | 0.0040378 | 0.0040378 | 0.0040378 | 0.98532 | -0.10285 | 0.98531 | -0.10292 | 1.4955
34 | -0.0076402 | -0.0019148 | 0.0076421 | 0.0019152 | 1.8629e-06 | 4.3081e-07 | 0.011538 | 0.011538 | 0.011538 | 0.98532 | -0.10285 | 0.98557 | -0.10109 | 4.2734
35 | -0.011399 | -0.0028567 | 0.0114 | 0.0028572 | 1.6518e-06 | 5.2138e-07 | 0.01721 | 0.01721 | 0.01721 | 0.98557 | -0.10109 | 0.98571 | -0.10004 | 6.374
36 | -0.014735 | -0.0036929 | 0.014744 | 0.003696 | 9.2498e-06 | 3.1754e-06 | 0.022243 | 0.022243 | 0.022243 | 0.98571 | -0.10004 | 0.98635 | -0.095513 | 8.2381
37 | -0.020727 | -0.0051957 | 0.020743 | 0.0052013 | 1.5523e-05 | 5.6453e-06 | 0.03127 | 0.03127 | 0.03127 | 0.98635 | -0.095513 | 0.98711 | -0.090109 | 11.5814
38 | -0.02843 | -0.0071279 | 0.028434 | 0.0071292 | 3.5895e-06 | 1.3405e-06 | 0.042858 | 0.042858 | 0.042858 | 0.98711 | -0.090109 | 0.98724 | -0.089198 | 15.8732
39 | 0.02178 | 0.0054605 | -0.021762 | -0.0054542 | 1.7157e-05 | 6.2786e-06 | 0.032971 | 0.032971 | 0.032971 | 0.98296 | -0.1195 | 0.98216 | -0.12519 | 12.2115
40 | -0.027137 | -0.0068032 | 0.027152 | 0.006809 | 1.5529e-05 | 5.7871e-06 | 0.041155 | 0.041155 | 0.041155 | 0.98118 | -0.1321 | 0.98176 | -0.12797 | 15.2428
41 | -0.16447 | -0.04143 | 0.16472 | 0.041525 | 0.00024765 | 9.4908e-05 | 0.24604 | 0.24604 | 0.24604 | 0.995 | -0.034676 | 0.99654 | -0.023927 | 45.5622
42 | 0.044566 | 0.011185 | -0.044566 | -0.011184 | 6.3247e-07 | 2.4035e-07 | 0.066994 | 0.066994 | 0.066994 | 0.98996 | -0.070003 | 0.98994 | -0.070105 | 24.8125
43 | -0.16886 | -0.042564 | 0.16905 | 0.042636 | 0.00018853 | 7.2265e-05 | 0.25222 | 0.25222 | 0.25222 | 0.99654 | -0.023927 | 0.99769 | -0.015963 | 46.7081
44 | 0.037788 | 0.0094858 | -0.037741 | -0.0094679 | 4.7219e-05 | 1.786e-05 | 0.056806 | 0.056806 | 0.056806 | 0.98994 | -0.070105 | 0.98867 | -0.079114 | 21.0394
45 | 0.037509 | 0.0094115 | -0.037504 | -0.0094097 | 4.8994e-06 | 1.8535e-06 | 0.056758 | 0.056758 | 0.056758 | 0.98342 | -0.11614 | 0.98329 | -0.11708 | 21.0217
46 | 0.034587 | 0.0086786 | -0.03455 | -0.0086648 | 3.6471e-05 | 1.3757e-05 | 0.052344 | 0.052344 | 0.052344 | 0.98329 | -0.11708 | 0.98222 | -0.12469 | 19.3867
47 | 0.030671 | 0.0076925 | -0.030657 | -0.0076873 | 1.3963e-05 | 5.2392e-06 | 0.046467 | 0.046467 | 0.046467 | 0.98222 | -0.12469 | 0.98176 | -0.12797 | 17.2099
48 | 0.034166 | 0.0085718 | -0.034118 | -0.0085538 | 4.7729e-05 | 1.7987e-05 | 0.051425 | 0.051425 | 0.051425 | 0.98867 | -0.079114 | 0.98724 | -0.089198 | 19.0463

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22252 | 0.05601

## res_load
| p_mw | q_mvar
0 | 0.00017186 | 4.3072e-05
1 | 0.0074031 | 0.0018554
2 | 0.0042905 | 0.0010753
3 | 0.02002 | 0.0050175
4 | 0.004432 | 0.0011108
5 | 0.012218 | 0.0030621
6 | 0.0023608 | 0.00059168
7 | 0.0031344 | 0.00078555
8 | 0.0040333 | 0.0010108
9 | 0.0034878 | 0.00087412
10 | 0.0073391 | 0.0018393
11 | 0.0029748 | 0.00074555
12 | 0.003779 | 0.00094712
13 | 0.0034961 | 0.00087622
14 | 0.0046669 | 0.0011696
15 | 0.0033649 | 0.00084333
16 | 0.0061848 | 0.0015501
17 | 0.003958 | 0.00099198
18 | 0.0034471 | 0.00086392
19 | 0.0012355 | 0.00030965
20 | 0.0052675 | 0.0013202
21 | 0.0016813 | 0.00042138
22 | 0.0021888 | 0.00054856
23 | 0.0049665 | 0.0012447
24 | 0.0026737 | 0.00067009
25 | 0.0037565 | 0.00094148
26 | 0.0033342 | 0.00083563
27 | 0.0059836 | 0.0014996
28 | 0.0076871 | 0.0019266
29 | 0.00352 | 0.0008822
30 | 0.021762 | 0.0054542
31 | 0.0037849 | 0.00094859
32 | 0.0073932 | 0.0018529
33 | 0.004619 | 0.0011576
34 | 0.0041439 | 0.0010386
35 | 0.0067775 | 0.0016986
36 | 0.0044056 | 0.0011041
37 | 0.0029171 | 0.0007311
38 | 0.0038796 | 0.00097231
39 | 0.0027658 | 0.00069318
40 | 0.0035043 | 0.00087827
41 | 0.0035756 | 0.00089612
42 | 0.0056842 | 0.0014246

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1