## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1502-37_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1502-37_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1502-37_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1502-37_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1502-37_0_3_node_5 | 0.4 | n |  | TRUE
5 | bus_LV_1502-37_0_3_node_16 | 0.4 | n |  | TRUE
6 | bus_LV_1502-37_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1502-37_0_3_node_35 | 0.4 | n |  | TRUE
8 | bus_LV_1502-37_0_3_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_1502-37_0_3_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_1502-37_0_3_node_15 | 0.4 | n |  | TRUE
11 | bus_LV_1502-37_0_3_node_25 | 0.4 | n |  | TRUE
12 | bus_LV_1502-37_0_3_node_28 | 0.4 | n |  | TRUE
13 | bus_LV_1502-37_0_3_node_29 | 0.4 | n |  | TRUE
14 | bus_LV_1502-37_0_3_node_26 | 0.4 | n |  | TRUE
15 | bus_LV_1502-37_0_3_node_6 | 0.4 | n |  | TRUE
16 | bus_LV_1502-37_0_3_node_7 | 0.4 | n |  | TRUE
17 | bus_LV_1502-37_0_3_node_8 | 0.4 | n |  | TRUE
18 | bus_LV_1502-37_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1502-37_0_3_node_11 | 0.4 | n |  | TRUE
20 | bus_LV_1502-37_0_3_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1502-37_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1502-37_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1502-37_0_3_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_1502-37_0_3_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_1502-37_0_3_node_19 | 0.4 | n |  | TRUE
26 | bus_LV_1502-37_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1502-37_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1502-37_0_3_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1502-37_0_3_node_22 | 0.4 | n |  | TRUE
30 | bus_LV_1502-37_0_3_node_23 | 0.4 | n |  | TRUE
31 | bus_LV_1502-37_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_1502-37_0_3_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_1502-37_0_3_node_31 | 0.4 | n |  | TRUE
34 | bus_MV_142_1_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1502-37_0_3_load_0 | 0 | 0.004612 | 0.0011559 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1502-37_0_3_load_3 | 3 | 0.0028493 | 0.0007141 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1502-37_0_3_load_35 | 7 | 0.0091659 | 0.0022972 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1502-37_0_3_load_27 | 8 | 0.0040248 | 0.0010087 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1502-37_0_3_load_17 | 9 | 0.003116 | 0.00078093 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1502-37_0_3_load_15 | 10 | 0.00512 | 0.0012832 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1502-37_0_3_load_25 | 11 | 0.010838 | 0.0027163 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1502-37_0_3_load_29 | 13 | 0.0094425 | 0.0023665 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1502-37_0_3_load_26 | 14 | 0.0094434 | 0.0023667 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1502-37_0_3_load_6 | 15 | 0.0032759 | 0.00082101 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1502-37_0_3_load_7 | 16 | 0.0064296 | 0.0016114 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1502-37_0_3_load_8 | 17 | 0.0084423 | 0.0021158 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1502-37_0_3_load_10 | 18 | 0.0080011 | 0.0020053 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1502-37_0_3_load_12 | 20 | 0.0063117 | 0.0015819 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1502-37_0_3_load_14 | 21 | 0.0050226 | 0.0012588 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1502-37_0_3_load_34 | 23 | 0.027715 | 0.0069461 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1502-37_0_3_load_32 | 24 | 0.024998 | 0.0062651 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1502-37_0_3_load_19 | 25 | 0.0036566 | 0.00091642 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1502-37_0_3_load_18 | 26 | 0.0054453 | 0.0013647 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1502-37_0_3_load_20 | 27 | 0.0032152 | 0.00080581 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1502-37_0_3_load_21 | 28 | 0.0040417 | 0.001013 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1502-37_0_3_load_22 | 29 | 0.0093056 | 0.0023322 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1502-37_0_3_load_23 | 30 | 0.0055566 | 0.0013926 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1502-37_0_3_load_24 | 31 | 0.017572 | 0.0044039 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1502-37_0_3_load_33 | 32 | 0.013915 | 0.0034874 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1502-37_0_3_load_31 | 33 | 0.0041895 | 0.00105 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 32 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1502-37_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.032395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1502-37_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.040099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1502-37_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0059008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1502-37_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.042666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1502-37_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0052716 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1502-37_0_3_line_5 | NAYY 4x150 SE | 4 | 8 | 0.014984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1502-37_0_3_line_6 | NAYY 4x150 SE | 5 | 9 | 0.014727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1502-37_0_3_line_7 | NAYY 4x150 SE | 5 | 6 | 0.007936 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1502-37_0_3_line_8 | NAYY 4x150 SE | 6 | 7 | 0.037261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1502-37_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.024941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1502-37_0_3_line_10 | NAYY 4x150 SE | 8 | 11 | 0.016461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1502-37_0_3_line_11 | NAYY 4x150 SE | 9 | 25 | 0.0062424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1502-37_0_3_line_12 | NAYY 4x150 SE | 11 | 14 | 0.027531 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1502-37_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.018015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1502-37_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.020589 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1502-37_0_3_line_15 | NAYY 4x150 SE | 15 | 16 | 0.024311 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1502-37_0_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.026805 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1502-37_0_3_line_17 | NAYY 4x150 SE | 17 | 18 | 0.023908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1502-37_0_3_line_18 | NAYY 4x150 SE | 18 | 19 | 0.022222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1502-37_0_3_line_19 | NAYY 4x150 SE | 19 | 20 | 0.0092629 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1502-37_0_3_line_20 | NAYY 4x150 SE | 20 | 21 | 0.013207 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1502-37_0_3_line_21 | NAYY 4x150 SE | 21 | 22 | 0.010058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1502-37_0_3_line_22 | NAYY 4x150 SE | 22 | 23 | 0.025126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1502-37_0_3_line_23 | NAYY 4x150 SE | 23 | 24 | 0.0076075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1502-37_0_3_line_24 | NAYY 4x150 SE | 24 | 33 | 0.0065528 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1502-37_0_3_line_25 | NAYY 4x150 SE | 25 | 26 | 0.00060125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1502-37_0_3_line_26 | NAYY 4x150 SE | 26 | 27 | 0.0031193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1502-37_0_3_line_27 | NAYY 4x150 SE | 27 | 28 | 0.014089 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1502-37_0_3_line_28 | NAYY 4x150 SE | 28 | 29 | 0.0093111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1502-37_0_3_line_29 | NAYY 4x150 SE | 29 | 30 | 0.0089798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1502-37_0_3_line_30 | NAYY 4x150 SE | 30 | 31 | 0.012414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1502-37_0_3_line_31 | NAYY 4x150 SE | 31 | 32 | 0.0047469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_1502-37_0_3_line_32 | NAYY 4x150 SE | 32 | 33 | 0.020619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1502-37_0_3_trafo_33 | 0.25 MVA 20/0.4 kV | 34 | 32 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2674626.9167 | 1203167.2478 | 2674618.0652 | 1203164.9247 | 2674607.9465 | 1203162.3078 | 2674598.6206 | 1203158.9671 | 2674595.9714 | 1203157.8217
1 | 2674563.0211 | 1203135.2858 | 2674572.9831 | 1203143.1484 | 2674580.7465 | 1203149.1267 | 2674589.2731 | 1203154.9257 | 2674595.9714 | 1203157.8217
2 | 2674626.9167 | 1203167.2478 | 2674628.186 | 1203164.94 | 2674630.7229 | 1203162.8815
3 | 2674583.4476 | 1203097.9733 | 2674580.6372 | 1203103.6528 | 2674578.2061 | 1203106.9801 | 2674575.313 | 1203110.7463 | 2674572.3317 | 1203115.4787 | 2674563.0211 | 1203135.2858
4 | 2674635.8823 | 1203162.2789 | 2674633.2435 | 1203162.1347 | 2674630.7229 | 1203162.8815
5 | 2674583.4476 | 1203097.9733 | 2674598.3154 | 1203096.1111
6 | 2674635.8823 | 1203162.2789 | 2674641.2232 | 1203151.4056 | 2674642.3666 | 1203149.0558
7 | 2674635.8823 | 1203162.2789 | 2674637.7907 | 1203163.0143 | 2674639.84 | 1203164.6632 | 2674641.4174 | 1203167.5291
8 | 2674641.4174 | 1203167.5291 | 2674651.2484 | 1203166.9849 | 2674678.6222 | 1203165.487
9 | 2674678.6222 | 1203165.487 | 2674703.526 | 1203164.1242
10 | 2674598.3154 | 1203096.1111 | 2674606.29 | 1203095.1122 | 2674614.3963 | 1203097.4038
11 | 2674645.0979 | 1203143.4426 | 2674642.3666 | 1203149.0558
12 | 2674610.6635 | 1203076.9781 | 2674606.3942 | 1203092.8677 | 2674613.3092 | 1203094.8775 | 2674614.9925 | 1203095.3655 | 2674614.3963 | 1203097.4038 | 2674614.3963 | 1203097.4038
13 | 2674604.7202 | 1203063.6176 | 2674609.542 | 1203046.2595
14 | 2674604.7202 | 1203063.6176 | 2674613.617 | 1203065.9857 | 2674610.6635 | 1203076.9781
15 | 2674733.1774 | 1203119.0504 | 2674737.2076 | 1203143.0255
16 | 2674733.1774 | 1203119.0504 | 2674728.7339 | 1203092.6168
17 | 2674724.7706 | 1203069.0392 | 2674728.7339 | 1203092.6168
18 | 2674716.6291 | 1203048.5733 | 2674721.3997 | 1203057.1494 | 2674723.9454 | 1203064.13 | 2674724.7706 | 1203069.0392
19 | 2674716.6291 | 1203048.5733 | 2674707.8526 | 1203045.6109
20 | 2674695.3394 | 1203041.3871 | 2674707.8526 | 1203045.6109
21 | 2674685.8097 | 1203038.1704 | 2674695.3394 | 1203041.3871
22 | 2674685.8097 | 1203038.1704 | 2674679.227 | 1203062.4184
23 | 2674679.227 | 1203062.4184 | 2674677.4654 | 1203068.9074 | 2674677.1395 | 1203069.7287
24 | 2674674.7226 | 1203075.8195 | 2674677.1395 | 1203069.7287
25 | 2674645.0979 | 1203143.4426 | 2674645.361 | 1203142.902
26 | 2674646.7258 | 1203140.0972 | 2674645.361 | 1203142.902
27 | 2674652.89 | 1203127.4288 | 2674646.7258 | 1203140.0972
28 | 2674652.89 | 1203127.4288 | 2674656.964 | 1203119.0563
29 | 2674660.7883 | 1203110.9355 | 2674660.2261 | 1203112.3522 | 2674656.964 | 1203119.0563
30 | 2674660.7883 | 1203110.9355 | 2674665.3668 | 1203099.3972
31 | 2674667.1176 | 1203094.9849 | 2674665.3668 | 1203099.3972
32 | 2674674.7226 | 1203075.8195 | 2674667.1176 | 1203094.9849

## bus_geodata
| x | y | coords
0 | 2674595.9714 | 1203157.8217
1 | 2674626.9167 | 1203167.2478
2 | 2674563.0211 | 1203135.2858
3 | 2674630.7229 | 1203162.8815
4 | 2674583.4476 | 1203097.9733
5 | 2674635.8823 | 1203162.2789
6 | 2674641.4174 | 1203167.5291
7 | 2674678.6222 | 1203165.487
8 | 2674598.3154 | 1203096.1111
9 | 2674642.3666 | 1203149.0558
10 | 2674703.526 | 1203164.1242
11 | 2674614.3963 | 1203097.4038
12 | 2674604.7202 | 1203063.6176
13 | 2674609.542 | 1203046.2595
14 | 2674610.6635 | 1203076.9781
15 | 2674733.1774 | 1203119.0504
16 | 2674737.2076 | 1203143.0255
17 | 2674728.7339 | 1203092.6168
18 | 2674724.7706 | 1203069.0392
19 | 2674716.6291 | 1203048.5733
20 | 2674707.8526 | 1203045.6109
21 | 2674695.3394 | 1203041.3871
22 | 2674685.8097 | 1203038.1704
23 | 2674679.227 | 1203062.4184
24 | 2674677.1395 | 1203069.7287
25 | 2674645.0979 | 1203143.4426
26 | 2674645.361 | 1203142.902
27 | 2674646.7258 | 1203140.0972
28 | 2674652.89 | 1203127.4288
29 | 2674656.964 | 1203119.0563
30 | 2674660.7883 | 1203110.9355
31 | 2674665.3667 | 1203099.3972
32 | 2674667.1176 | 1203094.9849
33 | 2674674.7226 | 1203075.8195
34 | 2674685.8097 | 1203038.1704

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98998 | -0.070018 | 0.004612 | 0.0011559
1 | 0.99178 | -0.05738 | 0 | 0
2 | 0.98802 | -0.083833 | 0 | 0
3 | 0.99211 | -0.055083 | 0.0028493 | 0.0007141
4 | 0.98594 | -0.098591 | 0 | 0
5 | 0.99242 | -0.05288 | 0 | 0
6 | 0.99226 | -0.054029 | 0 | 0
7 | 0.99149 | -0.059431 | 0.0091659 | 0.0022972
8 | 0.9852 | -0.10379 | 0.0040248 | 0.0010087
9 | 0.9936 | -0.044603 | 0.003116 | 0.00078093
10 | 0.99131 | -0.060728 | 0.00512 | 0.0012832
11 | 0.9845 | -0.10882 | 0.010838 | 0.0027163
12 | 0.98346 | -0.11619 | 0 | 0
13 | 0.98321 | -0.11794 | 0.0094425 | 0.0023665
14 | 0.98374 | -0.11418 | 0.0094434 | 0.0023667
15 | 0.99096 | -0.063447 | 0.0032759 | 0.00082101
16 | 0.99073 | -0.065036 | 0.0064296 | 0.0016114
17 | 0.99133 | -0.060803 | 0.0084423 | 0.0021158
18 | 0.99196 | -0.056398 | 0.0080011 | 0.0020053
19 | 0.99279 | -0.050507 | 0 | 0
20 | 0.99314 | -0.048054 | 0.0063117 | 0.0015819
21 | 0.99376 | -0.043717 | 0.0050226 | 0.0012588
22 | 0.9943 | -0.039908 | 0 | 0
23 | 0.99565 | -0.03041 | 0.027715 | 0.0069461
24 | 0.99636 | -0.025419 | 0.024998 | 0.0062651
25 | 0.99413 | -0.040905 | 0.0036566 | 0.00091642
26 | 0.99419 | -0.040526 | 0.0054453 | 0.0013647
27 | 0.99449 | -0.038393 | 0.0032152 | 0.00080581
28 | 0.99593 | -0.02832 | 0.0040417 | 0.001013
29 | 0.99694 | -0.0213 | 0.0093056 | 0.0023322
30 | 0.99803 | -0.013706 | 0.0055566 | 0.0013926
31 | 0.99963 | -0.0025459 | 0.017572 | 0.0044039
32 | 1 | 0 | -0.20397 | -0.051097
33 | 0.99721 | -0.019481 | 0.0041895 | 0.00105
34 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.038559 | -0.0096882 | 0.038627 | 0.0097139 | 6.7923e-05 | 2.5707e-05 | 0.057966 | 0.057966 | 0.057966 | 0.98998 | -0.070018 | 0.99178 | -0.05738 | 21.469
1 | 0.033947 | 0.0085323 | -0.033882 | -0.0085078 | 6.5168e-05 | 2.455e-05 | 0.051034 | 0.051034 | 0.051034 | 0.98998 | -0.070018 | 0.98802 | -0.083833 | 18.9016
2 | -0.038627 | -0.0097139 | 0.03864 | 0.0097186 | 1.2372e-05 | 4.6823e-06 | 0.057966 | 0.057966 | 0.057966 | 0.99178 | -0.05738 | 0.99211 | -0.055083 | 21.4689
3 | 0.033882 | 0.0085078 | -0.033813 | -0.0084817 | 6.9341e-05 | 2.6124e-05 | 0.051034 | 0.051034 | 0.051034 | 0.98802 | -0.083833 | 0.98594 | -0.098591 | 18.9017
4 | -0.041489 | -0.010433 | 0.041502 | 0.010438 | 1.2743e-05 | 4.8329e-06 | 0.06224 | 0.06224 | 0.06224 | 0.99211 | -0.055083 | 0.99242 | -0.05288 | 23.0517
5 | 0.033813 | 0.0084817 | -0.033789 | -0.0084725 | 2.4352e-05 | 9.1753e-06 | 0.051034 | 0.051035 | 0.051035 | 0.98594 | -0.098591 | 0.9852 | -0.10379 | 18.9017
6 | -0.055802 | -0.014022 | 0.055866 | 0.014047 | 6.4352e-05 | 2.456e-05 | 0.083681 | 0.083681 | 0.083681 | 0.99242 | -0.05288 | 0.9936 | -0.044603 | 30.9929
7 | 0.0143 | 0.0035848 | -0.014298 | -0.0035841 | 2.2766e-06 | 7.7308e-07 | 0.021441 | 0.021441 | 0.021441 | 0.99242 | -0.05288 | 0.99226 | -0.054029 | 7.9412
8 | 0.014298 | 0.0035841 | -0.014287 | -0.0035804 | 1.0689e-05 | 3.6302e-06 | 0.021441 | 0.021441 | 0.021441 | 0.99226 | -0.054029 | 0.99149 | -0.059431 | 7.9412
9 | 0.0051209 | 0.0012832 | -0.00512 | -0.0012832 | 9.1925e-07 | 3.1948e-08 | 0.0076853 | 0.0076854 | 0.0076854 | 0.99149 | -0.059431 | 0.99131 | -0.060728 | 2.8465
10 | 0.029764 | 0.0074638 | -0.029743 | -0.007456 | 2.0759e-05 | 7.7748e-06 | 0.044956 | 0.044956 | 0.044956 | 0.9852 | -0.10379 | 0.9845 | -0.10882 | 16.6503
11 | -0.058982 | -0.014828 | 0.059012 | 0.014839 | 3.0403e-05 | 1.1613e-05 | 0.088347 | 0.088347 | 0.088347 | 0.9936 | -0.044603 | 0.99413 | -0.040905 | 32.7211
12 | 0.018905 | 0.0047397 | -0.018891 | -0.0047347 | 1.4027e-05 | 5.0451e-06 | 0.028574 | 0.028575 | 0.028575 | 0.9845 | -0.10882 | 0.98374 | -0.11418 | 10.5832
13 | 0.0094448 | 0.0023672 | -0.0094425 | -0.0023665 | 2.2957e-06 | 6.5444e-07 | 0.01429 | 0.014291 | 0.014291 | 0.98346 | -0.11619 | 0.98321 | -0.11794 | 5.2928
14 | -0.0094448 | -0.0023672 | 0.0094475 | 0.0023679 | 2.6236e-06 | 7.4777e-07 | 0.01429 | 0.01429 | 0.01429 | 0.98346 | -0.11619 | 0.98374 | -0.11418 | 5.2928
15 | 0.006431 | 0.0016116 | -0.0064296 | -0.0016114 | 1.4147e-06 | 2.3097e-07 | 0.0096567 | 0.0096568 | 0.0096568 | 0.99096 | -0.063447 | 0.99073 | -0.065036 | 3.5766
16 | -0.0097069 | -0.0024326 | 0.0097104 | 0.0024337 | 3.5534e-06 | 1.0212e-06 | 0.014576 | 0.014576 | 0.014576 | 0.99096 | -0.063447 | 0.99133 | -0.060803 | 5.3984
17 | -0.018153 | -0.0045495 | 0.018164 | 0.0045535 | 1.1076e-05 | 3.9517e-06 | 0.027248 | 0.027248 | 0.027248 | 0.99133 | -0.060803 | 0.99196 | -0.056398 | 10.0918
18 | -0.026165 | -0.0065587 | 0.026186 | 0.0065667 | 2.1362e-05 | 7.9291e-06 | 0.03925 | 0.03925 | 0.03925 | 0.99196 | -0.056398 | 0.99279 | -0.050507 | 14.537
19 | -0.026186 | -0.0065667 | 0.026195 | 0.00657 | 8.9045e-06 | 3.305e-06 | 0.03925 | 0.03925 | 0.03925 | 0.99279 | -0.050507 | 0.99314 | -0.048054 | 14.537
20 | -0.032507 | -0.0081518 | 0.032526 | 0.0081592 | 1.9551e-05 | 7.3484e-06 | 0.048707 | 0.048707 | 0.048707 | 0.99314 | -0.048054 | 0.99376 | -0.043717 | 18.0395
21 | -0.037549 | -0.009418 | 0.037569 | 0.0094255 | 1.9842e-05 | 7.5012e-06 | 0.056227 | 0.056227 | 0.056227 | 0.99376 | -0.043717 | 0.9943 | -0.039908 | 20.8249
22 | -0.037569 | -0.0094255 | 0.037618 | 0.0094442 | 4.9567e-05 | 1.8738e-05 | 0.056227 | 0.056227 | 0.056227 | 0.9943 | -0.039908 | 0.99565 | -0.03041 | 20.8249
23 | -0.065334 | -0.01639 | 0.065379 | 0.016408 | 4.5264e-05 | 1.731e-05 | 0.097648 | 0.097648 | 0.097648 | 0.99565 | -0.03041 | 0.99636 | -0.025419 | 36.1659
24 | -0.090377 | -0.022673 | 0.090452 | 0.022701 | 7.4501e-05 | 2.8569e-05 | 0.13498 | 0.13498 | 0.13498 | 0.99636 | -0.025419 | 0.99721 | -0.019481 | 49.9931
25 | -0.062669 | -0.015756 | 0.062672 | 0.015757 | 3.3024e-06 | 1.2624e-06 | 0.09382 | 0.09382 | 0.09382 | 0.99413 | -0.040905 | 0.99419 | -0.040526 | 34.7482
26 | -0.068117 | -0.017122 | 0.068138 | 0.01713 | 2.0239e-05 | 7.7436e-06 | 0.10197 | 0.10197 | 0.10197 | 0.99419 | -0.040526 | 0.99449 | -0.038393 | 37.7667
27 | -0.071353 | -0.017935 | 0.071453 | 0.017974 | 0.00010024 | 3.837e-05 | 0.10678 | 0.10678 | 0.10678 | 0.99449 | -0.038393 | 0.99593 | -0.02832 | 39.5485
28 | -0.075495 | -0.018987 | 0.075569 | 0.019015 | 7.3953e-05 | 2.8322e-05 | 0.11282 | 0.11282 | 0.11282 | 0.99593 | -0.02832 | 0.99694 | -0.0213 | 41.785
29 | -0.084874 | -0.021347 | 0.084964 | 0.021382 | 8.9963e-05 | 3.4484e-05 | 0.12671 | 0.12671 | 0.12671 | 0.99694 | -0.0213 | 0.99803 | -0.013706 | 46.9293
30 | -0.090521 | -0.022774 | 0.090662 | 0.022828 | 0.00014116 | 5.4129e-05 | 0.13499 | 0.13499 | 0.13499 | 0.99803 | -0.013706 | 0.99963 | -0.0025459 | 49.9977
31 | -0.10823 | -0.027232 | 0.10827 | 0.027247 | 3.8461e-05 | 1.4668e-05 | 0.16115 | 0.16115 | 0.16115 | 0.99963 | -0.0025459 | 1 | 0 | 29.8426
32 | 0.094898 | 0.02385 | -0.094641 | -0.023751 | 0.00025664 | 9.8439e-05 | 0.14123 | 0.14123 | 0.14123 | 1 | 0 | 0.99721 | -0.019481 | 52.3085

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21788 | 0.054584

## res_load
| p_mw | q_mvar
0 | 0.004612 | 0.0011559
1 | 0.0028493 | 0.0007141
2 | 0.0091659 | 0.0022972
3 | 0.0040248 | 0.0010087
4 | 0.003116 | 0.00078093
5 | 0.00512 | 0.0012832
6 | 0.010838 | 0.0027163
7 | 0.0094425 | 0.0023665
8 | 0.0094434 | 0.0023667
9 | 0.0032759 | 0.00082101
10 | 0.0064296 | 0.0016114
11 | 0.0084423 | 0.0021158
12 | 0.0080011 | 0.0020053
13 | 0.0063117 | 0.0015819
14 | 0.0050226 | 0.0012588
15 | 0.027715 | 0.0069461
16 | 0.024998 | 0.0062651
17 | 0.0036566 | 0.00091642
18 | 0.0054453 | 0.0013647
19 | 0.0032152 | 0.00080581
20 | 0.0040417 | 0.001013
21 | 0.0093056 | 0.0023322
22 | 0.0055566 | 0.0013926
23 | 0.017572 | 0.0044039
24 | 0.013915 | 0.0034874
25 | 0.0041895 | 0.00105

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1