## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1502-9_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1502-9_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1502-9_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1502-9_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1502-9_0_3_node_20 | 0.4 | n |  | TRUE
5 | bus_LV_1502-9_0_3_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_1502-9_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1502-9_0_3_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1502-9_0_3_node_12 | 0.4 | n |  | TRUE
9 | bus_LV_1502-9_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1502-9_0_3_node_9 | 0.4 | n |  | TRUE
11 | bus_LV_1502-9_0_3_node_35 | 0.4 | n |  | TRUE
12 | bus_LV_1502-9_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1502-9_0_3_node_25 | 0.4 | n |  | TRUE
14 | bus_LV_1502-9_0_3_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_1502-9_0_3_node_22 | 0.4 | n |  | TRUE
16 | bus_LV_1502-9_0_3_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1502-9_0_3_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1502-9_0_3_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_1502-9_0_3_node_34 | 0.4 | n |  | TRUE
20 | bus_LV_1502-9_0_3_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_1502-9_0_3_node_23 | 0.4 | n |  | TRUE
22 | bus_LV_1502-9_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1502-9_0_3_node_13 | 0.4 | n |  | TRUE
24 | bus_LV_1502-9_0_3_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_1502-9_0_3_node_16 | 0.4 | n |  | TRUE
26 | bus_LV_1502-9_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1502-9_0_3_node_18 | 0.4 | n |  | TRUE
28 | bus_LV_1502-9_0_3_node_31 | 0.4 | n |  | TRUE
29 | bus_LV_1502-9_0_3_node_39 | 0.4 | n |  | TRUE
30 | bus_LV_1502-9_0_3_node_32 | 0.4 | n |  | TRUE
31 | bus_LV_1502-9_0_3_node_24 | 0.4 | n |  | TRUE
32 | bus_LV_1502-9_0_3_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_1502-9_0_3_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_1502-9_0_3_node_26 | 0.4 | n |  | TRUE
35 | bus_LV_1502-9_0_3_node_28 | 0.4 | n |  | TRUE
36 | bus_LV_1502-9_0_3_node_30 | 0.4 | n |  | TRUE
37 | bus_LV_1502-9_0_3_node_38 | 0.4 | n |  | TRUE
38 | bus_LV_1502-9_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_MV_142_1_node_139 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1502-9_0_3_load_0 | 0 | 0.010139 | 0.0025411 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1502-9_0_3_load_2 | 2 | 0.01271 | 0.0031854 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1502-9_0_3_load_3 | 3 | 0.012237 | 0.0030668 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1502-9_0_3_load_20 | 4 | 0.0079942 | 0.0020035 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1502-9_0_3_load_21 | 5 | 0.003046 | 0.0007634 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1502-9_0_3_load_4 | 6 | 0.0030076 | 0.00075377 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1502-9_0_3_load_12 | 8 | 0.0074743 | 0.0018732 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1502-9_0_3_load_35 | 11 | 0.0033439 | 0.00083807 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1502-9_0_3_load_25 | 13 | 0.0053853 | 0.0013497 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1502-9_0_3_load_22 | 15 | 0.010581 | 0.0026519 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1502-9_0_3_load_19 | 18 | 0.0037171 | 0.0009316 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1502-9_0_3_load_34 | 19 | 0.0096425 | 0.0024166 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1502-9_0_3_load_27 | 20 | 0.0091719 | 0.0022987 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1502-9_0_3_load_23 | 21 | 0.0074461 | 0.0018662 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1502-9_0_3_load_13 | 23 | 0.009353 | 0.0023441 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1502-9_0_3_load_16 | 25 | 0.01327 | 0.0033257 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1502-9_0_3_load_17 | 26 | 0.004231 | 0.0010604 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1502-9_0_3_load_18 | 27 | 0.005652 | 0.0014165 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1502-9_0_3_load_31 | 28 | 0.0044237 | 0.0011087 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1502-9_0_3_load_39 | 29 | 0.01214 | 0.0030427 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1502-9_0_3_load_32 | 30 | 0.0046821 | 0.0011734 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1502-9_0_3_load_24 | 31 | 0.0074555 | 0.0018685 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1502-9_0_3_load_36 | 32 | 0.0037269 | 0.00093404 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1502-9_0_3_load_37 | 33 | 0.0090951 | 0.0022794 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1502-9_0_3_load_26 | 34 | 0.0065457 | 0.0016405 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1502-9_0_3_load_30 | 36 | 0.0076906 | 0.0019274 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1502-9_0_3_load_38 | 37 | 0.0037241 | 0.00093334 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1502-9_0_3_load_33 | 38 | 0.010153 | 0.0025445 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 4 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1502-9_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.017746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1502-9_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.026457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1502-9_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.006865 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1502-9_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0042369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1502-9_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.028964 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_1502-9_0_3_line_5 | NAYY 4x150 SE | 5 | 25 | 0.000142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1502-9_0_3_line_6 | NAYY 4x150 SE | 6 | 7 | 0.015822 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1502-9_0_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.01555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1502-9_0_3_line_8 | NAYY 4x150 SE | 8 | 16 | 0.084399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1502-9_0_3_line_9 | NAYY 4x150 SE | 9 | 10 | 0.050003 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1502-9_0_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.024532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1502-9_0_3_line_11 | NAYY 4x150 SE | 10 | 15 | 0.017055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1502-9_0_3_line_12 | NAYY 4x150 SE | 11 | 19 | 0.031536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1502-9_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.012479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1502-9_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.033709 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1502-9_0_3_line_15 | NAYY 4x150 SE | 14 | 20 | 0.022357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1502-9_0_3_line_16 | NAYY 4x150 SE | 15 | 21 | 0.010893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1502-9_0_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.005256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1502-9_0_3_line_18 | NAYY 4x150 SE | 17 | 18 | 0.058711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1502-9_0_3_line_19 | NAYY 4x150 SE | 18 | 22 | 0.0028984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1502-9_0_3_line_20 | NAYY 4x150 SE | 19 | 38 | 0.0090359 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1502-9_0_3_line_21 | NAYY 4x150 SE | 20 | 34 | 0.032949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1502-9_0_3_line_22 | NAYY 4x150 SE | 21 | 31 | 0.022411 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1502-9_0_3_line_23 | NAYY 4x150 SE | 22 | 27 | 0.01001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1502-9_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.023762 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1502-9_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.012348 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1502-9_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.017853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1502-9_0_3_line_27 | NAYY 4x150 SE | 24 | 26 | 0.020343 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_1502-9_0_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.010416 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_1502-9_0_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.035893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1502-9_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.011907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
31 | LV_1502-9_0_3_line_31 | NAYY 4x150 SE | 30 | 38 | 0.010882 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_1502-9_0_3_line_32 | NAYY 4x150 SE | 31 | 32 | 0.0043125 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1502-9_0_3_line_33 | NAYY 4x150 SE | 32 | 33 | 0.013346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1502-9_0_3_line_34 | NAYY 4x150 SE | 33 | 37 | 0.011655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1502-9_0_3_line_35 | NAYY 4x150 SE | 34 | 35 | 0.016706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1502-9_0_3_line_36 | NAYY 4x150 SE | 35 | 36 | 0.032467 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1502-9_0_3_line_37 | NAYY 4x150 SE | 36 | 37 | 0.010422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1502-9_0_3_trafo_20 | 0.25 MVA 20/0.4 kV | 39 | 4 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2674708.5096 | 1203293.0564 | 2674691.5736 | 1203297.0805 | 2674691.2421 | 1203297.1495
1 | 2674708.5096 | 1203293.0564 | 2674714.0611 | 1203267.1885
2 | 2674708.5096 | 1203293.0564 | 2674707.1224 | 1203299.3207 | 2674707.0357 | 1203299.7613
3 | 2674714.0611 | 1203267.1885 | 2674714.9501 | 1203263.046
4 | 2674714.9501 | 1203263.046 | 2674715.0631 | 1203262.5195 | 2674722.2989 | 1203235.0302
5 | 2674722.335 | 1203234.8929 | 2674722.2989 | 1203235.0302
6 | 2674741.17 | 1203166.5977 | 2674756.8586 | 1203168.6496
7 | 2674741.17 | 1203166.5977 | 2674725.6637 | 1203165.4291
8 | 2674641.4174 | 1203167.5291 | 2674651.2484 | 1203166.9849 | 2674706.3198 | 1203163.9713 | 2674725.6637 | 1203165.4291
9 | 2674839.9923 | 1203253.255 | 2674840.1759 | 1203256.8262 | 2674841.3128 | 1203259.0085 | 2674843.2921 | 1203260.7677 | 2674845.5944 | 1203261.6415 | 2674839.9381 | 1203300.0834
10 | 2674839.9923 | 1203253.255 | 2674816.2487 | 1203247.086
11 | 2674839.9381 | 1203300.0834 | 2674829.3964 | 1203301.4855 | 2674823.085 | 1203302.6666
12 | 2674816.2487 | 1203247.086 | 2674807.7563 | 1203244.8795 | 2674786.1865 | 1203237.6116
13 | 2674825.6741 | 1203364.1333 | 2674828.3868 | 1203351.9522
14 | 2674825.6741 | 1203364.1333 | 2674816.6759 | 1203396.6185
15 | 2674816.6759 | 1203396.6185 | 2674796.9172 | 1203386.1572
16 | 2674812.3778 | 1203304.6703 | 2674823.085 | 1203302.6666
17 | 2674641.0941 | 1203172.6949 | 2674641.7119 | 1203170.1455 | 2674641.4174 | 1203167.5291
18 | 2674641.0941 | 1203172.6949 | 2674647.7545 | 1203173.1562 | 2674650.2018 | 1203174.6099 | 2674677.0681 | 1203192.5567 | 2674689.5016 | 1203199.9167 | 2674691.6247 | 1203201.0994
19 | 2674694.1567 | 1203202.5098 | 2674691.6247 | 1203201.0994
20 | 2674777.6236 | 1203234.7264 | 2674786.1865 | 1203237.6116
21 | 2674767.798 | 1203370.7402 | 2674796.9172 | 1203386.1572
22 | 2674790.3704 | 1203308.9001 | 2674796.0416 | 1203307.7273 | 2674812.3778 | 1203304.6703
23 | 2674694.1567 | 1203202.5098 | 2674689.1874 | 1203211.1994
24 | 2674694.1567 | 1203202.5098 | 2674706.2934 | 1203209.2657 | 2674715.4393 | 1203212.981
25 | 2674726.8795 | 1203217.6283 | 2674715.4393 | 1203212.981
26 | 2674726.8795 | 1203217.6283 | 2674722.335 | 1203234.8929
27 | 2674726.8795 | 1203217.6283 | 2674746.1577 | 1203224.1241
28 | 2674746.1577 | 1203224.1241 | 2674756.0283 | 1203227.4499
29 | 2674670.2983 | 1203241.6136 | 2674675.0728 | 1203235.8808 | 2674689.1874 | 1203211.1994
30 | 2674767.3117 | 1203231.2518 | 2674756.0283 | 1203227.4499
31 | 2674777.6236 | 1203234.7264 | 2674767.3117 | 1203231.2518
32 | 2674786.1472 | 1203309.7734 | 2674790.3704 | 1203308.9001
33 | 2674786.1472 | 1203309.7734 | 2674773.0773 | 1203312.4761 | 2674773.0773 | 1203312.4761
34 | 2674767.1551 | 1203322.515 | 2674773.0773 | 1203312.4761
35 | 2674753.0337 | 1203362.9232 | 2674767.798 | 1203370.7402
36 | 2674753.0337 | 1203362.9232 | 2674763.1343 | 1203332.0677
37 | 2674767.1551 | 1203322.515 | 2674765.1472 | 1203325.9186 | 2674763.1343 | 1203332.0677

## bus_geodata
| x | y | coords
0 | 2674691.2421 | 1203297.1495
1 | 2674708.5096 | 1203293.0564
2 | 2674714.0611 | 1203267.1885
3 | 2674707.0357 | 1203299.7613
4 | 2674714.9501 | 1203263.046
5 | 2674722.2989 | 1203235.0302
6 | 2674756.8586 | 1203168.6496
7 | 2674741.17 | 1203166.5977
8 | 2674725.6637 | 1203165.4291
9 | 2674839.9923 | 1203253.255
10 | 2674839.9381 | 1203300.0834
11 | 2674816.2487 | 1203247.086
12 | 2674825.6741 | 1203364.1333
13 | 2674828.3868 | 1203351.9522
14 | 2674816.6759 | 1203396.6185
15 | 2674823.085 | 1203302.6666
16 | 2674641.4174 | 1203167.5291
17 | 2674641.0941 | 1203172.6949
18 | 2674691.6247 | 1203201.0994
19 | 2674786.1865 | 1203237.6116
20 | 2674796.9172 | 1203386.1572
21 | 2674812.3778 | 1203304.6703
22 | 2674694.1567 | 1203202.5098
23 | 2674715.4393 | 1203212.981
24 | 2674726.8795 | 1203217.6283
25 | 2674722.335 | 1203234.8929
26 | 2674746.1577 | 1203224.1241
27 | 2674689.1874 | 1203211.1994
28 | 2674756.0283 | 1203227.4499
29 | 2674670.2983 | 1203241.6136
30 | 2674767.3117 | 1203231.2518
31 | 2674790.3704 | 1203308.9001
32 | 2674786.1472 | 1203309.7734
33 | 2674773.0773 | 1203312.4761
34 | 2674767.798 | 1203370.7402
35 | 2674753.0337 | 1203362.9232
36 | 2674763.1343 | 1203332.0677
37 | 2674767.1551 | 1203322.515
38 | 2674777.6236 | 1203234.7264
39 | 2674708.5096 | 1203293.0564

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99869 | -0.009201 | 0.010139 | 0.0025411
1 | 0.99894 | -0.0074009 | 0 | 0
2 | 0.99979 | -0.0014841 | 0.01271 | 0.0031854
3 | 0.99882 | -0.0082412 | 0.012237 | 0.0030668
4 | 1 | 0 | -0.20333 | -0.05108
5 | 0.99654 | -0.023937 | 0.003046 | 0.0007634
6 | 0.99034 | -0.06745 | 0.0030076 | 0.00075377
7 | 0.99041 | -0.066965 | 0 | 0
8 | 0.99048 | -0.066489 | 0.0074743 | 0.0018732
9 | 0.98583 | -0.09864 | 0 | 0
10 | 0.98066 | -0.13521 | 0 | 0
11 | 0.98837 | -0.080836 | 0.0033439 | 0.00083807
12 | 0.97144 | -0.2012 | 0 | 0
13 | 0.97134 | -0.20191 | 0.0053853 | 0.0013497
14 | 0.9717 | -0.19928 | 0 | 0
15 | 0.97889 | -0.14777 | 0.010581 | 0.0026519
16 | 0.99175 | -0.057495 | 0 | 0
17 | 0.99183 | -0.056935 | 0 | 0
18 | 0.99272 | -0.050689 | 0.0037171 | 0.0009316
19 | 0.99008 | -0.068904 | 0.0096425 | 0.0024166
20 | 0.97188 | -0.19801 | 0.0091719 | 0.0022987
21 | 0.97793 | -0.15462 | 0.0074461 | 0.0018662
22 | 0.99278 | -0.050272 | 0 | 0
23 | 0.99387 | -0.042577 | 0.009353 | 0.0023441
24 | 0.9946 | -0.037419 | 0 | 0
25 | 0.99653 | -0.024052 | 0.01327 | 0.0033257
26 | 0.99302 | -0.048453 | 0.004231 | 0.0010604
27 | 0.99252 | -0.052076 | 0.005652 | 0.0014165
28 | 0.99223 | -0.053892 | 0.0044237 | 0.0011087
29 | 0.99189 | -0.056494 | 0.01214 | 0.0030427
30 | 0.99138 | -0.059852 | 0.0046821 | 0.0011734
31 | 0.9762 | -0.16699 | 0.0074555 | 0.0018685
32 | 0.97591 | -0.16904 | 0.0037269 | 0.00093404
33 | 0.9751 | -0.17487 | 0.0090951 | 0.0022794
34 | 0.97258 | -0.19294 | 0.0065457 | 0.0016405
35 | 0.9731 | -0.18922 | 0 | 0
36 | 0.9741 | -0.18201 | 0.0076906 | 0.0019274
37 | 0.97454 | -0.17885 | 0.0037241 | 0.00093334
38 | 0.99064 | -0.06505 | 0.010153 | 0.0025445
39 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.010139 | -0.0025411 | 0.010142 | 0.0025418 | 2.5272e-06 | 7.3973e-07 | 0.015107 | 0.015107 | 0.015107 | 0.99869 | -0.009201 | 0.99894 | -0.0074009 | 5.5951
1 | -0.02238 | -0.0056091 | 0.022398 | 0.0056158 | 1.8347e-05 | 6.7099e-06 | 0.033337 | 0.033336 | 0.033337 | 0.99894 | -0.0074009 | 0.99979 | -0.0014841 | 12.3469
2 | 0.012238 | 0.0030672 | -0.012237 | -0.0030668 | 1.4236e-06 | 4.5768e-07 | 0.01823 | 0.01823 | 0.01823 | 0.99894 | -0.0074009 | 0.99882 | -0.0082412 | 6.7518
3 | -0.035108 | -0.0088012 | 0.035115 | 0.0088039 | 7.2185e-06 | 2.7208e-06 | 0.052253 | 0.052253 | 0.052253 | 0.99979 | -0.0014841 | 1 | 0 | 19.353
4 | 0.16741 | 0.042276 | -0.16685 | -0.042061 | 0.00056132 | 0.00021513 | 0.24923 | 0.24923 | 0.24923 | 1 | 0 | 0.99654 | -0.023937 | 46.1533
5 | 0.16381 | 0.041298 | -0.1638 | -0.041297 | 2.6525e-06 | 1.0165e-06 | 0.24468 | 0.24468 | 0.24468 | 0.99654 | -0.023937 | 0.99653 | -0.024052 | 45.3111
6 | -0.0030076 | -0.00075377 | 0.0030078 | 0.00075365 | 2.0162e-07 | -1.2606e-07 | 0.004519 | 0.0045189 | 0.004519 | 0.99034 | -0.06745 | 0.99041 | -0.066965 | 1.6737
7 | -0.0030078 | -0.00075365 | 0.003008 | 0.00075352 | 1.9814e-07 | -1.2392e-07 | 0.0045189 | 0.0045188 | 0.0045189 | 0.99041 | -0.066965 | 0.99048 | -0.066489 | 1.6737
8 | -0.010482 | -0.0026268 | 0.010495 | 0.0026307 | 1.306e-05 | 3.9354e-06 | 0.015748 | 0.015747 | 0.015748 | 0.99048 | -0.066489 | 0.99175 | -0.057495 | 5.8325
9 | 0.071582 | 0.018038 | -0.071217 | -0.017899 | 0.00036448 | 0.00013955 | 0.10808 | 0.10808 | 0.10808 | 0.98583 | -0.09864 | 0.98066 | -0.13521 | 40.03
10 | -0.071582 | -0.018038 | 0.071761 | 0.018107 | 0.00017882 | 6.8463e-05 | 0.10808 | 0.10808 | 0.10808 | 0.98583 | -0.09864 | 0.98837 | -0.080836 | 40.0299
11 | 0.071217 | 0.017899 | -0.071093 | -0.017851 | 0.00012432 | 4.7601e-05 | 0.10808 | 0.10808 | 0.10808 | 0.98066 | -0.13521 | 0.97889 | -0.14777 | 40.03
12 | -0.075105 | -0.018945 | 0.075231 | 0.018992 | 0.00012589 | 4.761e-05 | 0.11311 | 0.11311 | 0.11311 | 0.98837 | -0.080836 | 0.99008 | -0.068904 | 20.9472
13 | 0.0053858 | 0.0013497 | -0.0053853 | -0.0013497 | 5.2999e-07 | 4.9356e-08 | 0.0082498 | 0.0082498 | 0.0082498 | 0.97144 | -0.2012 | 0.97134 | -0.20191 | 3.0555
14 | -0.0053858 | -0.0013497 | 0.0053872 | 0.0013499 | 1.4316e-06 | 1.3315e-07 | 0.0082498 | 0.0082496 | 0.0082498 | 0.97144 | -0.2012 | 0.9717 | -0.19928 | 3.0555
15 | -0.0053872 | -0.0013499 | 0.0053882 | 0.0013499 | 9.4944e-07 | 8.8173e-08 | 0.0082496 | 0.0082495 | 0.0082496 | 0.9717 | -0.19928 | 0.97188 | -0.19801 | 3.0554
16 | 0.060512 | 0.015199 | -0.060454 | -0.015177 | 5.7528e-05 | 2.1989e-05 | 0.091997 | 0.091997 | 0.091997 | 0.97889 | -0.14777 | 0.97793 | -0.15462 | 34.0728
17 | -0.010495 | -0.0026307 | 0.010496 | 0.0026309 | 8.133e-07 | 2.4498e-07 | 0.015747 | 0.015747 | 0.015747 | 0.99175 | -0.057495 | 0.99183 | -0.056935 | 5.8323
18 | -0.010496 | -0.0026309 | 0.010505 | 0.0026337 | 9.0846e-06 | 2.7357e-06 | 0.015747 | 0.015747 | 0.015747 | 0.99183 | -0.056935 | 0.99272 | -0.050689 | 5.8323
19 | -0.014222 | -0.0035653 | 0.014223 | 0.0035656 | 8.2197e-07 | 2.7867e-07 | 0.021319 | 0.021319 | 0.021319 | 0.99272 | -0.050689 | 0.99278 | -0.050272 | 7.8958
20 | -0.084873 | -0.021409 | 0.084919 | 0.021427 | 4.5906e-05 | 1.7424e-05 | 0.12761 | 0.12761 | 0.12761 | 0.99008 | -0.068904 | 0.99064 | -0.06505 | 23.6309
21 | -0.01456 | -0.0036487 | 0.01457 | 0.0036522 | 1.0217e-05 | 3.5211e-06 | 0.022292 | 0.022292 | 0.022292 | 0.97188 | -0.19801 | 0.97258 | -0.19294 | 8.2565
22 | 0.053008 | 0.013311 | -0.052917 | -0.013276 | 9.0998e-05 | 3.4719e-05 | 0.080667 | 0.080667 | 0.080667 | 0.97793 | -0.15462 | 0.9762 | -0.16699 | 29.8766
23 | 0.017804 | 0.0044632 | -0.0178 | -0.0044616 | 4.4483e-06 | 1.5815e-06 | 0.026686 | 0.026686 | 0.026686 | 0.99278 | -0.050272 | 0.99252 | -0.052076 | 9.8838
24 | -0.032027 | -0.0080287 | 0.032062 | 0.0080416 | 3.4169e-05 | 1.2834e-05 | 0.048005 | 0.048005 | 0.048005 | 0.99278 | -0.050272 | 0.99387 | -0.042577 | 17.7796
25 | -0.041415 | -0.010386 | 0.041444 | 0.010397 | 2.9627e-05 | 1.1235e-05 | 0.062008 | 0.062008 | 0.062008 | 0.99387 | -0.042577 | 0.9946 | -0.037419 | 22.9659
26 | -0.15025 | -0.037863 | 0.15054 | 0.037971 | 0.00028165 | 0.00010786 | 0.22487 | 0.22487 | 0.22487 | 0.9946 | -0.037419 | 0.99653 | -0.024052 | 41.6418
27 | 0.10881 | 0.027466 | -0.10864 | -0.027402 | 0.00016834 | 6.4219e-05 | 0.16286 | 0.16286 | 0.16286 | 0.9946 | -0.037419 | 0.99302 | -0.048453 | 30.1589
28 | 0.10441 | 0.026342 | -0.10433 | -0.026311 | 7.9612e-05 | 3.0351e-05 | 0.15652 | 0.15652 | 0.15652 | 0.99302 | -0.048453 | 0.99223 | -0.053892 | 28.9848
29 | 0.012148 | 0.0030451 | -0.01214 | -0.0030427 | 7.4292e-06 | 2.3938e-06 | 0.018213 | 0.018213 | 0.018213 | 0.99252 | -0.052076 | 0.99189 | -0.056494 | 6.7455
30 | 0.099906 | 0.025203 | -0.099823 | -0.025171 | 8.3456e-05 | 3.1791e-05 | 0.14988 | 0.14988 | 0.14988 | 0.99223 | -0.053892 | 0.99138 | -0.059852 | 27.7563
31 | 0.095141 | 0.023997 | -0.095072 | -0.023971 | 6.9286e-05 | 2.6368e-05 | 0.14286 | 0.14286 | 0.14286 | 0.99138 | -0.059852 | 0.99064 | -0.06505 | 26.4549
32 | 0.045462 | 0.011408 | -0.045449 | -0.011403 | 1.2925e-05 | 4.9171e-06 | 0.069302 | 0.069302 | 0.069302 | 0.9762 | -0.16699 | 0.97591 | -0.16904 | 25.6676
33 | 0.041722 | 0.010469 | -0.041688 | -0.010456 | 3.3708e-05 | 1.2798e-05 | 0.06362 | 0.06362 | 0.06362 | 0.97591 | -0.16904 | 0.9751 | -0.17487 | 23.5629
34 | 0.032593 | 0.0081767 | -0.032575 | -0.0081699 | 1.7995e-05 | 6.7757e-06 | 0.049741 | 0.049741 | 0.049741 | 0.9751 | -0.17487 | 0.97454 | -0.17885 | 18.4225
35 | -0.021116 | -0.0052927 | 0.021127 | 0.0052967 | 1.088e-05 | 3.9774e-06 | 0.032307 | 0.032307 | 0.032307 | 0.97258 | -0.19294 | 0.9731 | -0.18922 | 11.9655
36 | -0.021127 | -0.0052967 | 0.021148 | 0.0053044 | 2.1145e-05 | 7.729e-06 | 0.032307 | 0.032307 | 0.032307 | 0.9731 | -0.18922 | 0.9741 | -0.18201 | 11.9655
37 | -0.028839 | -0.0072318 | 0.028851 | 0.0072366 | 1.2622e-05 | 4.7247e-06 | 0.044055 | 0.044055 | 0.044055 | 0.9741 | -0.18201 | 0.97454 | -0.17885 | 16.3165

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21132 | 0.053084

## res_load
| p_mw | q_mvar
0 | 0.010139 | 0.0025411
1 | 0.01271 | 0.0031854
2 | 0.012237 | 0.0030668
3 | 0.0079942 | 0.0020035
4 | 0.003046 | 0.0007634
5 | 0.0030076 | 0.00075377
6 | 0.0074743 | 0.0018732
7 | 0.0033439 | 0.00083807
8 | 0.0053853 | 0.0013497
9 | 0.010581 | 0.0026519
10 | 0.0037171 | 0.0009316
11 | 0.0096425 | 0.0024166
12 | 0.0091719 | 0.0022987
13 | 0.0074461 | 0.0018662
14 | 0.009353 | 0.0023441
15 | 0.01327 | 0.0033257
16 | 0.004231 | 0.0010604
17 | 0.005652 | 0.0014165
18 | 0.0044237 | 0.0011087
19 | 0.01214 | 0.0030427
20 | 0.0046821 | 0.0011734
21 | 0.0074555 | 0.0018685
22 | 0.0037269 | 0.00093404
23 | 0.0090951 | 0.0022794
24 | 0.0065457 | 0.0016405
25 | 0.0076906 | 0.0019274
26 | 0.0037241 | 0.00093334
27 | 0.010153 | 0.0025445

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1