## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1503-3_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1503-3_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1503-3_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1503-3_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1503-3_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1503-3_0_2_node_9 | 0.4 | n |  | TRUE
6 | bus_LV_1503-3_0_2_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1503-3_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1503-3_0_2_node_7 | 0.4 | n |  | TRUE
9 | bus_LV_1503-3_0_2_node_8 | 0.4 | n |  | TRUE
10 | bus_LV_1503-3_0_2_node_44 | 0.4 | n |  | TRUE
11 | bus_LV_1503-3_0_2_node_47 | 0.4 | n |  | TRUE
12 | bus_LV_1503-3_0_2_node_49 | 0.4 | n |  | TRUE
13 | bus_LV_1503-3_0_2_node_45 | 0.4 | n |  | TRUE
14 | bus_LV_1503-3_0_2_node_46 | 0.4 | n |  | TRUE
15 | bus_LV_1503-3_0_2_node_50 | 0.4 | n |  | TRUE
16 | bus_LV_1503-3_0_2_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1503-3_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1503-3_0_2_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1503-3_0_2_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1503-3_0_2_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1503-3_0_2_node_21 | 0.4 | n |  | TRUE
22 | bus_LV_1503-3_0_2_node_30 | 0.4 | n |  | TRUE
23 | bus_LV_1503-3_0_2_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1503-3_0_2_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1503-3_0_2_node_28 | 0.4 | n |  | TRUE
26 | bus_LV_1503-3_0_2_node_59 | 0.4 | n |  | TRUE
27 | bus_LV_1503-3_0_2_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1503-3_0_2_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1503-3_0_2_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1503-3_0_2_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_1503-3_0_2_node_23 | 0.4 | n |  | TRUE
32 | bus_LV_1503-3_0_2_node_32 | 0.4 | n |  | TRUE
33 | bus_LV_1503-3_0_2_node_24 | 0.4 | n |  | TRUE
34 | bus_LV_1503-3_0_2_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_1503-3_0_2_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1503-3_0_2_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1503-3_0_2_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1503-3_0_2_node_41 | 0.4 | n |  | TRUE
39 | bus_LV_1503-3_0_2_node_25 | 0.4 | n |  | TRUE
40 | bus_LV_1503-3_0_2_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_1503-3_0_2_node_35 | 0.4 | n |  | TRUE
42 | bus_LV_1503-3_0_2_node_56 | 0.4 | n |  | TRUE
43 | bus_LV_1503-3_0_2_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_1503-3_0_2_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_1503-3_0_2_node_54 | 0.4 | n |  | TRUE
46 | bus_LV_1503-3_0_2_node_36 | 0.4 | n |  | TRUE
47 | bus_LV_1503-3_0_2_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_1503-3_0_2_node_38 | 0.4 | n |  | TRUE
49 | bus_LV_1503-3_0_2_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_1503-3_0_2_node_42 | 0.4 | n |  | TRUE
51 | bus_LV_1503-3_0_2_node_43 | 0.4 | n |  | TRUE
52 | bus_LV_1503-3_0_2_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_1503-3_0_2_node_51 | 0.4 | n |  | TRUE
54 | bus_LV_1503-3_0_2_node_48 | 0.4 | n |  | TRUE
55 | bus_LV_1503-3_0_2_node_52 | 0.4 | n |  | TRUE
56 | bus_LV_1503-3_0_2_node_57 | 0.4 | n |  | TRUE
57 | bus_LV_1503-3_0_2_node_58 | 0.4 | n |  | TRUE
58 | bus_MV_136_1_node_242 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1503-3_0_2_load_0 | 0 | 0.0020351 | 0.00051004 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1503-3_0_2_load_1 | 1 | 0.0031078 | 0.00077889 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1503-3_0_2_load_2 | 2 | 0.00245 | 0.00061402 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1503-3_0_2_load_3 | 3 | 0.0019387 | 0.00048587 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1503-3_0_2_load_4 | 4 | 0.0036409 | 0.00091249 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1503-3_0_2_load_9 | 5 | 0.0081233 | 0.0020359 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1503-3_0_2_load_6 | 7 | 0.0036883 | 0.00092437 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1503-3_0_2_load_7 | 8 | 0.0036944 | 0.00092592 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1503-3_0_2_load_8 | 9 | 0.0024512 | 0.00061432 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1503-3_0_2_load_44 | 10 | 0.0032759 | 0.00082103 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1503-3_0_2_load_47 | 11 | 0.0037625 | 0.00094297 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1503-3_0_2_load_49 | 12 | 0.0046217 | 0.0011583 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1503-3_0_2_load_45 | 13 | 0.0058915 | 0.0014766 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1503-3_0_2_load_46 | 14 | 0.0036628 | 0.00091798 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1503-3_0_2_load_10 | 16 | 0.0013527 | 0.00033902 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1503-3_0_2_load_11 | 17 | 0.0014943 | 0.00037451 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1503-3_0_2_load_14 | 19 | 0.00066353 | 0.0001663 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1503-3_0_2_load_15 | 20 | 0.0015154 | 0.00037981 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1503-3_0_2_load_21 | 21 | 0.0026827 | 0.00067234 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1503-3_0_2_load_30 | 22 | 0.0027209 | 0.00068191 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1503-3_0_2_load_28 | 25 | 0.0044768 | 0.001122 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1503-3_0_2_load_59 | 26 | 0.0034543 | 0.00086573 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1503-3_0_2_load_17 | 27 | 0.0065496 | 0.0016415 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1503-3_0_2_load_19 | 29 | 0.0064357 | 0.0016129 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1503-3_0_2_load_23 | 31 | 0.0030074 | 0.00075374 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1503-3_0_2_load_32 | 32 | 0.012768 | 0.0032 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1503-3_0_2_load_27 | 36 | 0.0022999 | 0.0005764 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1503-3_0_2_load_41 | 38 | 0.0011059 | 0.00027717 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1503-3_0_2_load_25 | 39 | 0.0030074 | 0.00075374 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1503-3_0_2_load_55 | 40 | 0.010094 | 0.0025299 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1503-3_0_2_load_35 | 41 | 0.0064673 | 0.0016209 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1503-3_0_2_load_56 | 42 | 0.012392 | 0.0031056 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1503-3_0_2_load_34 | 43 | 0.0036775 | 0.00092168 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1503-3_0_2_load_53 | 44 | 0.0015047 | 0.00037712 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1503-3_0_2_load_54 | 45 | 0.0039817 | 0.0009979 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1503-3_0_2_load_36 | 46 | 0.00074506 | 0.00018673 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1503-3_0_2_load_37 | 47 | 0.00036032 | 9.0304e-05 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1503-3_0_2_load_39 | 49 | 0.00047645 | 0.00011941 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1503-3_0_2_load_43 | 51 | 0.0041765 | 0.0010467 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1503-3_0_2_load_40 | 52 | 0.0024072 | 0.0006033 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1503-3_0_2_load_51 | 53 | 0.0030974 | 0.00077629 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1503-3_0_2_load_48 | 54 | 0.0021137 | 0.00052975 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1503-3_0_2_load_52 | 55 | 0.0058117 | 0.0014566 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1503-3_0_2_load_57 | 56 | 0.0040758 | 0.0010215 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1503-3_0_2_load_58 | 57 | 0.0011301 | 0.00028323 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 42 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1503-3_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.01407 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1503-3_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012753 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1503-3_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1503-3_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.010023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1503-3_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0010546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1503-3_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.013575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1503-3_0_2_line_6 | NAYY 4x150 SE | 6 | 7 | 0.028802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1503-3_0_2_line_7 | NAYY 4x150 SE | 6 | 8 | 0.01373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1503-3_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.017323 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1503-3_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.016065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1503-3_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.017088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1503-3_0_2_line_11 | NAYY 4x150 SE | 9 | 12 | 0.028114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1503-3_0_2_line_12 | NAYY 4x150 SE | 10 | 13 | 0.019326 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1503-3_0_2_line_13 | NAYY 4x150 SE | 11 | 14 | 0.012685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1503-3_0_2_line_14 | NAYY 4x150 SE | 12 | 15 | 0.015731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1503-3_0_2_line_15 | NAYY 4x150 SE | 14 | 54 | 0.0016396 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1503-3_0_2_line_16 | NAYY 4x150 SE | 15 | 55 | 0.022699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1503-3_0_2_line_17 | NAYY 4x150 SE | 15 | 53 | 0.037233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1503-3_0_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.016889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1503-3_0_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.026594 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1503-3_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.01106 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1503-3_0_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.028357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1503-3_0_2_line_22 | NAYY 4x150 SE | 19 | 21 | 0.011059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1503-3_0_2_line_23 | NAYY 4x150 SE | 20 | 22 | 0.02412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1503-3_0_2_line_24 | NAYY 4x150 SE | 21 | 23 | 0.044235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1503-3_0_2_line_25 | NAYY 4x150 SE | 22 | 25 | 0.0043551 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1503-3_0_2_line_26 | NAYY 4x150 SE | 23 | 24 | 0.081645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1503-3_0_2_line_27 | NAYY 4x150 SE | 24 | 26 | 0.06397 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1503-3_0_2_line_28 | NAYY 4x150 SE | 25 | 36 | 0.018565 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1503-3_0_2_line_29 | NAYY 4x150 SE | 26 | 38 | 0.058771 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1503-3_0_2_line_30 | NAYY 4x150 SE | 27 | 28 | 0.030259 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1503-3_0_2_line_31 | NAYY 4x150 SE | 28 | 29 | 0.019403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1503-3_0_2_line_32 | NAYY 4x150 SE | 28 | 30 | 0.081332 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1503-3_0_2_line_33 | NAYY 4x150 SE | 29 | 31 | 0.0001897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1503-3_0_2_line_34 | NAYY 4x150 SE | 30 | 32 | 0.019874 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1503-3_0_2_line_35 | NAYY 4x150 SE | 31 | 33 | 0.022263 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1503-3_0_2_line_36 | NAYY 4x150 SE | 32 | 37 | 0.040514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1503-3_0_2_line_37 | NAYY 4x150 SE | 33 | 39 | 0.014389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1503-3_0_2_line_38 | NAYY 4x150 SE | 34 | 35 | 0.008497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1503-3_0_2_line_39 | NAYY 4x150 SE | 34 | 36 | 0.018195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1503-3_0_2_line_40 | NAYY 4x150 SE | 35 | 40 | 0.02118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_1503-3_0_2_line_41 | NAYY 4x150 SE | 35 | 41 | 0.021854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
42 | LV_1503-3_0_2_line_42 | NAYY 4x150 SE | 37 | 43 | 0.021584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1503-3_0_2_line_43 | NAYY 4x150 SE | 37 | 41 | 0.020962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
44 | LV_1503-3_0_2_line_44 | NAYY 4x150 SE | 38 | 52 | 0.0052267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1503-3_0_2_line_45 | NAYY 4x150 SE | 40 | 42 | 0.01562 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_1503-3_0_2_line_46 | NAYY 4x150 SE | 43 | 44 | 0.036504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1503-3_0_2_line_47 | NAYY 4x150 SE | 44 | 45 | 0.0067096 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1503-3_0_2_line_48 | NAYY 4x150 SE | 45 | 57 | 0.014638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1503-3_0_2_line_49 | NAYY 4x150 SE | 46 | 47 | 0.0040694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1503-3_0_2_line_50 | NAYY 4x150 SE | 46 | 48 | 0.10269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1503-3_0_2_line_51 | NAYY 4x150 SE | 47 | 49 | 0.048617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1503-3_0_2_line_52 | NAYY 4x150 SE | 48 | 50 | 0.18526 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1503-3_0_2_line_53 | NAYY 4x150 SE | 50 | 51 | 0.071814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1503-3_0_2_line_54 | NAYY 4x150 SE | 51 | 53 | 0.030856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1503-3_0_2_line_55 | NAYY 4x150 SE | 55 | 56 | 0.0044719 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1503-3_0_2_line_56 | NAYY 4x150 SE | 56 | 57 | 0.026524 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1503-3_0_2_trafo_56 | 0.25 MVA 20/0.4 kV | 58 | 42 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2672715.4273 | 1197906.437 | 2672709.2157 | 1197917.2872 | 2672708.2731 | 1197918.54
1 | 2672715.4273 | 1197906.437 | 2672721.7631 | 1197895.3694
2 | 2672708.2731 | 1197918.54 | 2672696.7465 | 1197933.8589
3 | 2672726.7427 | 1197886.6711 | 2672721.7631 | 1197895.3694
4 | 2672696.1124 | 1197934.7016 | 2672696.7465 | 1197933.8589
5 | 2672733.4872 | 1197874.89 | 2672726.7427 | 1197886.6711
6 | 2672733.4872 | 1197874.89 | 2672716.1423 | 1197855.6674 | 2672714.1071 | 1197853.5865
7 | 2672733.4872 | 1197874.89 | 2672742.6629 | 1197864.6766
8 | 2672733.4872 | 1197874.89 | 2672745.9104 | 1197886.9633
9 | 2672714.1071 | 1197853.5865 | 2672712.1477 | 1197851.583 | 2672706.8967 | 1197848.7175 | 2672700.2294 | 1197845.7918
10 | 2672742.6629 | 1197864.6766 | 2672752.813 | 1197853.3787 | 2672754.3349 | 1197852.241 | 2672754.3349 | 1197852.241
11 | 2672767.0864 | 1197905.4342 | 2672750.9808 | 1197891.8909 | 2672745.9104 | 1197886.9633
12 | 2672682.5322 | 1197838.0259 | 2672700.2294 | 1197845.7918
13 | 2672766.4867 | 1197855.4104 | 2672755.9138 | 1197852.0489 | 2672754.3349 | 1197852.241
14 | 2672780.4657 | 1197913.6406 | 2672769.1051 | 1197907.1317 | 2672767.0864 | 1197905.4342
15 | 2672766.4867 | 1197855.4104 | 2672768.0493 | 1197855.9072
16 | 2672780.4657 | 1197913.6406 | 2672768.4267 | 1197932.8842
17 | 2672780.4657 | 1197913.6406 | 2672799.279 | 1197884.8077 | 2672800.3395 | 1197882.211
18 | 2672542.13 | 1197997.6409 | 2672538.7061 | 1198002.1458 | 2672532.7075 | 1198011.6405
19 | 2672557.8936 | 1197976.2518 | 2672556.4228 | 1197978.8355 | 2672542.13 | 1197997.6409
20 | 2672557.8936 | 1197976.2518 | 2672547.7091 | 1197971.9389
21 | 2672557.8936 | 1197976.2518 | 2672584.3547 | 1197986.4452
22 | 2672547.7091 | 1197971.9389 | 2672537.5256 | 1197967.6265
23 | 2672606.9917 | 1197994.7633 | 2672596.7529 | 1197991.2213 | 2672584.3547 | 1197986.4452
24 | 2672494.4798 | 1197968.1333 | 2672521.067 | 1197963.2194 | 2672524.9119 | 1197963.3327 | 2672532.2973 | 1197965.4125 | 2672537.5256 | 1197967.6265
25 | 2672606.9917 | 1197994.7633 | 2672611.1075 | 1197996.1871
26 | 2672481.0845 | 1197887.5999 | 2672488.5774 | 1197929.8052 | 2672494.4798 | 1197968.1333
27 | 2672481.0845 | 1197887.5999 | 2672492.0068 | 1197880.6615 | 2672527.1651 | 1197843.5541
28 | 2672628.7966 | 1198001.7957 | 2672620.7348 | 1197999.5175 | 2672611.1075 | 1197996.1871
29 | 2672527.1651 | 1197843.5541 | 2672559.7481 | 1197794.642
30 | 2672606.2784 | 1198121.8273 | 2672623.4851 | 1198137.9682 | 2672628.8628 | 1198141.9076
31 | 2672606.2784 | 1198121.8273 | 2672602.532 | 1198125.5285 | 2672592.797 | 1198135.7797
32 | 2672606.2784 | 1198121.8273 | 2672642.1161 | 1198086.4188 | 2672659.3935 | 1198072.309 | 2672661.2251 | 1198063.8595
33 | 2672592.6663 | 1198135.9173 | 2672592.797 | 1198135.7797
34 | 2672661.2251 | 1198063.8595 | 2672669.1857 | 1198052.4493 | 2672672.1037 | 1198047.251
35 | 2672577.3356 | 1198152.0609 | 2672592.6663 | 1198135.9173
36 | 2672693.1582 | 1198012.6499 | 2672678.0371 | 1198036.6806 | 2672672.1037 | 1198047.251
37 | 2672577.3356 | 1198152.0609 | 2672566.7992 | 1198142.2614
38 | 2672652.2704 | 1198001.6797 | 2672648.2109 | 1198002.9311 | 2672646.3062 | 1198006.7436
39 | 2672646.3062 | 1198006.7436 | 2672628.7966 | 1198001.7957
40 | 2672652.2704 | 1198001.6797 | 2672652.6555 | 1197998.1933 | 2672657.9687 | 1197984.6497 | 2672658.4746 | 1197981.5669
41 | 2672652.2704 | 1198001.6797 | 2672659.1877 | 1198002.7866 | 2672673.8438 | 1198005.1718
42 | 2672693.1582 | 1198012.6499 | 2672703.7519 | 1197998.9147 | 2672706.7047 | 1197995.8744
43 | 2672693.1582 | 1198012.6499 | 2672687.4002 | 1198008.8998 | 2672677.7195 | 1198005.8025 | 2672673.8438 | 1198005.1718
44 | 2672559.7481 | 1197794.642 | 2672562.5383 | 1197790.2223
45 | 2672661.004 | 1197966.1531 | 2672658.4746 | 1197981.5669
46 | 2672706.7047 | 1197995.8744 | 2672715.0745 | 1197987.2565 | 2672731.203 | 1197973.711 | 2672733.8916 | 1197971.5837
47 | 2672739.1532 | 1197967.4203 | 2672733.8916 | 1197971.5837
48 | 2672739.1532 | 1197967.4203 | 2672748.3064 | 1197960.1775 | 2672750.2434 | 1197957.9313
49 | 2672785.4002 | 1197583.1834 | 2672781.3368 | 1197582.9617
50 | 2672884.8084 | 1197607.737 | 2672817.1669 | 1197588.1011 | 2672803.8179 | 1197584.7143 | 2672793.145 | 1197583.6059 | 2672785.4002 | 1197583.1834
51 | 2672732.7916 | 1197580.3133 | 2672781.3368 | 1197582.9617
52 | 2672825.6197 | 1197783.289 | 2672884.8084 | 1197607.737
53 | 2672825.6197 | 1197783.289 | 2672823.0241 | 1197790.0282 | 2672817.2498 | 1197806.9904 | 2672816.7315 | 1197809.5189 | 2672809.0317 | 1197846.9923 | 2672808.6977 | 1197852.8192
54 | 2672808.6977 | 1197852.8192 | 2672808.2096 | 1197861.3355 | 2672805.9206 | 1197868.5453 | 2672800.3395 | 1197882.211
55 | 2672768.4267 | 1197932.8842 | 2672766.0549 | 1197936.6753
56 | 2672750.2434 | 1197957.9313 | 2672755.7923 | 1197951.4967 | 2672766.018 | 1197936.7344 | 2672766.0549 | 1197936.6753

## bus_geodata
| x | y | coords
0 | 2672715.4273 | 1197906.437
1 | 2672708.2731 | 1197918.54
2 | 2672721.7631 | 1197895.3694
3 | 2672696.7465 | 1197933.8589
4 | 2672726.7427 | 1197886.6711
5 | 2672696.1124 | 1197934.7016
6 | 2672733.4872 | 1197874.89
7 | 2672714.1071 | 1197853.5865
8 | 2672742.6629 | 1197864.6766
9 | 2672745.9104 | 1197886.9633
10 | 2672700.2294 | 1197845.7918
11 | 2672754.3349 | 1197852.241
12 | 2672767.0864 | 1197905.4342
13 | 2672682.5322 | 1197838.0259
14 | 2672766.4867 | 1197855.4104
15 | 2672780.4657 | 1197913.6406
16 | 2672542.13 | 1197997.6409
17 | 2672532.7075 | 1198011.6405
18 | 2672557.8936 | 1197976.2518
19 | 2672547.7091 | 1197971.9389
20 | 2672584.3547 | 1197986.4452
21 | 2672537.5256 | 1197967.6265
22 | 2672606.9917 | 1197994.7633
23 | 2672494.4798 | 1197968.1333
24 | 2672481.0845 | 1197887.5999
25 | 2672611.1075 | 1197996.1871
26 | 2672527.1651 | 1197843.5541
27 | 2672628.8628 | 1198141.9076
28 | 2672606.2784 | 1198121.8273
29 | 2672592.797 | 1198135.7797
30 | 2672661.2251 | 1198063.8595
31 | 2672592.6663 | 1198135.9173
32 | 2672672.1037 | 1198047.251
33 | 2672577.3356 | 1198152.0609
34 | 2672646.3062 | 1198006.7436
35 | 2672652.2704 | 1198001.6797
36 | 2672628.7966 | 1198001.7957
37 | 2672693.1582 | 1198012.6499
38 | 2672559.7481 | 1197794.642
39 | 2672566.7992 | 1198142.2614
40 | 2672658.4746 | 1197981.5669
41 | 2672673.8438 | 1198005.1718
42 | 2672661.004 | 1197966.1531
43 | 2672706.7047 | 1197995.8744
44 | 2672733.8916 | 1197971.5837
45 | 2672739.1532 | 1197967.4203
46 | 2672785.4002 | 1197583.1834
47 | 2672781.3368 | 1197582.9617
48 | 2672884.8085 | 1197607.737
49 | 2672732.7916 | 1197580.3133
50 | 2672825.6197 | 1197783.289
51 | 2672808.6977 | 1197852.8192
52 | 2672562.5383 | 1197790.2223
53 | 2672800.3395 | 1197882.211
54 | 2672768.0493 | 1197855.9072
55 | 2672768.4267 | 1197932.8842
56 | 2672766.0549 | 1197936.6753
57 | 2672750.2434 | 1197957.9313
58 | 2672652.2704 | 1198001.6797

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97217 | -0.1958 | 0.0020351 | 0.00051004
1 | 0.97189 | -0.19776 | 0.0031078 | 0.00077889
2 | 0.97245 | -0.19375 | 0.00245 | 0.00061402
3 | 0.97161 | -0.1998 | 0.0019387 | 0.00048587
4 | 0.97271 | -0.19189 | 0.0036409 | 0.00091249
5 | 0.9716 | -0.19989 | 0.0081233 | 0.0020359
6 | 0.97313 | -0.18884 | 0 | 0
7 | 0.97259 | -0.19274 | 0.0036883 | 0.00092437
8 | 0.97287 | -0.19075 | 0.0036944 | 0.00092592
9 | 0.97434 | -0.18019 | 0.0024512 | 0.00061432
10 | 0.97237 | -0.1943 | 0.0032759 | 0.00082103
11 | 0.97263 | -0.19247 | 0.0037625 | 0.00094297
12 | 0.97639 | -0.16549 | 0.0046217 | 0.0011583
13 | 0.97221 | -0.1955 | 0.0058915 | 0.0014766
14 | 0.97252 | -0.19325 | 0.0036628 | 0.00091798
15 | 0.97765 | -0.15653 | 0 | 0
16 | 0.99322 | -0.047229 | 0.0013527 | 0.00033902
17 | 0.99318 | -0.047484 | 0.0014943 | 0.00037451
18 | 0.99333 | -0.046462 | 0 | 0
19 | 0.99316 | -0.047619 | 0.00066353 | 0.0001663
20 | 0.99386 | -0.04268 | 0.0015154 | 0.00037981
21 | 0.99301 | -0.048702 | 0.0026827 | 0.00067234
22 | 0.99437 | -0.039097 | 0.0027209 | 0.00068191
23 | 0.99257 | -0.051833 | 0 | 0
24 | 0.99175 | -0.057613 | 0 | 0
25 | 0.99448 | -0.038331 | 0.0044768 | 0.001122
26 | 0.99111 | -0.062145 | 0.0034543 | 0.00086573
27 | 0.98738 | -0.088114 | 0.0065496 | 0.0016415
28 | 0.98767 | -0.086085 | 0 | 0
29 | 0.98732 | -0.088559 | 0.0064357 | 0.0016129
30 | 0.9899 | -0.0703 | 0 | 0
31 | 0.98731 | -0.08857 | 0.0030074 | 0.00075374
32 | 0.99044 | -0.066453 | 0.012768 | 0.0032
33 | 0.98722 | -0.089256 | 0 | 0
34 | 0.9957 | -0.02979 | 0 | 0
35 | 0.99599 | -0.02772 | 0 | 0
36 | 0.99506 | -0.034228 | 0.0022999 | 0.0005764
37 | 0.9923 | -0.053375 | 0 | 0
38 | 0.99081 | -0.064245 | 0.0011059 | 0.00027717
39 | 0.98716 | -0.0897 | 0.0030074 | 0.00075374
40 | 0.99823 | -0.012193 | 0.010094 | 0.0025299
41 | 0.99406 | -0.04114 | 0.0064673 | 0.0016209
42 | 1 | 0 | -0.15939 | -0.040073
43 | 0.98966 | -0.071707 | 0.0036775 | 0.00092168
44 | 0.9854 | -0.10155 | 0.0015047 | 0.00037712
45 | 0.98464 | -0.10696 | 0.0039817 | 0.0009979
46 | 0.97607 | -0.1679 | 0.00074506 | 0.00018673
47 | 0.97607 | -0.16794 | 0.00036032 | 9.0304e-05
48 | 0.97631 | -0.16619 | 0 | 0
49 | 0.97604 | -0.16818 | 0.00047645 | 0.00011941
50 | 0.97674 | -0.16308 | 0 | 0
51 | 0.97691 | -0.16186 | 0.0041765 | 0.0010467
52 | 0.99079 | -0.064373 | 0.0024072 | 0.0006033
53 | 0.97716 | -0.15999 | 0.0030974 | 0.00077629
54 | 0.97252 | -0.19328 | 0.0021137 | 0.00052975
55 | 0.97975 | -0.14154 | 0.0058117 | 0.0014566
56 | 0.9802 | -0.13832 | 0.0040758 | 0.0010215
57 | 0.98304 | -0.11819 | 0.0011301 | 0.00028323
58 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.013176 | 0.0033027 | -0.013173 | -0.0033015 | 3.5712e-06 | 1.1991e-06 | 0.020168 | 0.020168 | 0.020168 | 0.97217 | -0.1958 | 0.97189 | -0.19776 | 7.4697
1 | -0.015211 | -0.0038128 | 0.015216 | 0.0038143 | 4.3138e-06 | 1.501e-06 | 0.023283 | 0.023283 | 0.023283 | 0.97217 | -0.1958 | 0.97245 | -0.19375 | 8.6233
2 | 0.010065 | 0.0025226 | -0.010062 | -0.0025218 | 2.8407e-06 | 8.5509e-07 | 0.01541 | 0.01541 | 0.01541 | 0.97189 | -0.19776 | 0.97161 | -0.1998 | 5.7074
3 | -0.017666 | -0.0044283 | 0.01767 | 0.0044299 | 4.5701e-06 | 1.6333e-06 | 0.027032 | 0.027032 | 0.027032 | 0.97245 | -0.19375 | 0.97271 | -0.19189 | 10.0118
4 | 0.0081234 | 0.0020359 | -0.0081233 | -0.0020359 | 1.0186e-07 | 2.6114e-08 | 0.012441 | 0.012441 | 0.012441 | 0.97161 | -0.1998 | 0.9716 | -0.19989 | 4.6077
5 | -0.021311 | -0.0053424 | 0.02132 | 0.0053457 | 9.0032e-06 | 3.2942e-06 | 0.032601 | 0.032601 | 0.032601 | 0.97271 | -0.19189 | 0.97313 | -0.18884 | 12.0746
6 | 0.012866 | 0.003225 | -0.012859 | -0.0032226 | 6.9558e-06 | 2.3177e-06 | 0.019673 | 0.019673 | 0.019673 | 0.97313 | -0.18884 | 0.97259 | -0.19274 | 7.2863
7 | 0.01324 | 0.0033185 | -0.013236 | -0.0033173 | 3.5115e-06 | 1.18e-06 | 0.020245 | 0.020245 | 0.020245 | 0.97313 | -0.18884 | 0.97287 | -0.19075 | 7.4982
8 | -0.047426 | -0.011889 | 0.047482 | 0.011911 | 5.6849e-05 | 2.165e-05 | 0.072519 | 0.072519 | 0.072519 | 0.97313 | -0.18884 | 0.97434 | -0.18019 | 26.8591
9 | 0.0091704 | 0.0022983 | -0.0091684 | -0.0022977 | 1.9734e-06 | 5.5966e-07 | 0.01403 | 0.01403 | 0.01403 | 0.97259 | -0.19274 | 0.97237 | -0.1943 | 5.1964
10 | 0.0095419 | 0.0023914 | -0.0095396 | -0.0023908 | 2.2712e-06 | 6.614e-07 | 0.014594 | 0.014595 | 0.014595 | 0.97287 | -0.19075 | 0.97263 | -0.19247 | 5.4054
11 | -0.049934 | -0.012525 | 0.050036 | 0.012564 | 0.00010203 | 3.8891e-05 | 0.076263 | 0.076263 | 0.076263 | 0.97434 | -0.18019 | 0.97639 | -0.16549 | 28.2455
12 | 0.0058925 | 0.0014767 | -0.0058915 | -0.0014766 | 9.8057e-07 | 1.3745e-07 | 0.0090172 | 0.0090173 | 0.0090173 | 0.97237 | -0.1943 | 0.97221 | -0.1955 | 3.3397
13 | 0.0057771 | 0.0014478 | -0.0057765 | -0.0014477 | 6.1833e-07 | 8.0403e-08 | 0.0088383 | 0.0088384 | 0.0088384 | 0.97263 | -0.19247 | 0.97252 | -0.19325 | 3.2735
14 | -0.054657 | -0.013722 | 0.054725 | 0.013748 | 6.8122e-05 | 2.6004e-05 | 0.083306 | 0.083306 | 0.083306 | 0.97639 | -0.16549 | 0.97765 | -0.15653 | 30.8541
15 | 0.0021137 | 0.00052973 | -0.0021137 | -0.00052975 | 1.0701e-08 | -1.6228e-08 | 0.0032341 | 0.0032341 | 0.0032341 | 0.97252 | -0.19325 | 0.97252 | -0.19328 | 1.1978
16 | -0.063588 | -0.015965 | 0.063721 | 0.016015 | 0.00013271 | 5.0755e-05 | 0.096794 | 0.096794 | 0.096794 | 0.97765 | -0.15653 | 0.97975 | -0.14154 | 35.8496
17 | 0.0088628 | 0.0022162 | -0.0088586 | -0.002215 | 4.2266e-06 | 1.159e-06 | 0.013488 | 0.013488 | 0.013488 | 0.97765 | -0.15653 | 0.97716 | -0.15999 | 4.9955
18 | 0.0014944 | 0.00037431 | -0.0014943 | -0.00037451 | 5.2822e-08 | -1.9826e-07 | 0.0022387 | 0.0022388 | 0.0022388 | 0.99322 | -0.047229 | 0.99318 | -0.047484 | 0.82919
19 | -0.0028471 | -0.00071333 | 0.0028474 | 0.0007131 | 3.0189e-07 | -2.281e-07 | 0.0042653 | 0.0042652 | 0.0042653 | 0.99322 | -0.047229 | 0.99333 | -0.046462 | 1.5798
20 | 0.010331 | 0.0025879 | -0.010329 | -0.0025874 | 1.6528e-06 | 4.9253e-07 | 0.015475 | 0.015475 | 0.015475 | 0.99333 | -0.046462 | 0.99316 | -0.047619 | 5.7315
21 | -0.013178 | -0.003301 | 0.013185 | 0.0033032 | 6.8952e-06 | 2.2847e-06 | 0.01974 | 0.01974 | 0.01974 | 0.99333 | -0.046462 | 0.99386 | -0.04268 | 7.3112
22 | 0.0096655 | 0.0024211 | -0.0096641 | -0.0024207 | 1.4471e-06 | 4.1349e-07 | 0.014481 | 0.014481 | 0.014481 | 0.99316 | -0.047619 | 0.99301 | -0.048702 | 5.3634
23 | -0.0147 | -0.0036831 | 0.014708 | 0.0036855 | 7.2908e-06 | 2.4914e-06 | 0.022009 | 0.022009 | 0.022009 | 0.99386 | -0.04268 | 0.99437 | -0.039097 | 8.1515
24 | 0.0069814 | 0.0017483 | -0.0069784 | -0.0017477 | 3.0207e-06 | 5.8982e-07 | 0.010461 | 0.010461 | 0.010461 | 0.99301 | -0.048702 | 0.99257 | -0.051833 | 3.8746
25 | -0.017429 | -0.0043675 | 0.01743 | 0.0043681 | 1.8485e-06 | 6.5446e-07 | 0.026081 | 0.026081 | 0.026081 | 0.99437 | -0.039097 | 0.99448 | -0.038331 | 9.6595
26 | 0.0069784 | 0.0017477 | -0.0069728 | -0.0017466 | 5.5757e-06 | 1.0901e-06 | 0.010461 | 0.010462 | 0.010462 | 0.99257 | -0.051833 | 0.99175 | -0.057613 | 3.8747
27 | 0.0069728 | 0.0017466 | -0.0069685 | -0.0017458 | 4.3689e-06 | 8.5544e-07 | 0.010462 | 0.010462 | 0.010462 | 0.99175 | -0.057613 | 0.99111 | -0.062145 | 3.8748
28 | -0.021907 | -0.0054901 | 0.02192 | 0.0054946 | 1.2447e-05 | 4.5463e-06 | 0.032779 | 0.032779 | 0.032779 | 0.99448 | -0.038331 | 0.99506 | -0.034228 | 12.1404
29 | 0.0035142 | 0.00088005 | -0.0035131 | -0.00088041 | 1.0208e-06 | -3.6454e-07 | 0.0052758 | 0.0052761 | 0.0052761 | 0.99111 | -0.062145 | 0.99081 | -0.064245 | 1.9541
30 | -0.0065496 | -0.0016415 | 0.0065515 | 0.0016418 | 1.8395e-06 | 3.2039e-07 | 0.0098705 | 0.0098704 | 0.0098705 | 0.98738 | -0.088114 | 0.98767 | -0.086085 | 3.6558
31 | 0.012455 | 0.0031215 | -0.012451 | -0.0031201 | 4.2635e-06 | 1.3916e-06 | 0.018765 | 0.018765 | 0.018765 | 0.98767 | -0.086085 | 0.98732 | -0.088559 | 6.9501
32 | -0.019007 | -0.0047633 | 0.019048 | 0.0047783 | 4.1615e-05 | 1.4963e-05 | 0.028636 | 0.028635 | 0.028636 | 0.98767 | -0.086085 | 0.9899 | -0.0703 | 10.6057
33 | 0.0060154 | 0.0015072 | -0.0060154 | -0.0015072 | 9.7286e-09 | 1.3158e-09 | 0.0090658 | 0.0090658 | 0.0090658 | 0.98732 | -0.088559 | 0.98731 | -0.08857 | 3.3577
34 | -0.019048 | -0.0047783 | 0.019059 | 0.0047819 | 1.0169e-05 | 3.6554e-06 | 0.028635 | 0.028635 | 0.028635 | 0.9899 | -0.0703 | 0.99044 | -0.066453 | 10.6056
35 | 0.0030079 | 0.00075345 | -0.0030076 | -0.00075362 | 2.8549e-07 | -1.7488e-07 | 0.0045332 | 0.0045333 | 0.0045333 | 0.98731 | -0.08857 | 0.98722 | -0.089256 | 1.679
36 | -0.031827 | -0.007982 | 0.031885 | 0.0080037 | 5.7806e-05 | 2.1711e-05 | 0.047818 | 0.047818 | 0.047818 | 0.99044 | -0.066453 | 0.9923 | -0.053375 | 17.7103
37 | 0.0030076 | 0.00075362 | -0.0030074 | -0.00075374 | 1.8452e-07 | -1.13e-07 | 0.0045333 | 0.0045334 | 0.0045334 | 0.98722 | -0.089256 | 0.98716 | -0.0897 | 1.679
38 | -0.024234 | -0.0060765 | 0.024241 | 0.0060791 | 6.9551e-06 | 2.5645e-06 | 0.036218 | 0.036218 | 0.036218 | 0.9957 | -0.02979 | 0.99599 | -0.02772 | 13.4141
39 | 0.024234 | 0.0060765 | -0.02422 | -0.006071 | 1.4893e-05 | 5.4917e-06 | 0.036218 | 0.036218 | 0.036218 | 0.9957 | -0.02979 | 0.99506 | -0.034228 | 13.4141
40 | -0.1479 | -0.037315 | 0.14822 | 0.037439 | 0.00032291 | 0.00012364 | 0.22105 | 0.22105 | 0.22105 | 0.99599 | -0.02772 | 0.99823 | -0.012193 | 40.9357
41 | 0.12366 | 0.031236 | -0.12343 | -0.031147 | 0.00023295 | 8.9028e-05 | 0.18483 | 0.18484 | 0.18484 | 0.99599 | -0.02772 | 0.99406 | -0.04114 | 34.2287
42 | 0.084874 | 0.021446 | -0.084656 | -0.021362 | 0.00021839 | 8.3717e-05 | 0.12734 | 0.12734 | 0.12734 | 0.9923 | -0.053375 | 0.98966 | -0.071707 | 47.1618
43 | -0.11676 | -0.029449 | 0.11696 | 0.029526 | 0.00020065 | 7.663e-05 | 0.17515 | 0.17515 | 0.17515 | 0.9923 | -0.053375 | 0.99406 | -0.04114 | 32.436
44 | 0.0024072 | 0.00060324 | -0.0024072 | -0.0006033 | 4.2626e-08 | -5.0921e-08 | 0.0036152 | 0.0036152 | 0.0036152 | 0.99081 | -0.064245 | 0.99079 | -0.064373 | 1.339
45 | -0.15832 | -0.039968 | 0.15859 | 0.040073 | 0.00027166 | 0.00010408 | 0.2361 | 0.2361 | 0.2361 | 0.99823 | -0.012193 | 1 | 0 | 43.7222
46 | 0.080978 | 0.02044 | -0.08064 | -0.020311 | 0.00033796 | 0.00012952 | 0.12181 | 0.12181 | 0.12181 | 0.98966 | -0.071707 | 0.9854 | -0.10155 | 45.1139
47 | 0.079136 | 0.019934 | -0.079076 | -0.019911 | 5.9824e-05 | 2.2924e-05 | 0.11954 | 0.11954 | 0.11954 | 0.9854 | -0.10155 | 0.98464 | -0.10696 | 44.2724
48 | 0.075094 | 0.018913 | -0.074977 | -0.018868 | 0.00011771 | 4.5086e-05 | 0.11352 | 0.11352 | 0.11352 | 0.98464 | -0.10696 | 0.98304 | -0.11819 | 42.0438
49 | 0.00083679 | 0.00020906 | -0.00083679 | -0.00020911 | 4.1309e-09 | -4.9275e-08 | 0.0012754 | 0.0012755 | 0.0012755 | 0.97607 | -0.1679 | 0.97607 | -0.16794 | 0.47239
50 | -0.0015819 | -0.00039579 | 0.0015822 | 0.00039465 | 3.7251e-07 | -1.1406e-06 | 0.0024113 | 0.0024108 | 0.0024113 | 0.97607 | -0.1679 | 0.97631 | -0.16619 | 0.89307
51 | 0.00047647 | 0.00011881 | -0.00047645 | -0.00011941 | 1.6002e-08 | -6.0149e-07 | 0.00072616 | 0.00072638 | 0.00072638 | 0.97607 | -0.16794 | 0.97604 | -0.16818 | 0.26903
52 | -0.0015822 | -0.00039465 | 0.0015829 | 0.00039259 | 6.7166e-07 | -2.0594e-06 | 0.0024108 | 0.00241 | 0.0024108 | 0.97631 | -0.16619 | 0.97674 | -0.16308 | 0.8929
53 | -0.0015829 | -0.00039259 | 0.0015832 | 0.00039179 | 2.6024e-07 | -7.9889e-07 | 0.00241 | 0.0024097 | 0.00241 | 0.97674 | -0.16308 | 0.97691 | -0.16186 | 0.89259
54 | -0.0057597 | -0.0014385 | 0.0057611 | 0.0014387 | 1.4813e-06 | 1.8331e-07 | 0.0087713 | 0.0087712 | 0.0087713 | 0.97691 | -0.16186 | 0.97716 | -0.15999 | 3.2486
55 | -0.069533 | -0.017472 | 0.069564 | 0.017484 | 3.113e-05 | 1.1917e-05 | 0.10562 | 0.10562 | 0.10562 | 0.97975 | -0.14154 | 0.9802 | -0.13832 | 39.1187
56 | -0.07364 | -0.018505 | 0.073846 | 0.018584 | 0.00020691 | 7.9244e-05 | 0.11181 | 0.11181 | 0.11181 | 0.9802 | -0.13832 | 0.98304 | -0.11819 | 41.4103

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.17178 | 0.043178

## res_load
| p_mw | q_mvar
0 | 0.0020351 | 0.00051004
1 | 0.0031078 | 0.00077889
2 | 0.00245 | 0.00061402
3 | 0.0019387 | 0.00048587
4 | 0.0036409 | 0.00091249
5 | 0.0081233 | 0.0020359
6 | 0.0036883 | 0.00092437
7 | 0.0036944 | 0.00092592
8 | 0.0024512 | 0.00061432
9 | 0.0032759 | 0.00082103
10 | 0.0037625 | 0.00094297
11 | 0.0046217 | 0.0011583
12 | 0.0058915 | 0.0014766
13 | 0.0036628 | 0.00091798
14 | 0.0013527 | 0.00033902
15 | 0.0014943 | 0.00037451
16 | 0.00066353 | 0.0001663
17 | 0.0015154 | 0.00037981
18 | 0.0026827 | 0.00067234
19 | 0.0027209 | 0.00068191
20 | 0.0044768 | 0.001122
21 | 0.0034543 | 0.00086573
22 | 0.0065496 | 0.0016415
23 | 0.0064357 | 0.0016129
24 | 0.0030074 | 0.00075374
25 | 0.012768 | 0.0032
26 | 0.0022999 | 0.0005764
27 | 0.0011059 | 0.00027717
28 | 0.0030074 | 0.00075374
29 | 0.010094 | 0.0025299
30 | 0.0064673 | 0.0016209
31 | 0.012392 | 0.0031056
32 | 0.0036775 | 0.00092168
33 | 0.0015047 | 0.00037712
34 | 0.0039817 | 0.0009979
35 | 0.00074506 | 0.00018673
36 | 0.00036032 | 9.0304e-05
37 | 0.00047645 | 0.00011941
38 | 0.0041765 | 0.0010467
39 | 0.0024072 | 0.0006033
40 | 0.0030974 | 0.00077629
41 | 0.0021137 | 0.00052975
42 | 0.0058117 | 0.0014566
43 | 0.0040758 | 0.0010215
44 | 0.0011301 | 0.00028323

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1