## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1503-5_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1503-5_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1503-5_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1503-5_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1503-5_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1503-5_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1503-5_0_3_node_12 | 0.4 | n |  | TRUE
7 | bus_LV_1503-5_0_3_node_28 | 0.4 | n |  | TRUE
8 | bus_LV_1503-5_0_3_node_13 | 0.4 | n |  | TRUE
9 | bus_LV_1503-5_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1503-5_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1503-5_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1503-5_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1503-5_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1503-5_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1503-5_0_3_node_36 | 0.4 | n |  | TRUE
16 | bus_LV_1503-5_0_3_node_17 | 0.4 | n |  | TRUE
17 | bus_LV_1503-5_0_3_node_22 | 0.4 | n |  | TRUE
18 | bus_LV_1503-5_0_3_node_37 | 0.4 | n |  | TRUE
19 | bus_LV_1503-5_0_3_node_16 | 0.4 | n |  | TRUE
20 | bus_LV_1503-5_0_3_node_20 | 0.4 | n |  | TRUE
21 | bus_LV_1503-5_0_3_node_14 | 0.4 | n |  | TRUE
22 | bus_LV_1503-5_0_3_node_15 | 0.4 | n |  | TRUE
23 | bus_LV_1503-5_0_3_node_31 | 0.4 | n |  | TRUE
24 | bus_LV_1503-5_0_3_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_1503-5_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1503-5_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1503-5_0_3_node_21 | 0.4 | n |  | TRUE
28 | bus_LV_1503-5_0_3_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1503-5_0_3_node_24 | 0.4 | n |  | TRUE
30 | bus_LV_1503-5_0_3_node_25 | 0.4 | n |  | TRUE
31 | bus_LV_1503-5_0_3_node_39 | 0.4 | n |  | TRUE
32 | bus_LV_1503-5_0_3_node_26 | 0.4 | n |  | TRUE
33 | bus_LV_1503-5_0_3_node_27 | 0.4 | n |  | TRUE
34 | bus_LV_1503-5_0_3_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_1503-5_0_3_node_34 | 0.4 | n |  | TRUE
36 | bus_LV_1503-5_0_3_node_40 | 0.4 | n |  | TRUE
37 | bus_MV_136_1_node_118 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1503-5_0_3_load_0 | 0 | 0.011556 | 0.0028961 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1503-5_0_3_load_1 | 1 | 0.018563 | 0.0046522 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1503-5_0_3_load_3 | 3 | 0.011253 | 0.0028203 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1503-5_0_3_load_4 | 4 | 0.023561 | 0.0059048 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1503-5_0_3_load_12 | 6 | 0.0086072 | 0.0021572 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1503-5_0_3_load_28 | 7 | 0.010638 | 0.0026661 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1503-5_0_3_load_6 | 9 | 0.0051627 | 0.0012939 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1503-5_0_3_load_7 | 10 | 0.0026588 | 0.00066636 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1503-5_0_3_load_9 | 12 | 0.0051401 | 0.0012882 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1503-5_0_3_load_10 | 13 | 0.0026253 | 0.00065795 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1503-5_0_3_load_17 | 16 | 0.014382 | 0.0036045 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1503-5_0_3_load_22 | 17 | 0.0089988 | 0.0022553 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1503-5_0_3_load_37 | 18 | 0.0089368 | 0.0022398 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1503-5_0_3_load_16 | 19 | 0.0054622 | 0.001369 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1503-5_0_3_load_20 | 20 | 0.011462 | 0.0028727 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1503-5_0_3_load_14 | 21 | 0.0025755 | 0.00064548 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1503-5_0_3_load_15 | 22 | 0.0012862 | 0.00032236 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1503-5_0_3_load_31 | 23 | 0.0071157 | 0.0017834 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1503-5_0_3_load_32 | 24 | 0.0085684 | 0.0021474 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1503-5_0_3_load_18 | 25 | 0.015958 | 0.0039993 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1503-5_0_3_load_19 | 26 | 0.002862 | 0.00071728 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1503-5_0_3_load_23 | 28 | 0.015358 | 0.0038492 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1503-5_0_3_load_24 | 29 | 0.0035126 | 0.00088034 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1503-5_0_3_load_39 | 31 | 0.0067795 | 0.0016991 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1503-5_0_3_load_26 | 32 | 0.0013549 | 0.00033956 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1503-5_0_3_load_27 | 33 | 0.0013379 | 0.00033532 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1503-5_0_3_load_34 | 35 | 0.0072554 | 0.0018184 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1503-5_0_3_load_40 | 36 | 0.0023883 | 0.00059857 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 6 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1503-5_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021839 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1503-5_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.021235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1503-5_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.015513 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1503-5_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.017461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1503-5_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.020623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1503-5_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.034655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1503-5_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.00089688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1503-5_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.013543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
8 | LV_1503-5_0_3_line_8 | NAYY 4x150 SE | 8 | 21 | 0.011525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1503-5_0_3_line_9 | NAYY 4x150 SE | 8 | 22 | 0.019889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1503-5_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.0029746 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1503-5_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.013197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1503-5_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.017376 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1503-5_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.02178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1503-5_0_3_line_14 | NAYY 4x150 SE | 11 | 14 | 0.013375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1503-5_0_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.0046856 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1503-5_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.001009 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1503-5_0_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.019949 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1503-5_0_3_line_18 | NAYY 4x150 SE | 15 | 18 | 0.010583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1503-5_0_3_line_19 | NAYY 4x150 SE | 16 | 19 | 0.024969 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
20 | LV_1503-5_0_3_line_20 | NAYY 4x150 SE | 17 | 20 | 0.00053557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1503-5_0_3_line_21 | NAYY 4x150 SE | 18 | 31 | 0.010448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1503-5_0_3_line_22 | NAYY 4x150 SE | 19 | 21 | 0.012931 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_1503-5_0_3_line_23 | NAYY 4x150 SE | 20 | 25 | 0.028992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1503-5_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.0016244 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1503-5_0_3_line_25 | NAYY 4x150 SE | 23 | 24 | 0.0054149 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1503-5_0_3_line_26 | NAYY 4x150 SE | 24 | 34 | 0.018913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1503-5_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.0023726 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1503-5_0_3_line_28 | NAYY 4x150 SE | 26 | 27 | 0.011657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1503-5_0_3_line_29 | NAYY 4x150 SE | 27 | 28 | 0.0050849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1503-5_0_3_line_30 | NAYY 4x150 SE | 29 | 30 | 0.040328 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1503-5_0_3_line_31 | NAYY 4x150 SE | 29 | 31 | 0.27809 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1503-5_0_3_line_32 | NAYY 4x150 SE | 30 | 32 | 0.029516 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1503-5_0_3_line_33 | NAYY 4x150 SE | 30 | 33 | 0.010474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1503-5_0_3_line_34 | NAYY 4x150 SE | 34 | 35 | 0.017357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1503-5_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.037811 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1503-5_0_3_trafo_12 | 0.25 MVA 20/0.4 kV | 37 | 6 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2672575.8573 | 1198390.8977 | 2672575.9932 | 1198375.4802 | 2672577.2258 | 1198369.1783
1 | 2672575.67 | 1198412.1318 | 2672575.8573 | 1198390.8977
2 | 2672577.2258 | 1198369.1783 | 2672580.2037 | 1198353.9536
3 | 2672575.67 | 1198412.1318 | 2672558.2713 | 1198410.6574
4 | 2672596.2711 | 1198413.9719 | 2672575.67 | 1198412.1318
5 | 2672523.7401 | 1198407.731 | 2672558.2713 | 1198410.6574
6 | 2672597.1651 | 1198414.0439 | 2672596.2711 | 1198413.9719
7 | 2672511.1181 | 1198403.4101 | 2672515.9353 | 1198406.2147 | 2672521.4636 | 1198407.5381 | 2672523.7401 | 1198407.731
8 | 2672511.1181 | 1198403.4101 | 2672506.9916 | 1198407.7071 | 2672504.6532 | 1198412.7596
9 | 2672511.1181 | 1198403.4101 | 2672509.3893 | 1198399.6535 | 2672509.2312 | 1198392.5918 | 2672511.0705 | 1198384.0983
10 | 2672480.0984 | 1198470.8755 | 2672477.1709 | 1198470.3482
11 | 2672493.1773 | 1198472.3122 | 2672487.3757 | 1198472.1862 | 2672480.0984 | 1198470.8755
12 | 2672460.0736 | 1198467.2467 | 2672463.2183 | 1198467.8352 | 2672477.1709 | 1198470.3482
13 | 2672493.1773 | 1198472.3122 | 2672496.135 | 1198451.3687 | 2672496.2704 | 1198450.7548
14 | 2672492.2692 | 1198485.6537 | 2672493.1773 | 1198472.3122
15 | 2672455.4679 | 1198466.3849 | 2672460.0736 | 1198467.2467
16 | 2672496.4878 | 1198449.7695 | 2672496.2704 | 1198450.7548
17 | 2672492.2692 | 1198485.6537 | 2672495.8826 | 1198485.9866 | 2672512.1364 | 1198487.4566
18 | 2672455.4679 | 1198466.3849 | 2672446.1627 | 1198461.3431
19 | 2672496.4878 | 1198449.7695 | 2672501.8673 | 1198425.3865
20 | 2672512.1364 | 1198487.4566 | 2672512.6698 | 1198487.5048
21 | 2672436.9766 | 1198456.3659 | 2672446.1627 | 1198461.3431
22 | 2672504.6532 | 1198412.7596 | 2672504.6532 | 1198412.7596 | 2672501.8673 | 1198425.3865
23 | 2672512.6698 | 1198487.5048 | 2672541.5438 | 1198490.1162
24 | 2672511.4143 | 1198382.5107 | 2672511.0705 | 1198384.0983
25 | 2672511.4143 | 1198382.5107 | 2672512.5604 | 1198377.2184
26 | 2672516.58 | 1198358.7381 | 2672516.4519 | 1198359.248 | 2672512.5604 | 1198377.2184
27 | 2672541.5438 | 1198490.1162 | 2672543.9068 | 1198490.3299
28 | 2672555.5162 | 1198491.3798 | 2672543.9068 | 1198490.3299
29 | 2672555.5162 | 1198491.3798 | 2672560.5926 | 1198491.6725
30 | 2672176.1941 | 1198343.3885 | 2672176.9681 | 1198357.4953 | 2672176.6906 | 1198367.8649 | 2672171.8306 | 1198377.412 | 2672169.0908 | 1198381.7301
31 | 2672436.9766 | 1198456.3659 | 2672169.0908 | 1198381.7301
32 | 2672176.1941 | 1198343.3885 | 2672179.7288 | 1198342.0526 | 2672183.7755 | 1198336.1534 | 2672192.1013 | 1198319.5392
33 | 2672176.1941 | 1198343.3885 | 2672171.4871 | 1198340.2743 | 2672169.4979 | 1198335.8732
34 | 2672516.58 | 1198358.7381 | 2672518.1564 | 1198351.2082 | 2672520.182 | 1198341.7589
35 | 2672520.182 | 1198341.7589 | 2672493.7486 | 1198314.7235

## bus_geodata
| x | y | coords
0 | 2672575.8573 | 1198390.8977
1 | 2672577.2258 | 1198369.1783
2 | 2672575.67 | 1198412.1318
3 | 2672580.2037 | 1198353.9536
4 | 2672558.2713 | 1198410.6574
5 | 2672596.2711 | 1198413.9719
6 | 2672523.7401 | 1198407.731
7 | 2672597.1651 | 1198414.0439
8 | 2672511.1181 | 1198403.4101
9 | 2672480.0984 | 1198470.8755
10 | 2672477.1709 | 1198470.3482
11 | 2672493.1773 | 1198472.3122
12 | 2672460.0736 | 1198467.2467
13 | 2672496.2704 | 1198450.7548
14 | 2672492.2692 | 1198485.6537
15 | 2672455.4679 | 1198466.3849
16 | 2672496.4878 | 1198449.7695
17 | 2672512.1364 | 1198487.4566
18 | 2672446.1627 | 1198461.3431
19 | 2672501.8673 | 1198425.3865
20 | 2672512.6698 | 1198487.5048
21 | 2672504.6532 | 1198412.7596
22 | 2672511.0705 | 1198384.0983
23 | 2672511.4143 | 1198382.5107
24 | 2672512.5604 | 1198377.2184
25 | 2672541.5438 | 1198490.1162
26 | 2672543.9068 | 1198490.3299
27 | 2672555.5162 | 1198491.3798
28 | 2672560.5926 | 1198491.6725
29 | 2672169.0908 | 1198381.7301
30 | 2672176.1941 | 1198343.3885
31 | 2672436.9766 | 1198456.3659
32 | 2672192.1013 | 1198319.5392
33 | 2672169.4979 | 1198335.8732
34 | 2672516.58 | 1198358.7381
35 | 2672520.182 | 1198341.7589
36 | 2672493.7486 | 1198314.7235
37 | 2672511.1181 | 1198403.4101

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99368 | -0.044254 | 0.011556 | 0.0028961
1 | 0.99275 | -0.050843 | 0.018563 | 0.0046522
2 | 0.99494 | -0.035385 | 0 | 0
3 | 0.9925 | -0.052611 | 0.011253 | 0.0028203
4 | 0.99625 | -0.026239 | 0.023561 | 0.0059048
5 | 0.99463 | -0.037598 | 0 | 0
6 | 1 | 0 | -0.21915 | -0.054925
7 | 0.99461 | -0.037694 | 0.010638 | 0.0026661
8 | 0.99863 | -0.0095594 | 0 | 0
9 | 0.99111 | -0.0622 | 0.0051627 | 0.0012939
10 | 0.99098 | -0.063099 | 0.0026588 | 0.00066636
11 | 0.99177 | -0.05752 | 0 | 0
12 | 0.9903 | -0.067888 | 0.0051401 | 0.0012882
13 | 0.99458 | -0.037782 | 0.0026253 | 0.00065795
14 | 0.99072 | -0.064944 | 0 | 0
15 | 0.99016 | -0.068935 | 0 | 0
16 | 0.99472 | -0.036843 | 0.014382 | 0.0036045
17 | 0.98915 | -0.076046 | 0.0089988 | 0.0022553
18 | 0.98982 | -0.071302 | 0.0089368 | 0.0022398
19 | 0.99663 | -0.023447 | 0.0054622 | 0.001369
20 | 0.98911 | -0.076296 | 0.011462 | 0.0028727
21 | 0.99768 | -0.016176 | 0.0025755 | 0.00064548
22 | 0.99787 | -0.014863 | 0.0012862 | 0.00032236
23 | 0.99781 | -0.015275 | 0.0071157 | 0.0017834
24 | 0.99767 | -0.016264 | 0.0085684 | 0.0021474
25 | 0.98768 | -0.086419 | 0.015958 | 0.0039993
26 | 0.98762 | -0.086862 | 0.002862 | 0.00071728
27 | 0.98736 | -0.088694 | 0 | 0
28 | 0.98725 | -0.089494 | 0.015358 | 0.0038492
29 | 0.98713 | -0.090377 | 0.0035126 | 0.00088034
30 | 0.98698 | -0.091492 | 0 | 0
31 | 0.98963 | -0.072688 | 0.0067795 | 0.0016991
32 | 0.98692 | -0.091902 | 0.0013549 | 0.00033956
33 | 0.98696 | -0.091635 | 0.0013379 | 0.00033532
34 | 0.99741 | -0.018095 | 0 | 0
35 | 0.99717 | -0.019775 | 0.0072554 | 0.0018184
36 | 0.99704 | -0.020682 | 0.0023883 | 0.00059857
37 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.029846 | 0.0074836 | -0.029818 | -0.0074734 | 2.7223e-05 | 1.0188e-05 | 0.044694 | 0.044695 | 0.044695 | 0.99368 | -0.044254 | 0.99275 | -0.050843 | 16.5535
1 | -0.041401 | -0.01038 | 0.041452 | 0.010399 | 5.0933e-05 | 1.9314e-05 | 0.061999 | 0.061999 | 0.061999 | 0.99368 | -0.044254 | 0.99494 | -0.035385 | 22.9626
2 | 0.011256 | 0.0028211 | -0.011253 | -0.0028203 | 2.7554e-06 | 8.5923e-07 | 0.016871 | 0.016871 | 0.016871 | 0.99275 | -0.050843 | 0.9925 | -0.052611 | 6.2486
3 | -0.052093 | -0.013066 | 0.05216 | 0.013091 | 6.6142e-05 | 2.5212e-05 | 0.077914 | 0.077913 | 0.077914 | 0.99494 | -0.035385 | 0.99625 | -0.026239 | 28.8569
4 | 0.010641 | 0.0026671 | -0.010638 | -0.0026661 | 3.2594e-06 | 9.8588e-07 | 0.015915 | 0.015915 | 0.015915 | 0.99494 | -0.035385 | 0.99463 | -0.037598 | 5.8944
5 | -0.07572 | -0.018996 | 0.075997 | 0.019102 | 0.00027663 | 0.00010595 | 0.1131 | 0.1131 | 0.1131 | 0.99625 | -0.026239 | 1 | 0 | 41.8904
6 | 0.010638 | 0.0026661 | -0.010638 | -0.0026661 | 1.4175e-07 | 4.2879e-08 | 0.015915 | 0.015915 | 0.015915 | 0.99463 | -0.037598 | 0.99461 | -0.037694 | 5.8944
7 | 0.14235 | 0.035823 | -0.14216 | -0.03575 | 0.00018968 | 7.2598e-05 | 0.21187 | 0.21187 | 0.21187 | 1 | 0 | 0.99863 | -0.0095594 | 39.2351
8 | 0.11552 | 0.029071 | -0.11541 | -0.02903 | 0.00010659 | 4.0694e-05 | 0.17217 | 0.17217 | 0.17217 | 0.99863 | -0.0095594 | 0.99768 | -0.016176 | 31.8833
9 | 0.026642 | 0.0066797 | -0.026623 | -0.0066725 | 1.9561e-05 | 7.2633e-06 | 0.0397 | 0.0397 | 0.0397 | 0.99863 | -0.0095594 | 0.99787 | -0.014863 | 14.7037
10 | 0.029771 | 0.0074628 | -0.029767 | -0.0074614 | 3.7083e-06 | 1.3879e-06 | 0.044697 | 0.044697 | 0.044697 | 0.99111 | -0.0622 | 0.99098 | -0.063099 | 16.5546
11 | -0.034934 | -0.0087567 | 0.034956 | 0.0087653 | 2.2654e-05 | 8.5428e-06 | 0.052449 | 0.052448 | 0.052449 | 0.99111 | -0.0622 | 0.99177 | -0.05752 | 19.4254
12 | 0.027108 | 0.0067951 | -0.02709 | -0.0067884 | 1.7966e-05 | 6.6862e-06 | 0.040705 | 0.040705 | 0.040705 | 0.99098 | -0.063099 | 0.9903 | -0.067888 | 15.076
13 | -0.089792 | -0.022534 | 0.090039 | 0.022628 | 0.0002467 | 9.4604e-05 | 0.13473 | 0.13473 | 0.13473 | 0.99177 | -0.05752 | 0.99458 | -0.037782 | 49.9004
14 | 0.054836 | 0.013769 | -0.054779 | -0.013747 | 5.6506e-05 | 2.1561e-05 | 0.082283 | 0.082283 | 0.082283 | 0.99177 | -0.05752 | 0.99072 | -0.064944 | 30.475
15 | 0.02195 | 0.0055002 | -0.021947 | -0.005499 | 3.1805e-06 | 1.163e-06 | 0.032982 | 0.032982 | 0.032982 | 0.9903 | -0.067888 | 0.99016 | -0.068935 | 12.2155
16 | -0.092664 | -0.023286 | 0.092676 | 0.023291 | 1.2105e-05 | 4.6428e-06 | 0.13866 | 0.13866 | 0.13866 | 0.99458 | -0.037782 | 0.99472 | -0.036843 | 51.355
17 | 0.054779 | 0.013747 | -0.054695 | -0.013715 | 8.4279e-05 | 3.2158e-05 | 0.082283 | 0.082283 | 0.082283 | 0.99072 | -0.064944 | 0.98915 | -0.076046 | 30.4751
18 | 0.021947 | 0.005499 | -0.02194 | -0.0054964 | 7.1838e-06 | 2.6269e-06 | 0.032982 | 0.032982 | 0.032982 | 0.99016 | -0.068935 | 0.98982 | -0.071302 | 12.2155
19 | -0.10706 | -0.026896 | 0.10726 | 0.026972 | 0.00019987 | 7.6223e-05 | 0.16017 | 0.16017 | 0.16017 | 0.99472 | -0.036843 | 0.99663 | -0.023447 | 29.6617
20 | 0.045696 | 0.011459 | -0.045695 | -0.011459 | 1.5794e-06 | 6.0058e-07 | 0.068745 | 0.068745 | 0.068745 | 0.98915 | -0.076046 | 0.98911 | -0.076296 | 25.4613
21 | 0.013003 | 0.0032566 | -0.013001 | -0.0032558 | 2.491e-06 | 8.238e-07 | 0.019547 | 0.019547 | 0.019547 | 0.98982 | -0.071302 | 0.98963 | -0.072688 | 7.2396
22 | -0.11272 | -0.028341 | 0.11283 | 0.028384 | 0.00011431 | 4.3628e-05 | 0.16833 | 0.16833 | 0.16833 | 0.99663 | -0.023447 | 0.99768 | -0.016176 | 31.1719
23 | 0.034233 | 0.0085862 | -0.034185 | -0.0085681 | 4.7985e-05 | 1.8084e-05 | 0.051502 | 0.051502 | 0.051502 | 0.98911 | -0.076296 | 0.98768 | -0.086419 | 19.0748
24 | 0.025337 | 0.0063501 | -0.025335 | -0.0063496 | 1.4469e-06 | 5.3529e-07 | 0.037782 | 0.037782 | 0.037782 | 0.99787 | -0.014863 | 0.99781 | -0.015275 | 13.9933
25 | 0.01822 | 0.0045662 | -0.018217 | -0.0045653 | 2.4944e-06 | 8.8867e-07 | 0.02717 | 0.02717 | 0.02717 | 0.99781 | -0.015275 | 0.99767 | -0.016264 | 10.0631
26 | 0.0096487 | 0.0024179 | -0.0096462 | -0.0024172 | 2.444e-06 | 6.9311e-07 | 0.014391 | 0.014391 | 0.014391 | 0.99767 | -0.016264 | 0.99741 | -0.018095 | 5.33
27 | 0.018227 | 0.0045688 | -0.018226 | -0.0045684 | 1.1164e-06 | 3.9903e-07 | 0.027461 | 0.027461 | 0.027461 | 0.98768 | -0.086419 | 0.98762 | -0.086862 | 10.1706
28 | 0.015364 | 0.0038511 | -0.01536 | -0.0038497 | 3.8977e-06 | 1.35e-06 | 0.023149 | 0.023149 | 0.023149 | 0.98762 | -0.086862 | 0.98736 | -0.088694 | 8.5736
29 | 0.01536 | 0.0038497 | -0.015358 | -0.0038492 | 1.7003e-06 | 5.8892e-07 | 0.023149 | 0.023149 | 0.023149 | 0.98736 | -0.088694 | 0.98725 | -0.089494 | 8.5736
30 | 0.0026933 | 0.00067405 | -0.0026929 | -0.00067441 | 4.1474e-07 | -3.5595e-07 | 0.0040596 | 0.0040598 | 0.0040598 | 0.98713 | -0.090377 | 0.98698 | -0.091492 | 1.5036
31 | -0.0062059 | -0.0015544 | 0.0062211 | 0.0015567 | 1.5183e-05 | 2.2755e-06 | 0.0093545 | 0.0093532 | 0.0093545 | 0.98713 | -0.090377 | 0.98963 | -0.072688 | 3.4646
32 | 0.0013549 | 0.00033922 | -0.0013549 | -0.00033956 | 7.6853e-08 | -3.4763e-07 | 0.0020427 | 0.0020428 | 0.0020428 | 0.98698 | -0.091492 | 0.98692 | -0.091902 | 0.75659
33 | 0.001338 | 0.00033519 | -0.0013379 | -0.00033532 | 2.6593e-08 | -1.2362e-07 | 0.0020171 | 0.0020172 | 0.0020172 | 0.98698 | -0.091492 | 0.98696 | -0.091635 | 0.7471
34 | 0.0096462 | 0.0024172 | -0.009644 | -0.0024166 | 2.243e-06 | 6.3623e-07 | 0.014391 | 0.014391 | 0.014391 | 0.99741 | -0.018095 | 0.99717 | -0.019775 | 5.33
35 | 0.0023886 | 0.00059819 | -0.0023883 | -0.00059857 | 2.9974e-07 | -3.7789e-07 | 0.0035642 | 0.0035644 | 0.0035644 | 0.99717 | -0.019775 | 0.99704 | -0.020682 | 1.3201

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.22775 | 0.057082

## res_load
| p_mw | q_mvar
0 | 0.011556 | 0.0028961
1 | 0.018563 | 0.0046522
2 | 0.011253 | 0.0028203
3 | 0.023561 | 0.0059048
4 | 0.0086072 | 0.0021572
5 | 0.010638 | 0.0026661
6 | 0.0051627 | 0.0012939
7 | 0.0026588 | 0.00066636
8 | 0.0051401 | 0.0012882
9 | 0.0026253 | 0.00065795
10 | 0.014382 | 0.0036045
11 | 0.0089988 | 0.0022553
12 | 0.0089368 | 0.0022398
13 | 0.0054622 | 0.001369
14 | 0.011462 | 0.0028727
15 | 0.0025755 | 0.00064548
16 | 0.0012862 | 0.00032236
17 | 0.0071157 | 0.0017834
18 | 0.0085684 | 0.0021474
19 | 0.015958 | 0.0039993
20 | 0.002862 | 0.00071728
21 | 0.015358 | 0.0038492
22 | 0.0035126 | 0.00088034
23 | 0.0067795 | 0.0016991
24 | 0.0013549 | 0.00033956
25 | 0.0013379 | 0.00033532
26 | 0.0072554 | 0.0018184
27 | 0.0023883 | 0.00059857

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1