## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1504-11_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1504-11_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1504-11_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1504-11_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1504-11_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1504-11_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1504-11_0_2_node_25 | 0.4 | n |  | TRUE
7 | bus_LV_1504-11_0_2_node_26 | 0.4 | n |  | TRUE
8 | bus_LV_1504-11_0_2_node_27 | 0.4 | n |  | TRUE
9 | bus_LV_1504-11_0_2_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1504-11_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1504-11_0_2_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1504-11_0_2_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1504-11_0_2_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1504-11_0_2_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1504-11_0_2_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1504-11_0_2_node_41 | 0.4 | n |  | TRUE
17 | bus_LV_1504-11_0_2_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1504-11_0_2_node_42 | 0.4 | n |  | TRUE
19 | bus_LV_1504-11_0_2_node_14 | 0.4 | n |  | TRUE
20 | bus_LV_1504-11_0_2_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_1504-11_0_2_node_15 | 0.4 | n |  | TRUE
22 | bus_LV_1504-11_0_2_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_1504-11_0_2_node_16 | 0.4 | n |  | TRUE
24 | bus_LV_1504-11_0_2_node_17 | 0.4 | n |  | TRUE
25 | bus_LV_1504-11_0_2_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1504-11_0_2_node_39 | 0.4 | n |  | TRUE
27 | bus_LV_1504-11_0_2_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_1504-11_0_2_node_19 | 0.4 | n |  | TRUE
29 | bus_LV_1504-11_0_2_node_20 | 0.4 | n |  | TRUE
30 | bus_LV_1504-11_0_2_node_21 | 0.4 | n |  | TRUE
31 | bus_LV_1504-11_0_2_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1504-11_0_2_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_1504-11_0_2_node_31 | 0.4 | n |  | TRUE
34 | bus_LV_1504-11_0_2_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_1504-11_0_2_node_29 | 0.4 | n |  | TRUE
36 | bus_LV_1504-11_0_2_node_34 | 0.4 | n |  | TRUE
37 | bus_LV_1504-11_0_2_node_32 | 0.4 | n |  | TRUE
38 | bus_LV_1504-11_0_2_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1504-11_0_2_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_1504-11_0_2_node_44 | 0.4 | n |  | TRUE
41 | bus_LV_1504-11_0_2_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_1504-11_0_2_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_1504-11_0_2_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_1504-11_0_2_node_43 | 0.4 | n |  | TRUE
45 | bus_MV_142_0_node_140 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1504-11_0_2_load_0 | 0 | 0.0028221 | 0.00070729 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1504-11_0_2_load_1 | 1 | 0.0033765 | 0.00084623 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1504-11_0_2_load_3 | 3 | 0.0033227 | 0.00083276 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1504-11_0_2_load_4 | 4 | 0.002282 | 0.00057191 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1504-11_0_2_load_5 | 5 | 0.003435 | 0.00086089 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1504-11_0_2_load_25 | 6 | 0.0022815 | 0.00057179 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1504-11_0_2_load_26 | 7 | 0.0038444 | 0.00096349 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1504-11_0_2_load_27 | 8 | 0.0038364 | 0.0009615 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1504-11_0_2_load_6 | 9 | 0.0040317 | 0.0010104 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1504-11_0_2_load_7 | 10 | 0.0037419 | 0.0009378 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1504-11_0_2_load_8 | 11 | 0.0039898 | 0.00099993 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1504-11_0_2_load_10 | 13 | 0.0030775 | 0.00077131 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1504-11_0_2_load_11 | 14 | 0.0032833 | 0.00082287 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1504-11_0_2_load_12 | 15 | 0.0024681 | 0.00061856 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1504-11_0_2_load_41 | 16 | 0.0026624 | 0.00066727 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1504-11_0_2_load_13 | 17 | 0.002856 | 0.00071579 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1504-11_0_2_load_42 | 18 | 0.0026805 | 0.00067181 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1504-11_0_2_load_14 | 19 | 0.0025426 | 0.00063724 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1504-11_0_2_load_23 | 20 | 0.0014805 | 0.00037105 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1504-11_0_2_load_15 | 21 | 0.0026087 | 0.00065379 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1504-11_0_2_load_24 | 22 | 0.0012426 | 0.00031142 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1504-11_0_2_load_16 | 23 | 0.0070494 | 0.0017667 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1504-11_0_2_load_17 | 24 | 0.0064344 | 0.0016126 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1504-11_0_2_load_18 | 25 | 0.0017143 | 0.00042964 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1504-11_0_2_load_39 | 26 | 0.0029204 | 0.00073192 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1504-11_0_2_load_37 | 27 | 0.0025119 | 0.00062954 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1504-11_0_2_load_19 | 28 | 0.0096735 | 0.0024244 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1504-11_0_2_load_21 | 30 | 0.0020217 | 0.00050667 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1504-11_0_2_load_22 | 31 | 0.003438 | 0.00086164 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1504-11_0_2_load_33 | 32 | 0.013353 | 0.0033466 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1504-11_0_2_load_31 | 33 | 0.0025504 | 0.00063918 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1504-11_0_2_load_28 | 34 | 0.0028306 | 0.00070942 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1504-11_0_2_load_29 | 35 | 0.0025765 | 0.00064572 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1504-11_0_2_load_34 | 36 | 0.0044214 | 0.0011081 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1504-11_0_2_load_30 | 38 | 0.0050266 | 0.0012598 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1504-11_0_2_load_44 | 40 | 0.010519 | 0.0026364 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1504-11_0_2_load_40 | 42 | 0.0026178 | 0.00065609 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1504-11_0_2_load_36 | 43 | 0.0050082 | 0.0012552 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1504-11_0_2_load_43 | 44 | 0.0098437 | 0.0024671 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 43 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1504-11_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1504-11_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.040978 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1504-11_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.029905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1504-11_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0022941 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1504-11_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.043801 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1504-11_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.011251 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1504-11_0_2_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0085681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1504-11_0_2_line_7 | NAYY 4x150 SE | 7 | 8 | 0.011398 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1504-11_0_2_line_8 | NAYY 4x150 SE | 8 | 34 | 0.0057045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1504-11_0_2_line_9 | NAYY 4x150 SE | 9 | 10 | 0.0060557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1504-11_0_2_line_10 | NAYY 4x150 SE | 9 | 11 | 0.0062071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1504-11_0_2_line_11 | NAYY 4x150 SE | 10 | 12 | 0.014087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1504-11_0_2_line_12 | NAYY 4x150 SE | 12 | 13 | 0.020179 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1504-11_0_2_line_13 | NAYY 4x150 SE | 12 | 14 | 0.026688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1504-11_0_2_line_14 | NAYY 4x150 SE | 13 | 15 | 0.042511 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1504-11_0_2_line_15 | NAYY 4x150 SE | 14 | 16 | 0.0036506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1504-11_0_2_line_16 | NAYY 4x150 SE | 15 | 17 | 0.016225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1504-11_0_2_line_17 | NAYY 4x150 SE | 16 | 18 | 0.0034076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1504-11_0_2_line_18 | NAYY 4x150 SE | 17 | 19 | 0.013052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1504-11_0_2_line_19 | NAYY 4x150 SE | 17 | 20 | 0.14574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1504-11_0_2_line_20 | NAYY 4x150 SE | 19 | 21 | 0.019151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1504-11_0_2_line_21 | NAYY 4x150 SE | 20 | 22 | 0.031051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1504-11_0_2_line_22 | NAYY 4x150 SE | 21 | 23 | 0.022278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1504-11_0_2_line_23 | NAYY 4x150 SE | 23 | 24 | 0.014582 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1504-11_0_2_line_24 | NAYY 4x150 SE | 24 | 25 | 0.0081981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1504-11_0_2_line_25 | NAYY 4x150 SE | 25 | 26 | 0.0016661 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1504-11_0_2_line_26 | NAYY 4x150 SE | 26 | 27 | 0.016707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1504-11_0_2_line_27 | NAYY 4x150 SE | 27 | 43 | 0.00045092 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1504-11_0_2_line_28 | NAYY 4x150 SE | 28 | 29 | 0.032418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1504-11_0_2_line_29 | NAYY 4x150 SE | 29 | 30 | 0.007642 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1504-11_0_2_line_30 | NAYY 4x150 SE | 29 | 31 | 0.018664 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1504-11_0_2_line_31 | NAYY 4x150 SE | 30 | 32 | 0.08638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1504-11_0_2_line_32 | NAYY 4x150 SE | 32 | 33 | 0.023475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1504-11_0_2_line_33 | NAYY 4x150 SE | 33 | 38 | 0.045457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1504-11_0_2_line_34 | NAYY 4x150 SE | 34 | 35 | 0.0059617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1504-11_0_2_line_35 | NAYY 4x150 SE | 35 | 36 | 0.0064643 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1504-11_0_2_line_36 | NAYY 4x150 SE | 36 | 37 | 0.0051612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1504-11_0_2_line_37 | NAYY 4x150 SE | 37 | 39 | 0.014559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1504-11_0_2_line_38 | NAYY 4x150 SE | 37 | 38 | 0.048394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1504-11_0_2_line_39 | NAYY 4x150 SE | 39 | 40 | 0.043584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1504-11_0_2_line_40 | NAYY 4x150 SE | 39 | 41 | 0.008325 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1504-11_0_2_line_41 | NAYY 4x150 SE | 41 | 42 | 0.03024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1504-11_0_2_line_42 | NAYY 4x150 SE | 41 | 43 | 0.01639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1504-11_0_2_line_43 | NAYY 4x150 SE | 42 | 44 | 0.0088849 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1504-11_0_2_trafo_36 | 0.25 MVA 20/0.4 kV | 45 | 43 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2681820.6141 | 1201362.6294 | 2681836.9032 | 1201358.5088 | 2681842.0294 | 1201358.7729
1 | 2681797.4621 | 1201390.8782 | 2681800.6476 | 1201374.5004 | 2681808.5099 | 1201365.6913 | 2681820.6141 | 1201362.6294
2 | 2681871.895 | 1201360.3115 | 2681842.0294 | 1201358.7729
3 | 2681797.4621 | 1201390.8782 | 2681795.1685 | 1201390.8336
4 | 2681797.4621 | 1201390.8782 | 2681808.9668 | 1201391.8029 | 2681829.4744 | 1201393.4514 | 2681840.8385 | 1201396.1739
5 | 2681783.9193 | 1201390.6148 | 2681795.1685 | 1201390.8336
6 | 2681840.8385 | 1201396.1739 | 2681849.1708 | 1201398.17
7 | 2681860.2551 | 1201400.8254 | 2681849.1708 | 1201398.17
8 | 2681860.2551 | 1201400.8254 | 2681865.8026 | 1201402.1544 | 2681865.8026 | 1201402.1544
9 | 2682010.6911 | 1201476.6487 | 2682008.4961 | 1201471.0048
10 | 2682012.941 | 1201482.4336 | 2682010.6911 | 1201476.6487
11 | 2682003.39 | 1201457.8759 | 2682008.4961 | 1201471.0048
12 | 2682003.39 | 1201457.8759 | 2681992.313 | 1201462.4046 | 2681985.1415 | 1201466.4053
13 | 2682003.39 | 1201457.8759 | 2682010.4514 | 1201434.7916 | 2682010.5247 | 1201432.2446
14 | 2681985.1415 | 1201466.4053 | 2681981.4203 | 1201468.4812 | 2681952.0355 | 1201492.9671
15 | 2682010.6298 | 1201428.5955 | 2682010.5247 | 1201432.2446
16 | 2681952.0355 | 1201492.9671 | 2681948.6175 | 1201495.8153 | 2681944.7847 | 1201497.7639 | 2681938.7561 | 1201496.6361 | 2681937.5857 | 1201495.9779
17 | 2682010.7278 | 1201425.1893 | 2682010.6298 | 1201428.5955
18 | 2681927.304 | 1201488.1121 | 2681932.4336 | 1201493.0805 | 2681937.5857 | 1201495.9779
19 | 2681937.5857 | 1201495.9779 | 2681944.7198 | 1201641.5401
20 | 2681927.304 | 1201488.1121 | 2681913.5476 | 1201474.7879 | 2681913.5476 | 1201474.7879
21 | 2681944.7198 | 1201641.5401 | 2681946.917 | 1201641.9399 | 2681973.4849 | 1201653.102
22 | 2681913.5476 | 1201474.7879 | 2681909.7881 | 1201473.0575 | 2681903.9237 | 1201473.8331 | 2681893.0035 | 1201479.3265
23 | 2681879.5179 | 1201478.9241 | 2681879.5179 | 1201478.9241 | 2681883.5434 | 1201481.2363 | 2681888.9922 | 1201481.3444 | 2681893.0035 | 1201479.3265
24 | 2681875.7253 | 1201471.656 | 2681879.5179 | 1201478.9241
25 | 2681875.7253 | 1201471.656 | 2681874.9546 | 1201470.179
26 | 2681874.9546 | 1201470.179 | 2681868.8889 | 1201458.5545 | 2681868.6469 | 1201454.9679
27 | 2681868.6165 | 1201454.518 | 2681868.6469 | 1201454.9679
28 | 2681759.415 | 1201538.8732 | 2681751.6839 | 1201539.2233 | 2681736.7859 | 1201533.7494 | 2681729.0528 | 1201529.5344
29 | 2681759.415 | 1201538.8732 | 2681760.1585 | 1201531.2675
30 | 2681759.415 | 1201538.8732 | 2681759.2029 | 1201541.0161 | 2681771.5344 | 1201551.9947
31 | 2681776.4452 | 1201446.4368 | 2681760.1585 | 1201531.2675
32 | 2681776.4452 | 1201446.4368 | 2681798.1398 | 1201437.4684
33 | 2681832.5896 | 1201418.5609 | 2681821.4817 | 1201415.6671 | 2681810.8219 | 1201424.2043 | 2681808.1008 | 1201433.3506 | 2681798.1398 | 1201437.4684
34 | 2681865.8026 | 1201402.1544 | 2681870.7506 | 1201405.4799 | 2681870.7506 | 1201405.4799
35 | 2681874.1471 | 1201410.9604 | 2681874.1042 | 1201410.7291 | 2681870.7506 | 1201405.4799
36 | 2681875.0895 | 1201416.0349 | 2681874.1471 | 1201410.9604
37 | 2681874.2281 | 1201430.5656 | 2681875.0895 | 1201416.0349
38 | 2681875.0895 | 1201416.0349 | 2681867.5896 | 1201423.3923 | 2681854.1358 | 1201428.0554 | 2681838.4193 | 1201420.0796 | 2681832.5896 | 1201418.5609
39 | 2681836.7144 | 1201447.8404 | 2681856.7398 | 1201435.2289 | 2681870.4564 | 1201428.0568 | 2681874.2281 | 1201430.5656
40 | 2681872.0778 | 1201438.6079 | 2681872.5515 | 1201436.8132 | 2681874.2281 | 1201430.5656
41 | 2681872.0778 | 1201438.6079 | 2681881.8937 | 1201438.887 | 2681901.3301 | 1201438.1528 | 2681902.2877 | 1201438.0019
42 | 2681872.0778 | 1201438.6079 | 2681868.4587 | 1201452.178 | 2681868.6165 | 1201454.518
43 | 2681911.0643 | 1201436.6186 | 2681902.2877 | 1201438.0019

## bus_geodata
| x | y | coords
0 | 2681820.6141 | 1201362.6294
1 | 2681842.0294 | 1201358.7729
2 | 2681797.4621 | 1201390.8782
3 | 2681871.895 | 1201360.3115
4 | 2681795.1685 | 1201390.8336
5 | 2681840.8385 | 1201396.1739
6 | 2681783.9193 | 1201390.6148
7 | 2681849.1708 | 1201398.17
8 | 2681860.2551 | 1201400.8254
9 | 2682010.6911 | 1201476.6487
10 | 2682008.4961 | 1201471.0048
11 | 2682012.941 | 1201482.4336
12 | 2682003.39 | 1201457.8759
13 | 2681985.1415 | 1201466.4053
14 | 2682010.5247 | 1201432.2446
15 | 2681952.0355 | 1201492.9671
16 | 2682010.6298 | 1201428.5955
17 | 2681937.5857 | 1201495.9779
18 | 2682010.7278 | 1201425.1893
19 | 2681927.304 | 1201488.1121
20 | 2681944.7198 | 1201641.5401
21 | 2681913.5476 | 1201474.7879
22 | 2681973.4849 | 1201653.102
23 | 2681893.0035 | 1201479.3265
24 | 2681879.5179 | 1201478.9241
25 | 2681875.7253 | 1201471.656
26 | 2681874.9546 | 1201470.179
27 | 2681868.6469 | 1201454.9679
28 | 2681729.0528 | 1201529.5344
29 | 2681759.415 | 1201538.8732
30 | 2681760.1585 | 1201531.2675
31 | 2681771.5344 | 1201551.9947
32 | 2681776.4452 | 1201446.4368
33 | 2681798.1398 | 1201437.4684
34 | 2681865.8026 | 1201402.1544
35 | 2681870.7506 | 1201405.4799
36 | 2681874.1471 | 1201410.9604
37 | 2681875.0895 | 1201416.0349
38 | 2681832.5896 | 1201418.5609
39 | 2681874.2281 | 1201430.5656
40 | 2681836.7144 | 1201447.8404
41 | 2681872.0778 | 1201438.6079
42 | 2681902.2877 | 1201438.0019
43 | 2681868.6165 | 1201454.518
44 | 2681911.0643 | 1201436.6186
45 | 2681872.0778 | 1201438.6079

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99232 | -0.053808 | 0.0028221 | 0.00070729
1 | 0.99211 | -0.055299 | 0.0033765 | 0.00084623
2 | 0.99288 | -0.049853 | 0 | 0
3 | 0.99197 | -0.056307 | 0.0033227 | 0.00083276
4 | 0.99287 | -0.049959 | 0.002282 | 0.00057191
5 | 0.99377 | -0.043607 | 0.003435 | 0.00086089
6 | 0.99283 | -0.050219 | 0.0022815 | 0.00057179
7 | 0.99398 | -0.042089 | 0.0038444 | 0.00096349
8 | 0.99433 | -0.039629 | 0.0038364 | 0.0009615
9 | 0.99138 | -0.06045 | 0.0040317 | 0.0010104
10 | 0.99145 | -0.059957 | 0.0037419 | 0.0009378
11 | 0.99135 | -0.060702 | 0.0039898 | 0.00099993
12 | 0.99169 | -0.058275 | 0 | 0
13 | 0.99228 | -0.0541 | 0.0030775 | 0.00077131
14 | 0.99136 | -0.060612 | 0.0032833 | 0.00082287
15 | 0.99372 | -0.043999 | 0.0024681 | 0.00061856
16 | 0.99133 | -0.06081 | 0.0026624 | 0.00066727
17 | 0.99432 | -0.039747 | 0.002856 | 0.00071579
18 | 0.99132 | -0.060903 | 0.0026805 | 0.00067181
19 | 0.99491 | -0.035593 | 0.0025426 | 0.00063724
20 | 0.99375 | -0.04377 | 0.0014805 | 0.00037105
21 | 0.99585 | -0.029016 | 0.0026087 | 0.00065379
22 | 0.9937 | -0.04416 | 0.0012426 | 0.00031142
23 | 0.99702 | -0.020798 | 0.0070494 | 0.0017667
24 | 0.99794 | -0.014398 | 0.0064344 | 0.0016126
25 | 0.99853 | -0.010277 | 0.0017143 | 0.00042964
26 | 0.99865 | -0.0094118 | 0.0029204 | 0.00073192
27 | 0.99996 | -0.00025804 | 0.0025119 | 0.00062954
28 | 0.98733 | -0.089026 | 0.0096735 | 0.0024244
29 | 0.98778 | -0.085816 | 0 | 0
30 | 0.98792 | -0.084791 | 0.0020217 | 0.00050667
31 | 0.98769 | -0.086473 | 0.003438 | 0.00086164
32 | 0.98981 | -0.071441 | 0.013353 | 0.0033466
33 | 0.99077 | -0.064632 | 0.0025504 | 0.00063918
34 | 0.99454 | -0.038177 | 0.0028306 | 0.00070942
35 | 0.99478 | -0.03649 | 0.0025765 | 0.00064572
36 | 0.99506 | -0.034494 | 0.0044214 | 0.0011081
37 | 0.99532 | -0.032671 | 0 | 0
38 | 0.99281 | -0.050309 | 0.0050266 | 0.0012598
39 | 0.99681 | -0.022253 | 0 | 0
40 | 0.99615 | -0.026862 | 0.010519 | 0.0026364
41 | 0.99779 | -0.015431 | 0 | 0
42 | 0.99725 | -0.019211 | 0.0026178 | 0.00065609
43 | 1 | 0 | -0.15315 | -0.038299
44 | 0.99712 | -0.020089 | 0.0098437 | 0.0024671
45 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0067011 | 0.001679 | -0.0066997 | -0.0016788 | 1.382e-06 | 2.4824e-07 | 0.010048 | 0.010048 | 0.010048 | 0.99232 | -0.053808 | 0.99211 | -0.055299 | 3.7216
1 | -0.0095232 | -0.0023863 | 0.0095284 | 0.0023878 | 5.2142e-06 | 1.4758e-06 | 0.01428 | 0.01428 | 0.01428 | 0.99232 | -0.053808 | 0.99288 | -0.049853 | 5.2889
2 | 0.0033232 | 0.00083255 | -0.0033227 | -0.00083276 | 4.6359e-07 | -2.0781e-07 | 0.0049842 | 0.0049843 | 0.0049843 | 0.99211 | -0.055299 | 0.99197 | -0.056307 | 1.846
3 | 0.0045636 | 0.0011436 | -0.0045635 | -0.0011436 | 6.6961e-08 | -3.9152e-09 | 0.0068393 | 0.0068393 | 0.0068393 | 0.99288 | -0.049853 | 0.99287 | -0.049959 | 2.5331
4 | -0.014092 | -0.0035314 | 0.014104 | 0.0035355 | 1.2191e-05 | 4.1217e-06 | 0.021119 | 0.021119 | 0.021119 | 0.99288 | -0.049853 | 0.99377 | -0.043607 | 7.822
5 | 0.0022816 | 0.00057168 | -0.0022815 | -0.00057179 | 8.2088e-08 | -1.1393e-07 | 0.0034193 | 0.0034194 | 0.0034194 | 0.99287 | -0.049959 | 0.99283 | -0.050219 | 1.2664
6 | -0.017539 | -0.0043964 | 0.017543 | 0.0043977 | 3.6876e-06 | 1.3073e-06 | 0.026262 | 0.026262 | 0.026262 | 0.99377 | -0.043607 | 0.99398 | -0.042089 | 9.7268
7 | -0.021387 | -0.0053612 | 0.021395 | 0.0053638 | 7.2909e-06 | 2.6564e-06 | 0.032018 | 0.032017 | 0.032018 | 0.99398 | -0.042089 | 0.99433 | -0.039629 | 11.8583
8 | -0.025231 | -0.0063253 | 0.025236 | 0.0063272 | 5.075e-06 | 1.8779e-06 | 0.037759 | 0.037759 | 0.037759 | 0.99433 | -0.039629 | 0.99454 | -0.038177 | 13.9847
9 | -0.0080216 | -0.0020103 | 0.0080222 | 0.0020105 | 5.4778e-07 | 1.3259e-07 | 0.01204 | 0.01204 | 0.01204 | 0.99138 | -0.06045 | 0.99145 | -0.059957 | 4.4593
10 | 0.0039899 | 0.0009999 | -0.0039898 | -0.00099993 | 1.3891e-07 | -2.6606e-08 | 0.0059886 | 0.0059887 | 0.0059887 | 0.99138 | -0.06045 | 0.99135 | -0.060702 | 2.218
11 | -0.011764 | -0.0029483 | 0.011767 | 0.0029491 | 2.7402e-06 | 8.722e-07 | 0.017656 | 0.017656 | 0.017656 | 0.99145 | -0.059957 | 0.99169 | -0.058275 | 6.5392
12 | -0.020396 | -0.0051118 | 0.020408 | 0.0051161 | 1.1793e-05 | 4.2754e-06 | 0.030604 | 0.030604 | 0.030604 | 0.99169 | -0.058275 | 0.99228 | -0.0541 | 11.3348
13 | 0.0086292 | 0.0021626 | -0.0086264 | -0.0021619 | 2.792e-06 | 7.2962e-07 | 0.012948 | 0.012948 | 0.012948 | 0.99169 | -0.058275 | 0.99136 | -0.060612 | 4.7956
14 | -0.023485 | -0.0058874 | 0.023518 | 0.0058995 | 3.2903e-05 | 1.2105e-05 | 0.035219 | 0.035219 | 0.035219 | 0.99228 | -0.0541 | 0.99372 | -0.043999 | 13.044
15 | 0.0053431 | 0.0013391 | -0.005343 | -0.001339 | 1.4652e-07 | 9.2855e-09 | 0.00802 | 0.00802 | 0.00802 | 0.99136 | -0.060612 | 0.99133 | -0.06081 | 2.9704
16 | -0.025986 | -0.006518 | 0.026002 | 0.0065237 | 1.5331e-05 | 5.6864e-06 | 0.038914 | 0.038914 | 0.038914 | 0.99372 | -0.043999 | 0.99432 | -0.039747 | 14.4127
17 | 0.0026806 | 0.00067178 | -0.0026805 | -0.00067181 | 3.4424e-08 | -3.0693e-08 | 0.0040236 | 0.0040236 | 0.0040236 | 0.99133 | -0.06081 | 0.99132 | -0.060903 | 1.4902
18 | -0.031582 | -0.0079203 | 0.031601 | 0.0079271 | 1.8195e-05 | 6.8287e-06 | 0.047265 | 0.047265 | 0.047265 | 0.99432 | -0.039747 | 0.99491 | -0.035593 | 17.5056
19 | 0.0027247 | 0.00068079 | -0.0027232 | -0.00068209 | 1.5117e-06 | -1.3078e-06 | 0.0040768 | 0.0040774 | 0.0040774 | 0.99432 | -0.039747 | 0.99375 | -0.04377 | 1.5102
20 | -0.034143 | -0.0085644 | 0.034174 | 0.0085761 | 3.1166e-05 | 1.1738e-05 | 0.051068 | 0.051068 | 0.051068 | 0.99491 | -0.035593 | 0.99585 | -0.029016 | 18.9141
21 | 0.0012426 | 0.00031104 | -0.0012426 | -0.00031142 | 6.7077e-08 | -3.7647e-07 | 0.0018606 | 0.0018607 | 0.0018607 | 0.99375 | -0.04377 | 0.9937 | -0.04416 | 0.68915
22 | -0.036783 | -0.0092299 | 0.036825 | 0.0092458 | 4.2e-05 | 1.5864e-05 | 0.054966 | 0.054966 | 0.054966 | 0.99585 | -0.029016 | 0.99702 | -0.020798 | 20.3577
23 | -0.043874 | -0.011013 | 0.043913 | 0.011027 | 3.9023e-05 | 1.4818e-05 | 0.065487 | 0.065487 | 0.065487 | 0.99702 | -0.020798 | 0.99794 | -0.014398 | 24.2543
24 | -0.050348 | -0.01264 | 0.050377 | 0.012651 | 2.8837e-05 | 1.0984e-05 | 0.075081 | 0.075081 | 0.075081 | 0.99794 | -0.014398 | 0.99853 | -0.010277 | 27.8077
25 | -0.052091 | -0.013081 | 0.052097 | 0.013083 | 6.2662e-06 | 2.3883e-06 | 0.077635 | 0.077635 | 0.077635 | 0.99853 | -0.010277 | 0.99865 | -0.0094118 | 28.7538
26 | -0.055018 | -0.013815 | 0.055088 | 0.013842 | 7.0075e-05 | 2.6733e-05 | 0.081987 | 0.081987 | 0.081987 | 0.99865 | -0.0094118 | 0.99996 | -0.00025804 | 30.3655
27 | -0.0576 | -0.014471 | 0.057602 | 0.014472 | 2.0677e-06 | 7.8936e-07 | 0.085725 | 0.085725 | 0.085725 | 0.99996 | -0.00025804 | 1 | 0 | 31.7499
28 | -0.0096735 | -0.0024244 | 0.0096778 | 0.0024256 | 4.2996e-06 | 1.2389e-06 | 0.014579 | 0.014579 | 0.014579 | 0.98733 | -0.089026 | 0.98778 | -0.085816 | 5.3997
29 | -0.013116 | -0.0032872 | 0.013118 | 0.0032878 | 1.8616e-06 | 6.1818e-07 | 0.019758 | 0.019758 | 0.019758 | 0.98778 | -0.085816 | 0.98792 | -0.084791 | 7.3179
30 | 0.0034383 | 0.00086152 | -0.003438 | -0.00086164 | 3.1244e-07 | -1.1872e-07 | 0.0051795 | 0.0051796 | 0.0051796 | 0.98778 | -0.085816 | 0.98769 | -0.086473 | 1.9184
31 | -0.01514 | -0.0037945 | 0.015168 | 0.0038041 | 2.8028e-05 | 9.6718e-06 | 0.022803 | 0.022803 | 0.022803 | 0.98792 | -0.084791 | 0.98981 | -0.071441 | 8.4457
32 | -0.028521 | -0.0071507 | 0.028548 | 0.0071608 | 2.693e-05 | 1.0056e-05 | 0.042877 | 0.042877 | 0.042877 | 0.98981 | -0.071441 | 0.99077 | -0.064632 | 15.8804
33 | -0.031098 | -0.0077999 | 0.03116 | 0.0078231 | 6.188e-05 | 2.3213e-05 | 0.046707 | 0.046707 | 0.046707 | 0.99077 | -0.064632 | 0.99281 | -0.050309 | 17.299
34 | -0.028067 | -0.0070366 | 0.028073 | 0.0070391 | 6.5603e-06 | 2.4458e-06 | 0.041994 | 0.041994 | 0.041994 | 0.99454 | -0.038177 | 0.99478 | -0.03649 | 15.5533
35 | -0.03065 | -0.0076848 | 0.030658 | 0.007688 | 8.4789e-06 | 3.1772e-06 | 0.045848 | 0.045848 | 0.045848 | 0.99478 | -0.03649 | 0.99506 | -0.034494 | 16.9806
36 | -0.03508 | -0.0087961 | 0.035088 | 0.0087994 | 8.8631e-06 | 3.3418e-06 | 0.052459 | 0.052459 | 0.052459 | 0.99506 | -0.034494 | 0.99532 | -0.032671 | 19.4294
37 | -0.071364 | -0.017916 | 0.071467 | 0.017955 | 0.00010343 | 3.9591e-05 | 0.1067 | 0.1067 | 0.1067 | 0.99532 | -0.032671 | 0.99681 | -0.022253 | 39.5185
38 | 0.036275 | 0.0091165 | -0.036186 | -0.0090829 | 8.8844e-05 | 3.3543e-05 | 0.054241 | 0.054241 | 0.054241 | 0.99532 | -0.032671 | 0.99281 | -0.050309 | 20.0892
39 | 0.010526 | 0.0026384 | -0.010519 | -0.0026364 | 6.7151e-06 | 2.015e-06 | 0.015713 | 0.015714 | 0.015714 | 0.99681 | -0.022253 | 0.99615 | -0.026862 | 5.8198
40 | -0.081993 | -0.020594 | 0.082071 | 0.020624 | 7.7844e-05 | 2.9831e-05 | 0.12241 | 0.12241 | 0.12241 | 0.99681 | -0.022253 | 0.99779 | -0.015431 | 45.3383
41 | 0.012469 | 0.0031256 | -0.012463 | -0.0031235 | 6.5252e-06 | 2.1149e-06 | 0.018596 | 0.018596 | 0.018596 | 0.99779 | -0.015431 | 0.99725 | -0.019211 | 6.8874
42 | -0.09454 | -0.023749 | 0.094744 | 0.023827 | 0.00020335 | 7.7998e-05 | 0.14101 | 0.14101 | 0.14101 | 0.99779 | -0.015431 | 1 | 0 | 52.2256
43 | 0.0098449 | 0.0024674 | -0.0098437 | -0.0024671 | 1.1964e-06 | 3.4424e-07 | 0.01469 | 0.01469 | 0.01469 | 0.99725 | -0.019211 | 0.99712 | -0.020089 | 5.4407

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.15815 | 0.039555

## res_load
| p_mw | q_mvar
0 | 0.0028221 | 0.00070729
1 | 0.0033765 | 0.00084623
2 | 0.0033227 | 0.00083276
3 | 0.002282 | 0.00057191
4 | 0.003435 | 0.00086089
5 | 0.0022815 | 0.00057179
6 | 0.0038444 | 0.00096349
7 | 0.0038364 | 0.0009615
8 | 0.0040317 | 0.0010104
9 | 0.0037419 | 0.0009378
10 | 0.0039898 | 0.00099993
11 | 0.0030775 | 0.00077131
12 | 0.0032833 | 0.00082287
13 | 0.0024681 | 0.00061856
14 | 0.0026624 | 0.00066727
15 | 0.002856 | 0.00071579
16 | 0.0026805 | 0.00067181
17 | 0.0025426 | 0.00063724
18 | 0.0014805 | 0.00037105
19 | 0.0026087 | 0.00065379
20 | 0.0012426 | 0.00031142
21 | 0.0070494 | 0.0017667
22 | 0.0064344 | 0.0016126
23 | 0.0017143 | 0.00042964
24 | 0.0029204 | 0.00073192
25 | 0.0025119 | 0.00062954
26 | 0.0096735 | 0.0024244
27 | 0.0020217 | 0.00050667
28 | 0.003438 | 0.00086164
29 | 0.013353 | 0.0033466
30 | 0.0025504 | 0.00063918
31 | 0.0028306 | 0.00070942
32 | 0.0025765 | 0.00064572
33 | 0.0044214 | 0.0011081
34 | 0.0050266 | 0.0012598
35 | 0.010519 | 0.0026364
36 | 0.0026178 | 0.00065609
37 | 0.0050082 | 0.0012552
38 | 0.0098437 | 0.0024671

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1