## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1505-15_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1505-15_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1505-15_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1505-15_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1505-15_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1505-15_0_3_node_8 | 0.4 | n |  | TRUE
6 | bus_LV_1505-15_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1505-15_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_1505-15_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1505-15_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1505-15_0_3_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_1505-15_0_3_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_1505-15_0_3_node_12 | 0.4 | n |  | TRUE
13 | bus_LV_1505-15_0_3_node_13 | 0.4 | n |  | TRUE
14 | bus_LV_1505-15_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1505-15_0_3_node_10 | 0.4 | n |  | TRUE
16 | bus_LV_1505-15_0_3_node_14 | 0.4 | n |  | TRUE
17 | bus_LV_1505-15_0_3_node_15 | 0.4 | n |  | TRUE
18 | bus_LV_1505-15_0_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_1505-15_0_3_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_1505-15_0_3_node_27 | 0.4 | n |  | TRUE
21 | bus_LV_1505-15_0_3_node_20 | 0.4 | n |  | TRUE
22 | bus_LV_1505-15_0_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_1505-15_0_3_node_24 | 0.4 | n |  | TRUE
24 | bus_LV_1505-15_0_3_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_1505-15_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1505-15_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1505-15_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1505-15_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_MV_142_1_node_163 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1505-15_0_3_load_0 | 0 | 0.031614 | 0.0079232 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1505-15_0_3_load_1 | 1 | 0.0038083 | 0.00095446 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1505-15_0_3_load_3 | 3 | 0.031188 | 0.0078164 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1505-15_0_3_load_8 | 5 | 0.016911 | 0.0042383 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1505-15_0_3_load_5 | 6 | 0.0096835 | 0.0024269 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1505-15_0_3_load_9 | 7 | 0.033616 | 0.0084251 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1505-15_0_3_load_6 | 8 | 0.0056332 | 0.0014118 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1505-15_0_3_load_7 | 9 | 0.0083998 | 0.0021052 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1505-15_0_3_load_17 | 11 | 0.005377 | 0.0013476 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1505-15_0_3_load_13 | 13 | 0.00033541 | 8.4061e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1505-15_0_3_load_11 | 14 | 0.016504 | 0.0041363 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1505-15_0_3_load_10 | 15 | 0.0082792 | 0.002075 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1505-15_0_3_load_15 | 17 | 0.0072647 | 0.0018207 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1505-15_0_3_load_23 | 19 | 0.011663 | 0.002923 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1505-15_0_3_load_27 | 20 | 0.019337 | 0.0048463 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1505-15_0_3_load_26 | 22 | 0.0035524 | 0.00089032 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1505-15_0_3_load_28 | 24 | 0.003165 | 0.00079323 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1505-15_0_3_load_18 | 25 | 0.004736 | 0.0011869 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1505-15_0_3_load_19 | 26 | 0.0089222 | 0.0022361 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1505-15_0_3_load_22 | 27 | 0.0053106 | 0.0013309 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1505-15_0_3_load_25 | 28 | 0.0031873 | 0.00079881 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 17 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1505-15_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0033546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1505-15_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.019239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1505-15_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.02731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1505-15_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.028861 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1505-15_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0068765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1505-15_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.040605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1505-15_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.024382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1505-15_0_3_line_7 | NAYY 4x150 SE | 6 | 8 | 0.019077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1505-15_0_3_line_8 | NAYY 4x150 SE | 7 | 12 | 0.015132 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1505-15_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.013221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1505-15_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.011835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1505-15_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.031431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1505-15_0_3_line_12 | NAYY 4x150 SE | 12 | 13 | 0.039592 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1505-15_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.013647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1505-15_0_3_line_14 | NAYY 4x150 SE | 13 | 16 | 0.018737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1505-15_0_3_line_15 | NAYY 4x150 SE | 14 | 15 | 0.010968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1505-15_0_3_line_16 | NAYY 4x150 SE | 16 | 17 | 0.023345 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1505-15_0_3_line_17 | NAYY 4x150 SE | 17 | 18 | 0.15625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1505-15_0_3_line_18 | NAYY 4x150 SE | 18 | 26 | 0.077907 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1505-15_0_3_line_19 | NAYY 4x150 SE | 19 | 20 | 0.014744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1505-15_0_3_line_20 | NAYY 4x150 SE | 19 | 21 | 0.050515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1505-15_0_3_line_21 | NAYY 4x150 SE | 20 | 24 | 0.0078421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1505-15_0_3_line_22 | NAYY 4x150 SE | 21 | 27 | 0.031701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1505-15_0_3_line_23 | NAYY 4x150 SE | 21 | 25 | 0.01469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1505-15_0_3_line_24 | NAYY 4x150 SE | 22 | 23 | 0.039274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1505-15_0_3_line_25 | NAYY 4x150 SE | 23 | 28 | 0.03056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1505-15_0_3_line_26 | NAYY 4x150 SE | 23 | 27 | 0.016875 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1505-15_0_3_line_27 | NAYY 4x150 SE | 25 | 26 | 0.034356 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1505-15_0_3_trafo_15 | 0.25 MVA 20/0.4 kV | 29 | 17 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2
0 | 2674077.5275 | 1204092.6441 | 2674075.1386 | 1204090.289
1 | 2674091.2282 | 1204106.1506 | 2674077.5275 | 1204092.6441
2 | 2674075.1386 | 1204090.289 | 2674055.6903 | 1204071.1162
3 | 2674091.2282 | 1204106.1506 | 2674076.6831 | 1204131.0968
4 | 2674050.7933 | 1204066.2886 | 2674055.6903 | 1204071.1162
5 | 2674076.6831 | 1204131.0968 | 2674043.2226 | 1204108.0933
6 | 2674050.7933 | 1204066.2886 | 2674033.43 | 1204049.1713
7 | 2674043.2226 | 1204108.0933 | 2674027.5018 | 1204097.2856
8 | 2674022.6537 | 1204038.5476 | 2674033.43 | 1204049.1713
9 | 2674016.6069 | 1204089.7956 | 2674027.5018 | 1204097.2856
10 | 2674006.8539 | 1204083.0905 | 2674016.6069 | 1204089.7956
11 | 2674006.8539 | 1204083.0905 | 2673979.2464 | 1204068.066
12 | 2674022.6537 | 1204038.5476 | 2674035.7392 | 1204001.1805
13 | 2674022.6537 | 1204038.5476 | 2674012.5908 | 1204029.3286
14 | 2674041.9318 | 1203983.4969 | 2674035.7392 | 1204001.1805
15 | 2674012.5908 | 1204029.3286 | 2674004.5033 | 1204021.9194
16 | 2674041.9318 | 1203983.4969 | 2674058.3889 | 1204000.1
17 | 2674058.3889 | 1204000.1 | 2674214.3417 | 1203990.4738
18 | 2674214.3417 | 1203990.4738 | 2674223.7639 | 1203913.1384
19 | 2674171.378 | 1203835.1635 | 2674184.5539 | 1203841.781
20 | 2674229.6954 | 1203864.4532 | 2674184.5539 | 1203841.781
21 | 2674164.3702 | 1203831.6438 | 2674171.378 | 1203835.1635
22 | 2674229.6954 | 1203864.4532 | 2674232.8386 | 1203832.9081
23 | 2674229.6954 | 1203864.4532 | 2674227.9188 | 1203879.0349
24 | 2674234.5117 | 1203816.1164 | 2674200.7094 | 1203801.7098 | 2674198.2182 | 1203801.2688
25 | 2674234.5117 | 1203816.1164 | 2674261.8761 | 1203829.7211
26 | 2674234.5117 | 1203816.1164 | 2674232.8386 | 1203832.9081
27 | 2674223.7639 | 1203913.1384 | 2674227.9188 | 1203879.0349

## bus_geodata
| x | y | coords
0 | 2674077.5275 | 1204092.6441
1 | 2674075.1386 | 1204090.289
2 | 2674091.2282 | 1204106.1506
3 | 2674055.6903 | 1204071.1162
4 | 2674076.6831 | 1204131.0968
5 | 2674050.7933 | 1204066.2886
6 | 2674043.2226 | 1204108.0933
7 | 2674033.43 | 1204049.1713
8 | 2674027.5018 | 1204097.2856
9 | 2674016.6069 | 1204089.7956
10 | 2674006.8539 | 1204083.0905
11 | 2673979.2464 | 1204068.066
12 | 2674022.6537 | 1204038.5476
13 | 2674035.7392 | 1204001.1805
14 | 2674012.5908 | 1204029.3286
15 | 2674004.5033 | 1204021.9194
16 | 2674041.9318 | 1203983.4969
17 | 2674058.3889 | 1204000.1
18 | 2674214.3417 | 1203990.4738
19 | 2674184.5539 | 1203841.781
20 | 2674171.378 | 1203835.1635
21 | 2674229.6954 | 1203864.4532
22 | 2674198.2182 | 1203801.2688
23 | 2674234.5117 | 1203816.1164
24 | 2674164.3702 | 1203831.6438
25 | 2674227.9188 | 1203879.0349
26 | 2674223.7639 | 1203913.1384
27 | 2674232.8386 | 1203832.9081
28 | 2674261.8761 | 1203829.7211
29 | 2674041.9318 | 1203983.4969

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98247 | -0.12288 | 0.031614 | 0.0079232
1 | 0.98277 | -0.12077 | 0.0038083 | 0.00095446
2 | 0.98166 | -0.12867 | 0 | 0
3 | 0.98533 | -0.10261 | 0.031188 | 0.0078164
4 | 0.98043 | -0.13738 | 0 | 0
5 | 0.98629 | -0.095847 | 0.016911 | 0.0042383
6 | 0.97871 | -0.14967 | 0.0096835 | 0.0024269
7 | 0.98828 | -0.081788 | 0.033616 | 0.0084251
8 | 0.97817 | -0.15354 | 0.0056332 | 0.0014118
9 | 0.97791 | -0.15544 | 0.0083998 | 0.0021052
10 | 0.97782 | -0.1561 | 0 | 0
11 | 0.97757 | -0.15787 | 0.005377 | 0.0013476
12 | 0.98988 | -0.070498 | 0 | 0
13 | 0.99478 | -0.03618 | 0.00033541 | 8.4061e-05
14 | 0.98939 | -0.073945 | 0.016504 | 0.0041363
15 | 0.98926 | -0.074871 | 0.0082792 | 0.002075
16 | 0.9971 | -0.020024 | 0 | 0
17 | 1 | 0 | -0.23609 | -0.059502
18 | 0.98632 | -0.094722 | 0 | 0
19 | 0.97341 | -0.18644 | 0.011663 | 0.002923
20 | 0.97293 | -0.18993 | 0.019337 | 0.0048463
21 | 0.97594 | -0.1683 | 0 | 0
22 | 0.97501 | -0.17497 | 0.0035524 | 0.00089032
23 | 0.97522 | -0.17351 | 0 | 0
24 | 0.97289 | -0.1902 | 0.003165 | 0.00079323
25 | 0.97693 | -0.16119 | 0.004736 | 0.0011869
26 | 0.9795 | -0.14293 | 0.0089222 | 0.0022361
27 | 0.97538 | -0.17231 | 0.0053106 | 0.0013309
28 | 0.97507 | -0.17453 | 0.0031873 | 0.00079881
29 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.060832 | -0.01526 | 0.06085 | 0.015267 | 1.7771e-05 | 6.7924e-06 | 0.092139 | 0.092139 | 0.092139 | 0.98247 | -0.12288 | 0.98277 | -0.12077 | 34.1254
1 | 0.029218 | 0.0073372 | -0.029194 | -0.0073284 | 2.3514e-05 | 8.8006e-06 | 0.044257 | 0.044257 | 0.044257 | 0.98247 | -0.12288 | 0.98166 | -0.12867 | 16.3916
2 | -0.064658 | -0.016222 | 0.064821 | 0.016284 | 0.00016335 | 6.2479e-05 | 0.097905 | 0.097905 | 0.097905 | 0.98277 | -0.12077 | 0.98533 | -0.10261 | 36.2611
3 | 0.029194 | 0.0073284 | -0.029159 | -0.0073152 | 3.5275e-05 | 1.3203e-05 | 0.044257 | 0.044257 | 0.044257 | 0.98166 | -0.12867 | 0.98043 | -0.13738 | 16.3917
4 | -0.096009 | -0.024101 | 0.096099 | 0.024135 | 9.0222e-05 | 3.4613e-05 | 0.145 | 0.145 | 0.145 | 0.98533 | -0.10261 | 0.98629 | -0.095847 | 53.7051
5 | 0.029159 | 0.0073152 | -0.029109 | -0.0072967 | 4.9629e-05 | 1.8577e-05 | 0.044257 | 0.044258 | 0.044258 | 0.98043 | -0.13738 | 0.97871 | -0.14967 | 16.3917
6 | -0.11301 | -0.028374 | 0.11323 | 0.028458 | 0.00022119 | 8.4449e-05 | 0.17052 | 0.17052 | 0.17052 | 0.98629 | -0.095847 | 0.98828 | -0.081788 | 31.5773
7 | 0.019426 | 0.0048697 | -0.019415 | -0.004866 | 1.0384e-05 | 3.7544e-06 | 0.029535 | 0.029535 | 0.029535 | 0.97871 | -0.14967 | 0.97817 | -0.15354 | 10.9389
8 | -0.14685 | -0.036883 | 0.14708 | 0.036971 | 0.00023087 | 8.8408e-05 | 0.22113 | 0.22113 | 0.22113 | 0.98828 | -0.081788 | 0.98988 | -0.070498 | 40.9504
9 | 0.013782 | 0.0034542 | -0.013779 | -0.0034529 | 3.6264e-06 | 1.2289e-06 | 0.020966 | 0.020966 | 0.020966 | 0.97817 | -0.15354 | 0.97791 | -0.15544 | 7.7651
10 | 0.0053789 | 0.0013478 | -0.0053784 | -0.0013477 | 4.9472e-07 | 4.1803e-08 | 0.0081845 | 0.0081846 | 0.0081846 | 0.97791 | -0.15544 | 0.97782 | -0.1561 | 3.0313
11 | 0.0053784 | 0.0013477 | -0.005377 | -0.0013476 | 1.3138e-06 | 1.1116e-07 | 0.0081846 | 0.0081847 | 0.0081847 | 0.97782 | -0.1561 | 0.97757 | -0.15787 | 3.0314
12 | -0.17187 | -0.043187 | 0.1727 | 0.043504 | 0.00082484 | 0.00031622 | 0.25841 | 0.25841 | 0.25841 | 0.98988 | -0.070498 | 0.99478 | -0.03618 | 47.8531
13 | 0.024796 | 0.0062159 | -0.024784 | -0.0062115 | 1.1832e-05 | 4.3755e-06 | 0.037275 | 0.037275 | 0.037275 | 0.98988 | -0.070498 | 0.98939 | -0.073945 | 13.8054
14 | -0.17304 | -0.043588 | 0.17343 | 0.043738 | 0.00039186 | 0.00015023 | 0.25891 | 0.25891 | 0.25891 | 0.99478 | -0.03618 | 0.9971 | -0.020024 | 47.9459
15 | 0.0082803 | 0.0020752 | -0.0082792 | -0.002075 | 1.0614e-06 | 2.6741e-07 | 0.012453 | 0.012453 | 0.012453 | 0.98939 | -0.073945 | 0.98926 | -0.074871 | 4.6124
16 | -0.17343 | -0.043738 | 0.17392 | 0.043925 | 0.00048825 | 0.00018718 | 0.25891 | 0.25891 | 0.25891 | 0.9971 | -0.020024 | 1 | 0 | 47.9459
17 | 0.061375 | 0.015577 | -0.060561 | -0.015266 | 0.00081445 | 0.00031123 | 0.091397 | 0.091397 | 0.091397 | 1 | 0 | 0.98632 | -0.094722 | 33.8508
18 | 0.060561 | 0.015266 | -0.060155 | -0.015111 | 0.0004061 | 0.0001552 | 0.091397 | 0.091398 | 0.091398 | 0.98632 | -0.094722 | 0.9795 | -0.14293 | 33.851
19 | 0.022513 | 0.0056435 | -0.022502 | -0.0056395 | 1.0897e-05 | 4.008e-06 | 0.034415 | 0.034415 | 0.034415 | 0.97341 | -0.18644 | 0.97293 | -0.18993 | 12.7463
20 | -0.034176 | -0.0085664 | 0.034262 | 0.0085989 | 8.6034e-05 | 3.246e-05 | 0.052243 | 0.052243 | 0.052243 | 0.97341 | -0.18644 | 0.97594 | -0.1683 | 19.3494
21 | 0.0031652 | 0.00079318 | -0.003165 | -0.00079323 | 1.1467e-07 | -5.3279e-08 | 0.0048408 | 0.0048409 | 0.0048409 | 0.97293 | -0.18993 | 0.97289 | -0.1902 | 1.7929
22 | 0.012059 | 0.0030221 | -0.012053 | -0.0030199 | 6.6876e-06 | 2.1762e-06 | 0.018387 | 0.018387 | 0.018387 | 0.97594 | -0.1683 | 0.97538 | -0.17231 | 6.8099
23 | -0.046321 | -0.011621 | 0.046367 | 0.011638 | 4.5727e-05 | 1.7403e-05 | 0.07063 | 0.07063 | 0.07063 | 0.97594 | -0.1683 | 0.97693 | -0.16119 | 26.1592
24 | -0.0035524 | -0.00089032 | 0.0035531 | 0.00089011 | 7.2031e-07 | -2.1288e-07 | 0.0054215 | 0.0054214 | 0.0054215 | 0.97501 | -0.17497 | 0.97522 | -0.17351 | 2.008
25 | 0.0031878 | 0.00079861 | -0.0031873 | -0.00079881 | 4.5114e-07 | -2.0773e-07 | 0.0048639 | 0.004864 | 0.004864 | 0.97522 | -0.17351 | 0.97507 | -0.17453 | 1.8015
26 | -0.0067409 | -0.0016887 | 0.006742 | 0.0016889 | 1.1139e-06 | 2.1784e-07 | 0.010285 | 0.010285 | 0.010285 | 0.97522 | -0.17351 | 0.97538 | -0.17231 | 3.8093
27 | -0.051103 | -0.012825 | 0.051233 | 0.012875 | 0.0001299 | 4.9532e-05 | 0.077843 | 0.077843 | 0.077843 | 0.97693 | -0.16119 | 0.9795 | -0.14293 | 28.8309

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.24336 | 0.061323

## res_load
| p_mw | q_mvar
0 | 0.031614 | 0.0079232
1 | 0.0038083 | 0.00095446
2 | 0.031188 | 0.0078164
3 | 0.016911 | 0.0042383
4 | 0.0096835 | 0.0024269
5 | 0.033616 | 0.0084251
6 | 0.0056332 | 0.0014118
7 | 0.0083998 | 0.0021052
8 | 0.005377 | 0.0013476
9 | 0.00033541 | 8.4061e-05
10 | 0.016504 | 0.0041363
11 | 0.0082792 | 0.002075
12 | 0.0072647 | 0.0018207
13 | 0.011663 | 0.002923
14 | 0.019337 | 0.0048463
15 | 0.0035524 | 0.00089032
16 | 0.003165 | 0.00079323
17 | 0.004736 | 0.0011869
18 | 0.0089222 | 0.0022361
19 | 0.0053106 | 0.0013309
20 | 0.0031873 | 0.00079881

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1