## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1505-17_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1505-17_0_2_node_2 | 0.4 | n |  | TRUE
2 | bus_LV_1505-17_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1505-17_0_2_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1505-17_0_2_node_46 | 0.4 | n |  | TRUE
5 | bus_LV_1505-17_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1505-17_0_2_node_51 | 0.4 | n |  | TRUE
7 | bus_LV_1505-17_0_2_node_49 | 0.4 | n |  | TRUE
8 | bus_LV_1505-17_0_2_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1505-17_0_2_node_52 | 0.4 | n |  | TRUE
10 | bus_LV_1505-17_0_2_node_56 | 0.4 | n |  | TRUE
11 | bus_LV_1505-17_0_2_node_95 | 0.4 | n |  | TRUE
12 | bus_LV_1505-17_0_2_node_55 | 0.4 | n |  | TRUE
13 | bus_LV_1505-17_0_2_node_43 | 0.4 | n |  | TRUE
14 | bus_LV_1505-17_0_2_node_44 | 0.4 | n |  | TRUE
15 | bus_LV_1505-17_0_2_node_45 | 0.4 | n |  | TRUE
16 | bus_LV_1505-17_0_2_node_50 | 0.4 | n |  | TRUE
17 | bus_LV_1505-17_0_2_node_94 | 0.4 | n |  | TRUE
18 | bus_LV_1505-17_0_2_node_47 | 0.4 | n |  | TRUE
19 | bus_LV_1505-17_0_2_node_48 | 0.4 | n |  | TRUE
20 | bus_LV_1505-17_0_2_node_54 | 0.4 | n |  | TRUE
21 | bus_LV_1505-17_0_2_node_57 | 0.4 | n |  | TRUE
22 | bus_LV_1505-17_0_2_node_58 | 0.4 | n |  | TRUE
23 | bus_LV_1505-17_0_2_node_59 | 0.4 | n |  | TRUE
24 | bus_LV_1505-17_0_2_node_60 | 0.4 | n |  | TRUE
25 | bus_LV_1505-17_0_2_node_61 | 0.4 | n |  | TRUE
26 | bus_LV_1505-17_0_2_node_62 | 0.4 | n |  | TRUE
27 | bus_LV_1505-17_0_2_node_63 | 0.4 | n |  | TRUE
28 | bus_LV_1505-17_0_2_node_64 | 0.4 | n |  | TRUE
29 | bus_LV_1505-17_0_2_node_65 | 0.4 | n |  | TRUE
30 | bus_LV_1505-17_0_2_node_66 | 0.4 | n |  | TRUE
31 | bus_LV_1505-17_0_2_node_67 | 0.4 | n |  | TRUE
32 | bus_LV_1505-17_0_2_node_68 | 0.4 | n |  | TRUE
33 | bus_LV_1505-17_0_2_node_69 | 0.4 | n |  | TRUE
34 | bus_LV_1505-17_0_2_node_70 | 0.4 | n |  | TRUE
35 | bus_LV_1505-17_0_2_node_71 | 0.4 | n |  | TRUE
36 | bus_LV_1505-17_0_2_node_72 | 0.4 | n |  | TRUE
37 | bus_LV_1505-17_0_2_node_73 | 0.4 | n |  | TRUE
38 | bus_LV_1505-17_0_2_node_79 | 0.4 | n |  | TRUE
39 | bus_LV_1505-17_0_2_node_74 | 0.4 | n |  | TRUE
40 | bus_LV_1505-17_0_2_node_96 | 0.4 | n |  | TRUE
41 | bus_LV_1505-17_0_2_node_77 | 0.4 | n |  | TRUE
42 | bus_LV_1505-17_0_2_node_75 | 0.4 | n |  | TRUE
43 | bus_LV_1505-17_0_2_node_76 | 0.4 | n |  | TRUE
44 | bus_LV_1505-17_0_2_node_89 | 0.4 | n |  | TRUE
45 | bus_LV_1505-17_0_2_node_91 | 0.4 | n |  | TRUE
46 | bus_LV_1505-17_0_2_node_88 | 0.4 | n |  | TRUE
47 | bus_LV_1505-17_0_2_node_80 | 0.4 | n |  | TRUE
48 | bus_LV_1505-17_0_2_node_81 | 0.4 | n |  | TRUE
49 | bus_LV_1505-17_0_2_node_82 | 0.4 | n |  | TRUE
50 | bus_LV_1505-17_0_2_node_83 | 0.4 | n |  | TRUE
51 | bus_LV_1505-17_0_2_node_97 | 0.4 | n |  | TRUE
52 | bus_LV_1505-17_0_2_node_84 | 0.4 | n |  | TRUE
53 | bus_LV_1505-17_0_2_node_85 | 0.4 | n |  | TRUE
54 | bus_LV_1505-17_0_2_node_86 | 0.4 | n |  | TRUE
55 | bus_LV_1505-17_0_2_node_87 | 0.4 | n |  | TRUE
56 | bus_LV_1505-17_0_2_node_92 | 0.4 | n |  | TRUE
57 | bus_LV_1505-17_0_2_node_90 | 0.4 | n |  | TRUE
58 | bus_MV_0_node_73 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1505-17_0_2_load_0 | 0 | 0.00057338 | 0.0001437 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1505-17_0_2_load_46 | 4 | 0.00038724 | 9.7052e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1505-17_0_2_load_5 | 5 | 0.0011376 | 0.00028511 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1505-17_0_2_load_49 | 7 | 0.0011772 | 0.00029503 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1505-17_0_2_load_6 | 8 | 0.0007917 | 0.00019842 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1505-17_0_2_load_52 | 9 | 0.00057183 | 0.00014331 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1505-17_0_2_load_95 | 11 | 0.0007822 | 0.00019604 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1505-17_0_2_load_43 | 13 | 0.0029889 | 0.00074909 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1505-17_0_2_load_50 | 16 | 0.00062828 | 0.00015746 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1505-17_0_2_load_94 | 17 | 0.0011648 | 0.00029193 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1505-17_0_2_load_47 | 18 | 0.00029807 | 7.4703e-05 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1505-17_0_2_load_54 | 20 | 0.00042498 | 0.00010651 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1505-17_0_2_load_57 | 21 | 0.00059554 | 0.00014926 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1505-17_0_2_load_58 | 22 | 0.001076 | 0.00026968 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1505-17_0_2_load_59 | 23 | 0.0016929 | 0.00042429 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1505-17_0_2_load_60 | 24 | 0.0013508 | 0.00033855 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1505-17_0_2_load_62 | 26 | 0.00092775 | 0.00023252 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1505-17_0_2_load_64 | 28 | 0.00054041 | 0.00013544 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1505-17_0_2_load_66 | 30 | 0.00071594 | 0.00017943 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1505-17_0_2_load_67 | 31 | 0.0013247 | 0.00033199 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1505-17_0_2_load_68 | 32 | 0.00064499 | 0.00016165 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1505-17_0_2_load_69 | 33 | 0.00077934 | 0.00019532 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1505-17_0_2_load_70 | 34 | 0.00061477 | 0.00015408 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1505-17_0_2_load_71 | 35 | 0.00049709 | 0.00012458 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1505-17_0_2_load_72 | 36 | 0.00030669 | 7.6863e-05 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1505-17_0_2_load_73 | 37 | 0.00049825 | 0.00012487 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1505-17_0_2_load_74 | 39 | 0.0015098 | 0.00037839 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1505-17_0_2_load_96 | 40 | 0.00031876 | 7.9889e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1505-17_0_2_load_75 | 42 | 0.0015515 | 0.00038884 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1505-17_0_2_load_76 | 43 | 0.0017137 | 0.00042949 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1505-17_0_2_load_91 | 45 | 0.0076731 | 0.0019231 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1505-17_0_2_load_88 | 46 | 0.001475 | 0.00036966 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1505-17_0_2_load_80 | 47 | 0.00153 | 0.00038344 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1505-17_0_2_load_81 | 48 | 0.00099123 | 0.00024843 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1505-17_0_2_load_83 | 50 | 0.0026764 | 0.00067076 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1505-17_0_2_load_97 | 51 | 0.0010417 | 0.00026107 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1505-17_0_2_load_85 | 53 | 0.0016958 | 0.000425 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1505-17_0_2_load_86 | 54 | 0.0076831 | 0.0019256 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1505-17_0_2_load_87 | 55 | 0.0097568 | 0.0024453 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 37 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1505-17_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.023787 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1505-17_0_2_line_1 | NAYY 4x150 SE | 1 | 2 | 0.05569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1505-17_0_2_line_2 | NAYY 4x150 SE | 2 | 3 | 0.019559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1505-17_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.20928 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1505-17_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.021591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1505-17_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.18098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1505-17_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.18148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1505-17_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.014127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1505-17_0_2_line_8 | NAYY 4x150 SE | 6 | 13 | 0.14563 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1505-17_0_2_line_9 | NAYY 4x150 SE | 6 | 16 | 0.0027279 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1505-17_0_2_line_10 | NAYY 4x150 SE | 7 | 19 | 0.048507 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1505-17_0_2_line_11 | NAYY 4x150 SE | 8 | 9 | 0.089647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1505-17_0_2_line_12 | NAYY 4x150 SE | 10 | 11 | 0.017053 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1505-17_0_2_line_13 | NAYY 4x150 SE | 10 | 12 | 0.0616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1505-17_0_2_line_14 | NAYY 4x150 SE | 11 | 17 | 0.21239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1505-17_0_2_line_15 | NAYY 4x150 SE | 12 | 21 | 0.21128 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1505-17_0_2_line_16 | NAYY 4x150 SE | 12 | 20 | 0.03553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1505-17_0_2_line_17 | NAYY 4x150 SE | 13 | 14 | 0.024483 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1505-17_0_2_line_18 | NAYY 4x150 SE | 14 | 15 | 0.088018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1505-17_0_2_line_19 | NAYY 4x150 SE | 15 | 17 | 0.040232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1505-17_0_2_line_20 | NAYY 4x150 SE | 18 | 19 | 0.033464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1505-17_0_2_line_21 | NAYY 4x150 SE | 21 | 22 | 0.048231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1505-17_0_2_line_22 | NAYY 4x150 SE | 21 | 23 | 0.060729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1505-17_0_2_line_23 | NAYY 4x150 SE | 22 | 24 | 0.026175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1505-17_0_2_line_24 | NAYY 4x150 SE | 23 | 25 | 0.056203 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1505-17_0_2_line_25 | NAYY 4x150 SE | 24 | 26 | 0.025413 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1505-17_0_2_line_26 | NAYY 4x150 SE | 25 | 27 | 0.098584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1505-17_0_2_line_27 | NAYY 4x150 SE | 27 | 28 | 0.028501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1505-17_0_2_line_28 | NAYY 4x150 SE | 28 | 29 | 0.012727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1505-17_0_2_line_29 | NAYY 4x150 SE | 29 | 30 | 0.027015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1505-17_0_2_line_30 | NAYY 4x150 SE | 29 | 31 | 0.050587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1505-17_0_2_line_31 | NAYY 4x150 SE | 31 | 32 | 0.032813 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1505-17_0_2_line_32 | NAYY 4x150 SE | 32 | 33 | 0.037688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1505-17_0_2_line_33 | NAYY 4x150 SE | 33 | 34 | 0.016424 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1505-17_0_2_line_34 | NAYY 4x150 SE | 34 | 35 | 0.001612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1505-17_0_2_line_35 | NAYY 4x150 SE | 35 | 36 | 0.035145 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1505-17_0_2_line_36 | NAYY 4x150 SE | 36 | 37 | 0.031611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1505-17_0_2_line_37 | NAYY 4x150 SE | 36 | 38 | 0.080221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1505-17_0_2_line_38 | NAYY 4x150 SE | 37 | 39 | 0.048542 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1505-17_0_2_line_39 | NAYY 4x150 SE | 38 | 40 | 0.015679 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1505-17_0_2_line_40 | NAYY 4x150 SE | 38 | 41 | 0.025782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1505-17_0_2_line_41 | NAYY 4x150 SE | 39 | 42 | 0.032644 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1505-17_0_2_line_42 | NAYY 4x150 SE | 41 | 43 | 0.011419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1505-17_0_2_line_43 | NAYY 4x150 SE | 42 | 44 | 0.014797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1505-17_0_2_line_44 | NAYY 4x150 SE | 44 | 45 | 0.036426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1505-17_0_2_line_45 | NAYY 4x150 SE | 44 | 46 | 0.033269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1505-17_0_2_line_46 | NAYY 4x150 SE | 46 | 57 | 0.011846 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1505-17_0_2_line_47 | NAYY 4x150 SE | 47 | 48 | 0.019549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1505-17_0_2_line_48 | NAYY 4x150 SE | 48 | 49 | 0.0095633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1505-17_0_2_line_49 | NAYY 4x150 SE | 49 | 50 | 0.011479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1505-17_0_2_line_50 | NAYY 4x150 SE | 49 | 51 | 0.047008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1505-17_0_2_line_51 | NAYY 4x150 SE | 50 | 52 | 0.039098 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1505-17_0_2_line_52 | NAYY 4x150 SE | 52 | 53 | 0.010415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1505-17_0_2_line_53 | NAYY 4x150 SE | 53 | 54 | 0.026572 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1505-17_0_2_line_54 | NAYY 4x150 SE | 54 | 55 | 0.02157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1505-17_0_2_line_55 | NAYY 4x150 SE | 55 | 56 | 0.051204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1505-17_0_2_line_56 | NAYY 4x150 SE | 56 | 57 | 0.004475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1505-17_0_2_trafo_73 | 0.25 MVA 20/0.4 kV | 58 | 37 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2675553.2498 | 1205585.4288 | 2675572.1385 | 1205591.3381 | 2675576.1298 | 1205591.5295
1 | 2675505.2326 | 1205557.4707 | 2675512.9963 | 1205560.6931 | 2675525.1993 | 1205567.7629 | 2675544.2294 | 1205580.5338 | 2675553.2498 | 1205585.4288
2 | 2675505.2326 | 1205557.4707 | 2675513.4248 | 1205555.6843 | 2675524.2335 | 1205558.7229
3 | 2675505.2326 | 1205557.4707 | 2675308.1982 | 1205486.9191
4 | 2675524.2335 | 1205558.7229 | 2675534.6039 | 1205555.5298 | 2675544.8495 | 1205558.7519
5 | 2675415.1061 | 1205340.8857 | 2675308.1982 | 1205486.9191
6 | 2675308.1982 | 1205486.9191 | 2675150.5351 | 1205397.0526
7 | 2675558.3261 | 1205562.9901 | 2675544.8495 | 1205558.7519
8 | 2675332.6465 | 1205220.8526 | 2675415.1061 | 1205340.8857
9 | 2675415.1061 | 1205340.8857 | 2675417.4284 | 1205342.317
10 | 2675103.0801 | 1205398.5011 | 2675132.6557 | 1205402.7424 | 2675150.5351 | 1205397.0526
11 | 2675558.3261 | 1205562.9901 | 2675580.2965 | 1205476.0771
12 | 2675213.5864 | 1204919.6932 | 2675217.5349 | 1204925.7133 | 2675221.3778 | 1204930.4535 | 2675222.7946 | 1204933.9402
13 | 2675213.5864 | 1204919.6932 | 2675242.6893 | 1204932.0452 | 2675251.7607 | 1204933.5938 | 2675255.9863 | 1204935.7372 | 2675257.8002 | 1204934.2703 | 2675270.1794 | 1204940.1633
14 | 2675202.3676 | 1205145.3481 | 2675222.7946 | 1204933.9402
15 | 2675480.9594 | 1204954.6988 | 2675270.1794 | 1204940.1633
16 | 2675270.1794 | 1204940.1633 | 2675270.4298 | 1204937.7983 | 2675263.1243 | 1204928.3225 | 2675258.103 | 1204921.7107 | 2675250.1292 | 1204911.5894
17 | 2675309.1216 | 1205215.17 | 2675315.1984 | 1205218.293 | 2675330.6837 | 1205220.3229 | 2675332.6465 | 1205220.8526
18 | 2675309.1216 | 1205215.17 | 2675291.9647 | 1205200.3111 | 2675266.6818 | 1205189.1855 | 2675251.7045 | 1205179.4352 | 2675236.4863 | 1205166.4576
19 | 2675202.3676 | 1205145.3481 | 2675213.1116 | 1205151.187 | 2675219.9713 | 1205157.3773 | 2675236.4863 | 1205166.4576
20 | 2675103.0801 | 1205398.5011 | 2675133.3411 | 1205412.788
21 | 2675480.9594 | 1204954.6988 | 2675485.7432 | 1204954.8038 | 2675497.5524 | 1204961.8352 | 2675508.4586 | 1204966.2758 | 2675519.1845 | 1204969.3356 | 2675525.6477 | 1204971.3579
22 | 2675480.9594 | 1204954.6988 | 2675480.9594 | 1204954.6988 | 2675477.8515 | 1204958.0283 | 2675477.7892 | 1204961.7521 | 2675480.9919 | 1204965.9618 | 2675493.249 | 1204976.679 | 2675509.1203 | 1204990.3437 | 2675516.8206 | 1204996.622
23 | 2675525.6477 | 1204971.3579 | 2675531.6267 | 1204973.2287 | 2675543.3264 | 1204977.4793 | 2675550.3709 | 1204979.9394
24 | 2675546.5418 | 1205043.2054 | 2675542.6419 | 1205034.5729 | 2675539.7548 | 1205026.4646 | 2675534.544 | 1205016.2257 | 2675529.3504 | 1205008.2328 | 2675521.808 | 1205000.6883 | 2675516.8206 | 1204996.622
25 | 2675550.3709 | 1204979.9394 | 2675558.2245 | 1204982.6821 | 2675564.8619 | 1204984.7896 | 2675570.5684 | 1204986.5184 | 2675574.4974 | 1204987.9098
26 | 2675474.3094 | 1205037.8111 | 2675491.9566 | 1205043.9824 | 2675513.4753 | 1205052.0038 | 2675540.0235 | 1205064.7475 | 2675544.3845 | 1205064.5914 | 2675548.2458 | 1205061.2382 | 2675548.3187 | 1205053.0785 | 2675546.5418 | 1205043.2054
27 | 2675474.3094 | 1205037.8111 | 2675487.1407 | 1205047.0234 | 2675497.1202 | 1205054.8869
28 | 2675507.1164 | 1205062.7635 | 2675497.1202 | 1205054.8869
29 | 2675507.1164 | 1205062.7635 | 2675508.5365 | 1205071.3757 | 2675518.7513 | 1205086.5588
30 | 2675507.1164 | 1205062.7635 | 2675519.7851 | 1205071.5847 | 2675545.0774 | 1205087.9815 | 2675549.2311 | 1205090.7783
31 | 2675549.2311 | 1205090.7783 | 2675562.0568 | 1205099.4145 | 2675575.5845 | 1205108.28 | 2675576.6615 | 1205108.7547
32 | 2675576.6615 | 1205108.7547 | 2675594.6485 | 1205116.6821 | 2675610.1318 | 1205125.9245
33 | 2675610.1318 | 1205125.9245 | 2675624.2344 | 1205134.3426
34 | 2675625.6185 | 1205135.1688 | 2675624.2344 | 1205134.3426
35 | 2675625.6185 | 1205135.1688 | 2675631.9841 | 1205138.9686 | 2675654.5752 | 1205154.1753 | 2675654.9987 | 1205154.4405
36 | 2675654.9987 | 1205154.4405 | 2675671.7227 | 1205164.9104 | 2675681.9155 | 1205171.0137
37 | 2675654.9987 | 1205154.4405 | 2675699.291 | 1205087.5559
38 | 2675681.9155 | 1205171.0137 | 2675685.3805 | 1205173.0885 | 2675696.399 | 1205183.6348 | 2675722.0559 | 1205196.4013 | 2675722.5827 | 1205196.6746
39 | 2675699.291 | 1205087.5559 | 2675714.4609 | 1205091.684
40 | 2675699.291 | 1205087.5559 | 2675700.7955 | 1205084.6954 | 2675718.208 | 1205083.5487 | 2675723.3737 | 1205083.5253
41 | 2675751.5591 | 1205211.7077 | 2675722.5827 | 1205196.6746
42 | 2675723.3737 | 1205083.5253 | 2675734.7568 | 1205084.4312
43 | 2675764.5859 | 1205218.7212 | 2675758.324 | 1205215.2174 | 2675751.5591 | 1205211.7077
44 | 2675764.5859 | 1205218.7212 | 2675790.3937 | 1205219.5825 | 2675800.9936 | 1205219.2804
45 | 2675764.5859 | 1205218.7212 | 2675793.6101 | 1205234.9821
46 | 2675804.0014 | 1205240.6684 | 2675799.2259 | 1205238.1284 | 2675793.6101 | 1205234.9821
47 | 2675699.8529 | 1205278.8576 | 2675707.8703 | 1205279.629 | 2675714.8267 | 1205279.9507 | 2675719.0486 | 1205281.5947
48 | 2675727.9601 | 1205285.0648 | 2675719.0486 | 1205281.5947
49 | 2675727.9601 | 1205285.0648 | 2675738.8898 | 1205288.5726
50 | 2675727.9601 | 1205285.0648 | 2675713.6234 | 1205329.8333
51 | 2675777.6121 | 1205289.2083 | 2675763.395 | 1205290.3731 | 2675747.0714 | 1205290.8775 | 2675740.62 | 1205289.1279 | 2675738.8898 | 1205288.5726
52 | 2675777.6121 | 1205289.2083 | 2675787.8385 | 1205287.2353
53 | 2675787.8385 | 1205287.2353 | 2675791.9943 | 1205286.4335 | 2675796.0681 | 1205286.7187 | 2675801.8166 | 1205287.5144 | 2675814.0129 | 1205290.0291
54 | 2675833.9802 | 1205286.2441 | 2675828.1648 | 1205290.7175 | 2675817.8483 | 1205290.8199 | 2675814.0129 | 1205290.0291
55 | 2675807.9607 | 1205242.7755 | 2675818.4819 | 1205259.5084 | 2675830.2911 | 1205274.2453 | 2675833.9802 | 1205286.2441
56 | 2675807.9607 | 1205242.7755 | 2675804.0014 | 1205240.6684

## bus_geodata
| x | y | coords
0 | 2675576.1298 | 1205591.5295
1 | 2675553.2498 | 1205585.4288
2 | 2675505.2326 | 1205557.4707
3 | 2675524.2335 | 1205558.7229
4 | 2675308.1982 | 1205486.9191
5 | 2675544.8495 | 1205558.7519
6 | 2675415.1061 | 1205340.8857
7 | 2675150.5351 | 1205397.0526
8 | 2675558.3261 | 1205562.9901
9 | 2675580.2965 | 1205476.0771
10 | 2675213.5864 | 1204919.6932
11 | 2675222.7946 | 1204933.9402
12 | 2675270.1794 | 1204940.1633
13 | 2675332.6465 | 1205220.8526
14 | 2675309.1216 | 1205215.17
15 | 2675236.4863 | 1205166.4576
16 | 2675417.4284 | 1205342.317
17 | 2675202.3676 | 1205145.3481
18 | 2675133.3411 | 1205412.788
19 | 2675103.0801 | 1205398.5011
20 | 2675250.1292 | 1204911.5894
21 | 2675480.9594 | 1204954.6988
22 | 2675525.6477 | 1204971.3579
23 | 2675516.8206 | 1204996.622
24 | 2675550.3709 | 1204979.9394
25 | 2675546.5418 | 1205043.2054
26 | 2675574.4974 | 1204987.9098
27 | 2675474.3094 | 1205037.8111
28 | 2675497.1202 | 1205054.8869
29 | 2675507.1164 | 1205062.7635
30 | 2675518.7513 | 1205086.5588
31 | 2675549.2311 | 1205090.7783
32 | 2675576.6615 | 1205108.7547
33 | 2675610.1318 | 1205125.9245
34 | 2675624.2344 | 1205134.3426
35 | 2675625.6185 | 1205135.1688
36 | 2675654.9987 | 1205154.4405
37 | 2675681.9155 | 1205171.0137
38 | 2675699.291 | 1205087.5559
39 | 2675722.5827 | 1205196.6746
40 | 2675714.4609 | 1205091.684
41 | 2675723.3737 | 1205083.5253
42 | 2675751.5591 | 1205211.7077
43 | 2675734.7568 | 1205084.4312
44 | 2675764.5859 | 1205218.7212
45 | 2675800.9936 | 1205219.2804
46 | 2675793.6101 | 1205234.9821
47 | 2675699.8529 | 1205278.8576
48 | 2675719.0486 | 1205281.5947
49 | 2675727.9601 | 1205285.0648
50 | 2675738.8898 | 1205288.5726
51 | 2675713.6234 | 1205329.8333
52 | 2675777.6121 | 1205289.2083
53 | 2675787.8385 | 1205287.2353
54 | 2675814.0129 | 1205290.0291
55 | 2675833.9802 | 1205286.2441
56 | 2675807.9607 | 1205242.7755
57 | 2675804.0014 | 1205240.6684
58 | 2675681.9155 | 1205171.0137

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97494 | -0.17845 | 0.00057338 | 0.0001437
1 | 0.97496 | -0.17831 | 0 | 0
2 | 0.97501 | -0.17797 | 0 | 0
3 | 0.97494 | -0.17849 | 0 | 0
4 | 0.97595 | -0.17116 | 0.00038724 | 9.7052e-05
5 | 0.97486 | -0.17906 | 0.0011376 | 0.00028511
6 | 0.97725 | -0.16167 | 0 | 0
7 | 0.97556 | -0.17399 | 0.0011772 | 0.00029503
8 | 0.97483 | -0.17926 | 0.0007917 | 0.00019842
9 | 0.97476 | -0.1798 | 0.00057183 | 0.00014331
10 | 0.98361 | -0.11581 | 0 | 0
11 | 0.98335 | -0.11768 | 0.0007822 | 0.00019604
12 | 0.98456 | -0.10906 | 0 | 0
13 | 0.97844 | -0.15307 | 0.0029889 | 0.00074909
14 | 0.97874 | -0.15086 | 0 | 0
15 | 0.97984 | -0.14294 | 0 | 0
16 | 0.97725 | -0.16168 | 0.00062828 | 0.00015746
17 | 0.98034 | -0.13931 | 0.0011648 | 0.00029193
18 | 0.97552 | -0.17425 | 0.00029807 | 7.4703e-05
19 | 0.97554 | -0.17415 | 0 | 0
20 | 0.98454 | -0.10921 | 0.00042498 | 0.00010651
21 | 0.98792 | -0.085043 | 0.00059554 | 0.00014926
22 | 0.98769 | -0.086701 | 0.001076 | 0.00026968
23 | 0.98923 | -0.075709 | 0.0016929 | 0.00042429
24 | 0.9876 | -0.087313 | 0.0013508 | 0.00033855
25 | 0.99059 | -0.066122 | 0 | 0
26 | 0.98757 | -0.087554 | 0.00092775 | 0.00023252
27 | 0.99296 | -0.049362 | 0 | 0
28 | 0.99364 | -0.044529 | 0.00054041 | 0.00013544
29 | 0.99396 | -0.042304 | 0 | 0
30 | 0.99393 | -0.042499 | 0.00071594 | 0.00017943
31 | 0.99527 | -0.033104 | 0.0013247 | 0.00033199
32 | 0.99618 | -0.026711 | 0.00064499 | 0.00016165
33 | 0.99726 | -0.019138 | 0.00077934 | 0.00019532
34 | 0.99775 | -0.015713 | 0.00061477 | 0.00015408
35 | 0.9978 | -0.015368 | 0.00049709 | 0.00012458
36 | 0.9989 | -0.0076607 | 0.00030669 | 7.6863e-05
37 | 1 | 0 | -0.063033 | -0.015644
38 | 0.99867 | -0.0092991 | 0 | 0
39 | 0.99738 | -0.018275 | 0.0015098 | 0.00037839
40 | 0.99866 | -0.0093493 | 0.00031876 | 7.9889e-05
41 | 0.99861 | -0.0097419 | 0 | 0
42 | 0.99569 | -0.030121 | 0.0015515 | 0.00038884
43 | 0.99858 | -0.0099378 | 0.0017137 | 0.00042949
44 | 0.99495 | -0.035272 | 0 | 0
45 | 0.99455 | -0.038091 | 0.0076731 | 0.0019231
46 | 0.99367 | -0.044298 | 0.001475 | 0.00036966
47 | 0.98983 | -0.071368 | 0.00153 | 0.00038344
48 | 0.98988 | -0.071064 | 0.00099123 | 0.00024843
49 | 0.98991 | -0.070818 | 0 | 0
50 | 0.98997 | -0.0704 | 0.0026764 | 0.00067076
51 | 0.98984 | -0.071318 | 0.0010417 | 0.00026107
52 | 0.99032 | -0.067913 | 0 | 0
53 | 0.99041 | -0.06725 | 0.0016958 | 0.000425
54 | 0.99072 | -0.065102 | 0.0076831 | 0.0019256
55 | 0.9912 | -0.061674 | 0.0097568 | 0.0024453
56 | 0.99307 | -0.04849 | 0 | 0
57 | 0.99323 | -0.04734 | 0 | 0
58 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00057338 | -0.0001437 | 0.0005734 | 0.00014341 | 1.1367e-08 | -2.9226e-07 | 0.00087514 | 0.00087503 | 0.00087514 | 0.97494 | -0.17845 | 0.97496 | -0.17831 | 0.32412
1 | -0.0005734 | -0.00014341 | 0.00057342 | 0.00014273 | 2.66e-08 | -6.8429e-07 | 0.00087503 | 0.00087478 | 0.00087503 | 0.97496 | -0.17831 | 0.97501 | -0.17797 | 0.32408
2 | 0.0025016 | 0.00062521 | -0.0025014 | -0.00062539 | 1.7784e-07 | -1.7552e-07 | 0.0038172 | 0.0038173 | 0.0038173 | 0.97501 | -0.17797 | 0.97494 | -0.17849 | 1.4138
3 | -0.003075 | -0.00076794 | 0.0030779 | 0.00076643 | 2.8744e-06 | -1.5071e-06 | 0.004692 | 0.004691 | 0.004692 | 0.97501 | -0.17797 | 0.97595 | -0.17116 | 1.7378
4 | 0.0025014 | 0.00062539 | -0.0025012 | -0.00062558 | 1.9633e-07 | -1.9371e-07 | 0.0038173 | 0.0038174 | 0.0038174 | 0.97494 | -0.17849 | 0.97486 | -0.17906 | 1.4138
5 | -0.004941 | -0.0012301 | 0.0049474 | 0.0012303 | 6.4036e-06 | 1.9835e-07 | 0.0075305 | 0.0075297 | 0.0075305 | 0.97595 | -0.17116 | 0.97725 | -0.16167 | 2.7891
6 | 0.0014758 | 0.00036667 | -0.0014753 | -0.00036871 | 5.73e-07 | -2.0464e-06 | 0.002249 | 0.0022498 | 0.0022498 | 0.97595 | -0.17116 | 0.97556 | -0.17399 | 0.83328
7 | 0.0013636 | 0.00034047 | -0.0013636 | -0.00034063 | 3.8174e-08 | -1.6145e-07 | 0.0020809 | 0.002081 | 0.002081 | 0.97486 | -0.17906 | 0.97483 | -0.17926 | 0.77074
8 | -0.0055756 | -0.0013878 | 0.0055822 | 0.0013885 | 6.5439e-06 | 6.9005e-07 | 0.0084863 | 0.0084857 | 0.0084863 | 0.97725 | -0.16167 | 0.97844 | -0.15307 | 3.1431
9 | 0.00062828 | 0.00015743 | -0.00062828 | -0.00015746 | 1.5578e-09 | -3.3579e-08 | 0.00095664 | 0.00095665 | 0.00095665 | 0.97725 | -0.16167 | 0.97725 | -0.16168 | 0.35431
10 | 0.00029808 | 7.3684e-05 | -0.00029807 | -7.4287e-05 | 6.2499e-09 | -6.0323e-07 | 0.0004543 | 0.00045451 | 0.00045451 | 0.97556 | -0.17399 | 0.97554 | -0.17415 | 0.16834
11 | 0.00057187 | 0.00014221 | -0.00057183 | -0.00014331 | 4.2606e-08 | -1.1012e-06 | 0.00087253 | 0.00087293 | 0.00087293 | 0.97483 | -0.17926 | 0.97476 | -0.1798 | 0.32331
12 | 0.010566 | 0.0026391 | -0.010563 | -0.0026383 | 2.7177e-06 | 8.2887e-07 | 0.015981 | 0.015981 | 0.015981 | 0.98361 | -0.11581 | 0.98335 | -0.11768 | 5.9189
13 | -0.010566 | -0.0026391 | 0.010576 | 0.0026421 | 9.8167e-06 | 2.993e-06 | 0.015981 | 0.015981 | 0.015981 | 0.98361 | -0.11581 | 0.98456 | -0.10906 | 5.9189
14 | 0.0097811 | 0.0024423 | -0.0097521 | -0.0024338 | 2.9022e-05 | 8.4762e-06 | 0.014798 | 0.014798 | 0.014798 | 0.98335 | -0.11768 | 0.98034 | -0.13931 | 5.4809
15 | -0.011001 | -0.0027482 | 0.011037 | 0.0027595 | 3.6428e-05 | 1.1315e-05 | 0.016623 | 0.016622 | 0.016623 | 0.98456 | -0.10906 | 0.98792 | -0.085043 | 6.1567
16 | 0.00042499 | 0.00010606 | -0.00042498 | -0.00010651 | 9.1448e-09 | -4.4832e-07 | 0.00064216 | 0.00064232 | 0.00064232 | 0.98456 | -0.10906 | 0.98454 | -0.10921 | 0.23789
17 | -0.0085711 | -0.0021376 | 0.0085737 | 0.0021382 | 2.5943e-06 | 6.902e-07 | 0.013031 | 0.013031 | 0.013031 | 0.97844 | -0.15307 | 0.97874 | -0.15086 | 4.8264
18 | -0.0085737 | -0.0021382 | 0.008583 | 0.0021407 | 9.3262e-06 | 2.4796e-06 | 0.013031 | 0.013031 | 0.013031 | 0.97874 | -0.15086 | 0.97984 | -0.14294 | 4.8263
19 | -0.008583 | -0.0021407 | 0.0085873 | 0.0021419 | 4.2627e-06 | 1.1325e-06 | 0.013031 | 0.01303 | 0.013031 | 0.97984 | -0.14294 | 0.98034 | -0.13931 | 4.8262
20 | -0.00029807 | -7.4703e-05 | 0.00029807 | 7.4287e-05 | 4.3151e-09 | -4.1614e-07 | 0.00045466 | 0.00045451 | 0.00045466 | 0.97552 | -0.17425 | 0.97554 | -0.17415 | 0.16839
21 | 0.0033556 | 0.00083985 | -0.0033548 | -0.00084017 | 7.6872e-07 | -3.2175e-07 | 0.0050538 | 0.0050541 | 0.0050541 | 0.98792 | -0.085043 | 0.98769 | -0.086701 | 1.8719
22 | -0.014988 | -0.0037486 | 0.015008 | 0.0037552 | 1.9308e-05 | 6.6477e-06 | 0.022573 | 0.022573 | 0.022573 | 0.98792 | -0.085043 | 0.98923 | -0.075709 | 8.3603
23 | 0.0022788 | 0.0005705 | -0.0022786 | -0.00057076 | 1.9249e-07 | -2.6092e-07 | 0.003433 | 0.0034331 | 0.0034331 | 0.98769 | -0.086701 | 0.9876 | -0.087313 | 1.2715
24 | -0.016701 | -0.0041795 | 0.016723 | 0.0041873 | 2.2128e-05 | 7.7884e-06 | 0.025119 | 0.025119 | 0.025119 | 0.98923 | -0.075709 | 0.99059 | -0.066122 | 9.3034
25 | 0.00092778 | 0.0002322 | -0.00092775 | -0.00023252 | 3.0985e-08 | -3.1326e-07 | 0.0013978 | 0.0013979 | 0.0013979 | 0.9876 | -0.087313 | 0.98757 | -0.087554 | 0.51774
26 | -0.016723 | -0.0041873 | 0.016762 | 0.004201 | 3.8813e-05 | 1.3656e-05 | 0.025119 | 0.025118 | 0.025119 | 0.99059 | -0.066122 | 0.99296 | -0.049362 | 9.3033
27 | -0.016762 | -0.004201 | 0.016773 | 0.0042049 | 1.1221e-05 | 3.9468e-06 | 0.025118 | 0.025118 | 0.025118 | 0.99296 | -0.049362 | 0.99364 | -0.044529 | 9.3031
28 | -0.017313 | -0.0043404 | 0.017319 | 0.0043423 | 5.3385e-06 | 1.8884e-06 | 0.025928 | 0.025927 | 0.025928 | 0.99364 | -0.044529 | 0.99396 | -0.042304 | 9.6028
29 | 0.00071596 | 0.00017909 | -0.00071594 | -0.00017943 | 1.9364e-08 | -3.4269e-07 | 0.0010717 | 0.0010718 | 0.0010718 | 0.99396 | -0.042304 | 0.99393 | -0.042499 | 0.39697
30 | -0.018034 | -0.0045213 | 0.018057 | 0.0045295 | 2.301e-05 | 8.1936e-06 | 0.026999 | 0.026999 | 0.026999 | 0.99396 | -0.042304 | 0.99527 | -0.033104 | 9.9997
31 | -0.019382 | -0.0048615 | 0.019399 | 0.0048677 | 1.7195e-05 | 6.1868e-06 | 0.028979 | 0.028979 | 0.028979 | 0.99527 | -0.033104 | 0.99618 | -0.026711 | 10.7331
32 | -0.020044 | -0.0050294 | 0.020065 | 0.005037 | 2.1085e-05 | 7.6184e-06 | 0.029943 | 0.029943 | 0.029943 | 0.99618 | -0.026711 | 0.99726 | -0.019138 | 11.0899
33 | -0.020845 | -0.0052323 | 0.020855 | 0.0052359 | 9.9159e-06 | 3.5994e-06 | 0.031105 | 0.031105 | 0.031105 | 0.99726 | -0.019138 | 0.99775 | -0.015713 | 11.5205
34 | -0.021469 | -0.00539 | 0.02147 | 0.0053904 | 1.0314e-06 | 3.7566e-07 | 0.032022 | 0.032022 | 0.032022 | 0.99775 | -0.015713 | 0.9978 | -0.015368 | 11.8601
35 | -0.021968 | -0.0055149 | 0.021991 | 0.0055235 | 2.3541e-05 | 8.5948e-06 | 0.032764 | 0.032763 | 0.032764 | 0.9978 | -0.015368 | 0.9989 | -0.0076607 | 12.1346
36 | -0.024331 | -0.0061083 | 0.024357 | 0.0061178 | 2.5918e-05 | 9.5541e-06 | 0.036248 | 0.036248 | 0.036248 | 0.9989 | -0.0076607 | 1 | 0 | 13.4252
37 | 0.0020331 | 0.00050787 | -0.0020326 | -0.00050875 | 4.5901e-07 | -8.7334e-07 | 0.003028 | 0.0030283 | 0.0030283 | 0.9989 | -0.0076607 | 0.99867 | -0.0092991 | 1.1216
38 | 0.037876 | 0.0095262 | -0.03778 | -0.0094898 | 9.6256e-05 | 3.6386e-05 | 0.056372 | 0.056372 | 0.056372 | 1 | 0 | 0.99738 | -0.018275 | 20.8785
39 | 0.00031876 | 7.9685e-05 | -0.00031876 | -7.9889e-05 | 2.2067e-09 | -2.043e-07 | 0.00047488 | 0.00047496 | 0.00047496 | 0.99867 | -0.0092991 | 0.99866 | -0.0093493 | 0.17591
40 | 0.0017138 | 0.00042906 | -0.0017137 | -0.00042936 | 1.049e-07 | -2.9697e-07 | 0.0025535 | 0.0025536 | 0.0025536 | 0.99867 | -0.0092991 | 0.99861 | -0.0097419 | 0.94577
41 | 0.03627 | 0.0091114 | -0.03621 | -0.0090889 | 5.9661e-05 | 2.2521e-05 | 0.054119 | 0.05412 | 0.05412 | 0.99738 | -0.018275 | 0.99569 | -0.030121 | 20.0443
42 | 0.0017137 | 0.00042936 | -0.0017137 | -0.00042949 | 4.6464e-08 | -1.3152e-07 | 0.0025536 | 0.0025536 | 0.0025536 | 0.99861 | -0.0097419 | 0.99858 | -0.0099378 | 0.94579
43 | 0.034659 | 0.0087001 | -0.034634 | -0.0086907 | 2.4776e-05 | 9.3368e-06 | 0.051801 | 0.051801 | 0.051801 | 0.99569 | -0.030121 | 0.99495 | -0.035272 | 19.1855
44 | 0.0076761 | 0.0019237 | -0.0076731 | -0.0019231 | 2.9957e-06 | 6.7929e-07 | 0.01148 | 0.01148 | 0.01148 | 0.99495 | -0.035272 | 0.99455 | -0.038091 | 4.2519
45 | 0.026958 | 0.006767 | -0.026924 | -0.0067545 | 3.3751e-05 | 1.255e-05 | 0.040321 | 0.040321 | 0.040321 | 0.99495 | -0.035272 | 0.99367 | -0.044298 | 14.9337
46 | 0.025449 | 0.0063848 | -0.025438 | -0.0063808 | 1.0737e-05 | 3.9763e-06 | 0.038112 | 0.038112 | 0.038112 | 0.99367 | -0.044298 | 0.99323 | -0.04734 | 14.1157
47 | -0.00153 | -0.00038344 | 0.00153 | 0.00038322 | 6.4527e-08 | -2.2647e-07 | 0.0023 | 0.0022999 | 0.0023 | 0.98983 | -0.071368 | 0.98988 | -0.071064 | 0.85185
48 | -0.0025213 | -0.00063164 | 0.0025213 | 0.00063155 | 8.5714e-08 | -8.9973e-08 | 0.00379 | 0.0037899 | 0.00379 | 0.98988 | -0.071064 | 0.98991 | -0.070818 | 1.4037
49 | -0.0035631 | -0.00089204 | 0.0035633 | 0.00089197 | 2.0545e-07 | -6.8562e-08 | 0.0053556 | 0.0053556 | 0.0053556 | 0.98991 | -0.070818 | 0.98997 | -0.0704 | 1.9836
50 | 0.0010417 | 0.00026049 | -0.0010417 | -0.00026107 | 7.1919e-08 | -5.7663e-07 | 0.0015657 | 0.0015659 | 0.0015659 | 0.98991 | -0.070818 | 0.98984 | -0.071318 | 0.57997
51 | -0.0062396 | -0.0015627 | 0.0062418 | 0.0015631 | 2.1458e-06 | 3.2243e-07 | 0.0093784 | 0.0093782 | 0.0093784 | 0.98997 | -0.0704 | 0.99032 | -0.067913 | 3.4735
52 | -0.0062418 | -0.0015631 | 0.0062424 | 0.0015631 | 5.7158e-07 | 8.5823e-08 | 0.0093782 | 0.0093782 | 0.0093782 | 0.99032 | -0.067913 | 0.99041 | -0.06725 | 3.4734
53 | -0.0079381 | -0.0019881 | 0.0079405 | 0.0019887 | 2.3583e-06 | 5.6497e-07 | 0.011926 | 0.011926 | 0.011926 | 0.99041 | -0.06725 | 0.99072 | -0.065102 | 4.417
54 | -0.015624 | -0.0039143 | 0.015631 | 0.0039169 | 7.4113e-06 | 2.5726e-06 | 0.023466 | 0.023465 | 0.023466 | 0.99072 | -0.065102 | 0.9912 | -0.061674 | 8.6909
55 | -0.025388 | -0.0063621 | 0.025434 | 0.0063793 | 4.6411e-05 | 1.7189e-05 | 0.038113 | 0.038112 | 0.038113 | 0.9912 | -0.061674 | 0.99307 | -0.04849 | 14.1158
56 | -0.025434 | -0.0063793 | 0.025438 | 0.0063808 | 4.0561e-06 | 1.5021e-06 | 0.038112 | 0.038112 | 0.038112 | 0.99307 | -0.04849 | 0.99323 | -0.04734 | 14.1157

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.063531 | 0.015769

## res_load
| p_mw | q_mvar
0 | 0.00057338 | 0.0001437
1 | 0.00038724 | 9.7052e-05
2 | 0.0011376 | 0.00028511
3 | 0.0011772 | 0.00029503
4 | 0.0007917 | 0.00019842
5 | 0.00057183 | 0.00014331
6 | 0.0007822 | 0.00019604
7 | 0.0029889 | 0.00074909
8 | 0.00062828 | 0.00015746
9 | 0.0011648 | 0.00029193
10 | 0.00029807 | 7.4703e-05
11 | 0.00042498 | 0.00010651
12 | 0.00059554 | 0.00014926
13 | 0.001076 | 0.00026968
14 | 0.0016929 | 0.00042429
15 | 0.0013508 | 0.00033855
16 | 0.00092775 | 0.00023252
17 | 0.00054041 | 0.00013544
18 | 0.00071594 | 0.00017943
19 | 0.0013247 | 0.00033199
20 | 0.00064499 | 0.00016165
21 | 0.00077934 | 0.00019532
22 | 0.00061477 | 0.00015408
23 | 0.00049709 | 0.00012458
24 | 0.00030669 | 7.6863e-05
25 | 0.00049825 | 0.00012487
26 | 0.0015098 | 0.00037839
27 | 0.00031876 | 7.9889e-05
28 | 0.0015515 | 0.00038884
29 | 0.0017137 | 0.00042949
30 | 0.0076731 | 0.0019231
31 | 0.001475 | 0.00036966
32 | 0.00153 | 0.00038344
33 | 0.00099123 | 0.00024843
34 | 0.0026764 | 0.00067076
35 | 0.0010417 | 0.00026107
36 | 0.0016958 | 0.000425
37 | 0.0076831 | 0.0019256
38 | 0.0097568 | 0.0024453

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1