## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1505-20_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1505-20_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1505-20_0_3_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1505-20_0_3_node_4 | 0.4 | n |  | TRUE
4 | bus_LV_1505-20_0_3_node_9 | 0.4 | n |  | TRUE
5 | bus_LV_1505-20_0_3_node_10 | 0.4 | n |  | TRUE
6 | bus_LV_1505-20_0_3_node_7 | 0.4 | n |  | TRUE
7 | bus_LV_1505-20_0_3_node_16 | 0.4 | n |  | TRUE
8 | bus_LV_1505-20_0_3_node_18 | 0.4 | n |  | TRUE
9 | bus_LV_1505-20_0_3_node_14 | 0.4 | n |  | TRUE
10 | bus_LV_1505-20_0_3_node_41 | 0.4 | n |  | TRUE
11 | bus_LV_1505-20_0_3_node_12 | 0.4 | n |  | TRUE
12 | bus_LV_1505-20_0_3_node_5 | 0.4 | n |  | TRUE
13 | bus_LV_1505-20_0_3_node_31 | 0.4 | n |  | TRUE
14 | bus_LV_1505-20_0_3_node_8 | 0.4 | n |  | TRUE
15 | bus_LV_1505-20_0_3_node_30 | 0.4 | n |  | TRUE
16 | bus_LV_1505-20_0_3_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1505-20_0_3_node_46 | 0.4 | n |  | TRUE
18 | bus_LV_1505-20_0_3_node_17 | 0.4 | n |  | TRUE
19 | bus_LV_1505-20_0_3_node_36 | 0.4 | n |  | TRUE
20 | bus_LV_1505-20_0_3_node_15 | 0.4 | n |  | TRUE
21 | bus_LV_1505-20_0_3_node_42 | 0.4 | n |  | TRUE
22 | bus_LV_1505-20_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1505-20_0_3_node_6 | 0.4 | n |  | TRUE
24 | bus_LV_1505-20_0_3_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_1505-20_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1505-20_0_3_node_45 | 0.4 | n |  | TRUE
27 | bus_LV_1505-20_0_3_node_39 | 0.4 | n |  | TRUE
28 | bus_LV_1505-20_0_3_node_40 | 0.4 | n |  | TRUE
29 | bus_LV_1505-20_0_3_node_38 | 0.4 | n |  | TRUE
30 | bus_LV_1505-20_0_3_node_43 | 0.4 | n |  | TRUE
31 | bus_LV_1505-20_0_3_node_19 | 0.4 | n |  | TRUE
32 | bus_LV_1505-20_0_3_node_20 | 0.4 | n |  | TRUE
33 | bus_LV_1505-20_0_3_node_21 | 0.4 | n |  | TRUE
34 | bus_LV_1505-20_0_3_node_22 | 0.4 | n |  | TRUE
35 | bus_LV_1505-20_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_1505-20_0_3_node_28 | 0.4 | n |  | TRUE
37 | bus_LV_1505-20_0_3_node_26 | 0.4 | n |  | TRUE
38 | bus_LV_1505-20_0_3_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_1505-20_0_3_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_1505-20_0_3_node_35 | 0.4 | n |  | TRUE
41 | bus_LV_1505-20_0_3_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_1505-20_0_3_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_1505-20_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_1505-20_0_3_node_50 | 0.4 | n |  | TRUE
45 | bus_LV_1505-20_0_3_node_32 | 0.4 | n |  | TRUE
46 | bus_LV_1505-20_0_3_node_33 | 0.4 | n |  | TRUE
47 | bus_LV_1505-20_0_3_node_51 | 0.4 | n |  | TRUE
48 | bus_LV_1505-20_0_3_node_48 | 0.4 | n |  | TRUE
49 | bus_MV_142_1_node_198 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1505-20_0_3_load_0 | 0 | 0.004809 | 0.0012053 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1505-20_0_3_load_4 | 3 | 0.0031066 | 0.00077859 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1505-20_0_3_load_9 | 4 | 0.0035938 | 0.00090068 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1505-20_0_3_load_10 | 5 | 0.005244 | 0.0013143 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1505-20_0_3_load_7 | 6 | 0.0042719 | 0.0010706 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1505-20_0_3_load_16 | 7 | 0.0092602 | 0.0023208 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1505-20_0_3_load_18 | 8 | 0.0023783 | 0.00059607 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1505-20_0_3_load_14 | 9 | 0.0062443 | 0.001565 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1505-20_0_3_load_41 | 10 | 0.0059951 | 0.0015025 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1505-20_0_3_load_12 | 11 | 0.0048743 | 0.0012216 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1505-20_0_3_load_5 | 12 | 0.004787 | 0.0011997 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1505-20_0_3_load_31 | 13 | 0.005367 | 0.0013451 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1505-20_0_3_load_8 | 14 | 0.0044846 | 0.001124 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1505-20_0_3_load_30 | 15 | 0.0041726 | 0.0010458 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1505-20_0_3_load_11 | 16 | 0.0045736 | 0.0011463 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1505-20_0_3_load_46 | 17 | 0.0062553 | 0.0015677 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1505-20_0_3_load_17 | 18 | 0.0041222 | 0.0010331 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1505-20_0_3_load_36 | 19 | 0.014843 | 0.0037201 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1505-20_0_3_load_15 | 20 | 0.0058831 | 0.0014744 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1505-20_0_3_load_42 | 21 | 0.004888 | 0.0012251 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1505-20_0_3_load_13 | 22 | 0.006817 | 0.0017085 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1505-20_0_3_load_6 | 23 | 0.0040022 | 0.001003 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1505-20_0_3_load_24 | 24 | 0.0073249 | 0.0018358 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1505-20_0_3_load_25 | 25 | 0.0021029 | 0.00052704 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1505-20_0_3_load_45 | 26 | 0.0050684 | 0.0012703 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1505-20_0_3_load_40 | 28 | 0.0035024 | 0.00087779 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1505-20_0_3_load_38 | 29 | 0.0082028 | 0.0020558 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1505-20_0_3_load_43 | 30 | 0.0043519 | 0.0010907 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1505-20_0_3_load_19 | 31 | 0.0030779 | 0.0007714 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1505-20_0_3_load_20 | 32 | 0.0080942 | 0.0020286 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1505-20_0_3_load_22 | 34 | 0.0023149 | 0.00058018 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1505-20_0_3_load_23 | 35 | 0.014607 | 0.0036608 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1505-20_0_3_load_28 | 36 | 0.0032875 | 0.00082393 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1505-20_0_3_load_26 | 37 | 0.0043466 | 0.0010894 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1505-20_0_3_load_27 | 38 | 0.014845 | 0.0037206 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1505-20_0_3_load_37 | 41 | 0.0031418 | 0.0007874 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1505-20_0_3_load_44 | 42 | 0.0031417 | 0.0007874 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1505-20_0_3_load_34 | 43 | 0.0013199 | 0.0003308 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1505-20_0_3_load_32 | 45 | 0.0049257 | 0.0012345 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1505-20_0_3_load_33 | 46 | 0.0047407 | 0.0011881 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1505-20_0_3_load_51 | 47 | 0.0047283 | 0.001185 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1505-20_0_3_load_48 | 48 | 0.0048801 | 0.0012231 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 34 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1505-20_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.010243 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1505-20_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.002628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1505-20_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.016154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1505-20_0_3_line_3 | NAYY 4x150 SE | 2 | 10 | 0.043022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1505-20_0_3_line_4 | NAYY 4x150 SE | 3 | 11 | 0.023327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1505-20_0_3_line_5 | NAYY 4x150 SE | 4 | 5 | 0.011789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1505-20_0_3_line_6 | NAYY 4x150 SE | 4 | 6 | 0.0090331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1505-20_0_3_line_7 | NAYY 4x150 SE | 5 | 16 | 0.011616 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1505-20_0_3_line_8 | NAYY 4x150 SE | 6 | 12 | 0.013558 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1505-20_0_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.0082018 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1505-20_0_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.014671 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1505-20_0_3_line_11 | NAYY 4x150 SE | 8 | 24 | 0.018175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1505-20_0_3_line_12 | NAYY 4x150 SE | 9 | 20 | 0.013623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1505-20_0_3_line_13 | NAYY 4x150 SE | 10 | 21 | 0.015023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1505-20_0_3_line_14 | NAYY 4x150 SE | 11 | 22 | 0.022947 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1505-20_0_3_line_15 | NAYY 4x150 SE | 12 | 23 | 0.004437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1505-20_0_3_line_16 | NAYY 4x150 SE | 13 | 14 | 0.038915 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1505-20_0_3_line_17 | NAYY 4x150 SE | 13 | 15 | 0.0023727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1505-20_0_3_line_18 | NAYY 4x150 SE | 14 | 22 | 0.035624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1505-20_0_3_line_19 | NAYY 4x150 SE | 14 | 23 | 0.023231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1505-20_0_3_line_20 | NAYY 4x150 SE | 15 | 45 | 0.024367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1505-20_0_3_line_21 | NAYY 4x150 SE | 16 | 17 | 0.012932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1505-20_0_3_line_22 | NAYY 4x150 SE | 17 | 26 | 0.022711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1505-20_0_3_line_23 | NAYY 4x150 SE | 18 | 19 | 0.019673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1505-20_0_3_line_24 | NAYY 4x150 SE | 18 | 20 | 0.0091028 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1505-20_0_3_line_25 | NAYY 4x150 SE | 19 | 30 | 0.048213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1505-20_0_3_line_26 | NAYY 4x150 SE | 24 | 25 | 0.0049525 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1505-20_0_3_line_27 | NAYY 4x150 SE | 25 | 34 | 0.015782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1505-20_0_3_line_28 | NAYY 4x150 SE | 27 | 28 | 0.0063595 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1505-20_0_3_line_29 | NAYY 4x150 SE | 27 | 29 | 0.018257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1505-20_0_3_line_30 | NAYY 4x150 SE | 28 | 30 | 0.028308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1505-20_0_3_line_31 | NAYY 4x150 SE | 31 | 32 | 0.017557 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
32 | LV_1505-20_0_3_line_32 | NAYY 4x150 SE | 31 | 33 | 0.017088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
33 | LV_1505-20_0_3_line_33 | NAYY 4x150 SE | 32 | 34 | 0.0043054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_1505-20_0_3_line_34 | NAYY 4x150 SE | 33 | 35 | 0.025117 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
35 | LV_1505-20_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.0014654 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
36 | LV_1505-20_0_3_line_36 | NAYY 4x150 SE | 36 | 37 | 0.026885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_1505-20_0_3_line_37 | NAYY 4x150 SE | 37 | 38 | 0.020035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_1505-20_0_3_line_38 | NAYY 4x150 SE | 38 | 39 | 0.018913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
39 | LV_1505-20_0_3_line_39 | NAYY 4x150 SE | 39 | 40 | 0.030591 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
40 | LV_1505-20_0_3_line_40 | NAYY 4x150 SE | 39 | 41 | 0.028338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1505-20_0_3_line_41 | NAYY 4x150 SE | 40 | 42 | 0.028199 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1505-20_0_3_line_42 | NAYY 4x150 SE | 40 | 43 | 0.02314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_1505-20_0_3_line_43 | NAYY 4x150 SE | 41 | 44 | 0.027324 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1505-20_0_3_line_44 | NAYY 4x150 SE | 43 | 46 | 0.0246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_1505-20_0_3_line_45 | NAYY 4x150 SE | 44 | 47 | 0.037042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1505-20_0_3_line_46 | NAYY 4x150 SE | 44 | 48 | 0.021375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1505-20_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.027688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1505-20_0_3_trafo_22 | 0.25 MVA 20/0.4 kV | 49 | 34 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2673761.0396 | 1204337.1966 | 2673770.0654 | 1204342.04
1 | 2673761.0396 | 1204337.1966 | 2673759.0778 | 1204338.9512
2 | 2673761.0396 | 1204337.1966 | 2673761.7323 | 1204332.858 | 2673759.3214 | 1204326.6244 | 2673755.6412 | 1204323.1275
3 | 2673759.0778 | 1204338.9512 | 2673751.9249 | 1204340.2748 | 2673744.918 | 1204338.4094 | 2673734.7419 | 1204331.9464 | 2673726.3417 | 1204327.0731 | 2673720.5261 | 1204323.6849
4 | 2673755.6412 | 1204323.1275 | 2673750.5606 | 1204318.2999 | 2673737.6772 | 1204308.2837
5 | 2673791.2684 | 1204294.5424 | 2673794.4585 | 1204296.284 | 2673801.9975 | 1204299.393
6 | 2673791.2684 | 1204294.5424 | 2673783.34 | 1204290.2138
7 | 2673812.8601 | 1204303.4931 | 2673807.4935 | 1204301.6594 | 2673801.9975 | 1204299.393
8 | 2673771.3111 | 1204283.9601 | 2673781.2483 | 1204289.0719 | 2673783.34 | 1204290.2138
9 | 2673813.3837 | 1204240.7104 | 2673805.9803 | 1204237.1805
10 | 2673813.3837 | 1204240.7104 | 2673826.0368 | 1204246.7435 | 2673826.6148 | 1204247.0468
11 | 2673789.5746 | 1204229.3581 | 2673805.9803 | 1204237.1805
12 | 2673838.6779 | 1204253.3774 | 2673826.6148 | 1204247.0468
13 | 2673720.5261 | 1204323.6849 | 2673712.3821 | 1204318.9402 | 2673707.5516 | 1204316.1113
14 | 2673719.5425 | 1204294.2229 | 2673724.2151 | 1204297.8176 | 2673737.6772 | 1204308.2837
15 | 2673771.3111 | 1204283.9601 | 2673767.3656 | 1204281.9304
16 | 2673736.8322 | 1204233.5955 | 2673746.749 | 1204271.2253
17 | 2673734.9868 | 1204232.1041 | 2673736.8322 | 1204233.5955
18 | 2673746.749 | 1204271.2253 | 2673719.5425 | 1204294.2229
19 | 2673746.749 | 1204271.2253 | 2673752.5043 | 1204274.2856 | 2673767.3656 | 1204281.9304
20 | 2673734.9868 | 1204232.1041 | 2673716.0352 | 1204216.7877
21 | 2673812.8601 | 1204303.4931 | 2673823.3279 | 1204307.0696 | 2673825.1678 | 1204307.4058
22 | 2673847.4896 | 1204311.5893 | 2673843.0344 | 1204310.6709 | 2673825.1678 | 1204307.4058
23 | 2673864.1581 | 1204266.7493 | 2673846.7381 | 1204257.6074
24 | 2673838.6779 | 1204253.3774 | 2673846.7381 | 1204257.6074
25 | 2673864.1581 | 1204266.7493 | 2673885.0222 | 1204223.2848
26 | 2673785.1043 | 1204227.2267 | 2673789.5746 | 1204229.3581
27 | 2673785.1043 | 1204227.2267 | 2673770.859 | 1204220.4344
28 | 2673855.0354 | 1204205.8877 | 2673860.5362 | 1204209.079
29 | 2673855.0354 | 1204205.8877 | 2673868.0558 | 1204193.0893
30 | 2673860.5362 | 1204209.079 | 2673885.0222 | 1204223.2848
31 | 2673767.771 | 1204217.4342 | 2673762.792 | 1204212.5967 | 2673760.0572 | 1204202.401 | 2673760.0737 | 1204202.3446
32 | 2673764.8561 | 1204185.939 | 2673760.0737 | 1204202.3446
33 | 2673770.859 | 1204220.4344 | 2673770.859 | 1204220.4344 | 2673767.771 | 1204217.4342
34 | 2673764.8561 | 1204185.939 | 2673742.9469 | 1204173.6573
35 | 2673742.9469 | 1204173.6573 | 2673741.6686 | 1204172.9407
36 | 2673741.6686 | 1204172.9407 | 2673732.3875 | 1204167.738 | 2673718.2828 | 1204159.6778
37 | 2673700.8877 | 1204149.7372 | 2673718.2828 | 1204159.6778
38 | 2673683.7907 | 1204142.6006 | 2673688.9983 | 1204142.9429 | 2673700.8877 | 1204149.7372
39 | 2673665.1814 | 1204165.3296 | 2673666.5088 | 1204161.3436 | 2673678.5514 | 1204144.2148 | 2673683.7907 | 1204142.6006
40 | 2673683.7907 | 1204142.6006 | 2673677.2047 | 1204133.1135 | 2673662.2073 | 1204125.5681
41 | 2673665.1814 | 1204165.3296 | 2673653.9197 | 1204164.8127 | 2673639.3987 | 1204156.1176
42 | 2673665.1814 | 1204165.3296 | 2673664.3125 | 1204167.9205 | 2673665.4998 | 1204174.6727 | 2673670.7877 | 1204180.2191 | 2673675.3676 | 1204183.9205
43 | 2673638.4165 | 1204112.1557 | 2673655.0267 | 1204121.9554 | 2673662.2073 | 1204125.5681
44 | 2673694.5005 | 1204199.3835 | 2673675.3676 | 1204183.9205
45 | 2673638.4165 | 1204112.1557 | 2673654.7334 | 1204078.9006
46 | 2673638.4165 | 1204112.1557 | 2673620.0112 | 1204101.2869
47 | 2673694.5005 | 1204199.3835 | 2673716.0352 | 1204216.7877

## bus_geodata
| x | y | coords
0 | 2673770.0654 | 1204342.04
1 | 2673761.0396 | 1204337.1966
2 | 2673759.0778 | 1204338.9512
3 | 2673755.6412 | 1204323.1275
4 | 2673791.2684 | 1204294.5424
5 | 2673801.9975 | 1204299.393
6 | 2673783.34 | 1204290.2138
7 | 2673813.3837 | 1204240.7104
8 | 2673805.9803 | 1204237.1805
9 | 2673826.6148 | 1204247.0468
10 | 2673720.5261 | 1204323.6849
11 | 2673737.6772 | 1204308.2837
12 | 2673771.3111 | 1204283.9601
13 | 2673736.8322 | 1204233.5955
14 | 2673746.749 | 1204271.2253
15 | 2673734.9868 | 1204232.1041
16 | 2673812.8601 | 1204303.4931
17 | 2673825.1678 | 1204307.4058
18 | 2673846.7381 | 1204257.6074
19 | 2673864.1581 | 1204266.7493
20 | 2673838.6779 | 1204253.3774
21 | 2673707.5516 | 1204316.1113
22 | 2673719.5425 | 1204294.2229
23 | 2673767.3656 | 1204281.9304
24 | 2673789.5746 | 1204229.3581
25 | 2673785.1043 | 1204227.2267
26 | 2673847.4896 | 1204311.5893
27 | 2673855.0354 | 1204205.8877
28 | 2673860.5362 | 1204209.079
29 | 2673868.0558 | 1204193.0893
30 | 2673885.0222 | 1204223.2848
31 | 2673760.0737 | 1204202.3446
32 | 2673767.771 | 1204217.4342
33 | 2673764.8561 | 1204185.939
34 | 2673770.859 | 1204220.4344
35 | 2673742.9469 | 1204173.6573
36 | 2673741.6686 | 1204172.9407
37 | 2673718.2828 | 1204159.6778
38 | 2673700.8877 | 1204149.7372
39 | 2673683.7907 | 1204142.6006
40 | 2673665.1814 | 1204165.3296
41 | 2673662.2073 | 1204125.5681
42 | 2673639.3987 | 1204156.1176
43 | 2673675.3676 | 1204183.9205
44 | 2673638.4165 | 1204112.1557
45 | 2673716.0352 | 1204216.7877
46 | 2673694.5005 | 1204199.3835
47 | 2673654.7334 | 1204078.9006
48 | 2673620.0112 | 1204101.2869
49 | 2673764.8561 | 1204185.939

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97284 | -0.19101 | 0.004809 | 0.0012053
1 | 0.97291 | -0.1905 | 0 | 0
2 | 0.97287 | -0.1908 | 0 | 0
3 | 0.97328 | -0.18782 | 0.0031066 | 0.00077859
4 | 0.9739 | -0.18336 | 0.0035938 | 0.00090068
5 | 0.97354 | -0.18598 | 0.005244 | 0.0013143
6 | 0.97423 | -0.18101 | 0.0042719 | 0.0010706
7 | 0.99579 | -0.029426 | 0.0092602 | 0.0023208
8 | 0.99645 | -0.024771 | 0.0023783 | 0.00059607
9 | 0.9948 | -0.036397 | 0.0062443 | 0.001565
10 | 0.97218 | -0.19574 | 0.0059951 | 0.0015025
11 | 0.97392 | -0.1832 | 0.0048743 | 0.0012216
12 | 0.9748 | -0.17687 | 0.004787 | 0.0011997
13 | 0.97838 | -0.15129 | 0.005367 | 0.0013451
14 | 0.97631 | -0.16609 | 0.0044846 | 0.001124
15 | 0.97852 | -0.15033 | 0.0041726 | 0.0010458
16 | 0.97327 | -0.18793 | 0.0045736 | 0.0011463
17 | 0.97305 | -0.18947 | 0.0062553 | 0.0015677
18 | 0.99354 | -0.045246 | 0.0041222 | 0.0010331
19 | 0.99266 | -0.0514 | 0.014843 | 0.0037201
20 | 0.994 | -0.042024 | 0.0058831 | 0.0014744
21 | 0.97207 | -0.19651 | 0.004888 | 0.0012251
22 | 0.97472 | -0.17749 | 0.006817 | 0.0017085
23 | 0.97502 | -0.1753 | 0.0040022 | 0.001003
24 | 0.99799 | -0.014045 | 0.0073249 | 0.0018358
25 | 0.99846 | -0.010764 | 0.0021029 | 0.00052704
26 | 0.97288 | -0.19069 | 0.0050684 | 0.0012703
27 | 0.991 | -0.06315 | 0 | 0
28 | 0.99107 | -0.06262 | 0.0035024 | 0.00087779
29 | 0.99078 | -0.064673 | 0.0082028 | 0.0020558
30 | 0.99155 | -0.059254 | 0.0043519 | 0.0010907
31 | 0.9976 | -0.016518 | 0.0030779 | 0.0007714
32 | 0.99951 | -0.0033865 | 0.0080942 | 0.0020286
33 | 0.99578 | -0.029082 | 0 | 0
34 | 1 | 0 | -0.22974 | -0.0578
35 | 0.99311 | -0.047632 | 0.014607 | 0.0036608
36 | 0.99297 | -0.048609 | 0.0032875 | 0.00082393
37 | 0.99046 | -0.066133 | 0.0043466 | 0.0010894
38 | 0.98865 | -0.078805 | 0.014845 | 0.0037206
39 | 0.98714 | -0.089371 | 0 | 0
40 | 0.98498 | -0.10452 | 0 | 0
41 | 0.98662 | -0.093076 | 0.0031418 | 0.0007874
42 | 0.98486 | -0.10543 | 0.0031417 | 0.0007874
43 | 0.98341 | -0.11565 | 0.0013199 | 0.0003308
44 | 0.98624 | -0.095771 | 0 | 0
45 | 0.97998 | -0.13988 | 0.0049257 | 0.0012345
46 | 0.98175 | -0.12735 | 0.0047407 | 0.0011881
47 | 0.98598 | -0.097569 | 0.0047283 | 0.001185
48 | 0.98609 | -0.096842 | 0.0048801 | 0.0012231
49 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.004809 | -0.0012053 | 0.0048094 | 0.0012053 | 3.4583e-07 | 5.8216e-09 | 0.0073557 | 0.0073557 | 0.0073557 | 0.97284 | -0.19101 | 0.97291 | -0.1905 | 2.7243
1 | 0.010892 | 0.00273 | -0.010891 | -0.0027299 | 4.5506e-07 | 1.4239e-07 | 0.016658 | 0.016658 | 0.016658 | 0.97291 | -0.1905 | 0.97287 | -0.1908 | 6.1697
2 | -0.015701 | -0.0039353 | 0.015707 | 0.0039373 | 5.8127e-06 | 2.035e-06 | 0.024014 | 0.024014 | 0.024014 | 0.97291 | -0.1905 | 0.97328 | -0.18782 | 8.894
3 | 0.010891 | 0.0027299 | -0.010884 | -0.0027276 | 7.4497e-06 | 2.3314e-06 | 0.016658 | 0.016658 | 0.016658 | 0.97287 | -0.1908 | 0.97218 | -0.19574 | 6.1698
4 | -0.018813 | -0.0047159 | 0.018825 | 0.0047203 | 1.2043e-05 | 4.3418e-06 | 0.028763 | 0.028763 | 0.028763 | 0.97328 | -0.18782 | 0.97392 | -0.1832 | 10.6531
5 | 0.021157 | 0.0053036 | -0.021149 | -0.0053008 | 7.6871e-06 | 2.8099e-06 | 0.032325 | 0.032325 | 0.032325 | 0.9739 | -0.18336 | 0.97354 | -0.18598 | 11.9724
6 | -0.02475 | -0.0062043 | 0.024758 | 0.0062073 | 8.0608e-06 | 2.9879e-06 | 0.037816 | 0.037816 | 0.037816 | 0.9739 | -0.18336 | 0.97423 | -0.18101 | 14.006
7 | 0.015905 | 0.0039866 | -0.015901 | -0.0039851 | 4.2837e-06 | 1.5032e-06 | 0.02431 | 0.02431 | 0.02431 | 0.97354 | -0.18598 | 0.97327 | -0.18793 | 9.0038
8 | -0.02903 | -0.0072779 | 0.029047 | 0.0072842 | 1.6634e-05 | 6.2287e-06 | 0.044341 | 0.044341 | 0.044341 | 0.97423 | -0.18101 | 0.9748 | -0.17687 | 16.4226
9 | -0.056555 | -0.014191 | 0.056592 | 0.014205 | 3.6558e-05 | 1.3954e-05 | 0.084517 | 0.084517 | 0.084517 | 0.99579 | -0.029426 | 0.99645 | -0.024771 | 31.3027
10 | 0.047295 | 0.011871 | -0.047249 | -0.011853 | 4.5732e-05 | 1.7399e-05 | 0.07068 | 0.07068 | 0.07068 | 0.99579 | -0.029426 | 0.9948 | -0.036397 | 26.1777
11 | -0.05897 | -0.014802 | 0.059058 | 0.014835 | 8.7964e-05 | 3.3595e-05 | 0.088069 | 0.088069 | 0.088069 | 0.99645 | -0.024771 | 0.99799 | -0.014045 | 32.6181
12 | 0.041005 | 0.010288 | -0.040973 | -0.010276 | 3.1985e-05 | 1.2125e-05 | 0.06134 | 0.06134 | 0.06134 | 0.9948 | -0.036397 | 0.994 | -0.042024 | 22.7184
13 | 0.0048885 | 0.0012251 | -0.004888 | -0.0012251 | 5.2484e-07 | 1.5603e-08 | 0.0074824 | 0.0074824 | 0.0074824 | 0.97218 | -0.19574 | 0.97207 | -0.19651 | 2.7713
14 | -0.0237 | -0.0059419 | 0.023718 | 0.0059488 | 1.8775e-05 | 6.9354e-06 | 0.03621 | 0.03621 | 0.03621 | 0.97392 | -0.1832 | 0.97472 | -0.17749 | 13.4113
15 | -0.033834 | -0.0084839 | 0.033841 | 0.0084867 | 7.3855e-06 | 2.7852e-06 | 0.051648 | 0.051648 | 0.051648 | 0.9748 | -0.17687 | 0.97502 | -0.1753 | 19.1289
16 | 0.07311 | 0.018364 | -0.07296 | -0.018307 | 0.00015015 | 5.6776e-05 | 0.11121 | 0.11121 | 0.11121 | 0.97838 | -0.15129 | 0.97631 | -0.16609 | 20.5941
17 | -0.078477 | -0.019709 | 0.078488 | 0.019713 | 1.0549e-05 | 3.9976e-06 | 0.11937 | 0.11937 | 0.11937 | 0.97838 | -0.15129 | 0.97852 | -0.15033 | 22.1056
18 | 0.030584 | 0.0076755 | -0.030535 | -0.0076573 | 4.8308e-05 | 1.8135e-05 | 0.046617 | 0.046617 | 0.046617 | 0.97631 | -0.16609 | 0.97472 | -0.17749 | 17.2657
19 | 0.037892 | 0.009508 | -0.037843 | -0.0094897 | 4.8355e-05 | 1.8308e-05 | 0.057756 | 0.057756 | 0.057756 | 0.97631 | -0.16609 | 0.97502 | -0.1753 | 21.3911
20 | -0.08266 | -0.020759 | 0.082781 | 0.020805 | 0.00012015 | 4.56e-05 | 0.12572 | 0.12572 | 0.12572 | 0.97852 | -0.15033 | 0.97998 | -0.13988 | 23.2807
21 | 0.011327 | 0.0028388 | -0.011325 | -0.002838 | 2.4201e-06 | 7.7015e-07 | 0.017318 | 0.017318 | 0.017318 | 0.97327 | -0.18793 | 0.97305 | -0.18947 | 6.414
22 | 0.0050693 | 0.0012703 | -0.0050684 | -0.0012703 | 8.5165e-07 | 4.5492e-08 | 0.007752 | 0.0077521 | 0.0077521 | 0.97305 | -0.18947 | 0.97288 | -0.19069 | 2.8711
23 | 0.030952 | 0.0077627 | -0.030926 | -0.0077528 | 2.6383e-05 | 9.8927e-06 | 0.046359 | 0.046359 | 0.046359 | 0.99354 | -0.045246 | 0.99266 | -0.0514 | 17.17
24 | -0.035074 | -0.0087958 | 0.03509 | 0.0088017 | 1.5675e-05 | 5.911e-06 | 0.052533 | 0.052533 | 0.052533 | 0.99354 | -0.045246 | 0.994 | -0.042024 | 19.4565
25 | 0.016082 | 0.0040327 | -0.016065 | -0.0040266 | 1.7486e-05 | 6.1029e-06 | 0.024109 | 0.024109 | 0.024109 | 0.99266 | -0.0514 | 0.99155 | -0.059254 | 8.9292
26 | -0.066383 | -0.016671 | 0.066413 | 0.016682 | 3.0283e-05 | 1.1582e-05 | 0.09899 | 0.09899 | 0.09899 | 0.99799 | -0.014045 | 0.99846 | -0.010764 | 36.6631
27 | -0.068516 | -0.01721 | 0.068619 | 0.017249 | 0.00010271 | 3.9296e-05 | 0.10212 | 0.10212 | 0.10212 | 0.99846 | -0.010764 | 1 | 0 | 37.8238
28 | -0.0082046 | -0.0020563 | 0.0082052 | 0.0020564 | 6.0226e-07 | 1.497e-07 | 0.012319 | 0.012319 | 0.012319 | 0.991 | -0.06315 | 0.99107 | -0.06262 | 4.5627
29 | 0.0082046 | 0.0020563 | -0.0082028 | -0.0020558 | 1.729e-06 | 4.2983e-07 | 0.012319 | 0.012319 | 0.012319 | 0.991 | -0.06315 | 0.99078 | -0.064673 | 4.5628
30 | -0.011708 | -0.0029342 | 0.011713 | 0.0029359 | 5.458e-06 | 1.7343e-06 | 0.017578 | 0.017578 | 0.017578 | 0.99107 | -0.06262 | 0.99155 | -0.059254 | 6.5104
31 | -0.15187 | -0.038386 | 0.15215 | 0.038493 | 0.00028136 | 0.00010776 | 0.22664 | 0.22664 | 0.22664 | 0.9976 | -0.016518 | 0.99951 | -0.0033865 | 41.9698
32 | 0.14879 | 0.037614 | -0.14853 | -0.037513 | 0.00026287 | 0.00010066 | 0.22205 | 0.22205 | 0.22205 | 0.9976 | -0.016518 | 0.99578 | -0.029082 | 41.1197
33 | -0.16024 | -0.040522 | 0.16032 | 0.040551 | 7.653e-05 | 2.9322e-05 | 0.23869 | 0.23869 | 0.23869 | 0.99951 | -0.0033865 | 1 | 0 | 44.2013
34 | 0.14853 | 0.037513 | -0.14814 | -0.037366 | 0.00038637 | 0.00014795 | 0.22205 | 0.22205 | 0.22205 | 0.99578 | -0.029082 | 0.99311 | -0.047632 | 41.1197
35 | 0.13353 | 0.033705 | -0.13351 | -0.033698 | 1.8318e-05 | 7.0075e-06 | 0.20016 | 0.20016 | 0.20016 | 0.99311 | -0.047632 | 0.99297 | -0.048609 | 37.0668
36 | 0.13023 | 0.032874 | -0.12991 | -0.032752 | 0.00031973 | 0.00012228 | 0.19523 | 0.19523 | 0.19523 | 0.99297 | -0.048609 | 0.99046 | -0.066133 | 36.1545
37 | 0.12556 | 0.031662 | -0.12534 | -0.031577 | 0.00022259 | 8.5097e-05 | 0.1887 | 0.1887 | 0.1887 | 0.99046 | -0.066133 | 0.98865 | -0.078805 | 34.9452
38 | 0.11049 | 0.027856 | -0.11033 | -0.027794 | 0.00016331 | 6.2327e-05 | 0.16636 | 0.16636 | 0.16636 | 0.98865 | -0.078805 | 0.98714 | -0.089371 | 30.8076
39 | 0.097567 | 0.024595 | -0.09736 | -0.024517 | 0.00020659 | 7.8677e-05 | 0.14712 | 0.14712 | 0.14712 | 0.98714 | -0.089371 | 0.98498 | -0.10452 | 27.245
40 | 0.012762 | 0.0031987 | -0.012756 | -0.0031965 | 6.5443e-06 | 2.155e-06 | 0.019238 | 0.019238 | 0.019238 | 0.98714 | -0.089371 | 0.98662 | -0.093076 | 7.1252
41 | 0.0031421 | 0.00078719 | -0.0031417 | -0.0007874 | 3.9648e-07 | -2.0638e-07 | 0.0047467 | 0.0047469 | 0.0047469 | 0.98498 | -0.10452 | 0.98486 | -0.10543 | 1.7581
42 | 0.094218 | 0.02373 | -0.094071 | -0.023674 | 0.00014635 | 5.5701e-05 | 0.14238 | 0.14238 | 0.14238 | 0.98498 | -0.10452 | 0.98341 | -0.11565 | 26.3661
43 | 0.0096139 | 0.0024091 | -0.0096103 | -0.0024081 | 3.5846e-06 | 1.0299e-06 | 0.0145 | 0.0145 | 0.0145 | 0.98662 | -0.093076 | 0.98624 | -0.095771 | 5.3703
44 | 0.092752 | 0.023343 | -0.0926 | -0.023286 | 0.00015125 | 5.7551e-05 | 0.14038 | 0.14038 | 0.14038 | 0.98341 | -0.11565 | 0.98175 | -0.12735 | 25.9963
45 | 0.0047295 | 0.001185 | -0.0047283 | -0.001185 | 1.177e-06 | -1.9888e-08 | 0.0071357 | 0.0071358 | 0.0071358 | 0.98624 | -0.095771 | 0.98598 | -0.097569 | 2.6429
46 | 0.0048809 | 0.0012231 | -0.0048801 | -0.0012231 | 7.2332e-07 | 5.4841e-09 | 0.0073641 | 0.0073642 | 0.0073642 | 0.98624 | -0.095771 | 0.98609 | -0.096842 | 2.7275
47 | -0.087706 | -0.022039 | 0.08786 | 0.022097 | 0.00015326 | 5.8247e-05 | 0.13319 | 0.13319 | 0.13319 | 0.97998 | -0.13988 | 0.98175 | -0.12735 | 24.6657

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23205 | 0.05838

## res_load
| p_mw | q_mvar
0 | 0.004809 | 0.0012053
1 | 0.0031066 | 0.00077859
2 | 0.0035938 | 0.00090068
3 | 0.005244 | 0.0013143
4 | 0.0042719 | 0.0010706
5 | 0.0092602 | 0.0023208
6 | 0.0023783 | 0.00059607
7 | 0.0062443 | 0.001565
8 | 0.0059951 | 0.0015025
9 | 0.0048743 | 0.0012216
10 | 0.004787 | 0.0011997
11 | 0.005367 | 0.0013451
12 | 0.0044846 | 0.001124
13 | 0.0041726 | 0.0010458
14 | 0.0045736 | 0.0011463
15 | 0.0062553 | 0.0015677
16 | 0.0041222 | 0.0010331
17 | 0.014843 | 0.0037201
18 | 0.0058831 | 0.0014744
19 | 0.004888 | 0.0012251
20 | 0.006817 | 0.0017085
21 | 0.0040022 | 0.001003
22 | 0.0073249 | 0.0018358
23 | 0.0021029 | 0.00052704
24 | 0.0050684 | 0.0012703
25 | 0.0035024 | 0.00087779
26 | 0.0082028 | 0.0020558
27 | 0.0043519 | 0.0010907
28 | 0.0030779 | 0.0007714
29 | 0.0080942 | 0.0020286
30 | 0.0023149 | 0.00058018
31 | 0.014607 | 0.0036608
32 | 0.0032875 | 0.00082393
33 | 0.0043466 | 0.0010894
34 | 0.014845 | 0.0037206
35 | 0.0031418 | 0.0007874
36 | 0.0031417 | 0.0007874
37 | 0.0013199 | 0.0003308
38 | 0.0049257 | 0.0012345
39 | 0.0047407 | 0.0011881
40 | 0.0047283 | 0.001185
41 | 0.0048801 | 0.0012231

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1