## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1505-21_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1505-21_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1505-21_0_1_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1505-21_0_1_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1505-21_0_1_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1505-21_0_1_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1505-21_0_1_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1505-21_0_1_node_27 | 0.4 | n |  | TRUE
8 | bus_LV_1505-21_0_1_node_31 | 0.4 | n |  | TRUE
9 | bus_LV_1505-21_0_1_node_34 | 0.4 | n |  | TRUE
10 | bus_LV_1505-21_0_1_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1505-21_0_1_node_26 | 0.4 | n |  | TRUE
12 | bus_LV_1505-21_0_1_node_30 | 0.4 | n |  | TRUE
13 | bus_LV_1505-21_0_1_node_35 | 0.4 | n |  | TRUE
14 | bus_LV_1505-21_0_1_node_7 | 0.4 | n |  | TRUE
15 | bus_LV_1505-21_0_1_node_9 | 0.4 | n |  | TRUE
16 | bus_LV_1505-21_0_1_node_10 | 0.4 | n |  | TRUE
17 | bus_LV_1505-21_0_1_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1505-21_0_1_node_12 | 0.4 | n |  | TRUE
19 | bus_LV_1505-21_0_1_node_13 | 0.4 | n |  | TRUE
20 | bus_LV_1505-21_0_1_node_38 | 0.4 | n |  | TRUE
21 | bus_LV_1505-21_0_1_node_33 | 0.4 | n |  | TRUE
22 | bus_LV_1505-21_0_1_node_44 | 0.4 | n |  | TRUE
23 | bus_LV_1505-21_0_1_node_39 | 0.4 | n |  | TRUE
24 | bus_LV_1505-21_0_1_node_32 | 0.4 | n |  | TRUE
25 | bus_LV_1505-21_0_1_node_14 | 0.4 | n |  | TRUE
26 | bus_LV_1505-21_0_1_node_15 | 0.4 | n |  | TRUE
27 | bus_LV_1505-21_0_1_node_16 | 0.4 | n |  | TRUE
28 | bus_LV_1505-21_0_1_node_17 | 0.4 | n |  | TRUE
29 | bus_LV_1505-21_0_1_node_18 | 0.4 | n |  | TRUE
30 | bus_LV_1505-21_0_1_node_19 | 0.4 | n |  | TRUE
31 | bus_LV_1505-21_0_1_node_41 | 0.4 | n |  | TRUE
32 | bus_LV_1505-21_0_1_node_58 | 0.4 | n |  | TRUE
33 | bus_LV_1505-21_0_1_node_55 | 0.4 | n |  | TRUE
34 | bus_LV_1505-21_0_1_node_54 | 0.4 | n |  | TRUE
35 | bus_LV_1505-21_0_1_node_42 | 0.4 | n |  | TRUE
36 | bus_LV_1505-21_0_1_node_56 | 0.4 | n |  | TRUE
37 | bus_LV_1505-21_0_1_node_52 | 0.4 | n |  | TRUE
38 | bus_LV_1505-21_0_1_node_20 | 0.4 | n |  | TRUE
39 | bus_LV_1505-21_0_1_node_21 | 0.4 | n |  | TRUE
40 | bus_LV_1505-21_0_1_node_22 | 0.4 | n |  | TRUE
41 | bus_LV_1505-21_0_1_node_23 | 0.4 | n |  | TRUE
42 | bus_LV_1505-21_0_1_node_24 | 0.4 | n |  | TRUE
43 | bus_LV_1505-21_0_1_node_25 | 0.4 | n |  | TRUE
44 | bus_LV_1505-21_0_1_node_36 | 0.4 | n |  | TRUE
45 | bus_LV_1505-21_0_1_node_40 | 0.4 | n |  | TRUE
46 | bus_LV_1505-21_0_1_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_1505-21_0_1_node_28 | 0.4 | n |  | TRUE
48 | bus_LV_1505-21_0_1_node_29 | 0.4 | n |  | TRUE
49 | bus_LV_1505-21_0_1_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_1505-21_0_1_node_50 | 0.4 | n |  | TRUE
51 | bus_LV_1505-21_0_1_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_1505-21_0_1_node_57 | 0.4 | n |  | TRUE
53 | bus_MV_142_1_node_306 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1505-21_0_1_load_0 | 0 | 0.0020088 | 0.00050344 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1505-21_0_1_load_1 | 1 | 0.0021395 | 0.00053622 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1505-21_0_1_load_3 | 3 | 0.0024949 | 0.00062527 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1505-21_0_1_load_6 | 6 | 0.0011192 | 0.00028051 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1505-21_0_1_load_27 | 7 | 0.0033577 | 0.00084151 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1505-21_0_1_load_31 | 8 | 0.0021639 | 0.00054233 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1505-21_0_1_load_34 | 9 | 0.0025758 | 0.00064556 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1505-21_0_1_load_8 | 10 | 0.0023047 | 0.00057762 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1505-21_0_1_load_26 | 11 | 0.0019112 | 0.00047898 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1505-21_0_1_load_30 | 12 | 0.003073 | 0.00077016 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1505-21_0_1_load_35 | 13 | 0.0011613 | 0.00029104 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1505-21_0_1_load_7 | 14 | 0.0013619 | 0.00034132 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1505-21_0_1_load_9 | 15 | 0.0036233 | 0.00090807 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1505-21_0_1_load_10 | 16 | 0.0028868 | 0.00072349 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1505-21_0_1_load_11 | 17 | 0.0039156 | 0.00098135 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1505-21_0_1_load_12 | 18 | 0.003955 | 0.00099122 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1505-21_0_1_load_13 | 19 | 0.0039701 | 0.00099501 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1505-21_0_1_load_44 | 22 | 0.0012179 | 0.00030524 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1505-21_0_1_load_39 | 23 | 0.0030758 | 0.00077087 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1505-21_0_1_load_32 | 24 | 0.0025176 | 0.00063096 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1505-21_0_1_load_14 | 25 | 0.0012468 | 0.00031247 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1505-21_0_1_load_15 | 26 | 0.00074657 | 0.00018711 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1505-21_0_1_load_19 | 30 | 0.0018841 | 0.0004722 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1505-21_0_1_load_41 | 31 | 0.00094561 | 0.00023699 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1505-21_0_1_load_58 | 32 | 0.0016143 | 0.00040459 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1505-21_0_1_load_55 | 33 | 0.0021593 | 0.00054118 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1505-21_0_1_load_54 | 34 | 0.0011706 | 0.00029339 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1505-21_0_1_load_42 | 35 | 0.0012177 | 0.00030519 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1505-21_0_1_load_56 | 36 | 0.0011506 | 0.00028836 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1505-21_0_1_load_20 | 38 | 0.0033958 | 0.00085106 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1505-21_0_1_load_21 | 39 | 0.0018413 | 0.00046146 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1505-21_0_1_load_23 | 41 | 0.0026651 | 0.00066793 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1505-21_0_1_load_24 | 42 | 0.0027922 | 0.0006998 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1505-21_0_1_load_25 | 43 | 0.0023708 | 0.00059417 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1505-21_0_1_load_36 | 44 | 0.0036259 | 0.00090875 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1505-21_0_1_load_40 | 45 | 0.0030447 | 0.00076306 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1505-21_0_1_load_37 | 46 | 0.0025829 | 0.00064734 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1505-21_0_1_load_28 | 47 | 0.0021213 | 0.00053164 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1505-21_0_1_load_29 | 48 | 0.0025468 | 0.0006383 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1505-21_0_1_load_43 | 49 | 0.001258 | 0.00031528 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1505-21_0_1_load_50 | 50 | 0.004887 | 0.0012248 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1505-21_0_1_load_57 | 52 | 0.0010151 | 0.0002544 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1505-21_0_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0095454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1505-21_0_1_line_1 | NAYY 4x150 SE | 0 | 2 | 0.021281 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1505-21_0_1_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0092369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1505-21_0_1_line_3 | NAYY 4x150 SE | 2 | 4 | 0.053463 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1505-21_0_1_line_4 | NAYY 4x150 SE | 2 | 5 | 0.029211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1505-21_0_1_line_5 | NAYY 4x150 SE | 3 | 6 | 0.013828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1505-21_0_1_line_6 | NAYY 4x150 SE | 4 | 7 | 0.02434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1505-21_0_1_line_7 | NAYY 4x150 SE | 4 | 8 | 0.020778 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1505-21_0_1_line_8 | NAYY 4x150 SE | 5 | 9 | 0.027633 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1505-21_0_1_line_9 | NAYY 4x150 SE | 6 | 10 | 0.021987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1505-21_0_1_line_10 | NAYY 4x150 SE | 7 | 11 | 0.021798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1505-21_0_1_line_11 | NAYY 4x150 SE | 8 | 12 | 0.029048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1505-21_0_1_line_12 | NAYY 4x150 SE | 9 | 13 | 0.023469 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1505-21_0_1_line_13 | NAYY 4x150 SE | 10 | 14 | 0.0055652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1505-21_0_1_line_14 | NAYY 4x150 SE | 11 | 47 | 0.0029705 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1505-21_0_1_line_15 | NAYY 4x150 SE | 12 | 24 | 0.023449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1505-21_0_1_line_16 | NAYY 4x150 SE | 15 | 16 | 0.0023265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1505-21_0_1_line_17 | NAYY 4x150 SE | 15 | 17 | 0.013223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1505-21_0_1_line_18 | NAYY 4x150 SE | 16 | 18 | 0.020143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1505-21_0_1_line_19 | NAYY 4x150 SE | 17 | 19 | 0.010519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1505-21_0_1_line_20 | NAYY 4x150 SE | 18 | 20 | 0.014963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1505-21_0_1_line_21 | NAYY 4x150 SE | 19 | 21 | 0.035408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1505-21_0_1_line_22 | NAYY 4x150 SE | 20 | 22 | 0.0135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1505-21_0_1_line_23 | NAYY 4x150 SE | 20 | 23 | 0.022085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1505-21_0_1_line_24 | NAYY 4x150 SE | 21 | 24 | 0.042024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1505-21_0_1_line_25 | NAYY 4x150 SE | 22 | 28 | 0.029506 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1505-21_0_1_line_26 | NAYY 4x150 SE | 23 | 46 | 0.0030234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1505-21_0_1_line_27 | NAYY 4x150 SE | 25 | 26 | 0.027499 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1505-21_0_1_line_28 | NAYY 4x150 SE | 25 | 27 | 0.018076 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1505-21_0_1_line_29 | NAYY 4x150 SE | 26 | 28 | 0.047725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1505-21_0_1_line_30 | NAYY 4x150 SE | 27 | 29 | 0.015372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1505-21_0_1_line_31 | NAYY 4x150 SE | 27 | 30 | 0.019135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1505-21_0_1_line_32 | NAYY 4x150 SE | 28 | 31 | 0.013808 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1505-21_0_1_line_33 | NAYY 4x150 SE | 29 | 32 | 0.11555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1505-21_0_1_line_34 | NAYY 4x150 SE | 29 | 33 | 0.052536 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1505-21_0_1_line_35 | NAYY 4x150 SE | 30 | 34 | 0.030639 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1505-21_0_1_line_36 | NAYY 4x150 SE | 31 | 35 | 0.019601 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1505-21_0_1_line_37 | NAYY 4x150 SE | 33 | 36 | 0.055231 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1505-21_0_1_line_38 | NAYY 4x150 SE | 34 | 37 | 0.056004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1505-21_0_1_line_39 | NAYY 4x150 SE | 35 | 49 | 0.0086022 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1505-21_0_1_line_40 | NAYY 4x150 SE | 36 | 52 | 0.01743 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1505-21_0_1_line_41 | NAYY 4x150 SE | 37 | 51 | 0.043685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1505-21_0_1_line_42 | NAYY 4x150 SE | 38 | 39 | 0.0038175 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1505-21_0_1_line_43 | NAYY 4x150 SE | 38 | 40 | 0.027337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1505-21_0_1_line_44 | NAYY 4x150 SE | 39 | 41 | 0.0024037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1505-21_0_1_line_45 | NAYY 4x150 SE | 40 | 42 | 0.0033292 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1505-21_0_1_line_46 | NAYY 4x150 SE | 40 | 43 | 0.021438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1505-21_0_1_line_47 | NAYY 4x150 SE | 42 | 44 | 0.005392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1505-21_0_1_line_48 | NAYY 4x150 SE | 43 | 45 | 0.0084162 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1505-21_0_1_line_49 | NAYY 4x150 SE | 44 | 46 | 0.016495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1505-21_0_1_line_50 | NAYY 4x150 SE | 47 | 48 | 0.01204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1505-21_0_1_line_51 | NAYY 4x150 SE | 50 | 51 | 0.068266 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1505-21_0_1_trafo_43 | 0.25 MVA 20/0.4 kV | 53 | 49 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2673024.1271 | 1203651.3193 | 2673020.0963 | 1203659.9718
1 | 2673033.1136 | 1203632.0291 | 2673024.1271 | 1203651.3193
2 | 2673020.0963 | 1203659.9718 | 2673016.1958 | 1203668.3447 | 2673016.1958 | 1203668.3447
3 | 2673033.1136 | 1203632.0291 | 2673080.3455 | 1203657.3334
4 | 2673007.5308 | 1203617.7966 | 2673033.1136 | 1203632.0291
5 | 2673018.54 | 1203681.9308 | 2673017.0842 | 1203676.5829 | 2673016.1958 | 1203668.3447
6 | 2673080.3455 | 1203657.3334 | 2673069.5386 | 1203679.1427
7 | 2673080.3455 | 1203657.3334 | 2673098.469 | 1203667.4949
8 | 2673007.5308 | 1203617.7966 | 2672994.2979 | 1203642.0555
9 | 2673006.6953 | 1203700.11 | 2673012.7423 | 1203693.7737 | 2673018.5843 | 1203682.0935 | 2673018.54 | 1203681.9308
10 | 2673069.5386 | 1203679.1427 | 2673059.8601 | 1203698.6745
11 | 2673123.8064 | 1203681.7011 | 2673098.469 | 1203667.4949
12 | 2672983.0593 | 1203662.6586 | 2672994.2979 | 1203642.0555
13 | 2673006.6953 | 1203700.11 | 2673002.8532 | 1203704.136
14 | 2673058.5412 | 1203701.3362 | 2673059.8601 | 1203698.6745
15 | 2673123.8064 | 1203681.7011 | 2673144.2602 | 1203693.1692
16 | 2673134.6727 | 1203752.7609 | 2673136.5208 | 1203751.3476
17 | 2673147.0242 | 1203743.3149 | 2673136.5208 | 1203751.3476
18 | 2673134.6727 | 1203752.7609 | 2673118.6726 | 1203764.9972
19 | 2673147.0242 | 1203743.3149 | 2673148.7718 | 1203741.9785 | 2673155.5842 | 1203737.2042
20 | 2673105.3068 | 1203771.398 | 2673114.9604 | 1203767.8361 | 2673118.6726 | 1203764.9972
21 | 2673180.916 | 1203713.7214 | 2673176.4934 | 1203722.5504 | 2673155.5842 | 1203737.2042
22 | 2673105.3068 | 1203771.398 | 2673091.9447 | 1203773.3246
23 | 2673105.3068 | 1203771.398 | 2673110.2768 | 1203776.8733 | 2673121.6625 | 1203786.1564
24 | 2673180.916 | 1203713.7214 | 2673144.2602 | 1203693.1692
25 | 2673063.2391 | 1203767.4921 | 2673077.6989 | 1203772.2385 | 2673091.9447 | 1203773.3246
26 | 2673124.0057 | 1203788.0669 | 2673121.6625 | 1203786.1564
27 | 2673018.0232 | 1203752.2527 | 2672993.0172 | 1203740.8106
28 | 2672976.5806 | 1203733.2896 | 2672993.0172 | 1203740.8106
29 | 2673063.2391 | 1203767.4921 | 2673019.6196 | 1203752.9832 | 2673018.0232 | 1203752.2527
30 | 2672976.5806 | 1203733.2896 | 2672968.3713 | 1203746.2974
31 | 2672976.5806 | 1203733.2896 | 2672964.5896 | 1203718.3777
32 | 2673063.2391 | 1203767.4921 | 2673069.7504 | 1203755.3155
33 | 2672968.3713 | 1203746.2974 | 2673065.8991 | 1203808.2679
34 | 2672968.3713 | 1203746.2974 | 2672961.5259 | 1203756.6646 | 2672961.7037 | 1203786.9521 | 2672968.3154 | 1203794.2186
35 | 2672947.8987 | 1203692.6886 | 2672964.1388 | 1203717.817 | 2672964.5896 | 1203718.3777
36 | 2673069.7504 | 1203755.3155 | 2673078.9933 | 1203738.0306
37 | 2672968.3154 | 1203794.2186 | 2672997.6821 | 1203826.4938 | 2673004.9373 | 1203835.5386
38 | 2672906.1278 | 1203657.9942 | 2672909.8962 | 1203664.0662 | 2672939.8907 | 1203680.2978 | 2672947.8987 | 1203692.6886
39 | 2673083.0497 | 1203730.4449 | 2673078.9933 | 1203738.0306
40 | 2673004.9373 | 1203835.5386 | 2673015.8435 | 1203849.1349
41 | 2672906.1278 | 1203657.9942 | 2672918.3699 | 1203624.4229 | 2672916.9516 | 1203619.0579 | 2672918.1413 | 1203616.9711
42 | 2673171.1869 | 1203787.5714 | 2673167.9869 | 1203789.6533
43 | 2673144.2247 | 1203802.5936 | 2673150.391 | 1203801.1015 | 2673167.9869 | 1203789.6533
44 | 2673173.2017 | 1203786.2605 | 2673171.1869 | 1203787.5714
45 | 2673144.2247 | 1203802.5936 | 2673140.969 | 1203801.8977
46 | 2673144.2247 | 1203802.5936 | 2673146.3349 | 1203808.6009 | 2673158.4008 | 1203817.6305
47 | 2673140.969 | 1203801.8977 | 2673136.79 | 1203798.4904
48 | 2673165.139 | 1203822.6731 | 2673158.4008 | 1203817.6305
49 | 2673124.0057 | 1203788.0669 | 2673136.79 | 1203798.4904
50 | 2673053.1956 | 1203712.124 | 2673058.5412 | 1203701.3362
51 | 2672918.1413 | 1203616.9711 | 2672934.6023 | 1203626.111 | 2672936.9043 | 1203630.7642 | 2672961.932 | 1203644.3559 | 2672969.5013 | 1203630.5261

## bus_geodata
| x | y | coords
0 | 2673024.1271 | 1203651.3193
1 | 2673020.0963 | 1203659.9718
2 | 2673033.1136 | 1203632.0291
3 | 2673016.1958 | 1203668.3447
4 | 2673080.3455 | 1203657.3334
5 | 2673007.5308 | 1203617.7966
6 | 2673018.54 | 1203681.9308
7 | 2673069.5386 | 1203679.1427
8 | 2673098.469 | 1203667.4949
9 | 2672994.2979 | 1203642.0555
10 | 2673006.6953 | 1203700.11
11 | 2673059.8601 | 1203698.6745
12 | 2673123.8064 | 1203681.7011
13 | 2672983.0593 | 1203662.6586
14 | 2673002.8532 | 1203704.136
15 | 2673136.5208 | 1203751.3476
16 | 2673134.6727 | 1203752.7609
17 | 2673147.0242 | 1203743.3149
18 | 2673118.6726 | 1203764.9972
19 | 2673155.5842 | 1203737.2042
20 | 2673105.3068 | 1203771.398
21 | 2673180.916 | 1203713.7214
22 | 2673091.9447 | 1203773.3246
23 | 2673121.6625 | 1203786.1564
24 | 2673144.2602 | 1203693.1692
25 | 2672993.0172 | 1203740.8106
26 | 2673018.0232 | 1203752.2527
27 | 2672976.5806 | 1203733.2896
28 | 2673063.2391 | 1203767.4921
29 | 2672968.3713 | 1203746.2974
30 | 2672964.5896 | 1203718.3777
31 | 2673069.7504 | 1203755.3155
32 | 2673065.8991 | 1203808.2679
33 | 2672968.3154 | 1203794.2186
34 | 2672947.8987 | 1203692.6886
35 | 2673078.9933 | 1203738.0306
36 | 2673004.9373 | 1203835.5386
37 | 2672906.1278 | 1203657.9942
38 | 2673167.9869 | 1203789.6533
39 | 2673171.1869 | 1203787.5714
40 | 2673144.2247 | 1203802.5936
41 | 2673173.2017 | 1203786.2605
42 | 2673140.969 | 1203801.8977
43 | 2673158.4008 | 1203817.6305
44 | 2673136.79 | 1203798.4904
45 | 2673165.139 | 1203822.6731
46 | 2673124.0057 | 1203788.0669
47 | 2673058.5412 | 1203701.3362
48 | 2673053.1956 | 1203712.124
49 | 2673083.0497 | 1203730.4449
50 | 2672969.5013 | 1203630.5261
51 | 2672918.1413 | 1203616.9711
52 | 2673015.8435 | 1203849.1349
53 | 2673063.2391 | 1203767.4921

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97723 | -0.16024 | 0.0020088 | 0.00050344
1 | 0.9771 | -0.16118 | 0.0021395 | 0.00053622
2 | 0.97759 | -0.1577 | 0 | 0
3 | 0.977 | -0.16188 | 0.0024949 | 0.00062527
4 | 0.97877 | -0.14923 | 0 | 0
5 | 0.97743 | -0.15884 | 0 | 0
6 | 0.97691 | -0.16258 | 0.0011192 | 0.00028051
7 | 0.97842 | -0.15175 | 0.0033577 | 0.00084151
8 | 0.97953 | -0.14379 | 0.0021639 | 0.00054233
9 | 0.97728 | -0.15992 | 0.0025758 | 0.00064556
10 | 0.97679 | -0.16342 | 0.0023047 | 0.00057762
11 | 0.97821 | -0.15325 | 0.0019112 | 0.00047898
12 | 0.98069 | -0.13556 | 0.003073 | 0.00077016
13 | 0.97724 | -0.1602 | 0.0011613 | 0.00029104
14 | 0.97678 | -0.1635 | 0.0013619 | 0.00034132
15 | 0.98678 | -0.092382 | 0.0036233 | 0.00090807
16 | 0.98693 | -0.091323 | 0.0028868 | 0.00072349
17 | 0.98599 | -0.097914 | 0.0039156 | 0.00098135
18 | 0.98831 | -0.081575 | 0.003955 | 0.00099122
19 | 0.98543 | -0.1019 | 0.0039701 | 0.00099501
20 | 0.98942 | -0.073748 | 0 | 0
21 | 0.98373 | -0.11389 | 0 | 0
22 | 0.99092 | -0.063213 | 0.0012179 | 0.00030524
23 | 0.98861 | -0.079472 | 0.0030758 | 0.00077087
24 | 0.98172 | -0.12817 | 0.0025176 | 0.00063096
25 | 0.99256 | -0.051842 | 0.0012468 | 0.00031247
26 | 0.99316 | -0.047617 | 0.00074657 | 0.00018711
27 | 0.9922 | -0.054394 | 0 | 0
28 | 0.99425 | -0.039935 | 0 | 0
29 | 0.99207 | -0.055323 | 0 | 0
30 | 0.99198 | -0.055939 | 0.0018841 | 0.0004722
31 | 0.99612 | -0.026881 | 0.00094561 | 0.00023699
32 | 0.9918 | -0.057222 | 0.0016143 | 0.00040459
33 | 0.99174 | -0.057633 | 0.0021593 | 0.00054118
34 | 0.99172 | -0.057827 | 0.0011706 | 0.00029339
35 | 0.99881 | -0.0082498 | 0.0012177 | 0.00030519
36 | 0.99157 | -0.058849 | 0.0011506 | 0.00028836
37 | 0.99132 | -0.060613 | 0 | 0
38 | 0.98755 | -0.087042 | 0.0033958 | 0.00085106
39 | 0.98752 | -0.087218 | 0.0018413 | 0.00046146
40 | 0.98786 | -0.084832 | 0 | 0
41 | 0.98751 | -0.087284 | 0.0026651 | 0.00066793
42 | 0.98792 | -0.084378 | 0.0027922 | 0.0006998
43 | 0.98769 | -0.08602 | 0.0023708 | 0.00059417
44 | 0.98805 | -0.083489 | 0.0036259 | 0.00090875
45 | 0.98765 | -0.086282 | 0.0030447 | 0.00076306
46 | 0.98852 | -0.080162 | 0.0025829 | 0.00064734
47 | 0.97819 | -0.15339 | 0.0021213 | 0.00053164
48 | 0.97814 | -0.15371 | 0.0025468 | 0.0006383
49 | 1 | 0 | -0.098055 | -0.024545
50 | 0.99054 | -0.06618 | 0.004887 | 0.0012248
51 | 0.99102 | -0.062786 | 0 | 0
52 | 0.99155 | -0.059029 | 0.0010151 | 0.0002544
53 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0094231 | 0.0023613 | -0.0094219 | -0.0023609 | 1.2262e-06 | 3.5206e-07 | 0.014348 | 0.014348 | 0.014348 | 0.97723 | -0.16024 | 0.9771 | -0.16118 | 5.3142
1 | -0.011432 | -0.0028647 | 0.011436 | 0.002866 | 4.0236e-06 | 1.2808e-06 | 0.017407 | 0.017407 | 0.017407 | 0.97723 | -0.16024 | 0.97759 | -0.1577 | 6.447
2 | 0.0072824 | 0.0018247 | -0.0072816 | -0.0018246 | 7.0889e-07 | 1.5697e-07 | 0.01109 | 0.01109 | 0.01109 | 0.9771 | -0.16118 | 0.977 | -0.16188 | 4.1074
3 | -0.015174 | -0.0038021 | 0.015192 | 0.0038082 | 1.7796e-05 | 6.1737e-06 | 0.023097 | 0.023096 | 0.023097 | 0.97759 | -0.1577 | 0.97877 | -0.14923 | 8.5543
4 | 0.0037383 | 0.00093605 | -0.0037377 | -0.00093619 | 5.9012e-07 | -1.3921e-07 | 0.0056898 | 0.00569 | 0.00569 | 0.97759 | -0.1577 | 0.97743 | -0.15884 | 2.1074
5 | 0.0047868 | 0.0011993 | -0.0047863 | -0.0011993 | 4.5862e-07 | 3.2387e-09 | 0.0072903 | 0.0072904 | 0.0072904 | 0.977 | -0.16188 | 0.97691 | -0.16258 | 2.7001
6 | 0.009942 | 0.0024916 | -0.0099385 | -0.0024906 | 3.4698e-06 | 1.0287e-06 | 0.015115 | 0.015115 | 0.015115 | 0.97877 | -0.14923 | 0.97842 | -0.15175 | 5.5981
7 | -0.025134 | -0.0062998 | 0.025153 | 0.0063068 | 1.893e-05 | 7.0196e-06 | 0.038211 | 0.038211 | 0.038211 | 0.97877 | -0.14923 | 0.97953 | -0.14379 | 14.1523
8 | 0.0037377 | 0.00093619 | -0.0037371 | -0.00093632 | 5.5827e-07 | -1.3157e-07 | 0.00569 | 0.0056901 | 0.0056901 | 0.97743 | -0.15884 | 0.97728 | -0.15992 | 2.1074
9 | 0.0036671 | 0.00091877 | -0.0036667 | -0.00091888 | 4.2805e-07 | -1.1062e-07 | 0.0055856 | 0.0055857 | 0.0055857 | 0.97691 | -0.16258 | 0.97679 | -0.16342 | 2.0688
10 | 0.0065808 | 0.0016491 | -0.0065795 | -0.0016488 | 1.3625e-06 | 2.5032e-07 | 0.010008 | 0.010008 | 0.010008 | 0.97842 | -0.15175 | 0.97821 | -0.15325 | 3.7068
11 | -0.027317 | -0.0068492 | 0.027348 | 0.0068608 | 3.1215e-05 | 1.164e-05 | 0.041498 | 0.041498 | 0.041498 | 0.97953 | -0.14379 | 0.98069 | -0.13556 | 15.3697
12 | 0.0011613 | 0.00029077 | -0.0011613 | -0.00029104 | 4.5787e-08 | -2.7644e-07 | 0.0017681 | 0.0017682 | 0.0017682 | 0.97728 | -0.15992 | 0.97724 | -0.1602 | 0.65491
13 | 0.0013619 | 0.00034126 | -0.0013619 | -0.00034132 | 1.4947e-08 | -6.3911e-08 | 0.0020747 | 0.0020747 | 0.0020747 | 0.97679 | -0.16342 | 0.97678 | -0.1635 | 0.76841
14 | 0.0046683 | 0.0011698 | -0.0046682 | -0.0011698 | 9.3471e-08 | -1.3395e-09 | 0.0071012 | 0.0071012 | 0.0071012 | 0.97821 | -0.15325 | 0.97819 | -0.15339 | 2.6301
15 | -0.030421 | -0.007631 | 0.030452 | 0.0076427 | 3.1179e-05 | 1.1696e-05 | 0.046161 | 0.046161 | 0.046161 | 0.98069 | -0.13556 | 0.98172 | -0.12817 | 17.0966
16 | -0.044652 | -0.011223 | 0.044658 | 0.011226 | 6.584e-06 | 2.5026e-06 | 0.067344 | 0.067344 | 0.067344 | 0.98678 | -0.092382 | 0.98693 | -0.091323 | 24.9423
17 | 0.041028 | 0.010315 | -0.040997 | -0.010303 | 3.1595e-05 | 1.1983e-05 | 0.06188 | 0.061881 | 0.061881 | 0.98678 | -0.092382 | 0.98599 | -0.097914 | 22.9187
18 | -0.047545 | -0.011949 | 0.04761 | 0.011974 | 6.461e-05 | 2.4592e-05 | 0.071697 | 0.071697 | 0.071697 | 0.98693 | -0.091323 | 0.98831 | -0.081575 | 26.5543
19 | 0.037081 | 0.0093218 | -0.037061 | -0.0093141 | 2.0563e-05 | 7.7747e-06 | 0.055971 | 0.055971 | 0.055971 | 0.98599 | -0.097914 | 0.98543 | -0.1019 | 20.7301
20 | -0.051565 | -0.012965 | 0.051621 | 0.012987 | 5.63e-05 | 2.1462e-05 | 0.077651 | 0.077651 | 0.077651 | 0.98831 | -0.081575 | 0.98942 | -0.073748 | 28.7597
21 | 0.03309 | 0.0083191 | -0.033035 | -0.0082983 | 5.5184e-05 | 2.0774e-05 | 0.049976 | 0.049976 | 0.049976 | 0.98543 | -0.1019 | 0.98373 | -0.11389 | 18.5098
22 | -0.077053 | -0.019364 | 0.077166 | 0.019407 | 0.00011316 | 4.335e-05 | 0.1159 | 0.1159 | 0.1159 | 0.98942 | -0.073748 | 0.99092 | -0.063213 | 42.9261
23 | 0.025432 | 0.0063775 | -0.025412 | -0.00637 | 2.0162e-05 | 7.4712e-06 | 0.038249 | 0.038249 | 0.038249 | 0.98942 | -0.073748 | 0.98861 | -0.079472 | 14.1665
24 | 0.033035 | 0.0082983 | -0.03297 | -0.0082736 | 6.5496e-05 | 2.4658e-05 | 0.049976 | 0.049977 | 0.049977 | 0.98373 | -0.11389 | 0.98172 | -0.12817 | 18.5099
25 | -0.078384 | -0.019713 | 0.078639 | 0.01981 | 0.00025519 | 9.7769e-05 | 0.11773 | 0.11773 | 0.11773 | 0.99092 | -0.063213 | 0.99425 | -0.039935 | 43.6035
26 | 0.022336 | 0.0055992 | -0.022334 | -0.0055984 | 2.1324e-06 | 7.8139e-07 | 0.03362 | 0.03362 | 0.03362 | 0.98861 | -0.079472 | 0.98852 | -0.080162 | 12.4518
27 | -0.015145 | -0.0037915 | 0.015153 | 0.0037945 | 8.8443e-06 | 3.046e-06 | 0.022703 | 0.022703 | 0.022703 | 0.99256 | -0.051842 | 0.99316 | -0.047617 | 8.4084
28 | 0.013898 | 0.003479 | -0.013893 | -0.0034774 | 4.8956e-06 | 1.6494e-06 | 0.020834 | 0.020834 | 0.020834 | 0.99256 | -0.051842 | 0.9922 | -0.054394 | 7.7162
29 | -0.0159 | -0.0039816 | 0.015917 | 0.0039875 | 1.6899e-05 | 5.8812e-06 | 0.023821 | 0.023821 | 0.023821 | 0.99316 | -0.047617 | 0.99425 | -0.039935 | 8.8226
30 | 0.0059422 | 0.0014864 | -0.0059415 | -0.0014863 | 7.6161e-07 | 9.4416e-08 | 0.0089106 | 0.0089107 | 0.0089107 | 0.9922 | -0.054394 | 0.99207 | -0.055323 | 3.3002
31 | 0.0079506 | 0.001991 | -0.0079489 | -0.0019906 | 1.6974e-06 | 4.0578e-07 | 0.011923 | 0.011923 | 0.011923 | 0.9922 | -0.054394 | 0.99198 | -0.055939 | 4.416
32 | -0.094556 | -0.023798 | 0.094729 | 0.023864 | 0.00017264 | 6.6221e-05 | 0.14155 | 0.14155 | 0.14155 | 0.99425 | -0.039935 | 0.99612 | -0.026881 | 52.426
33 | 0.0016147 | 0.00040326 | -0.0016143 | -0.00040459 | 4.2287e-07 | -1.329e-06 | 0.0024215 | 0.002422 | 0.002422 | 0.99207 | -0.055323 | 0.9918 | -0.057222 | 0.89703
34 | 0.0043267 | 0.001083 | -0.0043253 | -0.0010831 | 1.3805e-06 | -1.4716e-07 | 0.0064892 | 0.0064894 | 0.0064894 | 0.99207 | -0.055323 | 0.99174 | -0.057633 | 2.4035
35 | 0.0060648 | 0.0015184 | -0.0060633 | -0.0015182 | 1.5822e-06 | 2.131e-07 | 0.0090969 | 0.0090971 | 0.0090971 | 0.99198 | -0.055939 | 0.99172 | -0.057827 | 3.3693
36 | -0.095674 | -0.024101 | 0.095924 | 0.024197 | 0.00024998 | 9.589e-05 | 0.14296 | 0.14296 | 0.14296 | 0.99612 | -0.026881 | 0.99881 | -0.0082498 | 52.9491
37 | 0.002166 | 0.00054197 | -0.0021657 | -0.00054254 | 3.6397e-07 | -5.7257e-07 | 0.0032496 | 0.0032499 | 0.0032499 | 0.99174 | -0.057633 | 0.99157 | -0.058849 | 1.2036
38 | 0.0048926 | 0.0012248 | -0.0048907 | -0.0012248 | 1.8831e-06 | 1.9594e-09 | 0.0073406 | 0.0073409 | 0.0073409 | 0.99172 | -0.057827 | 0.99132 | -0.060613 | 2.7188
39 | -0.097142 | -0.024502 | 0.097255 | 0.024545 | 0.00011251 | 4.3161e-05 | 0.14478 | 0.14478 | 0.14478 | 0.99881 | -0.0082498 | 1 | 0 | 53.621
40 | 0.0010151 | 0.00025418 | -0.0010151 | -0.0002544 | 2.5236e-08 | -2.1512e-07 | 0.0015232 | 0.0015233 | 0.0015233 | 0.99157 | -0.058849 | 0.99155 | -0.059029 | 0.56418
41 | 0.0048907 | 0.0012248 | -0.0048893 | -0.0012248 | 1.469e-06 | 1.9617e-09 | 0.0073409 | 0.0073411 | 0.0073411 | 0.99132 | -0.060613 | 0.99102 | -0.062786 | 2.7189
42 | 0.0045065 | 0.0011294 | -0.0045064 | -0.0011294 | 1.0984e-07 | -6.5983e-09 | 0.0067902 | 0.0067903 | 0.0067903 | 0.98755 | -0.087042 | 0.98752 | -0.087218 | 2.5149
43 | -0.0079023 | -0.0019804 | 0.0079047 | 0.001981 | 2.4184e-06 | 5.8028e-07 | 0.011907 | 0.011907 | 0.011907 | 0.98755 | -0.087042 | 0.98786 | -0.084832 | 4.41
44 | 0.0026651 | 0.00066791 | -0.0026651 | -0.00066793 | 2.4189e-08 | -2.1449e-08 | 0.0040158 | 0.0040158 | 0.0040158 | 0.98752 | -0.087218 | 0.98751 | -0.087284 | 1.4873
45 | -0.013321 | -0.0033382 | 0.013322 | 0.0033385 | 8.3643e-07 | 2.7908e-07 | 0.020066 | 0.020066 | 0.020066 | 0.98786 | -0.084832 | 0.98792 | -0.084378 | 7.4317
46 | 0.0054164 | 0.0013572 | -0.0054155 | -0.0013572 | 8.9045e-07 | 6.8071e-08 | 0.0081587 | 0.0081588 | 0.0081588 | 0.98786 | -0.084832 | 0.98769 | -0.08602 | 3.0218
47 | -0.016114 | -0.0040383 | 0.016116 | 0.004039 | 1.9821e-06 | 6.9328e-07 | 0.024271 | 0.024271 | 0.024271 | 0.98792 | -0.084378 | 0.98805 | -0.083489 | 8.9893
48 | 0.0030448 | 0.000763 | -0.0030447 | -0.00076306 | 1.105e-07 | -6.5207e-08 | 0.0045871 | 0.0045871 | 0.0045871 | 0.98769 | -0.08602 | 0.98765 | -0.086282 | 1.6989
49 | -0.019742 | -0.0049478 | 0.019751 | 0.0049511 | 9.0988e-06 | 3.2882e-06 | 0.029732 | 0.029732 | 0.029732 | 0.98805 | -0.083489 | 0.98852 | -0.080162 | 11.0118
50 | 0.002547 | 0.00063819 | -0.0025468 | -0.0006383 | 1.1277e-07 | -1.0775e-07 | 0.0038744 | 0.0038744 | 0.0038744 | 0.97819 | -0.15339 | 0.97814 | -0.15371 | 1.435
51 | -0.004887 | -0.0012248 | 0.0048893 | 0.0012248 | 2.2957e-06 | 3.8255e-09 | 0.0073414 | 0.0073411 | 0.0073414 | 0.99054 | -0.06618 | 0.99102 | -0.062786 | 2.719

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.099313 | 0.024861

## res_load
| p_mw | q_mvar
0 | 0.0020088 | 0.00050344
1 | 0.0021395 | 0.00053622
2 | 0.0024949 | 0.00062527
3 | 0.0011192 | 0.00028051
4 | 0.0033577 | 0.00084151
5 | 0.0021639 | 0.00054233
6 | 0.0025758 | 0.00064556
7 | 0.0023047 | 0.00057762
8 | 0.0019112 | 0.00047898
9 | 0.003073 | 0.00077016
10 | 0.0011613 | 0.00029104
11 | 0.0013619 | 0.00034132
12 | 0.0036233 | 0.00090807
13 | 0.0028868 | 0.00072349
14 | 0.0039156 | 0.00098135
15 | 0.003955 | 0.00099122
16 | 0.0039701 | 0.00099501
17 | 0.0012179 | 0.00030524
18 | 0.0030758 | 0.00077087
19 | 0.0025176 | 0.00063096
20 | 0.0012468 | 0.00031247
21 | 0.00074657 | 0.00018711
22 | 0.0018841 | 0.0004722
23 | 0.00094561 | 0.00023699
24 | 0.0016143 | 0.00040459
25 | 0.0021593 | 0.00054118
26 | 0.0011706 | 0.00029339
27 | 0.0012177 | 0.00030519
28 | 0.0011506 | 0.00028836
29 | 0.0033958 | 0.00085106
30 | 0.0018413 | 0.00046146
31 | 0.0026651 | 0.00066793
32 | 0.0027922 | 0.0006998
33 | 0.0023708 | 0.00059417
34 | 0.0036259 | 0.00090875
35 | 0.0030447 | 0.00076306
36 | 0.0025829 | 0.00064734
37 | 0.0021213 | 0.00053164
38 | 0.0025468 | 0.0006383
39 | 0.001258 | 0.00031528
40 | 0.004887 | 0.0012248
41 | 0.0010151 | 0.0002544

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1