## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1505-27_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1505-27_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1505-27_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1505-27_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1505-27_0_3_node_14 | 0.4 | n |  | TRUE
5 | bus_LV_1505-27_0_3_node_21 | 0.4 | n |  | TRUE
6 | bus_LV_1505-27_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1505-27_0_3_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_1505-27_0_3_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_1505-27_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1505-27_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1505-27_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1505-27_0_3_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_1505-27_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1505-27_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1505-27_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1505-27_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1505-27_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1505-27_0_3_node_19 | 0.4 | n |  | TRUE
19 | bus_LV_1505-27_0_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_1505-27_0_3_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_1505-27_0_3_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_1505-27_0_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_1505-27_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1505-27_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1505-27_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1505-27_0_3_node_17 | 0.4 | n |  | TRUE
27 | bus_LV_1505-27_0_3_node_28 | 0.4 | n |  | TRUE
28 | bus_LV_1505-27_0_3_node_29 | 0.4 | n |  | TRUE
29 | bus_MV_142_1_node_213 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1505-27_0_3_load_0 | 0 | 0.0088926 | 0.0022287 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1505-27_0_3_load_14 | 4 | 0.0072317 | 0.0018124 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1505-27_0_3_load_21 | 5 | 0.0044615 | 0.0011182 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1505-27_0_3_load_8 | 6 | 0.0071654 | 0.0017958 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1505-27_0_3_load_20 | 7 | 0.0035934 | 0.00090059 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1505-27_0_3_load_4 | 8 | 0.0083231 | 0.002086 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1505-27_0_3_load_5 | 9 | 0.0033057 | 0.00082848 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1505-27_0_3_load_6 | 10 | 0.0042066 | 0.0010543 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1505-27_0_3_load_7 | 11 | 0.0088731 | 0.0022238 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1505-27_0_3_load_18 | 12 | 0.0093405 | 0.0023409 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1505-27_0_3_load_9 | 13 | 0.0018782 | 0.00047072 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1505-27_0_3_load_10 | 14 | 0.0026188 | 0.00065633 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1505-27_0_3_load_11 | 15 | 0.0032441 | 0.00081305 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1505-27_0_3_load_12 | 16 | 0.0036315 | 0.00091014 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1505-27_0_3_load_13 | 17 | 0.0019741 | 0.00049476 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1505-27_0_3_load_19 | 18 | 0.0020264 | 0.00050786 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1505-27_0_3_load_22 | 19 | 0.003866 | 0.0009689 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1505-27_0_3_load_23 | 20 | 0.003866 | 0.00096892 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1505-27_0_3_load_26 | 22 | 0.003866 | 0.0009689 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1505-27_0_3_load_15 | 23 | 0.0042679 | 0.0010696 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1505-27_0_3_load_16 | 24 | 0.0021168 | 0.00053053 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1505-27_0_3_load_17 | 26 | 0.0041796 | 0.0010475 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1505-27_0_3_load_28 | 27 | 0.0031418 | 0.00078741 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1505-27_0_3_load_29 | 28 | 0.0031418 | 0.00078741 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1505-27_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.019734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1505-27_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.097261 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1505-27_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.13234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1505-27_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.013688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1505-27_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.10744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
5 | LV_1505-27_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.024336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1505-27_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.010894 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1505-27_0_3_line_7 | NAYY 4x150 SE | 6 | 10 | 0.023056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1505-27_0_3_line_8 | NAYY 4x150 SE | 7 | 18 | 0.011131 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
9 | LV_1505-27_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.0085034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1505-27_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.0036419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1505-27_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.011884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1505-27_0_3_line_12 | NAYY 4x150 SE | 11 | 12 | 0.015804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1505-27_0_3_line_13 | NAYY 4x150 SE | 13 | 14 | 0.013703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1505-27_0_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.0037107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1505-27_0_3_line_15 | NAYY 4x150 SE | 14 | 16 | 0.010464 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_1505-27_0_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.017697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1505-27_0_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.011193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1505-27_0_3_line_18 | NAYY 4x150 SE | 17 | 23 | 0.0019465 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1505-27_0_3_line_19 | NAYY 4x150 SE | 19 | 20 | 0.020151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1505-27_0_3_line_20 | NAYY 4x150 SE | 19 | 21 | 0.00016135 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1505-27_0_3_line_21 | NAYY 4x150 SE | 20 | 25 | 0.010497 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1505-27_0_3_line_22 | NAYY 4x150 SE | 21 | 22 | 0.0105 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1505-27_0_3_line_23 | NAYY 4x150 SE | 23 | 24 | 0.021721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1505-27_0_3_line_24 | NAYY 4x150 SE | 24 | 26 | 0.0019437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1505-27_0_3_line_25 | NAYY 4x150 SE | 25 | 27 | 0.0028219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1505-27_0_3_line_26 | NAYY 4x150 SE | 26 | 28 | 0.068039 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1505-27_0_3_line_27 | NAYY 4x150 SE | 27 | 28 | 0.015946 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1505-27_0_3_trafo_10 | 0.25 MVA 20/0.4 kV | 29 | 14 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14
0 | 2673504.7 | 1204208.3128 | 2673501.2446 | 1204209.6489 | 2673498.629 | 1204210.1281 | 2673495.8569 | 1204209.7271 | 2673486.4077 | 1204204.9927
1 | 2673504.7 | 1204208.3128 | 2673519.4374 | 1204220.057 | 2673535.9568 | 1204231.6564 | 2673546.8762 | 1204240.1961 | 2673557.1805 | 1204248.6282 | 2673562.4718 | 1204252.6625 | 2673566.3408 | 1204256.6682 | 2673571.8993 | 1204264.3302 | 2673572.8034 | 1204269.3778 | 2673572.035 | 1204273.6933
2 | 2673403.3753 | 1204134.9883 | 2673403.0815 | 1204137.842 | 2673403.0794 | 1204142.3448 | 2673404.6858 | 1204145.9779 | 2673407.4079 | 1204147.3566 | 2673410.3179 | 1204147.6815 | 2673421.1649 | 1204147.9038 | 2673436.3529 | 1204153.9609 | 2673449.3307 | 1204160.947 | 2673462.4873 | 1204168.8581 | 2673470.213 | 1204175.4016 | 2673476.2492 | 1204181.9799 | 2673483.4707 | 1204190.5407 | 2673493.4089 | 1204199.6797 | 2673504.7 | 1204208.3128
3 | 2673572.035 | 1204273.6933 | 2673569.0768 | 1204276.0472 | 2673564.4941 | 1204275.6349 | 2673559.583 | 1204273.6246
4 | 2673403.3753 | 1204134.9883 | 2673423.105 | 1204140.4786 | 2673472.2029 | 1204155.9029 | 2673494.9955 | 1204164.7443 | 2673504.8227 | 1204169.804
5 | 2673537.637 | 1204263.1402 | 2673553.6007 | 1204271.1758 | 2673559.583 | 1204273.6246
6 | 2673504.8227 | 1204169.804 | 2673514.5083 | 1204174.7909
7 | 2673537.637 | 1204263.1402 | 2673533.6763 | 1204261.1465 | 2673516.7287 | 1204253.4296
8 | 2673524.4047 | 1204179.8862 | 2673514.5083 | 1204174.7909
9 | 2673513.4293 | 1204251.8887 | 2673505.8262 | 1204248.081
10 | 2673513.4293 | 1204251.8887 | 2673514.2774 | 1204252.3134 | 2673516.7287 | 1204253.4296
11 | 2673505.8262 | 1204248.081 | 2673495.1998 | 1204242.7592
12 | 2673481.0688 | 1204235.6822 | 2673495.1998 | 1204242.7592
13 | 2673556.05 | 1204195.5576 | 2673547.9819 | 1204192.4357 | 2673543.5259 | 1204190.0542
14 | 2673556.05 | 1204195.5576 | 2673559.5106 | 1204196.8967
15 | 2673534.2975 | 1204185.122 | 2673543.5259 | 1204190.0542
16 | 2673576.0514 | 1204203.1764 | 2673574.8105 | 1204202.8169 | 2673559.5106 | 1204196.8967
17 | 2673534.2975 | 1204185.122 | 2673527.0293 | 1204181.2375 | 2673524.4047 | 1204179.8862
18 | 2673576.0514 | 1204203.1764 | 2673577.921 | 1204203.718
19 | 2673579.6035 | 1204120.3172 | 2673596.893 | 1204130.667
20 | 2673579.6035 | 1204120.3172 | 2673579.4651 | 1204120.2343
21 | 2673605.8997 | 1204136.0586 | 2673596.893 | 1204130.667
22 | 2673579.4651 | 1204120.2343 | 2673570.4583 | 1204114.8379
23 | 2673598.7841 | 1204209.7615 | 2673577.921 | 1204203.718
24 | 2673600.6511 | 1204210.3023 | 2673598.7841 | 1204209.7615
25 | 2673605.8997 | 1204136.0586 | 2673608.3208 | 1204137.5083
26 | 2673600.6511 | 1204210.3023 | 2673622.0018 | 1204145.7004
27 | 2673608.3208 | 1204137.5083 | 2673622.0018 | 1204145.7004

## bus_geodata
| x | y | coords
0 | 2673486.4077 | 1204204.9927
1 | 2673504.7 | 1204208.3128
2 | 2673572.035 | 1204273.6932
3 | 2673403.3753 | 1204134.9883
4 | 2673559.583 | 1204273.6246
5 | 2673504.8227 | 1204169.804
6 | 2673537.637 | 1204263.1402
7 | 2673514.5083 | 1204174.7909
8 | 2673513.4293 | 1204251.8887
9 | 2673505.8262 | 1204248.081
10 | 2673516.7287 | 1204253.4296
11 | 2673495.1998 | 1204242.7592
12 | 2673481.0688 | 1204235.6822
13 | 2673556.05 | 1204195.5576
14 | 2673543.5259 | 1204190.0542
15 | 2673559.5106 | 1204196.8967
16 | 2673534.2975 | 1204185.122
17 | 2673576.0514 | 1204203.1764
18 | 2673524.4047 | 1204179.8862
19 | 2673579.6035 | 1204120.3172
20 | 2673596.893 | 1204130.667
21 | 2673579.4651 | 1204120.2343
22 | 2673570.4583 | 1204114.8379
23 | 2673577.921 | 1204203.718
24 | 2673598.7841 | 1204209.7615
25 | 2673605.8997 | 1204136.0586
26 | 2673600.6511 | 1204210.3023
27 | 2673608.3208 | 1204137.5083
28 | 2673622.0018 | 1204145.7004
29 | 2673621.7919 | 1204216.4264

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98201 | -0.12502 | 0.0088926 | 0.0022287
1 | 0.98226 | -0.1232 | 0 | 0
2 | 0.97535 | -0.1723 | 0 | 0
3 | 0.99337 | -0.045548 | 0 | 0
4 | 0.97438 | -0.17926 | 0.0072317 | 0.0018124
5 | 0.99788 | -0.014511 | 0.0044615 | 0.0011182
6 | 0.97291 | -0.18983 | 0.0071654 | 0.0017958
7 | 0.99838 | -0.011136 | 0.0035934 | 0.00090059
8 | 0.97159 | -0.19926 | 0.0083231 | 0.002086
9 | 0.97133 | -0.2012 | 0.0033057 | 0.00082848
10 | 0.97175 | -0.19811 | 0.0042066 | 0.0010543
11 | 0.97101 | -0.20349 | 0.0088731 | 0.0022238
12 | 0.97079 | -0.20505 | 0.0093405 | 0.0023409
13 | 0.9993 | -0.0048667 | 0.0018782 | 0.00047072
14 | 1 | 0 | -0.10904 | -0.027337
15 | 0.99912 | -0.006116 | 0.0032441 | 0.00081305
16 | 0.99946 | -0.0037152 | 0.0036315 | 0.00091014
17 | 0.99835 | -0.011505 | 0.0019741 | 0.00049476
18 | 0.99891 | -0.0074905 | 0.0020264 | 0.00050786
19 | 0.99494 | -0.035484 | 0.003866 | 0.0009689
20 | 0.99516 | -0.033913 | 0.003866 | 0.00096892
21 | 0.99494 | -0.03549 | 0 | 0
22 | 0.99488 | -0.0359 | 0.003866 | 0.0009689
23 | 0.99828 | -0.01206 | 0.0042679 | 0.0010696
24 | 0.99752 | -0.017326 | 0.0021168 | 0.00053053
25 | 0.99534 | -0.032686 | 0 | 0
26 | 0.99746 | -0.017757 | 0.0041796 | 0.0010475
27 | 0.99538 | -0.032356 | 0.0031418 | 0.00078741
28 | 0.99572 | -0.029989 | 0.0031418 | 0.00078741
29 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0088926 | -0.0022287 | 0.0088949 | 0.0022293 | 2.2358e-06 | 6.1021e-07 | 0.013475 | 0.013475 | 0.013475 | 0.98201 | -0.12502 | 0.98226 | -0.1232 | 4.9907
1 | 0.048945 | 0.012331 | -0.048611 | -0.012204 | 0.00033387 | 0.00012719 | 0.074169 | 0.07417 | 0.07417 | 0.98226 | -0.1232 | 0.97535 | -0.1723 | 27.4702
2 | -0.05784 | -0.01456 | 0.058474 | 0.014803 | 0.00063434 | 0.00024228 | 0.087644 | 0.087643 | 0.087644 | 0.98226 | -0.1232 | 0.99337 | -0.045548 | 32.4607
3 | 0.048611 | 0.012204 | -0.048564 | -0.012186 | 4.6988e-05 | 1.7902e-05 | 0.07417 | 0.07417 | 0.07417 | 0.97535 | -0.1723 | 0.97438 | -0.17926 | 27.4702
4 | -0.058474 | -0.014803 | 0.058732 | 0.014899 | 0.00025749 | 9.6242e-05 | 0.087643 | 0.087642 | 0.087643 | 0.99337 | -0.045548 | 0.99788 | -0.014511 | 16.2302
5 | 0.041332 | 0.010374 | -0.041272 | -0.010351 | 6.0514e-05 | 2.2972e-05 | 0.063126 | 0.063126 | 0.063126 | 0.97438 | -0.17926 | 0.97291 | -0.18983 | 23.38
6 | -0.063193 | -0.016017 | 0.063223 | 0.016028 | 3.0222e-05 | 1.1339e-05 | 0.094295 | 0.094295 | 0.094295 | 0.99788 | -0.014511 | 0.99838 | -0.011136 | 17.4621
7 | 0.034106 | 0.0085548 | -0.034067 | -0.00854 | 3.9152e-05 | 1.4773e-05 | 0.052167 | 0.052167 | 0.052167 | 0.97291 | -0.18983 | 0.97175 | -0.19811 | 19.321
8 | -0.066817 | -0.016929 | 0.066851 | 0.016942 | 3.4487e-05 | 1.2973e-05 | 0.099651 | 0.099651 | 0.099651 | 0.99838 | -0.011136 | 0.99891 | -0.0074905 | 18.4538
9 | 0.021533 | 0.005398 | -0.021527 | -0.0053959 | 5.7708e-06 | 2.1143e-06 | 0.032978 | 0.032979 | 0.032979 | 0.97159 | -0.19926 | 0.97133 | -0.2012 | 12.2143
10 | -0.029856 | -0.007484 | 0.029861 | 0.0074858 | 4.7514e-06 | 1.7824e-06 | 0.045725 | 0.045725 | 0.045725 | 0.97159 | -0.19926 | 0.97175 | -0.19811 | 16.9354
11 | 0.018221 | 0.0045674 | -0.018216 | -0.0045653 | 5.7786e-06 | 2.0755e-06 | 0.027914 | 0.027914 | 0.027914 | 0.97133 | -0.2012 | 0.97101 | -0.20349 | 10.3387
12 | 0.0093425 | 0.0023415 | -0.0093405 | -0.0023409 | 2.0214e-06 | 5.8202e-07 | 0.014317 | 0.014317 | 0.014317 | 0.97101 | -0.20349 | 0.97079 | -0.20505 | 5.3026
13 | -0.035632 | -0.0089399 | 0.035656 | 0.0089489 | 2.4075e-05 | 9.0799e-06 | 0.053061 | 0.053061 | 0.053061 | 0.9993 | -0.0048667 | 1 | 0 | 19.6522
14 | 0.033754 | 0.0084692 | -0.033748 | -0.008467 | 5.85e-06 | 2.2014e-06 | 0.050264 | 0.050264 | 0.050264 | 0.9993 | -0.0048667 | 0.99912 | -0.006116 | 18.6164
15 | 0.072584 | 0.018388 | -0.072546 | -0.018374 | 3.8133e-05 | 1.4392e-05 | 0.10808 | 0.10808 | 0.10808 | 1 | 0 | 0.99946 | -0.0037152 | 20.014
16 | 0.030504 | 0.0076539 | -0.030481 | -0.0076454 | 2.2795e-05 | 8.5356e-06 | 0.045433 | 0.045433 | 0.045433 | 0.99912 | -0.006116 | 0.99835 | -0.011505 | 16.827
17 | 0.068914 | 0.017464 | -0.068878 | -0.01745 | 3.6812e-05 | 1.3865e-05 | 0.10267 | 0.10267 | 0.10267 | 0.99946 | -0.0037152 | 0.99891 | -0.0074905 | 19.0128
18 | 0.028507 | 0.0071506 | -0.028505 | -0.0071498 | 2.1929e-06 | 8.1797e-07 | 0.042491 | 0.042491 | 0.042491 | 0.99835 | -0.011505 | 0.99828 | -0.01206 | 15.7372
19 | -0.0077321 | -0.0019377 | 0.0077338 | 0.0019381 | 1.6815e-06 | 3.8496e-07 | 0.011564 | 0.011564 | 0.011564 | 0.99494 | -0.035484 | 0.99516 | -0.033913 | 4.283
20 | 0.0038662 | 0.00096885 | -0.0038662 | -0.00096885 | 3.3666e-09 | -8.0063e-10 | 0.0057822 | 0.0057822 | 0.0057822 | 0.99494 | -0.035484 | 0.99494 | -0.03549 | 2.1415
21 | -0.0116 | -0.002907 | 0.011602 | 0.0029077 | 1.9705e-06 | 6.2149e-07 | 0.017345 | 0.017345 | 0.017345 | 0.99516 | -0.033913 | 0.99534 | -0.032686 | 6.4239
22 | 0.0038662 | 0.00096885 | -0.003866 | -0.0009689 | 2.1905e-07 | -5.2099e-08 | 0.0057822 | 0.0057822 | 0.0057822 | 0.99494 | -0.03549 | 0.99488 | -0.0359 | 2.1416
23 | 0.024237 | 0.0060801 | -0.024219 | -0.0060736 | 1.7692e-05 | 6.5207e-06 | 0.036129 | 0.036129 | 0.036129 | 0.99828 | -0.01206 | 0.99752 | -0.017326 | 13.3811
24 | 0.022102 | 0.0055431 | -0.022101 | -0.0055426 | 1.3185e-06 | 4.8176e-07 | 0.032971 | 0.032971 | 0.032971 | 0.99752 | -0.017326 | 0.99746 | -0.017757 | 12.2116
25 | -0.011602 | -0.0029077 | 0.011602 | 0.0029078 | 5.2972e-07 | 1.6706e-07 | 0.017345 | 0.017345 | 0.017345 | 0.99534 | -0.032686 | 0.99538 | -0.032356 | 6.4239
26 | 0.017921 | 0.0044951 | -0.017891 | -0.0044843 | 3.0349e-05 | 1.0786e-05 | 0.026736 | 0.026736 | 0.026736 | 0.99746 | -0.017757 | 0.99572 | -0.029989 | 9.9024
27 | -0.014744 | -0.0036952 | 0.014749 | 0.0036969 | 4.8341e-06 | 1.6519e-06 | 0.022041 | 0.022041 | 0.022041 | 0.99538 | -0.032356 | 0.99572 | -0.029989 | 8.1634

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.11166 | 0.027994

## res_load
| p_mw | q_mvar
0 | 0.0088926 | 0.0022287
1 | 0.0072317 | 0.0018124
2 | 0.0044615 | 0.0011182
3 | 0.0071654 | 0.0017958
4 | 0.0035934 | 0.00090059
5 | 0.0083231 | 0.002086
6 | 0.0033057 | 0.00082848
7 | 0.0042066 | 0.0010543
8 | 0.0088731 | 0.0022238
9 | 0.0093405 | 0.0023409
10 | 0.0018782 | 0.00047072
11 | 0.0026188 | 0.00065633
12 | 0.0032441 | 0.00081305
13 | 0.0036315 | 0.00091014
14 | 0.0019741 | 0.00049476
15 | 0.0020264 | 0.00050786
16 | 0.003866 | 0.0009689
17 | 0.003866 | 0.00096892
18 | 0.003866 | 0.0009689
19 | 0.0042679 | 0.0010696
20 | 0.0021168 | 0.00053053
21 | 0.0041796 | 0.0010475
22 | 0.0031418 | 0.00078741
23 | 0.0031418 | 0.00078741

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1