## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1506-10_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1506-10_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1506-10_0_2_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1506-10_0_2_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1506-10_0_2_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1506-10_0_2_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1506-10_0_2_node_10 | 0.4 | n |  | TRUE
7 | bus_LV_1506-10_0_2_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1506-10_0_2_node_42 | 0.4 | n |  | TRUE
9 | bus_LV_1506-10_0_2_node_45 | 0.4 | n |  | TRUE
10 | bus_LV_1506-10_0_2_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1506-10_0_2_node_41 | 0.4 | n |  | TRUE
12 | bus_LV_1506-10_0_2_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1506-10_0_2_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_1506-10_0_2_node_20 | 0.4 | n |  | TRUE
15 | bus_LV_1506-10_0_2_node_44 | 0.4 | n |  | TRUE
16 | bus_LV_1506-10_0_2_node_11 | 0.4 | n |  | TRUE
17 | bus_LV_1506-10_0_2_node_12 | 0.4 | n |  | TRUE
18 | bus_LV_1506-10_0_2_node_13 | 0.4 | n |  | TRUE
19 | bus_LV_1506-10_0_2_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_1506-10_0_2_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_1506-10_0_2_node_30 | 0.4 | n |  | TRUE
22 | bus_LV_1506-10_0_2_node_28 | 0.4 | n |  | TRUE
23 | bus_LV_1506-10_0_2_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_1506-10_0_2_node_25 | 0.4 | n |  | TRUE
25 | bus_LV_1506-10_0_2_node_51 | 0.4 | n |  | TRUE
26 | bus_LV_1506-10_0_2_node_46 | 0.4 | n |  | TRUE
27 | bus_LV_1506-10_0_2_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_1506-10_0_2_node_21 | 0.4 | n |  | TRUE
29 | bus_LV_1506-10_0_2_node_48 | 0.4 | n |  | TRUE
30 | bus_LV_1506-10_0_2_node_50 | 0.4 | n |  | TRUE
31 | bus_LV_1506-10_0_2_node_14 | 0.4 | n |  | TRUE
32 | bus_LV_1506-10_0_2_node_15 | 0.4 | n |  | TRUE
33 | bus_LV_1506-10_0_2_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_1506-10_0_2_node_33 | 0.4 | n |  | TRUE
35 | bus_LV_1506-10_0_2_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1506-10_0_2_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1506-10_0_2_node_34 | 0.4 | n |  | TRUE
38 | bus_LV_1506-10_0_2_node_27 | 0.4 | n |  | TRUE
39 | bus_LV_1506-10_0_2_node_29 | 0.4 | n |  | TRUE
40 | bus_LV_1506-10_0_2_node_39 | 0.4 | n |  | TRUE
41 | bus_LV_1506-10_0_2_node_37 | 0.4 | n |  | TRUE
42 | bus_LV_1506-10_0_2_node_43 | 0.4 | n |  | TRUE
43 | bus_LV_1506-10_0_2_node_36 | 0.4 | n |  | TRUE
44 | bus_LV_1506-10_0_2_node_38 | 0.4 | n |  | TRUE
45 | bus_LV_1506-10_0_2_node_40 | 0.4 | n |  | TRUE
46 | bus_MV_143_0_node_0 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1506-10_0_2_load_0 | 0 | 0.0062687 | 0.0015711 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1506-10_0_2_load_1 | 1 | 0.0015356 | 0.00038485 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1506-10_0_2_load_2 | 2 | 0.0066597 | 0.0016691 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1506-10_0_2_load_3 | 3 | 0.0017819 | 0.00044659 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1506-10_0_2_load_5 | 5 | 0.0024721 | 0.00061957 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1506-10_0_2_load_10 | 6 | 0.0039674 | 0.00099432 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1506-10_0_2_load_6 | 7 | 0.0019189 | 0.00048092 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1506-10_0_2_load_42 | 8 | 0.00096455 | 0.00024174 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1506-10_0_2_load_45 | 9 | 0.0018497 | 0.00046358 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1506-10_0_2_load_41 | 11 | 0.0030426 | 0.00076254 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1506-10_0_2_load_8 | 12 | 0.0014635 | 0.00036678 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1506-10_0_2_load_19 | 13 | 0.0044292 | 0.0011101 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1506-10_0_2_load_20 | 14 | 0.002548 | 0.00063859 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1506-10_0_2_load_44 | 15 | 0.0023991 | 0.00060126 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1506-10_0_2_load_12 | 17 | 0.014537 | 0.0036433 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1506-10_0_2_load_13 | 18 | 0.0023483 | 0.00058854 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1506-10_0_2_load_23 | 19 | 0.0037543 | 0.0009409 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1506-10_0_2_load_24 | 20 | 0.0037009 | 0.00092754 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1506-10_0_2_load_30 | 21 | 0.0097471 | 0.0024429 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1506-10_0_2_load_28 | 22 | 0.015421 | 0.003865 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1506-10_0_2_load_26 | 23 | 0.002985 | 0.00074812 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1506-10_0_2_load_51 | 25 | 0.0046469 | 0.0011646 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1506-10_0_2_load_46 | 26 | 0.0027087 | 0.00067887 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1506-10_0_2_load_21 | 28 | 0.0010896 | 0.00027309 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1506-10_0_2_load_48 | 29 | 0.0021368 | 0.00053554 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1506-10_0_2_load_50 | 30 | 0.00077585 | 0.00019445 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1506-10_0_2_load_14 | 31 | 0.00077359 | 0.00019388 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1506-10_0_2_load_15 | 32 | 0.0015386 | 0.00038561 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1506-10_0_2_load_35 | 33 | 0.0032125 | 0.00080513 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1506-10_0_2_load_33 | 34 | 0.0005974 | 0.00014972 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1506-10_0_2_load_31 | 35 | 0.00055759 | 0.00013974 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1506-10_0_2_load_32 | 36 | 0.0023452 | 0.00058775 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1506-10_0_2_load_27 | 38 | 0.0048558 | 0.001217 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1506-10_0_2_load_29 | 39 | 0.0049191 | 0.0012329 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1506-10_0_2_load_39 | 40 | 0.0010031 | 0.00025139 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1506-10_0_2_load_37 | 41 | 0.005148 | 0.0012902 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1506-10_0_2_load_43 | 42 | 0.0020592 | 0.0005161 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1506-10_0_2_load_36 | 43 | 0.002836 | 0.00071076 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1506-10_0_2_load_40 | 45 | 0.0029842 | 0.00074792 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1506-10_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.063433 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1506-10_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.014984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1506-10_0_2_line_2 | NAYY 4x150 SE | 1 | 3 | 0.035434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1506-10_0_2_line_3 | NAYY 4x150 SE | 2 | 4 | 0.022884 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1506-10_0_2_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0023172 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1506-10_0_2_line_5 | NAYY 4x150 SE | 4 | 6 | 0.03657 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1506-10_0_2_line_6 | NAYY 4x150 SE | 4 | 7 | 0.0091514 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1506-10_0_2_line_7 | NAYY 4x150 SE | 5 | 8 | 0.0040829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1506-10_0_2_line_8 | NAYY 4x150 SE | 6 | 9 | 0.022646 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1506-10_0_2_line_9 | NAYY 4x150 SE | 7 | 10 | 0.041824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1506-10_0_2_line_10 | NAYY 4x150 SE | 8 | 11 | 0.012032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1506-10_0_2_line_11 | NAYY 4x150 SE | 9 | 15 | 0.024257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1506-10_0_2_line_12 | NAYY 4x150 SE | 10 | 12 | 0.032036 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1506-10_0_2_line_13 | NAYY 4x150 SE | 10 | 13 | 0.13553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1506-10_0_2_line_14 | NAYY 4x150 SE | 11 | 42 | 0.0002421 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1506-10_0_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.029204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1506-10_0_2_line_16 | NAYY 4x150 SE | 15 | 21 | 0.0027331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1506-10_0_2_line_17 | NAYY 4x150 SE | 15 | 16 | 0.12257 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1506-10_0_2_line_18 | NAYY 4x150 SE | 16 | 17 | 0.033313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1506-10_0_2_line_19 | NAYY 4x150 SE | 16 | 18 | 0.021577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1506-10_0_2_line_20 | NAYY 4x150 SE | 17 | 19 | 0.00036698 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1506-10_0_2_line_21 | NAYY 4x150 SE | 18 | 20 | 0.15084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1506-10_0_2_line_22 | NAYY 4x150 SE | 20 | 24 | 0.017008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1506-10_0_2_line_23 | NAYY 4x150 SE | 21 | 22 | 0.0013319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1506-10_0_2_line_24 | NAYY 4x150 SE | 22 | 23 | 0.059585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1506-10_0_2_line_25 | NAYY 4x150 SE | 23 | 38 | 0.013603 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1506-10_0_2_line_26 | NAYY 4x150 SE | 24 | 25 | 0.033434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1506-10_0_2_line_27 | NAYY 4x150 SE | 25 | 30 | 0.017568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1506-10_0_2_line_28 | NAYY 4x150 SE | 26 | 27 | 0.01784 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1506-10_0_2_line_29 | NAYY 4x150 SE | 26 | 28 | 0.30829 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1506-10_0_2_line_30 | NAYY 4x150 SE | 27 | 29 | 0.0256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1506-10_0_2_line_31 | NAYY 4x150 SE | 29 | 30 | 0.015302 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1506-10_0_2_line_32 | NAYY 4x150 SE | 31 | 32 | 0.028091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1506-10_0_2_line_33 | NAYY 4x150 SE | 31 | 33 | 0.13157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1506-10_0_2_line_34 | NAYY 4x150 SE | 33 | 34 | 0.013945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1506-10_0_2_line_35 | NAYY 4x150 SE | 34 | 35 | 0.0085622 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1506-10_0_2_line_36 | NAYY 4x150 SE | 35 | 36 | 0.022287 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1506-10_0_2_line_37 | NAYY 4x150 SE | 36 | 37 | 0.059033 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1506-10_0_2_line_38 | NAYY 4x150 SE | 37 | 42 | 0.21059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1506-10_0_2_line_39 | NAYY 4x150 SE | 38 | 39 | 0.0015035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1506-10_0_2_line_40 | NAYY 4x150 SE | 39 | 40 | 0.01048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1506-10_0_2_line_41 | NAYY 4x150 SE | 40 | 41 | 0.0082361 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1506-10_0_2_line_42 | NAYY 4x150 SE | 41 | 43 | 0.0029223 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1506-10_0_2_line_43 | NAYY 4x150 SE | 43 | 44 | 0.030773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1506-10_0_2_line_44 | NAYY 4x150 SE | 44 | 45 | 0.012819 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1506-10_0_2_trafo_28 | 0.25 MVA 20/0.4 kV | 46 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2668142.9725 | 1201381.7612 | 2668181.697 | 1201426.0291 | 2668184.6114 | 1201429.6106
1 | 2668142.9725 | 1201381.7612 | 2668133.1067 | 1201370.4832
2 | 2668184.6114 | 1201429.6106 | 2668206.9768 | 1201457.0949
3 | 2668118.0399 | 1201353.2595 | 2668133.1067 | 1201370.4832
4 | 2668206.9768 | 1201457.0949 | 2668208.4393 | 1201458.8922
5 | 2668118.0399 | 1201353.2595 | 2668104.184 | 1201371.4903 | 2668097.0371 | 1201383.1444
6 | 2668118.0399 | 1201353.2595 | 2668123.014 | 1201345.5779
7 | 2668211.0164 | 1201462.059 | 2668208.4393 | 1201458.8922
8 | 2668085.6577 | 1201402.7181 | 2668091.7666 | 1201391.7389 | 2668097.0371 | 1201383.1444
9 | 2668142.2588 | 1201308.7309 | 2668136.2562 | 1201325.1279 | 2668123.014 | 1201345.5779
10 | 2668218.6109 | 1201471.3918 | 2668211.0164 | 1201462.059
11 | 2668085.6577 | 1201402.7181 | 2668073.8636 | 1201423.915
12 | 2668142.2588 | 1201308.7309 | 2668112.2618 | 1201319.9764
13 | 2668142.2588 | 1201308.7309 | 2668276.5601 | 1201326.9085
14 | 2668218.7637 | 1201471.5796 | 2668218.6109 | 1201471.3918
15 | 2668276.5601 | 1201326.9085 | 2668277.0516 | 1201324.6342 | 2668286.0759 | 1201307.616 | 2668286.6814 | 1201300.026
16 | 2668072.5347 | 1201426.3033 | 2668073.8636 | 1201423.915
17 | 2668073.8636 | 1201423.915 | 2667968.2798 | 1201361.6708
18 | 2667968.2798 | 1201361.6708 | 2667957.1377 | 1201336.1065 | 2667953.448 | 1201332.1286
19 | 2667968.2798 | 1201361.6708 | 2667958.0238 | 1201380.6545
20 | 2667953.1984 | 1201331.8595 | 2667953.448 | 1201332.1286
21 | 2667958.0238 | 1201380.6545 | 2667855.153 | 1201490.9762
22 | 2667844.0458 | 1201503.8562 | 2667855.153 | 1201490.9762
23 | 2668072.5347 | 1201426.3033 | 2668071.8871 | 1201427.4672
24 | 2668050.5477 | 1201482.2637 | 2668051.7704 | 1201471.5759 | 2668056.4003 | 1201454.7074 | 2668067.2337 | 1201435.8305 | 2668071.8871 | 1201427.4672
25 | 2668050.5477 | 1201482.2637 | 2668049.0016 | 1201495.7786
26 | 2667844.0458 | 1201503.8562 | 2667825.7354 | 1201489.4842 | 2667818.6252 | 1201482.2308
27 | 2667810.1766 | 1201467.512 | 2667812.3117 | 1201475.7903 | 2667818.6252 | 1201482.2308
28 | 2667814.4131 | 1201427.4628 | 2667804.0335 | 1201430.5691 | 2667799.2108 | 1201435.6508
29 | 2667799.2108 | 1201435.6508 | 2667625.4579 | 1201180.9933
30 | 2667814.4131 | 1201427.4628 | 2667809.551 | 1201452.5969
31 | 2667810.1766 | 1201467.512 | 2667808.1705 | 1201459.7336 | 2667809.551 | 1201452.5969
32 | 2668553.8886 | 1201628.0692 | 2668553.2433 | 1201626.2999 | 2668551.6021 | 1201614.7741 | 2668551.5879 | 1201600.2082
33 | 2668553.8886 | 1201628.0692 | 2668423.965 | 1201648.7896
34 | 2668410.0702 | 1201649.3045 | 2668421.3709 | 1201648.4689 | 2668423.965 | 1201648.7896
35 | 2668401.9551 | 1201651.8662 | 2668408.4813 | 1201649.4219 | 2668410.0702 | 1201649.3045
36 | 2668401.9551 | 1201651.8662 | 2668391.3429 | 1201655.8408 | 2668380.3939 | 1201655.4879
37 | 2668321.3977 | 1201655.4628 | 2668327.6302 | 1201654.9115 | 2668342.9243 | 1201654.6751 | 2668356.928 | 1201654.802 | 2668372.6179 | 1201655.2373 | 2668380.3939 | 1201655.4879
38 | 2668218.7637 | 1201471.5796 | 2668321.3977 | 1201655.4628
39 | 2668049.0016 | 1201495.7786 | 2668048.8307 | 1201497.2723
40 | 2668047.6395 | 1201507.6839 | 2668048.8307 | 1201497.2723
41 | 2668047.2062 | 1201515.9055 | 2668047.4845 | 1201509.0386 | 2668047.6395 | 1201507.6839
42 | 2668047.0879 | 1201518.8255 | 2668047.2062 | 1201515.9055
43 | 2668041.6024 | 1201548.9846 | 2668046.7328 | 1201527.5857 | 2668047.0879 | 1201518.8255
44 | 2668041.6024 | 1201548.9846 | 2668054.3779 | 1201550.0418

## bus_geodata
| x | y | coords
0 | 2668142.9725 | 1201381.7612
1 | 2668184.6114 | 1201429.6106
2 | 2668133.1067 | 1201370.4832
3 | 2668206.9768 | 1201457.0949
4 | 2668118.0399 | 1201353.2595
5 | 2668208.4393 | 1201458.8922
6 | 2668097.0371 | 1201383.1444
7 | 2668123.014 | 1201345.5779
8 | 2668211.0164 | 1201462.059
9 | 2668085.6577 | 1201402.7181
10 | 2668142.2588 | 1201308.7309
11 | 2668218.6109 | 1201471.3918
12 | 2668112.2618 | 1201319.9764
13 | 2668276.5601 | 1201326.9085
14 | 2668286.6814 | 1201300.026
15 | 2668073.8636 | 1201423.915
16 | 2667968.2798 | 1201361.6708
17 | 2667953.448 | 1201332.1286
18 | 2667958.0238 | 1201380.6545
19 | 2667953.1984 | 1201331.8595
20 | 2667855.153 | 1201490.9762
21 | 2668072.5347 | 1201426.3033
22 | 2668071.8871 | 1201427.4672
23 | 2668050.5477 | 1201482.2637
24 | 2667844.0458 | 1201503.8562
25 | 2667818.6252 | 1201482.2308
26 | 2667799.2108 | 1201435.6508
27 | 2667814.4131 | 1201427.4628
28 | 2667625.4579 | 1201180.9933
29 | 2667809.551 | 1201452.5969
30 | 2667810.1766 | 1201467.512
31 | 2668553.8886 | 1201628.0692
32 | 2668551.5879 | 1201600.2082
33 | 2668423.965 | 1201648.7896
34 | 2668410.0702 | 1201649.3045
35 | 2668401.9551 | 1201651.8662
36 | 2668380.3939 | 1201655.4879
37 | 2668321.3977 | 1201655.4628
38 | 2668049.0016 | 1201495.7786
39 | 2668048.8307 | 1201497.2723
40 | 2668047.6395 | 1201507.6839
41 | 2668047.2062 | 1201515.9055
42 | 2668218.7637 | 1201471.5796
43 | 2668047.0879 | 1201518.8255
44 | 2668041.6024 | 1201548.9846
45 | 2668054.3779 | 1201550.0418
46 | 2668118.0399 | 1201353.2595

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99213 | -0.055122 | 0.0062687 | 0.0015711
1 | 0.99021 | -0.068612 | 0.0015356 | 0.00038485
2 | 0.99271 | -0.050991 | 0.0066597 | 0.0016691
3 | 0.98922 | -0.075614 | 0.0017819 | 0.00044659
4 | 0.99383 | -0.043151 | 0 | 0
5 | 0.98917 | -0.07603 | 0.0024721 | 0.00061957
6 | 0.99615 | -0.026836 | 0.0039674 | 0.00099432
7 | 0.99369 | -0.044111 | 0.0019189 | 0.00048092
8 | 0.98908 | -0.076661 | 0.00096455 | 0.00024174
9 | 0.99772 | -0.015869 | 0.0018497 | 0.00046358
10 | 0.99318 | -0.04769 | 0 | 0
11 | 0.98883 | -0.078401 | 0.0030426 | 0.00076254
12 | 0.99312 | -0.048165 | 0.0014635 | 0.00036678
13 | 0.99183 | -0.057283 | 0.0044292 | 0.0011101
14 | 0.99172 | -0.058039 | 0.002548 | 0.00063859
15 | 0.99947 | -0.0037118 | 0.0023991 | 0.00060126
16 | 0.99317 | -0.047786 | 0 | 0
17 | 0.9923 | -0.053958 | 0.014537 | 0.0036433
18 | 0.99263 | -0.051601 | 0.0023483 | 0.00058854
19 | 0.99229 | -0.053971 | 0.0037543 | 0.0009409
20 | 0.98936 | -0.07476 | 0.0037009 | 0.00092754
21 | 0.99981 | -0.0013029 | 0.0097471 | 0.0024429
22 | 1 | 0 | -0.12421 | -0.031017
23 | 0.99789 | -0.014745 | 0.002985 | 0.00074812
24 | 0.98908 | -0.076738 | 0 | 0
25 | 0.98853 | -0.080627 | 0.0046469 | 0.0011646
26 | 0.98799 | -0.084472 | 0.0027087 | 0.00067887
27 | 0.98809 | -0.083774 | 0 | 0
28 | 0.98751 | -0.087955 | 0.0010896 | 0.00027309
29 | 0.98823 | -0.082771 | 0.0021368 | 0.00053554
30 | 0.98836 | -0.081838 | 0.00077585 | 0.00019445
31 | 0.98446 | -0.10946 | 0.00077359 | 0.00019388
32 | 0.9844 | -0.1099 | 0.0015386 | 0.00038561
33 | 0.9849 | -0.10631 | 0.0032125 | 0.00080513
34 | 0.98502 | -0.10552 | 0.0005974 | 0.00014972
35 | 0.98509 | -0.10498 | 0.00055759 | 0.00013974
36 | 0.98531 | -0.10344 | 0.0023452 | 0.00058775
37 | 0.98608 | -0.097957 | 0 | 0
38 | 0.99747 | -0.017712 | 0.0048558 | 0.001217
39 | 0.99743 | -0.017966 | 0.0049191 | 0.0012329
40 | 0.99726 | -0.019226 | 0.0010031 | 0.00025139
41 | 0.99713 | -0.020133 | 0.005148 | 0.0012902
42 | 0.98883 | -0.078428 | 0.0020592 | 0.0005161
43 | 0.9971 | -0.020304 | 0.002836 | 0.00071076
44 | 0.99697 | -0.021227 | 0 | 0
45 | 0.99692 | -0.021611 | 0.0029842 | 0.00074792
46 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.020979 | 0.0052636 | -0.02094 | -0.0052493 | 3.9195e-05 | 1.4257e-05 | 0.031468 | 0.031468 | 0.031468 | 0.99213 | -0.055122 | 0.99021 | -0.068612 | 11.6547
1 | -0.027248 | -0.0068347 | 0.027264 | 0.0068405 | 1.5618e-05 | 5.8131e-06 | 0.040869 | 0.040869 | 0.040869 | 0.99213 | -0.055122 | 0.99271 | -0.050991 | 15.1368
2 | 0.019405 | 0.0048645 | -0.019386 | -0.0048577 | 1.8802e-05 | 6.776e-06 | 0.02916 | 0.02916 | 0.02916 | 0.99021 | -0.068612 | 0.98922 | -0.075614 | 10.8002
3 | -0.033923 | -0.0085096 | 0.03396 | 0.0085235 | 3.6925e-05 | 1.3906e-05 | 0.050852 | 0.050852 | 0.050852 | 0.99271 | -0.050991 | 0.99383 | -0.043151 | 18.834
4 | 0.017604 | 0.0044111 | -0.017603 | -0.0044108 | 1.0139e-06 | 3.602e-07 | 0.02648 | 0.02648 | 0.02648 | 0.98922 | -0.075614 | 0.98917 | -0.07603 | 9.8074
5 | -0.044335 | -0.011122 | 0.044436 | 0.011161 | 0.00010056 | 3.8204e-05 | 0.066385 | 0.066385 | 0.066385 | 0.99383 | -0.043151 | 0.99615 | -0.026836 | 24.587
6 | 0.010375 | 0.002599 | -0.010373 | -0.0025986 | 1.3778e-06 | 4.1137e-07 | 0.015533 | 0.015533 | 0.015533 | 0.99383 | -0.043151 | 0.99369 | -0.044111 | 5.7531
7 | 0.015131 | 0.0037912 | -0.01513 | -0.0037907 | 1.3199e-06 | 4.5525e-07 | 0.022761 | 0.022761 | 0.022761 | 0.98917 | -0.07603 | 0.98908 | -0.076661 | 8.4301
8 | -0.048403 | -0.012155 | 0.048477 | 0.012183 | 7.389e-05 | 2.8124e-05 | 0.072311 | 0.072311 | 0.072311 | 0.99615 | -0.026836 | 0.99772 | -0.015869 | 26.7819
9 | 0.0084545 | 0.0021177 | -0.0084503 | -0.0021166 | 4.1828e-06 | 1.0673e-06 | 0.01266 | 0.01266 | 0.01266 | 0.99369 | -0.044111 | 0.99318 | -0.04769 | 4.6889
10 | 0.014165 | 0.003549 | -0.014162 | -0.0035479 | 3.4096e-06 | 1.157e-06 | 0.02131 | 0.02131 | 0.02131 | 0.98908 | -0.076661 | 0.98883 | -0.078401 | 7.8927
11 | -0.050327 | -0.012647 | 0.050412 | 0.012679 | 8.5301e-05 | 3.2491e-05 | 0.07507 | 0.07507 | 0.07507 | 0.99772 | -0.015869 | 0.99947 | -0.0037118 | 27.8036
12 | 0.0014635 | 0.0003664 | -0.0014635 | -0.00036678 | 9.6108e-08 | -3.7758e-07 | 0.0021926 | 0.0021927 | 0.0021927 | 0.99318 | -0.04769 | 0.99312 | -0.048165 | 0.81212
13 | 0.0069867 | 0.0017502 | -0.0069775 | -0.0017484 | 9.2664e-06 | 1.8125e-06 | 0.010467 | 0.010468 | 0.010468 | 0.99318 | -0.04769 | 0.99183 | -0.057283 | 3.877
14 | 0.011119 | 0.0027853 | -0.011119 | -0.0027853 | 4.2292e-08 | 1.316e-08 | 0.016732 | 0.016732 | 0.016732 | 0.98883 | -0.078401 | 0.98883 | -0.078428 | 6.1969
15 | 0.0025483 | 0.00063832 | -0.002548 | -0.00063859 | 2.6635e-07 | -2.7441e-07 | 0.003823 | 0.0038231 | 0.0038231 | 0.99183 | -0.057283 | 0.99172 | -0.058039 | 1.416
16 | -0.088815 | -0.022335 | 0.088845 | 0.022346 | 2.9831e-05 | 1.1438e-05 | 0.13226 | 0.13226 | 0.13226 | 0.99947 | -0.0037118 | 0.99981 | -0.0013029 | 48.9835
17 | 0.036004 | 0.0090546 | -0.035784 | -0.0089716 | 0.00021984 | 8.2959e-05 | 0.053614 | 0.053615 | 0.053615 | 0.99947 | -0.0037118 | 0.99317 | -0.047786 | 19.8573
18 | 0.018307 | 0.0045898 | -0.018291 | -0.0045842 | 1.5639e-05 | 5.5843e-06 | 0.027429 | 0.027429 | 0.027429 | 0.99317 | -0.047786 | 0.9923 | -0.053958 | 10.1589
19 | 0.017477 | 0.0043818 | -0.017468 | -0.0043785 | 9.2323e-06 | 3.2718e-06 | 0.026186 | 0.026186 | 0.026186 | 0.99317 | -0.047786 | 0.99263 | -0.051601 | 9.6985
20 | 0.0037543 | 0.0009409 | -0.0037543 | -0.0009409 | 7.2575e-09 | -1.9491e-09 | 0.0056298 | 0.0056298 | 0.0056298 | 0.9923 | -0.053958 | 0.99229 | -0.053971 | 2.0851
21 | 0.01512 | 0.00379 | -0.015071 | -0.0037733 | 4.8357e-05 | 1.6655e-05 | 0.022666 | 0.022666 | 0.022666 | 0.99263 | -0.051601 | 0.98936 | -0.07476 | 8.3949
22 | 0.01137 | 0.0028458 | -0.011367 | -0.0028448 | 3.1033e-06 | 9.7525e-07 | 0.0171 | 0.0171 | 0.0171 | 0.98936 | -0.07476 | 0.98908 | -0.076738 | 6.3334
23 | -0.098592 | -0.024789 | 0.09861 | 0.024796 | 1.7902e-05 | 6.8677e-06 | 0.14676 | 0.14676 | 0.14676 | 0.99981 | -0.0013029 | 1 | 0 | 54.3563
24 | 0.024796 | 0.0062211 | -0.024745 | -0.0062024 | 5.0623e-05 | 1.869e-05 | 0.036899 | 0.036899 | 0.036899 | 1 | 0 | 0.99789 | -0.014745 | 13.6662
25 | 0.02176 | 0.0054543 | -0.021751 | -0.0054511 | 8.937e-06 | 3.2597e-06 | 0.032448 | 0.032448 | 0.032448 | 0.99789 | -0.014745 | 0.99747 | -0.017712 | 12.0177
26 | 0.011367 | 0.0028448 | -0.011361 | -0.0028429 | 6.1007e-06 | 1.9175e-06 | 0.0171 | 0.0171 | 0.0171 | 0.98908 | -0.076738 | 0.98853 | -0.080627 | 6.3334
27 | 0.0067144 | 0.0016783 | -0.0067132 | -0.0016781 | 1.1195e-06 | 2.0539e-07 | 0.010105 | 0.010106 | 0.010106 | 0.98853 | -0.080627 | 0.98836 | -0.081838 | 3.7428
28 | -0.0037989 | -0.00094822 | 0.0037993 | 0.00094813 | 3.6425e-07 | -8.8391e-08 | 0.0057202 | 0.0057201 | 0.0057202 | 0.98799 | -0.084472 | 0.98809 | -0.083774 | 2.1186
29 | 0.0010902 | 0.00026934 | -0.0010896 | -0.00027309 | 5.1817e-07 | -3.7467e-06 | 0.0016405 | 0.0016419 | 0.0016419 | 0.98799 | -0.084472 | 0.98751 | -0.087955 | 0.60812
30 | -0.0037993 | -0.00094813 | 0.0037998 | 0.000948 | 5.2266e-07 | -1.2692e-07 | 0.0057201 | 0.00572 | 0.0057201 | 0.98809 | -0.083774 | 0.98823 | -0.082771 | 2.1186
31 | -0.0059366 | -0.0014835 | 0.0059374 | 0.0014836 | 7.6271e-07 | 9.7272e-08 | 0.0089375 | 0.0089374 | 0.0089375 | 0.98823 | -0.082771 | 0.98836 | -0.081838 | 3.3102
32 | 0.0015387 | 0.00038529 | -0.0015386 | -0.00038561 | 9.4811e-08 | -3.2069e-07 | 0.0023256 | 0.0023258 | 0.0023258 | 0.98446 | -0.10946 | 0.9844 | -0.1099 | 0.86139
33 | -0.0023123 | -0.00057917 | 0.0023133 | 0.00057788 | 1.0026e-06 | -1.288e-06 | 0.0034949 | 0.0034943 | 0.0034949 | 0.98446 | -0.10946 | 0.9849 | -0.10631 | 1.2944
34 | -0.0055258 | -0.001383 | 0.0055264 | 0.0013831 | 6.064e-07 | 5.5741e-08 | 0.0083479 | 0.0083478 | 0.0083479 | 0.9849 | -0.10631 | 0.98502 | -0.10552 | 3.0918
35 | -0.0061238 | -0.0015328 | 0.0061243 | 0.0015329 | 4.5717e-07 | 6.6837e-08 | 0.0092503 | 0.0092502 | 0.0092503 | 0.98502 | -0.10552 | 0.98509 | -0.10498 | 3.426
36 | -0.0066819 | -0.0016726 | 0.0066833 | 0.0016729 | 1.4165e-06 | 2.6102e-07 | 0.010092 | 0.010092 | 0.010092 | 0.98509 | -0.10498 | 0.98531 | -0.10344 | 3.738
37 | -0.0090285 | -0.0022606 | 0.0090353 | 0.0022625 | 6.8473e-06 | 1.8811e-06 | 0.013634 | 0.013634 | 0.013634 | 0.98531 | -0.10344 | 0.98608 | -0.097957 | 5.0497
38 | -0.0090353 | -0.0022625 | 0.0090597 | 0.0022692 | 2.4424e-05 | 6.7e-06 | 0.013634 | 0.013633 | 0.013634 | 0.98608 | -0.097957 | 0.98883 | -0.078428 | 5.0496
39 | 0.016895 | 0.0042341 | -0.016895 | -0.0042339 | 5.9596e-07 | 2.0959e-07 | 0.025204 | 0.025204 | 0.025204 | 0.99747 | -0.017712 | 0.99743 | -0.017966 | 9.3348
40 | 0.011975 | 0.003001 | -0.011973 | -0.0030004 | 2.0871e-06 | 6.6599e-07 | 0.017865 | 0.017865 | 0.017865 | 0.99743 | -0.017966 | 0.99726 | -0.019226 | 6.6168
41 | 0.01097 | 0.002749 | -0.010969 | -0.0027486 | 1.377e-06 | 4.2217e-07 | 0.016369 | 0.016369 | 0.016369 | 0.99726 | -0.019226 | 0.99713 | -0.020133 | 6.0625
42 | 0.0058209 | 0.0014583 | -0.0058207 | -0.0014583 | 1.3759e-07 | 1.4801e-08 | 0.0086863 | 0.0086863 | 0.0086863 | 0.99713 | -0.020133 | 0.9971 | -0.020304 | 3.2172
43 | 0.0029848 | 0.00074756 | -0.0029844 | -0.00074781 | 3.8097e-07 | -2.548e-07 | 0.0044541 | 0.0044543 | 0.0044543 | 0.9971 | -0.020304 | 0.99697 | -0.021227 | 1.6497
44 | 0.0029844 | 0.00074781 | -0.0029842 | -0.00074792 | 1.5871e-07 | -1.0611e-07 | 0.0044543 | 0.0044543 | 0.0044543 | 0.99697 | -0.021227 | 0.99692 | -0.021611 | 1.6498

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.13963 | 0.034882

## res_load
| p_mw | q_mvar
0 | 0.0062687 | 0.0015711
1 | 0.0015356 | 0.00038485
2 | 0.0066597 | 0.0016691
3 | 0.0017819 | 0.00044659
4 | 0.0024721 | 0.00061957
5 | 0.0039674 | 0.00099432
6 | 0.0019189 | 0.00048092
7 | 0.00096455 | 0.00024174
8 | 0.0018497 | 0.00046358
9 | 0.0030426 | 0.00076254
10 | 0.0014635 | 0.00036678
11 | 0.0044292 | 0.0011101
12 | 0.002548 | 0.00063859
13 | 0.0023991 | 0.00060126
14 | 0.014537 | 0.0036433
15 | 0.0023483 | 0.00058854
16 | 0.0037543 | 0.0009409
17 | 0.0037009 | 0.00092754
18 | 0.0097471 | 0.0024429
19 | 0.015421 | 0.003865
20 | 0.002985 | 0.00074812
21 | 0.0046469 | 0.0011646
22 | 0.0027087 | 0.00067887
23 | 0.0010896 | 0.00027309
24 | 0.0021368 | 0.00053554
25 | 0.00077585 | 0.00019445
26 | 0.00077359 | 0.00019388
27 | 0.0015386 | 0.00038561
28 | 0.0032125 | 0.00080513
29 | 0.0005974 | 0.00014972
30 | 0.00055759 | 0.00013974
31 | 0.0023452 | 0.00058775
32 | 0.0048558 | 0.001217
33 | 0.0049191 | 0.0012329
34 | 0.0010031 | 0.00025139
35 | 0.005148 | 0.0012902
36 | 0.0020592 | 0.0005161
37 | 0.002836 | 0.00071076
38 | 0.0029842 | 0.00074792

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1