## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1506-6_2_3_node_134 | 0.4 | n |  | TRUE
1 | bus_LV_1506-6_2_3_node_135 | 0.4 | n |  | TRUE
2 | bus_LV_1506-6_2_3_node_136 | 0.4 | n |  | TRUE
3 | bus_LV_1506-6_2_3_node_137 | 0.4 | n |  | TRUE
4 | bus_LV_1506-6_2_3_node_138 | 0.4 | n |  | TRUE
5 | bus_LV_1506-6_2_3_node_156 | 0.4 | n |  | TRUE
6 | bus_LV_1506-6_2_3_node_159 | 0.4 | n |  | TRUE
7 | bus_LV_1506-6_2_3_node_13 | 0.4 | n |  | TRUE
8 | bus_LV_1506-6_2_3_node_14 | 0.4 | n |  | TRUE
9 | bus_LV_1506-6_2_3_node_15 | 0.4 | n |  | TRUE
10 | bus_LV_1506-6_2_3_node_16 | 0.4 | n |  | TRUE
11 | bus_LV_1506-6_2_3_node_17 | 0.4 | n |  | TRUE
12 | bus_LV_1506-6_2_3_node_18 | 0.4 | n |  | TRUE
13 | bus_LV_1506-6_2_3_node_19 | 0.4 | n |  | TRUE
14 | bus_LV_1506-6_2_3_node_29 | 0.4 | n |  | TRUE
15 | bus_LV_1506-6_2_3_node_146 | 0.4 | n |  | TRUE
16 | bus_LV_1506-6_2_3_node_20 | 0.4 | n |  | TRUE
17 | bus_LV_1506-6_2_3_node_21 | 0.4 | n |  | TRUE
18 | bus_LV_1506-6_2_3_node_22 | 0.4 | n |  | TRUE
19 | bus_LV_1506-6_2_3_node_23 | 0.4 | n |  | TRUE
20 | bus_LV_1506-6_2_3_node_24 | 0.4 | n |  | TRUE
21 | bus_LV_1506-6_2_3_node_25 | 0.4 | n |  | TRUE
22 | bus_LV_1506-6_2_3_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_1506-6_2_3_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_1506-6_2_3_node_28 | 0.4 | n |  | TRUE
25 | bus_LV_1506-6_2_3_node_157 | 0.4 | n |  | TRUE
26 | bus_LV_1506-6_2_3_node_50 | 0.4 | n |  | TRUE
27 | bus_LV_1506-6_2_3_node_55 | 0.4 | n |  | TRUE
28 | bus_LV_1506-6_2_3_node_57 | 0.4 | n |  | TRUE
29 | bus_LV_1506-6_2_3_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_1506-6_2_3_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_1506-6_2_3_node_32 | 0.4 | n |  | TRUE
32 | bus_LV_1506-6_2_3_node_33 | 0.4 | n |  | TRUE
33 | bus_LV_1506-6_2_3_node_34 | 0.4 | n |  | TRUE
34 | bus_LV_1506-6_2_3_node_46 | 0.4 | n |  | TRUE
35 | bus_LV_1506-6_2_3_node_35 | 0.4 | n |  | TRUE
36 | bus_LV_1506-6_2_3_node_36 | 0.4 | n |  | TRUE
37 | bus_LV_1506-6_2_3_node_37 | 0.4 | n |  | TRUE
38 | bus_LV_1506-6_2_3_node_38 | 0.4 | n |  | TRUE
39 | bus_LV_1506-6_2_3_node_39 | 0.4 | n |  | TRUE
40 | bus_LV_1506-6_2_3_node_40 | 0.4 | n |  | TRUE
41 | bus_LV_1506-6_2_3_node_41 | 0.4 | n |  | TRUE
42 | bus_LV_1506-6_2_3_node_54 | 0.4 | n |  | TRUE
43 | bus_LV_1506-6_2_3_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_1506-6_2_3_node_43 | 0.4 | n |  | TRUE
45 | bus_LV_1506-6_2_3_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_1506-6_2_3_node_45 | 0.4 | n |  | TRUE
47 | bus_LV_1506-6_2_3_node_52 | 0.4 | n |  | TRUE
48 | bus_LV_1506-6_2_3_node_47 | 0.4 | n |  | TRUE
49 | bus_LV_1506-6_2_3_node_48 | 0.4 | n |  | TRUE
50 | bus_LV_1506-6_2_3_node_49 | 0.4 | n |  | TRUE
51 | bus_LV_1506-6_2_3_node_51 | 0.4 | n |  | TRUE
52 | bus_LV_1506-6_2_3_node_58 | 0.4 | n |  | TRUE
53 | bus_LV_1506-6_2_3_node_53 | 0.4 | n |  | TRUE
54 | bus_LV_1506-6_2_3_node_64 | 0.4 | n |  | TRUE
55 | bus_LV_1506-6_2_3_node_56 | 0.4 | n |  | TRUE
56 | bus_LV_1506-6_2_3_node_62 | 0.4 | n |  | TRUE
57 | bus_LV_1506-6_2_3_node_61 | 0.4 | n |  | TRUE
58 | bus_LV_1506-6_2_3_node_59 | 0.4 | n |  | TRUE
59 | bus_LV_1506-6_2_3_node_60 | 0.4 | n |  | TRUE
60 | bus_LV_1506-6_2_3_node_147 | 0.4 | n |  | TRUE
61 | bus_LV_1506-6_2_3_node_63 | 0.4 | n |  | TRUE
62 | bus_LV_1506-6_2_3_node_67 | 0.4 | n |  | TRUE
63 | bus_LV_1506-6_2_3_node_65 | 0.4 | n |  | TRUE
64 | bus_LV_1506-6_2_3_node_144 | 0.4 | n |  | TRUE
65 | bus_LV_1506-6_2_3_node_66 | 0.4 | n |  | TRUE
66 | bus_LV_1506-6_2_3_node_68 | 0.4 | n |  | TRUE
67 | bus_LV_1506-6_2_3_node_69 | 0.4 | n |  | TRUE
68 | bus_LV_1506-6_2_3_node_70 | 0.4 | n |  | TRUE
69 | bus_LV_1506-6_2_3_node_145 | 0.4 | n |  | TRUE
70 | bus_LV_1506-6_2_3_node_143 | 0.4 | n |  | TRUE
71 | bus_LV_1506-6_2_3_node_81 | 0.4 | n |  | TRUE
72 | bus_MV_143_0_node_14 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1506-6_2_3_load_134 | 0 | 0.00050851 | 0.00012745 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1506-6_2_3_load_135 | 1 | 0.0056412 | 0.0014138 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1506-6_2_3_load_136 | 2 | 0.0026083 | 0.0006537 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1506-6_2_3_load_156 | 5 | 0.0053271 | 0.0013351 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1506-6_2_3_load_159 | 6 | 0.0052599 | 0.0013182 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1506-6_2_3_load_13 | 7 | 0.0023417 | 0.00058689 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1506-6_2_3_load_14 | 8 | 0.0025106 | 0.00062923 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1506-6_2_3_load_15 | 9 | 0.0021257 | 0.00053274 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1506-6_2_3_load_16 | 10 | 0.0021748 | 0.00054506 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1506-6_2_3_load_17 | 11 | 0.00227 | 0.00056891 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1506-6_2_3_load_18 | 12 | 0.0022366 | 0.00056053 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1506-6_2_3_load_19 | 13 | 0.0053565 | 0.0013425 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1506-6_2_3_load_29 | 14 | 0.0047517 | 0.0011909 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1506-6_2_3_load_146 | 15 | 0.0017896 | 0.00044852 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1506-6_2_3_load_20 | 16 | 0.0030859 | 0.00077339 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1506-6_2_3_load_21 | 17 | 0.0014497 | 0.00036334 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1506-6_2_3_load_23 | 19 | 0.0016196 | 0.00040591 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1506-6_2_3_load_24 | 20 | 0.0031782 | 0.00079653 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1506-6_2_3_load_25 | 21 | 0.0040495 | 0.0010149 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1506-6_2_3_load_26 | 22 | 0.0016153 | 0.00040484 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1506-6_2_3_load_28 | 24 | 0.006792 | 0.0017022 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1506-6_2_3_load_157 | 25 | 0.0040626 | 0.0010182 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1506-6_2_3_load_55 | 27 | 0.0031204 | 0.00078204 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1506-6_2_3_load_30 | 29 | 0.0012833 | 0.00032162 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1506-6_2_3_load_31 | 30 | 0.0010226 | 0.00025628 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1506-6_2_3_load_32 | 31 | 0.0012833 | 0.00032162 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1506-6_2_3_load_33 | 32 | 0.0012649 | 0.00031701 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1506-6_2_3_load_34 | 33 | 0.00066792 | 0.0001674 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1506-6_2_3_load_46 | 34 | 0.0012648 | 0.00031698 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1506-6_2_3_load_35 | 35 | 0.001591 | 0.00039874 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1506-6_2_3_load_36 | 36 | 0.0017214 | 0.00043142 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1506-6_2_3_load_37 | 37 | 0.003526 | 0.0008837 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1506-6_2_3_load_38 | 38 | 0.0017127 | 0.00042924 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1506-6_2_3_load_39 | 39 | 0.0021278 | 0.00053329 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1506-6_2_3_load_40 | 40 | 0.0029795 | 0.00074672 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1506-6_2_3_load_41 | 41 | 0.0019433 | 0.00048704 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1506-6_2_3_load_54 | 42 | 0.0038017 | 0.00095279 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1506-6_2_3_load_42 | 43 | 0.0017678 | 0.00044306 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1506-6_2_3_load_43 | 44 | 0.0021005 | 0.00052643 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1506-6_2_3_load_44 | 45 | 0.0018402 | 0.00046121 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1506-6_2_3_load_45 | 46 | 0.0012786 | 0.00032044 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1506-6_2_3_load_52 | 47 | 0.0019851 | 0.00049752 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1506-6_2_3_load_47 | 48 | 0.00066792 | 0.0001674 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1506-6_2_3_load_48 | 49 | 0.0011787 | 0.0002954 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1506-6_2_3_load_49 | 50 | 0.0017896 | 0.00044852 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1506-6_2_3_load_51 | 51 | 0.0011778 | 0.0002952 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1506-6_2_3_load_58 | 52 | 0.0017896 | 0.00044852 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1506-6_2_3_load_53 | 53 | 0.0015823 | 0.00039656 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1506-6_2_3_load_64 | 54 | 0.002191 | 0.00054911 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1506-6_2_3_load_56 | 55 | 0.0051672 | 0.001295 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1506-6_2_3_load_62 | 56 | 0.0024903 | 0.00062413 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1506-6_2_3_load_61 | 57 | 0.0040229 | 0.0010082 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1506-6_2_3_load_59 | 58 | 0.001789 | 0.00044836 | 0 | 0 |  | 1 | TRUE | wye
53 | LV_1506-6_2_3_load_60 | 59 | 0.0017896 | 0.00044852 | 0 | 0 |  | 1 | TRUE | wye
54 | LV_1506-6_2_3_load_147 | 60 | 0.0017896 | 0.00044852 | 0 | 0 |  | 1 | TRUE | wye
55 | LV_1506-6_2_3_load_63 | 61 | 0.0035387 | 0.00088688 | 0 | 0 |  | 1 | TRUE | wye
56 | LV_1506-6_2_3_load_67 | 62 | 0.0017243 | 0.00043215 | 0 | 0 |  | 1 | TRUE | wye
57 | LV_1506-6_2_3_load_65 | 63 | 0.0019295 | 0.00048358 | 0 | 0 |  | 1 | TRUE | wye
58 | LV_1506-6_2_3_load_144 | 64 | 0.0055915 | 0.0014014 | 0 | 0 |  | 1 | TRUE | wye
59 | LV_1506-6_2_3_load_66 | 65 | 0.0033745 | 0.00084572 | 0 | 0 |  | 1 | TRUE | wye
60 | LV_1506-6_2_3_load_68 | 66 | 0.006912 | 0.0017323 | 0 | 0 |  | 1 | TRUE | wye
61 | LV_1506-6_2_3_load_69 | 67 | 0.0029927 | 0.00075005 | 0 | 0 |  | 1 | TRUE | wye
62 | LV_1506-6_2_3_load_70 | 68 | 0.0016299 | 0.00040849 | 0 | 0 |  | 1 | TRUE | wye
63 | LV_1506-6_2_3_load_145 | 69 | 0.00609 | 0.0015263 | 0 | 0 |  | 1 | TRUE | wye
64 | LV_1506-6_2_3_load_143 | 70 | 0.0041858 | 0.0010491 | 0 | 0 |  | 1 | TRUE | wye
65 | LV_1506-6_2_3_load_81 | 71 | 0.0035203 | 0.00088227 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 39 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1506-6_2_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.19372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
1 | LV_1506-6_2_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.0074368 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
2 | LV_1506-6_2_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.0030494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
3 | LV_1506-6_2_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.064005 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
4 | LV_1506-6_2_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.032706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1506-6_2_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.17239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
6 | LV_1506-6_2_3_line_6 | NAYY 4x150 SE | 6 | 26 | 0.079462 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
7 | LV_1506-6_2_3_line_7 | NAYY 4x150 SE | 7 | 8 | 0.002862 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1506-6_2_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.012789 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1506-6_2_3_line_9 | NAYY 4x150 SE | 8 | 10 | 0.014063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1506-6_2_3_line_10 | NAYY 4x150 SE | 9 | 11 | 0.0075209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1506-6_2_3_line_11 | NAYY 4x150 SE | 10 | 12 | 0.008247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1506-6_2_3_line_12 | NAYY 4x150 SE | 11 | 13 | 0.0055217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1506-6_2_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.01538 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1506-6_2_3_line_14 | NAYY 4x150 SE | 13 | 15 | 0.050461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1506-6_2_3_line_15 | NAYY 4x150 SE | 14 | 28 | 0.0047505 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1506-6_2_3_line_16 | NAYY 4x150 SE | 15 | 60 | 0.0060013 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1506-6_2_3_line_17 | NAYY 4x150 SE | 16 | 17 | 0.017183 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1506-6_2_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.022797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1506-6_2_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.0081546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1506-6_2_3_line_20 | NAYY 4x150 SE | 18 | 20 | 0.064555 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
21 | LV_1506-6_2_3_line_21 | NAYY 4x150 SE | 18 | 21 | 0.023842 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_1506-6_2_3_line_22 | NAYY 4x150 SE | 19 | 22 | 0.0086621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1506-6_2_3_line_23 | NAYY 4x150 SE | 20 | 23 | 0.021553 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_1506-6_2_3_line_24 | NAYY 4x150 SE | 21 | 24 | 0.010124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
25 | LV_1506-6_2_3_line_25 | NAYY 4x150 SE | 22 | 25 | 0.028574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1506-6_2_3_line_26 | NAYY 4x150 SE | 23 | 26 | 0.1678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1506-6_2_3_line_27 | NAYY 4x150 SE | 24 | 27 | 0.024329 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_1506-6_2_3_line_28 | NAYY 4x150 SE | 27 | 55 | 0.035239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
29 | LV_1506-6_2_3_line_29 | NAYY 4x150 SE | 28 | 57 | 0.041205 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1506-6_2_3_line_30 | NAYY 4x150 SE | 28 | 42 | 0.019533 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1506-6_2_3_line_31 | NAYY 4x150 SE | 29 | 30 | 0.0022841 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1506-6_2_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.0077222 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1506-6_2_3_line_33 | NAYY 4x150 SE | 30 | 32 | 0.012694 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1506-6_2_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.0044574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1506-6_2_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0033111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1506-6_2_3_line_36 | NAYY 4x150 SE | 34 | 48 | 0.0026922 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1506-6_2_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.010869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1506-6_2_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.0056577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1506-6_2_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.0054712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1506-6_2_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.020573 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1506-6_2_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.013471 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1506-6_2_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.0046701 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
43 | LV_1506-6_2_3_line_43 | NAYY 4x150 SE | 40 | 42 | 0.0037554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1506-6_2_3_line_44 | NAYY 4x150 SE | 41 | 43 | 0.027932 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
45 | LV_1506-6_2_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.011668 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
46 | LV_1506-6_2_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.0097143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
47 | LV_1506-6_2_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.028736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
48 | LV_1506-6_2_3_line_48 | NAYY 4x150 SE | 46 | 47 | 0.039267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
49 | LV_1506-6_2_3_line_49 | NAYY 4x150 SE | 47 | 53 | 0.04521 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
50 | LV_1506-6_2_3_line_50 | NAYY 4x150 SE | 48 | 49 | 0.012711 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1506-6_2_3_line_51 | NAYY 4x150 SE | 49 | 50 | 0.0015972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1506-6_2_3_line_52 | NAYY 4x150 SE | 50 | 51 | 0.0056189 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1506-6_2_3_line_53 | NAYY 4x150 SE | 51 | 52 | 0.00038245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1506-6_2_3_line_54 | NAYY 4x150 SE | 52 | 58 | 0.014278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1506-6_2_3_line_55 | NAYY 4x150 SE | 53 | 54 | 0.0086566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
56 | LV_1506-6_2_3_line_56 | NAYY 4x150 SE | 54 | 63 | 0.013689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
57 | LV_1506-6_2_3_line_57 | NAYY 4x150 SE | 55 | 56 | 0.031239 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
58 | LV_1506-6_2_3_line_58 | NAYY 4x150 SE | 56 | 61 | 0.0095747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
59 | LV_1506-6_2_3_line_59 | NAYY 4x150 SE | 58 | 59 | 0.0060032 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1506-6_2_3_line_60 | NAYY 4x150 SE | 59 | 60 | 0.014426 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1506-6_2_3_line_61 | NAYY 4x150 SE | 60 | 71 | 0.1221 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1506-6_2_3_line_62 | NAYY 4x150 SE | 61 | 62 | 0.002109 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
63 | LV_1506-6_2_3_line_63 | NAYY 4x150 SE | 62 | 65 | 0.0074394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
64 | LV_1506-6_2_3_line_64 | NAYY 4x150 SE | 63 | 64 | 0.024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
65 | LV_1506-6_2_3_line_65 | NAYY 4x150 SE | 64 | 70 | 0.001087 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
66 | LV_1506-6_2_3_line_66 | NAYY 4x150 SE | 65 | 66 | 0.014041 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
67 | LV_1506-6_2_3_line_67 | NAYY 4x150 SE | 66 | 67 | 0.0044286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
68 | LV_1506-6_2_3_line_68 | NAYY 4x150 SE | 67 | 68 | 0.001539 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
69 | LV_1506-6_2_3_line_69 | NAYY 4x150 SE | 68 | 69 | 0.0089722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
70 | LV_1506-6_2_3_line_70 | NAYY 4x150 SE | 69 | 70 | 0.012837 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1506-6_2_3_trafo_39 | 0.25 MVA 20/0.4 kV | 72 | 39 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2668932.5628 | 1200713.8833 | 2668919.6911 | 1200907.1765
1 | 2668922.2535 | 1200914.1579 | 2668919.6911 | 1200907.1765
2 | 2668921.9216 | 1200917.1892 | 2668922.2535 | 1200914.1579 | 2668922.2535 | 1200914.1579
3 | 2668914.9684 | 1200980.803 | 2668921.9216 | 1200917.1892
4 | 2668914.9684 | 1200980.803 | 2668933.0044 | 1200975.9858 | 2668945.6673 | 1200969.7392
5 | 2668918.1334 | 1201153.1658 | 2668914.9684 | 1200980.803
6 | 2668918.1334 | 1201153.1658 | 2668898.0307 | 1201179.4833 | 2668880.8498 | 1201195.3616 | 2668864.3366 | 1201211.4365
7 | 2669221.3108 | 1201045.9255 | 2669218.5301 | 1201046.6026
8 | 2669221.3108 | 1201045.9255 | 2669233.7366 | 1201042.9002
9 | 2669204.866 | 1201049.9294 | 2669218.5301 | 1201046.6026
10 | 2669233.7366 | 1201042.9002 | 2669233.9915 | 1201042.8382 | 2669240.7895 | 1201040.2939
11 | 2669196.853 | 1201051.8803 | 2669196.853 | 1201051.8803 | 2669204.866 | 1201049.9294
12 | 2669245.9608 | 1201038.3583 | 2669240.7895 | 1201040.2939
13 | 2669196.853 | 1201051.8803 | 2669181.6252 | 1201054.0398
14 | 2669244.269 | 1201005.9196 | 2669246.6779 | 1201006.352 | 2669258.5398 | 1201012.7488 | 2669260.5409 | 1201020.0542 | 2669260.7929 | 1201025.238 | 2669257.6466 | 1201033.9846 | 2669245.9608 | 1201038.3583
15 | 2669176.9218 | 1201054.7068 | 2669181.6252 | 1201054.0398
16 | 2669238.3621 | 1201004.8592 | 2669244.269 | 1201005.9196
17 | 2669138.067 | 1201301.0734 | 2669122.173 | 1201298.8877 | 2669121.0537 | 1201298.6726
18 | 2669098.6662 | 1201294.3688 | 2669121.0537 | 1201298.6726
19 | 2669146.1455 | 1201302.1843 | 2669138.067 | 1201301.0734
20 | 2669098.6662 | 1201294.3688 | 2669035.517 | 1201280.9695
21 | 2669098.6662 | 1201294.3688 | 2669092.0888 | 1201271.4522
22 | 2669146.1455 | 1201302.1843 | 2669154.7269 | 1201303.3643
23 | 2669014.4332 | 1201276.4959 | 2669035.517 | 1201280.9695
24 | 2669092.0888 | 1201271.4522 | 2669089.2959 | 1201261.7215
25 | 2669183.2236 | 1201304.6589 | 2669178.5335 | 1201304.6655 | 2669162.8702 | 1201304.4841 | 2669154.7269 | 1201303.3643
26 | 2669014.4332 | 1201276.4959 | 2668984.3297 | 1201269.7443 | 2668934.4405 | 1201258.5509 | 2668909.1677 | 1201248.7313 | 2668884.2891 | 1201232.4458 | 2668864.3366 | 1201211.4365
27 | 2669081.7268 | 1201238.6056 | 2669087.7198 | 1201256.2303 | 2669089.2959 | 1201261.7215
28 | 2669081.7268 | 1201238.6056 | 2669077.4798 | 1201226.116 | 2669080.3927 | 1201219.7458 | 2669087.6732 | 1201212.2143 | 2669092.1902 | 1201211.5411
29 | 2669204.8745 | 1201084.8931 | 2669180.504 | 1201060.2405 | 2669176.9218 | 1201054.7068
30 | 2669176.9218 | 1201054.7068 | 2669157.5834 | 1201057.4547
31 | 2669161.3719 | 1200991.3284 | 2669159.1206 | 1200990.9422
32 | 2669151.5096 | 1200989.6365 | 2669159.1206 | 1200990.9422
33 | 2669161.3719 | 1200991.3284 | 2669173.8828 | 1200993.4747
34 | 2669178.276 | 1200994.2284 | 2669173.8828 | 1200993.4747
35 | 2669178.276 | 1200994.2284 | 2669181.5395 | 1200994.7882
36 | 2669184.1929 | 1200995.2434 | 2669181.5395 | 1200994.7882
37 | 2669149.4389 | 1201074.4444 | 2669149.9038 | 1201075.9293 | 2669154.6108 | 1201083.9657
38 | 2669158.292 | 1201088.1917 | 2669155.6143 | 1201085.679 | 2669154.6108 | 1201083.9657
39 | 2669149.4389 | 1201074.4444 | 2669147.8043 | 1201069.2231
40 | 2669173.2525 | 1201102.3112 | 2669172.3845 | 1201101.4159 | 2669158.292 | 1201088.1917
41 | 2669147.8043 | 1201069.2231 | 2669147.8043 | 1201069.2231 | 2669149.9747 | 1201060.5986 | 2669154.0187 | 1201058.4547
42 | 2669173.2525 | 1201102.3112 | 2669176.5031 | 1201105.6643
43 | 2669157.5834 | 1201057.4547 | 2669155.2902 | 1201057.7806 | 2669154.0187 | 1201058.4547
44 | 2669195.9451 | 1201125.7194 | 2669176.5031 | 1201105.6643
45 | 2669195.9451 | 1201125.7194 | 2669198.8179 | 1201128.6828 | 2669205.7956 | 1201131.5431 | 2669205.7956 | 1201131.5431
46 | 2669215.2082 | 1201129.3551 | 2669210.7968 | 1201130.8895 | 2669205.7956 | 1201131.5431
47 | 2669215.2082 | 1201129.3551 | 2669242.3498 | 1201119.9152
48 | 2669238.6372 | 1201148.4122 | 2669250.0309 | 1201124.2399 | 2669250.466 | 1201121.5099 | 2669248.1109 | 1201118.4808 | 2669243.3406 | 1201119.5706 | 2669242.3498 | 1201119.9152
49 | 2669238.6372 | 1201148.4122 | 2669233.9155 | 1201158.4294 | 2669218.8743 | 1201185.983 | 2669217.2611 | 1201188.2024
50 | 2669184.1929 | 1200995.2434 | 2669196.7213 | 1200997.3927
51 | 2669198.2947 | 1200997.667 | 2669197.7486 | 1200997.5689 | 2669196.7213 | 1200997.3927
52 | 2669198.2947 | 1200997.667 | 2669203.8252 | 1200998.6597
53 | 2669203.8252 | 1200998.6597 | 2669204.2016 | 1200998.7273
54 | 2669218.2545 | 1201001.2498 | 2669204.2016 | 1200998.7273
55 | 2669212.1714 | 1201195.2047 | 2669217.2611 | 1201188.2024
56 | 2669204.1232 | 1201206.2774 | 2669212.1714 | 1201195.2047
57 | 2669122.842 | 1201214.6554 | 2669101.7265 | 1201210.1199 | 2669092.1902 | 1201211.5411
58 | 2669122.842 | 1201214.6554 | 2669129.2442 | 1201216.0305 | 2669132.2488 | 1201216.3929
59 | 2669218.2545 | 1201001.2498 | 2669224.1633 | 1201002.3105
60 | 2669238.3621 | 1201004.8592 | 2669224.1633 | 1201002.3105
61 | 2669238.3621 | 1201004.8592 | 2669258.1521 | 1200884.375
62 | 2669132.2488 | 1201216.3929 | 2669134.3427 | 1201216.6454
63 | 2669141.7286 | 1201217.5362 | 2669134.3427 | 1201216.6454
64 | 2669184.0592 | 1201218.4546 | 2669188.634 | 1201217.3074 | 2669201.7172 | 1201209.5875 | 2669204.1232 | 1201206.2774
65 | 2669183.0048 | 1201218.719 | 2669184.0592 | 1201218.4546
66 | 2669141.7286 | 1201217.5362 | 2669155.6682 | 1201219.2174
67 | 2669160.0649 | 1201219.7477 | 2669155.6682 | 1201219.2174
68 | 2669160.0649 | 1201219.7477 | 2669161.5928 | 1201219.932
69 | 2669170.5005 | 1201221.0063 | 2669161.5928 | 1201219.932
70 | 2669183.0048 | 1201218.719 | 2669172.7853 | 1201221.2819 | 2669170.5005 | 1201221.0063

## bus_geodata
| x | y | coords
0 | 2668932.5628 | 1200713.8833
1 | 2668919.6911 | 1200907.1765
2 | 2668922.2535 | 1200914.1579
3 | 2668921.9216 | 1200917.1892
4 | 2668914.9684 | 1200980.803
5 | 2668945.6673 | 1200969.7392
6 | 2668918.1334 | 1201153.1658
7 | 2669221.3108 | 1201045.9255
8 | 2669218.5301 | 1201046.6026
9 | 2669233.7366 | 1201042.9002
10 | 2669204.866 | 1201049.9293
11 | 2669240.7895 | 1201040.2939
12 | 2669196.853 | 1201051.8803
13 | 2669245.9608 | 1201038.3583
14 | 2669181.6252 | 1201054.0398
15 | 2669244.269 | 1201005.9196
16 | 2669121.0537 | 1201298.6726
17 | 2669138.067 | 1201301.0734
18 | 2669098.6662 | 1201294.3688
19 | 2669146.1455 | 1201302.1843
20 | 2669035.517 | 1201280.9695
21 | 2669092.0888 | 1201271.4522
22 | 2669154.7269 | 1201303.3643
23 | 2669014.4332 | 1201276.4959
24 | 2669089.2959 | 1201261.7215
25 | 2669183.2236 | 1201304.6589
26 | 2668864.3366 | 1201211.4365
27 | 2669081.7268 | 1201238.6056
28 | 2669176.9218 | 1201054.7068
29 | 2669159.1206 | 1200990.9422
30 | 2669161.3719 | 1200991.3284
31 | 2669151.5096 | 1200989.6365
32 | 2669173.8828 | 1200993.4747
33 | 2669178.276 | 1200994.2284
34 | 2669181.5395 | 1200994.7882
35 | 2669154.6108 | 1201083.9657
36 | 2669149.4389 | 1201074.4444
37 | 2669158.292 | 1201088.1918
38 | 2669147.8043 | 1201069.2231
39 | 2669173.2525 | 1201102.3112
40 | 2669154.0187 | 1201058.4547
41 | 2669176.5031 | 1201105.6643
42 | 2669157.5834 | 1201057.4547
43 | 2669195.9451 | 1201125.7194
44 | 2669205.7956 | 1201131.5431
45 | 2669215.2082 | 1201129.3551
46 | 2669242.3498 | 1201119.9152
47 | 2669238.6372 | 1201148.4122
48 | 2669184.1929 | 1200995.2434
49 | 2669196.7213 | 1200997.3927
50 | 2669198.2947 | 1200997.667
51 | 2669203.8252 | 1200998.6597
52 | 2669204.2016 | 1200998.7273
53 | 2669217.2611 | 1201188.2024
54 | 2669212.1714 | 1201195.2047
55 | 2669092.1902 | 1201211.5411
56 | 2669122.842 | 1201214.6554
57 | 2669204.8745 | 1201084.8931
58 | 2669218.2545 | 1201001.2498
59 | 2669224.1633 | 1201002.3105
60 | 2669238.3621 | 1201004.8592
61 | 2669132.2488 | 1201216.3929
62 | 2669134.3427 | 1201216.6454
63 | 2669204.1232 | 1201206.2774
64 | 2669184.0592 | 1201218.4546
65 | 2669141.7286 | 1201217.5362
66 | 2669155.6682 | 1201219.2174
67 | 2669160.0649 | 1201219.7477
68 | 2669161.5928 | 1201219.932
69 | 2669170.5005 | 1201221.0063
70 | 2669183.0048 | 1201218.719
71 | 2669258.1521 | 1200884.375
72 | 2669176.9218 | 1201054.7068

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97003 | -0.21188 | 0.00050851 | 0.00012745
1 | 0.97011 | -0.21134 | 0.0056412 | 0.0014138
2 | 0.97014 | -0.2111 | 0.0026083 | 0.0006537
3 | 0.97016 | -0.21095 | 0 | 0
4 | 0.97057 | -0.20797 | 0 | 0
5 | 0.97031 | -0.20982 | 0.0053271 | 0.0013351
6 | 0.97235 | -0.19507 | 0.0052599 | 0.0013182
7 | 0.99044 | -0.066888 | 0.0023417 | 0.00058689
8 | 0.99059 | -0.065834 | 0.0025106 | 0.00062923
9 | 0.98982 | -0.071295 | 0.0021257 | 0.00053274
10 | 0.99138 | -0.060303 | 0.0021748 | 0.00054506
11 | 0.98947 | -0.073726 | 0.00227 | 0.00056891
12 | 0.99186 | -0.056881 | 0.0022366 | 0.00056053
13 | 0.98924 | -0.075384 | 0.0053565 | 0.0013425
14 | 0.99282 | -0.05016 | 0.0047517 | 0.0011909
15 | 0.98749 | -0.087804 | 0.0017896 | 0.00044852
16 | 0.97684 | -0.16274 | 0.0030859 | 0.00077339
17 | 0.97662 | -0.16432 | 0.0014497 | 0.00036334
18 | 0.97724 | -0.15992 | 0 | 0
19 | 0.97654 | -0.16494 | 0.0016196 | 0.00040591
20 | 0.97617 | -0.16757 | 0.0031782 | 0.00079653
21 | 0.97784 | -0.15562 | 0.0040495 | 0.0010149
22 | 0.97646 | -0.16545 | 0.0016153 | 0.00040484
23 | 0.97586 | -0.16977 | 0 | 0
24 | 0.97812 | -0.15359 | 0.006792 | 0.0017022
25 | 0.9763 | -0.16667 | 0.0040626 | 0.0010182
26 | 0.97348 | -0.18692 | 0 | 0
27 | 0.97892 | -0.14783 | 0.0031204 | 0.00078204
28 | 0.99315 | -0.047859 | 0 | 0
29 | 0.98612 | -0.097463 | 0.0012833 | 0.00032162
30 | 0.98613 | -0.097403 | 0.0010226 | 0.00025628
31 | 0.98611 | -0.097565 | 0.0012833 | 0.00032162
32 | 0.9862 | -0.096935 | 0.0012649 | 0.00031701
33 | 0.98623 | -0.096713 | 0.00066792 | 0.0001674
34 | 0.98626 | -0.096526 | 0.0012648 | 0.00031698
35 | 0.99749 | -0.017446 | 0.001591 | 0.00039874
36 | 0.99652 | -0.024224 | 0.0017214 | 0.00043142
37 | 0.99801 | -0.013832 | 0.003526 | 0.0008837
38 | 0.99605 | -0.027547 | 0.0017127 | 0.00042924
39 | 1 | 0 | -0.17932 | -0.045065
40 | 0.99491 | -0.035507 | 0.0029795 | 0.00074672
41 | 0.99963 | -0.002538 | 0.0019433 | 0.00048704
42 | 0.99461 | -0.037617 | 0.0038017 | 0.00095279
43 | 0.99746 | -0.017484 | 0.0017678 | 0.00044306
44 | 0.99657 | -0.023643 | 0.0021005 | 0.00052643
45 | 0.99585 | -0.028676 | 0.0018402 | 0.00046121
46 | 0.99374 | -0.04334 | 0.0012786 | 0.00032044
47 | 0.99089 | -0.063223 | 0.0019851 | 0.00049752
48 | 0.98628 | -0.096338 | 0.00066792 | 0.0001674
49 | 0.98642 | -0.095366 | 0.0011787 | 0.0002954
50 | 0.98644 | -0.095224 | 0.0017896 | 0.00044852
51 | 0.98652 | -0.094623 | 0.0011778 | 0.0002952
52 | 0.98653 | -0.094578 | 0.0017896 | 0.00044852
53 | 0.98767 | -0.085795 | 0.0015823 | 0.00039656
54 | 0.98706 | -0.090064 | 0.002191 | 0.00054911
55 | 0.98017 | -0.13895 | 0.0051672 | 0.001295
56 | 0.98139 | -0.13025 | 0.0024903 | 0.00062413
57 | 0.99291 | -0.049537 | 0.0040229 | 0.0010082
58 | 0.98681 | -0.092617 | 0.001789 | 0.00044836
59 | 0.98694 | -0.091683 | 0.0017896 | 0.00044852
60 | 0.98729 | -0.089174 | 0.0017896 | 0.00044852
61 | 0.98178 | -0.12747 | 0.0035387 | 0.00088688
62 | 0.98187 | -0.12682 | 0.0017243 | 0.00043215
63 | 0.98613 | -0.09667 | 0.0019295 | 0.00048358
64 | 0.98452 | -0.10804 | 0.0055915 | 0.0014014
65 | 0.98221 | -0.12445 | 0.0033745 | 0.00084572
66 | 0.98287 | -0.11975 | 0.006912 | 0.0017323
67 | 0.9831 | -0.11811 | 0.0029927 | 0.00075005
68 | 0.98318 | -0.11752 | 0.0016299 | 0.00040849
69 | 0.98368 | -0.11398 | 0.00609 | 0.0015263
70 | 0.98445 | -0.10853 | 0.0041858 | 0.0010491
71 | 0.98667 | -0.093585 | 0.0035203 | 0.00088227
72 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00050851 | -0.00012745 | 0.00050855 | 0.00012268 | 3.6697e-08 | -4.7691e-06 | 0.00078005 | 0.00077835 | 0.00078005 | 0.97003 | -0.21188 | 0.97011 | -0.21134 | 0.14445
1 | -0.0061497 | -0.0015365 | 0.0061499 | 0.0015364 | 2.0638e-07 | -1.0427e-07 | 0.0094311 | 0.0094311 | 0.0094311 | 0.97011 | -0.21134 | 0.97014 | -0.2111 | 1.7465
2 | -0.0087582 | -0.0021901 | 0.0087584 | 0.0021901 | 1.7165e-07 | -9.2895e-09 | 0.013432 | 0.013432 | 0.013432 | 0.97014 | -0.2111 | 0.97016 | -0.21095 | 2.4873
3 | -0.0087584 | -0.0021901 | 0.008762 | 0.0021899 | 3.6025e-06 | -1.9574e-07 | 0.013432 | 0.013431 | 0.013432 | 0.97016 | -0.21095 | 0.97057 | -0.20797 | 2.4873
4 | 0.0053284 | 0.0013352 | -0.0053271 | -0.0013351 | 1.362e-06 | 1.1975e-07 | 0.0081691 | 0.0081693 | 0.0081693 | 0.97057 | -0.20797 | 0.97031 | -0.20982 | 3.0257
5 | -0.01409 | -0.0035251 | 0.014115 | 0.0035305 | 2.5093e-05 | 5.3824e-06 | 0.0216 | 0.021599 | 0.0216 | 0.97057 | -0.20797 | 0.97235 | -0.19507 | 4
6 | -0.019375 | -0.0048487 | 0.019397 | 0.0048551 | 2.1792e-05 | 6.4079e-06 | 0.029648 | 0.029647 | 0.029648 | 0.97235 | -0.19507 | 0.97348 | -0.18692 | 5.4904
7 | -0.036263 | -0.009098 | 0.036268 | 0.0091 | 5.3014e-06 | 2.0022e-06 | 0.054484 | 0.054484 | 0.054484 | 0.99044 | -0.066888 | 0.99059 | -0.065834 | 20.1792
8 | 0.033921 | 0.0085112 | -0.0339 | -0.0085033 | 2.0728e-05 | 7.808e-06 | 0.050966 | 0.050966 | 0.050966 | 0.99044 | -0.066888 | 0.98982 | -0.071295 | 18.8762
9 | -0.038779 | -0.0097293 | 0.038809 | 0.0097405 | 2.9781e-05 | 1.1273e-05 | 0.058255 | 0.058255 | 0.058255 | 0.99059 | -0.065834 | 0.99138 | -0.060303 | 21.576
10 | 0.031775 | 0.0079706 | -0.031764 | -0.0079666 | 1.071e-05 | 4.0224e-06 | 0.04777 | 0.04777 | 0.04777 | 0.98982 | -0.071295 | 0.98947 | -0.073726 | 17.6927
11 | -0.040983 | -0.010286 | 0.041003 | 0.010293 | 1.9476e-05 | 7.3845e-06 | 0.061519 | 0.061519 | 0.061519 | 0.99138 | -0.060303 | 0.99186 | -0.056881 | 22.785
12 | 0.029494 | 0.0073977 | -0.029487 | -0.0073951 | 6.7791e-06 | 2.5364e-06 | 0.044357 | 0.044357 | 0.044357 | 0.98947 | -0.073726 | 0.98924 | -0.075384 | 16.4284
13 | -0.043239 | -0.010854 | 0.04328 | 0.010869 | 4.0392e-05 | 1.5337e-05 | 0.064875 | 0.064875 | 0.064875 | 0.99186 | -0.056881 | 0.99282 | -0.05016 | 24.0277
14 | 0.024131 | 0.0060527 | -0.024089 | -0.0060374 | 4.149e-05 | 1.5311e-05 | 0.036299 | 0.036299 | 0.036299 | 0.98924 | -0.075384 | 0.98749 | -0.087804 | 13.4443
15 | -0.048032 | -0.01206 | 0.048047 | 0.012066 | 1.5365e-05 | 5.8483e-06 | 0.071996 | 0.071996 | 0.071996 | 0.99282 | -0.05016 | 0.99315 | -0.047859 | 26.6653
16 | 0.0223 | 0.0055888 | -0.022295 | -0.0055873 | 4.2284e-06 | 1.5496e-06 | 0.033603 | 0.033603 | 0.033603 | 0.98749 | -0.087804 | 0.98729 | -0.089174 | 12.4455
17 | 0.0087509 | 0.0021929 | -0.008749 | -0.0021924 | 1.9053e-06 | 5.1773e-07 | 0.01333 | 0.01333 | 0.01333 | 0.97684 | -0.16274 | 0.97662 | -0.16432 | 4.9371
18 | -0.011837 | -0.0029663 | 0.011841 | 0.0029678 | 4.6248e-06 | 1.4933e-06 | 0.018031 | 0.018031 | 0.018031 | 0.97684 | -0.16274 | 0.97724 | -0.15992 | 6.678
19 | 0.0072992 | 0.001829 | -0.0072986 | -0.0018289 | 6.2935e-07 | 1.4003e-07 | 0.011121 | 0.011121 | 0.011121 | 0.97662 | -0.16432 | 0.97654 | -0.16494 | 4.119
20 | 0.022651 | 0.0056745 | -0.022627 | -0.0056669 | 2.3959e-05 | 7.5992e-06 | 0.03449 | 0.03449 | 0.03449 | 0.97724 | -0.15992 | 0.97617 | -0.16757 | 6.3871
21 | -0.034493 | -0.0086423 | 0.034513 | 0.0086496 | 2.0519e-05 | 7.294e-06 | 0.05252 | 0.05252 | 0.05252 | 0.97724 | -0.15992 | 0.97784 | -0.15562 | 9.726
22 | 0.005679 | 0.001423 | -0.0056786 | -0.0014229 | 4.0474e-07 | 4.7308e-08 | 0.0086534 | 0.0086534 | 0.0086534 | 0.97654 | -0.16494 | 0.97646 | -0.16545 | 3.205
23 | 0.019449 | 0.0048704 | -0.019443 | -0.0048686 | 5.91e-06 | 1.7344e-06 | 0.029646 | 0.029646 | 0.029646 | 0.97617 | -0.16757 | 0.97586 | -0.16977 | 5.49
24 | -0.038563 | -0.0096645 | 0.038574 | 0.0096684 | 1.0877e-05 | 3.9293e-06 | 0.058682 | 0.058682 | 0.058682 | 0.97784 | -0.15562 | 0.97812 | -0.15359 | 10.8671
25 | 0.0040633 | 0.0010181 | -0.0040626 | -0.0010182 | 6.8361e-07 | -9.4449e-08 | 0.0061918 | 0.006192 | 0.006192 | 0.97646 | -0.16545 | 0.9763 | -0.16667 | 2.2933
26 | 0.019443 | 0.0048686 | -0.019397 | -0.0048551 | 4.6015e-05 | 1.3515e-05 | 0.029646 | 0.029647 | 0.029647 | 0.97586 | -0.16977 | 0.97348 | -0.18692 | 5.4902
27 | -0.045366 | -0.011371 | 0.045402 | 0.011384 | 3.6154e-05 | 1.3294e-05 | 0.069015 | 0.069015 | 0.069015 | 0.97812 | -0.15359 | 0.97892 | -0.14783 | 12.7805
28 | -0.048522 | -0.012166 | 0.048582 | 0.012188 | 5.9812e-05 | 2.2117e-05 | 0.073758 | 0.073758 | 0.073758 | 0.97892 | -0.14783 | 0.98017 | -0.13895 | 13.6589
29 | 0.0040238 | 0.0010081 | -0.0040229 | -0.0010082 | 9.3454e-07 | -1.7363e-07 | 0.0060287 | 0.0060289 | 0.0060289 | 0.99315 | -0.047859 | 0.99291 | -0.049537 | 2.2329
30 | -0.052071 | -0.013074 | 0.052145 | 0.013102 | 7.4202e-05 | 2.8286e-05 | 0.078025 | 0.078025 | 0.078025 | 0.99315 | -0.047859 | 0.99461 | -0.037617 | 28.8982
31 | -0.0025666 | -0.00064314 | 0.0025666 | 0.00064312 | 2.1377e-08 | -2.0919e-08 | 0.0038728 | 0.0038728 | 0.0038728 | 0.98612 | -0.097463 | 0.98613 | -0.097403 | 1.4344
32 | 0.0012833 | 0.00032153 | -0.0012833 | -0.00032162 | 1.8068e-08 | -9.1567e-08 | 0.0019364 | 0.0019364 | 0.0019364 | 0.98612 | -0.097463 | 0.98611 | -0.097565 | 0.71719
33 | -0.0035891 | -0.0008994 | 0.0035894 | 0.00089933 | 2.3232e-07 | -7.2603e-08 | 0.0054158 | 0.0054157 | 0.0054158 | 0.98613 | -0.097403 | 0.9862 | -0.096935 | 2.0058
34 | -0.0048543 | -0.0012163 | 0.0048544 | 0.0012163 | 1.4921e-07 | 5.1026e-10 | 0.0073242 | 0.0073242 | 0.0073242 | 0.9862 | -0.096935 | 0.98623 | -0.096713 | 2.7127
35 | -0.0055223 | -0.0013837 | 0.0055225 | 0.0013837 | 1.4344e-07 | 1.2914e-08 | 0.0083319 | 0.0083319 | 0.0083319 | 0.98623 | -0.096713 | 0.98626 | -0.096526 | 3.0859
36 | -0.0067872 | -0.0017007 | 0.0067874 | 0.0017008 | 1.7616e-07 | 3.3397e-08 | 0.01024 | 0.01024 | 0.01024 | 0.98626 | -0.096526 | 0.98628 | -0.096338 | 3.7926
37 | 0.062529 | 0.015727 | -0.06247 | -0.015704 | 5.9038e-05 | 2.2565e-05 | 0.093298 | 0.093298 | 0.093298 | 0.99749 | -0.017446 | 0.99652 | -0.024224 | 34.5547
38 | -0.06412 | -0.016125 | 0.064152 | 0.016138 | 3.2313e-05 | 1.2354e-05 | 0.095671 | 0.095671 | 0.095671 | 0.99749 | -0.017446 | 0.99801 | -0.013832 | 35.4337
39 | 0.060749 | 0.015273 | -0.060721 | -0.015262 | 2.8102e-05 | 1.0737e-05 | 0.090727 | 0.090727 | 0.090727 | 0.99652 | -0.024224 | 0.99605 | -0.027547 | 33.6027
40 | -0.067678 | -0.017021 | 0.067809 | 0.017071 | 0.00013077 | 5.0025e-05 | 0.10093 | 0.10093 | 0.10093 | 0.99801 | -0.013832 | 1 | 0 | 37.3808
41 | 0.059008 | 0.014833 | -0.058943 | -0.014808 | 6.5343e-05 | 2.4957e-05 | 0.088169 | 0.088169 | 0.088169 | 0.99605 | -0.027547 | 0.99491 | -0.035507 | 32.6551
42 | 0.11071 | 0.027994 | -0.11067 | -0.027979 | 3.9585e-05 | 1.5102e-05 | 0.16482 | 0.16483 | 0.16483 | 1 | 0 | 0.99963 | -0.002538 | 30.5231
43 | 0.055963 | 0.014061 | -0.055947 | -0.014055 | 1.6422e-05 | 6.2673e-06 | 0.083713 | 0.083713 | 0.083713 | 0.99491 | -0.035507 | 0.99461 | -0.037617 | 31.0047
44 | 0.10873 | 0.027492 | -0.1085 | -0.027404 | 0.00022852 | 8.7162e-05 | 0.16193 | 0.16193 | 0.16193 | 0.99963 | -0.002538 | 0.99746 | -0.017484 | 29.9875
45 | 0.10673 | 0.026961 | -0.10664 | -0.026926 | 9.2379e-05 | 3.5226e-05 | 0.1593 | 0.1593 | 0.1593 | 0.99746 | -0.017484 | 0.99657 | -0.023643 | 29.4991
46 | 0.10454 | 0.0264 | -0.10446 | -0.026372 | 7.391e-05 | 2.8174e-05 | 0.15616 | 0.15616 | 0.15616 | 0.99657 | -0.023643 | 0.99585 | -0.028676 | 28.9184
47 | 0.10262 | 0.02591 | -0.10241 | -0.02583 | 0.000211 | 8.0409e-05 | 0.15341 | 0.15341 | 0.15341 | 0.99585 | -0.028676 | 0.99374 | -0.04334 | 28.4092
48 | 0.10113 | 0.02551 | -0.10085 | -0.025402 | 0.00028117 | 0.00010713 | 0.1515 | 0.1515 | 0.1515 | 0.99374 | -0.04334 | 0.99089 | -0.063223 | 28.0547
49 | 0.098868 | 0.024905 | -0.098556 | -0.024786 | 0.00031112 | 0.0001185 | 0.14851 | 0.14851 | 0.14851 | 0.99089 | -0.063223 | 0.98767 | -0.085795 | 27.5028
50 | -0.0074553 | -0.0018682 | 0.0074563 | 0.0018684 | 1.0035e-06 | 2.2371e-07 | 0.011248 | 0.011248 | 0.011248 | 0.98628 | -0.096338 | 0.98642 | -0.095366 | 4.1659
51 | -0.008635 | -0.0021638 | 0.0086352 | 0.0021638 | 1.691e-07 | 4.465e-08 | 0.013026 | 0.013026 | 0.013026 | 0.98642 | -0.095366 | 0.98644 | -0.095224 | 4.8244
52 | -0.010425 | -0.0026124 | 0.010426 | 0.0026126 | 8.6703e-07 | 2.6174e-07 | 0.015725 | 0.015725 | 0.015725 | 0.98644 | -0.095224 | 0.98652 | -0.094623 | 5.8242
53 | -0.011604 | -0.0029078 | 0.011604 | 0.0029078 | 7.3103e-08 | 2.3233e-08 | 0.017502 | 0.017502 | 0.017502 | 0.98652 | -0.094623 | 0.98653 | -0.094578 | 6.4822
54 | -0.013393 | -0.0033564 | 0.013397 | 0.0033576 | 3.6358e-06 | 1.216e-06 | 0.020201 | 0.020201 | 0.020201 | 0.98653 | -0.094578 | 0.98681 | -0.092617 | 7.482
55 | 0.096974 | 0.02439 | -0.096916 | -0.024368 | 5.7675e-05 | 2.1961e-05 | 0.14613 | 0.14613 | 0.14613 | 0.98767 | -0.085795 | 0.98706 | -0.090064 | 27.0613
56 | 0.094726 | 0.023819 | -0.094638 | -0.023786 | 8.7125e-05 | 3.316e-05 | 0.14283 | 0.14283 | 0.14283 | 0.98706 | -0.090064 | 0.98613 | -0.09667 | 26.4497
57 | -0.053749 | -0.013483 | 0.053814 | 0.013507 | 6.49e-05 | 2.4173e-05 | 0.081602 | 0.081602 | 0.081602 | 0.98017 | -0.13895 | 0.98139 | -0.13025 | 15.1115
58 | -0.056304 | -0.014131 | 0.056326 | 0.01414 | 2.1775e-05 | 8.1331e-06 | 0.085378 | 0.085377 | 0.085378 | 0.98139 | -0.13025 | 0.98178 | -0.12747 | 15.8107
59 | -0.015186 | -0.0038059 | 0.015188 | 0.0038066 | 1.9643e-06 | 6.7878e-07 | 0.022899 | 0.022899 | 0.022899 | 0.98681 | -0.092617 | 0.98694 | -0.091683 | 8.4811
60 | -0.016977 | -0.0042551 | 0.016983 | 0.0042572 | 5.8979e-06 | 2.084e-06 | 0.025597 | 0.025597 | 0.025597 | 0.98694 | -0.091683 | 0.98729 | -0.089174 | 9.4804
61 | 0.0035225 | 0.00088154 | -0.0035203 | -0.00088227 | 2.1472e-06 | -7.3455e-07 | 0.0053085 | 0.005309 | 0.005309 | 0.98729 | -0.089174 | 0.98667 | -0.093585 | 1.9663
62 | -0.059865 | -0.015026 | 0.05987 | 0.015028 | 5.4181e-06 | 2.0305e-06 | 0.090741 | 0.090741 | 0.090741 | 0.98178 | -0.12747 | 0.98187 | -0.12682 | 16.8039
63 | -0.061594 | -0.015461 | 0.061615 | 0.015468 | 2.0228e-05 | 7.5918e-06 | 0.093354 | 0.093354 | 0.093354 | 0.98187 | -0.12682 | 0.98221 | -0.12445 | 17.2878
64 | 0.092709 | 0.023302 | -0.092562 | -0.023246 | 0.00014659 | 5.5769e-05 | 0.13992 | 0.13992 | 0.13992 | 0.98613 | -0.09667 | 0.98452 | -0.10804 | 25.9106
65 | 0.086971 | 0.021845 | -0.086965 | -0.021843 | 5.8616e-06 | 2.2268e-06 | 0.13147 | 0.13147 | 0.13147 | 0.98452 | -0.10804 | 0.98445 | -0.10853 | 24.3455
66 | -0.064989 | -0.016314 | 0.065032 | 0.01633 | 4.2473e-05 | 1.598e-05 | 0.098466 | 0.098466 | 0.098466 | 0.98221 | -0.12445 | 0.98287 | -0.11975 | 18.2345
67 | -0.071944 | -0.018062 | 0.07196 | 0.018068 | 1.6395e-05 | 6.1936e-06 | 0.10893 | 0.10893 | 0.10893 | 0.98287 | -0.11975 | 0.9831 | -0.11811 | 20.1723
68 | -0.074953 | -0.018818 | 0.074959 | 0.018821 | 6.1813e-06 | 2.3384e-06 | 0.11346 | 0.11346 | 0.11346 | 0.9831 | -0.11811 | 0.98318 | -0.11752 | 21.0111
69 | -0.076589 | -0.019229 | 0.076626 | 0.019243 | 3.762e-05 | 1.4242e-05 | 0.11593 | 0.11593 | 0.11593 | 0.98318 | -0.11752 | 0.98368 | -0.11398 | 21.4679
70 | -0.082716 | -0.02077 | 0.082779 | 0.020794 | 6.2721e-05 | 2.3797e-05 | 0.12514 | 0.12514 | 0.12514 | 0.98368 | -0.11398 | 0.98445 | -0.10853 | 23.1739

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.18145 | 0.045599

## res_load
| p_mw | q_mvar
0 | 0.00050851 | 0.00012745
1 | 0.0056412 | 0.0014138
2 | 0.0026083 | 0.0006537
3 | 0.0053271 | 0.0013351
4 | 0.0052599 | 0.0013182
5 | 0.0023417 | 0.00058689
6 | 0.0025106 | 0.00062923
7 | 0.0021257 | 0.00053274
8 | 0.0021748 | 0.00054506
9 | 0.00227 | 0.00056891
10 | 0.0022366 | 0.00056053
11 | 0.0053565 | 0.0013425
12 | 0.0047517 | 0.0011909
13 | 0.0017896 | 0.00044852
14 | 0.0030859 | 0.00077339
15 | 0.0014497 | 0.00036334
16 | 0.0016196 | 0.00040591
17 | 0.0031782 | 0.00079653
18 | 0.0040495 | 0.0010149
19 | 0.0016153 | 0.00040484
20 | 0.006792 | 0.0017022
21 | 0.0040626 | 0.0010182
22 | 0.0031204 | 0.00078204
23 | 0.0012833 | 0.00032162
24 | 0.0010226 | 0.00025628
25 | 0.0012833 | 0.00032162
26 | 0.0012649 | 0.00031701
27 | 0.00066792 | 0.0001674
28 | 0.0012648 | 0.00031698
29 | 0.001591 | 0.00039874
30 | 0.0017214 | 0.00043142
31 | 0.003526 | 0.0008837
32 | 0.0017127 | 0.00042924
33 | 0.0021278 | 0.00053329
34 | 0.0029795 | 0.00074672
35 | 0.0019433 | 0.00048704
36 | 0.0038017 | 0.00095279
37 | 0.0017678 | 0.00044306
38 | 0.0021005 | 0.00052643
39 | 0.0018402 | 0.00046121
40 | 0.0012786 | 0.00032044
41 | 0.0019851 | 0.00049752
42 | 0.00066792 | 0.0001674
43 | 0.0011787 | 0.0002954
44 | 0.0017896 | 0.00044852
45 | 0.0011778 | 0.0002952
46 | 0.0017896 | 0.00044852
47 | 0.0015823 | 0.00039656
48 | 0.002191 | 0.00054911
49 | 0.0051672 | 0.001295
50 | 0.0024903 | 0.00062413
51 | 0.0040229 | 0.0010082
52 | 0.001789 | 0.00044836
53 | 0.0017896 | 0.00044852
54 | 0.0017896 | 0.00044852
55 | 0.0035387 | 0.00088688
56 | 0.0017243 | 0.00043215
57 | 0.0019295 | 0.00048358
58 | 0.0055915 | 0.0014014
59 | 0.0033745 | 0.00084572
60 | 0.006912 | 0.0017323
61 | 0.0029927 | 0.00075005
62 | 0.0016299 | 0.00040849
63 | 0.00609 | 0.0015263
64 | 0.0041858 | 0.0010491
65 | 0.0035203 | 0.00088227

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1