## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1511-12_1_3_node_32 | 0.4 | n |  | TRUE
1 | bus_LV_1511-12_1_3_node_31 | 0.4 | n |  | TRUE
2 | bus_LV_1511-12_1_3_node_28 | 0.4 | n |  | TRUE
3 | bus_LV_1511-12_1_3_node_33 | 0.4 | n |  | TRUE
4 | bus_LV_1511-12_1_3_node_26 | 0.4 | n |  | TRUE
5 | bus_LV_1511-12_1_3_node_18 | 0.4 | n |  | TRUE
6 | bus_LV_1511-12_1_3_node_19 | 0.4 | n |  | TRUE
7 | bus_LV_1511-12_1_3_node_20 | 0.4 | n |  | TRUE
8 | bus_LV_1511-12_1_3_node_21 | 0.4 | n |  | TRUE
9 | bus_LV_1511-12_1_3_node_23 | 0.4 | n |  | TRUE
10 | bus_LV_1511-12_1_3_node_30 | 0.4 | n |  | TRUE
11 | bus_LV_1511-12_1_3_node_27 | 0.4 | n |  | TRUE
12 | bus_LV_1511-12_1_3_node_48 | 0.4 | n |  | TRUE
13 | bus_LV_1511-12_1_3_node_42 | 0.4 | n |  | TRUE
14 | bus_LV_1511-12_1_3_node_24 | 0.4 | n |  | TRUE
15 | bus_LV_1511-12_1_3_node_25 | 0.4 | n |  | TRUE
16 | bus_LV_1511-12_1_3_node_29 | 0.4 | n |  | TRUE
17 | bus_LV_1511-12_1_3_node_34 | 0.4 | n |  | TRUE
18 | bus_LV_1511-12_1_3_node_35 | 0.4 | n |  | TRUE
19 | bus_LV_1511-12_1_3_node_38 | 0.4 | n |  | TRUE
20 | bus_LV_1511-12_1_3_node_39 | 0.4 | n |  | TRUE
21 | bus_LV_1511-12_1_3_node_40 | 0.4 | n |  | TRUE
22 | bus_LV_1511-12_1_3_node_41 | 0.4 | n |  | TRUE
23 | bus_LV_1511-12_1_3_node_43 | 0.4 | n |  | TRUE
24 | bus_LV_1511-12_1_3_node_45 | 0.4 | n |  | TRUE
25 | bus_LV_1511-12_1_3_node_50 | 0.4 | n |  | TRUE
26 | bus_LV_1511-12_1_3_node_44 | 0.4 | n |  | TRUE
27 | bus_LV_1511-12_1_3_node_47 | 0.4 | n |  | TRUE
28 | bus_LV_1511-12_1_3_node_46 | 0.4 | n |  | TRUE
29 | bus_LV_1511-12_1_3_node_51 | 0.4 | n |  | TRUE
30 | bus_LV_1511-12_1_3_node_52 | 0.4 | n |  | TRUE
31 | bus_MV_137_0_node_157 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1511-12_1_3_load_32 | 0 | 0.00068566 | 0.00017184 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1511-12_1_3_load_31 | 1 | 0.0013858 | 0.00034732 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1511-12_1_3_load_28 | 2 | 0.0022217 | 0.0005568 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1511-12_1_3_load_18 | 5 | 0.0060393 | 0.0015136 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1511-12_1_3_load_21 | 8 | 0.0013165 | 0.00032994 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1511-12_1_3_load_23 | 9 | 0.010926 | 0.0027384 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1511-12_1_3_load_27 | 11 | 0.0008005 | 0.00020063 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1511-12_1_3_load_24 | 14 | 0.0011717 | 0.00029365 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1511-12_1_3_load_25 | 15 | 0.0013051 | 0.00032709 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1511-12_1_3_load_34 | 17 | 0.0010658 | 0.00026712 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1511-12_1_3_load_35 | 18 | 0.0014875 | 0.00037279 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1511-12_1_3_load_38 | 19 | 0.0019831 | 0.00049702 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1511-12_1_3_load_41 | 22 | 0.028577 | 0.0071622 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1511-12_1_3_load_50 | 25 | 0.0017598 | 0.00044106 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1511-12_1_3_load_46 | 28 | 0.0030355 | 0.00076076 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1511-12_1_3_load_51 | 29 | 0.0096787 | 0.0024257 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1511-12_1_3_load_52 | 30 | 0.0040835 | 0.0010234 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 13 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1511-12_1_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.078785 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1511-12_1_3_line_1 | NAYY 4x150 SE | 1 | 16 | 0.029431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1511-12_1_3_line_2 | NAYY 4x150 SE | 2 | 3 | 0.071693 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1511-12_1_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.23267 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1511-12_1_3_line_4 | NAYY 4x150 SE | 3 | 17 | 0.094606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1511-12_1_3_line_5 | NAYY 4x150 SE | 3 | 18 | 0.062825 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1511-12_1_3_line_6 | NAYY 4x150 SE | 4 | 16 | 0.021108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1511-12_1_3_line_7 | NAYY 4x150 SE | 4 | 14 | 0.027369 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1511-12_1_3_line_8 | NAYY 4x150 SE | 5 | 6 | 0.08906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1511-12_1_3_line_9 | NAYY 4x150 SE | 5 | 7 | 0.012814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1511-12_1_3_line_10 | NAYY 4x150 SE | 6 | 8 | 0.041001 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1511-12_1_3_line_11 | NAYY 4x150 SE | 7 | 9 | 0.052503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1511-12_1_3_line_12 | NAYY 4x150 SE | 7 | 10 | 0.38688 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1511-12_1_3_line_13 | NAYY 4x150 SE | 8 | 12 | 0.019569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1511-12_1_3_line_14 | NAYY 4x150 SE | 10 | 11 | 0.075301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1511-12_1_3_line_15 | NAYY 4x150 SE | 11 | 15 | 0.16233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1511-12_1_3_line_16 | NAYY 4x150 SE | 12 | 13 | 0.53883 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
17 | LV_1511-12_1_3_line_17 | NAYY 4x150 SE | 13 | 23 | 0.1113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1511-12_1_3_line_18 | NAYY 4x150 SE | 14 | 15 | 0.019077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1511-12_1_3_line_19 | NAYY 4x150 SE | 19 | 20 | 0.072355 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1511-12_1_3_line_20 | NAYY 4x150 SE | 19 | 21 | 0.075475 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1511-12_1_3_line_21 | NAYY 4x150 SE | 20 | 22 | 0.049386 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1511-12_1_3_line_22 | NAYY 4x150 SE | 20 | 23 | 0.069641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1511-12_1_3_line_23 | NAYY 4x150 SE | 21 | 24 | 0.019529 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1511-12_1_3_line_24 | NAYY 4x150 SE | 23 | 25 | 0.10452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1511-12_1_3_line_25 | NAYY 4x150 SE | 23 | 26 | 0.080498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1511-12_1_3_line_26 | NAYY 4x150 SE | 24 | 29 | 0.008059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1511-12_1_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.14404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1511-12_1_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.028159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1511-12_1_3_line_29 | NAYY 4x150 SE | 27 | 30 | 0.017937 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1511-12_1_3_trafo_42 | 0.25 MVA 20/0.4 kV | 31 | 13 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12
0 | 2672171.0488 | 1183257.5385 | 2672160.7462 | 1183262.06 | 2672139.4328 | 1183265.5611 | 2672117.7214 | 1183264.7105 | 2672101.6868 | 1183262.8832 | 2672094.2289 | 1183265.961
1 | 2672199.4825 | 1183250.3529 | 2672176.5504 | 1183255.124 | 2672171.0488 | 1183257.5385
2 | 2672482.7009 | 1183333.4081 | 2672466.005 | 1183341.4666 | 2672450.8201 | 1183343.9067 | 2672413.1595 | 1183346.8422
3 | 2672220.2526 | 1183246.9567 | 2672221.9564 | 1183258.2616 | 2672226.5393 | 1183269.5123 | 2672245.2575 | 1183290.0165 | 2672265.2686 | 1183305.2333 | 2672318.9596 | 1183332.9192 | 2672355.4005 | 1183343.0982 | 2672376.1664 | 1183345.7282 | 2672413.1595 | 1183346.8422
4 | 2672482.7009 | 1183333.4081 | 2672465.328 | 1183331.786 | 2672447.7622 | 1183327.8158 | 2672433.4036 | 1183329.4766 | 2672421.2799 | 1183333.2101 | 2672408.1504 | 1183334.8858 | 2672389.114 | 1183334.4557
5 | 2672482.7009 | 1183333.4081 | 2672513.8459 | 1183319.9991 | 2672515.8585 | 1183318.9896 | 2672541.028 | 1183310.1865
6 | 2672199.4825 | 1183250.3529 | 2672211.9808 | 1183249.1138 | 2672220.2526 | 1183246.9567
7 | 2672220.2526 | 1183246.9567 | 2672237.6474 | 1183225.826
8 | 2672552.2909 | 1182592.7273 | 2672544.3738 | 1182603.3377 | 2672538.2367 | 1182618.9281 | 2672520.109 | 1182675.1439
9 | 2672515.9045 | 1182686.8421 | 2672515.9537 | 1182682.7737 | 2672519.3705 | 1182677.4341 | 2672520.109 | 1182675.1439
10 | 2672552.2909 | 1182592.7273 | 2672562.3268 | 1182584.3438 | 2672564.6928 | 1182574.9781 | 2672566.465 | 1182563.5706 | 2672568.7165 | 1182557.2389
11 | 2672515.9045 | 1182686.8421 | 2672498.7276 | 1182683.3879 | 2672491.835 | 1182674.3437 | 2672490.2571 | 1182660.2275 | 2672487.0166 | 1182651.3969
12 | 2672344.9558 | 1183033.9022 | 2672515.9045 | 1182686.8421
13 | 2672580.7506 | 1182542.2422 | 2672570.2911 | 1182552.8106 | 2672568.7165 | 1182557.2389
14 | 2672344.9558 | 1183033.9022 | 2672316.3068 | 1183073.8577 | 2672315.1939 | 1183093.9449 | 2672313.7491 | 1183099.7865
15 | 2672250.4974 | 1183211.7311 | 2672269.213 | 1183191.5365 | 2672278.2993 | 1183169.9778 | 2672270.2162 | 1183153.9377 | 2672260.8232 | 1183142.0508 | 2672261.2054 | 1183129.9928 | 2672264.1298 | 1183123.6466 | 2672269.1814 | 1183117.5595 | 2672274.0807 | 1183112.7046 | 2672293.9631 | 1183110.7876 | 2672304.0701 | 1183110.3315 | 2672308.364 | 1183106.292 | 2672313.7491 | 1183099.7865
16 | 2672985.7795 | 1182897.6119 | 2672580.7506 | 1182542.2422
17 | 2673096.2898 | 1182883.7501 | 2673085.4322 | 1182884.3625 | 2673063.3964 | 1182885.5836 | 2673017.8987 | 1182890.3765 | 2672985.7795 | 1182897.6119
18 | 2672237.6474 | 1183225.826 | 2672239.3374 | 1183223.773 | 2672250.4974 | 1183211.7311
19 | 2673150.1815 | 1182913.7806 | 2673166.3921 | 1182930.6328 | 2673200.7841 | 1182965.4953
20 | 2673270.8633 | 1182986.6416 | 2673258.8592 | 1182984.8716 | 2673243.0995 | 1182986.7579 | 2673223.263 | 1182978.5997 | 2673200.7841 | 1182965.4953
21 | 2673150.1815 | 1182913.7806 | 2673198.3269 | 1182925.3751
22 | 2673096.2898 | 1182883.7501 | 2673106.1051 | 1182877.1993 | 2673119.4389 | 1182884.5329 | 2673133.3011 | 1182900.5002 | 2673150.1815 | 1182913.7806
23 | 2673270.8633 | 1182986.6416 | 2673277.2115 | 1182973.278 | 2673272.6535 | 1182971.9993
24 | 2673096.2898 | 1182883.7501 | 2673081.08 | 1182891.8694 | 2673052.336 | 1182902.203 | 2673039.5222 | 1182908.5728 | 2673021.3459 | 1182907.6286 | 2672999.0418 | 1182917.7185
25 | 2673096.2898 | 1182883.7501 | 2673106.1051 | 1182877.1993 | 2673095.1483 | 1182872.7964 | 2673135.3394 | 1182852.9861 | 2673147.2822 | 1182854.8106
26 | 2673265.3582 | 1182968.5303 | 2673272.6535 | 1182971.9993
27 | 2673147.2822 | 1182854.8106 | 2673156.166 | 1182850.7611 | 2673161.6648 | 1182844.4134 | 2673163.849 | 1182835.0012 | 2673163.9229 | 1182783.9277 | 2673165.3265 | 1182776.5293 | 2673175.225 | 1182765.6882 | 2673187.5706 | 1182761.4253 | 2673198.9979 | 1182762.3209 | 2673211.4511 | 1182766.7533 | 2673216.1193 | 1182769.0228
28 | 2673147.2822 | 1182854.8106 | 2673156.5411 | 1182858.8148 | 2673160.5587 | 1182863.0886 | 2673168.5657 | 1182872.3011
29 | 2673216.1193 | 1182769.0228 | 2673212.96 | 1182773.2422 | 2673207.205 | 1182774.9285 | 2673201.0527 | 1182772.2629

## bus_geodata
| x | y | coords
0 | 2672094.2289 | 1183265.961
1 | 2672171.0488 | 1183257.5385
2 | 2672413.1595 | 1183346.8422
3 | 2672482.7009 | 1183333.4081
4 | 2672220.2526 | 1183246.9567
5 | 2672520.109 | 1182675.1439
6 | 2672552.2909 | 1182592.7273
7 | 2672515.9045 | 1182686.8421
8 | 2672568.7165 | 1182557.2389
9 | 2672487.0166 | 1182651.3969
10 | 2672344.9558 | 1183033.9022
11 | 2672313.7491 | 1183099.7865
12 | 2672580.7506 | 1182542.2422
13 | 2672985.7795 | 1182897.6119
14 | 2672237.6474 | 1183225.826
15 | 2672250.4974 | 1183211.7311
16 | 2672199.4825 | 1183250.3529
17 | 2672389.114 | 1183334.4557
18 | 2672541.028 | 1183310.1865
19 | 2673200.7841 | 1182965.4953
20 | 2673150.1815 | 1182913.7806
21 | 2673270.8633 | 1182986.6416
22 | 2673198.3269 | 1182925.3751
23 | 2673096.2898 | 1182883.7501
24 | 2673272.6535 | 1182971.9993
25 | 2672999.0418 | 1182917.7185
26 | 2673147.2822 | 1182854.8106
27 | 2673216.1193 | 1182769.0228
28 | 2673168.5657 | 1182872.3011
29 | 2673265.3582 | 1182968.5303
30 | 2673201.0527 | 1182772.2629
31 | 2673026.7145 | 1182853.062

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97272 | -0.19313 | 0.00068566 | 0.00017184
1 | 0.9728 | -0.19256 | 0.0013858 | 0.00034732
2 | 0.97132 | -0.20326 | 0.0022217 | 0.0005568
3 | 0.97105 | -0.20521 | 0 | 0
4 | 0.97295 | -0.19145 | 0 | 0
5 | 0.98292 | -0.11984 | 0.0060393 | 0.0015136
6 | 0.98643 | -0.094889 | 0 | 0
7 | 0.98252 | -0.12264 | 0 | 0
8 | 0.98805 | -0.08346 | 0.0013165 | 0.00032994
9 | 0.98169 | -0.12858 | 0.010926 | 0.0027384
10 | 0.97678 | -0.16377 | 0 | 0
11 | 0.97567 | -0.17182 | 0.0008005 | 0.00020063
12 | 0.98886 | -0.077754 | 0 | 0
13 | 1 | 0 | -0.079554 | -0.01986
14 | 0.97322 | -0.18946 | 0.0011717 | 0.00029365
15 | 0.97345 | -0.18783 | 0.0013051 | 0.00032709
16 | 0.97289 | -0.19191 | 0 | 0
17 | 0.9709 | -0.20628 | 0.0010658 | 0.00026712
18 | 0.97091 | -0.2062 | 0.0014875 | 0.00037279
19 | 0.98683 | -0.092269 | 0.0019831 | 0.00049702
20 | 0.98805 | -0.083622 | 0 | 0
21 | 0.98578 | -0.099768 | 0 | 0
22 | 0.98601 | -0.098082 | 0.028577 | 0.0071622
23 | 0.9921 | -0.055073 | 0 | 0
24 | 0.9855 | -0.10171 | 0 | 0
25 | 0.99184 | -0.056944 | 0.0017598 | 0.00044106
26 | 0.99128 | -0.060907 | 0 | 0
27 | 0.99043 | -0.066899 | 0 | 0
28 | 0.99116 | -0.061776 | 0.0030355 | 0.00076076
29 | 0.98539 | -0.10251 | 0.0096787 | 0.0024257
30 | 0.99033 | -0.067644 | 0.0040835 | 0.0010234
31 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00068566 | -0.00017184 | 0.00068571 | 0.00017089 | 5.4068e-08 | -9.5725e-07 | 0.0010489 | 0.0010485 | 0.0010489 | 0.97272 | -0.19313 | 0.9728 | -0.19256 | 0.38848
1 | -0.0020715 | -0.0005182 | 0.0020717 | 0.00051791 | 1.8434e-07 | -2.9453e-07 | 0.0031683 | 0.0031682 | 0.0031683 | 0.9728 | -0.19256 | 0.97289 | -0.19191 | 1.1734
2 | 0.0025544 | 0.00063749 | -0.0025537 | -0.00063811 | 6.8476e-07 | -6.2378e-07 | 0.0039122 | 0.0039125 | 0.0039125 | 0.97132 | -0.20326 | 0.97105 | -0.20521 | 1.4491
3 | -0.004776 | -0.0011943 | 0.0047838 | 0.0011944 | 7.7691e-06 | 1.0338e-07 | 0.0073156 | 0.0073146 | 0.0073156 | 0.97132 | -0.20326 | 0.97295 | -0.19145 | 2.7095
4 | 0.001066 | 0.00026601 | -0.0010658 | -0.00026712 | 1.5748e-07 | -1.1096e-06 | 0.0016331 | 0.0016335 | 0.0016335 | 0.97105 | -0.20521 | 0.9709 | -0.20628 | 0.60501
5 | 0.0014877 | 0.0003721 | -0.0014875 | -0.00037279 | 2.0371e-07 | -6.9873e-07 | 0.0022794 | 0.0022797 | 0.0022797 | 0.97105 | -0.20521 | 0.97091 | -0.2062 | 0.84433
6 | 0.0020718 | 0.0005177 | -0.0020717 | -0.00051791 | 1.322e-07 | -2.1128e-07 | 0.0031681 | 0.0031682 | 0.0031682 | 0.97295 | -0.19145 | 0.97289 | -0.19191 | 1.1734
7 | -0.0068556 | -0.0017121 | 0.0068575 | 0.0017125 | 1.8767e-06 | 3.818e-07 | 0.010483 | 0.010483 | 0.010483 | 0.97295 | -0.19145 | 0.97322 | -0.18946 | 3.8825
8 | -0.027209 | -0.0068187 | 0.027303 | 0.0068539 | 9.429e-05 | 3.5133e-05 | 0.041191 | 0.041191 | 0.041191 | 0.98292 | -0.11984 | 0.98643 | -0.094889 | 15.2559
9 | 0.02117 | 0.0053051 | -0.021162 | -0.0053021 | 8.2127e-06 | 2.9964e-06 | 0.032048 | 0.032048 | 0.032048 | 0.98292 | -0.11984 | 0.98252 | -0.12264 | 11.8697
10 | -0.027303 | -0.0068539 | 0.027347 | 0.00687 | 4.3408e-05 | 1.6171e-05 | 0.041191 | 0.04119 | 0.041191 | 0.98643 | -0.094889 | 0.98805 | -0.08346 | 15.2558
11 | 0.010935 | 0.0027411 | -0.010926 | -0.0027384 | 8.9859e-06 | 2.7917e-06 | 0.016561 | 0.016562 | 0.016562 | 0.98252 | -0.12264 | 0.98169 | -0.12858 | 6.1339
12 | 0.010226 | 0.002561 | -0.010168 | -0.0025436 | 5.7908e-05 | 1.7401e-05 | 0.015487 | 0.015489 | 0.015489 | 0.98252 | -0.12264 | 0.97678 | -0.16377 | 5.7366
13 | -0.028663 | -0.0072 | 0.028686 | 0.0072085 | 2.276e-05 | 8.5032e-06 | 0.043173 | 0.043173 | 0.043173 | 0.98805 | -0.08346 | 0.98886 | -0.077754 | 15.99
14 | 0.010168 | 0.0025436 | -0.010157 | -0.0025402 | 1.1273e-05 | 3.3941e-06 | 0.015489 | 0.015489 | 0.015489 | 0.97678 | -0.16377 | 0.97567 | -0.17182 | 5.7367
15 | 0.0093567 | 0.0023396 | -0.0093361 | -0.0023337 | 2.0623e-05 | 5.9092e-06 | 0.014268 | 0.014269 | 0.014269 | 0.97567 | -0.17182 | 0.97345 | -0.18783 | 5.2848
16 | -0.028686 | -0.0072085 | 0.028999 | 0.007315 | 0.00031331 | 0.00010652 | 0.043173 | 0.043168 | 0.043173 | 0.98886 | -0.077754 | 1 | 0 | 7.995
17 | 0.049755 | 0.012545 | -0.049374 | -0.0124 | 0.00038096 | 0.00014507 | 0.074062 | 0.074063 | 0.074063 | 1 | 0 | 0.9921 | -0.055073 | 27.4307
18 | -0.0080292 | -0.0020061 | 0.008031 | 0.0020066 | 1.7934e-06 | 4.5264e-07 | 0.012274 | 0.012274 | 0.012274 | 0.97322 | -0.18946 | 0.97345 | -0.18783 | 4.5459
19 | -0.011676 | -0.0029267 | 0.01169 | 0.0029312 | 1.3994e-05 | 4.4567e-06 | 0.017605 | 0.017605 | 0.017605 | 0.98683 | -0.092269 | 0.98805 | -0.083622 | 6.5206
20 | 0.0096925 | 0.0024297 | -0.0096824 | -0.0024268 | 1.006e-05 | 2.906e-06 | 0.014615 | 0.014616 | 0.014616 | 0.98683 | -0.092269 | 0.98578 | -0.099768 | 5.4132
21 | 0.028635 | 0.0071836 | -0.028577 | -0.0071622 | 5.7317e-05 | 2.1414e-05 | 0.043127 | 0.043127 | 0.043127 | 0.98805 | -0.083622 | 0.98601 | -0.098082 | 15.9729
22 | -0.040324 | -0.010115 | 0.040485 | 0.010175 | 0.00016028 | 6.0751e-05 | 0.060732 | 0.060731 | 0.060732 | 0.98805 | -0.083622 | 0.9921 | -0.055073 | 22.4932
23 | 0.0096824 | 0.0024268 | -0.0096798 | -0.002426 | 2.6031e-06 | 7.5229e-07 | 0.014616 | 0.014616 | 0.014616 | 0.98578 | -0.099768 | 0.9855 | -0.10171 | 5.4132
24 | 0.0017603 | 0.00043989 | -0.0017598 | -0.00044106 | 4.5456e-07 | -1.1745e-06 | 0.0026398 | 0.0026402 | 0.0026402 | 0.9921 | -0.055073 | 0.99184 | -0.056944 | 0.97786
25 | 0.0071289 | 0.0017845 | -0.0071232 | -0.0017833 | 5.7421e-06 | 1.1699e-06 | 0.010692 | 0.010692 | 0.010692 | 0.9921 | -0.055073 | 0.99128 | -0.060907 | 3.96
26 | 0.0096798 | 0.002426 | -0.0096787 | -0.0024257 | 1.0742e-06 | 3.105e-07 | 0.014616 | 0.014616 | 0.014616 | 0.9855 | -0.10171 | 0.98539 | -0.10251 | 5.4132
27 | 0.0040873 | 0.0010228 | -0.004084 | -0.0010234 | 3.3833e-06 | -5.5404e-07 | 0.006135 | 0.0061356 | 0.0061356 | 0.99128 | -0.060907 | 0.99043 | -0.066899 | 2.2725
28 | 0.0030358 | 0.00076054 | -0.0030355 | -0.00076076 | 3.649e-07 | -2.2262e-07 | 0.004557 | 0.0045571 | 0.0045571 | 0.99128 | -0.060907 | 0.99116 | -0.061776 | 1.6878
29 | 0.004084 | 0.0010234 | -0.0040835 | -0.0010234 | 4.2136e-07 | -6.8751e-08 | 0.0061356 | 0.0061357 | 0.0061357 | 0.99043 | -0.066899 | 0.99033 | -0.067644 | 2.2725

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.079554 | 0.01986

## res_load
| p_mw | q_mvar
0 | 0.00068566 | 0.00017184
1 | 0.0013858 | 0.00034732
2 | 0.0022217 | 0.0005568
3 | 0.0060393 | 0.0015136
4 | 0.0013165 | 0.00032994
5 | 0.010926 | 0.0027384
6 | 0.0008005 | 0.00020063
7 | 0.0011717 | 0.00029365
8 | 0.0013051 | 0.00032709
9 | 0.0010658 | 0.00026712
10 | 0.0014875 | 0.00037279
11 | 0.0019831 | 0.00049702
12 | 0.028577 | 0.0071622
13 | 0.0017598 | 0.00044106
14 | 0.0030355 | 0.00076076
15 | 0.0096787 | 0.0024257
16 | 0.0040835 | 0.0010234

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1