## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1511-15_0_2_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1511-15_0_2_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1511-15_0_2_node_3 | 0.4 | n |  | TRUE
3 | bus_LV_1511-15_0_2_node_5 | 0.4 | n |  | TRUE
4 | bus_LV_1511-15_0_2_node_2 | 0.4 | n |  | TRUE
5 | bus_LV_1511-15_0_2_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1511-15_0_2_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1511-15_0_2_node_7 | 0.4 | n |  | TRUE
8 | bus_LV_1511-15_0_2_node_8 | 0.4 | n |  | TRUE
9 | bus_LV_1511-15_0_2_node_17 | 0.4 | n |  | TRUE
10 | bus_LV_1511-15_0_2_node_18 | 0.4 | n |  | TRUE
11 | bus_LV_1511-15_0_2_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1511-15_0_2_node_10 | 0.4 | n |  | TRUE
13 | bus_LV_1511-15_0_2_node_21 | 0.4 | n |  | TRUE
14 | bus_LV_1511-15_0_2_node_22 | 0.4 | n |  | TRUE
15 | bus_LV_1511-15_0_2_node_23 | 0.4 | n |  | TRUE
16 | bus_LV_1511-15_0_2_node_19 | 0.4 | n |  | TRUE
17 | bus_LV_1511-15_0_2_node_11 | 0.4 | n |  | TRUE
18 | bus_LV_1511-15_0_2_node_24 | 0.4 | n |  | TRUE
19 | bus_LV_1511-15_0_2_node_25 | 0.4 | n |  | TRUE
20 | bus_LV_1511-15_0_2_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1511-15_0_2_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1511-15_0_2_node_26 | 0.4 | n |  | TRUE
23 | bus_LV_1511-15_0_2_node_27 | 0.4 | n |  | TRUE
24 | bus_LV_1511-15_0_2_node_14 | 0.4 | n |  | TRUE
25 | bus_LV_1511-15_0_2_node_15 | 0.4 | n |  | TRUE
26 | bus_LV_1511-15_0_2_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_1511-15_0_2_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_1511-15_0_2_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1511-15_0_2_node_33 | 0.4 | n |  | TRUE
30 | bus_LV_1511-15_0_2_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_1511-15_0_2_node_20 | 0.4 | n |  | TRUE
32 | bus_LV_1511-15_0_2_node_36 | 0.4 | n |  | TRUE
33 | bus_LV_1511-15_0_2_node_37 | 0.4 | n |  | TRUE
34 | bus_LV_1511-15_0_2_node_31 | 0.4 | n |  | TRUE
35 | bus_LV_1511-15_0_2_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_1511-15_0_2_node_49 | 0.4 | n |  | TRUE
37 | bus_LV_1511-15_0_2_node_42 | 0.4 | n |  | TRUE
38 | bus_LV_1511-15_0_2_node_30 | 0.4 | n |  | TRUE
39 | bus_LV_1511-15_0_2_node_43 | 0.4 | n |  | TRUE
40 | bus_LV_1511-15_0_2_node_41 | 0.4 | n |  | TRUE
41 | bus_LV_1511-15_0_2_node_47 | 0.4 | n |  | TRUE
42 | bus_LV_1511-15_0_2_node_40 | 0.4 | n |  | TRUE
43 | bus_LV_1511-15_0_2_node_38 | 0.4 | n |  | TRUE
44 | bus_LV_1511-15_0_2_node_39 | 0.4 | n |  | TRUE
45 | bus_LV_1511-15_0_2_node_50 | 0.4 | n |  | TRUE
46 | bus_LV_1511-15_0_2_node_51 | 0.4 | n |  | TRUE
47 | bus_LV_1511-15_0_2_node_53 | 0.4 | n |  | TRUE
48 | bus_LV_1511-15_0_2_node_52 | 0.4 | n |  | TRUE
49 | bus_LV_1511-15_0_2_node_54 | 0.4 | n |  | TRUE
50 | bus_LV_1511-15_0_2_node_56 | 0.4 | n |  | TRUE
51 | bus_LV_1511-15_0_2_node_44 | 0.4 | n |  | TRUE
52 | bus_LV_1511-15_0_2_node_45 | 0.4 | n |  | TRUE
53 | bus_LV_1511-15_0_2_node_46 | 0.4 | n |  | TRUE
54 | bus_LV_1511-15_0_2_node_48 | 0.4 | n |  | TRUE
55 | bus_MV_136_1_node_144 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1511-15_0_2_load_0 | 0 | 0.0040529 | 0.0010158 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1511-15_0_2_load_1 | 1 | 0.0035305 | 0.00088483 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1511-15_0_2_load_3 | 2 | 0.0035701 | 0.00089475 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1511-15_0_2_load_2 | 4 | 0.0042957 | 0.0010766 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1511-15_0_2_load_4 | 5 | 0.0024908 | 0.00062424 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1511-15_0_2_load_6 | 6 | 0.0037758 | 0.0009463 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1511-15_0_2_load_7 | 7 | 0.0024317 | 0.00060944 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1511-15_0_2_load_8 | 8 | 0.0026991 | 0.00067645 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1511-15_0_2_load_17 | 9 | 0.0012267 | 0.00030744 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1511-15_0_2_load_18 | 10 | 0.0053957 | 0.0013523 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1511-15_0_2_load_9 | 11 | 0.0045026 | 0.0011285 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1511-15_0_2_load_10 | 12 | 0.0028084 | 0.00070385 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1511-15_0_2_load_22 | 14 | 0.0036715 | 0.00092016 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1511-15_0_2_load_23 | 15 | 0.0027174 | 0.00068104 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1511-15_0_2_load_19 | 16 | 0.003536 | 0.0008862 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1511-15_0_2_load_11 | 17 | 0.0030051 | 0.00075315 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1511-15_0_2_load_24 | 18 | 0.0030151 | 0.00075565 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1511-15_0_2_load_25 | 19 | 0.001999 | 0.000501 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1511-15_0_2_load_12 | 20 | 0.0029201 | 0.00073184 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1511-15_0_2_load_13 | 21 | 0.0032491 | 0.0008143 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1511-15_0_2_load_26 | 22 | 0.0037898 | 0.00094981 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1511-15_0_2_load_14 | 24 | 0.0029581 | 0.00074136 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1511-15_0_2_load_15 | 25 | 0.00367 | 0.00091978 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1511-15_0_2_load_28 | 26 | 0.002827 | 0.00070851 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1511-15_0_2_load_29 | 27 | 0.0019841 | 0.00049725 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1511-15_0_2_load_16 | 28 | 0.006484 | 0.001625 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1511-15_0_2_load_33 | 29 | 0.0019921 | 0.00049926 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1511-15_0_2_load_34 | 30 | 0.001852 | 0.00046416 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1511-15_0_2_load_20 | 31 | 0.0033904 | 0.00084971 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1511-15_0_2_load_36 | 32 | 0.0015598 | 0.00039094 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1511-15_0_2_load_37 | 33 | 0.0015477 | 0.0003879 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1511-15_0_2_load_31 | 34 | 0.0018727 | 0.00046934 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1511-15_0_2_load_32 | 35 | 0.0023554 | 0.00059031 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1511-15_0_2_load_49 | 36 | 0.0019944 | 0.00049986 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1511-15_0_2_load_42 | 37 | 0.00081173 | 0.00020344 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1511-15_0_2_load_30 | 38 | 0.0012748 | 0.00031951 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1511-15_0_2_load_43 | 39 | 0.0011412 | 0.00028602 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1511-15_0_2_load_41 | 40 | 0.0018215 | 0.00045651 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1511-15_0_2_load_47 | 41 | 0.0017396 | 0.00043597 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1511-15_0_2_load_40 | 42 | 0.0019457 | 0.00048764 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1511-15_0_2_load_38 | 43 | 0.001841 | 0.0004614 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1511-15_0_2_load_39 | 44 | 0.0029666 | 0.00074349 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1511-15_0_2_load_50 | 45 | 0.0028258 | 0.00070821 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1511-15_0_2_load_51 | 46 | 0.003666 | 0.00091878 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1511-15_0_2_load_53 | 47 | 0.0010455 | 0.00026202 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1511-15_0_2_load_52 | 48 | 0.00077335 | 0.00019382 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1511-15_0_2_load_54 | 49 | 0.0022462 | 0.00056294 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1511-15_0_2_load_56 | 50 | 0.00074533 | 0.0001868 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1511-15_0_2_load_44 | 51 | 0.00092498 | 0.00023182 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1511-15_0_2_load_45 | 52 | 0.0014108 | 0.00035357 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1511-15_0_2_load_46 | 53 | 0.0022003 | 0.00055145 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1511-15_0_2_load_48 | 54 | 0.0043135 | 0.0010811 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 19 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1511-15_0_2_line_0 | NAYY 4x150 SE | 0 | 1 | 0.039635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1511-15_0_2_line_1 | NAYY 4x150 SE | 0 | 2 | 0.03358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1511-15_0_2_line_2 | NAYY 4x150 SE | 0 | 3 | 0.034198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1511-15_0_2_line_3 | NAYY 4x150 SE | 1 | 4 | 0.023163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1511-15_0_2_line_4 | NAYY 4x150 SE | 2 | 5 | 0.0026346 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1511-15_0_2_line_5 | NAYY 4x150 SE | 3 | 7 | 0.036143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1511-15_0_2_line_6 | NAYY 4x150 SE | 4 | 9 | 0.0092943 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1511-15_0_2_line_7 | NAYY 4x150 SE | 5 | 6 | 0.021336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1511-15_0_2_line_8 | NAYY 4x150 SE | 6 | 8 | 0.0060926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1511-15_0_2_line_9 | NAYY 4x150 SE | 8 | 11 | 0.022051 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1511-15_0_2_line_10 | NAYY 4x150 SE | 9 | 10 | 0.0082554 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1511-15_0_2_line_11 | NAYY 4x150 SE | 10 | 30 | 0.032766 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1511-15_0_2_line_12 | NAYY 4x150 SE | 10 | 31 | 0.019176 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1511-15_0_2_line_13 | NAYY 4x150 SE | 11 | 12 | 0.0032546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1511-15_0_2_line_14 | NAYY 4x150 SE | 12 | 17 | 0.024085 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1511-15_0_2_line_15 | NAYY 4x150 SE | 13 | 14 | 0.016735 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1511-15_0_2_line_16 | NAYY 4x150 SE | 13 | 15 | 0.020682 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1511-15_0_2_line_17 | NAYY 4x150 SE | 13 | 16 | 0.009727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1511-15_0_2_line_18 | NAYY 4x150 SE | 14 | 18 | 0.003543 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1511-15_0_2_line_19 | NAYY 4x150 SE | 15 | 32 | 0.026537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1511-15_0_2_line_20 | NAYY 4x150 SE | 16 | 31 | 0.045121 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1511-15_0_2_line_21 | NAYY 4x150 SE | 17 | 20 | 0.0036219 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1511-15_0_2_line_22 | NAYY 4x150 SE | 18 | 19 | 0.024215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1511-15_0_2_line_23 | NAYY 4x150 SE | 19 | 22 | 0.0034262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1511-15_0_2_line_24 | NAYY 4x150 SE | 20 | 21 | 0.01959 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1511-15_0_2_line_25 | NAYY 4x150 SE | 21 | 24 | 0.0032987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1511-15_0_2_line_26 | NAYY 4x150 SE | 22 | 23 | 0.012758 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1511-15_0_2_line_27 | NAYY 4x150 SE | 23 | 34 | 0.033233 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1511-15_0_2_line_28 | NAYY 4x150 SE | 23 | 35 | 0.048977 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1511-15_0_2_line_29 | NAYY 4x150 SE | 23 | 26 | 0.0054019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1511-15_0_2_line_30 | NAYY 4x150 SE | 23 | 29 | 0.015537 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1511-15_0_2_line_31 | NAYY 4x150 SE | 24 | 25 | 0.023059 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1511-15_0_2_line_32 | NAYY 4x150 SE | 25 | 28 | 0.0075188 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1511-15_0_2_line_33 | NAYY 4x150 SE | 26 | 27 | 0.062755 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1511-15_0_2_line_34 | NAYY 4x150 SE | 27 | 38 | 0.024151 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1511-15_0_2_line_35 | NAYY 4x150 SE | 32 | 33 | 0.0017648 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1511-15_0_2_line_36 | NAYY 4x150 SE | 33 | 43 | 0.0011108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1511-15_0_2_line_37 | NAYY 4x150 SE | 34 | 36 | 0.0048935 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1511-15_0_2_line_38 | NAYY 4x150 SE | 35 | 37 | 0.030666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1511-15_0_2_line_39 | NAYY 4x150 SE | 36 | 41 | 0.022077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1511-15_0_2_line_40 | NAYY 4x150 SE | 37 | 42 | 0.0089014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1511-15_0_2_line_41 | NAYY 4x150 SE | 38 | 39 | 0.0093496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1511-15_0_2_line_42 | NAYY 4x150 SE | 39 | 40 | 0.015305 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1511-15_0_2_line_43 | NAYY 4x150 SE | 40 | 47 | 0.74054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1511-15_0_2_line_44 | NAYY 4x150 SE | 41 | 52 | 0.019893 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1511-15_0_2_line_45 | NAYY 4x150 SE | 43 | 44 | 0.017804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1511-15_0_2_line_46 | NAYY 4x150 SE | 44 | 45 | 0.096605 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1511-15_0_2_line_47 | NAYY 4x150 SE | 45 | 46 | 0.051548 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1511-15_0_2_line_48 | NAYY 4x150 SE | 47 | 49 | 0.32384 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1511-15_0_2_line_49 | NAYY 4x150 SE | 47 | 48 | 0.094498 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1511-15_0_2_line_50 | NAYY 4x150 SE | 49 | 50 | 0.10777 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1511-15_0_2_line_51 | NAYY 4x150 SE | 51 | 52 | 0.00021437 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1511-15_0_2_line_52 | NAYY 4x150 SE | 51 | 53 | 0.026901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1511-15_0_2_line_53 | NAYY 4x150 SE | 53 | 54 | 0.05491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1511-15_0_2_trafo_25 | 0.25 MVA 20/0.4 kV | 55 | 19 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6
0 | 2672736.6485 | 1194929.7416 | 2672745.3445 | 1194943.7633 | 2672757.0632 | 1194963.7111
1 | 2672736.6485 | 1194929.7416 | 2672769.9934 | 1194925.7737
2 | 2672736.6485 | 1194929.7416 | 2672720.8823 | 1194899.3948
3 | 2672757.0632 | 1194963.7111 | 2672760.0143 | 1194968.7345 | 2672770.3923 | 1194982.6227
4 | 2672771.6352 | 1194923.7133 | 2672769.9934 | 1194925.7737
5 | 2672720.8823 | 1194899.3948 | 2672718.3457 | 1194873.0037 | 2672726.0142 | 1194867.16
6 | 2672770.3923 | 1194982.6227 | 2672775.9558 | 1194990.0679
7 | 2672771.6352 | 1194923.7133 | 2672784.9317 | 1194907.0276
8 | 2672788.7286 | 1194902.2628 | 2672784.9317 | 1194907.0276
9 | 2672788.7286 | 1194902.2628 | 2672802.4706 | 1194885.0179
10 | 2672782.5392 | 1194995.0466 | 2672775.9776 | 1194990.0971 | 2672775.9558 | 1194990.0679
11 | 2672782.5392 | 1194995.0466 | 2672779.1786 | 1194998.8191 | 2672768.6916 | 1195008.9754 | 2672758.4036 | 1195012.8081 | 2672756.3002 | 1195013.182
12 | 2672782.5392 | 1194995.0466 | 2672795.286 | 1194980.7209
13 | 2672804.4989 | 1194882.4726 | 2672802.4706 | 1194885.0179
14 | 2672819.5085 | 1194863.6371 | 2672804.4989 | 1194882.4726
15 | 2672831.7453 | 1194939.7454 | 2672841.9515 | 1194929.5079 | 2672843.4316 | 1194927.775
16 | 2672831.7453 | 1194939.7454 | 2672846.9519 | 1194953.7628
17 | 2672831.7453 | 1194939.7454 | 2672825.2794 | 1194947.0122
18 | 2672845.7326 | 1194925.081 | 2672843.4316 | 1194927.775
19 | 2672846.9519 | 1194953.7628 | 2672856.5448 | 1194962.6055 | 2672863.2568 | 1194972.093 | 2672864.1724 | 1194973.7224
20 | 2672825.2794 | 1194947.0122 | 2672795.286 | 1194980.7209
21 | 2672819.5085 | 1194863.6371 | 2672821.7656 | 1194860.8045
22 | 2672845.7326 | 1194925.081 | 2672861.4597 | 1194906.6678
23 | 2672861.4597 | 1194906.6678 | 2672863.6849 | 1194904.0625
24 | 2672833.9744 | 1194845.4837 | 2672821.7656 | 1194860.8045
25 | 2672833.9744 | 1194845.4837 | 2672836.0302 | 1194842.9039
26 | 2672872.3384 | 1194894.6903 | 2672864.7796 | 1194902.7809 | 2672863.6849 | 1194904.0625
27 | 2672872.3384 | 1194894.6903 | 2672878.4173 | 1194896.7322 | 2672891.0067 | 1194907.9256 | 2672898.19 | 1194914.8463
28 | 2672872.3384 | 1194894.6903 | 2672878.4173 | 1194896.7322 | 2672891.0067 | 1194907.9256 | 2672909.5275 | 1194925.7692
29 | 2672872.3384 | 1194894.6903 | 2672876.0001 | 1194890.7188
30 | 2672872.3384 | 1194894.6903 | 2672882.8702 | 1194883.2675
31 | 2672836.0302 | 1194842.9039 | 2672850.4007 | 1194824.8703
32 | 2672855.0865 | 1194818.9902 | 2672850.4007 | 1194824.8703
33 | 2672876.0001 | 1194890.7188 | 2672886.0533 | 1194879.815 | 2672896.0561 | 1194876.9018 | 2672929.8015 | 1194879.7926 | 2672933.4161 | 1194880.1882
34 | 2672957.4242 | 1194882.8159 | 2672933.4161 | 1194880.1882
35 | 2672865.037 | 1194975.2609 | 2672864.1724 | 1194973.7224
36 | 2672865.5811 | 1194976.2293 | 2672865.037 | 1194975.2609
37 | 2672901.714 | 1194918.2415 | 2672898.19 | 1194914.8463
38 | 2672909.5275 | 1194925.7692 | 2672931.6115 | 1194947.0458
39 | 2672917.6129 | 1194933.5591 | 2672901.714 | 1194918.2415
40 | 2672938.1817 | 1194953.0499 | 2672933.0939 | 1194948.4741 | 2672931.6115 | 1194947.0458
41 | 2672957.4242 | 1194882.8159 | 2672966.7182 | 1194883.8332
42 | 2672966.7182 | 1194883.8332 | 2672976.672 | 1194884.9227 | 2672980.6453 | 1194888.4177
43 | 2672980.6453 | 1194888.4177 | 2673649.4177 | 1194570.3802
44 | 2672917.6129 | 1194933.5591 | 2672931.9385 | 1194947.3609
45 | 2672874.3027 | 1194991.7504 | 2672865.5811 | 1194976.2293
46 | 2672874.3027 | 1194991.7504 | 2672908.0993 | 1195082.2507
47 | 2672958.2387 | 1195071.0322 | 2672935.1434 | 1195074.0747 | 2672908.0993 | 1195082.2507
48 | 2673756.3882 | 1194876.0449 | 2673649.4177 | 1194570.3802
49 | 2673733.0148 | 1194542.8754 | 2673728.6374 | 1194551.9961 | 2673691.2944 | 1194566.9674 | 2673682.245 | 1194564.7879 | 2673668.8523 | 1194562.5661 | 2673655.8103 | 1194565.9076 | 2673649.4177 | 1194570.3802
50 | 2673770.6539 | 1194982.863 | 2673756.3882 | 1194876.0449
51 | 2672931.9385 | 1194947.3609 | 2672932.0929 | 1194947.5096
52 | 2672932.0929 | 1194947.5096 | 2672933.0939 | 1194948.4741 | 2672938.1817 | 1194953.0499 | 2672943.7174 | 1194953.3954 | 2672956.1704 | 1194949.2587
53 | 2672978.9249 | 1194907.293 | 2672976.0085 | 1194939.2918 | 2672971.3841 | 1194944.205 | 2672956.1704 | 1194949.2587

## bus_geodata
| x | y | coords
0 | 2672736.6485 | 1194929.7416
1 | 2672757.0632 | 1194963.7111
2 | 2672769.9934 | 1194925.7737
3 | 2672720.8823 | 1194899.3948
4 | 2672770.3923 | 1194982.6227
5 | 2672771.6352 | 1194923.7133
6 | 2672784.9317 | 1194907.0276
7 | 2672726.0142 | 1194867.16
8 | 2672788.7286 | 1194902.2628
9 | 2672775.9558 | 1194990.0679
10 | 2672782.5392 | 1194995.0466
11 | 2672802.4706 | 1194885.0179
12 | 2672804.4989 | 1194882.4726
13 | 2672831.7453 | 1194939.7454
14 | 2672843.4316 | 1194927.775
15 | 2672846.9519 | 1194953.7628
16 | 2672825.2794 | 1194947.0122
17 | 2672819.5085 | 1194863.6371
18 | 2672845.7326 | 1194925.081
19 | 2672861.4597 | 1194906.6678
20 | 2672821.7656 | 1194860.8045
21 | 2672833.9744 | 1194845.4837
22 | 2672863.6849 | 1194904.0625
23 | 2672872.3384 | 1194894.6903
24 | 2672836.0302 | 1194842.9039
25 | 2672850.4007 | 1194824.8703
26 | 2672876.0001 | 1194890.7188
27 | 2672933.4161 | 1194880.1882
28 | 2672855.0865 | 1194818.9902
29 | 2672882.8702 | 1194883.2675
30 | 2672756.3002 | 1195013.182
31 | 2672795.286 | 1194980.7209
32 | 2672864.1724 | 1194973.7224
33 | 2672865.037 | 1194975.2609
34 | 2672898.19 | 1194914.8463
35 | 2672909.5275 | 1194925.7692
36 | 2672901.714 | 1194918.2415
37 | 2672931.6115 | 1194947.0458
38 | 2672957.4242 | 1194882.8159
39 | 2672966.7182 | 1194883.8332
40 | 2672980.6453 | 1194888.4177
41 | 2672917.6129 | 1194933.5591
42 | 2672938.1817 | 1194953.0499
43 | 2672865.5811 | 1194976.2293
44 | 2672874.3027 | 1194991.7504
45 | 2672908.0993 | 1195082.2507
46 | 2672958.2387 | 1195071.0322
47 | 2673649.4177 | 1194570.3802
48 | 2673733.0148 | 1194542.8754
49 | 2673756.3882 | 1194876.0449
50 | 2673770.6539 | 1194982.863
51 | 2672932.0929 | 1194947.5096
52 | 2672931.9385 | 1194947.3609
53 | 2672956.1704 | 1194949.2587
54 | 2672978.9249 | 1194907.293
55 | 2672872.3384 | 1194894.6903

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98065 | -0.13538 | 0.0040529 | 0.0010158
1 | 0.98347 | -0.11543 | 0.0035305 | 0.00088483
2 | 0.97859 | -0.1501 | 0.0035701 | 0.00089475
3 | 0.98053 | -0.13624 | 0 | 0
4 | 0.98523 | -0.10298 | 0.0042957 | 0.0010766
5 | 0.97844 | -0.15116 | 0.0024908 | 0.00062424
6 | 0.97731 | -0.15919 | 0.0037758 | 0.0009463
7 | 0.9804 | -0.13716 | 0.0024317 | 0.00060944
8 | 0.97703 | -0.16125 | 0.0026991 | 0.00067645
9 | 0.98599 | -0.097587 | 0.0012267 | 0.00030744
10 | 0.98669 | -0.0927 | 0.0053957 | 0.0013523
11 | 0.97607 | -0.16808 | 0.0045026 | 0.0011285
12 | 0.97595 | -0.16894 | 0.0028084 | 0.00070385
13 | 0.994 | -0.04153 | 0 | 0
14 | 0.99617 | -0.026513 | 0.0036715 | 0.00092016
15 | 0.9935 | -0.045113 | 0.0027174 | 0.00068104
16 | 0.99299 | -0.0486 | 0.003536 | 0.0008862
17 | 0.97517 | -0.17457 | 0.0030051 | 0.00075315
18 | 0.99664 | -0.023211 | 0.0030151 | 0.00075565
19 | 1 | 0 | -0.13734 | -0.034416
20 | 0.97506 | -0.1753 | 0.0029201 | 0.00073184
21 | 0.9746 | -0.17867 | 0.0032491 | 0.0008143
22 | 0.99981 | -0.0013465 | 0.0037898 | 0.00094981
23 | 0.99916 | -0.0058815 | 0 | 0
24 | 0.97453 | -0.17912 | 0.0029581 | 0.00074136
25 | 0.97419 | -0.18158 | 0.00367 | 0.00091978
26 | 0.99906 | -0.0066372 | 0.002827 | 0.00070851
27 | 0.99806 | -0.013648 | 0.0019841 | 0.00049725
28 | 0.97412 | -0.1821 | 0.006484 | 0.001625
29 | 0.99912 | -0.0061911 | 0.0019921 | 0.00049926
30 | 0.9866 | -0.093323 | 0.001852 | 0.00046416
31 | 0.9885 | -0.079956 | 0.0033904 | 0.00084971
32 | 0.99295 | -0.048986 | 0.0015598 | 0.00039094
33 | 0.99291 | -0.049216 | 0.0015477 | 0.0003879
34 | 0.99848 | -0.010692 | 0.0018727 | 0.00046934
35 | 0.9988 | -0.0083888 | 0.0023554 | 0.00059031
36 | 0.99839 | -0.01131 | 0.0019944 | 0.00049986
37 | 0.99868 | -0.0092356 | 0.00081173 | 0.00020344
38 | 0.99775 | -0.015869 | 0.0012748 | 0.00031951
39 | 0.99765 | -0.016609 | 0.0011412 | 0.00028602
40 | 0.9975 | -0.017646 | 0.0018215 | 0.00045651
41 | 0.99805 | -0.013653 | 0.0017396 | 0.00043597
42 | 0.99866 | -0.0094089 | 0.0019457 | 0.00048764
43 | 0.9929 | -0.049343 | 0.001841 | 0.0004614
44 | 0.99265 | -0.051051 | 0.0029666 | 0.00074349
45 | 0.99175 | -0.057418 | 0.0028258 | 0.00070821
46 | 0.99148 | -0.059338 | 0.003666 | 0.00091878
47 | 0.99238 | -0.054206 | 0.0010455 | 0.00026202
48 | 0.99228 | -0.054951 | 0.00077335 | 0.00019382
49 | 0.99099 | -0.064123 | 0.0022462 | 0.00056294
50 | 0.99088 | -0.064945 | 0.00074533 | 0.0001868
51 | 0.9978 | -0.015436 | 0.00092498 | 0.00023182
52 | 0.9978 | -0.01542 | 0.0014108 | 0.00035357
53 | 0.99755 | -0.017194 | 0.0022003 | 0.00055145
54 | 0.99721 | -0.019572 | 0.0043135 | 0.0010811
55 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.048823 | -0.012261 | 0.048959 | 0.012312 | 0.00013577 | 5.1716e-05 | 0.074091 | 0.074091 | 0.074091 | 0.98065 | -0.13538 | 0.98347 | -0.11543 | 27.4412
1 | 0.042338 | 0.010636 | -0.042251 | -0.010603 | 8.6502e-05 | 3.2847e-05 | 0.064251 | 0.064251 | 0.064251 | 0.98065 | -0.13538 | 0.97859 | -0.1501 | 23.7967
2 | 0.0024323 | 0.00060879 | -0.002432 | -0.0006091 | 2.9064e-07 | -3.1962e-07 | 0.0036904 | 0.0036906 | 0.0036906 | 0.98065 | -0.13538 | 0.98053 | -0.13624 | 1.3669
3 | -0.052489 | -0.013197 | 0.05258 | 0.013232 | 9.1199e-05 | 3.4782e-05 | 0.079433 | 0.079433 | 0.079433 | 0.98347 | -0.11543 | 0.98523 | -0.10298 | 29.4196
4 | 0.038681 | 0.0097085 | -0.038675 | -0.0097063 | 5.6883e-06 | 2.1547e-06 | 0.058823 | 0.058823 | 0.058823 | 0.97859 | -0.1501 | 0.97844 | -0.15116 | 21.7861
5 | 0.002432 | 0.0006091 | -0.0024317 | -0.00060944 | 3.072e-07 | -3.3768e-07 | 0.0036906 | 0.0036907 | 0.0036907 | 0.98053 | -0.13624 | 0.9804 | -0.13716 | 1.3669
6 | -0.056876 | -0.014309 | 0.056919 | 0.014325 | 4.2815e-05 | 1.6349e-05 | 0.085921 | 0.085921 | 0.085921 | 0.98523 | -0.10298 | 0.98599 | -0.097587 | 31.8225
7 | 0.036185 | 0.0090821 | -0.036144 | -0.0090668 | 4.0324e-05 | 1.5241e-05 | 0.055035 | 0.055035 | 0.055035 | 0.97844 | -0.15116 | 0.97731 | -0.15919 | 20.3832
8 | 0.032368 | 0.0081205 | -0.032359 | -0.0081171 | 9.2349e-06 | 3.4755e-06 | 0.049286 | 0.049286 | 0.049286 | 0.97731 | -0.15919 | 0.97703 | -0.16125 | 18.254
9 | 0.02966 | 0.0074406 | -0.029632 | -0.0074301 | 2.808e-05 | 1.0524e-05 | 0.045175 | 0.045175 | 0.045175 | 0.97703 | -0.16125 | 0.97607 | -0.16808 | 16.7316
10 | -0.058146 | -0.014632 | 0.058185 | 0.014648 | 3.9686e-05 | 1.5158e-05 | 0.087772 | 0.087772 | 0.087772 | 0.98599 | -0.097587 | 0.98669 | -0.0927 | 32.5081
11 | 0.0018522 | 0.00046381 | -0.001852 | -0.00046416 | 1.5952e-07 | -3.5711e-07 | 0.0027931 | 0.0027933 | 0.0027933 | 0.98669 | -0.0927 | 0.9866 | -0.093323 | 1.0345
12 | -0.065433 | -0.016464 | 0.06555 | 0.016508 | 0.00011657 | 4.4589e-05 | 0.098702 | 0.098702 | 0.098702 | 0.98669 | -0.0927 | 0.9885 | -0.079956 | 36.5564
13 | 0.025129 | 0.0063016 | -0.025126 | -0.0063005 | 2.9808e-06 | 1.1058e-06 | 0.038311 | 0.038311 | 0.038311 | 0.97607 | -0.16808 | 0.97595 | -0.16894 | 14.1893
14 | 0.022318 | 0.0055967 | -0.022301 | -0.0055903 | 1.7403e-05 | 6.3928e-06 | 0.034029 | 0.034029 | 0.034029 | 0.97595 | -0.16894 | 0.97517 | -0.17457 | 12.6034
15 | -0.090002 | -0.022687 | 0.090191 | 0.022759 | 0.00018969 | 7.274e-05 | 0.13478 | 0.13478 | 0.13478 | 0.994 | -0.04153 | 0.99617 | -0.026513 | 49.9178
16 | 0.01715 | 0.0042989 | -0.017142 | -0.0042959 | 8.5065e-06 | 3.0038e-06 | 0.025674 | 0.025674 | 0.025674 | 0.994 | -0.04153 | 0.9935 | -0.045113 | 9.5088
17 | 0.072852 | 0.018388 | -0.072779 | -0.01836 | 7.2251e-05 | 2.7663e-05 | 0.1091 | 0.1091 | 0.1091 | 0.994 | -0.04153 | 0.99299 | -0.0486 | 40.409
18 | -0.093863 | -0.02368 | 0.093906 | 0.023696 | 4.3494e-05 | 1.6682e-05 | 0.14026 | 0.14026 | 0.14026 | 0.99617 | -0.026513 | 0.99664 | -0.023211 | 51.9489
19 | 0.014424 | 0.0036148 | -0.014416 | -0.0036122 | 7.7288e-06 | 2.6291e-06 | 0.021604 | 0.021604 | 0.021604 | 0.9935 | -0.045113 | 0.99295 | -0.048986 | 8.0015
20 | 0.069243 | 0.017474 | -0.06894 | -0.017358 | 0.00030339 | 0.00011611 | 0.10381 | 0.10381 | 0.10381 | 0.99299 | -0.0486 | 0.9885 | -0.079956 | 38.4466
21 | 0.019296 | 0.0048371 | -0.019294 | -0.0048364 | 1.9593e-06 | 7.084e-07 | 0.029444 | 0.029444 | 0.029444 | 0.97517 | -0.17457 | 0.97506 | -0.1753 | 10.9051
22 | -0.096922 | -0.024452 | 0.097238 | 0.024573 | 0.00031666 | 0.00012148 | 0.14476 | 0.14476 | 0.14476 | 0.99664 | -0.023211 | 1 | 0 | 53.6162
23 | 0.039306 | 0.0098422 | -0.039299 | -0.0098395 | 7.3128e-06 | 2.7677e-06 | 0.058485 | 0.058485 | 0.058485 | 1 | 0 | 0.99981 | -0.0013465 | 21.661
24 | 0.016374 | 0.0041046 | -0.016366 | -0.0041019 | 7.6326e-06 | 2.6914e-06 | 0.024988 | 0.024988 | 0.024988 | 0.97506 | -0.1753 | 0.9746 | -0.17867 | 9.2547
25 | 0.013117 | 0.0032876 | -0.013116 | -0.0032873 | 8.2556e-07 | 2.7642e-07 | 0.020027 | 0.020027 | 0.020027 | 0.9746 | -0.17867 | 0.97453 | -0.17912 | 7.4174
26 | 0.035509 | 0.0088896 | -0.035487 | -0.0088813 | 2.2231e-05 | 8.3831e-06 | 0.052844 | 0.052844 | 0.052844 | 0.99981 | -0.0013465 | 0.99916 | -0.0058815 | 19.572
27 | 0.014476 | 0.0036284 | -0.014466 | -0.0036251 | 9.638e-06 | 3.2719e-06 | 0.021558 | 0.021558 | 0.021558 | 0.99916 | -0.0058815 | 0.99848 | -0.010692 | 7.9846
28 | 0.0051149 | 0.0012811 | -0.0051132 | -0.001281 | 1.7733e-06 | 4.0793e-08 | 0.0076172 | 0.0076174 | 0.0076174 | 0.99916 | -0.0058815 | 0.9988 | -0.0083888 | 2.8213
29 | 0.013904 | 0.0034727 | -0.013902 | -0.0034722 | 1.4447e-06 | 4.849e-07 | 0.020702 | 0.020702 | 0.020702 | 0.99916 | -0.0058815 | 0.99906 | -0.0066372 | 7.6675
30 | 0.0019922 | 0.00049909 | -0.0019921 | -0.00049926 | 8.5337e-08 | -1.7066e-07 | 0.0029668 | 0.0029669 | 0.0029669 | 0.99916 | -0.0058815 | 0.99912 | -0.0061911 | 1.0988
31 | 0.010158 | 0.002546 | -0.010154 | -0.0025449 | 3.4615e-06 | 1.0441e-06 | 0.01551 | 0.01551 | 0.01551 | 0.97453 | -0.17912 | 0.97419 | -0.18158 | 5.7445
32 | 0.0064845 | 0.0016251 | -0.006484 | -0.001625 | 4.6026e-07 | 8.3417e-08 | 0.0099046 | 0.0099046 | 0.0099046 | 0.97419 | -0.18158 | 0.97412 | -0.1821 | 3.6684
33 | 0.011075 | 0.0027637 | -0.011065 | -0.0027604 | 1.065e-05 | 3.2754e-06 | 0.016492 | 0.016492 | 0.016492 | 0.99906 | -0.0066372 | 0.99806 | -0.013648 | 6.1082
34 | 0.0090807 | 0.0022632 | -0.0090779 | -0.0022624 | 2.7605e-06 | 7.4619e-07 | 0.013534 | 0.013534 | 0.013534 | 0.99806 | -0.013648 | 0.99775 | -0.015869 | 5.0126
35 | 0.012857 | 0.0032213 | -0.012856 | -0.0032211 | 4.0877e-07 | 1.3439e-07 | 0.019266 | 0.019266 | 0.019266 | 0.99295 | -0.048986 | 0.99291 | -0.049216 | 7.1357
36 | 0.011308 | 0.0028332 | -0.011308 | -0.0028332 | 1.9906e-07 | 6.2197e-08 | 0.016947 | 0.016947 | 0.016947 | 0.99291 | -0.049216 | 0.9929 | -0.049343 | 6.2766
37 | 0.012593 | 0.0031558 | -0.012592 | -0.0031554 | 1.0755e-06 | 3.4966e-07 | 0.018768 | 0.018768 | 0.018768 | 0.99848 | -0.010692 | 0.99839 | -0.01131 | 6.9509
38 | 0.0027578 | 0.0006907 | -0.0027575 | -0.00069098 | 3.23e-07 | -2.7707e-07 | 0.0041084 | 0.0041085 | 0.0041085 | 0.9988 | -0.0083888 | 0.99868 | -0.0092356 | 1.5217
39 | 0.010598 | 0.0026556 | -0.010594 | -0.0026546 | 3.4369e-06 | 1.0333e-06 | 0.015795 | 0.015795 | 0.015795 | 0.99839 | -0.01131 | 0.99805 | -0.013653 | 5.85
40 | 0.0019458 | 0.00048754 | -0.0019457 | -0.00048764 | 4.6684e-08 | -9.8514e-08 | 0.0028991 | 0.0028991 | 0.0028991 | 0.99868 | -0.0092356 | 0.99866 | -0.0094089 | 1.0738
41 | 0.0078031 | 0.0019429 | -0.0078023 | -0.0019427 | 7.8949e-07 | 1.8155e-07 | 0.011633 | 0.011633 | 0.011633 | 0.99775 | -0.015869 | 0.99765 | -0.016609 | 4.3085
42 | 0.006661 | 0.0016567 | -0.0066601 | -0.0016566 | 9.4184e-07 | 1.6243e-07 | 0.0099307 | 0.0099308 | 0.0099308 | 0.99765 | -0.016609 | 0.9975 | -0.017646 | 3.6781
43 | 0.0048386 | 0.0012001 | -0.0048146 | -0.0012004 | 2.4057e-05 | -3.6483e-07 | 0.0072136 | 0.0072169 | 0.0072169 | 0.9975 | -0.017646 | 0.99238 | -0.054206 | 2.6729
44 | 0.0088548 | 0.0022186 | -0.0088526 | -0.002218 | 2.1633e-06 | 5.7216e-07 | 0.013202 | 0.013202 | 0.013202 | 0.99805 | -0.013653 | 0.9978 | -0.01542 | 4.8895
45 | 0.0094673 | 0.0023718 | -0.009465 | -0.0023711 | 2.2363e-06 | 6.2991e-07 | 0.014188 | 0.014188 | 0.014188 | 0.9929 | -0.049343 | 0.99265 | -0.051051 | 5.2548
46 | 0.0064985 | 0.0016277 | -0.0064927 | -0.0016267 | 5.7202e-06 | 9.5237e-07 | 0.009741 | 0.0097414 | 0.0097414 | 0.99265 | -0.051051 | 0.99175 | -0.057418 | 3.6079
47 | 0.003667 | 0.00091849 | -0.003666 | -0.00091878 | 9.7365e-07 | -2.905e-07 | 0.0055017 | 0.0055019 | 0.0055019 | 0.99175 | -0.057418 | 0.99148 | -0.059338 | 2.0377
48 | 0.0029956 | 0.00074577 | -0.0029916 | -0.00074838 | 4.0753e-06 | -2.6108e-06 | 0.00449 | 0.0044915 | 0.0044915 | 0.99238 | -0.054206 | 0.99099 | -0.064123 | 1.6635
49 | 0.00077343 | 0.00019263 | -0.00077335 | -0.00019382 | 7.9276e-08 | -1.1903e-06 | 0.0011593 | 0.0011597 | 0.0011597 | 0.99238 | -0.054206 | 0.99228 | -0.054951 | 0.42952
50 | 0.00074542 | 0.00018544 | -0.00074533 | -0.0001868 | 8.4208e-08 | -1.3559e-06 | 0.0011188 | 0.0011193 | 0.0011193 | 0.99099 | -0.064123 | 0.99088 | -0.064945 | 0.41455
51 | -0.0074418 | -0.0018644 | 0.0074418 | 0.0018644 | 1.6474e-08 | 3.5365e-09 | 0.011098 | 0.011098 | 0.011098 | 0.9978 | -0.015436 | 0.9978 | -0.01542 | 4.1103
52 | 0.0065169 | 0.0016326 | -0.0065153 | -0.0016324 | 1.5854e-06 | 2.5849e-07 | 0.0097183 | 0.0097185 | 0.0097185 | 0.9978 | -0.015436 | 0.99755 | -0.017194 | 3.5994
53 | 0.0043149 | 0.0010809 | -0.0043135 | -0.0010811 | 1.4195e-06 | -1.7066e-07 | 0.0064363 | 0.0064365 | 0.0064365 | 0.99755 | -0.017194 | 0.99721 | -0.019572 | 2.3839

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.13934 | 0.034917

## res_load
| p_mw | q_mvar
0 | 0.0040529 | 0.0010158
1 | 0.0035305 | 0.00088483
2 | 0.0035701 | 0.00089475
3 | 0.0042957 | 0.0010766
4 | 0.0024908 | 0.00062424
5 | 0.0037758 | 0.0009463
6 | 0.0024317 | 0.00060944
7 | 0.0026991 | 0.00067645
8 | 0.0012267 | 0.00030744
9 | 0.0053957 | 0.0013523
10 | 0.0045026 | 0.0011285
11 | 0.0028084 | 0.00070385
12 | 0.0036715 | 0.00092016
13 | 0.0027174 | 0.00068104
14 | 0.003536 | 0.0008862
15 | 0.0030051 | 0.00075315
16 | 0.0030151 | 0.00075565
17 | 0.001999 | 0.000501
18 | 0.0029201 | 0.00073184
19 | 0.0032491 | 0.0008143
20 | 0.0037898 | 0.00094981
21 | 0.0029581 | 0.00074136
22 | 0.00367 | 0.00091978
23 | 0.002827 | 0.00070851
24 | 0.0019841 | 0.00049725
25 | 0.006484 | 0.001625
26 | 0.0019921 | 0.00049926
27 | 0.001852 | 0.00046416
28 | 0.0033904 | 0.00084971
29 | 0.0015598 | 0.00039094
30 | 0.0015477 | 0.0003879
31 | 0.0018727 | 0.00046934
32 | 0.0023554 | 0.00059031
33 | 0.0019944 | 0.00049986
34 | 0.00081173 | 0.00020344
35 | 0.0012748 | 0.00031951
36 | 0.0011412 | 0.00028602
37 | 0.0018215 | 0.00045651
38 | 0.0017396 | 0.00043597
39 | 0.0019457 | 0.00048764
40 | 0.001841 | 0.0004614
41 | 0.0029666 | 0.00074349
42 | 0.0028258 | 0.00070821
43 | 0.003666 | 0.00091878
44 | 0.0010455 | 0.00026202
45 | 0.00077335 | 0.00019382
46 | 0.0022462 | 0.00056294
47 | 0.00074533 | 0.0001868
48 | 0.00092498 | 0.00023182
49 | 0.0014108 | 0.00035357
50 | 0.0022003 | 0.00055145
51 | 0.0043135 | 0.0010811

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1