## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1511-3_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1511-3_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1511-3_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1511-3_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1511-3_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1511-3_0_3_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1511-3_0_3_node_6 | 0.4 | n |  | TRUE
7 | bus_LV_1511-3_0_3_node_12 | 0.4 | n |  | TRUE
8 | bus_LV_1511-3_0_3_node_40 | 0.4 | n |  | TRUE
9 | bus_LV_1511-3_0_3_node_11 | 0.4 | n |  | TRUE
10 | bus_LV_1511-3_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1511-3_0_3_node_53 | 0.4 | n |  | TRUE
12 | bus_LV_1511-3_0_3_node_20 | 0.4 | n |  | TRUE
13 | bus_LV_1511-3_0_3_node_54 | 0.4 | n |  | TRUE
14 | bus_LV_1511-3_0_3_node_52 | 0.4 | n |  | TRUE
15 | bus_LV_1511-3_0_3_node_17 | 0.4 | n |  | TRUE
16 | bus_LV_1511-3_0_3_node_8 | 0.4 | n |  | TRUE
17 | bus_LV_1511-3_0_3_node_9 | 0.4 | n |  | TRUE
18 | bus_LV_1511-3_0_3_node_10 | 0.4 | n |  | TRUE
19 | bus_LV_1511-3_0_3_node_21 | 0.4 | n |  | TRUE
20 | bus_LV_1511-3_0_3_node_41 | 0.4 | n |  | TRUE
21 | bus_LV_1511-3_0_3_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1511-3_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1511-3_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1511-3_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1511-3_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1511-3_0_3_node_19 | 0.4 | n |  | TRUE
27 | bus_LV_1511-3_0_3_node_22 | 0.4 | n |  | TRUE
28 | bus_LV_1511-3_0_3_node_30 | 0.4 | n |  | TRUE
29 | bus_LV_1511-3_0_3_node_36 | 0.4 | n |  | TRUE
30 | bus_LV_1511-3_0_3_node_34 | 0.4 | n |  | TRUE
31 | bus_LV_1511-3_0_3_node_31 | 0.4 | n |  | TRUE
32 | bus_LV_1511-3_0_3_node_38 | 0.4 | n |  | TRUE
33 | bus_LV_1511-3_0_3_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_1511-3_0_3_node_32 | 0.4 | n |  | TRUE
35 | bus_LV_1511-3_0_3_node_23 | 0.4 | n |  | TRUE
36 | bus_LV_1511-3_0_3_node_24 | 0.4 | n |  | TRUE
37 | bus_LV_1511-3_0_3_node_25 | 0.4 | n |  | TRUE
38 | bus_LV_1511-3_0_3_node_26 | 0.4 | n |  | TRUE
39 | bus_LV_1511-3_0_3_node_27 | 0.4 | n |  | TRUE
40 | bus_LV_1511-3_0_3_node_28 | 0.4 | n |  | TRUE
41 | bus_LV_1511-3_0_3_node_29 | 0.4 | n |  | TRUE
42 | bus_LV_1511-3_0_3_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_1511-3_0_3_node_55 | 0.4 | n |  | TRUE
44 | bus_LV_1511-3_0_3_node_37 | 0.4 | n |  | TRUE
45 | bus_LV_1511-3_0_3_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_1511-3_0_3_node_39 | 0.4 | n |  | TRUE
47 | bus_LV_1511-3_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_1511-3_0_3_node_42 | 0.4 | n |  | TRUE
49 | bus_LV_1511-3_0_3_node_44 | 0.4 | n |  | TRUE
50 | bus_LV_1511-3_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_1511-3_0_3_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_1511-3_0_3_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_1511-3_0_3_node_49 | 0.4 | n |  | TRUE
54 | bus_LV_1511-3_0_3_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_1511-3_0_3_node_51 | 0.4 | n |  | TRUE
56 | bus_LV_1511-3_0_3_node_58 | 0.4 | n |  | TRUE
57 | bus_MV_136_1_node_148 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1511-3_0_3_load_0 | 0 | 0.0020593 | 0.00051612 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1511-3_0_3_load_1 | 1 | 0.0049607 | 0.0012433 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1511-3_0_3_load_3 | 3 | 0.00534 | 0.0013383 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1511-3_0_3_load_4 | 4 | 0.0035649 | 0.00089344 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1511-3_0_3_load_5 | 5 | 0.0027891 | 0.00069901 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1511-3_0_3_load_6 | 6 | 0.0026643 | 0.00066775 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1511-3_0_3_load_12 | 7 | 0.002629 | 0.0006589 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1511-3_0_3_load_40 | 8 | 0.0033796 | 0.00084701 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1511-3_0_3_load_11 | 9 | 0.0031318 | 0.0007849 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1511-3_0_3_load_7 | 10 | 0.0021608 | 0.00054156 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1511-3_0_3_load_20 | 12 | 0.001115 | 0.00027946 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1511-3_0_3_load_54 | 13 | 0.0026084 | 0.00065372 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1511-3_0_3_load_52 | 14 | 0.0038339 | 0.00096086 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1511-3_0_3_load_8 | 16 | 0.0042149 | 0.0010564 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1511-3_0_3_load_9 | 17 | 0.0028731 | 0.00072007 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1511-3_0_3_load_10 | 18 | 0.0029213 | 0.00073215 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1511-3_0_3_load_21 | 19 | 0.0028144 | 0.00070534 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1511-3_0_3_load_41 | 20 | 0.0038902 | 0.00097497 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1511-3_0_3_load_13 | 21 | 0.0014835 | 0.00037181 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1511-3_0_3_load_14 | 22 | 0.0015591 | 0.00039074 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1511-3_0_3_load_16 | 24 | 0.0022321 | 0.00055942 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1511-3_0_3_load_18 | 25 | 0.0034367 | 0.00086132 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1511-3_0_3_load_19 | 26 | 0.0021285 | 0.00053345 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1511-3_0_3_load_30 | 28 | 0.0028142 | 0.0007053 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1511-3_0_3_load_36 | 29 | 0.0026246 | 0.0006578 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1511-3_0_3_load_31 | 31 | 0.00338 | 0.0008471 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1511-3_0_3_load_38 | 32 | 0.0035196 | 0.0008821 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1511-3_0_3_load_35 | 33 | 0.0041298 | 0.001035 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1511-3_0_3_load_32 | 34 | 0.0044034 | 0.0011036 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1511-3_0_3_load_23 | 35 | 0.0035159 | 0.00088116 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1511-3_0_3_load_24 | 36 | 0.0026701 | 0.00066918 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1511-3_0_3_load_25 | 37 | 0.0036655 | 0.00091866 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1511-3_0_3_load_26 | 38 | 0.0035981 | 0.00090178 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1511-3_0_3_load_27 | 39 | 0.0033516 | 0.00083998 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1511-3_0_3_load_28 | 40 | 0.0012595 | 0.00031566 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1511-3_0_3_load_29 | 41 | 0.003945 | 0.00098872 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1511-3_0_3_load_33 | 42 | 0.0042276 | 0.0010595 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1511-3_0_3_load_55 | 43 | 0.0025121 | 0.00062958 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1511-3_0_3_load_37 | 44 | 0.0037369 | 0.00093656 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1511-3_0_3_load_45 | 45 | 0.0056446 | 0.0014147 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1511-3_0_3_load_39 | 46 | 0.0022246 | 0.00055753 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1511-3_0_3_load_43 | 47 | 0.0034634 | 0.000868 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1511-3_0_3_load_42 | 48 | 0.0035938 | 0.00090069 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1511-3_0_3_load_46 | 50 | 0.0020781 | 0.00052082 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1511-3_0_3_load_47 | 51 | 0.0025448 | 0.00063778 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1511-3_0_3_load_48 | 52 | 0.0019468 | 0.00048791 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1511-3_0_3_load_49 | 53 | 0.0042133 | 0.001056 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1511-3_0_3_load_50 | 54 | 0.0040909 | 0.0010253 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1511-3_0_3_load_51 | 55 | 0.0050752 | 0.001272 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1511-3_0_3_load_58 | 56 | 0.0035507 | 0.00088988 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 22 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1511-3_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.020491 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1511-3_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017265 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1511-3_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.016394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1511-3_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0185 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1511-3_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.013364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1511-3_0_3_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0075869 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1511-3_0_3_line_6 | NAYY 4x150 SE | 4 | 10 | 0.0051158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1511-3_0_3_line_7 | NAYY 4x150 SE | 5 | 11 | 0.07954 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1511-3_0_3_line_8 | NAYY 4x150 SE | 6 | 12 | 0.0086584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1511-3_0_3_line_9 | NAYY 4x150 SE | 7 | 8 | 0.066319 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1511-3_0_3_line_10 | NAYY 4x150 SE | 7 | 9 | 0.011663 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1511-3_0_3_line_11 | NAYY 4x150 SE | 8 | 20 | 0.012408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1511-3_0_3_line_12 | NAYY 4x150 SE | 9 | 18 | 0.0003035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1511-3_0_3_line_13 | NAYY 4x150 SE | 10 | 13 | 0.051111 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1511-3_0_3_line_14 | NAYY 4x150 SE | 11 | 14 | 0.052415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1511-3_0_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.018913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1511-3_0_3_line_16 | NAYY 4x150 SE | 15 | 19 | 0.049006 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1511-3_0_3_line_17 | NAYY 4x150 SE | 15 | 23 | 0.008534 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1511-3_0_3_line_18 | NAYY 4x150 SE | 16 | 17 | 0.0035673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1511-3_0_3_line_19 | NAYY 4x150 SE | 16 | 18 | 0.018406 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1511-3_0_3_line_20 | NAYY 4x150 SE | 17 | 19 | 0.054621 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1511-3_0_3_line_21 | NAYY 4x150 SE | 21 | 22 | 0.027425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_1511-3_0_3_line_22 | NAYY 4x150 SE | 21 | 23 | 0.016731 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
23 | LV_1511-3_0_3_line_23 | NAYY 4x150 SE | 22 | 24 | 0.023853 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1511-3_0_3_line_24 | NAYY 4x150 SE | 23 | 25 | 0.0026673 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1511-3_0_3_line_25 | NAYY 4x150 SE | 24 | 26 | 0.00076147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1511-3_0_3_line_26 | NAYY 4x150 SE | 25 | 27 | 0.019256 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1511-3_0_3_line_27 | NAYY 4x150 SE | 26 | 28 | 0.019338 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1511-3_0_3_line_28 | NAYY 4x150 SE | 27 | 29 | 0.017014 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1511-3_0_3_line_29 | NAYY 4x150 SE | 27 | 30 | 0.02432 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1511-3_0_3_line_30 | NAYY 4x150 SE | 28 | 31 | 0.002262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1511-3_0_3_line_31 | NAYY 4x150 SE | 29 | 32 | 0.015583 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1511-3_0_3_line_32 | NAYY 4x150 SE | 30 | 33 | 0.0089262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1511-3_0_3_line_33 | NAYY 4x150 SE | 30 | 34 | 0.014918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1511-3_0_3_line_34 | NAYY 4x150 SE | 32 | 46 | 0.013918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1511-3_0_3_line_35 | NAYY 4x150 SE | 33 | 44 | 0.018926 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1511-3_0_3_line_36 | NAYY 4x150 SE | 34 | 40 | 0.0041065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1511-3_0_3_line_37 | NAYY 4x150 SE | 35 | 36 | 0.018169 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1511-3_0_3_line_38 | NAYY 4x150 SE | 35 | 37 | 0.0060965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1511-3_0_3_line_39 | NAYY 4x150 SE | 36 | 38 | 0.0010393 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1511-3_0_3_line_40 | NAYY 4x150 SE | 37 | 39 | 0.016023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1511-3_0_3_line_41 | NAYY 4x150 SE | 38 | 40 | 0.029635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1511-3_0_3_line_42 | NAYY 4x150 SE | 39 | 41 | 0.0046055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1511-3_0_3_line_43 | NAYY 4x150 SE | 41 | 42 | 0.029611 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1511-3_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.049147 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1511-3_0_3_line_45 | NAYY 4x150 SE | 44 | 45 | 0.024197 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1511-3_0_3_line_46 | NAYY 4x150 SE | 45 | 47 | 0.0099229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1511-3_0_3_line_47 | NAYY 4x150 SE | 47 | 48 | 0.010127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1511-3_0_3_line_48 | NAYY 4x150 SE | 48 | 49 | 0.012945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1511-3_0_3_line_49 | NAYY 4x150 SE | 49 | 50 | 0.030918 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1511-3_0_3_line_50 | NAYY 4x150 SE | 49 | 51 | 0.016443 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1511-3_0_3_line_51 | NAYY 4x150 SE | 49 | 52 | 0.020501 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1511-3_0_3_line_52 | NAYY 4x150 SE | 50 | 53 | 0.01094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1511-3_0_3_line_53 | NAYY 4x150 SE | 51 | 54 | 0.018272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1511-3_0_3_line_54 | NAYY 4x150 SE | 53 | 55 | 0.037708 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1511-3_0_3_line_55 | NAYY 4x150 SE | 54 | 56 | 0.024321 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1511-3_0_3_trafo_14 | 0.25 MVA 20/0.4 kV | 57 | 22 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2673319.951 | 1196110.3676 | 2673318.6109 | 1196111.277 | 2673310.2322 | 1196119.2013 | 2673305.1421 | 1196124.4884
1 | 2673334.2374 | 1196100.6733 | 2673319.951 | 1196110.3676
2 | 2673293.7719 | 1196136.2989 | 2673305.1421 | 1196124.4884
3 | 2673334.2374 | 1196100.6733 | 2673337.123 | 1196082.3994
4 | 2673334.2374 | 1196100.6733 | 2673338.1572 | 1196099.743 | 2673347.4867 | 1196099.4222
5 | 2673293.7719 | 1196136.2989 | 2673293.7719 | 1196136.2989 | 2673288.2028 | 1196141.4512
6 | 2673337.123 | 1196082.3994 | 2673337.9209 | 1196077.3462
7 | 2673347.4867 | 1196099.4222 | 2673421.9006 | 1196071.3308
8 | 2673288.2028 | 1196141.4512 | 2673281.8472 | 1196147.3311
9 | 2673353.3688 | 1196165.436 | 2673357.5173 | 1196159.2719 | 2673366.1534 | 1196155.2087 | 2673374.7232 | 1196155.9254 | 2673382.4454 | 1196159.2777 | 2673388.5915 | 1196166.2795 | 2673389.3343 | 1196172.8037 | 2673387.5512 | 1196176.5508 | 2673380.2597 | 1196186.4486
10 | 2673353.3688 | 1196165.436 | 2673352.4189 | 1196166.8473 | 2673350.2626 | 1196176.5735
11 | 2673372.9003 | 1196196.4386 | 2673380.2597 | 1196186.4486
12 | 2673350.2626 | 1196176.5735 | 2673350.1969 | 1196176.8698
13 | 2673345.893 | 1196026.8604 | 2673337.9209 | 1196077.3462
14 | 2673421.9006 | 1196071.3308 | 2673415.4409 | 1196048.9157 | 2673417.2076 | 1196041.5441 | 2673419.7628 | 1196039.4408 | 2673422.3106 | 1196037.3264 | 2673428.8588 | 1196031.4476 | 2673430.8898 | 1196027.9927 | 2673430.9229 | 1196025.9141
15 | 2673267.9644 | 1196160.1749 | 2673281.8472 | 1196147.3311
16 | 2673267.9644 | 1196160.1749 | 2673274.1287 | 1196182.4862 | 2673289.4764 | 1196203.2979
17 | 2673261.2718 | 1196154.8564 | 2673267.9644 | 1196160.1749
18 | 2673345.6005 | 1196194.6001 | 2673343.8082 | 1196197.6844
19 | 2673345.6005 | 1196194.6001 | 2673346.6767 | 1196192.7481 | 2673350.1969 | 1196176.8698
20 | 2673289.4764 | 1196203.2979 | 2673343.8082 | 1196197.6844
21 | 2673265.8459 | 1196138.7627 | 2673273.3436 | 1196112.3824
22 | 2673261.2718 | 1196154.8564 | 2673265.8459 | 1196138.7627
23 | 2673273.3436 | 1196112.3824 | 2673279.8647 | 1196089.4384
24 | 2673261.2718 | 1196154.8564 | 2673258.8018 | 1196153.8495
25 | 2673280.0728 | 1196088.706 | 2673279.8647 | 1196089.4384
26 | 2673240.9705 | 1196146.5806 | 2673258.8018 | 1196153.8495
27 | 2673280.0728 | 1196088.706 | 2673285.3597 | 1196070.1045
28 | 2673240.9705 | 1196146.5806 | 2673239.0758 | 1196150.7377 | 2673235.4051 | 1196162.6299
29 | 2673240.9705 | 1196146.5806 | 2673218.5754 | 1196136.9451
30 | 2673285.9781 | 1196067.9287 | 2673285.3597 | 1196070.1045
31 | 2673235.4051 | 1196162.6299 | 2673230.8091 | 1196177.5194 | 2673230.8091 | 1196177.5194
32 | 2673218.5754 | 1196136.9451 | 2673210.5046 | 1196133.1319
33 | 2673218.5754 | 1196136.9451 | 2673221.9885 | 1196122.4225
34 | 2673229.0161 | 1196191.3217 | 2673230.8091 | 1196177.5194
35 | 2673193.6163 | 1196124.6499 | 2673196.2296 | 1196126.3874 | 2673210.5046 | 1196133.1319
36 | 2673222.928 | 1196118.4249 | 2673221.9885 | 1196122.4225
37 | 2673234.1027 | 1196070.8771 | 2673229.9458 | 1196088.5646
38 | 2673234.1027 | 1196070.8771 | 2673235.4975 | 1196064.9423
39 | 2673229.9458 | 1196088.5646 | 2673229.708 | 1196089.5763
40 | 2673239.1633 | 1196049.3443 | 2673235.4975 | 1196064.9423
41 | 2673222.928 | 1196118.4249 | 2673229.708 | 1196089.5763
42 | 2673239.1633 | 1196049.3443 | 2673240.217 | 1196044.861
43 | 2673246.9917 | 1196016.0351 | 2673240.217 | 1196044.861
44 | 2673258.2309 | 1195968.1902 | 2673258.1934 | 1195968.3726 | 2673246.9917 | 1196016.0351
45 | 2673193.6163 | 1196124.6499 | 2673188.1207 | 1196120.9961 | 2673176.3269 | 1196107.9351
46 | 2673176.3269 | 1196107.9351 | 2673169.6766 | 1196100.5704
47 | 2673162.8897 | 1196093.0544 | 2673169.6766 | 1196100.5704
48 | 2673153.9425 | 1196083.6999 | 2673161.7066 | 1196091.7442 | 2673162.8897 | 1196093.0544
49 | 2673153.9425 | 1196083.6999 | 2673148.6185 | 1196091.0504 | 2673144.6462 | 1196095.649 | 2673138.6439 | 1196110.227
50 | 2673153.9425 | 1196083.6999 | 2673159.634 | 1196077.4546 | 2673162.0219 | 1196069.8263
51 | 2673153.9425 | 1196083.6999 | 2673145.7321 | 1196078.5075 | 2673135.6756 | 1196074.6057
52 | 2673134.4787 | 1196120.3433 | 2673138.6439 | 1196110.227
53 | 2673167.4804 | 1196052.3891 | 2673162.0219 | 1196069.8263
54 | 2673126.1874 | 1196153.4694 | 2673123.5691 | 1196145.7883 | 2673122.4536 | 1196138.5703 | 2673123.4151 | 1196134.0905 | 2673128.1467 | 1196128.4449 | 2673133.9518 | 1196121.6228 | 2673134.4787 | 1196120.3433
55 | 2673167.4804 | 1196052.3891 | 2673170.9086 | 1196041.4374 | 2673173.8924 | 1196028.9436

## bus_geodata
| x | y | coords
0 | 2673319.951 | 1196110.3676
1 | 2673305.1421 | 1196124.4884
2 | 2673334.2374 | 1196100.6733
3 | 2673293.7719 | 1196136.2989
4 | 2673337.123 | 1196082.3994
5 | 2673347.4867 | 1196099.4222
6 | 2673288.2028 | 1196141.4512
7 | 2673353.3688 | 1196165.436
8 | 2673380.2597 | 1196186.4486
9 | 2673350.2626 | 1196176.5735
10 | 2673337.9209 | 1196077.3462
11 | 2673421.9006 | 1196071.3308
12 | 2673281.8472 | 1196147.3311
13 | 2673345.893 | 1196026.8604
14 | 2673430.9229 | 1196025.9141
15 | 2673267.9644 | 1196160.1749
16 | 2673345.6005 | 1196194.6001
17 | 2673343.8082 | 1196197.6844
18 | 2673350.1969 | 1196176.8698
19 | 2673289.4764 | 1196203.2979
20 | 2673372.9003 | 1196196.4386
21 | 2673265.8459 | 1196138.7627
22 | 2673273.3436 | 1196112.3824
23 | 2673261.2718 | 1196154.8564
24 | 2673279.8647 | 1196089.4384
25 | 2673258.8018 | 1196153.8495
26 | 2673280.0728 | 1196088.706
27 | 2673240.9705 | 1196146.5806
28 | 2673285.3597 | 1196070.1045
29 | 2673235.4051 | 1196162.6299
30 | 2673218.5754 | 1196136.9451
31 | 2673285.9781 | 1196067.9287
32 | 2673230.8091 | 1196177.5194
33 | 2673210.5046 | 1196133.1319
34 | 2673221.9885 | 1196122.4225
35 | 2673234.1027 | 1196070.8771
36 | 2673229.9458 | 1196088.5646
37 | 2673235.4975 | 1196064.9423
38 | 2673229.708 | 1196089.5763
39 | 2673239.1633 | 1196049.3443
40 | 2673222.928 | 1196118.4249
41 | 2673240.217 | 1196044.861
42 | 2673246.9917 | 1196016.0351
43 | 2673258.2309 | 1195968.1902
44 | 2673193.6163 | 1196124.6499
45 | 2673176.3269 | 1196107.9351
46 | 2673229.0161 | 1196191.3217
47 | 2673169.6766 | 1196100.5704
48 | 2673162.8897 | 1196093.0544
49 | 2673153.9425 | 1196083.6999
50 | 2673138.6439 | 1196110.227
51 | 2673162.0219 | 1196069.8263
52 | 2673135.6756 | 1196074.6057
53 | 2673134.4787 | 1196120.3433
54 | 2673167.4804 | 1196052.3891
55 | 2673126.1874 | 1196153.4694
56 | 2673173.8924 | 1196028.9436
57 | 2673261.2718 | 1196154.8564

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99209 | -0.055307 | 0.0020593 | 0.00051612
1 | 0.99259 | -0.051768 | 0.0049607 | 0.0012433
2 | 0.99172 | -0.05793 | 0 | 0
3 | 0.99311 | -0.048116 | 0.00534 | 0.0013383
4 | 0.9915 | -0.059497 | 0.0035649 | 0.00089344
5 | 0.99159 | -0.05883 | 0.0027891 | 0.00069901
6 | 0.99341 | -0.046017 | 0.0026643 | 0.00066775
7 | 0.99029 | -0.06797 | 0.002629 | 0.0006589
8 | 0.9896 | -0.072883 | 0.0033796 | 0.00084701
9 | 0.99046 | -0.066794 | 0.0031318 | 0.0007849
10 | 0.99146 | -0.059744 | 0.0021608 | 0.00054156
11 | 0.99116 | -0.061934 | 0 | 0
12 | 0.99378 | -0.043391 | 0.001115 | 0.00027946
13 | 0.99127 | -0.0611 | 0.0026084 | 0.00065372
14 | 0.99087 | -0.063978 | 0.0038339 | 0.00096086
15 | 0.99463 | -0.037447 | 0 | 0
16 | 0.99089 | -0.063767 | 0.0042149 | 0.0010564
17 | 0.99099 | -0.063035 | 0.0028731 | 0.00072007
18 | 0.99047 | -0.066754 | 0.0029213 | 0.00073215
19 | 0.9928 | -0.050262 | 0.0028144 | 0.00070534
20 | 0.98953 | -0.073375 | 0.0038902 | 0.00097497
21 | 0.99709 | -0.020254 | 0.0014835 | 0.00037181
22 | 1 | 0 | -0.16039 | -0.040192
23 | 0.99533 | -0.032543 | 0 | 0
24 | 0.99964 | -0.0025143 | 0.0022321 | 0.00055942
25 | 0.99498 | -0.034937 | 0.0034367 | 0.00086132
26 | 0.99963 | -0.0025776 | 0.0021285 | 0.00053345
27 | 0.9926 | -0.0516 | 0 | 0
28 | 0.99946 | -0.0037744 | 0.0028142 | 0.0007053
29 | 0.9924 | -0.053044 | 0.0026246 | 0.0006578
30 | 0.98989 | -0.070685 | 0 | 0
31 | 0.99945 | -0.0038508 | 0.00338 | 0.0008471
32 | 0.99227 | -0.053951 | 0.0035196 | 0.0008821
33 | 0.98932 | -0.074696 | 0.0041298 | 0.001035
34 | 0.98918 | -0.075728 | 0.0044034 | 0.0011036
35 | 0.98724 | -0.089459 | 0.0035159 | 0.00088116
36 | 0.98779 | -0.085512 | 0.0026701 | 0.00066918
37 | 0.98708 | -0.090565 | 0.0036655 | 0.00091866
38 | 0.98783 | -0.085258 | 0.0035981 | 0.00090178
39 | 0.98676 | -0.092871 | 0.0033516 | 0.00083998
40 | 0.98901 | -0.076933 | 0.0012595 | 0.00031566
41 | 0.98669 | -0.093376 | 0.003945 | 0.00098872
42 | 0.9864 | -0.095424 | 0.0042276 | 0.0010595
43 | 0.98622 | -0.096692 | 0.0025121 | 0.00062958
44 | 0.98823 | -0.082416 | 0.0037369 | 0.00093656
45 | 0.98696 | -0.091385 | 0.0056446 | 0.0014147
46 | 0.99223 | -0.054265 | 0.0022246 | 0.00055753
47 | 0.98652 | -0.094495 | 0.0034634 | 0.000868
48 | 0.98613 | -0.097311 | 0.0035938 | 0.00090069
49 | 0.98569 | -0.10044 | 0 | 0
50 | 0.98518 | -0.10405 | 0.0020781 | 0.00052082
51 | 0.98545 | -0.10216 | 0.0025448 | 0.00063778
52 | 0.98563 | -0.10085 | 0.0019468 | 0.00048791
53 | 0.98503 | -0.1051 | 0.0042133 | 0.001056
54 | 0.98524 | -0.10359 | 0.0040909 | 0.0010253
55 | 0.98475 | -0.10707 | 0.0050752 | 0.001272
56 | 0.98512 | -0.10448 | 0.0035507 | 0.00088988
57 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.017028 | -0.0042661 | 0.017036 | 0.004269 | 8.3399e-06 | 2.9429e-06 | 0.025539 | 0.025539 | 0.025539 | 0.99209 | -0.055307 | 0.99259 | -0.051768 | 9.4589
1 | 0.014969 | 0.0037499 | -0.014963 | -0.0037481 | 5.43e-06 | 1.8656e-06 | 0.02245 | 0.02245 | 0.02245 | 0.99209 | -0.055307 | 0.99172 | -0.05793 | 8.315
2 | -0.021997 | -0.0055123 | 0.022008 | 0.0055163 | 1.1124e-05 | 4.0665e-06 | 0.032976 | 0.032976 | 0.032976 | 0.99259 | -0.051768 | 0.99311 | -0.048116 | 12.2132
3 | 0.0083366 | 0.0020887 | -0.0083348 | -0.0020883 | 1.8062e-06 | 4.5603e-07 | 0.012508 | 0.012508 | 0.012508 | 0.99172 | -0.05793 | 0.9915 | -0.059497 | 4.6327
4 | 0.0066265 | 0.0016594 | -0.0066257 | -0.0016592 | 8.2428e-07 | 1.4462e-07 | 0.0099422 | 0.0099422 | 0.0099422 | 0.99172 | -0.05793 | 0.99159 | -0.05883 | 3.6823
5 | -0.027348 | -0.0068547 | 0.027356 | 0.0068576 | 7.9492e-06 | 2.9592e-06 | 0.040977 | 0.040977 | 0.040977 | 0.99311 | -0.048116 | 0.99341 | -0.046017 | 15.1766
6 | 0.0047699 | 0.0011948 | -0.0047697 | -0.0011948 | 1.6358e-07 | -3.0637e-09 | 0.0071583 | 0.0071583 | 0.0071583 | 0.9915 | -0.059497 | 0.99146 | -0.059744 | 2.6512
7 | 0.0038366 | 0.00096021 | -0.003835 | -0.0009606 | 1.645e-06 | -3.9289e-07 | 0.0057568 | 0.0057572 | 0.0057572 | 0.99159 | -0.05883 | 0.99116 | -0.061934 | 2.1323
8 | -0.03002 | -0.0075254 | 0.030031 | 0.0075295 | 1.0925e-05 | 4.0898e-06 | 0.044968 | 0.044968 | 0.044968 | 0.99341 | -0.046017 | 0.99378 | -0.043391 | 16.6547
9 | 0.007275 | 0.001823 | -0.0072701 | -0.0018219 | 4.9451e-06 | 1.0493e-06 | 0.010931 | 0.010932 | 0.010932 | 0.99029 | -0.06797 | 0.9896 | -0.072883 | 4.0487
10 | -0.009904 | -0.0024819 | 0.0099056 | 0.0024823 | 1.6118e-06 | 4.6984e-07 | 0.014882 | 0.014882 | 0.014882 | 0.99029 | -0.06797 | 0.99046 | -0.066794 | 5.5117
11 | 0.0038904 | 0.00097491 | -0.0038902 | -0.00097497 | 2.6496e-07 | -5.7498e-08 | 0.0058498 | 0.0058499 | 0.0058499 | 0.9896 | -0.072883 | 0.98953 | -0.073375 | 2.1666
12 | -0.013037 | -0.0032672 | 0.013037 | 0.0032673 | 7.2654e-08 | 2.4037e-08 | 0.019587 | 0.019587 | 0.019587 | 0.99046 | -0.066794 | 0.99047 | -0.066754 | 7.2543
13 | 0.0026089 | 0.00065325 | -0.0026084 | -0.00065372 | 4.8893e-07 | -4.7097e-07 | 0.0039153 | 0.0039155 | 0.0039155 | 0.99146 | -0.059744 | 0.99127 | -0.0611 | 1.4502
14 | 0.003835 | 0.0009606 | -0.0038339 | -0.00096086 | 1.0841e-06 | -2.5836e-07 | 0.0057572 | 0.0057574 | 0.0057574 | 0.99116 | -0.061934 | 0.99087 | -0.063978 | 2.1324
15 | -0.031146 | -0.0078089 | 0.031172 | 0.0078185 | 2.5669e-05 | 9.6273e-06 | 0.046637 | 0.046637 | 0.046637 | 0.99378 | -0.043391 | 0.99463 | -0.037447 | 17.273
16 | 0.025957 | 0.0065163 | -0.025911 | -0.0064992 | 4.6123e-05 | 1.7105e-05 | 0.038837 | 0.038837 | 0.038837 | 0.99463 | -0.037447 | 0.9928 | -0.050262 | 14.384
17 | -0.057129 | -0.014335 | 0.057168 | 0.01435 | 3.8905e-05 | 1.4853e-05 | 0.085474 | 0.085474 | 0.085474 | 0.99463 | -0.037447 | 0.99533 | -0.032543 | 31.6569
18 | -0.02018 | -0.0050581 | 0.020182 | 0.0050588 | 2.0443e-06 | 7.4032e-07 | 0.030305 | 0.030305 | 0.030305 | 0.99089 | -0.063767 | 0.99099 | -0.063035 | 11.224
19 | 0.015965 | 0.0040017 | -0.015959 | -0.0039994 | 6.602e-06 | 2.3022e-06 | 0.023975 | 0.023975 | 0.023975 | 0.99089 | -0.063767 | 0.99047 | -0.066754 | 8.8798
20 | -0.023056 | -0.0057789 | 0.023096 | 0.0057939 | 4.0848e-05 | 1.5006e-05 | 0.034619 | 0.034619 | 0.034619 | 0.99099 | -0.063035 | 0.9928 | -0.050262 | 12.8219
21 | -0.14861 | -0.037384 | 0.14903 | 0.037545 | 0.00042103 | 0.00016122 | 0.22182 | 0.22182 | 0.22182 | 0.99709 | -0.020254 | 1 | 0 | 41.0784
22 | 0.14712 | 0.037012 | -0.14687 | -0.036916 | 0.00025176 | 9.6394e-05 | 0.21961 | 0.21961 | 0.21961 | 0.99709 | -0.020254 | 0.99533 | -0.032543 | 40.6684
23 | 0.01056 | 0.0026465 | -0.010556 | -0.0026454 | 3.6748e-06 | 1.1006e-06 | 0.015713 | 0.015713 | 0.015713 | 1 | 0 | 0.99964 | -0.0025143 | 5.8196
24 | 0.089703 | 0.022566 | -0.089673 | -0.022555 | 2.9947e-05 | 1.1483e-05 | 0.13414 | 0.13414 | 0.13414 | 0.99533 | -0.032543 | 0.99498 | -0.034937 | 49.6799
25 | 0.0083238 | 0.002086 | -0.0083237 | -0.002086 | 7.2946e-08 | 1.8074e-08 | 0.01239 | 0.01239 | 0.01239 | 0.99964 | -0.0025143 | 0.99963 | -0.0025776 | 4.589
26 | 0.086236 | 0.021693 | -0.086036 | -0.021617 | 0.00019994 | 7.6651e-05 | 0.129 | 0.129 | 0.129 | 0.99498 | -0.034937 | 0.9926 | -0.0516 | 47.7763
27 | 0.0061952 | 0.0015525 | -0.0061942 | -0.0015524 | 1.0262e-06 | 1.4123e-07 | 0.0092219 | 0.009222 | 0.009222 | 0.99963 | -0.0025776 | 0.99946 | -0.0037744 | 3.4156
28 | 0.0083713 | 0.0020978 | -0.0083697 | -0.0020974 | 1.6721e-06 | 4.2322e-07 | 0.012549 | 0.012549 | 0.012549 | 0.9926 | -0.0516 | 0.9924 | -0.053044 | 4.648
29 | 0.077665 | 0.019519 | -0.077459 | -0.01944 | 0.00020578 | 7.8833e-05 | 0.11645 | 0.11645 | 0.11645 | 0.9926 | -0.0516 | 0.98989 | -0.070685 | 43.1284
30 | 0.00338 | 0.00084708 | -0.00338 | -0.0008471 | 3.5743e-08 | -1.5896e-08 | 0.0050322 | 0.0050322 | 0.0050322 | 0.99946 | -0.0037744 | 0.99945 | -0.0038508 | 1.8638
31 | 0.005745 | 0.0014396 | -0.0057443 | -0.0014395 | 7.2151e-07 | 7.6195e-08 | 0.0086141 | 0.0086141 | 0.0086141 | 0.9924 | -0.053044 | 0.99227 | -0.053951 | 3.1904
32 | 0.044228 | 0.011103 | -0.044203 | -0.011093 | 2.4624e-05 | 9.3562e-06 | 0.06649 | 0.06649 | 0.06649 | 0.98989 | -0.070685 | 0.98932 | -0.074696 | 24.626
33 | 0.033231 | 0.0083374 | -0.033208 | -0.0083286 | 2.3232e-05 | 8.7438e-06 | 0.049957 | 0.049957 | 0.049957 | 0.98989 | -0.070685 | 0.98918 | -0.075728 | 18.5025
34 | 0.0022247 | 0.00055739 | -0.0022246 | -0.00055753 | 9.6661e-08 | -1.426e-07 | 0.0033361 | 0.0033361 | 0.0033361 | 0.99227 | -0.053951 | 0.99223 | -0.054265 | 1.2356
35 | 0.040073 | 0.010058 | -0.04003 | -0.010042 | 4.2912e-05 | 1.6262e-05 | 0.060279 | 0.060279 | 0.060279 | 0.98932 | -0.074696 | 0.98823 | -0.082416 | 22.3254
36 | 0.028805 | 0.007225 | -0.0288 | -0.0072232 | 4.8116e-06 | 1.7979e-06 | 0.043333 | 0.043333 | 0.043333 | 0.98918 | -0.075728 | 0.98901 | -0.076933 | 16.0492
37 | -0.021228 | -0.0053202 | 0.021239 | 0.0053245 | 1.1607e-05 | 4.2317e-06 | 0.031996 | 0.031996 | 0.031996 | 0.98724 | -0.089459 | 0.98779 | -0.085512 | 11.8503
38 | 0.017712 | 0.0044391 | -0.017709 | -0.0044381 | 2.7113e-06 | 9.6486e-07 | 0.026696 | 0.026696 | 0.026696 | 0.98724 | -0.089459 | 0.98708 | -0.090565 | 9.8876
39 | -0.02391 | -0.0059936 | 0.02391 | 0.005994 | 8.4131e-07 | 3.1028e-07 | 0.036018 | 0.036018 | 0.036018 | 0.98779 | -0.085512 | 0.98783 | -0.085258 | 13.3399
40 | 0.014044 | 0.0035195 | -0.014039 | -0.0035179 | 4.4813e-06 | 1.5188e-06 | 0.021171 | 0.021171 | 0.021171 | 0.98708 | -0.090565 | 0.98676 | -0.092871 | 7.8411
41 | -0.027509 | -0.0068957 | 0.02754 | 0.0069076 | 3.1753e-05 | 1.1833e-05 | 0.041438 | 0.041438 | 0.041438 | 0.98783 | -0.085258 | 0.98901 | -0.076933 | 15.3474
42 | 0.010688 | 0.002678 | -0.010687 | -0.0026777 | 7.4648e-07 | 2.2828e-07 | 0.016117 | 0.016117 | 0.016117 | 0.98676 | -0.092871 | 0.98669 | -0.093376 | 5.9692
43 | 0.006742 | 0.001689 | -0.0067401 | -0.0016887 | 1.9101e-06 | 3.5657e-07 | 0.010167 | 0.010167 | 0.010167 | 0.98669 | -0.093376 | 0.9864 | -0.095424 | 3.7657
44 | 0.0025125 | 0.00062913 | -0.0025121 | -0.00062958 | 4.4055e-07 | -4.578e-07 | 0.00379 | 0.0037902 | 0.0037902 | 0.9864 | -0.095424 | 0.98622 | -0.096692 | 1.4038
45 | 0.036293 | 0.0091056 | -0.036248 | -0.0090885 | 4.5098e-05 | 1.7036e-05 | 0.054652 | 0.054652 | 0.054652 | 0.98823 | -0.082416 | 0.98696 | -0.091385 | 20.2415
46 | 0.030604 | 0.0076739 | -0.030591 | -0.0076689 | 1.3183e-05 | 4.9436e-06 | 0.046142 | 0.046142 | 0.046142 | 0.98696 | -0.091385 | 0.98652 | -0.094495 | 17.0896
47 | 0.027127 | 0.0068009 | -0.027117 | -0.006797 | 1.058e-05 | 3.94e-06 | 0.040918 | 0.040918 | 0.040918 | 0.98652 | -0.094495 | 0.98613 | -0.097311 | 15.1548
48 | 0.023523 | 0.0058963 | -0.023513 | -0.0058925 | 1.0177e-05 | 3.7493e-06 | 0.035495 | 0.035495 | 0.035495 | 0.98613 | -0.097311 | 0.98569 | -0.10044 | 13.1463
49 | 0.011375 | 0.002851 | -0.011369 | -0.0028492 | 5.6891e-06 | 1.7942e-06 | 0.017172 | 0.017172 | 0.017172 | 0.98569 | -0.10044 | 0.98518 | -0.10405 | 6.3601
50 | 0.010191 | 0.0025539 | -0.010188 | -0.0025531 | 2.4283e-06 | 7.2444e-07 | 0.015384 | 0.015384 | 0.015384 | 0.98569 | -0.10044 | 0.98545 | -0.10216 | 5.6978
51 | 0.0019469 | 0.00048769 | -0.0019468 | -0.00048791 | 1.105e-07 | -2.188e-07 | 0.002939 | 0.0029391 | 0.0029391 | 0.98569 | -0.10044 | 0.98563 | -0.10085 | 1.0886
52 | 0.0092913 | 0.0023284 | -0.0092899 | -0.002328 | 1.3444e-06 | 3.7781e-07 | 0.014033 | 0.014034 | 0.014034 | 0.98518 | -0.10405 | 0.98503 | -0.1051 | 5.1976
53 | 0.0076435 | 0.0019154 | -0.007642 | -0.001915 | 1.5188e-06 | 3.5141e-07 | 0.011542 | 0.011542 | 0.011542 | 0.98545 | -0.10216 | 0.98524 | -0.10359 | 4.2747
54 | 0.0050766 | 0.001272 | -0.0050752 | -0.001272 | 1.3838e-06 | 5.2369e-08 | 0.0076688 | 0.0076689 | 0.0076689 | 0.98503 | -0.1051 | 0.98475 | -0.10707 | 2.8403
55 | 0.0035511 | 0.00088974 | -0.0035507 | -0.00088988 | 4.3653e-07 | -1.4179e-07 | 0.0053632 | 0.0053633 | 0.0053633 | 0.98524 | -0.10359 | 0.98512 | -0.10448 | 1.9864

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.16195 | 0.040583

## res_load
| p_mw | q_mvar
0 | 0.0020593 | 0.00051612
1 | 0.0049607 | 0.0012433
2 | 0.00534 | 0.0013383
3 | 0.0035649 | 0.00089344
4 | 0.0027891 | 0.00069901
5 | 0.0026643 | 0.00066775
6 | 0.002629 | 0.0006589
7 | 0.0033796 | 0.00084701
8 | 0.0031318 | 0.0007849
9 | 0.0021608 | 0.00054156
10 | 0.001115 | 0.00027946
11 | 0.0026084 | 0.00065372
12 | 0.0038339 | 0.00096086
13 | 0.0042149 | 0.0010564
14 | 0.0028731 | 0.00072007
15 | 0.0029213 | 0.00073215
16 | 0.0028144 | 0.00070534
17 | 0.0038902 | 0.00097497
18 | 0.0014835 | 0.00037181
19 | 0.0015591 | 0.00039074
20 | 0.0022321 | 0.00055942
21 | 0.0034367 | 0.00086132
22 | 0.0021285 | 0.00053345
23 | 0.0028142 | 0.0007053
24 | 0.0026246 | 0.0006578
25 | 0.00338 | 0.0008471
26 | 0.0035196 | 0.0008821
27 | 0.0041298 | 0.001035
28 | 0.0044034 | 0.0011036
29 | 0.0035159 | 0.00088116
30 | 0.0026701 | 0.00066918
31 | 0.0036655 | 0.00091866
32 | 0.0035981 | 0.00090178
33 | 0.0033516 | 0.00083998
34 | 0.0012595 | 0.00031566
35 | 0.003945 | 0.00098872
36 | 0.0042276 | 0.0010595
37 | 0.0025121 | 0.00062958
38 | 0.0037369 | 0.00093656
39 | 0.0056446 | 0.0014147
40 | 0.0022246 | 0.00055753
41 | 0.0034634 | 0.000868
42 | 0.0035938 | 0.00090069
43 | 0.0020781 | 0.00052082
44 | 0.0025448 | 0.00063778
45 | 0.0019468 | 0.00048791
46 | 0.0042133 | 0.001056
47 | 0.0040909 | 0.0010253
48 | 0.0050752 | 0.001272
49 | 0.0035507 | 0.00088988

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1