## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1511-7_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1511-7_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1511-7_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1511-7_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1511-7_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1511-7_0_3_node_37 | 0.4 | n |  | TRUE
6 | bus_LV_1511-7_0_3_node_15 | 0.4 | n |  | TRUE
7 | bus_LV_1511-7_0_3_node_11 | 0.4 | n |  | TRUE
8 | bus_LV_1511-7_0_3_node_38 | 0.4 | n |  | TRUE
9 | bus_LV_1511-7_0_3_node_72 | 0.4 | n |  | TRUE
10 | bus_LV_1511-7_0_3_node_12 | 0.4 | n |  | TRUE
11 | bus_LV_1511-7_0_3_node_13 | 0.4 | n |  | TRUE
12 | bus_LV_1511-7_0_3_node_14 | 0.4 | n |  | TRUE
13 | bus_LV_1511-7_0_3_node_34 | 0.4 | n |  | TRUE
14 | bus_LV_1511-7_0_3_node_43 | 0.4 | n |  | TRUE
15 | bus_LV_1511-7_0_3_node_35 | 0.4 | n |  | TRUE
16 | bus_LV_1511-7_0_3_node_32 | 0.4 | n |  | TRUE
17 | bus_LV_1511-7_0_3_node_42 | 0.4 | n |  | TRUE
18 | bus_LV_1511-7_0_3_node_21 | 0.4 | n |  | TRUE
19 | bus_LV_1511-7_0_3_node_22 | 0.4 | n |  | TRUE
20 | bus_LV_1511-7_0_3_node_23 | 0.4 | n |  | TRUE
21 | bus_LV_1511-7_0_3_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_1511-7_0_3_node_25 | 0.4 | n |  | TRUE
23 | bus_LV_1511-7_0_3_node_33 | 0.4 | n |  | TRUE
24 | bus_LV_1511-7_0_3_node_26 | 0.4 | n |  | TRUE
25 | bus_LV_1511-7_0_3_node_27 | 0.4 | n |  | TRUE
26 | bus_LV_1511-7_0_3_node_28 | 0.4 | n |  | TRUE
27 | bus_LV_1511-7_0_3_node_29 | 0.4 | n |  | TRUE
28 | bus_LV_1511-7_0_3_node_53 | 0.4 | n |  | TRUE
29 | bus_LV_1511-7_0_3_node_30 | 0.4 | n |  | TRUE
30 | bus_LV_1511-7_0_3_node_31 | 0.4 | n |  | TRUE
31 | bus_LV_1511-7_0_3_node_47 | 0.4 | n |  | TRUE
32 | bus_LV_1511-7_0_3_node_48 | 0.4 | n |  | TRUE
33 | bus_LV_1511-7_0_3_node_39 | 0.4 | n |  | TRUE
34 | bus_LV_1511-7_0_3_node_44 | 0.4 | n |  | TRUE
35 | bus_LV_1511-7_0_3_node_45 | 0.4 | n |  | TRUE
36 | bus_LV_1511-7_0_3_node_46 | 0.4 | n |  | TRUE
37 | bus_LV_1511-7_0_3_node_49 | 0.4 | n |  | TRUE
38 | bus_MV_136_1_node_228 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1511-7_0_3_load_0 | 0 | 0.0049597 | 0.001243 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1511-7_0_3_load_1 | 1 | 0.0097924 | 0.0024542 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1511-7_0_3_load_2 | 2 | 0.0027865 | 0.00069837 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1511-7_0_3_load_3 | 3 | 0.0029721 | 0.00074488 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1511-7_0_3_load_37 | 5 | 0.0035682 | 0.00089426 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1511-7_0_3_load_15 | 6 | 0.0052609 | 0.0013185 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1511-7_0_3_load_11 | 7 | 0.0030715 | 0.00076979 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1511-7_0_3_load_38 | 8 | 0.0071416 | 0.0017898 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1511-7_0_3_load_72 | 9 | 0.0087618 | 0.0021959 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1511-7_0_3_load_13 | 11 | 0.0045315 | 0.0011357 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1511-7_0_3_load_14 | 12 | 0.0093713 | 0.0023487 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1511-7_0_3_load_43 | 14 | 0.0031006 | 0.00077709 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1511-7_0_3_load_35 | 15 | 0.0059506 | 0.0014914 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1511-7_0_3_load_32 | 16 | 0.0052465 | 0.0013149 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1511-7_0_3_load_42 | 17 | 0.004424 | 0.0011088 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1511-7_0_3_load_21 | 18 | 0.0079209 | 0.0019852 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1511-7_0_3_load_23 | 20 | 0.0004503 | 0.00011286 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1511-7_0_3_load_24 | 21 | 0.0033639 | 0.00084307 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1511-7_0_3_load_25 | 22 | 0.00075181 | 0.00018842 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1511-7_0_3_load_33 | 23 | 0.0039172 | 0.00098175 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1511-7_0_3_load_27 | 25 | 0.00034378 | 8.616e-05 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1511-7_0_3_load_28 | 26 | 0.00043641 | 0.00010937 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1511-7_0_3_load_29 | 27 | 0.00054667 | 0.00013701 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1511-7_0_3_load_53 | 28 | 0.00074614 | 0.000187 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1511-7_0_3_load_30 | 29 | 0.00097778 | 0.00024505 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1511-7_0_3_load_31 | 30 | 0.00047016 | 0.00011783 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1511-7_0_3_load_48 | 32 | 0.0012116 | 0.00030365 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1511-7_0_3_load_39 | 33 | 0.0030713 | 0.00076974 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1511-7_0_3_load_44 | 34 | 0.0032808 | 0.00082226 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1511-7_0_3_load_45 | 35 | 0.009711 | 0.0024338 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1511-7_0_3_load_46 | 36 | 0.004279 | 0.0010724 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1511-7_0_3_load_49 | 37 | 0.0034518 | 0.00086509 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 10 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1511-7_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0080956 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1511-7_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.012807 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1511-7_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0075714 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1511-7_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.0058392 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1511-7_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.012896 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1511-7_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.017581 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1511-7_0_3_line_6 | NAYY 4x150 SE | 4 | 7 | 0.017301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1511-7_0_3_line_7 | NAYY 4x150 SE | 5 | 8 | 0.016897 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1511-7_0_3_line_8 | NAYY 4x150 SE | 6 | 9 | 0.021488 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1511-7_0_3_line_9 | NAYY 4x150 SE | 7 | 10 | 0.0014075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1511-7_0_3_line_10 | NAYY 4x150 SE | 8 | 33 | 0.010327 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1511-7_0_3_line_11 | NAYY 4x150 SE | 10 | 11 | 0.015587 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1511-7_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.013585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1511-7_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.036354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1511-7_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.011647 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1511-7_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.022836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1511-7_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.077927 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1511-7_0_3_line_17 | NAYY 4x150 SE | 14 | 17 | 0.015123 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1511-7_0_3_line_18 | NAYY 4x150 SE | 15 | 31 | 0.040451 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1511-7_0_3_line_19 | NAYY 4x150 SE | 16 | 23 | 0.00968 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1511-7_0_3_line_20 | NAYY 4x150 SE | 17 | 34 | 0.015077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1511-7_0_3_line_21 | NAYY 4x150 SE | 18 | 19 | 0.017161 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1511-7_0_3_line_22 | NAYY 4x150 SE | 19 | 20 | 0.03453 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1511-7_0_3_line_23 | NAYY 4x150 SE | 19 | 21 | 0.018134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1511-7_0_3_line_24 | NAYY 4x150 SE | 20 | 22 | 0.023707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1511-7_0_3_line_25 | NAYY 4x150 SE | 21 | 23 | 0.041272 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1511-7_0_3_line_26 | NAYY 4x150 SE | 22 | 24 | 0.036902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1511-7_0_3_line_27 | NAYY 4x150 SE | 24 | 25 | 0.014213 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1511-7_0_3_line_28 | NAYY 4x150 SE | 24 | 26 | 0.002667 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1511-7_0_3_line_29 | NAYY 4x150 SE | 25 | 27 | 0.00067759 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1511-7_0_3_line_30 | NAYY 4x150 SE | 26 | 28 | 0.20725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1511-7_0_3_line_31 | NAYY 4x150 SE | 27 | 29 | 0.01 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1511-7_0_3_line_32 | NAYY 4x150 SE | 29 | 30 | 0.063466 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1511-7_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.0067944 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1511-7_0_3_line_34 | NAYY 4x150 SE | 34 | 35 | 0.008415 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1511-7_0_3_line_35 | NAYY 4x150 SE | 35 | 36 | 0.0093504 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1511-7_0_3_line_36 | NAYY 4x150 SE | 36 | 37 | 0.07995 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1511-7_0_3_trafo_12 | 0.25 MVA 20/0.4 kV | 38 | 10 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2673113.3392 | 1195777.8247 | 2673119.6034 | 1195782.9529
1 | 2673113.3392 | 1195777.8247 | 2673103.4293 | 1195769.7119
2 | 2673125.5264 | 1195787.6689 | 2673121.3005 | 1195784.3422 | 2673119.6034 | 1195782.9529
3 | 2673098.9111 | 1195766.013 | 2673103.4293 | 1195769.7119
4 | 2673125.5264 | 1195787.6689 | 2673126.9528 | 1195788.7917 | 2673129.3133 | 1195790.7773 | 2673135.459 | 1195795.8933
5 | 2673098.9111 | 1195766.013 | 2673110.2706 | 1195752.5941
6 | 2673098.9111 | 1195766.013 | 2673085.5239 | 1195755.054
7 | 2673148.4457 | 1195806.7039 | 2673135.459 | 1195795.8933
8 | 2673121.3509 | 1195734.7462 | 2673120.3201 | 1195739.9034 | 2673118.9107 | 1195742.3876 | 2673110.2706 | 1195752.5941
9 | 2673084.4348 | 1195754.1624 | 2673085.5239 | 1195755.054
10 | 2673148.4457 | 1195806.7039 | 2673156.3825 | 1195813.3108 | 2673156.3825 | 1195813.3108
11 | 2673084.4348 | 1195754.1624 | 2673072.3735 | 1195744.2897
12 | 2673084.4348 | 1195754.1624 | 2673079.1441 | 1195766.6747
13 | 2673044.2419 | 1195721.2627 | 2673072.3735 | 1195744.2897
14 | 2673074.608 | 1195777.4023 | 2673079.1441 | 1195766.6747
15 | 2673044.2419 | 1195721.2627 | 2673032.1336 | 1195736.3462 | 2673028.8491 | 1195737.5373
16 | 2673044.2419 | 1195721.2627 | 2673051.6479 | 1195701.9192 | 2673058.1581 | 1195676.7057 | 2673070.4983 | 1195658.8679 | 2673076.2402 | 1195651.3196
17 | 2673066.7008 | 1195790.0452 | 2673066.7008 | 1195790.0452 | 2673071.5126 | 1195784.723 | 2673074.608 | 1195777.4023
18 | 2673003.3094 | 1195765.1229 | 2673008.6004 | 1195750.5009 | 2673015.1974 | 1195742.4876 | 2673028.8491 | 1195737.5373
19 | 2673076.2402 | 1195651.3196 | 2673079.9921 | 1195646.3875 | 2673081.5659 | 1195643.2803
20 | 2673066.7008 | 1195790.0452 | 2673053.3895 | 1195795.0968 | 2673052.6002 | 1195795.3826
21 | 2673073.4104 | 1195585.8038 | 2673061.5927 | 1195573.3608
22 | 2673073.4104 | 1195585.8038 | 2673107.0535 | 1195578.027
23 | 2673073.4104 | 1195585.8038 | 2673077.9654 | 1195603.3559
24 | 2673107.0535 | 1195578.027 | 2673130.1515 | 1195572.6877
25 | 2673081.5659 | 1195643.2803 | 2673083.1542 | 1195640.1445 | 2673084.6845 | 1195633.3814 | 2673083.8159 | 1195625.8996 | 2673077.9654 | 1195603.3559
26 | 2673165.7616 | 1195567.377 | 2673161.7095 | 1195565.3929 | 2673130.1515 | 1195572.6877
27 | 2673165.7616 | 1195567.377 | 2673171.8332 | 1195580.2275
28 | 2673165.7616 | 1195567.377 | 2673164.9903 | 1195564.8239
29 | 2673171.8332 | 1195580.2275 | 2673172.1227 | 1195580.8401
30 | 2673164.9903 | 1195564.8239 | 2673308.6634 | 1195415.4617
31 | 2673176.3947 | 1195589.8818 | 2673172.1227 | 1195580.8401
32 | 2673176.3947 | 1195589.8818 | 2673181.1578 | 1195599.9627 | 2673184.2992 | 1195603.5144 | 2673193.7706 | 1195610.3122 | 2673202.2166 | 1195618.098 | 2673206.6455 | 1195626.0125 | 2673207.3732 | 1195635.038 | 2673207.5706 | 1195641.3403
33 | 2673003.3094 | 1195765.1229 | 2672996.5161 | 1195765.2437
34 | 2673052.6002 | 1195795.3826 | 2673044.688 | 1195798.248
35 | 2673037.0937 | 1195803.703 | 2673044.688 | 1195798.248
36 | 2673037.0937 | 1195803.703 | 2673024.341 | 1195882.6298

## bus_geodata
| x | y | coords
0 | 2673113.3392 | 1195777.8247
1 | 2673119.6034 | 1195782.9529
2 | 2673103.4293 | 1195769.7119
3 | 2673125.5264 | 1195787.6689
4 | 2673098.9111 | 1195766.013
5 | 2673135.459 | 1195795.8933
6 | 2673110.2706 | 1195752.5941
7 | 2673085.5239 | 1195755.054
8 | 2673148.4457 | 1195806.7039
9 | 2673121.3509 | 1195734.7462
10 | 2673084.4348 | 1195754.1624
11 | 2673072.3735 | 1195744.2897
12 | 2673079.1441 | 1195766.6747
13 | 2673044.2419 | 1195721.2627
14 | 2673074.608 | 1195777.4023
15 | 2673028.8491 | 1195737.5373
16 | 2673076.2402 | 1195651.3196
17 | 2673066.7008 | 1195790.0452
18 | 2673061.5927 | 1195573.3608
19 | 2673073.4104 | 1195585.8038
20 | 2673107.0535 | 1195578.027
21 | 2673077.9654 | 1195603.3559
22 | 2673130.1515 | 1195572.6877
23 | 2673081.5659 | 1195643.2803
24 | 2673165.7616 | 1195567.377
25 | 2673171.8332 | 1195580.2275
26 | 2673164.9903 | 1195564.8239
27 | 2673172.1227 | 1195580.8401
28 | 2673308.6634 | 1195415.4617
29 | 2673176.3947 | 1195589.8818
30 | 2673207.5706 | 1195641.3403
31 | 2673003.3094 | 1195765.1229
32 | 2672996.5161 | 1195765.2437
33 | 2673156.3825 | 1195813.3108
34 | 2673052.6002 | 1195795.3826
35 | 2673044.688 | 1195798.248
36 | 2673037.0937 | 1195803.703
37 | 2673024.341 | 1195882.6298
38 | 2673098.9111 | 1195766.013

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99784 | -0.015126 | 0.0049597 | 0.001243
1 | 0.99753 | -0.017281 | 0.0097924 | 0.0024542
2 | 0.99842 | -0.011083 | 0.0027865 | 0.00069837
3 | 0.99735 | -0.018554 | 0.0029721 | 0.00074488
4 | 0.9987 | -0.0090782 | 0 | 0
5 | 0.9971 | -0.020338 | 0.0035682 | 0.00089426
6 | 0.99835 | -0.011547 | 0.0052609 | 0.0013185
7 | 0.9999 | -0.00072211 | 0.0030715 | 0.00076979
8 | 0.99685 | -0.022071 | 0.0071416 | 0.0017898
9 | 0.99808 | -0.013433 | 0.0087618 | 0.0021959
10 | 1 | 0 | -0.12703 | -0.031673
11 | 0.99918 | -0.0057496 | 0.0045315 | 0.0011357
12 | 0.99927 | -0.005106 | 0.0093713 | 0.0023487
13 | 0.99749 | -0.017543 | 0 | 0
14 | 0.9988 | -0.0083975 | 0.0031006 | 0.00077709
15 | 0.99726 | -0.019185 | 0.0059506 | 0.0014914
16 | 0.99468 | -0.037313 | 0.0052465 | 0.0013149
17 | 0.99826 | -0.012206 | 0.004424 | 0.0011088
18 | 0.99293 | -0.049659 | 0.0079209 | 0.0019852
19 | 0.99312 | -0.048283 | 0 | 0
20 | 0.99289 | -0.049947 | 0.0004503 | 0.00011286
21 | 0.99345 | -0.045957 | 0.0033639 | 0.00084307
22 | 0.99274 | -0.05098 | 0.00075181 | 0.00018842
23 | 0.9944 | -0.039264 | 0.0039172 | 0.00098175
24 | 0.99256 | -0.052308 | 0 | 0
25 | 0.99251 | -0.052646 | 0.00034378 | 8.616e-05
26 | 0.99255 | -0.05234 | 0.00043641 | 0.00010937
27 | 0.99251 | -0.052659 | 0.00054667 | 0.00013701
28 | 0.99233 | -0.053928 | 0.00074614 | 0.000187
29 | 0.99249 | -0.052807 | 0.00097778 | 0.00024505
30 | 0.99244 | -0.053111 | 0.00047016 | 0.00011783
31 | 0.99719 | -0.019678 | 0 | 0
32 | 0.99718 | -0.019761 | 0.0012116 | 0.00030365
33 | 0.9968 | -0.022389 | 0.0030713 | 0.00076974
34 | 0.99781 | -0.015338 | 0.0032808 | 0.00082226
35 | 0.9976 | -0.01681 | 0.009711 | 0.0024338
36 | 0.9975 | -0.017536 | 0.004279 | 0.0010724
37 | 0.9971 | -0.020308 | 0.0034518 | 0.00086509
38 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.026562 | 0.0066587 | -0.026555 | -0.0066558 | 7.9264e-06 | 2.9429e-06 | 0.039611 | 0.039612 | 0.039612 | 0.99784 | -0.015126 | 0.99753 | -0.017281 | 14.6709
1 | -0.031522 | -0.0079017 | 0.03154 | 0.0079084 | 1.7659e-05 | 6.6246e-06 | 0.047008 | 0.047008 | 0.047008 | 0.99784 | -0.015126 | 0.99842 | -0.011083 | 17.4102
2 | 0.016762 | 0.0042015 | -0.016759 | -0.0042005 | 2.9538e-06 | 1.0373e-06 | 0.025004 | 0.025004 | 0.025004 | 0.99753 | -0.017281 | 0.99735 | -0.018554 | 9.2608
3 | -0.034326 | -0.0086067 | 0.034336 | 0.0086103 | 9.537e-06 | 3.5917e-06 | 0.051161 | 0.051161 | 0.051161 | 0.99842 | -0.011083 | 0.9987 | -0.0090782 | 18.9483
4 | 0.013787 | 0.0034556 | -0.013784 | -0.0034545 | 3.405e-06 | 1.1414e-06 | 0.02057 | 0.02057 | 0.02057 | 0.99735 | -0.018554 | 0.9971 | -0.020338 | 7.6185
5 | 0.01403 | 0.0035167 | -0.014025 | -0.003515 | 4.794e-06 | 1.6139e-06 | 0.020904 | 0.020904 | 0.020904 | 0.9987 | -0.0090782 | 0.99835 | -0.011547 | 7.7422
6 | -0.048366 | -0.012127 | 0.048422 | 0.012148 | 5.6065e-05 | 2.1337e-05 | 0.072064 | 0.072064 | 0.072064 | 0.9987 | -0.0090782 | 0.9999 | -0.00072211 | 26.6905
7 | 0.010215 | 0.0025602 | -0.010213 | -0.0025595 | 2.4506e-06 | 7.2218e-07 | 0.015245 | 0.015245 | 0.015245 | 0.9971 | -0.020338 | 0.99685 | -0.022071 | 5.6463
8 | 0.0087641 | 0.0021965 | -0.0087618 | -0.0021959 | 2.288e-06 | 5.9909e-07 | 0.013063 | 0.013063 | 0.013063 | 0.99835 | -0.011547 | 0.99808 | -0.013433 | 4.8381
9 | -0.051493 | -0.012918 | 0.051498 | 0.01292 | 5.1583e-06 | 1.9655e-06 | 0.076635 | 0.076635 | 0.076635 | 0.9999 | -0.00072211 | 1 | 0 | 28.3834
10 | 0.0030714 | 0.00076966 | -0.0030713 | -0.00076974 | 1.3545e-07 | -8.2526e-08 | 0.0045848 | 0.0045848 | 0.0045848 | 0.99685 | -0.022071 | 0.9968 | -0.022389 | 1.6981
11 | 0.037047 | 0.0093005 | -0.037018 | -0.0092893 | 2.9563e-05 | 1.1166e-05 | 0.055132 | 0.055132 | 0.055132 | 1 | 0 | 0.99918 | -0.0057496 | 20.4194
12 | 0.037686 | 0.009452 | -0.037659 | -0.009442 | 2.666e-05 | 1.0076e-05 | 0.05608 | 0.05608 | 0.05608 | 1 | 0 | 0.99927 | -0.005106 | 20.7703
13 | 0.032486 | 0.0081536 | -0.032433 | -0.0081336 | 5.3106e-05 | 1.995e-05 | 0.048384 | 0.048384 | 0.048384 | 0.99918 | -0.0057496 | 0.99749 | -0.017543 | 17.92
14 | 0.028288 | 0.0070933 | -0.028275 | -0.0070885 | 1.2897e-05 | 4.8079e-06 | 0.042125 | 0.042125 | 0.042125 | 0.99927 | -0.005106 | 0.9988 | -0.0083975 | 15.6019
15 | 0.0071639 | 0.0017948 | -0.0071623 | -0.0017944 | 1.6274e-06 | 3.2789e-07 | 0.010687 | 0.010687 | 0.010687 | 0.99749 | -0.017543 | 0.99726 | -0.019185 | 3.958
16 | 0.025269 | 0.0063389 | -0.0252 | -0.0063133 | 6.9104e-05 | 2.5564e-05 | 0.037697 | 0.037698 | 0.037698 | 0.99749 | -0.017543 | 0.99468 | -0.037313 | 13.9621
17 | 0.025175 | 0.0063114 | -0.025161 | -0.0063065 | 1.3275e-05 | 4.9078e-06 | 0.037506 | 0.037506 | 0.037506 | 0.9988 | -0.0083975 | 0.99826 | -0.012206 | 13.8911
18 | 0.0012117 | 0.00030307 | -0.0012116 | -0.00030357 | 8.2494e-08 | -4.9601e-07 | 0.0018077 | 0.0018079 | 0.0018079 | 0.99726 | -0.019185 | 0.99719 | -0.019678 | 0.6696
19 | 0.019953 | 0.0049984 | -0.019948 | -0.0049965 | 5.3818e-06 | 1.9443e-06 | 0.029849 | 0.029849 | 0.029849 | 0.99468 | -0.037313 | 0.9944 | -0.039264 | 11.0552
20 | 0.020737 | 0.0051977 | -0.020728 | -0.0051945 | 8.9896e-06 | 3.2605e-06 | 0.030911 | 0.030911 | 0.030911 | 0.99826 | -0.012206 | 0.99781 | -0.015338 | 11.4487
21 | -0.0079209 | -0.0019852 | 0.0079224 | 0.0019855 | 1.5088e-06 | 3.5831e-07 | 0.01187 | 0.01187 | 0.01187 | 0.99293 | -0.049659 | 0.99312 | -0.048283 | 4.3964
22 | 0.0047257 | 0.0011796 | -0.0047246 | -0.0011797 | 1.0798e-06 | -3.1403e-08 | 0.0070789 | 0.0070791 | 0.0070791 | 0.99312 | -0.048283 | 0.99289 | -0.049947 | 2.6219
23 | -0.012648 | -0.0031652 | 0.012652 | 0.0031665 | 4.063e-06 | 1.328e-06 | 0.018949 | 0.018949 | 0.018949 | 0.99312 | -0.048283 | 0.99345 | -0.045957 | 7.0182
24 | 0.0042743 | 0.0010668 | -0.0042737 | -0.0010669 | 6.0675e-07 | -7.3205e-08 | 0.0064042 | 0.0064044 | 0.0064044 | 0.99289 | -0.049947 | 0.99274 | -0.05098 | 2.372
25 | -0.016016 | -0.0040096 | 0.016031 | 0.0040147 | 1.4819e-05 | 5.1646e-06 | 0.023988 | 0.023987 | 0.023988 | 0.99345 | -0.045957 | 0.9944 | -0.039264 | 8.8843
26 | 0.0035219 | 0.00087847 | -0.0035213 | -0.0008787 | 6.4136e-07 | -2.3036e-07 | 0.0052775 | 0.0052776 | 0.0052776 | 0.99274 | -0.05098 | 0.99256 | -0.052308 | 1.9547
27 | 0.0023386 | 0.00058498 | -0.0023384 | -0.00058512 | 1.0899e-07 | -1.4177e-07 | 0.0035055 | 0.0035056 | 0.0035056 | 0.99256 | -0.052308 | 0.99251 | -0.052646 | 1.2984
28 | 0.0011827 | 0.00029373 | -0.0011827 | -0.00029376 | 5.2266e-09 | -3.246e-08 | 0.0017721 | 0.0017722 | 0.0017722 | 0.99256 | -0.052308 | 0.99255 | -0.05234 | 0.65635
29 | 0.0019947 | 0.00049896 | -0.0019947 | -0.00049896 | 3.7803e-09 | -7.3028e-09 | 0.0029901 | 0.0029902 | 0.0029902 | 0.99251 | -0.052646 | 0.99251 | -0.052659 | 1.1075
30 | 0.0007463 | 0.00018438 | -0.00074614 | -0.000187 | 1.6175e-07 | -2.6158e-06 | 0.0011179 | 0.0011188 | 0.0011188 | 0.99255 | -0.05234 | 0.99233 | -0.053928 | 0.41439
31 | 0.001448 | 0.00036196 | -0.001448 | -0.00036207 | 2.9399e-08 | -1.1793e-07 | 0.0021706 | 0.0021706 | 0.0021706 | 0.99251 | -0.052659 | 0.99249 | -0.052807 | 0.80393
32 | 0.00047018 | 0.00011702 | -0.00047016 | -0.00011783 | 1.9672e-08 | -8.1257e-07 | 0.00070464 | 0.00070493 | 0.00070493 | 0.99249 | -0.052807 | 0.99244 | -0.053111 | 0.26109
33 | 0.0012116 | 0.00030357 | -0.0012116 | -0.00030365 | 1.3858e-08 | -8.3307e-08 | 0.0018079 | 0.0018079 | 0.0018079 | 0.99719 | -0.019678 | 0.99718 | -0.019761 | 0.66961
34 | 0.017447 | 0.0043722 | -0.017444 | -0.004371 | 3.5548e-06 | 1.2573e-06 | 0.026019 | 0.026019 | 0.026019 | 0.99781 | -0.015338 | 0.9976 | -0.01681 | 9.6366
35 | 0.0077329 | 0.0019372 | -0.0077321 | -0.001937 | 7.7621e-07 | 1.7647e-07 | 0.011534 | 0.011534 | 0.011534 | 0.9976 | -0.01681 | 0.9975 | -0.017536 | 4.2719
36 | 0.0034531 | 0.00086456 | -0.0034518 | -0.00086509 | 1.3237e-06 | -5.3412e-07 | 0.0051508 | 0.0051512 | 0.0051512 | 0.9975 | -0.017536 | 0.9971 | -0.020308 | 1.9079

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.12703 | 0.031673

## res_load
| p_mw | q_mvar
0 | 0.0049597 | 0.001243
1 | 0.0097924 | 0.0024542
2 | 0.0027865 | 0.00069837
3 | 0.0029721 | 0.00074488
4 | 0.0035682 | 0.00089426
5 | 0.0052609 | 0.0013185
6 | 0.0030715 | 0.00076979
7 | 0.0071416 | 0.0017898
8 | 0.0087618 | 0.0021959
9 | 0.0045315 | 0.0011357
10 | 0.0093713 | 0.0023487
11 | 0.0031006 | 0.00077709
12 | 0.0059506 | 0.0014914
13 | 0.0052465 | 0.0013149
14 | 0.004424 | 0.0011088
15 | 0.0079209 | 0.0019852
16 | 0.0004503 | 0.00011286
17 | 0.0033639 | 0.00084307
18 | 0.00075181 | 0.00018842
19 | 0.0039172 | 0.00098175
20 | 0.00034378 | 8.616e-05
21 | 0.00043641 | 0.00010937
22 | 0.00054667 | 0.00013701
23 | 0.00074614 | 0.000187
24 | 0.00097778 | 0.00024505
25 | 0.00047016 | 0.00011783
26 | 0.0012116 | 0.00030365
27 | 0.0030713 | 0.00076974
28 | 0.0032808 | 0.00082226
29 | 0.009711 | 0.0024338
30 | 0.004279 | 0.0010724
31 | 0.0034518 | 0.00086509

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1