## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1511-9_0_1_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1511-9_0_1_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1511-9_0_1_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1511-9_0_1_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1511-9_0_1_node_238 | 0.4 | n |  | TRUE
5 | bus_LV_1511-9_0_1_node_67 | 0.4 | n |  | TRUE
6 | bus_LV_1511-9_0_1_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1511-9_0_1_node_234 | 0.4 | n |  | TRUE
8 | bus_LV_1511-9_0_1_node_535 | 0.4 | n |  | TRUE
9 | bus_LV_1511-9_0_1_node_388 | 0.4 | n |  | TRUE
10 | bus_LV_1511-9_0_1_node_68 | 0.4 | n |  | TRUE
11 | bus_LV_1511-9_0_1_node_251 | 0.4 | n |  | TRUE
12 | bus_LV_1511-9_0_1_node_216 | 0.4 | n |  | TRUE
13 | bus_LV_1511-9_0_1_node_217 | 0.4 | n |  | TRUE
14 | bus_LV_1511-9_0_1_node_218 | 0.4 | n |  | TRUE
15 | bus_LV_1511-9_0_1_node_219 | 0.4 | n |  | TRUE
16 | bus_LV_1511-9_0_1_node_391 | 0.4 | n |  | TRUE
17 | bus_LV_1511-9_0_1_node_227 | 0.4 | n |  | TRUE
18 | bus_LV_1511-9_0_1_node_223 | 0.4 | n |  | TRUE
19 | bus_LV_1511-9_0_1_node_220 | 0.4 | n |  | TRUE
20 | bus_LV_1511-9_0_1_node_231 | 0.4 | n |  | TRUE
21 | bus_LV_1511-9_0_1_node_221 | 0.4 | n |  | TRUE
22 | bus_LV_1511-9_0_1_node_222 | 0.4 | n |  | TRUE
23 | bus_LV_1511-9_0_1_node_224 | 0.4 | n |  | TRUE
24 | bus_LV_1511-9_0_1_node_225 | 0.4 | n |  | TRUE
25 | bus_LV_1511-9_0_1_node_226 | 0.4 | n |  | TRUE
26 | bus_LV_1511-9_0_1_node_228 | 0.4 | n |  | TRUE
27 | bus_LV_1511-9_0_1_node_229 | 0.4 | n |  | TRUE
28 | bus_LV_1511-9_0_1_node_232 | 0.4 | n |  | TRUE
29 | bus_LV_1511-9_0_1_node_421 | 0.4 | n |  | TRUE
30 | bus_LV_1511-9_0_1_node_389 | 0.4 | n |  | TRUE
31 | bus_LV_1511-9_0_1_node_230 | 0.4 | n |  | TRUE
32 | bus_LV_1511-9_0_1_node_233 | 0.4 | n |  | TRUE
33 | bus_LV_1511-9_0_1_node_243 | 0.4 | n |  | TRUE
34 | bus_LV_1511-9_0_1_node_237 | 0.4 | n |  | TRUE
35 | bus_LV_1511-9_0_1_node_235 | 0.4 | n |  | TRUE
36 | bus_LV_1511-9_0_1_node_236 | 0.4 | n |  | TRUE
37 | bus_LV_1511-9_0_1_node_247 | 0.4 | n |  | TRUE
38 | bus_LV_1511-9_0_1_node_387 | 0.4 | n |  | TRUE
39 | bus_LV_1511-9_0_1_node_390 | 0.4 | n |  | TRUE
40 | bus_LV_1511-9_0_1_node_392 | 0.4 | n |  | TRUE
41 | bus_LV_1511-9_0_1_node_395 | 0.4 | n |  | TRUE
42 | bus_LV_1511-9_0_1_node_394 | 0.4 | n |  | TRUE
43 | bus_LV_1511-9_0_1_node_426 | 0.4 | n |  | TRUE
44 | bus_LV_1511-9_0_1_node_403 | 0.4 | n |  | TRUE
45 | bus_LV_1511-9_0_1_node_404 | 0.4 | n |  | TRUE
46 | bus_LV_1511-9_0_1_node_405 | 0.4 | n |  | TRUE
47 | bus_LV_1511-9_0_1_node_406 | 0.4 | n |  | TRUE
48 | bus_LV_1511-9_0_1_node_407 | 0.4 | n |  | TRUE
49 | bus_LV_1511-9_0_1_node_408 | 0.4 | n |  | TRUE
50 | bus_LV_1511-9_0_1_node_409 | 0.4 | n |  | TRUE
51 | bus_LV_1511-9_0_1_node_410 | 0.4 | n |  | TRUE
52 | bus_LV_1511-9_0_1_node_411 | 0.4 | n |  | TRUE
53 | bus_LV_1511-9_0_1_node_412 | 0.4 | n |  | TRUE
54 | bus_LV_1511-9_0_1_node_419 | 0.4 | n |  | TRUE
55 | bus_LV_1511-9_0_1_node_422 | 0.4 | n |  | TRUE
56 | bus_LV_1511-9_0_1_node_423 | 0.4 | n |  | TRUE
57 | bus_LV_1511-9_0_1_node_413 | 0.4 | n |  | TRUE
58 | bus_LV_1511-9_0_1_node_414 | 0.4 | n |  | TRUE
59 | bus_LV_1511-9_0_1_node_415 | 0.4 | n |  | TRUE
60 | bus_LV_1511-9_0_1_node_416 | 0.4 | n |  | TRUE
61 | bus_LV_1511-9_0_1_node_417 | 0.4 | n |  | TRUE
62 | bus_LV_1511-9_0_1_node_418 | 0.4 | n |  | TRUE
63 | bus_LV_1511-9_0_1_node_424 | 0.4 | n |  | TRUE
64 | bus_LV_1511-9_0_1_node_425 | 0.4 | n |  | TRUE
65 | bus_LV_1511-9_0_1_node_427 | 0.4 | n |  | TRUE
66 | bus_LV_1511-9_0_1_node_428 | 0.4 | n |  | TRUE
67 | bus_LV_1511-9_0_1_node_429 | 0.4 | n |  | TRUE
68 | bus_LV_1511-9_0_1_node_433 | 0.4 | n |  | TRUE
69 | bus_LV_1511-9_0_1_node_430 | 0.4 | n |  | TRUE
70 | bus_LV_1511-9_0_1_node_431 | 0.4 | n |  | TRUE
71 | bus_LV_1511-9_0_1_node_432 | 0.4 | n |  | TRUE
72 | bus_LV_1511-9_0_1_node_434 | 0.4 | n |  | TRUE
73 | bus_LV_1511-9_0_1_node_435 | 0.4 | n |  | TRUE
74 | bus_LV_1511-9_0_1_node_436 | 0.4 | n |  | TRUE
75 | bus_LV_1511-9_0_1_node_438 | 0.4 | n |  | TRUE
76 | bus_MV_0_node_412 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1511-9_0_1_load_0 | 0 | 0.00021365 | 5.3547e-05 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1511-9_0_1_load_1 | 1 | 9.3068e-05 | 2.3325e-05 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1511-9_0_1_load_2 | 2 | 0.00020746 | 5.1995e-05 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1511-9_0_1_load_3 | 3 | 5.4031e-05 | 1.3542e-05 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1511-9_0_1_load_238 | 4 | 5.8661e-05 | 1.4702e-05 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1511-9_0_1_load_234 | 7 | 0.00022289 | 5.5861e-05 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1511-9_0_1_load_535 | 8 | 0.0012042 | 0.00030179 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1511-9_0_1_load_388 | 9 | 0.00074109 | 0.00018573 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1511-9_0_1_load_68 | 10 | 6.2699e-05 | 1.5714e-05 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1511-9_0_1_load_251 | 11 | 0.00015798 | 3.9593e-05 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1511-9_0_1_load_216 | 12 | 0.00077807 | 0.000195 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1511-9_0_1_load_227 | 17 | 0.0015695 | 0.00039336 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1511-9_0_1_load_220 | 19 | 0.00034595 | 8.6704e-05 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1511-9_0_1_load_221 | 21 | 0.00013547 | 3.3953e-05 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1511-9_0_1_load_222 | 22 | 0.00011544 | 2.8932e-05 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1511-9_0_1_load_224 | 23 | 6.8409e-05 | 1.7145e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1511-9_0_1_load_225 | 24 | 6.6205e-05 | 1.6593e-05 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1511-9_0_1_load_226 | 25 | 0.00027484 | 6.8881e-05 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1511-9_0_1_load_228 | 26 | 0.004657 | 0.0011672 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1511-9_0_1_load_229 | 27 | 0.00038956 | 9.7632e-05 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1511-9_0_1_load_421 | 29 | 0.00068493 | 0.00017166 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1511-9_0_1_load_230 | 31 | 8.3814e-05 | 2.1006e-05 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1511-9_0_1_load_243 | 33 | 0.00015824 | 3.9659e-05 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1511-9_0_1_load_247 | 37 | 0.00041273 | 0.00010344 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1511-9_0_1_load_387 | 38 | 0.0015525 | 0.00038909 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1511-9_0_1_load_390 | 39 | 0.00062707 | 0.00015716 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1511-9_0_1_load_392 | 40 | 0.0031793 | 0.0007968 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1511-9_0_1_load_395 | 41 | 0.00030274 | 7.5874e-05 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1511-9_0_1_load_394 | 42 | 0.0024732 | 0.00061984 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1511-9_0_1_load_403 | 44 | 0.00075203 | 0.00018848 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1511-9_0_1_load_404 | 45 | 0.00035748 | 8.9592e-05 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1511-9_0_1_load_406 | 47 | 0.0011474 | 0.00028757 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1511-9_0_1_load_407 | 48 | 0.00068804 | 0.00017244 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1511-9_0_1_load_408 | 49 | 0.00088335 | 0.00022139 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1511-9_0_1_load_409 | 50 | 0.00030884 | 7.7404e-05 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1511-9_0_1_load_410 | 51 | 0.00034016 | 8.5251e-05 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1511-9_0_1_load_412 | 53 | 0.0022684 | 0.00056852 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1511-9_0_1_load_419 | 54 | 0.00030372 | 7.6119e-05 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1511-9_0_1_load_422 | 55 | 0.0010255 | 0.000257 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1511-9_0_1_load_423 | 56 | 0.00092996 | 0.00023307 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1511-9_0_1_load_413 | 57 | 0.0019105 | 0.00047882 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1511-9_0_1_load_414 | 58 | 0.00062178 | 0.00015583 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1511-9_0_1_load_415 | 59 | 0.0051189 | 0.0012829 | 0 | 0 |  | 1 | TRUE | wye
43 | LV_1511-9_0_1_load_417 | 61 | 0.00096295 | 0.00024134 | 0 | 0 |  | 1 | TRUE | wye
44 | LV_1511-9_0_1_load_418 | 62 | 0.0018799 | 0.00047115 | 0 | 0 |  | 1 | TRUE | wye
45 | LV_1511-9_0_1_load_424 | 63 | 0.0016173 | 0.00040533 | 0 | 0 |  | 1 | TRUE | wye
46 | LV_1511-9_0_1_load_425 | 64 | 0.00087237 | 0.00021864 | 0 | 0 |  | 1 | TRUE | wye
47 | LV_1511-9_0_1_load_428 | 66 | 0.0068431 | 0.001715 | 0 | 0 |  | 1 | TRUE | wye
48 | LV_1511-9_0_1_load_429 | 67 | 0.0024319 | 0.00060948 | 0 | 0 |  | 1 | TRUE | wye
49 | LV_1511-9_0_1_load_433 | 68 | 0.0025666 | 0.00064326 | 0 | 0 |  | 1 | TRUE | wye
50 | LV_1511-9_0_1_load_430 | 69 | 0.0018922 | 0.00047423 | 0 | 0 |  | 1 | TRUE | wye
51 | LV_1511-9_0_1_load_436 | 74 | 0.00093184 | 0.00023354 | 0 | 0 |  | 1 | TRUE | wye
52 | LV_1511-9_0_1_load_438 | 75 | 0.00065046 | 0.00016302 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 53 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1511-9_0_1_line_0 | NAYY 4x150 SE | 0 | 1 | 0.092387 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1511-9_0_1_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0027245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1511-9_0_1_line_2 | NAYY 4x150 SE | 1 | 3 | 0.015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1511-9_0_1_line_3 | NAYY 4x150 SE | 2 | 4 | 0.20015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1511-9_0_1_line_4 | NAYY 4x150 SE | 2 | 5 | 0.48637 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1511-9_0_1_line_5 | NAYY 4x150 SE | 3 | 6 | 0.0043434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1511-9_0_1_line_6 | NAYY 4x150 SE | 5 | 10 | 0.1718 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1511-9_0_1_line_7 | NAYY 4x150 SE | 6 | 7 | 0.014736 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1511-9_0_1_line_8 | NAYY 4x150 SE | 7 | 35 | 0.055454 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1511-9_0_1_line_9 | NAYY 4x150 SE | 8 | 9 | 0.25712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1511-9_0_1_line_10 | NAYY 4x150 SE | 9 | 39 | 0.025965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1511-9_0_1_line_11 | NAYY 4x150 SE | 9 | 38 | 0.10431 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1511-9_0_1_line_12 | NAYY 4x150 SE | 10 | 11 | 0.31408 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1511-9_0_1_line_13 | NAYY 4x150 SE | 12 | 13 | 0.021604 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1511-9_0_1_line_14 | NAYY 4x150 SE | 13 | 14 | 0.11625 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1511-9_0_1_line_15 | NAYY 4x150 SE | 14 | 15 | 0.024752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1511-9_0_1_line_16 | NAYY 4x150 SE | 14 | 16 | 0.15559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1511-9_0_1_line_17 | NAYY 4x150 SE | 15 | 17 | 0.21924 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1511-9_0_1_line_18 | NAYY 4x150 SE | 15 | 18 | 0.12823 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1511-9_0_1_line_19 | NAYY 4x150 SE | 16 | 41 | 0.10677 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1511-9_0_1_line_20 | NAYY 4x150 SE | 17 | 28 | 0.043738 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1511-9_0_1_line_21 | NAYY 4x150 SE | 18 | 24 | 0.069174 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1511-9_0_1_line_22 | NAYY 4x150 SE | 18 | 21 | 0.02965 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1511-9_0_1_line_23 | NAYY 4x150 SE | 19 | 20 | 0.008382 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1511-9_0_1_line_24 | NAYY 4x150 SE | 20 | 28 | 0.011566 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1511-9_0_1_line_25 | NAYY 4x150 SE | 21 | 22 | 0.01193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1511-9_0_1_line_26 | NAYY 4x150 SE | 22 | 23 | 0.015577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1511-9_0_1_line_27 | NAYY 4x150 SE | 23 | 25 | 0.0041814 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1511-9_0_1_line_28 | NAYY 4x150 SE | 24 | 26 | 0.040394 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1511-9_0_1_line_29 | NAYY 4x150 SE | 25 | 27 | 0.016803 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1511-9_0_1_line_30 | NAYY 4x150 SE | 26 | 29 | 0.045286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1511-9_0_1_line_31 | NAYY 4x150 SE | 26 | 30 | 0.14593 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1511-9_0_1_line_32 | NAYY 4x150 SE | 27 | 31 | 0.011729 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1511-9_0_1_line_33 | NAYY 4x150 SE | 28 | 32 | 0.003294 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1511-9_0_1_line_34 | NAYY 4x150 SE | 29 | 62 | 0.0099645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1511-9_0_1_line_35 | NAYY 4x150 SE | 30 | 38 | 0.021212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1511-9_0_1_line_36 | NAYY 4x150 SE | 32 | 33 | 0.024496 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1511-9_0_1_line_37 | NAYY 4x150 SE | 32 | 34 | 0.076124 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1511-9_0_1_line_38 | NAYY 4x150 SE | 34 | 35 | 0.080216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1511-9_0_1_line_39 | NAYY 4x150 SE | 35 | 36 | 0.15987 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1511-9_0_1_line_40 | NAYY 4x150 SE | 36 | 37 | 0.1863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1511-9_0_1_line_41 | NAYY 4x150 SE | 39 | 40 | 0.0012229 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1511-9_0_1_line_42 | NAYY 4x150 SE | 42 | 43 | 0.016095 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1511-9_0_1_line_43 | NAYY 4x150 SE | 43 | 65 | 0.27656 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1511-9_0_1_line_44 | NAYY 4x150 SE | 43 | 64 | 0.039173 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1511-9_0_1_line_45 | NAYY 4x150 SE | 44 | 45 | 0.0074623 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1511-9_0_1_line_46 | NAYY 4x150 SE | 44 | 46 | 0.01372 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1511-9_0_1_line_47 | NAYY 4x150 SE | 45 | 47 | 0.0066691 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1511-9_0_1_line_48 | NAYY 4x150 SE | 46 | 48 | 0.018217 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1511-9_0_1_line_49 | NAYY 4x150 SE | 46 | 49 | 0.093212 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1511-9_0_1_line_50 | NAYY 4x150 SE | 47 | 50 | 0.028047 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1511-9_0_1_line_51 | NAYY 4x150 SE | 48 | 51 | 0.011834 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1511-9_0_1_line_52 | NAYY 4x150 SE | 49 | 52 | 0.066139 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1511-9_0_1_line_53 | NAYY 4x150 SE | 50 | 53 | 0.022308 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1511-9_0_1_line_54 | NAYY 4x150 SE | 51 | 54 | 0.0028042 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1511-9_0_1_line_55 | NAYY 4x150 SE | 52 | 55 | 0.066015 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
56 | LV_1511-9_0_1_line_56 | NAYY 4x150 SE | 52 | 56 | 0.01773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
57 | LV_1511-9_0_1_line_57 | NAYY 4x150 SE | 54 | 61 | 0.0023422 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
58 | LV_1511-9_0_1_line_58 | NAYY 4x150 SE | 55 | 63 | 0.0037088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1511-9_0_1_line_59 | NAYY 4x150 SE | 56 | 64 | 0.030353 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
60 | LV_1511-9_0_1_line_60 | NAYY 4x150 SE | 57 | 58 | 0.0084903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
61 | LV_1511-9_0_1_line_61 | NAYY 4x150 SE | 57 | 59 | 0.026301 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1511-9_0_1_line_62 | NAYY 4x150 SE | 58 | 60 | 0.018613 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1511-9_0_1_line_63 | NAYY 4x150 SE | 60 | 61 | 0.032254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1511-9_0_1_line_64 | NAYY 4x150 SE | 60 | 62 | 0.0075619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
65 | LV_1511-9_0_1_line_65 | NAYY 4x150 SE | 65 | 66 | 0.04492 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
66 | LV_1511-9_0_1_line_66 | NAYY 4x150 SE | 66 | 67 | 0.040975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
67 | LV_1511-9_0_1_line_67 | NAYY 4x150 SE | 67 | 68 | 0.22963 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
68 | LV_1511-9_0_1_line_68 | NAYY 4x150 SE | 68 | 70 | 0.01364 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
69 | LV_1511-9_0_1_line_69 | NAYY 4x150 SE | 69 | 70 | 0.057177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
70 | LV_1511-9_0_1_line_70 | NAYY 4x150 SE | 69 | 71 | 0.126 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
71 | LV_1511-9_0_1_line_71 | NAYY 4x150 SE | 71 | 72 | 0.041916 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
72 | LV_1511-9_0_1_line_72 | NAYY 4x150 SE | 72 | 73 | 0.096626 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
73 | LV_1511-9_0_1_line_73 | NAYY 4x150 SE | 72 | 74 | 0.11681 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
74 | LV_1511-9_0_1_line_74 | NAYY 4x150 SE | 73 | 75 | 0.0071 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1511-9_0_1_trafo_412 | 0.25 MVA 20/0.4 kV | 76 | 53 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2672332.6601 | 1193697.1574 | 2672329.9528 | 1193698.1464 | 2672306.3336 | 1193708.1892 | 2672276.5906 | 1193722.9387 | 2672265.1446 | 1193729.0931 | 2672254.9028 | 1193740.3095 | 2672252.6919 | 1193741.3781
1 | 2672332.6601 | 1193697.1574 | 2672335.2192 | 1193696.2225
2 | 2672238.5772 | 1193745.4617 | 2672244.737 | 1193745.223 | 2672252.6919 | 1193741.3781
3 | 2672335.2192 | 1193696.2225 | 2672288.5657 | 1193501.5894
4 | 2672335.2192 | 1193696.2225 | 2672820.7705 | 1193724.4811
5 | 2672234.2371 | 1193745.6299 | 2672238.5772 | 1193745.4617
6 | 2672820.7705 | 1193724.4811 | 2672877.6697 | 1193783.0312 | 2672887.2164 | 1193793.3092 | 2672909.5353 | 1193809.3351 | 2672919.5791 | 1193830.7148 | 2672931.6492 | 1193852.6467
7 | 2672234.2371 | 1193745.6299 | 2672236.7736 | 1193754.5881 | 2672235.9535 | 1193759.9515
8 | 2672204.4532 | 1193804.2055 | 2672209.5536 | 1193800.9207 | 2672229.5969 | 1193775.803 | 2672235.2261 | 1193764.7088 | 2672235.9535 | 1193759.9515
9 | 2672276.2416 | 1194495.9426 | 2672284.147 | 1194752.9369
10 | 2672276.2416 | 1194495.9426 | 2672269.7703 | 1194494.1634 | 2672265.721 | 1194489.3338 | 2672253.7958 | 1194484.2813
11 | 2672372.5332 | 1194456.2708 | 2672293.0472 | 1194491.3762 | 2672276.2416 | 1194495.9426 | 2672276.2416 | 1194495.9426
12 | 2672931.6492 | 1193852.6467 | 2673225.8194 | 1193742.5901
13 | 2672427.0629 | 1194234.8539 | 2672416.7192 | 1194215.8877
14 | 2672427.0629 | 1194234.8539 | 2672402.7944 | 1194247.0676 | 2672397.2828 | 1194246.5673 | 2672373.1794 | 1194222.4724 | 2672369.9965 | 1194214.0621 | 2672369.379 | 1194204.6268 | 2672371.7849 | 1194196.64 | 2672380.5026 | 1194187.8957 | 2672389.8504 | 1194183.1282
15 | 2672412.1666 | 1194172.3028 | 2672401.7058 | 1194177.0902 | 2672389.8504 | 1194183.1282
16 | 2672389.8504 | 1194183.1282 | 2672260.8032 | 1194270.0539
17 | 2672412.1666 | 1194172.3028 | 2672383.4798 | 1194122.6259 | 2672358.2436 | 1194081.2514 | 2672303.1757 | 1193982.1054
18 | 2672471.1232 | 1194286.1849 | 2672443.8957 | 1194237.5482 | 2672412.1666 | 1194172.3028
19 | 2672260.8032 | 1194270.0539 | 2672227.2839 | 1194303.6694 | 2672172.0946 | 1194281.4235
20 | 2672281.9385 | 1193943.8691 | 2672303.1757 | 1193982.1054
21 | 2672471.1232 | 1194286.1849 | 2672486.4211 | 1194314.2648 | 2672500.9692 | 1194344.4703 | 2672502.776 | 1194347.6659
22 | 2672471.1232 | 1194286.1849 | 2672499.7455 | 1194278.4465
23 | 2672271.6536 | 1193949.2148 | 2672275.7246 | 1193956.5417
24 | 2672281.9385 | 1193943.8691 | 2672274.8368 | 1193947.53 | 2672271.6536 | 1193949.2148
25 | 2672499.7455 | 1194278.4465 | 2672511.2617 | 1194275.333
26 | 2672525.7967 | 1194269.8583 | 2672517.0531 | 1194273.7672 | 2672511.2617 | 1194275.333
27 | 2672529.491 | 1194267.9478 | 2672528.7232 | 1194268.5499 | 2672525.7967 | 1194269.8583
28 | 2672522.6575 | 1194382.8288 | 2672502.776 | 1194347.6659
29 | 2672529.491 | 1194267.9478 | 2672537.587 | 1194261.5976 | 2672542.5902 | 1194257.4265
30 | 2672522.6575 | 1194382.8288 | 2672525.4708 | 1194387.8044 | 2672546.5867 | 1194421.2697
31 | 2672522.6575 | 1194382.8288 | 2672391.9367 | 1194447.7011
32 | 2672551.599 | 1194249.9161 | 2672542.5902 | 1194257.4265
33 | 2672280.35 | 1193940.9815 | 2672281.9385 | 1193943.8691
34 | 2672546.5867 | 1194421.2697 | 2672550.9976 | 1194428.2603 | 2672551.8014 | 1194429.7567
35 | 2672391.9367 | 1194447.7011 | 2672372.5332 | 1194456.2708
36 | 2672280.35 | 1193940.9815 | 2672294.6598 | 1193921.0758
37 | 2672243.6895 | 1193874.221 | 2672280.35 | 1193940.9815
38 | 2672204.4532 | 1193804.2055 | 2672243.6895 | 1193874.221
39 | 2672126.667 | 1193664.5394 | 2672181.5854 | 1193763.4052 | 2672204.4532 | 1193804.2055
40 | 2672126.667 | 1193664.5394 | 2672036.9215 | 1193501.2761
41 | 2672253.7958 | 1194484.2813 | 2672252.6698 | 1194483.8042
42 | 2672641.3415 | 1194738.2539 | 2672625.6427 | 1194741.8043
43 | 2672811.0198 | 1194680.5371 | 2672793.7495 | 1194702.6291 | 2672769.3837 | 1194726.6806 | 2672735.6958 | 1194759.7131 | 2672702.6181 | 1194787.0831 | 2672673.0457 | 1194807.5917 | 2672663.9312 | 1194812.6507 | 2672658.7013 | 1194796.5442 | 2672641.3415 | 1194738.2539
44 | 2672641.3415 | 1194738.2539 | 2672631.3601 | 1194700.3736
45 | 2672590.4139 | 1194496.6218 | 2672590.8032 | 1194496.5286 | 2672595.2383 | 1194495.9153 | 2672597.8202 | 1194496.0356
46 | 2672577.1638 | 1194500.1542 | 2672582.1896 | 1194498.592 | 2672590.4139 | 1194496.6218
47 | 2672597.8202 | 1194496.0356 | 2672597.8202 | 1194496.0356 | 2672598.9759 | 1194496.8835 | 2672601.762 | 1194500.9086 | 2672601.9056 | 1194501.2173
48 | 2672577.1638 | 1194500.1542 | 2672572.0107 | 1194482.6811
49 | 2672577.1638 | 1194500.1542 | 2672585.6326 | 1194528.8519 | 2672602.0024 | 1194589.9895
50 | 2672601.9056 | 1194501.2173 | 2672604.3688 | 1194506.5103 | 2672607.9613 | 1194512.5353 | 2672611.334 | 1194516.5675 | 2672615.6579 | 1194518.2098 | 2672620.9592 | 1194518.5488
51 | 2672568.6632 | 1194471.3307 | 2672572.0107 | 1194482.6811
52 | 2672619.1086 | 1194653.8777 | 2672602.0024 | 1194589.9895
53 | 2672643.1172 | 1194516.7979 | 2672626.8212 | 1194518.9235 | 2672620.9592 | 1194518.5488
54 | 2672567.87 | 1194468.641 | 2672568.6632 | 1194471.3307
55 | 2672619.1086 | 1194653.8777 | 2672683.4607 | 1194639.1531
56 | 2672619.1086 | 1194653.8777 | 2672623.6262 | 1194671.0226
57 | 2672567.87 | 1194468.641 | 2672567.2075 | 1194466.3945
58 | 2672687.076 | 1194638.3259 | 2672683.4607 | 1194639.1531
59 | 2672623.6262 | 1194671.0226 | 2672631.3601 | 1194700.3736
60 | 2672581.8067 | 1194430.4028 | 2672573.5281 | 1194432.2872
61 | 2672607.4518 | 1194424.5651 | 2672581.8067 | 1194430.4028
62 | 2672555.3797 | 1194436.4184 | 2672573.5281 | 1194432.2872
63 | 2672555.3797 | 1194436.4184 | 2672559.3642 | 1194445.3054 | 2672565.877 | 1194461.8832 | 2672567.2075 | 1194466.3945
64 | 2672555.3797 | 1194436.4184 | 2672551.8014 | 1194429.7567
65 | 2672811.0198 | 1194680.5371 | 2672825.4976 | 1194674.3763 | 2672834.9891 | 1194676.5486 | 2672845.4469 | 1194683.8581 | 2672852.1367 | 1194683.9396
66 | 2672890.1014 | 1194693.3743 | 2672874.5193 | 1194684.4681 | 2672862.9723 | 1194681.5034 | 2672852.1367 | 1194683.9396
67 | 2672890.1014 | 1194693.3743 | 2673087.3844 | 1194575.8657
68 | 2673087.3844 | 1194575.8657 | 2673094.6735 | 1194587.4061
69 | 2673094.6735 | 1194587.4061 | 2673107.862 | 1194531.7714
70 | 2673206.8828 | 1194472.6199 | 2673176.5439 | 1194499.4427 | 2673112.5354 | 1194512.0567 | 2673107.862 | 1194531.7714
71 | 2673232.522 | 1194479.8491 | 2673230.5746 | 1194470.8532 | 2673224.7327 | 1194464.3666 | 2673216.7938 | 1194461.7123 | 2673209.7976 | 1194465.4735 | 2673206.8828 | 1194472.6199
72 | 2673232.522 | 1194479.8491 | 2673280.8271 | 1194498.7518 | 2673325.8433 | 1194498.7255
73 | 2673232.522 | 1194479.8491 | 2673227.6087 | 1194508.9287 | 2673228.249 | 1194534.4297 | 2673241.8159 | 1194561.0228 | 2673256.1809 | 1194589.5648
74 | 2673325.8433 | 1194498.7255 | 2673321.0735 | 1194503.9848

## bus_geodata
| x | y | coords
0 | 2672332.6601 | 1193697.1574
1 | 2672252.6919 | 1193741.3781
2 | 2672335.2192 | 1193696.2225
3 | 2672238.5772 | 1193745.4617
4 | 2672288.5657 | 1193501.5894
5 | 2672820.7705 | 1193724.4811
6 | 2672234.2371 | 1193745.6299
7 | 2672235.9535 | 1193759.9515
8 | 2672284.147 | 1194752.9369
9 | 2672276.2416 | 1194495.9426
10 | 2672931.6492 | 1193852.6467
11 | 2673225.8194 | 1193742.5901
12 | 2672416.7192 | 1194215.8877
13 | 2672427.0629 | 1194234.8539
14 | 2672389.8504 | 1194183.1282
15 | 2672412.1666 | 1194172.3028
16 | 2672260.8032 | 1194270.0539
17 | 2672303.1757 | 1193982.1054
18 | 2672471.1232 | 1194286.1849
19 | 2672275.7246 | 1193956.5417
20 | 2672271.6536 | 1193949.2148
21 | 2672499.7455 | 1194278.4465
22 | 2672511.2617 | 1194275.333
23 | 2672525.7967 | 1194269.8583
24 | 2672502.776 | 1194347.6659
25 | 2672529.491 | 1194267.9478
26 | 2672522.6575 | 1194382.8288
27 | 2672542.5902 | 1194257.4265
28 | 2672281.9385 | 1193943.8691
29 | 2672546.5867 | 1194421.2697
30 | 2672391.9367 | 1194447.7011
31 | 2672551.599 | 1194249.9161
32 | 2672280.35 | 1193940.9815
33 | 2672294.6598 | 1193921.0758
34 | 2672243.6895 | 1193874.221
35 | 2672204.4532 | 1193804.2055
36 | 2672126.667 | 1193664.5394
37 | 2672036.9215 | 1193501.2761
38 | 2672372.5332 | 1194456.2708
39 | 2672253.7958 | 1194484.2813
40 | 2672252.6698 | 1194483.8042
41 | 2672172.0946 | 1194281.4235
42 | 2672625.6427 | 1194741.8043
43 | 2672641.3415 | 1194738.2539
44 | 2672590.4139 | 1194496.6218
45 | 2672597.8202 | 1194496.0356
46 | 2672577.1638 | 1194500.1542
47 | 2672601.9056 | 1194501.2173
48 | 2672572.0107 | 1194482.6811
49 | 2672602.0024 | 1194589.9895
50 | 2672620.9592 | 1194518.5488
51 | 2672568.6632 | 1194471.3307
52 | 2672619.1086 | 1194653.8777
53 | 2672643.1172 | 1194516.7979
54 | 2672567.87 | 1194468.641
55 | 2672683.4607 | 1194639.1531
56 | 2672623.6262 | 1194671.0226
57 | 2672581.8067 | 1194430.4028
58 | 2672573.5281 | 1194432.2872
59 | 2672607.4518 | 1194424.5651
60 | 2672555.3797 | 1194436.4184
61 | 2672567.2075 | 1194466.3945
62 | 2672551.8014 | 1194429.7567
63 | 2672687.076 | 1194638.3259
64 | 2672631.3601 | 1194700.3736
65 | 2672811.0198 | 1194680.5371
66 | 2672852.1367 | 1194683.9396
67 | 2672890.1014 | 1194693.3743
68 | 2673087.3844 | 1194575.8657
69 | 2673107.862 | 1194531.7714
70 | 2673094.6735 | 1194587.4061
71 | 2673206.8828 | 1194472.6199
72 | 2673232.522 | 1194479.8491
73 | 2673325.8433 | 1194498.7255
74 | 2673256.1809 | 1194589.5648
75 | 2673321.0735 | 1194503.9848
76 | 2672643.1172 | 1194516.7979

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98575 | -0.1025 | 0.00021365 | 5.3547e-05
1 | 0.98584 | -0.10172 | 9.3068e-05 | 2.3325e-05
2 | 0.98575 | -0.10251 | 0.00020746 | 5.1995e-05
3 | 0.98586 | -0.10158 | 5.4031e-05 | 1.3542e-05
4 | 0.98573 | -0.10265 | 5.8661e-05 | 1.4702e-05
5 | 0.98559 | -0.10396 | 0 | 0
6 | 0.98586 | -0.10154 | 0 | 0
7 | 0.98588 | -0.10139 | 0.00022289 | 5.5861e-05
8 | 0.98624 | -0.097402 | 0.0012042 | 0.00030179
9 | 0.98669 | -0.094195 | 0.00074109 | 0.00018573
10 | 0.98554 | -0.10442 | 6.2699e-05 | 1.5714e-05
11 | 0.98547 | -0.10498 | 0.00015798 | 3.9593e-05
12 | 0.98736 | -0.089984 | 0.00077807 | 0.000195
13 | 0.98739 | -0.089812 | 0 | 0
14 | 0.98752 | -0.088877 | 0 | 0
15 | 0.98756 | -0.088593 | 0 | 0
16 | 0.98745 | -0.089387 | 0 | 0
17 | 0.98643 | -0.097023 | 0.0015695 | 0.00039336
18 | 0.98841 | -0.082181 | 0 | 0
19 | 0.9863 | -0.098068 | 0.00034595 | 8.6704e-05
20 | 0.9863 | -0.098038 | 0 | 0
21 | 0.98837 | -0.082506 | 0.00013547 | 3.3953e-05
22 | 0.98835 | -0.08262 | 0.00011544 | 2.8932e-05
23 | 0.98833 | -0.082751 | 6.8409e-05 | 1.7145e-05
24 | 0.98898 | -0.07796 | 6.6205e-05 | 1.6593e-05
25 | 0.98833 | -0.082783 | 0.00027484 | 6.8881e-05
26 | 0.98932 | -0.075468 | 0.004657 | 0.0011672
27 | 0.98832 | -0.082865 | 0.00038956 | 9.7632e-05
28 | 0.98631 | -0.097997 | 0 | 0
29 | 0.99048 | -0.067135 | 0.00068493 | 0.00017166
30 | 0.98778 | -0.086422 | 0 | 0
31 | 0.98832 | -0.082875 | 8.3814e-05 | 2.1006e-05
32 | 0.9863 | -0.098058 | 0 | 0
33 | 0.98629 | -0.098098 | 0.00015824 | 3.9659e-05
34 | 0.98614 | -0.099352 | 0 | 0
35 | 0.98597 | -0.10071 | 0 | 0
36 | 0.98587 | -0.10143 | 0 | 0
37 | 0.98576 | -0.10224 | 0.00041273 | 0.00010344
38 | 0.98756 | -0.088016 | 0.0015525 | 0.00038909
39 | 0.98655 | -0.095208 | 0.00062707 | 0.00015716
40 | 0.98654 | -0.095248 | 0.0031793 | 0.0007968
41 | 0.9874 | -0.089723 | 0.00030274 | 7.5874e-05
42 | 0.98611 | -0.097654 | 0.0024732 | 0.00061984
43 | 0.98616 | -0.097246 | 0 | 0
44 | 0.99483 | -0.036174 | 0.00075203 | 0.00018848
45 | 0.99542 | -0.032068 | 0.00035748 | 8.9592e-05
46 | 0.99377 | -0.043631 | 0 | 0
47 | 0.99594 | -0.028379 | 0.0011474 | 0.00028757
48 | 0.99298 | -0.049268 | 0.00068804 | 0.00017244
49 | 0.99064 | -0.065596 | 0.00088335 | 0.00022139
50 | 0.9982 | -0.012582 | 0.00030884 | 7.7404e-05
51 | 0.99248 | -0.052851 | 0.00034016 | 8.5251e-05
52 | 0.98851 | -0.080663 | 0 | 0
53 | 1 | 0 | -0.057499 | -0.014248
54 | 0.99236 | -0.053691 | 0.00030372 | 7.6119e-05
55 | 0.98826 | -0.082447 | 0.0010255 | 0.000257
56 | 0.988 | -0.084232 | 0.00092996 | 0.00023307
57 | 0.99067 | -0.065704 | 0.0019105 | 0.00047882
58 | 0.99076 | -0.065096 | 0.00062178 | 0.00015583
59 | 0.99048 | -0.067073 | 0.0051189 | 0.0012829
60 | 0.99096 | -0.063648 | 0 | 0
61 | 0.99226 | -0.054386 | 0.00096295 | 0.00024134
62 | 0.99074 | -0.065234 | 0.0018799 | 0.00047115
63 | 0.98825 | -0.082509 | 0.0016173 | 0.00040533
64 | 0.98718 | -0.090061 | 0.00087237 | 0.00021864
65 | 0.97999 | -0.14123 | 0 | 0
66 | 0.97899 | -0.14842 | 0.0068431 | 0.001715
67 | 0.97848 | -0.15207 | 0.0024319 | 0.00060948
68 | 0.97646 | -0.16669 | 0.0025666 | 0.00064326
69 | 0.9761 | -0.16929 | 0.0018922 | 0.00047423
70 | 0.97639 | -0.16719 | 0 | 0
71 | 0.97581 | -0.17142 | 0 | 0
72 | 0.97571 | -0.17213 | 0 | 0
73 | 0.97562 | -0.17279 | 0 | 0
74 | 0.97555 | -0.17328 | 0.00093184 | 0.00023354
75 | 0.97561 | -0.17284 | 0.00065046 | 0.00016302
76 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.00070051 | -0.0001606 | 0.00070057 | 0.00015944 | 6.3818e-08 | -1.1533e-06 | 0.0010523 | 0.0010519 | 0.0010523 | 0.98575 | -0.1025 | 0.98584 | -0.10172 | 0.38975
1 | 0.00048686 | 0.00010705 | -0.00048686 | -0.00010708 | 9.0575e-10 | -3.4383e-08 | 0.00072991 | 0.00072992 | 0.00072992 | 0.98575 | -0.1025 | 0.98575 | -0.10251 | 0.27034
2 | -0.00079364 | -0.00018277 | 0.00079366 | 0.00018258 | 1.3307e-08 | -1.8614e-07 | 0.0011924 | 0.0011923 | 0.0011924 | 0.98584 | -0.10172 | 0.98586 | -0.10158 | 0.44163
3 | 5.8662e-05 | 1.2151e-05 | -5.8661e-05 | -1.4702e-05 | 9.6971e-10 | -2.551e-06 | 8.7718e-05 | 8.8552e-05 | 8.8552e-05 | 0.98575 | -0.10251 | 0.98573 | -0.10265 | 0.032797
4 | 0.00022073 | 4.2938e-05 | -0.0002207 | -4.9124e-05 | 3.3083e-08 | -6.1866e-06 | 0.00032927 | 0.00033112 | 0.00033112 | 0.98575 | -0.10251 | 0.98559 | -0.10396 | 0.12264
5 | -0.00084769 | -0.00019612 | 0.00084769 | 0.00019607 | 4.398e-09 | -5.3691e-08 | 0.0012739 | 0.0012738 | 0.0012739 | 0.98586 | -0.10158 | 0.98586 | -0.10154 | 0.4718
6 | 0.0002207 | 4.9124e-05 | -0.00022069 | -5.1309e-05 | 1.1779e-08 | -2.1848e-06 | 0.00033112 | 0.00033183 | 0.00033183 | 0.98559 | -0.10396 | 0.98554 | -0.10442 | 0.1229
7 | -0.00084769 | -0.00019607 | 0.00084771 | 0.00019589 | 1.4921e-08 | -1.8217e-07 | 0.0012738 | 0.0012738 | 0.0012738 | 0.98586 | -0.10154 | 0.98588 | -0.10139 | 0.4718
8 | -0.0010706 | -0.00025175 | 0.0010707 | 0.00025108 | 8.97e-08 | -6.7269e-07 | 0.0016102 | 0.0016099 | 0.0016102 | 0.98588 | -0.10139 | 0.98597 | -0.10071 | 0.59635
9 | -0.0012042 | -0.00030179 | 0.0012047 | 0.00029871 | 5.2923e-07 | -3.0789e-06 | 0.0018168 | 0.0018156 | 0.0018168 | 0.98624 | -0.097402 | 0.98669 | -0.094195 | 0.67289
10 | 0.0038069 | 0.00095382 | -0.0038063 | -0.00095395 | 5.3403e-07 | -1.2619e-07 | 0.005741 | 0.0057411 | 0.0057411 | 0.98669 | -0.094195 | 0.98655 | -0.095208 | 2.1263
11 | -0.0057526 | -0.0014383 | 0.0057575 | 0.0014388 | 4.8972e-06 | 5.501e-07 | 0.0086743 | 0.0086738 | 0.0086743 | 0.98669 | -0.094195 | 0.98756 | -0.088016 | 3.2127
12 | 0.00015799 | 3.5595e-05 | -0.00015798 | -3.9593e-05 | 1.1087e-08 | -3.9977e-06 | 0.00023718 | 0.00023854 | 0.00023854 | 0.98554 | -0.10442 | 0.98547 | -0.10498 | 0.088348
13 | -0.00077807 | -0.000195 | 0.00077808 | 0.00019473 | 1.8534e-08 | -2.6918e-07 | 0.0011726 | 0.0011725 | 0.0011726 | 0.98736 | -0.089984 | 0.98739 | -0.089812 | 0.43429
14 | -0.00077808 | -0.00019473 | 0.00077818 | 0.00019328 | 9.968e-08 | -1.4488e-06 | 0.0011725 | 0.001172 | 0.0011725 | 0.98739 | -0.089812 | 0.98752 | -0.088877 | 0.43426
15 | -0.001081 | -0.00026581 | 0.001081 | 0.00026551 | 4.0884e-08 | -3.0096e-07 | 0.001627 | 0.0016269 | 0.001627 | 0.98752 | -0.088877 | 0.98756 | -0.088593 | 0.6026
16 | 0.00030278 | 7.2531e-05 | -0.00030276 | -7.4514e-05 | 2.0136e-08 | -1.9828e-06 | 0.00045506 | 0.00045575 | 0.00045575 | 0.98752 | -0.088877 | 0.98745 | -0.089387 | 0.1688
17 | 0.0035619 | 0.00086569 | -0.0035579 | -0.00086698 | 3.9274e-06 | -1.2914e-06 | 0.0053575 | 0.0053584 | 0.0053584 | 0.98756 | -0.088593 | 0.98643 | -0.097023 | 1.9846
18 | -0.0046429 | -0.0011312 | 0.0046468 | 0.0011311 | 3.9029e-06 | -1.4097e-07 | 0.0069844 | 0.0069838 | 0.0069844 | 0.98756 | -0.088593 | 0.98841 | -0.082181 | 2.5868
19 | 0.00030276 | 7.4514e-05 | -0.00030274 | -7.5874e-05 | 1.3852e-08 | -1.3604e-06 | 0.00045575 | 0.00045623 | 0.00045623 | 0.98745 | -0.089387 | 0.9874 | -0.089723 | 0.16897
20 | 0.0019884 | 0.00047362 | -0.0019882 | -0.00047409 | 2.4417e-07 | -4.6437e-07 | 0.0029909 | 0.0029911 | 0.0029911 | 0.98643 | -0.097023 | 0.98631 | -0.097997 | 1.1078
21 | -0.0057144 | -0.0013975 | 0.0057176 | 0.0013978 | 3.1854e-06 | 3.3803e-07 | 0.0085906 | 0.0085903 | 0.0085906 | 0.98841 | -0.082181 | 0.98898 | -0.07796 | 3.1817
22 | 0.0010676 | 0.00026643 | -0.0010676 | -0.00026679 | 4.7775e-08 | -3.6163e-07 | 0.0016069 | 0.001607 | 0.001607 | 0.98841 | -0.082181 | 0.98837 | -0.082506 | 0.59518
23 | -0.00034595 | -8.6704e-05 | 0.00034595 | 8.6597e-05 | 1.4247e-09 | -1.0643e-07 | 0.00052193 | 0.0005219 | 0.00052193 | 0.9863 | -0.098068 | 0.9863 | -0.098038 | 0.19331
24 | -0.00034595 | -8.6597e-05 | 0.00034596 | 8.6451e-05 | 1.9656e-09 | -1.4685e-07 | 0.0005219 | 0.00052184 | 0.0005219 | 0.9863 | -0.098038 | 0.98631 | -0.097997 | 0.1933
25 | 0.0009321 | 0.00023284 | -0.00093208 | -0.00023299 | 1.4654e-08 | -1.4725e-07 | 0.001403 | 0.0014031 | 0.0014031 | 0.98837 | -0.082506 | 0.98835 | -0.08262 | 0.51966
26 | 0.00081664 | 0.00020405 | -0.00081663 | -0.00020425 | 1.4689e-08 | -1.9397e-07 | 0.0012293 | 0.0012293 | 0.0012293 | 0.98835 | -0.08262 | 0.98833 | -0.082751 | 0.45531
27 | 0.00074822 | 0.0001871 | -0.00074821 | -0.00018716 | 3.3103e-09 | -5.2311e-08 | 0.0011264 | 0.0011264 | 0.0011264 | 0.98833 | -0.082751 | 0.98833 | -0.082783 | 0.41717
28 | -0.0057838 | -0.0014144 | 0.0057857 | 0.0014146 | 1.9034e-06 | 2.1357e-07 | 0.0086899 | 0.0086897 | 0.0086899 | 0.98898 | -0.07796 | 0.98932 | -0.075468 | 3.2185
29 | 0.00047337 | 0.00011827 | -0.00047337 | -0.00011849 | 5.3246e-09 | -2.1328e-07 | 0.00071258 | 0.00071265 | 0.00071265 | 0.98833 | -0.082783 | 0.98832 | -0.082865 | 0.26395
30 | -0.017765 | -0.0044124 | 0.017786 | 0.0044196 | 2.0155e-05 | 7.1697e-06 | 0.026706 | 0.026706 | 0.026706 | 0.98932 | -0.075468 | 0.99048 | -0.067135 | 9.8913
31 | 0.0073227 | 0.0018306 | -0.0073116 | -0.0018283 | 1.1044e-05 | 2.3767e-06 | 0.011012 | 0.011013 | 0.011013 | 0.98932 | -0.075468 | 0.98778 | -0.086422 | 4.0789
32 | 8.3814e-05 | 2.0855e-05 | -8.3814e-05 | -2.1006e-05 | 1.165e-10 | -1.5025e-07 | 0.00012614 | 0.00012619 | 0.00012619 | 0.98832 | -0.082865 | 0.98832 | -0.082875 | 0.046737
33 | 0.0016422 | 0.00038764 | -0.0016422 | -0.00038767 | 1.2533e-08 | -3.7219e-08 | 0.0024693 | 0.0024693 | 0.0024693 | 0.98631 | -0.097997 | 0.9863 | -0.098058 | 0.91457
34 | -0.01847 | -0.0045912 | 0.018475 | 0.004593 | 4.783e-06 | 1.7113e-06 | 0.027735 | 0.027735 | 0.027735 | 0.99048 | -0.067135 | 0.99074 | -0.065234 | 10.2723
35 | 0.0073116 | 0.0018283 | -0.00731 | -0.0018279 | 1.6054e-06 | 3.4598e-07 | 0.011013 | 0.011013 | 0.011013 | 0.98778 | -0.086422 | 0.98756 | -0.088016 | 4.0789
36 | 0.00015824 | 3.9347e-05 | -0.00015824 | -3.9659e-05 | 8.708e-10 | -3.1229e-07 | 0.00023863 | 0.00023874 | 0.00023874 | 0.9863 | -0.098058 | 0.98629 | -0.098098 | 0.088421
37 | 0.001484 | 0.00034833 | -0.0014837 | -0.00034921 | 2.3641e-07 | -8.8043e-07 | 0.0022307 | 0.002231 | 0.002231 | 0.9863 | -0.098058 | 0.98614 | -0.099352 | 0.82631
38 | 0.0014837 | 0.00034921 | -0.0014835 | -0.00035013 | 2.4919e-07 | -9.2738e-07 | 0.002231 | 0.0022314 | 0.0022314 | 0.98614 | -0.099352 | 0.98597 | -0.10071 | 0.82644
39 | 0.00041281 | 9.9058e-05 | -0.00041278 | -0.00010108 | 3.8574e-08 | -2.0239e-06 | 0.00062148 | 0.00062219 | 0.00062219 | 0.98597 | -0.10071 | 0.98587 | -0.10143 | 0.23044
40 | 0.00041278 | 0.00010108 | -0.00041273 | -0.00010344 | 4.5064e-08 | -2.358e-06 | 0.00062219 | 0.00062302 | 0.00062302 | 0.98587 | -0.10143 | 0.98576 | -0.10224 | 0.23075
41 | 0.0031793 | 0.00079679 | -0.0031793 | -0.0007968 | 1.7547e-08 | -8.8655e-09 | 0.0047953 | 0.0047953 | 0.0047953 | 0.98655 | -0.095208 | 0.98654 | -0.095248 | 1.7761
42 | -0.0024732 | -0.00061984 | 0.0024733 | 0.00061969 | 1.3988e-07 | -1.5154e-07 | 0.003732 | 0.0037319 | 0.003732 | 0.98611 | -0.097654 | 0.98616 | -0.097246 | 1.3822
43 | 0.015444 | 0.0038744 | -0.01535 | -0.0038418 | 9.3726e-05 | 3.2542e-05 | 0.023304 | 0.023305 | 0.023305 | 0.98616 | -0.097246 | 0.97999 | -0.14123 | 8.6316
44 | -0.017917 | -0.0044941 | 0.017935 | 0.0045005 | 1.7867e-05 | 6.3717e-06 | 0.027036 | 0.027036 | 0.027036 | 0.98616 | -0.097246 | 0.98718 | -0.090061 | 10.0133
45 | -0.054603 | -0.013686 | 0.054634 | 0.013698 | 3.1061e-05 | 1.185e-05 | 0.081673 | 0.081673 | 0.081673 | 0.99483 | -0.036174 | 0.99542 | -0.032068 | 30.2493
46 | 0.053851 | 0.013498 | -0.053796 | -0.013476 | 5.5546e-05 | 2.1186e-05 | 0.080548 | 0.080548 | 0.080548 | 0.99483 | -0.036174 | 0.99377 | -0.043631 | 29.8327
47 | -0.054992 | -0.013788 | 0.05502 | 0.013798 | 2.8124e-05 | 1.073e-05 | 0.082207 | 0.082207 | 0.082207 | 0.99542 | -0.032068 | 0.99594 | -0.028379 | 30.4472
48 | 0.030389 | 0.0075888 | -0.030365 | -0.0075799 | 2.3526e-05 | 8.8124e-06 | 0.045492 | 0.045492 | 0.045492 | 0.99377 | -0.043631 | 0.99298 | -0.049268 | 16.849
49 | 0.023407 | 0.0058877 | -0.023336 | -0.0058615 | 7.1481e-05 | 2.6289e-05 | 0.035056 | 0.035057 | 0.035057 | 0.99377 | -0.043631 | 0.99064 | -0.065596 | 12.9839
50 | -0.056167 | -0.014086 | 0.056291 | 0.014133 | 0.00012326 | 4.7042e-05 | 0.083922 | 0.083922 | 0.083922 | 0.99594 | -0.028379 | 0.9982 | -0.012582 | 31.0821
51 | 0.029677 | 0.0074075 | -0.029662 | -0.007402 | 1.4597e-05 | 5.4613e-06 | 0.044461 | 0.044461 | 0.044461 | 0.99298 | -0.049268 | 0.99248 | -0.052851 | 16.4671
52 | 0.022452 | 0.0056401 | -0.022406 | -0.0056229 | 4.6954e-05 | 1.7209e-05 | 0.03373 | 0.03373 | 0.03373 | 0.99064 | -0.065596 | 0.98851 | -0.080663 | 12.4926
53 | -0.0566 | -0.01421 | 0.056699 | 0.014248 | 9.9116e-05 | 3.7829e-05 | 0.084382 | 0.084382 | 0.084382 | 0.9982 | -0.012582 | 1 | 0 | 31.2526
54 | 0.029322 | 0.0073168 | -0.029319 | -0.0073155 | 3.3802e-06 | 1.2638e-06 | 0.043951 | 0.043951 | 0.043951 | 0.99248 | -0.052851 | 0.99236 | -0.053691 | 16.2783
55 | 0.0026434 | 0.0006617 | -0.0026428 | -0.00066229 | 6.522e-07 | -5.9522e-07 | 0.0039789 | 0.0039792 | 0.0039792 | 0.98851 | -0.080663 | 0.98826 | -0.082447 | 1.4738
56 | 0.019762 | 0.0049612 | -0.019752 | -0.0049576 | 9.7927e-06 | 3.5393e-06 | 0.029751 | 0.029751 | 0.029751 | 0.98851 | -0.080663 | 0.988 | -0.084232 | 11.019
57 | 0.029015 | 0.0072394 | -0.029012 | -0.0072384 | 2.7651e-06 | 1.0332e-06 | 0.043496 | 0.043496 | 0.043496 | 0.99236 | -0.053691 | 0.99226 | -0.054386 | 16.1096
58 | 0.0016173 | 0.00040529 | -0.0016173 | -0.00040533 | 1.3724e-08 | -4.2241e-08 | 0.0024352 | 0.0024352 | 0.0024352 | 0.98826 | -0.082447 | 0.98825 | -0.082509 | 0.90191
59 | 0.018822 | 0.0047246 | -0.018807 | -0.0047191 | 1.5223e-05 | 5.4668e-06 | 0.028351 | 0.028351 | 0.028351 | 0.988 | -0.084232 | 0.98718 | -0.090061 | 10.5003
60 | -0.0070303 | -0.0017618 | 0.0070309 | 0.0017619 | 5.9076e-07 | 1.1789e-07 | 0.01056 | 0.01056 | 0.01056 | 0.99067 | -0.065704 | 0.99076 | -0.065096 | 3.911
61 | 0.0051198 | 0.0012829 | -0.0051189 | -0.0012829 | 9.7057e-07 | 3.4717e-08 | 0.0076901 | 0.0076902 | 0.0076902 | 0.99067 | -0.065704 | 0.99048 | -0.067073 | 2.8482
62 | -0.0076527 | -0.0019177 | 0.0076542 | 0.0019181 | 1.5342e-06 | 3.5035e-07 | 0.011494 | 0.011493 | 0.011494 | 0.99076 | -0.065096 | 0.99096 | -0.063648 | 4.2569
63 | -0.028014 | -0.0069838 | 0.028049 | 0.006997 | 3.5591e-05 | 1.3273e-05 | 0.042052 | 0.042052 | 0.042052 | 0.99096 | -0.063648 | 0.99226 | -0.054386 | 15.5748
64 | 0.02036 | 0.0050657 | -0.020355 | -0.0050641 | 4.4064e-06 | 1.5974e-06 | 0.030559 | 0.030559 | 0.030559 | 0.99096 | -0.063648 | 0.99074 | -0.065234 | 11.318
65 | 0.01535 | 0.0038418 | -0.015335 | -0.0038366 | 1.5224e-05 | 5.2902e-06 | 0.023305 | 0.023306 | 0.023306 | 0.97999 | -0.14123 | 0.97899 | -0.14842 | 8.6317
66 | 0.0084915 | 0.0021215 | -0.0084872 | -0.0021204 | 4.2578e-06 | 1.1227e-06 | 0.012904 | 0.012904 | 0.012904 | 0.97899 | -0.14842 | 0.97848 | -0.15207 | 4.7794
67 | 0.0060554 | 0.0015109 | -0.0060432 | -0.0015091 | 1.2146e-05 | 1.7931e-06 | 0.0092062 | 0.0092073 | 0.0092073 | 0.97848 | -0.15207 | 0.97646 | -0.16669 | 3.4101
68 | 0.0034766 | 0.00086585 | -0.0034763 | -0.00086593 | 2.3872e-07 | -7.8791e-08 | 0.005296 | 0.005296 | 0.005296 | 0.97646 | -0.16669 | 0.97639 | -0.16719 | 1.9615
69 | -0.0034753 | -0.00086626 | 0.0034763 | 0.00086593 | 1.0007e-06 | -3.2999e-07 | 0.0052963 | 0.005296 | 0.0052963 | 0.9761 | -0.16929 | 0.97639 | -0.16719 | 1.9616
70 | 0.0015831 | 0.00039203 | -0.0015827 | -0.00039342 | 4.574e-07 | -1.3985e-06 | 0.0024117 | 0.0024123 | 0.0024123 | 0.9761 | -0.16929 | 0.97581 | -0.17142 | 0.89343
71 | 0.0015827 | 0.00039342 | -0.0015825 | -0.00039389 | 1.5221e-07 | -4.6503e-07 | 0.0024123 | 0.0024125 | 0.0024125 | 0.97581 | -0.17142 | 0.97571 | -0.17213 | 0.8935
72 | 0.00065053 | 0.00016175 | -0.00065047 | -0.00016293 | 5.9315e-08 | -1.1839e-06 | 0.00099163 | 0.00099206 | 0.00099206 | 0.97571 | -0.17213 | 0.97562 | -0.17279 | 0.36743
73 | 0.00093199 | 0.00023214 | -0.00093184 | -0.00023354 | 1.472e-07 | -1.402e-06 | 0.0014208 | 0.0014213 | 0.0014213 | 0.97571 | -0.17213 | 0.97555 | -0.17328 | 0.52642
74 | 0.00065047 | 0.00016293 | -0.00065046 | -0.00016302 | 4.3605e-09 | -8.6982e-08 | 0.00099206 | 0.0009921 | 0.0009921 | 0.97562 | -0.17279 | 0.97561 | -0.17284 | 0.36744

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.059767 | 0.014817

## res_load
| p_mw | q_mvar
0 | 0.00021365 | 5.3547e-05
1 | 9.3068e-05 | 2.3325e-05
2 | 0.00020746 | 5.1995e-05
3 | 5.4031e-05 | 1.3542e-05
4 | 5.8661e-05 | 1.4702e-05
5 | 0.00022289 | 5.5861e-05
6 | 0.0012042 | 0.00030179
7 | 0.00074109 | 0.00018573
8 | 6.2699e-05 | 1.5714e-05
9 | 0.00015798 | 3.9593e-05
10 | 0.00077807 | 0.000195
11 | 0.0015695 | 0.00039336
12 | 0.00034595 | 8.6704e-05
13 | 0.00013547 | 3.3953e-05
14 | 0.00011544 | 2.8932e-05
15 | 6.8409e-05 | 1.7145e-05
16 | 6.6205e-05 | 1.6593e-05
17 | 0.00027484 | 6.8881e-05
18 | 0.004657 | 0.0011672
19 | 0.00038956 | 9.7632e-05
20 | 0.00068493 | 0.00017166
21 | 8.3814e-05 | 2.1006e-05
22 | 0.00015824 | 3.9659e-05
23 | 0.00041273 | 0.00010344
24 | 0.0015525 | 0.00038909
25 | 0.00062707 | 0.00015716
26 | 0.0031793 | 0.0007968
27 | 0.00030274 | 7.5874e-05
28 | 0.0024732 | 0.00061984
29 | 0.00075203 | 0.00018848
30 | 0.00035748 | 8.9592e-05
31 | 0.0011474 | 0.00028757
32 | 0.00068804 | 0.00017244
33 | 0.00088335 | 0.00022139
34 | 0.00030884 | 7.7404e-05
35 | 0.00034016 | 8.5251e-05
36 | 0.0022684 | 0.00056852
37 | 0.00030372 | 7.6119e-05
38 | 0.0010255 | 0.000257
39 | 0.00092996 | 0.00023307
40 | 0.0019105 | 0.00047882
41 | 0.00062178 | 0.00015583
42 | 0.0051189 | 0.0012829
43 | 0.00096295 | 0.00024134
44 | 0.0018799 | 0.00047115
45 | 0.0016173 | 0.00040533
46 | 0.00087237 | 0.00021864
47 | 0.0068431 | 0.001715
48 | 0.0024319 | 0.00060948
49 | 0.0025666 | 0.00064326
50 | 0.0018922 | 0.00047423
51 | 0.00093184 | 0.00023354
52 | 0.00065046 | 0.00016302

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1