## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-101_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-101_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-101_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-101_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1631-101_0_3_node_49 | 0.4 | n |  | TRUE
5 | bus_LV_1631-101_0_3_node_50 | 0.4 | n |  | TRUE
6 | bus_LV_1631-101_0_3_node_4 | 0.4 | n |  | TRUE
7 | bus_LV_1631-101_0_3_node_5 | 0.4 | n |  | TRUE
8 | bus_LV_1631-101_0_3_node_6 | 0.4 | n |  | TRUE
9 | bus_LV_1631-101_0_3_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1631-101_0_3_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1631-101_0_3_node_9 | 0.4 | n |  | TRUE
12 | bus_LV_1631-101_0_3_node_41 | 0.4 | n |  | TRUE
13 | bus_LV_1631-101_0_3_node_40 | 0.4 | n |  | TRUE
14 | bus_LV_1631-101_0_3_node_42 | 0.4 | n |  | TRUE
15 | bus_LV_1631-101_0_3_node_13 | 0.4 | n |  | TRUE
16 | bus_LV_1631-101_0_3_node_38 | 0.4 | n |  | TRUE
17 | bus_LV_1631-101_0_3_node_10 | 0.4 | n |  | TRUE
18 | bus_LV_1631-101_0_3_node_11 | 0.4 | n |  | TRUE
19 | bus_LV_1631-101_0_3_node_12 | 0.4 | n |  | TRUE
20 | bus_LV_1631-101_0_3_node_26 | 0.4 | n |  | TRUE
21 | bus_LV_1631-101_0_3_node_24 | 0.4 | n |  | TRUE
22 | bus_LV_1631-101_0_3_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1631-101_0_3_node_15 | 0.4 | n |  | TRUE
24 | bus_LV_1631-101_0_3_node_16 | 0.4 | n |  | TRUE
25 | bus_LV_1631-101_0_3_node_25 | 0.4 | n |  | TRUE
26 | bus_LV_1631-101_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1631-101_0_3_node_17 | 0.4 | n |  | TRUE
28 | bus_LV_1631-101_0_3_node_18 | 0.4 | n |  | TRUE
29 | bus_LV_1631-101_0_3_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1631-101_0_3_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_1631-101_0_3_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1631-101_0_3_node_23 | 0.4 | n |  | TRUE
33 | bus_LV_1631-101_0_3_node_28 | 0.4 | n |  | TRUE
34 | bus_LV_1631-101_0_3_node_29 | 0.4 | n |  | TRUE
35 | bus_LV_1631-101_0_3_node_30 | 0.4 | n |  | TRUE
36 | bus_LV_1631-101_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1631-101_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_1631-101_0_3_node_48 | 0.4 | n |  | TRUE
39 | bus_LV_1631-101_0_3_node_46 | 0.4 | n |  | TRUE
40 | bus_LV_1631-101_0_3_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_1631-101_0_3_node_32 | 0.4 | n |  | TRUE
42 | bus_LV_1631-101_0_3_node_33 | 0.4 | n |  | TRUE
43 | bus_LV_1631-101_0_3_node_34 | 0.4 | n |  | TRUE
44 | bus_LV_1631-101_0_3_node_35 | 0.4 | n |  | TRUE
45 | bus_LV_1631-101_0_3_node_36 | 0.4 | n |  | TRUE
46 | bus_LV_1631-101_0_3_node_37 | 0.4 | n |  | TRUE
47 | bus_LV_1631-101_0_3_node_45 | 0.4 | n |  | TRUE
48 | bus_LV_1631-101_0_3_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_1631-101_0_3_node_39 | 0.4 | n |  | TRUE
50 | bus_LV_1631-101_0_3_node_51 | 0.4 | n |  | TRUE
51 | bus_LV_1631-101_0_3_node_52 | 0.4 | n |  | TRUE
52 | bus_MV_13_0_node_8 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-101_0_3_load_0 | 0 | 0.0014801 | 0.00037094 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-101_0_3_load_1 | 1 | 0.0046265 | 0.0011595 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-101_0_3_load_2 | 2 | 0.0036017 | 0.00090266 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-101_0_3_load_3 | 3 | 0.002706 | 0.0006782 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-101_0_3_load_4 | 6 | 0.0044687 | 0.00112 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-101_0_3_load_5 | 7 | 0.0024771 | 0.00062082 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-101_0_3_load_7 | 9 | 0.0083318 | 0.0020882 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-101_0_3_load_8 | 10 | 0.010006 | 0.0025078 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-101_0_3_load_40 | 13 | 0.0046405 | 0.001163 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-101_0_3_load_42 | 14 | 0.0038054 | 0.00095372 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-101_0_3_load_10 | 17 | 0.002833 | 0.00071001 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-101_0_3_load_12 | 19 | 0.004421 | 0.001108 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-101_0_3_load_26 | 20 | 0.0097002 | 0.0024311 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-101_0_3_load_14 | 22 | 0.0032488 | 0.00081424 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-101_0_3_load_15 | 23 | 0.0050736 | 0.0012716 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-101_0_3_load_16 | 24 | 0.0053416 | 0.0013387 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-101_0_3_load_17 | 27 | 0.010073 | 0.0025245 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-101_0_3_load_18 | 28 | 0.0041004 | 0.0010277 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-101_0_3_load_19 | 29 | 0.0040215 | 0.0010079 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-101_0_3_load_20 | 30 | 0.0059812 | 0.001499 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-101_0_3_load_22 | 31 | 0.011212 | 0.00281 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-101_0_3_load_23 | 32 | 0.0035412 | 0.00088751 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-101_0_3_load_28 | 33 | 0.0063521 | 0.001592 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-101_0_3_load_29 | 34 | 0.0061798 | 0.0015488 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-101_0_3_load_30 | 35 | 0.011987 | 0.0030043 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-101_0_3_load_46 | 39 | 0.019081 | 0.0047822 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-101_0_3_load_53 | 40 | 0.0035969 | 0.00090146 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-101_0_3_load_32 | 41 | 0.0016031 | 0.00040177 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-101_0_3_load_33 | 42 | 0.0059388 | 0.0014884 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-101_0_3_load_34 | 43 | 0.0036246 | 0.00090841 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1631-101_0_3_load_35 | 44 | 0.0046601 | 0.0011679 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1631-101_0_3_load_36 | 45 | 0.0044709 | 0.0011205 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1631-101_0_3_load_37 | 46 | 0.004966 | 0.0012446 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1631-101_0_3_load_45 | 47 | 0.0071859 | 0.001801 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1631-101_0_3_load_43 | 48 | 0.0067656 | 0.0016956 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1631-101_0_3_load_39 | 49 | 0.0064881 | 0.0016261 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1631-101_0_3_load_52 | 51 | 0.0057326 | 0.0014367 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 49 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-101_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.0028627 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-101_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0033331 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-101_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.0030889 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-101_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.016655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-101_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.005004 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-101_0_3_line_5 | NAYY 4x150 SE | 5 | 50 | 0.033163 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-101_0_3_line_6 | NAYY 4x150 SE | 5 | 14 | 0.027584 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-101_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.0098075 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-101_0_3_line_8 | NAYY 4x150 SE | 6 | 8 | 0.005478 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-101_0_3_line_9 | NAYY 4x150 SE | 7 | 9 | 0.0030812 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-101_0_3_line_10 | NAYY 4x150 SE | 8 | 10 | 0.010863 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
11 | LV_1631-101_0_3_line_11 | NAYY 4x150 SE | 8 | 11 | 0.029903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
12 | LV_1631-101_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.024063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
13 | LV_1631-101_0_3_line_13 | NAYY 4x150 SE | 11 | 13 | 0.018381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_1631-101_0_3_line_14 | NAYY 4x150 SE | 12 | 14 | 0.013154 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-101_0_3_line_15 | NAYY 4x150 SE | 12 | 15 | 0.014214 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
16 | LV_1631-101_0_3_line_16 | NAYY 4x150 SE | 13 | 16 | 0.01357 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
17 | LV_1631-101_0_3_line_17 | NAYY 4x150 SE | 15 | 20 | 0.02336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
18 | LV_1631-101_0_3_line_18 | NAYY 4x150 SE | 15 | 18 | 0.017966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-101_0_3_line_19 | NAYY 4x150 SE | 16 | 49 | 0.013689 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
20 | LV_1631-101_0_3_line_20 | NAYY 4x150 SE | 16 | 46 | 0.012107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-101_0_3_line_21 | NAYY 4x150 SE | 17 | 18 | 0.025549 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-101_0_3_line_22 | NAYY 4x150 SE | 18 | 19 | 0.0069 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-101_0_3_line_23 | NAYY 4x150 SE | 20 | 21 | 0.013645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-101_0_3_line_24 | NAYY 4x150 SE | 21 | 37 | 0.020515 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-101_0_3_line_25 | NAYY 4x150 SE | 21 | 32 | 0.035 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-101_0_3_line_26 | NAYY 4x150 SE | 22 | 23 | 0.018722 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-101_0_3_line_27 | NAYY 4x150 SE | 23 | 24 | 0.0056997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-101_0_3_line_28 | NAYY 4x150 SE | 24 | 25 | 0.01418 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-101_0_3_line_29 | NAYY 4x150 SE | 25 | 26 | 0.00728 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-101_0_3_line_30 | NAYY 4x150 SE | 26 | 32 | 0.011019 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-101_0_3_line_31 | NAYY 4x150 SE | 26 | 29 | 0.014817 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-101_0_3_line_32 | NAYY 4x150 SE | 27 | 28 | 0.01988 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-101_0_3_line_33 | NAYY 4x150 SE | 27 | 29 | 0.0024312 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-101_0_3_line_34 | NAYY 4x150 SE | 28 | 30 | 0.002211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-101_0_3_line_35 | NAYY 4x150 SE | 30 | 31 | 0.014727 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-101_0_3_line_36 | NAYY 4x150 SE | 31 | 33 | 0.010479 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-101_0_3_line_37 | NAYY 4x150 SE | 31 | 34 | 0.032045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-101_0_3_line_38 | NAYY 4x150 SE | 33 | 35 | 0.0063423 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-101_0_3_line_39 | NAYY 4x150 SE | 34 | 36 | 0.012127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-101_0_3_line_40 | NAYY 4x150 SE | 36 | 41 | 0.013697 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1631-101_0_3_line_41 | NAYY 4x150 SE | 37 | 38 | 0.014264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1631-101_0_3_line_42 | NAYY 4x150 SE | 37 | 39 | 0.024065 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1631-101_0_3_line_43 | NAYY 4x150 SE | 38 | 40 | 0.009262 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1631-101_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.00225 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1631-101_0_3_line_45 | NAYY 4x150 SE | 42 | 44 | 0.012721 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1631-101_0_3_line_46 | NAYY 4x150 SE | 43 | 45 | 0.0078363 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1631-101_0_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.0065309 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1631-101_0_3_line_48 | NAYY 4x150 SE | 45 | 47 | 0.033177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1631-101_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.025278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1631-101_0_3_line_50 | NAYY 4x150 SE | 50 | 51 | 0.008655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-101_0_3_trafo_39 | 0.25 MVA 20/0.4 kV | 52 | 49 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7
0 | 2719089.8101 | 1198116.3254 | 2719087.0878 | 1198117.2111
1 | 2719092.9796 | 1198115.2942 | 2719089.8101 | 1198116.3254
2 | 2719084.1505 | 1198118.1668 | 2719087.0878 | 1198117.2111
3 | 2719068.3125 | 1198123.3199 | 2719084.1505 | 1198118.1668
4 | 2719069.9321 | 1198128.0556 | 2719068.3125 | 1198123.3199
5 | 2719069.9321 | 1198128.0556 | 2719056.5929 | 1198137.6191 | 2719042.7069 | 1198147.094
6 | 2719069.9321 | 1198128.0556 | 2719080.0984 | 1198153.6982
7 | 2719116.423 | 1198150.309 | 2719109.4774 | 1198143.3848
8 | 2719118.1323 | 1198155.5135 | 2719116.423 | 1198150.309 | 2719116.423 | 1198150.309
9 | 2719107.2952 | 1198141.2094 | 2719109.4774 | 1198143.3848
10 | 2719118.1323 | 1198155.5135 | 2719107.5106 | 1198157.7926
11 | 2719146.4527 | 1198146.1266 | 2719131.2072 | 1198152.7165 | 2719118.1323 | 1198155.5135
12 | 2719084.9465 | 1198165.9267 | 2719101.3467 | 1198159.1151 | 2719107.5106 | 1198157.7926
13 | 2719146.4527 | 1198146.1266 | 2719153.5428 | 1198163.0849
14 | 2719084.9465 | 1198165.9267 | 2719080.0984 | 1198153.6982
15 | 2719090.0834 | 1198179.1832 | 2719084.9465 | 1198165.9267
16 | 2719158.7772 | 1198175.6048 | 2719153.5428 | 1198163.0849
17 | 2719090.0834 | 1198179.1832 | 2719096.261 | 1198201.7113
18 | 2719090.0834 | 1198179.1832 | 2719073.7225 | 1198186.7072
19 | 2719158.7772 | 1198175.6048 | 2719146.0926 | 1198180.7517
20 | 2719158.7772 | 1198175.6048 | 2719162.4251 | 1198174.132 | 2719169.9993 | 1198171.062
21 | 2719073.7225 | 1198186.7072 | 2719049.5656 | 1198195.0254
22 | 2719073.7225 | 1198186.7072 | 2719070.6889 | 1198192.9069
23 | 2719099.8695 | 1198214.8708 | 2719096.261 | 1198201.7113
24 | 2719080.5544 | 1198221.9357 | 2719099.8695 | 1198214.8708
25 | 2719099.8695 | 1198214.8708 | 2719106.7367 | 1198239.9148 | 2719109.5839 | 1198248.4857
26 | 2719125.0829 | 1198283.3202 | 2719133.343 | 1198300.1212
27 | 2719122.5555 | 1198278.2115 | 2719123.2459 | 1198279.5838 | 2719125.0829 | 1198283.3202
28 | 2719116.1823 | 1198265.5439 | 2719122.5555 | 1198278.2115
29 | 2719113.2682 | 1198258.8699 | 2719116.1823 | 1198265.5439
30 | 2719113.2682 | 1198258.8699 | 2719110.6893 | 1198251.8133 | 2719109.5839 | 1198248.4857
31 | 2719113.2682 | 1198258.8699 | 2719126.7307 | 1198252.6812
32 | 2719147.0025 | 1198243.3624 | 2719128.9397 | 1198251.6658
33 | 2719126.7307 | 1198252.6812 | 2719128.9397 | 1198251.6658
34 | 2719147.0025 | 1198243.3624 | 2719149.0114 | 1198242.4389
35 | 2719162.5203 | 1198236.5795 | 2719154.1855 | 1198240.0604 | 2719149.0114 | 1198242.4389
36 | 2719162.5203 | 1198236.5795 | 2719158.8962 | 1198226.7474
37 | 2719162.5203 | 1198236.5795 | 2719192.0904 | 1198224.2305
38 | 2719156.7027 | 1198220.7965 | 2719158.8962 | 1198226.7474
39 | 2719203.2804 | 1198219.5574 | 2719192.0904 | 1198224.2305
40 | 2719203.2804 | 1198219.5574 | 2719216.1253 | 1198214.8026
41 | 2719080.5544 | 1198221.9357 | 2719067.1252 | 1198226.8496
42 | 2719080.5544 | 1198221.9357 | 2719081.0795 | 1198225.4042 | 2719078.583 | 1198227.5894 | 2719076.7989 | 1198229.9556 | 2719076.5477 | 1198232.2412 | 2719077.0072 | 1198234.7966 | 2719078.8038 | 1198236.7672 | 2719080.6374 | 1198243.2257
43 | 2719067.1252 | 1198226.8496 | 2719058.4076 | 1198230.045
44 | 2719187.8424 | 1198163.8322 | 2719189.928 | 1198162.9879
45 | 2719187.8424 | 1198163.8322 | 2719182.5315 | 1198165.9824 | 2719176.0519 | 1198168.6087
46 | 2719189.928 | 1198162.9879 | 2719197.1917 | 1198160.0471
47 | 2719169.9993 | 1198171.062 | 2719176.0519 | 1198168.6087
48 | 2719197.1917 | 1198160.0471 | 2719230.3421 | 1198158.7193
49 | 2719230.3421 | 1198158.7193 | 2719228.7726 | 1198144.989 | 2719225.1217 | 1198134.1279
50 | 2719042.7069 | 1198147.094 | 2719045.6452 | 1198155.2362

## bus_geodata
| x | y | coords
0 | 2719089.8101 | 1198116.3254
1 | 2719087.0878 | 1198117.2111
2 | 2719092.9796 | 1198115.2942
3 | 2719084.1505 | 1198118.1668
4 | 2719068.3125 | 1198123.3199
5 | 2719069.9321 | 1198128.0556
6 | 2719116.423 | 1198150.309
7 | 2719109.4774 | 1198143.3848
8 | 2719118.1323 | 1198155.5135
9 | 2719107.2952 | 1198141.2094
10 | 2719107.5106 | 1198157.7926
11 | 2719146.4527 | 1198146.1266
12 | 2719084.9465 | 1198165.9267
13 | 2719153.5428 | 1198163.0849
14 | 2719080.0984 | 1198153.6982
15 | 2719090.0834 | 1198179.1832
16 | 2719158.7772 | 1198175.6048
17 | 2719049.5656 | 1198195.0254
18 | 2719073.7225 | 1198186.7072
19 | 2719070.6889 | 1198192.9069
20 | 2719096.261 | 1198201.7113
21 | 2719099.8695 | 1198214.8708
22 | 2719133.343 | 1198300.1212
23 | 2719125.0829 | 1198283.3202
24 | 2719122.5555 | 1198278.2115
25 | 2719116.1823 | 1198265.5439
26 | 2719113.2682 | 1198258.8699
27 | 2719128.9397 | 1198251.6658
28 | 2719147.0025 | 1198243.3624
29 | 2719126.7307 | 1198252.6812
30 | 2719149.0114 | 1198242.4389
31 | 2719162.5203 | 1198236.5795
32 | 2719109.5839 | 1198248.4857
33 | 2719158.8962 | 1198226.7474
34 | 2719192.0904 | 1198224.2305
35 | 2719156.7027 | 1198220.7965
36 | 2719203.2804 | 1198219.5574
37 | 2719080.5544 | 1198221.9357
38 | 2719067.1252 | 1198226.8496
39 | 2719080.6374 | 1198243.2257
40 | 2719058.4076 | 1198230.045
41 | 2719216.1253 | 1198214.8026
42 | 2719187.8424 | 1198163.8322
43 | 2719189.928 | 1198162.9879
44 | 2719176.0519 | 1198168.6087
45 | 2719197.1917 | 1198160.0471
46 | 2719169.9993 | 1198171.062
47 | 2719230.3421 | 1198158.7193
48 | 2719225.1217 | 1198134.1279
49 | 2719146.0926 | 1198180.7517
50 | 2719042.7069 | 1198147.094
51 | 2719045.6452 | 1198155.2362
52 | 2719146.0926 | 1198180.7517

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98882 | -0.077934 | 0.0014801 | 0.00037094
1 | 0.98884 | -0.077786 | 0.0046265 | 0.0011595
2 | 0.9888 | -0.078057 | 0.0036017 | 0.00090266
3 | 0.98888 | -0.07748 | 0.002706 | 0.0006782
4 | 0.98918 | -0.07537 | 0 | 0
5 | 0.98927 | -0.074736 | 0 | 0
6 | 0.99353 | -0.044891 | 0.0044687 | 0.00112
7 | 0.99338 | -0.045963 | 0.0024771 | 0.00062082
8 | 0.99365 | -0.044045 | 0 | 0
9 | 0.99334 | -0.046223 | 0.0083318 | 0.0020882
10 | 0.99286 | -0.049553 | 0.010006 | 0.0025078
11 | 0.99604 | -0.027395 | 0 | 0
12 | 0.99041 | -0.066692 | 0 | 0
13 | 0.99751 | -0.0172 | 0.0046405 | 0.001163
14 | 0.98999 | -0.069633 | 0.0038054 | 0.00095372
15 | 0.98919 | -0.075263 | 0 | 0
16 | 0.99863 | -0.009482 | 0 | 0
17 | 0.98889 | -0.077333 | 0.002833 | 0.00071001
18 | 0.989 | -0.076594 | 0 | 0
19 | 0.98895 | -0.076905 | 0.004421 | 0.001108
20 | 0.9873 | -0.088527 | 0.0097002 | 0.0024311
21 | 0.98528 | -0.10273 | 0 | 0
22 | 0.97947 | -0.14395 | 0.0032488 | 0.00081424
23 | 0.97956 | -0.14331 | 0.0050736 | 0.0012716
24 | 0.97963 | -0.14282 | 0.0053416 | 0.0013387
25 | 0.97991 | -0.14081 | 0 | 0
26 | 0.98006 | -0.13977 | 0 | 0
27 | 0.97852 | -0.15071 | 0.010073 | 0.0025245
28 | 0.97715 | -0.16055 | 0.0041004 | 0.0010277
29 | 0.97873 | -0.14926 | 0.0040215 | 0.0010079
30 | 0.97701 | -0.16155 | 0.0059812 | 0.001499
31 | 0.9762 | -0.16731 | 0.011212 | 0.00281
32 | 0.98126 | -0.13117 | 0.0035412 | 0.00088751
33 | 0.97592 | -0.16932 | 0.0063521 | 0.001592
34 | 0.97584 | -0.16992 | 0.0061798 | 0.0015488
35 | 0.97581 | -0.17012 | 0.011987 | 0.0030043
36 | 0.97581 | -0.17013 | 0 | 0
37 | 0.98461 | -0.10751 | 0 | 0
38 | 0.98453 | -0.10804 | 0 | 0
39 | 0.98394 | -0.11224 | 0.019081 | 0.0047822
40 | 0.98449 | -0.10838 | 0.0035969 | 0.00090146
41 | 0.97578 | -0.17036 | 0.0016031 | 0.00040177
42 | 0.99716 | -0.019753 | 0.0059388 | 0.0014884
43 | 0.99709 | -0.020251 | 0.0036246 | 0.00090841
44 | 0.99767 | -0.016181 | 0.0046601 | 0.0011679
45 | 0.99689 | -0.021701 | 0.0044709 | 0.0011205
46 | 0.99798 | -0.014043 | 0.004966 | 0.0012446
47 | 0.99622 | -0.026354 | 0.0071859 | 0.001801
48 | 0.99598 | -0.028075 | 0.0067656 | 0.0016956
49 | 1 | 0 | -0.21148 | -0.053171
50 | 0.989 | -0.076676 | 0 | 0
51 | 0.98893 | -0.077183 | 0.0057326 | 0.0014367
52 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.0050818 | -0.0012736 | 0.0050819 | 0.0012736 | 1.0447e-07 | 3.457e-09 | 0.0076473 | 0.0076473 | 0.0076473 | 0.98882 | -0.077934 | 0.98884 | -0.077786 | 2.8323
1 | 0.0036017 | 0.00090264 | -0.0036017 | -0.00090266 | 6.1099e-08 | -1.9255e-08 | 0.00542 | 0.00542 | 0.00542 | 0.98882 | -0.077934 | 0.9888 | -0.078057 | 2.0074
2 | -0.0097084 | -0.0024331 | 0.0097088 | 0.0024332 | 4.1138e-07 | 1.186e-07 | 0.014609 | 0.014609 | 0.014609 | 0.98884 | -0.077786 | 0.98888 | -0.07748 | 5.4109
3 | -0.012415 | -0.0031114 | 0.012418 | 0.0031126 | 3.627e-06 | 1.1812e-06 | 0.018681 | 0.018681 | 0.018681 | 0.98888 | -0.07748 | 0.98918 | -0.07537 | 6.919
4 | -0.012418 | -0.0031126 | 0.01242 | 0.003113 | 1.0897e-06 | 3.5487e-07 | 0.018681 | 0.018681 | 0.018681 | 0.98918 | -0.07537 | 0.98927 | -0.074736 | 6.9189
5 | 0.0057346 | 0.0014369 | -0.005733 | -0.0014368 | 1.5396e-06 | 1.665e-07 | 0.0086256 | 0.0086257 | 0.0086257 | 0.98927 | -0.074736 | 0.989 | -0.076676 | 3.1947
6 | -0.018154 | -0.0045499 | 0.018167 | 0.0045545 | 1.2835e-05 | 4.582e-06 | 0.027307 | 0.027307 | 0.027307 | 0.98927 | -0.074736 | 0.98999 | -0.069633 | 10.1136
7 | 0.010811 | 0.0027095 | -0.010809 | -0.0027091 | 1.6044e-06 | 4.901e-07 | 0.016192 | 0.016192 | 0.016192 | 0.99353 | -0.044891 | 0.99338 | -0.045963 | 5.9969
8 | -0.01528 | -0.0038295 | 0.015281 | 0.0038301 | 1.7901e-06 | 6.1756e-07 | 0.022884 | 0.022884 | 0.022884 | 0.99353 | -0.044891 | 0.99365 | -0.044045 | 8.4757
9 | 0.0083321 | 0.0020882 | -0.0083318 | -0.0020882 | 2.9951e-07 | 7.5307e-08 | 0.012481 | 0.012481 | 0.012481 | 0.99338 | -0.045963 | 0.99334 | -0.046223 | 4.6226
10 | 0.15199 | 0.038309 | -0.15187 | -0.038264 | 0.00011714 | 4.4631e-05 | 0.22768 | 0.22768 | 0.22768 | 0.99365 | -0.044045 | 0.99286 | -0.049553 | 28.1089
11 | -0.16727 | -0.042139 | 0.16766 | 0.042288 | 0.0003905 | 0.00014903 | 0.25057 | 0.25057 | 0.25057 | 0.99365 | -0.044045 | 0.99604 | -0.027395 | 30.9341
12 | 0.14186 | 0.035757 | -0.14152 | -0.035627 | 0.00033961 | 0.00013 | 0.21269 | 0.21269 | 0.21269 | 0.99286 | -0.049553 | 0.99041 | -0.066692 | 39.3864
13 | -0.16766 | -0.042288 | 0.1679 | 0.04238 | 0.00024003 | 9.1602e-05 | 0.25057 | 0.25057 | 0.25057 | 0.99604 | -0.027395 | 0.99751 | -0.0172 | 30.9341
14 | 0.021981 | 0.0055115 | -0.021972 | -0.0055082 | 8.9531e-06 | 3.2743e-06 | 0.033026 | 0.033026 | 0.033026 | 0.99041 | -0.066692 | 0.98999 | -0.069633 | 12.2319
15 | 0.11954 | 0.030115 | -0.1194 | -0.030061 | 0.00014314 | 5.469e-05 | 0.17966 | 0.17966 | 0.17966 | 0.99041 | -0.066692 | 0.98919 | -0.075263 | 33.2704
16 | -0.17254 | -0.043543 | 0.17273 | 0.043614 | 0.00018714 | 7.1444e-05 | 0.25749 | 0.25749 | 0.25749 | 0.99751 | -0.0172 | 0.99863 | -0.009482 | 31.7887
17 | 0.11214 | 0.028242 | -0.11194 | -0.028163 | 0.00020753 | 7.9222e-05 | 0.16875 | 0.16875 | 0.16875 | 0.98919 | -0.075263 | 0.9873 | -0.088527 | 31.2492
18 | 0.0072558 | 0.0018181 | -0.0072544 | -0.0018178 | 1.3355e-06 | 2.8308e-07 | 0.010915 | 0.010915 | 0.010915 | 0.98919 | -0.075263 | 0.989 | -0.076594 | 4.0425
19 | -0.2104 | -0.053064 | 0.21068 | 0.053171 | 0.00028007 | 0.00010718 | 0.31363 | 0.31363 | 0.31363 | 0.99863 | -0.009482 | 1 | 0 | 38.7196
20 | 0.037675 | 0.0094494 | -0.037651 | -0.0094404 | 2.381e-05 | 8.9995e-06 | 0.056141 | 0.056141 | 0.056141 | 0.99863 | -0.009482 | 0.99798 | -0.014043 | 20.7929
21 | -0.002833 | -0.00071001 | 0.0028333 | 0.0007098 | 2.897e-07 | -2.1639e-07 | 0.0042629 | 0.0042628 | 0.0042629 | 0.98889 | -0.077333 | 0.989 | -0.076594 | 1.5788
22 | 0.0044212 | 0.001108 | -0.004421 | -0.001108 | 1.9052e-07 | -1.5263e-08 | 0.0066519 | 0.006652 | 0.006652 | 0.989 | -0.076594 | 0.98895 | -0.076905 | 2.4637
23 | 0.10224 | 0.025732 | -0.10203 | -0.025655 | 0.00020227 | 7.762e-05 | 0.15413 | 0.15413 | 0.15413 | 0.9873 | -0.088527 | 0.98528 | -0.10273 | 57.0838
24 | 0.022706 | 0.0056935 | -0.022691 | -0.005688 | 1.5054e-05 | 5.5289e-06 | 0.034292 | 0.034293 | 0.034293 | 0.98528 | -0.10273 | 0.98461 | -0.10751 | 12.7009
25 | 0.079329 | 0.019961 | -0.079015 | -0.019841 | 0.00031363 | 0.00012018 | 0.11983 | 0.11983 | 0.11983 | 0.98528 | -0.10273 | 0.98126 | -0.13117 | 44.383
26 | -0.0032488 | -0.00081424 | 0.0032491 | 0.00081411 | 2.8459e-07 | -1.262e-07 | 0.0049357 | 0.0049356 | 0.0049357 | 0.97947 | -0.14395 | 0.97956 | -0.14331 | 1.828
27 | -0.0083227 | -0.0020857 | 0.0083233 | 0.0020858 | 5.6848e-07 | 1.4689e-07 | 0.012643 | 0.012643 | 0.012643 | 0.97956 | -0.14331 | 0.97963 | -0.14282 | 4.6825
28 | -0.013665 | -0.0034245 | 0.013669 | 0.0034258 | 3.8122e-06 | 1.2876e-06 | 0.020756 | 0.020756 | 0.020756 | 0.97963 | -0.14282 | 0.97991 | -0.14081 | 7.6875
29 | -0.013669 | -0.0034258 | 0.013671 | 0.0034265 | 1.9571e-06 | 6.6101e-07 | 0.020756 | 0.020756 | 0.020756 | 0.97991 | -0.14081 | 0.98006 | -0.13977 | 7.6875
30 | -0.075384 | -0.018919 | 0.075474 | 0.018953 | 9.0091e-05 | 3.4511e-05 | 0.11446 | 0.11446 | 0.11446 | 0.98006 | -0.13977 | 0.98126 | -0.13117 | 42.3941
31 | 0.061713 | 0.015492 | -0.061632 | -0.015461 | 8.1188e-05 | 3.104e-05 | 0.093708 | 0.093708 | 0.093708 | 0.98006 | -0.13977 | 0.97873 | -0.14926 | 34.7066
32 | 0.047526 | 0.011924 | -0.047461 | -0.0119 | 6.4803e-05 | 2.4675e-05 | 0.072276 | 0.072276 | 0.072276 | 0.97852 | -0.15071 | 0.97715 | -0.16055 | 26.769
33 | -0.057599 | -0.014449 | 0.05761 | 0.014453 | 1.164e-05 | 4.4463e-06 | 0.087594 | 0.087594 | 0.087594 | 0.97852 | -0.15071 | 0.97873 | -0.14926 | 32.4422
34 | 0.043361 | 0.010872 | -0.043355 | -0.01087 | 6.0156e-06 | 2.286e-06 | 0.066032 | 0.066032 | 0.066032 | 0.97715 | -0.16055 | 0.97701 | -0.16155 | 24.4563
35 | 0.037373 | 0.0093708 | -0.037344 | -0.0093595 | 2.9776e-05 | 1.1268e-05 | 0.056923 | 0.056923 | 0.056923 | 0.97701 | -0.16155 | 0.9762 | -0.16731 | 21.0824
36 | 0.018346 | 0.0045986 | -0.018341 | -0.0045967 | 5.1135e-06 | 1.8358e-06 | 0.027965 | 0.027965 | 0.027965 | 0.9762 | -0.16731 | 0.97592 | -0.16932 | 10.3573
37 | 0.0077858 | 0.001951 | -0.0077829 | -0.0019503 | 2.8163e-06 | 6.827e-07 | 0.011868 | 0.011868 | 0.011868 | 0.9762 | -0.16731 | 0.97584 | -0.16992 | 4.3955
38 | 0.011989 | 0.0030048 | -0.011987 | -0.0030043 | 1.3224e-06 | 4.2938e-07 | 0.01828 | 0.01828 | 0.01828 | 0.97592 | -0.16932 | 0.97581 | -0.17012 | 6.7703
39 | 0.0016032 | 0.00040149 | -0.0016031 | -0.00040162 | 4.5219e-08 | -1.341e-07 | 0.0024445 | 0.0024446 | 0.0024446 | 0.97584 | -0.16992 | 0.97581 | -0.17013 | 0.9054
40 | 0.0016031 | 0.00040162 | -0.0016031 | -0.00040177 | 5.1076e-08 | -1.5145e-07 | 0.0024446 | 0.0024446 | 0.0024446 | 0.97581 | -0.17013 | 0.97578 | -0.17036 | 0.90542
41 | 0.0035973 | 0.00090132 | -0.003597 | -0.0009014 | 2.6306e-07 | -8.0227e-08 | 0.0054364 | 0.0054365 | 0.0054365 | 0.98461 | -0.10751 | 0.98453 | -0.10804 | 2.0135
42 | 0.019094 | 0.0047867 | -0.019081 | -0.0047822 | 1.2504e-05 | 4.5034e-06 | 0.028856 | 0.028856 | 0.028856 | 0.98461 | -0.10751 | 0.98394 | -0.11224 | 10.6875
43 | 0.003597 | 0.0009014 | -0.0035969 | -0.00090146 | 1.7082e-07 | -5.2077e-08 | 0.0054365 | 0.0054365 | 0.0054365 | 0.98453 | -0.10804 | 0.98449 | -0.10838 | 2.0135
44 | 0.022063 | 0.0055307 | -0.022061 | -0.0055301 | 1.5219e-06 | 5.56e-07 | 0.032924 | 0.032924 | 0.032924 | 0.99716 | -0.019753 | 0.99709 | -0.020251 | 12.1939
45 | -0.028002 | -0.0070191 | 0.028015 | 0.0070243 | 1.386e-05 | 5.1649e-06 | 0.041786 | 0.041786 | 0.041786 | 0.99716 | -0.019753 | 0.99767 | -0.016181 | 15.4762
46 | 0.018437 | 0.0046217 | -0.018433 | -0.0046204 | 3.7019e-06 | 1.3216e-06 | 0.027514 | 0.027515 | 0.027515 | 0.99709 | -0.020251 | 0.99689 | -0.021701 | 10.1906
47 | -0.032676 | -0.0081922 | 0.032685 | 0.0081958 | 9.6797e-06 | 3.6377e-06 | 0.048736 | 0.048736 | 0.048736 | 0.99767 | -0.016181 | 0.99798 | -0.014043 | 18.0505
48 | 0.013962 | 0.0034999 | -0.013953 | -0.0034969 | 8.9921e-06 | 3.0262e-06 | 0.020841 | 0.020841 | 0.020841 | 0.99689 | -0.021701 | 0.99622 | -0.026354 | 7.7189
49 | 0.0067672 | 0.0016959 | -0.0067656 | -0.0016956 | 1.6116e-06 | 2.9079e-07 | 0.010108 | 0.010108 | 0.010108 | 0.99622 | -0.026354 | 0.99598 | -0.028075 | 3.7437
50 | 0.005733 | 0.0014368 | -0.0057326 | -0.0014367 | 4.0183e-07 | 4.3496e-08 | 0.0086257 | 0.0086257 | 0.0086257 | 0.989 | -0.076676 | 0.98893 | -0.077183 | 3.1947

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21797 | 0.054797

## res_load
| p_mw | q_mvar
0 | 0.0014801 | 0.00037094
1 | 0.0046265 | 0.0011595
2 | 0.0036017 | 0.00090266
3 | 0.002706 | 0.0006782
4 | 0.0044687 | 0.00112
5 | 0.0024771 | 0.00062082
6 | 0.0083318 | 0.0020882
7 | 0.010006 | 0.0025078
8 | 0.0046405 | 0.001163
9 | 0.0038054 | 0.00095372
10 | 0.002833 | 0.00071001
11 | 0.004421 | 0.001108
12 | 0.0097002 | 0.0024311
13 | 0.0032488 | 0.00081424
14 | 0.0050736 | 0.0012716
15 | 0.0053416 | 0.0013387
16 | 0.010073 | 0.0025245
17 | 0.0041004 | 0.0010277
18 | 0.0040215 | 0.0010079
19 | 0.0059812 | 0.001499
20 | 0.011212 | 0.00281
21 | 0.0035412 | 0.00088751
22 | 0.0063521 | 0.001592
23 | 0.0061798 | 0.0015488
24 | 0.011987 | 0.0030043
25 | 0.019081 | 0.0047822
26 | 0.0035969 | 0.00090146
27 | 0.0016031 | 0.00040177
28 | 0.0059388 | 0.0014884
29 | 0.0036246 | 0.00090841
30 | 0.0046601 | 0.0011679
31 | 0.0044709 | 0.0011205
32 | 0.004966 | 0.0012446
33 | 0.0071859 | 0.001801
34 | 0.0067656 | 0.0016956
35 | 0.0064881 | 0.0016261
36 | 0.0057326 | 0.0014367

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1