## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-105_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-105_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-105_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-105_0_4_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1631-105_0_4_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1631-105_0_4_node_5 | 0.4 | n |  | TRUE
6 | bus_LV_1631-105_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1631-105_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1631-105_0_4_node_10 | 0.4 | n |  | TRUE
9 | bus_LV_1631-105_0_4_node_7 | 0.4 | n |  | TRUE
10 | bus_LV_1631-105_0_4_node_8 | 0.4 | n |  | TRUE
11 | bus_LV_1631-105_0_4_node_67 | 0.4 | n |  | TRUE
12 | bus_LV_1631-105_0_4_node_45 | 0.4 | n |  | TRUE
13 | bus_LV_1631-105_0_4_node_46 | 0.4 | n |  | TRUE
14 | bus_LV_1631-105_0_4_node_43 | 0.4 | n |  | TRUE
15 | bus_LV_1631-105_0_4_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1631-105_0_4_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1631-105_0_4_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1631-105_0_4_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1631-105_0_4_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1631-105_0_4_node_16 | 0.4 | n |  | TRUE
21 | bus_LV_1631-105_0_4_node_17 | 0.4 | n |  | TRUE
22 | bus_LV_1631-105_0_4_node_18 | 0.4 | n |  | TRUE
23 | bus_LV_1631-105_0_4_node_26 | 0.4 | n |  | TRUE
24 | bus_LV_1631-105_0_4_node_24 | 0.4 | n |  | TRUE
25 | bus_LV_1631-105_0_4_node_21 | 0.4 | n |  | TRUE
26 | bus_LV_1631-105_0_4_node_56 | 0.4 | n |  | TRUE
27 | bus_LV_1631-105_0_4_node_25 | 0.4 | n |  | TRUE
28 | bus_LV_1631-105_0_4_node_23 | 0.4 | n |  | TRUE
29 | bus_LV_1631-105_0_4_node_19 | 0.4 | n |  | TRUE
30 | bus_LV_1631-105_0_4_node_20 | 0.4 | n |  | TRUE
31 | bus_LV_1631-105_0_4_node_22 | 0.4 | n |  | TRUE
32 | bus_LV_1631-105_0_4_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_1631-105_0_4_node_35 | 0.4 | n |  | TRUE
34 | bus_LV_1631-105_0_4_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_1631-105_0_4_node_37 | 0.4 | n |  | TRUE
36 | bus_LV_1631-105_0_4_node_38 | 0.4 | n |  | TRUE
37 | bus_LV_1631-105_0_4_node_63 | 0.4 | n |  | TRUE
38 | bus_LV_1631-105_0_4_node_65 | 0.4 | n |  | TRUE
39 | bus_LV_1631-105_0_4_node_34 | 0.4 | n |  | TRUE
40 | bus_LV_1631-105_0_4_node_55 | 0.4 | n |  | TRUE
41 | bus_LV_1631-105_0_4_node_28 | 0.4 | n |  | TRUE
42 | bus_LV_1631-105_0_4_node_29 | 0.4 | n |  | TRUE
43 | bus_LV_1631-105_0_4_node_30 | 0.4 | n |  | TRUE
44 | bus_LV_1631-105_0_4_node_31 | 0.4 | n |  | TRUE
45 | bus_LV_1631-105_0_4_node_44 | 0.4 | n |  | TRUE
46 | bus_LV_1631-105_0_4_node_62 | 0.4 | n |  | TRUE
47 | bus_LV_1631-105_0_4_node_60 | 0.4 | n |  | TRUE
48 | bus_LV_1631-105_0_4_node_32 | 0.4 | n |  | TRUE
49 | bus_LV_1631-105_0_4_node_41 | 0.4 | n |  | TRUE
50 | bus_LV_1631-105_0_4_node_33 | 0.4 | n |  | TRUE
51 | bus_LV_1631-105_0_4_node_39 | 0.4 | n |  | TRUE
52 | bus_LV_1631-105_0_4_node_40 | 0.4 | n |  | TRUE
53 | bus_LV_1631-105_0_4_node_42 | 0.4 | n |  | TRUE
54 | bus_LV_1631-105_0_4_node_49 | 0.4 | n |  | TRUE
55 | bus_LV_1631-105_0_4_node_48 | 0.4 | n |  | TRUE
56 | bus_LV_1631-105_0_4_node_47 | 0.4 | n |  | TRUE
57 | bus_LV_1631-105_0_4_node_57 | 0.4 | n |  | TRUE
58 | bus_LV_1631-105_0_4_node_50 | 0.4 | n |  | TRUE
59 | bus_LV_1631-105_0_4_node_51 | 0.4 | n |  | TRUE
60 | bus_LV_1631-105_0_4_node_58 | 0.4 | n |  | TRUE
61 | bus_LV_1631-105_0_4_node_59 | 0.4 | n |  | TRUE
62 | bus_LV_1631-105_0_4_node_52 | 0.4 | n |  | TRUE
63 | bus_LV_1631-105_0_4_node_54 | 0.4 | n |  | TRUE
64 | bus_LV_1631-105_0_4_node_66 | 0.4 | n |  | TRUE
65 | bus_LV_1631-105_0_4_node_61 | 0.4 | n |  | TRUE
66 | bus_MV_13_0_node_126 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-105_0_4_load_0 | 0 | 0.0037427 | 0.00093801 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-105_0_4_load_1 | 1 | 0.0044485 | 0.0011149 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-105_0_4_load_4 | 4 | 0.0023163 | 0.00058051 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-105_0_4_load_5 | 5 | 0.0020508 | 0.00051397 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-105_0_4_load_10 | 8 | 0.0027532 | 0.00069 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-105_0_4_load_7 | 9 | 0.0093165 | 0.0023349 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-105_0_4_load_67 | 11 | 0.0014568 | 0.00036511 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-105_0_4_load_11 | 15 | 0.0037886 | 0.00094952 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-105_0_4_load_12 | 16 | 0.0043817 | 0.0010982 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-105_0_4_load_16 | 20 | 0.0028249 | 0.000708 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-105_0_4_load_17 | 21 | 0.0028321 | 0.00070978 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-105_0_4_load_18 | 22 | 0.004386 | 0.0010992 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-105_0_4_load_26 | 23 | 0.0021862 | 0.00054792 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-105_0_4_load_24 | 24 | 0.0054876 | 0.0013753 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-105_0_4_load_56 | 26 | 0.0033713 | 0.00084493 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-105_0_4_load_25 | 27 | 0.006931 | 0.0017371 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-105_0_4_load_23 | 28 | 0.0028684 | 0.00071889 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-105_0_4_load_19 | 29 | 0.0019791 | 0.000496 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-105_0_4_load_20 | 30 | 0.004361 | 0.001093 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-105_0_4_load_22 | 31 | 0.0047136 | 0.0011814 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-105_0_4_load_27 | 32 | 0.0060392 | 0.0015136 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-105_0_4_load_35 | 33 | 0.0011997 | 0.00030067 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-105_0_4_load_38 | 36 | 0.0015613 | 0.00039131 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-105_0_4_load_63 | 37 | 0.0020719 | 0.00051927 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-105_0_4_load_65 | 38 | 0.0041 | 0.0010276 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-105_0_4_load_34 | 39 | 0.0015841 | 0.00039701 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-105_0_4_load_55 | 40 | 0.0025399 | 0.00063657 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-105_0_4_load_28 | 41 | 0.0025631 | 0.00064238 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-105_0_4_load_30 | 43 | 0.0040004 | 0.0010026 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-105_0_4_load_31 | 44 | 0.0014851 | 0.00037221 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1631-105_0_4_load_62 | 46 | 0.021315 | 0.005342 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1631-105_0_4_load_33 | 50 | 0.0020548 | 0.00051498 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1631-105_0_4_load_39 | 51 | 0.0027919 | 0.00069972 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1631-105_0_4_load_40 | 52 | 0.002915 | 0.00073057 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1631-105_0_4_load_42 | 53 | 0.0043012 | 0.001078 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1631-105_0_4_load_48 | 55 | 0.0039762 | 0.00099653 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1631-105_0_4_load_47 | 56 | 0.0021898 | 0.00054881 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1631-105_0_4_load_57 | 57 | 0.0025444 | 0.0006377 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1631-105_0_4_load_50 | 58 | 0.0029861 | 0.0007484 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1631-105_0_4_load_51 | 59 | 0.0091562 | 0.0022948 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1631-105_0_4_load_58 | 60 | 0.0029221 | 0.00073236 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1631-105_0_4_load_66 | 64 | 0.041776 | 0.01047 | 0 | 0 |  | 1 | TRUE | wye
42 | LV_1631-105_0_4_load_61 | 65 | 0.012896 | 0.0032321 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 62 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-105_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.021215 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-105_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.01374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-105_0_4_line_2 | NAYY 4x150 SE | 2 | 3 | 0.037906 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-105_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.087818 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-105_0_4_line_4 | NAYY 4x150 SE | 3 | 5 | 0.024461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-105_0_4_line_5 | NAYY 4x150 SE | 4 | 6 | 0.089857 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-105_0_4_line_6 | NAYY 4x150 SE | 5 | 7 | 0.0097821 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-105_0_4_line_7 | NAYY 4x150 SE | 6 | 8 | 0.019091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-105_0_4_line_8 | NAYY 4x150 SE | 7 | 9 | 0.021063 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-105_0_4_line_9 | NAYY 4x150 SE | 7 | 10 | 0.012024 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-105_0_4_line_10 | NAYY 4x150 SE | 8 | 12 | 0.01204 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-105_0_4_line_11 | NAYY 4x150 SE | 10 | 11 | 0.065452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-105_0_4_line_12 | NAYY 4x150 SE | 12 | 13 | 0.037007 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
13 | LV_1631-105_0_4_line_13 | NAYY 4x150 SE | 12 | 14 | 0.088945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
14 | LV_1631-105_0_4_line_14 | NAYY 4x150 SE | 13 | 57 | 0.042707 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-105_0_4_line_15 | NAYY 4x150 SE | 13 | 40 | 0.0014118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
16 | LV_1631-105_0_4_line_16 | NAYY 4x150 SE | 14 | 55 | 0.00908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-105_0_4_line_17 | NAYY 4x150 SE | 14 | 56 | 0.012532 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-105_0_4_line_18 | NAYY 4x150 SE | 14 | 49 | 0.063713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
19 | LV_1631-105_0_4_line_19 | NAYY 4x150 SE | 15 | 16 | 0.045683 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-105_0_4_line_20 | NAYY 4x150 SE | 15 | 17 | 0.0059975 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-105_0_4_line_21 | NAYY 4x150 SE | 16 | 18 | 0.014278 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-105_0_4_line_22 | NAYY 4x150 SE | 17 | 19 | 0.017776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-105_0_4_line_23 | NAYY 4x150 SE | 17 | 20 | 0.018181 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-105_0_4_line_24 | NAYY 4x150 SE | 18 | 21 | 0.017072 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-105_0_4_line_25 | NAYY 4x150 SE | 18 | 22 | 0.013517 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-105_0_4_line_26 | NAYY 4x150 SE | 19 | 23 | 0.024734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-105_0_4_line_27 | NAYY 4x150 SE | 19 | 24 | 0.043678 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-105_0_4_line_28 | NAYY 4x150 SE | 21 | 25 | 0.010119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-105_0_4_line_29 | NAYY 4x150 SE | 23 | 26 | 0.00074765 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-105_0_4_line_30 | NAYY 4x150 SE | 24 | 27 | 0.14614 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-105_0_4_line_31 | NAYY 4x150 SE | 25 | 28 | 0.024269 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-105_0_4_line_32 | NAYY 4x150 SE | 25 | 29 | 0.015985 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-105_0_4_line_33 | NAYY 4x150 SE | 26 | 40 | 0.039957 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
34 | LV_1631-105_0_4_line_34 | NAYY 4x150 SE | 28 | 32 | 0.021655 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-105_0_4_line_35 | NAYY 4x150 SE | 29 | 30 | 0.0040008 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-105_0_4_line_36 | NAYY 4x150 SE | 30 | 31 | 0.022434 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-105_0_4_line_37 | NAYY 4x150 SE | 32 | 34 | 0.22367 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-105_0_4_line_38 | NAYY 4x150 SE | 33 | 34 | 0.10519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-105_0_4_line_39 | NAYY 4x150 SE | 34 | 35 | 0.075981 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-105_0_4_line_40 | NAYY 4x150 SE | 35 | 36 | 0.033744 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1631-105_0_4_line_41 | NAYY 4x150 SE | 37 | 38 | 0.21247 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1631-105_0_4_line_42 | NAYY 4x150 SE | 38 | 39 | 0.17264 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1631-105_0_4_line_43 | NAYY 4x150 SE | 39 | 48 | 0.17854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1631-105_0_4_line_44 | NAYY 4x150 SE | 41 | 42 | 0.091966 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1631-105_0_4_line_45 | NAYY 4x150 SE | 41 | 43 | 0.00080209 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1631-105_0_4_line_46 | NAYY 4x150 SE | 42 | 44 | 0.14034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1631-105_0_4_line_47 | NAYY 4x150 SE | 42 | 45 | 0.12246 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1631-105_0_4_line_48 | NAYY 4x150 SE | 44 | 48 | 0.089127 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1631-105_0_4_line_49 | NAYY 4x150 SE | 45 | 49 | 0.081628 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1631-105_0_4_line_50 | NAYY 4x150 SE | 46 | 47 | 0.023404 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1631-105_0_4_line_51 | NAYY 4x150 SE | 47 | 61 | 0.005159 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1631-105_0_4_line_52 | NAYY 4x150 SE | 47 | 65 | 0.06286 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1631-105_0_4_line_53 | NAYY 4x150 SE | 48 | 50 | 0.034972 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1631-105_0_4_line_54 | NAYY 4x150 SE | 49 | 51 | 0.058058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
55 | LV_1631-105_0_4_line_55 | NAYY 4x150 SE | 51 | 52 | 0.023764 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
56 | LV_1631-105_0_4_line_56 | NAYY 4x150 SE | 52 | 53 | 0.00049997 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
57 | LV_1631-105_0_4_line_57 | NAYY 4x150 SE | 53 | 54 | 0.015313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
58 | LV_1631-105_0_4_line_58 | NAYY 4x150 SE | 54 | 58 | 0.010577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
59 | LV_1631-105_0_4_line_59 | NAYY 4x150 SE | 54 | 59 | 0.013399 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
60 | LV_1631-105_0_4_line_60 | NAYY 4x150 SE | 59 | 62 | 0.025436 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
61 | LV_1631-105_0_4_line_61 | NAYY 4x150 SE | 60 | 61 | 0.050336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
62 | LV_1631-105_0_4_line_62 | NAYY 4x150 SE | 61 | 63 | 0.042425 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
63 | LV_1631-105_0_4_line_63 | NAYY 4x150 SE | 62 | 63 | 0.028535 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
64 | LV_1631-105_0_4_line_64 | NAYY 4x150 SE | 63 | 64 | 0.022763 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-105_0_4_trafo_52 | 0.25 MVA 20/0.4 kV | 66 | 62 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8 | x9 | y9 | x10 | y10 | x11 | y11 | x12 | y12 | x13 | y13 | x14 | y14 | x15 | y15 | x16 | y16 | x17 | y17 | x18 | y18 | x19 | y19 | x20 | y20 | x21 | y21 | x22 | y22 | x23 | y23 | x24 | y24 | x25 | y25
0 | 2720388.3607 | 1199495.9826 | 2720377.5305 | 1199477.7406
1 | 2720391.0957 | 1199508.8622 | 2720391.4633 | 1199501.2084 | 2720388.3607 | 1199495.9826
2 | 2720391.0957 | 1199508.8622 | 2720394.3755 | 1199509.0062 | 2720401.0516 | 1199509.5522 | 2720413.1561 | 1199512.0868 | 2720423.4223 | 1199514.3842 | 2720428.2374 | 1199516.1936
3 | 2720391.0957 | 1199508.8622 | 2720387.3518 | 1199508.6978 | 2720380.3367 | 1199508.7232 | 2720364.5466 | 1199509.1722 | 2720356.3582 | 1199509.9746 | 2720349.0555 | 1199512.1736 | 2720342.286 | 1199515.5065 | 2720308.9849 | 1199533.5164
4 | 2720428.2374 | 1199516.1936 | 2720429.5223 | 1199513.284 | 2720428.9542 | 1199511.2377 | 2720426.038 | 1199508.9328 | 2720423.1688 | 1199504.2938 | 2720421.1366 | 1199494.5178
5 | 2720224.6739 | 1199563.2415 | 2720230.7315 | 1199560.0833 | 2720240.0936 | 1199556.9693 | 2720256.2858 | 1199553.9372 | 2720263.6862 | 1199551.7957 | 2720284.2442 | 1199545.2823 | 2720291.9698 | 1199542.1244 | 2720305.2789 | 1199535.5207 | 2720308.9849 | 1199533.5164
6 | 2720419.5769 | 1199484.8738 | 2720420.0028 | 1199489.0633 | 2720421.1366 | 1199494.5178
7 | 2720224.6739 | 1199563.2415 | 2720218.5008 | 1199566.4642 | 2720207.8169 | 1199572.203
8 | 2720419.5769 | 1199484.8738 | 2720420.5638 | 1199481.6358 | 2720423.1779 | 1199478.5306 | 2720434.9622 | 1199471.6407
9 | 2720407.5296 | 1199484.7866 | 2720414.3735 | 1199484.5688 | 2720419.5769 | 1199484.8738
10 | 2720198.9105 | 1199580.1581 | 2720205.4117 | 1199573.495 | 2720207.8169 | 1199572.203
11 | 2720395.3788 | 1199423.708 | 2720403.8801 | 1199437.6228 | 2720405.2088 | 1199442.7423 | 2720403.5565 | 1199458.5873 | 2720404.3751 | 1199463.6964 | 2720408.1696 | 1199468.1539 | 2720408.5074 | 1199471.4187 | 2720406.7162 | 1199479.4219 | 2720407.5296 | 1199484.7866
12 | 2720198.9105 | 1199580.1581 | 2720195.3532 | 1199584.7232 | 2720197.3136 | 1199594.0362 | 2720205.7997 | 1199614.0104
13 | 2720163.899 | 1199635.417 | 2720147.2667 | 1199619.4487 | 2720156.8799 | 1199608.3893 | 2720165.4048 | 1199602.2117 | 2720188.5328 | 1199586.8098 | 2720195.3532 | 1199584.7232 | 2720198.9105 | 1199580.1581
14 | 2720205.7997 | 1199614.0104 | 2720208.279 | 1199622.511 | 2720221.5291 | 1199653.6621
15 | 2720205.7997 | 1199614.0104 | 2720206.6449 | 1199615.1413
16 | 2720167.7702 | 1199643.6342 | 2720163.899 | 1199635.417
17 | 2720163.899 | 1199635.417 | 2720171.356 | 1199637.6463 | 2720173.3567 | 1199637.3864 | 2720175.416 | 1199635.5923
18 | 2720115.47 | 1199644.7838 | 2720147.2667 | 1199619.4487 | 2720163.899 | 1199635.417
19 | 2720287.9981 | 1199649.8494 | 2720309.7039 | 1199657.6552 | 2720313.3181 | 1199658.5842 | 2720316.1765 | 1199658.842 | 2720319.0908 | 1199658.6004 | 2720321.711 | 1199657.8304 | 2720324.9792 | 1199656.2728 | 2720330.7492 | 1199652.7918
20 | 2720282.3544 | 1199647.8198 | 2720287.9981 | 1199649.8494
21 | 2720343.5772 | 1199647.2295 | 2720340.8726 | 1199647.275 | 2720338.641 | 1199648.0307 | 2720330.7492 | 1199652.7918
22 | 2720282.3544 | 1199647.8198 | 2720265.5833 | 1199641.789
23 | 2720282.3544 | 1199647.8198 | 2720291.9286 | 1199663.2905
24 | 2720343.5772 | 1199647.2295 | 2720346.4274 | 1199647.8985 | 2720349.4634 | 1199649.1716 | 2720351.9737 | 1199651.2126 | 2720357.0901 | 1199656.8551
25 | 2720343.5772 | 1199647.2295 | 2720346.3634 | 1199640.8698 | 2720344.2613 | 1199634.6412
26 | 2720265.5833 | 1199641.789 | 2720242.4236 | 1199633.1065
27 | 2720265.5833 | 1199641.789 | 2720274.4115 | 1199665.94 | 2720284.3267 | 1199680.9201
28 | 2720363.8871 | 1199664.351 | 2720357.0901 | 1199656.8551
29 | 2720242.4236 | 1199633.1065 | 2720241.7235 | 1199632.844
30 | 2720315.1174 | 1199820.6843 | 2720310.9175 | 1199813.2943 | 2720309.6789 | 1199808.9996 | 2720309.7501 | 1199800.5503 | 2720311.211 | 1199778.6858 | 2720311.1224 | 1199767.587 | 2720308.3566 | 1199747.9836 | 2720300.6527 | 1199714.5372 | 2720295.2554 | 1199698.9059 | 2720284.9662 | 1199681.8863 | 2720284.3267 | 1199680.9201
31 | 2720363.8871 | 1199664.351 | 2720384.4292 | 1199651.4272
32 | 2720363.8871 | 1199664.351 | 2720374.6285 | 1199676.1892
33 | 2720206.6449 | 1199615.1413 | 2720207.8837 | 1199616.7988 | 2720211.4337 | 1199620.5396 | 2720213.9118 | 1199621.9127 | 2720216.7945 | 1199623.2383 | 2720219.5408 | 1199624.5278 | 2720241.7235 | 1199632.844
34 | 2720398.9342 | 1199657.6631 | 2720391.7499 | 1199646.8215 | 2720384.4292 | 1199651.4272
35 | 2720377.3169 | 1199679.1521 | 2720374.6285 | 1199676.1892
36 | 2720391.51 | 1199696.5088 | 2720381.9027 | 1199684.2063 | 2720377.3169 | 1199679.1521
37 | 2720398.9342 | 1199657.6631 | 2720614.4015 | 1199717.6625
38 | 2720614.4015 | 1199717.6625 | 2720611.322 | 1199718.5455 | 2720608.2275 | 1199720.5512 | 2720606.0527 | 1199723.3983 | 2720604.2794 | 1199728.6219 | 2720587.4607 | 1199801.5474 | 2720586.1547 | 1199813.7968 | 2720586.2707 | 1199815.8373
39 | 2720637.8487 | 1199786.7978 | 2720621.6086 | 1199760.9176 | 2720618.9751 | 1199754.8044 | 2720616.6633 | 1199747.8415 | 2720616.0179 | 1199741.7129 | 2720616.6066 | 1199735.5646 | 2720617.9015 | 1199726.8844 | 2720616.9325 | 1199720.1821 | 2720614.4015 | 1199717.6625
40 | 2720637.8487 | 1199786.7978 | 2720644.22 | 1199794.8768 | 2720650.1392 | 1199800.0779 | 2720663.4722 | 1199808.1291
41 | 2720317.2594 | 1200158.9323 | 2720486.5524 | 1200030.548
42 | 2720144.7137 | 1200153.1643 | 2720317.2594 | 1200158.9323
43 | 2720090.8264 | 1200011.3251 | 2720101.2581 | 1200018.9848 | 2720105.1821 | 1200023.8116 | 2720115.4444 | 1200036.1047 | 2720122.2557 | 1200045.8043 | 2720129.3602 | 1200057.9671 | 2720130.8739 | 1200062.979 | 2720131.9731 | 1200067.3933 | 2720132.6089 | 1200071.3757 | 2720131.2955 | 1200085.5597 | 2720132.3043 | 1200090.6838 | 2720135.1606 | 1200095.5781 | 2720142.2235 | 1200105.2605 | 2720144.8187 | 1200116.3209 | 2720146.6308 | 1200127.3209 | 2720148.3068 | 1200131.4577 | 2720156.8215 | 1200142.4036 | 2720158.0835 | 1200146.2985 | 2720158.2385 | 1200149.9488 | 2720157.7735 | 1200152.2411 | 2720156.3839 | 1200154.6927 | 2720153.8696 | 1200155.8875 | 2720150.858 | 1200156.0604 | 2720147.5909 | 1200155.3053 | 2720144.8589 | 1200153.3156 | 2720144.7137 | 1200153.1643
44 | 2720014.8276 | 1199801.4663 | 2720029.6775 | 1199823.1249 | 2720046.1758 | 1199838.9234 | 2720051.7696 | 1199852.001 | 2720056.368 | 1199860.4106 | 2720059.6627 | 1199864.3464 | 2720071.4829 | 1199871.7017
45 | 2720072.1639 | 1199872.1254 | 2720071.4829 | 1199871.7017
46 | 2720014.8276 | 1199801.4663 | 2720017.5606 | 1199814.7866 | 2720019.7114 | 1199832.0647 | 2720029.2657 | 1199892.501 | 2720037.677 | 1199921.1243 | 2720044.5384 | 1199938.104
47 | 2720057.7562 | 1199686.7774 | 2720014.8276 | 1199801.4663
48 | 2720090.8264 | 1200011.3251 | 2720083.2228 | 1200006.1796 | 2720073.501 | 1199998.8122 | 2720065.1003 | 1199988.6137 | 2720047.2172 | 1199944.7333 | 2720044.5384 | 1199938.104
49 | 2720057.7562 | 1199686.7774 | 2720083.4087 | 1199665.8662 | 2720089.4588 | 1199660.039 | 2720091.1677 | 1199658.3833 | 2720100.0453 | 1199646.3973 | 2720109.1795 | 1199637.1851 | 2720115.47 | 1199644.7838
50 | 2720167.3776 | 1199761.9467 | 2720184.0529 | 1199745.481
51 | 2720184.0529 | 1199745.481 | 2720185.2733 | 1199740.4685
52 | 2720184.0529 | 1199745.481 | 2720229.3573 | 1199789.0571
53 | 2720090.8264 | 1200011.3251 | 2720108.156 | 1200013.7751 | 2720115.4465 | 1200016.6904 | 2720123.282 | 1200022.4188
54 | 2720115.47 | 1199644.7838 | 2720125.84 | 1199655.1665 | 2720144.3734 | 1199669.0048 | 2720152.0352 | 1199675.4413 | 2720157.0505 | 1199681.302 | 2720158.6924 | 1199683.2313
55 | 2720158.6924 | 1199683.2313 | 2720165.205 | 1199690.8841 | 2720168.0263 | 1199694.1209 | 2720171.3598 | 1199697.2681 | 2720175.3051 | 1199700.0667
56 | 2720175.7129 | 1199700.356 | 2720175.3051 | 1199700.0667
57 | 2720188.2022 | 1199709.2155 | 2720175.7129 | 1199700.356
58 | 2720188.2022 | 1199709.2155 | 2720194.6016 | 1199700.7935
59 | 2720188.2022 | 1199709.2155 | 2720198.6083 | 1199717.6562
60 | 2720217.2584 | 1199734.8965 | 2720212.9026 | 1199730.3278 | 2720206.5468 | 1199724.0954 | 2720198.6083 | 1199717.6562
61 | 2720185.2733 | 1199740.4685 | 2720173.8503 | 1199732.0882 | 2720167.5517 | 1199730.5827 | 2720137.9592 | 1199728.1485
62 | 2720185.2733 | 1199740.4685 | 2720200.9023 | 1199745.72 | 2720213.2613 | 1199752.9961 | 2720218.9408 | 1199754.9896 | 2720224.6052 | 1199755.4594
63 | 2720217.2584 | 1199734.8965 | 2720221.7434 | 1199740.2351 | 2720226.1183 | 1199746.1274 | 2720230.3809 | 1199752.6736 | 2720224.6052 | 1199755.4594
64 | 2720208.9411 | 1199772.0121 | 2720211.6622 | 1199769.2537 | 2720224.6052 | 1199755.4594

## bus_geodata
| x | y | coords
0 | 2720388.3607 | 1199495.9826
1 | 2720377.5305 | 1199477.7406
2 | 2720391.0957 | 1199508.8622
3 | 2720428.2374 | 1199516.1936
4 | 2720308.9849 | 1199533.5164
5 | 2720421.1366 | 1199494.5178
6 | 2720224.6739 | 1199563.2415
7 | 2720419.5769 | 1199484.8738
8 | 2720207.8169 | 1199572.203
9 | 2720434.9622 | 1199471.6407
10 | 2720407.5296 | 1199484.7866
11 | 2720395.3788 | 1199423.708
12 | 2720198.9105 | 1199580.1581
13 | 2720205.7997 | 1199614.0104
14 | 2720163.899 | 1199635.417
15 | 2720287.9981 | 1199649.8494
16 | 2720330.7493 | 1199652.7918
17 | 2720282.3544 | 1199647.8198
18 | 2720343.5772 | 1199647.2295
19 | 2720265.5833 | 1199641.789
20 | 2720291.9286 | 1199663.2905
21 | 2720357.0901 | 1199656.8551
22 | 2720344.2613 | 1199634.6412
23 | 2720242.4236 | 1199633.1065
24 | 2720284.3267 | 1199680.9201
25 | 2720363.8871 | 1199664.351
26 | 2720241.7235 | 1199632.844
27 | 2720315.1174 | 1199820.6843
28 | 2720384.4292 | 1199651.4272
29 | 2720374.6285 | 1199676.1892
30 | 2720377.3169 | 1199679.1521
31 | 2720391.51 | 1199696.5088
32 | 2720398.9342 | 1199657.6631
33 | 2720586.2707 | 1199815.8373
34 | 2720614.4015 | 1199717.6625
35 | 2720637.8487 | 1199786.7978
36 | 2720663.4722 | 1199808.1291
37 | 2720486.5524 | 1200030.548
38 | 2720317.2594 | 1200158.9323
39 | 2720144.7137 | 1200153.1643
40 | 2720206.6449 | 1199615.1413
41 | 2720071.4829 | 1199871.7017
42 | 2720014.8276 | 1199801.4663
43 | 2720072.1639 | 1199872.1254
44 | 2720044.5384 | 1199938.104
45 | 2720057.7562 | 1199686.7774
46 | 2720167.3776 | 1199761.9467
47 | 2720184.0529 | 1199745.481
48 | 2720090.8264 | 1200011.3251
49 | 2720115.47 | 1199644.7838
50 | 2720123.282 | 1200022.4188
51 | 2720158.6924 | 1199683.2313
52 | 2720175.3051 | 1199700.0667
53 | 2720175.7129 | 1199700.356
54 | 2720188.2022 | 1199709.2155
55 | 2720167.7702 | 1199643.6342
56 | 2720175.416 | 1199635.5923
57 | 2720221.5291 | 1199653.6621
58 | 2720194.6016 | 1199700.7935
59 | 2720198.6083 | 1199717.6562
60 | 2720137.9592 | 1199728.1485
61 | 2720185.2733 | 1199740.4685
62 | 2720217.2584 | 1199734.8965
63 | 2720224.6052 | 1199755.4594
64 | 2720208.9411 | 1199772.0121
65 | 2720229.3573 | 1199789.0571
66 | 2720230.3809 | 1199752.6736

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.97809 | -0.15375 | 0.0037427 | 0.00093801
1 | 0.97796 | -0.15474 | 0.0044485 | 0.0011149
2 | 0.97826 | -0.15258 | 0 | 0
3 | 0.97755 | -0.15766 | 0 | 0
4 | 0.98095 | -0.13336 | 0.0023163 | 0.00058051
5 | 0.97709 | -0.16094 | 0.0020508 | 0.00051397
6 | 0.98401 | -0.11166 | 0 | 0
7 | 0.97694 | -0.16204 | 0 | 0
8 | 0.98466 | -0.10706 | 0.0027532 | 0.00069
9 | 0.97665 | -0.16409 | 0.0093165 | 0.0023349
10 | 0.97691 | -0.16223 | 0 | 0
11 | 0.97677 | -0.16322 | 0.0014568 | 0.00036511
12 | 0.98511 | -0.10383 | 0 | 0
13 | 0.98396 | -0.11197 | 0 | 0
14 | 0.98901 | -0.07642 | 0 | 0
15 | 0.97882 | -0.14853 | 0.0037886 | 0.00094952
16 | 0.97652 | -0.16493 | 0.0043817 | 0.0010982
17 | 0.97915 | -0.14615 | 0 | 0
18 | 0.9759 | -0.16941 | 0 | 0
19 | 0.98021 | -0.13857 | 0 | 0
20 | 0.97908 | -0.14668 | 0.0028249 | 0.000708
21 | 0.97526 | -0.174 | 0.0028321 | 0.00070978
22 | 0.97581 | -0.17004 | 0.004386 | 0.0010992
23 | 0.98214 | -0.12487 | 0.0021862 | 0.00054792
24 | 0.97942 | -0.14422 | 0.0054876 | 0.0013753
25 | 0.97493 | -0.17642 | 0 | 0
26 | 0.9822 | -0.12444 | 0.0033713 | 0.00084493
27 | 0.97795 | -0.15478 | 0.006931 | 0.0017371
28 | 0.97451 | -0.1794 | 0.0028684 | 0.00071889
29 | 0.97467 | -0.17827 | 0.0019791 | 0.000496
30 | 0.97461 | -0.17866 | 0.004361 | 0.001093
31 | 0.97446 | -0.17977 | 0.0047136 | 0.0011814
32 | 0.97423 | -0.18142 | 0.0060392 | 0.0015136
33 | 0.97314 | -0.18932 | 0.0011997 | 0.00030067
34 | 0.97333 | -0.18799 | 0 | 0
35 | 0.97315 | -0.18924 | 0 | 0
36 | 0.97308 | -0.1898 | 0.0015613 | 0.00039131
37 | 0.97892 | -0.14855 | 0.0020719 | 0.00051927
38 | 0.97956 | -0.14395 | 0.0041 | 0.0010276
39 | 0.98111 | -0.13283 | 0.0015841 | 0.00039701
40 | 0.98392 | -0.11227 | 0.0025399 | 0.00063657
41 | 0.98583 | -0.099151 | 0.0025631 | 0.00064238
42 | 0.9867 | -0.092954 | 0 | 0
43 | 0.98582 | -0.099184 | 0.0040004 | 0.0010026
44 | 0.9844 | -0.10935 | 0.0014851 | 0.00037221
45 | 0.98987 | -0.07049 | 0 | 0
46 | 0.99354 | -0.045241 | 0.021315 | 0.005342
47 | 0.99426 | -0.040201 | 0 | 0
48 | 0.98313 | -0.11842 | 0 | 0
49 | 0.99198 | -0.055587 | 0 | 0
50 | 0.98302 | -0.11916 | 0.0020548 | 0.00051498
51 | 0.9952 | -0.033203 | 0.0027919 | 0.00069972
52 | 0.99655 | -0.023859 | 0.002915 | 0.00073057
53 | 0.99658 | -0.023658 | 0.0043012 | 0.001078
54 | 0.9975 | -0.017282 | 0 | 0
55 | 0.98895 | -0.076788 | 0.0039762 | 0.00099653
56 | 0.98897 | -0.0767 | 0.0021898 | 0.00054881
57 | 0.9838 | -0.11309 | 0.0025444 | 0.0006377
58 | 0.99745 | -0.017598 | 0.0029861 | 0.0007484
59 | 0.99832 | -0.011578 | 0.0091562 | 0.0022948
60 | 0.9943 | -0.039905 | 0.0029221 | 0.00073236
61 | 0.99451 | -0.038419 | 0 | 0
62 | 1 | 0 | -0.21882 | -0.054975
63 | 0.99677 | -0.022552 | 0 | 0
64 | 0.99541 | -0.032117 | 0.041776 | 0.01047
65 | 0.9931 | -0.048397 | 0.012896 | 0.0032321
66 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | 0.0044491 | 0.0011149 | -0.0044485 | -0.0011149 | 6.0647e-07 | -3.2965e-08 | 0.0067685 | 0.0067686 | 0.0067686 | 0.97809 | -0.15375 | 0.97796 | -0.15474 | 2.5069
1 | -0.0081918 | -0.0020529 | 0.0081931 | 0.0020532 | 1.3316e-06 | 3.3968e-07 | 0.012462 | 0.012462 | 0.012462 | 0.97809 | -0.15375 | 0.97826 | -0.15258 | 4.6157
2 | 0.012843 | 0.0032193 | -0.012834 | -0.0032163 | 9.0277e-06 | 2.9966e-06 | 0.019536 | 0.019536 | 0.019536 | 0.97826 | -0.15258 | 0.97755 | -0.15766 | 7.2357
3 | -0.021037 | -0.0052725 | 0.021093 | 0.005293 | 5.6108e-05 | 2.0474e-05 | 0.031999 | 0.031998 | 0.031999 | 0.97826 | -0.15258 | 0.98095 | -0.13336 | 11.8513
4 | 0.012834 | 0.0032163 | -0.012829 | -0.0032144 | 5.8257e-06 | 1.9342e-06 | 0.019536 | 0.019536 | 0.019536 | 0.97755 | -0.15766 | 0.97709 | -0.16094 | 7.2357
5 | -0.023409 | -0.0058735 | 0.02348 | 0.0058996 | 7.071e-05 | 2.6058e-05 | 0.035512 | 0.035511 | 0.035512 | 0.98095 | -0.13336 | 0.98401 | -0.11166 | 13.1525
6 | 0.010778 | 0.0027004 | -0.010776 | -0.0026999 | 1.6444e-06 | 5.0997e-07 | 0.016413 | 0.016413 | 0.016413 | 0.97709 | -0.16094 | 0.97694 | -0.16204 | 6.079
7 | -0.02348 | -0.0058996 | 0.023495 | 0.0059051 | 1.5023e-05 | 5.5354e-06 | 0.035511 | 0.035511 | 0.035511 | 0.98401 | -0.11166 | 0.98466 | -0.10706 | 13.1524
8 | 0.0093191 | 0.0023357 | -0.0093165 | -0.0023349 | 2.6482e-06 | 7.5487e-07 | 0.014194 | 0.014195 | 0.014195 | 0.97694 | -0.16204 | 0.97665 | -0.16409 | 5.2572
9 | 0.001457 | 0.00036423 | -0.001457 | -0.00036436 | 3.6943e-08 | -1.3634e-07 | 0.0022189 | 0.002219 | 0.002219 | 0.97694 | -0.16204 | 0.97691 | -0.16223 | 0.82185
10 | -0.026248 | -0.0065951 | 0.02626 | 0.0065995 | 1.1824e-05 | 4.3944e-06 | 0.039672 | 0.039672 | 0.039672 | 0.98466 | -0.10706 | 0.98511 | -0.10383 | 14.6933
11 | 0.001457 | 0.00036436 | -0.0014568 | -0.00036511 | 2.0113e-07 | -7.4201e-07 | 0.002219 | 0.0022193 | 0.0022193 | 0.97691 | -0.16223 | 0.97677 | -0.16322 | 0.82196
12 | 0.06449 | 0.016215 | -0.064417 | -0.016188 | 7.3069e-05 | 2.6692e-05 | 0.09743 | 0.097431 | 0.097431 | 0.98511 | -0.10383 | 0.98396 | -0.11197 | 12.0285
13 | -0.090749 | -0.022814 | 0.091097 | 0.022944 | 0.00034775 | 0.00013034 | 0.1371 | 0.1371 | 0.1371 | 0.98511 | -0.10383 | 0.98901 | -0.07642 | 16.9262
14 | 0.0025448 | 0.00063731 | -0.0025444 | -0.0006377 | 3.9468e-07 | -3.9057e-07 | 0.0038483 | 0.0038485 | 0.0038485 | 0.98396 | -0.11197 | 0.9838 | -0.11309 | 1.4254
15 | 0.061872 | 0.015551 | -0.061869 | -0.01555 | 2.5718e-06 | 9.3534e-07 | 0.093583 | 0.093583 | 0.093583 | 0.98396 | -0.11197 | 0.98392 | -0.11227 | 11.5534
16 | 0.0039764 | 0.00099649 | -0.0039762 | -0.00099653 | 2.028e-07 | -3.8513e-08 | 0.0059827 | 0.0059827 | 0.0059827 | 0.98901 | -0.07642 | 0.98895 | -0.076788 | 2.2158
17 | 0.0021899 | 0.00054868 | -0.0021898 | -0.00054881 | 8.4888e-08 | -1.2816e-07 | 0.0032947 | 0.0032948 | 0.0032948 | 0.98901 | -0.07642 | 0.98897 | -0.0767 | 1.2203
18 | -0.097263 | -0.02449 | 0.097547 | 0.024596 | 0.00028395 | 0.00010675 | 0.14638 | 0.14638 | 0.14638 | 0.98901 | -0.07642 | 0.99198 | -0.055587 | 18.0714
19 | 0.034458 | 0.0086462 | -0.034379 | -0.0086167 | 7.8232e-05 | 2.9516e-05 | 0.052387 | 0.052387 | 0.052387 | 0.97882 | -0.14853 | 0.97652 | -0.16493 | 19.4026
20 | -0.038246 | -0.0095957 | 0.038259 | 0.0096005 | 1.2653e-05 | 4.7912e-06 | 0.058146 | 0.058146 | 0.058146 | 0.97882 | -0.14853 | 0.97915 | -0.14615 | 21.5357
21 | 0.029998 | 0.0075185 | -0.029979 | -0.0075116 | 1.8615e-05 | 6.9812e-06 | 0.04571 | 0.04571 | 0.04571 | 0.97652 | -0.16493 | 0.9759 | -0.16941 | 16.9297
22 | -0.041084 | -0.010308 | 0.041127 | 0.010325 | 4.3245e-05 | 1.6409e-05 | 0.06244 | 0.06244 | 0.06244 | 0.97915 | -0.14615 | 0.98021 | -0.13857 | 23.1258
23 | 0.0028252 | 0.00070785 | -0.0028249 | -0.000708 | 2.0912e-07 | -1.4823e-07 | 0.0042933 | 0.0042934 | 0.0042934 | 0.97915 | -0.14615 | 0.97908 | -0.14668 | 1.5901
24 | 0.025593 | 0.0064123 | -0.025576 | -0.0064063 | 1.6221e-05 | 6.0258e-06 | 0.039022 | 0.039022 | 0.039022 | 0.9759 | -0.16941 | 0.97526 | -0.174 | 14.4527
25 | 0.0043864 | 0.0010992 | -0.004386 | -0.0010992 | 3.7729e-07 | -2.3762e-08 | 0.0066881 | 0.0066882 | 0.0066882 | 0.9759 | -0.16941 | 0.97581 | -0.17004 | 2.4771
26 | -0.053566 | -0.013442 | 0.053668 | 0.013481 | 0.00010207 | 3.8945e-05 | 0.081322 | 0.081322 | 0.081322 | 0.98021 | -0.13857 | 0.98214 | -0.12487 | 30.1193
27 | 0.012439 | 0.0031177 | -0.012429 | -0.0031145 | 9.7178e-06 | 3.1875e-06 | 0.018882 | 0.018883 | 0.018883 | 0.98021 | -0.13857 | 0.97942 | -0.14422 | 6.9936
28 | 0.022744 | 0.0056965 | -0.022737 | -0.0056937 | 7.6033e-06 | 2.7981e-06 | 0.034701 | 0.034701 | 0.034701 | 0.97526 | -0.174 | 0.97493 | -0.17642 | 12.8523
29 | -0.055854 | -0.014029 | 0.055857 | 0.014031 | 3.3418e-06 | 1.2758e-06 | 0.084634 | 0.084634 | 0.084634 | 0.98214 | -0.12487 | 0.9822 | -0.12444 | 31.346
30 | 0.0069412 | 0.0017391 | -0.006931 | -0.0017371 | 1.0141e-05 | 2.0642e-06 | 0.010545 | 0.010546 | 0.010546 | 0.97942 | -0.14422 | 0.97795 | -0.15478 | 3.906
31 | 0.011679 | 0.0029224 | -0.011674 | -0.0029208 | 4.8111e-06 | 1.5479e-06 | 0.017824 | 0.017824 | 0.017824 | 0.97493 | -0.17642 | 0.97451 | -0.1794 | 6.6014
32 | 0.011058 | 0.0027714 | -0.011055 | -0.0027705 | 2.8412e-06 | 8.9351e-07 | 0.016877 | 0.016877 | 0.016877 | 0.97493 | -0.17642 | 0.97467 | -0.17827 | 6.2509
33 | -0.059229 | -0.014876 | 0.059329 | 0.014913 | 0.0001004 | 3.7602e-05 | 0.089742 | 0.089741 | 0.089742 | 0.9822 | -0.12444 | 0.98392 | -0.11227 | 16.6188
34 | 0.0088058 | 0.0022019 | -0.0088033 | -0.0022013 | 2.4423e-06 | 6.6964e-07 | 0.013444 | 0.013444 | 0.013444 | 0.97451 | -0.1794 | 0.97423 | -0.18142 | 4.9793
35 | 0.0090759 | 0.0022745 | -0.0090754 | -0.0022743 | 4.793e-07 | 1.3449e-07 | 0.013856 | 0.013856 | 0.013856 | 0.97467 | -0.17827 | 0.97461 | -0.17866 | 5.1319
36 | 0.0047144 | 0.0011814 | -0.0047136 | -0.0011814 | 7.2525e-07 | -5.7789e-10 | 0.0071977 | 0.0071978 | 0.0071978 | 0.97461 | -0.17866 | 0.97446 | -0.17977 | 2.6659
37 | 0.0027641 | 0.00068772 | -0.0027617 | -0.00068955 | 2.4861e-06 | -1.8263e-06 | 0.0042201 | 0.0042211 | 0.0042211 | 0.97423 | -0.18142 | 0.97333 | -0.18799 | 1.5634
38 | -0.0011997 | -0.00030067 | 0.0011999 | 0.00029945 | 2.2083e-07 | -1.2222e-06 | 0.0018344 | 0.001834 | 0.0018344 | 0.97314 | -0.18932 | 0.97333 | -0.18799 | 0.67942
39 | 0.0015617 | 0.0003901 | -0.0015615 | -0.00039094 | 2.702e-07 | -8.4026e-07 | 0.0023871 | 0.0023874 | 0.0023874 | 0.97333 | -0.18799 | 0.97315 | -0.18924 | 0.88423
40 | 0.0015615 | 0.00039094 | -0.0015613 | -0.00039131 | 1.2002e-07 | -3.7305e-07 | 0.0023874 | 0.0023876 | 0.0023876 | 0.97315 | -0.18924 | 0.97308 | -0.1898 | 0.88429
41 | -0.0020719 | -0.00051927 | 0.0020732 | 0.00051711 | 1.3147e-06 | -2.1673e-06 | 0.0031494 | 0.0031485 | 0.0031494 | 0.97892 | -0.14855 | 0.97956 | -0.14395 | 1.1665
42 | -0.0061733 | -0.0015447 | 0.0061828 | 0.0015461 | 9.471e-06 | 1.466e-06 | 0.0093767 | 0.009376 | 0.0093767 | 0.97956 | -0.14395 | 0.98111 | -0.13283 | 3.4729
43 | -0.0077669 | -0.0019432 | 0.0077823 | 0.0019468 | 1.5455e-05 | 3.6849e-06 | 0.011778 | 0.011778 | 0.011778 | 0.98111 | -0.13283 | 0.98313 | -0.11842 | 4.3624
44 | -0.0065635 | -0.001645 | 0.0065691 | 0.001646 | 5.6322e-06 | 9.9263e-07 | 0.009907 | 0.0099066 | 0.009907 | 0.98583 | -0.099151 | 0.9867 | -0.092954 | 3.6693
45 | 0.0040004 | 0.0010026 | -0.0040004 | -0.0010026 | 1.8248e-08 | -3.208e-09 | 0.0060382 | 0.0060382 | 0.0060382 | 0.98583 | -0.099151 | 0.98582 | -0.099184 | 2.2364
46 | 0.01136 | 0.0028454 | -0.011335 | -0.0028373 | 2.5704e-05 | 8.0977e-06 | 0.017132 | 0.017132 | 0.017132 | 0.9867 | -0.092954 | 0.9844 | -0.10935 | 6.3453
47 | -0.01793 | -0.0044913 | 0.017985 | 0.0045112 | 5.5864e-05 | 1.9917e-05 | 0.027038 | 0.027038 | 0.027038 | 0.9867 | -0.092954 | 0.98987 | -0.07049 | 10.0142
48 | 0.0098496 | 0.0024651 | -0.0098373 | -0.0024615 | 1.2327e-05 | 3.6094e-06 | 0.014887 | 0.014888 | 0.014888 | 0.9844 | -0.10935 | 0.98313 | -0.11842 | 5.514
49 | -0.017985 | -0.0045112 | 0.018023 | 0.0045245 | 3.7236e-05 | 1.327e-05 | 0.027038 | 0.027037 | 0.027038 | 0.98987 | -0.07049 | 0.99198 | -0.055587 | 10.014
50 | -0.021315 | -0.005342 | 0.02133 | 0.0053474 | 1.4882e-05 | 5.4207e-06 | 0.031923 | 0.031923 | 0.031923 | 0.99354 | -0.045241 | 0.99426 | -0.040201 | 11.8232
51 | -0.03424 | -0.0085843 | 0.034249 | 0.0085875 | 8.4539e-06 | 3.1846e-06 | 0.051245 | 0.051245 | 0.051245 | 0.99426 | -0.040201 | 0.99451 | -0.038419 | 18.9798
52 | 0.012911 | 0.0032369 | -0.012896 | -0.0032321 | 1.4645e-05 | 4.8186e-06 | 0.019323 | 0.019323 | 0.019323 | 0.99426 | -0.040201 | 0.9931 | -0.048397 | 7.1567
53 | 0.002055 | 0.00051462 | -0.0020548 | -0.00051498 | 2.1111e-07 | -3.6221e-07 | 0.0031102 | 0.0031104 | 0.0031104 | 0.98313 | -0.11842 | 0.98302 | -0.11916 | 1.152
54 | -0.11557 | -0.029121 | 0.11593 | 0.029258 | 0.00036316 | 0.00013742 | 0.17341 | 0.17341 | 0.17341 | 0.99198 | -0.055587 | 0.9952 | -0.033203 | 21.4092
55 | -0.11872 | -0.029958 | 0.11888 | 0.030017 | 0.00015589 | 5.903e-05 | 0.17759 | 0.17759 | 0.17759 | 0.9952 | -0.033203 | 0.99655 | -0.023859 | 21.9245
56 | -0.1218 | -0.030748 | 0.1218 | 0.030749 | 3.4424e-06 | 1.3045e-06 | 0.18194 | 0.18194 | 0.18194 | 0.99655 | -0.023859 | 0.99658 | -0.023658 | 22.4618
57 | -0.1261 | -0.031827 | 0.12621 | 0.03187 | 0.00011301 | 4.2865e-05 | 0.18836 | 0.18836 | 0.18836 | 0.99658 | -0.023658 | 0.9975 | -0.017282 | 23.2547
58 | 0.0029863 | 0.00074831 | -0.0029861 | -0.0007484 | 1.3098e-07 | -8.7691e-08 | 0.0044547 | 0.0044548 | 0.0044548 | 0.9975 | -0.017282 | 0.99745 | -0.017598 | 1.6499
59 | -0.1292 | -0.032618 | 0.1293 | 0.032657 | 0.00010362 | 3.9327e-05 | 0.19282 | 0.19282 | 0.19282 | 0.9975 | -0.017282 | 0.99832 | -0.011578 | 23.8046
60 | -0.13846 | -0.034952 | 0.13869 | 0.035038 | 0.00022553 | 8.5742e-05 | 0.20646 | 0.20646 | 0.20646 | 0.99832 | -0.011578 | 1 | 0 | 25.4895
61 | -0.0029221 | -0.00073236 | 0.0029227 | 0.00073194 | 6.0065e-07 | -4.2198e-07 | 0.0043731 | 0.0043729 | 0.0043731 | 0.9943 | -0.039905 | 0.99451 | -0.038419 | 1.6197
62 | -0.037172 | -0.0093194 | 0.037253 | 0.0093503 | 8.1892e-05 | 3.0945e-05 | 0.055618 | 0.055618 | 0.055618 | 0.99451 | -0.038419 | 0.99677 | -0.022552 | 20.5994
63 | 0.079333 | 0.019936 | -0.079085 | -0.019841 | 0.00024822 | 9.5095e-05 | 0.11807 | 0.11807 | 0.11807 | 1 | 0 | 0.99677 | -0.022552 | 43.7288
64 | 0.041831 | 0.010491 | -0.041776 | -0.01047 | 5.5396e-05 | 2.101e-05 | 0.06245 | 0.06245 | 0.06245 | 0.99677 | -0.022552 | 0.99541 | -0.032117 | 23.1296

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.21882 | 0.054975

## res_load
| p_mw | q_mvar
0 | 0.0037427 | 0.00093801
1 | 0.0044485 | 0.0011149
2 | 0.0023163 | 0.00058051
3 | 0.0020508 | 0.00051397
4 | 0.0027532 | 0.00069
5 | 0.0093165 | 0.0023349
6 | 0.0014568 | 0.00036511
7 | 0.0037886 | 0.00094952
8 | 0.0043817 | 0.0010982
9 | 0.0028249 | 0.000708
10 | 0.0028321 | 0.00070978
11 | 0.004386 | 0.0010992
12 | 0.0021862 | 0.00054792
13 | 0.0054876 | 0.0013753
14 | 0.0033713 | 0.00084493
15 | 0.006931 | 0.0017371
16 | 0.0028684 | 0.00071889
17 | 0.0019791 | 0.000496
18 | 0.004361 | 0.001093
19 | 0.0047136 | 0.0011814
20 | 0.0060392 | 0.0015136
21 | 0.0011997 | 0.00030067
22 | 0.0015613 | 0.00039131
23 | 0.0020719 | 0.00051927
24 | 0.0041 | 0.0010276
25 | 0.0015841 | 0.00039701
26 | 0.0025399 | 0.00063657
27 | 0.0025631 | 0.00064238
28 | 0.0040004 | 0.0010026
29 | 0.0014851 | 0.00037221
30 | 0.021315 | 0.005342
31 | 0.0020548 | 0.00051498
32 | 0.0027919 | 0.00069972
33 | 0.002915 | 0.00073057
34 | 0.0043012 | 0.001078
35 | 0.0039762 | 0.00099653
36 | 0.0021898 | 0.00054881
37 | 0.0025444 | 0.0006377
38 | 0.0029861 | 0.0007484
39 | 0.0091562 | 0.0022948
40 | 0.0029221 | 0.00073236
41 | 0.041776 | 0.01047
42 | 0.012896 | 0.0032321

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1