## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-106_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-106_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-106_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-106_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1631-106_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1631-106_0_3_node_56 | 0.4 | n |  | TRUE
6 | bus_LV_1631-106_0_3_node_57 | 0.4 | n |  | TRUE
7 | bus_LV_1631-106_0_3_node_51 | 0.4 | n |  | TRUE
8 | bus_LV_1631-106_0_3_node_5 | 0.4 | n |  | TRUE
9 | bus_LV_1631-106_0_3_node_6 | 0.4 | n |  | TRUE
10 | bus_LV_1631-106_0_3_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1631-106_0_3_node_8 | 0.4 | n |  | TRUE
12 | bus_LV_1631-106_0_3_node_9 | 0.4 | n |  | TRUE
13 | bus_LV_1631-106_0_3_node_10 | 0.4 | n |  | TRUE
14 | bus_LV_1631-106_0_3_node_11 | 0.4 | n |  | TRUE
15 | bus_LV_1631-106_0_3_node_12 | 0.4 | n |  | TRUE
16 | bus_LV_1631-106_0_3_node_13 | 0.4 | n |  | TRUE
17 | bus_LV_1631-106_0_3_node_14 | 0.4 | n |  | TRUE
18 | bus_LV_1631-106_0_3_node_15 | 0.4 | n |  | TRUE
19 | bus_LV_1631-106_0_3_node_17 | 0.4 | n |  | TRUE
20 | bus_LV_1631-106_0_3_node_18 | 0.4 | n |  | TRUE
21 | bus_LV_1631-106_0_3_node_19 | 0.4 | n |  | TRUE
22 | bus_LV_1631-106_0_3_node_20 | 0.4 | n |  | TRUE
23 | bus_LV_1631-106_0_3_node_21 | 0.4 | n |  | TRUE
24 | bus_LV_1631-106_0_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1631-106_0_3_node_52 | 0.4 | n |  | TRUE
26 | bus_LV_1631-106_0_3_node_23 | 0.4 | n |  | TRUE
27 | bus_LV_1631-106_0_3_node_37 | 0.4 | n |  | TRUE
28 | bus_LV_1631-106_0_3_node_24 | 0.4 | n |  | TRUE
29 | bus_LV_1631-106_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1631-106_0_3_node_30 | 0.4 | n |  | TRUE
31 | bus_LV_1631-106_0_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_1631-106_0_3_node_27 | 0.4 | n |  | TRUE
33 | bus_LV_1631-106_0_3_node_26 | 0.4 | n |  | TRUE
34 | bus_LV_1631-106_0_3_node_28 | 0.4 | n |  | TRUE
35 | bus_LV_1631-106_0_3_node_31 | 0.4 | n |  | TRUE
36 | bus_LV_1631-106_0_3_node_32 | 0.4 | n |  | TRUE
37 | bus_LV_1631-106_0_3_node_33 | 0.4 | n |  | TRUE
38 | bus_LV_1631-106_0_3_node_34 | 0.4 | n |  | TRUE
39 | bus_LV_1631-106_0_3_node_35 | 0.4 | n |  | TRUE
40 | bus_LV_1631-106_0_3_node_36 | 0.4 | n |  | TRUE
41 | bus_LV_1631-106_0_3_node_38 | 0.4 | n |  | TRUE
42 | bus_LV_1631-106_0_3_node_44 | 0.4 | n |  | TRUE
43 | bus_LV_1631-106_0_3_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_1631-106_0_3_node_53 | 0.4 | n |  | TRUE
45 | bus_LV_1631-106_0_3_node_42 | 0.4 | n |  | TRUE
46 | bus_LV_1631-106_0_3_node_40 | 0.4 | n |  | TRUE
47 | bus_LV_1631-106_0_3_node_41 | 0.4 | n |  | TRUE
48 | bus_LV_1631-106_0_3_node_43 | 0.4 | n |  | TRUE
49 | bus_LV_1631-106_0_3_node_45 | 0.4 | n |  | TRUE
50 | bus_LV_1631-106_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_1631-106_0_3_node_49 | 0.4 | n |  | TRUE
52 | bus_LV_1631-106_0_3_node_47 | 0.4 | n |  | TRUE
53 | bus_LV_1631-106_0_3_node_48 | 0.4 | n |  | TRUE
54 | bus_LV_1631-106_0_3_node_50 | 0.4 | n |  | TRUE
55 | bus_LV_1631-106_0_3_node_54 | 0.4 | n |  | TRUE
56 | bus_LV_1631-106_0_3_node_55 | 0.4 | n |  | TRUE
57 | bus_MV_13_0_node_19 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-106_0_3_load_0 | 0 | 0.019424 | 0.0048682 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-106_0_3_load_2 | 2 | 0.0015662 | 0.00039254 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-106_0_3_load_4 | 4 | 0.0012154 | 0.00030461 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-106_0_3_load_57 | 6 | 0.001716 | 0.00043008 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-106_0_3_load_5 | 8 | 0.0012592 | 0.00031558 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-106_0_3_load_8 | 11 | 0.00092309 | 0.00023135 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-106_0_3_load_9 | 12 | 0.0019605 | 0.00049135 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-106_0_3_load_11 | 14 | 0.0070083 | 0.0017565 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-106_0_3_load_12 | 15 | 0.0016017 | 0.00040143 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-106_0_3_load_13 | 16 | 0.0024642 | 0.00061758 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-106_0_3_load_15 | 18 | 0.0032334 | 0.00081036 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-106_0_3_load_17 | 19 | 0.0018849 | 0.00047239 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-106_0_3_load_19 | 21 | 0.0010064 | 0.00025222 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-106_0_3_load_20 | 22 | 0.0087382 | 0.00219 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-106_0_3_load_21 | 23 | 0.0082884 | 0.0020773 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-106_0_3_load_22 | 24 | 0.00096115 | 0.00024089 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-106_0_3_load_52 | 25 | 0.0047571 | 0.0011923 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-106_0_3_load_37 | 27 | 0.0061615 | 0.0015442 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-106_0_3_load_24 | 28 | 0.0016798 | 0.000421 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-106_0_3_load_25 | 29 | 0.00093145 | 0.00023344 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-106_0_3_load_30 | 30 | 0.010609 | 0.002659 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-106_0_3_load_29 | 31 | 0.0013512 | 0.00033865 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-106_0_3_load_27 | 32 | 0.001247 | 0.00031253 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-106_0_3_load_26 | 33 | 0.0014951 | 0.00037471 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-106_0_3_load_28 | 34 | 0.0013396 | 0.00033572 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-106_0_3_load_31 | 35 | 0.012409 | 0.0031099 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-106_0_3_load_33 | 37 | 0.0082902 | 0.0020777 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-106_0_3_load_36 | 40 | 0.0075434 | 0.0018906 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-106_0_3_load_38 | 41 | 0.012431 | 0.0031156 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-106_0_3_load_44 | 42 | 0.0072118 | 0.0018074 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1631-106_0_3_load_39 | 43 | 0.033378 | 0.0083653 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1631-106_0_3_load_53 | 44 | 0.0078073 | 0.0019567 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1631-106_0_3_load_40 | 46 | 0.0048526 | 0.0012162 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1631-106_0_3_load_41 | 47 | 0.0014782 | 0.00037047 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1631-106_0_3_load_43 | 48 | 0.0014787 | 0.0003706 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1631-106_0_3_load_45 | 49 | 0.0047832 | 0.0011988 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1631-106_0_3_load_47 | 52 | 0.00243 | 0.00060902 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1631-106_0_3_load_48 | 53 | 0.0019649 | 0.00049245 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1631-106_0_3_load_50 | 54 | 0.0014481 | 0.00036294 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1631-106_0_3_load_54 | 55 | 0.0036036 | 0.00090314 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1631-106_0_3_load_55 | 56 | 0.0014067 | 0.00035254 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 40 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-106_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.032208 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-106_0_3_line_1 | NAYY 4x150 SE | 1 | 2 | 0.024773 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-106_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.005782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-106_0_3_line_3 | NAYY 4x150 SE | 3 | 4 | 0.036546 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-106_0_3_line_4 | NAYY 4x150 SE | 4 | 5 | 0.008902 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-106_0_3_line_5 | NAYY 4x150 SE | 5 | 6 | 0.038114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-106_0_3_line_6 | NAYY 4x150 SE | 5 | 7 | 0.014638 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-106_0_3_line_7 | NAYY 4x150 SE | 7 | 55 | 0.010017 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-106_0_3_line_8 | NAYY 4x150 SE | 7 | 54 | 0.0081559 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-106_0_3_line_9 | NAYY 4x150 SE | 8 | 9 | 0.007194 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-106_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.012494 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-106_0_3_line_11 | NAYY 4x150 SE | 9 | 11 | 0.0073652 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-106_0_3_line_12 | NAYY 4x150 SE | 10 | 12 | 0.0069867 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-106_0_3_line_13 | NAYY 4x150 SE | 12 | 13 | 0.024971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-106_0_3_line_14 | NAYY 4x150 SE | 13 | 14 | 0.019855 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-106_0_3_line_15 | NAYY 4x150 SE | 13 | 15 | 0.0014148 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-106_0_3_line_16 | NAYY 4x150 SE | 14 | 16 | 0.01102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-106_0_3_line_17 | NAYY 4x150 SE | 15 | 17 | 0.010742 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-106_0_3_line_18 | NAYY 4x150 SE | 16 | 18 | 0.011012 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-106_0_3_line_19 | NAYY 4x150 SE | 17 | 19 | 0.020699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-106_0_3_line_20 | NAYY 4x150 SE | 17 | 20 | 0.004037 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-106_0_3_line_21 | NAYY 4x150 SE | 19 | 21 | 0.014373 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-106_0_3_line_22 | NAYY 4x150 SE | 20 | 22 | 0.025391 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-106_0_3_line_23 | NAYY 4x150 SE | 20 | 23 | 0.0142 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-106_0_3_line_24 | NAYY 4x150 SE | 21 | 24 | 0.00013064 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-106_0_3_line_25 | NAYY 4x150 SE | 23 | 25 | 0.002797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-106_0_3_line_26 | NAYY 4x150 SE | 24 | 26 | 0.0056996 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-106_0_3_line_27 | NAYY 4x150 SE | 25 | 27 | 0.0055912 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-106_0_3_line_28 | NAYY 4x150 SE | 26 | 28 | 0.0052662 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-106_0_3_line_29 | NAYY 4x150 SE | 26 | 29 | 0.0056703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-106_0_3_line_30 | NAYY 4x150 SE | 27 | 38 | 0.012158 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-106_0_3_line_31 | NAYY 4x150 SE | 28 | 30 | 0.0043094 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-106_0_3_line_32 | NAYY 4x150 SE | 29 | 31 | 0.0033187 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-106_0_3_line_33 | NAYY 4x150 SE | 31 | 32 | 0.0041569 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-106_0_3_line_34 | NAYY 4x150 SE | 32 | 33 | 0.0095379 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-106_0_3_line_35 | NAYY 4x150 SE | 33 | 34 | 0.0091444 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-106_0_3_line_36 | NAYY 4x150 SE | 35 | 36 | 0.014178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
37 | LV_1631-106_0_3_line_37 | NAYY 4x150 SE | 35 | 37 | 0.0061412 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
38 | LV_1631-106_0_3_line_38 | NAYY 4x150 SE | 36 | 38 | 0.011043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-106_0_3_line_39 | NAYY 4x150 SE | 36 | 39 | 0.023798 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-106_0_3_line_40 | NAYY 4x150 SE | 37 | 40 | 0.0028685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
41 | LV_1631-106_0_3_line_41 | NAYY 4x150 SE | 38 | 41 | 0.0085177 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1631-106_0_3_line_42 | NAYY 4x150 SE | 39 | 42 | 0.0093107 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1631-106_0_3_line_43 | NAYY 4x150 SE | 40 | 43 | 0.0052961 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1631-106_0_3_line_44 | NAYY 4x150 SE | 41 | 44 | 0.0030374 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1631-106_0_3_line_45 | NAYY 4x150 SE | 42 | 45 | 0.0074375 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1631-106_0_3_line_46 | NAYY 4x150 SE | 45 | 49 | 0.0068632 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1631-106_0_3_line_47 | NAYY 4x150 SE | 45 | 46 | 0.0099108 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1631-106_0_3_line_48 | NAYY 4x150 SE | 46 | 47 | 0.010054 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1631-106_0_3_line_49 | NAYY 4x150 SE | 47 | 48 | 0.0029438 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1631-106_0_3_line_50 | NAYY 4x150 SE | 49 | 50 | 0.010508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1631-106_0_3_line_51 | NAYY 4x150 SE | 50 | 51 | 0.023685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1631-106_0_3_line_52 | NAYY 4x150 SE | 51 | 52 | 0.014034 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1631-106_0_3_line_53 | NAYY 4x150 SE | 52 | 53 | 0.014232 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1631-106_0_3_line_54 | NAYY 4x150 SE | 53 | 54 | 0.0042336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
55 | LV_1631-106_0_3_line_55 | NAYY 4x150 SE | 55 | 56 | 0.0039703 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-106_0_3_trafo_36 | 0.25 MVA 20/0.4 kV | 57 | 40 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3
0 | 2720198.9105 | 1199580.1581 | 2720188.9301 | 1199561.388 | 2720183.2906 | 1199552.0029
1 | 2720198.9105 | 1199580.1581 | 2720205.4117 | 1199573.495 | 2720218.5008 | 1199566.4642 | 2720219.0383 | 1199566.1836
2 | 2720198.9105 | 1199580.1581 | 2720195.3532 | 1199584.7232
3 | 2720195.3532 | 1199584.7232 | 2720188.5328 | 1199586.8098 | 2720165.4048 | 1199602.2117 | 2720164.0882 | 1199603.1658
4 | 2720156.8799 | 1199608.3893 | 2720164.0882 | 1199603.1658
5 | 2720156.8799 | 1199608.3893 | 2720129.2759 | 1199582.0262
6 | 2720156.8799 | 1199608.3893 | 2720147.2667 | 1199619.4487
7 | 2720147.2667 | 1199619.4487 | 2720154.4923 | 1199626.3858
8 | 2720147.2667 | 1199619.4487 | 2720140.888 | 1199624.5311
9 | 2720013.7786 | 1199518.9819 | 2720013.1649 | 1199511.8142
10 | 2720001.7168 | 1199521.5194 | 2720010.4794 | 1199518.671 | 2720013.7786 | 1199518.9819
11 | 2720013.7786 | 1199518.9819 | 2720015.5727 | 1199519.1514 | 2720019.9754 | 1199520.2629 | 2720020.7961 | 1199520.8724
12 | 2720001.7168 | 1199521.5194 | 2720003.8443 | 1199528.1743
13 | 2720011.4481 | 1199551.9594 | 2720003.8443 | 1199528.1743
14 | 2720011.4481 | 1199551.9594 | 2719993.5737 | 1199560.6044
15 | 2720011.4481 | 1199551.9594 | 2720011.953 | 1199553.281
16 | 2719993.5737 | 1199560.6044 | 2719984.7835 | 1199564.8558 | 2719983.5667 | 1199565.1643
17 | 2720015.9971 | 1199563.2257 | 2720014.7403 | 1199560.5763 | 2720011.953 | 1199553.281
18 | 2719973.1425 | 1199568.65 | 2719979.2564 | 1199566.257 | 2719983.5667 | 1199565.1643
19 | 2720015.9971 | 1199563.2257 | 2720025.5106 | 1199558.6356 | 2720032.9062 | 1199551.7044
20 | 2720017.7288 | 1199566.8742 | 2720015.9971 | 1199563.2257
21 | 2720032.9062 | 1199551.7044 | 2720035.0817 | 1199549.6656 | 2720040.408 | 1199545.3694 | 2720044.1968 | 1199542.8532
22 | 2720017.7288 | 1199566.8742 | 2720002.8946 | 1199578.5183 | 2720002.0252 | 1199580.847 | 2720003.6408 | 1199584.5933
23 | 2720017.7288 | 1199566.8742 | 2720021.5877 | 1199573.4455 | 2720025.7194 | 1199578.5655
24 | 2720044.3057 | 1199542.7809 | 2720044.1968 | 1199542.8532
25 | 2720025.7194 | 1199578.5655 | 2720027.7065 | 1199580.534
26 | 2720049.0536 | 1199539.6277 | 2720044.3057 | 1199542.7809
27 | 2720031.9205 | 1199584.1801 | 2720030.073 | 1199582.8783 | 2720027.7065 | 1199580.534
28 | 2720049.0536 | 1199539.6277 | 2720052.3257 | 1199543.7539
29 | 2720049.0536 | 1199539.6277 | 2720049.4899 | 1199533.9742
30 | 2720042.2183 | 1199590.5835 | 2720039.0422 | 1199589.0741 | 2720034.4587 | 1199585.9687 | 2720031.9205 | 1199584.1801
31 | 2720055.0034 | 1199547.1305 | 2720052.3257 | 1199543.7539
32 | 2720051.285 | 1199531.2997 | 2720051.285 | 1199531.2997 | 2720049.5376 | 1199533.355 | 2720049.4899 | 1199533.9742
33 | 2720051.285 | 1199531.2997 | 2720050.3649 | 1199527.2459
34 | 2720050.3649 | 1199527.2459 | 2720049.8297 | 1199524.888 | 2720050.2504 | 1199519.4925 | 2720050.4828 | 1199517.8002
35 | 2720049.9975 | 1199508.9574 | 2720051.2675 | 1199512.0852 | 2720050.4828 | 1199517.8002
36 | 2720052.2062 | 1199595.3542 | 2720058.6822 | 1199582.7417
37 | 2720064.8218 | 1199582.5995 | 2720058.6822 | 1199582.7417
38 | 2720052.2062 | 1199595.3542 | 2720042.2183 | 1199590.5835
39 | 2720052.2062 | 1199595.3542 | 2720063.3259 | 1199600.6593 | 2720073.4851 | 1199606.0006
40 | 2720067.6414 | 1199582.914 | 2720066.3934 | 1199582.5631 | 2720064.8218 | 1199582.5995
41 | 2720042.2183 | 1199590.5835 | 2720037.8653 | 1199597.9048
42 | 2720073.4851 | 1199606.0006 | 2720081.3753 | 1199610.9437
43 | 2720072.7399 | 1199584.3475 | 2720067.6414 | 1199582.914
44 | 2720036.3131 | 1199600.5156 | 2720037.8653 | 1199597.9048
45 | 2720087.678 | 1199614.8923 | 2720081.3753 | 1199610.9437
46 | 2720087.678 | 1199614.8923 | 2720092.8909 | 1199618.5108 | 2720093.2731 | 1199618.8598
47 | 2720087.678 | 1199614.8923 | 2720093.7037 | 1199607.0236
48 | 2720093.7037 | 1199607.0236 | 2720096.0471 | 1199603.9635 | 2720099.1654 | 1199598.6055
49 | 2720100.6462 | 1199596.0612 | 2720099.1654 | 1199598.6055
50 | 2720100.6471 | 1199626.3168 | 2720097.9092 | 1199623.0928 | 2720093.2731 | 1199618.8598
51 | 2720115.47 | 1199644.7838 | 2720109.1795 | 1199637.1851 | 2720102.7227 | 1199628.7714 | 2720100.6471 | 1199626.3168
52 | 2720115.47 | 1199644.7838 | 2720126.446 | 1199636.0382
53 | 2720126.446 | 1199636.0382 | 2720137.577 | 1199627.1693
54 | 2720137.577 | 1199627.1693 | 2720140.888 | 1199624.5311
55 | 2720154.4923 | 1199626.3858 | 2720157.3563 | 1199629.1355

## bus_geodata
| x | y | coords
0 | 2720183.2906 | 1199552.0029
1 | 2720198.9105 | 1199580.1581
2 | 2720219.0383 | 1199566.1836
3 | 2720195.3532 | 1199584.7232
4 | 2720164.0882 | 1199603.1658
5 | 2720156.8799 | 1199608.3893
6 | 2720129.2759 | 1199582.0262
7 | 2720147.2667 | 1199619.4487
8 | 2720013.1649 | 1199511.8142
9 | 2720013.7786 | 1199518.9819
10 | 2720001.7168 | 1199521.5194
11 | 2720020.7961 | 1199520.8724
12 | 2720003.8443 | 1199528.1743
13 | 2720011.4481 | 1199551.9594
14 | 2719993.5737 | 1199560.6044
15 | 2720011.953 | 1199553.281
16 | 2719983.5667 | 1199565.1643
17 | 2720015.9971 | 1199563.2257
18 | 2719973.1425 | 1199568.65
19 | 2720032.9062 | 1199551.7044
20 | 2720017.7288 | 1199566.8742
21 | 2720044.1968 | 1199542.8532
22 | 2720003.6408 | 1199584.5933
23 | 2720025.7194 | 1199578.5655
24 | 2720044.3057 | 1199542.7809
25 | 2720027.7065 | 1199580.534
26 | 2720049.0536 | 1199539.6277
27 | 2720031.9205 | 1199584.1801
28 | 2720052.3257 | 1199543.7539
29 | 2720049.4899 | 1199533.9742
30 | 2720055.0034 | 1199547.1305
31 | 2720051.285 | 1199531.2997
32 | 2720050.3649 | 1199527.2459
33 | 2720050.4828 | 1199517.8002
34 | 2720049.9975 | 1199508.9574
35 | 2720058.6822 | 1199582.7417
36 | 2720052.2062 | 1199595.3542
37 | 2720064.8218 | 1199582.5995
38 | 2720042.2183 | 1199590.5835
39 | 2720073.4851 | 1199606.0006
40 | 2720067.6414 | 1199582.914
41 | 2720037.8653 | 1199597.9048
42 | 2720081.3753 | 1199610.9437
43 | 2720072.7399 | 1199584.3475
44 | 2720036.3131 | 1199600.5156
45 | 2720087.678 | 1199614.8923
46 | 2720093.7037 | 1199607.0236
47 | 2720099.1654 | 1199598.6055
48 | 2720100.6462 | 1199596.0612
49 | 2720093.2731 | 1199618.8598
50 | 2720100.6471 | 1199626.3168
51 | 2720115.47 | 1199644.7838
52 | 2720126.446 | 1199636.0382
53 | 2720137.577 | 1199627.1693
54 | 2720140.888 | 1199624.5311
55 | 2720154.4923 | 1199626.3858
56 | 2720157.3563 | 1199629.1355
57 | 2720067.6414 | 1199582.914

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98743 | -0.088268 | 0.019424 | 0.0048682
1 | 0.98833 | -0.081869 | 0 | 0
2 | 0.98828 | -0.082266 | 0.0015662 | 0.00039254
3 | 0.98851 | -0.080629 | 0 | 0
4 | 0.98961 | -0.0728 | 0.0012154 | 0.00030461
5 | 0.9899 | -0.070785 | 0 | 0
6 | 0.98981 | -0.071452 | 0.001716 | 0.00043008
7 | 0.9904 | -0.067218 | 0 | 0
8 | 0.99237 | -0.053497 | 0.0012592 | 0.00031558
9 | 0.99238 | -0.053405 | 0 | 0
10 | 0.99242 | -0.053129 | 0 | 0
11 | 0.99237 | -0.053474 | 0.00092309 | 0.00023135
12 | 0.99244 | -0.052974 | 0.0019605 | 0.00049135
13 | 0.99259 | -0.051925 | 0 | 0
14 | 0.99223 | -0.054482 | 0.0070083 | 0.0017565
15 | 0.99262 | -0.051683 | 0.0016017 | 0.00040143
16 | 0.99214 | -0.055118 | 0.0024642 | 0.00061758
17 | 0.99291 | -0.049675 | 0 | 0
18 | 0.99208 | -0.055479 | 0.0032334 | 0.00081036
19 | 0.99224 | -0.054395 | 0.0018849 | 0.00047239
20 | 0.99314 | -0.048001 | 0 | 0
21 | 0.99181 | -0.057402 | 0.0010064 | 0.00025222
22 | 0.99283 | -0.050247 | 0.0087382 | 0.00219
23 | 0.99416 | -0.040865 | 0.0082884 | 0.0020773
24 | 0.99181 | -0.057428 | 0.00096115 | 0.00024089
25 | 0.99439 | -0.039227 | 0.0047571 | 0.0011923
26 | 0.99165 | -0.058507 | 0 | 0
27 | 0.99489 | -0.035686 | 0.0061615 | 0.0015442
28 | 0.99156 | -0.059164 | 0.0016798 | 0.000421
29 | 0.9916 | -0.058874 | 0.00093145 | 0.00023344
30 | 0.9915 | -0.059628 | 0.010609 | 0.002659
31 | 0.99158 | -0.059057 | 0.0013512 | 0.00033865
32 | 0.99155 | -0.059229 | 0.001247 | 0.00031253
33 | 0.99151 | -0.059504 | 0.0014951 | 0.00037471
34 | 0.9915 | -0.059628 | 0.0013396 | 0.00033572
35 | 0.99897 | -0.0071483 | 0.012409 | 0.0031099
36 | 0.99751 | -0.017357 | 0 | 0
37 | 0.99966 | -0.0023552 | 0.0082902 | 0.0020777
38 | 0.9961 | -0.027247 | 0 | 0
39 | 0.99564 | -0.030416 | 0 | 0
40 | 1 | 0 | -0.19968 | -0.049982
41 | 0.99585 | -0.028982 | 0.012431 | 0.0031156
42 | 0.99491 | -0.035539 | 0.0072118 | 0.0018074
43 | 0.99975 | -0.0017647 | 0.033378 | 0.0083653
44 | 0.99582 | -0.02922 | 0.0078073 | 0.0019567
45 | 0.9944 | -0.039095 | 0 | 0
46 | 0.99429 | -0.039876 | 0.0048526 | 0.0012162
47 | 0.99425 | -0.040177 | 0.0014782 | 0.00037047
48 | 0.99424 | -0.040221 | 0.0014787 | 0.0003706
49 | 0.99401 | -0.041838 | 0.0047832 | 0.0011988
50 | 0.99349 | -0.045533 | 0 | 0
51 | 0.9923 | -0.053877 | 0 | 0
52 | 0.99159 | -0.05883 | 0.00243 | 0.00060902
53 | 0.99093 | -0.063509 | 0.0019649 | 0.00049245
54 | 0.99074 | -0.064817 | 0.0014481 | 0.00036294
55 | 0.99033 | -0.067729 | 0.0036036 | 0.00090314
56 | 0.99032 | -0.067786 | 0.0014067 | 0.00035254
57 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.019424 | -0.0048682 | 0.019442 | 0.0048744 | 1.722e-05 | 6.2108e-06 | 0.029272 | 0.029272 | 0.029272 | 0.98743 | -0.088268 | 0.98833 | -0.081869 | 10.8414
1 | 0.0015663 | 0.00039225 | -0.0015662 | -0.00039254 | 8.5966e-08 | -2.8439e-07 | 0.0023581 | 0.0023582 | 0.0023582 | 0.98833 | -0.081869 | 0.98828 | -0.082266 | 0.87342
2 | -0.021008 | -0.0052667 | 0.021012 | 0.005268 | 3.6096e-06 | 1.3142e-06 | 0.03163 | 0.03163 | 0.03163 | 0.98833 | -0.081869 | 0.98851 | -0.080629 | 11.7147
3 | -0.021012 | -0.005268 | 0.021034 | 0.0052763 | 2.2814e-05 | 8.3057e-06 | 0.03163 | 0.03163 | 0.03163 | 0.98851 | -0.080629 | 0.98961 | -0.0728 | 11.7147
4 | -0.02225 | -0.0055809 | 0.022256 | 0.0055832 | 6.218e-06 | 2.2771e-06 | 0.033457 | 0.033457 | 0.033457 | 0.98961 | -0.0728 | 0.9899 | -0.070785 | 12.3915
5 | 0.0017162 | 0.00042965 | -0.001716 | -0.00043008 | 1.5828e-07 | -4.2906e-07 | 0.0025796 | 0.0025798 | 0.0025798 | 0.9899 | -0.070785 | 0.98981 | -0.071452 | 0.95548
6 | -0.023972 | -0.0060128 | 0.023984 | 0.0060172 | 1.1862e-05 | 4.374e-06 | 0.036037 | 0.036037 | 0.036037 | 0.9899 | -0.070785 | 0.9904 | -0.067218 | 13.3469
7 | 0.0050106 | 0.0012556 | -0.0050102 | -0.0012556 | 3.5422e-07 | 7.3466e-09 | 0.007528 | 0.0075281 | 0.0075281 | 0.9904 | -0.067218 | 0.99033 | -0.067729 | 2.7882
8 | -0.028995 | -0.0072729 | 0.029004 | 0.0072765 | 9.6588e-06 | 3.6099e-06 | 0.043565 | 0.043565 | 0.043565 | 0.9904 | -0.067218 | 0.99074 | -0.064817 | 16.1351
9 | -0.0012592 | -0.00031558 | 0.0012592 | 0.00031549 | 1.6003e-08 | -8.6791e-08 | 0.0018881 | 0.0018881 | 0.0018881 | 0.99237 | -0.053497 | 0.99238 | -0.053405 | 0.6993
10 | -0.0021823 | -0.00054675 | 0.0021824 | 0.00054662 | 8.3474e-08 | -1.2932e-07 | 0.0032722 | 0.0032721 | 0.0032722 | 0.99238 | -0.053405 | 0.99242 | -0.053129 | 1.2119
11 | 0.0009231 | 0.00023126 | -0.00092309 | -0.00023135 | 8.8047e-09 | -9.1771e-08 | 0.0013841 | 0.0013841 | 0.0013841 | 0.99238 | -0.053405 | 0.99237 | -0.053474 | 0.51264
12 | -0.0021824 | -0.00054662 | 0.0021824 | 0.00054655 | 4.6677e-08 | -7.2325e-08 | 0.0032721 | 0.0032721 | 0.0032721 | 0.99242 | -0.053129 | 0.99244 | -0.052974 | 1.2119
13 | -0.004143 | -0.0010379 | 0.0041436 | 0.0010378 | 6.012e-07 | -9.1484e-08 | 0.0062116 | 0.0062115 | 0.0062116 | 0.99244 | -0.052974 | 0.99259 | -0.051925 | 2.3006
14 | 0.012711 | 0.0031858 | -0.012707 | -0.0031844 | 4.4989e-06 | 1.4738e-06 | 0.019056 | 0.019056 | 0.019056 | 0.99259 | -0.051925 | 0.99223 | -0.054482 | 7.0577
15 | -0.016855 | -0.0042237 | 0.016855 | 0.0042239 | 5.6362e-07 | 1.9849e-07 | 0.025267 | 0.025267 | 0.025267 | 0.99259 | -0.051925 | 0.99262 | -0.051683 | 9.3582
16 | 0.0056982 | 0.0014279 | -0.0056977 | -0.0014279 | 5.0214e-07 | 5.0812e-08 | 0.0085454 | 0.0085455 | 0.0085455 | 0.99223 | -0.054482 | 0.99214 | -0.055118 | 3.165
17 | -0.018457 | -0.0046253 | 0.018462 | 0.0046271 | 5.1313e-06 | 1.8347e-06 | 0.027668 | 0.027668 | 0.027668 | 0.99262 | -0.051683 | 0.99291 | -0.049675 | 10.2475
18 | 0.0032336 | 0.00081028 | -0.0032334 | -0.00081036 | 1.6162e-07 | -8.004e-08 | 0.0048497 | 0.0048497 | 0.0048497 | 0.99214 | -0.055118 | 0.99208 | -0.055479 | 1.7962
19 | 0.022535 | 0.0056505 | -0.02252 | -0.0056451 | 1.4732e-05 | 5.3986e-06 | 0.033772 | 0.033773 | 0.033773 | 0.99291 | -0.049675 | 0.99224 | -0.054395 | 12.5083
20 | -0.040997 | -0.010278 | 0.041006 | 0.010281 | 9.5094e-06 | 3.6052e-06 | 0.061441 | 0.061441 | 0.061441 | 0.99291 | -0.049675 | 0.99314 | -0.048001 | 22.7558
21 | 0.020635 | 0.0051727 | -0.020626 | -0.0051696 | 8.5888e-06 | 3.1178e-06 | 0.030946 | 0.030946 | 0.030946 | 0.99224 | -0.054395 | 0.99181 | -0.057402 | 11.4615
22 | 0.008741 | 0.0021907 | -0.0087382 | -0.00219 | 2.7176e-06 | 7.1676e-07 | 0.013096 | 0.013097 | 0.013097 | 0.99314 | -0.048001 | 0.99283 | -0.050247 | 4.8506
23 | -0.049747 | -0.012472 | 0.049796 | 0.012491 | 4.9227e-05 | 1.875e-05 | 0.074537 | 0.074537 | 0.074537 | 0.99314 | -0.048001 | 0.99416 | -0.040865 | 27.6063
24 | 0.01962 | 0.0049174 | -0.01962 | -0.0049173 | 7.0637e-08 | 2.5482e-08 | 0.029436 | 0.029436 | 0.029436 | 0.99181 | -0.057402 | 0.99181 | -0.057428 | 10.9023
25 | -0.058085 | -0.014568 | 0.058098 | 0.014573 | 1.3193e-05 | 5.038e-06 | 0.086943 | 0.086943 | 0.086943 | 0.99416 | -0.040865 | 0.99439 | -0.039227 | 32.201
26 | 0.018659 | 0.0046765 | -0.018656 | -0.0046755 | 2.7872e-06 | 9.9844e-07 | 0.027994 | 0.027994 | 0.027994 | 0.99181 | -0.057428 | 0.99165 | -0.058507 | 10.3682
27 | -0.062855 | -0.015765 | 0.062886 | 0.015777 | 3.0868e-05 | 1.18e-05 | 0.094061 | 0.094061 | 0.094061 | 0.99439 | -0.039227 | 0.99489 | -0.035686 | 34.8376
28 | 0.012291 | 0.0030805 | -0.01229 | -0.0030802 | 1.1178e-06 | 3.6198e-07 | 0.018443 | 0.018443 | 0.018443 | 0.99165 | -0.058507 | 0.99156 | -0.059164 | 6.8308
29 | 0.006365 | 0.0015949 | -0.0063647 | -0.0015949 | 3.2276e-07 | 5.0988e-08 | 0.0095509 | 0.0095509 | 0.0095509 | 0.99165 | -0.058507 | 0.9916 | -0.058874 | 3.5374
30 | -0.069048 | -0.017321 | 0.069128 | 0.017352 | 8.0919e-05 | 3.0965e-05 | 0.10328 | 0.10328 | 0.10328 | 0.99489 | -0.035686 | 0.9961 | -0.027247 | 38.2507
31 | 0.01061 | 0.0026592 | -0.010609 | -0.002659 | 6.8175e-07 | 2.0663e-07 | 0.015922 | 0.015922 | 0.015922 | 0.99156 | -0.059164 | 0.9915 | -0.059628 | 5.8972
32 | 0.0054333 | 0.0013614 | -0.0054331 | -0.0013614 | 1.3766e-07 | 1.0136e-08 | 0.0081531 | 0.0081532 | 0.0081532 | 0.9916 | -0.058874 | 0.99158 | -0.059057 | 3.0197
33 | 0.0040819 | 0.0010228 | -0.0040818 | -0.0010228 | 9.7327e-08 | -1.6186e-08 | 0.0061255 | 0.0061255 | 0.0061255 | 0.99158 | -0.059057 | 0.99155 | -0.059229 | 2.2687
34 | 0.0028348 | 0.00071024 | -0.0028347 | -0.00071033 | 1.0771e-07 | -8.1594e-08 | 0.0042541 | 0.0042541 | 0.0042541 | 0.99155 | -0.059229 | 0.99151 | -0.059504 | 1.5756
35 | 0.0013396 | 0.00033562 | -0.0013396 | -0.00033572 | 2.3061e-08 | -1.0907e-07 | 0.0020103 | 0.0020104 | 0.0020104 | 0.99151 | -0.059504 | 0.9915 | -0.059628 | 0.74458
36 | 0.14464 | 0.036365 | -0.14443 | -0.036287 | 0.00020541 | 7.8632e-05 | 0.21549 | 0.21549 | 0.21549 | 0.99897 | -0.0071483 | 0.99751 | -0.017357 | 39.9052
37 | -0.15705 | -0.039475 | 0.15715 | 0.039515 | 0.00010489 | 4.0181e-05 | 0.23397 | 0.23397 | 0.23397 | 0.99897 | -0.0071483 | 0.99966 | -0.0023552 | 43.328
38 | 0.089495 | 0.022473 | -0.089372 | -0.022426 | 0.00012284 | 4.7103e-05 | 0.13352 | 0.13352 | 0.13352 | 0.99751 | -0.017357 | 0.9961 | -0.027247 | 49.4511
39 | 0.054939 | 0.013813 | -0.05484 | -0.013775 | 9.9779e-05 | 3.8067e-05 | 0.08197 | 0.08197 | 0.08197 | 0.99751 | -0.017357 | 0.99564 | -0.030416 | 30.3594
40 | -0.16544 | -0.041593 | 0.1655 | 0.041614 | 5.4297e-05 | 2.0808e-05 | 0.24631 | 0.24631 | 0.24631 | 0.99966 | -0.0023552 | 1 | 0 | 45.6132
41 | 0.020244 | 0.0050741 | -0.020239 | -0.0050723 | 4.8607e-06 | 1.7587e-06 | 0.030241 | 0.030241 | 0.030241 | 0.9961 | -0.027247 | 0.99585 | -0.028982 | 11.2004
42 | 0.05484 | 0.013775 | -0.054801 | -0.01376 | 3.9037e-05 | 1.4893e-05 | 0.08197 | 0.08197 | 0.08197 | 0.99564 | -0.030416 | 0.99491 | -0.035539 | 30.3594
43 | 0.033386 | 0.0083684 | -0.033378 | -0.0083653 | 8.1563e-06 | 3.0676e-06 | 0.049679 | 0.049679 | 0.049679 | 1 | 0 | 0.99975 | -0.0017647 | 18.3998
44 | 0.0078076 | 0.0019568 | -0.0078073 | -0.0019567 | 2.5796e-07 | 5.9697e-08 | 0.011666 | 0.011666 | 0.011666 | 0.99585 | -0.028982 | 0.99582 | -0.02922 | 4.3208
45 | 0.047589 | 0.011953 | -0.047565 | -0.011944 | 2.3517e-05 | 8.9484e-06 | 0.071184 | 0.071184 | 0.071184 | 0.99491 | -0.035539 | 0.9944 | -0.039095 | 26.3646
46 | 0.039755 | 0.0099865 | -0.03974 | -0.0099807 | 1.516e-05 | 5.7418e-06 | 0.059497 | 0.059497 | 0.059497 | 0.9944 | -0.039095 | 0.99401 | -0.041838 | 22.0359
47 | 0.0078105 | 0.0019573 | -0.0078097 | -0.0019571 | 8.4477e-07 | 1.9635e-07 | 0.011688 | 0.011688 | 0.011688 | 0.9944 | -0.039095 | 0.99429 | -0.039876 | 4.3287
48 | 0.002957 | 0.00074095 | -0.0029569 | -0.00074103 | 1.2286e-07 | -8.3138e-08 | 0.0044253 | 0.0044254 | 0.0044254 | 0.99429 | -0.039876 | 0.99425 | -0.040177 | 1.639
49 | 0.0014787 | 0.00037056 | -0.0014787 | -0.0003706 | 8.9966e-09 | -3.4717e-08 | 0.0022131 | 0.0022131 | 0.0022131 | 0.99425 | -0.040177 | 0.99424 | -0.040221 | 0.81965
50 | 0.034956 | 0.0087819 | -0.034938 | -0.0087752 | 1.796e-05 | 6.7714e-06 | 0.052336 | 0.052337 | 0.052337 | 0.99401 | -0.041838 | 0.99349 | -0.045533 | 19.3839
51 | 0.034938 | 0.0087752 | -0.034898 | -0.0087599 | 4.0482e-05 | 1.5264e-05 | 0.052337 | 0.052337 | 0.052337 | 0.99349 | -0.045533 | 0.9923 | -0.053877 | 19.3839
52 | 0.034898 | 0.0087599 | -0.034874 | -0.0087509 | 2.3987e-05 | 9.0448e-06 | 0.052337 | 0.052337 | 0.052337 | 0.9923 | -0.053877 | 0.99159 | -0.05883 | 19.384
53 | 0.032444 | 0.0081418 | -0.032423 | -0.0081339 | 2.1054e-05 | 7.9143e-06 | 0.04869 | 0.04869 | 0.04869 | 0.99159 | -0.05883 | 0.99093 | -0.063509 | 18.0334
54 | 0.030458 | 0.0076415 | -0.030452 | -0.0076394 | 5.5268e-06 | 2.0712e-06 | 0.04574 | 0.04574 | 0.04574 | 0.99093 | -0.063509 | 0.99074 | -0.064817 | 16.9406
55 | 0.0014067 | 0.0003525 | -0.0014067 | -0.00035254 | 1.1067e-08 | -4.6828e-08 | 0.0021136 | 0.0021136 | 0.0021136 | 0.99033 | -0.067729 | 0.99032 | -0.067786 | 0.78281

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.20723 | 0.051873

## res_load
| p_mw | q_mvar
0 | 0.019424 | 0.0048682
1 | 0.0015662 | 0.00039254
2 | 0.0012154 | 0.00030461
3 | 0.001716 | 0.00043008
4 | 0.0012592 | 0.00031558
5 | 0.00092309 | 0.00023135
6 | 0.0019605 | 0.00049135
7 | 0.0070083 | 0.0017565
8 | 0.0016017 | 0.00040143
9 | 0.0024642 | 0.00061758
10 | 0.0032334 | 0.00081036
11 | 0.0018849 | 0.00047239
12 | 0.0010064 | 0.00025222
13 | 0.0087382 | 0.00219
14 | 0.0082884 | 0.0020773
15 | 0.00096115 | 0.00024089
16 | 0.0047571 | 0.0011923
17 | 0.0061615 | 0.0015442
18 | 0.0016798 | 0.000421
19 | 0.00093145 | 0.00023344
20 | 0.010609 | 0.002659
21 | 0.0013512 | 0.00033865
22 | 0.001247 | 0.00031253
23 | 0.0014951 | 0.00037471
24 | 0.0013396 | 0.00033572
25 | 0.012409 | 0.0031099
26 | 0.0082902 | 0.0020777
27 | 0.0075434 | 0.0018906
28 | 0.012431 | 0.0031156
29 | 0.0072118 | 0.0018074
30 | 0.033378 | 0.0083653
31 | 0.0078073 | 0.0019567
32 | 0.0048526 | 0.0012162
33 | 0.0014782 | 0.00037047
34 | 0.0014787 | 0.0003706
35 | 0.0047832 | 0.0011988
36 | 0.00243 | 0.00060902
37 | 0.0019649 | 0.00049245
38 | 0.0014481 | 0.00036294
39 | 0.0036036 | 0.00090314
40 | 0.0014067 | 0.00035254

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1