## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-107_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-107_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-107_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-107_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1631-107_0_3_node_7 | 0.4 | n |  | TRUE
5 | bus_LV_1631-107_0_3_node_4 | 0.4 | n |  | TRUE
6 | bus_LV_1631-107_0_3_node_8 | 0.4 | n |  | TRUE
7 | bus_LV_1631-107_0_3_node_9 | 0.4 | n |  | TRUE
8 | bus_LV_1631-107_0_3_node_57 | 0.4 | n |  | TRUE
9 | bus_LV_1631-107_0_3_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1631-107_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1631-107_0_3_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1631-107_0_3_node_21 | 0.4 | n |  | TRUE
13 | bus_LV_1631-107_0_3_node_23 | 0.4 | n |  | TRUE
14 | bus_LV_1631-107_0_3_node_19 | 0.4 | n |  | TRUE
15 | bus_LV_1631-107_0_3_node_11 | 0.4 | n |  | TRUE
16 | bus_LV_1631-107_0_3_node_12 | 0.4 | n |  | TRUE
17 | bus_LV_1631-107_0_3_node_13 | 0.4 | n |  | TRUE
18 | bus_LV_1631-107_0_3_node_14 | 0.4 | n |  | TRUE
19 | bus_LV_1631-107_0_3_node_15 | 0.4 | n |  | TRUE
20 | bus_LV_1631-107_0_3_node_17 | 0.4 | n |  | TRUE
21 | bus_LV_1631-107_0_3_node_16 | 0.4 | n |  | TRUE
22 | bus_LV_1631-107_0_3_node_24 | 0.4 | n |  | TRUE
23 | bus_LV_1631-107_0_3_node_34 | 0.4 | n |  | TRUE
24 | bus_LV_1631-107_0_3_node_22 | 0.4 | n |  | TRUE
25 | bus_LV_1631-107_0_3_node_32 | 0.4 | n |  | TRUE
26 | bus_LV_1631-107_0_3_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1631-107_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1631-107_0_3_node_25 | 0.4 | n |  | TRUE
29 | bus_LV_1631-107_0_3_node_26 | 0.4 | n |  | TRUE
30 | bus_LV_1631-107_0_3_node_28 | 0.4 | n |  | TRUE
31 | bus_LV_1631-107_0_3_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_1631-107_0_3_node_31 | 0.4 | n |  | TRUE
33 | bus_LV_1631-107_0_3_node_30 | 0.4 | n |  | TRUE
34 | bus_LV_1631-107_0_3_node_36 | 0.4 | n |  | TRUE
35 | bus_LV_1631-107_0_3_node_40 | 0.4 | n |  | TRUE
36 | bus_LV_1631-107_0_3_node_37 | 0.4 | n |  | TRUE
37 | bus_LV_1631-107_0_3_node_35 | 0.4 | n |  | TRUE
38 | bus_LV_1631-107_0_3_node_33 | 0.4 | n |  | TRUE
39 | bus_LV_1631-107_0_3_node_41 | 0.4 | n |  | TRUE
40 | bus_LV_1631-107_0_3_node_53 | 0.4 | n |  | TRUE
41 | bus_LV_1631-107_0_3_node_51 | 0.4 | n |  | TRUE
42 | bus_LV_1631-107_0_3_node_38 | 0.4 | n |  | TRUE
43 | bus_LV_1631-107_0_3_node_39 | 0.4 | n |  | TRUE
44 | bus_LV_1631-107_0_3_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_1631-107_0_3_node_45 | 0.4 | n |  | TRUE
46 | bus_LV_1631-107_0_3_node_42 | 0.4 | n |  | TRUE
47 | bus_LV_1631-107_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_1631-107_0_3_node_54 | 0.4 | n |  | TRUE
49 | bus_LV_1631-107_0_3_node_49 | 0.4 | n |  | TRUE
50 | bus_LV_1631-107_0_3_node_46 | 0.4 | n |  | TRUE
51 | bus_LV_1631-107_0_3_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_1631-107_0_3_node_48 | 0.4 | n |  | TRUE
53 | bus_LV_1631-107_0_3_node_50 | 0.4 | n |  | TRUE
54 | bus_LV_1631-107_0_3_node_55 | 0.4 | n |  | TRUE
55 | bus_LV_1631-107_0_3_node_58 | 0.4 | n |  | TRUE
56 | bus_MV_13_0_node_26 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-107_0_3_load_0 | 0 | 0.018766 | 0.0047033 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-107_0_3_load_1 | 1 | 0.0022796 | 0.00057132 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-107_0_3_load_3 | 3 | 0.001664 | 0.00041703 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-107_0_3_load_7 | 4 | 0.011501 | 0.0028823 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-107_0_3_load_4 | 5 | 0.0037834 | 0.00094822 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-107_0_3_load_8 | 6 | 0.007736 | 0.0019388 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-107_0_3_load_9 | 7 | 0.0064939 | 0.0016275 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-107_0_3_load_57 | 8 | 0.0052504 | 0.0013159 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-107_0_3_load_6 | 10 | 0.0051541 | 0.0012917 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-107_0_3_load_10 | 11 | 0.0053901 | 0.0013509 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-107_0_3_load_23 | 13 | 0.008615 | 0.0021591 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-107_0_3_load_19 | 14 | 0.0085568 | 0.0021445 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-107_0_3_load_11 | 15 | 0.0066525 | 0.0016673 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-107_0_3_load_12 | 16 | 0.0047313 | 0.0011858 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-107_0_3_load_13 | 17 | 0.0053181 | 0.0013328 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-107_0_3_load_16 | 21 | 0.016719 | 0.0041902 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-107_0_3_load_24 | 22 | 0.012102 | 0.003033 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-107_0_3_load_22 | 24 | 0.0087001 | 0.0021805 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-107_0_3_load_32 | 25 | 0.0082419 | 0.0020656 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-107_0_3_load_18 | 26 | 0.007121 | 0.0017847 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-107_0_3_load_20 | 27 | 0.009719 | 0.0024358 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-107_0_3_load_25 | 28 | 0.005618 | 0.001408 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-107_0_3_load_29 | 31 | 0.0050696 | 0.0012706 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-107_0_3_load_31 | 32 | 0.0023535 | 0.00058985 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-107_0_3_load_30 | 33 | 0.0087662 | 0.002197 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-107_0_3_load_36 | 34 | 0.0050499 | 0.0012656 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-107_0_3_load_40 | 35 | 0.0014702 | 0.00036848 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-107_0_3_load_37 | 36 | 0.0058659 | 0.0014701 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-107_0_3_load_53 | 40 | 0.0017901 | 0.00044864 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-107_0_3_load_51 | 41 | 0.0017064 | 0.00042766 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1631-107_0_3_load_38 | 42 | 0.0015824 | 0.00039658 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1631-107_0_3_load_39 | 43 | 0.0036057 | 0.00090367 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1631-107_0_3_load_44 | 44 | 0.0045204 | 0.0011329 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1631-107_0_3_load_45 | 45 | 0.0065901 | 0.0016516 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1631-107_0_3_load_42 | 46 | 0.0016809 | 0.00042127 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1631-107_0_3_load_43 | 47 | 0.002714 | 0.0006802 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1631-107_0_3_load_49 | 49 | 0.0013826 | 0.0003465 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1631-107_0_3_load_46 | 50 | 0.001272 | 0.0003188 | 0 | 0 |  | 1 | TRUE | wye
38 | LV_1631-107_0_3_load_47 | 51 | 0.0017703 | 0.00044369 | 0 | 0 |  | 1 | TRUE | wye
39 | LV_1631-107_0_3_load_48 | 52 | 0.0014536 | 0.00036431 | 0 | 0 |  | 1 | TRUE | wye
40 | LV_1631-107_0_3_load_50 | 53 | 0.0036981 | 0.00092682 | 0 | 0 |  | 1 | TRUE | wye
41 | LV_1631-107_0_3_load_58 | 55 | 0.0021313 | 0.00053416 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 14 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-107_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.012725 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-107_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.017665 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-107_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.019945 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-107_0_3_line_3 | NAYY 4x150 SE | 1 | 4 | 0.049178 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-107_0_3_line_4 | NAYY 4x150 SE | 2 | 5 | 0.030495 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-107_0_3_line_5 | NAYY 4x150 SE | 4 | 8 | 0.034058 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-107_0_3_line_6 | NAYY 4x150 SE | 4 | 6 | 0.014102 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-107_0_3_line_7 | NAYY 4x150 SE | 5 | 9 | 0.004929 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-107_0_3_line_8 | NAYY 4x150 SE | 6 | 7 | 0.020712 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-107_0_3_line_9 | NAYY 4x150 SE | 7 | 11 | 0.021768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-107_0_3_line_10 | NAYY 4x150 SE | 9 | 10 | 0.021574 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-107_0_3_line_11 | NAYY 4x150 SE | 11 | 12 | 0.0068971 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-107_0_3_line_12 | NAYY 4x150 SE | 12 | 13 | 0.020441 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-107_0_3_line_13 | NAYY 4x150 SE | 12 | 14 | 0.01836 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-107_0_3_line_14 | NAYY 4x150 SE | 14 | 26 | 0.0073938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
15 | LV_1631-107_0_3_line_15 | NAYY 4x150 SE | 15 | 16 | 0.022796 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-107_0_3_line_16 | NAYY 4x150 SE | 15 | 17 | 0.0018458 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-107_0_3_line_17 | NAYY 4x150 SE | 16 | 18 | 0.019635 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-107_0_3_line_18 | NAYY 4x150 SE | 18 | 19 | 0.023389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-107_0_3_line_19 | NAYY 4x150 SE | 19 | 20 | 0.011452 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-107_0_3_line_20 | NAYY 4x150 SE | 19 | 21 | 0.019724 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-107_0_3_line_21 | NAYY 4x150 SE | 20 | 22 | 0.019114 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
22 | LV_1631-107_0_3_line_22 | NAYY 4x150 SE | 20 | 23 | 0.016713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-107_0_3_line_23 | NAYY 4x150 SE | 22 | 24 | 0.014717 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
24 | LV_1631-107_0_3_line_24 | NAYY 4x150 SE | 23 | 25 | 0.011962 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-107_0_3_line_25 | NAYY 4x150 SE | 24 | 27 | 0.0054782 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
26 | LV_1631-107_0_3_line_26 | NAYY 4x150 SE | 25 | 38 | 0.0054088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-107_0_3_line_27 | NAYY 4x150 SE | 26 | 27 | 0.0061518 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
28 | LV_1631-107_0_3_line_28 | NAYY 4x150 SE | 28 | 29 | 0.010377 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-107_0_3_line_29 | NAYY 4x150 SE | 29 | 30 | 0.008389 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-107_0_3_line_30 | NAYY 4x150 SE | 29 | 31 | 0.011134 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-107_0_3_line_31 | NAYY 4x150 SE | 30 | 32 | 0.012645 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-107_0_3_line_32 | NAYY 4x150 SE | 30 | 33 | 0.0090157 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-107_0_3_line_33 | NAYY 4x150 SE | 31 | 34 | 6.4637e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-107_0_3_line_34 | NAYY 4x150 SE | 32 | 35 | 0.0095974 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-107_0_3_line_35 | NAYY 4x150 SE | 34 | 36 | 0.0037887 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-107_0_3_line_36 | NAYY 4x150 SE | 35 | 37 | 0.0080254 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-107_0_3_line_37 | NAYY 4x150 SE | 36 | 42 | 0.00078769 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-107_0_3_line_38 | NAYY 4x150 SE | 37 | 39 | 0.009854 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-107_0_3_line_39 | NAYY 4x150 SE | 37 | 38 | 0.013806 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-107_0_3_line_40 | NAYY 4x150 SE | 39 | 40 | 0.021088 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1631-107_0_3_line_41 | NAYY 4x150 SE | 39 | 41 | 0.0055575 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1631-107_0_3_line_42 | NAYY 4x150 SE | 40 | 48 | 0.019568 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1631-107_0_3_line_43 | NAYY 4x150 SE | 41 | 49 | 0.019617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1631-107_0_3_line_44 | NAYY 4x150 SE | 42 | 43 | 0.025641 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1631-107_0_3_line_45 | NAYY 4x150 SE | 43 | 44 | 0.031449 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1631-107_0_3_line_46 | NAYY 4x150 SE | 44 | 45 | 0.020658 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1631-107_0_3_line_47 | NAYY 4x150 SE | 44 | 46 | 0.0034612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1631-107_0_3_line_48 | NAYY 4x150 SE | 46 | 47 | 0.0097848 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1631-107_0_3_line_49 | NAYY 4x150 SE | 48 | 54 | 0.023023 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1631-107_0_3_line_50 | NAYY 4x150 SE | 49 | 51 | 0.00084802 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1631-107_0_3_line_51 | NAYY 4x150 SE | 50 | 51 | 0.0029234 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1631-107_0_3_line_52 | NAYY 4x150 SE | 50 | 52 | 7.0798e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
53 | LV_1631-107_0_3_line_53 | NAYY 4x150 SE | 52 | 53 | 0.014113 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
54 | LV_1631-107_0_3_line_54 | NAYY 4x150 SE | 54 | 55 | 0.00908 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-107_0_3_trafo_19 | 0.25 MVA 20/0.4 kV | 56 | 14 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5
0 | 2719955.4052 | 1199653.4332 | 2719953.5374 | 1199647.7452 | 2719951.8841 | 1199641.2128
1 | 2719962.2051 | 1199669.713 | 2719959.4913 | 1199663.7653 | 2719957.0255 | 1199658.3674 | 2719955.4052 | 1199653.4332
2 | 2719945.4845 | 1199622.382 | 2719946.6887 | 1199625.0799 | 2719949.6 | 1199632.188 | 2719951.8841 | 1199641.2128
3 | 2719994.9856 | 1199617.5334 | 2719951.8841 | 1199641.2128
4 | 2719962.2051 | 1199669.713 | 2719964.6233 | 1199673.3087 | 2719966.7798 | 1199676.6655 | 2719970.2536 | 1199680.7938 | 2719980.4408 | 1199691.5618 | 2719981.8757 | 1199692.8879
5 | 2719994.9856 | 1199617.5334 | 2720003.6408 | 1199584.5933
6 | 2719994.9856 | 1199617.5334 | 2720001.0071 | 1199626.5935 | 2720002.8323 | 1199629.2501
7 | 2719985.4954 | 1199696.2334 | 2719981.8757 | 1199692.8879
8 | 2720017.2855 | 1199643.9892 | 2720004.9734 | 1199632.3663 | 2720002.8323 | 1199629.2501
9 | 2720033.1142 | 1199658.9317 | 2720017.2855 | 1199643.9892
10 | 2719985.4954 | 1199696.2334 | 2719989.9774 | 1199699.459 | 2719996.271 | 1199702.3542 | 2720001.0896 | 1199703.2293 | 2720005.1603 | 1199704.3663
11 | 2720038.1295 | 1199663.6662 | 2720033.1142 | 1199658.9317
12 | 2720038.1295 | 1199663.6662 | 2720046.9584 | 1199673.0504 | 2720051.63 | 1199678.9893
13 | 2720038.1295 | 1199663.6662 | 2720045.6648 | 1199658.5916 | 2720048.4779 | 1199655.8016 | 2720051.8119 | 1199651.6645
14 | 2720056.4514 | 1199645.9074 | 2720051.8119 | 1199651.6645
15 | 2720025.2548 | 1199625.871 | 2720034.7632 | 1199616.6752 | 2720032.1837 | 1199607.461 | 2720032.1837 | 1199607.461
16 | 2720023.9281 | 1199627.1542 | 2720025.2548 | 1199625.871
17 | 2720042.2183 | 1199590.5835 | 2720032.1837 | 1199607.461
18 | 2720042.2183 | 1199590.5835 | 2720052.2062 | 1199595.3542 | 2720063.3259 | 1199600.6593
19 | 2720073.4851 | 1199606.0006 | 2720063.3259 | 1199600.6593
20 | 2720063.3259 | 1199600.6593 | 2720049.2756 | 1199614.502
21 | 2720073.4851 | 1199606.0006 | 2720063.9797 | 1199616.2505 | 2720062.8731 | 1199621.2646
22 | 2720073.4851 | 1199606.0006 | 2720087.678 | 1199614.8923
23 | 2720061.825 | 1199635.8523 | 2720062.0721 | 1199634.9927 | 2720062.0105 | 1199625.1731 | 2720062.8731 | 1199621.2646
24 | 2720087.678 | 1199614.8923 | 2720092.8909 | 1199618.5108 | 2720097.0385 | 1199622.2977
25 | 2720061.825 | 1199635.8523 | 2720060.3115 | 1199641.1174
26 | 2720100.6471 | 1199626.3168 | 2720097.9092 | 1199623.0928 | 2720097.0385 | 1199622.2977
27 | 2720056.4514 | 1199645.9074 | 2720060.3115 | 1199641.1174 | 2720060.3115 | 1199641.1174
28 | 2720083.4087 | 1199665.8662 | 2720075.3654 | 1199672.4229
29 | 2720083.4087 | 1199665.8662 | 2720089.4588 | 1199660.039
30 | 2720083.4087 | 1199665.8662 | 2720091.8614 | 1199673.1125
31 | 2720089.4588 | 1199660.039 | 2720091.1677 | 1199658.3833 | 2720097.2778 | 1199650.1338
32 | 2720089.4588 | 1199660.039 | 2720083.3257 | 1199653.431
33 | 2720091.9105 | 1199673.1546 | 2720091.8614 | 1199673.1125
34 | 2720103.5289 | 1199642.884 | 2720100.0453 | 1199646.3973 | 2720097.2778 | 1199650.1338
35 | 2720091.9105 | 1199673.1546 | 2720094.7869 | 1199675.6205
36 | 2720109.1795 | 1199637.1851 | 2720103.5289 | 1199642.884
37 | 2720095.3849 | 1199676.1331 | 2720094.7869 | 1199675.6205
38 | 2720115.47 | 1199644.7838 | 2720109.1795 | 1199637.1851
39 | 2720109.1795 | 1199637.1851 | 2720102.7227 | 1199628.7714 | 2720100.6471 | 1199626.3168
40 | 2720115.47 | 1199644.7838 | 2720131.9628 | 1199631.6425
41 | 2720115.47 | 1199644.7838 | 2720119.3973 | 1199648.716
42 | 2720147.2667 | 1199619.4487 | 2720131.9628 | 1199631.6425
43 | 2720119.3973 | 1199648.716 | 2720125.84 | 1199655.1665 | 2720134.2536 | 1199661.4487
44 | 2720115.9411 | 1199691.4165 | 2720107.0816 | 1199685.0782 | 2720100.9808 | 1199680.9304 | 2720095.3849 | 1199676.1331
45 | 2720115.9411 | 1199691.4165 | 2720102.8404 | 1199720.0072
46 | 2720102.8404 | 1199720.0072 | 2720100.9791 | 1199719.2697 | 2720084.9246 | 1199709.7671
47 | 2720106.0583 | 1199721.2822 | 2720102.8404 | 1199720.0072
48 | 2720106.0583 | 1199721.2822 | 2720112.479 | 1199723.8263 | 2720115.2962 | 1199724.4165
49 | 2720163.899 | 1199635.417 | 2720147.2667 | 1199619.4487
50 | 2720134.9331 | 1199661.956 | 2720134.2536 | 1199661.4487
51 | 2720137.2756 | 1199663.7051 | 2720134.9331 | 1199661.956
52 | 2720137.3323 | 1199663.7475 | 2720137.2756 | 1199663.7051
53 | 2720148.4511 | 1199672.4303 | 2720144.3734 | 1199669.0048 | 2720137.3323 | 1199663.7475
54 | 2720167.7702 | 1199643.6342 | 2720163.899 | 1199635.417

## bus_geodata
| x | y | coords
0 | 2719955.4052 | 1199653.4332
1 | 2719951.8841 | 1199641.2128
2 | 2719962.2051 | 1199669.713
3 | 2719945.4845 | 1199622.382
4 | 2719994.9856 | 1199617.5334
5 | 2719981.8757 | 1199692.8879
6 | 2720002.8323 | 1199629.2501
7 | 2720017.2855 | 1199643.9891
8 | 2720003.6408 | 1199584.5933
9 | 2719985.4954 | 1199696.2334
10 | 2720005.1603 | 1199704.3663
11 | 2720033.1142 | 1199658.9317
12 | 2720038.1295 | 1199663.6662
13 | 2720051.63 | 1199678.9893
14 | 2720051.8119 | 1199651.6645
15 | 2720025.2548 | 1199625.871
16 | 2720032.1837 | 1199607.461
17 | 2720023.9281 | 1199627.1542
18 | 2720042.2183 | 1199590.5835
19 | 2720063.3259 | 1199600.6593
20 | 2720073.4851 | 1199606.0006
21 | 2720049.2756 | 1199614.502
22 | 2720062.8731 | 1199621.2646
23 | 2720087.678 | 1199614.8923
24 | 2720061.825 | 1199635.8523
25 | 2720097.0385 | 1199622.2977
26 | 2720056.4514 | 1199645.9074
27 | 2720060.3115 | 1199641.1174
28 | 2720075.3654 | 1199672.4229
29 | 2720083.4087 | 1199665.8662
30 | 2720089.4588 | 1199660.039
31 | 2720091.8614 | 1199673.1125
32 | 2720097.2778 | 1199650.1338
33 | 2720083.3257 | 1199653.431
34 | 2720091.9105 | 1199673.1546
35 | 2720103.5289 | 1199642.884
36 | 2720094.7869 | 1199675.6205
37 | 2720109.1795 | 1199637.1851
38 | 2720100.6471 | 1199626.3168
39 | 2720115.47 | 1199644.7838
40 | 2720131.9628 | 1199631.6425
41 | 2720119.3973 | 1199648.716
42 | 2720095.3849 | 1199676.1331
43 | 2720115.9411 | 1199691.4165
44 | 2720102.8404 | 1199720.0072
45 | 2720084.9246 | 1199709.7671
46 | 2720106.0583 | 1199721.2822
47 | 2720115.2962 | 1199724.4165
48 | 2720147.2667 | 1199619.4487
49 | 2720134.2536 | 1199661.4487
50 | 2720137.2756 | 1199663.7051
51 | 2720134.9331 | 1199661.956
52 | 2720137.3324 | 1199663.7475
53 | 2720148.4511 | 1199672.4303
54 | 2720163.899 | 1199635.417
55 | 2720167.7702 | 1199643.6342
56 | 2720038.1295 | 1199663.6662

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.98994 | -0.070532 | 0.018766 | 0.0047033
1 | 0.99045 | -0.066942 | 0.0022796 | 0.00057132
2 | 0.98972 | -0.072141 | 0 | 0
3 | 0.9904 | -0.06728 | 0.001664 | 0.00041703
4 | 0.99269 | -0.051138 | 0.011501 | 0.0028823
5 | 0.98932 | -0.07492 | 0.0037834 | 0.00094822
6 | 0.99367 | -0.04423 | 0.007736 | 0.0019388
7 | 0.99535 | -0.032493 | 0.0064939 | 0.0016275
8 | 0.99244 | -0.05295 | 0.0052504 | 0.0013159
9 | 0.98929 | -0.07518 | 0 | 0
10 | 0.98913 | -0.076314 | 0.0051541 | 0.0012917
11 | 0.99731 | -0.018782 | 0.0053901 | 0.0013509
12 | 0.99798 | -0.014076 | 0 | 0
13 | 0.99773 | -0.015841 | 0.008615 | 0.0021591
14 | 1 | 0 | -0.22861 | -0.057322
15 | 0.99323 | -0.04731 | 0.0066525 | 0.0016673
16 | 0.99362 | -0.04455 | 0.0047313 | 0.0011858
17 | 0.99322 | -0.047409 | 0.0053181 | 0.0013328
18 | 0.99409 | -0.041235 | 0 | 0
19 | 0.99465 | -0.037291 | 0 | 0
20 | 0.9952 | -0.033431 | 0 | 0
21 | 0.99418 | -0.04062 | 0.016719 | 0.0041902
22 | 0.99674 | -0.022681 | 0.012102 | 0.003033
23 | 0.99331 | -0.046654 | 0 | 0
24 | 0.99805 | -0.013535 | 0.0087001 | 0.0021805
25 | 0.99196 | -0.056149 | 0.0082419 | 0.0020656
26 | 0.99921 | -0.0055184 | 0.007121 | 0.0017847
27 | 0.99858 | -0.0098973 | 0.009719 | 0.0024358
28 | 0.98711 | -0.090394 | 0.005618 | 0.001408
29 | 0.98719 | -0.089797 | 0 | 0
30 | 0.98771 | -0.086164 | 0 | 0
31 | 0.9866 | -0.093983 | 0.0050696 | 0.0012706
32 | 0.98864 | -0.079563 | 0.0023535 | 0.00058985
33 | 0.98759 | -0.086973 | 0.0087662 | 0.002197
34 | 0.9866 | -0.094004 | 0.0050499 | 0.0012656
35 | 0.98938 | -0.074331 | 0.0014702 | 0.00036848
36 | 0.98645 | -0.095036 | 0.0058659 | 0.0014701
37 | 0.99002 | -0.069841 | 0 | 0
38 | 0.99141 | -0.059998 | 0 | 0
39 | 0.9898 | -0.071368 | 0 | 0
40 | 0.98968 | -0.072212 | 0.0017901 | 0.00044864
41 | 0.98971 | -0.072007 | 0.0017064 | 0.00042766
42 | 0.98643 | -0.095203 | 0.0015824 | 0.00039658
43 | 0.98572 | -0.10023 | 0.0036057 | 0.00090367
44 | 0.98502 | -0.10525 | 0.0045204 | 0.0011329
45 | 0.98482 | -0.10665 | 0.0065901 | 0.0016516
46 | 0.98499 | -0.10541 | 0.0016809 | 0.00042127
47 | 0.98496 | -0.10568 | 0.002714 | 0.0006802
48 | 0.98962 | -0.072638 | 0 | 0
49 | 0.98944 | -0.073923 | 0.0013826 | 0.0003465
50 | 0.9894 | -0.074185 | 0.001272 | 0.0003188
51 | 0.98943 | -0.073993 | 0.0017703 | 0.00044369
52 | 0.9894 | -0.074189 | 0.0014536 | 0.00036431
53 | 0.98933 | -0.074721 | 0.0036981 | 0.00092682
54 | 0.98955 | -0.073138 | 0 | 0
55 | 0.98952 | -0.073336 | 0.0021313 | 0.00053416
56 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.02771 | -0.0069448 | 0.027724 | 0.0069499 | 1.3776e-05 | 5.1348e-06 | 0.041652 | 0.041652 | 0.041652 | 0.98994 | -0.070532 | 0.99045 | -0.066942 | 15.4268
1 | 0.0089439 | 0.0022415 | -0.0089419 | -0.0022409 | 1.9923e-06 | 5.3921e-07 | 0.013444 | 0.013444 | 0.013444 | 0.98994 | -0.070532 | 0.98972 | -0.072141 | 4.9792
2 | 0.0016641 | 0.0004168 | -0.001664 | -0.00041703 | 7.7784e-08 | -2.2676e-07 | 0.0024999 | 0.0025 | 0.0025 | 0.99045 | -0.066942 | 0.9904 | -0.06728 | 0.92593
3 | -0.031668 | -0.007938 | 0.031737 | 0.0079641 | 6.9462e-05 | 2.6082e-05 | 0.047577 | 0.047577 | 0.047577 | 0.99045 | -0.066942 | 0.99269 | -0.051138 | 17.6211
4 | 0.0089419 | 0.0022409 | -0.0089385 | -0.00224 | 3.4394e-06 | 9.3109e-07 | 0.013444 | 0.013444 | 0.013444 | 0.98972 | -0.072141 | 0.98932 | -0.07492 | 4.9793
5 | 0.0052517 | 0.0013159 | -0.0052504 | -0.0013159 | 1.317e-06 | 6.6343e-08 | 0.007872 | 0.0078722 | 0.0078722 | 0.99269 | -0.051138 | 0.99244 | -0.05295 | 2.9156
6 | -0.04849 | -0.012162 | 0.048536 | 0.01218 | 4.6492e-05 | 1.7699e-05 | 0.072688 | 0.072688 | 0.072688 | 0.99269 | -0.051138 | 0.99367 | -0.04423 | 26.9214
7 | 0.005155 | 0.0012918 | -0.0051549 | -0.0012918 | 1.849e-07 | 7.8268e-09 | 0.0077535 | 0.0077535 | 0.0077535 | 0.98932 | -0.07492 | 0.98929 | -0.07518 | 2.8717
8 | -0.056272 | -0.014119 | 0.056364 | 0.014154 | 9.1788e-05 | 3.5034e-05 | 0.084272 | 0.084272 | 0.084272 | 0.99367 | -0.04423 | 0.99535 | -0.032493 | 31.212
9 | -0.062858 | -0.015781 | 0.062978 | 0.015827 | 0.00011997 | 4.5858e-05 | 0.09398 | 0.09398 | 0.09398 | 0.99535 | -0.032493 | 0.99731 | -0.018782 | 34.8076
10 | 0.0051549 | 0.0012918 | -0.0051541 | -0.0012917 | 8.093e-07 | 3.4317e-08 | 0.0077535 | 0.0077536 | 0.0077536 | 0.98929 | -0.07518 | 0.98913 | -0.076314 | 2.8717
11 | -0.068368 | -0.017178 | 0.068413 | 0.017195 | 4.4796e-05 | 1.7139e-05 | 0.10202 | 0.10202 | 0.10202 | 0.99731 | -0.018782 | 0.99798 | -0.014076 | 37.7862
12 | 0.0086171 | 0.0021597 | -0.008615 | -0.0021591 | 2.1056e-06 | 5.4282e-07 | 0.012848 | 0.012848 | 0.012848 | 0.99798 | -0.014076 | 0.99773 | -0.015841 | 4.7587
13 | -0.07703 | -0.019355 | 0.077181 | 0.019413 | 0.00015117 | 5.7904e-05 | 0.11487 | 0.11487 | 0.11487 | 0.99798 | -0.014076 | 1 | 0 | 42.5448
14 | 0.15063 | 0.037909 | -0.15051 | -0.037864 | 0.00011595 | 4.4401e-05 | 0.22419 | 0.22419 | 0.22419 | 1 | 0 | 0.99921 | -0.0055184 | 41.5168
15 | -0.011971 | -0.0030001 | 0.011975 | 0.0030016 | 4.575e-06 | 1.4645e-06 | 0.017934 | 0.017934 | 0.017934 | 0.99323 | -0.04731 | 0.99362 | -0.04455 | 6.6422
16 | 0.0053181 | 0.0013328 | -0.0053181 | -0.0013328 | 7.3112e-08 | 4.2322e-09 | 0.0079674 | 0.0079674 | 0.0079674 | 0.99323 | -0.04731 | 0.99322 | -0.047409 | 2.9509
17 | -0.016707 | -0.0041874 | 0.016714 | 0.0041901 | 7.6695e-06 | 2.6954e-06 | 0.025019 | 0.025019 | 0.025019 | 0.99362 | -0.04455 | 0.99409 | -0.041235 | 9.2664
18 | -0.016714 | -0.0041901 | 0.016723 | 0.0041933 | 9.1357e-06 | 3.2103e-06 | 0.025019 | 0.025019 | 0.025019 | 0.99409 | -0.041235 | 0.99465 | -0.037291 | 9.2663
19 | -0.03345 | -0.0083861 | 0.033468 | 0.0083929 | 1.7896e-05 | 6.7342e-06 | 0.050043 | 0.050043 | 0.050043 | 0.99465 | -0.037291 | 0.9952 | -0.033431 | 18.5343
20 | 0.016727 | 0.0041929 | -0.016719 | -0.0041902 | 7.7069e-06 | 2.7083e-06 | 0.025024 | 0.025024 | 0.025024 | 0.99465 | -0.037291 | 0.99418 | -0.04062 | 9.268
21 | -0.11239 | -0.028246 | 0.11255 | 0.02831 | 0.00016845 | 6.429e-05 | 0.16807 | 0.16807 | 0.16807 | 0.9952 | -0.033431 | 0.99674 | -0.022681 | 31.1234
22 | 0.078918 | 0.019853 | -0.078773 | -0.019797 | 0.00014527 | 5.5657e-05 | 0.11802 | 0.11802 | 0.11802 | 0.9952 | -0.033431 | 0.99331 | -0.046654 | 43.7126
23 | -0.12466 | -0.031343 | 0.12482 | 0.031404 | 0.00015908 | 6.08e-05 | 0.18613 | 0.18613 | 0.18613 | 0.99674 | -0.022681 | 0.99805 | -0.013535 | 34.469
24 | 0.078773 | 0.019797 | -0.078669 | -0.019757 | 0.00010398 | 3.9836e-05 | 0.11802 | 0.11802 | 0.11802 | 0.99331 | -0.046654 | 0.99196 | -0.056149 | 43.7126
25 | -0.13352 | -0.033584 | 0.13358 | 0.03361 | 6.7757e-05 | 2.5917e-05 | 0.1991 | 0.1991 | 0.1991 | 0.99805 | -0.013535 | 0.99858 | -0.0098973 | 36.8711
26 | 0.070427 | 0.017692 | -0.07039 | -0.017677 | 3.768e-05 | 1.4423e-05 | 0.10566 | 0.10566 | 0.10566 | 0.99196 | -0.056149 | 0.99141 | -0.059998 | 39.1336
27 | 0.14339 | 0.03608 | -0.1433 | -0.036046 | 8.756e-05 | 3.3516e-05 | 0.21359 | 0.21359 | 0.21359 | 0.99921 | -0.0055184 | 0.99858 | -0.0098973 | 39.553
28 | -0.005618 | -0.001408 | 0.0056185 | 0.0014081 | 4.6442e-07 | 4.5959e-08 | 0.0084689 | 0.0084688 | 0.0084689 | 0.98711 | -0.090394 | 0.98719 | -0.089797 | 3.1366
29 | -0.042349 | -0.010619 | 0.04237 | 0.010627 | 2.1331e-05 | 8.0969e-06 | 0.063835 | 0.063835 | 0.063835 | 0.98719 | -0.089797 | 0.98771 | -0.086164 | 23.6425
30 | 0.03673 | 0.0092109 | -0.036709 | -0.0092029 | 2.1296e-05 | 8.0486e-06 | 0.055366 | 0.055366 | 0.055366 | 0.98719 | -0.089797 | 0.9866 | -0.093983 | 20.5059
31 | -0.051137 | -0.012824 | 0.051184 | 0.012842 | 4.6836e-05 | 1.7852e-05 | 0.077043 | 0.077043 | 0.077043 | 0.98771 | -0.086164 | 0.98864 | -0.079563 | 28.5344
32 | 0.0087672 | 0.0021973 | -0.0087662 | -0.002197 | 9.8144e-07 | 2.621e-07 | 0.013208 | 0.013208 | 0.013208 | 0.98771 | -0.086164 | 0.98759 | -0.086973 | 4.8919
33 | 0.031639 | 0.0079323 | -0.031639 | -0.0079323 | 9.1847e-08 | 3.45e-08 | 0.04772 | 0.04772 | 0.04772 | 0.9866 | -0.093983 | 0.9866 | -0.094004 | 17.674
34 | -0.053537 | -0.013432 | 0.053576 | 0.013447 | 3.8891e-05 | 1.4835e-05 | 0.080585 | 0.080585 | 0.080585 | 0.98864 | -0.079563 | 0.98938 | -0.074331 | 29.8463
35 | 0.026589 | 0.0066667 | -0.026585 | -0.0066652 | 3.8023e-06 | 1.414e-06 | 0.040103 | 0.040104 | 0.040104 | 0.9866 | -0.094004 | 0.98645 | -0.095036 | 14.8532
36 | -0.055047 | -0.013815 | 0.055081 | 0.013828 | 3.433e-05 | 1.3101e-05 | 0.082796 | 0.082796 | 0.082796 | 0.98938 | -0.074331 | 0.99002 | -0.069841 | 30.6653
37 | 0.020719 | 0.0051951 | -0.020719 | -0.0051949 | 4.8015e-07 | 1.7462e-07 | 0.031255 | 0.031255 | 0.031255 | 0.98645 | -0.095036 | 0.98643 | -0.095203 | 11.576
38 | 0.015212 | 0.0038121 | -0.015209 | -0.003811 | 3.2146e-06 | 1.1097e-06 | 0.022864 | 0.022865 | 0.022865 | 0.99002 | -0.069841 | 0.9898 | -0.071368 | 8.4683
39 | -0.070293 | -0.017641 | 0.07039 | 0.017677 | 9.6179e-05 | 3.6814e-05 | 0.10566 | 0.10566 | 0.10566 | 0.99002 | -0.069841 | 0.99141 | -0.059998 | 39.1336
40 | 0.0039222 | 0.00098216 | -0.0039217 | -0.00098226 | 4.5747e-07 | -9.5064e-08 | 0.0058961 | 0.0058962 | 0.0058962 | 0.9898 | -0.071368 | 0.98968 | -0.072212 | 2.1838
41 | 0.011287 | 0.0028288 | -0.011286 | -0.0028285 | 9.9851e-07 | 3.1262e-07 | 0.016968 | 0.016968 | 0.016968 | 0.9898 | -0.071368 | 0.98971 | -0.072007 | 6.2846
42 | 0.0021316 | 0.00053362 | -0.0021315 | -0.00053382 | 1.2541e-07 | -2.032e-07 | 0.0032048 | 0.0032048 | 0.0032048 | 0.98968 | -0.072212 | 0.98962 | -0.072638 | 1.187
43 | 0.0095797 | 0.0024008 | -0.0095771 | -0.0024001 | 2.5393e-06 | 7.2465e-07 | 0.014403 | 0.014403 | 0.014403 | 0.98971 | -0.072007 | 0.98944 | -0.073923 | 5.3344
44 | 0.019137 | 0.0047984 | -0.019123 | -0.0047936 | 1.3334e-05 | 4.8014e-06 | 0.028868 | 0.028868 | 0.028868 | 0.98643 | -0.095203 | 0.98572 | -0.10023 | 10.6919
45 | 0.015518 | 0.0038899 | -0.015507 | -0.0038861 | 1.0769e-05 | 3.7412e-06 | 0.023425 | 0.023425 | 0.023425 | 0.98572 | -0.10023 | 0.98502 | -0.10525 | 8.6761
46 | 0.0065914 | 0.0016519 | -0.0065901 | -0.0016516 | 1.2781e-06 | 2.2866e-07 | 0.0099572 | 0.0099573 | 0.0099573 | 0.98502 | -0.10525 | 0.98482 | -0.10665 | 3.6879
47 | 0.0043951 | 0.0011014 | -0.004395 | -0.0011014 | 9.5208e-08 | -7.4388e-09 | 0.0066394 | 0.0066394 | 0.0066394 | 0.98502 | -0.10525 | 0.98499 | -0.10541 | 2.459
48 | 0.0027141 | 0.00068011 | -0.002714 | -0.0006802 | 1.0265e-07 | -8.5062e-08 | 0.0041001 | 0.0041002 | 0.0041002 | 0.98499 | -0.10541 | 0.98496 | -0.10568 | 1.5186
49 | 0.0021315 | 0.00053382 | -0.0021314 | -0.00053406 | 1.4756e-07 | -2.3903e-07 | 0.0032048 | 0.003205 | 0.003205 | 0.98962 | -0.072638 | 0.98955 | -0.073138 | 1.187
50 | 0.0081946 | 0.0020536 | -0.0081945 | -0.0020536 | 8.0367e-08 | 2.0019e-08 | 0.012324 | 0.012324 | 0.012324 | 0.98944 | -0.073923 | 0.98943 | -0.073993 | 4.5644
51 | -0.006424 | -0.0016099 | 0.0064242 | 0.0016099 | 1.7028e-07 | 2.7945e-08 | 0.0096613 | 0.0096613 | 0.0096613 | 0.9894 | -0.074185 | 0.98943 | -0.073993 | 3.5783
52 | 0.0051519 | 0.0012911 | -0.0051519 | -0.0012911 | 2.6511e-09 | 1.1079e-10 | 0.0077482 | 0.0077482 | 0.0077482 | 0.9894 | -0.074185 | 0.9894 | -0.074189 | 2.8697
53 | 0.0036983 | 0.00092675 | -0.0036981 | -0.00092682 | 2.7245e-07 | -7.6446e-08 | 0.0055621 | 0.0055622 | 0.0055622 | 0.9894 | -0.074189 | 0.98933 | -0.074721 | 2.0601
54 | 0.0021314 | 0.00053406 | -0.0021313 | -0.00053416 | 5.82e-08 | -9.4259e-08 | 0.003205 | 0.003205 | 0.003205 | 0.98955 | -0.073138 | 0.98952 | -0.073336 | 1.187

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23716 | 0.059466

## res_load
| p_mw | q_mvar
0 | 0.018766 | 0.0047033
1 | 0.0022796 | 0.00057132
2 | 0.001664 | 0.00041703
3 | 0.011501 | 0.0028823
4 | 0.0037834 | 0.00094822
5 | 0.007736 | 0.0019388
6 | 0.0064939 | 0.0016275
7 | 0.0052504 | 0.0013159
8 | 0.0051541 | 0.0012917
9 | 0.0053901 | 0.0013509
10 | 0.008615 | 0.0021591
11 | 0.0085568 | 0.0021445
12 | 0.0066525 | 0.0016673
13 | 0.0047313 | 0.0011858
14 | 0.0053181 | 0.0013328
15 | 0.016719 | 0.0041902
16 | 0.012102 | 0.003033
17 | 0.0087001 | 0.0021805
18 | 0.0082419 | 0.0020656
19 | 0.007121 | 0.0017847
20 | 0.009719 | 0.0024358
21 | 0.005618 | 0.001408
22 | 0.0050696 | 0.0012706
23 | 0.0023535 | 0.00058985
24 | 0.0087662 | 0.002197
25 | 0.0050499 | 0.0012656
26 | 0.0014702 | 0.00036848
27 | 0.0058659 | 0.0014701
28 | 0.0017901 | 0.00044864
29 | 0.0017064 | 0.00042766
30 | 0.0015824 | 0.00039658
31 | 0.0036057 | 0.00090367
32 | 0.0045204 | 0.0011329
33 | 0.0065901 | 0.0016516
34 | 0.0016809 | 0.00042127
35 | 0.002714 | 0.0006802
36 | 0.0013826 | 0.0003465
37 | 0.001272 | 0.0003188
38 | 0.0017703 | 0.00044369
39 | 0.0014536 | 0.00036431
40 | 0.0036981 | 0.00092682
41 | 0.0021313 | 0.00053416

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1