## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-10_0_3_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-10_0_3_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-10_0_3_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-10_0_3_node_3 | 0.4 | n |  | TRUE
4 | bus_LV_1631-10_0_3_node_4 | 0.4 | n |  | TRUE
5 | bus_LV_1631-10_0_3_node_33 | 0.4 | n |  | TRUE
6 | bus_LV_1631-10_0_3_node_5 | 0.4 | n |  | TRUE
7 | bus_LV_1631-10_0_3_node_36 | 0.4 | n |  | TRUE
8 | bus_LV_1631-10_0_3_node_26 | 0.4 | n |  | TRUE
9 | bus_LV_1631-10_0_3_node_35 | 0.4 | n |  | TRUE
10 | bus_LV_1631-10_0_3_node_6 | 0.4 | n |  | TRUE
11 | bus_LV_1631-10_0_3_node_7 | 0.4 | n |  | TRUE
12 | bus_LV_1631-10_0_3_node_8 | 0.4 | n |  | TRUE
13 | bus_LV_1631-10_0_3_node_9 | 0.4 | n |  | TRUE
14 | bus_LV_1631-10_0_3_node_10 | 0.4 | n |  | TRUE
15 | bus_LV_1631-10_0_3_node_39 | 0.4 | n |  | TRUE
16 | bus_LV_1631-10_0_3_node_37 | 0.4 | n |  | TRUE
17 | bus_LV_1631-10_0_3_node_38 | 0.4 | n |  | TRUE
18 | bus_LV_1631-10_0_3_node_40 | 0.4 | n |  | TRUE
19 | bus_LV_1631-10_0_3_node_19 | 0.4 | n |  | TRUE
20 | bus_LV_1631-10_0_3_node_11 | 0.4 | n |  | TRUE
21 | bus_LV_1631-10_0_3_node_12 | 0.4 | n |  | TRUE
22 | bus_LV_1631-10_0_3_node_13 | 0.4 | n |  | TRUE
23 | bus_LV_1631-10_0_3_node_14 | 0.4 | n |  | TRUE
24 | bus_LV_1631-10_0_3_node_15 | 0.4 | n |  | TRUE
25 | bus_LV_1631-10_0_3_node_18 | 0.4 | n |  | TRUE
26 | bus_LV_1631-10_0_3_node_21 | 0.4 | n |  | TRUE
27 | bus_LV_1631-10_0_3_node_20 | 0.4 | n |  | TRUE
28 | bus_LV_1631-10_0_3_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1631-10_0_3_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1631-10_0_3_node_22 | 0.4 | n |  | TRUE
31 | bus_LV_1631-10_0_3_node_17 | 0.4 | n |  | TRUE
32 | bus_LV_1631-10_0_3_node_29 | 0.4 | n |  | TRUE
33 | bus_LV_1631-10_0_3_node_23 | 0.4 | n |  | TRUE
34 | bus_LV_1631-10_0_3_node_24 | 0.4 | n |  | TRUE
35 | bus_LV_1631-10_0_3_node_32 | 0.4 | n |  | TRUE
36 | bus_LV_1631-10_0_3_node_31 | 0.4 | n |  | TRUE
37 | bus_LV_1631-10_0_3_node_27 | 0.4 | n |  | TRUE
38 | bus_LV_1631-10_0_3_node_28 | 0.4 | n |  | TRUE
39 | bus_LV_1631-10_0_3_node_30 | 0.4 | n |  | TRUE
40 | bus_LV_1631-10_0_3_node_34 | 0.4 | n |  | TRUE
41 | bus_LV_1631-10_0_3_node_50 | 0.4 | n |  | TRUE
42 | bus_LV_1631-10_0_3_node_41 | 0.4 | n |  | TRUE
43 | bus_LV_1631-10_0_3_node_42 | 0.4 | n |  | TRUE
44 | bus_LV_1631-10_0_3_node_44 | 0.4 | n |  | TRUE
45 | bus_LV_1631-10_0_3_node_47 | 0.4 | n |  | TRUE
46 | bus_LV_1631-10_0_3_node_46 | 0.4 | n |  | TRUE
47 | bus_LV_1631-10_0_3_node_43 | 0.4 | n |  | TRUE
48 | bus_LV_1631-10_0_3_node_45 | 0.4 | n |  | TRUE
49 | bus_LV_1631-10_0_3_node_48 | 0.4 | n |  | TRUE
50 | bus_MV_144_0_node_199 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-10_0_3_load_0 | 0 | 0.0034289 | 0.00085936 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-10_0_3_load_1 | 1 | 0.0035681 | 0.00089424 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-10_0_3_load_3 | 3 | 0.0043272 | 0.0010845 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-10_0_3_load_4 | 4 | 0.0039275 | 0.00098434 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-10_0_3_load_33 | 5 | 0.0043548 | 0.0010914 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-10_0_3_load_26 | 8 | 0.0048294 | 0.0012104 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-10_0_3_load_6 | 10 | 0.0040038 | 0.0010034 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-10_0_3_load_7 | 11 | 0.0016083 | 0.00040307 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-10_0_3_load_8 | 12 | 0.0025021 | 0.00062708 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-10_0_3_load_39 | 15 | 0.0020123 | 0.00050433 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-10_0_3_load_38 | 17 | 0.0038133 | 0.0009557 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-10_0_3_load_19 | 19 | 0.0057992 | 0.0014534 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-10_0_3_load_11 | 20 | 0.0041701 | 0.0010451 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-10_0_3_load_12 | 21 | 0.0038811 | 0.00097269 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-10_0_3_load_13 | 22 | 0.0035024 | 0.00087779 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-10_0_3_load_14 | 23 | 0.0034643 | 0.00086823 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-10_0_3_load_20 | 27 | 0.0074436 | 0.0018655 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-10_0_3_load_16 | 28 | 0.0034778 | 0.00087162 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-10_0_3_load_25 | 29 | 0.0038702 | 0.00096997 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-10_0_3_load_22 | 30 | 0.0032345 | 0.00081065 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-10_0_3_load_17 | 31 | 0.0058163 | 0.0014577 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-10_0_3_load_23 | 33 | 0.0057808 | 0.0014488 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-10_0_3_load_32 | 35 | 0.0052082 | 0.0013053 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-10_0_3_load_31 | 36 | 0.0038564 | 0.00096649 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-10_0_3_load_27 | 37 | 0.0028934 | 0.00072514 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-10_0_3_load_28 | 38 | 0.0027363 | 0.00068577 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-10_0_3_load_30 | 39 | 0.0032152 | 0.0008058 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-10_0_3_load_50 | 41 | 0.0034922 | 0.00087523 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-10_0_3_load_41 | 42 | 0.0018705 | 0.00046878 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-10_0_3_load_42 | 43 | 0.0013849 | 0.00034709 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1631-10_0_3_load_47 | 45 | 0.0021741 | 0.00054489 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1631-10_0_3_load_46 | 46 | 0.0027481 | 0.00068875 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1631-10_0_3_load_43 | 47 | 0.0032003 | 0.00080207 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1631-10_0_3_load_45 | 48 | 0.0025459 | 0.00063806 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1631-10_0_3_load_48 | 49 | 0.0028984 | 0.00072641 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 24 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-10_0_3_line_0 | NAYY 4x150 SE | 0 | 1 | 0.00042522 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-10_0_3_line_1 | NAYY 4x150 SE | 0 | 2 | 0.0086077 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-10_0_3_line_2 | NAYY 4x150 SE | 1 | 3 | 0.023797 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-10_0_3_line_3 | NAYY 4x150 SE | 2 | 4 | 0.020245 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-10_0_3_line_4 | NAYY 4x150 SE | 3 | 5 | 0.0095337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-10_0_3_line_5 | NAYY 4x150 SE | 4 | 6 | 0.016913 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-10_0_3_line_6 | NAYY 4x150 SE | 5 | 8 | 0.002216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-10_0_3_line_7 | NAYY 4x150 SE | 6 | 7 | 0.023619 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-10_0_3_line_8 | NAYY 4x150 SE | 7 | 9 | 0.005336 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-10_0_3_line_9 | NAYY 4x150 SE | 8 | 26 | 0.022903 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-10_0_3_line_10 | NAYY 4x150 SE | 9 | 41 | 0.009099 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-10_0_3_line_11 | NAYY 4x150 SE | 9 | 40 | 0.034519 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-10_0_3_line_12 | NAYY 4x150 SE | 10 | 11 | 0.0076055 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-10_0_3_line_13 | NAYY 4x150 SE | 10 | 12 | 0.0056732 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-10_0_3_line_14 | NAYY 4x150 SE | 11 | 13 | 0.0054052 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-10_0_3_line_15 | NAYY 4x150 SE | 12 | 14 | 0.012898 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-10_0_3_line_16 | NAYY 4x150 SE | 13 | 15 | 0.0082016 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-10_0_3_line_17 | NAYY 4x150 SE | 14 | 16 | 0.006043 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-10_0_3_line_18 | NAYY 4x150 SE | 14 | 17 | 0.0034314 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-10_0_3_line_19 | NAYY 4x150 SE | 15 | 18 | 0.012804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-10_0_3_line_20 | NAYY 4x150 SE | 16 | 19 | 0.013337 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-10_0_3_line_21 | NAYY 4x150 SE | 18 | 42 | 0.016274 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-10_0_3_line_22 | NAYY 4x150 SE | 18 | 43 | 0.010612 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-10_0_3_line_23 | NAYY 4x150 SE | 19 | 31 | 0.015414 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-10_0_3_line_24 | NAYY 4x150 SE | 20 | 21 | 0.018193 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-10_0_3_line_25 | NAYY 4x150 SE | 20 | 22 | 0.00048198 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-10_0_3_line_26 | NAYY 4x150 SE | 21 | 23 | 0.0044508 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
27 | LV_1631-10_0_3_line_27 | NAYY 4x150 SE | 22 | 24 | 0.010381 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-10_0_3_line_28 | NAYY 4x150 SE | 24 | 25 | 0.013235 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-10_0_3_line_29 | NAYY 4x150 SE | 24 | 26 | 0.013474 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
30 | LV_1631-10_0_3_line_30 | NAYY 4x150 SE | 25 | 27 | 0.009706 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-10_0_3_line_31 | NAYY 4x150 SE | 25 | 28 | 0.021752 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-10_0_3_line_32 | NAYY 4x150 SE | 26 | 29 | 0.017118 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-10_0_3_line_33 | NAYY 4x150 SE | 26 | 30 | 0.020056 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-10_0_3_line_34 | NAYY 4x150 SE | 28 | 31 | 0.0047676 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-10_0_3_line_35 | NAYY 4x150 SE | 29 | 32 | 0.014938 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
36 | LV_1631-10_0_3_line_36 | NAYY 4x150 SE | 30 | 33 | 0.018086 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-10_0_3_line_37 | NAYY 4x150 SE | 32 | 36 | 0.0079419 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-10_0_3_line_38 | NAYY 4x150 SE | 32 | 37 | 0.0076606 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-10_0_3_line_39 | NAYY 4x150 SE | 33 | 34 | 0.003503 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-10_0_3_line_40 | NAYY 4x150 SE | 34 | 35 | 0.020905 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1631-10_0_3_line_41 | NAYY 4x150 SE | 38 | 39 | 0.0069206 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1631-10_0_3_line_42 | NAYY 4x150 SE | 39 | 40 | 0.0085828 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1631-10_0_3_line_43 | NAYY 4x150 SE | 42 | 44 | 0.016901 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1631-10_0_3_line_44 | NAYY 4x150 SE | 43 | 45 | 0.012747 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1631-10_0_3_line_45 | NAYY 4x150 SE | 44 | 46 | 0.0069366 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1631-10_0_3_line_46 | NAYY 4x150 SE | 44 | 47 | 0.013835 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1631-10_0_3_line_47 | NAYY 4x150 SE | 45 | 48 | 0.011164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1631-10_0_3_line_48 | NAYY 4x150 SE | 46 | 49 | 0.0041461 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-10_0_3_trafo_15 | 0.25 MVA 20/0.4 kV | 50 | 24 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4
0 | 2723889.1653 | 1207260.7574 | 2723888.7485 | 1207260.6733
1 | 2723897.6031 | 1207262.4592 | 2723889.1653 | 1207260.7574
2 | 2723888.7485 | 1207260.6733 | 2723865.4213 | 1207255.9686
3 | 2723897.6031 | 1207262.4592 | 2723902.8387 | 1207253.1941 | 2723906.9268 | 1207251.5666 | 2723909.7995 | 1207247.229
4 | 2723856.0758 | 1207254.0837 | 2723865.4213 | 1207255.9686
5 | 2723919.1382 | 1207233.1282 | 2723909.7995 | 1207247.229
6 | 2723856.0758 | 1207254.0837 | 2723853.9035 | 1207253.6456
7 | 2723900.3832 | 1207226.3894 | 2723911.4246 | 1207223.6276 | 2723919.1382 | 1207233.1282
8 | 2723899.2134 | 1207221.1834 | 2723900.3832 | 1207226.3894
9 | 2723835.995 | 1207239.8414 | 2723844.1351 | 1207244.5583 | 2723849.1743 | 1207250.6119 | 2723853.9035 | 1207253.6456 | 2723853.9035 | 1207253.6456
10 | 2723893.496 | 1207214.0926 | 2723899.2134 | 1207221.1834
11 | 2723893.0687 | 1207188.1529 | 2723897.437 | 1207198.6738 | 2723900.4697 | 1207207.5768 | 2723900.6914 | 1207211.5511 | 2723899.2134 | 1207221.1834
12 | 2723781.5938 | 1207203.0479 | 2723778.4902 | 1207201.2861 | 2723775.411 | 1207198.6759
13 | 2723781.5938 | 1207203.0479 | 2723786.5275 | 1207205.8486
14 | 2723772.2511 | 1207194.3959 | 2723773.878 | 1207197.3763 | 2723775.411 | 1207198.6759
15 | 2723797.7441 | 1207212.2159 | 2723786.5275 | 1207205.8486
16 | 2723772.2511 | 1207194.3959 | 2723770.9243 | 1207189.7871 | 2723770.6662 | 1207186.3913
17 | 2723797.7441 | 1207212.2159 | 2723793.7626 | 1207216.7701
18 | 2723797.7441 | 1207212.2159 | 2723800.6912 | 1207213.9734
19 | 2723770.8491 | 1207173.6177 | 2723770.3208 | 1207181.8463 | 2723770.6662 | 1207186.3913
20 | 2723793.7626 | 1207216.7701 | 2723788.9028 | 1207229.1899
21 | 2723770.8491 | 1207173.6177 | 2723768.0683 | 1207170.1574 | 2723763.9168 | 1207159.0745
22 | 2723770.8491 | 1207173.6177 | 2723760.2371 | 1207173.6344
23 | 2723788.9028 | 1207229.1899 | 2723794.1665 | 1207234.6921 | 2723801.0048 | 1207238.4434
24 | 2723835.6948 | 1207222.8998 | 2723839.2847 | 1207219.8833 | 2723850.0216 | 1207211.6928
25 | 2723835.6948 | 1207222.8998 | 2723835.3258 | 1207223.2099
26 | 2723853.5603 | 1207208.9934 | 2723850.0216 | 1207211.6928
27 | 2723827.3779 | 1207229.8884 | 2723835.3258 | 1207223.2099
28 | 2723826.5468 | 1207239.1449 | 2723831.5862 | 1207232.7334 | 2723827.3779 | 1207229.8884
29 | 2723835.995 | 1207239.8414 | 2723834.0286 | 1207235.9977 | 2723831.5862 | 1207232.7334 | 2723827.3779 | 1207229.8884
30 | 2723826.5468 | 1207239.1449 | 2723818.1169 | 1207243.9959
31 | 2723826.5468 | 1207239.1449 | 2723812.5514 | 1207238.3762 | 2723805.1848 | 1207240.7363 | 2723805.1848 | 1207240.7363
32 | 2723835.995 | 1207239.8414 | 2723847.8195 | 1207236.3618 | 2723852.552 | 1207235.61
33 | 2723835.995 | 1207239.8414 | 2723837.4177 | 1207243.4959 | 2723838.3513 | 1207248.7192 | 2723837.5498 | 1207259.5182
34 | 2723801.0048 | 1207238.4434 | 2723805.1848 | 1207240.7363
35 | 2723867.4004 | 1207234.0997 | 2723857.8478 | 1207234.7686 | 2723852.552 | 1207235.61
36 | 2723835.0964 | 1207277.4072 | 2723836.2848 | 1207272.0497 | 2723837.1474 | 1207264.9399 | 2723837.5498 | 1207259.5182
37 | 2723867.4004 | 1207234.0997 | 2723872.1304 | 1207233.4306 | 2723875.2147 | 1207232.7214
38 | 2723867.4004 | 1207234.0997 | 2723866.4629 | 1207226.4966
39 | 2723834.3379 | 1207280.8271 | 2723835.0964 | 1207277.4072
40 | 2723834.3379 | 1207280.8271 | 2723828.7577 | 1207281.0448 | 2723816.0624 | 1207289.621
41 | 2723885.641 | 1207189.4271 | 2723879.6446 | 1207192.8824
42 | 2723893.0687 | 1207188.1529 | 2723891.9427 | 1207187.062 | 2723890.8227 | 1207186.783 | 2723889.9522 | 1207186.9428 | 2723885.641 | 1207189.4271
43 | 2723758.582 | 1207143.0623 | 2723759.9454 | 1207148.4725 | 2723763.9168 | 1207159.0745
44 | 2723747.4906 | 1207173.6546 | 2723760.2371 | 1207173.6344
45 | 2723758.582 | 1207143.0623 | 2723759.6338 | 1207136.2059
46 | 2723758.582 | 1207143.0623 | 2723754.4831 | 1207148.8707 | 2723751.9492 | 1207155.1006
47 | 2723736.354 | 1207174.2809 | 2723743.4564 | 1207173.661 | 2723747.4906 | 1207173.6546
48 | 2723759.6338 | 1207136.2059 | 2723760.2625 | 1207132.1078

## bus_geodata
| x | y | coords
0 | 2723889.1653 | 1207260.7574
1 | 2723888.7485 | 1207260.6733
2 | 2723897.6031 | 1207262.4592
3 | 2723865.4213 | 1207255.9686
4 | 2723909.7995 | 1207247.229
5 | 2723856.0758 | 1207254.0837
6 | 2723919.1382 | 1207233.1282
7 | 2723900.3832 | 1207226.3894
8 | 2723853.9035 | 1207253.6456
9 | 2723899.2134 | 1207221.1834
10 | 2723781.5938 | 1207203.0479
11 | 2723775.411 | 1207198.6759
12 | 2723786.5275 | 1207205.8486
13 | 2723772.2511 | 1207194.3959
14 | 2723797.7441 | 1207212.2159
15 | 2723770.6662 | 1207186.3913
16 | 2723793.7626 | 1207216.7701
17 | 2723800.6912 | 1207213.9734
18 | 2723770.8491 | 1207173.6177
19 | 2723788.9028 | 1207229.1899
20 | 2723835.6948 | 1207222.8998
21 | 2723850.0216 | 1207211.6928
22 | 2723835.3258 | 1207223.2099
23 | 2723853.5603 | 1207208.9934
24 | 2723827.3779 | 1207229.8884
25 | 2723826.5468 | 1207239.1449
26 | 2723835.995 | 1207239.8414
27 | 2723818.1169 | 1207243.9959
28 | 2723805.1848 | 1207240.7363
29 | 2723852.552 | 1207235.61
30 | 2723837.5498 | 1207259.5182
31 | 2723801.0048 | 1207238.4434
32 | 2723867.4004 | 1207234.0997
33 | 2723835.0964 | 1207277.4072
34 | 2723834.3379 | 1207280.8271
35 | 2723816.0624 | 1207289.621
36 | 2723875.2147 | 1207232.7214
37 | 2723866.4629 | 1207226.4966
38 | 2723879.6446 | 1207192.8824
39 | 2723885.641 | 1207189.4271
40 | 2723893.0687 | 1207188.1529
41 | 2723893.496 | 1207214.0926
42 | 2723763.9168 | 1207159.0745
43 | 2723760.2371 | 1207173.6344
44 | 2723758.582 | 1207143.0623
45 | 2723747.4906 | 1207173.6546
46 | 2723759.6338 | 1207136.2059
47 | 2723751.9492 | 1207155.1006
48 | 2723736.354 | 1207174.2809
49 | 2723760.2625 | 1207132.1078
50 | 2723831.5862 | 1207232.7334

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.99663 | -0.023635 | 0.0034289 | 0.00085936
1 | 0.99664 | -0.023563 | 0.0035681 | 0.00089424
2 | 0.99646 | -0.024793 | 0 | 0
3 | 0.99733 | -0.018693 | 0.0043272 | 0.0010845
4 | 0.99607 | -0.027517 | 0.0039275 | 0.00098434
5 | 0.99767 | -0.01633 | 0.0043548 | 0.0010914
6 | 0.99585 | -0.029126 | 0 | 0
7 | 0.99553 | -0.031373 | 0 | 0
8 | 0.99776 | -0.015684 | 0.0048294 | 0.0012104
9 | 0.99545 | -0.031881 | 0 | 0
10 | 0.99491 | -0.035636 | 0.0040038 | 0.0010034
11 | 0.99469 | -0.037205 | 0.0016083 | 0.00040307
12 | 0.99511 | -0.034237 | 0.0025021 | 0.00062708
13 | 0.99454 | -0.038232 | 0 | 0
14 | 0.99561 | -0.030734 | 0 | 0
15 | 0.99432 | -0.039792 | 0.0020123 | 0.00050433
16 | 0.99588 | -0.028862 | 0 | 0
17 | 0.99559 | -0.030866 | 0.0038133 | 0.0009557
18 | 0.99401 | -0.041969 | 0 | 0
19 | 0.99646 | -0.024734 | 0.0057992 | 0.0014534
20 | 0.99977 | -0.001612 | 0.0041701 | 0.0010451
21 | 0.99958 | -0.0029469 | 0.0038811 | 0.00097269
22 | 0.99978 | -0.0015566 | 0.0035024 | 0.00087779
23 | 0.99956 | -0.0031009 | 0.0034643 | 0.00086823
24 | 1 | 0 | -0.12822 | -0.031979
25 | 0.99899 | -0.00705 | 0 | 0
26 | 0.99887 | -0.0079098 | 0 | 0
27 | 0.99889 | -0.0077727 | 0.0074436 | 0.0018655
28 | 0.99756 | -0.017043 | 0.0034778 | 0.00087162
29 | 0.99861 | -0.0097294 | 0.0038702 | 0.00096997
30 | 0.99846 | -0.010766 | 0.0032345 | 0.00081065
31 | 0.99727 | -0.019071 | 0.0058163 | 0.0014577
32 | 0.99847 | -0.010739 | 0 | 0
33 | 0.99818 | -0.012756 | 0.0057808 | 0.0014488
34 | 0.99815 | -0.012939 | 0 | 0
35 | 0.998 | -0.01403 | 0.0052082 | 0.0013053
36 | 0.99842 | -0.011046 | 0.0038564 | 0.00096649
37 | 0.99843 | -0.010961 | 0.0028934 | 0.00072514
38 | 0.99506 | -0.034657 | 0.0027363 | 0.00068577
39 | 0.99509 | -0.034466 | 0.0032152 | 0.0008058
40 | 0.99516 | -0.033951 | 0 | 0
41 | 0.99541 | -0.032201 | 0.0034922 | 0.00087523
42 | 0.99376 | -0.043732 | 0.0018705 | 0.00046878
43 | 0.99392 | -0.042623 | 0.0013849 | 0.00034709
44 | 0.99355 | -0.045243 | 0 | 0
45 | 0.99383 | -0.043231 | 0.0021741 | 0.00054489
46 | 0.99349 | -0.045639 | 0.0027481 | 0.00068875
47 | 0.99348 | -0.045691 | 0.0032003 | 0.00080207
48 | 0.99379 | -0.043519 | 0.0025459 | 0.00063806
49 | 0.99348 | -0.045761 | 0.0028984 | 0.00072641
50 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.016815 | -0.0042146 | 0.016815 | 0.0042147 | 1.6725e-07 | 5.8786e-08 | 0.025106 | 0.025106 | 0.025106 | 0.99663 | -0.023635 | 0.99664 | -0.023563 | 9.2986
1 | 0.013386 | 0.0033553 | -0.013384 | -0.0033545 | 2.1456e-06 | 7.131e-07 | 0.019987 | 0.019987 | 0.019987 | 0.99663 | -0.023635 | 0.99646 | -0.024793 | 7.4025
2 | -0.020384 | -0.0051089 | 0.020397 | 0.0051139 | 1.3753e-05 | 4.9794e-06 | 0.030433 | 0.030433 | 0.030433 | 0.99664 | -0.023563 | 0.99733 | -0.018693 | 11.2717
3 | 0.013384 | 0.0033545 | -0.013379 | -0.0033529 | 5.0465e-06 | 1.6773e-06 | 0.019987 | 0.019987 | 0.019987 | 0.99646 | -0.024793 | 0.99607 | -0.027517 | 7.4026
4 | -0.024725 | -0.0061984 | 0.024733 | 0.0062014 | 8.0957e-06 | 2.9893e-06 | 0.03689 | 0.03689 | 0.03689 | 0.99733 | -0.018693 | 0.99767 | -0.01633 | 13.6628
5 | 0.0094517 | 0.0023685 | -0.0094496 | -0.0023679 | 2.104e-06 | 5.8914e-07 | 0.01412 | 0.01412 | 0.01412 | 0.99607 | -0.027517 | 0.99585 | -0.029126 | 5.2295
6 | -0.029087 | -0.0072928 | 0.02909 | 0.0072938 | 2.6027e-06 | 9.721e-07 | 0.043385 | 0.043385 | 0.043385 | 0.99767 | -0.01633 | 0.99776 | -0.015684 | 16.0684
7 | 0.0094496 | 0.0023679 | -0.0094467 | -0.0023671 | 2.9384e-06 | 8.2294e-07 | 0.01412 | 0.01412 | 0.01412 | 0.99585 | -0.029126 | 0.99553 | -0.031373 | 5.2296
8 | 0.0094467 | 0.0023671 | -0.009446 | -0.0023669 | 6.6383e-07 | 1.8595e-07 | 0.01412 | 0.01412 | 0.01412 | 0.99553 | -0.031373 | 0.99545 | -0.031881 | 5.2296
9 | -0.033919 | -0.0085041 | 0.033956 | 0.0085179 | 3.6573e-05 | 1.3767e-05 | 0.050587 | 0.050587 | 0.050587 | 0.99776 | -0.015684 | 0.99887 | -0.0079098 | 18.7359
10 | 0.0034924 | 0.00087517 | -0.0034922 | -0.00087523 | 1.5474e-07 | -5.877e-08 | 0.0052204 | 0.0052204 | 0.0052204 | 0.99545 | -0.031881 | 0.99541 | -0.032201 | 1.9335
11 | 0.0059536 | 0.0014918 | -0.0059519 | -0.0014916 | 1.706e-06 | 2.0752e-07 | 0.0088994 | 0.0088996 | 0.0088996 | 0.99545 | -0.031881 | 0.99516 | -0.033951 | 3.2961
12 | 0.020465 | 0.0051304 | -0.020461 | -0.0051288 | 4.4463e-06 | 1.6114e-06 | 0.030609 | 0.030609 | 0.030609 | 0.99491 | -0.035636 | 0.99469 | -0.037205 | 11.3366
13 | -0.024469 | -0.0061339 | 0.024474 | 0.0061356 | 4.7413e-06 | 1.7499e-06 | 0.036597 | 0.036597 | 0.036597 | 0.99491 | -0.035636 | 0.99511 | -0.034237 | 13.5544
14 | 0.018852 | 0.0047257 | -0.01885 | -0.0047248 | 2.6828e-06 | 9.6169e-07 | 0.028203 | 0.028203 | 0.028203 | 0.99469 | -0.037205 | 0.99454 | -0.038232 | 10.4455
15 | -0.026976 | -0.0067627 | 0.026989 | 0.0067675 | 1.3096e-05 | 4.8692e-06 | 0.040338 | 0.040338 | 0.040338 | 0.99511 | -0.034237 | 0.99561 | -0.030734 | 14.9401
16 | 0.01885 | 0.0047248 | -0.018846 | -0.0047233 | 4.0707e-06 | 1.4592e-06 | 0.028203 | 0.028203 | 0.028203 | 0.99454 | -0.038232 | 0.99432 | -0.039792 | 10.4455
17 | -0.030802 | -0.0077232 | 0.03081 | 0.0077262 | 7.9921e-06 | 2.9953e-06 | 0.046038 | 0.046037 | 0.046038 | 0.99561 | -0.030734 | 0.99588 | -0.028862 | 17.0509
18 | 0.0038133 | 0.00095568 | -0.0038133 | -0.0009557 | 6.9552e-08 | -1.7872e-08 | 0.0056993 | 0.0056993 | 0.0056993 | 0.99561 | -0.030734 | 0.99559 | -0.030866 | 2.1109
19 | 0.016833 | 0.004219 | -0.016828 | -0.0042172 | 5.0702e-06 | 1.7841e-06 | 0.025191 | 0.025191 | 0.025191 | 0.99432 | -0.039792 | 0.99401 | -0.041969 | 9.3302
20 | -0.03081 | -0.0077262 | 0.030828 | 0.0077328 | 1.7638e-05 | 6.6103e-06 | 0.046037 | 0.046037 | 0.046037 | 0.99588 | -0.028862 | 0.99646 | -0.024734 | 17.0509
21 | 0.010722 | 0.0026872 | -0.01072 | -0.0026864 | 2.6163e-06 | 7.9537e-07 | 0.016051 | 0.016051 | 0.016051 | 0.99401 | -0.041969 | 0.99376 | -0.043732 | 5.9449
22 | 0.006106 | 0.00153 | -0.0061054 | -0.0015299 | 5.5324e-07 | 7.5239e-08 | 0.0091404 | 0.0091405 | 0.0091405 | 0.99401 | -0.041969 | 0.99392 | -0.042623 | 3.3854
23 | -0.036627 | -0.0091862 | 0.036656 | 0.0091971 | 2.8776e-05 | 1.0867e-05 | 0.054697 | 0.054697 | 0.054697 | 0.99646 | -0.024734 | 0.99727 | -0.019071 | 20.2583
24 | 0.0073468 | 0.0018412 | -0.0073454 | -0.0018409 | 1.3574e-06 | 2.8355e-07 | 0.010935 | 0.010935 | 0.010935 | 0.99977 | -0.001612 | 0.99958 | -0.0029469 | 4.0499
25 | -0.011517 | -0.0028863 | 0.011517 | 0.0028863 | 8.8368e-08 | 2.7667e-08 | 0.017141 | 0.017141 | 0.017141 | 0.99977 | -0.001612 | 0.99978 | -0.0015566 | 6.3486
26 | 0.0034644 | 0.0008682 | -0.0034643 | -0.00086823 | 7.3866e-08 | -2.9931e-08 | 0.0051572 | 0.0051572 | 0.0051572 | 0.99958 | -0.0029469 | 0.99956 | -0.0031009 | 1.9101
27 | -0.015019 | -0.0037641 | 0.015023 | 0.0037652 | 3.237e-06 | 1.1088e-06 | 0.022354 | 0.022354 | 0.022354 | 0.99978 | -0.0015566 | 1 | 0 | 8.2793
28 | 0.053522 | 0.013441 | -0.05347 | -0.013421 | 5.2395e-05 | 1.9978e-05 | 0.079652 | 0.079652 | 0.079652 | 1 | 0 | 0.99899 | -0.00705 | 29.5007
29 | 0.058877 | 0.014773 | -0.058813 | -0.014748 | 6.4544e-05 | 2.4648e-05 | 0.087616 | 0.087616 | 0.087616 | 1 | 0 | 0.99887 | -0.0079098 | 32.4505
30 | 0.0074444 | 0.0018657 | -0.0074436 | -0.0018655 | 7.4469e-07 | 1.5935e-07 | 0.011089 | 0.011089 | 0.011089 | 0.99899 | -0.00705 | 0.99889 | -0.0077727 | 4.1069
31 | 0.046026 | 0.011555 | -0.045962 | -0.011531 | 6.3807e-05 | 2.4257e-05 | 0.068563 | 0.068563 | 0.068563 | 0.99899 | -0.00705 | 0.99756 | -0.017043 | 25.3939
32 | 0.010624 | 0.0026625 | -0.010621 | -0.0026617 | 2.6754e-06 | 8.0499e-07 | 0.015826 | 0.015826 | 0.015826 | 0.99887 | -0.0079098 | 0.99861 | -0.0097294 | 5.8616
33 | 0.014233 | 0.0035676 | -0.014228 | -0.0035657 | 5.6266e-06 | 1.9017e-06 | 0.021203 | 0.021203 | 0.021203 | 0.99887 | -0.0079098 | 0.99846 | -0.010766 | 7.8531
34 | 0.042484 | 0.010659 | -0.042472 | -0.010655 | 1.1949e-05 | 4.5335e-06 | 0.063376 | 0.063376 | 0.063376 | 0.99756 | -0.017043 | 0.99727 | -0.019071 | 23.4725
35 | 0.0067509 | 0.0016917 | -0.00675 | -0.0016915 | 9.4325e-07 | 1.6738e-07 | 0.010059 | 0.010059 | 0.010059 | 0.99861 | -0.0097294 | 0.99847 | -0.010739 | 3.7257
36 | 0.010993 | 0.0027551 | -0.01099 | -0.0027541 | 3.0291e-06 | 9.2857e-07 | 0.016383 | 0.016383 | 0.016383 | 0.99846 | -0.010766 | 0.99818 | -0.012756 | 6.0678
37 | 0.0038565 | 0.00096645 | -0.0038564 | -0.00096649 | 1.637e-07 | -4.0907e-08 | 0.0057474 | 0.0057474 | 0.0057474 | 0.99847 | -0.010739 | 0.99842 | -0.011046 | 2.1287
38 | 0.0028934 | 0.00072508 | -0.0028934 | -0.00072514 | 8.8884e-08 | -6.6004e-08 | 0.0043121 | 0.0043121 | 0.0043121 | 0.99847 | -0.010739 | 0.99843 | -0.010961 | 1.5971
39 | 0.0052092 | 0.0013053 | -0.005209 | -0.0013053 | 1.3181e-07 | 4.9082e-09 | 0.0077654 | 0.0077654 | 0.0077654 | 0.99818 | -0.012756 | 0.99815 | -0.012939 | 2.8761
40 | 0.005209 | 0.0013053 | -0.0052082 | -0.0013053 | 7.8663e-07 | 2.9345e-08 | 0.0077654 | 0.0077655 | 0.0077655 | 0.99815 | -0.012939 | 0.998 | -0.01403 | 2.8761
41 | -0.0027363 | -0.00068577 | 0.0027363 | 0.00068571 | 7.2303e-08 | -6.2092e-08 | 0.0040918 | 0.0040918 | 0.0040918 | 0.99506 | -0.034657 | 0.99509 | -0.034466 | 1.5155
42 | -0.0059515 | -0.0014915 | 0.0059519 | 0.0014916 | 4.2418e-07 | 5.1643e-08 | 0.0088996 | 0.0088996 | 0.0088996 | 0.99509 | -0.034466 | 0.99516 | -0.033951 | 3.2962
43 | 0.0088492 | 0.0022176 | -0.0088474 | -0.0022171 | 1.8516e-06 | 4.9324e-07 | 0.01325 | 0.01325 | 0.01325 | 0.99376 | -0.043732 | 0.99355 | -0.045243 | 4.9076
44 | 0.0047205 | 0.0011828 | -0.0047201 | -0.0011828 | 3.9725e-07 | -1.2396e-08 | 0.0070671 | 0.0070672 | 0.0070672 | 0.99392 | -0.042623 | 0.99383 | -0.043231 | 2.6175
45 | 0.0056469 | 0.0014152 | -0.0056466 | -0.0014151 | 3.0959e-07 | 2.9246e-08 | 0.0084572 | 0.0084572 | 0.0084572 | 0.99355 | -0.045243 | 0.99349 | -0.045639 | 3.1323
46 | 0.0032005 | 0.00080197 | -0.0032003 | -0.00080207 | 1.9834e-07 | -1.0287e-07 | 0.0047933 | 0.0047933 | 0.0047933 | 0.99355 | -0.045243 | 0.99348 | -0.045691 | 1.7753
47 | 0.002546 | 0.00063796 | -0.0025459 | -0.00063806 | 1.0123e-07 | -1.0572e-07 | 0.003812 | 0.003812 | 0.003812 | 0.99383 | -0.043231 | 0.99379 | -0.043519 | 1.4119
48 | 0.0028985 | 0.00072638 | -0.0028984 | -0.00072641 | 4.8758e-08 | -3.4934e-08 | 0.0043412 | 0.0043412 | 0.0043412 | 0.99349 | -0.045639 | 0.99348 | -0.045761 | 1.6079

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | -4.4415e-16 | -7.6913e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.564e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.12822 | 0.031979

## res_load
| p_mw | q_mvar
0 | 0.0034289 | 0.00085936
1 | 0.0035681 | 0.00089424
2 | 0.0043272 | 0.0010845
3 | 0.0039275 | 0.00098434
4 | 0.0043548 | 0.0010914
5 | 0.0048294 | 0.0012104
6 | 0.0040038 | 0.0010034
7 | 0.0016083 | 0.00040307
8 | 0.0025021 | 0.00062708
9 | 0.0020123 | 0.00050433
10 | 0.0038133 | 0.0009557
11 | 0.0057992 | 0.0014534
12 | 0.0041701 | 0.0010451
13 | 0.0038811 | 0.00097269
14 | 0.0035024 | 0.00087779
15 | 0.0034643 | 0.00086823
16 | 0.0074436 | 0.0018655
17 | 0.0034778 | 0.00087162
18 | 0.0038702 | 0.00096997
19 | 0.0032345 | 0.00081065
20 | 0.0058163 | 0.0014577
21 | 0.0057808 | 0.0014488
22 | 0.0052082 | 0.0013053
23 | 0.0038564 | 0.00096649
24 | 0.0028934 | 0.00072514
25 | 0.0027363 | 0.00068577
26 | 0.0032152 | 0.0008058
27 | 0.0034922 | 0.00087523
28 | 0.0018705 | 0.00046878
29 | 0.0013849 | 0.00034709
30 | 0.0021741 | 0.00054489
31 | 0.0027481 | 0.00068875
32 | 0.0032003 | 0.00080207
33 | 0.0025459 | 0.00063806
34 | 0.0028984 | 0.00072641

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1