## bus
| name | vn_kv | type | zone | in_service
0 | bus_LV_1631-113_0_4_node_0 | 0.4 | n |  | TRUE
1 | bus_LV_1631-113_0_4_node_1 | 0.4 | n |  | TRUE
2 | bus_LV_1631-113_0_4_node_2 | 0.4 | n |  | TRUE
3 | bus_LV_1631-113_0_4_node_8 | 0.4 | n |  | TRUE
4 | bus_LV_1631-113_0_4_node_3 | 0.4 | n |  | TRUE
5 | bus_LV_1631-113_0_4_node_51 | 0.4 | n |  | TRUE
6 | bus_LV_1631-113_0_4_node_9 | 0.4 | n |  | TRUE
7 | bus_LV_1631-113_0_4_node_6 | 0.4 | n |  | TRUE
8 | bus_LV_1631-113_0_4_node_4 | 0.4 | n |  | TRUE
9 | bus_LV_1631-113_0_4_node_5 | 0.4 | n |  | TRUE
10 | bus_LV_1631-113_0_4_node_7 | 0.4 | n |  | TRUE
11 | bus_LV_1631-113_0_4_node_10 | 0.4 | n |  | TRUE
12 | bus_LV_1631-113_0_4_node_53 | 0.4 | n |  | TRUE
13 | bus_LV_1631-113_0_4_node_11 | 0.4 | n |  | TRUE
14 | bus_LV_1631-113_0_4_node_49 | 0.4 | n |  | TRUE
15 | bus_LV_1631-113_0_4_node_48 | 0.4 | n |  | TRUE
16 | bus_LV_1631-113_0_4_node_28 | 0.4 | n |  | TRUE
17 | bus_LV_1631-113_0_4_node_45 | 0.4 | n |  | TRUE
18 | bus_LV_1631-113_0_4_node_50 | 0.4 | n |  | TRUE
19 | bus_LV_1631-113_0_4_node_46 | 0.4 | n |  | TRUE
20 | bus_LV_1631-113_0_4_node_12 | 0.4 | n |  | TRUE
21 | bus_LV_1631-113_0_4_node_13 | 0.4 | n |  | TRUE
22 | bus_LV_1631-113_0_4_node_14 | 0.4 | n |  | TRUE
23 | bus_LV_1631-113_0_4_node_17 | 0.4 | n |  | TRUE
24 | bus_LV_1631-113_0_4_node_21 | 0.4 | n |  | TRUE
25 | bus_LV_1631-113_0_4_node_22 | 0.4 | n |  | TRUE
26 | bus_LV_1631-113_0_4_node_18 | 0.4 | n |  | TRUE
27 | bus_LV_1631-113_0_4_node_15 | 0.4 | n |  | TRUE
28 | bus_LV_1631-113_0_4_node_16 | 0.4 | n |  | TRUE
29 | bus_LV_1631-113_0_4_node_25 | 0.4 | n |  | TRUE
30 | bus_LV_1631-113_0_4_node_26 | 0.4 | n |  | TRUE
31 | bus_LV_1631-113_0_4_node_29 | 0.4 | n |  | TRUE
32 | bus_LV_1631-113_0_4_node_19 | 0.4 | n |  | TRUE
33 | bus_LV_1631-113_0_4_node_20 | 0.4 | n |  | TRUE
34 | bus_LV_1631-113_0_4_node_23 | 0.4 | n |  | TRUE
35 | bus_LV_1631-113_0_4_node_24 | 0.4 | n |  | TRUE
36 | bus_LV_1631-113_0_4_node_27 | 0.4 | n |  | TRUE
37 | bus_LV_1631-113_0_4_node_30 | 0.4 | n |  | TRUE
38 | bus_LV_1631-113_0_4_node_36 | 0.4 | n |  | TRUE
39 | bus_LV_1631-113_0_4_node_31 | 0.4 | n |  | TRUE
40 | bus_LV_1631-113_0_4_node_32 | 0.4 | n |  | TRUE
41 | bus_LV_1631-113_0_4_node_33 | 0.4 | n |  | TRUE
42 | bus_LV_1631-113_0_4_node_34 | 0.4 | n |  | TRUE
43 | bus_LV_1631-113_0_4_node_35 | 0.4 | n |  | TRUE
44 | bus_LV_1631-113_0_4_node_41 | 0.4 | n |  | TRUE
45 | bus_LV_1631-113_0_4_node_39 | 0.4 | n |  | TRUE
46 | bus_LV_1631-113_0_4_node_38 | 0.4 | n |  | TRUE
47 | bus_LV_1631-113_0_4_node_37 | 0.4 | n |  | TRUE
48 | bus_LV_1631-113_0_4_node_40 | 0.4 | n |  | TRUE
49 | bus_LV_1631-113_0_4_node_43 | 0.4 | n |  | TRUE
50 | bus_LV_1631-113_0_4_node_44 | 0.4 | n |  | TRUE
51 | bus_LV_1631-113_0_4_node_47 | 0.4 | n |  | TRUE
52 | bus_LV_1631-113_0_4_node_55 | 0.4 | n |  | TRUE
53 | bus_LV_1631-113_0_4_node_54 | 0.4 | n |  | TRUE
54 | bus_MV_13_0_node_37 | 20 | n |  | TRUE

## load
| name | bus | p_mw | q_mvar | const_z_percent | const_i_percent | sn_mva | scaling | in_service | type
0 | LV_1631-113_0_4_load_0 | 0 | 0.00053085 | 0.00013304 | 0 | 0 |  | 1 | TRUE | wye
1 | LV_1631-113_0_4_load_1 | 1 | 0.00068438 | 0.00017152 | 0 | 0 |  | 1 | TRUE | wye
2 | LV_1631-113_0_4_load_51 | 5 | 0.0058658 | 0.0014701 | 0 | 0 |  | 1 | TRUE | wye
3 | LV_1631-113_0_4_load_6 | 7 | 0.0029889 | 0.0007491 | 0 | 0 |  | 1 | TRUE | wye
4 | LV_1631-113_0_4_load_4 | 8 | 0.00058707 | 0.00014713 | 0 | 0 |  | 1 | TRUE | wye
5 | LV_1631-113_0_4_load_5 | 9 | 0.0014282 | 0.00035793 | 0 | 0 |  | 1 | TRUE | wye
6 | LV_1631-113_0_4_load_53 | 12 | 0.00078847 | 0.00019761 | 0 | 0 |  | 1 | TRUE | wye
7 | LV_1631-113_0_4_load_28 | 16 | 0.0061542 | 0.0015424 | 0 | 0 |  | 1 | TRUE | wye
8 | LV_1631-113_0_4_load_46 | 19 | 0.0061493 | 0.0015411 | 0 | 0 |  | 1 | TRUE | wye
9 | LV_1631-113_0_4_load_12 | 20 | 0.0015886 | 0.00039815 | 0 | 0 |  | 1 | TRUE | wye
10 | LV_1631-113_0_4_load_13 | 21 | 0.008954 | 0.0022441 | 0 | 0 |  | 1 | TRUE | wye
11 | LV_1631-113_0_4_load_14 | 22 | 0.0038273 | 0.00095921 | 0 | 0 |  | 1 | TRUE | wye
12 | LV_1631-113_0_4_load_21 | 24 | 0.0031413 | 0.0007873 | 0 | 0 |  | 1 | TRUE | wye
13 | LV_1631-113_0_4_load_22 | 25 | 0.0023201 | 0.00058147 | 0 | 0 |  | 1 | TRUE | wye
14 | LV_1631-113_0_4_load_18 | 26 | 0.0083063 | 0.0020818 | 0 | 0 |  | 1 | TRUE | wye
15 | LV_1631-113_0_4_load_15 | 27 | 0.00038875 | 9.7429e-05 | 0 | 0 |  | 1 | TRUE | wye
16 | LV_1631-113_0_4_load_16 | 28 | 0.0031978 | 0.00080144 | 0 | 0 |  | 1 | TRUE | wye
17 | LV_1631-113_0_4_load_25 | 29 | 0.021158 | 0.0053026 | 0 | 0 |  | 1 | TRUE | wye
18 | LV_1631-113_0_4_load_29 | 31 | 0.0035773 | 0.00089656 | 0 | 0 |  | 1 | TRUE | wye
19 | LV_1631-113_0_4_load_19 | 32 | 0.0091885 | 0.0023029 | 0 | 0 |  | 1 | TRUE | wye
20 | LV_1631-113_0_4_load_20 | 33 | 0.0074999 | 0.0018797 | 0 | 0 |  | 1 | TRUE | wye
21 | LV_1631-113_0_4_load_23 | 34 | 0.0050589 | 0.0012679 | 0 | 0 |  | 1 | TRUE | wye
22 | LV_1631-113_0_4_load_24 | 35 | 0.0050894 | 0.0012755 | 0 | 0 |  | 1 | TRUE | wye
23 | LV_1631-113_0_4_load_27 | 36 | 0.016273 | 0.0040784 | 0 | 0 |  | 1 | TRUE | wye
24 | LV_1631-113_0_4_load_30 | 37 | 0.0098751 | 0.0024749 | 0 | 0 |  | 1 | TRUE | wye
25 | LV_1631-113_0_4_load_36 | 38 | 0.010008 | 0.0025081 | 0 | 0 |  | 1 | TRUE | wye
26 | LV_1631-113_0_4_load_31 | 39 | 0.0095381 | 0.0023905 | 0 | 0 |  | 1 | TRUE | wye
27 | LV_1631-113_0_4_load_32 | 40 | 0.0037345 | 0.00093596 | 0 | 0 |  | 1 | TRUE | wye
28 | LV_1631-113_0_4_load_34 | 42 | 0.008286 | 0.0020767 | 0 | 0 |  | 1 | TRUE | wye
29 | LV_1631-113_0_4_load_35 | 43 | 0.017748 | 0.0044482 | 0 | 0 |  | 1 | TRUE | wye
30 | LV_1631-113_0_4_load_41 | 44 | 0.0060608 | 0.001519 | 0 | 0 |  | 1 | TRUE | wye
31 | LV_1631-113_0_4_load_39 | 45 | 0.009284 | 0.0023268 | 0 | 0 |  | 1 | TRUE | wye
32 | LV_1631-113_0_4_load_38 | 46 | 0.0060274 | 0.0015106 | 0 | 0 |  | 1 | TRUE | wye
33 | LV_1631-113_0_4_load_40 | 48 | 0.0047047 | 0.0011791 | 0 | 0 |  | 1 | TRUE | wye
34 | LV_1631-113_0_4_load_43 | 49 | 0.019994 | 0.005011 | 0 | 0 |  | 1 | TRUE | wye
35 | LV_1631-113_0_4_load_47 | 51 | 0.0021319 | 0.00053431 | 0 | 0 |  | 1 | TRUE | wye
36 | LV_1631-113_0_4_load_55 | 52 | 0.0035509 | 0.00088993 | 0 | 0 |  | 1 | TRUE | wye
37 | LV_1631-113_0_4_load_54 | 53 | 0.0017861 | 0.00044764 | 0 | 0 |  | 1 | TRUE | wye

## ext_grid
| name | bus | vm_pu | va_degree | slack_weight | in_service
0 |  | 36 | 1 | 0 | 1 | TRUE

## line
| name | std_type | from_bus | to_bus | length_km | r_ohm_per_km | x_ohm_per_km | c_nf_per_km | g_us_per_km | max_i_ka | df | parallel | type | in_service
0 | LV_1631-113_0_4_line_0 | NAYY 4x150 SE | 0 | 1 | 0.08097 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
1 | LV_1631-113_0_4_line_1 | NAYY 4x150 SE | 0 | 2 | 0.072788 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
2 | LV_1631-113_0_4_line_2 | NAYY 4x150 SE | 1 | 3 | 0.072585 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
3 | LV_1631-113_0_4_line_3 | NAYY 4x150 SE | 2 | 4 | 0.084045 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
4 | LV_1631-113_0_4_line_4 | NAYY 4x150 SE | 3 | 6 | 0.013354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
5 | LV_1631-113_0_4_line_5 | NAYY 4x150 SE | 3 | 7 | 0.033164 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
6 | LV_1631-113_0_4_line_6 | NAYY 4x150 SE | 4 | 8 | 0.14358 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
7 | LV_1631-113_0_4_line_7 | NAYY 4x150 SE | 5 | 6 | 0.032577 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
8 | LV_1631-113_0_4_line_8 | NAYY 4x150 SE | 7 | 10 | 0.029685 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
9 | LV_1631-113_0_4_line_9 | NAYY 4x150 SE | 8 | 9 | 0.039457 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
10 | LV_1631-113_0_4_line_10 | NAYY 4x150 SE | 10 | 11 | 0.029226 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
11 | LV_1631-113_0_4_line_11 | NAYY 4x150 SE | 11 | 12 | 0.011084 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
12 | LV_1631-113_0_4_line_12 | NAYY 4x150 SE | 11 | 13 | 0.043564 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
13 | LV_1631-113_0_4_line_13 | NAYY 4x150 SE | 13 | 14 | 0.059484 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
14 | LV_1631-113_0_4_line_14 | NAYY 4x150 SE | 14 | 18 | 0.030699 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
15 | LV_1631-113_0_4_line_15 | NAYY 4x150 SE | 14 | 19 | 0.024631 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
16 | LV_1631-113_0_4_line_16 | NAYY 4x150 SE | 15 | 16 | 0.028403 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
17 | LV_1631-113_0_4_line_17 | NAYY 4x150 SE | 15 | 17 | 0.044737 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
18 | LV_1631-113_0_4_line_18 | NAYY 4x150 SE | 16 | 30 | 0.010768 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
19 | LV_1631-113_0_4_line_19 | NAYY 4x150 SE | 17 | 51 | 0.024909 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
20 | LV_1631-113_0_4_line_20 | NAYY 4x150 SE | 17 | 49 | 0.032171 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
21 | LV_1631-113_0_4_line_21 | NAYY 4x150 SE | 18 | 52 | 0.021824 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
22 | LV_1631-113_0_4_line_22 | NAYY 4x150 SE | 19 | 50 | 0.076395 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
23 | LV_1631-113_0_4_line_23 | NAYY 4x150 SE | 20 | 21 | 0.033216 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
24 | LV_1631-113_0_4_line_24 | NAYY 4x150 SE | 21 | 22 | 0.0076885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
25 | LV_1631-113_0_4_line_25 | NAYY 4x150 SE | 22 | 23 | 0.047448 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
26 | LV_1631-113_0_4_line_26 | NAYY 4x150 SE | 23 | 24 | 0.016624 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 2 | cs | TRUE
27 | LV_1631-113_0_4_line_27 | NAYY 4x150 SE | 23 | 25 | 0.010885 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
28 | LV_1631-113_0_4_line_28 | NAYY 4x150 SE | 23 | 26 | 0.056143 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
29 | LV_1631-113_0_4_line_29 | NAYY 4x150 SE | 24 | 30 | 0.011201 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
30 | LV_1631-113_0_4_line_30 | NAYY 4x150 SE | 25 | 31 | 0.014211 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
31 | LV_1631-113_0_4_line_31 | NAYY 4x150 SE | 26 | 32 | 0.016651 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
32 | LV_1631-113_0_4_line_32 | NAYY 4x150 SE | 27 | 28 | 0.082879 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
33 | LV_1631-113_0_4_line_33 | NAYY 4x150 SE | 28 | 29 | 0.0039666 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
34 | LV_1631-113_0_4_line_34 | NAYY 4x150 SE | 29 | 30 | 0.02804 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
35 | LV_1631-113_0_4_line_35 | NAYY 4x150 SE | 30 | 36 | 0.013776 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 3 | cs | TRUE
36 | LV_1631-113_0_4_line_36 | NAYY 4x150 SE | 31 | 37 | 0.0033844 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
37 | LV_1631-113_0_4_line_37 | NAYY 4x150 SE | 32 | 33 | 0.002734 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
38 | LV_1631-113_0_4_line_38 | NAYY 4x150 SE | 33 | 34 | 0.024354 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
39 | LV_1631-113_0_4_line_39 | NAYY 4x150 SE | 34 | 35 | 5.7304e-05 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
40 | LV_1631-113_0_4_line_40 | NAYY 4x150 SE | 36 | 38 | 0.0089119 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
41 | LV_1631-113_0_4_line_41 | NAYY 4x150 SE | 37 | 39 | 0.0053456 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
42 | LV_1631-113_0_4_line_42 | NAYY 4x150 SE | 39 | 40 | 0.005378 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
43 | LV_1631-113_0_4_line_43 | NAYY 4x150 SE | 40 | 41 | 0.014482 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
44 | LV_1631-113_0_4_line_44 | NAYY 4x150 SE | 41 | 42 | 0.0091091 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
45 | LV_1631-113_0_4_line_45 | NAYY 4x150 SE | 41 | 43 | 0.013713 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
46 | LV_1631-113_0_4_line_46 | NAYY 4x150 SE | 42 | 44 | 0.0092195 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
47 | LV_1631-113_0_4_line_47 | NAYY 4x150 SE | 43 | 45 | 0.00067992 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
48 | LV_1631-113_0_4_line_48 | NAYY 4x150 SE | 45 | 46 | 0.00058984 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
49 | LV_1631-113_0_4_line_49 | NAYY 4x150 SE | 46 | 47 | 0.014048 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
50 | LV_1631-113_0_4_line_50 | NAYY 4x150 SE | 47 | 48 | 0.01313 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
51 | LV_1631-113_0_4_line_51 | NAYY 4x150 SE | 49 | 50 | 0.088249 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE
52 | LV_1631-113_0_4_line_52 | NAYY 4x150 SE | 52 | 53 | 0.13617 | 0.208 | 0.08 | 261 | 0 | 0.27 | 1 | 1 | cs | TRUE

## trafo
| name | std_type | hv_bus | lv_bus | sn_mva | vn_hv_kv | vn_lv_kv | vk_percent | vkr_percent | pfe_kw | i0_percent | shift_degree | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent | tap_step_degree | tap_pos | tap_phase_shifter | parallel | df | in_service
0 | LV_1631-113_0_4_trafo_27 | 0.25 MVA 20/0.4 kV | 54 | 36 | 0.25 | 20 | 0.4 | 6 | 1.44 | 0.8 | 0.32 | 150 | hv | 0 | -2 | 2 | 2.5 | 0 | 0 | FALSE | 1 | 1 | TRUE

## line_geodata
| x0 | y0 | x1 | y1 | x2 | y2 | x3 | y3 | x4 | y4 | x5 | y5 | x6 | y6 | x7 | y7 | x8 | y8
0 | 2721324.4671 | 1201865.8003 | 2721341.2778 | 1201945.0057
1 | 2721312.9525 | 1201794.0619 | 2721313.8872 | 1201810.2596 | 2721315.7323 | 1201823.6181 | 2721318.9179 | 1201839.5724 | 2721321.5289 | 1201851.9568 | 2721324.4671 | 1201865.8003
2 | 2721411.3343 | 1201963.9977 | 2721341.2778 | 1201945.0057
3 | 2721312.9525 | 1201794.0619 | 2721367.8233 | 1201791.4075 | 2721374.8244 | 1201791.194 | 2721380.0477 | 1201792.6679 | 2721383.0137 | 1201795.0744 | 2721385.2802 | 1201798.9344 | 2721388.0145 | 1201804.8722 | 2721388.9568 | 1201806.4591
4 | 2721411.3343 | 1201963.9977 | 2721424.3626 | 1201960.9046
5 | 2721411.3343 | 1201963.9977 | 2721422.3813 | 1201995.268
6 | 2721388.9568 | 1201806.4591 | 2721525.3648 | 1201761.6524
7 | 2721424.3626 | 1201960.9046 | 2721427.1157 | 1201956.1792 | 2721427.9283 | 1201951.4144 | 2721427.0306 | 1201945.3917 | 2721422.9081 | 1201929.7404
8 | 2721440.5608 | 1202017.9318 | 2721434.2194 | 1202013.4217 | 2721424.3714 | 1202000.9012 | 2721422.3813 | 1201995.268
9 | 2721525.3648 | 1201761.6524 | 2721563.4228 | 1201751.2406
10 | 2721440.5608 | 1202017.9318 | 2721447.3855 | 1202038.7304 | 2721443.4214 | 1202040.4845 | 2721441.0691 | 1202042.3492
11 | 2721433.3595 | 1202034.3643 | 2721441.0691 | 1202042.3492
12 | 2721441.0691 | 1202042.3492 | 2721443.4214 | 1202040.4845 | 2721447.3855 | 1202038.7304 | 2721455.5805 | 1202040.0647 | 2721473.8145 | 1202049.3978 | 2721480.8613 | 1202051.7873
13 | 2721512.2871 | 1202102.3418 | 2721480.8613 | 1202051.7873
14 | 2721512.2871 | 1202102.3418 | 2721541.6776 | 1202111.4909
15 | 2721512.2871 | 1202102.3418 | 2721525.2738 | 1202123.2709
16 | 2721438.1142 | 1202128.1085 | 2721433.7804 | 1202130.4555 | 2721415.1197 | 1202144.6965
17 | 2721438.1142 | 1202128.1085 | 2721443.5048 | 1202126.5836 | 2721449.7338 | 1202126.5101 | 2721455.3282 | 1202127.6914 | 2721461.0883 | 1202130.455 | 2721466.6977 | 1202135.7619 | 2721473.7265 | 1202146.8909
18 | 2721406.5601 | 1202151.2289 | 2721415.1197 | 1202144.6965
19 | 2721473.7265 | 1202146.8909 | 2721493.5841 | 1202131.7834
20 | 2721473.7265 | 1202146.8909 | 2721493.0008 | 1202172.6483
21 | 2721541.6776 | 1202111.4909 | 2721562.6869 | 1202117.6117
22 | 2721567.6419 | 1202186.8308 | 2721532.1748 | 1202134.3924 | 2721525.2738 | 1202123.2709
23 | 2721333.5767 | 1202102.4351 | 2721342.6684 | 1202099.7037 | 2721344.4525 | 1202102.1974 | 2721355.1418 | 1202119.8732
24 | 2721359.1203 | 1202126.4523 | 2721355.1418 | 1202119.8732
25 | 2721383.6734 | 1202167.0534 | 2721359.1203 | 1202126.4523
26 | 2721383.6734 | 1202167.0534 | 2721397.3468 | 1202157.5992
27 | 2721383.6734 | 1202167.0534 | 2721387.7578 | 1202174.3529 | 2721389.2467 | 1202176.387
28 | 2721383.6734 | 1202167.0534 | 2721373.2223 | 1202166.2294 | 2721365.8009 | 1202167.2905 | 2721357.9684 | 1202170.6006 | 2721347.5995 | 1202178.8405 | 2721342.4492 | 1202186.1525 | 2721341.0743 | 1202193.4967
29 | 2721406.5601 | 1202151.2289 | 2721397.3468 | 1202157.5992
30 | 2721389.2467 | 1202176.387 | 2721397.6403 | 1202187.8539
31 | 2721341.0743 | 1202193.4967 | 2721342.0877 | 1202199.4439 | 2721346.0091 | 1202206.1508 | 2721347.7374 | 1202208.4153
32 | 2721362.7854 | 1202046.3431 | 2721367.0306 | 1202066.3515 | 2721370.9697 | 1202081.5539 | 2721374.5549 | 1202093.191 | 2721378.7248 | 1202104.1505 | 2721384.2592 | 1202116.1497 | 2721387.9994 | 1202123.1531 | 2721388.8463 | 1202124.5852
33 | 2721390.8653 | 1202127.9996 | 2721388.8463 | 1202124.5852
34 | 2721406.5601 | 1202151.2289 | 2721392.2388 | 1202130.3223 | 2721390.8653 | 1202127.9996
35 | 2721406.5601 | 1202151.2289 | 2721414.7389 | 1202162.3146
36 | 2721397.6403 | 1202187.8539 | 2721399.6393 | 1202190.5848
37 | 2721349.3961 | 1202210.5887 | 2721347.7374 | 1202208.4153
38 | 2721349.3961 | 1202210.5887 | 2721364.1712 | 1202229.9482
39 | 2721364.1712 | 1202229.9482 | 2721364.206 | 1202229.9938
40 | 2721414.7389 | 1202162.3146 | 2721420.0299 | 1202169.4859
41 | 2721402.7967 | 1202194.8983 | 2721399.6393 | 1202190.5848
42 | 2721405.9733 | 1202199.2379 | 2721402.7967 | 1202194.8983
43 | 2721414.5273 | 1202210.9241 | 2721405.9733 | 1202199.2379
44 | 2721414.5273 | 1202210.9241 | 2721419.9076 | 1202218.2745
45 | 2721414.5273 | 1202210.9241 | 2721425.6547 | 1202202.9095
46 | 2721419.9076 | 1202218.2745 | 2721425.353 | 1202225.7141
47 | 2721425.6547 | 1202202.9095 | 2721426.2064 | 1202202.5121
48 | 2721426.2064 | 1202202.5121 | 2721426.685 | 1202202.1674
49 | 2721438.0843 | 1202193.9569 | 2721426.685 | 1202202.1674
50 | 2721438.0843 | 1202193.9569 | 2721445.8809 | 1202204.5212
51 | 2721567.6419 | 1202186.8308 | 2721556.5602 | 1202182.5799 | 2721529.5837 | 1202179.0285 | 2721526.6392 | 1202180.4363 | 2721513.0683 | 1202190.3899 | 2721509.889 | 1202190.9924 | 2721507.4387 | 1202190.9425 | 2721505.8254 | 1202189.7866 | 2721493.0008 | 1202172.6483
52 | 2721562.6869 | 1202117.6117 | 2721615.4294 | 1201992.0693

## bus_geodata
| x | y | coords
0 | 2721324.4671 | 1201865.8003
1 | 2721341.2778 | 1201945.0057
2 | 2721312.9525 | 1201794.0619
3 | 2721411.3343 | 1201963.9977
4 | 2721388.9568 | 1201806.4591
5 | 2721422.9081 | 1201929.7404
6 | 2721424.3626 | 1201960.9046
7 | 2721422.3813 | 1201995.268
8 | 2721525.3648 | 1201761.6524
9 | 2721563.4228 | 1201751.2406
10 | 2721440.5608 | 1202017.9318
11 | 2721441.0691 | 1202042.3492
12 | 2721433.3595 | 1202034.3643
13 | 2721480.8613 | 1202051.7873
14 | 2721512.2871 | 1202102.3418
15 | 2721438.1142 | 1202128.1085
16 | 2721415.1197 | 1202144.6965
17 | 2721473.7265 | 1202146.8909
18 | 2721541.6776 | 1202111.4909
19 | 2721525.2738 | 1202123.2709
20 | 2721333.5767 | 1202102.4351
21 | 2721355.1418 | 1202119.8732
22 | 2721359.1203 | 1202126.4523
23 | 2721383.6734 | 1202167.0534
24 | 2721397.3468 | 1202157.5992
25 | 2721389.2467 | 1202176.387
26 | 2721341.0743 | 1202193.4967
27 | 2721362.7854 | 1202046.3431
28 | 2721388.8463 | 1202124.5852
29 | 2721390.8653 | 1202127.9996
30 | 2721406.5601 | 1202151.2289
31 | 2721397.6403 | 1202187.8539
32 | 2721347.7374 | 1202208.4153
33 | 2721349.3961 | 1202210.5887
34 | 2721364.1712 | 1202229.9482
35 | 2721364.206 | 1202229.9938
36 | 2721414.7389 | 1202162.3146
37 | 2721399.6393 | 1202190.5848
38 | 2721420.0299 | 1202169.4859
39 | 2721402.7967 | 1202194.8983
40 | 2721405.9733 | 1202199.2379
41 | 2721414.5273 | 1202210.9241
42 | 2721419.9076 | 1202218.2745
43 | 2721425.6547 | 1202202.9095
44 | 2721425.353 | 1202225.7141
45 | 2721426.2064 | 1202202.5121
46 | 2721426.685 | 1202202.1674
47 | 2721438.0843 | 1202193.9569
48 | 2721445.8809 | 1202204.5212
49 | 2721493.0008 | 1202172.6483
50 | 2721567.6419 | 1202186.8308
51 | 2721493.5841 | 1202131.7834
52 | 2721562.6869 | 1202117.6117
53 | 2721615.4294 | 1201992.0693
54 | 2721406.5601 | 1202151.2289

## line_std_types
| c_nf_per_km | r_ohm_per_km | x_ohm_per_km | max_i_ka | type | q_mm2 | alpha | voltage_rating
NAYY 4x50 SE | 210 | 0.642 | 0.083 | 0.142 | cs | 50 | 0.00403 | LV
NAYY 4x120 SE | 264 | 0.225 | 0.08 | 0.242 | cs | 120 | 0.00403 | LV
NAYY 4x150 SE | 261 | 0.208 | 0.08 | 0.27 | cs | 150 | 0.00403 | LV
NA2XS2Y 1x95 RM/25 12/20 kV | 216 | 0.313 | 0.132 | 0.252 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 12/20 kV | 273 | 0.161 | 0.117 | 0.362 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 12/20 kV | 304 | 0.122 | 0.112 | 0.421 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x95 RM/25 6/10 kV | 315 | 0.313 | 0.123 | 0.249 | cs | 95 | 0.00403 | MV
NA2XS2Y 1x185 RM/25 6/10 kV | 406 | 0.161 | 0.11 | 0.358 | cs | 185 | 0.00403 | MV
NA2XS2Y 1x240 RM/25 6/10 kV | 456 | 0.122 | 0.105 | 0.416 | cs | 240 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 12/20 kV | 250 | 0.206 | 0.116 | 0.319 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 12/20 kV | 230 | 0.253 | 0.119 | 0.283 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 12/20 kV | 190 | 0.443 | 0.132 | 0.22 | cs | 70 | 0.00403 | MV
NA2XS2Y 1x150 RM/25 6/10 kV | 360 | 0.206 | 0.11 | 0.315 | cs | 150 | 0.00403 | MV
NA2XS2Y 1x120 RM/25 6/10 kV | 340 | 0.253 | 0.113 | 0.28 | cs | 120 | 0.00403 | MV
NA2XS2Y 1x70 RM/25 6/10 kV | 280 | 0.443 | 0.123 | 0.217 | cs | 70 | 0.00403 | MV
N2XS(FL)2Y 1x120 RM/35 64/110 kV | 112 | 0.153 | 0.166 | 0.366 | cs | 120 | 0.00393 | HV
N2XS(FL)2Y 1x185 RM/35 64/110 kV | 125 | 0.099 | 0.156 | 0.457 | cs | 185 | 0.00393 | HV
N2XS(FL)2Y 1x240 RM/35 64/110 kV | 135 | 0.075 | 0.149 | 0.526 | cs | 240 | 0.00393 | HV
N2XS(FL)2Y 1x300 RM/35 64/110 kV | 144 | 0.06 | 0.144 | 0.588 | cs | 300 | 0.00393 | HV
15-AL1/3-ST1A 0.4 | 11 | 1.8769 | 0.35 | 0.105 | ol | 16 | 0.00403 | LV
24-AL1/4-ST1A 0.4 | 11.25 | 1.2012 | 0.335 | 0.14 | ol | 24 | 0.00403 | LV
48-AL1/8-ST1A 0.4 | 12.2 | 0.5939 | 0.3 | 0.21 | ol | 48 | 0.00403 | LV
94-AL1/15-ST1A 0.4 | 13.2 | 0.306 | 0.29 | 0.35 | ol | 94 | 0.00403 | LV
34-AL1/6-ST1A 10.0 | 9.7 | 0.8342 | 0.36 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 10.0 | 10.1 | 0.5939 | 0.35 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 10.0 | 10.4 | 0.4132 | 0.339 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 10.0 | 10.75 | 0.306 | 0.33 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 10.0 | 11.1 | 0.2376 | 0.323 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 10.0 | 11.25 | 0.194 | 0.315 | 0.47 | ol | 149 | 0.00403 | MV
34-AL1/6-ST1A 20.0 | 9.15 | 0.8342 | 0.382 | 0.17 | ol | 34 | 0.00403 | MV
48-AL1/8-ST1A 20.0 | 9.5 | 0.5939 | 0.372 | 0.21 | ol | 48 | 0.00403 | MV
70-AL1/11-ST1A 20.0 | 9.7 | 0.4132 | 0.36 | 0.29 | ol | 70 | 0.00403 | MV
94-AL1/15-ST1A 20.0 | 10 | 0.306 | 0.35 | 0.35 | ol | 94 | 0.00403 | MV
122-AL1/20-ST1A 20.0 | 10.3 | 0.2376 | 0.344 | 0.41 | ol | 122 | 0.00403 | MV
149-AL1/24-ST1A 20.0 | 10.5 | 0.194 | 0.337 | 0.47 | ol | 149 | 0.00403 | MV
184-AL1/30-ST1A 20.0 | 10.75 | 0.1571 | 0.33 | 0.535 | ol | 184 | 0.00403 | MV
243-AL1/39-ST1A 20.0 | 11 | 0.1188 | 0.32 | 0.645 | ol | 243 | 0.00403 | MV
48-AL1/8-ST1A 110.0 | 8 | 0.5939 | 0.46 | 0.21 | ol | 48 | 0.00403 | HV
70-AL1/11-ST1A 110.0 | 8.4 | 0.4132 | 0.45 | 0.29 | ol | 70 | 0.00403 | HV
94-AL1/15-ST1A 110.0 | 8.65 | 0.306 | 0.44 | 0.35 | ol | 94 | 0.00403 | HV
122-AL1/20-ST1A 110.0 | 8.5 | 0.2376 | 0.43 | 0.41 | ol | 122 | 0.00403 | HV
149-AL1/24-ST1A 110.0 | 8.75 | 0.194 | 0.41 | 0.47 | ol | 149 | 0.00403 | HV
184-AL1/30-ST1A 110.0 | 8.8 | 0.1571 | 0.4 | 0.535 | ol | 184 | 0.00403 | HV
243-AL1/39-ST1A 110.0 | 9 | 0.1188 | 0.39 | 0.645 | ol | 243 | 0.00403 | HV
305-AL1/39-ST1A 110.0 | 9.2 | 0.0949 | 0.38 | 0.74 | ol | 305 | 0.00403 | HV
490-AL1/64-ST1A 110.0 | 9.75 | 0.059 | 0.37 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 110.0 | 9.95 | 0.042 | 0.36 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 220.0 | 10 | 0.059 | 0.285 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 220.0 | 11.7 | 0.042 | 0.275 | 1.15 | ol | 679 | 0.00403 | HV
490-AL1/64-ST1A 380.0 | 11 | 0.059 | 0.253 | 0.96 | ol | 490 | 0.00403 | HV
679-AL1/86-ST1A 380.0 | 14.6 | 0.042 | 0.25 | 1.15 | ol | 679 | 0.00403 | HV

## trafo_std_types
| i0_percent | pfe_kw | vkr_percent | sn_mva | vn_lv_kv | vn_hv_kv | vk_percent | shift_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_degree | tap_step_percent | tap_phase_shifter
160 MVA 380/110 kV | 0.06 | 60 | 0.25 | 160 | 110 | 380 | 12.2 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
100 MVA 220/110 kV | 0.06 | 55 | 0.26 | 100 | 110 | 220 | 12 | 0 | Yy0 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/20 kV | 0.04 | 22 | 0.32 | 63 | 20 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/20 kV | 0.05 | 18 | 0.34 | 40 | 20 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/20 kV | 0.07 | 14 | 0.41 | 25 | 20 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
63 MVA 110/10 kV | 0.04 | 22 | 0.32 | 63 | 10 | 110 | 18 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
40 MVA 110/10 kV | 0.05 | 18 | 0.34 | 40 | 10 | 110 | 16.2 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
25 MVA 110/10 kV | 0.07 | 14 | 0.41 | 25 | 10 | 110 | 12 | 150 | YNd5 | hv | 0 | -9 | 9 | 0 | 1.5 | FALSE
0.25 MVA 20/0.4 kV | 0.32 | 0.8 | 1.44 | 0.25 | 0.4 | 20 | 6 | 150 | Yzn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 20/0.4 kV | 0.3375 | 1.35 | 1.425 | 0.4 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 20/0.4 kV | 0.2619 | 1.65 | 1.206 | 0.63 | 0.4 | 20 | 6 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.25 MVA 10/0.4 kV | 0.24 | 0.6 | 1.2 | 0.25 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.4 MVA 10/0.4 kV | 0.2375 | 0.95 | 1.325 | 0.4 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE
0.63 MVA 10/0.4 kV | 0.1873 | 1.18 | 1.0794 | 0.63 | 0.4 | 10 | 4 | 150 | Dyn5 | hv | 0 | -2 | 2 | 0 | 2.5 | FALSE

## trafo3w_std_types
| sn_hv_mva | sn_mv_mva | sn_lv_mva | vn_hv_kv | vn_mv_kv | vn_lv_kv | vk_hv_percent | vk_mv_percent | vk_lv_percent | vkr_hv_percent | vkr_mv_percent | vkr_lv_percent | pfe_kw | i0_percent | shift_mv_degree | shift_lv_degree | vector_group | tap_side | tap_neutral | tap_min | tap_max | tap_step_percent
63/25/38 MVA 110/20/10 kV | 63 | 25 | 38 | 110 | 20 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2
63/25/38 MVA 110/10/10 kV | 63 | 25 | 38 | 110 | 10 | 10 | 10.4 | 10.4 | 10.4 | 0.28 | 0.32 | 0.35 | 35 | 0.89 | 0 | 0 | YN0yn0yn0 | hv | 0 | -10 | 10 | 1.2

## fuse_std_types
| fuse_type | i_rated_a | t_avg | t_min | t_total | x_avg | x_min | x_total
HV 100A | HV 100A | 100 | 0 | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | 0 | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0] | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0]
HV 10A | HV 10A | 10 | 0 | [10.0, 1675.0, 0.344, 0.156, 0.1, 0.0417, 0.0171, 0.01] | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | 0 | [30.0, 32.0, 35.0, 37.0, 39.0, 50.0, 70.0, 88.0] | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0]
HV 125A | HV 125A | 125 | 0 | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | [10.0, 2.478, 0.426, 0.1, 0.0427, 0.0211, 0.01] | 0 | [375.0, 500.0, 700.0, 925.0, 1200.0, 1500.0, 2341.0] | [750.0, 1000.0, 1500.0, 2200.0, 3000.0, 4000.0, 5765.0]
HV 160A | HV 160A | 160 | 0 | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | [10.0, 2.3, 0.734, 0.274, 0.1, 0.046, 0.0177, 0.01] | 0 | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0] | [960.0, 1300.0, 1700.0, 2200.0, 2996.0, 4000.0, 6000.0, 7946.0]
HV 16A | HV 16A | 16 | 0 | [10.0, 0.352, 0.164, 0.1, 0.0649, 0.0342, 0.01] | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | 0 | [48.0, 60.0, 65.0, 71.0, 80.0, 100.0, 162.0] | [96.0, 110.0, 125.0, 150.0, 168.0, 200.0, 250.0, 398.0]
HV 200A | HV 200A | 200 | 0 | [10.0, 4.267, 1.21, 0.403, 0.1, 0.058, 0.022, 0.01] | [10.0, 3.73, 1.654, 0.328, 0.1, 0.0531, 0.019, 0.01] | 0 | [600.0, 700.0, 900.0, 1150.0, 1665.0, 2000.0, 3000.0, 4313.0] | [1200.0, 1500.0, 1800.0, 2700.0, 3960.0, 5000.0, 7500.0, 10620.0]
HV 20A | HV 20A | 20 | 0 | [10.0, 1.3, 0.3, 0.155, 0.1, 0.0555, 0.023, 0.01] | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | 0 | [60.0, 70.0, 80.0, 87.0, 94.0, 110.0, 150.0, 216.0] | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0]
HV 25A | HV 25A | 25 | 0 | [10.0, 2.512, 0.833, 0.299, 0.1, 0.0372, 0.0223, 0.01] | [10.0, 3.125, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | 0 | [75.0, 82.0, 90.0, 100.0, 124.0, 170.0, 200.0, 289.0] | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0]
HV 31.5A | HV 31.5A | 31.5 | 0 | [10.0, 2.34, 0.722, 0.181, 0.1, 0.055, 0.0296, 0.01] | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | 0 | [95.0, 110.0, 125.0, 150.0, 165.0, 200.0, 250.0, 390.0] | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 960.0]
HV 40A | HV 40A | 40 | 0 | [10.0, 1.3, 0.161, 0.1, 0.0611, 0.0399, 0.0141, 0.01] | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | 0 | [120.0, 150.0, 200.0, 223.0, 260.0, 300.0, 450.0, 532.0] | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0]
HV 50A | HV 50A | 50 | 0 | [10.0, 3.215, 0.597, 0.198, 0.1, 0.0378, 0.022, 0.01] | [10.0, 3.64, 0.854, 0.281, 0.1, 0.0531, 0.022, 0.01] | 0 | [150.0, 170.0, 210.0, 250.0, 294.0, 400.0, 500.0, 711.0] | [300.0, 350.0, 450.0, 550.0, 700.0, 850.0, 1200.0, 1752.0]
HV 6.3A | HV 6.3A | 6.3 | 0 | [10.0, 1.39, 0.344, 0.168, 0.1, 0.056, 0.0263, 0.01] | [10.0, 1.711, 0.516, 0.198, 0.1, 0.0634, 0.0303, 0.01] | 0 | [19.0, 19.5, 20.4, 20.8, 22.0, 25.0, 32.0, 48.0] | [38.0, 40.0, 43.0, 48.0, 53.0, 60.0, 75.0, 118.0]
HV 63A | HV 63A | 63 | 0 | [10.0, 2.84, 0.368, 0.164, 0.1, 0.0621, 0.0378, 0.0195, 0.01] | [10.0, 1.82, 0.344, 0.1, 0.0467, 0.0269, 0.01] | 0 | [189.0, 220.0, 300.0, 350.0, 393.0, 450.0, 530.0, 700.0, 961.0] | [378.0, 500.0, 700.0, 934.0, 1200.0, 1500.0, 2366.0]
HV 80A | HV 80A | 80 | 0 | [10.0, 2.05, 0.369, 0.198, 0.1, 0.051, 0.0298, 0.01] | [10.0, 4.15, 1.03, 0.198, 0.1, 0.051, 0.0172, 0.01] | 0 | [240.0, 300.0, 400.0, 450.0, 530.0, 650.0, 800.0, 1311.0] | [480.0, 550.0, 700.0, 1000.0, 1260.0, 1600.0, 2500.0, 3227.0]
Siemens NH-1-100 | Siemens NH-1-100 | 100 | [5400.0, 2000.0, 400.0, 20.0, 1.0, 0.2, 0.012, 0.004] | 0 | 0 | [150.0, 190.0, 250.0, 430.0, 900.0, 1250.0, 2700.0, 3600.0] | 0 | 0
Siemens NH-1-125 | Siemens NH-1-125 | 125 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [180.0, 400.0, 740.0, 2000.0, 4250.0] | 0 | 0
Siemens NH-1-16 | Siemens NH-1-16 | 16 | [4000.0, 400.0, 2.0, 0.1, 0.04, 0.01] | 0 | 0 | [26.0, 35.0, 75.0, 150.0, 200.0, 300.0] | 0 | 0
Siemens NH-1-160 | Siemens NH-1-160 | 160 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [210.0, 500.0, 900.0, 2300.0, 5000.0] | 0 | 0
Siemens NH-1-25 | Siemens NH-1-25 | 25 | [4000.0, 1000.0, 10.0, 0.2, 0.02, 0.01] | 0 | 0 | [40.0, 50.0, 100.0, 210.0, 400.0, 500.0] | 0 | 0
Siemens NH-1-50 | Siemens NH-1-50 | 50 | [4000.0, 40.0, 4.0, 1.0, 0.02, 0.01] | 0 | 0 | [86.0, 200.0, 300.0, 400.0, 1000.0, 1280.0] | 0 | 0
Siemens NH-1-63 | Siemens NH-1-63 | 63 | [4000.0, 100.0, 10.0, 2.0, 0.04, 0.01] | 0 | 0 | [100.0, 200.0, 300.0, 400.0, 1000.0, 1500.0] | 0 | 0
Siemens NH-1-80 | Siemens NH-1-80 | 80 | [4800.0, 120.0, 7.0, 0.1, 0.01] | 0 | 0 | [150.58, 250.0, 450.0, 1150.0, 2470.0] | 0 | 0
Siemens NH-2-1000 | Siemens NH-2-1000 | 1000 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1900.0, 3500.0, 8400.0, 24000.0, 52000.0] | 0 | 0
Siemens NH-2-200 | Siemens NH-2-200 | 200 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [280.0, 650.0, 1200.0, 3000.0, 7000.0] | 0 | 0
Siemens NH-2-224 | Siemens NH-2-224 | 224 | [4800.0, 120.0, 7.0, 0.2, 0.04, 0.004] | 0 | 0 | [400.0, 750.0, 1453.0, 3025.0, 4315.0, 7600.0] | 0 | 0
Siemens NH-2-250 | Siemens NH-2-250 | 250 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [450.0, 800.0, 1650.0, 4000.0, 8500.0] | 0 | 0
Siemens NH-2-315 | Siemens NH-2-315 | 315 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [550.0, 920.0, 1900.0, 5000.0, 11000.0] | 0 | 0
Siemens NH-2-355 | Siemens NH-2-355 | 355 | [4800.0, 120.0, 6.0, 0.1, 0.004] | 0 | 0 | [650.0, 1116.27, 2350.0, 5840.0, 12790.0] | 0 | 0
Siemens NH-2-400 | Siemens NH-2-400 | 400 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [720.0, 1350.0, 2800.0, 6500.0, 15000.0] | 0 | 0
Siemens NH-2-425 | Siemens NH-2-425 | 425 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [850.0, 1500.0, 3050.0, 7500.0, 16500.0] | 0 | 0
Siemens NH-2-630 | Siemens NH-2-630 | 630 | [4800.0, 120.0, 7.0, 0.1, 0.004] | 0 | 0 | [1200.0, 2000.0, 4800.0, 12000.0, 26000.0] | 0 | 0

## res_bus
| vm_pu | va_degree | p_mw | q_mvar
0 | 0.9803 | -0.139 | 0.00053085 | 0.00013304
1 | 0.9806 | -0.13683 | 0.00068438 | 0.00017152
2 | 0.98009 | -0.14055 | 0 | 0
3 | 0.98094 | -0.13437 | 0 | 0
4 | 0.97984 | -0.14233 | 0 | 0
5 | 0.98055 | -0.13717 | 0.0058658 | 0.0014701
6 | 0.98083 | -0.13518 | 0 | 0
7 | 0.98138 | -0.13122 | 0.0029889 | 0.0007491
8 | 0.97942 | -0.14535 | 0.00058707 | 0.00014713
9 | 0.97934 | -0.14594 | 0.0014282 | 0.00035793
10 | 0.9819 | -0.12749 | 0 | 0
11 | 0.98242 | -0.12382 | 0 | 0
12 | 0.9824 | -0.12391 | 0.00078847 | 0.00019761
13 | 0.98323 | -0.118 | 0 | 0
14 | 0.98434 | -0.11006 | 0 | 0
15 | 0.99588 | -0.028685 | 0 | 0
16 | 0.99779 | -0.015391 | 0.0061542 | 0.0015424
17 | 0.99288 | -0.049727 | 0 | 0
18 | 0.98411 | -0.11175 | 0 | 0
19 | 0.985 | -0.10542 | 0.0061493 | 0.0015411
20 | 0.99516 | -0.033825 | 0.0015886 | 0.00039815
21 | 0.99524 | -0.033292 | 0.008954 | 0.0022441
22 | 0.99535 | -0.032475 | 0.0038273 | 0.00095921
23 | 0.99633 | -0.025611 | 0 | 0
24 | 0.99789 | -0.014706 | 0.0031413 | 0.0007873
25 | 0.99506 | -0.034505 | 0.0023201 | 0.00058147
26 | 0.9935 | -0.045508 | 0.0083063 | 0.0020818
27 | 0.99755 | -0.017124 | 0.00038875 | 9.7429e-05
28 | 0.99759 | -0.016797 | 0.0031978 | 0.00080144
29 | 0.99761 | -0.016654 | 0.021158 | 0.0053026
30 | 0.99861 | -0.0097005 | 0 | 0
31 | 0.99345 | -0.045817 | 0.0035773 | 0.00089656
32 | 0.99285 | -0.05003 | 0.0091885 | 0.0023029
33 | 0.99278 | -0.050519 | 0.0074999 | 0.0018797
34 | 0.99243 | -0.053022 | 0.0050589 | 0.0012679
35 | 0.99243 | -0.053025 | 0.0050894 | 0.0012755
36 | 1 | 0 | -0.2237 | -0.056067
37 | 0.99308 | -0.048394 | 0.0098751 | 0.0024749
38 | 0.99987 | -0.00089027 | 0.010008 | 0.0025081
39 | 0.99258 | -0.051933 | 0.0095381 | 0.0023905
40 | 0.99215 | -0.054977 | 0.0037345 | 0.00093596
41 | 0.99106 | -0.062639 | 0 | 0
42 | 0.99087 | -0.063967 | 0.008286 | 0.0020767
43 | 0.99031 | -0.067905 | 0.017748 | 0.0044482
44 | 0.99079 | -0.064535 | 0.0060608 | 0.001519
45 | 0.99029 | -0.068044 | 0.009284 | 0.0023268
46 | 0.99029 | -0.068108 | 0.0060274 | 0.0015106
47 | 0.99019 | -0.068781 | 0 | 0
48 | 0.9901 | -0.06941 | 0.0047047 | 0.0011791
49 | 0.99081 | -0.064239 | 0.019994 | 0.005011
50 | 0.9877 | -0.086254 | 0 | 0
51 | 0.9928 | -0.050265 | 0.0021319 | 0.00053431
52 | 0.98394 | -0.11296 | 0.0035509 | 0.00088993
53 | 0.98359 | -0.11547 | 0.0017861 | 0.00044764
54 | 0.99998 | 149.9947 | 0 | 0

## res_line
| p_from_mw | q_from_mvar | p_to_mw | q_to_mvar | pl_mw | ql_mvar | i_from_ka | i_to_ka | i_ka | vm_from_pu | va_from_degree | vm_to_pu | va_to_degree | loading_percent
0 | -0.002548 | -0.00063455 | 0.0025487 | 0.00063382 | 7.5514e-07 | -7.3071e-07 | 0.0038662 | 0.0038658 | 0.0038662 | 0.9803 | -0.139 | 0.9806 | -0.13683 | 1.4319
1 | 0.0020171 | 0.00050151 | -0.0020167 | -0.00050226 | 4.2544e-07 | -7.5384e-07 | 0.0030604 | 0.0030607 | 0.0030607 | 0.9803 | -0.139 | 0.98009 | -0.14055 | 1.1336
2 | -0.0032331 | -0.00080534 | 0.0032342 | 0.00080485 | 1.0893e-06 | -4.9703e-07 | 0.0049043 | 0.004904 | 0.0049043 | 0.9806 | -0.13683 | 0.98094 | -0.13437 | 1.8164
3 | 0.0020167 | 0.00050226 | -0.0020162 | -0.00050313 | 4.9135e-07 | -8.6989e-07 | 0.0030607 | 0.0030611 | 0.0030611 | 0.98009 | -0.14055 | 0.97984 | -0.14233 | 1.1337
4 | 0.005868 | 0.0014704 | -0.0058674 | -0.0014703 | 6.6024e-07 | 8.5376e-08 | 0.0089013 | 0.0089013 | 0.0089013 | 0.98094 | -0.13437 | 0.98083 | -0.13518 | 3.2968
5 | -0.0091022 | -0.0022752 | 0.0091062 | 0.0022763 | 3.944e-06 | 1.0981e-06 | 0.013805 | 0.013805 | 0.013805 | 0.98094 | -0.13437 | 0.98138 | -0.13122 | 5.1131
6 | 0.0020162 | 0.00050313 | -0.0020154 | -0.00050462 | 8.3969e-07 | -1.4847e-06 | 0.0030611 | 0.0030617 | 0.0030617 | 0.97984 | -0.14233 | 0.97942 | -0.14535 | 1.134
7 | -0.0058658 | -0.0014701 | 0.0058674 | 0.0014703 | 1.6107e-06 | 2.0845e-07 | 0.0089015 | 0.0089013 | 0.0089015 | 0.98055 | -0.13717 | 0.98083 | -0.13518 | 3.2968
8 | -0.012095 | -0.0030254 | 0.012101 | 0.0030275 | 6.2285e-06 | 2.0203e-06 | 0.018337 | 0.018337 | 0.018337 | 0.98138 | -0.13122 | 0.9819 | -0.12749 | 6.7915
9 | 0.0014283 | 0.00035748 | -0.0014282 | -0.00035793 | 1.1593e-07 | -4.5193e-07 | 0.0021698 | 0.00217 | 0.00217 | 0.97942 | -0.14535 | 0.97934 | -0.14594 | 0.8037
10 | -0.012101 | -0.0030275 | 0.012107 | 0.0030294 | 6.1321e-06 | 1.9886e-06 | 0.018337 | 0.018337 | 0.018337 | 0.9819 | -0.12749 | 0.98242 | -0.12382 | 6.7915
11 | 0.00078848 | 0.00019747 | -0.00078847 | -0.00019761 | 9.8643e-09 | -1.3655e-07 | 0.0011942 | 0.0011943 | 0.0011943 | 0.98242 | -0.12382 | 0.9824 | -0.12391 | 0.44232
12 | -0.012896 | -0.0032269 | 0.012906 | 0.0032304 | 1.037e-05 | 3.4362e-06 | 0.019531 | 0.019531 | 0.019531 | 0.98242 | -0.12382 | 0.98323 | -0.118 | 7.2337
13 | -0.012906 | -0.0032304 | 0.01292 | 0.003235 | 1.4159e-05 | 4.6903e-06 | 0.019531 | 0.019531 | 0.019531 | 0.98323 | -0.118 | 0.98434 | -0.11006 | 7.2336
14 | 0.0053397 | 0.0013362 | -0.0053385 | -0.0013361 | 1.248e-06 | 8.9842e-08 | 0.0080713 | 0.0080714 | 0.0080714 | 0.98434 | -0.11006 | 0.98411 | -0.11175 | 2.9894
15 | -0.01826 | -0.0045713 | 0.018272 | 0.0045755 | 1.1709e-05 | 4.1903e-06 | 0.027602 | 0.027602 | 0.027602 | 0.98434 | -0.11006 | 0.985 | -0.10542 | 10.2229
16 | -0.046914 | -0.0118 | 0.047001 | 0.011833 | 8.7123e-05 | 3.3139e-05 | 0.070113 | 0.070113 | 0.070113 | 0.99588 | -0.028685 | 0.99779 | -0.015391 | 25.9677
17 | 0.046914 | 0.0118 | -0.046777 | -0.011747 | 0.00013723 | 5.22e-05 | 0.070113 | 0.070113 | 0.070113 | 0.99588 | -0.028685 | 0.99288 | -0.049727 | 25.9678
18 | -0.053156 | -0.013375 | 0.053198 | 0.013391 | 4.2242e-05 | 1.6106e-05 | 0.07929 | 0.07929 | 0.07929 | 0.99779 | -0.015391 | 0.99861 | -0.0097005 | 29.3668
19 | 0.0021321 | 0.00053405 | -0.0021319 | -0.00053431 | 1.587e-07 | -2.6109e-07 | 0.0031953 | 0.0031954 | 0.0031954 | 0.99288 | -0.049727 | 0.9928 | -0.050265 | 1.1835
20 | 0.044645 | 0.011213 | -0.044555 | -0.011179 | 8.9893e-05 | 3.4159e-05 | 0.066918 | 0.066918 | 0.066918 | 0.99288 | -0.049727 | 0.99081 | -0.064239 | 24.7844
21 | 0.0053385 | 0.0013361 | -0.0053376 | -0.0013361 | 8.8721e-07 | 6.3993e-08 | 0.0080714 | 0.0080715 | 0.0080715 | 0.98411 | -0.11175 | 0.98394 | -0.11296 | 2.9895
22 | -0.024421 | -0.0061166 | 0.024486 | 0.0061406 | 6.4877e-05 | 2.3978e-05 | 0.036891 | 0.036891 | 0.036891 | 0.985 | -0.10542 | 0.9877 | -0.086254 | 13.6634
23 | -0.0015886 | -0.00039815 | 0.0015887 | 0.00039776 | 1.1694e-07 | -3.8662e-07 | 0.0023754 | 0.0023752 | 0.0023754 | 0.99516 | -0.033825 | 0.99524 | -0.033292 | 0.87978
24 | -0.010543 | -0.0026419 | 0.010544 | 0.0026422 | 1.192e-06 | 3.5855e-07 | 0.015763 | 0.015763 | 0.015763 | 0.99524 | -0.033292 | 0.99535 | -0.032475 | 5.8381
25 | -0.014371 | -0.0036014 | 0.014385 | 0.0036061 | 1.3666e-05 | 4.6389e-06 | 0.021484 | 0.021484 | 0.021484 | 0.99535 | -0.032475 | 0.99633 | -0.025611 | 7.9572
26 | -0.1312 | -0.032948 | 0.1314 | 0.033025 | 0.00019918 | 7.6175e-05 | 0.19597 | 0.19597 | 0.19597 | 0.99633 | -0.025611 | 0.99789 | -0.014706 | 36.2904
27 | 0.081552 | 0.02049 | -0.081451 | -0.020452 | 0.00010079 | 3.8625e-05 | 0.12182 | 0.12182 | 0.12182 | 0.99633 | -0.025611 | 0.99506 | -0.034505 | 45.1169
28 | 0.035262 | 0.008852 | -0.035165 | -0.0088154 | 9.7183e-05 | 3.6649e-05 | 0.052669 | 0.052669 | 0.052669 | 0.99633 | -0.025611 | 0.9935 | -0.045508 | 19.507
29 | -0.13454 | -0.033812 | 0.13463 | 0.033847 | 9.3803e-05 | 3.5639e-05 | 0.20065 | 0.20065 | 0.20065 | 0.99789 | -0.014706 | 0.99861 | -0.0097005 | 24.7719
30 | 0.079131 | 0.01987 | -0.079007 | -0.019823 | 0.00012419 | 4.7583e-05 | 0.11835 | 0.11835 | 0.11835 | 0.99506 | -0.034505 | 0.99345 | -0.045817 | 43.8319
31 | 0.026858 | 0.0067336 | -0.026841 | -0.0067274 | 1.6814e-05 | 6.2515e-06 | 0.040228 | 0.040228 | 0.040228 | 0.9935 | -0.045508 | 0.99285 | -0.05003 | 14.8993
32 | -0.00038875 | -9.7429e-05 | 0.00038876 | 9.6353e-05 | 1.7379e-08 | -1.0753e-06 | 0.00057988 | 0.0005795 | 0.00057988 | 0.99755 | -0.017124 | 0.99759 | -0.016797 | 0.21477
33 | -0.0035866 | -0.0008978 | 0.0035866 | 0.00089777 | 7.0828e-08 | -2.4549e-08 | 0.0053494 | 0.0053493 | 0.0053494 | 0.99759 | -0.016797 | 0.99761 | -0.016654 | 1.9812
34 | -0.024744 | -0.0062004 | 0.024768 | 0.0062092 | 2.3834e-05 | 8.8003e-06 | 0.036908 | 0.036908 | 0.036908 | 0.99761 | -0.016654 | 0.99861 | -0.0097005 | 13.6695
35 | -0.2126 | -0.053448 | 0.21289 | 0.053558 | 0.00028768 | 0.0001101 | 0.31685 | 0.31685 | 0.31685 | 0.99861 | -0.0097005 | 1 | 0 | 39.1173
36 | 0.075429 | 0.018926 | -0.075402 | -0.018916 | 2.6961e-05 | 1.0326e-05 | 0.11299 | 0.11299 | 0.11299 | 0.99345 | -0.045817 | 0.99308 | -0.048394 | 41.8474
37 | 0.017653 | 0.0044245 | -0.017652 | -0.0044241 | 1.1942e-06 | 4.2394e-07 | 0.026457 | 0.026457 | 0.026457 | 0.99285 | -0.05003 | 0.99278 | -0.050519 | 9.7989
38 | 0.010152 | 0.0025444 | -0.010148 | -0.0025434 | 3.5184e-06 | 1.0384e-06 | 0.015216 | 0.015216 | 0.015216 | 0.99278 | -0.050519 | 0.99243 | -0.053022 | 5.6355
39 | 0.0050894 | 0.0012755 | -0.0050894 | -0.0012755 | 2.0833e-09 | 6.0703e-11 | 0.0076309 | 0.0076309 | 0.0076309 | 0.99243 | -0.053022 | 0.99243 | -0.053025 | 2.8263
40 | 0.010009 | 0.0025085 | -0.010008 | -0.0025081 | 1.2335e-06 | 3.5752e-07 | 0.014893 | 0.014893 | 0.014893 | 1 | 0 | 0.99987 | -0.00089027 | 5.5161
41 | 0.065527 | 0.016441 | -0.065495 | -0.016428 | 3.2161e-05 | 1.23e-05 | 0.098191 | 0.098191 | 0.098191 | 0.99308 | -0.048394 | 0.99258 | -0.051933 | 36.3672
42 | 0.055957 | 0.014038 | -0.055933 | -0.014029 | 2.3618e-05 | 9.0145e-06 | 0.083892 | 0.083892 | 0.083892 | 0.99258 | -0.051933 | 0.99215 | -0.054977 | 31.0713
43 | 0.052199 | 0.013093 | -0.052143 | -0.013072 | 5.5393e-05 | 2.1118e-05 | 0.078291 | 0.078291 | 0.078291 | 0.99215 | -0.054977 | 0.99106 | -0.062639 | 28.9969
44 | 0.01435 | 0.0035966 | -0.014347 | -0.0035957 | 2.6386e-06 | 8.975e-07 | 0.021546 | 0.021546 | 0.021546 | 0.99106 | -0.062639 | 0.99087 | -0.063967 | 7.9799
45 | 0.037794 | 0.0094753 | -0.037766 | -0.0094649 | 2.7555e-05 | 1.0421e-05 | 0.056746 | 0.056746 | 0.056746 | 0.99106 | -0.062639 | 0.99031 | -0.067905 | 21.017
46 | 0.0060613 | 0.0015191 | -0.0060608 | -0.001519 | 4.7666e-07 | 6.4584e-08 | 0.0091024 | 0.0091024 | 0.0091024 | 0.99087 | -0.063967 | 0.99079 | -0.064535 | 3.3713
47 | 0.020018 | 0.0050167 | -0.020017 | -0.0050165 | 3.8382e-07 | 1.3888e-07 | 0.030078 | 0.030078 | 0.030078 | 0.99031 | -0.067905 | 0.99029 | -0.068044 | 11.1399
48 | 0.010733 | 0.0026897 | -0.010733 | -0.0026897 | 9.5731e-08 | 2.9231e-08 | 0.016128 | 0.016128 | 0.016128 | 0.99029 | -0.068044 | 0.99029 | -0.068108 | 5.9732
49 | 0.0047056 | 0.0011791 | -0.0047052 | -0.0011791 | 4.3825e-07 | -1.2164e-08 | 0.0070706 | 0.0070707 | 0.0070707 | 0.99029 | -0.068108 | 0.99019 | -0.068781 | 2.6188
50 | 0.0047052 | 0.0011791 | -0.0047047 | -0.0011791 | 4.0961e-07 | -1.1334e-08 | 0.0070707 | 0.0070707 | 0.0070707 | 0.99019 | -0.068781 | 0.9901 | -0.06941 | 2.6188
51 | 0.024561 | 0.0061683 | -0.024486 | -0.0061406 | 7.4942e-05 | 2.7691e-05 | 0.036891 | 0.036891 | 0.036891 | 0.99081 | -0.064239 | 0.9877 | -0.086254 | 13.6633
52 | 0.0017867 | 0.00044615 | -0.0017861 | -0.00044764 | 6.2027e-07 | -1.4904e-06 | 0.0027015 | 0.0027021 | 0.0027021 | 0.98394 | -0.11296 | 0.98359 | -0.11547 | 1.0008

## res_trafo
| p_hv_mw | q_hv_mvar | p_lv_mw | q_lv_mvar | pl_mw | ql_mvar | i_hv_ka | i_lv_ka | vm_hv_pu | va_hv_degree | vm_lv_pu | va_lv_degree | loading_percent
0 | 2.5187e-16 | 8.8016e-16 | 0.00079998 | 7.4552e-08 | 0.00079998 | 7.4552e-08 | 2.6429e-17 | 0.0011547 | 0.99998 | 149.9947 | 1 | 0 | 0.31999

## res_ext_grid
| p_mw | q_mvar
0 | 0.23997 | 0.060145

## res_load
| p_mw | q_mvar
0 | 0.00053085 | 0.00013304
1 | 0.00068438 | 0.00017152
2 | 0.0058658 | 0.0014701
3 | 0.0029889 | 0.0007491
4 | 0.00058707 | 0.00014713
5 | 0.0014282 | 0.00035793
6 | 0.00078847 | 0.00019761
7 | 0.0061542 | 0.0015424
8 | 0.0061493 | 0.0015411
9 | 0.0015886 | 0.00039815
10 | 0.008954 | 0.0022441
11 | 0.0038273 | 0.00095921
12 | 0.0031413 | 0.0007873
13 | 0.0023201 | 0.00058147
14 | 0.0083063 | 0.0020818
15 | 0.00038875 | 9.7429e-05
16 | 0.0031978 | 0.00080144
17 | 0.021158 | 0.0053026
18 | 0.0035773 | 0.00089656
19 | 0.0091885 | 0.0023029
20 | 0.0074999 | 0.0018797
21 | 0.0050589 | 0.0012679
22 | 0.0050894 | 0.0012755
23 | 0.016273 | 0.0040784
24 | 0.0098751 | 0.0024749
25 | 0.010008 | 0.0025081
26 | 0.0095381 | 0.0023905
27 | 0.0037345 | 0.00093596
28 | 0.008286 | 0.0020767
29 | 0.017748 | 0.0044482
30 | 0.0060608 | 0.001519
31 | 0.009284 | 0.0023268
32 | 0.0060274 | 0.0015106
33 | 0.0047047 | 0.0011791
34 | 0.019994 | 0.005011
35 | 0.0021319 | 0.00053431
36 | 0.0035509 | 0.00088993
37 | 0.0017861 | 0.00044764

## dtypes
| element | column | dtype
0 | bus | name | object
1 | bus | vn_kv | float64
2 | bus | type | object
3 | bus | zone | object
4 | bus | in_service | bool
5 | load | name | object
6 | load | bus | uint32
7 | load | p_mw | float64
8 | load | q_mvar | float64
9 | load | const_z_percent | float64
10 | load | const_i_percent | float64
11 | load | sn_mva | float64
12 | load | scaling | float64
13 | load | in_service | bool
14 | load | type | object
15 | ext_grid | name | object
16 | ext_grid | bus | uint32
17 | ext_grid | vm_pu | float64
18 | ext_grid | va_degree | float64
19 | ext_grid | slack_weight | float64
20 | ext_grid | in_service | bool
21 | line | name | object
22 | line | std_type | object
23 | line | from_bus | uint32
24 | line | to_bus | uint32
25 | line | length_km | float64
26 | line | r_ohm_per_km | float64
27 | line | x_ohm_per_km | float64
28 | line | c_nf_per_km | float64
29 | line | g_us_per_km | float64
30 | line | max_i_ka | float64
31 | line | df | float64
32 | line | parallel | uint32
33 | line | type | object
34 | line | in_service | bool
35 | trafo | name | object
36 | trafo | std_type | object
37 | trafo | hv_bus | uint32
38 | trafo | lv_bus | uint32
39 | trafo | sn_mva | float64
40 | trafo | vn_hv_kv | float64
41 | trafo | vn_lv_kv | float64
42 | trafo | vk_percent | float64
43 | trafo | vkr_percent | float64
44 | trafo | pfe_kw | float64
45 | trafo | i0_percent | float64
46 | trafo | shift_degree | float64
47 | trafo | tap_side | object
48 | trafo | tap_neutral | int32
49 | trafo | tap_min | int32
50 | trafo | tap_max | int32
51 | trafo | tap_step_percent | float64
52 | trafo | tap_step_degree | float64
53 | trafo | tap_pos | int32
54 | trafo | tap_phase_shifter | bool
55 | trafo | parallel | uint32
56 | trafo | df | float64
57 | trafo | in_service | bool
58 | line_geodata | coords | object
59 | bus_geodata | x | float64
60 | bus_geodata | y | float64
61 | bus_geodata | coords | object
62 | res_bus | vm_pu | float64
63 | res_bus | va_degree | float64
64 | res_bus | p_mw | float64
65 | res_bus | q_mvar | float64
66 | res_line | p_from_mw | float64
67 | res_line | q_from_mvar | float64
68 | res_line | p_to_mw | float64
69 | res_line | q_to_mvar | float64
70 | res_line | pl_mw | float64
71 | res_line | ql_mvar | float64
72 | res_line | i_from_ka | float64
73 | res_line | i_to_ka | float64
74 | res_line | i_ka | float64
75 | res_line | vm_from_pu | float64
76 | res_line | va_from_degree | float64
77 | res_line | vm_to_pu | float64
78 | res_line | va_to_degree | float64
79 | res_line | loading_percent | float64
80 | res_trafo | p_hv_mw | float64
81 | res_trafo | q_hv_mvar | float64
82 | res_trafo | p_lv_mw | float64
83 | res_trafo | q_lv_mvar | float64
84 | res_trafo | pl_mw | float64
85 | res_trafo | ql_mvar | float64
86 | res_trafo | i_hv_ka | float64
87 | res_trafo | i_lv_ka | float64
88 | res_trafo | vm_hv_pu | float64
89 | res_trafo | va_hv_degree | float64
90 | res_trafo | vm_lv_pu | float64
91 | res_trafo | va_lv_degree | float64
92 | res_trafo | loading_percent | float64
93 | res_ext_grid | p_mw | float64
94 | res_ext_grid | q_mvar | float64
95 | res_load | p_mw | float64
96 | res_load | q_mvar | float64

## parameters
| version | format_version | converged | OPF_converged | name | f_hz | sn_mva
0 | 2.14.6 | 2.14.0 | TRUE | FALSE |  | 50 | 1